## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-22 11:15

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
48881 | 2021-03-22 10:06 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.1819 | μmol/L | 19.6576 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.006 | 136525.5154 | 276035.1314 | 32.55 | 27.7
48892 | 2021-03-22 10:06 | 0.34108 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.0106 | μmol/L | 19.6698 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.011 | 136532.0686 | 275999.3295 | 32.55 | 27.7
48901 | 2021-03-22 10:07 | 0.67416 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.9945 | μmol/L | 19.6637 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.014 | 136537.2875 | 275977.2149 | 32.55 | 27.7
48912 | 2021-03-22 10:07 | 1.0077 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.8997 | μmol/L | 19.6698 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.017 | 136540.7456 | 275954.0673 | 32.55 | 27.7
48922 | 2021-03-22 10:07 | 1.3412 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.8628 | μmol/L | 19.6698 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.019 | 136535.6458 | 275934.0476 | 32.55 | 27.7
48932 | 2021-03-22 10:08 | 1.6741 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.9785 | μmol/L | 19.6576 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.017 | 136534.4911 | 275915.4269 | 32.55 | 27.7
48942 | 2021-03-22 10:08 | 2.0078 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.7913 | μmol/L | 19.6637 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.025 | 136552.5206 | 275908.6214 | 32.55 | 27.7
48952 | 2021-03-22 10:08 | 2.3414 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.7175 | μmol/L | 19.6637 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.029 | 136568.2551 | 275891.7826 | 32.55 | 27.7
48962 | 2021-03-22 10:09 | 2.6742 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.5651 | μmol/L | 19.6759 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.033 | 136597.8588 | 275876.0744 | 32.55 | 27.7
48971 | 2021-03-22 10:09 | 3.008 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.5379 | μmol/L | 19.6514 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.043 | 136634.9358 | 275865.8735 | 32.55 | 27.7
48981 | 2021-03-22 10:09 | 3.341 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.5244 | μmol/L | 19.6392 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.048 | 136684.3652 | 275869.912 | 32.55 | 27.7
48991 | 2021-03-22 10:10 | 3.6742 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.3586 | μmol/L | 19.6392 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.057 | 136716.6746 | 275850.2587 | 32.55 | 27.7
49002 | 2021-03-22 10:10 | 4.0078 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.3635 | μmol/L | 19.627 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.061 | 136746.7141 | 275856.8622 | 32.55 | 27.7
49012 | 2021-03-22 10:10 | 4.3413 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.4237 | μmol/L | 19.6147 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.062 | 136761.6809 | 275838.0948 | 32.55 | 27.7
49022 | 2021-03-22 10:11 | 4.6741 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.3893 | μmol/L | 19.6086 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.066 | 136780.6976 | 275833.9696 | 32.55 | 27.7
49032 | 2021-03-22 10:11 | 5.0075 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.2923 | μmol/L | 19.6209 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.067 | 136792.0444 | 275802.8765 | 32.55 | 27.7
49042 | 2021-03-22 10:11 | 5.341 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.1611 | μmol/L | 19.627 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.072 | 136803.211 | 275816.3443 | 32.55 | 27.7
49052 | 2021-03-22 10:12 | 5.6747 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.1685 | μmol/L | 19.6086 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.078 | 136819.0116 | 275788.6844 | 32.55 | 27.7
49061 | 2021-03-22 10:12 | 6.008 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.9222 | μmol/L | 19.627 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.085 | 136842.5793 | 275790.7884 | 32.55 | 27.7
49071 | 2021-03-22 10:12 | 6.3411 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.9247 | μmol/L | 19.6209 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.087 | 136863.9331 | 275779.7305 | 32.55 | 27.7
49081 | 2021-03-22 10:13 | 6.6741 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.9455 | μmol/L | 19.6147 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.088 | 136883.6571 | 275758.1665 | 32.55 | 27.7
49091 | 2021-03-22 10:13 | 7.0078 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.7912 | μmol/L | 19.6331 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.09 | 136905.5994 | 275768.0855 | 32.55 | 27.7
49101 | 2021-03-22 10:13 | 7.341 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.6787 | μmol/L | 19.6392 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.094 | 136923.3371 | 275752.0127 | 32.55 | 27.7
49112 | 2021-03-22 10:14 | 7.6747 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.6053 | μmol/L | 19.6392 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.098 | 136941.825 | 275756.9577 | 32.55 | 27.7
49121 | 2021-03-22 10:14 | 8.0076 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.6103 | μmol/L | 19.627 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.102 | 136955.8488 | 275747.5751 | 32.55 | 27.7
49132 | 2021-03-22 10:14 | 8.3415 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.5969 | μmol/L | 19.6147 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.107 | 136970.9412 | 275747.2078 | 32.55 | 27.7
49141 | 2021-03-22 10:15 | 8.6742 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.6019 | μmol/L | 19.6025 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.111 | 136990.7397 | 275740.4669 | 32.55 | 27.7
49152 | 2021-03-22 10:15 | 9.0081 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.5652 | μmol/L | 19.6025 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.113 | 137025.0282 | 275737.3235 | 32.55 | 27.7
49162 | 2021-03-22 10:15 | 9.3409 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.4736 | μmol/L | 19.6025 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.118 | 137036.6621 | 275737.7953 | 32.55 | 27.7
49172 | 2021-03-22 10:16 | 9.6746 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.5702 | μmol/L | 19.5903 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.117 | 137055.9825 | 275724.9818 | 32.55 | 27.7
49181 | 2021-03-22 10:16 | 10.0075 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.4812 | μmol/L | 19.5842 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.124 | 137082.2064 | 275718.5644 | 32.55 | 27.7
49192 | 2021-03-22 10:16 | 10.3413 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.3372 | μmol/L | 19.578 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.134 | 137121.3056 | 275694.2794 | 32.55 | 27.7
49201 | 2021-03-22 10:17 | 10.6743 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.2483 | μmol/L | 19.5719 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.141 | 137158.1739 | 275692.275 | 32.55 | 27.7
49212 | 2021-03-22 10:17 | 11.008 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.2036 | μmol/L | 19.5475 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.152 | 137215.0078 | 275711.8295 | 32.55 | 27.7
49221 | 2021-03-22 10:17 | 11.341 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.1487 | μmol/L | 19.5475 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.155 | 137229.6625 | 275682.9612 | 32.55 | 27.7
49232 | 2021-03-22 10:18 | 11.6741 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.1513 | μmol/L | 19.5413 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.157 | 137254.172 | 275679.2506 | 32.55 | 27.7
49242 | 2021-03-22 10:18 | 12.0077 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.8464 | μmol/L | 19.5719 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.163 | 137283.4425 | 275679.3042 | 32.55 | 27.7
49252 | 2021-03-22 10:18 | 12.3414 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.7527 | μmol/L | 19.578 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.166 | 137286.9935 | 275671.7264 | 32.55 | 27.7
49261 | 2021-03-22 10:19 | 12.6744 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.7344 | μmol/L | 19.578 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.167 | 137311.181 | 275659.8259 | 32.55 | 27.7
49272 | 2021-03-22 10:19 | 13.0078 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.8333 | μmol/L | 19.5597 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.168 | 137324.2567 | 275671.3281 | 32.55 | 27.7
49282 | 2021-03-22 10:19 | 13.3408 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.8201 | μmol/L | 19.5475 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.173 | 137352.1198 | 275653.6856 | 32.55 | 27.7
49291 | 2021-03-22 10:20 | 13.6742 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.5442 | μmol/L | 19.5536 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.186 | 137393.0412 | 275651.4816 | 32.55 | 27.7
49302 | 2021-03-22 10:20 | 14.0082 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.4765 | μmol/L | 19.5413 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.194 | 137449.8298 | 275646.1496 | 32.55 | 27.7
49311 | 2021-03-22 10:20 | 14.3411 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.1726 | μmol/L | 19.5719 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.2 | 137491.3112 | 275644.6727 | 32.55 | 27.7
49322 | 2021-03-22 10:21 | 14.6746 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.1181 | μmol/L | 19.5719 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.203 | 137513.1094 | 275631.2457 | 32.55 | 27.7
49332 | 2021-03-22 10:21 | 15.0077 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.934 | μmol/L | 19.578 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.211 | 137572.5179 | 275633.4554 | 32.55 | 27.7
49342 | 2021-03-22 10:21 | 15.3414 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.978 | μmol/L | 19.5597 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.215 | 137587.6007 | 275618.7472 | 32.55 | 27.7
49351 | 2021-03-22 10:22 | 15.6743 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.0557 | μmol/L | 19.5475 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.215 | 137592.6517 | 275625.142 | 32.55 | 27.7
49362 | 2021-03-22 10:22 | 16.0079 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.9624 | μmol/L | 19.5536 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.218 | 137596.8466 | 275619.8818 | 32.55 | 27.7
49372 | 2021-03-22 10:22 | 16.3415 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.7188 | μmol/L | 19.5719 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.225 | 137636.7806 | 275612.1615 | 32.55 | 27.7
49382 | 2021-03-22 10:23 | 16.6743 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.7033 | μmol/L | 19.5658 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.228 | 137655.1628 | 275609.9703 | 32.55 | 27.7
49392 | 2021-03-22 10:23 | 17.008 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.7214 | μmol/L | 19.5658 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.227 | 137662.483 | 275593.996 | 32.55 | 27.7
49401 | 2021-03-22 10:23 | 17.3408 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.6127 | μmol/L | 19.5658 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.233 | 137671.7731 | 275588.6903 | 32.55 | 27.7
49411 | 2021-03-22 10:24 | 17.6745 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.5739 | μmol/L | 19.5719 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.233 | 137687.9734 | 275598.9201 | 32.55 | 27.7
49422 | 2021-03-22 10:24 | 18.008 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.4678 | μmol/L | 19.5658 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.241 | 137712.1223 | 275583.9215 | 32.55 | 27.7
49431 | 2021-03-22 10:24 | 18.3409 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.3954 | μmol/L | 19.5658 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.245 | 137726.2529 | 275586.3842 | 32.55 | 27.7
49442 | 2021-03-22 10:25 | 18.6746 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.4523 | μmol/L | 19.5597 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.244 | 137738.8546 | 275567.5246 | 32.55 | 27.7
49452 | 2021-03-22 10:25 | 19.0075 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.3256 | μmol/L | 19.5597 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.251 | 137770.2544 | 275567.9208 | 32.55 | 27.7
49461 | 2021-03-22 10:25 | 19.3413 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.0494 | μmol/L | 19.5719 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.262 | 137824.4027 | 275569.3023 | 32.55 | 27.7
49471 | 2021-03-22 10:26 | 19.6743 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.9772 | μmol/L | 19.5719 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.266 | 137870.9831 | 275561.6597 | 32.55 | 27.7
49481 | 2021-03-22 10:26 | 20.0075 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.0211 | μmol/L | 19.5536 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.27 | 137877.7777 | 275561.9228 | 32.55 | 27.7
49491 | 2021-03-22 10:26 | 20.3411 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.1139 | μmol/L | 19.5475 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.267 | 137879.4237 | 275555.9988 | 32.55 | 27.7
49502 | 2021-03-22 10:27 | 20.6748 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.0804 | μmol/L | 19.5413 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.271 | 137862.8907 | 275552.7333 | 32.55 | 27.7
49512 | 2021-03-22 10:27 | 21.0077 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.1605 | μmol/L | 19.523 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.273 | 137877.3238 | 275560.9149 | 32.55 | 27.7
49521 | 2021-03-22 10:27 | 21.3408 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.2768 | μmol/L | 19.5046 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.273 | 137874.6962 | 275534.2475 | 32.55 | 27.7
49532 | 2021-03-22 10:28 | 21.6744 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.1657 | μmol/L | 19.5108 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.277 | 137898.2372 | 275526.5688 | 32.55 | 27.7
49542 | 2021-03-22 10:28 | 22.0081 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.9439 | μmol/L | 19.523 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.285 | 137934.6448 | 275532.5301 | 32.55 | 27.7
49551 | 2021-03-22 10:28 | 22.341 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.8511 | μmol/L | 19.5291 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.288 | 137961.628 | 275516.9801 | 32.55 | 27.7
49562 | 2021-03-22 10:29 | 22.6749 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.779 | μmol/L | 19.5291 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.292 | 137975.817 | 275536.9783 | 32.55 | 27.7
49571 | 2021-03-22 10:29 | 23.0077 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.8203 | μmol/L | 19.5169 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.294 | 137975.0171 | 275526.1509 | 32.55 | 27.7
49581 | 2021-03-22 10:29 | 23.3407 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.9363 | μmol/L | 19.4985 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.294 | 137980.789 | 275527.6431 | 32.55 | 27.7
49591 | 2021-03-22 10:30 | 23.6746 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.8462 | μmol/L | 19.4985 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.299 | 137994.4321 | 275518.9931 | 32.55 | 27.7
49601 | 2021-03-22 10:30 | 24.0076 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.8875 | μmol/L | 19.4863 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.301 | 138030.724 | 275513.8095 | 32.55 | 27.7
49611 | 2021-03-22 10:30 | 24.3415 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.6093 | μmol/L | 19.5046 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.31 | 138078.8792 | 275508.0098 | 32.55 | 27.7
49622 | 2021-03-22 10:31 | 24.6745 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.3701 | μmol/L | 19.5169 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.319 | 138129.3899 | 275510.2866 | 32.55 | 27.7
49631 | 2021-03-22 10:31 | 25.0075 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.2417 | μmol/L | 19.523 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.324 | 138169.5231 | 275515.1096 | 32.55 | 27.7
49642 | 2021-03-22 10:31 | 25.3413 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.1751 | μmol/L | 19.5108 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.332 | 138202.1205 | 275492.7319 | 32.55 | 27.7
49652 | 2021-03-22 10:32 | 25.6743 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.0288 | μmol/L | 19.5169 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.338 | 138247.7078 | 275492.9095 | 32.55 | 27.7
49661 | 2021-03-22 10:32 | 26.0081 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.0494 | μmol/L | 19.5108 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.339 | 138269.1957 | 275500.4069 | 32.55 | 27.7
49672 | 2021-03-22 10:32 | 26.341 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.1139 | μmol/L | 19.4863 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.344 | 138289.0754 | 275486.0817 | 32.55 | 27.7
49681 | 2021-03-22 10:33 | 26.6747 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.801 | μmol/L | 19.5046 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.355 | 138332.29 | 275491.0277 | 32.55 | 27.7
49691 | 2021-03-22 10:33 | 27.0077 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.6676 | μmol/L | 19.523 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.356 | 138371.2788 | 275488.1716 | 32.55 | 27.7
49702 | 2021-03-22 10:33 | 27.3415 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.5217 | μmol/L | 19.5291 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.362 | 138374.7322 | 275493.536 | 32.55 | 27.7
49712 | 2021-03-22 10:34 | 27.6746 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.5781 | μmol/L | 19.523 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.361 | 138356.7434 | 275488.29 | 32.55 | 27.7
49721 | 2021-03-22 10:34 | 28.0075 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.6676 | μmol/L | 19.523 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.356 | 138349.7148 | 275490.9094 | 32.55 | 27.7
49732 | 2021-03-22 10:34 | 28.341 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.7034 | μmol/L | 19.523 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.354 | 138344.6697 | 275482.2689 | 32.55 | 27.7
49742 | 2021-03-22 10:35 | 28.6748 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.6676 | μmol/L | 19.523 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.356 | 138334.8557 | 275477.6686 | 32.55 | 27.7
49752 | 2021-03-22 10:35 | 29.0079 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.4833 | μmol/L | 19.5352 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.362 | 138347.821 | 275485.795 | 32.55 | 27.7
49762 | 2021-03-22 10:35 | 29.3415 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.5754 | μmol/L | 19.5291 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.359 | 138356.5495 | 275485.7901 | 32.55 | 27.7
49772 | 2021-03-22 10:36 | 29.6742 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.6345 | μmol/L | 19.5169 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.36 | 138354.8979 | 275474.8248 | 32.55 | 27.7
49781 | 2021-03-22 10:36 | 30.0079 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.6345 | μmol/L | 19.5169 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.36 | 138365.7758 | 275473.0514 | 32.55 | 27.7
49792 | 2021-03-22 10:36 | 30.3415 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.3965 | μmol/L | 19.5291 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.369 | 138383.8336 | 275464.6304 | 32.55 | 27.7
49802 | 2021-03-22 10:37 | 30.6744 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.4475 | μmol/L | 19.5352 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.364 | 138390.2878 | 275465.3435 | 32.55 | 27.7
49812 | 2021-03-22 10:37 | 31.008 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.545 | μmol/L | 19.5169 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.365 | 138373.6782 | 275451.2215 | 32.55 | 27.7
49821 | 2021-03-22 10:37 | 31.3407 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.6577 | μmol/L | 19.5046 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.363 | 138380.637 | 275449.0098 | 32.55 | 27.7
49831 | 2021-03-22 10:38 | 31.6744 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.6425 | μmol/L | 19.4985 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.366 | 138390.7482 | 275464.5424 | 32.55 | 27.7
49842 | 2021-03-22 10:38 | 32.0082 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.5655 | μmol/L | 19.5108 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.366 | 138393.409 | 275469.5172 | 32.55 | 27.7
49852 | 2021-03-22 10:38 | 32.3415 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.4913 | μmol/L | 19.5169 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.368 | 138403.7554 | 275465.2572 | 32.55 | 27.7
49861 | 2021-03-22 10:39 | 32.6748 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.4734 | μmol/L | 19.5169 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.369 | 138402.5305 | 275460.9311 | 32.55 | 27.7
49872 | 2021-03-22 10:39 | 33.0078 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.3786 | μmol/L | 19.5291 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.37 | 138415.554 | 275464.887 | 32.55 | 27.7
49882 | 2021-03-22 10:39 | 33.3413 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.376 | μmol/L | 19.5352 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.368 | 138403.9519 | 275459.7892 | 32.55 | 27.7
49892 | 2021-03-22 10:40 | 33.6743 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.3376 | μmol/L | 19.5413 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.368 | 138414.2241 | 275459.123 | 32.55 | 27.7
49902 | 2021-03-22 10:40 | 34.0074 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.3376 | μmol/L | 19.5413 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.368 | 138422.9785 | 275456.9401 | 32.55 | 27.7
49912 | 2021-03-22 10:40 | 34.341 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.3376 | μmol/L | 19.5413 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.368 | 138411.5473 | 275446.3451 | 32.55 | 27.7
49922 | 2021-03-22 10:41 | 34.6746 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.2965 | μmol/L | 19.5536 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.366 | 138410.0949 | 275463.4517 | 32.55 | 27.7
49932 | 2021-03-22 10:41 | 35.0076 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.1787 | μmol/L | 19.578 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.364 | 138416.0705 | 275442.2852 | 32.55 | 27.7
49942 | 2021-03-22 10:41 | 35.3413 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.0511 | μmol/L | 19.5842 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.369 | 138429.9011 | 275448.5417 | 32.55 | 27.7
49952 | 2021-03-22 10:42 | 35.6741 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.0715 | μmol/L | 19.578 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.37 | 138444.1388 | 275451.3119 | 32.55 | 27.7
49962 | 2021-03-22 10:42 | 36.0077 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.9797 | μmol/L | 19.5842 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.373 | 138447.6106 | 275449.8033 | 32.55 | 27.7
49972 | 2021-03-22 10:42 | 36.3415 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.9565 | μmol/L | 19.5964 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.37 | 138449.8405 | 275437.7469 | 32.55 | 27.7
49982 | 2021-03-22 10:43 | 36.6745 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.9615 | μmol/L | 19.5964 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.37 | 138448.1023 | 275436.7711 | 32.55 | 27.7
49992 | 2021-03-22 10:43 | 37.0081 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.9565 | μmol/L | 19.5964 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.37 | 138454.3457 | 275431.1572 | 32.55 | 27.7
50001 | 2021-03-22 10:43 | 37.3411 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.9027 | μmol/L | 19.6086 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.369 | 138468.6303 | 275437.3261 | 32.55 | 27.7
50012 | 2021-03-22 10:44 | 37.6749 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.8442 | μmol/L | 19.6086 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.372 | 138470.7783 | 275439.7576 | 32.55 | 27.7
50021 | 2021-03-22 10:44 | 38.0078 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.8287 | μmol/L | 19.6147 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.371 | 138494.0201 | 275435.9783 | 32.55 | 27.7
50032 | 2021-03-22 10:44 | 38.3415 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.7346 | μmol/L | 19.6147 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.376 | 138526.3576 | 275436.2972 | 32.55 | 27.7
50042 | 2021-03-22 10:45 | 38.6743 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.6277 | μmol/L | 19.6147 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.382 | 138550.0525 | 275436.8009 | 32.55 | 27.7
50051 | 2021-03-22 10:45 | 39.0082 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.5792 | μmol/L | 19.6147 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.385 | 138577.7733 | 275447.2173 | 32.55 | 27.7
50061 | 2021-03-22 10:45 | 39.3412 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.3933 | μmol/L | 19.6331 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.389 | 138591.0314 | 275448.8284 | 32.55 | 27.7
50071 | 2021-03-22 10:46 | 39.6742 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.3399 | μmol/L | 19.6331 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.392 | 138615.5472 | 275436.6921 | 32.55 | 27.7
50082 | 2021-03-22 10:46 | 40.0078 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.3426 | μmol/L | 19.627 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.394 | 138642.6817 | 275439.9837 | 32.55 | 27.7
50091 | 2021-03-22 10:46 | 40.3414 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.2866 | μmol/L | 19.6331 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.395 | 138659.6057 | 275433.3654 | 32.55 | 27.7
50101 | 2021-03-22 10:47 | 40.6743 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.1214 | μmol/L | 19.6453 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.4 | 138671.8925 | 275437.6868 | 32.55 | 27.7
50112 | 2021-03-22 10:47 | 41.0082 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.1187 | μmol/L | 19.6514 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.398 | 138681.7691 | 275421.7572 | 32.55 | 27.7
50122 | 2021-03-22 10:47 | 41.341 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.0477 | μmol/L | 19.6514 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.402 | 138704.9954 | 275424.2397 | 32.55 | 27.7
50132 | 2021-03-22 10:48 | 41.6748 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.0122 | μmol/L | 19.6514 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.404 | 138725.327 | 275428.1022 | 32.55 | 27.7
50142 | 2021-03-22 10:48 | 42.0075 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 211.9616 | μmol/L | 19.6453 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.409 | 138764.4943 | 275420.3446 | 32.55 | 27.7
50152 | 2021-03-22 10:48 | 42.3412 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 211.817 | μmol/L | 19.6514 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.415 | 138803.2738 | 275432.5253 | 32.55 | 27.7
50162 | 2021-03-22 10:49 | 42.6743 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 211.6141 | μmol/L | 19.6698 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.42 | 138829.6728 | 275420.3726 | 32.55 | 27.7
50172 | 2021-03-22 10:49 | 43.0081 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 211.5256 | μmol/L | 19.6698 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.425 | 138875.4998 | 275429.3277 | 32.55 | 27.7
50181 | 2021-03-22 10:49 | 43.341 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 211.2778 | μmol/L | 19.6698 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.439 | 138994.8861 | 275426.0081 | 32.55 | 27.7
50192 | 2021-03-22 10:50 | 43.6747 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 210.9599 | μmol/L | 19.6698 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.457 | 139103.9902 | 275422.5391 | 32.55 | 27.7
50202 | 2021-03-22 10:50 | 44.0075 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 210.4435 | μmol/L | 19.682 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.482 | 139275.0973 | 275420.439 | 32.55 | 27.7
50212 | 2021-03-22 10:50 | 44.3412 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 210.0217 | μmol/L | 19.682 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.506 | 139431.8128 | 275412.9739 | 32.55 | 27.7
50221 | 2021-03-22 10:51 | 44.6742 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 209.6508 | μmol/L | 19.6881 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.525 | 139543.3891 | 275431.8082 | 32.55 | 27.7
50231 | 2021-03-22 10:51 | 45.0078 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 209.473 | μmol/L | 19.6943 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.533 | 139632.1666 | 275428.8423 | 32.55 | 27.7
50242 | 2021-03-22 10:51 | 45.3414 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 209.321 | μmol/L | 19.682 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.546 | 139704.0135 | 275416.5647 | 32.55 | 27.7
50252 | 2021-03-22 10:52 | 45.6743 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 209.1637 | μmol/L | 19.682 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.555 | 139740.7254 | 275418.6996 | 32.55 | 27.7
50262 | 2021-03-22 10:52 | 46.008 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 209.1261 | μmol/L | 19.6881 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.555 | 139750.0425 | 275413.936 | 32.55 | 27.7
50271 | 2021-03-22 10:52 | 46.3408 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 209.0858 | μmol/L | 19.7004 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.553 | 139743.0414 | 275402.2386 | 32.55 | 27.7
50281 | 2021-03-22 10:53 | 46.6745 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 209.1785 | μmol/L | 19.6881 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.552 | 139733.2903 | 275409.2142 | 32.55 | 27.7
50292 | 2021-03-22 10:53 | 47.0082 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 209.2134 | μmol/L | 19.6881 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.55 | 139719.7756 | 275410.911 | 32.55 | 27.7
50302 | 2021-03-22 10:53 | 47.3413 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 209.1785 | μmol/L | 19.6881 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.552 | 139718.293 | 275407.838 | 32.55 | 27.7
50311 | 2021-03-22 10:54 | 47.6741 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 209.1409 | μmol/L | 19.6943 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.552 | 139727.5686 | 275405.8411 | 32.55 | 27.7
50322 | 2021-03-22 10:54 | 48.0078 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 209.0885 | μmol/L | 19.6943 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.555 | 139752.1519 | 275402.4371 | 32.55 | 27.7
50332 | 2021-03-22 10:54 | 48.3407 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 208.8764 | μmol/L | 19.7004 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.565 | 139825.5359 | 275404.474 | 32.55 | 27.7
50342 | 2021-03-22 10:55 | 48.6744 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 208.6499 | μmol/L | 19.7004 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.578 | 139893.1851 | 275395.8809 | 32.55 | 27.7
50352 | 2021-03-22 10:55 | 49.008 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 208.5976 | μmol/L | 19.7004 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.581 | 139916.7227 | 275399.8362 | 32.55 | 27.7
50362 | 2021-03-22 10:55 | 49.3409 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 208.5628 | μmol/L | 19.7004 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.583 | 139939.334 | 275390.4807 | 32.55 | 27.7
50372 | 2021-03-22 10:56 | 49.6747 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 208.4905 | μmol/L | 19.7065 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.585 | 139969.1367 | 275400.4608 | 32.55 | 27.7
50381 | 2021-03-22 10:56 | 50.0077 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 208.2938 | μmol/L | 19.7187 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.592 | 139998.5393 | 275404.6229 | 32.55 | 27.7
50392 | 2021-03-22 10:56 | 50.3415 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 208.2992 | μmol/L | 19.7065 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.596 | 140010.5355 | 275406.3148 | 32.55 | 27.7
50401 | 2021-03-22 10:57 | 50.6743 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 208.3166 | μmol/L | 19.7065 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.595 | 140029.8455 | 275416.8755 | 32.55 | 27.7
50412 | 2021-03-22 10:57 | 51.008 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 208.2069 | μmol/L | 19.7187 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.597 | 140039.6186 | 275402.1773 | 32.55 | 27.7
50421 | 2021-03-22 10:57 | 51.3411 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 208.1575 | μmol/L | 19.7126 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.602 | 140036.9201 | 275368.8011 | 32.55 | 27.7
50432 | 2021-03-22 10:58 | 51.6741 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 208.1922 | μmol/L | 19.7126 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.6 | 140049.415 | 275388.615 | 32.55 | 27.7
50442 | 2021-03-22 10:58 | 52.0077 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 208.1228 | μmol/L | 19.7126 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.604 | 140050.0112 | 275384.2287 | 32.55 | 27.7
50452 | 2021-03-22 10:58 | 52.3416 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 208.1401 | μmol/L | 19.7126 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.603 | 140055.3982 | 275377.3131 | 32.55 | 27.7
50462 | 2021-03-22 10:59 | 52.6744 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 208.036 | μmol/L | 19.7126 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.609 | 140067.9759 | 275365.4137 | 32.55 | 27.7
50472 | 2021-03-22 10:59 | 53.0081 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 208.0533 | μmol/L | 19.7126 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.608 | 140076.191 | 275364.4736 | 32.55 | 27.7
50482 | 2021-03-22 10:59 | 53.3413 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.9986 | μmol/L | 19.7187 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.609 | 140084.0054 | 275361.9396 | 32.55 | 27.7
50492 | 2021-03-22 11:00 | 53.6741 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.9812 | μmol/L | 19.7187 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.61 | 140102.6601 | 275362.1752 | 32.55 | 27.7
50502 | 2021-03-22 11:00 | 54.008 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 208.004 | μmol/L | 19.7065 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.613 | 140133.2921 | 275375.6937 | 32.55 | 27.7
50511 | 2021-03-22 11:00 | 54.3411 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.9492 | μmol/L | 19.7126 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.614 | 140147.7524 | 275365.4789 | 32.55 | 27.7
50522 | 2021-03-22 11:01 | 54.6745 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.7759 | μmol/L | 19.7126 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.624 | 140201.1164 | 275369.9275 | 32.55 | 27.7
50532 | 2021-03-22 11:01 | 55.0081 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.7439 | μmol/L | 19.7065 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.628 | 140225.3123 | 275373.0803 | 32.55 | 27.7
50541 | 2021-03-22 11:01 | 55.3409 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.7066 | μmol/L | 19.7126 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.628 | 140236.0421 | 275369.5605 | 32.55 | 27.7
50552 | 2021-03-22 11:02 | 55.6747 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.6893 | μmol/L | 19.7126 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.629 | 140232.4281 | 275363.2363 | 32.55 | 27.7
50561 | 2021-03-22 11:02 | 56.0077 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.5654 | μmol/L | 19.7187 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.634 | 140253.948 | 275356.0711 | 32.55 | 27.7
50572 | 2021-03-22 11:02 | 56.3412 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.427 | μmol/L | 19.7187 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.642 | 140298.6814 | 275365.727 | 32.55 | 27.7
50581 | 2021-03-22 11:03 | 56.6742 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.5189 | μmol/L | 19.7065 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.641 | 140322.1795 | 275347.7636 | 32.55 | 27.7
50592 | 2021-03-22 11:03 | 57.0079 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.447 | μmol/L | 19.7126 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.643 | 140322.7556 | 275362.5161 | 32.55 | 27.7
50602 | 2021-03-22 11:03 | 57.3415 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.427 | μmol/L | 19.7187 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.642 | 140297.7715 | 275344.5651 | 32.55 | 27.7
50612 | 2021-03-22 11:04 | 57.6745 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.4989 | μmol/L | 19.7126 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.64 | 140277.7603 | 275343.1042 | 32.55 | 27.7
50621 | 2021-03-22 11:04 | 58.0082 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.4989 | μmol/L | 19.7126 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.64 | 140276.9262 | 275327.6959 | 32.55 | 27.7
50631 | 2021-03-22 11:04 | 58.341 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.3724 | μmol/L | 19.7248 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.643 | 140306.3459 | 275347.7039 | 32.55 | 27.7
50642 | 2021-03-22 11:05 | 58.6747 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.2196 | μmol/L | 19.7187 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.654 | 140346.6707 | 275323.1073 | 32.55 | 27.7
50651 | 2021-03-22 11:05 | 59.0075 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.2596 | μmol/L | 19.7065 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.656 | 140370.123 | 275318.9646 | 32.55 | 27.7
50662 | 2021-03-22 11:05 | 59.3411 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.1532 | μmol/L | 19.7126 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.66 | 140374.2846 | 275318.7998 | 32.55 | 27.7
50671 | 2021-03-22 11:06 | 59.674 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.3569 | μmol/L | 19.682 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.659 | 140356.1186 | 275325.1394 | 32.55 | 27.7
50681 | 2021-03-22 11:06 | 60.0078 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.6674 | μmol/L | 19.6453 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.654 | 140340.2923 | 275322.3579 | 32.55 | 27.7
50692 | 2021-03-22 11:06 | 60.3415 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.6501 | μmol/L | 19.6453 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.655 | 140341.4706 | 275315.0566 | 32.55 | 27.7
50701 | 2021-03-22 11:07 | 60.6743 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.6383 | μmol/L | 19.6331 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.66 | 140358.2831 | 275314.26 | 32.55 | 27.7
50711 | 2021-03-22 11:07 | 61.008 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.8169 | μmol/L | 19.6209 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.654 | 140325.401 | 275310.3358 | 32.55 | 27.7
50721 | 2021-03-22 11:07 | 61.341 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 208.0158 | μmol/L | 19.6025 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.649 | 140279.1657 | 275302.3257 | 32.55 | 27.7
50732 | 2021-03-22 11:08 | 61.6746 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 208.0477 | μmol/L | 19.6086 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.645 | 140260.2771 | 275312.3765 | 32.55 | 27.7
50741 | 2021-03-22 11:08 | 62.0074 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 208.0651 | μmol/L | 19.6086 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.644 | 140261.9772 | 275286.0046 | 32.55 | 27.7
50752 | 2021-03-22 11:08 | 62.3412 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.8141 | μmol/L | 19.627 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.652 | 140283.0662 | 275288.1536 | 32.55 | 27.7
50762 | 2021-03-22 11:09 | 62.6748 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.5007 | μmol/L | 19.6698 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.655 | 140293.281 | 275305.9899 | 32.55 | 27.7
50772 | 2021-03-22 11:09 | 63.0079 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.2423 | μmol/L | 19.7065 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.657 | 140312.9751 | 275298.0906 | 32.55 | 27.7
50782 | 2021-03-22 11:09 | 63.3409 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.2796 | μmol/L | 19.7004 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.657 | 140324.549 | 275288.2454 | 32.55 | 27.7
50792 | 2021-03-22 11:10 | 63.6747 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.3542 | μmol/L | 19.6881 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.657 | 140325.016 | 275310.0771 | 32.55 | 27.7
50802 | 2021-03-22 11:10 | 64.008 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.7303 | μmol/L | 19.6209 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.659 | 140320.0327 | 275296.3939 | 32.55 | 27.7
50811 | 2021-03-22 11:10 | 64.3409 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.9402 | μmol/L | 19.578 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.662 | 140327.4068 | 275285.0722 | 32.55 | 27.7
50822 | 2021-03-22 11:11 | 64.6748 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.8799 | μmol/L | 19.5964 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.659 | 140347.4329 | 275289.5993 | 32.55 | 27.7
50832 | 2021-03-22 11:11 | 65.0076 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.6348 | μmol/L | 19.6025 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.671 | 140389.6689 | 275298.3352 | 32.55 | 27.7
50842 | 2021-03-22 11:11 | 65.3407 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.4363 | μmol/L | 19.6209 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.676 | 140419.1314 | 275271.5708 | 32.55 | 27.7
50852 | 2021-03-22 11:12 | 65.6743 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.3326 | μmol/L | 19.6209 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.682 | 140438.0762 | 275274.304 | 32.55 | 27.7
50862 | 2021-03-22 11:12 | 66.0081 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.2608 | μmol/L | 19.627 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.684 | 140460.7758 | 275267.1151 | 32.55 | 27.7
50871 | 2021-03-22 11:12 | 66.341 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.2435 | μmol/L | 19.627 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.685 | 140460.2503 | 275265.484 | 32.55 | 27.7
50882 | 2021-03-22 11:13 | 66.6747 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.1945 | μmol/L | 19.6209 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.69 | 140473.6195 | 275258.9564 | 32.55 | 27.7
50892 | 2021-03-22 11:13 | 67.0076 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.2491 | μmol/L | 19.6147 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.689 | 140492.8769 | 275271.1767 | 32.55 | 27.7
50901 | 2021-03-22 11:13 | 67.3408 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.2373 | μmol/L | 19.6025 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.694 | 140489.7035 | 275258.7357 | 32.55 | 27.7
50909 | 2021-03-22 11:14 | 67.6747 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.381 | μmol/L | 19.5903 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.69 | 140505.8354 | 275262.7494 | 32.55 | 27.7