## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-22 14:27

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
50918 | 2021-03-22 12:51 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 231.9438 | μmol/L | 19.5641 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.483 | 135854.302 | 275538.4918 | 26.25 | 74
50928 | 2021-03-22 12:51 | 0.33722 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 231.8406 | μmol/L | 19.5763 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.484 | 135872.0914 | 275534.5471 | 26.25 | 74
50938 | 2021-03-22 12:51 | 0.67016 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 231.6408 | μmol/L | 19.5824 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.492 | 135907.018 | 275540.019 | 26.25 | 74
50948 | 2021-03-22 12:52 | 1.0039 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 231.5836 | μmol/L | 19.5763 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.497 | 135942.7397 | 275525.0185 | 26.25 | 74
50958 | 2021-03-22 12:52 | 1.3372 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 231.6055 | μmol/L | 19.5702 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.498 | 135955.3124 | 275523.0435 | 26.25 | 74
50968 | 2021-03-22 12:52 | 1.6702 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 231.3882 | μmol/L | 19.5702 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.509 | 136020.7302 | 275530.87 | 26.25 | 74
50978 | 2021-03-22 12:53 | 2.0037 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.7732 | μmol/L | 19.5824 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.536 | 136197.8556 | 275525.0441 | 26.25 | 74
50988 | 2021-03-22 12:53 | 2.3367 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.2842 | μmol/L | 19.5763 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.563 | 136389.8691 | 275507.2939 | 26.25 | 74
50998 | 2021-03-22 12:53 | 2.6705 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 229.9944 | μmol/L | 19.5641 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.582 | 136498.842 | 275525.0491 | 26.25 | 74
51008 | 2021-03-22 12:54 | 3.0034 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 229.9183 | μmol/L | 19.558 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.588 | 136549.388 | 275505.2428 | 26.25 | 74
51018 | 2021-03-22 12:54 | 3.3371 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 229.8813 | μmol/L | 19.5519 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.592 | 136579.1246 | 275504.7663 | 26.25 | 74
51029 | 2021-03-22 12:54 | 3.67 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 229.8008 | μmol/L | 19.558 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.594 | 136571.6232 | 275497.0717 | 26.25 | 74
51039 | 2021-03-22 12:55 | 4.0037 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 229.7204 | μmol/L | 19.5641 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.596 | 136565.015 | 275484.2647 | 26.25 | 74
51048 | 2021-03-22 12:55 | 4.3368 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 229.9422 | μmol/L | 19.5458 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.591 | 136545.2675 | 275479.2247 | 26.25 | 74
51059 | 2021-03-22 12:55 | 4.6704 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.0432 | μmol/L | 19.5519 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.584 | 136510.8375 | 275487.7795 | 26.25 | 74
51068 | 2021-03-22 12:56 | 5.0033 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.0597 | μmol/L | 19.5458 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.585 | 136470.0106 | 275465.396 | 26.25 | 74
51078 | 2021-03-22 12:56 | 5.337 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.0607 | μmol/L | 19.558 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.581 | 136450.5409 | 275469.4561 | 26.25 | 74
51089 | 2021-03-22 12:56 | 5.6705 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.1163 | μmol/L | 19.5519 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.58 | 136444.8706 | 275486.4537 | 26.25 | 74
51098 | 2021-03-22 12:57 | 6.0033 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.2775 | μmol/L | 19.5397 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.576 | 136439.8138 | 275468.4768 | 26.25 | 74
51109 | 2021-03-22 12:57 | 6.3372 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.0162 | μmol/L | 19.558 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.583 | 136453.3989 | 275469.9576 | 26.25 | 74
51119 | 2021-03-22 12:57 | 6.6704 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.1434 | μmol/L | 19.5458 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.581 | 136449.6311 | 275462.5841 | 26.25 | 74
51128 | 2021-03-22 12:58 | 7.0033 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.3285 | μmol/L | 19.5215 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.58 | 136447.5878 | 275467.921 | 26.25 | 74
51138 | 2021-03-22 12:58 | 7.337 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.2501 | μmol/L | 19.5215 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.584 | 136447.3331 | 275460.1265 | 26.25 | 74
51148 | 2021-03-22 12:58 | 7.6698 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.3111 | μmol/L | 19.5154 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.583 | 136441.8147 | 275469.1393 | 26.25 | 74
51158 | 2021-03-22 12:59 | 8.0038 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.1913 | μmol/L | 19.5215 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.587 | 136453.0338 | 275436.5837 | 26.25 | 74
51168 | 2021-03-22 12:59 | 8.3366 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.1521 | μmol/L | 19.5215 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.589 | 136482.2863 | 275453.5404 | 26.25 | 74
51178 | 2021-03-22 12:59 | 8.6703 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 229.9171 | μmol/L | 19.5215 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.601 | 136563.6136 | 275445.0647 | 26.25 | 74
51189 | 2021-03-22 13:00 | 9.0035 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 229.6281 | μmol/L | 19.5093 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.62 | 136685.7344 | 275444.4288 | 26.25 | 74
51199 | 2021-03-22 13:00 | 9.3373 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 229.073 | μmol/L | 19.5337 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.64 | 136806.3913 | 275440.8319 | 26.25 | 74
51209 | 2021-03-22 13:00 | 9.6703 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 228.9756 | μmol/L | 19.5337 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.645 | 136860.2231 | 275427.8871 | 26.25 | 74
51218 | 2021-03-22 13:01 | 10.0034 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 228.915 | μmol/L | 19.5397 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.646 | 136845.2168 | 275427.3102 | 26.25 | 74
51229 | 2021-03-22 13:01 | 10.3372 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 229.0243 | μmol/L | 19.5458 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.638 | 136808.4547 | 275424.4834 | 26.25 | 74
51238 | 2021-03-22 13:01 | 10.67 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 229.0469 | μmol/L | 19.5519 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.635 | 136766.5852 | 275417.8093 | 26.25 | 74
51248 | 2021-03-22 13:02 | 11.0032 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 228.9602 | μmol/L | 19.5763 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.631 | 136728.3316 | 275401.916 | 26.25 | 74
51259 | 2021-03-22 13:02 | 11.337 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 228.9549 | μmol/L | 19.5763 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.631 | 136735.7404 | 275393.1858 | 26.25 | 74
51268 | 2021-03-22 13:02 | 11.6699 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 228.7222 | μmol/L | 19.5885 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.639 | 136796.4042 | 275400.9202 | 26.25 | 74
51279 | 2021-03-22 13:03 | 12.0036 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 228.5666 | μmol/L | 19.5885 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.647 | 136832.4374 | 275396.4538 | 26.25 | 74
51288 | 2021-03-22 13:03 | 12.3366 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 228.7354 | μmol/L | 19.5519 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.651 | 136845.0045 | 275402.5306 | 26.25 | 74
51299 | 2021-03-22 13:03 | 12.6705 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 228.6532 | μmol/L | 19.5641 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.651 | 136838.3774 | 275389.4186 | 26.25 | 74
51308 | 2021-03-22 13:04 | 13.0034 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 228.6726 | μmol/L | 19.5641 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.65 | 136835.9349 | 275391.0957 | 26.25 | 74
51318 | 2021-03-22 13:04 | 13.3365 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 228.674 | μmol/L | 19.5458 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.656 | 136863.6336 | 275371.4443 | 26.25 | 74
51329 | 2021-03-22 13:04 | 13.6703 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 228.6396 | μmol/L | 19.5337 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.662 | 136921.5826 | 275374.4789 | 26.25 | 74
51338 | 2021-03-22 13:05 | 14.0032 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 228.6538 | μmol/L | 19.5093 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.67 | 136971.9477 | 275375.4297 | 26.25 | 74
51348 | 2021-03-22 13:05 | 14.3367 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 228.3237 | μmol/L | 19.5093 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.687 | 137105.1958 | 275361.4975 | 26.25 | 74
51358 | 2021-03-22 13:05 | 14.6698 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.5736 | μmol/L | 19.5337 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.717 | 137309.2291 | 275377.241 | 26.25 | 74
51368 | 2021-03-22 13:06 | 15.0035 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.1682 | μmol/L | 19.5337 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.738 | 137457.0658 | 275367.1032 | 26.25 | 74
51378 | 2021-03-22 13:06 | 15.3367 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.3556 | μmol/L | 19.4971 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.741 | 137478.9734 | 275372.9597 | 26.25 | 74
51388 | 2021-03-22 13:06 | 15.6698 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.2931 | μmol/L | 19.5093 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.74 | 137461.7984 | 275371.2134 | 26.25 | 74
51398 | 2021-03-22 13:07 | 16.0035 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.3078 | μmol/L | 19.5215 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.735 | 137425.6796 | 275362.0811 | 26.25 | 74
51408 | 2021-03-22 13:07 | 16.3371 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.4622 | μmol/L | 19.5215 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.727 | 137359.4852 | 275358.6523 | 26.25 | 74
51418 | 2021-03-22 13:07 | 16.6699 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.7032 | μmol/L | 19.4971 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.723 | 137303.3835 | 275354.9207 | 26.25 | 74
51428 | 2021-03-22 13:08 | 17.0035 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 228.0032 | μmol/L | 19.4849 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.712 | 137262.1195 | 275355.7737 | 26.25 | 74
51438 | 2021-03-22 13:08 | 17.3365 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 228.1457 | μmol/L | 19.4666 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.711 | 137217.6786 | 275349.4728 | 26.25 | 74
51448 | 2021-03-22 13:08 | 17.6703 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 228.2186 | μmol/L | 19.4788 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.703 | 137185.6563 | 275346.0984 | 26.25 | 74
51459 | 2021-03-22 13:09 | 18.0039 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 228.2328 | μmol/L | 19.4788 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.702 | 137169.8589 | 275348.6702 | 26.25 | 74
51468 | 2021-03-22 13:09 | 18.3366 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 228.3441 | μmol/L | 19.4544 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.705 | 137184.5462 | 275339.4386 | 26.25 | 74
51479 | 2021-03-22 13:09 | 18.6705 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 228.2688 | μmol/L | 19.4483 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.711 | 137215.3924 | 275341.3346 | 26.25 | 74
51488 | 2021-03-22 13:10 | 19.0036 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 228.237 | μmol/L | 19.4301 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.719 | 137270.4703 | 275347.0666 | 26.25 | 74
51498 | 2021-03-22 13:10 | 19.3365 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 228.0767 | μmol/L | 19.4301 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.727 | 137326.8883 | 275344.8061 | 26.25 | 74
51508 | 2021-03-22 13:10 | 19.6704 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 228.0216 | μmol/L | 19.4362 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.728 | 137352.1858 | 275337.2369 | 26.25 | 74
51518 | 2021-03-22 13:11 | 20.0034 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 228.0022 | μmol/L | 19.4362 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.729 | 137334.4372 | 275336.4037 | 26.25 | 74
51529 | 2021-03-22 13:11 | 20.3372 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.8359 | μmol/L | 19.4666 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.727 | 137323.2823 | 275354.6338 | 26.25 | 74
51539 | 2021-03-22 13:11 | 20.6702 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.8284 | μmol/L | 19.4727 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.725 | 137317.3089 | 275331.2732 | 26.25 | 74
51548 | 2021-03-22 13:12 | 21.0032 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.9127 | μmol/L | 19.4544 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.727 | 137310.6847 | 275340.8014 | 26.25 | 74
51558 | 2021-03-22 13:12 | 21.3368 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.9514 | μmol/L | 19.4544 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.725 | 137319.0544 | 275345.031 | 26.25 | 74
51568 | 2021-03-22 13:12 | 21.6706 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.8359 | μmol/L | 19.4666 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.727 | 137325.054 | 275332.6775 | 26.25 | 74
51578 | 2021-03-22 13:13 | 22.0038 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.6744 | μmol/L | 19.4849 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.729 | 137345.2181 | 275347.094 | 26.25 | 74
51589 | 2021-03-22 13:13 | 22.3371 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.6744 | μmol/L | 19.4849 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.729 | 137355.8586 | 275345.3438 | 26.25 | 74
51598 | 2021-03-22 13:13 | 22.67 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.6164 | μmol/L | 19.4849 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.732 | 137373.1203 | 275329.8849 | 26.25 | 74
51608 | 2021-03-22 13:14 | 23.0038 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.5244 | μmol/L | 19.4727 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.741 | 137408.705 | 275340.713 | 26.25 | 74
51618 | 2021-03-22 13:14 | 23.3365 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.4063 | μmol/L | 19.4788 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.745 | 137445.1009 | 275349.9144 | 26.25 | 74
51628 | 2021-03-22 13:14 | 23.6702 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.4132 | μmol/L | 19.4605 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.751 | 137483.8249 | 275346.7078 | 26.25 | 74
51638 | 2021-03-22 13:15 | 24.0031 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.2128 | μmol/L | 19.4666 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.759 | 137528.263 | 275337.7148 | 26.25 | 74
51648 | 2021-03-22 13:15 | 24.3369 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.1556 | μmol/L | 19.4788 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.758 | 137562.7245 | 275346.7141 | 26.25 | 74
51658 | 2021-03-22 13:15 | 24.6705 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.0785 | μmol/L | 19.4788 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.762 | 137591.4538 | 275363.2719 | 26.25 | 74
51668 | 2021-03-22 13:16 | 25.0034 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 226.9245 | μmol/L | 19.4788 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.77 | 137634.4233 | 275343.0575 | 26.25 | 74
51678 | 2021-03-22 13:16 | 25.3366 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 226.689 | μmol/L | 19.491 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.778 | 137678.656 | 275343.9588 | 26.25 | 74
51689 | 2021-03-22 13:16 | 25.6705 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 226.5137 | μmol/L | 19.4971 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.785 | 137742.4284 | 275338.808 | 26.25 | 74
51698 | 2021-03-22 13:17 | 26.0034 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 226.3985 | μmol/L | 19.4971 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.791 | 137800.1079 | 275344.492 | 26.25 | 74
51709 | 2021-03-22 13:17 | 26.3372 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 226.3026 | μmol/L | 19.4971 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.796 | 137824.813 | 275340.5958 | 26.25 | 74
51718 | 2021-03-22 13:17 | 26.6701 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 226.1613 | μmol/L | 19.5154 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.797 | 137846.7059 | 275343.0621 | 26.25 | 74
51728 | 2021-03-22 13:18 | 27.0032 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 226.0632 | μmol/L | 19.5215 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.8 | 137855.6364 | 275329.4649 | 26.25 | 74
51739 | 2021-03-22 13:18 | 27.3371 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 226.0394 | μmol/L | 19.5337 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.797 | 137849.9711 | 275342.5013 | 26.25 | 74
51748 | 2021-03-22 13:18 | 27.67 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 226.0202 | μmol/L | 19.5337 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.798 | 137850.8334 | 275338.0713 | 26.25 | 74
51758 | 2021-03-22 13:19 | 28.0038 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.939 | μmol/L | 19.5458 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.798 | 137868.2296 | 275327.0485 | 26.25 | 74
51768 | 2021-03-22 13:19 | 28.337 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.9175 | μmol/L | 19.5519 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.797 | 137893.4657 | 275323.1562 | 26.25 | 74
51778 | 2021-03-22 13:19 | 28.6698 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.805 | μmol/L | 19.5458 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.805 | 137916.9206 | 275327.5658 | 26.25 | 74
51788 | 2021-03-22 13:20 | 29.0037 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.7881 | μmol/L | 19.5397 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.808 | 137945.0029 | 275330.4168 | 26.25 | 74
51798 | 2021-03-22 13:20 | 29.3365 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.5326 | μmol/L | 19.558 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.815 | 137961.6384 | 275320.5772 | 26.25 | 74
51809 | 2021-03-22 13:20 | 29.6705 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.5517 | μmol/L | 19.558 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.814 | 137970.9334 | 275325.2827 | 26.25 | 74
51818 | 2021-03-22 13:21 | 30.0036 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.3705 | μmol/L | 19.5824 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.815 | 137979.6137 | 275303.3131 | 26.25 | 74
51828 | 2021-03-22 13:21 | 30.3366 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.3682 | μmol/L | 19.5885 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.813 | 137965.7707 | 275310.9101 | 26.25 | 74
51838 | 2021-03-22 13:21 | 30.6703 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.3277 | μmol/L | 19.5946 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.813 | 137973.2392 | 275305.2473 | 26.25 | 74
51848 | 2021-03-22 13:22 | 31.0031 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.4446 | μmol/L | 19.5885 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.809 | 137953.8819 | 275302.3745 | 26.25 | 74
51858 | 2021-03-22 13:22 | 31.3368 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.385 | μmol/L | 19.5946 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.81 | 137946.1655 | 275300.8298 | 26.25 | 74
51868 | 2021-03-22 13:22 | 31.6698 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.2895 | μmol/L | 19.5946 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.815 | 137973.7408 | 275306.3133 | 26.25 | 74
51878 | 2021-03-22 13:23 | 32.0034 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.3063 | μmol/L | 19.6007 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.812 | 138001.5218 | 275294.9548 | 26.25 | 74
51888 | 2021-03-22 13:23 | 32.3373 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.1536 | μmol/L | 19.6007 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.82 | 137999.9497 | 275291.3599 | 26.25 | 74
51899 | 2021-03-22 13:23 | 32.6702 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.1727 | μmol/L | 19.6007 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.819 | 137982.9863 | 275289.2095 | 26.25 | 74
51908 | 2021-03-22 13:24 | 33.0032 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.3109 | μmol/L | 19.5885 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.816 | 137976.7977 | 275286.7653 | 26.25 | 74
51919 | 2021-03-22 13:24 | 33.3369 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.2345 | μmol/L | 19.5885 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.82 | 138011.0072 | 275293.9237 | 26.25 | 74
51929 | 2021-03-22 13:24 | 33.6705 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.0178 | μmol/L | 19.6068 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.825 | 138039.2831 | 275278.7071 | 26.25 | 74
51938 | 2021-03-22 13:25 | 34.0034 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.9606 | μmol/L | 19.6068 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.828 | 138056.7962 | 275287.9053 | 26.25 | 74
51949 | 2021-03-22 13:25 | 34.337 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.863 | μmol/L | 19.6129 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.831 | 138080.5899 | 275288.2407 | 26.25 | 74
51958 | 2021-03-22 13:25 | 34.67 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.7632 | μmol/L | 19.6251 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.832 | 138097.9998 | 275273.34 | 26.25 | 74
51968 | 2021-03-22 13:26 | 35.0032 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.5683 | μmol/L | 19.6372 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.838 | 138135.9139 | 275273.8637 | 26.25 | 74
51979 | 2021-03-22 13:26 | 35.337 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.4922 | μmol/L | 19.6372 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.842 | 138173.0205 | 275279.6806 | 26.25 | 74
51988 | 2021-03-22 13:26 | 35.6702 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.3972 | μmol/L | 19.6372 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.847 | 138194.0243 | 275275.5567 | 26.25 | 74
51998 | 2021-03-22 13:27 | 36.0038 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.3189 | μmol/L | 19.6433 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.849 | 138230.9724 | 275253.9867 | 26.25 | 74
52008 | 2021-03-22 13:27 | 36.3368 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.0888 | μmol/L | 19.6494 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.859 | 138262.0972 | 275264.9012 | 26.25 | 74
52018 | 2021-03-22 13:27 | 36.6699 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.2285 | μmol/L | 19.6311 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.858 | 138288.0354 | 275260.0287 | 26.25 | 74
52029 | 2021-03-22 13:28 | 37.0038 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.0957 | μmol/L | 19.6311 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.865 | 138326.8793 | 275245.3542 | 26.25 | 74
52038 | 2021-03-22 13:28 | 37.3366 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.0222 | μmol/L | 19.6251 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.871 | 138347.8185 | 275257.4079 | 26.25 | 74
52049 | 2021-03-22 13:28 | 37.6702 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.0032 | μmol/L | 19.6251 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.872 | 138383.1586 | 275243.3102 | 26.25 | 74
52058 | 2021-03-22 13:29 | 38.0033 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 223.8705 | μmol/L | 19.6251 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.879 | 138429.8948 | 275253.7082 | 26.25 | 74
52068 | 2021-03-22 13:29 | 38.3369 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 223.7569 | μmol/L | 19.6251 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.885 | 138461.3593 | 275250.5188 | 26.25 | 74
52078 | 2021-03-22 13:29 | 38.6706 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 223.7024 | μmol/L | 19.619 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.89 | 138497.2826 | 275250.9437 | 26.25 | 74
52088 | 2021-03-22 13:30 | 39.0037 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 223.4987 | μmol/L | 19.6433 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.892 | 138521.3626 | 275243.7173 | 26.25 | 74
52098 | 2021-03-22 13:30 | 39.3366 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 223.4283 | μmol/L | 19.6433 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.896 | 138554.6233 | 275247.0386 | 26.25 | 74
52109 | 2021-03-22 13:30 | 39.6705 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 223.3952 | μmol/L | 19.6311 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.902 | 138593.632 | 275247.2076 | 26.25 | 74
52118 | 2021-03-22 13:31 | 40.0036 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 223.2606 | μmol/L | 19.6372 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.907 | 138646.267 | 275242.8066 | 26.25 | 74
52128 | 2021-03-22 13:31 | 40.3365 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 223.0718 | μmol/L | 19.6372 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.917 | 138683.3829 | 275243.8569 | 26.25 | 74
52139 | 2021-03-22 13:31 | 40.6701 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 222.9936 | μmol/L | 19.6311 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.923 | 138731.9971 | 275251.2378 | 26.25 | 74
52149 | 2021-03-22 13:32 | 41.0038 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 222.8621 | μmol/L | 19.6433 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.926 | 138765.4473 | 275253.2578 | 26.25 | 74
52158 | 2021-03-22 13:32 | 41.3368 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 222.7467 | μmol/L | 19.6494 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.93 | 138778.5568 | 275261.2857 | 26.25 | 74
52169 | 2021-03-22 13:32 | 41.6705 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 222.7679 | μmol/L | 19.6433 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.931 | 138804.6915 | 275246.7162 | 26.25 | 74
52179 | 2021-03-22 13:33 | 42.0033 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 222.6691 | μmol/L | 19.6555 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.932 | 138835.2323 | 275243.5534 | 26.25 | 74
52188 | 2021-03-22 13:33 | 42.3372 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 222.441 | μmol/L | 19.6616 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.942 | 138870.8913 | 275258.3227 | 26.25 | 74
52198 | 2021-03-22 13:33 | 42.6702 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 222.4621 | μmol/L | 19.6555 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.943 | 138885.2725 | 275249.534 | 26.25 | 74
52208 | 2021-03-22 13:34 | 43.0032 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 222.3446 | μmol/L | 19.6677 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.945 | 138878.9287 | 275251.2167 | 26.25 | 74
52219 | 2021-03-22 13:34 | 43.337 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 222.3235 | μmol/L | 19.6738 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.944 | 138901.9974 | 275236.8229 | 26.25 | 74
52228 | 2021-03-22 13:34 | 43.6698 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 222.1122 | μmol/L | 19.686 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.951 | 138911.1689 | 275230.7573 | 26.25 | 74
52239 | 2021-03-22 13:35 | 44.0036 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 222.1146 | μmol/L | 19.6799 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.953 | 138949.2876 | 275233.9495 | 26.25 | 74
52248 | 2021-03-22 13:35 | 44.3364 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 222.2131 | μmol/L | 19.6677 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.952 | 138978.9801 | 275237.0115 | 26.25 | 74
52259 | 2021-03-22 13:35 | 44.6705 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 222.1428 | μmol/L | 19.6555 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.96 | 139010.0975 | 275231.3597 | 26.25 | 74
52268 | 2021-03-22 13:36 | 45.0033 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 222.0701 | μmol/L | 19.6494 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.966 | 139040.3282 | 275241.826 | 26.25 | 74
52279 | 2021-03-22 13:36 | 45.337 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 222.035 | μmol/L | 19.6433 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.97 | 139061.8868 | 275236.7324 | 26.25 | 74
52288 | 2021-03-22 13:36 | 45.6699 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 222.0725 | μmol/L | 19.6433 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.968 | 139084.3052 | 275233.6654 | 26.25 | 74
52299 | 2021-03-22 13:37 | 46.0038 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 221.8451 | μmol/L | 19.6494 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.978 | 139110.5209 | 275236.8553 | 26.25 | 74
52308 | 2021-03-22 13:37 | 46.3367 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 221.7678 | μmol/L | 19.6555 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.98 | 139124.9277 | 275235.9561 | 26.25 | 74
52319 | 2021-03-22 13:37 | 46.6703 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 221.7913 | μmol/L | 19.6433 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.983 | 139146.8787 | 275229.778 | 26.25 | 74
52328 | 2021-03-22 13:38 | 47.0032 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 221.7327 | μmol/L | 19.6494 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.984 | 139166.1469 | 275230.9473 | 26.25 | 74
52338 | 2021-03-22 13:38 | 47.337 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 221.8124 | μmol/L | 19.6372 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.984 | 139185.7308 | 275227.6349 | 26.25 | 74
52349 | 2021-03-22 13:38 | 47.6701 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 221.7774 | μmol/L | 19.6311 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.988 | 139199.2865 | 275226.5648 | 26.25 | 74
52358 | 2021-03-22 13:39 | 48.0038 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 221.6626 | μmol/L | 19.6372 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.992 | 139215.8817 | 275234.0846 | 26.25 | 74
52369 | 2021-03-22 13:39 | 48.3369 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 221.6228 | μmol/L | 19.6433 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.992 | 139221.2757 | 275226.3102 | 26.25 | 74
52378 | 2021-03-22 13:39 | 48.6699 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 221.5854 | μmol/L | 19.6433 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.994 | 139227.7365 | 275233.5803 | 26.25 | 74
52388 | 2021-03-22 13:40 | 49.0037 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 221.6065 | μmol/L | 19.6372 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.995 | 139232.6692 | 275226.6196 | 26.25 | 74
52399 | 2021-03-22 13:40 | 49.3372 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 221.6885 | μmol/L | 19.619 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.997 | 139246.2226 | 275232.2814 | 26.25 | 74
52408 | 2021-03-22 13:40 | 49.6701 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 221.6089 | μmol/L | 19.6311 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.997 | 139258.9071 | 275215.5548 | 26.25 | 74
52418 | 2021-03-22 13:41 | 50.0038 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 221.5154 | μmol/L | 19.6311 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.002 | 139269.7066 | 275221.526 | 26.25 | 74
52428 | 2021-03-22 13:41 | 50.3367 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 221.4593 | μmol/L | 19.6311 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.005 | 139296.9417 | 275218.38 | 26.25 | 74
52438 | 2021-03-22 13:41 | 50.6699 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 221.4219 | μmol/L | 19.6311 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.007 | 139305.8227 | 275219.3097 | 26.25 | 74
52448 | 2021-03-22 13:42 | 51.0035 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 221.4032 | μmol/L | 19.6311 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.008 | 139320.0529 | 275221.1739 | 26.25 | 74
52459 | 2021-03-22 13:42 | 51.3372 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 221.3074 | μmol/L | 19.6372 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.011 | 139335.7592 | 275205.8869 | 26.25 | 74
52468 | 2021-03-22 13:42 | 51.6703 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 221.3683 | μmol/L | 19.6251 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.012 | 139339.147 | 275192.7028 | 26.25 | 74
52478 | 2021-03-22 13:43 | 52.0034 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 221.3731 | μmol/L | 19.6129 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.016 | 139385.6434 | 275210.2803 | 26.25 | 74
52489 | 2021-03-22 13:43 | 52.3371 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 221.0509 | μmol/L | 19.6251 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.029 | 139464.065 | 275197.8874 | 26.25 | 74
52498 | 2021-03-22 13:43 | 52.67 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 220.8718 | μmol/L | 19.6068 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.045 | 139598.1949 | 275199.8464 | 26.25 | 74
52508 | 2021-03-22 13:44 | 53.0032 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 220.2693 | μmol/L | 19.6251 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.071 | 139734.0959 | 275205.2172 | 26.25 | 74
52518 | 2021-03-22 13:44 | 53.3369 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 220.0467 | μmol/L | 19.6251 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.083 | 139858.9467 | 275184.6769 | 26.25 | 74
52528 | 2021-03-22 13:44 | 53.6699 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 219.7663 | μmol/L | 19.6311 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.096 | 139936.5155 | 275191.1846 | 26.25 | 74
52539 | 2021-03-22 13:45 | 54.0039 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 219.4678 | μmol/L | 19.6372 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.11 | 140011.9227 | 275202.0049 | 26.25 | 74
52548 | 2021-03-22 13:45 | 54.337 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 219.336 | μmol/L | 19.6433 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.115 | 140046.7523 | 275190.7111 | 26.25 | 74
52558 | 2021-03-22 13:45 | 54.6701 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 219.315 | μmol/L | 19.6494 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.114 | 140075.3024 | 275200.5706 | 26.25 | 74
52568 | 2021-03-22 13:46 | 55.004 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 219.4518 | μmol/L | 19.6311 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.113 | 140064.3443 | 275197.8407 | 26.25 | 74
52579 | 2021-03-22 13:46 | 55.3367 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 219.4493 | μmol/L | 19.6372 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.111 | 140035.8417 | 275185.6302 | 26.25 | 74
52589 | 2021-03-22 13:46 | 55.6705 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 219.4678 | μmol/L | 19.6372 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.11 | 140026.1197 | 275191.6148 | 26.25 | 74
52598 | 2021-03-22 13:47 | 56.0033 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 219.4653 | μmol/L | 19.6433 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.108 | 140005.4474 | 275193.18 | 26.25 | 74
52609 | 2021-03-22 13:47 | 56.3371 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 219.5183 | μmol/L | 19.6494 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.103 | 139981.3542 | 275190.461 | 26.25 | 74
52618 | 2021-03-22 13:47 | 56.6701 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 219.4604 | μmol/L | 19.6555 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.104 | 139980.0008 | 275196.3658 | 26.25 | 74
52629 | 2021-03-22 13:48 | 57.0038 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 219.3373 | μmol/L | 19.686 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.1 | 139960.3316 | 275178.5728 | 26.25 | 74
52638 | 2021-03-22 13:48 | 57.337 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 219.2425 | μmol/L | 19.6921 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.103 | 139968.6883 | 275189.9561 | 26.25 | 74
52648 | 2021-03-22 13:48 | 57.6699 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 219.6318 | μmol/L | 19.6433 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.099 | 139969.759 | 275168.2068 | 26.25 | 74
52658 | 2021-03-22 13:49 | 58.0037 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 219.5812 | μmol/L | 19.6311 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.106 | 139969.5137 | 275186.1008 | 26.25 | 74
52668 | 2021-03-22 13:49 | 58.3369 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 219.7786 | μmol/L | 19.6007 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.106 | 139978.8874 | 275179.8665 | 26.25 | 74
52678 | 2021-03-22 13:49 | 58.6698 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 219.7391 | μmol/L | 19.6068 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.106 | 139988.9801 | 275181.5248 | 26.25 | 74
52689 | 2021-03-22 13:50 | 59.0036 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 219.7181 | μmol/L | 19.6129 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.105 | 139994.1082 | 275182.1081 | 26.25 | 74
52698 | 2021-03-22 13:50 | 59.3365 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 219.6256 | μmol/L | 19.6129 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.11 | 140008.9534 | 275183.6766 | 26.25 | 74
52709 | 2021-03-22 13:50 | 59.6702 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 219.707 | μmol/L | 19.5946 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.112 | 140031.1776 | 275184.3055 | 26.25 | 74
52718 | 2021-03-22 13:51 | 60.0031 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 219.8045 | μmol/L | 19.5824 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.111 | 140054.786 | 275194.4237 | 26.25 | 74
52728 | 2021-03-22 13:51 | 60.3369 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 219.786 | μmol/L | 19.5824 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.112 | 140059.1193 | 275188.9585 | 26.25 | 74
52739 | 2021-03-22 13:51 | 60.6706 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 219.5985 | μmol/L | 19.5885 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.12 | 140076.5416 | 275204.9789 | 26.25 | 74
52749 | 2021-03-22 13:52 | 61.0034 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 219.696 | μmol/L | 19.5763 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.119 | 140106.3376 | 275203.1666 | 26.25 | 74
52758 | 2021-03-22 13:52 | 61.3372 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 219.4322 | μmol/L | 19.5885 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.129 | 140134.3832 | 275191.2703 | 26.25 | 74
52768 | 2021-03-22 13:52 | 61.6701 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 219.1957 | μmol/L | 19.6251 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.129 | 140161.8072 | 275201.8882 | 26.25 | 74
52779 | 2021-03-22 13:53 | 62.0039 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 219.1243 | μmol/L | 19.619 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.135 | 140192.3299 | 275192.4296 | 26.25 | 74
52788 | 2021-03-22 13:53 | 62.3368 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 218.7499 | μmol/L | 19.5885 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.166 | 140410.5824 | 275188.6942 | 26.25 | 74
52799 | 2021-03-22 13:53 | 62.6705 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 217.9786 | μmol/L | 19.5885 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.208 | 140727.6093 | 275204.9507 | 26.25 | 74
52808 | 2021-03-22 13:54 | 63.0034 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 217.5185 | μmol/L | 19.5946 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.231 | 140891.7471 | 275210.4043 | 26.25 | 74
52819 | 2021-03-22 13:54 | 63.337 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 217.1614 | μmol/L | 19.619 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.242 | 140964.6484 | 275208.639 | 26.25 | 74
52828 | 2021-03-22 13:54 | 63.6698 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 217.0884 | μmol/L | 19.619 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.246 | 140978.4756 | 275196.805 | 26.25 | 74
52838 | 2021-03-22 13:55 | 64.0036 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 217.1016 | μmol/L | 19.6311 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.241 | 140962.6984 | 275219.0653 | 26.25 | 74
52848 | 2021-03-22 13:55 | 64.3366 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 217.349 | μmol/L | 19.6068 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.236 | 140919.8556 | 275201.786 | 26.25 | 74
52859 | 2021-03-22 13:55 | 64.6703 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 217.3256 | μmol/L | 19.619 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.233 | 140885.6123 | 275204.5347 | 26.25 | 74
52868 | 2021-03-22 13:56 | 65.0032 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 217.3987 | μmol/L | 19.619 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.229 | 140859.6257 | 275205.685 | 26.25 | 74
52878 | 2021-03-22 13:56 | 65.3371 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 217.4119 | μmol/L | 19.6311 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.224 | 140833.9054 | 275198.9723 | 26.25 | 74
52888 | 2021-03-22 13:56 | 65.6702 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 217.4875 | μmol/L | 19.6251 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.222 | 140815.6709 | 275193.5265 | 26.25 | 74
52899 | 2021-03-22 13:57 | 66.0037 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 217.5083 | μmol/L | 19.619 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.223 | 140822.2321 | 275216.9101 | 26.25 | 74
52908 | 2021-03-22 13:57 | 66.3366 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 217.2658 | μmol/L | 19.6311 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.232 | 140865.1219 | 275211.5715 | 26.25 | 74
52919 | 2021-03-22 13:57 | 66.6703 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 217.1588 | μmol/L | 19.6251 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.24 | 140920.9016 | 275201.8423 | 26.25 | 74
52928 | 2021-03-22 13:58 | 67.0033 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 217.1249 | μmol/L | 19.619 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.244 | 140960.4395 | 275212.0709 | 26.25 | 74
52939 | 2021-03-22 13:58 | 67.3369 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 217.0519 | μmol/L | 19.619 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.248 | 140983.8498 | 275206.0662 | 26.25 | 74
52948 | 2021-03-22 13:58 | 67.6699 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 217.1741 | μmol/L | 19.5885 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.252 | 141009.9691 | 275203.2568 | 26.25 | 74
52958 | 2021-03-22 13:59 | 68.0037 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 217.2366 | μmol/L | 19.5702 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.255 | 141040.1176 | 275204.3728 | 26.25 | 74
52968 | 2021-03-22 13:59 | 68.3367 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 217.2391 | μmol/L | 19.5641 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.257 | 141070.7138 | 275197.985 | 26.25 | 74
52979 | 2021-03-22 13:59 | 68.6703 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 217.0542 | μmol/L | 19.5702 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.265 | 141109.9871 | 275195.226 | 26.25 | 74
52988 | 2021-03-22 14:00 | 69.0034 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 217.1557 | μmol/L | 19.5458 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.268 | 141133.5132 | 275194.6159 | 26.25 | 74
52998 | 2021-03-22 14:00 | 69.337 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 217.3328 | μmol/L | 19.5154 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.269 | 141138.2536 | 275196.3135 | 26.25 | 74
53008 | 2021-03-22 14:00 | 69.6701 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 217.0776 | μmol/L | 19.558 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.268 | 141158.0494 | 275196.5754 | 26.25 | 74
53019 | 2021-03-22 14:01 | 70.0039 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.8851 | μmol/L | 19.5824 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.27 | 141174.2976 | 275201.5212 | 26.25 | 74
53029 | 2021-03-22 14:01 | 70.3368 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 217.0047 | μmol/L | 19.558 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.272 | 141187.8668 | 275209.4058 | 26.25 | 74
53038 | 2021-03-22 14:01 | 70.6704 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.8382 | μmol/L | 19.5641 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.279 | 141210.6963 | 275208.244 | 26.25 | 74
53048 | 2021-03-22 14:02 | 71.0032 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.82 | μmol/L | 19.5641 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.28 | 141212.9923 | 275199.008 | 26.25 | 74
53059 | 2021-03-22 14:02 | 71.3372 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.859 | μmol/L | 19.558 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.28 | 141214.5922 | 275195.1793 | 26.25 | 74
53069 | 2021-03-22 14:02 | 71.6701 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 217.0957 | μmol/L | 19.5154 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.282 | 141219.9307 | 275191.0749 | 26.25 | 74
53078 | 2021-03-22 14:03 | 72.0039 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.8824 | μmol/L | 19.5458 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.283 | 141232.8008 | 275175.4344 | 26.25 | 74
53089 | 2021-03-22 14:03 | 72.3371 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.6667 | μmol/L | 19.5824 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.282 | 141244.4461 | 275197.8318 | 26.25 | 74
53099 | 2021-03-22 14:03 | 72.67 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.7316 | μmol/L | 19.558 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.287 | 141253.0297 | 275183.4724 | 26.25 | 74
53108 | 2021-03-22 14:04 | 73.0038 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 217.0645 | μmol/L | 19.5032 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.288 | 141256.5831 | 275178.2949 | 26.25 | 74
53118 | 2021-03-22 14:04 | 73.3369 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 217.1426 | μmol/L | 19.491 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.288 | 141264.5509 | 275189.0112 | 26.25 | 74
53129 | 2021-03-22 14:04 | 73.6705 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 217.0046 | μmol/L | 19.5154 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.287 | 141291.0262 | 275193.7349 | 26.25 | 74
53138 | 2021-03-22 14:05 | 74.0035 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.5083 | μmol/L | 19.5702 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.295 | 141316.9195 | 275203.6678 | 26.25 | 74
53148 | 2021-03-22 14:05 | 74.3365 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.529 | μmol/L | 19.5641 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.296 | 141337.498 | 275202.5409 | 26.25 | 74
53158 | 2021-03-22 14:05 | 74.6702 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.8642 | μmol/L | 19.5032 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.299 | 141346.2947 | 275198.0471 | 26.25 | 74
53168 | 2021-03-22 14:06 | 75.0039 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.7706 | μmol/L | 19.5093 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.302 | 141357.3914 | 275199.6314 | 26.25 | 74
53179 | 2021-03-22 14:06 | 75.3369 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.6693 | μmol/L | 19.5337 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.299 | 141360.8589 | 275209.5117 | 26.25 | 74
53188 | 2021-03-22 14:06 | 75.6698 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.8616 | μmol/L | 19.5093 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.297 | 141356.3349 | 275189.7648 | 26.25 | 74
53199 | 2021-03-22 14:07 | 76.0037 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.7654 | μmol/L | 19.5215 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.298 | 141365.5578 | 275196.7893 | 26.25 | 74
53208 | 2021-03-22 14:07 | 76.3365 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.7888 | μmol/L | 19.5093 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.301 | 141381.2961 | 275182.4227 | 26.25 | 74
53219 | 2021-03-22 14:07 | 76.6703 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.6173 | μmol/L | 19.5276 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.304 | 141389.9691 | 275194.8643 | 26.25 | 74
53228 | 2021-03-22 14:08 | 77.0032 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.6147 | μmol/L | 19.5337 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.302 | 141379.7841 | 275193.8732 | 26.25 | 74
53238 | 2021-03-22 14:08 | 77.3369 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.5965 | μmol/L | 19.5337 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.303 | 141380.3768 | 275201.5117 | 26.25 | 74
53248 | 2021-03-22 14:08 | 77.6706 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.5031 | μmol/L | 19.5397 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.306 | 141390.2262 | 275200.4714 | 26.25 | 74
53258 | 2021-03-22 14:09 | 78.0035 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.4875 | μmol/L | 19.5337 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.309 | 141418.1251 | 275193.1835 | 26.25 | 74
53268 | 2021-03-22 14:09 | 78.3365 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.4304 | μmol/L | 19.5397 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.31 | 141453.8104 | 275202.1471 | 26.25 | 74
53278 | 2021-03-22 14:09 | 78.6702 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.3397 | μmol/L | 19.5397 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.315 | 141471.3316 | 275197.9291 | 26.25 | 74
53288 | 2021-03-22 14:10 | 79.0033 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.1505 | μmol/L | 19.558 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.319 | 141490.4538 | 275197.4301 | 26.25 | 74
53299 | 2021-03-22 14:10 | 79.337 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.1738 | μmol/L | 19.5458 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.322 | 141516.7265 | 275202.1424 | 26.25 | 74
53308 | 2021-03-22 14:10 | 79.67 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.1168 | μmol/L | 19.5519 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.323 | 141536.7453 | 275202.213 | 26.25 | 74
53319 | 2021-03-22 14:11 | 80.0037 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.9692 | μmol/L | 19.558 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.329 | 141574.9489 | 275204.9764 | 26.25 | 74
53328 | 2021-03-22 14:11 | 80.3367 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.8968 | μmol/L | 19.558 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.333 | 141607.893 | 275208.3341 | 26.25 | 74
53339 | 2021-03-22 14:11 | 80.6699 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.8632 | μmol/L | 19.5519 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.337 | 141643.2058 | 275207.476 | 26.25 | 74
53348 | 2021-03-22 14:12 | 81.0035 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.7287 | μmol/L | 19.5702 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.338 | 141665.4104 | 275206.5442 | 26.25 | 74
53359 | 2021-03-22 14:12 | 81.3371 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.7132 | μmol/L | 19.5641 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.341 | 141687.2785 | 275221.1365 | 26.25 | 74
53368 | 2021-03-22 14:12 | 81.6698 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.6202 | μmol/L | 19.5702 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.344 | 141704.9396 | 275214.7406 | 26.25 | 74
53378 | 2021-03-22 14:13 | 82.0036 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.4652 | μmol/L | 19.5946 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.344 | 141703.6283 | 275194.1516 | 26.25 | 74
53388 | 2021-03-22 14:13 | 82.3365 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.4652 | μmol/L | 19.5946 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.344 | 141724.1454 | 275202.4298 | 26.25 | 74
53398 | 2021-03-22 14:13 | 82.67 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.4652 | μmol/L | 19.5946 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.344 | 141724.1289 | 275216.9427 | 26.25 | 74
53408 | 2021-03-22 14:14 | 83.0039 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.4084 | μmol/L | 19.6007 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.345 | 141729.8177 | 275210.7977 | 26.25 | 74
53418 | 2021-03-22 14:14 | 83.3367 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.2949 | μmol/L | 19.6129 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.347 | 141729.2648 | 275207.1239 | 26.25 | 74
53428 | 2021-03-22 14:14 | 83.6698 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.349 | μmol/L | 19.6129 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.344 | 141741.2852 | 275211.7041 | 26.25 | 74
53439 | 2021-03-22 14:15 | 84.0038 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.3103 | μmol/L | 19.619 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.344 | 141734.393 | 275194.919 | 26.25 | 74
53448 | 2021-03-22 14:15 | 84.3373 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.2329 | μmol/L | 19.6311 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.344 | 141739.5135 | 275198.4879 | 26.25 | 74