## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-22 14:27

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
50921 | 2021-03-22 12:51 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 231.0952 | μmol/L | 19.6331 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.392 | 131165.7164 | 275514.9733 | 32.55 | 27.7
50931 | 2021-03-22 12:51 | 0.327 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 231.0202 | μmol/L | 19.6209 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.4 | 131207.8653 | 275476.718 | 32.55 | 27.7
50940 | 2021-03-22 12:51 | 0.66068 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 231.046 | μmol/L | 19.6025 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.405 | 131224.6756 | 275466.4394 | 32.55 | 27.7
50950 | 2021-03-22 12:52 | 0.99365 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 230.9078 | μmol/L | 19.6025 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.412 | 131251.0611 | 275442.5172 | 32.55 | 27.7
50960 | 2021-03-22 12:52 | 1.3274 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 230.7479 | μmol/L | 19.6086 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.418 | 131288.2116 | 275413.9892 | 32.55 | 27.7
50971 | 2021-03-22 12:52 | 1.6611 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 230.6276 | μmol/L | 19.6147 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.422 | 131313.2674 | 275392.7607 | 32.55 | 27.7
50980 | 2021-03-22 12:53 | 1.9939 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 230.47 | μmol/L | 19.6147 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.43 | 131357.7601 | 275378.9373 | 32.55 | 27.7
50990 | 2021-03-22 12:53 | 2.3275 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 230.4089 | μmol/L | 19.6209 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.431 | 131378.4212 | 275361.348 | 32.55 | 27.7
51000 | 2021-03-22 12:53 | 2.6604 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 230.2732 | μmol/L | 19.6147 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.44 | 131408.9652 | 275359.1115 | 32.55 | 27.7
51010 | 2021-03-22 12:54 | 2.994 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 230.24 | μmol/L | 19.5964 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.448 | 131452.1194 | 275329.5246 | 32.55 | 27.7
51021 | 2021-03-22 12:54 | 3.3277 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 230.1459 | μmol/L | 19.5842 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.457 | 131512.3732 | 275313.0154 | 32.55 | 27.7
51030 | 2021-03-22 12:54 | 3.6606 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 229.8492 | μmol/L | 19.5903 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.47 | 131571.2474 | 275332.7282 | 32.55 | 27.7
51041 | 2021-03-22 12:55 | 3.9943 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 229.7491 | μmol/L | 19.5964 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.473 | 131597.9308 | 275310.3051 | 32.55 | 27.7
51051 | 2021-03-22 12:55 | 4.3273 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 229.651 | μmol/L | 19.5964 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.478 | 131612.1788 | 275302.9029 | 32.55 | 27.7
51061 | 2021-03-22 12:55 | 4.661 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 229.6097 | μmol/L | 19.6025 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.478 | 131619.3929 | 275291.2383 | 32.55 | 27.7
51071 | 2021-03-22 12:56 | 4.9939 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 229.4509 | μmol/L | 19.6086 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.484 | 131647.0754 | 275300.3743 | 32.55 | 27.7
51080 | 2021-03-22 12:56 | 5.3278 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 229.2922 | μmol/L | 19.6147 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.49 | 131667.7129 | 275277.4262 | 32.55 | 27.7
51091 | 2021-03-22 12:56 | 5.6608 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 229.416 | μmol/L | 19.5964 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.49 | 131720.7327 | 275275.1328 | 32.55 | 27.7
51100 | 2021-03-22 12:57 | 5.9937 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 229.3202 | μmol/L | 19.5903 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.497 | 131724.7139 | 275262.1231 | 32.55 | 27.7
51111 | 2021-03-22 12:57 | 6.3278 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 229.2008 | μmol/L | 19.5964 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.501 | 131743.6513 | 275255.5825 | 32.55 | 27.7
51121 | 2021-03-22 12:57 | 6.661 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 229.0639 | μmol/L | 19.5964 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.508 | 131779.9941 | 275248.0989 | 32.55 | 27.7
51131 | 2021-03-22 12:58 | 6.994 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 229.0312 | μmol/L | 19.578 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.516 | 131830.1356 | 275231.7014 | 32.55 | 27.7
51141 | 2021-03-22 12:58 | 7.3276 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 228.951 | μmol/L | 19.5842 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.518 | 131837.9229 | 275241.1383 | 32.55 | 27.7
51150 | 2021-03-22 12:58 | 7.6604 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 228.7948 | μmol/L | 19.5842 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.526 | 131878.3214 | 275235.3042 | 32.55 | 27.7
51161 | 2021-03-22 12:59 | 7.9942 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 228.6778 | μmol/L | 19.5842 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.532 | 131908.1988 | 275225.2116 | 32.55 | 27.7
51171 | 2021-03-22 12:59 | 8.327 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 228.4398 | μmol/L | 19.5964 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.54 | 131953.8678 | 275226.8417 | 32.55 | 27.7
51181 | 2021-03-22 12:59 | 8.6607 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 228.4008 | μmol/L | 19.5964 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.542 | 131995.5052 | 275227.136 | 32.55 | 27.7
51190 | 2021-03-22 13:00 | 8.9939 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 228.2409 | μmol/L | 19.6086 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.546 | 132033.1178 | 275220.7365 | 32.55 | 27.7
51201 | 2021-03-22 13:00 | 9.3277 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 228.0443 | μmol/L | 19.6147 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.554 | 132048.2309 | 275192.4874 | 32.55 | 27.7
51211 | 2021-03-22 13:00 | 9.6606 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 227.8264 | μmol/L | 19.627 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.561 | 132079.667 | 275198.8847 | 32.55 | 27.7
51220 | 2021-03-22 13:01 | 9.9944 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 227.6669 | μmol/L | 19.6392 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.565 | 132111.576 | 275188.5927 | 32.55 | 27.7
51231 | 2021-03-22 13:01 | 10.3274 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 227.6087 | μmol/L | 19.6392 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.568 | 132145.0106 | 275181.1476 | 32.55 | 27.7
51240 | 2021-03-22 13:01 | 10.6604 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 227.473 | μmol/L | 19.6392 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.575 | 132181.4668 | 275175.8685 | 32.55 | 27.7
51251 | 2021-03-22 13:02 | 10.9944 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 227.4579 | μmol/L | 19.627 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.58 | 132201.5553 | 275177.2633 | 32.55 | 27.7
51260 | 2021-03-22 13:02 | 11.3274 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 227.4214 | μmol/L | 19.6209 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.584 | 132227.7324 | 275168.0049 | 32.55 | 27.7
51271 | 2021-03-22 13:02 | 11.6611 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 227.4085 | μmol/L | 19.6025 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.591 | 132260.5207 | 275162.2914 | 32.55 | 27.7
51280 | 2021-03-22 13:03 | 11.994 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 227.3526 | μmol/L | 19.5964 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.596 | 132305.1995 | 275159.774 | 32.55 | 27.7
51291 | 2021-03-22 13:03 | 12.3277 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 227.1376 | μmol/L | 19.6025 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.605 | 132333.1779 | 275152.3119 | 32.55 | 27.7
51300 | 2021-03-22 13:03 | 12.6607 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 227.3851 | μmol/L | 19.5597 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.607 | 132359.5025 | 275159.4957 | 32.55 | 27.7
51311 | 2021-03-22 13:04 | 12.9943 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 227.2668 | μmol/L | 19.5658 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.611 | 132384.1579 | 275148.7779 | 32.55 | 27.7
51321 | 2021-03-22 13:04 | 13.3276 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 227.0089 | μmol/L | 19.5842 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.618 | 132414.7844 | 275154.4828 | 32.55 | 27.7
51331 | 2021-03-22 13:04 | 13.6606 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 226.8715 | μmol/L | 19.5903 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.623 | 132447.3363 | 275146.4119 | 32.55 | 27.7
51341 | 2021-03-22 13:05 | 13.9944 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 226.9145 | μmol/L | 19.578 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.625 | 132479.1367 | 275152.4921 | 32.55 | 27.7
51350 | 2021-03-22 13:05 | 14.3273 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 226.8224 | μmol/L | 19.5658 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.634 | 132522.0961 | 275140.9186 | 32.55 | 27.7
51360 | 2021-03-22 13:05 | 14.6603 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 226.8313 | μmol/L | 19.5413 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.642 | 132559.4866 | 275159.6721 | 32.55 | 27.7
51370 | 2021-03-22 13:06 | 14.9939 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 226.7972 | μmol/L | 19.5291 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.648 | 132610.3124 | 275133.9051 | 32.55 | 27.7
51380 | 2021-03-22 13:06 | 15.3272 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 226.66 | μmol/L | 19.5352 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.653 | 132640.6359 | 275136.6089 | 32.55 | 27.7
51391 | 2021-03-22 13:06 | 15.6609 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 226.6475 | μmol/L | 19.5169 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.66 | 132674.1857 | 275130.9808 | 32.55 | 27.7
51401 | 2021-03-22 13:07 | 15.9938 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 226.6327 | μmol/L | 19.5046 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.665 | 132711.8517 | 275137.0949 | 32.55 | 27.7
51411 | 2021-03-22 13:07 | 16.3275 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 226.5194 | μmol/L | 19.4985 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.673 | 132740.3256 | 275119.5936 | 32.55 | 27.7
51420 | 2021-03-22 13:07 | 16.6603 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 226.4787 | μmol/L | 19.5046 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.673 | 132750.0989 | 275122.0701 | 32.55 | 27.7
51431 | 2021-03-22 13:08 | 16.9941 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 226.4232 | μmol/L | 19.4985 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.678 | 132783.8059 | 275128.6072 | 32.55 | 27.7
51440 | 2021-03-22 13:08 | 17.3277 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 226.3632 | μmol/L | 19.5046 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.679 | 132801.9743 | 275118.6434 | 32.55 | 27.7
51450 | 2021-03-22 13:08 | 17.6607 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 226.2094 | μmol/L | 19.5046 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.687 | 132830.623 | 275114.0726 | 32.55 | 27.7
51460 | 2021-03-22 13:09 | 17.9936 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 226.1563 | μmol/L | 19.4924 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.694 | 132856.6669 | 275099.5585 | 32.55 | 27.7
51471 | 2021-03-22 13:09 | 18.3273 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 226.2208 | μmol/L | 19.4741 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.697 | 132883.887 | 275107.0646 | 32.55 | 27.7
51480 | 2021-03-22 13:09 | 18.6611 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 226.0579 | μmol/L | 19.4985 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.697 | 132894.1524 | 275099.2689 | 32.55 | 27.7
51490 | 2021-03-22 13:10 | 18.994 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 225.9405 | μmol/L | 19.5046 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.701 | 132917.9222 | 275104.2472 | 32.55 | 27.7
51500 | 2021-03-22 13:10 | 19.3278 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 225.9236 | μmol/L | 19.4985 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.704 | 132942.3289 | 275106.4496 | 32.55 | 27.7
51511 | 2021-03-22 13:10 | 19.6607 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 225.9642 | μmol/L | 19.4924 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.704 | 132958.1597 | 275107.4937 | 32.55 | 27.7
51520 | 2021-03-22 13:11 | 19.9936 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 225.8683 | μmol/L | 19.4924 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.709 | 132978.8879 | 275094.5296 | 32.55 | 27.7
51531 | 2021-03-22 13:11 | 20.3273 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 225.8898 | μmol/L | 19.4863 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.71 | 132981.3224 | 275094.0467 | 32.55 | 27.7
51540 | 2021-03-22 13:11 | 20.6605 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 225.8131 | μmol/L | 19.4863 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.714 | 132994.3209 | 275081.9536 | 32.55 | 27.7
51550 | 2021-03-22 13:12 | 20.9942 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 225.7103 | μmol/L | 19.5046 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.713 | 133008.2048 | 275078.0793 | 32.55 | 27.7
51560 | 2021-03-22 13:12 | 21.327 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 225.5502 | μmol/L | 19.523 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.715 | 133012.3137 | 275085.5975 | 32.55 | 27.7
51571 | 2021-03-22 13:12 | 21.6609 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 225.3902 | μmol/L | 19.5413 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.717 | 133035.5159 | 275075.3467 | 32.55 | 27.7
51581 | 2021-03-22 13:13 | 21.9939 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 225.3902 | μmol/L | 19.5413 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.717 | 133038.1905 | 275096.946 | 32.55 | 27.7
51590 | 2021-03-22 13:13 | 22.327 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 225.567 | μmol/L | 19.5291 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.712 | 133031.2206 | 275069.1284 | 32.55 | 27.7
51600 | 2021-03-22 13:13 | 22.6606 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 225.5479 | μmol/L | 19.5291 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.713 | 133028.7092 | 275090.8854 | 32.55 | 27.7
51610 | 2021-03-22 13:14 | 22.9937 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 225.6437 | μmol/L | 19.5291 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.708 | 133001.5808 | 275089.9609 | 32.55 | 27.7
51620 | 2021-03-22 13:14 | 23.3274 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 225.761 | μmol/L | 19.523 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.704 | 132982.6657 | 275086.3774 | 32.55 | 27.7
51631 | 2021-03-22 13:14 | 23.6611 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 225.7802 | μmol/L | 19.523 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.703 | 132993.8635 | 275068.819 | 32.55 | 27.7
51640 | 2021-03-22 13:15 | 23.9941 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 225.761 | μmol/L | 19.523 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.704 | 133001.9251 | 275071.7497 | 32.55 | 27.7
51650 | 2021-03-22 13:15 | 24.327 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 225.7633 | μmol/L | 19.5169 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.706 | 133007.9669 | 275084.9724 | 32.55 | 27.7
51660 | 2021-03-22 13:15 | 24.6607 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 225.8254 | μmol/L | 19.5046 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.707 | 133013.2271 | 275073.3242 | 32.55 | 27.7
51670 | 2021-03-22 13:16 | 24.9937 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 225.7802 | μmol/L | 19.523 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.703 | 132996.0302 | 275074.586 | 32.55 | 27.7
51680 | 2021-03-22 13:16 | 25.3276 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 225.9382 | μmol/L | 19.5108 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.699 | 132973.5542 | 275073.6646 | 32.55 | 27.7
51690 | 2021-03-22 13:16 | 25.6604 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 225.8592 | μmol/L | 19.5169 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.701 | 132992.0115 | 275052.9486 | 32.55 | 27.7
51701 | 2021-03-22 13:17 | 25.9943 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 225.8185 | μmol/L | 19.523 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.701 | 133009.8046 | 275060.7289 | 32.55 | 27.7
51711 | 2021-03-22 13:17 | 26.3274 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 225.7204 | μmol/L | 19.5291 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.704 | 132998.1373 | 275054.195 | 32.55 | 27.7
51721 | 2021-03-22 13:17 | 26.661 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 225.5985 | μmol/L | 19.5475 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.704 | 132993.4329 | 275048.9512 | 32.55 | 27.7
51731 | 2021-03-22 13:18 | 26.9941 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 225.4216 | μmol/L | 19.5597 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.709 | 133039.2898 | 275061.2654 | 32.55 | 27.7
51740 | 2021-03-22 13:18 | 27.3273 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 225.3619 | μmol/L | 19.5658 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.71 | 133046.8352 | 275049.3583 | 32.55 | 27.7
51750 | 2021-03-22 13:18 | 27.6609 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 225.2235 | μmol/L | 19.578 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.713 | 133064.5826 | 275053.4347 | 32.55 | 27.7
51761 | 2021-03-22 13:19 | 27.9938 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 225.0492 | μmol/L | 19.5842 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.72 | 133092.0795 | 275057.5802 | 32.55 | 27.7
51770 | 2021-03-22 13:19 | 28.3276 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 225.0514 | μmol/L | 19.578 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.722 | 133132.1871 | 275059.7224 | 32.55 | 27.7
51781 | 2021-03-22 13:19 | 28.6605 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 224.975 | μmol/L | 19.578 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.726 | 133142.8447 | 275043.5242 | 32.55 | 27.7
51790 | 2021-03-22 13:20 | 28.9943 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 224.8963 | μmol/L | 19.5842 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.728 | 133154.8808 | 275030.2985 | 32.55 | 27.7
51800 | 2021-03-22 13:20 | 29.3274 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 224.7391 | μmol/L | 19.5964 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.732 | 133172.3259 | 275044.2973 | 32.55 | 27.7
51811 | 2021-03-22 13:20 | 29.6605 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 224.7201 | μmol/L | 19.5964 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.733 | 133184.6397 | 275019.669 | 32.55 | 27.7
51821 | 2021-03-22 13:21 | 29.9945 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 224.582 | μmol/L | 19.6086 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.736 | 133196.789 | 275032.7782 | 32.55 | 27.7
51830 | 2021-03-22 13:21 | 30.3274 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 224.5013 | μmol/L | 19.6209 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.736 | 133212.8935 | 275036.801 | 32.55 | 27.7
51840 | 2021-03-22 13:21 | 30.6603 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 224.4228 | μmol/L | 19.627 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.738 | 133222.7865 | 275026.2568 | 32.55 | 27.7
51850 | 2021-03-22 13:22 | 30.9942 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 224.3421 | μmol/L | 19.6392 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.738 | 133222.6875 | 275023.8242 | 32.55 | 27.7
51860 | 2021-03-22 13:22 | 31.3272 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 224.304 | μmol/L | 19.6392 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.74 | 133224.7517 | 275027.929 | 32.55 | 27.7
51871 | 2021-03-22 13:22 | 31.6609 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 224.2066 | μmol/L | 19.6453 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.743 | 133239.6115 | 275026.7585 | 32.55 | 27.7
51880 | 2021-03-22 13:23 | 31.9938 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 224.1092 | μmol/L | 19.6514 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.746 | 133266.4453 | 275021.4829 | 32.55 | 27.7
51891 | 2021-03-22 13:23 | 32.3274 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 224.0164 | μmol/L | 19.6453 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.753 | 133298.6932 | 275024.4268 | 32.55 | 27.7
51901 | 2021-03-22 13:23 | 32.6611 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 224.0164 | μmol/L | 19.6453 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.753 | 133319.9815 | 275010.5381 | 32.55 | 27.7
51910 | 2021-03-22 13:24 | 32.994 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 223.8242 | μmol/L | 19.6514 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.761 | 133338.1704 | 274993.5104 | 32.55 | 27.7
51920 | 2021-03-22 13:24 | 33.327 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 223.8242 | μmol/L | 19.6514 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.761 | 133356.7249 | 275004.8022 | 32.55 | 27.7
51930 | 2021-03-22 13:24 | 33.6604 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 223.8432 | μmol/L | 19.6514 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.76 | 133368.3817 | 274999.8898 | 32.55 | 27.7
51940 | 2021-03-22 13:25 | 33.9942 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 223.689 | μmol/L | 19.6576 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.766 | 133379.3073 | 275002.8087 | 32.55 | 27.7
51951 | 2021-03-22 13:25 | 34.3272 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 223.601 | μmol/L | 19.6392 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.777 | 133418.8372 | 274995.1291 | 32.55 | 27.7
51961 | 2021-03-22 13:25 | 34.661 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 223.5396 | μmol/L | 19.6514 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.776 | 133453.0694 | 274983.6097 | 32.55 | 27.7
51971 | 2021-03-22 13:26 | 34.9942 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 223.4046 | μmol/L | 19.6576 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.781 | 133476.2081 | 274980.0541 | 32.55 | 27.7
51980 | 2021-03-22 13:26 | 35.3271 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 223.3857 | μmol/L | 19.6576 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.782 | 133468.7488 | 274984.5404 | 32.55 | 27.7
51991 | 2021-03-22 13:26 | 35.6611 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 223.4448 | μmol/L | 19.6514 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.781 | 133482.1251 | 274990.797 | 32.55 | 27.7
52001 | 2021-03-22 13:27 | 35.994 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 223.2365 | μmol/L | 19.6514 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.792 | 133548.0632 | 274999.7418 | 32.55 | 27.7
52010 | 2021-03-22 13:27 | 36.327 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 223.0662 | μmol/L | 19.6514 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.801 | 133605.3445 | 274984.7014 | 32.55 | 27.7
52021 | 2021-03-22 13:27 | 36.6609 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 222.8349 | μmol/L | 19.6637 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.809 | 133681.2627 | 274981.7263 | 32.55 | 27.7
52030 | 2021-03-22 13:28 | 36.9938 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 222.6061 | μmol/L | 19.6698 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.819 | 133732.6854 | 274994.3654 | 32.55 | 27.7
52041 | 2021-03-22 13:28 | 37.3274 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 222.4952 | μmol/L | 19.6637 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.827 | 133774.6733 | 274982.335 | 32.55 | 27.7
52051 | 2021-03-22 13:28 | 37.6611 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 222.4998 | μmol/L | 19.6514 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.831 | 133774.6115 | 274981.8305 | 32.55 | 27.7
52061 | 2021-03-22 13:29 | 37.994 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 222.4975 | μmol/L | 19.6576 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.829 | 133799.2762 | 274975.7411 | 32.55 | 27.7
52071 | 2021-03-22 13:29 | 38.3277 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 222.288 | μmol/L | 19.6637 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.838 | 133852.2252 | 274963.1303 | 32.55 | 27.7
52080 | 2021-03-22 13:29 | 38.6606 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 222.1163 | μmol/L | 19.6698 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.845 | 133878.4982 | 274959.5177 | 32.55 | 27.7
52091 | 2021-03-22 13:30 | 38.9937 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 222.1563 | μmol/L | 19.6637 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.845 | 133879.6171 | 274962.2187 | 32.55 | 27.7
52100 | 2021-03-22 13:30 | 39.3275 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 222.0388 | μmol/L | 19.6759 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.847 | 133893.5983 | 274958.202 | 32.55 | 27.7
52110 | 2021-03-22 13:30 | 39.6604 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 221.9283 | μmol/L | 19.6698 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.855 | 133949.4691 | 274974.927 | 32.55 | 27.7
52121 | 2021-03-22 13:31 | 39.9943 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 221.7428 | μmol/L | 19.6637 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.867 | 134003.6756 | 274968.8289 | 32.55 | 27.7
52130 | 2021-03-22 13:31 | 40.3272 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 221.7287 | μmol/L | 19.6514 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.872 | 134065.9697 | 274964.3389 | 32.55 | 27.7
52141 | 2021-03-22 13:31 | 40.6609 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 221.5997 | μmol/L | 19.6453 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.881 | 134118.5871 | 274958.6311 | 32.55 | 27.7
52150 | 2021-03-22 13:32 | 40.9937 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 221.3163 | μmol/L | 19.6514 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.894 | 134206.4046 | 274959.1992 | 32.55 | 27.7
52161 | 2021-03-22 13:32 | 41.3274 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.9912 | μmol/L | 19.6698 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.905 | 134264.3565 | 274971.911 | 32.55 | 27.7
52170 | 2021-03-22 13:32 | 41.6604 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 221.0894 | μmol/L | 19.6576 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.904 | 134292.8653 | 274959.1267 | 32.55 | 27.7
52180 | 2021-03-22 13:33 | 41.9939 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.8231 | μmol/L | 19.6698 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.914 | 134353.0191 | 274958.2429 | 32.55 | 27.7
52190 | 2021-03-22 13:33 | 42.3271 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.7134 | μmol/L | 19.6637 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.922 | 134402.8787 | 274962.0703 | 32.55 | 27.7
52201 | 2021-03-22 13:33 | 42.661 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.5967 | μmol/L | 19.6759 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.924 | 134417.7505 | 274972.4601 | 32.55 | 27.7
52210 | 2021-03-22 13:34 | 42.9938 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.4242 | μmol/L | 19.6881 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.929 | 134451.5613 | 274954.5894 | 32.55 | 27.7
52221 | 2021-03-22 13:34 | 43.3277 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.4174 | μmol/L | 19.6576 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.94 | 134515.5591 | 274951.2012 | 32.55 | 27.7
52230 | 2021-03-22 13:34 | 43.6606 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.2498 | μmol/L | 19.6576 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.949 | 134564.1126 | 274962.3068 | 32.55 | 27.7
52241 | 2021-03-22 13:35 | 43.9943 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.3921 | μmol/L | 19.627 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.952 | 134596.0297 | 274966.7681 | 32.55 | 27.7
52250 | 2021-03-22 13:35 | 44.3272 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.2942 | μmol/L | 19.6392 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.953 | 134614.5707 | 274954.1671 | 32.55 | 27.7
52261 | 2021-03-22 13:35 | 44.661 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.1849 | μmol/L | 19.6331 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.961 | 134657.1069 | 274966.9604 | 32.55 | 27.7
52270 | 2021-03-22 13:36 | 44.9939 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.1291 | μmol/L | 19.6331 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.964 | 134676.0052 | 274961.4675 | 32.55 | 27.7
52281 | 2021-03-22 13:36 | 45.3275 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.9547 | μmol/L | 19.6514 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.967 | 134704.472 | 274963.1681 | 32.55 | 27.7
52290 | 2021-03-22 13:36 | 45.6605 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.8989 | μmol/L | 19.6514 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.97 | 134729.1947 | 274961.2657 | 32.55 | 27.7
52300 | 2021-03-22 13:37 | 45.9943 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.8294 | μmol/L | 19.6392 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.978 | 134760.3938 | 274962.5217 | 32.55 | 27.7
52310 | 2021-03-22 13:37 | 46.3273 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.7205 | μmol/L | 19.6331 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.986 | 134801.8131 | 274947.005 | 32.55 | 27.7
52321 | 2021-03-22 13:37 | 46.661 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.6439 | μmol/L | 19.6392 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.988 | 134838.2194 | 274948.576 | 32.55 | 27.7
52330 | 2021-03-22 13:38 | 46.9938 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.535 | μmol/L | 19.6331 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.996 | 134863.7552 | 274953.2301 | 32.55 | 27.7
52341 | 2021-03-22 13:38 | 47.3275 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.4794 | μmol/L | 19.6331 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.999 | 134894.6125 | 274948.5638 | 32.55 | 27.7
52350 | 2021-03-22 13:38 | 47.6603 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.4609 | μmol/L | 19.6331 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23 | 134900.7403 | 274942.5277 | 32.55 | 27.7
52361 | 2021-03-22 13:39 | 47.994 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.3659 | μmol/L | 19.6392 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.003 | 134903.3361 | 274939.698 | 32.55 | 27.7
52371 | 2021-03-22 13:39 | 48.3278 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.1342 | μmol/L | 19.6637 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.007 | 134920.1287 | 274951.2204 | 32.55 | 27.7
52381 | 2021-03-22 13:39 | 48.6607 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.1575 | μmol/L | 19.6514 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.01 | 134948.2129 | 274956.3094 | 32.55 | 27.7
52391 | 2021-03-22 13:40 | 48.9943 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.1414 | μmol/L | 19.6453 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.013 | 134976.1733 | 274934.6851 | 32.55 | 27.7
52400 | 2021-03-22 13:40 | 49.3277 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.9332 | μmol/L | 19.6576 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.02 | 135003.1263 | 274934.1926 | 32.55 | 27.7
52410 | 2021-03-22 13:40 | 49.6607 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.9517 | μmol/L | 19.6576 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.019 | 135039.2475 | 274937.5172 | 32.55 | 27.7
52421 | 2021-03-22 13:41 | 49.9945 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.7855 | μmol/L | 19.6576 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.028 | 135063.9895 | 274928.3462 | 32.55 | 27.7
52431 | 2021-03-22 13:41 | 50.3273 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.7695 | μmol/L | 19.6514 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.031 | 135093.7137 | 274924.8788 | 32.55 | 27.7
52441 | 2021-03-22 13:41 | 50.6606 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.7952 | μmol/L | 19.6331 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.036 | 135127.5485 | 274939.231 | 32.55 | 27.7
52451 | 2021-03-22 13:42 | 50.9943 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.6219 | μmol/L | 19.6514 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.039 | 135140.2206 | 274925.9327 | 32.55 | 27.7
52461 | 2021-03-22 13:42 | 51.3273 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.4351 | μmol/L | 19.6576 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.047 | 135181.4497 | 274932.615 | 32.55 | 27.7
52470 | 2021-03-22 13:42 | 51.6605 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.2437 | μmol/L | 19.6759 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.051 | 135229.2239 | 274916.1045 | 32.55 | 27.7
52480 | 2021-03-22 13:43 | 51.9943 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.1284 | μmol/L | 19.6881 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.053 | 135226.4342 | 274919.7733 | 32.55 | 27.7
52490 | 2021-03-22 13:43 | 52.3272 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.4032 | μmol/L | 19.6453 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.053 | 135221.6775 | 274934.8299 | 32.55 | 27.7
52501 | 2021-03-22 13:43 | 52.6608 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.7435 | μmol/L | 19.578 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.058 | 135237.4086 | 274929.3179 | 32.55 | 27.7
52510 | 2021-03-22 13:44 | 52.9939 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.6414 | μmol/L | 19.6025 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.055 | 135234.8028 | 274926.0681 | 32.55 | 27.7
52521 | 2021-03-22 13:44 | 53.3277 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.3368 | μmol/L | 19.627 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.063 | 135280.9483 | 274917.0889 | 32.55 | 27.7
52530 | 2021-03-22 13:44 | 53.6606 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.1369 | μmol/L | 19.6209 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.076 | 135316.5154 | 274927.9803 | 32.55 | 27.7
52540 | 2021-03-22 13:45 | 53.9939 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.0267 | μmol/L | 19.6209 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.082 | 135376.5915 | 274933.9308 | 32.55 | 27.7
52551 | 2021-03-22 13:45 | 54.3277 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.9924 | μmol/L | 19.6147 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.086 | 135404.5314 | 274922.6429 | 32.55 | 27.7
52560 | 2021-03-22 13:45 | 54.6606 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.0525 | μmol/L | 19.6025 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.087 | 135412.0557 | 274910.7628 | 32.55 | 27.7
52570 | 2021-03-22 13:46 | 54.9945 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.8455 | μmol/L | 19.6147 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.094 | 135440.4413 | 274920.9294 | 32.55 | 27.7
52581 | 2021-03-22 13:46 | 55.3275 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.728 | μmol/L | 19.6331 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.094 | 135449.8368 | 274919.6982 | 32.55 | 27.7
52590 | 2021-03-22 13:46 | 55.6605 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.5837 | μmol/L | 19.627 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.104 | 135492.2696 | 274899.8691 | 32.55 | 27.7
52601 | 2021-03-22 13:47 | 55.9943 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.5912 | μmol/L | 19.6086 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.11 | 135512.5275 | 274901.8572 | 32.55 | 27.7
52610 | 2021-03-22 13:47 | 56.3273 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.612 | μmol/L | 19.6025 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.111 | 135547.7096 | 274903.5731 | 32.55 | 27.7
52621 | 2021-03-22 13:47 | 56.6609 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.5337 | μmol/L | 19.6147 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.111 | 135567.5436 | 274898.1308 | 32.55 | 27.7
52630 | 2021-03-22 13:48 | 56.9944 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.4555 | μmol/L | 19.627 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.111 | 135562.3239 | 274909.9587 | 32.55 | 27.7
52640 | 2021-03-22 13:48 | 57.3274 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.403 | μmol/L | 19.6209 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.116 | 135572.4143 | 274902.2732 | 32.55 | 27.7
52650 | 2021-03-22 13:48 | 57.661 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.3897 | μmol/L | 19.6086 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.121 | 135621.6158 | 274894.6442 | 32.55 | 27.7
52660 | 2021-03-22 13:49 | 57.994 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.2824 | μmol/L | 19.6025 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.129 | 135671.3412 | 274896.8649 | 32.55 | 27.7
52671 | 2021-03-22 13:49 | 58.3271 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.0995 | μmol/L | 19.6025 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.139 | 135718.5173 | 274892.537 | 32.55 | 27.7
52681 | 2021-03-22 13:49 | 58.6608 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.2375 | μmol/L | 19.578 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.14 | 135738.0986 | 274895.3093 | 32.55 | 27.7
52690 | 2021-03-22 13:50 | 58.9937 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.0705 | μmol/L | 19.5842 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.147 | 135778.8688 | 274903.5253 | 32.55 | 27.7
52701 | 2021-03-22 13:50 | 59.3275 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.8697 | μmol/L | 19.5842 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.158 | 135810.3459 | 274893.2345 | 32.55 | 27.7
52711 | 2021-03-22 13:50 | 59.6603 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.7967 | μmol/L | 19.5842 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.162 | 135851.077 | 274891.5181 | 32.55 | 27.7
52721 | 2021-03-22 13:51 | 59.9939 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.781 | μmol/L | 19.578 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.165 | 135890.0317 | 274888.321 | 32.55 | 27.7
52730 | 2021-03-22 13:51 | 60.327 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.6716 | μmol/L | 19.578 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.171 | 135925.5688 | 274900.5596 | 32.55 | 27.7
52740 | 2021-03-22 13:51 | 60.6605 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.7131 | μmol/L | 19.5658 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.173 | 135950.794 | 274889.4412 | 32.55 | 27.7
52751 | 2021-03-22 13:52 | 60.9942 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.5076 | μmol/L | 19.578 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.18 | 135977.4114 | 274902.2825 | 32.55 | 27.7
52760 | 2021-03-22 13:52 | 61.3271 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.362 | μmol/L | 19.578 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.188 | 136022.056 | 274908.6273 | 32.55 | 27.7
52770 | 2021-03-22 13:52 | 61.6609 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.3489 | μmol/L | 19.5658 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.193 | 136052.1149 | 274904.6551 | 32.55 | 27.7
52780 | 2021-03-22 13:53 | 61.9937 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.3878 | μmol/L | 19.5597 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.193 | 136071.7317 | 274902.503 | 32.55 | 27.7
52790 | 2021-03-22 13:53 | 62.3275 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.4111 | μmol/L | 19.5475 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.196 | 136106.42 | 274893.4765 | 32.55 | 27.7
52800 | 2021-03-22 13:53 | 62.6604 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.263 | μmol/L | 19.5536 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.202 | 136124.6889 | 274884.2513 | 32.55 | 27.7
52810 | 2021-03-22 13:54 | 62.9941 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.1125 | μmol/L | 19.5658 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.206 | 136154.767 | 274898.8307 | 32.55 | 27.7
52820 | 2021-03-22 13:54 | 63.327 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.0036 | μmol/L | 19.5658 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.212 | 136171.4725 | 274895.0834 | 32.55 | 27.7
52830 | 2021-03-22 13:54 | 63.6606 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.8351 | μmol/L | 19.578 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.217 | 136197.468 | 274894.1298 | 32.55 | 27.7
52840 | 2021-03-22 13:55 | 63.9937 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.8921 | μmol/L | 19.5719 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.216 | 136223.599 | 274896.4712 | 32.55 | 27.7
52851 | 2021-03-22 13:55 | 64.3275 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.8765 | μmol/L | 19.5658 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.219 | 136233.1943 | 274899.3292 | 32.55 | 27.7
52860 | 2021-03-22 13:55 | 64.6604 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.8402 | μmol/L | 19.5658 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.221 | 136266.8283 | 274894.1485 | 32.55 | 27.7
52871 | 2021-03-22 13:56 | 64.9941 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.2506 | μmol/L | 19.6331 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.23 | 136296.5018 | 274903.2543 | 32.55 | 27.7
52881 | 2021-03-22 13:56 | 65.3277 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.3874 | μmol/L | 19.6086 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.231 | 136336.2927 | 274910.3177 | 32.55 | 27.7
52890 | 2021-03-22 13:56 | 65.6608 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.4752 | μmol/L | 19.5719 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.239 | 136362.3285 | 274895.083 | 32.55 | 27.7
52901 | 2021-03-22 13:57 | 65.9943 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.5192 | μmol/L | 19.5536 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.243 | 136402.3759 | 274899.5091 | 32.55 | 27.7
52910 | 2021-03-22 13:57 | 66.3273 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.3899 | μmol/L | 19.5597 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.248 | 136407.7136 | 274884.2204 | 32.55 | 27.7
52921 | 2021-03-22 13:57 | 66.661 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.3511 | μmol/L | 19.5658 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.248 | 136430.1052 | 274894.4869 | 32.55 | 27.7
52930 | 2021-03-22 13:58 | 66.9937 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.3951 | μmol/L | 19.5475 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.252 | 136460.2308 | 274883.9396 | 32.55 | 27.7
52941 | 2021-03-22 13:58 | 67.3274 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.3046 | μmol/L | 19.5475 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.257 | 136496.6278 | 274884.163 | 32.55 | 27.7
52951 | 2021-03-22 13:58 | 67.6611 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.1936 | μmol/L | 19.5536 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.261 | 136506.0935 | 274868.6526 | 32.55 | 27.7
52960 | 2021-03-22 13:59 | 67.9941 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.16 | μmol/L | 19.5475 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.265 | 136537.018 | 274888.8828 | 32.55 | 27.7
52970 | 2021-03-22 13:59 | 68.327 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.1988 | μmol/L | 19.5413 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.265 | 136550.0752 | 274892.7101 | 32.55 | 27.7
52981 | 2021-03-22 13:59 | 68.6608 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.1678 | μmol/L | 19.5291 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.271 | 136575.3992 | 274889.9024 | 32.55 | 27.7
52991 | 2021-03-22 14:00 | 68.9939 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.1163 | μmol/L | 19.523 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.276 | 136611.8176 | 274890.6811 | 32.55 | 27.7
53001 | 2021-03-22 14:00 | 69.3274 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.9512 | μmol/L | 19.5291 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.283 | 136662.6627 | 274898.1617 | 32.55 | 27.7
53011 | 2021-03-22 14:00 | 69.6604 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.8043 | μmol/L | 19.5352 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.289 | 136710.7284 | 274900.4399 | 32.55 | 27.7
53021 | 2021-03-22 14:01 | 69.9944 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.5855 | μmol/L | 19.5413 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.299 | 136755.2914 | 274890.6594 | 32.55 | 27.7
53030 | 2021-03-22 14:01 | 70.3271 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.4415 | μmol/L | 19.5413 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.307 | 136784.9645 | 274888.5145 | 32.55 | 27.7
53041 | 2021-03-22 14:01 | 70.6608 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.5161 | μmol/L | 19.5352 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.305 | 136807.6621 | 274877.5496 | 32.55 | 27.7
53050 | 2021-03-22 14:02 | 70.9936 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.4261 | μmol/L | 19.5352 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.31 | 136834.265 | 274877.657 | 32.55 | 27.7
53061 | 2021-03-22 14:02 | 71.3273 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.3901 | μmol/L | 19.5352 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.312 | 136847.8596 | 274883.3834 | 32.55 | 27.7
53070 | 2021-03-22 14:02 | 71.6604 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.2257 | μmol/L | 19.5413 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.319 | 136868.6838 | 274890.335 | 32.55 | 27.7
53080 | 2021-03-22 14:03 | 71.9941 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.2257 | μmol/L | 19.5413 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.319 | 136869.6089 | 274879.0836 | 32.55 | 27.7
53090 | 2021-03-22 14:03 | 72.3271 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.1718 | μmol/L | 19.5413 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.322 | 136900.0216 | 274882.8723 | 32.55 | 27.7
53100 | 2021-03-22 14:03 | 72.661 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.1565 | μmol/L | 19.5352 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.325 | 136917.2207 | 274878.5788 | 32.55 | 27.7
53110 | 2021-03-22 14:04 | 72.9941 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.0435 | μmol/L | 19.5475 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.327 | 136927.5801 | 274874.3037 | 32.55 | 27.7
53120 | 2021-03-22 14:04 | 73.3271 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.0102 | μmol/L | 19.5413 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.331 | 136968.0553 | 274888.4097 | 32.55 | 27.7
53131 | 2021-03-22 14:04 | 73.6609 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.8435 | μmol/L | 19.5536 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.336 | 136995.6172 | 274888.1666 | 32.55 | 27.7
53140 | 2021-03-22 14:05 | 73.9937 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.6564 | μmol/L | 19.5719 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.34 | 137023.5597 | 274885.3934 | 32.55 | 27.7
53151 | 2021-03-22 14:05 | 74.3273 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.6232 | μmol/L | 19.5658 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.344 | 137051.8669 | 274876.9091 | 32.55 | 27.7
53161 | 2021-03-22 14:05 | 74.661 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.6437 | μmol/L | 19.5597 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.345 | 137077.4166 | 274881.0587 | 32.55 | 27.7
53170 | 2021-03-22 14:06 | 74.9942 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.5926 | μmol/L | 19.5536 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.35 | 137092.5238 | 274883.106 | 32.55 | 27.7
53180 | 2021-03-22 14:06 | 75.3272 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.5953 | μmol/L | 19.5475 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.352 | 137094.7315 | 274885.5612 | 32.55 | 27.7
53191 | 2021-03-22 14:06 | 75.6608 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.6901 | μmol/L | 19.5352 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.351 | 137108.0231 | 274891.6119 | 32.55 | 27.7
53200 | 2021-03-22 14:07 | 75.9937 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.6748 | μmol/L | 19.5291 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.354 | 137128.1682 | 274881.058 | 32.55 | 27.7
53211 | 2021-03-22 14:07 | 76.3273 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.7392 | μmol/L | 19.5046 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.359 | 137156.1782 | 274887.514 | 32.55 | 27.7
53221 | 2021-03-22 14:07 | 76.6611 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.5469 | μmol/L | 19.5352 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.359 | 137168.2273 | 274895.7615 | 32.55 | 27.7
53230 | 2021-03-22 14:08 | 76.9941 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.4547 | μmol/L | 19.5413 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.362 | 137186.0772 | 274884.0815 | 32.55 | 27.7
53240 | 2021-03-22 14:08 | 77.3277 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.4547 | μmol/L | 19.5413 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.362 | 137198.7538 | 274872.4764 | 32.55 | 27.7
53250 | 2021-03-22 14:08 | 77.6605 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.3806 | μmol/L | 19.5475 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.364 | 137194.1437 | 274861.29 | 32.55 | 27.7
53261 | 2021-03-22 14:09 | 77.9943 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.3958 | μmol/L | 19.5536 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.361 | 137190.9297 | 274874.8246 | 32.55 | 27.7
53271 | 2021-03-22 14:09 | 78.3271 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.4673 | μmol/L | 19.5536 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.357 | 137193.3586 | 274876.5691 | 32.55 | 27.7
53281 | 2021-03-22 14:09 | 78.6609 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.4468 | μmol/L | 19.5597 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.356 | 137185.7386 | 274880.5507 | 32.55 | 27.7
53291 | 2021-03-22 14:10 | 78.9939 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.4932 | μmol/L | 19.5352 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.362 | 137188.6335 | 274875.0803 | 32.55 | 27.7
53301 | 2021-03-22 14:10 | 79.3277 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.5979 | μmol/L | 19.5413 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.354 | 137191.6198 | 274874.3579 | 32.55 | 27.7
53310 | 2021-03-22 14:10 | 79.6608 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.4647 | μmol/L | 19.5597 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.355 | 137187.8032 | 274873.4235 | 32.55 | 27.7
53320 | 2021-03-22 14:11 | 79.9938 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.5237 | μmol/L | 19.5475 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.356 | 137208.5411 | 274881.8413 | 32.55 | 27.7
53331 | 2021-03-22 14:11 | 80.3275 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.5568 | μmol/L | 19.5536 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.352 | 137215.0321 | 274869.6525 | 32.55 | 27.7
53340 | 2021-03-22 14:11 | 80.6607 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.5005 | μmol/L | 19.5597 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.353 | 137209.8367 | 274859.9632 | 32.55 | 27.7
53350 | 2021-03-22 14:12 | 80.9944 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.5184 | μmol/L | 19.5597 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.352 | 137190.3323 | 274859.8535 | 32.55 | 27.7
53361 | 2021-03-22 14:12 | 81.3273 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.3852 | μmol/L | 19.578 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.353 | 137215.3701 | 274874.0855 | 32.55 | 27.7
53371 | 2021-03-22 14:12 | 81.6609 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.2574 | μmol/L | 19.5842 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.358 | 137225.5764 | 274873.6976 | 32.55 | 27.7
53381 | 2021-03-22 14:13 | 81.9939 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.2038 | μmol/L | 19.5842 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.361 | 137236.2685 | 274856.1684 | 32.55 | 27.7
53390 | 2021-03-22 14:13 | 82.3275 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.2753 | μmol/L | 19.5842 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.357 | 137250.6079 | 274862.8355 | 32.55 | 27.7
53400 | 2021-03-22 14:13 | 82.6603 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.2369 | μmol/L | 19.5903 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.357 | 137244.0723 | 274872.7608 | 32.55 | 27.7
53410 | 2021-03-22 14:14 | 82.9942 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.1397 | μmol/L | 19.6086 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.356 | 137257.7941 | 274858.793 | 32.55 | 27.7
53420 | 2021-03-22 14:14 | 83.3276 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.979 | μmol/L | 19.6086 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.365 | 137299.6021 | 274861.8825 | 32.55 | 27.7
53430 | 2021-03-22 14:14 | 83.6606 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.7445 | μmol/L | 19.6147 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.376 | 137354.9613 | 274866.5735 | 32.55 | 27.7
53441 | 2021-03-22 14:15 | 83.9937 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.691 | μmol/L | 19.6147 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.379 | 137388.3046 | 274880.399 | 32.55 | 27.7
53449 | 2021-03-22 14:15 | 84.327 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.6349 | μmol/L | 19.6209 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.38 | 137408.0923 | 274865.757 | 32.55 | 27.7