## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-22 16:44

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
53455 | 2021-03-22 15:31 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 213.0988 | μmol/L | 19.6983 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.212 | 116910.094 | 303783.8041 | 30.45 | 114.2
53465 | 2021-03-22 15:31 | 0.34035 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 212.9517 | μmol/L | 19.7045 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.218 | 116949.2333 | 303792.7124 | 30.45 | 114.2
53475 | 2021-03-22 15:31 | 0.67415 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 212.825 | μmol/L | 19.7045 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.225 | 116982.8227 | 303804.2286 | 30.45 | 114.2
53485 | 2021-03-22 15:32 | 1.0071 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 212.7345 | μmol/L | 19.7045 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.23 | 117017.4947 | 303802.5125 | 30.45 | 114.2
53495 | 2021-03-22 15:32 | 1.3409 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 212.4432 | μmol/L | 19.7106 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.244 | 117062.76 | 303792.7108 | 30.45 | 114.2
53505 | 2021-03-22 15:32 | 1.6738 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 212.1387 | μmol/L | 19.7045 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.263 | 117152.0459 | 303787.1882 | 30.45 | 114.2
53515 | 2021-03-22 15:33 | 2.0071 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 211.8843 | μmol/L | 19.7106 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.275 | 117232.27 | 303794.0531 | 30.45 | 114.2
53525 | 2021-03-22 15:33 | 2.3408 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 211.5202 | μmol/L | 19.7229 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.291 | 117287.1866 | 303796.1947 | 30.45 | 114.2
53535 | 2021-03-22 15:33 | 2.6736 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 211.4461 | μmol/L | 19.729 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.293 | 117332.7873 | 303788.2652 | 30.45 | 114.2
53545 | 2021-03-22 15:34 | 3.0074 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 211.186 | μmol/L | 19.7536 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.299 | 117358.3281 | 303780.7469 | 30.45 | 114.2
53555 | 2021-03-22 15:34 | 3.3403 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 211.0964 | μmol/L | 19.7536 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.304 | 117371.8708 | 303766.8122 | 30.45 | 114.2
53565 | 2021-03-22 15:34 | 3.6739 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 211.0807 | μmol/L | 19.7475 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.307 | 117417.1054 | 303796.1429 | 30.45 | 114.2
53575 | 2021-03-22 15:35 | 4.0075 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 211.0851 | μmol/L | 19.7352 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.311 | 117445.5687 | 303783.1302 | 30.45 | 114.2
53585 | 2021-03-22 15:35 | 4.3405 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 211.0471 | μmol/L | 19.7413 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.311 | 117443.7682 | 303792.8913 | 30.45 | 114.2
53595 | 2021-03-22 15:35 | 4.674 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 211.121 | μmol/L | 19.7352 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.309 | 117437.5855 | 303798.1244 | 30.45 | 114.2
53605 | 2021-03-22 15:36 | 5.0076 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 211.233 | μmol/L | 19.7229 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.307 | 117411.8857 | 303779.3447 | 30.45 | 114.2
53615 | 2021-03-22 15:36 | 5.3408 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 211.251 | μmol/L | 19.7229 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.306 | 117412.0167 | 303792.9421 | 30.45 | 114.2
53625 | 2021-03-22 15:36 | 5.6737 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 211.251 | μmol/L | 19.7229 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.306 | 117414.1621 | 303799.829 | 30.45 | 114.2
53635 | 2021-03-22 15:37 | 6.0073 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 211.233 | μmol/L | 19.7229 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.307 | 117406.0453 | 303789.1502 | 30.45 | 114.2
53645 | 2021-03-22 15:37 | 6.3404 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 211.2532 | μmol/L | 19.7167 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.308 | 117405.8663 | 303785.3713 | 30.45 | 114.2
53655 | 2021-03-22 15:37 | 6.6742 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 211.1994 | μmol/L | 19.7167 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.311 | 117411.9353 | 303772.9635 | 30.45 | 114.2
53665 | 2021-03-22 15:38 | 7.0072 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 211.1255 | μmol/L | 19.7229 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.313 | 117427.4486 | 303773.4647 | 30.45 | 114.2
53675 | 2021-03-22 15:38 | 7.341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 211.0381 | μmol/L | 19.7167 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.32 | 117460.5861 | 303780.3646 | 30.45 | 114.2
53685 | 2021-03-22 15:38 | 7.6739 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 210.9173 | μmol/L | 19.7045 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.331 | 117511.7604 | 303787.5981 | 30.45 | 114.2
53695 | 2021-03-22 15:39 | 8.0076 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 210.7719 | μmol/L | 19.7106 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.337 | 117539.7824 | 303788.1771 | 30.45 | 114.2
53705 | 2021-03-22 15:39 | 8.3407 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 210.7205 | μmol/L | 19.7045 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.342 | 117587.8943 | 303789.8616 | 30.45 | 114.2
53715 | 2021-03-22 15:39 | 8.6737 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 210.5015 | μmol/L | 19.7167 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.35 | 117620.5242 | 303782.3472 | 30.45 | 114.2
53725 | 2021-03-22 15:40 | 9.0073 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 210.2673 | μmol/L | 19.7229 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.361 | 117661.9267 | 303791.9372 | 30.45 | 114.2
53735 | 2021-03-22 15:40 | 9.341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 210.2316 | μmol/L | 19.7229 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.363 | 117700.2661 | 303786.5809 | 30.45 | 114.2
53745 | 2021-03-22 15:40 | 9.6738 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 210.1781 | μmol/L | 19.7229 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.366 | 117705.6525 | 303787.0826 | 30.45 | 114.2
53755 | 2021-03-22 15:41 | 10.0075 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 210.2339 | μmol/L | 19.7167 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.365 | 117721.1817 | 303782.7597 | 30.45 | 114.2
53765 | 2021-03-22 15:41 | 10.341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 210.089 | μmol/L | 19.7229 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.371 | 117744.1635 | 303779.3866 | 30.45 | 114.2
53775 | 2021-03-22 15:41 | 10.6741 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 210.0556 | μmol/L | 19.7167 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.375 | 117782.0693 | 303788.3272 | 30.45 | 114.2
53785 | 2021-03-22 15:42 | 11.007 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 209.8954 | μmol/L | 19.7167 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.384 | 117819.3956 | 303790.1321 | 30.45 | 114.2
53795 | 2021-03-22 15:42 | 11.3407 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 209.8822 | μmol/L | 19.7045 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.389 | 117863.5022 | 303795.3746 | 30.45 | 114.2
53805 | 2021-03-22 15:42 | 11.6738 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 209.5221 | μmol/L | 19.7167 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.405 | 117916.684 | 303795.4033 | 30.45 | 114.2
53815 | 2021-03-22 15:43 | 12.0075 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 209.451 | μmol/L | 19.7167 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.409 | 117944.7423 | 303777.7272 | 30.45 | 114.2
53825 | 2021-03-22 15:43 | 12.3408 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 209.4001 | μmol/L | 19.7106 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.414 | 117971.1578 | 303769.8806 | 30.45 | 114.2
53835 | 2021-03-22 15:43 | 12.6738 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 209.3514 | μmol/L | 19.6983 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.421 | 118003.0806 | 303782.9682 | 30.45 | 114.2
53845 | 2021-03-22 15:44 | 13.0075 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 209.2073 | μmol/L | 19.7045 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.427 | 118040.9953 | 303777.1902 | 30.45 | 114.2
53855 | 2021-03-22 15:44 | 13.3403 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 209.0632 | μmol/L | 19.7106 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.433 | 118088.8688 | 303799.4344 | 30.45 | 114.2
53865 | 2021-03-22 15:44 | 13.6741 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 208.7955 | μmol/L | 19.7167 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.446 | 118141.4415 | 303783.3946 | 30.45 | 114.2
53875 | 2021-03-22 15:45 | 14.007 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 208.9131 | μmol/L | 19.686 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.45 | 118184.328 | 303784.6199 | 30.45 | 114.2
53885 | 2021-03-22 15:45 | 14.3408 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 208.7893 | μmol/L | 19.686 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.457 | 118224.1878 | 303783.3161 | 30.45 | 114.2
53895 | 2021-03-22 15:45 | 14.6742 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 208.6126 | μmol/L | 19.686 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.467 | 118260.5608 | 303789.258 | 30.45 | 114.2
53905 | 2021-03-22 15:46 | 15.007 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 208.4667 | μmol/L | 19.6983 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.471 | 118303.7457 | 303789.5634 | 30.45 | 114.2
53915 | 2021-03-22 15:46 | 15.3408 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 208.2198 | μmol/L | 19.6983 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.485 | 118376.838 | 303791.7339 | 30.45 | 114.2
53925 | 2021-03-22 15:46 | 15.6738 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 208.1164 | μmol/L | 19.6922 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.493 | 118405.0527 | 303786.8141 | 30.45 | 114.2
53935 | 2021-03-22 15:47 | 16.0075 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 208.2362 | μmol/L | 19.6553 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.499 | 118446.564 | 303792.9772 | 30.45 | 114.2
53945 | 2021-03-22 15:47 | 16.3405 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 208.3866 | μmol/L | 19.6307 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.499 | 118479.3012 | 303788.8858 | 30.45 | 114.2
53955 | 2021-03-22 15:47 | 16.6737 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 208.2632 | μmol/L | 19.6307 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.506 | 118491.2007 | 303785.5498 | 30.45 | 114.2
53965 | 2021-03-22 15:48 | 17.0069 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 208.3032 | μmol/L | 19.6184 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.508 | 118527.3139 | 303789.3224 | 30.45 | 114.2
53975 | 2021-03-22 15:48 | 17.3406 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 208.2855 | μmol/L | 19.6184 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.509 | 118542.1457 | 303783.3851 | 30.45 | 114.2
53985 | 2021-03-22 15:48 | 17.6743 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 208.1622 | μmol/L | 19.6184 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.516 | 118562.107 | 303798.2357 | 30.45 | 114.2
53995 | 2021-03-22 15:49 | 18.0075 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.8912 | μmol/L | 19.6369 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.525 | 118619.6155 | 303805.1972 | 30.45 | 114.2
54005 | 2021-03-22 15:49 | 18.3405 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.5877 | μmol/L | 19.6491 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.538 | 118666.9715 | 303803.1743 | 30.45 | 114.2
54015 | 2021-03-22 15:49 | 18.6736 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.445 | μmol/L | 19.6553 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.544 | 118703.4148 | 303800.7813 | 30.45 | 114.2
54025 | 2021-03-22 15:50 | 19.0076 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.2976 | μmol/L | 19.6737 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.546 | 118722.4027 | 303799.8091 | 30.45 | 114.2
54035 | 2021-03-22 15:50 | 19.3408 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.3374 | μmol/L | 19.6614 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.548 | 118731.6276 | 303810.6637 | 30.45 | 114.2
54045 | 2021-03-22 15:50 | 19.6739 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.3549 | μmol/L | 19.6614 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.547 | 118733.9904 | 303793.0858 | 30.45 | 114.2
54055 | 2021-03-22 15:51 | 20.007 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.2673 | μmol/L | 19.6614 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.552 | 118782.0227 | 303812.8965 | 30.45 | 114.2
54065 | 2021-03-22 15:51 | 20.3409 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.0571 | μmol/L | 19.6614 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.564 | 118823.2153 | 303802.0078 | 30.45 | 114.2
54075 | 2021-03-22 15:51 | 20.6738 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.972 | μmol/L | 19.6553 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.571 | 118867.9927 | 303814.7318 | 30.45 | 114.2
54085 | 2021-03-22 15:52 | 21.0077 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.937 | μmol/L | 19.6553 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.573 | 118900.9479 | 303810.5802 | 30.45 | 114.2
54095 | 2021-03-22 15:52 | 21.3404 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.7773 | μmol/L | 19.6614 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.58 | 118918.7347 | 303808.4216 | 30.45 | 114.2
54105 | 2021-03-22 15:52 | 21.6736 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.1208 | μmol/L | 19.5877 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.586 | 118939.0512 | 303804.3602 | 30.45 | 114.2
54115 | 2021-03-22 15:53 | 22.0074 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.2905 | μmol/L | 19.557 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.587 | 118978.2941 | 303818.28 | 30.45 | 114.2
54125 | 2021-03-22 15:53 | 22.3405 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.0207 | μmol/L | 19.5754 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.596 | 118998.028 | 303822.9057 | 30.45 | 114.2
54135 | 2021-03-22 15:53 | 22.6743 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.8736 | μmol/L | 19.5938 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.598 | 119023.6942 | 303813.6767 | 30.45 | 114.2
54145 | 2021-03-22 15:54 | 23.0072 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.7266 | μmol/L | 19.6123 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.6 | 119051.2314 | 303801.5947 | 30.45 | 114.2
54155 | 2021-03-22 15:54 | 23.3405 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.6242 | μmol/L | 19.6061 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.608 | 119088.7566 | 303804.4371 | 30.45 | 114.2
54165 | 2021-03-22 15:54 | 23.6742 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.5268 | μmol/L | 19.5877 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.62 | 119158.4461 | 303815.2978 | 30.45 | 114.2
54175 | 2021-03-22 15:55 | 24.007 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.427 | μmol/L | 19.5754 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.63 | 119192.0412 | 303826.0462 | 30.45 | 114.2
54185 | 2021-03-22 15:55 | 24.341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.4595 | μmol/L | 19.5816 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.626 | 119206.8484 | 303824.1256 | 30.45 | 114.2
54195 | 2021-03-22 15:55 | 24.6739 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.2455 | μmol/L | 19.5938 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.634 | 119239.1084 | 303825.7127 | 30.45 | 114.2
54205 | 2021-03-22 15:56 | 25.0076 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.1933 | μmol/L | 19.5938 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.637 | 119255.5007 | 303800.4505 | 30.45 | 114.2
54215 | 2021-03-22 15:56 | 25.3406 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.1933 | μmol/L | 19.5938 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.637 | 119262.3248 | 303825.6116 | 30.45 | 114.2
54225 | 2021-03-22 15:56 | 25.6743 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.1411 | μmol/L | 19.5938 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.64 | 119271.9122 | 303817.207 | 30.45 | 114.2
54235 | 2021-03-22 15:57 | 26.0074 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.248 | μmol/L | 19.5877 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.636 | 119281.1167 | 303817.4463 | 30.45 | 114.2
54245 | 2021-03-22 15:57 | 26.3404 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.2727 | μmol/L | 19.5693 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.641 | 119285.9105 | 303828.7028 | 30.45 | 114.2
54255 | 2021-03-22 15:57 | 26.6743 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.2925 | μmol/L | 19.5631 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.642 | 119324.8274 | 303840.7259 | 30.45 | 114.2
54265 | 2021-03-22 15:58 | 27.0071 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.2775 | μmol/L | 19.557 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.645 | 119331.2648 | 303838.4131 | 30.45 | 114.2
54275 | 2021-03-22 15:58 | 27.3409 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.9894 | μmol/L | 19.5816 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.653 | 119369.5937 | 303831.2842 | 30.45 | 114.2
54285 | 2021-03-22 15:58 | 27.6738 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.7586 | μmol/L | 19.5938 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.662 | 119434.7349 | 303838.5392 | 30.45 | 114.2
54295 | 2021-03-22 15:59 | 28.0076 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.6718 | μmol/L | 19.5938 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.667 | 119465.8014 | 303830.4254 | 30.45 | 114.2
54305 | 2021-03-22 15:59 | 28.3409 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.6024 | μmol/L | 19.5938 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.671 | 119476.2588 | 303820.2537 | 30.45 | 114.2
54315 | 2021-03-22 15:59 | 28.6739 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.5875 | μmol/L | 19.5877 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.674 | 119513.4372 | 303831.77 | 30.45 | 114.2
54325 | 2021-03-22 16:00 | 29.0071 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.3944 | μmol/L | 19.5938 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.683 | 119546.0465 | 303846.9329 | 30.45 | 114.2
54335 | 2021-03-22 16:00 | 29.341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.429 | μmol/L | 19.5938 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.681 | 119558.3613 | 303844.6126 | 30.45 | 114.2
54345 | 2021-03-22 16:00 | 29.6739 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.2855 | μmol/L | 19.6061 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.685 | 119572.1277 | 303825.6989 | 30.45 | 114.2
54355 | 2021-03-22 16:01 | 30.0076 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.2855 | μmol/L | 19.6061 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.685 | 119581.5948 | 303827.2351 | 30.45 | 114.2
54365 | 2021-03-22 16:01 | 30.3403 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.199 | μmol/L | 19.6061 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.69 | 119628.0289 | 303842.4138 | 30.45 | 114.2
54375 | 2021-03-22 16:01 | 30.6741 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.0927 | μmol/L | 19.6123 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.694 | 119634.5793 | 303837.8271 | 30.45 | 114.2
54385 | 2021-03-22 16:02 | 31.0072 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.9841 | μmol/L | 19.6246 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.696 | 119644.7427 | 303841.5115 | 30.45 | 114.2
54395 | 2021-03-22 16:02 | 31.3408 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.0038 | μmol/L | 19.6184 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.697 | 119642.5592 | 303850.4988 | 30.45 | 114.2
54405 | 2021-03-22 16:02 | 31.6736 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.9298 | μmol/L | 19.6307 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.697 | 119655.1385 | 303847.2837 | 30.45 | 114.2
54415 | 2021-03-22 16:03 | 32.0073 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.91 | μmol/L | 19.6369 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.696 | 119673.7677 | 303858.5215 | 30.45 | 114.2
54425 | 2021-03-22 16:03 | 32.3409 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.8212 | μmol/L | 19.643 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.699 | 119686.4543 | 303848.3718 | 30.45 | 114.2
54435 | 2021-03-22 16:03 | 32.6737 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.6806 | μmol/L | 19.6491 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.705 | 119711.4217 | 303845.1052 | 30.45 | 114.2
54445 | 2021-03-22 16:04 | 33.007 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.5919 | μmol/L | 19.6553 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.708 | 119739.1539 | 303853.8163 | 30.45 | 114.2
54455 | 2021-03-22 16:04 | 33.3408 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.3998 | μmol/L | 19.6614 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.717 | 119768.1446 | 303859.031 | 30.45 | 114.2
54465 | 2021-03-22 16:04 | 33.6739 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.2743 | μmol/L | 19.6737 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.72 | 119800.3238 | 303863.1098 | 30.45 | 114.2
54475 | 2021-03-22 16:05 | 34.0076 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.2719 | μmol/L | 19.6799 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.718 | 119813.1753 | 303855.9495 | 30.45 | 114.2
54485 | 2021-03-22 16:05 | 34.3406 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.1686 | μmol/L | 19.6799 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.724 | 119839.6836 | 303852.2303 | 30.45 | 114.2
54495 | 2021-03-22 16:05 | 34.6742 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.0457 | μmol/L | 19.686 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.729 | 119867.8753 | 303854.142 | 30.45 | 114.2
54505 | 2021-03-22 16:06 | 35.0075 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.9205 | μmol/L | 19.6983 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.732 | 119881.7016 | 303861.303 | 30.45 | 114.2
54515 | 2021-03-22 16:06 | 35.3407 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.9377 | μmol/L | 19.6983 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.731 | 119900.0173 | 303860.3152 | 30.45 | 114.2
54525 | 2021-03-22 16:06 | 35.6743 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.7806 | μmol/L | 19.7045 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.738 | 119938.8276 | 303869.9233 | 30.45 | 114.2
54535 | 2021-03-22 16:07 | 36.0075 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.658 | μmol/L | 19.7106 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.743 | 119955.3916 | 303861.0825 | 30.45 | 114.2
54545 | 2021-03-22 16:07 | 36.3407 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.6923 | μmol/L | 19.7106 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.741 | 119984.6963 | 303859.1946 | 30.45 | 114.2
54555 | 2021-03-22 16:07 | 36.6738 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.4301 | μmol/L | 19.7229 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.752 | 120007.2197 | 303863.8578 | 30.45 | 114.2
54565 | 2021-03-22 16:08 | 37.0076 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.3934 | μmol/L | 19.729 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.752 | 120032.7726 | 303871.5481 | 30.45 | 114.2
54575 | 2021-03-22 16:08 | 37.341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.3591 | μmol/L | 19.729 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.754 | 120045.2325 | 303864.0875 | 30.45 | 114.2
54585 | 2021-03-22 16:08 | 37.6741 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.1854 | μmol/L | 19.7352 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.762 | 120059.8429 | 303865.932 | 30.45 | 114.2
54595 | 2021-03-22 16:09 | 38.0073 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.1145 | μmol/L | 19.7413 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.764 | 120102.8334 | 303873.3587 | 30.45 | 114.2
54605 | 2021-03-22 16:09 | 38.3405 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.9752 | μmol/L | 19.7475 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.77 | 120128.1806 | 303869.0281 | 30.45 | 114.2
54615 | 2021-03-22 16:09 | 38.6736 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.8727 | μmol/L | 19.7475 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.776 | 120173.2547 | 303872.7089 | 30.45 | 114.2
54625 | 2021-03-22 16:10 | 39.0077 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.8385 | μmol/L | 19.7475 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.778 | 120198.2396 | 303872.7528 | 30.45 | 114.2
54635 | 2021-03-22 16:10 | 39.341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.8214 | μmol/L | 19.7475 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.779 | 120212.6695 | 303861.6625 | 30.45 | 114.2
54645 | 2021-03-22 16:10 | 39.6743 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.6458 | μmol/L | 19.7598 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.785 | 120229.9403 | 303877.1611 | 30.45 | 114.2
54655 | 2021-03-22 16:11 | 40.0073 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.558 | μmol/L | 19.7659 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.788 | 120261.6337 | 303876.0731 | 30.45 | 114.2
54665 | 2021-03-22 16:11 | 40.3408 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.5117 | μmol/L | 19.7536 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.795 | 120291.8315 | 303874.5416 | 30.45 | 114.2
54675 | 2021-03-22 16:11 | 40.674 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.4752 | μmol/L | 19.7598 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.795 | 120319.3095 | 303882.4168 | 30.45 | 114.2
54685 | 2021-03-22 16:12 | 41.0069 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.3194 | μmol/L | 19.7659 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.802 | 120353.2673 | 303895.1515 | 30.45 | 114.2
54695 | 2021-03-22 16:12 | 41.3406 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.2464 | μmol/L | 19.7782 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.802 | 120372.4307 | 303896.4644 | 30.45 | 114.2
54705 | 2021-03-22 16:12 | 41.6744 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.1102 | μmol/L | 19.7782 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.81 | 120390.9178 | 303889.615 | 30.45 | 114.2
54715 | 2021-03-22 16:13 | 42.0073 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.9717 | μmol/L | 19.7843 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.816 | 120447.4644 | 303897.7279 | 30.45 | 114.2
54725 | 2021-03-22 16:13 | 42.3409 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.7872 | μmol/L | 19.7782 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.829 | 120497.2961 | 303879.6331 | 30.45 | 114.2
54735 | 2021-03-22 16:13 | 42.674 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.7023 | μmol/L | 19.7782 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.834 | 120542.3878 | 303882.9187 | 30.45 | 114.2
54745 | 2021-03-22 16:14 | 43.0075 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.6683 | μmol/L | 19.7782 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.836 | 120551.0521 | 303879.6412 | 30.45 | 114.2
54755 | 2021-03-22 16:14 | 43.3408 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.5665 | μmol/L | 19.7782 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.842 | 120575.1776 | 303870.6091 | 30.45 | 114.2
54765 | 2021-03-22 16:14 | 43.6738 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.4987 | μmol/L | 19.7782 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.846 | 120587.3508 | 303881.3628 | 30.45 | 114.2
54775 | 2021-03-22 16:15 | 44.0075 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.3945 | μmol/L | 19.7843 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.85 | 120628.0271 | 303869.8443 | 30.45 | 114.2
54785 | 2021-03-22 16:15 | 44.3405 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.3631 | μmol/L | 19.7782 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.854 | 120657.084 | 303878.1968 | 30.45 | 114.2
54795 | 2021-03-22 16:15 | 44.6744 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.155 | μmol/L | 19.7905 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.862 | 120695.0582 | 303883.8789 | 30.45 | 114.2
54805 | 2021-03-22 16:16 | 45.0072 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.0028 | μmol/L | 19.7905 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.871 | 120750.3352 | 303891.6843 | 30.45 | 114.2
54815 | 2021-03-22 16:16 | 45.341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 200.9038 | μmol/L | 19.7843 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.879 | 120784.5248 | 303879.0102 | 30.45 | 114.2
54825 | 2021-03-22 16:16 | 45.6741 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 200.8556 | μmol/L | 19.7782 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.884 | 120810.8566 | 303877.9642 | 30.45 | 114.2
54835 | 2021-03-22 16:17 | 46.007 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 200.8218 | μmol/L | 19.7782 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.886 | 120842.5525 | 303892.9651 | 30.45 | 114.2
54845 | 2021-03-22 16:17 | 46.3407 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 200.7881 | μmol/L | 19.7782 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.888 | 120869.6001 | 303883.3757 | 30.45 | 114.2
54855 | 2021-03-22 16:17 | 46.6739 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 200.4939 | μmol/L | 19.7966 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.899 | 120911.1718 | 303889.1718 | 30.45 | 114.2
54865 | 2021-03-22 16:18 | 47.0071 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 200.4433 | μmol/L | 19.7966 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.902 | 120954.6104 | 303880.2255 | 30.45 | 114.2
54875 | 2021-03-22 16:18 | 47.3408 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 200.364 | μmol/L | 19.7843 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.911 | 120996.5518 | 303882.247 | 30.45 | 114.2
54885 | 2021-03-22 16:18 | 47.6737 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 200.1739 | μmol/L | 19.7966 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.918 | 121043.1954 | 303872.1522 | 30.45 | 114.2
54895 | 2021-03-22 16:19 | 48.0073 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.9889 | μmol/L | 19.7966 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.929 | 121095.2907 | 303897.2412 | 30.45 | 114.2
54905 | 2021-03-22 16:19 | 48.341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.8812 | μmol/L | 19.772 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.944 | 121168.464 | 303882.7013 | 30.45 | 114.2
54915 | 2021-03-22 16:19 | 48.6739 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.8862 | μmol/L | 19.7598 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.948 | 121215.2083 | 303899.1627 | 30.45 | 114.2
54925 | 2021-03-22 16:20 | 49.007 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.819 | μmol/L | 19.7598 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.952 | 121258.8503 | 303894.8887 | 30.45 | 114.2
54935 | 2021-03-22 16:20 | 49.3408 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.6488 | μmol/L | 19.7659 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.96 | 121299.9489 | 303890.9353 | 30.45 | 114.2
54945 | 2021-03-22 16:20 | 49.674 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.5339 | μmol/L | 19.7598 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.969 | 121348.485 | 303897.5741 | 30.45 | 114.2
54955 | 2021-03-22 16:21 | 50.0073 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.5197 | μmol/L | 19.7536 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.972 | 121364.4506 | 303900.0449 | 30.45 | 114.2
54965 | 2021-03-22 16:21 | 50.3402 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.4552 | μmol/L | 19.7475 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.978 | 121379.9021 | 303888.1875 | 30.45 | 114.2
54975 | 2021-03-22 16:21 | 50.6738 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.3664 | μmol/L | 19.7598 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.979 | 121395.5075 | 303894.1521 | 30.45 | 114.2
54985 | 2021-03-22 16:22 | 51.0076 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.3355 | μmol/L | 19.7536 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.983 | 121421.0525 | 303901.5467 | 30.45 | 114.2
54995 | 2021-03-22 16:22 | 51.3406 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.3237 | μmol/L | 19.7413 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.988 | 121451.1493 | 303884.7756 | 30.45 | 114.2
55005 | 2021-03-22 16:22 | 51.6744 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.2066 | μmol/L | 19.7413 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.995 | 121492.8309 | 303899.8768 | 30.45 | 114.2
55015 | 2021-03-22 16:23 | 52.0075 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.0512 | μmol/L | 19.7536 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24 | 121534.869 | 303902.5727 | 30.45 | 114.2
55025 | 2021-03-22 16:23 | 52.3408 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.7574 | μmol/L | 19.7782 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.009 | 121555.5202 | 303905.9805 | 30.45 | 114.2
55035 | 2021-03-22 16:23 | 52.674 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.8842 | μmol/L | 19.7536 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.01 | 121580.1538 | 303898.5412 | 30.45 | 114.2
55045 | 2021-03-22 16:24 | 53.0077 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.9301 | μmol/L | 19.7229 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.018 | 121618.8653 | 303907.2592 | 30.45 | 114.2
55055 | 2021-03-22 16:24 | 53.3406 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.7416 | μmol/L | 19.7352 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.025 | 121664.1874 | 303907.9157 | 30.45 | 114.2
55065 | 2021-03-22 16:24 | 53.6743 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.5173 | μmol/L | 19.7536 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.032 | 121710.2848 | 303905.2616 | 30.45 | 114.2
55075 | 2021-03-22 16:25 | 54.0071 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.2768 | μmol/L | 19.772 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.04 | 121747.8719 | 303913.2632 | 30.45 | 114.2
55085 | 2021-03-22 16:25 | 54.3411 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.2294 | μmol/L | 19.7659 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.045 | 121797.6537 | 303925.4296 | 30.45 | 114.2
55095 | 2021-03-22 16:25 | 54.6743 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.1297 | μmol/L | 19.7659 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.051 | 121830.3041 | 303921.7355 | 30.45 | 114.2
55105 | 2021-03-22 16:26 | 55.0072 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.0084 | μmol/L | 19.7782 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.054 | 121859.1335 | 303909.5077 | 30.45 | 114.2
55115 | 2021-03-22 16:26 | 55.3409 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.8896 | μmol/L | 19.7843 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.059 | 121889.8413 | 303915.3554 | 30.45 | 114.2
55125 | 2021-03-22 16:26 | 55.674 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.7619 | μmol/L | 19.772 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.071 | 121936.9741 | 303924.3013 | 30.45 | 114.2
55135 | 2021-03-22 16:27 | 56.0077 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.6128 | μmol/L | 19.772 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.08 | 121974.7478 | 303908.8961 | 30.45 | 114.2
55145 | 2021-03-22 16:27 | 56.3407 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.5847 | μmol/L | 19.7598 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.086 | 122043.1405 | 303912.0275 | 30.45 | 114.2
55155 | 2021-03-22 16:27 | 56.6738 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.4217 | μmol/L | 19.7536 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.098 | 122105.5183 | 303918.8358 | 30.45 | 114.2
55165 | 2021-03-22 16:28 | 57.0077 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.2538 | μmol/L | 19.7598 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.106 | 122160.2514 | 303916.8631 | 30.45 | 114.2
55175 | 2021-03-22 16:28 | 57.3404 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.9044 | μmol/L | 19.7659 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.125 | 122224.77 | 303909.4042 | 30.45 | 114.2
55185 | 2021-03-22 16:28 | 57.6742 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.7535 | μmol/L | 19.772 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.132 | 122296.4591 | 303932.1539 | 30.45 | 114.2
55195 | 2021-03-22 16:29 | 58.0074 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.6027 | μmol/L | 19.7782 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.139 | 122330.4782 | 303907.4008 | 30.45 | 114.2
55205 | 2021-03-22 16:29 | 58.3403 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.5368 | μmol/L | 19.7782 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.143 | 122372.1413 | 303930.2875 | 30.45 | 114.2
55215 | 2021-03-22 16:29 | 58.674 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.3697 | μmol/L | 19.7843 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.151 | 122396.7074 | 303921.1528 | 30.45 | 114.2
55225 | 2021-03-22 16:30 | 59.0069 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.304 | μmol/L | 19.7843 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.155 | 122437.8343 | 303916.6662 | 30.45 | 114.2
55235 | 2021-03-22 16:30 | 59.3409 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.2382 | μmol/L | 19.7843 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.159 | 122481.3294 | 303921.0727 | 30.45 | 114.2
55245 | 2021-03-22 16:30 | 59.674 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.1612 | μmol/L | 19.772 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.168 | 122507.9898 | 303939.1286 | 30.45 | 114.2
55255 | 2021-03-22 16:31 | 60.0074 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.1283 | μmol/L | 19.772 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.17 | 122532.0546 | 303929.8329 | 30.45 | 114.2
55265 | 2021-03-22 16:31 | 60.3403 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.0816 | μmol/L | 19.7659 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.175 | 122543.7699 | 303938.3904 | 30.45 | 114.2
55275 | 2021-03-22 16:31 | 60.674 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.0022 | μmol/L | 19.7598 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.182 | 122572.8621 | 303929.1227 | 30.45 | 114.2
55285 | 2021-03-22 16:32 | 61.007 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.0237 | μmol/L | 19.7475 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.185 | 122604.6868 | 303932.2533 | 30.45 | 114.2
55295 | 2021-03-22 16:32 | 61.3406 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.9745 | μmol/L | 19.7475 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.188 | 122632.6889 | 303926.1727 | 30.45 | 114.2
55305 | 2021-03-22 16:32 | 61.6741 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.6933 | μmol/L | 19.7536 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.203 | 122684.1053 | 303935.0058 | 30.45 | 114.2
55315 | 2021-03-22 16:33 | 62.0074 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.5951 | μmol/L | 19.7536 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.209 | 122759.184 | 303939.5654 | 30.45 | 114.2
55325 | 2021-03-22 16:33 | 62.341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.2844 | μmol/L | 19.7536 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.228 | 122844.0076 | 303943.3573 | 30.45 | 114.2
55335 | 2021-03-22 16:33 | 62.674 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.9065 | μmol/L | 19.7598 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.249 | 122927.2814 | 303937.963 | 30.45 | 114.2
55345 | 2021-03-22 16:34 | 63.0069 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.8251 | μmol/L | 19.7598 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.254 | 122986.0926 | 303942.976 | 30.45 | 114.2
55355 | 2021-03-22 16:34 | 63.3405 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.6271 | μmol/L | 19.7659 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.264 | 123033.2474 | 303922.345 | 30.45 | 114.2
55365 | 2021-03-22 16:34 | 63.6738 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.6486 | μmol/L | 19.7536 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.267 | 123090.0681 | 303943.7257 | 30.45 | 114.2
55375 | 2021-03-22 16:35 | 64.0076 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.5399 | μmol/L | 19.7413 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.278 | 123143.4555 | 303942.0005 | 30.45 | 114.2
55385 | 2021-03-22 16:35 | 64.3406 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.2825 | μmol/L | 19.7352 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.296 | 123220.489 | 303948.9793 | 30.45 | 114.2
55395 | 2021-03-22 16:35 | 64.6742 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.0852 | μmol/L | 19.7413 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.306 | 123290.1211 | 303951.0491 | 30.45 | 114.2
55405 | 2021-03-22 16:36 | 65.0074 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.0418 | μmol/L | 19.729 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.313 | 123333.8407 | 303954.9732 | 30.45 | 114.2
55415 | 2021-03-22 16:36 | 65.3403 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.082 | μmol/L | 19.7106 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.317 | 123381.7803 | 303957.2725 | 30.45 | 114.2
55425 | 2021-03-22 16:36 | 65.674 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.8688 | μmol/L | 19.7167 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.328 | 123430.6956 | 303949.3807 | 30.45 | 114.2
55435 | 2021-03-22 16:37 | 66.0069 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.7393 | μmol/L | 19.7167 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.336 | 123491.0461 | 303947.8906 | 30.45 | 114.2
55445 | 2021-03-22 16:37 | 66.3407 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.6125 | μmol/L | 19.7106 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.346 | 123554.6891 | 303966.2432 | 30.45 | 114.2
55455 | 2021-03-22 16:37 | 66.6743 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.4859 | μmol/L | 19.7045 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.356 | 123595.4465 | 303968.9668 | 30.45 | 114.2
55465 | 2021-03-22 16:38 | 67.0073 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.4239 | μmol/L | 19.6983 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.362 | 123629.7604 | 303955.7876 | 30.45 | 114.2
55475 | 2021-03-22 16:38 | 67.3404 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.3755 | μmol/L | 19.6983 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.365 | 123640.115 | 303962.1824 | 30.45 | 114.2
55485 | 2021-03-22 16:38 | 67.6741 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.1927 | μmol/L | 19.7106 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.372 | 123678.1501 | 303964.3683 | 30.45 | 114.2
55495 | 2021-03-22 16:39 | 68.0071 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.9297 | μmol/L | 19.7229 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.384 | 123767.6638 | 303973.9096 | 30.45 | 114.2
55505 | 2021-03-22 16:39 | 68.341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.7152 | μmol/L | 19.7352 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.393 | 123818.2899 | 303966.1927 | 30.45 | 114.2
55515 | 2021-03-22 16:39 | 68.6737 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.6696 | μmol/L | 19.729 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.398 | 123860.9339 | 303981.0271 | 30.45 | 114.2
55525 | 2021-03-22 16:40 | 69.007 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.5008 | μmol/L | 19.7106 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.415 | 123926.9984 | 303974.061 | 30.45 | 114.2
55535 | 2021-03-22 16:40 | 69.3409 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.4474 | μmol/L | 19.7229 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.414 | 123936.2756 | 303983.0276 | 30.45 | 114.2
55545 | 2021-03-22 16:40 | 69.674 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.4153 | μmol/L | 19.7229 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.416 | 123950.9395 | 303986.5878 | 30.45 | 114.2
55555 | 2021-03-22 16:41 | 70.0077 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.4553 | μmol/L | 19.7045 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.42 | 123994.861 | 303980.4228 | 30.45 | 114.2
55565 | 2021-03-22 16:41 | 70.3407 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.3296 | μmol/L | 19.6983 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.43 | 124026.5517 | 303981.1896 | 30.45 | 114.2
55575 | 2021-03-22 16:41 | 70.6737 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.1293 | μmol/L | 19.7167 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.436 | 124064.1665 | 303997.6798 | 30.45 | 114.2
55585 | 2021-03-22 16:42 | 71.0073 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.0171 | μmol/L | 19.7167 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.443 | 124096.5931 | 304000.7714 | 30.45 | 114.2
55595 | 2021-03-22 16:42 | 71.3402 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.8678 | μmol/L | 19.729 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.448 | 124121.2033 | 303987.8929 | 30.45 | 114.2
55605 | 2021-03-22 16:42 | 71.6742 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.8225 | μmol/L | 19.7229 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.453 | 124162.9413 | 304005.6528 | 30.45 | 114.2
55615 | 2021-03-22 16:43 | 72.007 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.7905 | μmol/L | 19.7229 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.455 | 124181.6704 | 304006.8187 | 30.45 | 114.2
55625 | 2021-03-22 16:43 | 72.3402 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.6467 | μmol/L | 19.7229 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.464 | 124218.812 | 304007.2755 | 30.45 | 114.2