## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-22 16:44

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
53457 | 2021-03-22 15:31 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 209.8613 | μmol/L | 19.8752 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.211 | 167798.9297 | 312851.6501 | 33.25 | 68.6
53467 | 2021-03-22 15:31 | 0.326 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 209.8907 | μmol/L | 19.8569 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.216 | 167866.38 | 312846.1588 | 33.25 | 68.6
53477 | 2021-03-22 15:31 | 0.65986 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 209.9678 | μmol/L | 19.8265 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.223 | 167926.4538 | 312843.8157 | 33.25 | 68.6
53487 | 2021-03-22 15:32 | 0.99273 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 210.0532 | μmol/L | 19.8022 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.227 | 167963.9158 | 312846.5133 | 33.25 | 68.6
53497 | 2021-03-22 15:32 | 1.3259 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 209.9111 | μmol/L | 19.8083 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.233 | 167975.381 | 312831.644 | 33.25 | 68.6
53507 | 2021-03-22 15:32 | 1.6596 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 210.0055 | μmol/L | 19.7961 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.232 | 167995.1568 | 312832.7724 | 33.25 | 68.6
53517 | 2021-03-22 15:33 | 1.9926 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 209.8634 | μmol/L | 19.8022 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.238 | 168011.2966 | 312822.8175 | 33.25 | 68.6
53527 | 2021-03-22 15:33 | 2.3263 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 209.7559 | μmol/L | 19.8083 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.242 | 168042.685 | 312823.221 | 33.25 | 68.6
53537 | 2021-03-22 15:33 | 2.6593 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 209.537 | μmol/L | 19.8265 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.248 | 168072.6009 | 312831.356 | 33.25 | 68.6
53547 | 2021-03-22 15:34 | 2.9928 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 209.5026 | μmol/L | 19.8265 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.25 | 168092.618 | 312814.6255 | 33.25 | 68.6
53557 | 2021-03-22 15:34 | 3.3265 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 209.4207 | μmol/L | 19.8387 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.25 | 168102.9813 | 312826.0626 | 33.25 | 68.6
53567 | 2021-03-22 15:34 | 3.6594 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 209.3012 | μmol/L | 19.8448 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.255 | 168114.625 | 312819.6345 | 33.25 | 68.6
53577 | 2021-03-22 15:35 | 3.9926 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 209.2112 | μmol/L | 19.8509 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.258 | 168134.2234 | 312811.8857 | 33.25 | 68.6
53587 | 2021-03-22 15:35 | 4.3265 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 209.0828 | μmol/L | 19.863 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.261 | 168164.3993 | 312827.0629 | 33.25 | 68.6
53597 | 2021-03-22 15:35 | 4.6594 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.9546 | μmol/L | 19.8752 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.264 | 168184.1092 | 312824.0545 | 33.25 | 68.6
53607 | 2021-03-22 15:36 | 4.9925 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.9366 | μmol/L | 19.8691 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.267 | 168223.7836 | 312811.6346 | 33.25 | 68.6
53617 | 2021-03-22 15:36 | 5.3263 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.8214 | μmol/L | 19.8691 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.274 | 168277.6508 | 312812.655 | 33.25 | 68.6
53627 | 2021-03-22 15:36 | 5.6593 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.7741 | μmol/L | 19.863 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.279 | 168293.7947 | 312804.9079 | 33.25 | 68.6
53637 | 2021-03-22 15:37 | 5.9929 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.6664 | μmol/L | 19.863 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.285 | 168348.7165 | 312816.5924 | 33.25 | 68.6
53647 | 2021-03-22 15:37 | 6.3258 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.6158 | μmol/L | 19.8691 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.286 | 168359.5385 | 312815.6944 | 33.25 | 68.6
53657 | 2021-03-22 15:37 | 6.6595 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.6713 | μmol/L | 19.863 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.285 | 168340.9449 | 312837.9809 | 33.25 | 68.6
53667 | 2021-03-22 15:38 | 6.9928 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.8467 | μmol/L | 19.8569 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.277 | 168264.355 | 312816.4534 | 33.25 | 68.6
53677 | 2021-03-22 15:38 | 7.3261 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.9831 | μmol/L | 19.8509 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.271 | 168199.8863 | 312815.513 | 33.25 | 68.6
53687 | 2021-03-22 15:38 | 7.6593 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 209.1466 | μmol/L | 19.8448 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.264 | 168140.4068 | 312800.9694 | 33.25 | 68.6
53697 | 2021-03-22 15:39 | 7.9931 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 209.3388 | μmol/L | 19.8326 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.257 | 168115.0181 | 312822.669 | 33.25 | 68.6
53707 | 2021-03-22 15:39 | 8.3264 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 209.4805 | μmol/L | 19.8083 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.258 | 168081.9713 | 312820.3222 | 33.25 | 68.6
53717 | 2021-03-22 15:39 | 8.6596 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 209.5141 | μmol/L | 19.8022 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.258 | 168078.6706 | 312821.4198 | 33.25 | 68.6
53727 | 2021-03-22 15:40 | 8.9931 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 209.5313 | μmol/L | 19.8022 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.257 | 168087.2036 | 312804.8938 | 33.25 | 68.6
53737 | 2021-03-22 15:40 | 9.3264 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 209.4109 | μmol/L | 19.8022 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.264 | 168123.3615 | 312815.4368 | 33.25 | 68.6
53747 | 2021-03-22 15:40 | 9.6593 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 209.248 | μmol/L | 19.8143 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.269 | 168153.5878 | 312812.8784 | 33.25 | 68.6
53757 | 2021-03-22 15:41 | 9.9926 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 209.2349 | μmol/L | 19.8083 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.272 | 168183.0029 | 312799.1307 | 33.25 | 68.6
53767 | 2021-03-22 15:41 | 10.3258 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 209.3332 | μmol/L | 19.79 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.273 | 168197.7249 | 312803.5474 | 33.25 | 68.6
53777 | 2021-03-22 15:41 | 10.6596 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 209.1703 | μmol/L | 19.8022 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.278 | 168213.9965 | 312801.3946 | 33.25 | 68.6
53787 | 2021-03-22 15:42 | 10.9931 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 209.1237 | μmol/L | 19.8022 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.281 | 168236.2255 | 312788.172 | 33.25 | 68.6
53797 | 2021-03-22 15:42 | 11.326 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 209.1058 | μmol/L | 19.7961 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.284 | 168272.6197 | 312796.3102 | 33.25 | 68.6
53807 | 2021-03-22 15:42 | 11.6591 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.9644 | μmol/L | 19.8022 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.29 | 168312.8035 | 312792.023 | 33.25 | 68.6
53817 | 2021-03-22 15:43 | 11.9929 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.8657 | μmol/L | 19.7961 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.298 | 168358.1121 | 312798.0859 | 33.25 | 68.6
53827 | 2021-03-22 15:43 | 12.3265 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.678 | μmol/L | 19.8022 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.307 | 168419.8924 | 312793.3763 | 33.25 | 68.6
53837 | 2021-03-22 15:43 | 12.6594 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.6259 | μmol/L | 19.7961 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.312 | 168496.71 | 312813.842 | 33.25 | 68.6
53847 | 2021-03-22 15:44 | 12.993 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.489 | μmol/L | 19.7961 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.32 | 168546.4666 | 312797.3243 | 33.25 | 68.6
53857 | 2021-03-22 15:44 | 13.326 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.7151 | μmol/L | 19.7474 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.325 | 168573.0426 | 312799.7916 | 33.25 | 68.6
53867 | 2021-03-22 15:44 | 13.6593 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.6213 | μmol/L | 19.7596 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.326 | 168603.3028 | 312794.2885 | 33.25 | 68.6
53877 | 2021-03-22 15:45 | 13.9932 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.5055 | μmol/L | 19.7717 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.328 | 168638.7184 | 312795.8985 | 33.25 | 68.6
53887 | 2021-03-22 15:45 | 14.3264 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.3858 | μmol/L | 19.7717 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.335 | 168702.4254 | 312792.657 | 33.25 | 68.6
53897 | 2021-03-22 15:45 | 14.6597 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.2369 | μmol/L | 19.7717 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.344 | 168767.2808 | 312788.7163 | 33.25 | 68.6
53907 | 2021-03-22 15:46 | 14.993 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.0451 | μmol/L | 19.7778 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.353 | 168809.3539 | 312794.1709 | 33.25 | 68.6
53917 | 2021-03-22 15:46 | 15.3263 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.989 | μmol/L | 19.7778 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.356 | 168875.2194 | 312786.7871 | 33.25 | 68.6
53927 | 2021-03-22 15:46 | 15.6595 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.8016 | μmol/L | 19.7778 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.367 | 168939.1986 | 312790.6127 | 33.25 | 68.6
53937 | 2021-03-22 15:47 | 15.9926 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.6571 | μmol/L | 19.79 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.371 | 168989.9084 | 312785.3442 | 33.25 | 68.6
53947 | 2021-03-22 15:47 | 16.3265 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.5088 | μmol/L | 19.79 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.38 | 169032.4996 | 312795.6169 | 33.25 | 68.6
53957 | 2021-03-22 15:47 | 16.6597 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.351 | μmol/L | 19.79 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.389 | 169098.0599 | 312781.2265 | 33.25 | 68.6
53967 | 2021-03-22 15:48 | 16.9926 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.3634 | μmol/L | 19.7717 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.395 | 169187.2212 | 312788.4537 | 33.25 | 68.6
53977 | 2021-03-22 15:48 | 17.3265 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.1766 | μmol/L | 19.7717 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.406 | 169261.4581 | 312792.3937 | 33.25 | 68.6
53987 | 2021-03-22 15:48 | 17.6598 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.0409 | μmol/L | 19.7717 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.414 | 169300.3739 | 312784.6071 | 33.25 | 68.6
53997 | 2021-03-22 15:49 | 17.9929 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.143 | μmol/L | 19.7535 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.415 | 169318.8783 | 312791.4679 | 33.25 | 68.6
54007 | 2021-03-22 15:49 | 18.3259 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.1974 | μmol/L | 19.7413 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.416 | 169335.945 | 312790.3642 | 33.25 | 68.6
54017 | 2021-03-22 15:49 | 18.6598 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.2057 | μmol/L | 19.7291 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.42 | 169345.5347 | 312769.4842 | 33.25 | 68.6
54027 | 2021-03-22 15:50 | 18.9928 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.1337 | μmol/L | 19.7352 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.422 | 169385.788 | 312781.064 | 33.25 | 68.6
54037 | 2021-03-22 15:50 | 19.3264 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.1251 | μmol/L | 19.723 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.427 | 169436.5408 | 312789.6067 | 33.25 | 68.6
54047 | 2021-03-22 15:50 | 19.6595 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.0444 | μmol/L | 19.717 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.434 | 169497.8342 | 312791.0514 | 33.25 | 68.6
54057 | 2021-03-22 15:51 | 19.9926 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.9179 | μmol/L | 19.7109 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.444 | 169569.3888 | 312797.0616 | 33.25 | 68.6
54067 | 2021-03-22 15:51 | 20.3265 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.8198 | μmol/L | 19.6987 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.454 | 169638.501 | 312792.9135 | 33.25 | 68.6
54077 | 2021-03-22 15:51 | 20.6597 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.7394 | μmol/L | 19.6926 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.461 | 169697.6093 | 312793.1686 | 33.25 | 68.6
54087 | 2021-03-22 15:52 | 20.9929 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.6548 | μmol/L | 19.6926 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.466 | 169753.2505 | 312808.8245 | 33.25 | 68.6
54097 | 2021-03-22 15:52 | 21.3258 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.6041 | μmol/L | 19.6926 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.469 | 169795.3757 | 312800.502 | 33.25 | 68.6
54107 | 2021-03-22 15:52 | 21.6595 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.5237 | μmol/L | 19.6865 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.476 | 169818.038 | 312791.3496 | 33.25 | 68.6
54117 | 2021-03-22 15:53 | 21.9931 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.3212 | μmol/L | 19.7109 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.479 | 169856.9105 | 312797.8151 | 33.25 | 68.6
54127 | 2021-03-22 15:53 | 22.326 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.1784 | μmol/L | 19.7291 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.481 | 169889.7597 | 312784.2372 | 33.25 | 68.6
54137 | 2021-03-22 15:53 | 22.6598 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.0766 | μmol/L | 19.723 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.489 | 169927.9061 | 312798.6707 | 33.25 | 68.6
54147 | 2021-03-22 15:54 | 22.9929 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.2662 | μmol/L | 19.6926 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.489 | 169950.5397 | 312798.0596 | 33.25 | 68.6
54157 | 2021-03-22 15:54 | 23.326 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.0892 | μmol/L | 19.7048 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.495 | 169970.5499 | 312791.537 | 33.25 | 68.6
54167 | 2021-03-22 15:54 | 23.6598 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.3005 | μmol/L | 19.6744 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.494 | 169993.4652 | 312789.6899 | 33.25 | 68.6
54177 | 2021-03-22 15:55 | 23.9927 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.2372 | μmol/L | 19.6683 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.5 | 170042.0173 | 312805.3489 | 33.25 | 68.6
54187 | 2021-03-22 15:55 | 24.3262 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.0975 | μmol/L | 19.6683 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.508 | 170110.6303 | 312807.1347 | 33.25 | 68.6
54197 | 2021-03-22 15:55 | 24.6593 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 205.7186 | μmol/L | 19.7048 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.517 | 170189.157 | 312800.0423 | 33.25 | 68.6
54207 | 2021-03-22 15:56 | 24.9931 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 205.5001 | μmol/L | 19.7048 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.53 | 170264.7782 | 312793.1197 | 33.25 | 68.6
54217 | 2021-03-22 15:56 | 25.3262 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 205.3112 | μmol/L | 19.7109 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.539 | 170353.391 | 312796.6534 | 33.25 | 68.6
54227 | 2021-03-22 15:56 | 25.6598 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 205.2315 | μmol/L | 19.7048 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.546 | 170421.357 | 312811.8051 | 33.25 | 68.6
54237 | 2021-03-22 15:57 | 25.9928 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 205.1602 | μmol/L | 19.7109 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.548 | 170457.0327 | 312800.1605 | 33.25 | 68.6
54247 | 2021-03-22 15:57 | 26.3259 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 205.2063 | μmol/L | 19.6926 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.552 | 170458.6293 | 312803.1965 | 33.25 | 68.6
54257 | 2021-03-22 15:57 | 26.6598 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 205.3617 | μmol/L | 19.6622 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.554 | 170472.2416 | 312802.7785 | 33.25 | 68.6
54267 | 2021-03-22 15:58 | 26.9926 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 205.3322 | μmol/L | 19.6804 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.549 | 170434.9003 | 312799.6715 | 33.25 | 68.6
54277 | 2021-03-22 15:58 | 27.3263 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 205.4833 | μmol/L | 19.6804 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.54 | 170403.8076 | 312805.2672 | 33.25 | 68.6
54287 | 2021-03-22 15:58 | 27.6593 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 205.4713 | μmol/L | 19.6804 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.541 | 170362.4922 | 312813.7948 | 33.25 | 68.6
54297 | 2021-03-22 15:59 | 27.993 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 205.6057 | μmol/L | 19.6804 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.533 | 170329.4689 | 312823.4705 | 33.25 | 68.6
54307 | 2021-03-22 15:59 | 28.3261 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 205.6141 | μmol/L | 19.6926 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.528 | 170293.4127 | 312805.3184 | 33.25 | 68.6
54317 | 2021-03-22 15:59 | 28.6592 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 205.4833 | μmol/L | 19.7048 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.531 | 170320.6681 | 312813.8927 | 33.25 | 68.6
54327 | 2021-03-22 16:00 | 28.993 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 205.4119 | μmol/L | 19.7109 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.533 | 170344.9928 | 312808.8305 | 33.25 | 68.6
54337 | 2021-03-22 16:00 | 29.3261 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 205.2566 | μmol/L | 19.717 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.54 | 170394.0054 | 312818.9031 | 33.25 | 68.6
54347 | 2021-03-22 16:00 | 29.6593 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 205.1392 | μmol/L | 19.717 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.547 | 170434.2399 | 312813.3749 | 33.25 | 68.6
54357 | 2021-03-22 16:01 | 29.993 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 205.0637 | μmol/L | 19.7291 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.547 | 170467.1482 | 312818.7768 | 33.25 | 68.6
54367 | 2021-03-22 16:01 | 30.3259 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 205.026 | μmol/L | 19.7352 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.547 | 170444.7757 | 312820.1769 | 33.25 | 68.6
54377 | 2021-03-22 16:01 | 30.6596 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 205.1601 | μmol/L | 19.7352 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.539 | 170417.1585 | 312829.8436 | 33.25 | 68.6
54387 | 2021-03-22 16:02 | 30.9925 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 205.1979 | μmol/L | 19.7291 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.539 | 170392.844 | 312831.6963 | 33.25 | 68.6
54397 | 2021-03-22 16:02 | 31.3262 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 205.0554 | μmol/L | 19.7413 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.543 | 170428.0807 | 312821.6785 | 33.25 | 68.6
54407 | 2021-03-22 16:02 | 31.6591 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 205.0051 | μmol/L | 19.7413 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.546 | 170467.2362 | 312823.8109 | 33.25 | 68.6
54417 | 2021-03-22 16:03 | 31.9928 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 204.9632 | μmol/L | 19.7535 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.544 | 170451.1474 | 312814.27 | 33.25 | 68.6
54427 | 2021-03-22 16:03 | 32.3265 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 204.9087 | μmol/L | 19.7596 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.545 | 170440.7638 | 312823.8167 | 33.25 | 68.6
54437 | 2021-03-22 16:03 | 32.6593 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 204.959 | μmol/L | 19.7596 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.542 | 170423.0242 | 312813.0712 | 33.25 | 68.6
54447 | 2021-03-22 16:04 | 32.9929 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 204.9004 | μmol/L | 19.7717 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.541 | 170406.762 | 312817.67 | 33.25 | 68.6
54457 | 2021-03-22 16:04 | 33.326 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 204.9381 | μmol/L | 19.7656 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.541 | 170425.5676 | 312825.0393 | 33.25 | 68.6
54467 | 2021-03-22 16:04 | 33.6596 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 204.7581 | μmol/L | 19.7839 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.545 | 170441.6506 | 312829.8327 | 33.25 | 68.6
54477 | 2021-03-22 16:05 | 33.9925 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 204.7581 | μmol/L | 19.7839 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.545 | 170462.3252 | 312833.9726 | 33.25 | 68.6
54487 | 2021-03-22 16:05 | 34.3265 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 204.5824 | μmol/L | 19.7961 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.551 | 170510.4299 | 312835.3659 | 33.25 | 68.6
54497 | 2021-03-22 16:05 | 34.6596 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 204.5532 | μmol/L | 19.79 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.555 | 170543.2116 | 312837.06 | 33.25 | 68.6
54507 | 2021-03-22 16:06 | 34.9929 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 204.3825 | μmol/L | 19.8022 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.561 | 170617.3461 | 312847.2585 | 33.25 | 68.6
54517 | 2021-03-22 16:06 | 35.3259 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 204.1399 | μmol/L | 19.8083 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.573 | 170682.0203 | 312834.7534 | 33.25 | 68.6
54527 | 2021-03-22 16:06 | 35.6598 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 204.019 | μmol/L | 19.8143 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.578 | 170726.1926 | 312852.5213 | 33.25 | 68.6
54537 | 2021-03-22 16:07 | 35.993 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 203.9981 | μmol/L | 19.8204 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.577 | 170757.2338 | 312839.9929 | 33.25 | 68.6
54547 | 2021-03-22 16:07 | 36.3261 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 203.8107 | μmol/L | 19.8265 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.586 | 170798.214 | 312845.7646 | 33.25 | 68.6
54557 | 2021-03-22 16:07 | 36.6591 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 203.7275 | μmol/L | 19.8265 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.591 | 170824.908 | 312843.7208 | 33.25 | 68.6
54567 | 2021-03-22 16:08 | 36.9924 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 203.5903 | μmol/L | 19.8326 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.597 | 170900.7074 | 312838.4451 | 33.25 | 68.6
54577 | 2021-03-22 16:08 | 37.3258 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 203.4407 | μmol/L | 19.8326 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.606 | 170967.2913 | 312846.6226 | 33.25 | 68.6
54587 | 2021-03-22 16:08 | 37.6597 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 203.1833 | μmol/L | 19.8448 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.617 | 171040.2358 | 312843.2391 | 33.25 | 68.6
54597 | 2021-03-22 16:09 | 37.9928 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 203.1667 | μmol/L | 19.8448 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.618 | 171087.898 | 312849.7185 | 33.25 | 68.6
54607 | 2021-03-22 16:09 | 38.326 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 203.034 | μmol/L | 19.8448 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.626 | 171138.4215 | 312848.2033 | 33.25 | 68.6
54617 | 2021-03-22 16:09 | 38.6598 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 202.86 | μmol/L | 19.8569 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.632 | 171194.2412 | 312858.6597 | 33.25 | 68.6
54627 | 2021-03-22 16:10 | 38.9931 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 202.7069 | μmol/L | 19.863 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.639 | 171246.6308 | 312854.4489 | 33.25 | 68.6
54637 | 2021-03-22 16:10 | 39.3263 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 202.5704 | μmol/L | 19.8691 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.645 | 171282.7301 | 312864.1765 | 33.25 | 68.6
54647 | 2021-03-22 16:10 | 39.6597 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 202.558 | μmol/L | 19.863 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.648 | 171317.4604 | 312848.4046 | 33.25 | 68.6
54657 | 2021-03-22 16:11 | 39.9927 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 202.4051 | μmol/L | 19.8691 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.655 | 171379.3485 | 312852.382 | 33.25 | 68.6
54667 | 2021-03-22 16:11 | 40.326 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 202.2194 | μmol/L | 19.8752 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.664 | 171461.2818 | 312857.937 | 33.25 | 68.6
54677 | 2021-03-22 16:11 | 40.6592 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 202.1252 | μmol/L | 19.8752 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.67 | 171505.2556 | 312853.7814 | 33.25 | 68.6
54687 | 2021-03-22 16:12 | 40.9931 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 202.1287 | μmol/L | 19.863 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.674 | 171561.5329 | 312852.4394 | 33.25 | 68.6
54697 | 2021-03-22 16:12 | 41.3261 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 201.9597 | μmol/L | 19.8691 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.682 | 171594.8379 | 312849.1551 | 33.25 | 68.6
54707 | 2021-03-22 16:12 | 41.6598 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 201.8121 | μmol/L | 19.8752 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.689 | 171646.5303 | 312849.3361 | 33.25 | 68.6
54717 | 2021-03-22 16:13 | 41.9928 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 201.6928 | μmol/L | 19.8813 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.694 | 171712.0593 | 312852.8882 | 33.25 | 68.6
54727 | 2021-03-22 16:13 | 42.3264 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 201.4092 | μmol/L | 19.8874 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.709 | 171829.0375 | 312857.0565 | 33.25 | 68.6
54737 | 2021-03-22 16:13 | 42.6593 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 201.2116 | μmol/L | 19.8813 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.723 | 171937.1651 | 312854.7156 | 33.25 | 68.6
54747 | 2021-03-22 16:14 | 42.993 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 201.0155 | μmol/L | 19.8874 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.733 | 172018.7093 | 312845.3289 | 33.25 | 68.6
54757 | 2021-03-22 16:14 | 43.3262 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 200.8475 | μmol/L | 19.8935 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.741 | 172082.3612 | 312854.2944 | 33.25 | 68.6
54767 | 2021-03-22 16:14 | 43.6592 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 200.8106 | μmol/L | 19.8996 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.741 | 172114.7886 | 312846.9507 | 33.25 | 68.6
54777 | 2021-03-22 16:15 | 43.993 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 200.7699 | μmol/L | 19.8874 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.748 | 172134.6081 | 312852.303 | 33.25 | 68.6
54787 | 2021-03-22 16:15 | 44.3259 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 200.7166 | μmol/L | 19.8935 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.749 | 172162.901 | 312844.0864 | 33.25 | 68.6
54797 | 2021-03-22 16:15 | 44.6596 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 200.5653 | μmol/L | 19.8996 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.756 | 172214.1038 | 312845.6688 | 33.25 | 68.6
54807 | 2021-03-22 16:16 | 44.9926 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 200.4346 | μmol/L | 19.8996 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.764 | 172290.2441 | 312855.6346 | 33.25 | 68.6
54817 | 2021-03-22 16:16 | 45.3265 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 200.2551 | μmol/L | 19.8996 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.775 | 172367.7506 | 312844.34 | 33.25 | 68.6
54827 | 2021-03-22 16:16 | 45.6595 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 200.0715 | μmol/L | 19.9056 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.784 | 172470.7484 | 312855.6177 | 33.25 | 68.6
54837 | 2021-03-22 16:17 | 45.9931 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 199.8598 | μmol/L | 19.9056 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.797 | 172567.3755 | 312860.6395 | 33.25 | 68.6
54847 | 2021-03-22 16:17 | 46.3262 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 199.6971 | μmol/L | 19.9056 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.807 | 172650.6932 | 312853.5938 | 33.25 | 68.6
54857 | 2021-03-22 16:17 | 46.6591 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 199.4696 | μmol/L | 19.9056 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.821 | 172736.1578 | 312851.727 | 33.25 | 68.6
54867 | 2021-03-22 16:18 | 46.9928 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 199.2869 | μmol/L | 19.9117 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.83 | 172808.6923 | 312840.3164 | 33.25 | 68.6
54877 | 2021-03-22 16:18 | 47.3259 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 199.1572 | μmol/L | 19.9117 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.838 | 172860.7118 | 312847.4171 | 33.25 | 68.6
54887 | 2021-03-22 16:18 | 47.6596 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 199.141 | μmol/L | 19.9117 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.839 | 172884.274 | 312835.0851 | 33.25 | 68.6
54897 | 2021-03-22 16:19 | 47.9927 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 199.0355 | μmol/L | 19.9239 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.841 | 172906.2547 | 312849.4327 | 33.25 | 68.6
54907 | 2021-03-22 16:19 | 48.3264 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 199.0396 | μmol/L | 19.9178 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.843 | 172914.1179 | 312850.2746 | 33.25 | 68.6
54917 | 2021-03-22 16:19 | 48.6599 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 199.0966 | μmol/L | 19.9056 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.844 | 172932.4068 | 312862.7276 | 33.25 | 68.6
54927 | 2021-03-22 16:20 | 48.9927 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 199.1128 | μmol/L | 19.9056 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.843 | 172936.1375 | 312854.4681 | 33.25 | 68.6
54937 | 2021-03-22 16:20 | 49.3264 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 199.048 | μmol/L | 19.9056 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.847 | 172932.7963 | 312844.6017 | 33.25 | 68.6
54947 | 2021-03-22 16:20 | 49.6595 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 199.0642 | μmol/L | 19.9056 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.846 | 172953.0711 | 312858.7021 | 33.25 | 68.6
54957 | 2021-03-22 16:21 | 49.9928 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 198.979 | μmol/L | 19.9117 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.849 | 172997.3203 | 312865.6761 | 33.25 | 68.6
54967 | 2021-03-22 16:21 | 50.3264 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 198.8699 | μmol/L | 19.9056 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.858 | 173050.5725 | 312869.3391 | 33.25 | 68.6
54977 | 2021-03-22 16:21 | 50.6592 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 198.7567 | μmol/L | 19.9056 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.865 | 173102.63 | 312864.0496 | 33.25 | 68.6
54987 | 2021-03-22 16:22 | 50.9931 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 198.6597 | μmol/L | 19.9056 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.871 | 173140.5997 | 312860.4887 | 33.25 | 68.6
54997 | 2021-03-22 16:22 | 51.3259 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 198.5909 | μmol/L | 19.9117 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.873 | 173174.252 | 312860.9101 | 33.25 | 68.6
55007 | 2021-03-22 16:22 | 51.6595 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 198.607 | μmol/L | 19.9117 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.872 | 173209.9547 | 312864.5055 | 33.25 | 68.6
55017 | 2021-03-22 16:23 | 51.9931 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 198.5101 | μmol/L | 19.9117 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.878 | 173241.9145 | 312854.2829 | 33.25 | 68.6
55027 | 2021-03-22 16:23 | 52.3264 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 198.4294 | μmol/L | 19.9117 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.883 | 173273.2612 | 312842.8677 | 33.25 | 68.6
55037 | 2021-03-22 16:23 | 52.6593 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 198.381 | μmol/L | 19.9117 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.886 | 173308.1655 | 312861.9674 | 33.25 | 68.6
55047 | 2021-03-22 16:24 | 52.9929 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 198.2681 | μmol/L | 19.9117 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.893 | 173355.5413 | 312859.9847 | 33.25 | 68.6
55057 | 2021-03-22 16:24 | 53.326 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 198.1833 | μmol/L | 19.9178 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.896 | 173390.555 | 312867.8199 | 33.25 | 68.6
55067 | 2021-03-22 16:24 | 53.6598 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 198.0341 | μmol/L | 19.9239 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.903 | 173459.0388 | 312864.4083 | 33.25 | 68.6
55077 | 2021-03-22 16:25 | 53.9926 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.8935 | μmol/L | 19.9178 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.914 | 173519.791 | 312867.887 | 33.25 | 68.6
55087 | 2021-03-22 16:25 | 54.3258 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.9382 | μmol/L | 19.8996 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.918 | 173575.622 | 312873.564 | 33.25 | 68.6
55097 | 2021-03-22 16:25 | 54.6597 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.8417 | μmol/L | 19.8996 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.924 | 173622.0304 | 312872.3483 | 33.25 | 68.6
55107 | 2021-03-22 16:26 | 54.9925 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.8137 | μmol/L | 19.8935 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.928 | 173656.9049 | 312865.9727 | 33.25 | 68.6
55117 | 2021-03-22 16:26 | 55.3262 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.7655 | μmol/L | 19.8935 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.931 | 173667.6327 | 312869.9634 | 33.25 | 68.6
55127 | 2021-03-22 16:26 | 55.6593 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.7732 | μmol/L | 19.9056 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.926 | 173661.6367 | 312865.2569 | 33.25 | 68.6
55137 | 2021-03-22 16:27 | 55.9931 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.7774 | μmol/L | 19.8996 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.928 | 173647.9159 | 312869.6483 | 33.25 | 68.6
55147 | 2021-03-22 16:27 | 56.3261 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.7291 | μmol/L | 19.8996 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.931 | 173684.221 | 312873.7121 | 33.25 | 68.6
55157 | 2021-03-22 16:27 | 56.6593 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.6327 | μmol/L | 19.8996 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.937 | 173737.2076 | 312872.213 | 33.25 | 68.6
55167 | 2021-03-22 16:28 | 56.9931 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.5888 | μmol/L | 19.8935 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.942 | 173780.778 | 312869.9852 | 33.25 | 68.6
55177 | 2021-03-22 16:28 | 57.3259 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.5448 | μmol/L | 19.8874 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.947 | 173818.0069 | 312869.9674 | 33.25 | 68.6
55187 | 2021-03-22 16:28 | 57.6596 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.5287 | μmol/L | 19.8874 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.948 | 173826.9476 | 312871.3577 | 33.25 | 68.6
55197 | 2021-03-22 16:29 | 57.9932 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.4924 | μmol/L | 19.8935 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.948 | 173832.6216 | 312870.1534 | 33.25 | 68.6
55207 | 2021-03-22 16:29 | 58.326 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.5085 | μmol/L | 19.8935 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.947 | 173828.5225 | 312872.8577 | 33.25 | 68.6
55217 | 2021-03-22 16:29 | 58.6597 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.5085 | μmol/L | 19.8935 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.947 | 173838.4413 | 312872.854 | 33.25 | 68.6
55227 | 2021-03-22 16:30 | 58.9925 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.4764 | μmol/L | 19.8935 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.949 | 173865.535 | 312867.7114 | 33.25 | 68.6
55237 | 2021-03-22 16:30 | 59.3264 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.408 | μmol/L | 19.8996 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.951 | 173892.1732 | 312879.9581 | 33.25 | 68.6
55247 | 2021-03-22 16:30 | 59.6594 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.4646 | μmol/L | 19.8874 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.952 | 173911.0712 | 312881.1174 | 33.25 | 68.6
55257 | 2021-03-22 16:31 | 59.9932 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.5979 | μmol/L | 19.8569 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.955 | 173913.0698 | 312879.5503 | 33.25 | 68.6
55267 | 2021-03-22 16:31 | 60.3258 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.5337 | μmol/L | 19.8569 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.959 | 173929.9366 | 312887.9863 | 33.25 | 68.6
55277 | 2021-03-22 16:31 | 60.6596 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.4814 | μmol/L | 19.863 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.96 | 173971.6352 | 312872.8038 | 33.25 | 68.6
55287 | 2021-03-22 16:32 | 60.9925 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.3286 | μmol/L | 19.8752 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.965 | 173983.2259 | 312889.1008 | 33.25 | 68.6
55297 | 2021-03-22 16:32 | 61.3263 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.3286 | μmol/L | 19.8752 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.965 | 173982.6636 | 312885.2979 | 33.25 | 68.6
55307 | 2021-03-22 16:32 | 61.6592 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.2603 | μmol/L | 19.8813 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.967 | 173978.8533 | 312878.4866 | 33.25 | 68.6
55317 | 2021-03-22 16:33 | 61.9929 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.3607 | μmol/L | 19.8752 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.963 | 173965.7199 | 312888.825 | 33.25 | 68.6
55327 | 2021-03-22 16:33 | 62.3258 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.3244 | μmol/L | 19.8813 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.963 | 173958.6135 | 312893.4965 | 33.25 | 68.6
55337 | 2021-03-22 16:33 | 62.6595 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.3447 | μmol/L | 19.8752 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.964 | 173972.5148 | 312880.1721 | 33.25 | 68.6
55347 | 2021-03-22 16:34 | 62.9924 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.3893 | μmol/L | 19.8569 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.968 | 174009.746 | 312885.8932 | 33.25 | 68.6
55357 | 2021-03-22 16:34 | 63.3261 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.2088 | μmol/L | 19.863 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.977 | 174049.3594 | 312894.445 | 33.25 | 68.6
55367 | 2021-03-22 16:34 | 63.6595 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.2814 | μmol/L | 19.8509 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.977 | 174072.7678 | 312882.1668 | 33.25 | 68.6
55377 | 2021-03-22 16:35 | 63.9931 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.2215 | μmol/L | 19.8448 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.983 | 174128.7283 | 312905.0649 | 33.25 | 68.6
55387 | 2021-03-22 16:35 | 64.3259 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.1574 | μmol/L | 19.8448 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.987 | 174141.7233 | 312896.2198 | 33.25 | 68.6
55397 | 2021-03-22 16:35 | 64.6596 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.0774 | μmol/L | 19.8448 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.992 | 174211.2795 | 312897.7961 | 33.25 | 68.6
55407 | 2021-03-22 16:36 | 64.9929 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.9334 | μmol/L | 19.8448 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 25.001 | 174272.9088 | 312892.7864 | 33.25 | 68.6
55417 | 2021-03-22 16:36 | 65.3258 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.9823 | μmol/L | 19.8204 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 25.007 | 174328.4254 | 312908.5522 | 33.25 | 68.6
55427 | 2021-03-22 16:36 | 65.6594 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.814 | μmol/L | 19.8326 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 25.013 | 174360.6987 | 312905.841 | 33.25 | 68.6
55437 | 2021-03-22 16:37 | 65.9925 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.8182 | μmol/L | 19.8265 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 25.015 | 174396.3539 | 312904.3682 | 33.25 | 68.6
55447 | 2021-03-22 16:37 | 66.3263 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.799 | μmol/L | 19.8083 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 25.023 | 174444.6368 | 312918.7246 | 33.25 | 68.6
55457 | 2021-03-22 16:37 | 66.6599 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.6266 | μmol/L | 19.8265 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 25.027 | 174493.3444 | 312911.3672 | 33.25 | 68.6
55467 | 2021-03-22 16:38 | 66.9932 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.4268 | μmol/L | 19.8387 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 25.035 | 174539.7899 | 312905.1889 | 33.25 | 68.6
55477 | 2021-03-22 16:38 | 67.3264 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.4554 | μmol/L | 19.8204 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 25.04 | 174582.4786 | 312922.8081 | 33.25 | 68.6
55487 | 2021-03-22 16:38 | 67.6594 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.5117 | μmol/L | 19.8083 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 25.041 | 174608.8862 | 312931.0544 | 33.25 | 68.6
55497 | 2021-03-22 16:39 | 67.9932 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.5723 | μmol/L | 19.79 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 25.044 | 174629.7339 | 312925.3409 | 33.25 | 68.6
55507 | 2021-03-22 16:39 | 68.3261 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.5085 | μmol/L | 19.79 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 25.048 | 174646.9256 | 312924.9227 | 33.25 | 68.6
55517 | 2021-03-22 16:39 | 68.6591 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.4766 | μmol/L | 19.79 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 25.05 | 174678.5893 | 312927.2788 | 33.25 | 68.6
55527 | 2021-03-22 16:40 | 68.9931 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.3768 | μmol/L | 19.7961 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 25.054 | 174700.8996 | 312930.7219 | 33.25 | 68.6
55537 | 2021-03-22 16:40 | 69.3264 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.3088 | μmol/L | 19.8022 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 25.056 | 174721.9781 | 312934.6975 | 33.25 | 68.6
55547 | 2021-03-22 16:40 | 69.6594 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.313 | μmol/L | 19.7961 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 25.058 | 174733.4482 | 312928.187 | 33.25 | 68.6
55557 | 2021-03-22 16:41 | 69.993 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.2292 | μmol/L | 19.8022 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 25.061 | 174773.6456 | 312935.8695 | 33.25 | 68.6
55567 | 2021-03-22 16:41 | 70.3262 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.998 | μmol/L | 19.8143 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 25.071 | 174832.5109 | 312944.0023 | 33.25 | 68.6
55577 | 2021-03-22 16:41 | 70.6592 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.8232 | μmol/L | 19.8143 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 25.082 | 174924.953 | 312948.622 | 33.25 | 68.6
55587 | 2021-03-22 16:42 | 70.9929 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.8402 | μmol/L | 19.79 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 25.09 | 175018.0011 | 312950.1407 | 33.25 | 68.6
55597 | 2021-03-22 16:42 | 71.3258 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.8011 | μmol/L | 19.7778 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 25.097 | 175086.5315 | 312960.2299 | 33.25 | 68.6
55607 | 2021-03-22 16:42 | 71.6597 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.6741 | μmol/L | 19.7778 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 25.105 | 175136.2719 | 312957.4358 | 33.25 | 68.6
55617 | 2021-03-22 16:43 | 71.9926 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.6265 | μmol/L | 19.7778 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 25.108 | 175194.0984 | 312960.6502 | 33.25 | 68.6
55627 | 2021-03-22 16:43 | 72.3261 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.5442 | μmol/L | 19.7596 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 25.12 | 175253.3714 | 312944.5274 | 33.25 | 68.6