## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-22 16:44

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
53459 | 2021-03-22 15:31 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 211.4493 | μmol/L | 19.7104 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.528 | 131377.5647 | 275360.9905 | 26.25 | 74
53470 | 2021-03-22 15:31 | 0.33761 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 211.437 | μmol/L | 19.6982 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.533 | 131394.4492 | 275352.6269 | 26.25 | 74
53479 | 2021-03-22 15:31 | 0.67076 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 211.3487 | μmol/L | 19.6982 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.538 | 131427.4937 | 275346.4997 | 26.25 | 74
53490 | 2021-03-22 15:32 | 1.0037 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 211.1872 | μmol/L | 19.7043 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.545 | 131455.5342 | 275344.7516 | 26.25 | 74
53500 | 2021-03-22 15:32 | 1.3377 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 211.2631 | μmol/L | 19.6921 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.545 | 131444.6234 | 275341.2022 | 26.25 | 74
53510 | 2021-03-22 15:32 | 1.6711 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 211.2808 | μmol/L | 19.6921 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.544 | 131447.8068 | 275343.8778 | 26.25 | 74
53520 | 2021-03-22 15:33 | 2.0039 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 211.0665 | μmol/L | 19.6982 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.554 | 131501.6664 | 275321.9052 | 26.25 | 74
53529 | 2021-03-22 15:33 | 2.3377 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 210.7644 | μmol/L | 19.7043 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.569 | 131602.2049 | 275330.4334 | 26.25 | 74
53540 | 2021-03-22 15:33 | 2.6709 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 210.5007 | μmol/L | 19.7043 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.584 | 131701.3024 | 275331.5395 | 26.25 | 74
53549 | 2021-03-22 15:34 | 3.0038 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 210.3076 | μmol/L | 19.7043 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.595 | 131782.7941 | 275330.2851 | 26.25 | 74
53559 | 2021-03-22 15:34 | 3.3375 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 210.1875 | μmol/L | 19.6982 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.604 | 131802.8714 | 275325.8622 | 26.25 | 74
53569 | 2021-03-22 15:34 | 3.6704 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 210.1376 | μmol/L | 19.6921 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.609 | 131867.3357 | 275326.7581 | 26.25 | 74
53580 | 2021-03-22 15:35 | 4.0043 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 209.9624 | μmol/L | 19.6921 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.619 | 131907.5819 | 275325.5922 | 26.25 | 74
53589 | 2021-03-22 15:35 | 4.3375 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 209.6824 | μmol/L | 19.6921 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.635 | 131996.2673 | 275335.8191 | 26.25 | 74
53599 | 2021-03-22 15:35 | 4.6706 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 209.1936 | μmol/L | 19.6921 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.663 | 132185.5668 | 275325.2543 | 26.25 | 74
53610 | 2021-03-22 15:36 | 5.0044 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 208.5324 | μmol/L | 19.6921 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.701 | 132422.7083 | 275336.2824 | 26.25 | 74
53619 | 2021-03-22 15:36 | 5.3373 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 208.1882 | μmol/L | 19.686 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.723 | 132579.7302 | 275342.5222 | 26.25 | 74
53629 | 2021-03-22 15:36 | 5.6703 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 207.9804 | μmol/L | 19.686 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.735 | 132669.6099 | 275335.4841 | 26.25 | 74
53640 | 2021-03-22 15:37 | 6.0044 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 207.8821 | μmol/L | 19.6738 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.745 | 132710.7754 | 275328.2185 | 26.25 | 74
53649 | 2021-03-22 15:37 | 6.3372 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 207.8129 | μmol/L | 19.6738 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.749 | 132761.2264 | 275328.3405 | 26.25 | 74
53659 | 2021-03-22 15:37 | 6.671 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 207.6774 | μmol/L | 19.6677 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.759 | 132786.4459 | 275328.5583 | 26.25 | 74
53670 | 2021-03-22 15:38 | 7.0041 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 207.522 | μmol/L | 19.6677 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.768 | 132844.5357 | 275319.9306 | 26.25 | 74
53680 | 2021-03-22 15:38 | 7.3371 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 207.4558 | μmol/L | 19.6616 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.774 | 132892.2449 | 275322.3503 | 26.25 | 74
53690 | 2021-03-22 15:38 | 7.6709 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 207.4385 | μmol/L | 19.6616 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.775 | 132911.229 | 275329.9413 | 26.25 | 74
53700 | 2021-03-22 15:39 | 8.0041 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 207.4012 | μmol/L | 19.6677 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.775 | 132891.1622 | 275334.7373 | 26.25 | 74
53709 | 2021-03-22 15:39 | 8.3371 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 207.3895 | μmol/L | 19.6555 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.78 | 132888.4733 | 275332.3366 | 26.25 | 74
53719 | 2021-03-22 15:39 | 8.6708 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 207.424 | μmol/L | 19.6555 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.778 | 132893.6203 | 275329.6294 | 26.25 | 74
53729 | 2021-03-22 15:40 | 9.0044 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 207.3868 | μmol/L | 19.6616 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.778 | 132901.8113 | 275327.9187 | 26.25 | 74
53739 | 2021-03-22 15:40 | 9.3374 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 207.2461 | μmol/L | 19.6677 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.784 | 132941.9518 | 275315.6674 | 26.25 | 74
53749 | 2021-03-22 15:40 | 9.6706 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 207.1627 | μmol/L | 19.6616 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.791 | 132973.2524 | 275311.317 | 26.25 | 74
53760 | 2021-03-22 15:41 | 10.0042 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 207.0938 | μmol/L | 19.6616 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.795 | 132999.0834 | 275315.3208 | 26.25 | 74
53770 | 2021-03-22 15:41 | 10.3376 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 207.0994 | μmol/L | 19.6494 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.799 | 133042.3915 | 275323.8888 | 26.25 | 74
53780 | 2021-03-22 15:41 | 10.6708 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 207.0706 | μmol/L | 19.6372 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.805 | 133073.0025 | 275332.9251 | 26.25 | 74
53789 | 2021-03-22 15:42 | 11.0039 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 207.039 | μmol/L | 19.6311 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.809 | 133094.6139 | 275315.0157 | 26.25 | 74
53799 | 2021-03-22 15:42 | 11.337 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 207.0074 | μmol/L | 19.6251 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.813 | 133122.9757 | 275324.6226 | 26.25 | 74
53809 | 2021-03-22 15:42 | 11.6707 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.9014 | μmol/L | 19.6311 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.817 | 133147.704 | 275299.1693 | 26.25 | 74
53820 | 2021-03-22 15:43 | 12.0038 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.8527 | μmol/L | 19.6251 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.822 | 133177.0358 | 275319.784 | 26.25 | 74
53829 | 2021-03-22 15:43 | 12.3374 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.7096 | μmol/L | 19.6372 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.826 | 133206.313 | 275312.7477 | 26.25 | 74
53839 | 2021-03-22 15:43 | 12.6704 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.5838 | μmol/L | 19.6494 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.829 | 133218.1453 | 275320.2236 | 26.25 | 74
53850 | 2021-03-22 15:44 | 13.0041 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.5523 | μmol/L | 19.6433 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.833 | 133234.641 | 275308.8253 | 26.25 | 74
53860 | 2021-03-22 15:44 | 13.3374 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.5579 | μmol/L | 19.6311 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.837 | 133245.9008 | 275316.5906 | 26.25 | 74
53869 | 2021-03-22 15:44 | 13.6707 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.6122 | μmol/L | 19.6251 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.836 | 133265.2417 | 275306.6238 | 26.25 | 74
53879 | 2021-03-22 15:45 | 14.0038 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.5264 | μmol/L | 19.6251 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.841 | 133266.5371 | 275325.8938 | 26.25 | 74
53890 | 2021-03-22 15:45 | 14.3377 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.4322 | μmol/L | 19.6433 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.84 | 133280.3357 | 275303.4659 | 26.25 | 74
53899 | 2021-03-22 15:45 | 14.6707 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.4179 | μmol/L | 19.6372 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.843 | 133304.514 | 275319.6387 | 26.25 | 74
53909 | 2021-03-22 15:46 | 15.0039 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.3007 | μmol/L | 19.6311 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.852 | 133343.4488 | 275318.2387 | 26.25 | 74
53919 | 2021-03-22 15:46 | 15.3377 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.2578 | μmol/L | 19.6129 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.861 | 133392.8656 | 275311.223 | 26.25 | 74
53929 | 2021-03-22 15:46 | 15.6705 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.4863 | μmol/L | 19.5641 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.865 | 133446.8928 | 275325.141 | 26.25 | 74
53940 | 2021-03-22 15:47 | 16.0043 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.1665 | μmol/L | 19.5885 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.875 | 133496.8816 | 275311.4729 | 26.25 | 74
53949 | 2021-03-22 15:47 | 16.3375 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.8616 | μmol/L | 19.619 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.882 | 133539.6883 | 275322.5173 | 26.25 | 74
53959 | 2021-03-22 15:47 | 16.6709 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.6481 | μmol/L | 19.6372 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.888 | 133579.512 | 275318.8085 | 26.25 | 74
53969 | 2021-03-22 15:48 | 17.0039 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.5657 | μmol/L | 19.6311 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.895 | 133631.0201 | 275331.5237 | 26.25 | 74
53980 | 2021-03-22 15:48 | 17.3372 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.4861 | μmol/L | 19.619 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.904 | 133685.8752 | 275325.485 | 26.25 | 74
53990 | 2021-03-22 15:48 | 17.6704 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.4378 | μmol/L | 19.6129 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.909 | 133732.6573 | 275315.8154 | 26.25 | 74
54000 | 2021-03-22 15:49 | 18.0043 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.4265 | μmol/L | 19.6007 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.914 | 133765.7348 | 275324.9725 | 26.25 | 74
54010 | 2021-03-22 15:49 | 18.3372 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.4152 | μmol/L | 19.5885 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.919 | 133800.8122 | 275318.3539 | 26.25 | 74
54020 | 2021-03-22 15:49 | 18.671 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.1598 | μmol/L | 19.5885 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.934 | 133882.4722 | 275322.3201 | 26.25 | 74
54030 | 2021-03-22 15:50 | 19.0042 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.8907 | μmol/L | 19.5824 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.952 | 133993.8467 | 275328.7362 | 26.25 | 74
54040 | 2021-03-22 15:50 | 19.3375 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.738 | μmol/L | 19.5824 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.961 | 134041.4391 | 275326.178 | 26.25 | 74
54049 | 2021-03-22 15:50 | 19.6707 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.625 | μmol/L | 19.5702 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.972 | 134112.5333 | 275334.1104 | 26.25 | 74
54060 | 2021-03-22 15:51 | 20.0039 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.4614 | μmol/L | 19.558 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.986 | 134231.4934 | 275331.0623 | 26.25 | 74
54070 | 2021-03-22 15:51 | 20.3371 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 203.9878 | μmol/L | 19.558 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.014 | 134384.5435 | 275321.9686 | 26.25 | 74
54079 | 2021-03-22 15:51 | 20.6711 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 203.4115 | μmol/L | 19.5641 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.046 | 134607.8165 | 275340.914 | 26.25 | 74
54090 | 2021-03-22 15:52 | 21.0044 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.642 | μmol/L | 19.558 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.094 | 134917.4314 | 275337.2131 | 26.25 | 74
54100 | 2021-03-22 15:52 | 21.3374 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.1764 | μmol/L | 19.5519 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.124 | 135075.4754 | 275324.9017 | 26.25 | 74
54110 | 2021-03-22 15:52 | 21.6711 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.143 | μmol/L | 19.5519 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.126 | 135119.8193 | 275331.9247 | 26.25 | 74
54119 | 2021-03-22 15:53 | 22.0041 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.0232 | μmol/L | 19.558 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.131 | 135165.7453 | 275343.5646 | 26.25 | 74
54129 | 2021-03-22 15:53 | 22.3371 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.9456 | μmol/L | 19.5458 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.14 | 135200.3598 | 275326.2863 | 26.25 | 74
54140 | 2021-03-22 15:53 | 22.671 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.8122 | μmol/L | 19.5458 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.148 | 135266.5687 | 275331.001 | 26.25 | 74
54150 | 2021-03-22 15:54 | 23.0041 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.4655 | μmol/L | 19.5397 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.171 | 135410.2771 | 275329.352 | 26.25 | 74
54159 | 2021-03-22 15:54 | 23.3371 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.2886 | μmol/L | 19.5276 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.186 | 135518.4683 | 275335.3964 | 26.25 | 74
54169 | 2021-03-22 15:54 | 23.6709 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.1391 | μmol/L | 19.5276 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.195 | 135568.8504 | 275322.5177 | 26.25 | 74
54179 | 2021-03-22 15:55 | 24.0038 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.0561 | μmol/L | 19.5276 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.2 | 135606.2785 | 275332.4452 | 26.25 | 74
54190 | 2021-03-22 15:55 | 24.3372 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.0561 | μmol/L | 19.5276 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.2 | 135604.0992 | 275335.1966 | 26.25 | 74
54200 | 2021-03-22 15:55 | 24.671 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.1059 | μmol/L | 19.5276 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.197 | 135597.084 | 275341.5829 | 26.25 | 74
54209 | 2021-03-22 15:56 | 25.0039 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.0727 | μmol/L | 19.5276 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.199 | 135621.2175 | 275341.6313 | 26.25 | 74
54219 | 2021-03-22 15:56 | 25.3372 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.6027 | μmol/L | 19.5397 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.223 | 135770.9568 | 275346.9729 | 26.25 | 74
54230 | 2021-03-22 15:56 | 25.671 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.4677 | μmol/L | 19.5337 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.294 | 136222.1966 | 275348.1933 | 26.25 | 74
54240 | 2021-03-22 15:57 | 26.0044 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.7438 | μmol/L | 19.5154 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.406 | 136958.4732 | 275356.6076 | 26.25 | 74
54250 | 2021-03-22 15:57 | 26.3374 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.4864 | μmol/L | 19.5032 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.488 | 137499.2683 | 275353.731 | 26.25 | 74
54260 | 2021-03-22 15:57 | 26.6703 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.9516 | μmol/L | 19.5093 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.519 | 137687.4924 | 275354.5343 | 26.25 | 74
54270 | 2021-03-22 15:58 | 27.0041 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.6944 | μmol/L | 19.5093 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.535 | 137826.1491 | 275355.1673 | 26.25 | 74
54279 | 2021-03-22 15:58 | 27.3373 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.6157 | μmol/L | 19.5215 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.598 | 138239.6246 | 275354.4055 | 26.25 | 74
54289 | 2021-03-22 15:58 | 27.6711 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.7122 | μmol/L | 19.5215 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.718 | 139006.7369 | 275364.2087 | 26.25 | 74
54300 | 2021-03-22 15:59 | 28.004 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.4107 | μmol/L | 19.5215 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.865 | 139974.0176 | 275362.5748 | 26.25 | 74
54309 | 2021-03-22 15:59 | 28.3372 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.8143 | μmol/L | 19.5276 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.966 | 140639.1036 | 275349.6512 | 26.25 | 74
54320 | 2021-03-22 15:59 | 28.6704 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.51 | μmol/L | 19.5215 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.988 | 140765.5743 | 275366.7744 | 26.25 | 74
54330 | 2021-03-22 16:00 | 29.0044 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.0128 | μmol/L | 19.5337 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 25.016 | 140969.204 | 275368.1333 | 26.25 | 74
54340 | 2021-03-22 16:00 | 29.3377 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.3187 | μmol/L | 19.5397 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 25.125 | 141670.7904 | 275352.7742 | 26.25 | 74
54350 | 2021-03-22 16:00 | 29.6709 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 184.4328 | μmol/L | 19.5458 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 25.248 | 142499.0236 | 275369.9868 | 26.25 | 74
54359 | 2021-03-22 16:01 | 30.0039 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 183.6265 | μmol/L | 19.5458 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 25.302 | 142845.1819 | 275370.6201 | 26.25 | 74
54370 | 2021-03-22 16:01 | 30.337 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 183.0022 | μmol/L | 19.5458 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 25.344 | 143136.5576 | 275376.9405 | 26.25 | 74
54380 | 2021-03-22 16:01 | 30.6707 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 182.2884 | μmol/L | 19.5519 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 25.39 | 143419.3056 | 275378.0268 | 26.25 | 74
54390 | 2021-03-22 16:02 | 31.0044 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 183.0368 | μmol/L | 19.5641 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 25.335 | 143049.9038 | 275365.9303 | 26.25 | 74
54399 | 2021-03-22 16:02 | 31.3374 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 184.1472 | μmol/L | 19.5763 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 25.256 | 142541.1504 | 275368.8687 | 26.25 | 74
54410 | 2021-03-22 16:02 | 31.671 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.4798 | μmol/L | 19.5824 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 25.165 | 141964.0751 | 275369.6357 | 26.25 | 74
54420 | 2021-03-22 16:03 | 32.004 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.7176 | μmol/L | 19.5885 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 25.081 | 141413.8754 | 275379.9659 | 26.25 | 74
54430 | 2021-03-22 16:03 | 32.3371 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.9652 | μmol/L | 19.5946 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.997 | 140888.4287 | 275383.7443 | 26.25 | 74
54440 | 2021-03-22 16:03 | 32.6709 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.1026 | μmol/L | 19.5946 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.923 | 140381.2564 | 275373.5632 | 26.25 | 74
54449 | 2021-03-22 16:04 | 33.0041 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.1362 | μmol/L | 19.6007 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.854 | 139966.1692 | 275363.3158 | 26.25 | 74
54459 | 2021-03-22 16:04 | 33.3372 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.852 | μmol/L | 19.6007 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.808 | 139623.8526 | 275360.8691 | 26.25 | 74
54469 | 2021-03-22 16:04 | 33.6703 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.5177 | μmol/L | 19.6129 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.761 | 139326.8738 | 275377.5936 | 26.25 | 74
54480 | 2021-03-22 16:05 | 34.0041 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.2712 | μmol/L | 19.6129 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.713 | 139049.3792 | 275381.2636 | 26.25 | 74
54490 | 2021-03-22 16:05 | 34.337 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.6462 | μmol/L | 19.619 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.687 | 138864.3049 | 275385.5433 | 26.25 | 74
54499 | 2021-03-22 16:05 | 34.6704 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.0853 | μmol/L | 19.6251 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.657 | 138678.1727 | 275381.604 | 26.25 | 74
54510 | 2021-03-22 16:06 | 35.0037 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.5415 | μmol/L | 19.6311 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.626 | 138486.4649 | 275396.7874 | 26.25 | 74
54520 | 2021-03-22 16:06 | 35.3377 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.9226 | μmol/L | 19.6311 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.602 | 138319.7767 | 275392.7824 | 26.25 | 74
54530 | 2021-03-22 16:06 | 35.6708 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.0437 | μmol/L | 19.6433 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.59 | 138255.7687 | 275386.0257 | 26.25 | 74
54539 | 2021-03-22 16:07 | 36.0041 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.2028 | μmol/L | 19.6433 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.58 | 138161.7773 | 275385.6624 | 26.25 | 74
54549 | 2021-03-22 16:07 | 36.3373 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.5825 | μmol/L | 19.6494 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.554 | 138022.5961 | 275379.6385 | 26.25 | 74
54559 | 2021-03-22 16:07 | 36.6708 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.7422 | μmol/L | 19.6494 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.544 | 137974.4523 | 275398.6246 | 26.25 | 74
54570 | 2021-03-22 16:08 | 37.0043 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.8381 | μmol/L | 19.6494 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.538 | 137918.1987 | 275393.9915 | 26.25 | 74
54579 | 2021-03-22 16:08 | 37.3376 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.899 | μmol/L | 19.6555 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.532 | 137877.3337 | 275384.071 | 26.25 | 74
54589 | 2021-03-22 16:08 | 37.6709 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.9569 | μmol/L | 19.6677 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.524 | 137813.3685 | 275385.4565 | 26.25 | 74
54599 | 2021-03-22 16:09 | 38.0043 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.7969 | μmol/L | 19.6677 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.534 | 137883.5196 | 275399.2706 | 26.25 | 74
54609 | 2021-03-22 16:09 | 38.3377 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.5094 | μmol/L | 19.6677 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.552 | 138015.6056 | 275392.3986 | 26.25 | 74
54620 | 2021-03-22 16:09 | 38.6709 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.4266 | μmol/L | 19.6738 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.555 | 138031.2129 | 275400.136 | 26.25 | 74
54629 | 2021-03-22 16:10 | 39.0041 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.5413 | μmol/L | 19.6677 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.55 | 138004.5633 | 275399.7336 | 26.25 | 74
54639 | 2021-03-22 16:10 | 39.3374 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.631 | μmol/L | 19.6799 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.54 | 137922.3521 | 275392.2347 | 26.25 | 74
54650 | 2021-03-22 16:10 | 39.6708 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.8228 | μmol/L | 19.6799 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.528 | 137875.6477 | 275390.9361 | 26.25 | 74
54660 | 2021-03-22 16:11 | 40.0042 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.8198 | μmol/L | 19.686 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.526 | 137821.1121 | 275399.9526 | 26.25 | 74
54670 | 2021-03-22 16:11 | 40.337 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.9477 | μmol/L | 19.686 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.518 | 137776.6459 | 275389.8329 | 26.25 | 74
54679 | 2021-03-22 16:11 | 40.671 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.0568 | μmol/L | 19.6921 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.509 | 137757.7652 | 275400.885 | 26.25 | 74
54689 | 2021-03-22 16:12 | 41.0039 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.0537 | μmol/L | 19.6982 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.507 | 137733.9947 | 275399.3304 | 26.25 | 74
54700 | 2021-03-22 16:12 | 41.3376 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.9897 | μmol/L | 19.6982 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.511 | 137752.7771 | 275391.9095 | 26.25 | 74
54710 | 2021-03-22 16:12 | 41.6707 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.8266 | μmol/L | 19.7043 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.519 | 137804.0276 | 275386.44 | 26.25 | 74
54719 | 2021-03-22 16:13 | 42.0037 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.6318 | μmol/L | 19.7104 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.529 | 137857.0609 | 275391.0348 | 26.25 | 74
54730 | 2021-03-22 16:13 | 42.3377 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.7467 | μmol/L | 19.7043 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.524 | 137837.0007 | 275401.7809 | 26.25 | 74
54740 | 2021-03-22 16:13 | 42.6707 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.7916 | μmol/L | 19.7104 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.519 | 137804.2687 | 275393.6428 | 26.25 | 74
54750 | 2021-03-22 16:14 | 43.0038 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.9706 | μmol/L | 19.7043 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.51 | 137751.4056 | 275392.2047 | 26.25 | 74
54760 | 2021-03-22 16:14 | 43.3373 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.0476 | μmol/L | 19.7104 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.503 | 137690.8145 | 275382.7298 | 26.25 | 74
54769 | 2021-03-22 16:14 | 43.6705 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.1247 | μmol/L | 19.7165 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.496 | 137647.0812 | 275395.2322 | 26.25 | 74
54779 | 2021-03-22 16:15 | 44.0036 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.285 | μmol/L | 19.7165 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.486 | 137611.198 | 275391.9742 | 26.25 | 74
54790 | 2021-03-22 16:15 | 44.3375 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.285 | μmol/L | 19.7165 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.486 | 137597.0373 | 275399.2013 | 26.25 | 74
54800 | 2021-03-22 16:15 | 44.6706 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.253 | μmol/L | 19.7165 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.488 | 137606.4215 | 275391.9073 | 26.25 | 74
54810 | 2021-03-22 16:16 | 45.0038 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.1217 | μmol/L | 19.7226 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.494 | 137634.5405 | 275387.8705 | 26.25 | 74
54820 | 2021-03-22 16:16 | 45.3377 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.1057 | μmol/L | 19.7226 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.495 | 137656.4481 | 275376.9855 | 26.25 | 74
54829 | 2021-03-22 16:16 | 45.6707 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.9935 | μmol/L | 19.7226 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.502 | 137682.2131 | 275399.2743 | 26.25 | 74
54840 | 2021-03-22 16:17 | 46.0044 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.8945 | μmol/L | 19.7286 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.506 | 137724.2376 | 275393.3476 | 26.25 | 74
54850 | 2021-03-22 16:17 | 46.3377 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.7665 | μmol/L | 19.7286 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.514 | 137766.0992 | 275404.6836 | 26.25 | 74
54860 | 2021-03-22 16:17 | 46.6706 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.7665 | μmol/L | 19.7286 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.514 | 137755.8389 | 275396.8113 | 26.25 | 74
54869 | 2021-03-22 16:18 | 47.0037 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.7315 | μmol/L | 19.7347 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.514 | 137770.0969 | 275383.2724 | 26.25 | 74
54880 | 2021-03-22 16:18 | 47.337 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.6356 | μmol/L | 19.7347 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.52 | 137808.5875 | 275394.5844 | 26.25 | 74
54889 | 2021-03-22 16:18 | 47.671 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.4698 | μmol/L | 19.7469 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.526 | 137843.1082 | 275389.4863 | 26.25 | 74
54899 | 2021-03-22 16:19 | 48.004 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.3931 | μmol/L | 19.7408 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.533 | 137901.3438 | 275406.2536 | 26.25 | 74
54910 | 2021-03-22 16:19 | 48.3377 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.2844 | μmol/L | 19.7347 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.542 | 137950.9174 | 275380.373 | 26.25 | 74
54920 | 2021-03-22 16:19 | 48.6708 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.1698 | μmol/L | 19.7408 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.547 | 137991.6894 | 275401.5515 | 26.25 | 74
54930 | 2021-03-22 16:20 | 49.0037 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.0235 | μmol/L | 19.7469 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.554 | 138037.2559 | 275402.4025 | 26.25 | 74
54939 | 2021-03-22 16:20 | 49.3374 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.931 | μmol/L | 19.7408 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.562 | 138056.5846 | 275394.0916 | 26.25 | 74
54949 | 2021-03-22 16:20 | 49.6706 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.9469 | μmol/L | 19.7408 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.561 | 138074.578 | 275409.6907 | 26.25 | 74
54959 | 2021-03-22 16:21 | 50.0041 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.0326 | μmol/L | 19.7286 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.56 | 138070.5559 | 275408.2678 | 26.25 | 74
54970 | 2021-03-22 16:21 | 50.3377 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.9787 | μmol/L | 19.7408 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.559 | 138064.3335 | 275419.1486 | 26.25 | 74
54980 | 2021-03-22 16:21 | 50.6708 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.9341 | μmol/L | 19.7347 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.564 | 138099.1299 | 275411.1564 | 26.25 | 74
54990 | 2021-03-22 16:22 | 51.0039 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.6101 | μmol/L | 19.7469 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.58 | 138174.4112 | 275402.534 | 26.25 | 74
55000 | 2021-03-22 16:22 | 51.3376 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.4703 | μmol/L | 19.7408 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.591 | 138273.4316 | 275398.4841 | 26.25 | 74
55009 | 2021-03-22 16:22 | 51.6708 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.3148 | μmol/L | 19.7347 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.603 | 138348.9139 | 275402.5245 | 26.25 | 74
55019 | 2021-03-22 16:23 | 52.0041 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.1089 | μmol/L | 19.7347 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.616 | 138428.7634 | 275406.6355 | 26.25 | 74
55029 | 2021-03-22 16:23 | 52.3374 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.7896 | μmol/L | 19.7408 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.634 | 138554.2026 | 275410.4231 | 26.25 | 74
55040 | 2021-03-22 16:23 | 52.6704 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.6189 | μmol/L | 19.7347 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.647 | 138649.9652 | 275408.738 | 26.25 | 74
55050 | 2021-03-22 16:24 | 53.0042 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.4455 | μmol/L | 19.7347 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.658 | 138712.7458 | 275416.2165 | 26.25 | 74
55059 | 2021-03-22 16:24 | 53.3372 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.3351 | μmol/L | 19.7347 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.665 | 138754.3568 | 275410.8697 | 26.25 | 74
55069 | 2021-03-22 16:24 | 53.671 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.2061 | μmol/L | 19.7408 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.671 | 138806.5483 | 275424.1913 | 26.25 | 74
55080 | 2021-03-22 16:25 | 54.0039 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.9418 | μmol/L | 19.7347 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.69 | 138916.0015 | 275412.0782 | 26.25 | 74
55090 | 2021-03-22 16:25 | 54.3371 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.6937 | μmol/L | 19.7286 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.708 | 139053.3897 | 275419.2394 | 26.25 | 74
55100 | 2021-03-22 16:25 | 54.6708 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.4053 | μmol/L | 19.7408 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.722 | 139153.6237 | 275409.1752 | 26.25 | 74
55109 | 2021-03-22 16:26 | 55.0038 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.1393 | μmol/L | 19.7408 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.739 | 139259.038 | 275430.5003 | 26.25 | 74
55120 | 2021-03-22 16:26 | 55.3377 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.9674 | μmol/L | 19.7408 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.75 | 139324.6821 | 275424.2279 | 26.25 | 74
55130 | 2021-03-22 16:26 | 55.6706 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.9331 | μmol/L | 19.7469 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.75 | 139327.7573 | 275418.3912 | 26.25 | 74
55140 | 2021-03-22 16:27 | 56.0044 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.9456 | μmol/L | 19.753 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.747 | 139305.4303 | 275432.1732 | 26.25 | 74
55150 | 2021-03-22 16:27 | 56.3373 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.1362 | μmol/L | 19.7469 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.737 | 139258.3983 | 275423.1561 | 26.25 | 74
55159 | 2021-03-22 16:27 | 56.6703 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.2049 | μmol/L | 19.7347 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.737 | 139232.7613 | 275425.22 | 26.25 | 74
55169 | 2021-03-22 16:28 | 57.0042 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.2706 | μmol/L | 19.7286 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.735 | 139231.2621 | 275426.7532 | 26.25 | 74
55179 | 2021-03-22 16:28 | 57.3373 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.1924 | μmol/L | 19.7286 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.74 | 139246.7875 | 275429.4614 | 26.25 | 74
55190 | 2021-03-22 16:28 | 57.6711 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.1237 | μmol/L | 19.7408 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.74 | 139242.0459 | 275437.2012 | 26.25 | 74
55200 | 2021-03-22 16:29 | 58.004 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.2049 | μmol/L | 19.7347 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.737 | 139226.2456 | 275422.0432 | 26.25 | 74
55210 | 2021-03-22 16:29 | 58.3377 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.3019 | μmol/L | 19.7286 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.733 | 139213.2236 | 275415.9132 | 26.25 | 74
55219 | 2021-03-22 16:29 | 58.6706 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.2175 | μmol/L | 19.7408 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.734 | 139223.1607 | 275437.3721 | 26.25 | 74
55229 | 2021-03-22 16:30 | 59.0043 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.255 | μmol/L | 19.7286 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.736 | 139229.3769 | 275444.3051 | 26.25 | 74
55239 | 2021-03-22 16:30 | 59.3372 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.2988 | μmol/L | 19.7347 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.731 | 139208.4672 | 275429.8093 | 26.25 | 74
55249 | 2021-03-22 16:30 | 59.6704 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.4146 | μmol/L | 19.7226 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.728 | 139177.0509 | 275439.1384 | 26.25 | 74
55260 | 2021-03-22 16:31 | 60.0037 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.4428 | μmol/L | 19.7286 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.724 | 139167.715 | 275439.2706 | 26.25 | 74
55269 | 2021-03-22 16:31 | 60.3376 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.4554 | μmol/L | 19.7347 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.721 | 139149.5151 | 275430.3074 | 26.25 | 74
55279 | 2021-03-22 16:31 | 60.6705 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.4554 | μmol/L | 19.7347 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.721 | 139128.1234 | 275436.779 | 26.25 | 74
55289 | 2021-03-22 16:32 | 61.0037 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.5494 | μmol/L | 19.7347 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.715 | 139107.7376 | 275432.9476 | 26.25 | 74
55300 | 2021-03-22 16:32 | 61.3374 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.5996 | μmol/L | 19.7286 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.714 | 139082.8479 | 275441.5324 | 26.25 | 74
55310 | 2021-03-22 16:32 | 61.671 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.6623 | μmol/L | 19.7286 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.71 | 139075.9243 | 275442.9083 | 26.25 | 74
55319 | 2021-03-22 16:33 | 62.004 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.634 | μmol/L | 19.7226 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.714 | 139087.3976 | 275448.4235 | 26.25 | 74
55330 | 2021-03-22 16:33 | 62.3374 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.6371 | μmol/L | 19.7165 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.716 | 139112.0977 | 275441.4196 | 26.25 | 74
55339 | 2021-03-22 16:33 | 62.6705 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.5587 | μmol/L | 19.7165 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.721 | 139135.113 | 275425.9311 | 26.25 | 74
55349 | 2021-03-22 16:34 | 63.0044 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.5086 | μmol/L | 19.7226 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.722 | 139155.3033 | 275448.507 | 26.25 | 74
55360 | 2021-03-22 16:34 | 63.3373 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.496 | μmol/L | 19.7165 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.725 | 139178.6037 | 275437.7057 | 26.25 | 74
55369 | 2021-03-22 16:34 | 63.6706 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.5022 | μmol/L | 19.7043 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.729 | 139203.4017 | 275440.2502 | 26.25 | 74
55380 | 2021-03-22 16:35 | 64.0044 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.4051 | μmol/L | 19.7104 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.733 | 139224.1675 | 275449.6844 | 26.25 | 74
55390 | 2021-03-22 16:35 | 64.3374 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.4082 | μmol/L | 19.7043 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.735 | 139230.2164 | 275450.2666 | 26.25 | 74
55400 | 2021-03-22 16:35 | 64.6705 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.4552 | μmol/L | 19.7043 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.732 | 139234.8516 | 275447.9991 | 26.25 | 74
55410 | 2021-03-22 16:36 | 65.0038 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.4771 | μmol/L | 19.6921 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.735 | 139253.9041 | 275465.668 | 26.25 | 74
55420 | 2021-03-22 16:36 | 65.3373 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.4176 | μmol/L | 19.686 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.741 | 139285.393 | 275467.097 | 26.25 | 74
55429 | 2021-03-22 16:36 | 65.6703 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.2267 | μmol/L | 19.6921 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.751 | 139327.7819 | 275459.3126 | 26.25 | 74
55439 | 2021-03-22 16:37 | 66.0044 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.2454 | μmol/L | 19.686 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.752 | 139358.9409 | 275454.5401 | 26.25 | 74
55449 | 2021-03-22 16:37 | 66.3374 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.136 | μmol/L | 19.686 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.759 | 139402.4586 | 275465.8878 | 26.25 | 74
55460 | 2021-03-22 16:37 | 66.6705 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.0422 | μmol/L | 19.686 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.765 | 139437.2217 | 275477.4778 | 26.25 | 74
55470 | 2021-03-22 16:38 | 67.0044 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.0297 | μmol/L | 19.6799 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.768 | 139473.5871 | 275461.129 | 26.25 | 74
55480 | 2021-03-22 16:38 | 67.3374 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.9485 | μmol/L | 19.686 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.771 | 139489.858 | 275471.8411 | 26.25 | 74
55490 | 2021-03-22 16:38 | 67.6704 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.0172 | μmol/L | 19.6738 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.771 | 139485.6977 | 275486.3883 | 26.25 | 74
55500 | 2021-03-22 16:39 | 68.004 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.9829 | μmol/L | 19.6799 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.771 | 139473.7475 | 275478.4593 | 26.25 | 74
55510 | 2021-03-22 16:39 | 68.3378 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.0797 | μmol/L | 19.6738 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.767 | 139467.6363 | 275483.0122 | 26.25 | 74
55520 | 2021-03-22 16:39 | 68.6709 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.0484 | μmol/L | 19.6738 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.769 | 139455.3405 | 275481.4946 | 26.25 | 74
55529 | 2021-03-22 16:40 | 69.0037 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.0297 | μmol/L | 19.6799 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.768 | 139465.3781 | 275482.0894 | 26.25 | 74
55540 | 2021-03-22 16:40 | 69.3375 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.011 | μmol/L | 19.686 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.767 | 139471.038 | 275479.7627 | 26.25 | 74
55549 | 2021-03-22 16:40 | 69.6704 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.9672 | μmol/L | 19.6799 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.772 | 139495.7844 | 275466.3474 | 26.25 | 74
55560 | 2021-03-22 16:41 | 70.0042 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.9079 | μmol/L | 19.6738 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.778 | 139537.2926 | 275479.9995 | 26.25 | 74
55570 | 2021-03-22 16:41 | 70.3372 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.9267 | μmol/L | 19.6677 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.779 | 139546.6016 | 275483.6456 | 26.25 | 74
55579 | 2021-03-22 16:41 | 70.6711 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.9797 | μmol/L | 19.6555 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.78 | 139571.7721 | 275504.2224 | 26.25 | 74
55589 | 2021-03-22 16:42 | 71.004 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.9517 | μmol/L | 19.6494 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.784 | 139567.0092 | 275486.1326 | 26.25 | 74
55599 | 2021-03-22 16:42 | 71.3376 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.9017 | μmol/L | 19.6555 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.785 | 139573.1397 | 275497.8425 | 26.25 | 74
55610 | 2021-03-22 16:42 | 71.6708 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.8861 | μmol/L | 19.6555 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.786 | 139591.1274 | 275500.9019 | 26.25 | 74
55620 | 2021-03-22 16:43 | 72.004 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.7894 | μmol/L | 19.6616 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.79 | 139623.9728 | 275501.7802 | 26.25 | 74
55628 | 2021-03-22 16:43 | 72.337 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.5681 | μmol/L | 19.6677 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.802 | 139702.5425 | 275515.4231 | 26.25 | 74