## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-22 16:44

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
53461 | 2021-03-22 15:31 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.7208 | μmol/L | 19.7432 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.056 | 134022.2886 | 275287.1549 | 32.55 | 27.7
53471 | 2021-03-22 15:31 | 0.33995 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.6864 | μmol/L | 19.7371 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.06 | 134049.4075 | 275260.611 | 32.55 | 27.7
53482 | 2021-03-22 15:31 | 0.67373 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.7096 | μmol/L | 19.7248 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.063 | 134067.1181 | 275253.7197 | 32.55 | 27.7
53492 | 2021-03-22 15:32 | 1.0068 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.6778 | μmol/L | 19.7126 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.069 | 134086.4525 | 275207.665 | 32.55 | 27.7
53501 | 2021-03-22 15:32 | 1.3401 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.531 | μmol/L | 19.7126 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.077 | 134129.9553 | 275197.6278 | 32.55 | 27.7
53512 | 2021-03-22 15:32 | 1.6737 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.4992 | μmol/L | 19.7004 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.083 | 134171.8497 | 275174.1758 | 32.55 | 27.7
53522 | 2021-03-22 15:33 | 2.007 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.6863 | μmol/L | 19.6453 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.092 | 134213.1266 | 275163.8779 | 32.55 | 27.7
53531 | 2021-03-22 15:33 | 2.34 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.6521 | μmol/L | 19.6392 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.096 | 134256.9615 | 275154.6777 | 32.55 | 27.7
53542 | 2021-03-22 15:33 | 2.6738 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.1745 | μmol/L | 19.6881 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.105 | 134296.0169 | 275153.7152 | 32.55 | 27.7
53552 | 2021-03-22 15:34 | 3.0068 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.9112 | μmol/L | 19.7065 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.113 | 134344.808 | 275132.911 | 32.55 | 27.7
53562 | 2021-03-22 15:34 | 3.3397 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.1602 | μmol/L | 19.6331 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.125 | 134400.342 | 275121.2211 | 32.55 | 27.7
53572 | 2021-03-22 15:34 | 3.6734 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.7774 | μmol/L | 19.6759 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.131 | 134440.9365 | 275102.0892 | 32.55 | 27.7
53581 | 2021-03-22 15:35 | 4.0071 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.5486 | μmol/L | 19.7004 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.135 | 134472.6861 | 275120.4328 | 32.55 | 27.7
53591 | 2021-03-22 15:35 | 4.3401 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.3226 | μmol/L | 19.7187 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.141 | 134516.9554 | 275109.0241 | 32.55 | 27.7
53602 | 2021-03-22 15:35 | 4.673 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.2498 | μmol/L | 19.7187 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.145 | 134538.3002 | 275102.2781 | 32.55 | 27.7
53612 | 2021-03-22 15:36 | 5.0065 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.2704 | μmol/L | 19.7126 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.146 | 134548.9103 | 275097.6471 | 32.55 | 27.7
53622 | 2021-03-22 15:36 | 5.3403 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.3349 | μmol/L | 19.6881 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.151 | 134591.0554 | 275093.3843 | 32.55 | 27.7
53631 | 2021-03-22 15:36 | 5.6738 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.0777 | μmol/L | 19.6943 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.163 | 134654.0433 | 275100.8651 | 32.55 | 27.7
53641 | 2021-03-22 15:37 | 6.007 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.9505 | μmol/L | 19.6943 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.17 | 134705.1223 | 275080.8144 | 32.55 | 27.7
53651 | 2021-03-22 15:37 | 6.3398 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.8647 | μmol/L | 19.682 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.179 | 134748.9889 | 275074.2107 | 32.55 | 27.7
53662 | 2021-03-22 15:37 | 6.6735 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.6988 | μmol/L | 19.6881 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.186 | 134786.4723 | 275073.8479 | 32.55 | 27.7
53671 | 2021-03-22 15:38 | 7.0069 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.722 | μmol/L | 19.6759 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.189 | 134830.1824 | 275065.3543 | 32.55 | 27.7
53682 | 2021-03-22 15:38 | 7.3399 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.7089 | μmol/L | 19.6637 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.194 | 134851.298 | 275070.5602 | 32.55 | 27.7
53692 | 2021-03-22 15:38 | 7.6736 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.6545 | μmol/L | 19.6637 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.197 | 134872.1594 | 275066.6005 | 32.55 | 27.7
53702 | 2021-03-22 15:39 | 8.0068 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.5663 | μmol/L | 19.6576 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.204 | 134909.6091 | 275065.5436 | 32.55 | 27.7
53711 | 2021-03-22 15:39 | 8.3397 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.3208 | μmol/L | 19.682 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.209 | 134955.6787 | 275084.518 | 32.55 | 27.7
53722 | 2021-03-22 15:39 | 8.6737 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.1168 | μmol/L | 19.6943 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.216 | 134969.9688 | 275063.4523 | 32.55 | 27.7
53731 | 2021-03-22 15:40 | 9.0064 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.0083 | μmol/L | 19.6943 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.222 | 135000.2881 | 275053.198 | 32.55 | 27.7
53742 | 2021-03-22 15:40 | 9.3404 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.1218 | μmol/L | 19.682 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.22 | 135008.8335 | 275051.7247 | 32.55 | 27.7
53751 | 2021-03-22 15:40 | 9.673 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.0546 | μmol/L | 19.6698 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.228 | 135048.0256 | 275032.5353 | 32.55 | 27.7
53761 | 2021-03-22 15:41 | 10.0064 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.021 | μmol/L | 19.6637 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.232 | 135060.0362 | 275044.2216 | 32.55 | 27.7
53771 | 2021-03-22 15:41 | 10.3404 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.026 | μmol/L | 19.6514 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.236 | 135081.131 | 275042.3416 | 32.55 | 27.7
53781 | 2021-03-22 15:41 | 10.6734 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.7837 | μmol/L | 19.6698 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.243 | 135121.5864 | 275037.3057 | 32.55 | 27.7
53792 | 2021-03-22 15:42 | 11.0071 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.691 | μmol/L | 19.6759 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.246 | 135172.4129 | 275034.1443 | 32.55 | 27.7
53802 | 2021-03-22 15:42 | 11.3401 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.5724 | μmol/L | 19.6576 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.259 | 135220.6845 | 275017.0756 | 32.55 | 27.7
53812 | 2021-03-22 15:42 | 11.6738 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.6187 | μmol/L | 19.6331 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.265 | 135288.9148 | 275025.1146 | 32.55 | 27.7
53822 | 2021-03-22 15:43 | 12.0066 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.4566 | μmol/L | 19.6331 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.274 | 135348.4045 | 275022.073 | 32.55 | 27.7
53832 | 2021-03-22 15:43 | 12.3404 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.1995 | μmol/L | 19.6453 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.284 | 135416.2385 | 275023.6001 | 32.55 | 27.7
53841 | 2021-03-22 15:43 | 12.6734 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.0942 | μmol/L | 19.6392 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.292 | 135464.8689 | 275016.602 | 32.55 | 27.7
53852 | 2021-03-22 15:44 | 13.0063 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.0044 | μmol/L | 19.6392 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.297 | 135515.9046 | 275013.4818 | 32.55 | 27.7
53861 | 2021-03-22 15:44 | 13.3399 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.7685 | μmol/L | 19.6453 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.308 | 135552.0063 | 275018.3028 | 32.55 | 27.7
53871 | 2021-03-22 15:44 | 13.6731 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.6635 | μmol/L | 19.6392 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.316 | 135592.6539 | 275011.7939 | 32.55 | 27.7
53881 | 2021-03-22 15:45 | 14.0069 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.7789 | μmol/L | 19.6209 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.316 | 135613.6956 | 275001.8616 | 32.55 | 27.7
53892 | 2021-03-22 15:45 | 14.3399 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.7534 | μmol/L | 19.5964 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.326 | 135653.1503 | 275015.8359 | 32.55 | 27.7
53902 | 2021-03-22 15:45 | 14.6736 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.6664 | μmol/L | 19.5903 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.333 | 135703.6831 | 275014.1384 | 32.55 | 27.7
53912 | 2021-03-22 15:46 | 15.0066 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.3695 | μmol/L | 19.6147 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.341 | 135745.7043 | 275013.649 | 32.55 | 27.7
53922 | 2021-03-22 15:46 | 15.3405 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.1471 | μmol/L | 19.6331 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.347 | 135787.2992 | 275000.963 | 32.55 | 27.7
53931 | 2021-03-22 15:46 | 15.6734 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.1728 | μmol/L | 19.6147 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.352 | 135833.0107 | 275008.1939 | 32.55 | 27.7
53942 | 2021-03-22 15:47 | 16.0071 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.0709 | μmol/L | 19.6025 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.362 | 135886.7706 | 275012.0876 | 32.55 | 27.7
53952 | 2021-03-22 15:47 | 16.3402 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.905 | μmol/L | 19.6147 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.367 | 135927.2172 | 275002.1364 | 32.55 | 27.7
53961 | 2021-03-22 15:47 | 16.6736 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.8746 | μmol/L | 19.6025 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.373 | 135949.4074 | 275003.6821 | 32.55 | 27.7
53971 | 2021-03-22 15:48 | 17.0064 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.8032 | μmol/L | 19.6025 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.377 | 135974.7973 | 274993.6332 | 32.55 | 27.7
53981 | 2021-03-22 15:48 | 17.3402 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.9182 | μmol/L | 19.5842 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.377 | 135994.7229 | 274997.7255 | 32.55 | 27.7
53992 | 2021-03-22 15:48 | 17.6732 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.7729 | μmol/L | 19.5903 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.383 | 136015.6229 | 275009.8693 | 32.55 | 27.7
54002 | 2021-03-22 15:49 | 18.007 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.7729 | μmol/L | 19.5903 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.383 | 136033.3919 | 275012.1947 | 32.55 | 27.7
54011 | 2021-03-22 15:49 | 18.34 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.6481 | μmol/L | 19.5903 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.39 | 136063.1947 | 275008.1313 | 32.55 | 27.7
54022 | 2021-03-22 15:49 | 18.6732 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.536 | μmol/L | 19.6025 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.392 | 136079.4869 | 275007.0265 | 32.55 | 27.7
54032 | 2021-03-22 15:50 | 19.0066 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.5004 | μmol/L | 19.6025 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.394 | 136102.8156 | 275001.1772 | 32.55 | 27.7
54041 | 2021-03-22 15:50 | 19.3397 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.2994 | μmol/L | 19.6147 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.401 | 136125.6877 | 275005.4458 | 32.55 | 27.7
54052 | 2021-03-22 15:50 | 19.6736 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.2106 | μmol/L | 19.6147 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.406 | 136146.407 | 275001.1046 | 32.55 | 27.7
54061 | 2021-03-22 15:51 | 20.0066 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.1217 | μmol/L | 19.6147 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.411 | 136191.3032 | 274993.7785 | 32.55 | 27.7
54072 | 2021-03-22 15:51 | 20.3403 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.1244 | μmol/L | 19.6086 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.413 | 136223.9265 | 275004.1936 | 32.55 | 27.7
54082 | 2021-03-22 15:51 | 20.6732 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.0152 | μmol/L | 19.6147 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.417 | 136258.5082 | 274999.568 | 32.55 | 27.7
54092 | 2021-03-22 15:52 | 21.0069 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 211.9699 | μmol/L | 19.5964 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.426 | 136288.5971 | 274987.017 | 32.55 | 27.7
54101 | 2021-03-22 15:52 | 21.34 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 211.899 | μmol/L | 19.5964 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.43 | 136318.2252 | 274999.7007 | 32.55 | 27.7
54112 | 2021-03-22 15:52 | 21.6732 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 211.8661 | μmol/L | 19.5903 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.434 | 136335.032 | 275001.5241 | 32.55 | 27.7
54122 | 2021-03-22 15:53 | 22.0064 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 211.9043 | μmol/L | 19.5842 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.434 | 136357.7232 | 274998.5017 | 32.55 | 27.7
54131 | 2021-03-22 15:53 | 22.3401 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 211.8183 | μmol/L | 19.578 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.441 | 136384.4257 | 274999.9121 | 32.55 | 27.7
54141 | 2021-03-22 15:53 | 22.6731 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 211.9096 | μmol/L | 19.5719 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.438 | 136394.0746 | 274997.2016 | 32.55 | 27.7
54152 | 2021-03-22 15:54 | 23.0069 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 211.6916 | μmol/L | 19.5842 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.446 | 136414.2653 | 274991.3678 | 32.55 | 27.7
54162 | 2021-03-22 15:54 | 23.3399 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 211.7297 | μmol/L | 19.578 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.446 | 136421.0207 | 274990.7211 | 32.55 | 27.7
54171 | 2021-03-22 15:54 | 23.673 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 211.6208 | μmol/L | 19.5842 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.45 | 136450.2793 | 274978.0156 | 32.55 | 27.7
54182 | 2021-03-22 15:55 | 24.0068 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 211.5296 | μmol/L | 19.5903 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.453 | 136480.2668 | 274984.0165 | 32.55 | 27.7
54191 | 2021-03-22 15:55 | 24.3398 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 211.4765 | μmol/L | 19.5903 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.456 | 136509.9418 | 274997.8454 | 32.55 | 27.7
54201 | 2021-03-22 15:55 | 24.6735 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 211.4261 | μmol/L | 19.5842 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.461 | 136532.1509 | 274994.993 | 32.55 | 27.7
54212 | 2021-03-22 15:56 | 25.0064 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 211.4668 | μmol/L | 19.5719 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.463 | 136545.3648 | 274995.7913 | 32.55 | 27.7
54222 | 2021-03-22 15:56 | 25.3404 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 211.5634 | μmol/L | 19.5536 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.464 | 136564.0335 | 274974.5073 | 32.55 | 27.7
54231 | 2021-03-22 15:56 | 25.6733 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 211.7716 | μmol/L | 19.523 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.463 | 136577.3459 | 274993.9491 | 32.55 | 27.7
54242 | 2021-03-22 15:57 | 26.0071 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 211.8383 | μmol/L | 19.4924 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.47 | 136580.2604 | 274998.0602 | 32.55 | 27.7
54252 | 2021-03-22 15:57 | 26.3404 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 211.8738 | μmol/L | 19.4924 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.468 | 136584.9899 | 274983.9348 | 32.55 | 27.7
54261 | 2021-03-22 15:57 | 26.6733 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 211.9856 | μmol/L | 19.4802 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.466 | 136590.9749 | 275006.0109 | 32.55 | 27.7
54272 | 2021-03-22 15:58 | 27.0072 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 211.9092 | μmol/L | 19.4924 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.466 | 136597.6002 | 275000.5397 | 32.55 | 27.7
54282 | 2021-03-22 15:58 | 27.3402 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 211.8888 | μmol/L | 19.4985 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.465 | 136610.3258 | 275000.3441 | 32.55 | 27.7
54292 | 2021-03-22 15:58 | 27.6731 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 211.4749 | μmol/L | 19.5536 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.469 | 136618.2941 | 274999.4512 | 32.55 | 27.7
54302 | 2021-03-22 15:59 | 28.0069 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 211.3634 | μmol/L | 19.5658 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.471 | 136629.6442 | 275002.0481 | 32.55 | 27.7
54312 | 2021-03-22 15:59 | 28.3397 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 211.2547 | μmol/L | 19.5719 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.475 | 136653.3957 | 274999.3912 | 32.55 | 27.7
54321 | 2021-03-22 15:59 | 28.6736 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 211.3104 | μmol/L | 19.5658 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.474 | 136649.0971 | 274989.5255 | 32.55 | 27.7
54331 | 2021-03-22 16:00 | 29.0066 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 211.3431 | μmol/L | 19.5719 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.47 | 136645.1552 | 275008.0146 | 32.55 | 27.7
54342 | 2021-03-22 16:00 | 29.3404 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 211.305 | μmol/L | 19.578 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.47 | 136638.6783 | 275011.4814 | 32.55 | 27.7
54352 | 2021-03-22 16:00 | 29.6735 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 211.3961 | μmol/L | 19.5719 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.467 | 136648.8423 | 275003.9758 | 32.55 | 27.7
54361 | 2021-03-22 16:01 | 30.0064 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 211.3254 | μmol/L | 19.5719 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.471 | 136655.222 | 274991.3776 | 32.55 | 27.7
54371 | 2021-03-22 16:01 | 30.3404 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 211.3458 | μmol/L | 19.5658 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.472 | 136673.3624 | 275000.3219 | 32.55 | 27.7
54382 | 2021-03-22 16:01 | 30.6735 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 211.3308 | μmol/L | 19.5597 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.475 | 136705.6357 | 274991.2105 | 32.55 | 27.7
54391 | 2021-03-22 16:02 | 31.0065 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 211.2778 | μmol/L | 19.5597 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.478 | 136735.2028 | 274996.5203 | 32.55 | 27.7
54401 | 2021-03-22 16:02 | 31.3401 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 211.1134 | μmol/L | 19.5719 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.483 | 136764.6849 | 274980.1266 | 32.55 | 27.7
54411 | 2021-03-22 16:02 | 31.6731 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 211.0049 | μmol/L | 19.578 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.487 | 136796.9095 | 274983.6065 | 32.55 | 27.7
54422 | 2021-03-22 16:03 | 32.0067 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 210.8611 | μmol/L | 19.5842 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.493 | 136811.3748 | 274972.7468 | 32.55 | 27.7
54431 | 2021-03-22 16:03 | 32.3404 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 210.7649 | μmol/L | 19.6025 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.492 | 136842.2909 | 274976.8326 | 32.55 | 27.7
54442 | 2021-03-22 16:03 | 32.6738 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 210.5861 | μmol/L | 19.6086 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.5 | 136861.9057 | 274976.6779 | 32.55 | 27.7
54451 | 2021-03-22 16:04 | 33.0067 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 210.4751 | μmol/L | 19.6209 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.502 | 136882.0342 | 274980.0951 | 32.55 | 27.7
54461 | 2021-03-22 16:04 | 33.3399 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 210.4197 | μmol/L | 19.627 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.503 | 136896.9357 | 274974.2675 | 32.55 | 27.7
54472 | 2021-03-22 16:04 | 33.6737 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 210.3642 | μmol/L | 19.6331 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.504 | 136923.9756 | 274984.5594 | 32.55 | 27.7
54482 | 2021-03-22 16:05 | 34.0064 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 210.1682 | μmol/L | 19.6392 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.513 | 136971.668 | 274988.1753 | 32.55 | 27.7
54492 | 2021-03-22 16:05 | 34.3402 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 210.0453 | μmol/L | 19.6392 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.52 | 137028.8828 | 274995.8893 | 32.55 | 27.7
54501 | 2021-03-22 16:05 | 34.6735 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 209.9347 | μmol/L | 19.6514 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.522 | 137060.8616 | 274972.1859 | 32.55 | 27.7
54512 | 2021-03-22 16:06 | 35.0068 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 209.9171 | μmol/L | 19.6514 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.523 | 137071.6366 | 274984.7518 | 32.55 | 27.7
54521 | 2021-03-22 16:06 | 35.34 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 209.8618 | μmol/L | 19.6576 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.524 | 137096.7269 | 274994.0876 | 32.55 | 27.7
54532 | 2021-03-22 16:06 | 35.6731 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 209.7715 | μmol/L | 19.6637 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.527 | 137097.5751 | 274988.9892 | 32.55 | 27.7
54542 | 2021-03-22 16:07 | 36.0064 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 209.6637 | μmol/L | 19.6698 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.531 | 137133.3619 | 274994.1542 | 32.55 | 27.7
54552 | 2021-03-22 16:07 | 36.3402 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 209.5209 | μmol/L | 19.6759 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.537 | 137159.5198 | 275001.9596 | 32.55 | 27.7
54561 | 2021-03-22 16:07 | 36.6733 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 209.5034 | μmol/L | 19.6759 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.538 | 137180.8889 | 274995.8577 | 32.55 | 27.7
54571 | 2021-03-22 16:08 | 37.0067 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 209.4685 | μmol/L | 19.6759 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.54 | 137211.4667 | 274992.3588 | 32.55 | 27.7
54582 | 2021-03-22 16:08 | 37.34 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 209.3232 | μmol/L | 19.6881 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.544 | 137224.373 | 274978.9308 | 32.55 | 27.7
54592 | 2021-03-22 16:08 | 37.6732 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 209.1605 | μmol/L | 19.7004 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.549 | 137257.1015 | 275001.2056 | 32.55 | 27.7
54601 | 2021-03-22 16:09 | 38.0064 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 209.0934 | μmol/L | 19.6943 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.555 | 137289.0558 | 274985.856 | 32.55 | 27.7
54612 | 2021-03-22 16:09 | 38.3402 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 208.9685 | μmol/L | 19.7004 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.56 | 137344.065 | 275009.7875 | 32.55 | 27.7
54622 | 2021-03-22 16:09 | 38.6735 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 208.9162 | μmol/L | 19.7004 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.563 | 137370.8583 | 274993.3463 | 32.55 | 27.7
54631 | 2021-03-22 16:10 | 39.0069 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 208.7914 | μmol/L | 19.7065 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.568 | 137396.5557 | 274999.284 | 32.55 | 27.7
54641 | 2021-03-22 16:10 | 39.3403 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 208.6493 | μmol/L | 19.7126 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.574 | 137421.5572 | 274992.7563 | 32.55 | 27.7
54651 | 2021-03-22 16:10 | 39.6734 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 208.5248 | μmol/L | 19.7187 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.579 | 137457.8924 | 274989.1815 | 32.55 | 27.7
54662 | 2021-03-22 16:11 | 40.0071 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 208.4726 | μmol/L | 19.7187 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.582 | 137481.9054 | 274987.3263 | 32.55 | 27.7
54671 | 2021-03-22 16:11 | 40.3403 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 208.3655 | μmol/L | 19.7248 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.586 | 137507.4553 | 274984.5497 | 32.55 | 27.7
54681 | 2021-03-22 16:11 | 40.6732 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 208.3829 | μmol/L | 19.7248 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.585 | 137517.3475 | 274994.9459 | 32.55 | 27.7
54692 | 2021-03-22 16:12 | 41.007 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 208.189 | μmol/L | 19.731 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.594 | 137534.9396 | 274988.6955 | 32.55 | 27.7
54701 | 2021-03-22 16:12 | 41.3399 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 208.0474 | μmol/L | 19.7371 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.6 | 137585.8578 | 274991.7687 | 32.55 | 27.7
54711 | 2021-03-22 16:12 | 41.673 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.9086 | μmol/L | 19.7371 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.608 | 137634.4513 | 274990.8664 | 32.55 | 27.7
54721 | 2021-03-22 16:13 | 42.0066 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.8593 | μmol/L | 19.731 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.613 | 137709.0803 | 274996.7884 | 32.55 | 27.7
54732 | 2021-03-22 16:13 | 42.3404 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.6687 | μmol/L | 19.731 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.624 | 137750.5535 | 274985.5723 | 32.55 | 27.7
54742 | 2021-03-22 16:13 | 42.6733 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.6513 | μmol/L | 19.731 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.625 | 137799.5023 | 274988.0876 | 32.55 | 27.7
54751 | 2021-03-22 16:14 | 43.0064 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.3864 | μmol/L | 19.7432 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.636 | 137838.1652 | 274970.6267 | 32.55 | 27.7
54761 | 2021-03-22 16:14 | 43.3404 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.4064 | μmol/L | 19.7371 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.637 | 137841.8184 | 274979.5427 | 32.55 | 27.7
54772 | 2021-03-22 16:14 | 43.6737 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.3291 | μmol/L | 19.7554 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.635 | 137836.7643 | 274972.8699 | 32.55 | 27.7
54782 | 2021-03-22 16:15 | 44.0069 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.28 | μmol/L | 19.7493 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.64 | 137859.315 | 274977.7381 | 32.55 | 27.7
54791 | 2021-03-22 16:15 | 44.3397 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.3372 | μmol/L | 19.7371 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.641 | 137858.7961 | 274972.1283 | 32.55 | 27.7
54802 | 2021-03-22 16:15 | 44.6737 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.2681 | μmol/L | 19.7371 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.645 | 137884.2186 | 274966.1684 | 32.55 | 27.7
54811 | 2021-03-22 16:16 | 45.0067 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.4573 | μmol/L | 19.7004 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.647 | 137907.5169 | 274967.7808 | 32.55 | 27.7
54822 | 2021-03-22 16:16 | 45.3404 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.4773 | μmol/L | 19.6943 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.648 | 137932.1544 | 274972.0813 | 32.55 | 27.7
54831 | 2021-03-22 16:16 | 45.6732 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.3362 | μmol/L | 19.7004 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.654 | 137965.4722 | 274971.3774 | 32.55 | 27.7
54841 | 2021-03-22 16:17 | 46.0064 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.1753 | μmol/L | 19.7126 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.659 | 138018.8228 | 274993.905 | 32.55 | 27.7
54852 | 2021-03-22 16:17 | 46.3402 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.149 | μmol/L | 19.6943 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.667 | 138061.475 | 274978.3562 | 32.55 | 27.7
54862 | 2021-03-22 16:17 | 46.6732 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.1254 | μmol/L | 19.6698 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.677 | 138106.1046 | 274990.1216 | 32.55 | 27.7
54871 | 2021-03-22 16:18 | 47.0064 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 206.8386 | μmol/L | 19.6943 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.685 | 138150.3017 | 274972.9488 | 32.55 | 27.7
54882 | 2021-03-22 16:18 | 47.3401 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 206.8413 | μmol/L | 19.6881 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.687 | 138175.8044 | 274966.6703 | 32.55 | 27.7
54892 | 2021-03-22 16:18 | 47.6737 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 206.8268 | μmol/L | 19.682 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.69 | 138204.5159 | 274972.6207 | 32.55 | 27.7
54902 | 2021-03-22 16:19 | 48.0068 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 206.738 | μmol/L | 19.6881 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.693 | 138229.0066 | 274972.6618 | 32.55 | 27.7
54911 | 2021-03-22 16:19 | 48.3403 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 206.449 | μmol/L | 19.7187 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.699 | 138253.4918 | 274963.6192 | 32.55 | 27.7
54922 | 2021-03-22 16:19 | 48.6732 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 206.3177 | μmol/L | 19.7432 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.698 | 138269.0623 | 274981.0162 | 32.55 | 27.7
54932 | 2021-03-22 16:20 | 49.0067 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 206.4544 | μmol/L | 19.7065 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.703 | 138282.4031 | 274983.7074 | 32.55 | 27.7
54942 | 2021-03-22 16:20 | 49.3405 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 206.7545 | μmol/L | 19.6514 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.705 | 138301.9159 | 274986.2694 | 32.55 | 27.7
54951 | 2021-03-22 16:20 | 49.6736 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 206.5941 | μmol/L | 19.6637 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.71 | 138319.9825 | 274991.2069 | 32.55 | 27.7
54962 | 2021-03-22 16:21 | 50.0068 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 206.4655 | μmol/L | 19.682 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.711 | 138337.4236 | 274972.1188 | 32.55 | 27.7
54972 | 2021-03-22 16:21 | 50.3397 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 206.2826 | μmol/L | 19.7065 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.713 | 138342.8854 | 274976.6939 | 32.55 | 27.7
54982 | 2021-03-22 16:21 | 50.6732 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 206.1569 | μmol/L | 19.7187 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.716 | 138358.7923 | 274973.2266 | 32.55 | 27.7
54992 | 2021-03-22 16:22 | 51.0071 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 206.0485 | μmol/L | 19.731 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.718 | 138367.9389 | 274976.7379 | 32.55 | 27.7
55002 | 2021-03-22 16:22 | 51.34 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 205.7722 | μmol/L | 19.7738 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.719 | 138392.0431 | 274986.5343 | 32.55 | 27.7
55011 | 2021-03-22 16:22 | 51.673 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 205.7921 | μmol/L | 19.7677 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.72 | 138412.2857 | 274989.3837 | 32.55 | 27.7
55022 | 2021-03-22 16:23 | 52.0071 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 205.8058 | μmol/L | 19.7371 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.73 | 138448.7991 | 274972.6899 | 32.55 | 27.7
55031 | 2021-03-22 16:23 | 52.3398 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 205.5839 | μmol/L | 19.7738 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.73 | 138483.3912 | 274981.2495 | 32.55 | 27.7
55041 | 2021-03-22 16:23 | 52.6735 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 205.3732 | μmol/L | 19.786 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.738 | 138509.0628 | 274977.0883 | 32.55 | 27.7
55052 | 2021-03-22 16:24 | 53.0064 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 205.2454 | μmol/L | 19.8044 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.739 | 138537.558 | 274980.5462 | 32.55 | 27.7
55062 | 2021-03-22 16:24 | 53.3402 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 205.2167 | μmol/L | 19.7921 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.745 | 138570.7299 | 274977.798 | 32.55 | 27.7
55071 | 2021-03-22 16:24 | 53.6731 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 205.6627 | μmol/L | 19.7126 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.747 | 138608.1519 | 274970.6931 | 32.55 | 27.7
55081 | 2021-03-22 16:25 | 54.0069 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 205.5259 | μmol/L | 19.7126 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.755 | 138642.9112 | 274976.3718 | 32.55 | 27.7
55092 | 2021-03-22 16:25 | 54.3402 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 205.3153 | μmol/L | 19.7248 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.763 | 138664.127 | 274976.4317 | 32.55 | 27.7
55101 | 2021-03-22 16:25 | 54.6731 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 205.264 | μmol/L | 19.7248 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.766 | 138699.3753 | 274980.9153 | 32.55 | 27.7
55112 | 2021-03-22 16:26 | 55.007 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 205.0851 | μmol/L | 19.7432 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.77 | 138740.7157 | 274955.4575 | 32.55 | 27.7
55121 | 2021-03-22 16:26 | 55.3401 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 204.9855 | μmol/L | 19.7371 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.778 | 138772.5545 | 274977.5047 | 32.55 | 27.7
55132 | 2021-03-22 16:26 | 55.6731 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 205.2835 | μmol/L | 19.682 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.78 | 138815.8219 | 274968.3707 | 32.55 | 27.7
55142 | 2021-03-22 16:27 | 56.0069 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 205.201 | μmol/L | 19.6759 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.787 | 138869.843 | 274977.3407 | 32.55 | 27.7
55152 | 2021-03-22 16:27 | 56.3399 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 204.7412 | μmol/L | 19.7126 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.801 | 138936.6875 | 274981.7734 | 32.55 | 27.7
55162 | 2021-03-22 16:27 | 56.6736 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 204.5599 | μmol/L | 19.7371 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.803 | 138977.7156 | 274986.32 | 32.55 | 27.7
55171 | 2021-03-22 16:28 | 57.0065 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 204.6079 | μmol/L | 19.7065 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.811 | 139007.8972 | 274984.2881 | 32.55 | 27.7
55182 | 2021-03-22 16:28 | 57.3404 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 204.3956 | μmol/L | 19.7248 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.817 | 139050.8035 | 274982.2501 | 32.55 | 27.7
55191 | 2021-03-22 16:28 | 57.6734 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 204.7125 | μmol/L | 19.6637 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.82 | 139078.6369 | 274994.4254 | 32.55 | 27.7
55202 | 2021-03-22 16:29 | 58.007 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 204.4265 | μmol/L | 19.6943 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.826 | 139115.8336 | 274981.7145 | 32.55 | 27.7
55212 | 2021-03-22 16:29 | 58.3399 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 204.0167 | μmol/L | 19.7371 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.835 | 139167.6793 | 274982.6949 | 32.55 | 27.7
55221 | 2021-03-22 16:29 | 58.6735 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.7063 | μmol/L | 19.7493 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.849 | 139252.2134 | 274975.3527 | 32.55 | 27.7
55232 | 2021-03-22 16:30 | 59.0066 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.4472 | μmol/L | 19.7615 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.86 | 139303.8232 | 274967.7213 | 32.55 | 27.7
55241 | 2021-03-22 16:30 | 59.3397 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.3093 | μmol/L | 19.7677 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.866 | 139370.9753 | 274985.9855 | 32.55 | 27.7
55252 | 2021-03-22 16:30 | 59.6735 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.2811 | μmol/L | 19.7554 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.872 | 139414.1914 | 274968.8977 | 32.55 | 27.7
55262 | 2021-03-22 16:31 | 60.0071 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.2671 | μmol/L | 19.7493 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.875 | 139454.5831 | 274975.4826 | 32.55 | 27.7
55271 | 2021-03-22 16:31 | 60.34 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.3514 | μmol/L | 19.7126 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.883 | 139488.0091 | 274968.1689 | 32.55 | 27.7
55282 | 2021-03-22 16:31 | 60.6737 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.5177 | μmol/L | 19.6453 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.897 | 139545.5613 | 274972.3019 | 32.55 | 27.7
55292 | 2021-03-22 16:32 | 61.0066 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.2109 | μmol/L | 19.6881 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.9 | 139598.0962 | 274964.8813 | 32.55 | 27.7
55301 | 2021-03-22 16:32 | 61.3397 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.0564 | μmol/L | 19.6943 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.907 | 139621.4254 | 274967.9637 | 32.55 | 27.7
55312 | 2021-03-22 16:32 | 61.6738 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.8627 | μmol/L | 19.7126 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.912 | 139671.9812 | 274984.257 | 32.55 | 27.7
55322 | 2021-03-22 16:33 | 62.0071 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.6299 | μmol/L | 19.7432 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.915 | 139694.746 | 274976.776 | 32.55 | 27.7
55332 | 2021-03-22 16:33 | 62.34 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.6888 | μmol/L | 19.7248 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.918 | 139724.8953 | 274979.9276 | 32.55 | 27.7
55342 | 2021-03-22 16:33 | 62.6737 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.4872 | μmol/L | 19.7248 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.93 | 139782.4362 | 274977.8391 | 32.55 | 27.7
55351 | 2021-03-22 16:34 | 63.0065 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.4172 | μmol/L | 19.731 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.932 | 139804.2487 | 274985.2852 | 32.55 | 27.7
55361 | 2021-03-22 16:34 | 63.3402 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.465 | μmol/L | 19.7004 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.94 | 139826.4743 | 274986.8373 | 32.55 | 27.7
55371 | 2021-03-22 16:34 | 63.6733 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.5882 | μmol/L | 19.6881 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.937 | 139850.7697 | 274976.6594 | 32.55 | 27.7
55382 | 2021-03-22 16:35 | 64.0069 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.1881 | μmol/L | 19.7187 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.95 | 139895.0257 | 274973.9837 | 32.55 | 27.7
55392 | 2021-03-22 16:35 | 64.3398 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.0622 | μmol/L | 19.7371 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.951 | 139928.994 | 274997.0915 | 32.55 | 27.7
55402 | 2021-03-22 16:35 | 64.6736 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.0679 | μmol/L | 19.7248 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.955 | 139945.4079 | 274990.6234 | 32.55 | 27.7
55411 | 2021-03-22 16:36 | 65.0068 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.9981 | μmol/L | 19.731 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.957 | 139962.0761 | 275002.4585 | 32.55 | 27.7
55421 | 2021-03-22 16:36 | 65.3397 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.9144 | μmol/L | 19.731 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.962 | 139966.5358 | 274982.3067 | 32.55 | 27.7
55431 | 2021-03-22 16:36 | 65.6734 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.9311 | μmol/L | 19.731 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.961 | 140008.1934 | 275004.7964 | 32.55 | 27.7
55441 | 2021-03-22 16:37 | 66.0065 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.9536 | μmol/L | 19.7187 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.964 | 140021.3833 | 274984.446 | 32.55 | 27.7
55452 | 2021-03-22 16:37 | 66.3401 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.9928 | μmol/L | 19.7065 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.966 | 140032.6573 | 274979.7956 | 32.55 | 27.7
55461 | 2021-03-22 16:37 | 66.6738 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.9119 | μmol/L | 19.7004 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.973 | 140062.7123 | 275001.313 | 32.55 | 27.7
55471 | 2021-03-22 16:38 | 67.007 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.0209 | μmol/L | 19.682 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.973 | 140091.4632 | 274988.8569 | 32.55 | 27.7
55481 | 2021-03-22 16:38 | 67.3398 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.9373 | μmol/L | 19.682 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.978 | 140100.1656 | 274989.8161 | 32.55 | 27.7
55492 | 2021-03-22 16:38 | 67.6735 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.792 | μmol/L | 19.7065 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.978 | 140114.6734 | 274989.4187 | 32.55 | 27.7
55501 | 2021-03-22 16:39 | 68.0064 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.6693 | μmol/L | 19.7187 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.981 | 140137.8631 | 274990.0371 | 32.55 | 27.7
55511 | 2021-03-22 16:39 | 68.3401 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.6526 | μmol/L | 19.7187 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.982 | 140153.5244 | 274995.6372 | 32.55 | 27.7
55521 | 2021-03-22 16:39 | 68.6732 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.5886 | μmol/L | 19.7126 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.988 | 140173.2251 | 274990.0717 | 32.55 | 27.7
55532 | 2021-03-22 16:40 | 69.007 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.8513 | μmol/L | 19.6514 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.994 | 140205.733 | 275001.3605 | 32.55 | 27.7
55541 | 2021-03-22 16:40 | 69.3397 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.0752 | μmol/L | 19.6025 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.998 | 140228.5536 | 274993.0942 | 32.55 | 27.7
55552 | 2021-03-22 16:40 | 69.6734 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.86 | μmol/L | 19.6331 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24 | 140241.7989 | 274998.4486 | 32.55 | 27.7
55561 | 2021-03-22 16:41 | 70.0064 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.645 | μmol/L | 19.6637 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.002 | 140272.7077 | 275004.3047 | 32.55 | 27.7
55572 | 2021-03-22 16:41 | 70.3402 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.5949 | μmol/L | 19.6637 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.005 | 140283.6704 | 275009.8507 | 32.55 | 27.7
55581 | 2021-03-22 16:41 | 70.6732 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.6704 | μmol/L | 19.6453 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.007 | 140318.7957 | 275002.1433 | 32.55 | 27.7
55592 | 2021-03-22 16:42 | 71.007 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.5927 | μmol/L | 19.6331 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.016 | 140355.3631 | 275012.066 | 32.55 | 27.7
55602 | 2021-03-22 16:42 | 71.3399 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.6014 | μmol/L | 19.6147 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.022 | 140392.1581 | 275006.1718 | 32.55 | 27.7
55611 | 2021-03-22 16:42 | 71.6731 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.7859 | μmol/L | 19.578 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.024 | 140415.1201 | 275008.056 | 32.55 | 27.7
55622 | 2021-03-22 16:43 | 72.0071 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.8841 | μmol/L | 19.5475 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.029 | 140439.5594 | 275001.0325 | 32.55 | 27.7
55629 | 2021-03-22 16:43 | 72.3404 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.6356 | μmol/L | 19.578 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.033 | 140464.8418 | 275012.6401 | 32.55 | 27.7