## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 207898393 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | 55.77 | 20 | °C | 22.24 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-22 11:15

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
48870 | 2021-03-22 10:06 | 0 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 222.3708 | μmol/L | 19.5663 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.83 | 190809.4348 | 280654.9373 | 62.0402 | 75.7
48878 | 2021-03-22 10:06 | 0.3418 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 222.3328 | μmol/L | 19.5663 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.832 | 190833.6017 | 280669.4694 | 62.0402 | 75.7
48888 | 2021-03-22 10:06 | 0.67537 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 222.3328 | μmol/L | 19.5663 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.832 | 190835.5031 | 280653.5949 | 62.0402 | 75.7
48898 | 2021-03-22 10:07 | 1.0083 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 222.1788 | μmol/L | 19.5724 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.838 | 190853.2813 | 280635.705 | 62.0402 | 75.7
48908 | 2021-03-22 10:07 | 1.342 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 222.2358 | μmol/L | 19.5724 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.835 | 190857.249 | 280639.447 | 62.0402 | 75.7
48918 | 2021-03-22 10:07 | 1.6756 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 222.2398 | μmol/L | 19.5601 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.839 | 190847.2156 | 280627.0269 | 62.0402 | 75.7
48928 | 2021-03-22 10:08 | 2.0086 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 222.2799 | μmol/L | 19.554 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.839 | 190856.819 | 280617.6819 | 62.0402 | 75.7
48938 | 2021-03-22 10:08 | 2.3416 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 222.1808 | μmol/L | 19.5663 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.84 | 190861.3144 | 280615.838 | 62.0402 | 75.7
48948 | 2021-03-22 10:08 | 2.6753 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 222.1028 | μmol/L | 19.5724 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.842 | 190875.6636 | 280597.8791 | 62.0402 | 75.7
48958 | 2021-03-22 10:09 | 3.009 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 222.0629 | μmol/L | 19.5785 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.842 | 190905.0016 | 280588.2827 | 62.0402 | 75.7
48968 | 2021-03-22 10:09 | 3.3419 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 222.0479 | μmol/L | 19.5663 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.847 | 190919.7752 | 280596.4195 | 62.0402 | 75.7
48978 | 2021-03-22 10:09 | 3.6757 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 222.189 | μmol/L | 19.5417 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.848 | 190941.6737 | 280575.3155 | 62.0402 | 75.7
48988 | 2021-03-22 10:10 | 4.0089 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 221.9721 | μmol/L | 19.5663 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.851 | 190947.5575 | 280573.9471 | 62.0402 | 75.7
48998 | 2021-03-22 10:10 | 4.3417 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 221.7134 | μmol/L | 19.6031 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.852 | 190962.5697 | 280573.7519 | 62.0402 | 75.7
49008 | 2021-03-22 10:10 | 4.6753 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 221.8752 | μmol/L | 19.5724 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.854 | 190978.3456 | 280561.1419 | 62.0402 | 75.7
49018 | 2021-03-22 10:11 | 5.0083 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 222.0561 | μmol/L | 19.5417 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.855 | 190990.2091 | 280550.0762 | 62.0402 | 75.7
49028 | 2021-03-22 10:11 | 5.3422 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 222.0602 | μmol/L | 19.5294 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.859 | 191031.9015 | 280558.4778 | 62.0402 | 75.7
49038 | 2021-03-22 10:11 | 5.6752 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 221.9464 | μmol/L | 19.5294 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.865 | 191065.0742 | 280544.0118 | 62.0402 | 75.7
49048 | 2021-03-22 10:12 | 6.0088 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 221.9065 | μmol/L | 19.5356 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.865 | 191074.3281 | 280529.2621 | 62.0402 | 75.7
49058 | 2021-03-22 10:12 | 6.3419 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 221.7277 | μmol/L | 19.5601 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.866 | 191119.4463 | 280516.5544 | 62.0402 | 75.7
49068 | 2021-03-22 10:12 | 6.6751 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 221.4776 | μmol/L | 19.5724 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.875 | 191143.7789 | 280508.8807 | 62.0402 | 75.7
49078 | 2021-03-22 10:13 | 7.0086 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 221.4377 | μmol/L | 19.5785 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.875 | 191164.0486 | 280504.6783 | 62.0402 | 75.7
49088 | 2021-03-22 10:13 | 7.3416 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 221.3411 | μmol/L | 19.5847 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.878 | 191196.2727 | 280509.0043 | 62.0402 | 75.7
49098 | 2021-03-22 10:13 | 7.6756 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 221.2277 | μmol/L | 19.5847 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.884 | 191252.7674 | 280496.0969 | 62.0402 | 75.7
49108 | 2021-03-22 10:14 | 8.0083 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 221.1563 | μmol/L | 19.5724 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.892 | 191314.0445 | 280467.4215 | 62.0402 | 75.7
49118 | 2021-03-22 10:14 | 8.3418 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 221.0241 | μmol/L | 19.5724 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.899 | 191365.8846 | 280464.2289 | 62.0402 | 75.7
49128 | 2021-03-22 10:14 | 8.6755 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 220.9089 | μmol/L | 19.5785 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.903 | 191384.1198 | 280452.1212 | 62.0402 | 75.7
49138 | 2021-03-22 10:15 | 9.0084 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 220.9089 | μmol/L | 19.5785 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.903 | 191399.0812 | 280456.7847 | 62.0402 | 75.7
49148 | 2021-03-22 10:15 | 9.3422 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 220.9675 | μmol/L | 19.5724 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.902 | 191381.5242 | 280449.2351 | 62.0402 | 75.7
49158 | 2021-03-22 10:15 | 9.6757 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 221.0073 | μmol/L | 19.5663 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.902 | 191366.1679 | 280435.6416 | 62.0402 | 75.7
49168 | 2021-03-22 10:16 | 10.0088 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 221.0492 | μmol/L | 19.554 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.904 | 191387.5739 | 280417.2227 | 62.0402 | 75.7
49178 | 2021-03-22 10:16 | 10.3423 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 220.8774 | μmol/L | 19.5601 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.911 | 191431.3359 | 280413.317 | 62.0402 | 75.7
49188 | 2021-03-22 10:16 | 10.6753 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 220.6848 | μmol/L | 19.5724 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.917 | 191459.8279 | 280410.5107 | 62.0402 | 75.7
49198 | 2021-03-22 10:17 | 11.0091 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 220.7037 | μmol/L | 19.5724 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.916 | 191469.4674 | 280405.8207 | 62.0402 | 75.7
49208 | 2021-03-22 10:17 | 11.3419 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 220.7602 | μmol/L | 19.5724 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.913 | 191457.709 | 280386.2632 | 62.0402 | 75.7
49218 | 2021-03-22 10:17 | 11.6756 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 220.6472 | μmol/L | 19.5724 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.919 | 191471.3161 | 280376.4316 | 62.0402 | 75.7
49228 | 2021-03-22 10:18 | 12.0086 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 220.6095 | μmol/L | 19.5724 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.921 | 191489.8082 | 280369.838 | 62.0402 | 75.7
49238 | 2021-03-22 10:18 | 12.3417 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 220.6116 | μmol/L | 19.5663 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.923 | 191502.5089 | 280364.9094 | 62.0402 | 75.7
49248 | 2021-03-22 10:18 | 12.6753 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 220.6116 | μmol/L | 19.5663 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.923 | 191516.5684 | 280371.7723 | 62.0402 | 75.7
49258 | 2021-03-22 10:19 | 13.009 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 220.4004 | μmol/L | 19.5785 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.93 | 191552.0355 | 280352.5943 | 62.0402 | 75.7
49268 | 2021-03-22 10:19 | 13.3422 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 220.344 | μmol/L | 19.5785 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.933 | 191567.8468 | 280352.7389 | 62.0402 | 75.7
49278 | 2021-03-22 10:19 | 13.6751 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 220.1708 | μmol/L | 19.5908 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.938 | 191601.6258 | 280334.6644 | 62.0402 | 75.7
49288 | 2021-03-22 10:20 | 14.009 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 220.2376 | μmol/L | 19.5601 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.945 | 191430.0417 | 280331.6683 | 62.0402 | 75.7
49298 | 2021-03-22 10:20 | 14.3421 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 220.319 | μmol/L | 19.5417 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.947 | 191453.3416 | 280334.7047 | 62.0402 | 75.7
49308 | 2021-03-22 10:20 | 14.6752 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 220.2626 | μmol/L | 19.5417 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.95 | 191453.8994 | 280318.1481 | 62.0402 | 75.7
49318 | 2021-03-22 10:21 | 15.0089 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 220.2042 | μmol/L | 19.5479 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.951 | 191459.1776 | 280322.9426 | 62.0402 | 75.7
49328 | 2021-03-22 10:21 | 15.3419 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 220.2417 | μmol/L | 19.5479 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.949 | 191458.6035 | 280314.0251 | 62.0402 | 75.7
49338 | 2021-03-22 10:21 | 15.6755 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 220.223 | μmol/L | 19.5479 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.95 | 191466.9384 | 280286.1029 | 62.0402 | 75.7
49348 | 2021-03-22 10:22 | 16.0083 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 220.0686 | μmol/L | 19.5601 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.954 | 191478.3619 | 280299.4115 | 62.0402 | 75.7
49358 | 2021-03-22 10:22 | 16.342 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 220.0123 | μmol/L | 19.5601 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.957 | 191488.7965 | 280290.8419 | 62.0402 | 75.7
49368 | 2021-03-22 10:22 | 16.6755 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 220.0123 | μmol/L | 19.5601 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.957 | 191526.3814 | 280281.0008 | 62.0402 | 75.7
49378 | 2021-03-22 10:23 | 17.0091 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 220.0373 | μmol/L | 19.5417 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.962 | 191573.1374 | 280281.3727 | 62.0402 | 75.7
49388 | 2021-03-22 10:23 | 17.3419 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 220.0207 | μmol/L | 19.5356 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.965 | 191606.1177 | 280283.5945 | 62.0402 | 75.7
49398 | 2021-03-22 10:23 | 17.6756 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 219.8664 | μmol/L | 19.5479 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.969 | 191629.855 | 280264.2747 | 62.0402 | 75.7
49408 | 2021-03-22 10:24 | 18.0084 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 219.9082 | μmol/L | 19.5356 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.971 | 191647.3349 | 280265.2093 | 62.0402 | 75.7
49418 | 2021-03-22 10:24 | 18.342 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 219.7561 | μmol/L | 19.5417 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.977 | 191669.9753 | 280266.8352 | 62.0402 | 75.7
49428 | 2021-03-22 10:24 | 18.6757 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 219.6999 | μmol/L | 19.5417 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.98 | 191720.8831 | 280276.9799 | 62.0402 | 75.7
49438 | 2021-03-22 10:25 | 19.0086 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 219.6293 | μmol/L | 19.5294 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.988 | 191749.5915 | 280257.116 | 62.0402 | 75.7
49448 | 2021-03-22 10:25 | 19.3422 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 219.6833 | μmol/L | 19.5356 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.983 | 191759.0477 | 280268.3514 | 62.0402 | 75.7
49458 | 2021-03-22 10:25 | 19.6752 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 219.6106 | μmol/L | 19.5294 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.989 | 191778.2112 | 280255.3399 | 62.0402 | 75.7
49468 | 2021-03-22 10:26 | 20.009 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 219.5336 | μmol/L | 19.5356 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.991 | 191789.8956 | 280253.3977 | 62.0402 | 75.7
49478 | 2021-03-22 10:26 | 20.3421 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 219.5314 | μmol/L | 19.5417 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.989 | 191792.2515 | 280250.6985 | 62.0402 | 75.7
49488 | 2021-03-22 10:26 | 20.6751 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 219.5523 | μmol/L | 19.5356 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.99 | 191794.8512 | 280242.9343 | 62.0402 | 75.7
49498 | 2021-03-22 10:27 | 21.0088 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 219.4026 | μmol/L | 19.5356 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.998 | 191824.015 | 280237.9786 | 62.0402 | 75.7
49508 | 2021-03-22 10:27 | 21.3417 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 219.2862 | μmol/L | 19.5479 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23 | 191847.9577 | 280221.3488 | 62.0402 | 75.7
49518 | 2021-03-22 10:27 | 21.6754 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 219.3487 | μmol/L | 19.5294 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.003 | 191875.3165 | 280230.7169 | 62.0402 | 75.7
49528 | 2021-03-22 10:28 | 22.0085 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 219.3487 | μmol/L | 19.5294 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.003 | 191887.492 | 280230.9184 | 62.0402 | 75.7
49538 | 2021-03-22 10:28 | 22.3422 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 219.2345 | μmol/L | 19.5356 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.007 | 191910.7075 | 280208.0779 | 62.0402 | 75.7
49548 | 2021-03-22 10:28 | 22.6751 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 219.1181 | μmol/L | 19.5479 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.009 | 191962.8766 | 280208.2383 | 62.0402 | 75.7
49558 | 2021-03-22 10:29 | 23.0089 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 218.9129 | μmol/L | 19.5479 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.02 | 191994.4809 | 280202.5942 | 62.0402 | 75.7
49568 | 2021-03-22 10:29 | 23.3419 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 218.8548 | μmol/L | 19.554 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.021 | 192024.0659 | 280205.2659 | 62.0402 | 75.7
49578 | 2021-03-22 10:29 | 23.6749 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 218.7595 | μmol/L | 19.5601 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.024 | 192048.0264 | 280189.8015 | 62.0402 | 75.7
49588 | 2021-03-22 10:30 | 24.0087 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 218.6829 | μmol/L | 19.5663 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.026 | 192058.7594 | 280192.7384 | 62.0402 | 75.7
49598 | 2021-03-22 10:30 | 24.3424 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 218.7595 | μmol/L | 19.5601 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.024 | 192060.7914 | 280178.0333 | 62.0402 | 75.7
49608 | 2021-03-22 10:30 | 24.6754 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 218.685 | μmol/L | 19.5601 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.028 | 192087.8662 | 280176.4735 | 62.0402 | 75.7
49618 | 2021-03-22 10:31 | 25.0086 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 218.627 | μmol/L | 19.5663 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.029 | 192096.5001 | 280161.5654 | 62.0402 | 75.7
49628 | 2021-03-22 10:31 | 25.3423 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 218.6105 | μmol/L | 19.5601 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.032 | 192092.3323 | 280158.9086 | 62.0402 | 75.7
49638 | 2021-03-22 10:31 | 25.6751 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 218.6105 | μmol/L | 19.5601 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.032 | 192102.9871 | 280162.1222 | 62.0402 | 75.7
49648 | 2021-03-22 10:32 | 26.009 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 218.5733 | μmol/L | 19.5601 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.034 | 192111.6971 | 280167.7648 | 62.0402 | 75.7
49658 | 2021-03-22 10:32 | 26.3419 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 218.4616 | μmol/L | 19.5601 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.04 | 192145.0686 | 280160.116 | 62.0402 | 75.7
49668 | 2021-03-22 10:32 | 26.6756 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 218.3894 | μmol/L | 19.554 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.046 | 192198.0753 | 280150.8996 | 62.0402 | 75.7
49678 | 2021-03-22 10:33 | 27.0085 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 218.3358 | μmol/L | 19.5479 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.051 | 192247.2685 | 280135.302 | 62.0402 | 75.7
49688 | 2021-03-22 10:33 | 27.3422 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 218.2614 | μmol/L | 19.5479 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.055 | 192258.7037 | 280124.6423 | 62.0402 | 75.7
49698 | 2021-03-22 10:33 | 27.675 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 218.28 | μmol/L | 19.5479 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.054 | 192243.8565 | 280132.37 | 62.0402 | 75.7
49708 | 2021-03-22 10:34 | 28.009 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 218.3751 | μmol/L | 19.5417 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.051 | 192243.3334 | 280120.5363 | 62.0402 | 75.7
49718 | 2021-03-22 10:34 | 28.342 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 218.4166 | μmol/L | 19.5294 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.053 | 192252.7043 | 280111.2136 | 62.0402 | 75.7
49728 | 2021-03-22 10:34 | 28.6757 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 218.5719 | μmol/L | 19.511 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.051 | 192266.9089 | 280115.2936 | 62.0402 | 75.7
49738 | 2021-03-22 10:35 | 29.0085 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 218.5741 | μmol/L | 19.5049 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.053 | 192281.8422 | 280101.2855 | 62.0402 | 75.7
49748 | 2021-03-22 10:35 | 29.3416 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 218.5368 | μmol/L | 19.5049 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.055 | 192300.1265 | 280114.835 | 62.0402 | 75.7
49758 | 2021-03-22 10:35 | 29.6751 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 218.3837 | μmol/L | 19.5172 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.059 | 192316.096 | 280101.4859 | 62.0402 | 75.7
49768 | 2021-03-22 10:36 | 30.0089 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 218.3816 | μmol/L | 19.5233 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.057 | 192310.2609 | 280095.1586 | 62.0402 | 75.7
49778 | 2021-03-22 10:36 | 30.3418 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 218.4789 | μmol/L | 19.511 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.056 | 192296.1201 | 280099.8056 | 62.0402 | 75.7
49788 | 2021-03-22 10:36 | 30.6752 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 218.5161 | μmol/L | 19.511 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.054 | 192281.5364 | 280089.6763 | 62.0402 | 75.7
49798 | 2021-03-22 10:37 | 31.0091 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 218.4395 | μmol/L | 19.5172 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.056 | 192305.1486 | 280079.1778 | 62.0402 | 75.7
49808 | 2021-03-22 10:37 | 31.342 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 218.481 | μmol/L | 19.5049 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.058 | 192318.0101 | 280080.9089 | 62.0402 | 75.7
49818 | 2021-03-22 10:37 | 31.6755 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 218.4625 | μmol/L | 19.5049 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.059 | 192331.7882 | 280080.87 | 62.0402 | 75.7
49828 | 2021-03-22 10:38 | 32.0084 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 218.4253 | μmol/L | 19.5049 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.061 | 192377.123 | 280074.1874 | 62.0402 | 75.7
49838 | 2021-03-22 10:38 | 32.3421 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 218.293 | μmol/L | 19.511 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.066 | 192417.3669 | 280069.7704 | 62.0402 | 75.7
49848 | 2021-03-22 10:38 | 32.6754 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 218.2001 | μmol/L | 19.511 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.071 | 192443.9243 | 280073.7581 | 62.0402 | 75.7
49858 | 2021-03-22 10:39 | 33.0084 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 218.1815 | μmol/L | 19.511 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.072 | 192457.0034 | 280070.9231 | 62.0402 | 75.7
49868 | 2021-03-22 10:39 | 33.342 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 218.1815 | μmol/L | 19.511 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.072 | 192466.1211 | 280065.5489 | 62.0402 | 75.7
49878 | 2021-03-22 10:39 | 33.6751 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 218.0866 | μmol/L | 19.5172 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.075 | 192499.3285 | 280071.6573 | 62.0402 | 75.7
49888 | 2021-03-22 10:40 | 34.0085 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 218.0265 | μmol/L | 19.5294 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.074 | 192490.5896 | 280072.1379 | 62.0402 | 75.7
49898 | 2021-03-22 10:40 | 34.3417 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 217.9894 | μmol/L | 19.5294 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.076 | 192513.9755 | 280070.3736 | 62.0402 | 75.7
49908 | 2021-03-22 10:40 | 34.675 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 217.9502 | μmol/L | 19.5356 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.076 | 192543.3696 | 280071.6514 | 62.0402 | 75.7
49918 | 2021-03-22 10:41 | 35.0086 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 217.8945 | μmol/L | 19.5356 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.079 | 192548.7933 | 280065.8859 | 62.0402 | 75.7
49928 | 2021-03-22 10:41 | 35.3416 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 217.9131 | μmol/L | 19.5356 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.078 | 192542.4119 | 280066.4633 | 62.0402 | 75.7
49938 | 2021-03-22 10:41 | 35.6755 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 217.7953 | μmol/L | 19.554 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.078 | 192550.2311 | 280057.8481 | 62.0402 | 75.7
49948 | 2021-03-22 10:42 | 36.0084 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 217.7376 | μmol/L | 19.5601 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.079 | 192562.3496 | 280049.1319 | 62.0402 | 75.7
49958 | 2021-03-22 10:42 | 36.3421 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 217.682 | μmol/L | 19.5601 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.082 | 192598.3001 | 280065.4112 | 62.0402 | 75.7
49968 | 2021-03-22 10:42 | 36.6752 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 217.5502 | μmol/L | 19.5663 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.087 | 192640.099 | 280065.0189 | 62.0402 | 75.7
49978 | 2021-03-22 10:43 | 37.0083 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 217.4577 | μmol/L | 19.5663 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.092 | 192685.097 | 280066.8181 | 62.0402 | 75.7
49988 | 2021-03-22 10:43 | 37.3421 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 217.3054 | μmol/L | 19.5785 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.096 | 192753.0018 | 280052.2435 | 62.0402 | 75.7
49998 | 2021-03-22 10:43 | 37.6751 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 217.1739 | μmol/L | 19.5847 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.101 | 192775.6161 | 280057.689 | 62.0402 | 75.7
50008 | 2021-03-22 10:44 | 38.0088 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 217.1554 | μmol/L | 19.5847 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.102 | 192751.1171 | 280062.8581 | 62.0402 | 75.7
50018 | 2021-03-22 10:44 | 38.3418 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 217.2663 | μmol/L | 19.5847 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.096 | 192745.1289 | 280075.0143 | 62.0402 | 75.7
50028 | 2021-03-22 10:44 | 38.6756 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 217.2322 | μmol/L | 19.5908 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.096 | 192758.3602 | 280064.147 | 62.0402 | 75.7
50038 | 2021-03-22 10:45 | 39.0086 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 217.1327 | μmol/L | 19.5969 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.099 | 192788.7798 | 280064.3797 | 62.0402 | 75.7
50048 | 2021-03-22 10:45 | 39.3424 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 216.9231 | μmol/L | 19.6153 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.104 | 192828.5171 | 280064.0275 | 62.0402 | 75.7
50058 | 2021-03-22 10:45 | 39.6755 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 216.9437 | μmol/L | 19.6092 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.105 | 192850.6586 | 280057.651 | 62.0402 | 75.7
50068 | 2021-03-22 10:46 | 40.0084 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 216.8728 | μmol/L | 19.6153 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.107 | 192886.7297 | 280069.9524 | 62.0402 | 75.7
50078 | 2021-03-22 10:46 | 40.3421 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 216.7643 | μmol/L | 19.6092 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.115 | 192924.4379 | 280072.3749 | 62.0402 | 75.7
50088 | 2021-03-22 10:46 | 40.6757 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 216.7593 | μmol/L | 19.6092 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.115 | 192927.8917 | 280062.6373 | 62.0402 | 75.7
50098 | 2021-03-22 10:47 | 41.0086 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 216.7437 | μmol/L | 19.6153 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.114 | 192934.5771 | 280071.7956 | 62.0402 | 75.7
50108 | 2021-03-22 10:47 | 41.3423 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 216.7756 | μmol/L | 19.6153 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.112 | 192928.4775 | 280065.4428 | 62.0402 | 75.7
50118 | 2021-03-22 10:47 | 41.6752 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 216.7437 | μmol/L | 19.6153 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.114 | 192958.0919 | 280058.9004 | 62.0402 | 75.7
50128 | 2021-03-22 10:48 | 42.0083 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 216.6813 | μmol/L | 19.6215 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.115 | 192964.7737 | 280066.3095 | 62.0402 | 75.7
50138 | 2021-03-22 10:48 | 42.3419 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 216.6813 | μmol/L | 19.6215 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.115 | 192963.4195 | 280067.4508 | 62.0402 | 75.7
50148 | 2021-03-22 10:48 | 42.6757 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 216.6104 | μmol/L | 19.6276 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.117 | 192965.3588 | 280073.5609 | 62.0402 | 75.7
50158 | 2021-03-22 10:49 | 43.0086 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 216.6126 | μmol/L | 19.6215 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.119 | 192989.7161 | 280061.2877 | 62.0402 | 75.7
50168 | 2021-03-22 10:49 | 43.3416 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 216.5736 | μmol/L | 19.6276 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.119 | 193004.5459 | 280070.491 | 62.0402 | 75.7
50178 | 2021-03-22 10:49 | 43.6754 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 216.5184 | μmol/L | 19.6276 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.122 | 193015.4954 | 280068.1498 | 62.0402 | 75.7
50188 | 2021-03-22 10:50 | 44.0083 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 216.4404 | μmol/L | 19.6399 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.122 | 193028.8626 | 280060.2317 | 62.0402 | 75.7
50198 | 2021-03-22 10:50 | 44.3421 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 216.417 | μmol/L | 19.6399 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.123 | 193042.9587 | 280045.645 | 62.0402 | 75.7
50208 | 2021-03-22 10:50 | 44.6751 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 216.4242 | μmol/L | 19.6337 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.125 | 193061.8325 | 280056.2369 | 62.0402 | 75.7
50218 | 2021-03-22 10:51 | 45.0086 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 216.3874 | μmol/L | 19.6337 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.127 | 193078.8373 | 280051.1093 | 62.0402 | 75.7
50228 | 2021-03-22 10:51 | 45.3422 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 216.1992 | μmol/L | 19.646 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.133 | 193119.6466 | 280057.1506 | 62.0402 | 75.7
50238 | 2021-03-22 10:51 | 45.6751 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 216.2176 | μmol/L | 19.646 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.132 | 193138.8985 | 280056.9599 | 62.0402 | 75.7
50248 | 2021-03-22 10:52 | 46.0086 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 216.2035 | μmol/L | 19.6337 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.137 | 193163.913 | 280045.6752 | 62.0402 | 75.7
50258 | 2021-03-22 10:52 | 46.3416 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 216.1257 | μmol/L | 19.646 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.137 | 193182.2325 | 280054.8407 | 62.0402 | 75.7
50268 | 2021-03-22 10:52 | 46.6753 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 216.0706 | μmol/L | 19.646 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.14 | 193198.3355 | 280047.5385 | 62.0402 | 75.7
50278 | 2021-03-22 10:53 | 47.0083 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 215.995 | μmol/L | 19.6521 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.142 | 193206.2307 | 280049.9632 | 62.0402 | 75.7
50288 | 2021-03-22 10:53 | 47.342 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 216.0317 | μmol/L | 19.6521 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.14 | 193205.0536 | 280052.662 | 62.0402 | 75.7
50298 | 2021-03-22 10:53 | 47.675 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 215.9194 | μmol/L | 19.6583 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.144 | 193220.7058 | 280057.9424 | 62.0402 | 75.7
50308 | 2021-03-22 10:54 | 48.0087 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 215.8989 | μmol/L | 19.6644 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.143 | 193221.0895 | 280052.1871 | 62.0402 | 75.7
50318 | 2021-03-22 10:54 | 48.3423 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 215.8805 | μmol/L | 19.6644 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.144 | 193237.8543 | 280060.268 | 62.0402 | 75.7
50328 | 2021-03-22 10:54 | 48.6751 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 215.8827 | μmol/L | 19.6583 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.146 | 193245.0787 | 280046.291 | 62.0402 | 75.7
50338 | 2021-03-22 10:55 | 49.0089 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 215.8827 | μmol/L | 19.6583 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.146 | 193246.304 | 280050.9331 | 62.0402 | 75.7
50348 | 2021-03-22 10:55 | 49.3418 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 215.8848 | μmol/L | 19.6521 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.148 | 193261.379 | 280050.1149 | 62.0402 | 75.7
50358 | 2021-03-22 10:55 | 49.6754 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 215.9237 | μmol/L | 19.646 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.148 | 193280.134 | 280052.9081 | 62.0402 | 75.7
50368 | 2021-03-22 10:56 | 50.0084 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 215.7155 | μmol/L | 19.6644 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.153 | 193298.0058 | 280048.4855 | 62.0402 | 75.7
50378 | 2021-03-22 10:56 | 50.3423 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 215.8115 | μmol/L | 19.6521 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.152 | 193316.6949 | 280045.711 | 62.0402 | 75.7
50388 | 2021-03-22 10:56 | 50.6753 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 215.8708 | μmol/L | 19.6399 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.153 | 193327.1605 | 280030.3749 | 62.0402 | 75.7
50398 | 2021-03-22 10:57 | 51.0089 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 215.8363 | μmol/L | 19.6337 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.157 | 193345.7214 | 280035.8445 | 62.0402 | 75.7
50408 | 2021-03-22 10:57 | 51.3416 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 215.6831 | μmol/L | 19.6521 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.159 | 193376.8079 | 280021.1491 | 62.0402 | 75.7
50418 | 2021-03-22 10:57 | 51.6754 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 215.4934 | μmol/L | 19.6705 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.163 | 193401.2243 | 280012.491 | 62.0402 | 75.7
50428 | 2021-03-22 10:58 | 52.009 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 215.3588 | μmol/L | 19.6889 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.164 | 193422.5102 | 280030.4138 | 62.0402 | 75.7
50438 | 2021-03-22 10:58 | 52.3418 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 215.4978 | μmol/L | 19.6583 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.167 | 193425.8872 | 280009.7639 | 62.0402 | 75.7
50448 | 2021-03-22 10:58 | 52.6758 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 215.6896 | μmol/L | 19.6337 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.165 | 193441.9219 | 280006.6687 | 62.0402 | 75.7
50458 | 2021-03-22 10:59 | 53.0086 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 215.3836 | μmol/L | 19.6705 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.169 | 193458.0127 | 279998.7095 | 62.0402 | 75.7
50468 | 2021-03-22 10:59 | 53.3422 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 215.2512 | μmol/L | 19.6828 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.172 | 193476.701 | 280000.7102 | 62.0402 | 75.7
50478 | 2021-03-22 10:59 | 53.6751 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 215.3879 | μmol/L | 19.6583 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.173 | 193501.4737 | 280009.7668 | 62.0402 | 75.7
50488 | 2021-03-22 11:00 | 54.0083 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 215.2965 | μmol/L | 19.6583 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.178 | 193532.8867 | 280001.0721 | 62.0402 | 75.7
50498 | 2021-03-22 11:00 | 54.3419 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 215.3191 | μmol/L | 19.646 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.181 | 193573.656 | 280023.73 | 62.0402 | 75.7
50508 | 2021-03-22 11:00 | 54.6751 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 215.3967 | μmol/L | 19.6337 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.181 | 193588.5945 | 280017.6489 | 62.0402 | 75.7
50518 | 2021-03-22 11:01 | 55.0091 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 215.3418 | μmol/L | 19.6337 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.184 | 193607.0808 | 280019.4559 | 62.0402 | 75.7
50528 | 2021-03-22 11:01 | 55.342 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 215.0954 | μmol/L | 19.6583 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.189 | 193624.3371 | 280013.8511 | 62.0402 | 75.7
50538 | 2021-03-22 11:01 | 55.6757 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 214.8837 | μmol/L | 19.6889 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.19 | 193661.0752 | 280008.9071 | 62.0402 | 75.7
50548 | 2021-03-22 11:02 | 56.0089 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 214.8654 | μmol/L | 19.6889 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.191 | 193676.0729 | 280005.9985 | 62.0402 | 75.7
50558 | 2021-03-22 11:02 | 56.3418 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 214.8676 | μmol/L | 19.6828 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.193 | 193689.714 | 280004.7535 | 62.0402 | 75.7
50568 | 2021-03-22 11:02 | 56.6756 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 215.1224 | μmol/L | 19.6337 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.196 | 193706.1814 | 280001.1706 | 62.0402 | 75.7
50578 | 2021-03-22 11:03 | 57.0086 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 215.0859 | μmol/L | 19.6337 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.198 | 193725.2731 | 280015.2523 | 62.0402 | 75.7
50588 | 2021-03-22 11:03 | 57.3422 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 214.9902 | μmol/L | 19.646 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.199 | 193746.8363 | 279991.8282 | 62.0402 | 75.7
50598 | 2021-03-22 11:03 | 57.6752 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 214.8946 | μmol/L | 19.6583 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.2 | 193760.2265 | 279994.1222 | 62.0402 | 75.7
50608 | 2021-03-22 11:04 | 58.009 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 214.5533 | μmol/L | 19.6951 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.206 | 193797.8453 | 279982.734 | 62.0402 | 75.7
50618 | 2021-03-22 11:04 | 58.3419 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 214.6145 | μmol/L | 19.6767 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.209 | 193832.6925 | 279971.3713 | 62.0402 | 75.7
50628 | 2021-03-22 11:04 | 58.6754 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 214.8304 | μmol/L | 19.6337 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.212 | 193845.6268 | 279960.4754 | 62.0402 | 75.7
50638 | 2021-03-22 11:05 | 59.0084 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 214.9056 | μmol/L | 19.6276 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.21 | 193872.9292 | 279952.0944 | 62.0402 | 75.7
50648 | 2021-03-22 11:05 | 59.3421 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 214.6823 | μmol/L | 19.6399 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.218 | 193896.4883 | 279956.5393 | 62.0402 | 75.7
50658 | 2021-03-22 11:05 | 59.6749 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 214.6846 | μmol/L | 19.6337 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.22 | 193915.6159 | 279946.0869 | 62.0402 | 75.7
50668 | 2021-03-22 11:06 | 60.0087 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 214.5913 | μmol/L | 19.6399 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.223 | 193934.6841 | 279945.2023 | 62.0402 | 75.7
50678 | 2021-03-22 11:06 | 60.3424 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 214.2869 | μmol/L | 19.6767 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.227 | 193959.5832 | 279936.0315 | 62.0402 | 75.7
50688 | 2021-03-22 11:06 | 60.6754 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 214.0781 | μmol/L | 19.7012 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.23 | 193981.9678 | 279920.4037 | 62.0402 | 75.7
50698 | 2021-03-22 11:07 | 61.009 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 214.1211 | μmol/L | 19.6828 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.234 | 194021.977 | 279921.2859 | 62.0402 | 75.7
50708 | 2021-03-22 11:07 | 61.342 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 214.1662 | μmol/L | 19.6583 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.24 | 194067.34 | 279909.3599 | 62.0402 | 75.7
50718 | 2021-03-22 11:07 | 61.6757 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 214.1684 | μmol/L | 19.6521 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.242 | 194095.2275 | 279920.725 | 62.0402 | 75.7
50728 | 2021-03-22 11:08 | 62.0085 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 214.1161 | μmol/L | 19.646 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.247 | 194121.824 | 279915.2045 | 62.0402 | 75.7
50738 | 2021-03-22 11:08 | 62.3421 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 214.0979 | μmol/L | 19.646 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.248 | 194126.5208 | 279908.0561 | 62.0402 | 75.7
50748 | 2021-03-22 11:08 | 62.675 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 214.0027 | μmol/L | 19.6583 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.249 | 194139.4006 | 279897.8114 | 62.0402 | 75.7
50758 | 2021-03-22 11:09 | 63.0088 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 213.8146 | μmol/L | 19.6767 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.253 | 194168.2507 | 279888.4292 | 62.0402 | 75.7
50768 | 2021-03-22 11:09 | 63.3417 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 213.6652 | μmol/L | 19.6889 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.257 | 194204.0857 | 279886.5099 | 62.0402 | 75.7
50778 | 2021-03-22 11:09 | 63.6754 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 213.7262 | μmol/L | 19.6705 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.26 | 194239.4126 | 279897.3507 | 62.0402 | 75.7
50788 | 2021-03-22 11:10 | 64.0084 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 213.9412 | μmol/L | 19.6276 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.263 | 194275.296 | 279882.178 | 62.0402 | 75.7
50798 | 2021-03-22 11:10 | 64.3417 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 213.8709 | μmol/L | 19.6215 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.269 | 194306.9196 | 279874.6624 | 62.0402 | 75.7
50808 | 2021-03-22 11:10 | 64.6756 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 213.7191 | μmol/L | 19.6399 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.271 | 194325.9367 | 279873.4185 | 62.0402 | 75.7
50818 | 2021-03-22 11:11 | 65.0087 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 213.5878 | μmol/L | 19.6521 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.274 | 194343.1652 | 279868.5982 | 62.0402 | 75.7
50828 | 2021-03-22 11:11 | 65.3416 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 213.572 | μmol/L | 19.646 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.277 | 194361.1145 | 279856.2219 | 62.0402 | 75.7
50838 | 2021-03-22 11:11 | 65.6754 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 213.6511 | μmol/L | 19.6276 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.279 | 194377.1771 | 279864.9452 | 62.0402 | 75.7
50848 | 2021-03-22 11:12 | 66.009 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 213.6533 | μmol/L | 19.6215 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.281 | 194410.384 | 279856.1521 | 62.0402 | 75.7
50858 | 2021-03-22 11:12 | 66.342 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 213.5809 | μmol/L | 19.6215 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.285 | 194443.9211 | 279856.8048 | 62.0402 | 75.7
50868 | 2021-03-22 11:12 | 66.6751 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 213.3592 | μmol/L | 19.6337 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.293 | 194473.8289 | 279869.3784 | 62.0402 | 75.7
50878 | 2021-03-22 11:13 | 67.0087 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 213.3389 | μmol/L | 19.6399 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.292 | 194501.2749 | 279856.2343 | 62.0402 | 75.7
50888 | 2021-03-22 11:13 | 67.3416 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 213.2327 | μmol/L | 19.6337 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.3 | 194537.0746 | 279846.1986 | 62.0402 | 75.7
50898 | 2021-03-22 11:13 | 67.6755 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 213.1717 | μmol/L | 19.6521 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.297 | 194556.5578 | 279846.472 | 62.0402 | 75.7