## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-22 11:15

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
48871 | 2021-03-22 10:06 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 216.1246 | μmol/L | 19.7634 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.982 | 144001.9833 | 304342.4339 | 59.9307 | 38.1
48880 | 2021-03-22 10:06 | 0.33377 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 216.0894 | μmol/L | 19.7573 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.986 | 144020.1441 | 304340.7095 | 59.9307 | 38.1
48890 | 2021-03-22 10:06 | 0.66736 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 216.034 | μmol/L | 19.7573 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.989 | 144035.0501 | 304347.9151 | 59.9307 | 38.1
48900 | 2021-03-22 10:07 | 1.0004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 216.0174 | μmol/L | 19.7512 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.992 | 144033.1454 | 304325.7494 | 59.9307 | 38.1
48910 | 2021-03-22 10:07 | 1.334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 215.9601 | μmol/L | 19.7573 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.993 | 144055.7834 | 304321.2181 | 59.9307 | 38.1
48920 | 2021-03-22 10:07 | 1.6677 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 215.9232 | μmol/L | 19.7573 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.995 | 144056.7789 | 304315.8318 | 59.9307 | 38.1
48930 | 2021-03-22 10:08 | 2.0009 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 215.9232 | μmol/L | 19.7573 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.995 | 144079.4526 | 304327.3108 | 59.9307 | 38.1
48940 | 2021-03-22 10:08 | 2.3337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 215.7922 | μmol/L | 19.7634 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23 | 144088.0196 | 304295.5419 | 59.9307 | 38.1
48950 | 2021-03-22 10:08 | 2.6673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 215.794 | μmol/L | 19.7573 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.002 | 144107.347 | 304290.0601 | 59.9307 | 38.1
48960 | 2021-03-22 10:09 | 3.0008 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 215.7756 | μmol/L | 19.7573 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.003 | 144107.727 | 304280.8066 | 59.9307 | 38.1
48970 | 2021-03-22 10:09 | 3.3344 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 215.7203 | μmol/L | 19.7573 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.006 | 144108.1481 | 304263.2063 | 59.9307 | 38.1
48980 | 2021-03-22 10:09 | 3.6675 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 215.6281 | μmol/L | 19.7573 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.011 | 144118.7127 | 304269.6962 | 59.9307 | 38.1
48990 | 2021-03-22 10:10 | 4.0006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 215.6078 | μmol/L | 19.7634 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.01 | 144138.3983 | 304248.8555 | 59.9307 | 38.1
49000 | 2021-03-22 10:10 | 4.3344 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 215.6299 | μmol/L | 19.7512 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.013 | 144155.6562 | 304240.8675 | 59.9307 | 38.1
49010 | 2021-03-22 10:10 | 4.6672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 215.5175 | μmol/L | 19.7573 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.017 | 144181.066 | 304246.8929 | 59.9307 | 38.1
49020 | 2021-03-22 10:11 | 5.001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 215.5028 | μmol/L | 19.7451 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.022 | 144194.5766 | 304251.8906 | 59.9307 | 38.1
49030 | 2021-03-22 10:11 | 5.3341 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 215.4089 | μmol/L | 19.7512 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.025 | 144213.3734 | 304227.1433 | 59.9307 | 38.1
49040 | 2021-03-22 10:11 | 5.6671 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 215.374 | μmol/L | 19.7451 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.029 | 144230.6831 | 304221.3331 | 59.9307 | 38.1
49050 | 2021-03-22 10:12 | 6.0009 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 215.374 | μmol/L | 19.7451 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.029 | 144253.9412 | 304228.6858 | 59.9307 | 38.1
49060 | 2021-03-22 10:12 | 6.3342 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 215.2617 | μmol/L | 19.7512 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.033 | 144270.5569 | 304210.184 | 59.9307 | 38.1
49070 | 2021-03-22 10:12 | 6.6677 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 215.2268 | μmol/L | 19.7451 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.037 | 144291.975 | 304206.5126 | 59.9307 | 38.1
49080 | 2021-03-22 10:13 | 7.0006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 215.1184 | μmol/L | 19.739 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.045 | 144305.0061 | 304193.3116 | 59.9307 | 38.1
49090 | 2021-03-22 10:13 | 7.3337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 215.0798 | μmol/L | 19.7451 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.045 | 144324.9202 | 304181.7908 | 59.9307 | 38.1
49100 | 2021-03-22 10:13 | 7.6677 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 215.1386 | μmol/L | 19.7329 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.046 | 144326.1402 | 304169.1465 | 59.9307 | 38.1
49110 | 2021-03-22 10:14 | 8.0006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 215.0835 | μmol/L | 19.7329 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.049 | 144332.5257 | 304162.9016 | 59.9307 | 38.1
49120 | 2021-03-22 10:14 | 8.3343 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 215.0835 | μmol/L | 19.7329 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.049 | 144333.8218 | 304155.6639 | 59.9307 | 38.1
49130 | 2021-03-22 10:14 | 8.6672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 215.0284 | μmol/L | 19.7329 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.052 | 144351.562 | 304152.6146 | 59.9307 | 38.1
49140 | 2021-03-22 10:15 | 9.0009 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 214.9752 | μmol/L | 19.7267 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.057 | 144361.8647 | 304132.4602 | 59.9307 | 38.1
49150 | 2021-03-22 10:15 | 9.3337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 214.8632 | μmol/L | 19.7329 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.061 | 144386.7685 | 304123.4601 | 59.9307 | 38.1
49160 | 2021-03-22 10:15 | 9.6674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 214.8651 | μmol/L | 19.7267 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.063 | 144397.5213 | 304133.1803 | 59.9307 | 38.1
49170 | 2021-03-22 10:16 | 10.0005 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 214.7532 | μmol/L | 19.7329 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.067 | 144423.7063 | 304119.9342 | 59.9307 | 38.1
49180 | 2021-03-22 10:16 | 10.3342 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 214.7165 | μmol/L | 19.7329 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.069 | 144442.0549 | 304106.5111 | 59.9307 | 38.1
49190 | 2021-03-22 10:16 | 10.6671 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 214.6615 | μmol/L | 19.7329 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.072 | 144453.1668 | 304104.4908 | 59.9307 | 38.1
49200 | 2021-03-22 10:17 | 11.0008 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 214.5497 | μmol/L | 19.739 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.076 | 144475.6162 | 304077.9707 | 59.9307 | 38.1
49210 | 2021-03-22 10:17 | 11.3337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 214.5333 | μmol/L | 19.7329 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.079 | 144494.3917 | 304075.8231 | 59.9307 | 38.1
49220 | 2021-03-22 10:17 | 11.6675 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 214.5004 | μmol/L | 19.7206 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.085 | 144524.7954 | 304069.8425 | 59.9307 | 38.1
49230 | 2021-03-22 10:18 | 12.0004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 214.4253 | μmol/L | 19.7267 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.087 | 144537.8063 | 304064.1396 | 59.9307 | 38.1
49240 | 2021-03-22 10:18 | 12.3342 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 214.354 | μmol/L | 19.7206 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.093 | 144573.1479 | 304064.2531 | 59.9307 | 38.1
49250 | 2021-03-22 10:18 | 12.6677 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 214.2827 | μmol/L | 19.7145 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.099 | 144583.5824 | 304051.594 | 59.9307 | 38.1
49260 | 2021-03-22 10:19 | 13.0007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 214.2443 | μmol/L | 19.7206 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.099 | 144625.8124 | 304059.2783 | 59.9307 | 38.1
49270 | 2021-03-22 10:19 | 13.334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 214.1346 | μmol/L | 19.7206 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.105 | 144621.6401 | 304034.834 | 59.9307 | 38.1
49280 | 2021-03-22 10:19 | 13.667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 214.2115 | μmol/L | 19.7084 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.105 | 144636.4016 | 304030.4487 | 59.9307 | 38.1
49290 | 2021-03-22 10:20 | 14.0007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 214.1 | μmol/L | 19.7145 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.109 | 144663.6912 | 304033.3981 | 59.9307 | 38.1
49300 | 2021-03-22 10:20 | 14.3338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 214.0452 | μmol/L | 19.7145 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.112 | 144675.2234 | 304015.7209 | 59.9307 | 38.1
49310 | 2021-03-22 10:20 | 14.6676 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 214.0087 | μmol/L | 19.7145 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.114 | 144681.2691 | 304025.7809 | 59.9307 | 38.1
49320 | 2021-03-22 10:21 | 15.0004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 213.8992 | μmol/L | 19.7145 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.12 | 144702.7858 | 304013.1589 | 59.9307 | 38.1
49330 | 2021-03-22 10:21 | 15.3342 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 213.9376 | μmol/L | 19.7084 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.12 | 144721.9275 | 304017.9203 | 59.9307 | 38.1
49340 | 2021-03-22 10:21 | 15.6671 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 213.8665 | μmol/L | 19.7023 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.126 | 144748.5735 | 304008.7729 | 59.9307 | 38.1
49350 | 2021-03-22 10:22 | 16.0009 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 213.7552 | μmol/L | 19.7084 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.13 | 144763.7152 | 304005.2951 | 59.9307 | 38.1
49360 | 2021-03-22 10:22 | 16.3338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 213.7187 | μmol/L | 19.7084 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.132 | 144786.3648 | 303992.2243 | 59.9307 | 38.1
49370 | 2021-03-22 10:22 | 16.6675 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 213.6094 | μmol/L | 19.7084 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.138 | 144811.7197 | 303989.3161 | 59.9307 | 38.1
49380 | 2021-03-22 10:23 | 17.0002 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 213.6295 | μmol/L | 19.7023 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.139 | 144839.8294 | 304004.9488 | 59.9307 | 38.1
49390 | 2021-03-22 10:23 | 17.334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 213.4455 | μmol/L | 19.7084 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.147 | 144848.5441 | 303974.0384 | 59.9307 | 38.1
49400 | 2021-03-22 10:23 | 17.6677 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 213.5989 | μmol/L | 19.684 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.147 | 144876.0445 | 303989.4991 | 59.9307 | 38.1
49410 | 2021-03-22 10:24 | 18.0007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 213.504 | μmol/L | 19.6962 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.148 | 144890.4025 | 303978.714 | 59.9307 | 38.1
49420 | 2021-03-22 10:24 | 18.3343 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 213.413 | μmol/L | 19.6962 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.153 | 144900.8637 | 303972.4517 | 59.9307 | 38.1
49430 | 2021-03-22 10:24 | 18.6671 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 213.3402 | μmol/L | 19.6962 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.157 | 144923.7711 | 303976.2108 | 59.9307 | 38.1
49440 | 2021-03-22 10:25 | 19.0008 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 213.3259 | μmol/L | 19.684 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.162 | 144941.3028 | 303961.5274 | 59.9307 | 38.1
49450 | 2021-03-22 10:25 | 19.3338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 213.2331 | μmol/L | 19.6901 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.165 | 144966.7322 | 303973.1629 | 59.9307 | 38.1
49460 | 2021-03-22 10:25 | 19.6676 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 213.2915 | μmol/L | 19.6779 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.166 | 145005.3563 | 303969.4027 | 59.9307 | 38.1
49470 | 2021-03-22 10:26 | 20.0005 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 213.0917 | μmol/L | 19.6779 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.177 | 145032.9045 | 303948.0282 | 59.9307 | 38.1
49480 | 2021-03-22 10:26 | 20.3337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 213.0372 | μmol/L | 19.6779 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.18 | 145075.47 | 303964.1444 | 59.9307 | 38.1
49490 | 2021-03-22 10:26 | 20.6673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.9847 | μmol/L | 19.6718 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.185 | 145115.1224 | 303971.8952 | 59.9307 | 38.1
49500 | 2021-03-22 10:27 | 21.001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.8557 | μmol/L | 19.6779 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.19 | 145146.7664 | 303954.9533 | 59.9307 | 38.1
49510 | 2021-03-22 10:27 | 21.3339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.7489 | μmol/L | 19.6718 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.198 | 145184.608 | 303938.7895 | 59.9307 | 38.1
49520 | 2021-03-22 10:27 | 21.6677 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.6221 | μmol/L | 19.6718 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.205 | 145213.5306 | 303942.3484 | 59.9307 | 38.1
49530 | 2021-03-22 10:28 | 22.0006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.6221 | μmol/L | 19.6718 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.205 | 145240.6628 | 303936.7752 | 59.9307 | 38.1
49540 | 2021-03-22 10:28 | 22.3336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.6462 | μmol/L | 19.6534 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.21 | 145259.6377 | 303942.0165 | 59.9307 | 38.1
49550 | 2021-03-22 10:28 | 22.6673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.5537 | μmol/L | 19.6596 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.213 | 145266.2247 | 303909.3902 | 59.9307 | 38.1
49560 | 2021-03-22 10:29 | 23.0002 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.5375 | μmol/L | 19.6534 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.216 | 145286.9588 | 303924.1055 | 59.9307 | 38.1
49570 | 2021-03-22 10:29 | 23.3338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.5013 | μmol/L | 19.6534 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.218 | 145304.0593 | 303919.647 | 59.9307 | 38.1
49580 | 2021-03-22 10:29 | 23.6669 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.431 | μmol/L | 19.6473 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.224 | 145342.9409 | 303910.5802 | 59.9307 | 38.1
49590 | 2021-03-22 10:30 | 24.0007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.3586 | μmol/L | 19.6473 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.228 | 145364.0117 | 303902.1265 | 59.9307 | 38.1
49600 | 2021-03-22 10:30 | 24.3337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.3225 | μmol/L | 19.6473 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.23 | 145375.3808 | 303886.5119 | 59.9307 | 38.1
49610 | 2021-03-22 10:30 | 24.6676 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.2682 | μmol/L | 19.6473 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.233 | 145387.5436 | 303892.0917 | 59.9307 | 38.1
49620 | 2021-03-22 10:31 | 25.0008 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.2883 | μmol/L | 19.6412 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.234 | 145383.6834 | 303893.2792 | 59.9307 | 38.1
49630 | 2021-03-22 10:31 | 25.3338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.3044 | μmol/L | 19.6473 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.231 | 145385.9768 | 303892.6416 | 59.9307 | 38.1
49640 | 2021-03-22 10:31 | 25.6675 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.3265 | μmol/L | 19.6351 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.234 | 145391.6419 | 303883.0146 | 59.9307 | 38.1
49650 | 2021-03-22 10:32 | 26.0005 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.2341 | μmol/L | 19.6412 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.237 | 145413.5795 | 303868.7176 | 59.9307 | 38.1
49660 | 2021-03-22 10:32 | 26.3344 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.1659 | μmol/L | 19.629 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.245 | 145453.5824 | 303887.7913 | 59.9307 | 38.1
49670 | 2021-03-22 10:32 | 26.6672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.1137 | μmol/L | 19.6229 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.25 | 145494.0693 | 303870.024 | 59.9307 | 38.1
49680 | 2021-03-22 10:33 | 27.0009 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 211.9874 | μmol/L | 19.6229 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.257 | 145526.7239 | 303870.0711 | 59.9307 | 38.1
49690 | 2021-03-22 10:33 | 27.3339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 211.8792 | μmol/L | 19.6229 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.263 | 145545.9555 | 303859.1136 | 59.9307 | 38.1
49700 | 2021-03-22 10:33 | 27.6676 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 211.8051 | μmol/L | 19.629 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.265 | 145578.9261 | 303849.8377 | 59.9307 | 38.1
49710 | 2021-03-22 10:34 | 28.0007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 211.8051 | μmol/L | 19.629 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.265 | 145601.2048 | 303839.2944 | 59.9307 | 38.1
49720 | 2021-03-22 10:34 | 28.3336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 211.6589 | μmol/L | 19.6351 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.271 | 145621.5902 | 303851.4374 | 59.9307 | 38.1
49730 | 2021-03-22 10:34 | 28.6673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 211.6429 | μmol/L | 19.629 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.274 | 145636.2465 | 303842.5162 | 59.9307 | 38.1
49740 | 2021-03-22 10:35 | 29.0009 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 211.5329 | μmol/L | 19.6351 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.278 | 145646.6252 | 303836.3289 | 59.9307 | 38.1
49750 | 2021-03-22 10:35 | 29.334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 211.5169 | μmol/L | 19.629 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.281 | 145673.0343 | 303835.01 | 59.9307 | 38.1
49760 | 2021-03-22 10:35 | 29.6676 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 211.519 | μmol/L | 19.6229 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.283 | 145673.9538 | 303835.6643 | 59.9307 | 38.1
49770 | 2021-03-22 10:36 | 30.0005 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 211.391 | μmol/L | 19.629 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.288 | 145706.7583 | 303817.7375 | 59.9307 | 38.1
49780 | 2021-03-22 10:36 | 30.3341 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 211.391 | μmol/L | 19.629 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.288 | 145728.1671 | 303832.3412 | 59.9307 | 38.1
49790 | 2021-03-22 10:36 | 30.6677 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 211.2093 | μmol/L | 19.6351 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.296 | 145759.9108 | 303829.4243 | 59.9307 | 38.1
49800 | 2021-03-22 10:37 | 31.0006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 211.2113 | μmol/L | 19.629 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.298 | 145773.7284 | 303819.2098 | 59.9307 | 38.1
49810 | 2021-03-22 10:37 | 31.3343 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 211.1375 | μmol/L | 19.6351 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.3 | 145805.4536 | 303821.5483 | 59.9307 | 38.1
49820 | 2021-03-22 10:37 | 31.667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 210.9381 | μmol/L | 19.6412 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.309 | 145830.2132 | 303803.5334 | 59.9307 | 38.1
49830 | 2021-03-22 10:38 | 32.0007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 210.8464 | μmol/L | 19.6473 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.312 | 145856.5641 | 303807.2405 | 59.9307 | 38.1
49840 | 2021-03-22 10:38 | 32.3337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 210.7547 | μmol/L | 19.6534 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.315 | 145874.4635 | 303809.3927 | 59.9307 | 38.1
49850 | 2021-03-22 10:38 | 32.6671 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 210.7527 | μmol/L | 19.6596 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.313 | 145885.6128 | 303815.7956 | 59.9307 | 38.1
49860 | 2021-03-22 10:39 | 33.0008 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 210.5716 | μmol/L | 19.6657 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.321 | 145902.5346 | 303789.5135 | 59.9307 | 38.1
49870 | 2021-03-22 10:39 | 33.3338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 210.6233 | μmol/L | 19.6718 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.316 | 145901.2841 | 303801.0771 | 59.9307 | 38.1
49880 | 2021-03-22 10:39 | 33.6674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 210.6611 | μmol/L | 19.6657 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.316 | 145910.5235 | 303802.856 | 59.9307 | 38.1
49890 | 2021-03-22 10:40 | 34.001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 210.5517 | μmol/L | 19.6718 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.32 | 145926.9493 | 303798.3239 | 59.9307 | 38.1
49900 | 2021-03-22 10:40 | 34.3342 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 210.5159 | μmol/L | 19.6718 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.322 | 145933.1192 | 303806.5728 | 59.9307 | 38.1
49910 | 2021-03-22 10:40 | 34.667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 210.4244 | μmol/L | 19.6779 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.325 | 145951.2838 | 303805.3676 | 59.9307 | 38.1
49920 | 2021-03-22 10:41 | 35.0008 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 210.4065 | μmol/L | 19.6779 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.326 | 145974.9058 | 303821.5835 | 59.9307 | 38.1
49930 | 2021-03-22 10:41 | 35.3338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 210.4423 | μmol/L | 19.6779 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.324 | 145987.1773 | 303790.5597 | 59.9307 | 38.1
49940 | 2021-03-22 10:41 | 35.6675 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 210.2931 | μmol/L | 19.6962 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.326 | 145984.7966 | 303804.745 | 59.9307 | 38.1
49950 | 2021-03-22 10:42 | 36.0011 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 210.1839 | μmol/L | 19.7023 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.33 | 146009.3018 | 303803.1817 | 59.9307 | 38.1
49960 | 2021-03-22 10:42 | 36.3342 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 210.2038 | μmol/L | 19.6962 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.331 | 146016.2244 | 303811.6386 | 59.9307 | 38.1
49970 | 2021-03-22 10:42 | 36.6672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 210.0946 | μmol/L | 19.7023 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.335 | 146032.6622 | 303802.3175 | 59.9307 | 38.1
49980 | 2021-03-22 10:43 | 37.0009 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 210.1125 | μmol/L | 19.7023 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.334 | 146060.8314 | 303813.6824 | 59.9307 | 38.1
49990 | 2021-03-22 10:43 | 37.3339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 209.9656 | μmol/L | 19.7145 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.338 | 146072.6797 | 303810.4951 | 59.9307 | 38.1
50000 | 2021-03-22 10:43 | 37.6677 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 209.9279 | μmol/L | 19.7206 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.338 | 146086.9723 | 303820.3451 | 59.9307 | 38.1
50010 | 2021-03-22 10:44 | 38.0006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 209.801 | μmol/L | 19.7267 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.343 | 146101.004 | 303819.4195 | 59.9307 | 38.1
50020 | 2021-03-22 10:44 | 38.3343 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 209.7654 | μmol/L | 19.7267 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.345 | 146119.2027 | 303815.2953 | 59.9307 | 38.1
50030 | 2021-03-22 10:44 | 38.6672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 209.801 | μmol/L | 19.7267 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.343 | 146127.747 | 303808.1994 | 59.9307 | 38.1
50040 | 2021-03-22 10:45 | 39.0009 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 209.7435 | μmol/L | 19.739 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.342 | 146124.8336 | 303810.8575 | 59.9307 | 38.1
50050 | 2021-03-22 10:45 | 39.3339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 209.7812 | μmol/L | 19.7329 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.342 | 146129.0199 | 303821.0638 | 59.9307 | 38.1
50060 | 2021-03-22 10:45 | 39.6677 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 209.599 | μmol/L | 19.7451 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.348 | 146150.938 | 303806.7952 | 59.9307 | 38.1
50070 | 2021-03-22 10:46 | 40.0008 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 209.5456 | μmol/L | 19.7451 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.351 | 146185.5116 | 303804.6542 | 59.9307 | 38.1
50080 | 2021-03-22 10:46 | 40.3344 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 209.4368 | μmol/L | 19.7512 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.355 | 146195.7424 | 303818.2058 | 59.9307 | 38.1
50090 | 2021-03-22 10:46 | 40.6672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 209.419 | μmol/L | 19.7512 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.356 | 146208.2347 | 303810.9826 | 59.9307 | 38.1
50100 | 2021-03-22 10:47 | 41.001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 209.3814 | μmol/L | 19.7573 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.356 | 146220.2378 | 303800.9028 | 59.9307 | 38.1
50110 | 2021-03-22 10:47 | 41.334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 209.3082 | μmol/L | 19.7634 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.358 | 146234.3553 | 303800.8129 | 59.9307 | 38.1
50120 | 2021-03-22 10:47 | 41.6677 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 209.2747 | μmol/L | 19.7573 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.362 | 146249.3048 | 303819.8791 | 59.9307 | 38.1
50130 | 2021-03-22 10:48 | 42.0007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 209.328 | μmol/L | 19.7573 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.359 | 146253.6154 | 303820.5999 | 59.9307 | 38.1
50140 | 2021-03-22 10:48 | 42.3338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 209.3102 | μmol/L | 19.7573 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.36 | 146271.7675 | 303821.6235 | 59.9307 | 38.1
50150 | 2021-03-22 10:48 | 42.6675 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 209.164 | μmol/L | 19.7695 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.364 | 146288.4129 | 303807.7547 | 59.9307 | 38.1
50160 | 2021-03-22 10:49 | 43.0005 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 209.0732 | μmol/L | 19.7756 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.367 | 146291.7912 | 303810.7079 | 59.9307 | 38.1
50170 | 2021-03-22 10:49 | 43.3343 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 209.0199 | μmol/L | 19.7756 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.37 | 146305.4789 | 303802.213 | 59.9307 | 38.1
50180 | 2021-03-22 10:49 | 43.6672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 209.0377 | μmol/L | 19.7756 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.369 | 146332.0687 | 303811.7277 | 59.9307 | 38.1
50190 | 2021-03-22 10:50 | 44.0008 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 208.9469 | μmol/L | 19.7817 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.372 | 146345.0279 | 303813.6113 | 59.9307 | 38.1
50200 | 2021-03-22 10:50 | 44.3337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 208.8759 | μmol/L | 19.7817 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.376 | 146351.4824 | 303814.294 | 59.9307 | 38.1
50210 | 2021-03-22 10:50 | 44.6675 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 208.9489 | μmol/L | 19.7756 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.374 | 146363.2688 | 303812.2266 | 59.9307 | 38.1
50220 | 2021-03-22 10:51 | 45.0003 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 208.9134 | μmol/L | 19.7756 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.376 | 146386.6659 | 303813.1317 | 59.9307 | 38.1
50230 | 2021-03-22 10:51 | 45.3341 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 208.8957 | μmol/L | 19.7756 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.377 | 146395.7307 | 303813.5986 | 59.9307 | 38.1
50240 | 2021-03-22 10:51 | 45.6677 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 208.8445 | μmol/L | 19.7695 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.382 | 146403.1826 | 303808.1677 | 59.9307 | 38.1
50250 | 2021-03-22 10:52 | 46.0005 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 208.7518 | μmol/L | 19.7817 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.383 | 146428.3657 | 303819.0731 | 59.9307 | 38.1
50260 | 2021-03-22 10:52 | 46.3342 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 208.7361 | μmol/L | 19.7756 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.386 | 146438.2999 | 303803.8165 | 59.9307 | 38.1
50270 | 2021-03-22 10:52 | 46.667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 208.6809 | μmol/L | 19.7817 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.387 | 146460.6791 | 303818.7336 | 59.9307 | 38.1
50280 | 2021-03-22 10:53 | 47.0007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 208.6632 | μmol/L | 19.7817 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.388 | 146463.3477 | 303819.628 | 59.9307 | 38.1
50290 | 2021-03-22 10:53 | 47.3336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 208.6672 | μmol/L | 19.7695 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.392 | 146485.3016 | 303809.3205 | 59.9307 | 38.1
50300 | 2021-03-22 10:53 | 47.6674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 208.5392 | μmol/L | 19.7817 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.395 | 146508.532 | 303822.1388 | 59.9307 | 38.1
50310 | 2021-03-22 10:54 | 48.0003 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 208.3738 | μmol/L | 19.8 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.398 | 146528.2694 | 303810.9145 | 59.9307 | 38.1
50320 | 2021-03-22 10:54 | 48.334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 208.3956 | μmol/L | 19.7878 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.401 | 146556.2766 | 303805.4444 | 59.9307 | 38.1
50330 | 2021-03-22 10:54 | 48.6676 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 208.2677 | μmol/L | 19.8 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.404 | 146580.1239 | 303824.3728 | 59.9307 | 38.1
50340 | 2021-03-22 10:55 | 49.0004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 208.3071 | μmol/L | 19.7878 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.406 | 146583.6819 | 303820.8422 | 59.9307 | 38.1
50350 | 2021-03-22 10:55 | 49.3344 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 208.3405 | μmol/L | 19.7939 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.402 | 146591.2861 | 303800.9579 | 59.9307 | 38.1
50360 | 2021-03-22 10:55 | 49.6671 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 208.2541 | μmol/L | 19.7878 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.409 | 146600.8861 | 303797.1137 | 59.9307 | 38.1
50370 | 2021-03-22 10:56 | 50.0009 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 208.2167 | μmol/L | 19.7939 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.409 | 146619.1581 | 303789.8899 | 59.9307 | 38.1
50380 | 2021-03-22 10:56 | 50.3341 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 208.1617 | μmol/L | 19.8 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.41 | 146635.956 | 303789.4328 | 59.9307 | 38.1
50390 | 2021-03-22 10:56 | 50.6671 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 208.091 | μmol/L | 19.8 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.414 | 146640.6428 | 303787.007 | 59.9307 | 38.1
50400 | 2021-03-22 10:57 | 51.0008 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 208.0754 | μmol/L | 19.7939 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.417 | 146661.9416 | 303779.478 | 59.9307 | 38.1
50410 | 2021-03-22 10:57 | 51.3337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 207.9851 | μmol/L | 19.8 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.42 | 146678.2246 | 303772.5942 | 59.9307 | 38.1
50420 | 2021-03-22 10:57 | 51.6676 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 207.9498 | μmol/L | 19.8 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.422 | 146692.6992 | 303764.527 | 59.9307 | 38.1
50430 | 2021-03-22 10:58 | 52.0004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 207.9145 | μmol/L | 19.8 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.424 | 146715.0055 | 303774.9447 | 59.9307 | 38.1
50440 | 2021-03-22 10:58 | 52.3341 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 207.9498 | μmol/L | 19.8 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.422 | 146727.36 | 303774.041 | 59.9307 | 38.1
50450 | 2021-03-22 10:58 | 52.6671 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 207.846 | μmol/L | 19.7939 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.43 | 146742.5315 | 303761.9284 | 59.9307 | 38.1
50460 | 2021-03-22 10:59 | 53.0009 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 207.8636 | μmol/L | 19.7939 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.429 | 146757.5178 | 303768.8718 | 59.9307 | 38.1
50470 | 2021-03-22 10:59 | 53.3337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 207.7931 | μmol/L | 19.7939 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.433 | 146760.8026 | 303743.606 | 59.9307 | 38.1
50480 | 2021-03-22 10:59 | 53.6674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 207.7775 | μmol/L | 19.7878 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.436 | 146789.8093 | 303744.8086 | 59.9307 | 38.1
50490 | 2021-03-22 11:00 | 54.0004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 207.7795 | μmol/L | 19.7817 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.438 | 146810.0517 | 303756.148 | 59.9307 | 38.1
50500 | 2021-03-22 11:00 | 54.3341 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 207.709 | μmol/L | 19.7817 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.442 | 146822.0825 | 303754.9129 | 59.9307 | 38.1
50510 | 2021-03-22 11:00 | 54.6671 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 207.6541 | μmol/L | 19.7878 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.443 | 146829.3876 | 303750.2544 | 59.9307 | 38.1
50520 | 2021-03-22 11:01 | 55.0003 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 207.6914 | μmol/L | 19.7817 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.443 | 146847.0485 | 303748.7348 | 59.9307 | 38.1
50530 | 2021-03-22 11:01 | 55.3337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 207.6582 | μmol/L | 19.7756 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.447 | 146859.235 | 303748.8168 | 59.9307 | 38.1
50540 | 2021-03-22 11:01 | 55.6673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 207.5309 | μmol/L | 19.7878 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.45 | 146875.0204 | 303753.3821 | 59.9307 | 38.1
50550 | 2021-03-22 11:02 | 56.0003 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 207.5505 | μmol/L | 19.7817 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.451 | 146887.6881 | 303746.5519 | 59.9307 | 38.1
50560 | 2021-03-22 11:02 | 56.334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 207.4977 | μmol/L | 19.7817 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.454 | 146913.5143 | 303760.1914 | 59.9307 | 38.1
50570 | 2021-03-22 11:02 | 56.667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 207.4253 | μmol/L | 19.7878 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.456 | 146936.5892 | 303746.9462 | 59.9307 | 38.1
50580 | 2021-03-22 11:03 | 57.0009 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 207.3725 | μmol/L | 19.7878 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.459 | 146948.5852 | 303749.6164 | 59.9307 | 38.1
50590 | 2021-03-22 11:03 | 57.3337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 207.357 | μmol/L | 19.7817 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.462 | 146963.2533 | 303748.0011 | 59.9307 | 38.1
50600 | 2021-03-22 11:03 | 57.6674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 207.267 | μmol/L | 19.7878 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.465 | 146978.9566 | 303741.9823 | 59.9307 | 38.1
50610 | 2021-03-22 11:04 | 58.0004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 207.2495 | μmol/L | 19.7878 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.466 | 146987.4838 | 303724.9469 | 59.9307 | 38.1
50620 | 2021-03-22 11:04 | 58.334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 207.2164 | μmol/L | 19.7817 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.47 | 146999.5953 | 303730.9058 | 59.9307 | 38.1
50630 | 2021-03-22 11:04 | 58.6677 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 207.1265 | μmol/L | 19.7878 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.473 | 147020.45 | 303721.6079 | 59.9307 | 38.1
50640 | 2021-03-22 11:05 | 59.0007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 207.1306 | μmol/L | 19.7756 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.477 | 147045.3226 | 303731.5526 | 59.9307 | 38.1
50650 | 2021-03-22 11:05 | 59.3344 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 207.1327 | μmol/L | 19.7695 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.479 | 147074.0064 | 303719.3162 | 59.9307 | 38.1
50660 | 2021-03-22 11:05 | 59.6672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 207.0077 | μmol/L | 19.7756 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.484 | 147091.5259 | 303708.0156 | 59.9307 | 38.1
50670 | 2021-03-22 11:06 | 60.0011 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 207.0624 | μmol/L | 19.7695 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.483 | 147087.1407 | 303709.461 | 59.9307 | 38.1
50680 | 2021-03-22 11:06 | 60.334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 206.9551 | μmol/L | 19.7756 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.487 | 147099.2798 | 303703.5471 | 59.9307 | 38.1
50690 | 2021-03-22 11:06 | 60.6677 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 206.92 | μmol/L | 19.7756 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.489 | 147099.4976 | 303691.7513 | 59.9307 | 38.1
50700 | 2021-03-22 11:07 | 61.0005 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 206.8829 | μmol/L | 19.7817 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.489 | 147120.9346 | 303684.9312 | 59.9307 | 38.1
50710 | 2021-03-22 11:07 | 61.3343 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 206.8695 | μmol/L | 19.7695 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.494 | 147145.6021 | 303681.7726 | 59.9307 | 38.1
50720 | 2021-03-22 11:07 | 61.6671 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 206.7993 | μmol/L | 19.7695 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.498 | 147166.0555 | 303677.2012 | 59.9307 | 38.1
50730 | 2021-03-22 11:08 | 62.0007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 206.7313 | μmol/L | 19.7634 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.504 | 147209.4251 | 303676.678 | 59.9307 | 38.1
50740 | 2021-03-22 11:08 | 62.3342 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 206.6087 | μmol/L | 19.7634 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.511 | 147233.1676 | 303664.2886 | 59.9307 | 38.1
50750 | 2021-03-22 11:08 | 62.6672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 206.5016 | μmol/L | 19.7695 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.515 | 147245.6799 | 303667.0082 | 59.9307 | 38.1
50760 | 2021-03-22 11:09 | 63.0008 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 206.5933 | μmol/L | 19.7573 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.514 | 147251.7584 | 303649.4537 | 59.9307 | 38.1
50770 | 2021-03-22 11:09 | 63.3338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 206.4533 | μmol/L | 19.7573 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.522 | 147289.4759 | 303655.3295 | 59.9307 | 38.1
50780 | 2021-03-22 11:09 | 63.6677 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 206.3484 | μmol/L | 19.7573 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.528 | 147341.2179 | 303679.4431 | 59.9307 | 38.1
50790 | 2021-03-22 11:10 | 64.0007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 206.3728 | μmol/L | 19.7512 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.529 | 147354.6914 | 303658.9415 | 59.9307 | 38.1
50800 | 2021-03-22 11:10 | 64.334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 206.3008 | μmol/L | 19.7573 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.531 | 147363.1315 | 303638.2071 | 59.9307 | 38.1
50810 | 2021-03-22 11:10 | 64.6677 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 206.3156 | μmol/L | 19.7512 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.532 | 147364.2384 | 303642.0331 | 59.9307 | 38.1
50820 | 2021-03-22 11:11 | 65.0008 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 206.2505 | μmol/L | 19.7512 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.536 | 147378.155 | 303639.7779 | 59.9307 | 38.1
50830 | 2021-03-22 11:11 | 65.3338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 206.2652 | μmol/L | 19.7451 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.537 | 147391.6532 | 303630.79 | 59.9307 | 38.1
50840 | 2021-03-22 11:11 | 65.6676 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 206.2324 | μmol/L | 19.739 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.541 | 147412.0075 | 303633.7682 | 59.9307 | 38.1
50850 | 2021-03-22 11:12 | 66.0006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 206.1849 | μmol/L | 19.739 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.544 | 147417.2052 | 303636.4036 | 59.9307 | 38.1
50860 | 2021-03-22 11:12 | 66.3343 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 206.1499 | μmol/L | 19.739 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.546 | 147443.8388 | 303643.5874 | 59.9307 | 38.1
50870 | 2021-03-22 11:12 | 66.6672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 206.0822 | μmol/L | 19.7329 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.552 | 147472.9717 | 303640.5089 | 59.9307 | 38.1
50880 | 2021-03-22 11:13 | 67.0008 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 206.1171 | μmol/L | 19.7329 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.55 | 147471.4649 | 303618.8371 | 59.9307 | 38.1
50890 | 2021-03-22 11:13 | 67.3336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 205.9881 | μmol/L | 19.739 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.555 | 147483.8971 | 303619.2376 | 59.9307 | 38.1
50900 | 2021-03-22 11:13 | 67.6674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 206.0299 | μmol/L | 19.7329 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.555 | 147493.1974 | 303616.653 | 59.9307 | 38.1