## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-22 11:15

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
48873 | 2021-03-22 10:06 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.7737 | μmol/L | 19.6982 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.903 | 112217.6172 | 302121.8607 | 28.7 | 67.6
48883 | 2021-03-22 10:06 | 0.33444 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.7754 | μmol/L | 19.6922 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.905 | 112218.5291 | 302148.5491 | 28.7 | 67.6
48893 | 2021-03-22 10:07 | 0.66803 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.852 | μmol/L | 19.6861 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.903 | 112212.6736 | 302164.2217 | 28.7 | 67.6
48903 | 2021-03-22 10:07 | 1.0008 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.8163 | μmol/L | 19.68 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.907 | 112209.0875 | 302140.3647 | 28.7 | 67.6
48913 | 2021-03-22 10:07 | 1.3345 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.8759 | μmol/L | 19.6678 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.908 | 112209.5528 | 302147.712 | 28.7 | 67.6
48923 | 2021-03-22 10:08 | 1.6683 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.7226 | μmol/L | 19.68 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.912 | 112206.5149 | 302136.5552 | 28.7 | 67.6
48933 | 2021-03-22 10:08 | 2.0014 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.7039 | μmol/L | 19.68 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.913 | 112204.2619 | 302141.738 | 28.7 | 67.6
48943 | 2021-03-22 10:08 | 2.3343 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.6274 | μmol/L | 19.6861 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.915 | 112203.4225 | 302116.3732 | 28.7 | 67.6
48953 | 2021-03-22 10:09 | 2.6682 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.573 | μmol/L | 19.68 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.92 | 112209.6393 | 302126.2203 | 28.7 | 67.6
48963 | 2021-03-22 10:09 | 3.0009 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.6921 | μmol/L | 19.6557 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.922 | 112220.9146 | 302125.4464 | 28.7 | 67.6
48973 | 2021-03-22 10:09 | 3.3346 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.556 | μmol/L | 19.6739 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.923 | 112224.7125 | 302121.0589 | 28.7 | 67.6
48983 | 2021-03-22 10:10 | 3.6677 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.5577 | μmol/L | 19.6678 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.925 | 112234.4515 | 302114.8062 | 28.7 | 67.6
48993 | 2021-03-22 10:10 | 4.0011 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.5203 | μmol/L | 19.6678 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.927 | 112239.9107 | 302102.2376 | 28.7 | 67.6
49003 | 2021-03-22 10:10 | 4.3347 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.4846 | μmol/L | 19.6617 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.931 | 112246.701 | 302107.4205 | 28.7 | 67.6
49013 | 2021-03-22 10:11 | 4.668 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.5067 | μmol/L | 19.6496 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.934 | 112241.3737 | 302102.2884 | 28.7 | 67.6
49023 | 2021-03-22 10:11 | 5.0016 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.4694 | μmol/L | 19.6496 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.936 | 112266.084 | 302101.5601 | 28.7 | 67.6
49033 | 2021-03-22 10:11 | 5.3346 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.3351 | μmol/L | 19.6617 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.939 | 112266.17 | 302092.6325 | 28.7 | 67.6
49043 | 2021-03-22 10:12 | 5.6676 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.2774 | μmol/L | 19.6678 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.94 | 112280.135 | 302075.0424 | 28.7 | 67.6
49053 | 2021-03-22 10:12 | 6.0011 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.415 | μmol/L | 19.6435 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.941 | 112289.2747 | 302073.7225 | 28.7 | 67.6
49063 | 2021-03-22 10:12 | 6.3345 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.3998 | μmol/L | 19.6313 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.946 | 112302.5388 | 302076.9885 | 28.7 | 67.6
49073 | 2021-03-22 10:13 | 6.6677 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.422 | μmol/L | 19.6191 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.949 | 112325.7752 | 302068.816 | 28.7 | 67.6
49083 | 2021-03-22 10:13 | 7.0013 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.2691 | μmol/L | 19.6313 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.953 | 112330.4581 | 302060.4254 | 28.7 | 67.6
49093 | 2021-03-22 10:13 | 7.3342 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.1945 | μmol/L | 19.6313 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.957 | 112343.961 | 302048.7667 | 28.7 | 67.6
49103 | 2021-03-22 10:14 | 7.6679 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.1368 | μmol/L | 19.6374 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.958 | 112355.8117 | 302050.3388 | 28.7 | 67.6
49113 | 2021-03-22 10:14 | 8.0016 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.1047 | μmol/L | 19.6191 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.966 | 112359.9814 | 302035.6042 | 28.7 | 67.6
49123 | 2021-03-22 10:14 | 8.3343 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.0861 | μmol/L | 19.6191 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.967 | 112378.739 | 302038.8757 | 28.7 | 67.6
49133 | 2021-03-22 10:15 | 8.6683 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 217.9929 | μmol/L | 19.6191 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.972 | 112386.6262 | 302023.3567 | 28.7 | 67.6
49143 | 2021-03-22 10:15 | 9.0012 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 217.9538 | μmol/L | 19.6252 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.972 | 112393.5872 | 302014.5113 | 28.7 | 67.6
49153 | 2021-03-22 10:15 | 9.3348 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.0133 | μmol/L | 19.6131 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.973 | 112392.0599 | 301999.3522 | 28.7 | 67.6
49163 | 2021-03-22 10:16 | 9.6678 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 217.9591 | μmol/L | 19.607 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.978 | 112415.152 | 302009.2396 | 28.7 | 67.6
49173 | 2021-03-22 10:16 | 10.0016 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.0203 | μmol/L | 19.5887 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.981 | 112426.731 | 302007.5541 | 28.7 | 67.6
49183 | 2021-03-22 10:16 | 10.3343 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 217.8881 | μmol/L | 19.5948 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.986 | 112445.4773 | 301992.6635 | 28.7 | 67.6
49193 | 2021-03-22 10:17 | 10.6681 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 217.7765 | μmol/L | 19.5948 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.992 | 112452.8877 | 301988.1173 | 28.7 | 67.6
49203 | 2021-03-22 10:17 | 11.0011 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 217.7392 | μmol/L | 19.5948 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.994 | 112478.2627 | 301984.3831 | 28.7 | 67.6
49213 | 2021-03-22 10:17 | 11.3349 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 217.7224 | μmol/L | 19.5887 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.997 | 112494.4127 | 301983.4505 | 28.7 | 67.6
49223 | 2021-03-22 10:18 | 11.6677 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 217.7242 | μmol/L | 19.5826 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.999 | 112506.7751 | 301987.1952 | 28.7 | 67.6
49233 | 2021-03-22 10:18 | 12.0015 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 217.6294 | μmol/L | 19.5887 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.002 | 112508.096 | 301965.6833 | 28.7 | 67.6
49243 | 2021-03-22 10:18 | 12.3348 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 217.5736 | μmol/L | 19.5887 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.005 | 112523.7564 | 301952.5776 | 28.7 | 67.6
49253 | 2021-03-22 10:19 | 12.6683 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 217.4993 | μmol/L | 19.5887 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.009 | 112535.4658 | 301944.8864 | 28.7 | 67.6
49263 | 2021-03-22 10:19 | 13.0014 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 217.5772 | μmol/L | 19.5766 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.009 | 112551.3208 | 301947.3865 | 28.7 | 67.6
49273 | 2021-03-22 10:19 | 13.3342 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 217.4657 | μmol/L | 19.5766 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.015 | 112572.9784 | 301939.3621 | 28.7 | 67.6
49283 | 2021-03-22 10:20 | 13.668 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 217.295 | μmol/L | 19.5887 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.02 | 112581.619 | 301938.9295 | 28.7 | 67.6
49293 | 2021-03-22 10:20 | 14.0011 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 217.4915 | μmol/L | 19.5522 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.022 | 112598.5311 | 301917.4709 | 28.7 | 67.6
49303 | 2021-03-22 10:20 | 14.3342 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 217.4562 | μmol/L | 19.5461 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.026 | 112602.7221 | 301913.9729 | 28.7 | 67.6
49313 | 2021-03-22 10:21 | 14.6679 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 217.4358 | μmol/L | 19.5522 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.025 | 112612.7813 | 301906.2415 | 28.7 | 67.6
49323 | 2021-03-22 10:21 | 15.0016 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 217.3022 | μmol/L | 19.5644 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.028 | 112614.1415 | 301911.5539 | 28.7 | 67.6
49333 | 2021-03-22 10:21 | 15.3347 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 217.2837 | μmol/L | 19.5644 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.029 | 112616.6663 | 301904.9375 | 28.7 | 67.6
49343 | 2021-03-22 10:22 | 15.6675 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 217.2095 | μmol/L | 19.5644 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.033 | 112614.3586 | 301889.9475 | 28.7 | 67.6
49353 | 2021-03-22 10:22 | 16.0014 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 217.2298 | μmol/L | 19.5583 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.034 | 112625.749 | 301896.5392 | 28.7 | 67.6
49363 | 2021-03-22 10:22 | 16.335 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 217.0593 | μmol/L | 19.5705 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.039 | 112641.7329 | 301880.7382 | 28.7 | 67.6
49373 | 2021-03-22 10:23 | 16.6678 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 217.0779 | μmol/L | 19.5705 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.038 | 112643.6122 | 301876.6626 | 28.7 | 67.6
49383 | 2021-03-22 10:23 | 17.0015 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 217.1945 | μmol/L | 19.5522 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.038 | 112655.5061 | 301863.9859 | 28.7 | 67.6
49393 | 2021-03-22 10:23 | 17.3344 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 217.1593 | μmol/L | 19.5461 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.042 | 112669.0427 | 301869.2313 | 28.7 | 67.6
49403 | 2021-03-22 10:24 | 17.6679 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 217.0851 | μmol/L | 19.5461 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.046 | 112684.5439 | 301866.2846 | 28.7 | 67.6
49413 | 2021-03-22 10:24 | 18.0016 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 217.0481 | μmol/L | 19.5461 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.048 | 112693.6085 | 301869.7768 | 28.7 | 67.6
49423 | 2021-03-22 10:24 | 18.3345 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 216.9573 | μmol/L | 19.5401 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.055 | 112708.7656 | 301880.5978 | 28.7 | 67.6
49433 | 2021-03-22 10:25 | 18.6682 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 216.8999 | μmol/L | 19.5461 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.056 | 112717.6873 | 301861.7091 | 28.7 | 67.6
49443 | 2021-03-22 10:25 | 19.001 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 216.787 | μmol/L | 19.5522 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.06 | 112738.5729 | 301854.4154 | 28.7 | 67.6
49453 | 2021-03-22 10:25 | 19.3347 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 216.713 | μmol/L | 19.5522 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.064 | 112751.6946 | 301856.0429 | 28.7 | 67.6
49463 | 2021-03-22 10:26 | 19.6678 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 216.6945 | μmol/L | 19.5522 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.065 | 112761.3253 | 301853.4885 | 28.7 | 67.6
49473 | 2021-03-22 10:26 | 20.0015 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 216.7537 | μmol/L | 19.5401 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.066 | 112763.6655 | 301838.3638 | 28.7 | 67.6
49483 | 2021-03-22 10:26 | 20.3349 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 216.6206 | μmol/L | 19.5522 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.069 | 112779.0594 | 301836.9524 | 28.7 | 67.6
49493 | 2021-03-22 10:27 | 20.6676 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 216.5079 | μmol/L | 19.5583 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.073 | 112801.1668 | 301838.1297 | 28.7 | 67.6
49503 | 2021-03-22 10:27 | 21.0014 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 216.3989 | μmol/L | 19.5522 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.081 | 112826.1005 | 301834.432 | 28.7 | 67.6
49513 | 2021-03-22 10:27 | 21.3343 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 216.4229 | μmol/L | 19.534 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.086 | 112833.7484 | 301832.2868 | 28.7 | 67.6
49523 | 2021-03-22 10:28 | 21.668 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 216.4616 | μmol/L | 19.5279 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.086 | 112848.7315 | 301826.386 | 28.7 | 67.6
49533 | 2021-03-22 10:28 | 22.0008 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 216.4801 | μmol/L | 19.5279 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.085 | 112857.3727 | 301820.0513 | 28.7 | 67.6
49543 | 2021-03-22 10:28 | 22.3346 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 216.3859 | μmol/L | 19.534 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.088 | 112872.2926 | 301807.8326 | 28.7 | 67.6
49553 | 2021-03-22 10:29 | 22.6676 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 216.2199 | μmol/L | 19.534 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.097 | 112884.6142 | 301818.1961 | 28.7 | 67.6
49563 | 2021-03-22 10:29 | 23.0013 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 216.2015 | μmol/L | 19.534 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.098 | 112890.9672 | 301795.3445 | 28.7 | 67.6
49573 | 2021-03-22 10:29 | 23.3344 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 216.1849 | μmol/L | 19.5279 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.101 | 112913.2805 | 301799.074 | 28.7 | 67.6
49583 | 2021-03-22 10:30 | 23.6683 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 216.2052 | μmol/L | 19.5218 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.102 | 112922.2713 | 301805.3351 | 28.7 | 67.6
49593 | 2021-03-22 10:30 | 24.0011 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 216.0153 | μmol/L | 19.5401 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.106 | 112931.6957 | 301791.7111 | 28.7 | 67.6
49603 | 2021-03-22 10:30 | 24.335 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 215.9435 | μmol/L | 19.534 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.112 | 112953.6882 | 301773.0678 | 28.7 | 67.6
49613 | 2021-03-22 10:31 | 24.6683 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 215.7741 | μmol/L | 19.5461 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.117 | 112970.7101 | 301771.917 | 28.7 | 67.6
49623 | 2021-03-22 10:31 | 25.0012 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 215.7208 | μmol/L | 19.5401 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.122 | 112982.3762 | 301769.5077 | 28.7 | 67.6
49633 | 2021-03-22 10:31 | 25.3349 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 215.7594 | μmol/L | 19.534 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.122 | 113008.1655 | 301764.1581 | 28.7 | 67.6
49643 | 2021-03-22 10:32 | 25.6679 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 215.6675 | μmol/L | 19.534 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.127 | 113015.2046 | 301766.2151 | 28.7 | 67.6
49653 | 2021-03-22 10:32 | 26.001 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 215.5572 | μmol/L | 19.534 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.133 | 113033.8805 | 301748.8608 | 28.7 | 67.6
49663 | 2021-03-22 10:32 | 26.3349 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 215.48 | μmol/L | 19.5461 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.133 | 113054.5967 | 301751.0284 | 28.7 | 67.6
49673 | 2021-03-22 10:33 | 26.6677 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 215.4065 | μmol/L | 19.5461 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.137 | 113068.5545 | 301745.7115 | 28.7 | 67.6
49683 | 2021-03-22 10:33 | 27.0015 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 215.4268 | μmol/L | 19.5401 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.138 | 113078.2314 | 301740.6813 | 28.7 | 67.6
49693 | 2021-03-22 10:33 | 27.3345 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 215.3754 | μmol/L | 19.5279 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.145 | 113087.5231 | 301744.0016 | 28.7 | 67.6
49703 | 2021-03-22 10:34 | 27.6682 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 215.471 | μmol/L | 19.5157 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.144 | 113101.4556 | 301744.1389 | 28.7 | 67.6
49713 | 2021-03-22 10:34 | 28.0014 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 215.5482 | μmol/L | 19.5035 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.144 | 113108.676 | 301738.0895 | 28.7 | 67.6
49723 | 2021-03-22 10:34 | 28.3343 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 215.438 | μmol/L | 19.5035 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.15 | 113113.8578 | 301728.2043 | 28.7 | 67.6
49733 | 2021-03-22 10:35 | 28.6679 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 215.4729 | μmol/L | 19.5096 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.146 | 113114.8689 | 301720.5935 | 28.7 | 67.6
49743 | 2021-03-22 10:35 | 29.0016 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 215.438 | μmol/L | 19.5035 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.15 | 113129.8668 | 301737.74 | 28.7 | 67.6
49753 | 2021-03-22 10:35 | 29.3346 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 215.3811 | μmol/L | 19.5096 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.151 | 113131.9728 | 301717.0126 | 28.7 | 67.6
49763 | 2021-03-22 10:36 | 29.6682 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 215.3811 | μmol/L | 19.5096 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.151 | 113140.6372 | 301713.531 | 28.7 | 67.6
49773 | 2021-03-22 10:36 | 30.0009 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 215.3444 | μmol/L | 19.5096 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.153 | 113137.4549 | 301709.4263 | 28.7 | 67.6
49783 | 2021-03-22 10:36 | 30.3347 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 215.4362 | μmol/L | 19.5096 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.148 | 113144.1295 | 301716.3224 | 28.7 | 67.6
49793 | 2021-03-22 10:37 | 30.6676 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 215.192 | μmol/L | 19.5279 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.155 | 113155.0375 | 301698.555 | 28.7 | 67.6
49803 | 2021-03-22 10:37 | 31.0012 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 214.8674 | μmol/L | 19.5705 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.158 | 113173.3865 | 301707.7367 | 28.7 | 67.6
49813 | 2021-03-22 10:37 | 31.3348 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 214.7923 | μmol/L | 19.5766 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.16 | 113177.6896 | 301718.8253 | 28.7 | 67.6
49823 | 2021-03-22 10:38 | 31.6675 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 214.699 | μmol/L | 19.5826 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.163 | 113197.204 | 301711.8168 | 28.7 | 67.6
49833 | 2021-03-22 10:38 | 32.0011 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 214.6605 | μmol/L | 19.5887 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.163 | 113206.9262 | 301684.2521 | 28.7 | 67.6
49843 | 2021-03-22 10:38 | 32.3345 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 214.571 | μmol/L | 19.5826 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.17 | 113220.7631 | 301707.6986 | 28.7 | 67.6
49853 | 2021-03-22 10:39 | 32.6681 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 214.5728 | μmol/L | 19.5766 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.172 | 113253.0188 | 301688.2745 | 28.7 | 67.6
49863 | 2021-03-22 10:39 | 33.0009 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 214.3134 | μmol/L | 19.5887 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.182 | 113308.95 | 301710.6021 | 28.7 | 67.6
49873 | 2021-03-22 10:39 | 33.3348 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 214.224 | μmol/L | 19.5826 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.189 | 113323.8975 | 301699.0443 | 28.7 | 67.6
49883 | 2021-03-22 10:40 | 33.668 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 214.1693 | μmol/L | 19.5826 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.192 | 113341.3742 | 301704.7824 | 28.7 | 67.6
49893 | 2021-03-22 10:40 | 34.0012 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 214.1529 | μmol/L | 19.5766 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.195 | 113359.8655 | 301706.1865 | 28.7 | 67.6
49903 | 2021-03-22 10:40 | 34.3349 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 214.1378 | μmol/L | 19.5826 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.194 | 113372.8115 | 301688.6645 | 28.7 | 67.6
49913 | 2021-03-22 10:41 | 34.6677 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.9832 | μmol/L | 19.5948 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.198 | 113380.3278 | 301681.1808 | 28.7 | 67.6
49923 | 2021-03-22 10:41 | 35.0013 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.9795 | μmol/L | 19.607 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.194 | 113383.7907 | 301681.7958 | 28.7 | 67.6
49933 | 2021-03-22 10:41 | 35.3343 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.857 | μmol/L | 19.607 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.201 | 113401.784 | 301677.494 | 28.7 | 67.6
49943 | 2021-03-22 10:42 | 35.668 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.9336 | μmol/L | 19.5948 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.201 | 113415.2939 | 301691.4283 | 28.7 | 67.6
49953 | 2021-03-22 10:42 | 36.0016 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.8759 | μmol/L | 19.5887 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.206 | 113428.2681 | 301687.1496 | 28.7 | 67.6
49963 | 2021-03-22 10:42 | 36.3346 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.8243 | μmol/L | 19.5948 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.207 | 113437.9069 | 301697.4241 | 28.7 | 67.6
49973 | 2021-03-22 10:43 | 36.6682 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.8243 | μmol/L | 19.5948 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.207 | 113460.2673 | 301704.0846 | 28.7 | 67.6
49983 | 2021-03-22 10:43 | 37.0013 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.6731 | μmol/L | 19.6131 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.209 | 113458.2805 | 301696.2751 | 28.7 | 67.6
49993 | 2021-03-22 10:43 | 37.3348 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.5439 | μmol/L | 19.6191 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.214 | 113483.8301 | 301698.0795 | 28.7 | 67.6
50003 | 2021-03-22 10:44 | 37.6678 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.5076 | μmol/L | 19.6191 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.216 | 113493.4976 | 301706.8092 | 28.7 | 67.6
50013 | 2021-03-22 10:44 | 38.0016 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.4857 | μmol/L | 19.6313 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.213 | 113494.8676 | 301700.6978 | 28.7 | 67.6
50023 | 2021-03-22 10:44 | 38.3346 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.4474 | μmol/L | 19.6374 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.213 | 113500.8253 | 301705.7355 | 28.7 | 67.6
50033 | 2021-03-22 10:45 | 38.6677 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.3166 | μmol/L | 19.6496 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.216 | 113496.9437 | 301698.3751 | 28.7 | 67.6
50043 | 2021-03-22 10:45 | 39.0015 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.2077 | μmol/L | 19.6496 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.222 | 113505.134 | 301699.7032 | 28.7 | 67.6
50053 | 2021-03-22 10:45 | 39.3344 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.1876 | μmol/L | 19.6557 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.221 | 113528.2422 | 301701.1684 | 28.7 | 67.6
50063 | 2021-03-22 10:46 | 39.6676 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.1876 | μmol/L | 19.6557 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.221 | 113531.4432 | 301702.1423 | 28.7 | 67.6
50073 | 2021-03-22 10:46 | 40.0011 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.1132 | μmol/L | 19.6617 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.223 | 113545.0665 | 301692.1541 | 28.7 | 67.6
50083 | 2021-03-22 10:46 | 40.3347 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.0388 | μmol/L | 19.6678 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.225 | 113545.2964 | 301690.4852 | 28.7 | 67.6
50093 | 2021-03-22 10:47 | 40.6675 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.0025 | μmol/L | 19.6678 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.227 | 113563.1948 | 301695.4312 | 28.7 | 67.6
50103 | 2021-03-22 10:47 | 41.0015 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.93 | μmol/L | 19.6678 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.231 | 113575.4074 | 301705.0181 | 28.7 | 67.6
50113 | 2021-03-22 10:47 | 41.3343 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.872 | μmol/L | 19.68 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.23 | 113583.2298 | 301692.9563 | 28.7 | 67.6
50123 | 2021-03-22 10:48 | 41.6679 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.8339 | μmol/L | 19.6861 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.23 | 113594.5835 | 301699.1006 | 28.7 | 67.6
50133 | 2021-03-22 10:48 | 42.0009 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.7034 | μmol/L | 19.6982 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.233 | 113592.0655 | 301682.4851 | 28.7 | 67.6
50143 | 2021-03-22 10:48 | 42.3345 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.651 | μmol/L | 19.6922 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.238 | 113614.2666 | 301707.0529 | 28.7 | 67.6
50153 | 2021-03-22 10:49 | 42.6676 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.593 | μmol/L | 19.7043 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.237 | 113632.5199 | 301709.0382 | 28.7 | 67.6
50163 | 2021-03-22 10:49 | 43.0015 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.5749 | μmol/L | 19.7043 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.238 | 113635.8164 | 301706.3254 | 28.7 | 67.6
50173 | 2021-03-22 10:49 | 43.3345 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.6129 | μmol/L | 19.6982 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.238 | 113641.6889 | 301692.4312 | 28.7 | 67.6
50183 | 2021-03-22 10:50 | 43.6682 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.5188 | μmol/L | 19.7104 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.239 | 113643.5373 | 301699.3977 | 28.7 | 67.6
50193 | 2021-03-22 10:50 | 44.0011 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.3885 | μmol/L | 19.7226 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.242 | 113660.5087 | 301682.7031 | 28.7 | 67.6
50203 | 2021-03-22 10:50 | 44.3349 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.3542 | μmol/L | 19.7165 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.246 | 113666.612 | 301681.4417 | 28.7 | 67.6
50213 | 2021-03-22 10:51 | 44.6678 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.282 | μmol/L | 19.7165 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.25 | 113668.9649 | 301698.9991 | 28.7 | 67.6
50223 | 2021-03-22 10:51 | 45.0015 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.3038 | μmol/L | 19.7043 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.253 | 113676.1676 | 301696.5511 | 28.7 | 67.6
50233 | 2021-03-22 10:51 | 45.3345 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.2297 | μmol/L | 19.7104 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.255 | 113679.2939 | 301701.8009 | 28.7 | 67.6
50243 | 2021-03-22 10:52 | 45.6682 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.3057 | μmol/L | 19.6982 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.255 | 113686.2055 | 301698.1463 | 28.7 | 67.6
50253 | 2021-03-22 10:52 | 46.0009 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.2477 | μmol/L | 19.7104 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.254 | 113695.5975 | 301701.8297 | 28.7 | 67.6
50263 | 2021-03-22 10:52 | 46.3346 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.1575 | μmol/L | 19.7104 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.259 | 113690.9671 | 301696.0202 | 28.7 | 67.6
50273 | 2021-03-22 10:53 | 46.6678 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.1214 | μmol/L | 19.7104 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.261 | 113699.0446 | 301692.0416 | 28.7 | 67.6
50283 | 2021-03-22 10:53 | 47.0016 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.0673 | μmol/L | 19.7104 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.264 | 113706.7775 | 301693.4981 | 28.7 | 67.6
50293 | 2021-03-22 10:53 | 47.3344 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.0872 | μmol/L | 19.7043 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.265 | 113720.0126 | 301690.7967 | 28.7 | 67.6
50303 | 2021-03-22 10:54 | 47.6681 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.0312 | μmol/L | 19.7104 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.266 | 113720.4827 | 301688.4959 | 28.7 | 67.6
50313 | 2021-03-22 10:54 | 48.001 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.0151 | μmol/L | 19.7043 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.269 | 113732.8025 | 301678.6104 | 28.7 | 67.6
50323 | 2021-03-22 10:54 | 48.3347 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.0132 | μmol/L | 19.7104 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.267 | 113740.9349 | 301693.6599 | 28.7 | 67.6
50333 | 2021-03-22 10:55 | 48.6683 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.9411 | μmol/L | 19.7104 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.271 | 113744.3673 | 301683.8073 | 28.7 | 67.6
50343 | 2021-03-22 10:55 | 49.0011 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.887 | μmol/L | 19.7104 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.274 | 113747.5167 | 301698.8462 | 28.7 | 67.6
50353 | 2021-03-22 10:55 | 49.3346 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.7013 | μmol/L | 19.7287 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.278 | 113758.9681 | 301694.2473 | 28.7 | 67.6
50363 | 2021-03-22 10:56 | 49.6682 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.7411 | μmol/L | 19.7165 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.28 | 113767.5927 | 301697.3436 | 28.7 | 67.6
50373 | 2021-03-22 10:56 | 50.0013 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.6653 | μmol/L | 19.7287 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.28 | 113777.0451 | 301696.7022 | 28.7 | 67.6
50383 | 2021-03-22 10:56 | 50.3344 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.6492 | μmol/L | 19.7226 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.283 | 113766.3668 | 301691.2764 | 28.7 | 67.6
50393 | 2021-03-22 10:57 | 50.6682 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.7411 | μmol/L | 19.7165 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.28 | 113776.1843 | 301676.3905 | 28.7 | 67.6
50403 | 2021-03-22 10:57 | 51.001 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.6709 | μmol/L | 19.7104 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.286 | 113777.9612 | 301681.2031 | 28.7 | 67.6
50413 | 2021-03-22 10:57 | 51.3347 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.617 | μmol/L | 19.7104 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.289 | 113795.609 | 301667.5996 | 28.7 | 67.6
50423 | 2021-03-22 10:58 | 51.6676 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.6946 | μmol/L | 19.6922 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.291 | 113792.8262 | 301663.4409 | 28.7 | 67.6
50433 | 2021-03-22 10:58 | 52.0015 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.6028 | μmol/L | 19.6982 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.294 | 113806.7882 | 301671.0068 | 28.7 | 67.6
50443 | 2021-03-22 10:58 | 52.3342 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.5649 | μmol/L | 19.7043 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.294 | 113810.4203 | 301673.4579 | 28.7 | 67.6
50453 | 2021-03-22 10:59 | 52.668 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.405 | μmol/L | 19.6982 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.305 | 113837.4445 | 301660.3304 | 28.7 | 67.6
50463 | 2021-03-22 10:59 | 53.0009 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.423 | μmol/L | 19.6982 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.304 | 113861.39 | 301651.2384 | 28.7 | 67.6
50473 | 2021-03-22 10:59 | 53.3346 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.3332 | μmol/L | 19.6982 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.309 | 113879.4995 | 301665.2486 | 28.7 | 67.6
50483 | 2021-03-22 11:00 | 53.6677 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.4088 | μmol/L | 19.6861 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.309 | 113892.1388 | 301650.3013 | 28.7 | 67.6
50493 | 2021-03-22 11:00 | 54.0013 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.2472 | μmol/L | 19.6861 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.318 | 113904.693 | 301672.2538 | 28.7 | 67.6
50503 | 2021-03-22 11:00 | 54.335 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.2831 | μmol/L | 19.6861 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.316 | 113916.8453 | 301655.2622 | 28.7 | 67.6
50513 | 2021-03-22 11:01 | 54.6682 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.3011 | μmol/L | 19.6861 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.315 | 113917.3118 | 301659.277 | 28.7 | 67.6
50523 | 2021-03-22 11:01 | 55.0012 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.3011 | μmol/L | 19.6861 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.315 | 113918.4087 | 301649.2499 | 28.7 | 67.6
50533 | 2021-03-22 11:01 | 55.3348 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.2472 | μmol/L | 19.6861 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.318 | 113912.9378 | 301657.6451 | 28.7 | 67.6
50543 | 2021-03-22 11:02 | 55.6676 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.1953 | μmol/L | 19.68 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.323 | 113933.6304 | 301639.4325 | 28.7 | 67.6
50553 | 2021-03-22 11:02 | 56.0016 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.1395 | μmol/L | 19.6861 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.324 | 113931.4617 | 301644.6592 | 28.7 | 67.6
50563 | 2021-03-22 11:02 | 56.3344 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.1754 | μmol/L | 19.6861 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.322 | 113945.3268 | 301638.5635 | 28.7 | 67.6
50573 | 2021-03-22 11:03 | 56.668 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.014 | μmol/L | 19.6861 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.331 | 113940.4473 | 301627.9241 | 28.7 | 67.6
50583 | 2021-03-22 11:03 | 57.0009 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.0499 | μmol/L | 19.6861 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.329 | 113953.9177 | 301632.8374 | 28.7 | 67.6
50593 | 2021-03-22 11:03 | 57.3347 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.9225 | μmol/L | 19.6922 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.334 | 113971.2777 | 301631.9999 | 28.7 | 67.6
50603 | 2021-03-22 11:04 | 57.6676 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.9244 | μmol/L | 19.6861 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.336 | 113971.6564 | 301610.6927 | 28.7 | 67.6
50613 | 2021-03-22 11:04 | 58.0012 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.9244 | μmol/L | 19.6861 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.336 | 113973.0365 | 301612.8343 | 28.7 | 67.6
50623 | 2021-03-22 11:04 | 58.3349 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.8489 | μmol/L | 19.6982 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.336 | 113987.9802 | 301602.8722 | 28.7 | 67.6
50633 | 2021-03-22 11:05 | 58.6678 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.6303 | μmol/L | 19.7104 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.344 | 113992.4205 | 301597.7795 | 28.7 | 67.6
50643 | 2021-03-22 11:05 | 59.0015 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.5192 | μmol/L | 19.7226 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.346 | 114016.6736 | 301594.6165 | 28.7 | 67.6
50653 | 2021-03-22 11:05 | 59.3345 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.4834 | μmol/L | 19.7226 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.348 | 114021.4839 | 301603.928 | 28.7 | 67.6
50663 | 2021-03-22 11:06 | 59.6682 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.5409 | μmol/L | 19.7104 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.349 | 114030.7764 | 301589.2279 | 28.7 | 67.6
50673 | 2021-03-22 11:06 | 60.0011 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.507 | μmol/L | 19.7043 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.353 | 114040.1416 | 301571.9838 | 28.7 | 67.6
50683 | 2021-03-22 11:06 | 60.335 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.4713 | μmol/L | 19.7043 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.355 | 114052.6464 | 301590.2383 | 28.7 | 67.6
50693 | 2021-03-22 11:07 | 60.6678 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.3998 | μmol/L | 19.7043 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.359 | 114055.5811 | 301579.9181 | 28.7 | 67.6
50703 | 2021-03-22 11:07 | 61.0015 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.3839 | μmol/L | 19.6982 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.362 | 114077.5085 | 301569.3778 | 28.7 | 67.6
50713 | 2021-03-22 11:07 | 61.3345 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.2946 | μmol/L | 19.6982 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.367 | 114074.1072 | 301562.0919 | 28.7 | 67.6
50723 | 2021-03-22 11:08 | 61.6682 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.3679 | μmol/L | 19.6922 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.365 | 114085.9466 | 301557.318 | 28.7 | 67.6
50733 | 2021-03-22 11:08 | 62.001 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.4254 | μmol/L | 19.68 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.366 | 114109.4153 | 301557.8489 | 28.7 | 67.6
50743 | 2021-03-22 11:08 | 62.3347 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.3955 | μmol/L | 19.6617 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.374 | 114122.6608 | 301562.5821 | 28.7 | 67.6
50753 | 2021-03-22 11:09 | 62.6676 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.3974 | μmol/L | 19.6557 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.376 | 114152.1793 | 301550.7393 | 28.7 | 67.6
50763 | 2021-03-22 11:09 | 63.0012 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.2923 | μmol/L | 19.6496 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.384 | 114152.5116 | 301535.3623 | 28.7 | 67.6
50773 | 2021-03-22 11:09 | 63.335 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.2566 | μmol/L | 19.6496 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.386 | 114172.0902 | 301527.3648 | 28.7 | 67.6
50783 | 2021-03-22 11:10 | 63.668 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.2585 | μmol/L | 19.6435 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.388 | 114182.1328 | 301525.733 | 28.7 | 67.6
50793 | 2021-03-22 11:10 | 64.001 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.3338 | μmol/L | 19.6313 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.388 | 114184.5024 | 301525.8279 | 28.7 | 67.6
50803 | 2021-03-22 11:10 | 64.3342 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.2803 | μmol/L | 19.6313 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.391 | 114186.4845 | 301510.6033 | 28.7 | 67.6
50813 | 2021-03-22 11:11 | 64.6679 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.1674 | μmol/L | 19.6496 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.391 | 114200.5011 | 301521.76 | 28.7 | 67.6
50823 | 2021-03-22 11:11 | 65.0011 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.1515 | μmol/L | 19.6435 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.394 | 114197.8335 | 301512.6613 | 28.7 | 67.6
50833 | 2021-03-22 11:11 | 65.335 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.0921 | μmol/L | 19.6617 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.391 | 114205.7221 | 301526.849 | 28.7 | 67.6
50843 | 2021-03-22 11:12 | 65.668 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.9674 | μmol/L | 19.6617 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.398 | 114212.9929 | 301509.2513 | 28.7 | 67.6
50853 | 2021-03-22 11:12 | 66.0011 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.003 | μmol/L | 19.6617 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.396 | 114212.9995 | 301501.1593 | 28.7 | 67.6
50863 | 2021-03-22 11:12 | 66.3349 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.2089 | μmol/L | 19.6313 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.395 | 114206.3997 | 301511.6001 | 28.7 | 67.6
50873 | 2021-03-22 11:13 | 66.6679 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.2664 | μmol/L | 19.6191 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.396 | 114227.2706 | 301507.5217 | 28.7 | 67.6
50883 | 2021-03-22 11:13 | 67.0016 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.2109 | μmol/L | 19.6252 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.397 | 114233.389 | 301499.9754 | 28.7 | 67.6
50893 | 2021-03-22 11:13 | 67.3343 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.1217 | μmol/L | 19.6252 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.402 | 114240.755 | 301499.2796 | 28.7 | 67.6
50903 | 2021-03-22 11:14 | 67.6682 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.0306 | μmol/L | 19.6313 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.405 | 114244.5316 | 301488.1161 | 28.7 | 67.6