## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-22 14:27

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
50912 | 2021-03-22 12:50 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 260.2396 | μmol/L | 19.7361 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.458 | 111236.0321 | 218242.8422 | 27.3 | 43.4
50922 | 2021-03-22 12:51 | 0.33065 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 260.059 | μmol/L | 19.7361 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.466 | 111252.6095 | 218246.6474 | 27.3 | 43.4
50932 | 2021-03-22 12:51 | 0.66439 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.9687 | μmol/L | 19.7361 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.47 | 111254.7548 | 218244.1802 | 27.3 | 43.4
50942 | 2021-03-22 12:51 | 0.99742 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.8309 | μmol/L | 19.7423 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.474 | 111278.8095 | 218242.078 | 27.3 | 43.4
50952 | 2021-03-22 12:52 | 1.3305 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.6257 | μmol/L | 19.7484 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.481 | 111282.3274 | 218241.0455 | 27.3 | 43.4
50962 | 2021-03-22 12:52 | 1.6644 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.7007 | μmol/L | 19.73 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.484 | 111291.8947 | 218233.8875 | 27.3 | 43.4
50972 | 2021-03-22 12:52 | 1.9971 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.5156 | μmol/L | 19.7423 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.488 | 111309.8469 | 218232.7807 | 27.3 | 43.4
50982 | 2021-03-22 12:53 | 2.3307 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.4955 | μmol/L | 19.7361 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.491 | 111301.7373 | 218239.2582 | 27.3 | 43.4
50992 | 2021-03-22 12:53 | 2.6637 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.4055 | μmol/L | 19.7361 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.495 | 111309.6331 | 218231.9456 | 27.3 | 43.4
51002 | 2021-03-22 12:53 | 2.9975 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.4255 | μmol/L | 19.7423 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.492 | 111323.303 | 218232.2492 | 27.3 | 43.4
51012 | 2021-03-22 12:54 | 3.3305 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.318 | μmol/L | 19.73 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.501 | 111334.497 | 218235.2673 | 27.3 | 43.4
51022 | 2021-03-22 12:54 | 3.6641 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.343 | μmol/L | 19.7239 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.502 | 111346.7914 | 218225.5583 | 27.3 | 43.4
51032 | 2021-03-22 12:54 | 3.997 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.2781 | μmol/L | 19.7178 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.507 | 111357.6387 | 218216.2175 | 27.3 | 43.4
51042 | 2021-03-22 12:55 | 4.3307 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.1717 | μmol/L | 19.7178 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.512 | 111367.487 | 218210.0826 | 27.3 | 43.4
51052 | 2021-03-22 12:55 | 4.6644 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.1208 | μmol/L | 19.7178 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.514 | 111387.7846 | 218229.7416 | 27.3 | 43.4
51062 | 2021-03-22 12:55 | 4.9973 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.0509 | μmol/L | 19.7239 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.515 | 111413.0512 | 218227.7998 | 27.3 | 43.4
51072 | 2021-03-22 12:56 | 5.3309 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.8998 | μmol/L | 19.7239 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.522 | 111420.7623 | 218210.712 | 27.3 | 43.4
51082 | 2021-03-22 12:56 | 5.6638 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.7118 | μmol/L | 19.73 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.528 | 111453.4405 | 218216.2454 | 27.3 | 43.4
51092 | 2021-03-22 12:56 | 5.9971 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.6944 | μmol/L | 19.7178 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.533 | 111465.7994 | 218216.2725 | 27.3 | 43.4
51102 | 2021-03-22 12:57 | 6.3308 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.5238 | μmol/L | 19.7117 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.543 | 111516.4316 | 218208.1804 | 27.3 | 43.4
51112 | 2021-03-22 12:57 | 6.6637 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.2914 | μmol/L | 19.7178 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.551 | 111543.5932 | 218205.3683 | 27.3 | 43.4
51122 | 2021-03-22 12:57 | 6.9976 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.3386 | μmol/L | 19.7117 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.551 | 111568.2019 | 218195.8435 | 27.3 | 43.4
51132 | 2021-03-22 12:58 | 7.3306 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.2577 | μmol/L | 19.7056 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.557 | 111587.6657 | 218206.3352 | 27.3 | 43.4
51142 | 2021-03-22 12:58 | 7.6643 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.0952 | μmol/L | 19.7056 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.564 | 111619.3543 | 218203.3086 | 27.3 | 43.4
51152 | 2021-03-22 12:58 | 7.9976 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.0144 | μmol/L | 19.6995 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.57 | 111669.5944 | 218202.5453 | 27.3 | 43.4
51162 | 2021-03-22 12:59 | 8.3303 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.8384 | μmol/L | 19.6934 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.58 | 111694.9629 | 218203.5781 | 27.3 | 43.4
51172 | 2021-03-22 12:59 | 8.664 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.6797 | μmol/L | 19.6995 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.585 | 111727.9447 | 218196.8186 | 27.3 | 43.4
51182 | 2021-03-22 12:59 | 8.997 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.4259 | μmol/L | 19.7056 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.594 | 111743.4109 | 218191.466 | 27.3 | 43.4
51192 | 2021-03-22 13:00 | 9.3311 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.4568 | μmol/L | 19.6995 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.595 | 111781.5825 | 218199.7773 | 27.3 | 43.4
51202 | 2021-03-22 13:00 | 9.664 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.4594 | μmol/L | 19.6934 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.597 | 111795.9372 | 218189.276 | 27.3 | 43.4
51212 | 2021-03-22 13:00 | 9.9972 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.2727 | μmol/L | 19.6995 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.603 | 111832.1023 | 218186.8994 | 27.3 | 43.4
51222 | 2021-03-22 13:01 | 10.3303 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.17 | μmol/L | 19.6934 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.61 | 111852.7331 | 218186.0792 | 27.3 | 43.4
51232 | 2021-03-22 13:01 | 10.6639 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 256.9451 | μmol/L | 19.6995 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.618 | 111907.809 | 218170.6443 | 27.3 | 43.4
51242 | 2021-03-22 13:01 | 10.9977 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 256.7008 | μmol/L | 19.6995 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.629 | 111940.0782 | 218175.1205 | 27.3 | 43.4
51252 | 2021-03-22 13:02 | 11.3311 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 256.6087 | μmol/L | 19.6934 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.635 | 111953.7998 | 218178.2283 | 27.3 | 43.4
51262 | 2021-03-22 13:02 | 11.6639 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 256.6087 | μmol/L | 19.6934 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.635 | 111969.1006 | 218180.8934 | 27.3 | 43.4
51272 | 2021-03-22 13:02 | 11.9975 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 256.6147 | μmol/L | 19.6934 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.635 | 111972.8546 | 218175.5174 | 27.3 | 43.4
51282 | 2021-03-22 13:03 | 12.3304 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 256.6421 | μmol/L | 19.6811 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.638 | 111976.8556 | 218175.1144 | 27.3 | 43.4
51292 | 2021-03-22 13:03 | 12.6644 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 256.5756 | μmol/L | 19.6811 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.641 | 111999.6666 | 218174.5007 | 27.3 | 43.4
51302 | 2021-03-22 13:03 | 12.9973 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 256.4783 | μmol/L | 19.6873 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.643 | 112002.9959 | 218176.5719 | 27.3 | 43.4
51312 | 2021-03-22 13:04 | 13.3311 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 256.4843 | μmol/L | 19.6873 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.643 | 112011.2566 | 218165.714 | 27.3 | 43.4
51322 | 2021-03-22 13:04 | 13.6642 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 256.5031 | μmol/L | 19.6811 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.644 | 112020.8783 | 218160.5588 | 27.3 | 43.4
51332 | 2021-03-22 13:04 | 13.997 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 256.4366 | μmol/L | 19.6811 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.647 | 112012.1285 | 218155.2322 | 27.3 | 43.4
51342 | 2021-03-22 13:05 | 14.3308 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 256.3701 | μmol/L | 19.6811 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.65 | 112040.617 | 218164.6509 | 27.3 | 43.4
51352 | 2021-03-22 13:05 | 14.6643 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 256.4674 | μmol/L | 19.675 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.648 | 112045.7737 | 218165.3381 | 27.3 | 43.4
51362 | 2021-03-22 13:05 | 14.9972 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 256.5633 | μmol/L | 19.6445 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.654 | 112066.6834 | 218153.2674 | 27.3 | 43.4
51372 | 2021-03-22 13:06 | 15.3309 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 256.392 | μmol/L | 19.6445 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.662 | 112085.1835 | 218147.897 | 27.3 | 43.4
51382 | 2021-03-22 13:06 | 15.6642 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 256.3007 | μmol/L | 19.6506 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.664 | 112104.8676 | 218162.4643 | 27.3 | 43.4
51392 | 2021-03-22 13:06 | 15.997 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 256.2726 | μmol/L | 19.6506 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.665 | 112108.9572 | 218160.3217 | 27.3 | 43.4
51402 | 2021-03-22 13:07 | 16.3308 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 256.1237 | μmol/L | 19.6506 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.672 | 112134.2605 | 218151.0016 | 27.3 | 43.4
51412 | 2021-03-22 13:07 | 16.6638 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.9662 | μmol/L | 19.6567 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.677 | 112159.6027 | 218145.177 | 27.3 | 43.4
51422 | 2021-03-22 13:07 | 16.9975 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.9214 | μmol/L | 19.6445 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.683 | 112182.7333 | 218153.2299 | 27.3 | 43.4
51432 | 2021-03-22 13:08 | 17.3304 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.811 | μmol/L | 19.6445 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.688 | 112217.6704 | 218148.0433 | 27.3 | 43.4
51442 | 2021-03-22 13:08 | 17.664 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.7916 | μmol/L | 19.6384 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.691 | 112234.5239 | 218154.7723 | 27.3 | 43.4
51452 | 2021-03-22 13:08 | 17.9977 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.7006 | μmol/L | 19.6445 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.693 | 112269.5431 | 218155.608 | 27.3 | 43.4
51462 | 2021-03-22 13:09 | 18.3306 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.5327 | μmol/L | 19.6384 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.703 | 112278.3348 | 218144.5981 | 27.3 | 43.4
51472 | 2021-03-22 13:09 | 18.6643 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.5956 | μmol/L | 19.6323 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.702 | 112295.7244 | 218139.4613 | 27.3 | 43.4
51482 | 2021-03-22 13:09 | 18.9971 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.5295 | μmol/L | 19.6323 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.705 | 112315.8952 | 218140.2442 | 27.3 | 43.4
51492 | 2021-03-22 13:10 | 19.331 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.579 | μmol/L | 19.62 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.707 | 112324.6909 | 218126.3879 | 27.3 | 43.4
51502 | 2021-03-22 13:10 | 19.664 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.4306 | μmol/L | 19.62 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.714 | 112340.1917 | 218141.8707 | 27.3 | 43.4
51512 | 2021-03-22 13:10 | 19.997 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.4274 | μmol/L | 19.6139 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.716 | 112358.8696 | 218144.7155 | 27.3 | 43.4
51522 | 2021-03-22 13:11 | 20.3308 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.3311 | μmol/L | 19.6323 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.714 | 112374.6341 | 218142.0635 | 27.3 | 43.4
51532 | 2021-03-22 13:11 | 20.6638 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.2984 | μmol/L | 19.62 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.72 | 112387.6594 | 218139.4329 | 27.3 | 43.4
51542 | 2021-03-22 13:11 | 20.9977 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.2237 | μmol/L | 19.6261 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.721 | 112384.488 | 218146.1756 | 27.3 | 43.4
51552 | 2021-03-22 13:12 | 21.3306 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.2736 | μmol/L | 19.6261 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.719 | 112402.9608 | 218142.4821 | 27.3 | 43.4
51562 | 2021-03-22 13:12 | 21.6644 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.1603 | μmol/L | 19.62 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.726 | 112415.4175 | 218147.6645 | 27.3 | 43.4
51572 | 2021-03-22 13:12 | 21.9974 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.1824 | μmol/L | 19.62 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.725 | 112424.7874 | 218133.5957 | 27.3 | 43.4
51582 | 2021-03-22 13:13 | 22.3303 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.125 | μmol/L | 19.6139 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.73 | 112432.7708 | 218141.0789 | 27.3 | 43.4
51592 | 2021-03-22 13:13 | 22.6643 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.1497 | μmol/L | 19.6078 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.731 | 112421.9064 | 218134.0053 | 27.3 | 43.4
51602 | 2021-03-22 13:13 | 22.9972 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.0783 | μmol/L | 19.62 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.73 | 112442.0161 | 218150.4522 | 27.3 | 43.4
51612 | 2021-03-22 13:14 | 23.331 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.125 | μmol/L | 19.6139 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.73 | 112450.5882 | 218146.2037 | 27.3 | 43.4
51622 | 2021-03-22 13:14 | 23.6637 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.1883 | μmol/L | 19.62 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.725 | 112423.9904 | 218147.3999 | 27.3 | 43.4
51632 | 2021-03-22 13:14 | 23.9974 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.2484 | μmol/L | 19.62 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.722 | 112396.958 | 218132.7843 | 27.3 | 43.4
51642 | 2021-03-22 13:15 | 24.3303 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.4553 | μmol/L | 19.6139 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.715 | 112403.4636 | 218127.7001 | 27.3 | 43.4
51652 | 2021-03-22 13:15 | 24.664 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.3231 | μmol/L | 19.6139 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.721 | 112400.4953 | 218138.6415 | 27.3 | 43.4
51662 | 2021-03-22 13:15 | 24.9972 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.2791 | μmol/L | 19.6139 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.723 | 112406.3957 | 218137.7494 | 27.3 | 43.4
51672 | 2021-03-22 13:16 | 25.331 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.3479 | μmol/L | 19.6078 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.722 | 112403.2518 | 218144.7894 | 27.3 | 43.4
51682 | 2021-03-22 13:16 | 25.6638 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.571 | μmol/L | 19.6017 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.714 | 112378.4508 | 218128.8373 | 27.3 | 43.4
51692 | 2021-03-22 13:16 | 25.9976 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.593 | μmol/L | 19.6017 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.713 | 112364.5351 | 218125.7892 | 27.3 | 43.4
51702 | 2021-03-22 13:17 | 26.3305 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.6786 | μmol/L | 19.6078 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.707 | 112360.1756 | 218126.6249 | 27.3 | 43.4
51712 | 2021-03-22 13:17 | 26.6636 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.6399 | μmol/L | 19.5956 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.713 | 112369.1779 | 218120.0007 | 27.3 | 43.4
51722 | 2021-03-22 13:17 | 26.9973 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.7088 | μmol/L | 19.5895 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.712 | 112359.7714 | 218113.7053 | 27.3 | 43.4
51732 | 2021-03-22 13:18 | 27.3309 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.5408 | μmol/L | 19.62 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.709 | 112342.9731 | 218121.8574 | 27.3 | 43.4
51742 | 2021-03-22 13:18 | 27.664 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.4418 | μmol/L | 19.6445 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.705 | 112326.8177 | 218113.5277 | 27.3 | 43.4
51752 | 2021-03-22 13:18 | 27.9976 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.4832 | μmol/L | 19.6506 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.701 | 112310.7723 | 218112.2836 | 27.3 | 43.4
51762 | 2021-03-22 13:19 | 28.3305 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.734 | μmol/L | 19.6323 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.696 | 112316.007 | 218109.8285 | 27.3 | 43.4
51772 | 2021-03-22 13:19 | 28.6636 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.6898 | μmol/L | 19.6323 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.698 | 112313.7663 | 218108.5246 | 27.3 | 43.4
51782 | 2021-03-22 13:19 | 28.9973 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.5795 | μmol/L | 19.6323 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.703 | 112324.0653 | 218114.7824 | 27.3 | 43.4
51792 | 2021-03-22 13:20 | 29.3303 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.4886 | μmol/L | 19.6384 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.705 | 112323.5956 | 218104.752 | 27.3 | 43.4
51802 | 2021-03-22 13:20 | 29.6643 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.5327 | μmol/L | 19.6384 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.703 | 112335.8529 | 218110.7612 | 27.3 | 43.4
51812 | 2021-03-22 13:20 | 29.9974 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.2849 | μmol/L | 19.6506 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.71 | 112366.354 | 218113.7734 | 27.3 | 43.4
51822 | 2021-03-22 13:21 | 30.3311 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.106 | μmol/L | 19.6567 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.716 | 112383.8239 | 218104.646 | 27.3 | 43.4
51832 | 2021-03-22 13:21 | 30.6639 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 254.8833 | μmol/L | 19.6628 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.724 | 112412.8547 | 218109.3128 | 27.3 | 43.4
51842 | 2021-03-22 13:21 | 30.9976 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 254.8174 | μmol/L | 19.6628 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.727 | 112433.2467 | 218100.3404 | 27.3 | 43.4
51852 | 2021-03-22 13:22 | 31.3309 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 254.7487 | μmol/L | 19.6689 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.728 | 112453.1465 | 218096.7091 | 27.3 | 43.4
51862 | 2021-03-22 13:22 | 31.6638 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 254.5896 | μmol/L | 19.6811 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.731 | 112449.498 | 218103.1604 | 27.3 | 43.4
51872 | 2021-03-22 13:22 | 31.9974 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 254.7021 | μmol/L | 19.675 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.728 | 112451.7865 | 218100.3 | 27.3 | 43.4
51882 | 2021-03-22 13:23 | 32.3303 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 254.7241 | μmol/L | 19.675 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.727 | 112455.7831 | 218099.7864 | 27.3 | 43.4
51892 | 2021-03-22 13:23 | 32.6642 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 254.6362 | μmol/L | 19.675 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.731 | 112473.3194 | 218094.1968 | 27.3 | 43.4
51902 | 2021-03-22 13:23 | 32.997 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 254.3016 | μmol/L | 19.6873 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.742 | 112514.145 | 218097.523 | 27.3 | 43.4
51912 | 2021-03-22 13:24 | 33.3308 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 254.2358 | μmol/L | 19.6873 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.745 | 112539.5749 | 218089.8414 | 27.3 | 43.4
51922 | 2021-03-22 13:24 | 33.6636 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 254.2824 | μmol/L | 19.6811 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.745 | 112542.1234 | 218098.145 | 27.3 | 43.4
51932 | 2021-03-22 13:24 | 33.9973 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 254.2139 | μmol/L | 19.6873 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.746 | 112557.4225 | 218101.1445 | 27.3 | 43.4
51942 | 2021-03-22 13:25 | 34.331 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 254.077 | μmol/L | 19.6995 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.748 | 112563.299 | 218093.7795 | 27.3 | 43.4
51952 | 2021-03-22 13:25 | 34.6639 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 254.0578 | μmol/L | 19.6934 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.751 | 112575.2582 | 218091.0989 | 27.3 | 43.4
51962 | 2021-03-22 13:25 | 34.9975 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 253.9648 | μmol/L | 19.7056 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.751 | 112578.3283 | 218088.0132 | 27.3 | 43.4
51972 | 2021-03-22 13:26 | 35.3307 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 253.8062 | μmol/L | 19.7178 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.754 | 112593.8382 | 218092.9555 | 27.3 | 43.4
51982 | 2021-03-22 13:26 | 35.6637 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 253.746 | μmol/L | 19.7056 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.761 | 112615.4122 | 218088.3188 | 27.3 | 43.4
51992 | 2021-03-22 13:26 | 35.9976 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 253.6804 | μmol/L | 19.7056 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.764 | 112635.0574 | 218092.1504 | 27.3 | 43.4
52002 | 2021-03-22 13:27 | 36.3305 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 253.4756 | μmol/L | 19.7239 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.767 | 112654.4575 | 218090.2954 | 27.3 | 43.4
52012 | 2021-03-22 13:27 | 36.6643 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 253.4128 | μmol/L | 19.7178 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.772 | 112672.3596 | 218085.1751 | 27.3 | 43.4
52022 | 2021-03-22 13:27 | 36.9972 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 253.3009 | μmol/L | 19.7239 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.775 | 112688.4977 | 218079.3237 | 27.3 | 43.4
52032 | 2021-03-22 13:28 | 37.3309 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 253.2546 | μmol/L | 19.73 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.775 | 112708.2724 | 218076.9584 | 27.3 | 43.4
52042 | 2021-03-22 13:28 | 37.6637 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 253.0119 | μmol/L | 19.7361 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.784 | 112738.0436 | 218080.3541 | 27.3 | 43.4
52052 | 2021-03-22 13:28 | 37.9975 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 253.0147 | μmol/L | 19.73 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.786 | 112752.1219 | 218078.4217 | 27.3 | 43.4
52062 | 2021-03-22 13:29 | 38.3303 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 252.8867 | μmol/L | 19.7239 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.794 | 112779.9783 | 218078.8187 | 27.3 | 43.4
52072 | 2021-03-22 13:29 | 38.664 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 252.7288 | μmol/L | 19.7361 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.797 | 112800.6769 | 218077.5006 | 27.3 | 43.4
52082 | 2021-03-22 13:29 | 38.997 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 252.6173 | μmol/L | 19.7423 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.8 | 112813.9664 | 218077.4804 | 27.3 | 43.4
52092 | 2021-03-22 13:30 | 39.3311 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 252.5113 | μmol/L | 19.7361 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.807 | 112837.4976 | 218067.3869 | 27.3 | 43.4
52102 | 2021-03-22 13:30 | 39.6643 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 252.3808 | μmol/L | 19.7361 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.813 | 112865.8201 | 218066.1846 | 27.3 | 43.4
52112 | 2021-03-22 13:30 | 39.9972 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 252.3157 | μmol/L | 19.7361 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.816 | 112897.5457 | 218075.4648 | 27.3 | 43.4
52122 | 2021-03-22 13:31 | 40.3304 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 252.2288 | μmol/L | 19.7361 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.82 | 112913.3146 | 218071.8011 | 27.3 | 43.4
52132 | 2021-03-22 13:31 | 40.6642 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 252.2533 | μmol/L | 19.73 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.821 | 112948.9887 | 218070.8648 | 27.3 | 43.4
52142 | 2021-03-22 13:31 | 40.997 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 251.944 | μmol/L | 19.7423 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.831 | 112964.1674 | 218067.6649 | 27.3 | 43.4
52152 | 2021-03-22 13:32 | 41.3308 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 251.8301 | μmol/L | 19.7545 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.832 | 113003.4538 | 218070.3765 | 27.3 | 43.4
52162 | 2021-03-22 13:32 | 41.6644 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 251.7246 | μmol/L | 19.7484 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.839 | 113042.8867 | 218074.458 | 27.3 | 43.4
52172 | 2021-03-22 13:32 | 41.9973 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 251.6163 | μmol/L | 19.7484 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.844 | 113048.723 | 218079.4001 | 27.3 | 43.4
52182 | 2021-03-22 13:33 | 42.3308 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 251.4216 | μmol/L | 19.7484 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.853 | 113076.4511 | 218078.4831 | 27.3 | 43.4
52192 | 2021-03-22 13:33 | 42.6638 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 251.4216 | μmol/L | 19.7484 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.853 | 113123.9863 | 218080.7264 | 27.3 | 43.4
52202 | 2021-03-22 13:33 | 42.9975 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 251.2487 | μmol/L | 19.7484 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.861 | 113161.3496 | 218081.1646 | 27.3 | 43.4
52212 | 2021-03-22 13:34 | 43.3304 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 251.0947 | μmol/L | 19.7545 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.866 | 113188.4294 | 218087.7402 | 27.3 | 43.4
52222 | 2021-03-22 13:34 | 43.6643 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 250.9652 | μmol/L | 19.7545 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.872 | 113214.161 | 218084.9008 | 27.3 | 43.4
52232 | 2021-03-22 13:34 | 43.9971 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 250.7711 | μmol/L | 19.7545 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.881 | 113241.3396 | 218083.2477 | 27.3 | 43.4
52242 | 2021-03-22 13:35 | 44.331 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 250.6547 | μmol/L | 19.7606 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.884 | 113265.3488 | 218090.1441 | 27.3 | 43.4
52252 | 2021-03-22 13:35 | 44.664 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 250.7064 | μmol/L | 19.7545 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.884 | 113285.0497 | 218072.6254 | 27.3 | 43.4
52262 | 2021-03-22 13:35 | 44.9977 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 250.5313 | μmol/L | 19.7606 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.89 | 113299.3284 | 218083.6467 | 27.3 | 43.4
52272 | 2021-03-22 13:36 | 45.3306 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 250.4237 | μmol/L | 19.7606 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.895 | 113321.5864 | 218070.6987 | 27.3 | 43.4
52282 | 2021-03-22 13:36 | 45.6643 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 250.2058 | μmol/L | 19.7667 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.903 | 113356.3137 | 218086.4105 | 27.3 | 43.4
52292 | 2021-03-22 13:36 | 45.9974 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 250.2273 | μmol/L | 19.7667 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.902 | 113376.3154 | 218084.2591 | 27.3 | 43.4
52302 | 2021-03-22 13:37 | 46.331 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 250.2675 | μmol/L | 19.7728 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.898 | 113384.4584 | 218070.9939 | 27.3 | 43.4
52312 | 2021-03-22 13:37 | 46.664 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 250.1871 | μmol/L | 19.7606 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.906 | 113398.5458 | 218063.0815 | 27.3 | 43.4
52322 | 2021-03-22 13:37 | 46.9971 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 249.9938 | μmol/L | 19.7606 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.915 | 113406.3874 | 218073.3519 | 27.3 | 43.4
52332 | 2021-03-22 13:38 | 47.3307 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 250.0153 | μmol/L | 19.7606 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.914 | 113432.6655 | 218075.2594 | 27.3 | 43.4
52342 | 2021-03-22 13:38 | 47.6643 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 249.9079 | μmol/L | 19.7606 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.919 | 113461.8965 | 218075.2373 | 27.3 | 43.4
52352 | 2021-03-22 13:38 | 47.9973 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 249.8193 | μmol/L | 19.7667 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.921 | 113468.1822 | 218070.3152 | 27.3 | 43.4
52362 | 2021-03-22 13:39 | 48.331 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 249.7792 | μmol/L | 19.7606 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.925 | 113485.8916 | 218063.3859 | 27.3 | 43.4
52372 | 2021-03-22 13:39 | 48.6639 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 249.8006 | μmol/L | 19.7606 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.924 | 113488.9317 | 218081.7545 | 27.3 | 43.4
52382 | 2021-03-22 13:39 | 48.9969 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 249.6934 | μmol/L | 19.7606 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.929 | 113494.2035 | 218078.3398 | 27.3 | 43.4
52392 | 2021-03-22 13:40 | 49.3306 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 249.7577 | μmol/L | 19.7606 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.926 | 113513.2602 | 218075.937 | 27.3 | 43.4
52402 | 2021-03-22 13:40 | 49.6641 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 249.7577 | μmol/L | 19.7606 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.926 | 113505.9392 | 218074.2827 | 27.3 | 43.4
52412 | 2021-03-22 13:40 | 49.997 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 249.8435 | μmol/L | 19.7606 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.922 | 113502.5869 | 218075.4995 | 27.3 | 43.4
52422 | 2021-03-22 13:41 | 50.3307 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 249.782 | μmol/L | 19.7545 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.927 | 113514.7742 | 218059.7347 | 27.3 | 43.4
52432 | 2021-03-22 13:41 | 50.6644 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 249.6533 | μmol/L | 19.7545 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.933 | 113520.4494 | 218059.6641 | 27.3 | 43.4
52442 | 2021-03-22 13:41 | 50.9975 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 249.6719 | μmol/L | 19.7606 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.93 | 113535.9819 | 218066.9002 | 27.3 | 43.4
52452 | 2021-03-22 13:42 | 51.3304 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 249.6076 | μmol/L | 19.7606 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.933 | 113540.7172 | 218067.7328 | 27.3 | 43.4
52462 | 2021-03-22 13:42 | 51.664 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 249.5676 | μmol/L | 19.7545 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.937 | 113567.5084 | 218068.2077 | 27.3 | 43.4
52472 | 2021-03-22 13:42 | 51.9971 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 249.4819 | μmol/L | 19.7545 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.941 | 113573.7981 | 218056.5865 | 27.3 | 43.4
52482 | 2021-03-22 13:43 | 52.3309 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 249.3934 | μmol/L | 19.7606 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.943 | 113584.1555 | 218054.9931 | 27.3 | 43.4
52492 | 2021-03-22 13:43 | 52.6637 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 249.4391 | μmol/L | 19.7545 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.943 | 113610.6552 | 218048.0794 | 27.3 | 43.4
52502 | 2021-03-22 13:43 | 52.9974 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 249.3078 | μmol/L | 19.7606 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.947 | 113623.1161 | 218054.946 | 27.3 | 43.4
52512 | 2021-03-22 13:44 | 53.3304 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 249.3349 | μmol/L | 19.7484 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.95 | 113650.3743 | 218059.5082 | 27.3 | 43.4
52522 | 2021-03-22 13:44 | 53.6641 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 249.3434 | μmol/L | 19.73 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.956 | 113664.0046 | 218059.2862 | 27.3 | 43.4
52532 | 2021-03-22 13:44 | 53.997 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 249.3006 | μmol/L | 19.73 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.958 | 113676.7765 | 218049.3454 | 27.3 | 43.4
52542 | 2021-03-22 13:45 | 54.3303 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 249.1452 | μmol/L | 19.7423 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.961 | 113703.8201 | 218053.3324 | 27.3 | 43.4
52552 | 2021-03-22 13:45 | 54.664 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 248.9957 | μmol/L | 19.7423 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.968 | 113726.9259 | 218047.0866 | 27.3 | 43.4
52562 | 2021-03-22 13:45 | 54.9969 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 248.8006 | μmol/L | 19.7484 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.975 | 113762.6179 | 218051.5052 | 27.3 | 43.4
52572 | 2021-03-22 13:46 | 55.3307 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 248.7124 | μmol/L | 19.7545 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.977 | 113773.5681 | 218052.5618 | 27.3 | 43.4
52582 | 2021-03-22 13:46 | 55.6637 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 248.721 | μmol/L | 19.7361 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.983 | 113806.8756 | 218050.1106 | 27.3 | 43.4
52592 | 2021-03-22 13:46 | 55.9974 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 248.4623 | μmol/L | 19.7423 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.993 | 113842.8791 | 218045.4569 | 27.3 | 43.4
52602 | 2021-03-22 13:47 | 56.3304 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 248.6201 | μmol/L | 19.7239 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.992 | 113845.8614 | 218041.2235 | 27.3 | 43.4
52612 | 2021-03-22 13:47 | 56.6641 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 248.6927 | μmol/L | 19.7056 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.995 | 113873.3708 | 218047.6506 | 27.3 | 43.4
52622 | 2021-03-22 13:47 | 56.997 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 248.6288 | μmol/L | 19.7056 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.998 | 113894.8981 | 218050.2816 | 27.3 | 43.4
52632 | 2021-03-22 13:48 | 57.3306 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 248.4952 | μmol/L | 19.7178 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22 | 113903.2533 | 218038.6144 | 27.3 | 43.4
52642 | 2021-03-22 13:48 | 57.6637 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 248.3829 | μmol/L | 19.73 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.001 | 113916.8524 | 218040.1593 | 27.3 | 43.4
52652 | 2021-03-22 13:48 | 57.9975 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 248.2155 | μmol/L | 19.7239 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.011 | 113931.1549 | 218047.0313 | 27.3 | 43.4
52662 | 2021-03-22 13:49 | 58.3304 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 248.1913 | μmol/L | 19.73 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.01 | 113957.183 | 218058.6045 | 27.3 | 43.4
52672 | 2021-03-22 13:49 | 58.6644 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 248.1063 | μmol/L | 19.73 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.014 | 113965.2787 | 218061.329 | 27.3 | 43.4
52682 | 2021-03-22 13:49 | 58.9972 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 248.085 | μmol/L | 19.73 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.015 | 113981.6965 | 218043.5781 | 27.3 | 43.4
52692 | 2021-03-22 13:50 | 59.3309 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 248.0666 | μmol/L | 19.7239 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.018 | 114005.5069 | 218043.5856 | 27.3 | 43.4
52702 | 2021-03-22 13:50 | 59.6641 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 247.9604 | μmol/L | 19.7239 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.023 | 114023.3151 | 218039.7906 | 27.3 | 43.4
52712 | 2021-03-22 13:50 | 59.997 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 247.7876 | μmol/L | 19.73 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.029 | 114036.6663 | 218040.0512 | 27.3 | 43.4
52722 | 2021-03-22 13:51 | 60.3308 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 247.7509 | μmol/L | 19.7178 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.035 | 114066.817 | 218044.3768 | 27.3 | 43.4
52732 | 2021-03-22 13:51 | 60.6643 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 247.7692 | μmol/L | 19.7239 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.032 | 114097.0773 | 218055.275 | 27.3 | 43.4
52742 | 2021-03-22 13:51 | 60.9972 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 247.6448 | μmol/L | 19.7178 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.04 | 114111.4718 | 218049.9674 | 27.3 | 43.4
52752 | 2021-03-22 13:52 | 61.331 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 247.4482 | μmol/L | 19.73 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.045 | 114140.39 | 218043.1307 | 27.3 | 43.4
52762 | 2021-03-22 13:52 | 61.6641 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 247.4935 | μmol/L | 19.7239 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.045 | 114172.0433 | 218048.4321 | 27.3 | 43.4
52772 | 2021-03-22 13:52 | 61.997 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 247.3634 | μmol/L | 19.73 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.049 | 114188.3711 | 218040.4369 | 27.3 | 43.4
52782 | 2021-03-22 13:53 | 62.3306 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 247.3087 | μmol/L | 19.7117 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.058 | 114222.1399 | 218050.3993 | 27.3 | 43.4
52792 | 2021-03-22 13:53 | 62.6643 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 247.3145 | μmol/L | 19.6995 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.062 | 114254.0773 | 218059.4412 | 27.3 | 43.4
52802 | 2021-03-22 13:53 | 62.9972 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 247.1211 | μmol/L | 19.7056 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.069 | 114262.8901 | 218054.6002 | 27.3 | 43.4
52812 | 2021-03-22 13:54 | 63.331 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 247.1241 | μmol/L | 19.6995 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.071 | 114297.2861 | 218062.552 | 27.3 | 43.4
52822 | 2021-03-22 13:54 | 63.6639 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 246.9943 | μmol/L | 19.7056 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.075 | 114315.3007 | 218062.1921 | 27.3 | 43.4
52832 | 2021-03-22 13:54 | 63.9975 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 246.9279 | μmol/L | 19.7117 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.076 | 114339.3368 | 218066.2809 | 27.3 | 43.4
52842 | 2021-03-22 13:55 | 64.3305 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 246.6985 | μmol/L | 19.7056 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.089 | 114372.5304 | 218057.7571 | 27.3 | 43.4
52852 | 2021-03-22 13:55 | 64.6643 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 246.6141 | μmol/L | 19.7056 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.093 | 114398.7866 | 218057.8954 | 27.3 | 43.4
52862 | 2021-03-22 13:55 | 64.9971 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 246.6141 | μmol/L | 19.7056 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.093 | 114410.8026 | 218066.5361 | 27.3 | 43.4
52872 | 2021-03-22 13:56 | 65.3309 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 246.6171 | μmol/L | 19.6995 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.095 | 114406.0926 | 218048.9259 | 27.3 | 43.4
52882 | 2021-03-22 13:56 | 65.6637 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 246.5508 | μmol/L | 19.7056 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.096 | 114421.0418 | 218052.8905 | 27.3 | 43.4
52892 | 2021-03-22 13:56 | 65.9976 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 246.6171 | μmol/L | 19.6995 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.095 | 114433.3003 | 218049.2403 | 27.3 | 43.4
52902 | 2021-03-22 13:57 | 66.3304 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 246.5808 | μmol/L | 19.6873 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.101 | 114441.2884 | 218057.3758 | 27.3 | 43.4
52912 | 2021-03-22 13:57 | 66.6639 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 246.6711 | μmol/L | 19.675 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.101 | 114461.038 | 218055.2444 | 27.3 | 43.4
52922 | 2021-03-22 13:57 | 66.9977 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 246.6349 | μmol/L | 19.6628 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.107 | 114472.3932 | 218060.9373 | 27.3 | 43.4
52932 | 2021-03-22 13:58 | 67.3306 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 246.656 | μmol/L | 19.6628 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.106 | 114482.0554 | 218062.7678 | 27.3 | 43.4
52942 | 2021-03-22 13:58 | 67.6642 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 246.4362 | μmol/L | 19.6811 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.11 | 114501.3347 | 218064.8933 | 27.3 | 43.4
52952 | 2021-03-22 13:58 | 67.9972 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 246.3519 | μmol/L | 19.6811 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.114 | 114527.0059 | 218068.9639 | 27.3 | 43.4
52962 | 2021-03-22 13:59 | 68.331 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 246.2706 | μmol/L | 19.675 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.12 | 114533.0979 | 218057.2169 | 27.3 | 43.4
52972 | 2021-03-22 13:59 | 68.6639 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 246.2075 | μmol/L | 19.675 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.123 | 114553.3331 | 218057.4179 | 27.3 | 43.4
52982 | 2021-03-22 13:59 | 68.9977 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 246.1443 | μmol/L | 19.675 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.126 | 114563.4688 | 218051.3595 | 27.3 | 43.4
52992 | 2021-03-22 14:00 | 69.3307 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 246.0572 | μmol/L | 19.6811 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.128 | 114570.4431 | 218062.874 | 27.3 | 43.4
53002 | 2021-03-22 14:00 | 69.6644 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 246.0181 | μmol/L | 19.675 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.132 | 114613.4531 | 218056.3127 | 27.3 | 43.4
53012 | 2021-03-22 14:00 | 69.9972 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 246.0632 | μmol/L | 19.6689 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.132 | 114623.4747 | 218057.4446 | 27.3 | 43.4
53022 | 2021-03-22 14:01 | 70.3303 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 245.913 | μmol/L | 19.675 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.137 | 114636.7322 | 218070.7196 | 27.3 | 43.4
53032 | 2021-03-22 14:01 | 70.6639 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 245.85 | μmol/L | 19.675 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.14 | 114660.6037 | 218068.5892 | 27.3 | 43.4
53042 | 2021-03-22 14:01 | 70.9976 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 245.922 | μmol/L | 19.6567 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.143 | 114677.2759 | 218066.7736 | 27.3 | 43.4
53052 | 2021-03-22 14:02 | 71.3304 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 245.838 | μmol/L | 19.6567 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.147 | 114704.6171 | 218064.4347 | 27.3 | 43.4
53062 | 2021-03-22 14:02 | 71.6641 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 245.757 | μmol/L | 19.6506 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.153 | 114727.5376 | 218072.5686 | 27.3 | 43.4
53072 | 2021-03-22 14:02 | 71.9971 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 245.673 | μmol/L | 19.6506 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.157 | 114738.2252 | 218064.3851 | 27.3 | 43.4
53082 | 2021-03-22 14:03 | 72.3307 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 245.676 | μmol/L | 19.6445 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.159 | 114759.9399 | 218065.7451 | 27.3 | 43.4
53092 | 2021-03-22 14:03 | 72.6636 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 245.6131 | μmol/L | 19.6445 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.162 | 114774.7829 | 218070.1411 | 27.3 | 43.4
53102 | 2021-03-22 14:03 | 72.9974 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 245.4213 | μmol/L | 19.6506 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.169 | 114790.0795 | 218065.435 | 27.3 | 43.4
53112 | 2021-03-22 14:04 | 73.3305 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 245.5562 | μmol/L | 19.6323 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.169 | 114815.6113 | 218064.2542 | 27.3 | 43.4
53122 | 2021-03-22 14:04 | 73.6644 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 245.4514 | μmol/L | 19.6323 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.174 | 114836.2466 | 218068.4172 | 27.3 | 43.4
53132 | 2021-03-22 14:04 | 73.9972 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 245.3676 | μmol/L | 19.6323 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.178 | 114874.0509 | 218061.0345 | 27.3 | 43.4
53142 | 2021-03-22 14:05 | 74.3309 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 245.1342 | μmol/L | 19.6384 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.187 | 114894.1116 | 218048.3746 | 27.3 | 43.4
53152 | 2021-03-22 14:05 | 74.6638 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 245.224 | μmol/L | 19.6261 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.187 | 114905.2246 | 218066.5399 | 27.3 | 43.4
53162 | 2021-03-22 14:05 | 74.9974 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 245.1193 | μmol/L | 19.6261 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.192 | 114928.2797 | 218065.6222 | 27.3 | 43.4
53172 | 2021-03-22 14:06 | 75.3304 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 245.1883 | μmol/L | 19.6139 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.193 | 114936.8812 | 218066.1825 | 27.3 | 43.4
53182 | 2021-03-22 14:06 | 75.6641 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 245.0357 | μmol/L | 19.6261 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.196 | 114965.581 | 218068.3701 | 27.3 | 43.4
53192 | 2021-03-22 14:06 | 75.997 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 245.0178 | μmol/L | 19.62 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.199 | 114981.5258 | 218052.5563 | 27.3 | 43.4
53202 | 2021-03-22 14:07 | 76.3309 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 245.0209 | μmol/L | 19.6139 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.201 | 115000.8395 | 218056.8718 | 27.3 | 43.4
53212 | 2021-03-22 14:07 | 76.6637 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 245.0689 | μmol/L | 19.6017 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.203 | 115020.4902 | 218064.5451 | 27.3 | 43.4
53222 | 2021-03-22 14:07 | 76.9976 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 245.0479 | μmol/L | 19.6017 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.204 | 115034.756 | 218063.6176 | 27.3 | 43.4
53232 | 2021-03-22 14:08 | 77.3305 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 244.9372 | μmol/L | 19.6139 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.205 | 115036.0427 | 218064.2299 | 27.3 | 43.4
53242 | 2021-03-22 14:08 | 77.6641 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 244.8745 | μmol/L | 19.6139 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.208 | 115048.4959 | 218066.9864 | 27.3 | 43.4
53252 | 2021-03-22 14:08 | 77.997 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 244.8776 | μmol/L | 19.6078 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.21 | 115060.0331 | 218073.8962 | 27.3 | 43.4
53262 | 2021-03-22 14:09 | 78.3306 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 244.8745 | μmol/L | 19.6139 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.208 | 115055.6174 | 218063.7284 | 27.3 | 43.4
53272 | 2021-03-22 14:09 | 78.6644 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 244.9883 | μmol/L | 19.5956 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.209 | 115059.1304 | 218069.4385 | 27.3 | 43.4
53282 | 2021-03-22 14:09 | 78.9975 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 244.9225 | μmol/L | 19.6017 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.21 | 115069.7423 | 218063.9462 | 27.3 | 43.4
53292 | 2021-03-22 14:10 | 79.3304 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 244.8807 | μmol/L | 19.6017 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.212 | 115063.5634 | 218064.6582 | 27.3 | 43.4
53302 | 2021-03-22 14:10 | 79.6643 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 244.9194 | μmol/L | 19.6078 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.208 | 115065.6958 | 218060.6261 | 27.3 | 43.4
53312 | 2021-03-22 14:10 | 79.997 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 245.0929 | μmol/L | 19.5956 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.204 | 115063.2665 | 218069.2597 | 27.3 | 43.4
53322 | 2021-03-22 14:11 | 80.3308 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 244.9194 | μmol/L | 19.6078 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.208 | 115054.6677 | 218056.1364 | 27.3 | 43.4
53332 | 2021-03-22 14:11 | 80.6643 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 245.1107 | μmol/L | 19.6017 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.201 | 115066.2312 | 218072.9837 | 27.3 | 43.4
53342 | 2021-03-22 14:11 | 80.9974 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 245.1316 | μmol/L | 19.6017 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.2 | 115059.6925 | 218067.0555 | 27.3 | 43.4
53352 | 2021-03-22 14:12 | 81.331 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 245.0719 | μmol/L | 19.5956 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.205 | 115060.636 | 218058.5892 | 27.3 | 43.4
53362 | 2021-03-22 14:12 | 81.6637 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 244.9852 | μmol/L | 19.6017 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.207 | 115090.3889 | 218056.8134 | 27.3 | 43.4
53372 | 2021-03-22 14:12 | 81.9974 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 244.9883 | μmol/L | 19.5956 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.209 | 115091.0642 | 218057.4153 | 27.3 | 43.4
53382 | 2021-03-22 14:13 | 82.3311 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 245.0301 | μmol/L | 19.5956 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.207 | 115083.1687 | 218066.2194 | 27.3 | 43.4
53392 | 2021-03-22 14:13 | 82.664 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 245.051 | μmol/L | 19.5956 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.206 | 115099.0482 | 218061.4114 | 27.3 | 43.4
53402 | 2021-03-22 14:13 | 82.9976 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 244.9434 | μmol/L | 19.6017 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.209 | 115096.2547 | 218064.9015 | 27.3 | 43.4
53412 | 2021-03-22 14:14 | 83.3305 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 244.9852 | μmol/L | 19.6017 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.207 | 115090.2082 | 218074.3224 | 27.3 | 43.4
53422 | 2021-03-22 14:14 | 83.6644 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 244.9612 | μmol/L | 19.6078 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.206 | 115099.9763 | 218076.1538 | 27.3 | 43.4
53432 | 2021-03-22 14:14 | 83.9975 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 244.8205 | μmol/L | 19.6384 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.202 | 115097.1207 | 218079.479 | 27.3 | 43.4
53442 | 2021-03-22 14:15 | 84.3303 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 244.6024 | μmol/L | 19.6567 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.206 | 115107.0585 | 218073.1175 | 27.3 | 43.4