## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-22 14:27

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
50911 | 2021-03-22 12:50 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 231.9739 | μmol/L | 19.6718 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.192 | 131995.4931 | 303562.5607 | 59.9307 | 38.1
50920 | 2021-03-22 12:51 | 0.33404 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 231.9781 | μmol/L | 19.6534 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.198 | 132042.8738 | 303563.3414 | 59.9307 | 38.1
50930 | 2021-03-22 12:51 | 0.66683 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 231.9191 | μmol/L | 19.6473 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.203 | 132074.6893 | 303544.4354 | 59.9307 | 38.1
50941 | 2021-03-22 12:51 | 1.0005 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 231.738 | μmol/L | 19.6473 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.212 | 132132.4455 | 303555.3583 | 59.9307 | 38.1
50951 | 2021-03-22 12:52 | 1.3336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 231.5343 | μmol/L | 19.6596 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.218 | 132161.9876 | 303530.146 | 59.9307 | 38.1
50961 | 2021-03-22 12:52 | 1.6673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 231.3965 | μmol/L | 19.6473 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.229 | 132222.6238 | 303518.6425 | 59.9307 | 38.1
50970 | 2021-03-22 12:52 | 2.0001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 231.3162 | μmol/L | 19.6473 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.233 | 132259.1537 | 303519.6803 | 59.9307 | 38.1
50981 | 2021-03-22 12:53 | 2.3338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 231.1773 | μmol/L | 19.6412 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.242 | 132295.2267 | 303503.1613 | 59.9307 | 38.1
50991 | 2021-03-22 12:53 | 2.6675 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 231.1586 | μmol/L | 19.6351 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.245 | 132325.3807 | 303499.171 | 59.9307 | 38.1
51001 | 2021-03-22 12:53 | 3.0004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 231.0599 | μmol/L | 19.629 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.252 | 132360.2541 | 303500.6371 | 59.9307 | 38.1
51011 | 2021-03-22 12:54 | 3.334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 230.9583 | μmol/L | 19.6351 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.255 | 132403.8806 | 303497.4533 | 59.9307 | 38.1
51020 | 2021-03-22 12:54 | 3.667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 230.8582 | μmol/L | 19.6351 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.26 | 132424.8291 | 303490.5321 | 59.9307 | 38.1
51031 | 2021-03-22 12:54 | 4.0008 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 230.8397 | μmol/L | 19.629 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.263 | 132452.6931 | 303497.1695 | 59.9307 | 38.1
51040 | 2021-03-22 12:55 | 4.3336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 230.7168 | μmol/L | 19.6412 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.265 | 132470.2673 | 303482.2762 | 59.9307 | 38.1
51050 | 2021-03-22 12:55 | 4.6675 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 230.6382 | μmol/L | 19.6351 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.271 | 132478.4305 | 303480.0036 | 59.9307 | 38.1
51060 | 2021-03-22 12:55 | 5.0004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 230.6982 | μmol/L | 19.6351 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.268 | 132488.0804 | 303484.4613 | 59.9307 | 38.1
51070 | 2021-03-22 12:56 | 5.3341 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 230.6382 | μmol/L | 19.6351 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.271 | 132492.6608 | 303468.2025 | 59.9307 | 38.1
51081 | 2021-03-22 12:56 | 5.667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 230.6197 | μmol/L | 19.629 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.274 | 132505.7382 | 303455.252 | 59.9307 | 38.1
51090 | 2021-03-22 12:56 | 6.0002 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 230.6611 | μmol/L | 19.6229 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.274 | 132505.3718 | 303447.0041 | 59.9307 | 38.1
51101 | 2021-03-22 12:57 | 6.3341 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 230.5997 | μmol/L | 19.629 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.275 | 132536.5116 | 303452.9915 | 59.9307 | 38.1
51110 | 2021-03-22 12:57 | 6.667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 230.5198 | μmol/L | 19.629 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.279 | 132540.1473 | 303458.9242 | 59.9307 | 38.1
51120 | 2021-03-22 12:57 | 7.0002 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 230.4399 | μmol/L | 19.629 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.283 | 132554.9494 | 303445.7587 | 59.9307 | 38.1
51130 | 2021-03-22 12:58 | 7.334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 230.3815 | μmol/L | 19.6229 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.288 | 132577.3178 | 303443.8685 | 59.9307 | 38.1
51140 | 2021-03-22 12:58 | 7.6669 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 230.3615 | μmol/L | 19.6229 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.289 | 132603.5038 | 303438.3034 | 59.9307 | 38.1
51151 | 2021-03-22 12:58 | 8.0007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 230.2632 | μmol/L | 19.6168 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.296 | 132634.253 | 303431.9796 | 59.9307 | 38.1
51160 | 2021-03-22 12:59 | 8.3336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 230.165 | μmol/L | 19.6107 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.303 | 132662.9448 | 303431.3764 | 59.9307 | 38.1
51170 | 2021-03-22 12:59 | 8.6672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 229.9444 | μmol/L | 19.6168 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.312 | 132714.5608 | 303420.8696 | 59.9307 | 38.1
51180 | 2021-03-22 12:59 | 9.0002 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 229.8448 | μmol/L | 19.6168 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.317 | 132757.4372 | 303422.3009 | 59.9307 | 38.1
51191 | 2021-03-22 13:00 | 9.3342 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 229.7468 | μmol/L | 19.6107 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.324 | 132805.4632 | 303407.4133 | 59.9307 | 38.1
51200 | 2021-03-22 13:00 | 9.667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 229.6275 | μmol/L | 19.6107 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.33 | 132838.4747 | 303408.1124 | 59.9307 | 38.1
51210 | 2021-03-22 13:00 | 10.0002 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 229.5709 | μmol/L | 19.5985 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.337 | 132888.0271 | 303401.4536 | 59.9307 | 38.1
51221 | 2021-03-22 13:01 | 10.3341 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 229.412 | μmol/L | 19.5985 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.345 | 132918.2717 | 303404.3677 | 59.9307 | 38.1
51230 | 2021-03-22 13:01 | 10.667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 229.3723 | μmol/L | 19.5985 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.347 | 132939.6481 | 303394.3622 | 59.9307 | 38.1
51241 | 2021-03-22 13:01 | 11.0009 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 229.2929 | μmol/L | 19.5985 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.351 | 132960.2549 | 303391.0245 | 59.9307 | 38.1
51250 | 2021-03-22 13:02 | 11.3342 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 229.1739 | μmol/L | 19.5985 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.357 | 132982.8922 | 303391.6481 | 59.9307 | 38.1
51261 | 2021-03-22 13:02 | 11.6672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 229.1343 | μmol/L | 19.5985 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.359 | 133003.8198 | 303396.8539 | 59.9307 | 38.1
51270 | 2021-03-22 13:02 | 12.0002 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 229.1358 | μmol/L | 19.5924 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.361 | 133044.1025 | 303385.1018 | 59.9307 | 38.1
51281 | 2021-03-22 13:03 | 12.3338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 229.0367 | μmol/L | 19.5924 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.366 | 133037.5717 | 303376.4638 | 59.9307 | 38.1
51290 | 2021-03-22 13:03 | 12.6668 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 229.0169 | μmol/L | 19.5924 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.367 | 133051.4797 | 303379.033 | 59.9307 | 38.1
51301 | 2021-03-22 13:03 | 13.0007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 229.0382 | μmol/L | 19.5863 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.368 | 133073.0856 | 303365.9436 | 59.9307 | 38.1
51310 | 2021-03-22 13:04 | 13.3338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 228.9788 | μmol/L | 19.5863 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.371 | 133081.901 | 303362.3492 | 59.9307 | 38.1
51320 | 2021-03-22 13:04 | 13.6668 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 228.9194 | μmol/L | 19.5863 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.374 | 133108.1863 | 303365.8408 | 59.9307 | 38.1
51330 | 2021-03-22 13:04 | 14.0005 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 228.8417 | μmol/L | 19.5801 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.38 | 133127.9636 | 303362.9544 | 59.9307 | 38.1
51340 | 2021-03-22 13:05 | 14.3342 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 228.7641 | μmol/L | 19.574 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.386 | 133164.8321 | 303355.9632 | 59.9307 | 38.1
51351 | 2021-03-22 13:05 | 14.6673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 228.7459 | μmol/L | 19.5679 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.389 | 133188.1292 | 303354.4769 | 59.9307 | 38.1
51361 | 2021-03-22 13:05 | 15.0004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 228.6075 | μmol/L | 19.5679 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.396 | 133224.9231 | 303366.6331 | 59.9307 | 38.1
51371 | 2021-03-22 13:06 | 15.3339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 228.6683 | μmol/L | 19.5618 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.395 | 133229.4058 | 303355.3405 | 59.9307 | 38.1
51381 | 2021-03-22 13:06 | 15.6673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 228.6288 | μmol/L | 19.5618 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.397 | 133246.3109 | 303359.8673 | 59.9307 | 38.1
51390 | 2021-03-22 13:06 | 16.0001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 228.5118 | μmol/L | 19.5557 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.405 | 133264.8076 | 303358.8438 | 59.9307 | 38.1
51400 | 2021-03-22 13:07 | 16.3338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 228.5118 | μmol/L | 19.5557 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.405 | 133285.9033 | 303345.7749 | 59.9307 | 38.1
51410 | 2021-03-22 13:07 | 16.6675 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 228.4146 | μmol/L | 19.5496 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.412 | 133316.8669 | 303351.1134 | 59.9307 | 38.1
51421 | 2021-03-22 13:07 | 17.0004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 228.4131 | μmol/L | 19.5557 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.41 | 133325.532 | 303347.7298 | 59.9307 | 38.1
51430 | 2021-03-22 13:08 | 17.3342 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 228.4754 | μmol/L | 19.5435 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.411 | 133340.9388 | 303341.5517 | 59.9307 | 38.1
51441 | 2021-03-22 13:08 | 17.6672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 228.3554 | μmol/L | 19.5496 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.415 | 133333.647 | 303334.2585 | 59.9307 | 38.1
51451 | 2021-03-22 13:08 | 18.0002 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 228.3767 | μmol/L | 19.5435 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.416 | 133341.977 | 303321.6877 | 59.9307 | 38.1
51461 | 2021-03-22 13:09 | 18.334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 228.3767 | μmol/L | 19.5435 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.416 | 133349.5082 | 303329.5645 | 59.9307 | 38.1
51470 | 2021-03-22 13:09 | 18.6668 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 228.357 | μmol/L | 19.5435 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.417 | 133351.1448 | 303329.007 | 59.9307 | 38.1
51481 | 2021-03-22 13:09 | 19.0008 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 228.3191 | μmol/L | 19.5374 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.421 | 133366.766 | 303325.2017 | 59.9307 | 38.1
51491 | 2021-03-22 13:10 | 19.3338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 228.3207 | μmol/L | 19.5313 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.423 | 133403.4001 | 303318.0278 | 59.9307 | 38.1
51501 | 2021-03-22 13:10 | 19.6675 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 228.1219 | μmol/L | 19.5374 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.431 | 133449.6238 | 303331.7256 | 59.9307 | 38.1
51510 | 2021-03-22 13:10 | 20.0005 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 228.066 | μmol/L | 19.5252 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.438 | 133499.8335 | 303334.6952 | 59.9307 | 38.1
51521 | 2021-03-22 13:11 | 20.3335 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.8675 | μmol/L | 19.5313 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.446 | 133551.5514 | 303328.9486 | 59.9307 | 38.1
51530 | 2021-03-22 13:11 | 20.667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.8494 | μmol/L | 19.5252 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.449 | 133583.9898 | 303344.7274 | 59.9307 | 38.1
51541 | 2021-03-22 13:11 | 21.0002 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.7494 | μmol/L | 19.5313 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.452 | 133603.5943 | 303347.1857 | 59.9307 | 38.1
51551 | 2021-03-22 13:12 | 21.3339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.7723 | μmol/L | 19.5191 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.455 | 133626.9559 | 303345.157 | 59.9307 | 38.1
51561 | 2021-03-22 13:12 | 21.6668 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.7346 | μmol/L | 19.513 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.459 | 133665.4204 | 303355.8383 | 59.9307 | 38.1
51570 | 2021-03-22 13:12 | 22.0007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.5773 | μmol/L | 19.513 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.467 | 133700.4592 | 303328.4548 | 59.9307 | 38.1
51580 | 2021-03-22 13:13 | 22.3337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.4186 | μmol/L | 19.5191 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.473 | 133762.4798 | 303340.83 | 59.9307 | 38.1
51591 | 2021-03-22 13:13 | 22.667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.0999 | μmol/L | 19.5374 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.483 | 133811.4923 | 303329.4011 | 59.9307 | 38.1
51601 | 2021-03-22 13:13 | 23.0007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.7182 | μmol/L | 19.574 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.49 | 133852.0075 | 303318.5547 | 59.9307 | 38.1
51611 | 2021-03-22 13:14 | 23.3337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.3177 | μmol/L | 19.6107 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.498 | 133922.5078 | 303338.6851 | 59.9307 | 38.1
51621 | 2021-03-22 13:14 | 23.6673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.0755 | μmol/L | 19.6412 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.5 | 133950.9904 | 303320.7318 | 59.9307 | 38.1
51630 | 2021-03-22 13:14 | 24.0001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.9554 | μmol/L | 19.6534 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.502 | 133949.7978 | 303300.3642 | 59.9307 | 38.1
51641 | 2021-03-22 13:15 | 24.3339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.9944 | μmol/L | 19.6534 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.5 | 133941.8191 | 303320.7976 | 59.9307 | 38.1
51651 | 2021-03-22 13:15 | 24.6668 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.1942 | μmol/L | 19.6351 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.496 | 133921.1513 | 303322.8485 | 59.9307 | 38.1
51661 | 2021-03-22 13:15 | 25.0006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.4106 | μmol/L | 19.629 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.487 | 133866.8822 | 303316.522 | 59.9307 | 38.1
51671 | 2021-03-22 13:16 | 25.3335 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.5263 | μmol/L | 19.6351 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.479 | 133791.5861 | 303295.6231 | 59.9307 | 38.1
51681 | 2021-03-22 13:16 | 25.6674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.8425 | μmol/L | 19.6229 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.467 | 133735.5258 | 303298.4445 | 59.9307 | 38.1
51691 | 2021-03-22 13:16 | 26.0003 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.8981 | μmol/L | 19.6351 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.46 | 133682.1203 | 303304.5247 | 59.9307 | 38.1
51700 | 2021-03-22 13:17 | 26.3341 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.975 | μmol/L | 19.6412 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.454 | 133630.4843 | 303291.9589 | 59.9307 | 38.1
51710 | 2021-03-22 13:17 | 26.6673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.1711 | μmol/L | 19.6412 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.444 | 133587.4551 | 303302.1212 | 59.9307 | 38.1
51720 | 2021-03-22 13:17 | 27.0002 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.248 | μmol/L | 19.6473 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.438 | 133557.8925 | 303297.0138 | 59.9307 | 38.1
51730 | 2021-03-22 13:18 | 27.3338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.2088 | μmol/L | 19.6473 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.44 | 133532.8801 | 303294.0232 | 59.9307 | 38.1
51741 | 2021-03-22 13:18 | 27.6669 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.088 | μmol/L | 19.6596 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.442 | 133559.1115 | 303284.0933 | 59.9307 | 38.1
51751 | 2021-03-22 13:18 | 28.0006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.1091 | μmol/L | 19.6534 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.443 | 133568.5934 | 303292.7878 | 59.9307 | 38.1
51760 | 2021-03-22 13:19 | 28.3336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.0895 | μmol/L | 19.6534 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.444 | 133571.3322 | 303283.5175 | 59.9307 | 38.1
51771 | 2021-03-22 13:19 | 28.6676 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.0864 | μmol/L | 19.6657 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.44 | 133566.2691 | 303262.6827 | 59.9307 | 38.1
51780 | 2021-03-22 13:19 | 29.0005 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.8662 | μmol/L | 19.684 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.445 | 133579.6666 | 303278.189 | 59.9307 | 38.1
51791 | 2021-03-22 13:20 | 29.3342 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.9265 | μmol/L | 19.6779 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.444 | 133576.4874 | 303291.0338 | 59.9307 | 38.1
51801 | 2021-03-22 13:20 | 29.6675 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.9069 | μmol/L | 19.6779 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.445 | 133579.0568 | 303285.7428 | 59.9307 | 38.1
51810 | 2021-03-22 13:20 | 30.0003 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.0245 | μmol/L | 19.6779 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.439 | 133552.1235 | 303292.1571 | 59.9307 | 38.1
51820 | 2021-03-22 13:21 | 30.3336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.8842 | μmol/L | 19.6901 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.442 | 133538.033 | 303276.4056 | 59.9307 | 38.1
51831 | 2021-03-22 13:21 | 30.6672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.8827 | μmol/L | 19.6962 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.44 | 133547.5013 | 303265.8879 | 59.9307 | 38.1
51841 | 2021-03-22 13:21 | 31.0001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.7033 | μmol/L | 19.7084 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.445 | 133558.4324 | 303271.827 | 59.9307 | 38.1
51851 | 2021-03-22 13:22 | 31.3338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.5828 | μmol/L | 19.7206 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.447 | 133584.8654 | 303267.037 | 59.9307 | 38.1
51861 | 2021-03-22 13:22 | 31.6676 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.6461 | μmol/L | 19.7023 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.45 | 133594.5501 | 303253.5084 | 59.9307 | 38.1
51870 | 2021-03-22 13:22 | 32.0005 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.5859 | μmol/L | 19.7084 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.451 | 133608.1507 | 303258.2375 | 59.9307 | 38.1
51881 | 2021-03-22 13:23 | 32.3342 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.6235 | μmol/L | 19.7145 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.447 | 133590.2218 | 303252.2409 | 59.9307 | 38.1
51890 | 2021-03-22 13:23 | 32.667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.5422 | μmol/L | 19.7267 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.447 | 133592.1476 | 303251.897 | 59.9307 | 38.1
51900 | 2021-03-22 13:23 | 33.0008 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.5015 | μmol/L | 19.7329 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.447 | 133593.9667 | 303250.6786 | 59.9307 | 38.1
51911 | 2021-03-22 13:24 | 33.3338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.4444 | μmol/L | 19.7267 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.452 | 133619.2106 | 303250.8918 | 59.9307 | 38.1
51921 | 2021-03-22 13:24 | 33.6676 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.3271 | μmol/L | 19.7267 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.458 | 133641.8789 | 303246.6322 | 59.9307 | 38.1
51931 | 2021-03-22 13:24 | 34.0003 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.3481 | μmol/L | 19.7206 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.459 | 133653.9187 | 303247.7597 | 59.9307 | 38.1
51941 | 2021-03-22 13:25 | 34.334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.2083 | μmol/L | 19.7329 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.462 | 133681.8547 | 303232.6269 | 59.9307 | 38.1
51950 | 2021-03-22 13:25 | 34.6669 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.2309 | μmol/L | 19.7206 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.465 | 133708.5489 | 303237.6429 | 59.9307 | 38.1
51960 | 2021-03-22 13:25 | 35.0008 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.932 | μmol/L | 19.7451 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.472 | 133723.372 | 303238.0393 | 59.9307 | 38.1
51970 | 2021-03-22 13:26 | 35.334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.872 | μmol/L | 19.7512 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.473 | 133754.7035 | 303232.0173 | 59.9307 | 38.1
51981 | 2021-03-22 13:26 | 35.6668 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.7955 | μmol/L | 19.7451 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.479 | 133781.1037 | 303232.5884 | 59.9307 | 38.1
51990 | 2021-03-22 13:26 | 36.0007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.6965 | μmol/L | 19.7512 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.482 | 133811.0272 | 303232.8269 | 59.9307 | 38.1
52000 | 2021-03-22 13:27 | 36.3336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.5797 | μmol/L | 19.7512 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.488 | 133835.1001 | 303232.4856 | 59.9307 | 38.1
52011 | 2021-03-22 13:27 | 36.6675 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.5003 | μmol/L | 19.7573 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.49 | 133879.8546 | 303230.1202 | 59.9307 | 38.1
52020 | 2021-03-22 13:27 | 37.0007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.3851 | μmol/L | 19.7512 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.498 | 133936.1339 | 303231.3002 | 59.9307 | 38.1
52031 | 2021-03-22 13:28 | 37.3336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.2265 | μmol/L | 19.7634 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.502 | 133961.3036 | 303231.1216 | 59.9307 | 38.1
52040 | 2021-03-22 13:28 | 37.6673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.1504 | μmol/L | 19.7573 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.508 | 133997.5759 | 303238.7223 | 59.9307 | 38.1
52050 | 2021-03-22 13:28 | 38.0003 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.9353 | μmol/L | 19.7634 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.517 | 134036.6827 | 303225.1805 | 59.9307 | 38.1
52060 | 2021-03-22 13:29 | 38.334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.722 | μmol/L | 19.7634 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.528 | 134100.2033 | 303220.6951 | 59.9307 | 38.1
52070 | 2021-03-22 13:29 | 38.6669 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.6042 | μmol/L | 19.7695 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.532 | 134144.6533 | 303212.2517 | 59.9307 | 38.1
52081 | 2021-03-22 13:29 | 39.0007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.6251 | μmol/L | 19.7634 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.533 | 134153.3686 | 303219.022 | 59.9307 | 38.1
52090 | 2021-03-22 13:30 | 39.334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.5461 | μmol/L | 19.7695 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.535 | 134157.951 | 303222.8207 | 59.9307 | 38.1
52101 | 2021-03-22 13:30 | 39.6669 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.4268 | μmol/L | 19.7817 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.537 | 134159.8978 | 303196.9216 | 59.9307 | 38.1
52111 | 2021-03-22 13:30 | 40.0008 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.4268 | μmol/L | 19.7817 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.537 | 134176.3927 | 303201.5273 | 59.9307 | 38.1
52120 | 2021-03-22 13:31 | 40.334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.3301 | μmol/L | 19.7817 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.542 | 134189.361 | 303211.0113 | 59.9307 | 38.1
52131 | 2021-03-22 13:31 | 40.6668 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.3301 | μmol/L | 19.7817 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.542 | 134210.0123 | 303209.0079 | 59.9307 | 38.1
52140 | 2021-03-22 13:31 | 41.0005 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.2318 | μmol/L | 19.7878 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.545 | 134233.9391 | 303214.9393 | 59.9307 | 38.1
52151 | 2021-03-22 13:32 | 41.3342 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.2736 | μmol/L | 19.7756 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.547 | 134251.9437 | 303210.8569 | 59.9307 | 38.1
52160 | 2021-03-22 13:32 | 41.6671 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.1754 | μmol/L | 19.7817 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.55 | 134274.4068 | 303215.1271 | 59.9307 | 38.1
52171 | 2021-03-22 13:32 | 42.0008 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.0997 | μmol/L | 19.7756 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.556 | 134288.5671 | 303203.9497 | 59.9307 | 38.1
52181 | 2021-03-22 13:33 | 42.3336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.0016 | μmol/L | 19.7817 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.559 | 134318.5426 | 303212.5311 | 59.9307 | 38.1
52191 | 2021-03-22 13:33 | 42.6668 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.926 | μmol/L | 19.7756 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.565 | 134341.1936 | 303209.026 | 59.9307 | 38.1
52200 | 2021-03-22 13:33 | 43.0005 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.8858 | μmol/L | 19.7817 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.565 | 134358.6137 | 303216.8318 | 59.9307 | 38.1
52211 | 2021-03-22 13:34 | 43.3341 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.7685 | μmol/L | 19.7878 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.569 | 134379.8964 | 303201.554 | 59.9307 | 38.1
52220 | 2021-03-22 13:34 | 43.6671 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.8086 | μmol/L | 19.7817 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.569 | 134404.8244 | 303208.9271 | 59.9307 | 38.1
52231 | 2021-03-22 13:34 | 44.0007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.6143 | μmol/L | 19.7878 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.577 | 134431.308 | 303212.0659 | 59.9307 | 38.1
52240 | 2021-03-22 13:35 | 44.3336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.5565 | μmol/L | 19.7878 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.58 | 134453.6219 | 303210.4583 | 59.9307 | 38.1
52251 | 2021-03-22 13:35 | 44.6674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.4972 | μmol/L | 19.7939 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.581 | 134460.6895 | 303207.5705 | 59.9307 | 38.1
52260 | 2021-03-22 13:35 | 45.0003 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.4795 | μmol/L | 19.7878 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.584 | 134477.6274 | 303186.5271 | 59.9307 | 38.1
52271 | 2021-03-22 13:36 | 45.334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.4025 | μmol/L | 19.7878 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.588 | 134496.2931 | 303199.2182 | 59.9307 | 38.1
52280 | 2021-03-22 13:36 | 45.6671 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.3255 | μmol/L | 19.7878 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.592 | 134510.6278 | 303200.7812 | 59.9307 | 38.1
52291 | 2021-03-22 13:36 | 46.0009 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.3239 | μmol/L | 19.7939 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.59 | 134531.1278 | 303217.3592 | 59.9307 | 38.1
52301 | 2021-03-22 13:37 | 46.3338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.2262 | μmol/L | 19.8 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.593 | 134545.2982 | 303212.6092 | 59.9307 | 38.1
52311 | 2021-03-22 13:37 | 46.6675 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.1285 | μmol/L | 19.8062 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.596 | 134572.951 | 303222.6626 | 59.9307 | 38.1
52320 | 2021-03-22 13:37 | 47.0006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.1509 | μmol/L | 19.7939 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.599 | 134578.6952 | 303205.0203 | 59.9307 | 38.1
52331 | 2021-03-22 13:38 | 47.3342 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.0585 | μmol/L | 19.8 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.602 | 134595.0123 | 303201.3101 | 59.9307 | 38.1
52340 | 2021-03-22 13:38 | 47.6671 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.0601 | μmol/L | 19.7939 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.604 | 134621.315 | 303200.3464 | 59.9307 | 38.1
52351 | 2021-03-22 13:38 | 48.0008 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 222.9572 | μmol/L | 19.8 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.607 | 134637.5264 | 303199.5787 | 59.9307 | 38.1
52360 | 2021-03-22 13:39 | 48.3337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 222.9657 | μmol/L | 19.7878 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.611 | 134643.7581 | 303192.666 | 59.9307 | 38.1
52370 | 2021-03-22 13:39 | 48.6674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 222.8089 | μmol/L | 19.8 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.615 | 134687.2037 | 303202.0752 | 59.9307 | 38.1
52380 | 2021-03-22 13:39 | 49.0003 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 222.8297 | μmol/L | 19.7939 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.616 | 134695.1217 | 303203.2006 | 59.9307 | 38.1
52390 | 2021-03-22 13:40 | 49.334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 222.753 | μmol/L | 19.7939 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.62 | 134724.942 | 303188.428 | 59.9307 | 38.1
52401 | 2021-03-22 13:40 | 49.6674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 222.5597 | μmol/L | 19.8 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.628 | 134753.6113 | 303196.1432 | 59.9307 | 38.1
52411 | 2021-03-22 13:40 | 50.0003 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 222.598 | μmol/L | 19.8 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.626 | 134781.1037 | 303184.7658 | 59.9307 | 38.1
52420 | 2021-03-22 13:41 | 50.334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 222.4065 | μmol/L | 19.8 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.636 | 134809.3209 | 303193.4998 | 59.9307 | 38.1
52430 | 2021-03-22 13:41 | 50.6669 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 222.3874 | μmol/L | 19.8 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.637 | 134822.0323 | 303168.4019 | 59.9307 | 38.1
52440 | 2021-03-22 13:41 | 51.0002 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 222.3316 | μmol/L | 19.7939 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.642 | 134843.2089 | 303187.9223 | 59.9307 | 38.1
52450 | 2021-03-22 13:42 | 51.3339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 222.2934 | μmol/L | 19.7939 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.644 | 134863.2354 | 303187.2573 | 59.9307 | 38.1
52460 | 2021-03-22 13:42 | 51.6668 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 222.2152 | μmol/L | 19.8 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.646 | 134901.4289 | 303190.9955 | 59.9307 | 38.1
52471 | 2021-03-22 13:42 | 52.0007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 222.0623 | μmol/L | 19.8 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.654 | 134915.8842 | 303180.6096 | 59.9307 | 38.1
52481 | 2021-03-22 13:43 | 52.3336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 222.064 | μmol/L | 19.7939 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.656 | 134952.0485 | 303180.5928 | 59.9307 | 38.1
52491 | 2021-03-22 13:43 | 52.6673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 221.9701 | μmol/L | 19.7878 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.663 | 134989.2098 | 303180.0536 | 59.9307 | 38.1
52500 | 2021-03-22 13:43 | 53.0002 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 221.9319 | μmol/L | 19.7878 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.665 | 135020.1654 | 303163.4584 | 59.9307 | 38.1
52511 | 2021-03-22 13:44 | 53.3342 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 221.9161 | μmol/L | 19.7756 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.67 | 135067.3342 | 303175.3792 | 59.9307 | 38.1
52520 | 2021-03-22 13:44 | 53.6671 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 221.7254 | μmol/L | 19.7756 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.68 | 135085.95 | 303172.6021 | 59.9307 | 38.1
52531 | 2021-03-22 13:44 | 54.0008 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 221.6284 | μmol/L | 19.7817 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.683 | 135119.3265 | 303163.9279 | 59.9307 | 38.1
52541 | 2021-03-22 13:45 | 54.3339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 221.5141 | μmol/L | 19.7817 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.689 | 135148.858 | 303159.4235 | 59.9307 | 38.1
52550 | 2021-03-22 13:45 | 54.6672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 221.457 | μmol/L | 19.7817 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.692 | 135149.0259 | 303151.2851 | 59.9307 | 38.1
52561 | 2021-03-22 13:45 | 55.0007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 221.5365 | μmol/L | 19.7695 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.692 | 135181.8366 | 303176.0393 | 59.9307 | 38.1
52571 | 2021-03-22 13:46 | 55.3339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 221.5381 | μmol/L | 19.7634 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.694 | 135189.7765 | 303152.3163 | 59.9307 | 38.1
52580 | 2021-03-22 13:46 | 55.6667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 221.8407 | μmol/L | 19.7023 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.699 | 135200.695 | 303152.8604 | 59.9307 | 38.1
52591 | 2021-03-22 13:46 | 56.0005 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 222.0781 | μmol/L | 19.6718 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.697 | 135215.2223 | 303160.5499 | 59.9307 | 38.1
52600 | 2021-03-22 13:47 | 56.3336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 222.0225 | μmol/L | 19.6657 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.702 | 135224.8785 | 303157.9157 | 59.9307 | 38.1
52611 | 2021-03-22 13:47 | 56.6674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 222.0433 | μmol/L | 19.6596 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.703 | 135231.8646 | 303145.4912 | 59.9307 | 38.1
52620 | 2021-03-22 13:47 | 57.0005 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 222.0641 | μmol/L | 19.6534 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.704 | 135238.2851 | 303165.7989 | 59.9307 | 38.1
52631 | 2021-03-22 13:48 | 57.3341 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 222.0277 | μmol/L | 19.6473 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.708 | 135255.7297 | 303145.0925 | 59.9307 | 38.1
52641 | 2021-03-22 13:48 | 57.6672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 221.9306 | μmol/L | 19.6534 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.711 | 135285.2064 | 303145.9422 | 59.9307 | 38.1
52651 | 2021-03-22 13:48 | 58.0008 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 221.7417 | μmol/L | 19.6473 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.723 | 135330.9526 | 303147.4191 | 59.9307 | 38.1
52661 | 2021-03-22 13:49 | 58.3337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 221.47 | μmol/L | 19.6657 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.731 | 135402.4236 | 303160.3427 | 59.9307 | 38.1
52670 | 2021-03-22 13:49 | 58.667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 221.3005 | μmol/L | 19.6596 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.742 | 135460.9886 | 303157.5208 | 59.9307 | 38.1
52680 | 2021-03-22 13:49 | 59.0006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 221.1088 | μmol/L | 19.6657 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.75 | 135522.4436 | 303140.9992 | 59.9307 | 38.1
52691 | 2021-03-22 13:50 | 59.3336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 221.0157 | μmol/L | 19.6596 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.757 | 135591.0509 | 303165.2691 | 59.9307 | 38.1
52700 | 2021-03-22 13:50 | 59.6674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 220.8467 | μmol/L | 19.6534 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.768 | 135648.8053 | 303171.0445 | 59.9307 | 38.1
52710 | 2021-03-22 13:50 | 60.0002 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 220.7519 | μmol/L | 19.6534 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.773 | 135678.6223 | 303161.5259 | 59.9307 | 38.1
52720 | 2021-03-22 13:51 | 60.3338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 220.6383 | μmol/L | 19.6534 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.779 | 135704.4867 | 303154.1546 | 59.9307 | 38.1
52731 | 2021-03-22 13:51 | 60.6668 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 220.733 | μmol/L | 19.6534 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.774 | 135701.5658 | 303168.3724 | 59.9307 | 38.1
52741 | 2021-03-22 13:51 | 61.0006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 220.7519 | μmol/L | 19.6534 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.773 | 135678.7417 | 303160.2855 | 59.9307 | 38.1
52750 | 2021-03-22 13:52 | 61.3335 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 220.7726 | μmol/L | 19.6473 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.774 | 135691.1477 | 303171.8178 | 59.9307 | 38.1
52761 | 2021-03-22 13:52 | 61.6672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 220.7933 | μmol/L | 19.6412 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.775 | 135700.1733 | 303159.445 | 59.9307 | 38.1
52771 | 2021-03-22 13:52 | 62.0008 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 220.7021 | μmol/L | 19.629 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.784 | 135740.6387 | 303164.3534 | 59.9307 | 38.1
52781 | 2021-03-22 13:53 | 62.3338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 220.5696 | μmol/L | 19.629 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.791 | 135793.0111 | 303170.6229 | 59.9307 | 38.1
52791 | 2021-03-22 13:53 | 62.6675 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 220.3975 | μmol/L | 19.6351 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.798 | 135841.8245 | 303163.9312 | 59.9307 | 38.1
52801 | 2021-03-22 13:53 | 63.0005 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 220.3048 | μmol/L | 19.629 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.805 | 135892.2557 | 303169.9476 | 59.9307 | 38.1
52811 | 2021-03-22 13:54 | 63.3342 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 220.2499 | μmol/L | 19.6229 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.81 | 135927.9841 | 303158.0636 | 59.9307 | 38.1
52821 | 2021-03-22 13:54 | 63.6672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 220.2328 | μmol/L | 19.6168 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.813 | 135962.461 | 303156.7544 | 59.9307 | 38.1
52831 | 2021-03-22 13:54 | 64.0009 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 220.1006 | μmol/L | 19.6168 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.82 | 135993.4242 | 303163.2836 | 59.9307 | 38.1
52841 | 2021-03-22 13:55 | 64.3337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 220.1401 | μmol/L | 19.6107 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.82 | 136004.4106 | 303170.2868 | 59.9307 | 38.1
52850 | 2021-03-22 13:55 | 64.6674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 220.1608 | μmol/L | 19.6046 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.821 | 136001.8979 | 303171.1556 | 59.9307 | 38.1
52861 | 2021-03-22 13:55 | 65.0004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 220.1194 | μmol/L | 19.6168 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.819 | 135995.0982 | 303157.1289 | 59.9307 | 38.1
52870 | 2021-03-22 13:56 | 65.3341 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 220.2381 | μmol/L | 19.5985 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.819 | 135996.5459 | 303183.454 | 59.9307 | 38.1
52880 | 2021-03-22 13:56 | 65.6669 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 220.2192 | μmol/L | 19.5985 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.82 | 135997.2145 | 303180.5026 | 59.9307 | 38.1
52891 | 2021-03-22 13:56 | 66.0009 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 220.1437 | μmol/L | 19.5985 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.824 | 136013.2614 | 303171.8725 | 59.9307 | 38.1
52900 | 2021-03-22 13:57 | 66.3337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 220.0287 | μmol/L | 19.6046 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.828 | 136041.8975 | 303181.2966 | 59.9307 | 38.1
52911 | 2021-03-22 13:57 | 66.6672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 219.9155 | μmol/L | 19.6046 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.834 | 136088.389 | 303173.4055 | 59.9307 | 38.1
52920 | 2021-03-22 13:57 | 67.0001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 219.8212 | μmol/L | 19.6046 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.839 | 136134.3748 | 303168.8474 | 59.9307 | 38.1
52931 | 2021-03-22 13:58 | 67.334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 219.7288 | μmol/L | 19.5985 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.846 | 136169.993 | 303158.8839 | 59.9307 | 38.1
52940 | 2021-03-22 13:58 | 67.6669 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 219.6159 | μmol/L | 19.5985 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.852 | 136210.3477 | 303166.6477 | 59.9307 | 38.1
52950 | 2021-03-22 13:58 | 68.0006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 219.5029 | μmol/L | 19.5985 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.858 | 136258.7164 | 303178.6643 | 59.9307 | 38.1
52961 | 2021-03-22 13:59 | 68.3337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 219.4071 | μmol/L | 19.6046 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.861 | 136270.1376 | 303168.4398 | 59.9307 | 38.1
52971 | 2021-03-22 13:59 | 68.6669 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 219.4107 | μmol/L | 19.5924 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.865 | 136294.7321 | 303174.232 | 59.9307 | 38.1
52980 | 2021-03-22 13:59 | 69.0006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 219.2773 | μmol/L | 19.5985 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.87 | 136335.9075 | 303166.1745 | 59.9307 | 38.1
52990 | 2021-03-22 14:00 | 69.3338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 219.2998 | μmol/L | 19.5863 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.873 | 136353.1234 | 303166.9585 | 59.9307 | 38.1
53000 | 2021-03-22 14:00 | 69.6674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 219.2265 | μmol/L | 19.5801 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.879 | 136377.3896 | 303160.8374 | 59.9307 | 38.1
53010 | 2021-03-22 14:00 | 70.0005 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 219.2659 | μmol/L | 19.574 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.879 | 136394.1483 | 303156.8639 | 59.9307 | 38.1
53020 | 2021-03-22 14:01 | 70.3334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 219.2489 | μmol/L | 19.5679 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.882 | 136419.7941 | 303168.2011 | 59.9307 | 38.1
53031 | 2021-03-22 14:01 | 70.6671 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 219.0969 | μmol/L | 19.574 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.888 | 136436.7403 | 303170.4598 | 59.9307 | 38.1
53040 | 2021-03-22 14:01 | 71.0001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 219.0987 | μmol/L | 19.5679 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.89 | 136455.1226 | 303174.4083 | 59.9307 | 38.1
53051 | 2021-03-22 14:02 | 71.334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 218.9843 | μmol/L | 19.574 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.894 | 136487.7408 | 303169.0535 | 59.9307 | 38.1
53060 | 2021-03-22 14:02 | 71.6671 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 218.8755 | μmol/L | 19.5618 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.904 | 136524.5099 | 303176.1391 | 59.9307 | 38.1
53071 | 2021-03-22 14:02 | 72.0008 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 218.8362 | μmol/L | 19.5679 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.904 | 136552.4745 | 303156.9872 | 59.9307 | 38.1
53081 | 2021-03-22 14:03 | 72.3338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 218.8006 | μmol/L | 19.5618 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.908 | 136585.3948 | 303165.3594 | 59.9307 | 38.1
53091 | 2021-03-22 14:03 | 72.6669 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 218.6863 | μmol/L | 19.5679 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.912 | 136603.6814 | 303169.4381 | 59.9307 | 38.1
53101 | 2021-03-22 14:03 | 73.0006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 218.6713 | μmol/L | 19.5557 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.917 | 136641.5389 | 303164.8659 | 59.9307 | 38.1
53111 | 2021-03-22 14:04 | 73.3336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 218.501 | μmol/L | 19.5618 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.924 | 136663.7522 | 303173.2526 | 59.9307 | 38.1
53121 | 2021-03-22 14:04 | 73.6675 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 218.5422 | μmol/L | 19.5496 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.926 | 136691.2373 | 303162.5218 | 59.9307 | 38.1
53130 | 2021-03-22 14:04 | 74.0004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 218.5048 | μmol/L | 19.5496 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.928 | 136718.8907 | 303163.4428 | 59.9307 | 38.1
53141 | 2021-03-22 14:05 | 74.3341 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 218.4132 | μmol/L | 19.5435 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.935 | 136735.5516 | 303153.9084 | 59.9307 | 38.1
53150 | 2021-03-22 14:05 | 74.6668 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 218.3384 | μmol/L | 19.5435 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.939 | 136764.5011 | 303162.3506 | 59.9307 | 38.1
53160 | 2021-03-22 14:05 | 75.0007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 218.3216 | μmol/L | 19.5374 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.942 | 136785.827 | 303157.6262 | 59.9307 | 38.1
53171 | 2021-03-22 14:06 | 75.3337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 218.2773 | μmol/L | 19.5435 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.942 | 136792.3102 | 303155.3446 | 59.9307 | 38.1
53181 | 2021-03-22 14:06 | 75.6674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 218.2263 | μmol/L | 19.5435 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.945 | 136810.1566 | 303168.1137 | 59.9307 | 38.1
53190 | 2021-03-22 14:06 | 76.0004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 218.2488 | μmol/L | 19.5313 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.948 | 136827.6102 | 303162.6244 | 59.9307 | 38.1
53201 | 2021-03-22 14:07 | 76.3341 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 218.3646 | μmol/L | 19.5191 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.946 | 136832.8313 | 303162.4289 | 59.9307 | 38.1
53210 | 2021-03-22 14:07 | 76.667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 218.3017 | μmol/L | 19.5252 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.947 | 136846.0027 | 303163.8 | 59.9307 | 38.1
53220 | 2021-03-22 14:07 | 77.0001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 218.3048 | μmol/L | 19.5313 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.945 | 136845.2959 | 303154.816 | 59.9307 | 38.1
53231 | 2021-03-22 14:08 | 77.334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 218.3814 | μmol/L | 19.5252 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.943 | 136848.6325 | 303159.0061 | 59.9307 | 38.1
53241 | 2021-03-22 14:08 | 77.6675 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 218.1703 | μmol/L | 19.5435 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.948 | 136852.1897 | 303147.8183 | 59.9307 | 38.1
53251 | 2021-03-22 14:08 | 78.0006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 217.9576 | μmol/L | 19.5679 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.951 | 136892.1818 | 303159.2825 | 59.9307 | 38.1
53260 | 2021-03-22 14:09 | 78.3342 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 217.5161 | μmol/L | 19.6107 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.96 | 136949.5867 | 303165.2489 | 59.9307 | 38.1
53270 | 2021-03-22 14:09 | 78.6669 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 217.3226 | μmol/L | 19.6351 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.962 | 136957.5792 | 303150.8806 | 59.9307 | 38.1
53280 | 2021-03-22 14:09 | 79.0008 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 217.3171 | μmol/L | 19.6534 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.956 | 136968.2744 | 303168.8969 | 59.9307 | 38.1
53290 | 2021-03-22 14:10 | 79.3337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 217.2631 | μmol/L | 19.6473 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.961 | 136966.0222 | 303171.3179 | 59.9307 | 38.1
53300 | 2021-03-22 14:10 | 79.6669 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 217.3022 | μmol/L | 19.6412 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.961 | 136949.5034 | 303173.2355 | 59.9307 | 38.1
53311 | 2021-03-22 14:10 | 80.0006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 217.4323 | μmol/L | 19.6412 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.954 | 136927.8004 | 303174.9072 | 59.9307 | 38.1
53321 | 2021-03-22 14:11 | 80.3335 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 217.5068 | μmol/L | 19.6412 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.95 | 136894.8816 | 303175.5236 | 59.9307 | 38.1
53330 | 2021-03-22 14:11 | 80.6672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 217.7321 | μmol/L | 19.6351 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.94 | 136863.831 | 303171.7163 | 59.9307 | 38.1
53341 | 2021-03-22 14:11 | 81.0003 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 217.6893 | μmol/L | 19.6534 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.936 | 136838.7084 | 303162.4112 | 59.9307 | 38.1
53351 | 2021-03-22 14:12 | 81.334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 217.742 | μmol/L | 19.6473 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.935 | 136813.403 | 303166.2959 | 59.9307 | 38.1
53360 | 2021-03-22 14:12 | 81.6668 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 217.7265 | μmol/L | 19.6534 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.934 | 136807.8453 | 303175.4251 | 59.9307 | 38.1
53370 | 2021-03-22 14:12 | 82.0007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 217.6856 | μmol/L | 19.6657 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.932 | 136813.5954 | 303160.7224 | 59.9307 | 38.1
53380 | 2021-03-22 14:13 | 82.3337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 217.6824 | μmol/L | 19.6596 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.934 | 136812.865 | 303187.8538 | 59.9307 | 38.1
53391 | 2021-03-22 14:13 | 82.6672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 217.6874 | μmol/L | 19.6596 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.934 | 136820.4961 | 303175.9686 | 59.9307 | 38.1
53401 | 2021-03-22 14:13 | 83.0001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 217.7061 | μmol/L | 19.6596 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.933 | 136821.078 | 303185.4806 | 59.9307 | 38.1
53411 | 2021-03-22 14:14 | 83.334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 217.5497 | μmol/L | 19.684 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.933 | 136833.3298 | 303180.2981 | 59.9307 | 38.1
53421 | 2021-03-22 14:14 | 83.6673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 217.5888 | μmol/L | 19.6779 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.933 | 136842.6063 | 303173.5142 | 59.9307 | 38.1
53431 | 2021-03-22 14:14 | 84.0004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 217.5888 | μmol/L | 19.6779 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.933 | 136818.5567 | 303167.8805 | 59.9307 | 38.1
53440 | 2021-03-22 14:15 | 84.3335 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 217.6261 | μmol/L | 19.6779 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.931 | 136826.7548 | 303159.2525 | 59.9307 | 38.1