## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-22 14:27

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
50913 | 2021-03-22 12:50 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 222.2312 | μmol/L | 19.7469 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.704 | 106091.2577 | 301202.9319 | 28.7 | 67.6
50923 | 2021-03-22 12:51 | 0.33162 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 222.158 | μmol/L | 19.7348 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.712 | 106117.0964 | 301216.0331 | 28.7 | 67.6
50933 | 2021-03-22 12:51 | 0.66535 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 222.0038 | μmol/L | 19.7408 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.718 | 106124.5614 | 301221.1953 | 28.7 | 67.6
50943 | 2021-03-22 12:51 | 0.99838 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 222.158 | μmol/L | 19.7348 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.712 | 106120.3103 | 301208.9133 | 28.7 | 67.6
50953 | 2021-03-22 12:52 | 1.332 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 222.061 | μmol/L | 19.7408 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.715 | 106131.8063 | 301227.6408 | 28.7 | 67.6
50963 | 2021-03-22 12:52 | 1.665 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 221.926 | μmol/L | 19.7469 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.72 | 106145.8678 | 301200.0373 | 28.7 | 67.6
50973 | 2021-03-22 12:52 | 1.9986 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 221.7958 | μmol/L | 19.7348 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.731 | 106205.4381 | 301213.128 | 28.7 | 67.6
50983 | 2021-03-22 12:53 | 2.3317 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 221.588 | μmol/L | 19.7287 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.744 | 106246.1524 | 301197.9269 | 28.7 | 67.6
50993 | 2021-03-22 12:53 | 2.6653 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 221.5103 | μmol/L | 19.7348 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.746 | 106261.6457 | 301208.3909 | 28.7 | 67.6
51003 | 2021-03-22 12:53 | 2.9981 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 221.5468 | μmol/L | 19.7408 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.742 | 106246.9978 | 301198.9096 | 28.7 | 67.6
51013 | 2021-03-22 12:54 | 3.3318 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 221.5864 | μmol/L | 19.7348 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.742 | 106223.4461 | 301199.4132 | 28.7 | 67.6
51023 | 2021-03-22 12:54 | 3.6648 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 221.7402 | μmol/L | 19.7287 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.736 | 106213.8185 | 301202.6564 | 28.7 | 67.6
51033 | 2021-03-22 12:54 | 3.9985 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 221.7815 | μmol/L | 19.7165 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.738 | 106192.8152 | 301204.2863 | 28.7 | 67.6
51043 | 2021-03-22 12:55 | 4.3314 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 221.8561 | μmol/L | 19.7226 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.732 | 106176.0281 | 301208.6632 | 28.7 | 67.6
51053 | 2021-03-22 12:55 | 4.6651 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 221.8164 | μmol/L | 19.7287 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.732 | 106177.1175 | 301200.9756 | 28.7 | 67.6
51063 | 2021-03-22 12:55 | 4.998 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 221.7799 | μmol/L | 19.7226 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.736 | 106188.2419 | 301191.5814 | 28.7 | 67.6
51073 | 2021-03-22 12:56 | 5.3318 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 221.6641 | μmol/L | 19.7287 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.74 | 106198.4402 | 301193.1985 | 28.7 | 67.6
51083 | 2021-03-22 12:56 | 5.6646 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 221.6466 | μmol/L | 19.7226 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.743 | 106211.9694 | 301189.7853 | 28.7 | 67.6
51093 | 2021-03-22 12:56 | 5.998 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 221.5515 | μmol/L | 19.7226 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.748 | 106228.7319 | 301181.0647 | 28.7 | 67.6
51103 | 2021-03-22 12:57 | 6.3318 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 221.7481 | μmol/L | 19.6982 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.746 | 106235.2429 | 301174.2461 | 28.7 | 67.6
51113 | 2021-03-22 12:57 | 6.6649 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 221.5563 | μmol/L | 19.7043 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.754 | 106253.9024 | 301178.404 | 28.7 | 67.6
51123 | 2021-03-22 12:57 | 6.9981 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 221.4993 | μmol/L | 19.7043 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.757 | 106278.1025 | 301191.9243 | 28.7 | 67.6
51133 | 2021-03-22 12:58 | 7.3319 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 221.4232 | μmol/L | 19.7043 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.761 | 106298.2832 | 301185.5503 | 28.7 | 67.6
51143 | 2021-03-22 12:58 | 7.6649 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 221.4232 | μmol/L | 19.7043 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.761 | 106307.1072 | 301160.9598 | 28.7 | 67.6
51153 | 2021-03-22 12:58 | 7.998 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 221.3488 | μmol/L | 19.6982 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.767 | 106307.5247 | 301178.4441 | 28.7 | 67.6
51163 | 2021-03-22 12:59 | 8.3317 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 221.3868 | μmol/L | 19.6982 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.765 | 106310.0794 | 301164.6899 | 28.7 | 67.6
51173 | 2021-03-22 12:59 | 8.6653 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 221.2919 | μmol/L | 19.6982 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.77 | 106318.7774 | 301166.1719 | 28.7 | 67.6
51183 | 2021-03-22 12:59 | 8.998 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 221.3315 | μmol/L | 19.6922 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.77 | 106330.1542 | 301159.0919 | 28.7 | 67.6
51193 | 2021-03-22 13:00 | 9.3319 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 221.3125 | μmol/L | 19.6922 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.771 | 106337.0075 | 301150.2181 | 28.7 | 67.6
51203 | 2021-03-22 13:00 | 9.6649 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 221.2398 | μmol/L | 19.68 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.779 | 106348.6218 | 301146.7966 | 28.7 | 67.6
51213 | 2021-03-22 13:00 | 9.9986 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 221.2588 | μmol/L | 19.68 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.778 | 106347.4878 | 301142.9363 | 28.7 | 67.6
51223 | 2021-03-22 13:01 | 10.3318 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 221.2983 | μmol/L | 19.6739 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.778 | 106343.7132 | 301133.4194 | 28.7 | 67.6
51233 | 2021-03-22 13:01 | 10.6648 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 221.3759 | μmol/L | 19.6678 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.776 | 106351.0416 | 301146.2052 | 28.7 | 67.6
51243 | 2021-03-22 13:01 | 10.9986 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 221.3363 | μmol/L | 19.6739 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.776 | 106346.4685 | 301137.3034 | 28.7 | 67.6
51253 | 2021-03-22 13:02 | 11.3318 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 221.4155 | μmol/L | 19.6617 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.776 | 106328.9172 | 301122.77 | 28.7 | 67.6
51263 | 2021-03-22 13:02 | 11.6646 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 221.3189 | μmol/L | 19.6678 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.779 | 106335.0551 | 301138.4387 | 28.7 | 67.6
51273 | 2021-03-22 13:02 | 11.9983 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 221.3 | μmol/L | 19.6678 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.78 | 106336.6982 | 301118.9547 | 28.7 | 67.6
51283 | 2021-03-22 13:03 | 12.3314 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 221.1655 | μmol/L | 19.6739 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.785 | 106355.3215 | 301125.7526 | 28.7 | 67.6
51293 | 2021-03-22 13:03 | 12.6652 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 221.1688 | μmol/L | 19.6617 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.789 | 106375.5072 | 301125.1124 | 28.7 | 67.6
51303 | 2021-03-22 13:03 | 12.9981 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 221.1292 | μmol/L | 19.6678 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.789 | 106379.7226 | 301131.1813 | 28.7 | 67.6
51313 | 2021-03-22 13:04 | 13.3318 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 221.1308 | μmol/L | 19.6617 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.791 | 106388.0667 | 301112.2862 | 28.7 | 67.6
51323 | 2021-03-22 13:04 | 13.6652 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 221.1704 | μmol/L | 19.6557 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.791 | 106389.522 | 301126.6899 | 28.7 | 67.6
51333 | 2021-03-22 13:04 | 13.998 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 221.1704 | μmol/L | 19.6557 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.791 | 106382.4912 | 301125.2961 | 28.7 | 67.6
51343 | 2021-03-22 13:05 | 14.3317 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 221.0945 | μmol/L | 19.6557 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.795 | 106387.1681 | 301110.4725 | 28.7 | 67.6
51353 | 2021-03-22 13:05 | 14.6653 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 221.1357 | μmol/L | 19.6435 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.797 | 106418.6377 | 301107.2443 | 28.7 | 67.6
51363 | 2021-03-22 13:05 | 14.9982 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 220.8688 | μmol/L | 19.6496 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.809 | 106459.0671 | 301125.2414 | 28.7 | 67.6
51373 | 2021-03-22 13:06 | 15.3319 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 220.812 | μmol/L | 19.6496 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.812 | 106482.317 | 301114.4655 | 28.7 | 67.6
51383 | 2021-03-22 13:06 | 15.6653 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 220.6795 | μmol/L | 19.6496 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.819 | 106513.8677 | 301107.2303 | 28.7 | 67.6
51393 | 2021-03-22 13:06 | 15.9982 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 220.6828 | μmol/L | 19.6374 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.823 | 106530.7336 | 301104.0976 | 28.7 | 67.6
51403 | 2021-03-22 13:07 | 16.3319 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 220.6055 | μmol/L | 19.6435 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.825 | 106560.959 | 301110.7712 | 28.7 | 67.6
51413 | 2021-03-22 13:07 | 16.6648 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 220.6088 | μmol/L | 19.6313 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.829 | 106555.9431 | 301100.1076 | 28.7 | 67.6
51423 | 2021-03-22 13:07 | 16.9986 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 220.6656 | μmol/L | 19.6313 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.826 | 106558.4127 | 301097.9767 | 28.7 | 67.6
51433 | 2021-03-22 13:08 | 17.3315 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 220.5538 | μmol/L | 19.6252 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.834 | 106582.3152 | 301100.6938 | 28.7 | 67.6
51443 | 2021-03-22 13:08 | 17.6653 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 220.401 | μmol/L | 19.6313 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.84 | 106636.3504 | 301103.1371 | 28.7 | 67.6
51453 | 2021-03-22 13:08 | 17.9982 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 220.195 | μmol/L | 19.6252 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.853 | 106688.8016 | 301097.7097 | 28.7 | 67.6
51463 | 2021-03-22 13:09 | 18.3319 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 220.0835 | μmol/L | 19.6191 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.861 | 106736.5919 | 301089.3619 | 28.7 | 67.6
51473 | 2021-03-22 13:09 | 18.6648 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 219.8763 | μmol/L | 19.6191 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.872 | 106773.4505 | 301094.311 | 28.7 | 67.6
51483 | 2021-03-22 13:09 | 18.9984 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 219.801 | μmol/L | 19.6191 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.876 | 106797.2468 | 301086.3447 | 28.7 | 67.6
51493 | 2021-03-22 13:10 | 19.3316 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 219.5719 | μmol/L | 19.6313 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.884 | 106833.2626 | 301102.85 | 28.7 | 67.6
51503 | 2021-03-22 13:10 | 19.6646 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 219.5172 | μmol/L | 19.6252 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.889 | 106856.6218 | 301093.0982 | 28.7 | 67.6
51513 | 2021-03-22 13:10 | 19.9985 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 219.5582 | μmol/L | 19.6131 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.891 | 106885.7748 | 301089.1043 | 28.7 | 67.6
51523 | 2021-03-22 13:11 | 20.3313 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 219.4454 | μmol/L | 19.6131 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.897 | 106908.3826 | 301093.6832 | 28.7 | 67.6
51533 | 2021-03-22 13:11 | 20.6652 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 219.3498 | μmol/L | 19.6191 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.9 | 106927.611 | 301090.2407 | 28.7 | 67.6
51543 | 2021-03-22 13:11 | 20.9984 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 219.3532 | μmol/L | 19.607 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.904 | 106947.4118 | 301087.2558 | 28.7 | 67.6
51553 | 2021-03-22 13:12 | 21.332 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 219.2594 | μmol/L | 19.607 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.909 | 106973.0613 | 301095.838 | 28.7 | 67.6
51563 | 2021-03-22 13:12 | 21.665 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 219.0139 | μmol/L | 19.6131 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.92 | 107017.2747 | 301084.6733 | 28.7 | 67.6
51573 | 2021-03-22 13:12 | 21.9981 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.9952 | μmol/L | 19.6131 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.921 | 107041.597 | 301097.6983 | 28.7 | 67.6
51583 | 2021-03-22 13:13 | 22.3318 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.8231 | μmol/L | 19.6252 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.926 | 107060.2771 | 301090.9624 | 28.7 | 67.6
51593 | 2021-03-22 13:13 | 22.6649 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.8079 | μmol/L | 19.6131 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.931 | 107080.4697 | 301098.8968 | 28.7 | 67.6
51603 | 2021-03-22 13:13 | 22.9979 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.7891 | μmol/L | 19.6131 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.932 | 107105.6649 | 301098.3237 | 28.7 | 67.6
51613 | 2021-03-22 13:14 | 23.3317 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.6173 | μmol/L | 19.6252 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.937 | 107122.3993 | 301093.274 | 28.7 | 67.6
51623 | 2021-03-22 13:14 | 23.6654 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.4678 | μmol/L | 19.6252 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.945 | 107155.7523 | 301091.2963 | 28.7 | 67.6
51633 | 2021-03-22 13:14 | 23.9983 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.4135 | μmol/L | 19.6191 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.95 | 107175.6764 | 301074.4391 | 28.7 | 67.6
51643 | 2021-03-22 13:15 | 24.3313 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.2997 | μmol/L | 19.6252 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.954 | 107204.2314 | 301071.0261 | 28.7 | 67.6
51653 | 2021-03-22 13:15 | 24.665 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.2641 | μmol/L | 19.6191 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.958 | 107230.4903 | 301070.313 | 28.7 | 67.6
51663 | 2021-03-22 13:15 | 24.9987 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.1388 | μmol/L | 19.6009 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.971 | 107258.5774 | 301064.1146 | 28.7 | 67.6
51673 | 2021-03-22 13:16 | 25.3317 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.003 | μmol/L | 19.6191 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.972 | 107308.7405 | 301079.4469 | 28.7 | 67.6
51683 | 2021-03-22 13:16 | 25.6647 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 217.8371 | μmol/L | 19.6131 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.983 | 107352.7902 | 301070.8955 | 28.7 | 67.6
51693 | 2021-03-22 13:16 | 25.9984 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 217.6882 | μmol/L | 19.6131 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.991 | 107396.4165 | 301083.9205 | 28.7 | 67.6
51703 | 2021-03-22 13:17 | 26.3316 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 217.5005 | μmol/L | 19.6191 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.999 | 107428.4113 | 301072.1219 | 28.7 | 67.6
51713 | 2021-03-22 13:17 | 26.6653 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 217.4802 | μmol/L | 19.6252 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.998 | 107455.0393 | 301074.3845 | 28.7 | 67.6
51723 | 2021-03-22 13:17 | 26.9982 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 217.2167 | μmol/L | 19.6374 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.008 | 107474.763 | 301068.2364 | 28.7 | 67.6
51733 | 2021-03-22 13:18 | 27.3319 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 217.1407 | μmol/L | 19.6435 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.01 | 107510.0904 | 301060.7754 | 28.7 | 67.6
51743 | 2021-03-22 13:18 | 27.665 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 216.8979 | μmol/L | 19.6496 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.021 | 107540.5 | 301070.0042 | 28.7 | 67.6
51753 | 2021-03-22 13:18 | 27.998 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 216.8609 | μmol/L | 19.6496 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.023 | 107573.5725 | 301057.6511 | 28.7 | 67.6
51763 | 2021-03-22 13:19 | 28.3318 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 216.711 | μmol/L | 19.6557 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.029 | 107593.2266 | 301053.144 | 28.7 | 67.6
51773 | 2021-03-22 13:19 | 28.6649 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 216.5595 | μmol/L | 19.6678 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.033 | 107629.9244 | 301065.2787 | 28.7 | 67.6
51783 | 2021-03-22 13:19 | 28.9986 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 216.4486 | μmol/L | 19.6678 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.039 | 107646.2961 | 301063.771 | 28.7 | 67.6
51793 | 2021-03-22 13:20 | 29.3315 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 216.3729 | μmol/L | 19.6739 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.041 | 107662.5476 | 301062.0852 | 28.7 | 67.6
51803 | 2021-03-22 13:20 | 29.6647 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 216.2972 | μmol/L | 19.68 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.043 | 107680.2625 | 301060.2575 | 28.7 | 67.6
51813 | 2021-03-22 13:20 | 29.9986 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 216.2401 | μmol/L | 19.6861 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.044 | 107690.7183 | 301049.3238 | 28.7 | 67.6
51823 | 2021-03-22 13:21 | 30.3316 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 216.1847 | μmol/L | 19.6861 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.047 | 107703.2154 | 301039.3624 | 28.7 | 67.6
51833 | 2021-03-22 13:21 | 30.6654 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 216.168 | μmol/L | 19.68 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.05 | 107721.0756 | 301040.8457 | 28.7 | 67.6
51843 | 2021-03-22 13:21 | 30.9982 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 215.9782 | μmol/L | 19.6982 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.054 | 107734.1087 | 301037.9181 | 28.7 | 67.6
51853 | 2021-03-22 13:22 | 31.3319 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 215.9396 | μmol/L | 19.7043 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.054 | 107744.4708 | 301036.2589 | 28.7 | 67.6
51863 | 2021-03-22 13:22 | 31.6647 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 215.7922 | μmol/L | 19.7043 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.062 | 107775.3017 | 301045.8658 | 28.7 | 67.6
51873 | 2021-03-22 13:22 | 31.9984 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 215.7922 | μmol/L | 19.7043 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.062 | 107788.8325 | 301025.1782 | 28.7 | 67.6
51883 | 2021-03-22 13:23 | 32.3321 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 215.6799 | μmol/L | 19.7104 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.066 | 107801.0829 | 301028.6486 | 28.7 | 67.6
51893 | 2021-03-22 13:23 | 32.6649 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 215.5862 | μmol/L | 19.7165 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.069 | 107837.8933 | 301021.5454 | 28.7 | 67.6
51903 | 2021-03-22 13:23 | 32.9986 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 215.3804 | μmol/L | 19.7287 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.076 | 107862.533 | 301032.7369 | 28.7 | 67.6
51913 | 2021-03-22 13:24 | 33.3316 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 215.3069 | μmol/L | 19.7287 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.08 | 107889.3155 | 301025.4502 | 28.7 | 67.6
51923 | 2021-03-22 13:24 | 33.6652 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 215.215 | μmol/L | 19.7287 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.085 | 107904.6972 | 301017.5745 | 28.7 | 67.6
51933 | 2021-03-22 13:24 | 33.9979 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 215.1967 | μmol/L | 19.7287 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.086 | 107918.1998 | 301006.1965 | 28.7 | 67.6
51943 | 2021-03-22 13:25 | 34.3316 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 215.1783 | μmol/L | 19.7287 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.087 | 107933.7336 | 301019.495 | 28.7 | 67.6
51953 | 2021-03-22 13:25 | 34.6646 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 215.0481 | μmol/L | 19.7348 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.092 | 107933.4114 | 301003.1968 | 28.7 | 67.6
51963 | 2021-03-22 13:25 | 34.9983 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 214.9931 | μmol/L | 19.7348 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.095 | 107940.3708 | 301010.4387 | 28.7 | 67.6
51973 | 2021-03-22 13:26 | 35.3315 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 214.8978 | μmol/L | 19.7469 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.096 | 107955.7998 | 301003.3758 | 28.7 | 67.6
51983 | 2021-03-22 13:26 | 35.6653 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 214.9564 | μmol/L | 19.7348 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.097 | 107972.7177 | 301006.8496 | 28.7 | 67.6
51993 | 2021-03-22 13:26 | 35.9983 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 214.7696 | μmol/L | 19.7469 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.103 | 107980.2117 | 300996.6346 | 28.7 | 67.6
52003 | 2021-03-22 13:27 | 36.3319 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 214.6579 | μmol/L | 19.753 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.107 | 107997.1542 | 301001.961 | 28.7 | 67.6
52013 | 2021-03-22 13:27 | 36.6648 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 214.7329 | μmol/L | 19.7469 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.105 | 108011.3133 | 301010.8051 | 28.7 | 67.6
52023 | 2021-03-22 13:27 | 36.9979 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 214.603 | μmol/L | 19.753 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.11 | 108038.7168 | 300987.6581 | 28.7 | 67.6
52033 | 2021-03-22 13:28 | 37.3316 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 214.6231 | μmol/L | 19.7469 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.111 | 108055.1216 | 301000.8164 | 28.7 | 67.6
52043 | 2021-03-22 13:28 | 37.6653 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 214.6249 | μmol/L | 19.7408 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.113 | 108044.4964 | 300991.6518 | 28.7 | 67.6
52053 | 2021-03-22 13:28 | 37.9984 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 214.6213 | μmol/L | 19.753 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.109 | 108041.095 | 300986.3051 | 28.7 | 67.6
52063 | 2021-03-22 13:29 | 38.3313 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 214.603 | μmol/L | 19.753 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.11 | 108033.6255 | 300998.3744 | 28.7 | 67.6
52073 | 2021-03-22 13:29 | 38.6649 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 214.7146 | μmol/L | 19.7469 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.106 | 108028.8334 | 300994.5825 | 28.7 | 67.6
52083 | 2021-03-22 13:29 | 38.9986 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 214.5664 | μmol/L | 19.753 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.112 | 108038.7962 | 300987.7538 | 28.7 | 67.6
52093 | 2021-03-22 13:30 | 39.3318 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 214.4348 | μmol/L | 19.7652 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.115 | 108061.0894 | 300984.2417 | 28.7 | 67.6
52103 | 2021-03-22 13:30 | 39.6647 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 214.3068 | μmol/L | 19.7652 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.122 | 108085.8285 | 300989.8289 | 28.7 | 67.6
52113 | 2021-03-22 13:30 | 39.9983 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 214.3086 | μmol/L | 19.7591 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.124 | 108124.6349 | 301003.5487 | 28.7 | 67.6
52123 | 2021-03-22 13:31 | 40.3316 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 214.126 | μmol/L | 19.7591 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.134 | 108155.9528 | 300991.508 | 28.7 | 67.6
52133 | 2021-03-22 13:31 | 40.6654 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.8853 | μmol/L | 19.7713 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.143 | 108189.2851 | 300982.4639 | 28.7 | 67.6
52143 | 2021-03-22 13:31 | 40.9983 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.9783 | μmol/L | 19.7652 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.14 | 108207.9603 | 300984.2469 | 28.7 | 67.6
52153 | 2021-03-22 13:32 | 41.3315 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.8142 | μmol/L | 19.7652 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.149 | 108239.2809 | 300987.2566 | 28.7 | 67.6
52163 | 2021-03-22 13:32 | 41.6652 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.7595 | μmol/L | 19.7652 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.152 | 108249.9357 | 300982.6286 | 28.7 | 67.6
52173 | 2021-03-22 13:32 | 41.9981 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.6303 | μmol/L | 19.7713 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.157 | 108290.8514 | 300990.5824 | 28.7 | 67.6
52183 | 2021-03-22 13:33 | 42.3319 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.4847 | μmol/L | 19.7713 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.165 | 108311.6559 | 300991.1768 | 28.7 | 67.6
52193 | 2021-03-22 13:33 | 42.665 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.5211 | μmol/L | 19.7713 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.163 | 108328.2419 | 301002.8739 | 28.7 | 67.6
52203 | 2021-03-22 13:33 | 42.9986 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.4647 | μmol/L | 19.7773 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.164 | 108330.8875 | 300981.4694 | 28.7 | 67.6
52213 | 2021-03-22 13:34 | 43.3315 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.372 | μmol/L | 19.7834 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.167 | 108346.9731 | 300976.0738 | 28.7 | 67.6
52223 | 2021-03-22 13:34 | 43.6652 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.2993 | μmol/L | 19.7834 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.171 | 108365.3485 | 300998.4772 | 28.7 | 67.6
52233 | 2021-03-22 13:34 | 43.9981 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.2448 | μmol/L | 19.7834 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.174 | 108385.1793 | 300990.4734 | 28.7 | 67.6
52243 | 2021-03-22 13:35 | 44.3319 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.154 | μmol/L | 19.7834 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.179 | 108419.9409 | 300983.9537 | 28.7 | 67.6
52253 | 2021-03-22 13:35 | 44.6647 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.1395 | μmol/L | 19.7713 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.184 | 108432.6141 | 300977.9162 | 28.7 | 67.6
52263 | 2021-03-22 13:35 | 44.9984 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.1032 | μmol/L | 19.7713 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.186 | 108456.3105 | 300977.3714 | 28.7 | 67.6
52273 | 2021-03-22 13:36 | 45.3313 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.92 | μmol/L | 19.7773 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.194 | 108493.4375 | 300974.5985 | 28.7 | 67.6
52283 | 2021-03-22 13:36 | 45.6651 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.8112 | μmol/L | 19.7773 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.2 | 108510.635 | 300982.0327 | 28.7 | 67.6
52293 | 2021-03-22 13:36 | 45.998 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.7587 | μmol/L | 19.7713 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.205 | 108543.7517 | 300981.9667 | 28.7 | 67.6
52303 | 2021-03-22 13:37 | 46.3317 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.6301 | μmol/L | 19.7773 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.21 | 108571.53 | 300980.564 | 28.7 | 67.6
52313 | 2021-03-22 13:37 | 46.6646 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.5215 | μmol/L | 19.7773 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.216 | 108593.2077 | 300978.5719 | 28.7 | 67.6
52323 | 2021-03-22 13:37 | 46.9984 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.4872 | μmol/L | 19.7713 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.22 | 108620.941 | 300978.3238 | 28.7 | 67.6
52333 | 2021-03-22 13:38 | 47.332 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.4149 | μmol/L | 19.7713 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.224 | 108653.9253 | 300980.8946 | 28.7 | 67.6
52343 | 2021-03-22 13:38 | 47.6648 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.3064 | μmol/L | 19.7713 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.23 | 108671.8829 | 300974.9681 | 28.7 | 67.6
52353 | 2021-03-22 13:38 | 47.9987 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.1222 | μmol/L | 19.7834 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.236 | 108684.7033 | 300975.0461 | 28.7 | 67.6
52363 | 2021-03-22 13:39 | 48.3316 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.1439 | μmol/L | 19.7713 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.239 | 108708.5142 | 300971.5537 | 28.7 | 67.6
52373 | 2021-03-22 13:39 | 48.6653 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.9959 | μmol/L | 19.7834 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.243 | 108732.4254 | 300994.307 | 28.7 | 67.6
52383 | 2021-03-22 13:39 | 48.9984 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.9436 | μmol/L | 19.7773 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.248 | 108735.9309 | 300973.7173 | 28.7 | 67.6
52393 | 2021-03-22 13:40 | 49.332 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.8932 | μmol/L | 19.7652 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.255 | 108768.1385 | 300956.2956 | 28.7 | 67.6
52403 | 2021-03-22 13:40 | 49.6647 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.8914 | μmol/L | 19.7713 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.253 | 108777.4422 | 300966.7532 | 28.7 | 67.6
52413 | 2021-03-22 13:40 | 49.9984 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.877 | μmol/L | 19.7591 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.258 | 108785.4118 | 300953.612 | 28.7 | 67.6
52423 | 2021-03-22 13:41 | 50.3314 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.859 | μmol/L | 19.7591 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.259 | 108799.7524 | 300949.6715 | 28.7 | 67.6
52433 | 2021-03-22 13:41 | 50.6652 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.7851 | μmol/L | 19.7652 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.261 | 108818.4885 | 300959.067 | 28.7 | 67.6
52443 | 2021-03-22 13:41 | 50.9983 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.6591 | μmol/L | 19.7652 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.268 | 108845.9567 | 300963.3019 | 28.7 | 67.6
52453 | 2021-03-22 13:42 | 51.3321 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.6069 | μmol/L | 19.7591 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.273 | 108855.7841 | 300945.8052 | 28.7 | 67.6
52463 | 2021-03-22 13:42 | 51.6652 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.6808 | μmol/L | 19.753 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.271 | 108851.6929 | 300958.608 | 28.7 | 67.6
52473 | 2021-03-22 13:42 | 51.9982 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.6808 | μmol/L | 19.753 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.271 | 108862.8717 | 300951.3065 | 28.7 | 67.6
52483 | 2021-03-22 13:43 | 52.332 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.7149 | μmol/L | 19.7591 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.267 | 108852.4007 | 300936.9763 | 28.7 | 67.6
52493 | 2021-03-22 13:43 | 52.6648 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.6591 | μmol/L | 19.7652 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.268 | 108852.3163 | 300934.3039 | 28.7 | 67.6
52503 | 2021-03-22 13:43 | 52.9986 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.7689 | μmol/L | 19.7591 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.264 | 108841.7007 | 300954.1823 | 28.7 | 67.6
52513 | 2021-03-22 13:44 | 53.3315 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.8627 | μmol/L | 19.7469 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.263 | 108831.893 | 300938.6666 | 28.7 | 67.6
52523 | 2021-03-22 13:44 | 53.6652 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.9348 | μmol/L | 19.7469 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.259 | 108802.3093 | 300939.4264 | 28.7 | 67.6
52533 | 2021-03-22 13:44 | 53.9981 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.025 | μmol/L | 19.7469 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.254 | 108763.5486 | 300956.5967 | 28.7 | 67.6
52543 | 2021-03-22 13:45 | 54.3317 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.1152 | μmol/L | 19.7469 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.249 | 108744.1623 | 300941.4178 | 28.7 | 67.6
52553 | 2021-03-22 13:45 | 54.6647 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.1351 | μmol/L | 19.7408 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.25 | 108723.2961 | 300948.5131 | 28.7 | 67.6
52563 | 2021-03-22 13:45 | 54.9982 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.2253 | μmol/L | 19.7408 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.245 | 108713.8788 | 300952.6177 | 28.7 | 67.6
52573 | 2021-03-22 13:46 | 55.3313 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.2235 | μmol/L | 19.7469 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.243 | 108722.7478 | 300939.4998 | 28.7 | 67.6
52583 | 2021-03-22 13:46 | 55.665 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.1531 | μmol/L | 19.7408 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.249 | 108726.3704 | 300930.3656 | 28.7 | 67.6
52593 | 2021-03-22 13:46 | 55.9986 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.1351 | μmol/L | 19.7408 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.25 | 108754.6412 | 300947.6318 | 28.7 | 67.6
52603 | 2021-03-22 13:47 | 56.3316 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.9168 | μmol/L | 19.7469 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.26 | 108793.3028 | 300955.6387 | 28.7 | 67.6
52613 | 2021-03-22 13:47 | 56.6654 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.9386 | μmol/L | 19.7348 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.263 | 108813.1626 | 300937.2494 | 28.7 | 67.6
52623 | 2021-03-22 13:47 | 56.9982 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.9224 | μmol/L | 19.7287 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.266 | 108818.6584 | 300938.5688 | 28.7 | 67.6
52633 | 2021-03-22 13:48 | 57.3319 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.8503 | μmol/L | 19.7287 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.27 | 108821.6495 | 300929.9095 | 28.7 | 67.6
52643 | 2021-03-22 13:48 | 57.6651 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.8162 | μmol/L | 19.7226 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.274 | 108843.508 | 300919.2775 | 28.7 | 67.6
52653 | 2021-03-22 13:48 | 57.9981 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.746 | μmol/L | 19.7165 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.28 | 108858.9452 | 300941.5835 | 28.7 | 67.6
52663 | 2021-03-22 13:49 | 58.3317 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.8019 | μmol/L | 19.7104 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.279 | 108873.222 | 300940.375 | 28.7 | 67.6
52673 | 2021-03-22 13:49 | 58.6648 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.674 | μmol/L | 19.7165 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.284 | 108895.5666 | 300938.1727 | 28.7 | 67.6
52683 | 2021-03-22 13:49 | 58.9987 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.5282 | μmol/L | 19.7226 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.29 | 108909.7147 | 300947.8492 | 28.7 | 67.6
52693 | 2021-03-22 13:50 | 59.3318 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.4941 | μmol/L | 19.7165 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.294 | 108928.9395 | 300926.7616 | 28.7 | 67.6
52703 | 2021-03-22 13:50 | 59.6648 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.3683 | μmol/L | 19.7165 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.301 | 108945.4382 | 300935.5774 | 28.7 | 67.6
52713 | 2021-03-22 13:50 | 59.9983 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.4582 | μmol/L | 19.7165 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.296 | 108966.3368 | 300938.5978 | 28.7 | 67.6
52723 | 2021-03-22 13:51 | 60.3321 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.2804 | μmol/L | 19.7104 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.308 | 108999.1232 | 300932.9307 | 28.7 | 67.6
52733 | 2021-03-22 13:51 | 60.6648 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.2105 | μmol/L | 19.7043 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.314 | 109041.3604 | 300935.628 | 28.7 | 67.6
52743 | 2021-03-22 13:51 | 60.9985 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.0849 | μmol/L | 19.7043 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.321 | 109090.3176 | 300944.8307 | 28.7 | 67.6
52753 | 2021-03-22 13:52 | 61.3314 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.0292 | μmol/L | 19.7104 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.322 | 109106.8892 | 300937.8719 | 28.7 | 67.6
52763 | 2021-03-22 13:52 | 61.6646 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.9236 | μmol/L | 19.7043 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.33 | 109146.2424 | 300946.6067 | 28.7 | 67.6
52773 | 2021-03-22 13:52 | 61.9983 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.7822 | μmol/L | 19.6982 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.34 | 109177.5763 | 300940.4216 | 28.7 | 67.6
52783 | 2021-03-22 13:53 | 62.3319 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.7662 | μmol/L | 19.6922 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.343 | 109212.4143 | 300948.0269 | 28.7 | 67.6
52793 | 2021-03-22 13:53 | 62.6648 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.6033 | μmol/L | 19.6982 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.35 | 109248.2928 | 300952.803 | 28.7 | 67.6
52803 | 2021-03-22 13:53 | 62.9987 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.5516 | μmol/L | 19.6922 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.355 | 109276.8134 | 300956.6428 | 28.7 | 67.6
52813 | 2021-03-22 13:54 | 63.3317 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.4443 | μmol/L | 19.6922 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.361 | 109312.5585 | 300955.5769 | 28.7 | 67.6
52823 | 2021-03-22 13:54 | 63.6646 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.3729 | μmol/L | 19.6922 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.365 | 109332.7881 | 300968.1505 | 28.7 | 67.6
52833 | 2021-03-22 13:54 | 63.9983 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.4086 | μmol/L | 19.6922 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.363 | 109331.5216 | 300958.6692 | 28.7 | 67.6
52843 | 2021-03-22 13:55 | 64.3312 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.3589 | μmol/L | 19.68 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.37 | 109356.4974 | 300961.395 | 28.7 | 67.6
52853 | 2021-03-22 13:55 | 64.6648 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.3589 | μmol/L | 19.68 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.37 | 109367.3879 | 300967.74 | 28.7 | 67.6
52863 | 2021-03-22 13:55 | 64.9985 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.3748 | μmol/L | 19.6861 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.367 | 109346.2253 | 300969.1702 | 28.7 | 67.6
52873 | 2021-03-22 13:56 | 65.3314 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.3251 | μmol/L | 19.6739 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.374 | 109361.0767 | 300964.0058 | 28.7 | 67.6
52883 | 2021-03-22 13:56 | 65.665 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.3449 | μmol/L | 19.6678 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.375 | 109363.8265 | 300957.7337 | 28.7 | 67.6
52893 | 2021-03-22 13:56 | 65.9981 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.2735 | μmol/L | 19.6678 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.379 | 109376.1997 | 300967.2985 | 28.7 | 67.6
52903 | 2021-03-22 13:57 | 66.3317 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.3092 | μmol/L | 19.6678 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.377 | 109373.9288 | 300949.6321 | 28.7 | 67.6
52913 | 2021-03-22 13:57 | 66.6654 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.2537 | μmol/L | 19.6739 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.378 | 109382.9337 | 300949.7337 | 28.7 | 67.6
52923 | 2021-03-22 13:57 | 66.9982 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.1843 | μmol/L | 19.6678 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.384 | 109416.8094 | 300954.5673 | 28.7 | 67.6
52933 | 2021-03-22 13:58 | 67.3313 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.0951 | μmol/L | 19.6678 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.389 | 109460.2079 | 300957.6315 | 28.7 | 67.6
52943 | 2021-03-22 13:58 | 67.665 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.9901 | μmol/L | 19.6617 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.397 | 109478.4035 | 300950.2315 | 28.7 | 67.6
52953 | 2021-03-22 13:58 | 67.998 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.0257 | μmol/L | 19.6617 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.395 | 109480.3842 | 300943.5657 | 28.7 | 67.6
52963 | 2021-03-22 13:59 | 68.3318 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.099 | μmol/L | 19.6557 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.393 | 109476.5713 | 300960.9775 | 28.7 | 67.6
52973 | 2021-03-22 13:59 | 68.6648 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.0831 | μmol/L | 19.6496 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.396 | 109482.1226 | 300960.2323 | 28.7 | 67.6
52983 | 2021-03-22 13:59 | 68.9984 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.1386 | μmol/L | 19.6435 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.395 | 109478.5513 | 300950.9987 | 28.7 | 67.6
52993 | 2021-03-22 14:00 | 69.3314 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.1444 | μmol/L | 19.6252 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.401 | 109491.3395 | 300941.2601 | 28.7 | 67.6
53003 | 2021-03-22 14:00 | 69.6653 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.0553 | μmol/L | 19.6252 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.406 | 109506.0158 | 300969.0115 | 28.7 | 67.6
53013 | 2021-03-22 14:00 | 69.9984 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.0731 | μmol/L | 19.6252 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.405 | 109524.0075 | 300961.9661 | 28.7 | 67.6
53023 | 2021-03-22 14:01 | 70.3317 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.9999 | μmol/L | 19.6313 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.407 | 109513.0337 | 300963.9817 | 28.7 | 67.6
53033 | 2021-03-22 14:01 | 70.6646 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.9999 | μmol/L | 19.6313 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.407 | 109524.4598 | 300961.6609 | 28.7 | 67.6
53043 | 2021-03-22 14:01 | 70.9983 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.9643 | μmol/L | 19.6313 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.409 | 109536.5048 | 300931.5967 | 28.7 | 67.6
53053 | 2021-03-22 14:02 | 71.3314 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.9128 | μmol/L | 19.6252 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.414 | 109537.4916 | 300952.1659 | 28.7 | 67.6
53063 | 2021-03-22 14:02 | 71.6651 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.8752 | μmol/L | 19.6313 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.414 | 109561.1528 | 300953.8007 | 28.7 | 67.6
53073 | 2021-03-22 14:02 | 71.998 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.7348 | μmol/L | 19.6252 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.424 | 109586.0744 | 300965.2591 | 28.7 | 67.6
53083 | 2021-03-22 14:03 | 72.3319 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.7882 | μmol/L | 19.6252 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.421 | 109594.6921 | 300945.6489 | 28.7 | 67.6
53093 | 2021-03-22 14:03 | 72.6649 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.8811 | μmol/L | 19.6131 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.42 | 109599.4721 | 300964.0109 | 28.7 | 67.6
53103 | 2021-03-22 14:03 | 72.9979 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.7546 | μmol/L | 19.6191 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.425 | 109615.7485 | 300962.6267 | 28.7 | 67.6
53113 | 2021-03-22 14:04 | 73.3317 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.8119 | μmol/L | 19.607 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.426 | 109619.1709 | 300937.6014 | 28.7 | 67.6
53123 | 2021-03-22 14:04 | 73.6648 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.8317 | μmol/L | 19.6009 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.427 | 109622.7087 | 300941.8631 | 28.7 | 67.6
53133 | 2021-03-22 14:04 | 73.9984 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.8851 | μmol/L | 19.6009 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.424 | 109603.524 | 300958.3228 | 28.7 | 67.6
53143 | 2021-03-22 14:05 | 74.332 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.9168 | μmol/L | 19.6131 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.418 | 109589.7159 | 300958.5492 | 28.7 | 67.6
53153 | 2021-03-22 14:05 | 74.6648 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.9919 | μmol/L | 19.6009 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.418 | 109585.2202 | 300961.5282 | 28.7 | 67.6
53163 | 2021-03-22 14:05 | 74.9984 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.9741 | μmol/L | 19.6009 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.419 | 109587.1566 | 300965.9861 | 28.7 | 67.6
53173 | 2021-03-22 14:06 | 75.3315 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.9385 | μmol/L | 19.6009 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.421 | 109591.4091 | 300959.8197 | 28.7 | 67.6
53183 | 2021-03-22 14:06 | 75.6653 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.9919 | μmol/L | 19.6009 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.418 | 109583.6642 | 300970.0499 | 28.7 | 67.6
53193 | 2021-03-22 14:06 | 75.9982 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.8831 | μmol/L | 19.607 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.422 | 109593.4708 | 300951.6215 | 28.7 | 67.6
53203 | 2021-03-22 14:07 | 76.3319 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.9741 | μmol/L | 19.6009 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.419 | 109603.4404 | 300956.8484 | 28.7 | 67.6
53213 | 2021-03-22 14:07 | 76.6649 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.8317 | μmol/L | 19.6009 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.427 | 109621.8177 | 300970.6319 | 28.7 | 67.6
53223 | 2021-03-22 14:07 | 76.9986 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.8535 | μmol/L | 19.5887 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.43 | 109640.9034 | 300956.3771 | 28.7 | 67.6
53233 | 2021-03-22 14:08 | 77.3316 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.7428 | μmol/L | 19.6009 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.432 | 109668.0769 | 300958.9867 | 28.7 | 67.6
53243 | 2021-03-22 14:08 | 77.6652 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.6519 | μmol/L | 19.607 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.435 | 109676.2836 | 300950.9295 | 28.7 | 67.6
53253 | 2021-03-22 14:08 | 77.9983 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.6025 | μmol/L | 19.5948 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.442 | 109695.6295 | 300968.8077 | 28.7 | 67.6
53263 | 2021-03-22 14:09 | 78.3321 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.5097 | μmol/L | 19.607 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.443 | 109713.9772 | 300957.8262 | 28.7 | 67.6
53273 | 2021-03-22 14:09 | 78.6648 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.2927 | μmol/L | 19.6191 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.451 | 109744.8489 | 300961.7112 | 28.7 | 67.6
53283 | 2021-03-22 14:09 | 78.9986 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.2612 | μmol/L | 19.607 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.457 | 109769.8496 | 300960.329 | 28.7 | 67.6
53293 | 2021-03-22 14:10 | 79.3317 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.1725 | μmol/L | 19.607 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.462 | 109813.9072 | 300979.6277 | 28.7 | 67.6
53303 | 2021-03-22 14:10 | 79.6648 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.9402 | μmol/L | 19.6131 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.473 | 109852.8037 | 300980.6105 | 28.7 | 67.6
53313 | 2021-03-22 14:10 | 79.9984 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.9048 | μmol/L | 19.6131 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.475 | 109887.3256 | 300984.9803 | 28.7 | 67.6
53323 | 2021-03-22 14:11 | 80.3313 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.7789 | μmol/L | 19.6191 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.48 | 109921.0952 | 300979.2895 | 28.7 | 67.6
53333 | 2021-03-22 14:11 | 80.665 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.4861 | μmol/L | 19.6496 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.486 | 109948.9314 | 300970.3674 | 28.7 | 67.6
53343 | 2021-03-22 14:11 | 80.9981 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.5097 | μmol/L | 19.6313 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.491 | 109975.7828 | 300960.1262 | 28.7 | 67.6
53353 | 2021-03-22 14:12 | 81.3319 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.4961 | μmol/L | 19.6191 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.496 | 110000.6638 | 300966.5666 | 28.7 | 67.6
53363 | 2021-03-22 14:12 | 81.6648 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.3528 | μmol/L | 19.6252 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.502 | 110026.3902 | 300983.2158 | 28.7 | 67.6
53373 | 2021-03-22 14:12 | 81.9979 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.3352 | μmol/L | 19.6252 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.503 | 110038.0051 | 300978.8637 | 28.7 | 67.6
53383 | 2021-03-22 14:13 | 82.3316 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.2626 | μmol/L | 19.6313 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.505 | 110051.3449 | 300959.9312 | 28.7 | 67.6
53393 | 2021-03-22 14:13 | 82.6653 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.1371 | μmol/L | 19.6374 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.51 | 110071.5938 | 300975.8788 | 28.7 | 67.6
53403 | 2021-03-22 14:13 | 82.9982 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.1175 | μmol/L | 19.6435 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.509 | 110095.5684 | 300968.0539 | 28.7 | 67.6
53413 | 2021-03-22 14:14 | 83.332 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.9373 | μmol/L | 19.6557 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.515 | 110124.1057 | 300950.8645 | 28.7 | 67.6
53423 | 2021-03-22 14:14 | 83.6649 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.8689 | μmol/L | 19.6496 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.521 | 110147.6301 | 300951.5104 | 28.7 | 67.6
53433 | 2021-03-22 14:14 | 83.998 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.6322 | μmol/L | 19.6739 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.526 | 110179.2097 | 300962.5929 | 28.7 | 67.6
53443 | 2021-03-22 14:15 | 84.3319 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.5052 | μmol/L | 19.6861 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.529 | 110198.112 | 300969.7064 | 28.7 | 67.6