## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 207898393 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | 55.77 | 20 | °C | 22.24 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-22 16:44

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
53450 | 2021-03-22 15:30 | 0 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 226.3966 | μmol/L | 19.7626 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.554 | 154596.1337 | 279446.5342 | 62.0402 | 75.7
53458 | 2021-03-22 15:31 | 0.33945 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 226.2994 | μmol/L | 19.7626 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.559 | 154647.9622 | 279455.9274 | 62.0402 | 75.7
53468 | 2021-03-22 15:31 | 0.67337 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 226.204 | μmol/L | 19.7564 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.566 | 154720.965 | 279451.2389 | 62.0402 | 75.7
53478 | 2021-03-22 15:31 | 1.0064 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 225.9516 | μmol/L | 19.7564 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.579 | 154790.499 | 279461.9427 | 62.0402 | 75.7
53488 | 2021-03-22 15:32 | 1.3401 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 225.7982 | μmol/L | 19.7503 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.589 | 154854.797 | 279449.2492 | 62.0402 | 75.7
53498 | 2021-03-22 15:32 | 1.6731 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 225.5445 | μmol/L | 19.7564 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.6 | 154934.0048 | 279458.0915 | 62.0402 | 75.7
53508 | 2021-03-22 15:32 | 2.0062 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 225.4477 | μmol/L | 19.7564 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.605 | 154985.7027 | 279436.5544 | 62.0402 | 75.7
53518 | 2021-03-22 15:33 | 2.3399 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 225.3528 | μmol/L | 19.7503 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.612 | 155021.1089 | 279446.5452 | 62.0402 | 75.7
53528 | 2021-03-22 15:33 | 2.6728 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 225.2349 | μmol/L | 19.7564 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.616 | 155065.5864 | 279434.5455 | 62.0402 | 75.7
53538 | 2021-03-22 15:33 | 3.0066 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 225.1208 | μmol/L | 19.7503 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.624 | 155104.3408 | 279432.3776 | 62.0402 | 75.7
53548 | 2021-03-22 15:34 | 3.3394 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 225.0997 | μmol/L | 19.7564 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.623 | 155135.2226 | 279429.1249 | 62.0402 | 75.7
53558 | 2021-03-22 15:34 | 3.6731 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 225.0666 | μmol/L | 19.738 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.631 | 155166.1164 | 279437.4439 | 62.0402 | 75.7
53568 | 2021-03-22 15:34 | 4.0067 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.9857 | μmol/L | 19.7503 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.631 | 155174.734 | 279423.9186 | 62.0402 | 75.7
53578 | 2021-03-22 15:35 | 4.3394 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.9066 | μmol/L | 19.7564 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.633 | 155175.3748 | 279417.7671 | 62.0402 | 75.7
53588 | 2021-03-22 15:35 | 4.6733 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.868 | μmol/L | 19.7564 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.635 | 155183.476 | 279412.3688 | 62.0402 | 75.7
53598 | 2021-03-22 15:35 | 5.0063 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.8313 | μmol/L | 19.7503 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.639 | 155191.2683 | 279407.9235 | 62.0402 | 75.7
53608 | 2021-03-22 15:36 | 5.3401 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.7542 | μmol/L | 19.7503 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.643 | 155234.6456 | 279412.8165 | 62.0402 | 75.7
53618 | 2021-03-22 15:36 | 5.6727 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.5403 | μmol/L | 19.7564 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.652 | 155280.8067 | 279407.5431 | 62.0402 | 75.7
53628 | 2021-03-22 15:36 | 6.0065 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.6018 | μmol/L | 19.7441 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.653 | 155318.952 | 279406.2203 | 62.0402 | 75.7
53638 | 2021-03-22 15:37 | 6.3394 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.4652 | μmol/L | 19.7503 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.658 | 155350.3988 | 279402.4422 | 62.0402 | 75.7
53648 | 2021-03-22 15:37 | 6.6731 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.3516 | μmol/L | 19.7441 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.666 | 155401.1345 | 279402.2348 | 62.0402 | 75.7
53658 | 2021-03-22 15:37 | 7.0061 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.1575 | μmol/L | 19.7503 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.674 | 155453.4883 | 279408.1069 | 62.0402 | 75.7
53668 | 2021-03-22 15:38 | 7.34 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 224.0038 | μmol/L | 19.7503 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.682 | 155485.8903 | 279403.1168 | 62.0402 | 75.7
53678 | 2021-03-22 15:38 | 7.673 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 223.9462 | μmol/L | 19.7503 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.685 | 155504.1775 | 279394.2928 | 62.0402 | 75.7
53688 | 2021-03-22 15:38 | 8.0068 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 223.9654 | μmol/L | 19.7503 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.684 | 155537.1792 | 279401.48 | 62.0402 | 75.7
53698 | 2021-03-22 15:39 | 8.3395 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 223.8905 | μmol/L | 19.7441 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.69 | 155577.2411 | 279396.2482 | 62.0402 | 75.7
53708 | 2021-03-22 15:39 | 8.6734 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 223.8905 | μmol/L | 19.7441 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.69 | 155573.5354 | 279391.7254 | 62.0402 | 75.7
53718 | 2021-03-22 15:39 | 9.0064 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 223.8138 | μmol/L | 19.7441 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.694 | 155582.0017 | 279385.4155 | 62.0402 | 75.7
53728 | 2021-03-22 15:40 | 9.3398 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 223.9308 | μmol/L | 19.738 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.69 | 155587.3346 | 279389.9228 | 62.0402 | 75.7
53738 | 2021-03-22 15:40 | 9.6733 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 223.9153 | μmol/L | 19.7257 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.695 | 155622.1414 | 279390.7054 | 62.0402 | 75.7
53748 | 2021-03-22 15:40 | 10.0066 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 223.8559 | μmol/L | 19.7319 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.696 | 155631.0742 | 279380.9116 | 62.0402 | 75.7
53758 | 2021-03-22 15:41 | 10.3395 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 223.8597 | μmol/L | 19.7196 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.7 | 155643.8201 | 279381.3969 | 62.0402 | 75.7
53768 | 2021-03-22 15:41 | 10.6733 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 223.7408 | μmol/L | 19.7319 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.702 | 155668.2724 | 279386.0104 | 62.0402 | 75.7
53778 | 2021-03-22 15:41 | 11.006 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 223.7044 | μmol/L | 19.7257 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.706 | 155685.7714 | 279375.6699 | 62.0402 | 75.7
53788 | 2021-03-22 15:42 | 11.3396 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 223.7427 | μmol/L | 19.7257 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.704 | 155687.0002 | 279369.5377 | 62.0402 | 75.7
53798 | 2021-03-22 15:42 | 11.6728 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 223.6642 | μmol/L | 19.7319 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.706 | 155688.218 | 279375.6663 | 62.0402 | 75.7
53808 | 2021-03-22 15:42 | 12.0065 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 223.7025 | μmol/L | 19.7319 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.704 | 155687.6458 | 279365.434 | 62.0402 | 75.7
53818 | 2021-03-22 15:43 | 12.3401 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 223.6642 | μmol/L | 19.7319 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.706 | 155697.6066 | 279373.8538 | 62.0402 | 75.7
53828 | 2021-03-22 15:43 | 12.6729 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 223.6661 | μmol/L | 19.7257 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.708 | 155712.8976 | 279376.1664 | 62.0402 | 75.7
53838 | 2021-03-22 15:43 | 13.0067 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 223.7676 | μmol/L | 19.7073 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.709 | 155723.3629 | 279370.5533 | 62.0402 | 75.7
53848 | 2021-03-22 15:44 | 13.3396 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 223.7082 | μmol/L | 19.7135 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.71 | 155745.7159 | 279373.7446 | 62.0402 | 75.7
53858 | 2021-03-22 15:44 | 13.6734 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 223.6354 | μmol/L | 19.7012 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.718 | 155790.4232 | 279367.9719 | 62.0402 | 75.7
53868 | 2021-03-22 15:44 | 14.0061 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 223.5032 | μmol/L | 19.6951 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.727 | 155835.8067 | 279368.1434 | 62.0402 | 75.7
53878 | 2021-03-22 15:45 | 14.3394 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 223.4439 | μmol/L | 19.7012 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.728 | 155864.5139 | 279377.6423 | 62.0402 | 75.7
53888 | 2021-03-22 15:45 | 14.6733 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 223.3693 | μmol/L | 19.6951 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.734 | 155907.0419 | 279371.2586 | 62.0402 | 75.7
53898 | 2021-03-22 15:45 | 15.0062 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 223.2526 | μmol/L | 19.7012 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.738 | 155930.705 | 279364.7731 | 62.0402 | 75.7
53908 | 2021-03-22 15:46 | 15.3394 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 223.1552 | μmol/L | 19.7073 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.741 | 155953.9937 | 279367.8151 | 62.0402 | 75.7
53918 | 2021-03-22 15:46 | 15.6733 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 223.2355 | μmol/L | 19.6951 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.741 | 155968.9622 | 279356.2336 | 62.0402 | 75.7
53928 | 2021-03-22 15:46 | 16.0069 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 223.3158 | μmol/L | 19.6828 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.741 | 155975.6595 | 279357.6446 | 62.0402 | 75.7
53938 | 2021-03-22 15:47 | 16.34 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 223.2183 | μmol/L | 19.6889 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.744 | 155984.5196 | 279362.6481 | 62.0402 | 75.7
53948 | 2021-03-22 15:47 | 16.6731 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 223.1609 | μmol/L | 19.6889 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.747 | 156000.6231 | 279358.6904 | 62.0402 | 75.7
53958 | 2021-03-22 15:47 | 17.0061 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 223.1609 | μmol/L | 19.6889 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.747 | 156013.9781 | 279362.1736 | 62.0402 | 75.7
53968 | 2021-03-22 15:48 | 17.3396 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 223.1017 | μmol/L | 19.6951 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.748 | 156000.1532 | 279358.1006 | 62.0402 | 75.7
53978 | 2021-03-22 15:48 | 17.6727 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 223.2604 | μmol/L | 19.6767 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.746 | 156010.2704 | 279360.0969 | 62.0402 | 75.7
53988 | 2021-03-22 15:48 | 18.0065 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 223.1457 | μmol/L | 19.6767 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.752 | 156003.245 | 279367.4463 | 62.0402 | 75.7
53998 | 2021-03-22 15:49 | 18.3395 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 223.1839 | μmol/L | 19.6767 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.75 | 156009.5615 | 279362.1308 | 62.0402 | 75.7
54008 | 2021-03-22 15:49 | 18.6732 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 223.1668 | μmol/L | 19.6705 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.753 | 156047.4115 | 279382.6079 | 62.0402 | 75.7
54018 | 2021-03-22 15:49 | 19.0065 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 223.1305 | μmol/L | 19.6644 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.757 | 156059.7561 | 279382.1874 | 62.0402 | 75.7
54028 | 2021-03-22 15:50 | 19.3402 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 223.1344 | μmol/L | 19.6521 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.761 | 156093.4402 | 279383.6978 | 62.0402 | 75.7
54038 | 2021-03-22 15:50 | 19.673 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 223.1153 | μmol/L | 19.6521 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.762 | 156114.6763 | 279376.9274 | 62.0402 | 75.7
54048 | 2021-03-22 15:50 | 20.0068 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 222.9797 | μmol/L | 19.6583 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.767 | 156139.1283 | 279374.0417 | 62.0402 | 75.7
54058 | 2021-03-22 15:51 | 20.34 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 222.9435 | μmol/L | 19.6521 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.771 | 156181.5314 | 279392.1919 | 62.0402 | 75.7
54068 | 2021-03-22 15:51 | 20.6728 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 222.8672 | μmol/L | 19.6521 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.775 | 156217.3601 | 279375.6515 | 62.0402 | 75.7
54078 | 2021-03-22 15:51 | 21.0066 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 222.8922 | μmol/L | 19.6337 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.78 | 156262.6851 | 279383.5861 | 62.0402 | 75.7
54088 | 2021-03-22 15:52 | 21.3396 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 222.835 | μmol/L | 19.6337 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.783 | 156270.8851 | 279385.1109 | 62.0402 | 75.7
54098 | 2021-03-22 15:52 | 21.6732 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 222.8561 | μmol/L | 19.6276 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.784 | 156282.4121 | 279374.4795 | 62.0402 | 75.7
54108 | 2021-03-22 15:52 | 22.0061 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 222.9363 | μmol/L | 19.6153 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.784 | 156290.3655 | 279375.454 | 62.0402 | 75.7
54118 | 2021-03-22 15:53 | 22.3399 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 222.839 | μmol/L | 19.6215 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.787 | 156300.3561 | 279384.8329 | 62.0402 | 75.7
54128 | 2021-03-22 15:53 | 22.6727 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 222.7187 | μmol/L | 19.6399 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.787 | 156311.6669 | 279390.6804 | 62.0402 | 75.7
54138 | 2021-03-22 15:53 | 23.0064 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 222.6996 | μmol/L | 19.6399 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.788 | 156340.9907 | 279391.2122 | 62.0402 | 75.7
54148 | 2021-03-22 15:54 | 23.3394 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 222.5053 | μmol/L | 19.6521 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.794 | 156382.4773 | 279383.8731 | 62.0402 | 75.7
54158 | 2021-03-22 15:54 | 23.6735 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 222.3911 | μmol/L | 19.6521 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.8 | 156433.2237 | 279394.4755 | 62.0402 | 75.7
54168 | 2021-03-22 15:54 | 24.0062 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 222.3551 | μmol/L | 19.646 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.804 | 156468.3377 | 279378.7205 | 62.0402 | 75.7
54178 | 2021-03-22 15:55 | 24.3399 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 222.4411 | μmol/L | 19.6153 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.81 | 156499.7061 | 279385.964 | 62.0402 | 75.7
54188 | 2021-03-22 15:55 | 24.6731 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 222.306 | μmol/L | 19.6215 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.815 | 156536.3334 | 279388.1714 | 62.0402 | 75.7
54198 | 2021-03-22 15:55 | 25.0068 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 222.287 | μmol/L | 19.6215 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.816 | 156565.0625 | 279380.7026 | 62.0402 | 75.7
54208 | 2021-03-22 15:56 | 25.3396 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 222.152 | μmol/L | 19.6276 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.821 | 156591.0467 | 279387.8382 | 62.0402 | 75.7
54218 | 2021-03-22 15:56 | 25.6727 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 222.055 | μmol/L | 19.6337 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.824 | 156609.0607 | 279390.3883 | 62.0402 | 75.7
54228 | 2021-03-22 15:56 | 26.0065 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 222.057 | μmol/L | 19.6276 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.826 | 156616.3245 | 279384.3423 | 62.0402 | 75.7
54238 | 2021-03-22 15:57 | 26.3401 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 222.175 | μmol/L | 19.6153 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.824 | 156622.1362 | 279388.5284 | 62.0402 | 75.7
54248 | 2021-03-22 15:57 | 26.6732 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 222.215 | μmol/L | 19.6092 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.824 | 156614.9574 | 279393.7229 | 62.0402 | 75.7
54258 | 2021-03-22 15:57 | 27.0062 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 222.099 | μmol/L | 19.6153 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.828 | 156640.6018 | 279394.3344 | 62.0402 | 75.7
54268 | 2021-03-22 15:58 | 27.3399 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 222.103 | μmol/L | 19.6031 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.832 | 156694.0319 | 279382.9025 | 62.0402 | 75.7
54278 | 2021-03-22 15:58 | 27.6728 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 221.9702 | μmol/L | 19.6031 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.839 | 156764.3052 | 279389.7251 | 62.0402 | 75.7
54288 | 2021-03-22 15:58 | 28.0066 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 221.7596 | μmol/L | 19.6092 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.848 | 156807.543 | 279383.109 | 62.0402 | 75.7
54298 | 2021-03-22 15:59 | 28.3395 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 221.6818 | μmol/L | 19.6153 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.85 | 156826.7173 | 279386.6771 | 62.0402 | 75.7
54308 | 2021-03-22 15:59 | 28.6733 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 221.8165 | μmol/L | 19.6092 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.845 | 156797.6477 | 279387.2095 | 62.0402 | 75.7
54318 | 2021-03-22 15:59 | 29.006 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 221.9662 | μmol/L | 19.6153 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.835 | 156736.7485 | 279384.4246 | 62.0402 | 75.7
54328 | 2021-03-22 16:00 | 29.3398 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 222.268 | μmol/L | 19.6215 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.817 | 156629.4365 | 279387.9086 | 62.0402 | 75.7
54338 | 2021-03-22 16:00 | 29.6729 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 222.5342 | μmol/L | 19.6215 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.803 | 156513.2466 | 279380.6122 | 62.0402 | 75.7
54348 | 2021-03-22 16:00 | 30.0068 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 222.7798 | μmol/L | 19.6276 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.788 | 156402.2495 | 279386.287 | 62.0402 | 75.7
54358 | 2021-03-22 16:01 | 30.3396 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 223.0086 | μmol/L | 19.6276 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.776 | 156323.724 | 279396.5814 | 62.0402 | 75.7
54368 | 2021-03-22 16:01 | 30.6734 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 223.0238 | μmol/L | 19.6399 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.771 | 156297.886 | 279377.5341 | 62.0402 | 75.7
54378 | 2021-03-22 16:01 | 31.0063 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 223.062 | μmol/L | 19.6399 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.769 | 156282.7969 | 279395.6883 | 62.0402 | 75.7
54388 | 2021-03-22 16:02 | 31.3402 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 223.1976 | μmol/L | 19.6337 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.764 | 156236.3298 | 279380.8273 | 62.0402 | 75.7
54398 | 2021-03-22 16:02 | 31.6729 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 223.2549 | μmol/L | 19.6337 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.761 | 156224.6457 | 279397.6847 | 62.0402 | 75.7
54408 | 2021-03-22 16:02 | 32.0065 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 223.2378 | μmol/L | 19.6276 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.764 | 156252.1848 | 279390.1136 | 62.0402 | 75.7
54418 | 2021-03-22 16:03 | 32.3401 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 223.1192 | μmol/L | 19.6399 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.766 | 156244.2896 | 279405.9146 | 62.0402 | 75.7
54428 | 2021-03-22 16:03 | 32.673 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 223.0771 | μmol/L | 19.6521 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.764 | 156248.7788 | 279405.9522 | 62.0402 | 75.7
54438 | 2021-03-22 16:03 | 33.0067 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 223.016 | μmol/L | 19.6644 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.763 | 156247.683 | 279401.0725 | 62.0402 | 75.7
54448 | 2021-03-22 16:04 | 33.3395 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 222.9166 | μmol/L | 19.6767 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.764 | 156277.5428 | 279420.922 | 62.0402 | 75.7
54458 | 2021-03-22 16:04 | 33.6733 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 222.7049 | μmol/L | 19.6828 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.773 | 156323.4504 | 279402.53 | 62.0402 | 75.7
54468 | 2021-03-22 16:04 | 34.0061 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 222.4154 | μmol/L | 19.6951 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.784 | 156424.8731 | 279420.0363 | 62.0402 | 75.7
54478 | 2021-03-22 16:05 | 34.3397 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 222.3013 | μmol/L | 19.6951 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.79 | 156452.6095 | 279409.4714 | 62.0402 | 75.7
54488 | 2021-03-22 16:05 | 34.6734 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 222.2613 | μmol/L | 19.7012 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.79 | 156449.637 | 279411.1198 | 62.0402 | 75.7
54498 | 2021-03-22 16:05 | 35.0064 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 222.2213 | μmol/L | 19.7073 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.79 | 156459.799 | 279394.7594 | 62.0402 | 75.7
54508 | 2021-03-22 16:06 | 35.3396 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 222.0824 | μmol/L | 19.7257 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.791 | 156473.2961 | 279410.1505 | 62.0402 | 75.7
54518 | 2021-03-22 16:06 | 35.6735 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 222.0844 | μmol/L | 19.7196 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.793 | 156500.0781 | 279409.062 | 62.0402 | 75.7
54528 | 2021-03-22 16:06 | 36.0066 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 222.0084 | μmol/L | 19.7196 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.797 | 156524.7497 | 279412.1266 | 62.0402 | 75.7
54538 | 2021-03-22 16:07 | 36.3397 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 221.9894 | μmol/L | 19.7196 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.798 | 156540.114 | 279410.4344 | 62.0402 | 75.7
54548 | 2021-03-22 16:07 | 36.6728 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 221.8317 | μmol/L | 19.738 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.8 | 156550.3945 | 279403.4717 | 62.0402 | 75.7
54558 | 2021-03-22 16:07 | 37.0061 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 221.697 | μmol/L | 19.7441 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.805 | 156609.3283 | 279415.1916 | 62.0402 | 75.7
54568 | 2021-03-22 16:08 | 37.3394 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 221.4677 | μmol/L | 19.7503 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.815 | 156657.6762 | 279417.6762 | 62.0402 | 75.7
54578 | 2021-03-22 16:08 | 37.6732 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 221.3881 | μmol/L | 19.7626 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.815 | 156677.3344 | 279412.7741 | 62.0402 | 75.7
54588 | 2021-03-22 16:08 | 38.0063 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 221.3483 | μmol/L | 19.7687 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.815 | 156681.6679 | 279415.6618 | 62.0402 | 75.7
54598 | 2021-03-22 16:09 | 38.3394 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 221.3313 | μmol/L | 19.7626 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.818 | 156678.9171 | 279421.5199 | 62.0402 | 75.7
54608 | 2021-03-22 16:09 | 38.6734 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 221.2895 | μmol/L | 19.7748 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.816 | 156684.9259 | 279414.7411 | 62.0402 | 75.7
54618 | 2021-03-22 16:09 | 39.0065 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 221.3691 | μmol/L | 19.7626 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.816 | 156697.7904 | 279428.8323 | 62.0402 | 75.7
54628 | 2021-03-22 16:10 | 39.3399 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 221.2328 | μmol/L | 19.7748 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.819 | 156715.2816 | 279416.6096 | 62.0402 | 75.7
54638 | 2021-03-22 16:10 | 39.673 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 221.1532 | μmol/L | 19.7871 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.819 | 156713.1446 | 279418.9595 | 62.0402 | 75.7
54648 | 2021-03-22 16:10 | 40.0062 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 221.1552 | μmol/L | 19.781 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.821 | 156725.888 | 279419.3085 | 62.0402 | 75.7
54658 | 2021-03-22 16:11 | 40.34 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 221.1552 | μmol/L | 19.781 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.821 | 156743.8144 | 279429.8925 | 62.0402 | 75.7
54668 | 2021-03-22 16:11 | 40.6729 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 221.0209 | μmol/L | 19.7871 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.826 | 156774.7897 | 279421.3566 | 62.0402 | 75.7
54678 | 2021-03-22 16:11 | 41.0067 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 220.9831 | μmol/L | 19.7871 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.828 | 156802.6335 | 279431.0575 | 62.0402 | 75.7
54688 | 2021-03-22 16:12 | 41.3396 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 220.9454 | μmol/L | 19.7871 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.83 | 156836.9111 | 279425.9467 | 62.0402 | 75.7
54698 | 2021-03-22 16:12 | 41.6735 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 220.8868 | μmol/L | 19.7932 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.831 | 156822.5714 | 279392.9509 | 62.0402 | 75.7
54708 | 2021-03-22 16:12 | 42.0063 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 220.8093 | μmol/L | 19.7994 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.833 | 156842.9989 | 279400.5296 | 62.0402 | 75.7
54718 | 2021-03-22 16:13 | 42.3395 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 220.8698 | μmol/L | 19.7871 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.834 | 156861.2257 | 279419.3123 | 62.0402 | 75.7
54728 | 2021-03-22 16:13 | 42.6732 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 220.6772 | μmol/L | 19.7994 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.84 | 156883.1653 | 279414.0916 | 62.0402 | 75.7
54738 | 2021-03-22 16:13 | 43.0068 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 220.6168 | μmol/L | 19.8116 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.839 | 156886.4787 | 279405.8808 | 62.0402 | 75.7
54748 | 2021-03-22 16:14 | 43.3395 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 220.5602 | μmol/L | 19.8116 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.842 | 156924.0702 | 279431.7015 | 62.0402 | 75.7
54758 | 2021-03-22 16:14 | 43.6735 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 220.5076 | μmol/L | 19.7994 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.849 | 156965.6785 | 279422.8993 | 62.0402 | 75.7
54768 | 2021-03-22 16:14 | 44.0065 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 220.3569 | μmol/L | 19.7994 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.857 | 157025.7577 | 279416.9799 | 62.0402 | 75.7
54778 | 2021-03-22 16:15 | 44.3395 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 220.2044 | μmol/L | 19.8055 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.863 | 157074.3311 | 279411.9368 | 62.0402 | 75.7
54788 | 2021-03-22 16:15 | 44.6733 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 220.0539 | μmol/L | 19.8055 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.871 | 157122.1786 | 279413.5687 | 62.0402 | 75.7
54798 | 2021-03-22 16:15 | 45.0061 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 219.958 | μmol/L | 19.8116 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.874 | 157161.5452 | 279421.3584 | 62.0402 | 75.7
54808 | 2021-03-22 16:16 | 45.3399 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 219.9036 | μmol/L | 19.8055 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.879 | 157191.2125 | 279416.4731 | 62.0402 | 75.7
54818 | 2021-03-22 16:16 | 45.6734 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 219.8305 | μmol/L | 19.7994 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.885 | 157233.518 | 279411.7168 | 62.0402 | 75.7
54828 | 2021-03-22 16:16 | 46.0062 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 219.791 | μmol/L | 19.8055 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.885 | 157255.3829 | 279421.7098 | 62.0402 | 75.7
54838 | 2021-03-22 16:17 | 46.34 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 219.7139 | μmol/L | 19.8116 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.887 | 157268.0499 | 279413.017 | 62.0402 | 75.7
54848 | 2021-03-22 16:17 | 46.6727 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 219.5619 | μmol/L | 19.8178 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.893 | 157323.7759 | 279423.0322 | 62.0402 | 75.7
54858 | 2021-03-22 16:17 | 47.0068 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 219.279 | μmol/L | 19.8239 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.906 | 157394.9193 | 279423.8562 | 62.0402 | 75.7
54868 | 2021-03-22 16:18 | 47.3397 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 219.2308 | μmol/L | 19.7994 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.917 | 157474.2857 | 279415.8441 | 62.0402 | 75.7
54878 | 2021-03-22 16:18 | 47.6734 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 219.0191 | μmol/L | 19.8178 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.922 | 157511.2451 | 279416.4089 | 62.0402 | 75.7
54888 | 2021-03-22 16:18 | 48.0065 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 218.963 | μmol/L | 19.8178 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.925 | 157561.5945 | 279403.8794 | 62.0402 | 75.7
54898 | 2021-03-22 16:19 | 48.3401 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 218.6417 | μmol/L | 19.83 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.938 | 157618.1172 | 279411.5357 | 62.0402 | 75.7
54908 | 2021-03-22 16:19 | 48.6728 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 218.6437 | μmol/L | 19.8239 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.94 | 157646.602 | 279417.9282 | 62.0402 | 75.7
54918 | 2021-03-22 16:19 | 49.0064 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 218.5504 | μmol/L | 19.8239 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.945 | 157684.5431 | 279432.4251 | 62.0402 | 75.7
54928 | 2021-03-22 16:20 | 49.3401 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 218.7036 | μmol/L | 19.8116 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.941 | 157691.0555 | 279424.0743 | 62.0402 | 75.7
54938 | 2021-03-22 16:20 | 49.6729 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 218.6663 | μmol/L | 19.8116 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.943 | 157683.9008 | 279434.8842 | 62.0402 | 75.7
54948 | 2021-03-22 16:20 | 50.0069 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 218.627 | μmol/L | 19.8178 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.943 | 157696.3071 | 279427.8179 | 62.0402 | 75.7
54958 | 2021-03-22 16:21 | 50.3401 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 218.4552 | μmol/L | 19.83 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.948 | 157726.3035 | 279438.0415 | 62.0402 | 75.7
54968 | 2021-03-22 16:21 | 50.6729 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 218.271 | μmol/L | 19.8239 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.96 | 157798.3192 | 279427.5624 | 62.0402 | 75.7
54978 | 2021-03-22 16:21 | 51.0066 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 218.087 | μmol/L | 19.8178 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.972 | 157888.1583 | 279431.5368 | 62.0402 | 75.7
54988 | 2021-03-22 16:22 | 51.3396 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 217.996 | μmol/L | 19.8116 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.979 | 157942.2664 | 279431.0904 | 62.0402 | 75.7
54998 | 2021-03-22 16:22 | 51.6734 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 217.9464 | μmol/L | 19.7932 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.988 | 158002.5088 | 279426.516 | 62.0402 | 75.7
55008 | 2021-03-22 16:22 | 52.0062 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 217.7401 | μmol/L | 19.7994 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.997 | 158043.2337 | 279422.5559 | 62.0402 | 75.7
55018 | 2021-03-22 16:23 | 52.3401 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 217.6804 | μmol/L | 19.8116 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.996 | 158065.6866 | 279416.1023 | 62.0402 | 75.7
55028 | 2021-03-22 16:23 | 52.6733 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 217.6041 | μmol/L | 19.8178 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.998 | 158074.0119 | 279434.3805 | 62.0402 | 75.7
55038 | 2021-03-22 16:23 | 53.0061 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 217.4724 | μmol/L | 19.8239 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.003 | 158104.2284 | 279426.7659 | 62.0402 | 75.7
55048 | 2021-03-22 16:24 | 53.34 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 217.4168 | μmol/L | 19.8239 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.006 | 158131.0456 | 279434.1873 | 62.0402 | 75.7
55058 | 2021-03-22 16:24 | 53.673 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 217.2707 | μmol/L | 19.8178 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.016 | 158203.5733 | 279429.9366 | 62.0402 | 75.7
55068 | 2021-03-22 16:24 | 54.0066 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 217.3529 | μmol/L | 19.7932 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.02 | 158257.168 | 279433.591 | 62.0402 | 75.7
55078 | 2021-03-22 16:25 | 54.3395 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 217.1843 | μmol/L | 19.7994 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.027 | 158279.8982 | 279424.7611 | 62.0402 | 75.7
55088 | 2021-03-22 16:25 | 54.6734 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 217.1987 | μmol/L | 19.8116 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.022 | 158295.7186 | 279425.7146 | 62.0402 | 75.7
55098 | 2021-03-22 16:25 | 55.0065 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 217.1617 | μmol/L | 19.8116 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.024 | 158323.8169 | 279428.8542 | 62.0402 | 75.7
55108 | 2021-03-22 16:26 | 55.3395 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 216.9768 | μmol/L | 19.8116 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.034 | 158371.6699 | 279433.5011 | 62.0402 | 75.7
55118 | 2021-03-22 16:26 | 55.6733 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 216.8085 | μmol/L | 19.8178 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.041 | 158414.4282 | 279425.7728 | 62.0402 | 75.7
55128 | 2021-03-22 16:26 | 56.0062 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 216.8885 | μmol/L | 19.7994 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.043 | 158452.3692 | 279443.5456 | 62.0402 | 75.7
55138 | 2021-03-22 16:27 | 56.3401 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 216.6998 | μmol/L | 19.8116 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.049 | 158485.8851 | 279444.3633 | 62.0402 | 75.7
55148 | 2021-03-22 16:27 | 56.673 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 216.624 | μmol/L | 19.8178 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.051 | 158500.5249 | 279433.6589 | 62.0402 | 75.7
55158 | 2021-03-22 16:27 | 57.0068 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 216.5133 | μmol/L | 19.8178 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.057 | 158519.6124 | 279434.5658 | 62.0402 | 75.7
55168 | 2021-03-22 16:28 | 57.3397 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 216.5502 | μmol/L | 19.8178 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.055 | 158541.1944 | 279432.7607 | 62.0402 | 75.7
55178 | 2021-03-22 16:28 | 57.6733 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 216.4806 | μmol/L | 19.8055 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.063 | 158573.2468 | 279420.0871 | 62.0402 | 75.7
55188 | 2021-03-22 16:28 | 58.006 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 216.54 | μmol/L | 19.7932 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.064 | 158605.7213 | 279427.3911 | 62.0402 | 75.7
55198 | 2021-03-22 16:29 | 58.3396 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 216.3906 | μmol/L | 19.7994 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.07 | 158628.9816 | 279426.1456 | 62.0402 | 75.7
55208 | 2021-03-22 16:29 | 58.6733 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 216.4295 | μmol/L | 19.7932 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.07 | 158654.1976 | 279435.0014 | 62.0402 | 75.7
55218 | 2021-03-22 16:29 | 59.0064 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 216.3353 | μmol/L | 19.7994 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.073 | 158675.329 | 279440.2444 | 62.0402 | 75.7
55228 | 2021-03-22 16:30 | 59.3401 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 216.1492 | μmol/L | 19.8055 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.081 | 158714.036 | 279432.0161 | 62.0402 | 75.7
55238 | 2021-03-22 16:30 | 59.6728 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 216.0798 | μmol/L | 19.7932 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.089 | 158739.1913 | 279431.6367 | 62.0402 | 75.7
55248 | 2021-03-22 16:30 | 60.0068 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 216.1555 | μmol/L | 19.7871 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.087 | 158771.4556 | 279439.5866 | 62.0402 | 75.7
55258 | 2021-03-22 16:31 | 60.3396 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 216.0635 | μmol/L | 19.7871 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.092 | 158805.338 | 279434.2415 | 62.0402 | 75.7
55268 | 2021-03-22 16:31 | 60.6733 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 215.99 | μmol/L | 19.7871 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.096 | 158822.9036 | 279434.9937 | 62.0402 | 75.7
55278 | 2021-03-22 16:31 | 61.0061 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 215.8593 | μmol/L | 19.7932 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.101 | 158859.6794 | 279436.1505 | 62.0402 | 75.7
55288 | 2021-03-22 16:32 | 61.34 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 215.8431 | μmol/L | 19.7871 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.104 | 158900.4664 | 279443.2279 | 62.0402 | 75.7
55298 | 2021-03-22 16:32 | 61.6728 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 215.733 | μmol/L | 19.7871 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.11 | 158934.1525 | 279443.6969 | 62.0402 | 75.7
55308 | 2021-03-22 16:32 | 62.0066 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 215.6229 | μmol/L | 19.7871 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.116 | 158971.5754 | 279441.9305 | 62.0402 | 75.7
55318 | 2021-03-22 16:33 | 62.3396 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 215.4742 | μmol/L | 19.7932 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.122 | 159007.9498 | 279446.5402 | 62.0402 | 75.7
55328 | 2021-03-22 16:33 | 62.6734 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 215.403 | μmol/L | 19.7871 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.128 | 159074.9927 | 279453.345 | 62.0402 | 75.7
55338 | 2021-03-22 16:33 | 63.0063 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 215.3319 | μmol/L | 19.781 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.134 | 159122.0343 | 279453.6263 | 62.0402 | 75.7
55348 | 2021-03-22 16:34 | 63.3401 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 215.2769 | μmol/L | 19.781 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.137 | 159134.3578 | 279458.491 | 62.0402 | 75.7
55358 | 2021-03-22 16:34 | 63.6729 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 215.2769 | μmol/L | 19.781 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.137 | 159144.8051 | 279458.3643 | 62.0402 | 75.7
55368 | 2021-03-22 16:34 | 64.0068 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 215.2403 | μmol/L | 19.781 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.139 | 159158.9745 | 279469.8234 | 62.0402 | 75.7
55378 | 2021-03-22 16:35 | 64.3396 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 215.2403 | μmol/L | 19.781 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.139 | 159153.2724 | 279470.3039 | 62.0402 | 75.7
55388 | 2021-03-22 16:35 | 64.6733 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 215.2974 | μmol/L | 19.7748 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.138 | 159149.3742 | 279473.3927 | 62.0402 | 75.7
55398 | 2021-03-22 16:35 | 65.0063 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 215.151 | μmol/L | 19.7748 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.146 | 159203.6632 | 279481.0035 | 62.0402 | 75.7
55408 | 2021-03-22 16:36 | 65.3402 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 214.9823 | μmol/L | 19.7871 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.151 | 159241.0914 | 279481.8246 | 62.0402 | 75.7
55418 | 2021-03-22 16:36 | 65.673 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 214.8179 | μmol/L | 19.7871 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.16 | 159299.8875 | 279479.5999 | 62.0402 | 75.7
55428 | 2021-03-22 16:36 | 66.0061 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 215.0724 | μmol/L | 19.738 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.163 | 159343.0355 | 279481.4608 | 62.0402 | 75.7
55438 | 2021-03-22 16:37 | 66.3398 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 215.0197 | μmol/L | 19.7319 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.168 | 159382.4438 | 279497.9288 | 62.0402 | 75.7
55448 | 2021-03-22 16:37 | 66.6727 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 214.7577 | μmol/L | 19.7503 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.176 | 159420.984 | 279483.2332 | 62.0402 | 75.7
55458 | 2021-03-22 16:37 | 67.0064 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 214.7169 | μmol/L | 19.7626 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.174 | 159437.7141 | 279486.6707 | 62.0402 | 75.7
55468 | 2021-03-22 16:38 | 67.3394 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 214.937 | μmol/L | 19.7073 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.181 | 159469.8992 | 279480.0238 | 62.0402 | 75.7
55478 | 2021-03-22 16:38 | 67.6733 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 214.7888 | μmol/L | 19.7135 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.187 | 159498.2275 | 279479.1622 | 62.0402 | 75.7
55488 | 2021-03-22 16:38 | 68.0061 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 214.5614 | μmol/L | 19.738 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.191 | 159537.7214 | 279484.5731 | 62.0402 | 75.7
55498 | 2021-03-22 16:39 | 68.3398 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 214.4296 | μmol/L | 19.7503 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.194 | 159563.8323 | 279488.6634 | 62.0402 | 75.7
55508 | 2021-03-22 16:39 | 68.6729 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 214.45 | μmol/L | 19.7441 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.195 | 159562.5731 | 279482.9198 | 62.0402 | 75.7
55518 | 2021-03-22 16:39 | 69.0066 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 214.4682 | μmol/L | 19.7441 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.194 | 159592.6693 | 279487.8544 | 62.0402 | 75.7
55528 | 2021-03-22 16:40 | 69.34 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 214.4864 | μmol/L | 19.7441 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.193 | 159598.5072 | 279495.7534 | 62.0402 | 75.7
55538 | 2021-03-22 16:40 | 69.6732 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 214.4317 | μmol/L | 19.7441 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.196 | 159610.1827 | 279491.0013 | 62.0402 | 75.7
55548 | 2021-03-22 16:40 | 70.0062 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 214.4339 | μmol/L | 19.738 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.198 | 159619.6389 | 279495.761 | 62.0402 | 75.7
55558 | 2021-03-22 16:41 | 70.3399 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 214.4746 | μmol/L | 19.7257 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.2 | 159614.3044 | 279495.1287 | 62.0402 | 75.7
55568 | 2021-03-22 16:41 | 70.6728 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 214.3589 | μmol/L | 19.7441 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.2 | 159628.8135 | 279489.162 | 62.0402 | 75.7
55578 | 2021-03-22 16:41 | 71.0067 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 214.3225 | μmol/L | 19.7441 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.202 | 159641.0661 | 279494.2994 | 62.0402 | 75.7
55588 | 2021-03-22 16:42 | 71.3396 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 214.2861 | μmol/L | 19.7441 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.204 | 159662.4543 | 279502.9819 | 62.0402 | 75.7
55598 | 2021-03-22 16:42 | 71.6734 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 214.2679 | μmol/L | 19.7441 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.205 | 159682.8268 | 279508.1524 | 62.0402 | 75.7
55608 | 2021-03-22 16:42 | 72.0064 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 214.2679 | μmol/L | 19.7441 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.205 | 159678.2401 | 279507.2779 | 62.0402 | 75.7
55618 | 2021-03-22 16:43 | 72.3394 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 214.3407 | μmol/L | 19.7441 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.201 | 159675.8943 | 279503.7723 | 62.0402 | 75.7