## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-22 16:44

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
53452 | 2021-03-22 15:30 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 250.2843 | μmol/L | 19.7361 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.91 | 116479.3539 | 218106.3003 | 27.3 | 43.4
53462 | 2021-03-22 15:31 | 0.33926 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 250.0638 | μmol/L | 19.7484 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.916 | 116515.1135 | 218127.9791 | 27.3 | 43.4
53472 | 2021-03-22 15:31 | 0.67248 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 250.0638 | μmol/L | 19.7484 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.916 | 116524.4718 | 218120.1296 | 27.3 | 43.4
53481 | 2021-03-22 15:31 | 1.0056 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 249.9135 | μmol/L | 19.7484 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.923 | 116553.9266 | 218129.9238 | 27.3 | 43.4
53491 | 2021-03-22 15:32 | 1.3389 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 249.7876 | μmol/L | 19.7423 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.931 | 116580.2292 | 218134.8842 | 27.3 | 43.4
53502 | 2021-03-22 15:32 | 1.6725 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 249.729 | μmol/L | 19.73 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.938 | 116608.1876 | 218123.1796 | 27.3 | 43.4
53511 | 2021-03-22 15:32 | 2.0057 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 249.4719 | μmol/L | 19.73 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.95 | 116649.9393 | 218132.2016 | 27.3 | 43.4
53521 | 2021-03-22 15:33 | 2.3386 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 249.2094 | μmol/L | 19.7423 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.958 | 116684.6416 | 218125.7444 | 27.3 | 43.4
53532 | 2021-03-22 15:33 | 2.6724 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 249.0996 | μmol/L | 19.7484 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.961 | 116715.7197 | 218132.2302 | 27.3 | 43.4
53541 | 2021-03-22 15:33 | 3.0053 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 248.9529 | μmol/L | 19.7423 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.97 | 116755.7324 | 218132.1126 | 27.3 | 43.4
53551 | 2021-03-22 15:34 | 3.3391 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 248.8405 | μmol/L | 19.7545 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.971 | 116759.7348 | 218111.7751 | 27.3 | 43.4
53561 | 2021-03-22 15:34 | 3.6718 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 248.7338 | μmol/L | 19.7545 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.976 | 116791.7762 | 218127.4497 | 27.3 | 43.4
53571 | 2021-03-22 15:34 | 4.0053 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 248.6029 | μmol/L | 19.7606 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.98 | 116824.2402 | 218123.0339 | 27.3 | 43.4
53582 | 2021-03-22 15:35 | 4.3391 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 248.4808 | μmol/L | 19.7484 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.99 | 116839.2383 | 218127.0135 | 27.3 | 43.4
53592 | 2021-03-22 15:35 | 4.6721 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 248.3558 | μmol/L | 19.7423 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.998 | 116865.8108 | 218114.0092 | 27.3 | 43.4
53601 | 2021-03-22 15:35 | 5.0052 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 248.2494 | μmol/L | 19.7423 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.003 | 116916.3774 | 218108.5926 | 27.3 | 43.4
53611 | 2021-03-22 15:36 | 5.3392 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 247.9488 | μmol/L | 19.7484 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.015 | 116973.3105 | 218128.5402 | 27.3 | 43.4
53621 | 2021-03-22 15:36 | 5.6721 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 247.9333 | μmol/L | 19.7361 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.02 | 117021.9461 | 218138.2981 | 27.3 | 43.4
53632 | 2021-03-22 15:36 | 6.0058 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 247.8542 | μmol/L | 19.7239 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.028 | 117044.8187 | 218119.5283 | 27.3 | 43.4
53642 | 2021-03-22 15:37 | 6.339 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 247.6332 | μmol/L | 19.7423 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.032 | 117065.434 | 218113.0488 | 27.3 | 43.4
53652 | 2021-03-22 15:37 | 6.6724 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 247.5908 | μmol/L | 19.7423 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.034 | 117090.3251 | 218111.8444 | 27.3 | 43.4
53661 | 2021-03-22 15:37 | 7.0054 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 247.4395 | μmol/L | 19.7484 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.039 | 117096.4787 | 218123.1733 | 27.3 | 43.4
53672 | 2021-03-22 15:38 | 7.3387 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 247.4819 | μmol/L | 19.7484 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.037 | 117087.551 | 218117.2771 | 27.3 | 43.4
53681 | 2021-03-22 15:38 | 7.6724 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 247.4125 | μmol/L | 19.7606 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.036 | 117088.4709 | 218120.6532 | 27.3 | 43.4
53691 | 2021-03-22 15:38 | 8.0054 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 247.4578 | μmol/L | 19.7545 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.036 | 117098.8639 | 218117.2724 | 27.3 | 43.4
53701 | 2021-03-22 15:39 | 8.3385 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 247.5995 | μmol/L | 19.7239 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.04 | 117103.1942 | 218116.263 | 27.3 | 43.4
53712 | 2021-03-22 15:39 | 8.6723 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 247.56 | μmol/L | 19.7178 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.044 | 117124.1448 | 218123.2311 | 27.3 | 43.4
53721 | 2021-03-22 15:39 | 9.0051 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 247.4058 | μmol/L | 19.73 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.047 | 117135.4202 | 218129.9366 | 27.3 | 43.4
53732 | 2021-03-22 15:40 | 9.3387 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 247.2517 | μmol/L | 19.7423 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.05 | 117146.842 | 218118.6047 | 27.3 | 43.4
53741 | 2021-03-22 15:40 | 9.6719 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 247.1641 | μmol/L | 19.7484 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.052 | 117180.5985 | 218116.5589 | 27.3 | 43.4
53752 | 2021-03-22 15:40 | 10.0058 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 246.9708 | μmol/L | 19.7545 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.059 | 117195.8878 | 218105.1039 | 27.3 | 43.4
53762 | 2021-03-22 15:41 | 10.3392 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 246.844 | μmol/L | 19.7545 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.065 | 117234.3479 | 218117.5665 | 27.3 | 43.4
53772 | 2021-03-22 15:41 | 10.6719 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 246.6961 | μmol/L | 19.7545 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.072 | 117263.1898 | 218106.0229 | 27.3 | 43.4
53782 | 2021-03-22 15:41 | 11.0056 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 246.5695 | μmol/L | 19.7545 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.078 | 117306.6809 | 218105.9445 | 27.3 | 43.4
53791 | 2021-03-22 15:42 | 11.3385 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 246.5273 | μmol/L | 19.7545 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.08 | 117332.5594 | 218124.4695 | 27.3 | 43.4
53801 | 2021-03-22 15:42 | 11.6718 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 246.3615 | μmol/L | 19.7484 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.09 | 117346.8274 | 218110.6896 | 27.3 | 43.4
53811 | 2021-03-22 15:42 | 12.0058 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 246.3586 | μmol/L | 19.7545 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.088 | 117368.8088 | 218119.24 | 27.3 | 43.4
53821 | 2021-03-22 15:43 | 12.3387 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 246.166 | μmol/L | 19.7606 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.095 | 117391.9649 | 218110.8788 | 27.3 | 43.4
53831 | 2021-03-22 15:43 | 12.6718 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 246.2561 | μmol/L | 19.7484 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.095 | 117407.2259 | 218113.8396 | 27.3 | 43.4
53842 | 2021-03-22 15:43 | 13.0055 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 246.2199 | μmol/L | 19.7361 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.101 | 117431.6865 | 218127.9923 | 27.3 | 43.4
53851 | 2021-03-22 15:44 | 13.3386 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 246.0696 | μmol/L | 19.7423 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.106 | 117459.3771 | 218122.3452 | 27.3 | 43.4
53862 | 2021-03-22 15:44 | 13.6725 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 246.0123 | μmol/L | 19.73 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.113 | 117485.0427 | 218124.8304 | 27.3 | 43.4
53872 | 2021-03-22 15:44 | 14.0056 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 245.9282 | μmol/L | 19.73 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.117 | 117516.5184 | 218117.1652 | 27.3 | 43.4
53882 | 2021-03-22 15:45 | 14.3388 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 245.8622 | μmol/L | 19.7361 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.118 | 117533.3303 | 218113.5812 | 27.3 | 43.4
53891 | 2021-03-22 15:45 | 14.6719 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 245.6911 | μmol/L | 19.7423 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.124 | 117560.1727 | 218122.222 | 27.3 | 43.4
53901 | 2021-03-22 15:45 | 15.0057 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 245.5681 | μmol/L | 19.7361 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.132 | 117595.373 | 218111.9684 | 27.3 | 43.4
53911 | 2021-03-22 15:46 | 15.3386 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 245.4841 | μmol/L | 19.7361 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.136 | 117626.7231 | 218118.9572 | 27.3 | 43.4
53921 | 2021-03-22 15:46 | 15.6719 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 245.2744 | μmol/L | 19.7361 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.146 | 117659.3643 | 218123.5891 | 27.3 | 43.4
53932 | 2021-03-22 15:46 | 16.0058 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 245.2414 | μmol/L | 19.7178 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.154 | 117701.3288 | 218109.725 | 27.3 | 43.4
53941 | 2021-03-22 15:47 | 16.3386 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 245.1337 | μmol/L | 19.7239 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.157 | 117733.8929 | 218119.7234 | 27.3 | 43.4
53951 | 2021-03-22 15:47 | 16.6718 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 245.0739 | μmol/L | 19.7178 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.162 | 117785.843 | 218121.1403 | 27.3 | 43.4
53962 | 2021-03-22 15:47 | 17.0058 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 244.9722 | μmol/L | 19.7117 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.169 | 117808.2392 | 218106.5824 | 27.3 | 43.4
53972 | 2021-03-22 15:48 | 17.3388 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 244.9304 | μmol/L | 19.7117 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.171 | 117825.1466 | 218116.5676 | 27.3 | 43.4
53982 | 2021-03-22 15:48 | 17.6719 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 244.8676 | μmol/L | 19.7117 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.174 | 117848.6569 | 218119.6532 | 27.3 | 43.4
53991 | 2021-03-22 15:48 | 18.0053 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 244.7422 | μmol/L | 19.7117 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.18 | 117869.7926 | 218125.403 | 27.3 | 43.4
54001 | 2021-03-22 15:49 | 18.3391 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 244.5512 | μmol/L | 19.7178 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.187 | 117883.5173 | 218128.7903 | 27.3 | 43.4
54012 | 2021-03-22 15:49 | 18.6722 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 244.6586 | μmol/L | 19.7117 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.184 | 117906.0804 | 218125.2994 | 27.3 | 43.4
54021 | 2021-03-22 15:49 | 19.0052 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 244.629 | μmol/L | 19.6873 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.194 | 117932.588 | 218122.0676 | 27.3 | 43.4
54031 | 2021-03-22 15:50 | 19.339 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 244.5424 | μmol/L | 19.6934 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.196 | 117952.4426 | 218130.8333 | 27.3 | 43.4
54042 | 2021-03-22 15:50 | 19.672 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 244.435 | μmol/L | 19.6995 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.199 | 117975.9943 | 218132.5941 | 27.3 | 43.4
54051 | 2021-03-22 15:50 | 20.0052 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 244.3038 | μmol/L | 19.7117 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.201 | 118001.7764 | 218121.3388 | 27.3 | 43.4
54062 | 2021-03-22 15:51 | 20.3385 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 244.1193 | μmol/L | 19.7056 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.212 | 118026.8652 | 218121.5717 | 27.3 | 43.4
54071 | 2021-03-22 15:51 | 20.6724 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 244.1431 | μmol/L | 19.6995 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.213 | 118063.027 | 218130.9133 | 27.3 | 43.4
54081 | 2021-03-22 15:51 | 21.0054 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 244.0212 | μmol/L | 19.6934 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.221 | 118099.9551 | 218128.3639 | 27.3 | 43.4
54091 | 2021-03-22 15:52 | 21.3385 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 243.8725 | μmol/L | 19.6995 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.226 | 118129.779 | 218124.8945 | 27.3 | 43.4
54102 | 2021-03-22 15:52 | 21.6725 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 243.8162 | μmol/L | 19.6873 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.233 | 118176.5631 | 218150.607 | 27.3 | 43.4
54111 | 2021-03-22 15:52 | 22.0055 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 243.6291 | μmol/L | 19.6873 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.242 | 118195.1259 | 218134.4928 | 27.3 | 43.4
54121 | 2021-03-22 15:53 | 22.3386 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 243.5845 | μmol/L | 19.6934 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.242 | 118226.3667 | 218139.6287 | 27.3 | 43.4
54132 | 2021-03-22 15:53 | 22.6724 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 243.4569 | μmol/L | 19.6995 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.246 | 118255.8507 | 218142.7192 | 27.3 | 43.4
54142 | 2021-03-22 15:53 | 23.0054 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 243.4215 | μmol/L | 19.6873 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.252 | 118280.0756 | 218137.921 | 27.3 | 43.4
54151 | 2021-03-22 15:54 | 23.3386 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 243.2732 | μmol/L | 19.6934 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.257 | 118307.169 | 218142.0854 | 27.3 | 43.4
54161 | 2021-03-22 15:54 | 23.672 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 243.1488 | μmol/L | 19.6934 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.263 | 118334.3652 | 218132.0409 | 27.3 | 43.4
54172 | 2021-03-22 15:54 | 24.0057 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 243.1519 | μmol/L | 19.6873 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.265 | 118379.4761 | 218136.2897 | 27.3 | 43.4
54181 | 2021-03-22 15:55 | 24.3384 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.8381 | μmol/L | 19.6934 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.278 | 118407.0517 | 218125.6367 | 27.3 | 43.4
54192 | 2021-03-22 15:55 | 24.6718 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.8826 | μmol/L | 19.6873 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.278 | 118443.14 | 218135.0644 | 27.3 | 43.4
54202 | 2021-03-22 15:55 | 25.0056 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.7823 | μmol/L | 19.6811 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.285 | 118477.2343 | 218132.6771 | 27.3 | 43.4
54211 | 2021-03-22 15:56 | 25.3386 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.7026 | μmol/L | 19.675 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.291 | 118514.083 | 218139.1259 | 27.3 | 43.4
54221 | 2021-03-22 15:56 | 25.672 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.558 | μmol/L | 19.675 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.298 | 118551.3804 | 218138.3796 | 27.3 | 43.4
54232 | 2021-03-22 15:56 | 26.0059 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.496 | μmol/L | 19.675 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.301 | 118579.4329 | 218135.9815 | 27.3 | 43.4
54241 | 2021-03-22 15:57 | 26.3387 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.4816 | μmol/L | 19.6628 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.306 | 118610.2832 | 218142.8273 | 27.3 | 43.4
54251 | 2021-03-22 15:57 | 26.6718 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.3752 | μmol/L | 19.6689 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.309 | 118640.3335 | 218149.8125 | 27.3 | 43.4
54262 | 2021-03-22 15:57 | 27.0057 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.2927 | μmol/L | 19.6689 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.313 | 118642.24 | 218142.3628 | 27.3 | 43.4
54271 | 2021-03-22 15:58 | 27.3385 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.3371 | μmol/L | 19.6628 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.313 | 118633.832 | 218147.7317 | 27.3 | 43.4
54281 | 2021-03-22 15:58 | 27.6724 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.5435 | μmol/L | 19.6628 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.303 | 118612.172 | 218149.3202 | 27.3 | 43.4
54291 | 2021-03-22 15:58 | 28.0054 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.7358 | μmol/L | 19.6506 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.298 | 118582.0191 | 218149.3322 | 27.3 | 43.4
54301 | 2021-03-22 15:59 | 28.3392 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.7771 | μmol/L | 19.6506 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.296 | 118573.4213 | 218150.3296 | 27.3 | 43.4
54311 | 2021-03-22 15:59 | 28.672 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.7533 | μmol/L | 19.6567 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.295 | 118563.729 | 218146.3135 | 27.3 | 43.4
54322 | 2021-03-22 15:59 | 29.0059 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.7533 | μmol/L | 19.6567 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.295 | 118547.2579 | 218143.2836 | 27.3 | 43.4
54332 | 2021-03-22 16:00 | 29.3392 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.8599 | μmol/L | 19.6506 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.292 | 118552.6411 | 218143.0024 | 27.3 | 43.4
54341 | 2021-03-22 16:00 | 29.6724 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 243.0172 | μmol/L | 19.6261 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.293 | 118555.0538 | 218147.2071 | 27.3 | 43.4
54351 | 2021-03-22 16:00 | 30.0053 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 243.1207 | μmol/L | 19.6261 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.288 | 118542.5688 | 218129.6878 | 27.3 | 43.4
54362 | 2021-03-22 16:01 | 30.3391 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 243.1207 | μmol/L | 19.6261 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.288 | 118537.2424 | 218138.8242 | 27.3 | 43.4
54372 | 2021-03-22 16:01 | 30.6719 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 243.1653 | μmol/L | 19.62 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.288 | 118544.7179 | 218137.2126 | 27.3 | 43.4
54381 | 2021-03-22 16:01 | 31.0056 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 243.2576 | μmol/L | 19.6017 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.29 | 118529.1606 | 218141.3162 | 27.3 | 43.4
54392 | 2021-03-22 16:02 | 31.3387 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 243.3643 | μmol/L | 19.5956 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.287 | 118538.2089 | 218149.5393 | 27.3 | 43.4
54402 | 2021-03-22 16:02 | 31.6723 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 243.3342 | μmol/L | 19.6139 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.282 | 118507.452 | 218152.3482 | 27.3 | 43.4
54412 | 2021-03-22 16:02 | 32.0059 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 243.414 | μmol/L | 19.62 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.276 | 118490.2102 | 218160.49 | 27.3 | 43.4
54421 | 2021-03-22 16:03 | 32.3388 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 243.3041 | μmol/L | 19.6323 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.277 | 118470.7335 | 218162.1955 | 27.3 | 43.4
54432 | 2021-03-22 16:03 | 32.6726 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 243.2772 | μmol/L | 19.6445 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.274 | 118485.2014 | 218158.0842 | 27.3 | 43.4
54441 | 2021-03-22 16:03 | 33.0058 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 243.1497 | μmol/L | 19.6506 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.278 | 118522.7441 | 218148.9628 | 27.3 | 43.4
54452 | 2021-03-22 16:04 | 33.3386 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 243.0047 | μmol/L | 19.6506 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.285 | 118539.6202 | 218152.7361 | 27.3 | 43.4
54462 | 2021-03-22 16:04 | 33.6726 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.8743 | μmol/L | 19.6628 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.287 | 118548.8335 | 218167.8368 | 27.3 | 43.4
54471 | 2021-03-22 16:04 | 34.0056 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.7647 | μmol/L | 19.675 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.288 | 118532.3646 | 218159.9613 | 27.3 | 43.4
54481 | 2021-03-22 16:05 | 34.3385 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.7378 | μmol/L | 19.6873 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.285 | 118548.7663 | 218155.9998 | 27.3 | 43.4
54491 | 2021-03-22 16:05 | 34.6722 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.7347 | μmol/L | 19.6934 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.283 | 118547.7913 | 218172.9217 | 27.3 | 43.4
54502 | 2021-03-22 16:05 | 35.0054 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.7761 | μmol/L | 19.6934 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.281 | 118550.6357 | 218174.2944 | 27.3 | 43.4
54511 | 2021-03-22 16:06 | 35.3388 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.6665 | μmol/L | 19.7056 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.282 | 118553.0449 | 218152.0012 | 27.3 | 43.4
54522 | 2021-03-22 16:06 | 35.6719 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.6221 | μmol/L | 19.7117 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.282 | 118539.1213 | 218165.9154 | 27.3 | 43.4
54531 | 2021-03-22 16:06 | 36.0052 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.6045 | μmol/L | 19.7056 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.285 | 118542.4255 | 218165.4814 | 27.3 | 43.4
54541 | 2021-03-22 16:07 | 36.3386 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.6665 | μmol/L | 19.7056 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.282 | 118550.9064 | 218170.668 | 27.3 | 43.4
54551 | 2021-03-22 16:07 | 36.6718 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.4712 | μmol/L | 19.7239 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.285 | 118535.626 | 218169.338 | 27.3 | 43.4
54562 | 2021-03-22 16:07 | 37.0051 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.5301 | μmol/L | 19.73 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.28 | 118529.8071 | 218176.5397 | 27.3 | 43.4
54572 | 2021-03-22 16:08 | 37.3386 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.5301 | μmol/L | 19.73 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.28 | 118534.4055 | 218168.0768 | 27.3 | 43.4
54581 | 2021-03-22 16:08 | 37.6721 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.5715 | μmol/L | 19.73 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.278 | 118527.8886 | 218178.0789 | 27.3 | 43.4
54591 | 2021-03-22 16:08 | 38.0052 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.4 | μmol/L | 19.7423 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.282 | 118553.7057 | 218173.1953 | 27.3 | 43.4
54602 | 2021-03-22 16:09 | 38.3385 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.2762 | μmol/L | 19.7423 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.288 | 118598.2219 | 218177.032 | 27.3 | 43.4
54611 | 2021-03-22 16:09 | 38.6719 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.1967 | μmol/L | 19.7361 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.294 | 118611.5212 | 218174.4119 | 27.3 | 43.4
54621 | 2021-03-22 16:09 | 39.0052 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.1111 | μmol/L | 19.7423 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.296 | 118641.8525 | 218175.5297 | 27.3 | 43.4
54632 | 2021-03-22 16:10 | 39.3385 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.0874 | μmol/L | 19.7484 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.295 | 118651.2806 | 218184.074 | 27.3 | 43.4
54642 | 2021-03-22 16:10 | 39.6719 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.0019 | μmol/L | 19.7545 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.297 | 118658.1267 | 218180.293 | 27.3 | 43.4
54652 | 2021-03-22 16:10 | 40.0059 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 241.8339 | μmol/L | 19.7606 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.303 | 118683.0028 | 218171.0846 | 27.3 | 43.4
54661 | 2021-03-22 16:11 | 40.3386 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 241.7104 | μmol/L | 19.7606 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.309 | 118698.8949 | 218175.772 | 27.3 | 43.4
54672 | 2021-03-22 16:11 | 40.6725 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 241.625 | μmol/L | 19.7667 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.311 | 118738.0331 | 218182.999 | 27.3 | 43.4
54682 | 2021-03-22 16:11 | 41.0055 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 241.4605 | μmol/L | 19.7667 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.319 | 118770.8755 | 218178.7031 | 27.3 | 43.4
54691 | 2021-03-22 16:12 | 41.3386 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 241.3341 | μmol/L | 19.7728 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.323 | 118798.4001 | 218179.0732 | 27.3 | 43.4
54702 | 2021-03-22 16:12 | 41.6724 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 241.255 | μmol/L | 19.7667 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.329 | 118835.4633 | 218177.2413 | 27.3 | 43.4
54712 | 2021-03-22 16:12 | 42.0054 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 241.0405 | μmol/L | 19.785 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.333 | 118861.0647 | 218178.3686 | 27.3 | 43.4
54722 | 2021-03-22 16:13 | 42.339 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 241.0877 | μmol/L | 19.7728 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.335 | 118890.9923 | 218181.8254 | 27.3 | 43.4
54731 | 2021-03-22 16:13 | 42.672 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 240.8795 | μmol/L | 19.7789 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.343 | 118911.9325 | 218187.8646 | 27.3 | 43.4
54741 | 2021-03-22 16:13 | 43.0056 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 240.8006 | μmol/L | 19.7728 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.349 | 118939.3782 | 218183.0589 | 27.3 | 43.4
54752 | 2021-03-22 16:14 | 43.3384 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 240.7125 | μmol/L | 19.785 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.349 | 118972.0708 | 218174.3243 | 27.3 | 43.4
54762 | 2021-03-22 16:14 | 43.6724 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 240.7156 | μmol/L | 19.7789 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.351 | 118973.73 | 218190.2039 | 27.3 | 43.4
54771 | 2021-03-22 16:14 | 44.0055 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 240.6132 | μmol/L | 19.7789 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.356 | 118996.883 | 218178.8258 | 27.3 | 43.4
54781 | 2021-03-22 16:15 | 44.3388 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 240.5723 | μmol/L | 19.7789 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.358 | 119028.2099 | 218179.6371 | 27.3 | 43.4
54792 | 2021-03-22 16:15 | 44.6725 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 240.426 | μmol/L | 19.785 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.363 | 119045.5015 | 218180.8598 | 27.3 | 43.4
54801 | 2021-03-22 16:15 | 45.0054 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 240.286 | μmol/L | 19.7789 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.372 | 119079.2465 | 218175.9972 | 27.3 | 43.4
54812 | 2021-03-22 16:16 | 45.339 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 240.3095 | μmol/L | 19.7728 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.373 | 119097.3646 | 218175.2157 | 27.3 | 43.4
54821 | 2021-03-22 16:16 | 45.6719 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 240.1195 | μmol/L | 19.785 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.378 | 119124.6502 | 218176.4512 | 27.3 | 43.4
54832 | 2021-03-22 16:16 | 46.0059 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 240.0378 | μmol/L | 19.785 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.382 | 119156.5544 | 218171.1111 | 27.3 | 43.4
54842 | 2021-03-22 16:17 | 46.3386 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 239.9327 | μmol/L | 19.7911 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.385 | 119168.5101 | 218169.7865 | 27.3 | 43.4
54851 | 2021-03-22 16:17 | 46.6724 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 239.8746 | μmol/L | 19.785 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.39 | 119195.4368 | 218172.9644 | 27.3 | 43.4
54861 | 2021-03-22 16:17 | 47.0053 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 239.7319 | μmol/L | 19.785 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.397 | 119233.0448 | 218171.7207 | 27.3 | 43.4
54872 | 2021-03-22 16:18 | 47.3392 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 239.63 | μmol/L | 19.785 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.402 | 119267.4375 | 218182.212 | 27.3 | 43.4
54881 | 2021-03-22 16:18 | 47.6723 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 239.4875 | μmol/L | 19.785 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.409 | 119306.9129 | 218179.8832 | 27.3 | 43.4
54891 | 2021-03-22 16:18 | 48.0059 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 239.3858 | μmol/L | 19.785 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.414 | 119343.9383 | 218184.6732 | 27.3 | 43.4
54901 | 2021-03-22 16:19 | 48.3385 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 239.2575 | μmol/L | 19.7973 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.416 | 119363.5751 | 218189.682 | 27.3 | 43.4
54912 | 2021-03-22 16:19 | 48.6724 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 239.1153 | μmol/L | 19.7973 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.423 | 119394.4871 | 218189.4681 | 27.3 | 43.4
54921 | 2021-03-22 16:19 | 49.0053 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 239.159 | μmol/L | 19.7911 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.423 | 119414.3286 | 218193.208 | 27.3 | 43.4
54931 | 2021-03-22 16:20 | 49.3389 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 239.0372 | μmol/L | 19.7911 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.429 | 119426.4884 | 218181.5857 | 27.3 | 43.4
54941 | 2021-03-22 16:20 | 49.6718 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 238.956 | μmol/L | 19.7911 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.433 | 119454.814 | 218185.5305 | 27.3 | 43.4
54952 | 2021-03-22 16:20 | 50.0052 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 238.828 | μmol/L | 19.8034 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.435 | 119471.9878 | 218188.8961 | 27.3 | 43.4
54961 | 2021-03-22 16:21 | 50.3384 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 238.7734 | μmol/L | 19.7911 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.442 | 119490.0058 | 218192.9543 | 27.3 | 43.4
54971 | 2021-03-22 16:21 | 50.6722 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 238.7531 | μmol/L | 19.7911 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.443 | 119521.9715 | 218183.6587 | 27.3 | 43.4
54981 | 2021-03-22 16:21 | 51.0052 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 238.8906 | μmol/L | 19.7606 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.447 | 119549.4279 | 218193.7274 | 27.3 | 43.4
54991 | 2021-03-22 16:22 | 51.3392 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 238.5879 | μmol/L | 19.7973 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.449 | 119564.4408 | 218200.3737 | 27.3 | 43.4
55001 | 2021-03-22 16:22 | 51.672 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 238.3993 | μmol/L | 19.8095 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.454 | 119584.1524 | 218190.8921 | 27.3 | 43.4
55012 | 2021-03-22 16:22 | 52.0056 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 238.3588 | μmol/L | 19.8095 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.456 | 119607.5959 | 218182.0143 | 27.3 | 43.4
55021 | 2021-03-22 16:23 | 52.3387 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 238.3278 | μmol/L | 19.7911 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.464 | 119631.9482 | 218194.1281 | 27.3 | 43.4
55032 | 2021-03-22 16:23 | 52.6719 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 238.2672 | μmol/L | 19.7911 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.467 | 119666.8996 | 218192.5853 | 27.3 | 43.4
55042 | 2021-03-22 16:23 | 53.0058 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 238.1661 | μmol/L | 19.7911 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.472 | 119698.4266 | 218188.7845 | 27.3 | 43.4
55051 | 2021-03-22 16:24 | 53.3387 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 237.9577 | μmol/L | 19.8034 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.478 | 119740.5832 | 218186.7638 | 27.3 | 43.4
55061 | 2021-03-22 16:24 | 53.6724 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 237.7729 | μmol/L | 19.8095 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.485 | 119759.691 | 218188.1628 | 27.3 | 43.4
55072 | 2021-03-22 16:24 | 54.0055 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 237.843 | μmol/L | 19.7911 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.488 | 119790.9721 | 218200.9222 | 27.3 | 43.4
55082 | 2021-03-22 16:25 | 54.3392 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 238.0002 | μmol/L | 19.7606 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.491 | 119810.2314 | 218200.4318 | 27.3 | 43.4
55091 | 2021-03-22 16:25 | 54.6724 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 237.8122 | μmol/L | 19.7728 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.496 | 119845.6944 | 218198.5146 | 27.3 | 43.4
55102 | 2021-03-22 16:25 | 55.0053 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 237.497 | μmol/L | 19.7973 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.503 | 119875.6323 | 218198.0524 | 27.3 | 43.4
55111 | 2021-03-22 16:26 | 55.339 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 237.7008 | μmol/L | 19.7545 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.508 | 119887.1457 | 218195.8816 | 27.3 | 43.4
55122 | 2021-03-22 16:26 | 55.6722 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 237.7443 | μmol/L | 19.7484 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.508 | 119911.3084 | 218207.7194 | 27.3 | 43.4
55131 | 2021-03-22 16:26 | 56.0052 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 237.4494 | μmol/L | 19.7728 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.514 | 119936.2845 | 218195.0783 | 27.3 | 43.4
55141 | 2021-03-22 16:27 | 56.339 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 237.1952 | μmol/L | 19.7973 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.518 | 119964.2769 | 218201.588 | 27.3 | 43.4
55151 | 2021-03-22 16:27 | 56.6721 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 237.2651 | μmol/L | 19.7789 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.521 | 119988.9235 | 218190.5323 | 27.3 | 43.4
55161 | 2021-03-22 16:27 | 57.0052 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 237.0777 | μmol/L | 19.7911 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.526 | 120017.095 | 218203.8516 | 27.3 | 43.4
55172 | 2021-03-22 16:28 | 57.339 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 236.9202 | μmol/L | 19.785 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.536 | 120047.3061 | 218207.1464 | 27.3 | 43.4
55181 | 2021-03-22 16:28 | 57.6719 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 236.8367 | μmol/L | 19.7911 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.538 | 120104.5776 | 218203.6988 | 27.3 | 43.4
55192 | 2021-03-22 16:28 | 58.0056 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 236.5062 | μmol/L | 19.8095 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.548 | 120116.3094 | 218207.1955 | 27.3 | 43.4
55201 | 2021-03-22 16:29 | 58.3392 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 236.5896 | μmol/L | 19.8034 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.546 | 120134.1127 | 218200.2479 | 27.3 | 43.4
55211 | 2021-03-22 16:29 | 58.6722 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 236.2995 | μmol/L | 19.8217 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.554 | 120162.9491 | 218196.509 | 27.3 | 43.4
55222 | 2021-03-22 16:29 | 59.0054 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 236.2995 | μmol/L | 19.8217 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.554 | 120200.0846 | 218197.1287 | 27.3 | 43.4
55231 | 2021-03-22 16:30 | 59.339 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 236.1826 | μmol/L | 19.8156 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.562 | 120238.8635 | 218191.0098 | 27.3 | 43.4
55242 | 2021-03-22 16:30 | 59.6722 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 235.9994 | μmol/L | 19.8217 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.569 | 120279.5109 | 218203.5507 | 27.3 | 43.4
55251 | 2021-03-22 16:30 | 60.0052 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 235.8228 | μmol/L | 19.8156 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.58 | 120324.8942 | 218206.8789 | 27.3 | 43.4
55261 | 2021-03-22 16:31 | 60.3391 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 235.8061 | μmol/L | 19.8095 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.583 | 120359.5628 | 218206.986 | 27.3 | 43.4
55272 | 2021-03-22 16:31 | 60.6721 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 235.5898 | μmol/L | 19.8034 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.596 | 120415.8806 | 218212.5068 | 27.3 | 43.4
55281 | 2021-03-22 16:31 | 61.0056 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 235.3905 | μmol/L | 19.8034 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.606 | 120471.0803 | 218193.5982 | 27.3 | 43.4
55291 | 2021-03-22 16:32 | 61.3386 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 235.2146 | μmol/L | 19.7973 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.617 | 120523.3476 | 218200.7718 | 27.3 | 43.4
55302 | 2021-03-22 16:32 | 61.6723 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 234.999 | μmol/L | 19.7911 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.63 | 120592.1154 | 218195.8561 | 27.3 | 43.4
55311 | 2021-03-22 16:32 | 62.0052 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 235.0287 | μmol/L | 19.7728 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.635 | 120636.1558 | 218215.5744 | 27.3 | 43.4
55321 | 2021-03-22 16:33 | 62.339 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 235.0088 | μmol/L | 19.7728 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.636 | 120660.3509 | 218222.0842 | 27.3 | 43.4
55331 | 2021-03-22 16:33 | 62.672 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 234.8697 | μmol/L | 19.7728 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.643 | 120704.8263 | 218208.6902 | 27.3 | 43.4
55341 | 2021-03-22 16:33 | 63.0058 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 234.6019 | μmol/L | 19.7911 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.65 | 120744.7972 | 218216.0457 | 27.3 | 43.4
55352 | 2021-03-22 16:34 | 63.3387 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 234.4102 | μmol/L | 19.7789 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.664 | 120802.2367 | 218217.6192 | 27.3 | 43.4
55362 | 2021-03-22 16:34 | 63.6718 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 234.2484 | μmol/L | 19.785 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.67 | 120845.6043 | 218219.8886 | 27.3 | 43.4
55372 | 2021-03-22 16:34 | 64.0055 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 234.2748 | μmol/L | 19.7728 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.673 | 120888.4202 | 218220.8013 | 27.3 | 43.4
55381 | 2021-03-22 16:35 | 64.3385 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 234.222 | μmol/L | 19.7606 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.68 | 120905.8934 | 218231.4201 | 27.3 | 43.4
55391 | 2021-03-22 16:35 | 64.6723 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 234.3078 | μmol/L | 19.7484 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.68 | 120940.6051 | 218221.5941 | 27.3 | 43.4
55401 | 2021-03-22 16:35 | 65.0054 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 234.1626 | μmol/L | 19.7606 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.683 | 120956.5256 | 218228.614 | 27.3 | 43.4
55412 | 2021-03-22 16:36 | 65.3387 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 233.9319 | μmol/L | 19.785 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.686 | 120980.1992 | 218223.2175 | 27.3 | 43.4
55422 | 2021-03-22 16:36 | 65.6725 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 233.8298 | μmol/L | 19.7911 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.689 | 120994.9103 | 218221.4702 | 27.3 | 43.4
55432 | 2021-03-22 16:36 | 66.0053 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 233.7508 | μmol/L | 19.7911 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.693 | 121012.8295 | 218239.2696 | 27.3 | 43.4
55442 | 2021-03-22 16:37 | 66.3392 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 233.5699 | μmol/L | 19.7973 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.7 | 121043.4102 | 218230.9645 | 27.3 | 43.4
55451 | 2021-03-22 16:37 | 66.6721 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 233.5337 | μmol/L | 19.7911 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.704 | 121069.2816 | 218236.7773 | 27.3 | 43.4
55462 | 2021-03-22 16:37 | 67.0059 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 233.4187 | μmol/L | 19.785 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.712 | 121094.7641 | 218237.527 | 27.3 | 43.4
55472 | 2021-03-22 16:38 | 67.3392 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 233.4648 | μmol/L | 19.7728 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.714 | 121138.782 | 218233.2088 | 27.3 | 43.4
55482 | 2021-03-22 16:38 | 67.6721 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 233.225 | μmol/L | 19.7789 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.724 | 121184.3519 | 218236.7032 | 27.3 | 43.4
55491 | 2021-03-22 16:38 | 68.0058 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 233.0052 | μmol/L | 19.785 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.733 | 121236.2561 | 218236.8281 | 27.3 | 43.4
55502 | 2021-03-22 16:39 | 68.3387 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 232.8676 | μmol/L | 19.785 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.74 | 121297.7992 | 218244.8777 | 27.3 | 43.4
55512 | 2021-03-22 16:39 | 68.6726 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 232.5893 | μmol/L | 19.7911 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.752 | 121346.7557 | 218237.7834 | 27.3 | 43.4
55522 | 2021-03-22 16:39 | 69.0057 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 232.4127 | μmol/L | 19.7911 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.761 | 121402.4206 | 218254.6673 | 27.3 | 43.4
55531 | 2021-03-22 16:40 | 69.3388 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 232.3998 | μmol/L | 19.7789 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.766 | 121454.0288 | 218256.2621 | 27.3 | 43.4
55542 | 2021-03-22 16:40 | 69.6722 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 232.0831 | μmol/L | 19.785 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.78 | 121503.0756 | 218250.0365 | 27.3 | 43.4
55551 | 2021-03-22 16:40 | 70.0051 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 232.106 | μmol/L | 19.7789 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.781 | 121548.2395 | 218252.3798 | 27.3 | 43.4
55562 | 2021-03-22 16:41 | 70.3392 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 232.0081 | μmol/L | 19.7789 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.786 | 121585.5511 | 218248.4339 | 27.3 | 43.4
55571 | 2021-03-22 16:41 | 70.6723 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 231.816 | μmol/L | 19.7728 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.798 | 121627.6899 | 218248.5383 | 27.3 | 43.4
55582 | 2021-03-22 16:41 | 71.0053 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 231.7573 | μmol/L | 19.7728 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.801 | 121649.4303 | 218231.9462 | 27.3 | 43.4
55591 | 2021-03-22 16:42 | 71.3389 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 231.6597 | μmol/L | 19.7728 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.806 | 121691.5889 | 218252.9704 | 27.3 | 43.4
55601 | 2021-03-22 16:42 | 71.672 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 231.4645 | μmol/L | 19.7728 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.816 | 121716.1741 | 218247.0108 | 27.3 | 43.4
55612 | 2021-03-22 16:42 | 72.0058 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 231.445 | μmol/L | 19.7728 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.817 | 121735.7537 | 218252.9852 | 27.3 | 43.4
55621 | 2021-03-22 16:43 | 72.3388 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 231.3865 | μmol/L | 19.7728 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.82 | 121773.2532 | 218245.7276 | 27.3 | 43.4