## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-22 16:44

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
53453 | 2021-03-22 15:31 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.9359 | μmol/L | 19.7591 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.874 | 110190.7573 | 300987.7061 | 28.7 | 67.6
53463 | 2021-03-22 15:31 | 0.33005 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.9376 | μmol/L | 19.753 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.876 | 110209.3381 | 300997.1144 | 28.7 | 67.6
53473 | 2021-03-22 15:31 | 0.66349 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 219.0942 | μmol/L | 19.7287 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.876 | 110213.2186 | 300995.6571 | 28.7 | 67.6
53483 | 2021-03-22 15:32 | 0.9964 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.883 | μmol/L | 19.7469 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.881 | 110233.2136 | 301006.7622 | 28.7 | 67.6
53493 | 2021-03-22 15:32 | 1.3303 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.8846 | μmol/L | 19.7408 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.883 | 110251.7375 | 301019.6674 | 28.7 | 67.6
53503 | 2021-03-22 15:32 | 1.6629 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.963 | μmol/L | 19.7287 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.883 | 110262.5927 | 301010.8136 | 28.7 | 67.6
53513 | 2021-03-22 15:33 | 1.9967 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.7194 | μmol/L | 19.7287 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.896 | 110276.9444 | 301017.2485 | 28.7 | 67.6
53523 | 2021-03-22 15:33 | 2.3298 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.6632 | μmol/L | 19.7287 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.899 | 110310.1039 | 301029.6115 | 28.7 | 67.6
53533 | 2021-03-22 15:33 | 2.6636 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.3793 | μmol/L | 19.7408 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.91 | 110340.0525 | 301015.9199 | 28.7 | 67.6
53543 | 2021-03-22 15:34 | 2.9965 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.3062 | μmol/L | 19.7348 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.916 | 110388.5063 | 301035.4704 | 28.7 | 67.6
53553 | 2021-03-22 15:34 | 3.3303 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.1959 | μmol/L | 19.7287 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.924 | 110430.6514 | 301027.2357 | 28.7 | 67.6
53563 | 2021-03-22 15:34 | 3.6631 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 217.8347 | μmol/L | 19.753 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.935 | 110467.4906 | 301014.4758 | 28.7 | 67.6
53573 | 2021-03-22 15:35 | 3.9967 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 217.7213 | μmol/L | 19.7591 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.939 | 110494.6568 | 301035.6389 | 28.7 | 67.6
53583 | 2021-03-22 15:35 | 4.3298 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 217.6671 | μmol/L | 19.753 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.944 | 110518.2213 | 301040.0482 | 28.7 | 67.6
53593 | 2021-03-22 15:35 | 4.6635 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 217.6316 | μmol/L | 19.7469 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.948 | 110540.3989 | 301028.9256 | 28.7 | 67.6
53603 | 2021-03-22 15:36 | 4.9968 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 217.6536 | μmol/L | 19.7348 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.951 | 110563.4138 | 301040.1348 | 28.7 | 67.6
53613 | 2021-03-22 15:36 | 5.3301 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 217.5165 | μmol/L | 19.7591 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.95 | 110582.9819 | 301046.8649 | 28.7 | 67.6
53623 | 2021-03-22 15:36 | 5.663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 217.4455 | μmol/L | 19.7469 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.958 | 110605.0384 | 301031.9591 | 28.7 | 67.6
53633 | 2021-03-22 15:37 | 5.9965 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 217.3915 | μmol/L | 19.7408 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.963 | 110636.1517 | 301037.6754 | 28.7 | 67.6
53643 | 2021-03-22 15:37 | 6.3296 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 217.6283 | μmol/L | 19.6922 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.967 | 110658.7071 | 301039.4589 | 28.7 | 67.6
53653 | 2021-03-22 15:37 | 6.6634 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 217.3849 | μmol/L | 19.6982 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.978 | 110696.3465 | 301042.9441 | 28.7 | 67.6
53663 | 2021-03-22 15:38 | 6.9963 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 217.2514 | μmol/L | 19.7104 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.981 | 110738.3165 | 301047.1773 | 28.7 | 67.6
53673 | 2021-03-22 15:38 | 7.3301 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 216.9847 | μmol/L | 19.7348 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.987 | 110761.9736 | 301045.4112 | 28.7 | 67.6
53683 | 2021-03-22 15:38 | 7.6631 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 216.9291 | μmol/L | 19.7348 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.99 | 110768.6694 | 301051.2264 | 28.7 | 67.6
53693 | 2021-03-22 15:39 | 7.9963 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 216.8364 | μmol/L | 19.7348 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.995 | 110784.875 | 301041.9567 | 28.7 | 67.6
53703 | 2021-03-22 15:39 | 8.3302 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 216.9158 | μmol/L | 19.7165 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.997 | 110811.0781 | 301056.8203 | 28.7 | 67.6
53713 | 2021-03-22 15:39 | 8.6633 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 216.9378 | μmol/L | 19.7043 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23 | 110814.1837 | 301033.878 | 28.7 | 67.6
53723 | 2021-03-22 15:40 | 8.9964 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 216.9192 | μmol/L | 19.7043 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.001 | 110839.8426 | 301046.9926 | 28.7 | 67.6
53733 | 2021-03-22 15:40 | 9.3302 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 216.8636 | μmol/L | 19.7043 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.004 | 110831.6237 | 301030.7599 | 28.7 | 67.6
53743 | 2021-03-22 15:40 | 9.6636 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 216.8231 | μmol/L | 19.7165 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.002 | 110822.3696 | 301022.5182 | 28.7 | 67.6
53753 | 2021-03-22 15:41 | 9.9963 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 216.6732 | μmol/L | 19.7226 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.008 | 110864.802 | 301041.1153 | 28.7 | 67.6
53763 | 2021-03-22 15:41 | 10.3299 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 216.6582 | μmol/L | 19.7104 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.013 | 110883.2633 | 301039.2848 | 28.7 | 67.6
53773 | 2021-03-22 15:41 | 10.6634 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 216.5269 | μmol/L | 19.7165 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.018 | 110914.942 | 301020.5555 | 28.7 | 67.6
53783 | 2021-03-22 15:42 | 10.997 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 216.4547 | μmol/L | 19.7104 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.024 | 110959.9754 | 301016.9013 | 28.7 | 67.6
53793 | 2021-03-22 15:42 | 11.3299 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 216.2515 | μmol/L | 19.7104 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.035 | 110988.987 | 301037.3773 | 28.7 | 67.6
53803 | 2021-03-22 15:42 | 11.6631 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 216.1407 | μmol/L | 19.7104 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.041 | 111024.2668 | 301038.1588 | 28.7 | 67.6
53813 | 2021-03-22 15:43 | 11.9967 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 216.0336 | μmol/L | 19.6982 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.051 | 111066.6527 | 301042.2692 | 28.7 | 67.6
53823 | 2021-03-22 15:43 | 12.3299 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 215.9949 | μmol/L | 19.7043 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.051 | 111083.8047 | 301034.7825 | 28.7 | 67.6
53833 | 2021-03-22 15:43 | 12.6631 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 216.074 | μmol/L | 19.6861 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.053 | 111107.4671 | 301042.0761 | 28.7 | 67.6
53843 | 2021-03-22 15:44 | 12.997 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 215.8439 | μmol/L | 19.7165 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.055 | 111109.7723 | 301051.9016 | 28.7 | 67.6
53853 | 2021-03-22 15:44 | 13.3298 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 215.7922 | μmol/L | 19.7043 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.062 | 111126.3576 | 301028.8786 | 28.7 | 67.6
53863 | 2021-03-22 15:44 | 13.6633 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 215.6431 | μmol/L | 19.7104 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.068 | 111160.8286 | 301041.786 | 28.7 | 67.6
53873 | 2021-03-22 15:45 | 13.9963 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 215.952 | μmol/L | 19.6617 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.068 | 111164.0708 | 301034.1029 | 28.7 | 67.6
53883 | 2021-03-22 15:45 | 14.3303 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 215.8195 | μmol/L | 19.6739 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.071 | 111182.7731 | 301049.1428 | 28.7 | 67.6
53893 | 2021-03-22 15:45 | 14.6634 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 215.4776 | μmol/L | 19.7104 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.077 | 111204.4767 | 301038.1298 | 28.7 | 67.6
53903 | 2021-03-22 15:46 | 14.9965 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 215.4978 | μmol/L | 19.7043 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.078 | 111218.7787 | 301051.157 | 28.7 | 67.6
53913 | 2021-03-22 15:46 | 15.3302 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 215.4058 | μmol/L | 19.7043 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.083 | 111247.1348 | 301034.6384 | 28.7 | 67.6
53923 | 2021-03-22 15:46 | 15.6633 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 215.391 | μmol/L | 19.6922 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.088 | 111271.2318 | 301024.867 | 28.7 | 67.6
53933 | 2021-03-22 15:47 | 15.9969 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 215.2974 | μmol/L | 19.6982 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.091 | 111291.2949 | 301035.7469 | 28.7 | 67.6
53943 | 2021-03-22 15:47 | 16.33 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 215.2074 | μmol/L | 19.6922 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.098 | 111308.618 | 301047.6345 | 28.7 | 67.6
53953 | 2021-03-22 15:47 | 16.6635 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 215.1523 | μmol/L | 19.6922 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.101 | 111331.499 | 301053.6544 | 28.7 | 67.6
53963 | 2021-03-22 15:48 | 16.9967 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 215.0825 | μmol/L | 19.68 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.109 | 111350.931 | 301056.7024 | 28.7 | 67.6
53973 | 2021-03-22 15:48 | 17.3296 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 215.1944 | μmol/L | 19.6739 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.105 | 111366.4207 | 301050.7881 | 28.7 | 67.6
53983 | 2021-03-22 15:48 | 17.6635 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 215.0092 | μmol/L | 19.68 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.113 | 111410.9384 | 301059.6139 | 28.7 | 67.6
53993 | 2021-03-22 15:49 | 17.9967 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 214.7509 | μmol/L | 19.6861 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.125 | 111429.2638 | 301046.2438 | 28.7 | 67.6
54003 | 2021-03-22 15:49 | 18.3295 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 214.8076 | μmol/L | 19.68 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.124 | 111446.2115 | 301050.4386 | 28.7 | 67.6
54013 | 2021-03-22 15:49 | 18.6635 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 214.9065 | μmol/L | 19.6557 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.127 | 111464.9649 | 301067.4428 | 28.7 | 67.6
54023 | 2021-03-22 15:50 | 18.9963 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 214.9266 | μmol/L | 19.6496 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.128 | 111483.6136 | 301074.0123 | 28.7 | 67.6
54033 | 2021-03-22 15:50 | 19.3302 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 214.9633 | μmol/L | 19.6496 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.126 | 111485.7911 | 301070.3251 | 28.7 | 67.6
54043 | 2021-03-22 15:50 | 19.6633 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 214.8515 | μmol/L | 19.6557 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.13 | 111509.0741 | 301086.044 | 28.7 | 67.6
54053 | 2021-03-22 15:51 | 19.9963 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 214.8533 | μmol/L | 19.6496 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.132 | 111529.1179 | 301080.2825 | 28.7 | 67.6
54063 | 2021-03-22 15:51 | 20.33 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 214.6849 | μmol/L | 19.6617 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.137 | 111546.4612 | 301086.2967 | 28.7 | 67.6
54073 | 2021-03-22 15:51 | 20.663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 214.4801 | μmol/L | 19.6739 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.144 | 111571.3054 | 301073.8246 | 28.7 | 67.6
54083 | 2021-03-22 15:52 | 20.9965 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 214.524 | μmol/L | 19.6496 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.15 | 111589.258 | 301071.0718 | 28.7 | 67.6
54093 | 2021-03-22 15:52 | 21.3296 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 214.4107 | μmol/L | 19.6617 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.152 | 111625.789 | 301079.6443 | 28.7 | 67.6
54103 | 2021-03-22 15:52 | 21.6634 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 214.3011 | μmol/L | 19.6617 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.158 | 111634.5739 | 301064.7472 | 28.7 | 67.6
54113 | 2021-03-22 15:53 | 21.9962 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 214.3595 | μmol/L | 19.6496 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.159 | 111644.3058 | 301079.9518 | 28.7 | 67.6
54123 | 2021-03-22 15:53 | 22.33 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 214.2135 | μmol/L | 19.6496 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.167 | 111677.8154 | 301059.6785 | 28.7 | 67.6
54133 | 2021-03-22 15:53 | 22.663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 214.1788 | μmol/L | 19.6435 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.171 | 111700.5633 | 301081.4631 | 28.7 | 67.6
54143 | 2021-03-22 15:54 | 22.9968 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 214.1971 | μmol/L | 19.6435 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.17 | 111713.1083 | 301055.7515 | 28.7 | 67.6
54153 | 2021-03-22 15:54 | 23.3298 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 214.1077 | μmol/L | 19.6374 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.177 | 111755.2465 | 301079.9462 | 28.7 | 67.6
54163 | 2021-03-22 15:54 | 23.6629 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 214.263 | μmol/L | 19.607 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.179 | 111771.2404 | 301077.6349 | 28.7 | 67.6
54173 | 2021-03-22 15:55 | 23.9966 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 214.0203 | μmol/L | 19.6252 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.186 | 111791.8133 | 301076.8716 | 28.7 | 67.6
54183 | 2021-03-22 15:55 | 24.3304 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.9675 | μmol/L | 19.6191 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.191 | 111802.5447 | 301057.4569 | 28.7 | 67.6
54193 | 2021-03-22 15:55 | 24.6632 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.8563 | μmol/L | 19.6252 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.195 | 111829.5811 | 301082.5347 | 28.7 | 67.6
54203 | 2021-03-22 15:56 | 24.9971 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.8255 | μmol/L | 19.607 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.203 | 111868.1989 | 301086.1123 | 28.7 | 67.6
54213 | 2021-03-22 15:56 | 25.3303 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.7709 | μmol/L | 19.607 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.206 | 111890.0852 | 301092.1233 | 28.7 | 67.6
54223 | 2021-03-22 15:56 | 25.6636 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.5069 | μmol/L | 19.6374 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.21 | 111905.508 | 301066.9133 | 28.7 | 67.6
54233 | 2021-03-22 15:57 | 25.9964 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.5452 | μmol/L | 19.6313 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.21 | 111919.0755 | 301075.1088 | 28.7 | 67.6
54243 | 2021-03-22 15:57 | 26.3301 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.7201 | μmol/L | 19.5948 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.213 | 111937.4932 | 301080.2441 | 28.7 | 67.6
54253 | 2021-03-22 15:57 | 26.6632 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.6216 | μmol/L | 19.6191 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.21 | 111940.8337 | 301086.0665 | 28.7 | 67.6
54263 | 2021-03-22 15:58 | 26.997 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.5069 | μmol/L | 19.6374 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.21 | 111948.376 | 301087.19 | 28.7 | 67.6
54273 | 2021-03-22 15:58 | 27.3299 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.5088 | μmol/L | 19.6313 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.212 | 111941.4843 | 301100.3239 | 28.7 | 67.6
54283 | 2021-03-22 15:58 | 27.663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.4668 | μmol/L | 19.6496 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.208 | 111927.1055 | 301101.4234 | 28.7 | 67.6
54293 | 2021-03-22 15:59 | 27.9968 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.6342 | μmol/L | 19.6374 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.203 | 111908.0119 | 301095.4663 | 28.7 | 67.6
54303 | 2021-03-22 15:59 | 28.3297 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.749 | μmol/L | 19.6191 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.203 | 111916.0036 | 301091.4708 | 28.7 | 67.6
54313 | 2021-03-22 15:59 | 28.6634 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.9166 | μmol/L | 19.607 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.198 | 111909.6731 | 301102.4656 | 28.7 | 67.6
54323 | 2021-03-22 16:00 | 28.9963 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.7672 | μmol/L | 19.6191 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.202 | 111912.1565 | 301090.9419 | 28.7 | 67.6
54333 | 2021-03-22 16:00 | 29.3299 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.7471 | μmol/L | 19.6252 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.201 | 111906.5522 | 301086.8787 | 28.7 | 67.6
54343 | 2021-03-22 16:00 | 29.6631 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.7452 | μmol/L | 19.6313 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.199 | 111917.6375 | 301092.2126 | 28.7 | 67.6
54353 | 2021-03-22 16:01 | 29.9968 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.8783 | μmol/L | 19.6131 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.198 | 111913.93 | 301092.6581 | 28.7 | 67.6
54363 | 2021-03-22 16:01 | 30.3295 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.8054 | μmol/L | 19.6131 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.202 | 111927.5591 | 301083.7413 | 28.7 | 67.6
54373 | 2021-03-22 16:01 | 30.6634 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.7508 | μmol/L | 19.6131 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.205 | 111960.4225 | 301089.2702 | 28.7 | 67.6
54383 | 2021-03-22 16:02 | 30.9963 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.7144 | μmol/L | 19.6131 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.207 | 111974.3495 | 301092.057 | 28.7 | 67.6
54393 | 2021-03-22 16:02 | 31.3302 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.5834 | μmol/L | 19.6252 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.21 | 111995.7314 | 301087.258 | 28.7 | 67.6
54403 | 2021-03-22 16:02 | 31.6629 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.4869 | μmol/L | 19.6435 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.209 | 111992.168 | 301086.4819 | 28.7 | 67.6
54413 | 2021-03-22 16:03 | 31.9966 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.5214 | μmol/L | 19.6496 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.205 | 112001.9589 | 301097.1681 | 28.7 | 67.6
54423 | 2021-03-22 16:03 | 32.3303 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.5032 | μmol/L | 19.6496 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.206 | 112000.6458 | 301103.4396 | 28.7 | 67.6
54433 | 2021-03-22 16:03 | 32.6631 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.4268 | μmol/L | 19.6617 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.206 | 112008.6314 | 301118.6906 | 28.7 | 67.6
54443 | 2021-03-22 16:04 | 32.9966 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.485 | μmol/L | 19.6496 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.207 | 112009.7403 | 301105.7525 | 28.7 | 67.6
54453 | 2021-03-22 16:04 | 33.33 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.485 | μmol/L | 19.6496 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.207 | 112029.3474 | 301107.4934 | 28.7 | 67.6
54463 | 2021-03-22 16:04 | 33.6629 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.2959 | μmol/L | 19.6739 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.209 | 112055.3402 | 301127.489 | 28.7 | 67.6
54473 | 2021-03-22 16:05 | 33.9966 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.2033 | μmol/L | 19.68 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.212 | 112068.6504 | 301115.0993 | 28.7 | 67.6
54483 | 2021-03-22 16:05 | 34.3303 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.0726 | μmol/L | 19.6922 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.215 | 112077.3277 | 301116.5693 | 28.7 | 67.6
54493 | 2021-03-22 16:05 | 34.6634 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.9764 | μmol/L | 19.7104 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.214 | 112089.3808 | 301125.0859 | 28.7 | 67.6
54503 | 2021-03-22 16:06 | 34.9964 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.7153 | μmol/L | 19.7348 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.22 | 112101.9891 | 301123.2874 | 28.7 | 67.6
54513 | 2021-03-22 16:06 | 35.3295 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.7516 | μmol/L | 19.7348 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.218 | 112107.7314 | 301129.9808 | 28.7 | 67.6
54523 | 2021-03-22 16:06 | 35.6634 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.7298 | μmol/L | 19.7469 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.215 | 112110.2749 | 301130.7797 | 28.7 | 67.6
54533 | 2021-03-22 16:07 | 35.9966 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.7715 | μmol/L | 19.7287 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.219 | 112120.6433 | 301123.6453 | 28.7 | 67.6
54543 | 2021-03-22 16:07 | 36.33 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.7553 | μmol/L | 19.7226 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.222 | 112143.6035 | 301136.1163 | 28.7 | 67.6
54553 | 2021-03-22 16:07 | 36.6632 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.7734 | μmol/L | 19.7226 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.221 | 112146.5507 | 301126.1991 | 28.7 | 67.6
54563 | 2021-03-22 16:08 | 36.9964 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.6068 | μmol/L | 19.7348 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.226 | 112159.7462 | 301126.8907 | 28.7 | 67.6
54573 | 2021-03-22 16:08 | 37.3296 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.6448 | μmol/L | 19.7287 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.226 | 112161.9913 | 301127.6318 | 28.7 | 67.6
54583 | 2021-03-22 16:08 | 37.6636 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.6086 | μmol/L | 19.7287 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.228 | 112181.1827 | 301129.0399 | 28.7 | 67.6
54593 | 2021-03-22 16:09 | 37.9966 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.5724 | μmol/L | 19.7287 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.23 | 112197.5581 | 301118.2785 | 28.7 | 67.6
54603 | 2021-03-22 16:09 | 38.3297 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.4259 | μmol/L | 19.7348 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.236 | 112231.0181 | 301148.59 | 28.7 | 67.6
54613 | 2021-03-22 16:09 | 38.6636 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.3138 | μmol/L | 19.7469 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.238 | 112239.2228 | 301151.3697 | 28.7 | 67.6
54623 | 2021-03-22 16:10 | 38.9962 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.3156 | μmol/L | 19.7408 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.24 | 112263.0396 | 301141.2089 | 28.7 | 67.6
54633 | 2021-03-22 16:10 | 39.3303 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.2795 | μmol/L | 19.7408 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.242 | 112275.8256 | 301146.2903 | 28.7 | 67.6
54643 | 2021-03-22 16:10 | 39.6634 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.1133 | μmol/L | 19.753 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.247 | 112287.7809 | 301153.586 | 28.7 | 67.6
54653 | 2021-03-22 16:11 | 39.9966 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.1531 | μmol/L | 19.7408 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.249 | 112307.8605 | 301144.5062 | 28.7 | 67.6
54663 | 2021-03-22 16:11 | 40.3302 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.1911 | μmol/L | 19.7348 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.249 | 112324.0198 | 301144.0889 | 28.7 | 67.6
54673 | 2021-03-22 16:11 | 40.6632 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.1189 | μmol/L | 19.7348 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.253 | 112341.7534 | 301154.1172 | 28.7 | 67.6
54683 | 2021-03-22 16:12 | 40.9969 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.8609 | μmol/L | 19.753 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.261 | 112360.2699 | 301139.5174 | 28.7 | 67.6
54693 | 2021-03-22 16:12 | 41.33 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.8013 | μmol/L | 19.7713 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.258 | 112370.3191 | 301146.4726 | 28.7 | 67.6
54703 | 2021-03-22 16:12 | 41.6637 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.7509 | μmol/L | 19.7591 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.265 | 112398.8163 | 301140.9837 | 28.7 | 67.6
54713 | 2021-03-22 16:13 | 41.9968 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.6752 | μmol/L | 19.7713 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.265 | 112423.9654 | 301146.8821 | 28.7 | 67.6
54723 | 2021-03-22 16:13 | 42.3296 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.6411 | μmol/L | 19.7652 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.269 | 112442.9623 | 301151.0909 | 28.7 | 67.6
54733 | 2021-03-22 16:13 | 42.6633 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.6305 | μmol/L | 19.7408 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.278 | 112463.1912 | 301144.0311 | 28.7 | 67.6
54743 | 2021-03-22 16:14 | 42.9969 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.5871 | μmol/L | 19.7652 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.272 | 112469.4667 | 301137.9187 | 28.7 | 67.6
54753 | 2021-03-22 16:14 | 43.3302 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.6466 | μmol/L | 19.7469 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.275 | 112466.7582 | 301144.9256 | 28.7 | 67.6
54763 | 2021-03-22 16:14 | 43.663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.4234 | μmol/L | 19.7713 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.279 | 112493.726 | 301135.1485 | 28.7 | 67.6
54773 | 2021-03-22 16:15 | 43.9967 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.3893 | μmol/L | 19.7652 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.283 | 112505.1895 | 301148.5269 | 28.7 | 67.6
54783 | 2021-03-22 16:15 | 44.3302 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.0153 | μmol/L | 19.8138 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.287 | 112514.5802 | 301140.5233 | 28.7 | 67.6
54793 | 2021-03-22 16:15 | 44.6632 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.1502 | μmol/L | 19.7834 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.29 | 112550.9671 | 301144.9424 | 28.7 | 67.6
54803 | 2021-03-22 16:16 | 44.9969 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.967 | μmol/L | 19.7956 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.296 | 112574.1373 | 301147.528 | 28.7 | 67.6
54813 | 2021-03-22 16:16 | 45.3297 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.9114 | μmol/L | 19.8017 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.297 | 112604.8604 | 301156.706 | 28.7 | 67.6
54823 | 2021-03-22 16:16 | 45.6634 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.768 | μmol/L | 19.8017 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.305 | 112645.6328 | 301140.9783 | 28.7 | 67.6
54833 | 2021-03-22 16:17 | 45.9965 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.5156 | μmol/L | 19.8078 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.317 | 112691.0349 | 301154.8148 | 28.7 | 67.6
54843 | 2021-03-22 16:17 | 46.3301 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.0671 | μmol/L | 19.8138 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.34 | 112775.6029 | 301133.5033 | 28.7 | 67.6
54853 | 2021-03-22 16:17 | 46.663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.7621 | μmol/L | 19.8199 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.355 | 112849.8027 | 301147.8082 | 28.7 | 67.6
54863 | 2021-03-22 16:18 | 46.9963 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.8072 | μmol/L | 19.7895 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.363 | 112896.1256 | 301143.4285 | 28.7 | 67.6
54873 | 2021-03-22 16:18 | 47.33 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.5523 | μmol/L | 19.8078 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.371 | 112931.9841 | 301162.0729 | 28.7 | 67.6
54883 | 2021-03-22 16:18 | 47.663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.4437 | μmol/L | 19.8138 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.375 | 112974.3073 | 301156.1795 | 28.7 | 67.6
54893 | 2021-03-22 16:19 | 47.9967 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.3389 | μmol/L | 19.8078 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.383 | 113023.2558 | 301176.1684 | 28.7 | 67.6
54903 | 2021-03-22 16:19 | 48.3298 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.1062 | μmol/L | 19.8138 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.394 | 113061.2287 | 301163.2768 | 28.7 | 67.6
54913 | 2021-03-22 16:19 | 48.6635 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.0617 | μmol/L | 19.8017 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.401 | 113087.424 | 301159.0356 | 28.7 | 67.6
54923 | 2021-03-22 16:20 | 48.9966 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.9141 | μmol/L | 19.8199 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.403 | 113112.2581 | 301154.6175 | 28.7 | 67.6
54933 | 2021-03-22 16:20 | 49.3301 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.7852 | μmol/L | 19.8199 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.41 | 113152.8217 | 301178.6148 | 28.7 | 67.6
54943 | 2021-03-22 16:20 | 49.6632 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.7694 | μmol/L | 19.8138 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.413 | 113170.5821 | 301166.9346 | 28.7 | 67.6
54953 | 2021-03-22 16:21 | 49.9964 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.6985 | μmol/L | 19.8138 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.417 | 113210.0244 | 301174.6998 | 28.7 | 67.6
54963 | 2021-03-22 16:21 | 50.3303 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.4843 | μmol/L | 19.8199 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.427 | 113248.0212 | 301177.6683 | 28.7 | 67.6
54973 | 2021-03-22 16:21 | 50.6631 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.3459 | μmol/L | 19.826 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.433 | 113278.7835 | 301179.8285 | 28.7 | 67.6
54983 | 2021-03-22 16:22 | 50.9967 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.2703 | μmol/L | 19.826 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.437 | 113316.3082 | 301178.1248 | 28.7 | 67.6
54993 | 2021-03-22 16:22 | 51.3299 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.1644 | μmol/L | 19.826 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.443 | 113331.0089 | 301160.762 | 28.7 | 67.6
55003 | 2021-03-22 16:22 | 51.6636 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.131 | μmol/L | 19.8199 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.447 | 113359.1929 | 301188.2974 | 28.7 | 67.6
55013 | 2021-03-22 16:23 | 51.9963 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.1134 | μmol/L | 19.8199 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.448 | 113370.6558 | 301181.4309 | 28.7 | 67.6
55023 | 2021-03-22 16:23 | 52.3303 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.1536 | μmol/L | 19.8199 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.446 | 113377.5667 | 301184.2485 | 28.7 | 67.6
55033 | 2021-03-22 16:23 | 52.6632 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.1506 | μmol/L | 19.8138 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.448 | 113386.2619 | 301182.1874 | 28.7 | 67.6
55043 | 2021-03-22 16:24 | 52.9969 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.0977 | μmol/L | 19.8138 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.451 | 113418.0691 | 301182.8037 | 28.7 | 67.6
55053 | 2021-03-22 16:24 | 53.3299 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.9155 | μmol/L | 19.8321 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.455 | 113440.6959 | 301182.7214 | 28.7 | 67.6
55063 | 2021-03-22 16:24 | 53.6629 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.937 | μmol/L | 19.8199 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.458 | 113450.2889 | 301190.4137 | 28.7 | 67.6
55073 | 2021-03-22 16:25 | 53.9967 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.9067 | μmol/L | 19.8199 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.46 | 113482.7093 | 301172.8752 | 28.7 | 67.6
55083 | 2021-03-22 16:25 | 54.3304 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.7413 | μmol/L | 19.826 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.467 | 113498.5035 | 301172.1131 | 28.7 | 67.6
55093 | 2021-03-22 16:25 | 54.6635 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.8919 | μmol/L | 19.7956 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.469 | 113510.3076 | 301176.331 | 28.7 | 67.6
55103 | 2021-03-22 16:26 | 54.9967 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.7901 | μmol/L | 19.7834 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.479 | 113541.0815 | 301166.9433 | 28.7 | 67.6
55113 | 2021-03-22 16:26 | 55.3301 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.8997 | μmol/L | 19.7713 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.477 | 113575.3028 | 301188.7364 | 28.7 | 67.6
55123 | 2021-03-22 16:26 | 55.6631 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.7764 | μmol/L | 19.7713 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.484 | 113592.1695 | 301198.3949 | 28.7 | 67.6
55133 | 2021-03-22 16:27 | 55.997 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.6884 | μmol/L | 19.7713 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.489 | 113634.8414 | 301206.2496 | 28.7 | 67.6
55143 | 2021-03-22 16:27 | 56.33 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.5067 | μmol/L | 19.7895 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.493 | 113670.5571 | 301190.448 | 28.7 | 67.6
55153 | 2021-03-22 16:27 | 56.6631 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.1164 | μmol/L | 19.8017 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.511 | 113709.1932 | 301203.3962 | 28.7 | 67.6
55163 | 2021-03-22 16:28 | 56.9968 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.0472 | μmol/L | 19.8138 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.511 | 113744.5165 | 301187.3804 | 28.7 | 67.6
55173 | 2021-03-22 16:28 | 57.3304 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 206.9225 | μmol/L | 19.8199 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.516 | 113774.0302 | 301194.5346 | 28.7 | 67.6
55183 | 2021-03-22 16:28 | 57.6633 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 206.834 | μmol/L | 19.8078 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.525 | 113819.7756 | 301192.5617 | 28.7 | 67.6
55193 | 2021-03-22 16:29 | 57.997 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 206.6444 | μmol/L | 19.8138 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.534 | 113879.7003 | 301191.9682 | 28.7 | 67.6
55203 | 2021-03-22 16:29 | 58.3298 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 206.4909 | μmol/L | 19.8017 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.547 | 113918.4942 | 301176.1444 | 28.7 | 67.6
55213 | 2021-03-22 16:29 | 58.6636 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 206.4511 | μmol/L | 19.8017 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.549 | 113965.1573 | 301198.6653 | 28.7 | 67.6
55223 | 2021-03-22 16:30 | 58.9965 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 206.2939 | μmol/L | 19.8017 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.558 | 113989.7085 | 301190.2248 | 28.7 | 67.6
55233 | 2021-03-22 16:30 | 59.3302 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 206.4785 | μmol/L | 19.7713 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.558 | 114015.5453 | 301197.378 | 28.7 | 67.6
55243 | 2021-03-22 16:30 | 59.6634 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 206.3562 | μmol/L | 19.7713 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.565 | 114050.9909 | 301190.1417 | 28.7 | 67.6
55253 | 2021-03-22 16:31 | 59.9965 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 206.3582 | μmol/L | 19.7652 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.567 | 114070.1461 | 301196.0627 | 28.7 | 67.6
55263 | 2021-03-22 16:31 | 60.3304 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 206.0557 | μmol/L | 19.7834 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.578 | 114098.3642 | 301197.2401 | 28.7 | 67.6
55273 | 2021-03-22 16:31 | 60.6634 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 205.9645 | μmol/L | 19.7956 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.579 | 114131.0608 | 301202.2098 | 28.7 | 67.6
55283 | 2021-03-22 16:32 | 60.997 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 205.7302 | μmol/L | 19.8199 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.584 | 114154.6334 | 301219.17 | 28.7 | 67.6
55293 | 2021-03-22 16:32 | 61.3302 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 205.684 | μmol/L | 19.8017 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.593 | 114178.211 | 301221.235 | 28.7 | 67.6
55303 | 2021-03-22 16:32 | 61.663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 205.9271 | μmol/L | 19.7652 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.592 | 114207.2785 | 301216.0564 | 28.7 | 67.6
55313 | 2021-03-22 16:33 | 61.9967 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 205.8352 | μmol/L | 19.7652 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.597 | 114238.4826 | 301216.4388 | 28.7 | 67.6
55323 | 2021-03-22 16:33 | 62.3296 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 205.5876 | μmol/L | 19.7773 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.607 | 114268.0023 | 301201.6602 | 28.7 | 67.6
55333 | 2021-03-22 16:33 | 62.6636 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 205.5036 | μmol/L | 19.7834 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.61 | 114306.5106 | 301213.5794 | 28.7 | 67.6
55343 | 2021-03-22 16:34 | 62.9966 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 205.4293 | μmol/L | 19.7834 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.614 | 114335.1482 | 301223.2737 | 28.7 | 67.6
55353 | 2021-03-22 16:34 | 63.3303 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 205.2403 | μmol/L | 19.7773 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.627 | 114381.2721 | 301226.0587 | 28.7 | 67.6
55363 | 2021-03-22 16:34 | 63.6636 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 204.9936 | μmol/L | 19.7895 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.637 | 114412.2098 | 301215.6813 | 28.7 | 67.6
55373 | 2021-03-22 16:35 | 63.9968 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 205.0157 | μmol/L | 19.7895 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.636 | 114421.9971 | 301218.3399 | 28.7 | 67.6
55383 | 2021-03-22 16:35 | 64.3297 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 205.1169 | μmol/L | 19.7834 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.632 | 114429.9521 | 301236.5635 | 28.7 | 67.6
55393 | 2021-03-22 16:35 | 64.6633 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 205.1943 | μmol/L | 19.7591 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.636 | 114443.5303 | 301230.414 | 28.7 | 67.6
55403 | 2021-03-22 16:36 | 64.9964 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 205.2484 | μmol/L | 19.753 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.635 | 114446.3749 | 301237.4289 | 28.7 | 67.6
55413 | 2021-03-22 16:36 | 65.3303 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 205.0689 | μmol/L | 19.7713 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.639 | 114457.128 | 301226.0702 | 28.7 | 67.6
55423 | 2021-03-22 16:36 | 65.6633 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 205.2198 | μmol/L | 19.7348 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.643 | 114481.9501 | 301233.1579 | 28.7 | 67.6
55433 | 2021-03-22 16:37 | 65.9963 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 205.0363 | μmol/L | 19.7652 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.643 | 114505.5168 | 301263.8776 | 28.7 | 67.6
55443 | 2021-03-22 16:37 | 66.3302 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 204.8245 | μmol/L | 19.7773 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.651 | 114518.1347 | 301245.2245 | 28.7 | 67.6
55453 | 2021-03-22 16:37 | 66.6629 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 204.6128 | μmol/L | 19.7895 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.659 | 114555.7965 | 301254.2855 | 28.7 | 67.6
55463 | 2021-03-22 16:38 | 66.9965 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 204.6128 | μmol/L | 19.7895 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.659 | 114574.8126 | 301251.5146 | 28.7 | 67.6
55473 | 2021-03-22 16:38 | 67.3298 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 204.6749 | μmol/L | 19.7591 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.666 | 114590.6043 | 301256.6971 | 28.7 | 67.6
55483 | 2021-03-22 16:38 | 67.6634 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 204.6708 | μmol/L | 19.7713 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.662 | 114607.2895 | 301251.3292 | 28.7 | 67.6
55493 | 2021-03-22 16:39 | 67.9963 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 204.625 | μmol/L | 19.753 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.671 | 114622.9857 | 301262.278 | 28.7 | 67.6
55503 | 2021-03-22 16:39 | 68.3299 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 204.5905 | μmol/L | 19.753 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.673 | 114644.0142 | 301273.4077 | 28.7 | 67.6
55513 | 2021-03-22 16:39 | 68.6629 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 204.4868 | μmol/L | 19.753 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.679 | 114667.1767 | 301259.6614 | 28.7 | 67.6
55523 | 2021-03-22 16:40 | 68.9968 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 204.5407 | μmol/L | 19.7469 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.678 | 114689.4498 | 301272.3808 | 28.7 | 67.6
55533 | 2021-03-22 16:40 | 69.3302 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 204.5427 | μmol/L | 19.7408 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.68 | 114698.4719 | 301256.9588 | 28.7 | 67.6
55543 | 2021-03-22 16:40 | 69.6633 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 204.5234 | μmol/L | 19.7469 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.679 | 114718.2959 | 301284.3449 | 28.7 | 67.6
55553 | 2021-03-22 16:41 | 69.997 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 204.4046 | μmol/L | 19.7408 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.688 | 114724.93 | 301287.4592 | 28.7 | 67.6
55563 | 2021-03-22 16:41 | 70.3299 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 204.426 | μmol/L | 19.7287 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.691 | 114753.0745 | 301286.0833 | 28.7 | 67.6
55573 | 2021-03-22 16:41 | 70.6632 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 204.4646 | μmol/L | 19.7165 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.693 | 114771.6355 | 301281.0949 | 28.7 | 67.6
55583 | 2021-03-22 16:42 | 70.9969 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 204.3397 | μmol/L | 19.7287 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.696 | 114787.9046 | 301278.6306 | 28.7 | 67.6
55593 | 2021-03-22 16:42 | 71.3297 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 204.1459 | μmol/L | 19.7408 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.703 | 114830.1312 | 301292.1976 | 28.7 | 67.6
55603 | 2021-03-22 16:42 | 71.6636 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 204.0404 | μmol/L | 19.7469 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.707 | 114854.7562 | 301293.9394 | 28.7 | 67.6
55613 | 2021-03-22 16:43 | 71.9966 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 203.9371 | μmol/L | 19.7469 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.713 | 114877.1839 | 301289.7112 | 28.7 | 67.6
55623 | 2021-03-22 16:43 | 72.3296 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 203.7995 | μmol/L | 19.7469 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.721 | 114910.6932 | 301282.8661 | 28.7 | 67.6