## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-29 12:16

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
55635 | 2021-03-29 11:21 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 164.6624 | μmol/L | 29.2612 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.972 | 118605.9107 | 303739.7515 | 30.45 | 114.2
55645 | 2021-03-29 11:22 | 0.33163 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 164.6947 | μmol/L | 29.2489 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.974 | 118591.0058 | 303728.6434 | 30.45 | 114.2
55655 | 2021-03-29 11:22 | 0.6651 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 164.6665 | μmol/L | 29.2489 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.976 | 118599.5015 | 303707.9376 | 30.45 | 114.2
55665 | 2021-03-29 11:22 | 0.99832 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 164.5215 | μmol/L | 29.2612 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.982 | 118629.2601 | 303696.741 | 30.45 | 114.2
55675 | 2021-03-29 11:23 | 1.3313 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 164.423 | μmol/L | 29.2612 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.989 | 118646.3856 | 303676.8002 | 30.45 | 114.2
55685 | 2021-03-29 11:23 | 1.665 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 164.2282 | μmol/L | 29.255 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.005 | 118672.1477 | 303660.016 | 30.45 | 114.2
55695 | 2021-03-29 11:23 | 1.9978 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 164.146 | μmol/L | 29.2489 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.013 | 118726.9267 | 303653.5784 | 30.45 | 114.2
55705 | 2021-03-29 11:24 | 2.3315 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 164.0337 | μmol/L | 29.2489 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.021 | 118726.15 | 303623.3814 | 30.45 | 114.2
55715 | 2021-03-29 11:24 | 2.6645 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 164.068 | μmol/L | 29.2304 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.025 | 118763.9314 | 303641.4049 | 30.45 | 114.2
55725 | 2021-03-29 11:24 | 2.9982 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 163.9256 | μmol/L | 29.2365 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.033 | 118783.139 | 303587.7131 | 30.45 | 114.2
55735 | 2021-03-29 11:25 | 3.3311 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 163.8395 | μmol/L | 29.2427 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.037 | 118801.2114 | 303574.964 | 30.45 | 114.2
55745 | 2021-03-29 11:25 | 3.6647 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 163.6756 | μmol/L | 29.2304 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.053 | 118849.4537 | 303553.7264 | 30.45 | 114.2
55755 | 2021-03-29 11:25 | 3.9984 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 163.6197 | μmol/L | 29.2304 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.057 | 118873.549 | 303536.8372 | 30.45 | 114.2
55765 | 2021-03-29 11:26 | 4.3314 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 163.4219 | μmol/L | 29.2365 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.069 | 118919.2802 | 303522.7907 | 30.45 | 114.2
55775 | 2021-03-29 11:26 | 4.6644 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 163.3262 | μmol/L | 29.2304 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.078 | 118958.6627 | 303494.9994 | 30.45 | 114.2
55785 | 2021-03-29 11:26 | 4.9982 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 163.2028 | μmol/L | 29.2242 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.089 | 119019.2649 | 303476.8641 | 30.45 | 114.2
55795 | 2021-03-29 11:27 | 5.3313 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 163.1888 | μmol/L | 29.2242 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.09 | 119020.0627 | 303461.3942 | 30.45 | 114.2
55805 | 2021-03-29 11:27 | 5.665 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 163.0613 | μmol/L | 29.2304 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.097 | 119062.7122 | 303454.7883 | 30.45 | 114.2
55815 | 2021-03-29 11:27 | 5.998 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.9103 | μmol/L | 29.2242 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.11 | 119105.8826 | 303432.5466 | 30.45 | 114.2
55825 | 2021-03-29 11:28 | 6.3318 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.8129 | μmol/L | 29.2242 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.117 | 119127.4902 | 303406.9611 | 30.45 | 114.2
55835 | 2021-03-29 11:28 | 6.6649 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.8408 | μmol/L | 29.2242 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.115 | 119112.1766 | 303395.589 | 30.45 | 114.2
55845 | 2021-03-29 11:28 | 6.9978 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.6323 | μmol/L | 29.2242 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.13 | 119168.1715 | 303377.1333 | 30.45 | 114.2
55855 | 2021-03-29 11:29 | 7.3317 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.5053 | μmol/L | 29.2304 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.137 | 119212.9365 | 303356.4304 | 30.45 | 114.2
55865 | 2021-03-29 11:29 | 7.6647 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.5608 | μmol/L | 29.2304 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.133 | 119200.5598 | 303350.0006 | 30.45 | 114.2
55875 | 2021-03-29 11:29 | 7.9984 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.5949 | μmol/L | 29.2119 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.137 | 119192.0274 | 303313.8555 | 30.45 | 114.2
55885 | 2021-03-29 11:30 | 8.3314 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.4444 | μmol/L | 29.2057 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.15 | 119252.5917 | 303305.0439 | 30.45 | 114.2
55895 | 2021-03-29 11:30 | 8.6651 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.4743 | μmol/L | 29.1996 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.15 | 119246.2209 | 303281.5445 | 30.45 | 114.2
55905 | 2021-03-29 11:30 | 8.9982 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.357 | μmol/L | 29.2181 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.152 | 119248.8363 | 303264.6462 | 30.45 | 114.2
55915 | 2021-03-29 11:31 | 9.3312 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.3453 | μmol/L | 29.2119 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.155 | 119270.9955 | 303260.4284 | 30.45 | 114.2
55925 | 2021-03-29 11:31 | 9.6646 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.0919 | μmol/L | 29.2242 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.169 | 119306.2783 | 303243.1767 | 30.45 | 114.2
55935 | 2021-03-29 11:31 | 9.9984 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.1568 | μmol/L | 29.2365 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.16 | 119267.8647 | 303222.8078 | 30.45 | 114.2
55945 | 2021-03-29 11:32 | 10.3314 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.9197 | μmol/L | 29.2427 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.175 | 119344.3691 | 303212.2565 | 30.45 | 114.2
55955 | 2021-03-29 11:32 | 10.6652 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.8092 | μmol/L | 29.2427 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.183 | 119369.3543 | 303189.203 | 30.45 | 114.2
55965 | 2021-03-29 11:32 | 10.9982 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.8049 | μmol/L | 29.255 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.179 | 119350.7817 | 303173.1242 | 30.45 | 114.2
55975 | 2021-03-29 11:33 | 11.3311 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.6808 | μmol/L | 29.255 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.188 | 119379.8382 | 303155.1038 | 30.45 | 114.2
55985 | 2021-03-29 11:33 | 11.6651 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.4169 | μmol/L | 29.2612 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.205 | 119458.3256 | 303137.844 | 30.45 | 114.2
55995 | 2021-03-29 11:33 | 11.9982 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.4603 | μmol/L | 29.255 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.204 | 119457.3512 | 303138.0575 | 30.45 | 114.2
56005 | 2021-03-29 11:34 | 12.3312 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.3756 | μmol/L | 29.2612 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.208 | 119463.7612 | 303105.3139 | 30.45 | 114.2
56015 | 2021-03-29 11:34 | 12.6649 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.275 | μmol/L | 29.2735 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.211 | 119489.647 | 303102.8609 | 30.45 | 114.2
56025 | 2021-03-29 11:34 | 12.998 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.4053 | μmol/L | 29.255 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.208 | 119482.4707 | 303085.8114 | 30.45 | 114.2
56035 | 2021-03-29 11:35 | 13.3314 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.275 | μmol/L | 29.2735 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.211 | 119481.1279 | 303059.9835 | 30.45 | 114.2
56045 | 2021-03-29 11:35 | 13.6651 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.202 | μmol/L | 29.2858 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.212 | 119450.8091 | 303044.2401 | 30.45 | 114.2
56055 | 2021-03-29 11:35 | 13.9982 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.2982 | μmol/L | 29.2858 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.205 | 119408.8614 | 303020.1737 | 30.45 | 114.2
56065 | 2021-03-29 11:36 | 14.3311 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.241 | μmol/L | 29.292 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.207 | 119414.6885 | 303011.0432 | 30.45 | 114.2
56075 | 2021-03-29 11:36 | 14.665 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.404 | μmol/L | 29.2982 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.193 | 119363.9613 | 302991.5918 | 30.45 | 114.2
56085 | 2021-03-29 11:36 | 14.998 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.257 | μmol/L | 29.2858 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.208 | 119412.488 | 302976.3071 | 30.45 | 114.2
56095 | 2021-03-29 11:37 | 15.3317 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.1564 | μmol/L | 29.2982 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.211 | 119413.3322 | 302970.6153 | 30.45 | 114.2
56105 | 2021-03-29 11:37 | 15.6647 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.0401 | μmol/L | 29.3167 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.213 | 119420.5561 | 302955.0964 | 30.45 | 114.2
56115 | 2021-03-29 11:37 | 15.9986 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.0697 | μmol/L | 29.3105 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.213 | 119444.3514 | 302941.961 | 30.45 | 114.2
56125 | 2021-03-29 11:38 | 16.3316 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.0494 | μmol/L | 29.329 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.208 | 119396.6032 | 302931.0398 | 30.45 | 114.2
56135 | 2021-03-29 11:38 | 16.6645 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 160.853 | μmol/L | 29.3413 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.218 | 119431.8358 | 302905.7818 | 30.45 | 114.2
56145 | 2021-03-29 11:38 | 16.9983 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 160.6661 | μmol/L | 29.366 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.223 | 119453.0558 | 302899.4814 | 30.45 | 114.2
56155 | 2021-03-29 11:39 | 17.3314 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 160.6754 | μmol/L | 29.3783 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.218 | 119421.9583 | 302871.7975 | 30.45 | 114.2
56165 | 2021-03-29 11:39 | 17.6652 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 160.4794 | μmol/L | 29.3906 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.228 | 119481.5344 | 302864.1451 | 30.45 | 114.2
56175 | 2021-03-29 11:39 | 17.9982 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 160.4362 | μmol/L | 29.3968 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.229 | 119486.8178 | 302854.2646 | 30.45 | 114.2
56185 | 2021-03-29 11:40 | 18.3314 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 160.311 | μmol/L | 29.4029 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.236 | 119501.9568 | 302845.7387 | 30.45 | 114.2
56195 | 2021-03-29 11:40 | 18.6651 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 160.2771 | μmol/L | 29.4214 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.232 | 119479.4449 | 302826.0685 | 30.45 | 114.2
56205 | 2021-03-29 11:40 | 18.9982 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 160.3158 | μmol/L | 29.4276 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.227 | 119464.3356 | 302809.5745 | 30.45 | 114.2
56215 | 2021-03-29 11:41 | 19.3313 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 160.3295 | μmol/L | 29.4276 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.226 | 119448.3193 | 302793.6563 | 30.45 | 114.2
56225 | 2021-03-29 11:41 | 19.6651 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 160.218 | μmol/L | 29.4337 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.232 | 119464.0874 | 302785.9897 | 30.45 | 114.2
56235 | 2021-03-29 11:41 | 19.9982 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 160.0111 | μmol/L | 29.4399 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.245 | 119519.4736 | 302780.4459 | 30.45 | 114.2
56245 | 2021-03-29 11:42 | 20.3313 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 159.9522 | μmol/L | 29.4522 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.245 | 119529.3377 | 302761.0051 | 30.45 | 114.2
56255 | 2021-03-29 11:42 | 20.6651 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 159.891 | μmol/L | 29.4707 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.243 | 119505.799 | 302743.2449 | 30.45 | 114.2
56265 | 2021-03-29 11:42 | 20.9979 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 159.832 | μmol/L | 29.483 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.243 | 119512.5873 | 302735.1354 | 30.45 | 114.2
56275 | 2021-03-29 11:43 | 21.3311 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 159.7753 | μmol/L | 29.4892 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.245 | 119512.409 | 302726.1888 | 30.45 | 114.2
56285 | 2021-03-29 11:43 | 21.6651 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 159.5826 | μmol/L | 29.4954 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.257 | 119563.8001 | 302690.0963 | 30.45 | 114.2
56295 | 2021-03-29 11:43 | 21.9982 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 159.5804 | μmol/L | 29.5015 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.255 | 119557.8816 | 302689.213 | 30.45 | 114.2
56305 | 2021-03-29 11:44 | 22.3319 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 159.4378 | μmol/L | 29.52 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.259 | 119590.2301 | 302664.8565 | 30.45 | 114.2
56315 | 2021-03-29 11:44 | 22.6649 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 159.3405 | μmol/L | 29.5262 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.264 | 119613.5204 | 302650.0892 | 30.45 | 114.2
56325 | 2021-03-29 11:44 | 22.9979 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 158.9249 | μmol/L | 29.5508 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.286 | 119716.0651 | 302647.1886 | 30.45 | 114.2
56335 | 2021-03-29 11:45 | 23.3315 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 158.8572 | μmol/L | 29.5508 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.291 | 119768.4806 | 302631.4942 | 30.45 | 114.2
56345 | 2021-03-29 11:45 | 23.6645 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 158.8009 | μmol/L | 29.557 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.293 | 119794.2438 | 302626.7124 | 30.45 | 114.2
56355 | 2021-03-29 11:45 | 23.9984 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 158.6161 | μmol/L | 29.5817 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.298 | 119799.4456 | 302621.2966 | 30.45 | 114.2
56365 | 2021-03-29 11:46 | 24.3312 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 158.7512 | μmol/L | 29.5817 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.288 | 119752.4527 | 302597.2263 | 30.45 | 114.2
56375 | 2021-03-29 11:46 | 24.6652 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 158.6814 | μmol/L | 29.5878 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.291 | 119763.5821 | 302586.232 | 30.45 | 114.2
56385 | 2021-03-29 11:46 | 24.9985 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 158.4316 | μmol/L | 29.6063 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.303 | 119823.8818 | 302554.8159 | 30.45 | 114.2
56395 | 2021-03-29 11:47 | 25.3317 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 158.263 | μmol/L | 29.6248 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.309 | 119866.9999 | 302558.5289 | 30.45 | 114.2
56405 | 2021-03-29 11:47 | 25.6647 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 158.2314 | μmol/L | 29.6371 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.307 | 119856.5369 | 302539.9155 | 30.45 | 114.2
56415 | 2021-03-29 11:47 | 25.9978 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 158.1191 | μmol/L | 29.6495 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.311 | 119888.5652 | 302541.7132 | 30.45 | 114.2
56425 | 2021-03-29 11:48 | 26.3316 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 158.0115 | μmol/L | 29.6495 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.319 | 119926.4461 | 302511.7809 | 30.45 | 114.2
56435 | 2021-03-29 11:48 | 26.6644 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.8836 | μmol/L | 29.6679 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.322 | 119941.7798 | 302510.1614 | 30.45 | 114.2
56445 | 2021-03-29 11:48 | 26.9983 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.7493 | μmol/L | 29.6679 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.332 | 119970.8969 | 302512.1046 | 30.45 | 114.2
56455 | 2021-03-29 11:49 | 27.3314 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.6105 | μmol/L | 29.6803 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.338 | 120018.0324 | 302493.5531 | 30.45 | 114.2
56465 | 2021-03-29 11:49 | 27.6652 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.5901 | μmol/L | 29.6988 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.333 | 119992.7003 | 302473.8635 | 30.45 | 114.2
56475 | 2021-03-29 11:49 | 27.9985 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.3955 | μmol/L | 29.7172 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.341 | 120029.3078 | 302472.468 | 30.45 | 114.2
56485 | 2021-03-29 11:50 | 28.3318 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.4981 | μmol/L | 29.7296 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.329 | 119969.9501 | 302456.4587 | 30.45 | 114.2
56495 | 2021-03-29 11:50 | 28.6648 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.3484 | μmol/L | 29.7357 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.338 | 120005.7078 | 302445.4081 | 30.45 | 114.2
56505 | 2021-03-29 11:50 | 28.9985 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.0314 | μmol/L | 29.7604 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.353 | 120067.9156 | 302424.1542 | 30.45 | 114.2
56515 | 2021-03-29 11:51 | 29.3316 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.0401 | μmol/L | 29.7727 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.348 | 120048.8091 | 302419.5226 | 30.45 | 114.2
56525 | 2021-03-29 11:51 | 29.6645 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 156.9443 | μmol/L | 29.7789 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.353 | 120063.2446 | 302415.7556 | 30.45 | 114.2
56535 | 2021-03-29 11:51 | 29.9982 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 156.9019 | μmol/L | 29.785 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.354 | 120060.6621 | 302405.6374 | 30.45 | 114.2
56545 | 2021-03-29 11:52 | 30.3315 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 156.6148 | μmol/L | 29.8035 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.369 | 120119.251 | 302388.6867 | 30.45 | 114.2
56555 | 2021-03-29 11:52 | 30.6646 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 156.69 | μmol/L | 29.8159 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.359 | 120078.207 | 302376.7897 | 30.45 | 114.2
56565 | 2021-03-29 11:52 | 30.9985 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 156.5254 | μmol/L | 29.8282 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.367 | 120121.0197 | 302373.6916 | 30.45 | 114.2
56575 | 2021-03-29 11:53 | 31.3314 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 156.4166 | μmol/L | 29.8344 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.373 | 120144.7627 | 302355.1498 | 30.45 | 114.2
56585 | 2021-03-29 11:53 | 31.6644 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 156.2898 | μmol/L | 29.8528 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.376 | 120150.1799 | 302343.1971 | 30.45 | 114.2
56595 | 2021-03-29 11:53 | 31.9983 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 156.128 | μmol/L | 29.859 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.386 | 120192.6649 | 302340.5055 | 30.45 | 114.2
56605 | 2021-03-29 11:54 | 32.3312 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 156.11 | μmol/L | 29.8713 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.383 | 120176.3253 | 302328.5506 | 30.45 | 114.2
56615 | 2021-03-29 11:54 | 32.6645 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 156.0943 | μmol/L | 29.8775 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.382 | 120168.2829 | 302327.1912 | 30.45 | 114.2
56625 | 2021-03-29 11:54 | 32.9982 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 156.0027 | μmol/L | 29.9083 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.378 | 120157.3623 | 302313.5277 | 30.45 | 114.2
56635 | 2021-03-29 11:55 | 33.3313 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.8087 | μmol/L | 29.896 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.397 | 120217.8868 | 302295.8179 | 30.45 | 114.2
56645 | 2021-03-29 11:55 | 33.6652 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.8593 | μmol/L | 29.9022 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.391 | 120203.2628 | 302291.6484 | 30.45 | 114.2
56655 | 2021-03-29 11:55 | 33.9983 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.8123 | μmol/L | 29.9206 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.388 | 120185.1411 | 302288.8271 | 30.45 | 114.2
56665 | 2021-03-29 11:56 | 34.3311 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.5561 | μmol/L | 29.933 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.403 | 120256.0062 | 302260.7833 | 30.45 | 114.2
56675 | 2021-03-29 11:56 | 34.6652 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.3218 | μmol/L | 29.9576 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.412 | 120315.2573 | 302255.4375 | 30.45 | 114.2
56685 | 2021-03-29 11:56 | 34.9982 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.1815 | μmol/L | 29.9453 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.427 | 120384.9169 | 302240.6364 | 30.45 | 114.2
56695 | 2021-03-29 11:57 | 35.3311 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.1191 | μmol/L | 29.97 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.423 | 120384.3846 | 302232.7322 | 30.45 | 114.2
56705 | 2021-03-29 11:57 | 35.6649 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.1166 | μmol/L | 29.9761 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.421 | 120372.2347 | 302235.1694 | 30.45 | 114.2
56715 | 2021-03-29 11:57 | 35.998 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.0796 | μmol/L | 29.97 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.426 | 120378.8599 | 302229.7789 | 30.45 | 114.2
56725 | 2021-03-29 11:58 | 36.3317 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.1489 | μmol/L | 29.9946 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.412 | 120328.9126 | 302210.8213 | 30.45 | 114.2
56735 | 2021-03-29 11:58 | 36.6645 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.0698 | μmol/L | 29.9946 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.418 | 120334.6266 | 302190.602 | 30.45 | 114.2
56745 | 2021-03-29 11:58 | 36.9983 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.9274 | μmol/L | 29.9884 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.431 | 120405.442 | 302190.3725 | 30.45 | 114.2
56755 | 2021-03-29 11:59 | 37.3313 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.8197 | μmol/L | 29.9946 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.437 | 120451.1828 | 302175.6861 | 30.45 | 114.2
56765 | 2021-03-29 11:59 | 37.665 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.6357 | μmol/L | 29.9946 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.451 | 120509.5155 | 302166.272 | 30.45 | 114.2
56775 | 2021-03-29 11:59 | 37.9983 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.4995 | μmol/L | 30.0069 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.457 | 120571.6367 | 302170.5588 | 30.45 | 114.2
56785 | 2021-03-29 12:00 | 38.3317 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.2243 | μmol/L | 30.0069 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.478 | 120664.6358 | 302146.4122 | 30.45 | 114.2
56795 | 2021-03-29 12:00 | 38.6646 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.0804 | μmol/L | 30.0069 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.489 | 120712.1271 | 302143.8175 | 30.45 | 114.2
56805 | 2021-03-29 12:00 | 38.9985 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 153.8844 | μmol/L | 30.0069 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.504 | 120763.2671 | 302122.3991 | 30.45 | 114.2
56815 | 2021-03-29 12:01 | 39.3317 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 153.8583 | μmol/L | 30.0069 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.506 | 120798.4587 | 302120.6701 | 30.45 | 114.2
56825 | 2021-03-29 12:01 | 39.6646 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 153.5925 | μmol/L | 30.0193 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.522 | 120888.4031 | 302114.0718 | 30.45 | 114.2
56835 | 2021-03-29 12:01 | 39.9986 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 153.2542 | μmol/L | 30.0193 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.548 | 121056.5051 | 302099.7507 | 30.45 | 114.2
56845 | 2021-03-29 12:02 | 40.3315 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 153.1608 | μmol/L | 30.0254 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.553 | 121091.6302 | 302090.8164 | 30.45 | 114.2
56855 | 2021-03-29 12:02 | 40.6646 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 153.1658 | μmol/L | 30.0131 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.557 | 121093.2929 | 302098.7876 | 30.45 | 114.2
56865 | 2021-03-29 12:02 | 40.9984 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 153.1683 | μmol/L | 30.0069 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.559 | 121109.1097 | 302066.7552 | 30.45 | 114.2
56875 | 2021-03-29 12:03 | 41.3315 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 152.9996 | μmol/L | 30.0069 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.572 | 121176.2304 | 302066.42 | 30.45 | 114.2
56885 | 2021-03-29 12:03 | 41.6644 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 153.0849 | μmol/L | 29.9884 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.572 | 121146.0853 | 302053.0775 | 30.45 | 114.2
56895 | 2021-03-29 12:03 | 41.9983 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 152.9582 | μmol/L | 30.0131 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.573 | 121171.4109 | 302044.9419 | 30.45 | 114.2
56905 | 2021-03-29 12:04 | 42.3312 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 152.7898 | μmol/L | 30.0131 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.586 | 121213.7555 | 302024.2305 | 30.45 | 114.2
56915 | 2021-03-29 12:04 | 42.6651 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 152.6007 | μmol/L | 30.0008 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.605 | 121324.1751 | 302025.9615 | 30.45 | 114.2
56925 | 2021-03-29 12:04 | 42.9979 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 152.402 | μmol/L | 30.0131 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.616 | 121407.5681 | 302028.0841 | 30.45 | 114.2
56935 | 2021-03-29 12:05 | 43.3318 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 152.2626 | μmol/L | 30.0069 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.629 | 121455.2498 | 302006.4124 | 30.45 | 114.2
56945 | 2021-03-29 12:05 | 43.665 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 152.0669 | μmol/L | 30.0131 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.642 | 121533.5774 | 301997.6388 | 30.45 | 114.2
56955 | 2021-03-29 12:05 | 43.998 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 151.82 | μmol/L | 30.0193 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.659 | 121614.5278 | 301996.4758 | 30.45 | 114.2
56965 | 2021-03-29 12:06 | 44.3317 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 151.5889 | μmol/L | 30.0193 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.677 | 121712.0826 | 301986.659 | 30.45 | 114.2
56975 | 2021-03-29 12:06 | 44.6648 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 151.4607 | μmol/L | 30.0193 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.687 | 121782.3863 | 301975.8798 | 30.45 | 114.2
56985 | 2021-03-29 12:06 | 44.9985 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 151.3864 | μmol/L | 30.0131 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.695 | 121820.3487 | 301966.593 | 30.45 | 114.2
56995 | 2021-03-29 12:07 | 45.3315 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 151.2328 | μmol/L | 30.0131 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.707 | 121860.8163 | 301963.5196 | 30.45 | 114.2
57005 | 2021-03-29 12:07 | 45.6646 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 151.197 | μmol/L | 30.0069 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.712 | 121901.6368 | 301950.2838 | 30.45 | 114.2
57015 | 2021-03-29 12:07 | 45.9978 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 151.0284 | μmol/L | 30.0131 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.723 | 121962.6716 | 301947.6937 | 30.45 | 114.2
57025 | 2021-03-29 12:08 | 46.3316 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.8778 | μmol/L | 30.0069 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.737 | 122009.79 | 301938.4004 | 30.45 | 114.2
57035 | 2021-03-29 12:08 | 46.6647 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.7121 | μmol/L | 30.0069 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.75 | 122080.16 | 301916.6452 | 30.45 | 114.2
57045 | 2021-03-29 12:08 | 46.9979 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.6764 | μmol/L | 30.0008 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.755 | 122134.0162 | 301933.5688 | 30.45 | 114.2
57055 | 2021-03-29 12:09 | 47.3317 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.4958 | μmol/L | 30.0069 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.767 | 122192.2738 | 301911.6791 | 30.45 | 114.2
57065 | 2021-03-29 12:09 | 47.6646 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.45 | μmol/L | 29.9946 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.775 | 122240.2037 | 301906.3939 | 30.45 | 114.2
57075 | 2021-03-29 12:09 | 47.9986 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.4779 | μmol/L | 29.9884 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.775 | 122232.6227 | 301905.9688 | 30.45 | 114.2
57085 | 2021-03-29 12:10 | 48.3315 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.4805 | μmol/L | 29.9823 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.777 | 122244.532 | 301893.1031 | 30.45 | 114.2
57095 | 2021-03-29 12:10 | 48.6647 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.3788 | μmol/L | 29.9823 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.785 | 122284.7488 | 301896.9801 | 30.45 | 114.2
57105 | 2021-03-29 12:10 | 48.9978 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.1377 | μmol/L | 29.9823 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.804 | 122356.3385 | 301881.6412 | 30.45 | 114.2
57115 | 2021-03-29 12:11 | 49.3318 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.1859 | μmol/L | 29.9884 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.798 | 122372.6686 | 301874.8089 | 30.45 | 114.2
57125 | 2021-03-29 12:11 | 49.6647 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 149.9806 | μmol/L | 29.9946 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.812 | 122435.8444 | 301864.3212 | 30.45 | 114.2
57135 | 2021-03-29 12:11 | 49.9986 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.1048 | μmol/L | 30.0008 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.8 | 122401.8836 | 301870.1817 | 30.45 | 114.2
57145 | 2021-03-29 12:12 | 50.3318 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 149.9148 | μmol/L | 30.0008 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.815 | 122480.123 | 301850.1241 | 30.45 | 114.2
57155 | 2021-03-29 12:12 | 50.6649 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 149.6468 | μmol/L | 30.0069 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.834 | 122565.4527 | 301845.9941 | 30.45 | 114.2
57165 | 2021-03-29 12:12 | 50.9978 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 149.5988 | μmol/L | 30.0008 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.84 | 122601.8351 | 301841.9485 | 30.45 | 114.2
57175 | 2021-03-29 12:13 | 51.3318 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 149.45 | μmol/L | 29.9946 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.854 | 122690.3998 | 301841.4033 | 30.45 | 114.2
57185 | 2021-03-29 12:13 | 51.6647 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 149.3314 | μmol/L | 30.0069 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.859 | 122700.9924 | 301835.4132 | 30.45 | 114.2
57195 | 2021-03-29 12:13 | 51.9985 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 149.3037 | μmol/L | 30.0131 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.859 | 122701.8168 | 301829.6848 | 30.45 | 114.2
57205 | 2021-03-29 12:14 | 52.3317 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 149.0646 | μmol/L | 30.0131 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.878 | 122814.2389 | 301825.2291 | 30.45 | 114.2
57215 | 2021-03-29 12:14 | 52.6645 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 148.1378 | μmol/L | 30.0131 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.952 | 123229.9832 | 301810.7705 | 30.45 | 114.2