## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-29 12:16

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
55637 | 2021-03-29 11:21 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 182.4413 | μmol/L | 29.3168 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.512 | 161128.3664 | 313185.2123 | 33.25 | 68.6
55647 | 2021-03-29 11:22 | 0.34179 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 182.3239 | μmol/L | 29.3351 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.513 | 161111.9739 | 313188.5256 | 33.25 | 68.6
55657 | 2021-03-29 11:22 | 0.6752 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 182.2435 | μmol/L | 29.3412 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.516 | 161098.3701 | 313174.0953 | 33.25 | 68.6
55667 | 2021-03-29 11:22 | 1.0082 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 182.4812 | μmol/L | 29.2985 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.516 | 161091.1156 | 313150.1765 | 33.25 | 68.6
55677 | 2021-03-29 11:23 | 1.3419 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 182.83 | μmol/L | 29.2191 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.522 | 161094.2504 | 313143.1968 | 33.25 | 68.6
55687 | 2021-03-29 11:23 | 1.6749 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 182.8514 | μmol/L | 29.2069 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.525 | 161087.4843 | 313107.2883 | 33.25 | 68.6
55697 | 2021-03-29 11:23 | 2.008 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 182.3447 | μmol/L | 29.2924 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.527 | 161062.113 | 313083.4231 | 33.25 | 68.6
55707 | 2021-03-29 11:24 | 2.3417 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 182.3506 | μmol/L | 29.2802 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.531 | 161073.2703 | 313063.5459 | 33.25 | 68.6
55717 | 2021-03-29 11:24 | 2.6746 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 182.2053 | μmol/L | 29.2924 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.536 | 161084.4339 | 313046.4809 | 33.25 | 68.6
55727 | 2021-03-29 11:24 | 3.0082 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 182.1714 | μmol/L | 29.2985 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.536 | 161085.3831 | 313027.5514 | 33.25 | 68.6
55737 | 2021-03-29 11:25 | 3.3414 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 182.1618 | μmol/L | 29.2863 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.541 | 161081.4438 | 312997.2894 | 33.25 | 68.6
55747 | 2021-03-29 11:25 | 3.6745 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 182.1987 | μmol/L | 29.2741 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.543 | 161073.5141 | 312983.5154 | 33.25 | 68.6
55757 | 2021-03-29 11:25 | 4.0083 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 182.1832 | μmol/L | 29.2741 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.544 | 161067.3457 | 312965.2469 | 33.25 | 68.6
55767 | 2021-03-29 11:26 | 4.3413 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 182.1862 | μmol/L | 29.268 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.546 | 161065.8347 | 312948.8151 | 33.25 | 68.6
55777 | 2021-03-29 11:26 | 4.6751 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 181.9733 | μmol/L | 29.2924 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.551 | 161081.0579 | 312914.69 | 33.25 | 68.6
55787 | 2021-03-29 11:26 | 5.0084 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 181.7422 | μmol/L | 29.3229 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.555 | 161074.2346 | 312907.2107 | 33.25 | 68.6
55797 | 2021-03-29 11:27 | 5.3415 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 181.8776 | μmol/L | 29.2985 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.555 | 161071.9037 | 312878.8143 | 33.25 | 68.6
55807 | 2021-03-29 11:27 | 5.6751 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 181.9513 | μmol/L | 29.2741 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.559 | 161081.3546 | 312870.3135 | 33.25 | 68.6
55817 | 2021-03-29 11:27 | 6.0082 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 181.6326 | μmol/L | 29.3107 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.566 | 161086.6625 | 312847.3991 | 33.25 | 68.6
55827 | 2021-03-29 11:28 | 6.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 181.7322 | μmol/L | 29.2802 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.571 | 161092.6233 | 312821.2368 | 33.25 | 68.6
55837 | 2021-03-29 11:28 | 6.6749 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 181.9323 | μmol/L | 29.2497 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.569 | 161088.2062 | 312791.6388 | 33.25 | 68.6
55847 | 2021-03-29 11:28 | 7.0079 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 181.8028 | μmol/L | 29.2619 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.573 | 161086.8909 | 312788.4309 | 33.25 | 68.6
55857 | 2021-03-29 11:29 | 7.3416 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 181.7874 | μmol/L | 29.2619 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.574 | 161087.4208 | 312754.138 | 33.25 | 68.6
55867 | 2021-03-29 11:29 | 7.6746 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 181.8426 | μmol/L | 29.2436 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.577 | 161093.1268 | 312735.4058 | 33.25 | 68.6
55877 | 2021-03-29 11:29 | 8.0084 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 181.8948 | μmol/L | 29.2314 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.578 | 161097.4121 | 312731.359 | 33.25 | 68.6
55887 | 2021-03-29 11:30 | 8.3413 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 181.7779 | μmol/L | 29.2497 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.579 | 161097.1603 | 312696.2568 | 33.25 | 68.6
55897 | 2021-03-29 11:30 | 8.6751 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 181.3842 | μmol/L | 29.2985 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.587 | 161107.3376 | 312683.2877 | 33.25 | 68.6
55907 | 2021-03-29 11:30 | 9.008 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 181.7648 | μmol/L | 29.213 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.593 | 161123.9191 | 312664.331 | 33.25 | 68.6
55917 | 2021-03-29 11:31 | 9.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 181.4393 | μmol/L | 29.2802 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.59 | 161108.4152 | 312637.8078 | 33.25 | 68.6
55927 | 2021-03-29 11:31 | 9.6748 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 181.2551 | μmol/L | 29.3107 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.591 | 161118.8971 | 312631.2027 | 33.25 | 68.6
55937 | 2021-03-29 11:31 | 10.0077 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 181.2794 | μmol/L | 29.2924 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.596 | 161129.0719 | 312608.4151 | 33.25 | 68.6
55947 | 2021-03-29 11:32 | 10.3417 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 181.3469 | μmol/L | 29.2802 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.596 | 161122.4772 | 312576.9812 | 33.25 | 68.6
55957 | 2021-03-29 11:32 | 10.6749 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 181.2884 | μmol/L | 29.2741 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.602 | 161130.6687 | 312568.4386 | 33.25 | 68.6
55967 | 2021-03-29 11:32 | 11.0078 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 181.6444 | μmol/L | 29.2069 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.603 | 161147.4207 | 312563.6031 | 33.25 | 68.6
55977 | 2021-03-29 11:33 | 11.3415 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 181.1594 | μmol/L | 29.2863 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.606 | 161145.1619 | 312535.5676 | 33.25 | 68.6
55987 | 2021-03-29 11:33 | 11.6745 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 180.8376 | μmol/L | 29.3473 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.605 | 161145.2562 | 312514.9509 | 33.25 | 68.6
55997 | 2021-03-29 11:33 | 12.0084 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 180.9601 | μmol/L | 29.3168 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.608 | 161141.7095 | 312491.2075 | 33.25 | 68.6
56007 | 2021-03-29 11:34 | 12.3414 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 181.0335 | μmol/L | 29.2924 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.612 | 161163.2151 | 312471.3501 | 33.25 | 68.6
56017 | 2021-03-29 11:34 | 12.6745 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 180.4671 | μmol/L | 29.3839 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.616 | 161164.6566 | 312462.2622 | 33.25 | 68.6
56027 | 2021-03-29 11:34 | 13.0083 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 180.773 | μmol/L | 29.3229 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.618 | 161175.3729 | 312453.1994 | 33.25 | 68.6
56037 | 2021-03-29 11:35 | 13.3416 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 180.7453 | μmol/L | 29.3168 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.622 | 161176.5051 | 312410.3938 | 33.25 | 68.6
56047 | 2021-03-29 11:35 | 13.6744 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 180.629 | μmol/L | 29.3351 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.623 | 161188.0823 | 312401.0356 | 33.25 | 68.6
56057 | 2021-03-29 11:35 | 14.0084 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 180.6994 | μmol/L | 29.3168 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.625 | 161189.171 | 312387.9538 | 33.25 | 68.6
56067 | 2021-03-29 11:36 | 14.3414 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 180.5801 | μmol/L | 29.3412 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.624 | 161200.2232 | 312386.2187 | 33.25 | 68.6
56077 | 2021-03-29 11:36 | 14.6745 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 180.2712 | μmol/L | 29.3778 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.631 | 161213.9678 | 312359.0861 | 33.25 | 68.6
56087 | 2021-03-29 11:36 | 15.0084 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 179.9049 | μmol/L | 29.4389 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.633 | 161209.534 | 312350.1474 | 33.25 | 68.6
56097 | 2021-03-29 11:37 | 15.3414 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 180.3964 | μmol/L | 29.3412 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.636 | 161211.2883 | 312321.7671 | 33.25 | 68.6
56107 | 2021-03-29 11:37 | 15.6752 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 180.1337 | μmol/L | 29.3778 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.64 | 161238.7096 | 312308.2263 | 33.25 | 68.6
56117 | 2021-03-29 11:37 | 16.0083 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 180.0726 | μmol/L | 29.3778 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.644 | 161246.6229 | 312287.2128 | 33.25 | 68.6
56127 | 2021-03-29 11:38 | 16.3413 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 179.6305 | μmol/L | 29.4694 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.64 | 161238.3005 | 312274.2692 | 33.25 | 68.6
56137 | 2021-03-29 11:38 | 16.6752 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 179.8225 | μmol/L | 29.4206 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.645 | 161254.4491 | 312256.8671 | 33.25 | 68.6
56147 | 2021-03-29 11:38 | 17.0082 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 179.527 | μmol/L | 29.4633 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.649 | 161273.6246 | 312244.0193 | 33.25 | 68.6
56157 | 2021-03-29 11:39 | 17.3418 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 179.8469 | μmol/L | 29.4023 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.65 | 161279.5159 | 312237.6924 | 33.25 | 68.6
56167 | 2021-03-29 11:39 | 17.6747 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 179.5301 | μmol/L | 29.4572 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.651 | 161272.2793 | 312206.1191 | 33.25 | 68.6
56177 | 2021-03-29 11:39 | 18.008 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 179.7707 | μmol/L | 29.4023 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.655 | 161287.8031 | 312206.6429 | 33.25 | 68.6
56187 | 2021-03-29 11:40 | 18.3412 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 179.3657 | μmol/L | 29.4816 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.653 | 161280.9624 | 312176.5537 | 33.25 | 68.6
56197 | 2021-03-29 11:40 | 18.6751 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 179.0525 | μmol/L | 29.5304 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.656 | 161303.0195 | 312164.0196 | 33.25 | 68.6
56207 | 2021-03-29 11:40 | 19.008 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 179.2593 | μmol/L | 29.4816 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.66 | 161311.0248 | 312156.2624 | 33.25 | 68.6
56217 | 2021-03-29 11:41 | 19.3418 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 179.0452 | μmol/L | 29.4999 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.667 | 161325.9463 | 312136.2439 | 33.25 | 68.6
56227 | 2021-03-29 11:41 | 19.6748 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 179.0162 | μmol/L | 29.5121 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.665 | 161326.8731 | 312125.7491 | 33.25 | 68.6
56237 | 2021-03-29 11:41 | 20.0084 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 179.1044 | μmol/L | 29.4877 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.668 | 161319.8376 | 312088.0026 | 33.25 | 68.6
56247 | 2021-03-29 11:42 | 20.3415 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.9859 | μmol/L | 29.5121 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.667 | 161337.6924 | 312078.5632 | 33.25 | 68.6
56257 | 2021-03-29 11:42 | 20.6745 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 179.1044 | μmol/L | 29.4877 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.668 | 161338.1651 | 312069.964 | 33.25 | 68.6
56267 | 2021-03-29 11:42 | 21.0084 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.907 | μmol/L | 29.5182 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.67 | 161361.2711 | 312058.488 | 33.25 | 68.6
56277 | 2021-03-29 11:43 | 21.3413 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.4748 | μmol/L | 29.5793 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.676 | 161361.6504 | 312050.8525 | 33.25 | 68.6
56287 | 2021-03-29 11:43 | 21.6746 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.4552 | μmol/L | 29.5732 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.68 | 161384.8729 | 312027.1274 | 33.25 | 68.6
56297 | 2021-03-29 11:43 | 22.0083 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.5552 | μmol/L | 29.5549 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.68 | 161388.5888 | 312007.847 | 33.25 | 68.6
56307 | 2021-03-29 11:44 | 22.3413 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.3067 | μmol/L | 29.5976 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.681 | 161393.8121 | 311998.8962 | 33.25 | 68.6
56317 | 2021-03-29 11:44 | 22.6744 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.3676 | μmol/L | 29.5671 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.688 | 161423.059 | 311991.9241 | 33.25 | 68.6
56327 | 2021-03-29 11:44 | 23.0083 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.3645 | μmol/L | 29.5732 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.686 | 161420.6168 | 311979.4702 | 33.25 | 68.6
56337 | 2021-03-29 11:45 | 23.3412 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 177.8079 | μmol/L | 29.6586 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.692 | 161443.5583 | 311972.1512 | 33.25 | 68.6
56347 | 2021-03-29 11:45 | 23.675 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 177.6052 | μmol/L | 29.7014 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.69 | 161446.5524 | 311956.8734 | 33.25 | 68.6
56357 | 2021-03-29 11:45 | 24.008 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 177.8336 | μmol/L | 29.6525 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.692 | 161470.4023 | 311956.9835 | 33.25 | 68.6
56367 | 2021-03-29 11:46 | 24.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 177.2568 | μmol/L | 29.7502 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.695 | 161457.585 | 311926.8158 | 33.25 | 68.6
56377 | 2021-03-29 11:46 | 24.6752 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 177.2493 | μmol/L | 29.7502 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.696 | 161458.7392 | 311900.3669 | 33.25 | 68.6
56387 | 2021-03-29 11:46 | 25.0083 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 177.2889 | μmol/L | 29.7319 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.7 | 161470.0161 | 311895.2377 | 33.25 | 68.6
56397 | 2021-03-29 11:47 | 25.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 177.2557 | μmol/L | 29.738 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.7 | 161490.5578 | 311897.2782 | 33.25 | 68.6
56407 | 2021-03-29 11:47 | 25.675 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 177.1593 | μmol/L | 29.7502 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.702 | 161483.708 | 311882.6639 | 33.25 | 68.6
56417 | 2021-03-29 11:47 | 26.0081 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 177.1229 | μmol/L | 29.7624 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.7 | 161482.4144 | 311877.0754 | 33.25 | 68.6
56427 | 2021-03-29 11:48 | 26.3419 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 177.0148 | μmol/L | 29.7685 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.705 | 161499.5377 | 311830.5907 | 33.25 | 68.6
56437 | 2021-03-29 11:48 | 26.6747 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 176.6353 | μmol/L | 29.8357 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.706 | 161513.5568 | 311829.179 | 33.25 | 68.6
56447 | 2021-03-29 11:48 | 27.0079 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 176.427 | μmol/L | 29.8479 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.715 | 161541.9787 | 311805.8096 | 33.25 | 68.6
56457 | 2021-03-29 11:49 | 27.3412 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 176.4313 | μmol/L | 29.854 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.713 | 161538.4918 | 311792.7556 | 33.25 | 68.6
56467 | 2021-03-29 11:49 | 27.6749 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 176.4463 | μmol/L | 29.854 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.712 | 161550.0262 | 311789.4805 | 33.25 | 68.6
56477 | 2021-03-29 11:49 | 28.008 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 176.8692 | μmol/L | 29.7746 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.712 | 161542.7426 | 311785.4735 | 33.25 | 68.6
56487 | 2021-03-29 11:50 | 28.3418 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 176.2285 | μmol/L | 29.8845 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.715 | 161549.1613 | 311762.282 | 33.25 | 68.6
56497 | 2021-03-29 11:50 | 28.6744 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 176.4003 | μmol/L | 29.8418 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.719 | 161573.1219 | 311747.7874 | 33.25 | 68.6
56507 | 2021-03-29 11:50 | 29.0081 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 176.0036 | μmol/L | 29.915 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.719 | 161583.2042 | 311755.4605 | 33.25 | 68.6
56517 | 2021-03-29 11:51 | 29.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 176.0326 | μmol/L | 29.9028 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.722 | 161579.5061 | 311737.3096 | 33.25 | 68.6
56527 | 2021-03-29 11:51 | 29.6749 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 176.0624 | μmol/L | 29.9028 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.72 | 161602.4583 | 311744.3503 | 33.25 | 68.6
56537 | 2021-03-29 11:51 | 30.0078 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 175.9026 | μmol/L | 29.9089 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.728 | 161611.4652 | 311723.8385 | 33.25 | 68.6
56547 | 2021-03-29 11:52 | 30.3417 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 175.6962 | μmol/L | 29.9334 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.733 | 161620.6338 | 311700.8585 | 33.25 | 68.6
56557 | 2021-03-29 11:52 | 30.6748 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 175.6237 | μmol/L | 29.9578 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.729 | 161619.8543 | 311693.7425 | 33.25 | 68.6
56567 | 2021-03-29 11:52 | 31.0077 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 175.3665 | μmol/L | 29.9944 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.733 | 161628.3951 | 311675.0574 | 33.25 | 68.6
56577 | 2021-03-29 11:53 | 31.3417 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 175.5346 | μmol/L | 29.9578 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.735 | 161638.7717 | 311656.4162 | 33.25 | 68.6
56587 | 2021-03-29 11:53 | 31.6746 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 175.1425 | μmol/L | 30.0249 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.737 | 161640.863 | 311653.453 | 33.25 | 68.6
56597 | 2021-03-29 11:53 | 32.0083 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 175.5559 | μmol/L | 29.9456 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.738 | 161655.6359 | 311650.3007 | 33.25 | 68.6
56607 | 2021-03-29 11:54 | 32.3413 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 175.2264 | μmol/L | 30.0066 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.738 | 161664.3365 | 311631.1333 | 33.25 | 68.6
56617 | 2021-03-29 11:54 | 32.6745 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 175.3285 | μmol/L | 29.9822 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.74 | 161673.5091 | 311629.5878 | 33.25 | 68.6
56627 | 2021-03-29 11:54 | 33.0083 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 175.233 | μmol/L | 29.9944 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.742 | 161677.6488 | 311609.5444 | 33.25 | 68.6
56637 | 2021-03-29 11:55 | 33.3412 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 174.6655 | μmol/L | 30.086 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.747 | 161695.6422 | 311598.6436 | 33.25 | 68.6
56647 | 2021-03-29 11:55 | 33.6744 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 174.7493 | μmol/L | 30.0677 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.748 | 161688.1587 | 311585.2068 | 33.25 | 68.6
56657 | 2021-03-29 11:55 | 34.0081 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 174.7493 | μmol/L | 30.0677 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.748 | 161704.8431 | 311579.0786 | 33.25 | 68.6
56667 | 2021-03-29 11:56 | 34.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 174.5374 | μmol/L | 30.1043 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.749 | 161705.983 | 311563.6461 | 33.25 | 68.6
56677 | 2021-03-29 11:56 | 34.675 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 174.191 | μmol/L | 30.1715 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.748 | 161696.6772 | 311543.6101 | 33.25 | 68.6
56687 | 2021-03-29 11:56 | 35.0078 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 174.278 | μmol/L | 30.147 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.751 | 161718.1167 | 311536.4728 | 33.25 | 68.6
56697 | 2021-03-29 11:57 | 35.3416 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 174.3356 | μmol/L | 30.1226 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.756 | 161743.0795 | 311527.0003 | 33.25 | 68.6
56707 | 2021-03-29 11:57 | 35.6746 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 174.434 | μmol/L | 30.1043 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.756 | 161743.0749 | 311502.4408 | 33.25 | 68.6
56717 | 2021-03-29 11:57 | 36.0084 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 174.4587 | μmol/L | 30.086 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.761 | 161760.0518 | 311509.207 | 33.25 | 68.6
56727 | 2021-03-29 11:58 | 36.3415 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 174.5392 | μmol/L | 30.0738 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.76 | 161758.412 | 311487.513 | 33.25 | 68.6
56737 | 2021-03-29 11:58 | 36.6744 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 173.8671 | μmol/L | 30.1715 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.77 | 161805.2261 | 311481.9007 | 33.25 | 68.6
56747 | 2021-03-29 11:58 | 37.0084 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 173.9981 | μmol/L | 30.147 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.77 | 161823.0447 | 311465.5164 | 33.25 | 68.6
56757 | 2021-03-29 11:59 | 37.3414 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 173.7903 | μmol/L | 30.1776 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.773 | 161834.0453 | 311455.9604 | 33.25 | 68.6
56767 | 2021-03-29 11:59 | 37.6745 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 173.5284 | μmol/L | 30.2264 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.773 | 161844.1783 | 311452.6239 | 33.25 | 68.6
56777 | 2021-03-29 11:59 | 38.0079 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 173.666 | μmol/L | 30.1898 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.777 | 161857.0562 | 311422.2812 | 33.25 | 68.6
56787 | 2021-03-29 12:00 | 38.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 173.5746 | μmol/L | 30.1959 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.781 | 161864.137 | 311415.9306 | 33.25 | 68.6
56797 | 2021-03-29 12:00 | 38.6747 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 173.5159 | μmol/L | 30.1959 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.785 | 161890.0637 | 311415.3797 | 33.25 | 68.6
56807 | 2021-03-29 12:00 | 39.0085 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 173.4031 | μmol/L | 30.2142 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.786 | 161905.9764 | 311404.471 | 33.25 | 68.6
56817 | 2021-03-29 12:01 | 39.3415 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 173.4166 | μmol/L | 30.1898 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.794 | 161923.8131 | 311395.5646 | 33.25 | 68.6
56827 | 2021-03-29 12:01 | 39.6745 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 173.5507 | μmol/L | 30.1592 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.796 | 161926.8851 | 311395.6523 | 33.25 | 68.6
56837 | 2021-03-29 12:01 | 40.0083 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 173.438 | μmol/L | 30.1776 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.797 | 161955.835 | 311380.3417 | 33.25 | 68.6
56847 | 2021-03-29 12:02 | 40.3416 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 173.3906 | μmol/L | 30.1837 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.798 | 161957.0778 | 311371.1831 | 33.25 | 68.6
56857 | 2021-03-29 12:02 | 40.6747 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 173.1507 | μmol/L | 30.2203 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.801 | 161983.0527 | 311356.816 | 33.25 | 68.6
56867 | 2021-03-29 12:02 | 41.0085 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 173.063 | μmol/L | 30.2203 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.807 | 162012.9527 | 311352.4826 | 33.25 | 68.6
56877 | 2021-03-29 12:03 | 41.3414 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.9066 | μmol/L | 30.2386 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.811 | 162012.6376 | 311328.9936 | 33.25 | 68.6
56887 | 2021-03-29 12:03 | 41.6745 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.5224 | μmol/L | 30.2997 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.815 | 162038.7514 | 311338.9482 | 33.25 | 68.6
56897 | 2021-03-29 12:03 | 42.0082 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.8044 | μmol/L | 30.2386 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.818 | 162060.0686 | 311334.1221 | 33.25 | 68.6
56907 | 2021-03-29 12:04 | 42.3413 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.837 | μmol/L | 30.2325 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.818 | 162066.662 | 311325.3274 | 33.25 | 68.6
56917 | 2021-03-29 12:04 | 42.6751 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.7314 | μmol/L | 30.2386 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.823 | 162092.5109 | 311312.2139 | 33.25 | 68.6
56927 | 2021-03-29 12:04 | 43.0081 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.6225 | μmol/L | 30.2508 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.826 | 162095.6364 | 311308.2413 | 33.25 | 68.6
56937 | 2021-03-29 12:05 | 43.3412 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.5103 | μmol/L | 30.2691 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.827 | 162117.4422 | 311286.6765 | 33.25 | 68.6
56947 | 2021-03-29 12:05 | 43.675 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.2748 | μmol/L | 30.2997 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.832 | 162141.2485 | 311277.2487 | 33.25 | 68.6
56957 | 2021-03-29 12:05 | 44.008 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.1012 | μmol/L | 30.3241 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.835 | 162158.6867 | 311271.624 | 33.25 | 68.6
56967 | 2021-03-29 12:06 | 44.3417 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.9781 | μmol/L | 30.3363 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.839 | 162191.0174 | 311278.1958 | 33.25 | 68.6
56977 | 2021-03-29 12:06 | 44.6749 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.2414 | μmol/L | 30.2814 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.841 | 162205.2813 | 311257.6822 | 33.25 | 68.6
56987 | 2021-03-29 12:06 | 45.0078 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.2448 | μmol/L | 30.2753 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.843 | 162227.586 | 311240.6135 | 33.25 | 68.6
56997 | 2021-03-29 12:07 | 45.3416 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.2807 | μmol/L | 30.263 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.845 | 162251.248 | 311239.4468 | 33.25 | 68.6
57007 | 2021-03-29 12:07 | 45.6746 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.3421 | μmol/L | 30.2447 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.848 | 162279.6021 | 311233.6915 | 33.25 | 68.6
57017 | 2021-03-29 12:07 | 46.0084 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.4568 | μmol/L | 30.2081 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.853 | 162291.9266 | 311204.6427 | 33.25 | 68.6
57027 | 2021-03-29 12:08 | 46.3413 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.2506 | μmol/L | 30.2386 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.856 | 162318.4289 | 311213.5151 | 33.25 | 68.6
57037 | 2021-03-29 12:08 | 46.6751 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.0156 | μmol/L | 30.2691 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.861 | 162334.4532 | 311215.004 | 33.25 | 68.6
57047 | 2021-03-29 12:08 | 47.008 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.8133 | μmol/L | 30.2936 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.866 | 162350.0673 | 311190.752 | 33.25 | 68.6
57057 | 2021-03-29 12:09 | 47.3418 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.8816 | μmol/L | 30.2753 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.868 | 162388.3597 | 311202.779 | 33.25 | 68.6
57067 | 2021-03-29 12:09 | 47.6749 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.9532 | μmol/L | 30.2508 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.872 | 162396.5298 | 311194.3733 | 33.25 | 68.6
57077 | 2021-03-29 12:09 | 48.0081 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.8884 | μmol/L | 30.263 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.872 | 162408.9413 | 311187.3537 | 33.25 | 68.6
57087 | 2021-03-29 12:10 | 48.3417 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.8986 | μmol/L | 30.2447 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.878 | 162428.3348 | 311168.8971 | 33.25 | 68.6
57097 | 2021-03-29 12:10 | 48.6745 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.7792 | μmol/L | 30.2508 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.884 | 162469.0111 | 311164.8473 | 33.25 | 68.6
57107 | 2021-03-29 12:10 | 49.0084 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.8687 | μmol/L | 30.2203 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.889 | 162501.7919 | 311165.9998 | 33.25 | 68.6
57117 | 2021-03-29 12:11 | 49.3414 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.8005 | μmol/L | 30.2386 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.887 | 162505.1429 | 311139.9517 | 33.25 | 68.6
57127 | 2021-03-29 12:11 | 49.6746 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.5551 | μmol/L | 30.263 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.895 | 162538.1866 | 311142.7203 | 33.25 | 68.6
57137 | 2021-03-29 12:11 | 50.0085 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.5551 | μmol/L | 30.263 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.895 | 162552.5967 | 311127.7178 | 33.25 | 68.6
57147 | 2021-03-29 12:12 | 50.3414 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.5909 | μmol/L | 30.2508 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.897 | 162574.4854 | 311134.4788 | 33.25 | 68.6
57157 | 2021-03-29 12:12 | 50.6752 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.4104 | μmol/L | 30.263 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.905 | 162602.7511 | 311117.9903 | 33.25 | 68.6
57167 | 2021-03-29 12:12 | 51.0082 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.288 | μmol/L | 30.2753 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.909 | 162635.6768 | 311124.2532 | 33.25 | 68.6
57177 | 2021-03-29 12:13 | 51.3412 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.288 | μmol/L | 30.2753 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.909 | 162661.718 | 311100.4091 | 33.25 | 68.6
57187 | 2021-03-29 12:13 | 51.6749 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.1223 | μmol/L | 30.2875 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.916 | 162694.5097 | 311092.6392 | 33.25 | 68.6
57197 | 2021-03-29 12:13 | 52.0079 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.9712 | μmol/L | 30.2997 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.922 | 162727.0837 | 311086.1056 | 33.25 | 68.6
57207 | 2021-03-29 12:14 | 52.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.9856 | μmol/L | 30.2997 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.921 | 162744.5859 | 311091.6751 | 33.25 | 68.6
57217 | 2021-03-29 12:14 | 52.6748 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.0069 | μmol/L | 30.2875 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.924 | 162766.15 | 311074.0715 | 33.25 | 68.6