## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-29 12:16

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
55639 | 2021-03-29 11:21 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 173.0994 | μmol/L | 29.279 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.593 | 124530.792 | 275682.9865 | 26.25 | 74
55649 | 2021-03-29 11:22 | 0.32944 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 173.0068 | μmol/L | 29.2913 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.595 | 124540.7326 | 275675.5674 | 26.25 | 74
55659 | 2021-03-29 11:22 | 0.66333 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 172.8424 | μmol/L | 29.2974 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.604 | 124602.5305 | 275639.0289 | 26.25 | 74
55669 | 2021-03-29 11:22 | 0.99619 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 172.9893 | μmol/L | 29.2546 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.609 | 124624.919 | 275614.5246 | 26.25 | 74
55679 | 2021-03-29 11:23 | 1.33 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 172.8484 | μmol/L | 29.279 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.61 | 124620.7555 | 275609.3472 | 26.25 | 74
55689 | 2021-03-29 11:23 | 1.6631 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 172.7265 | μmol/L | 29.2913 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.614 | 124647.7026 | 275582.5478 | 26.25 | 74
55699 | 2021-03-29 11:23 | 1.9961 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 172.8732 | μmol/L | 29.2485 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.619 | 124647.9115 | 275570.3264 | 26.25 | 74
55709 | 2021-03-29 11:24 | 2.3299 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 173.1066 | μmol/L | 29.2118 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.616 | 124637.2367 | 275554.7821 | 26.25 | 74
55719 | 2021-03-29 11:24 | 2.6627 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 173.1657 | μmol/L | 29.2118 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.612 | 124610.9202 | 275526.0964 | 26.25 | 74
55729 | 2021-03-29 11:24 | 2.9966 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 173.1696 | μmol/L | 29.1996 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.616 | 124626.8819 | 275510.4046 | 26.25 | 74
55739 | 2021-03-29 11:25 | 3.3295 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 172.957 | μmol/L | 29.2179 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.624 | 124653.6368 | 275494.3318 | 26.25 | 74
55749 | 2021-03-29 11:25 | 3.6626 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 172.7928 | μmol/L | 29.224 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.633 | 124714.6838 | 275473.8881 | 26.25 | 74
55759 | 2021-03-29 11:25 | 3.9965 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 172.6602 | μmol/L | 29.224 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.642 | 124759.4302 | 275449.3341 | 26.25 | 74
55769 | 2021-03-29 11:26 | 4.3294 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 172.6161 | μmol/L | 29.224 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.645 | 124796.1445 | 275448.0645 | 26.25 | 74
55779 | 2021-03-29 11:26 | 4.6632 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 172.4629 | μmol/L | 29.2424 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.649 | 124793.4745 | 275426.8217 | 26.25 | 74
55789 | 2021-03-29 11:26 | 4.9961 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 172.4335 | μmol/L | 29.2424 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.651 | 124776.796 | 275412.2587 | 26.25 | 74
55799 | 2021-03-29 11:27 | 5.33 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 172.6053 | μmol/L | 29.2118 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.65 | 124794.6289 | 275386.3001 | 26.25 | 74
55809 | 2021-03-29 11:27 | 5.6629 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 172.2987 | μmol/L | 29.2057 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.673 | 124861.5153 | 275376.9654 | 26.25 | 74
55819 | 2021-03-29 11:27 | 5.9968 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 171.8154 | μmol/L | 29.2485 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.691 | 124991.75 | 275355.2185 | 26.25 | 74
55829 | 2021-03-29 11:28 | 6.3298 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 171.6793 | μmol/L | 29.2179 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.711 | 125118.1849 | 275338.0898 | 26.25 | 74
55839 | 2021-03-29 11:28 | 6.6629 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 171.4062 | μmol/L | 29.2485 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.719 | 125149.3054 | 275335.1046 | 26.25 | 74
55849 | 2021-03-29 11:28 | 6.9966 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 171.3686 | μmol/L | 29.2301 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.728 | 125201.3747 | 275290.5287 | 26.25 | 74
55859 | 2021-03-29 11:29 | 7.3296 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 171.3937 | μmol/L | 29.2424 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.722 | 125161.7729 | 275292.277 | 26.25 | 74
55869 | 2021-03-29 11:29 | 7.6626 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 171.7001 | μmol/L | 29.1996 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.716 | 125178.8899 | 275284.7414 | 26.25 | 74
55879 | 2021-03-29 11:29 | 7.9965 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 171.7545 | μmol/L | 29.2118 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.708 | 125158.4113 | 275269.467 | 26.25 | 74
55889 | 2021-03-29 11:30 | 8.3297 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 171.6586 | μmol/L | 29.2363 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.706 | 125136.5243 | 275242.6936 | 26.25 | 74
55899 | 2021-03-29 11:30 | 8.6627 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 171.5961 | μmol/L | 29.2485 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.706 | 125167.5294 | 275236.9726 | 26.25 | 74
55909 | 2021-03-29 11:30 | 8.9967 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 171.573 | μmol/L | 29.2301 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.714 | 125172.0116 | 275233.8384 | 26.25 | 74
55919 | 2021-03-29 11:31 | 9.3299 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 171.3479 | μmol/L | 29.2485 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.723 | 125221.8259 | 275191.8481 | 26.25 | 74
55929 | 2021-03-29 11:31 | 9.6629 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 171.0981 | μmol/L | 29.2546 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.738 | 125320.0412 | 275184.2928 | 26.25 | 74
55939 | 2021-03-29 11:31 | 9.9968 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 171.0232 | μmol/L | 29.2607 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.741 | 125370.672 | 275162.6235 | 26.25 | 74
55949 | 2021-03-29 11:32 | 10.3297 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 170.9297 | μmol/L | 29.2363 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.756 | 125469.2388 | 275152.3502 | 26.25 | 74
55959 | 2021-03-29 11:32 | 10.6628 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 170.8819 | μmol/L | 29.2485 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.755 | 125490.2611 | 275139.2092 | 26.25 | 74
55969 | 2021-03-29 11:32 | 10.9965 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 170.8778 | μmol/L | 29.2607 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.751 | 125466.6702 | 275119.2859 | 26.25 | 74
55979 | 2021-03-29 11:33 | 11.3296 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 170.9505 | μmol/L | 29.2607 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.746 | 125434.4957 | 275107.2905 | 26.25 | 74
55989 | 2021-03-29 11:33 | 11.6628 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 171.0503 | μmol/L | 29.2668 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.737 | 125390.3758 | 275099.2902 | 26.25 | 74
55999 | 2021-03-29 11:33 | 11.9967 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 171.096 | μmol/L | 29.2607 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.736 | 125384.2401 | 275068.3652 | 26.25 | 74
56009 | 2021-03-29 11:34 | 12.3296 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 171.1418 | μmol/L | 29.2546 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.735 | 125374.9843 | 275057.856 | 26.25 | 74
56019 | 2021-03-29 11:34 | 12.6627 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 171.0544 | μmol/L | 29.2546 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.741 | 125404.2426 | 275039.4096 | 26.25 | 74
56029 | 2021-03-29 11:34 | 12.9964 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 170.7304 | μmol/L | 29.3096 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.744 | 125427.0341 | 275029.4476 | 26.25 | 74
56039 | 2021-03-29 11:35 | 13.3301 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 170.8197 | μmol/L | 29.3035 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.74 | 125422.2181 | 275007.6989 | 26.25 | 74
56049 | 2021-03-29 11:35 | 13.6629 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 170.7159 | μmol/L | 29.3096 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.745 | 125433.4668 | 274991.492 | 26.25 | 74
56059 | 2021-03-29 11:35 | 13.996 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 170.6868 | μmol/L | 29.3096 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.747 | 125432.7573 | 274989.5657 | 26.25 | 74
56069 | 2021-03-29 11:36 | 14.3298 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 170.5022 | μmol/L | 29.3401 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.749 | 125467.6146 | 274972.168 | 26.25 | 74
56079 | 2021-03-29 11:36 | 14.6628 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 170.4089 | μmol/L | 29.3585 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.749 | 125468.9671 | 274948.6077 | 26.25 | 74
56089 | 2021-03-29 11:36 | 14.9967 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 170.2743 | μmol/L | 29.3707 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.754 | 125486.0809 | 274940.0236 | 26.25 | 74
56099 | 2021-03-29 11:37 | 15.3297 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 170.637 | μmol/L | 29.3279 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.744 | 125471.7722 | 274923.2823 | 26.25 | 74
56109 | 2021-03-29 11:37 | 15.6635 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 170.4793 | μmol/L | 29.3646 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.742 | 125457.4377 | 274911.6321 | 26.25 | 74
56119 | 2021-03-29 11:37 | 15.9965 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 170.5685 | μmol/L | 29.3585 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.738 | 125450.5639 | 274902.1395 | 26.25 | 74
56129 | 2021-03-29 11:38 | 16.3295 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 170.386 | μmol/L | 29.3829 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.742 | 125475.1802 | 274880.497 | 26.25 | 74
56139 | 2021-03-29 11:38 | 16.6632 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 170.119 | μmol/L | 29.4013 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.754 | 125563.0976 | 274872.1289 | 26.25 | 74
56149 | 2021-03-29 11:38 | 16.9964 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 170.1479 | μmol/L | 29.4013 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.752 | 125571.7741 | 274860.0637 | 26.25 | 74
56159 | 2021-03-29 11:39 | 17.3294 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 170.21 | μmol/L | 29.389 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.752 | 125566.2971 | 274846.4406 | 26.25 | 74
56169 | 2021-03-29 11:39 | 17.6634 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 169.9573 | μmol/L | 29.4501 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.748 | 125549.3818 | 274828.7848 | 26.25 | 74
56179 | 2021-03-29 11:39 | 17.9965 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 170.21 | μmol/L | 29.389 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.752 | 125564.9073 | 274824.7375 | 26.25 | 74
56189 | 2021-03-29 11:40 | 18.3298 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 170.0692 | μmol/L | 29.4196 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.751 | 125570.8332 | 274819.3654 | 26.25 | 74
56199 | 2021-03-29 11:40 | 18.6629 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 170.297 | μmol/L | 29.389 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.746 | 125539.0715 | 274794.8553 | 26.25 | 74
56209 | 2021-03-29 11:40 | 18.996 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 170.0441 | μmol/L | 29.4501 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.742 | 125541.9936 | 274796.5411 | 26.25 | 74
56219 | 2021-03-29 11:41 | 19.3293 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 169.8931 | μmol/L | 29.4685 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.746 | 125547.7413 | 274772.1034 | 26.25 | 74
56229 | 2021-03-29 11:41 | 19.6626 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 169.7732 | μmol/L | 29.4807 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.75 | 125560.1625 | 274753.9064 | 26.25 | 74
56239 | 2021-03-29 11:41 | 19.9965 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 169.792 | μmol/L | 29.4685 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.753 | 125605.6335 | 274742.4371 | 26.25 | 74
56249 | 2021-03-29 11:42 | 20.3295 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 169.5215 | μmol/L | 29.499 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.761 | 125675.3458 | 274719.2604 | 26.25 | 74
56259 | 2021-03-29 11:42 | 20.6632 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 169.3694 | μmol/L | 29.4807 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.778 | 125744.7566 | 274715.3718 | 26.25 | 74
56269 | 2021-03-29 11:42 | 20.9965 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 169.1571 | μmol/L | 29.5113 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.782 | 125812.7643 | 274700.6101 | 26.25 | 74
56279 | 2021-03-29 11:43 | 21.3298 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 169.0565 | μmol/L | 29.5113 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.789 | 125833.5474 | 274683.7461 | 26.25 | 74
56289 | 2021-03-29 11:43 | 21.6629 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 168.7398 | μmol/L | 29.554 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.796 | 125882.4152 | 274681.1495 | 26.25 | 74
56299 | 2021-03-29 11:43 | 21.9968 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 168.7872 | μmol/L | 29.5418 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.797 | 125911.31 | 274668.3675 | 26.25 | 74
56309 | 2021-03-29 11:44 | 22.3298 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 168.775 | μmol/L | 29.5357 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.8 | 125925.9578 | 274651.3637 | 26.25 | 74
56319 | 2021-03-29 11:44 | 22.6629 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 168.4257 | μmol/L | 29.5907 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.805 | 125971.5388 | 274653.8755 | 26.25 | 74
56329 | 2021-03-29 11:44 | 22.9966 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 168.3971 | μmol/L | 29.5907 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.807 | 125984.1507 | 274640.4628 | 26.25 | 74
56339 | 2021-03-29 11:45 | 23.3297 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 168.5512 | μmol/L | 29.5602 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.807 | 126035.3961 | 274624.0625 | 26.25 | 74
56349 | 2021-03-29 11:45 | 23.6627 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 168.494 | μmol/L | 29.5602 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.811 | 126109.6135 | 274613.8948 | 26.25 | 74
56359 | 2021-03-29 11:45 | 23.9967 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 168.2519 | μmol/L | 29.5968 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.815 | 126180.4282 | 274614.5826 | 26.25 | 74
56369 | 2021-03-29 11:46 | 24.3297 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 168.1716 | μmol/L | 29.6213 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.812 | 126195.7018 | 274595.9888 | 26.25 | 74
56379 | 2021-03-29 11:46 | 24.663 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 167.9485 | μmol/L | 29.6457 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.819 | 126371.3425 | 274581.454 | 26.25 | 74
56389 | 2021-03-29 11:46 | 24.9961 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 167.9463 | μmol/L | 29.6518 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.817 | 126397.7073 | 274590.6632 | 26.25 | 74
56399 | 2021-03-29 11:47 | 25.3299 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 167.797 | μmol/L | 29.6702 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.821 | 126429.0071 | 274561.3268 | 26.25 | 74
56409 | 2021-03-29 11:47 | 25.6628 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 167.8059 | μmol/L | 29.6457 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.829 | 126452.2081 | 274553.5881 | 26.25 | 74
56419 | 2021-03-29 11:47 | 25.9968 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 167.752 | μmol/L | 29.6763 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.822 | 126452.3329 | 274550.422 | 26.25 | 74
56429 | 2021-03-29 11:48 | 26.33 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 167.6291 | μmol/L | 29.7007 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.822 | 126474.3174 | 274537.03 | 26.25 | 74
56439 | 2021-03-29 11:48 | 26.6629 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 167.4755 | μmol/L | 29.7313 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.822 | 126498.8155 | 274520.9006 | 26.25 | 74
56449 | 2021-03-29 11:48 | 26.9961 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 167.4702 | μmol/L | 29.7068 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.831 | 126546.9116 | 274512.3565 | 26.25 | 74
56459 | 2021-03-29 11:49 | 27.3299 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 167.3969 | μmol/L | 29.7129 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.834 | 126595.0984 | 274493.4552 | 26.25 | 74
56469 | 2021-03-29 11:49 | 27.6628 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 167.3333 | μmol/L | 29.7313 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.832 | 126651.1642 | 274500.0857 | 26.25 | 74
56479 | 2021-03-29 11:49 | 27.9967 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 167.0192 | μmol/L | 29.7741 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.839 | 126711.7399 | 274478.7375 | 26.25 | 74
56489 | 2021-03-29 11:50 | 28.3296 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 167.1299 | μmol/L | 29.7435 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.842 | 126769.7677 | 274475.599 | 26.25 | 74
56499 | 2021-03-29 11:50 | 28.6633 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 166.9415 | μmol/L | 29.7924 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.838 | 126787.1256 | 274469.2097 | 26.25 | 74
56509 | 2021-03-29 11:50 | 28.996 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 166.7906 | μmol/L | 29.8169 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.84 | 126827.7823 | 274435.8514 | 26.25 | 74
56519 | 2021-03-29 11:51 | 29.33 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 166.6139 | μmol/L | 29.8352 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.846 | 126853.1422 | 274450.1051 | 26.25 | 74
56529 | 2021-03-29 11:51 | 29.6629 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 166.7221 | μmol/L | 29.8107 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.847 | 126906.4256 | 274432.0451 | 26.25 | 74
56539 | 2021-03-29 11:51 | 29.996 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 166.7363 | μmol/L | 29.8107 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.846 | 126961.841 | 274433.3058 | 26.25 | 74
56549 | 2021-03-29 11:52 | 30.33 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 166.3127 | μmol/L | 29.8841 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.85 | 127017.9184 | 274411.5591 | 26.25 | 74
56559 | 2021-03-29 11:52 | 30.6633 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 166.141 | μmol/L | 29.8902 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.86 | 127100.7312 | 274409.0361 | 26.25 | 74
56569 | 2021-03-29 11:52 | 30.9962 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 166.2067 | μmol/L | 29.8658 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.864 | 127174.2974 | 274396.7999 | 26.25 | 74
56579 | 2021-03-29 11:53 | 31.3301 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 166.2349 | μmol/L | 29.8658 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.862 | 127227.8033 | 274386.4173 | 26.25 | 74
56589 | 2021-03-29 11:53 | 31.663 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 166.0869 | μmol/L | 29.8841 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.866 | 127351.9076 | 274382.6996 | 26.25 | 74
56599 | 2021-03-29 11:53 | 31.9967 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 165.8921 | μmol/L | 29.9147 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.869 | 127479.0057 | 274367.9251 | 26.25 | 74
56609 | 2021-03-29 11:54 | 32.3298 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 166.0916 | μmol/L | 29.8719 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.87 | 127592.4302 | 274349.352 | 26.25 | 74
56619 | 2021-03-29 11:54 | 32.6628 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 165.8804 | μmol/L | 29.9085 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.872 | 127768.0119 | 274339.5597 | 26.25 | 74
56629 | 2021-03-29 11:54 | 32.9967 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 165.7607 | μmol/L | 29.8902 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.887 | 127879.8986 | 274328.2086 | 26.25 | 74
56639 | 2021-03-29 11:55 | 33.3296 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 165.6389 | μmol/L | 29.9147 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.887 | 128028.5263 | 274332.6971 | 26.25 | 74
56649 | 2021-03-29 11:55 | 33.6628 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 165.2972 | μmol/L | 29.9635 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.894 | 128154.0872 | 274322.389 | 26.25 | 74
56659 | 2021-03-29 11:55 | 33.9965 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 165.323 | μmol/L | 29.933 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.903 | 128250.9868 | 274302.4629 | 26.25 | 74
56669 | 2021-03-29 11:56 | 34.3296 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 165.1267 | μmol/L | 29.9697 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.904 | 128333.2769 | 274288.2379 | 26.25 | 74
56679 | 2021-03-29 11:56 | 34.6627 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 164.9423 | μmol/L | 29.9758 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.915 | 128454.0027 | 274275.0847 | 26.25 | 74
56689 | 2021-03-29 11:56 | 34.9965 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 164.8748 | μmol/L | 29.9697 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.922 | 128582.0275 | 274264.2577 | 26.25 | 74
56699 | 2021-03-29 11:57 | 35.3295 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 164.6721 | μmol/L | 29.988 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.93 | 128693.5194 | 274256.0811 | 26.25 | 74
56709 | 2021-03-29 11:57 | 35.6627 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 164.6513 | μmol/L | 29.9697 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.938 | 128692.0829 | 274236.8759 | 26.25 | 74
56719 | 2021-03-29 11:57 | 35.996 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 164.4513 | μmol/L | 29.9819 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.948 | 128784.9588 | 274234.4952 | 26.25 | 74
56729 | 2021-03-29 11:58 | 36.3297 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 164.5329 | μmol/L | 29.9513 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.953 | 128906.043 | 274221.5081 | 26.25 | 74
56739 | 2021-03-29 11:58 | 36.6628 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 164.3355 | μmol/L | 29.9574 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.965 | 129048.2053 | 274199.1296 | 26.25 | 74
56749 | 2021-03-29 11:58 | 36.9967 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 164.0501 | μmol/L | 29.9758 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.979 | 129197.2636 | 274209.7698 | 26.25 | 74
56759 | 2021-03-29 11:59 | 37.3296 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 163.784 | μmol/L | 29.9819 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.996 | 129348.0973 | 274199.8757 | 26.25 | 74
56769 | 2021-03-29 11:59 | 37.6627 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 163.7448 | μmol/L | 29.9758 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.001 | 129091.2641 | 274191.4878 | 26.25 | 74
56779 | 2021-03-29 11:59 | 37.9962 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 163.5413 | μmol/L | 30.0002 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.007 | 129034.2776 | 274196.0144 | 26.25 | 74
56789 | 2021-03-29 12:00 | 38.3301 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 163.5136 | μmol/L | 30.0002 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.009 | 129012.5109 | 274180.5546 | 26.25 | 74
56799 | 2021-03-29 12:00 | 38.6631 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 163.625 | μmol/L | 29.9635 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.014 | 128982.7105 | 274168.9288 | 26.25 | 74
56809 | 2021-03-29 12:00 | 38.9962 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 163.8056 | μmol/L | 29.9269 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.014 | 128955.1702 | 274162.333 | 26.25 | 74
56819 | 2021-03-29 12:01 | 39.3293 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 163.4565 | μmol/L | 29.9697 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.024 | 128977.7085 | 274156.5787 | 26.25 | 74
56829 | 2021-03-29 12:01 | 39.6633 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 163.2598 | μmol/L | 30.0124 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.023 | 128971.3868 | 274142.7745 | 26.25 | 74
56839 | 2021-03-29 12:01 | 39.9965 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 162.9765 | μmol/L | 30.0308 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.037 | 128998.1261 | 274126.6124 | 26.25 | 74
56849 | 2021-03-29 12:02 | 40.3296 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 162.735 | μmol/L | 30.0491 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.048 | 129072.4861 | 274132.0062 | 26.25 | 74
56859 | 2021-03-29 12:02 | 40.6634 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 162.5498 | μmol/L | 30.0308 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.068 | 129205.0866 | 274122.3637 | 26.25 | 74
56869 | 2021-03-29 12:02 | 40.9962 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 162.3449 | μmol/L | 29.9941 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.096 | 129674.9776 | 274110.8898 | 26.25 | 74
56879 | 2021-03-29 12:03 | 41.3293 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 162.2116 | μmol/L | 30.0186 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.097 | 129743.6183 | 274103.6517 | 26.25 | 74
56889 | 2021-03-29 12:03 | 41.6632 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 162.4071 | μmol/L | 29.9758 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.098 | 129777.6807 | 274105.335 | 26.25 | 74
56899 | 2021-03-29 12:03 | 41.9962 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 162.1417 | μmol/L | 29.988 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.113 | 129852.2533 | 274087.4087 | 26.25 | 74
56909 | 2021-03-29 12:04 | 42.3295 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 161.8943 | μmol/L | 30.0247 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.118 | 129898.7798 | 274079.57 | 26.25 | 74
56919 | 2021-03-29 12:04 | 42.6632 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 161.8011 | μmol/L | 30.0186 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.127 | 129952.9245 | 274063.6499 | 26.25 | 74
56929 | 2021-03-29 12:04 | 42.9963 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 161.3312 | μmol/L | 30.0675 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.144 | 130026.6581 | 274061.0276 | 26.25 | 74
56939 | 2021-03-29 12:05 | 43.3294 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 161.0641 | μmol/L | 30.0552 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.168 | 130202.1132 | 274062.5177 | 26.25 | 74
56949 | 2021-03-29 12:05 | 43.6631 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.9629 | μmol/L | 30.0369 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.182 | 130283.7879 | 274061.7897 | 26.25 | 74
56959 | 2021-03-29 12:05 | 43.996 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.5758 | μmol/L | 30.0552 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.204 | 130400.9749 | 274043.7783 | 26.25 | 74
56969 | 2021-03-29 12:06 | 44.3293 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.6781 | μmol/L | 30.0369 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.203 | 130389.0268 | 274024.5318 | 26.25 | 74
56979 | 2021-03-29 12:06 | 44.6633 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 161.005 | μmol/L | 30.0002 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.192 | 130304.3391 | 274047.4358 | 26.25 | 74
56989 | 2021-03-29 12:06 | 44.9962 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.9307 | μmol/L | 30.0491 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.18 | 130222.0497 | 274015.4692 | 26.25 | 74
56999 | 2021-03-29 12:07 | 45.3293 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 161.1594 | μmol/L | 29.988 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.185 | 130246.4234 | 274016.597 | 26.25 | 74
57009 | 2021-03-29 12:07 | 45.6633 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.9249 | μmol/L | 29.9635 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.211 | 130356.059 | 274011.2421 | 26.25 | 74
57019 | 2021-03-29 12:07 | 45.9964 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.2318 | μmol/L | 30.0369 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.236 | 130557.5466 | 274016.8778 | 26.25 | 74
57029 | 2021-03-29 12:08 | 46.3301 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.9082 | μmol/L | 30.0369 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.26 | 130687.3308 | 274004.3837 | 26.25 | 74
57039 | 2021-03-29 12:08 | 46.6634 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.8619 | μmol/L | 30.0186 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.27 | 130748.1236 | 273987.1726 | 26.25 | 74
57049 | 2021-03-29 12:08 | 46.9964 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.9486 | μmol/L | 30.0369 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.257 | 130682.3432 | 273994.1185 | 26.25 | 74
57059 | 2021-03-29 12:09 | 47.3295 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.2098 | μmol/L | 30.0247 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.242 | 130556.1135 | 273983.9948 | 26.25 | 74
57069 | 2021-03-29 12:09 | 47.6626 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.7622 | μmol/L | 29.9635 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.223 | 130378.7111 | 273972.8235 | 26.25 | 74
57079 | 2021-03-29 12:09 | 47.9964 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.9878 | μmol/L | 29.9758 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.202 | 130232.8693 | 273965.9318 | 26.25 | 74
57089 | 2021-03-29 12:10 | 48.3295 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.8582 | μmol/L | 29.9941 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.205 | 130290.0276 | 273976.8286 | 26.25 | 74
57099 | 2021-03-29 12:10 | 48.6634 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 161.0692 | μmol/L | 29.9758 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.196 | 130335.0287 | 273944.5282 | 26.25 | 74
57109 | 2021-03-29 12:10 | 48.9965 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.7879 | μmol/L | 30.0002 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.208 | 130462.514 | 273953.156 | 26.25 | 74
57119 | 2021-03-29 12:11 | 49.3296 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.3559 | μmol/L | 30.0308 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.229 | 130354.8318 | 273955.0071 | 26.25 | 74
57129 | 2021-03-29 12:11 | 49.6632 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.1794 | μmol/L | 30.0002 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.253 | 130557.4089 | 273937.6125 | 26.25 | 74
57139 | 2021-03-29 12:11 | 49.9965 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.9132 | μmol/L | 30.0247 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.264 | 130645.5467 | 273940.9577 | 26.25 | 74
57149 | 2021-03-29 12:12 | 50.3294 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.3033 | μmol/L | 29.9941 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.246 | 130628.7435 | 273939.497 | 26.25 | 74
57159 | 2021-03-29 12:12 | 50.6631 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.4264 | μmol/L | 29.9574 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.25 | 130812.7145 | 273931.9236 | 26.25 | 74
57169 | 2021-03-29 12:12 | 50.9962 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.0345 | μmol/L | 30.0247 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.255 | 130941.2399 | 273921.3026 | 26.25 | 74
57179 | 2021-03-29 12:13 | 51.33 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.1499 | μmol/L | 30.0063 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.253 | 131024.9756 | 273920.8569 | 26.25 | 74
57189 | 2021-03-29 12:13 | 51.6632 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.2838 | μmol/L | 29.9758 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.254 | 131113.0126 | 273909.7576 | 26.25 | 74
57199 | 2021-03-29 12:13 | 51.9961 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.9511 | μmol/L | 30.0308 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.259 | 131178.8681 | 273913.5072 | 26.25 | 74
57209 | 2021-03-29 12:14 | 52.33 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.8105 | μmol/L | 30.0124 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.276 | 131277.6444 | 273898.2748 | 26.25 | 74
57218 | 2021-03-29 12:14 | 52.6628 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.8988 | μmol/L | 29.9941 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.276 | 131322.9561 | 273899.205 | 26.25 | 74