## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-29 12:16

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
55641 | 2021-03-29 11:21 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.908 | μmol/L | 29.3363 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.832 | 149084.583 | 275248.6467 | 32.55 | 27.7
55651 | 2021-03-29 11:22 | 0.33684 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.7603 | μmol/L | 29.3548 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.835 | 149036.2545 | 275190.003 | 32.55 | 27.7
55661 | 2021-03-29 11:22 | 0.67021 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.8588 | μmol/L | 29.3425 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.833 | 149028.7217 | 275154.9266 | 32.55 | 27.7
55671 | 2021-03-29 11:22 | 1.0032 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.8494 | μmol/L | 29.3179 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.842 | 149032.0895 | 275134.773 | 32.55 | 27.7
55681 | 2021-03-29 11:23 | 1.3362 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.7766 | μmol/L | 29.2934 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.855 | 149106.6738 | 275095.4593 | 32.55 | 27.7
55691 | 2021-03-29 11:23 | 1.6699 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.5607 | μmol/L | 29.3302 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.856 | 149114.7401 | 275080.5478 | 32.55 | 27.7
55701 | 2021-03-29 11:23 | 2.003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.5782 | μmol/L | 29.3241 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.857 | 149111.943 | 275070.3028 | 32.55 | 27.7
55711 | 2021-03-29 11:24 | 2.3361 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.5132 | μmol/L | 29.3302 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.859 | 149111.3082 | 275038.4899 | 32.55 | 27.7
55721 | 2021-03-29 11:24 | 2.67 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.3533 | μmol/L | 29.3363 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.867 | 149147.3036 | 275022.4272 | 32.55 | 27.7
55731 | 2021-03-29 11:24 | 3.0028 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.7038 | μmol/L | 29.2689 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.868 | 149120.8818 | 274995.347 | 32.55 | 27.7
55741 | 2021-03-29 11:25 | 3.3366 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.3566 | μmol/L | 29.3241 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.871 | 149100.4089 | 274983.5973 | 32.55 | 27.7
55751 | 2021-03-29 11:25 | 3.6696 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.5198 | μmol/L | 29.3057 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.867 | 149070.376 | 274952.3183 | 32.55 | 27.7
55761 | 2021-03-29 11:25 | 4.0032 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.6372 | μmol/L | 29.2811 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.868 | 149064.0113 | 274942.0922 | 32.55 | 27.7
55771 | 2021-03-29 11:26 | 4.3363 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.5307 | μmol/L | 29.3241 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.86 | 148998.8064 | 274914.4287 | 32.55 | 27.7
55781 | 2021-03-29 11:26 | 4.6701 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.1378 | μmol/L | 29.3732 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.868 | 149008.1669 | 274914.8451 | 32.55 | 27.7
55791 | 2021-03-29 11:26 | 5.0031 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.9923 | μmol/L | 29.3854 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.873 | 149035.3574 | 274892.5671 | 32.55 | 27.7
55801 | 2021-03-29 11:27 | 5.3369 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.0272 | μmol/L | 29.3732 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.875 | 149038.2574 | 274868.5067 | 32.55 | 27.7
55811 | 2021-03-29 11:27 | 5.67 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.0688 | μmol/L | 29.3363 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.885 | 149082.1156 | 274867.3866 | 32.55 | 27.7
55821 | 2021-03-29 11:27 | 6.003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.2051 | μmol/L | 29.2995 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.889 | 149109.1507 | 274846.7491 | 32.55 | 27.7
55831 | 2021-03-29 11:28 | 6.3367 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.7466 | μmol/L | 29.3609 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.897 | 149125.4899 | 274839.1782 | 32.55 | 27.7
55841 | 2021-03-29 11:28 | 6.6698 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.7292 | μmol/L | 29.367 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.896 | 149133.9351 | 274810.7787 | 32.55 | 27.7
55851 | 2021-03-29 11:28 | 7.0028 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.6853 | μmol/L | 29.3548 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.903 | 149162.4279 | 274817.3096 | 32.55 | 27.7
55861 | 2021-03-29 11:29 | 7.3366 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.6032 | μmol/L | 29.367 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.904 | 149182.2535 | 274799.1556 | 32.55 | 27.7
55871 | 2021-03-29 11:29 | 7.6695 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.1725 | μmol/L | 29.2443 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.91 | 149207.6407 | 274795.1871 | 32.55 | 27.7
55881 | 2021-03-29 11:29 | 8.0028 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.692 | μmol/L | 29.3302 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.911 | 149216.2609 | 274795.8777 | 32.55 | 27.7
55891 | 2021-03-29 11:30 | 8.3366 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.0255 | μmol/L | 29.2627 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.913 | 149218.0321 | 274769.5461 | 32.55 | 27.7
55901 | 2021-03-29 11:30 | 8.6696 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.0081 | μmol/L | 29.2689 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.912 | 149196.0748 | 274748.0471 | 32.55 | 27.7
55911 | 2021-03-29 11:30 | 9.0033 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.465 | μmol/L | 29.3548 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.917 | 149210.0713 | 274731.7013 | 32.55 | 27.7
55921 | 2021-03-29 11:31 | 9.3365 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.2505 | μmol/L | 29.3916 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.918 | 149219.0451 | 274725.5535 | 32.55 | 27.7
55931 | 2021-03-29 11:31 | 9.6695 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.0448 | μmol/L | 29.3977 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.929 | 149263.2994 | 274714.4376 | 32.55 | 27.7
55941 | 2021-03-29 11:31 | 10.0033 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.0622 | μmol/L | 29.3916 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.93 | 149299.0624 | 274703.9063 | 32.55 | 27.7
55951 | 2021-03-29 11:32 | 10.3363 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.3651 | μmol/L | 29.3179 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.936 | 149348.1948 | 274695.8328 | 32.55 | 27.7
55961 | 2021-03-29 11:32 | 10.6694 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.1402 | μmol/L | 29.3363 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.944 | 149483.4294 | 274678.4676 | 32.55 | 27.7
55971 | 2021-03-29 11:32 | 11.0033 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.7644 | μmol/L | 29.3916 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.949 | 149482.098 | 274662.9046 | 32.55 | 27.7
55981 | 2021-03-29 11:33 | 11.3363 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.0219 | μmol/L | 29.367 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.941 | 149437.4218 | 274653.0325 | 32.55 | 27.7
55991 | 2021-03-29 11:33 | 11.6702 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.9698 | μmol/L | 29.3854 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.938 | 149393.5054 | 274631.0554 | 32.55 | 27.7
56001 | 2021-03-29 11:33 | 12.0033 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.7071 | μmol/L | 29.4284 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.94 | 149394.2358 | 274628.8412 | 32.55 | 27.7
56011 | 2021-03-29 11:34 | 12.3362 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.7228 | μmol/L | 29.4284 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.939 | 149374.1303 | 274601.4828 | 32.55 | 27.7
56021 | 2021-03-29 11:34 | 12.6702 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.8393 | μmol/L | 29.4038 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.94 | 149385.1213 | 274597.534 | 32.55 | 27.7
56031 | 2021-03-29 11:34 | 13.0034 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.7767 | μmol/L | 29.4038 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.944 | 149393.7757 | 274585.8833 | 32.55 | 27.7
56041 | 2021-03-29 11:35 | 13.3364 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.8863 | μmol/L | 29.4038 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.937 | 149359.0261 | 274579.7039 | 32.55 | 27.7
56051 | 2021-03-29 11:35 | 13.6695 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.5785 | μmol/L | 29.4406 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.944 | 149367.5921 | 274562.3664 | 32.55 | 27.7
56061 | 2021-03-29 11:35 | 14.0034 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.6654 | μmol/L | 29.41 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.949 | 149405.006 | 274567.1392 | 32.55 | 27.7
56071 | 2021-03-29 11:36 | 14.3364 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.7331 | μmol/L | 29.3916 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.951 | 149440.0633 | 274542.5875 | 32.55 | 27.7
56081 | 2021-03-29 11:36 | 14.6694 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.3927 | μmol/L | 29.4345 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.958 | 149480.6468 | 274530.7748 | 32.55 | 27.7
56091 | 2021-03-29 11:36 | 15.0034 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.2487 | μmol/L | 29.4468 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.963 | 149525.1222 | 274520.2046 | 32.55 | 27.7
56101 | 2021-03-29 11:37 | 15.3363 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.4656 | μmol/L | 29.3977 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.966 | 149561.5068 | 274515.3852 | 32.55 | 27.7
56111 | 2021-03-29 11:37 | 15.6696 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.0287 | μmol/L | 29.4529 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.975 | 149611.3029 | 274505.2866 | 32.55 | 27.7
56121 | 2021-03-29 11:37 | 16.0028 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.0616 | μmol/L | 29.4468 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.975 | 149598.6858 | 274495.2107 | 32.55 | 27.7
56131 | 2021-03-29 11:38 | 16.3366 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.57 | μmol/L | 29.5327 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.977 | 149614.919 | 274474.1072 | 32.55 | 27.7
56141 | 2021-03-29 11:38 | 16.6695 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.769 | μmol/L | 29.4897 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.979 | 149633.0864 | 274465.6194 | 32.55 | 27.7
56151 | 2021-03-29 11:38 | 17.0034 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.9006 | μmol/L | 29.4652 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.979 | 149647.1553 | 274471.6557 | 32.55 | 27.7
56161 | 2021-03-29 11:39 | 17.3365 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.601 | μmol/L | 29.5327 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.975 | 149610.0061 | 274447.274 | 32.55 | 27.7
56171 | 2021-03-29 11:39 | 17.6697 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.2952 | μmol/L | 29.5695 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.982 | 149636.375 | 274433.4615 | 32.55 | 27.7
56181 | 2021-03-29 11:39 | 18.0036 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.4421 | μmol/L | 29.5449 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.981 | 149655.6297 | 274436.943 | 32.55 | 27.7
56191 | 2021-03-29 11:40 | 18.3367 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.5132 | μmol/L | 29.5143 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.987 | 149683.9849 | 274414.492 | 32.55 | 27.7
56201 | 2021-03-29 11:40 | 18.6696 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.4994 | μmol/L | 29.5081 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.99 | 149726.4587 | 274418.2431 | 32.55 | 27.7
56211 | 2021-03-29 11:40 | 19.0034 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.3269 | μmol/L | 29.5143 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.999 | 149783.3763 | 274410.9453 | 32.55 | 27.7
56221 | 2021-03-29 11:41 | 19.3366 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.0526 | μmol/L | 29.5511 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.004 | 149835.4513 | 274385.0332 | 32.55 | 27.7
56231 | 2021-03-29 11:41 | 19.6699 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.0872 | μmol/L | 29.5388 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.006 | 149850.853 | 274390.1812 | 32.55 | 27.7
56241 | 2021-03-29 11:41 | 20.003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.039 | μmol/L | 29.5449 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.007 | 149866.6087 | 274377.3818 | 32.55 | 27.7
56251 | 2021-03-29 11:42 | 20.3361 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.8114 | μmol/L | 29.5817 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.009 | 149879.7232 | 274366.8996 | 32.55 | 27.7
56261 | 2021-03-29 11:42 | 20.6699 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.6514 | μmol/L | 29.6001 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.013 | 149899.5417 | 274364.309 | 32.55 | 27.7
56271 | 2021-03-29 11:42 | 21.003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.5742 | μmol/L | 29.6001 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.018 | 149943.7753 | 274346.8766 | 32.55 | 27.7
56281 | 2021-03-29 11:43 | 21.3364 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.4162 | μmol/L | 29.6124 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.024 | 149979.3967 | 274349.9558 | 32.55 | 27.7
56291 | 2021-03-29 11:43 | 21.6695 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.0586 | μmol/L | 29.6738 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.026 | 150016.8261 | 274328.7278 | 32.55 | 27.7
56301 | 2021-03-29 11:43 | 22.0033 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.1221 | μmol/L | 29.6676 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.024 | 149995.4793 | 274312.9517 | 32.55 | 27.7
56311 | 2021-03-29 11:44 | 22.3362 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.0358 | μmol/L | 29.6983 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.019 | 149986.083 | 274321.3676 | 32.55 | 27.7
56321 | 2021-03-29 11:44 | 22.67 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.8725 | μmol/L | 29.729 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.019 | 149990.146 | 274306.127 | 32.55 | 27.7
56331 | 2021-03-29 11:44 | 23.003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.8571 | μmol/L | 29.729 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.02 | 149969.7483 | 274288.6907 | 32.55 | 27.7
56341 | 2021-03-29 11:45 | 23.3368 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.7862 | μmol/L | 29.7597 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.014 | 149966.8454 | 274296.3268 | 32.55 | 27.7
56351 | 2021-03-29 11:45 | 23.67 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.8207 | μmol/L | 29.7474 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.016 | 149990.2914 | 274288.2285 | 32.55 | 27.7
56361 | 2021-03-29 11:45 | 24.003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.7266 | μmol/L | 29.7535 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.02 | 150021.1944 | 274278.4676 | 32.55 | 27.7
56371 | 2021-03-29 11:46 | 24.3369 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.5846 | μmol/L | 29.7658 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.025 | 150051.1195 | 274267.1109 | 32.55 | 27.7
56381 | 2021-03-29 11:46 | 24.6694 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.4561 | μmol/L | 29.7842 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.027 | 150061.6818 | 274252.4389 | 32.55 | 27.7
56391 | 2021-03-29 11:46 | 25.0032 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.3717 | μmol/L | 29.8088 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.024 | 150042.7928 | 274240.3107 | 32.55 | 27.7
56401 | 2021-03-29 11:47 | 25.3361 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.3181 | μmol/L | 29.8333 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.019 | 150031.725 | 274238.1029 | 32.55 | 27.7
56411 | 2021-03-29 11:47 | 25.67 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.2701 | μmol/L | 29.8394 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.02 | 150070.5162 | 274229.5695 | 32.55 | 27.7
56421 | 2021-03-29 11:47 | 26.0031 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.159 | μmol/L | 29.8517 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.023 | 150068.0346 | 274214.9572 | 32.55 | 27.7
56431 | 2021-03-29 11:48 | 26.3368 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.0786 | μmol/L | 29.864 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.024 | 150088.5449 | 274210.114 | 32.55 | 27.7
56441 | 2021-03-29 11:48 | 26.6699 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.9197 | μmol/L | 29.8824 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.028 | 150133.5448 | 274219.5928 | 32.55 | 27.7
56451 | 2021-03-29 11:48 | 27.0032 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.7877 | μmol/L | 29.9131 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.026 | 150151.1727 | 274209.7247 | 32.55 | 27.7
56461 | 2021-03-29 11:49 | 27.3362 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.7877 | μmol/L | 29.9131 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.026 | 150156.3244 | 274200.6293 | 32.55 | 27.7
56471 | 2021-03-29 11:49 | 27.6694 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.7857 | μmol/L | 29.9192 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.024 | 150166.7562 | 274192.0271 | 32.55 | 27.7
56481 | 2021-03-29 11:49 | 28.0028 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.7226 | μmol/L | 29.9253 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.026 | 150166.5521 | 274176.8115 | 32.55 | 27.7
56491 | 2021-03-29 11:50 | 28.3366 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.7187 | μmol/L | 29.9376 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.022 | 150163.7715 | 274180.5252 | 32.55 | 27.7
56501 | 2021-03-29 11:50 | 28.6696 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.6881 | μmol/L | 29.9376 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.024 | 150169.3228 | 274163.8796 | 32.55 | 27.7
56511 | 2021-03-29 11:50 | 29.0032 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.5448 | μmol/L | 29.956 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.027 | 150177.3545 | 274167.8571 | 32.55 | 27.7
56521 | 2021-03-29 11:51 | 29.3362 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.4281 | μmol/L | 29.9867 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.024 | 150186.4913 | 274156.5076 | 32.55 | 27.7
56531 | 2021-03-29 11:51 | 29.67 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.4778 | μmol/L | 29.9744 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.025 | 150197.8397 | 274160.1035 | 32.55 | 27.7
56541 | 2021-03-29 11:51 | 30.003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.2677 | μmol/L | 30.0112 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.026 | 150205.363 | 274146.3677 | 32.55 | 27.7
56551 | 2021-03-29 11:52 | 30.3367 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.2047 | μmol/L | 30.0174 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.028 | 150224.2052 | 274134.8833 | 32.55 | 27.7
56561 | 2021-03-29 11:52 | 30.6697 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.1053 | μmol/L | 30.0419 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.026 | 150235.4866 | 274117.8264 | 32.55 | 27.7
56571 | 2021-03-29 11:52 | 31.0036 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.01 | μmol/L | 30.0542 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.028 | 150257.6197 | 274116.4275 | 32.55 | 27.7
56581 | 2021-03-29 11:53 | 31.3366 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.0292 | μmol/L | 30.0419 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.031 | 150276.857 | 274106.1638 | 32.55 | 27.7
56591 | 2021-03-29 11:53 | 31.6696 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.8214 | μmol/L | 30.0726 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.034 | 150299.8174 | 274094.3883 | 32.55 | 27.7
56601 | 2021-03-29 11:53 | 32.0033 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.7303 | μmol/L | 30.0726 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.04 | 150355.8489 | 274088.6701 | 32.55 | 27.7
56611 | 2021-03-29 11:54 | 32.3366 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.8083 | μmol/L | 30.0665 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.037 | 150333.5 | 274086.9282 | 32.55 | 27.7
56621 | 2021-03-29 11:54 | 32.6695 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.7414 | μmol/L | 30.0849 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.035 | 150310.4517 | 274078.101 | 32.55 | 27.7
56631 | 2021-03-29 11:54 | 33.0033 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.6938 | μmol/L | 30.091 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.036 | 150336.2461 | 274090.5908 | 32.55 | 27.7
56641 | 2021-03-29 11:55 | 33.3365 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.7364 | μmol/L | 30.0542 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.046 | 150403.4455 | 274073.3142 | 32.55 | 27.7
56651 | 2021-03-29 11:55 | 33.6696 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.5936 | μmol/L | 30.0726 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.049 | 150458.6698 | 274060.9078 | 32.55 | 27.7
56661 | 2021-03-29 11:55 | 34.0034 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.4703 | μmol/L | 30.0787 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.055 | 150518.7754 | 274033.5865 | 32.55 | 27.7
56671 | 2021-03-29 11:56 | 34.3363 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.3147 | μmol/L | 30.091 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.061 | 150528.6234 | 274029.6633 | 32.55 | 27.7
56681 | 2021-03-29 11:56 | 34.6702 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.5087 | μmol/L | 30.0542 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.061 | 150538.7187 | 274035.1781 | 32.55 | 27.7
56691 | 2021-03-29 11:56 | 35.003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.0602 | μmol/L | 30.1278 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.065 | 150568.2864 | 274027.5174 | 32.55 | 27.7
56701 | 2021-03-29 11:57 | 35.3368 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.4501 | μmol/L | 30.048 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.067 | 150606.5596 | 274016.2666 | 32.55 | 27.7
56711 | 2021-03-29 11:57 | 35.6701 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.1977 | μmol/L | 30.0787 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.073 | 150653.856 | 274000.3088 | 32.55 | 27.7
56721 | 2021-03-29 11:57 | 36.003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 174.8617 | μmol/L | 30.1339 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.076 | 150669.7148 | 274004.732 | 32.55 | 27.7
56731 | 2021-03-29 11:58 | 36.3367 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.0987 | μmol/L | 30.1033 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.071 | 150610.0429 | 273984.0933 | 32.55 | 27.7
56741 | 2021-03-29 11:58 | 36.6695 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.1915 | μmol/L | 30.0971 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.067 | 150594.0096 | 273994.984 | 32.55 | 27.7
56751 | 2021-03-29 11:58 | 37.0033 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 174.92 | μmol/L | 30.1401 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.07 | 150619.2275 | 273980.0632 | 32.55 | 27.7
56761 | 2021-03-29 11:59 | 37.3363 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.0794 | μmol/L | 30.1155 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.068 | 150598.2358 | 273983.7 | 32.55 | 27.7
56771 | 2021-03-29 11:59 | 37.6701 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 174.7201 | μmol/L | 30.1953 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.064 | 150552.869 | 273968.8429 | 32.55 | 27.7
56781 | 2021-03-29 11:59 | 38.0028 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.25 | μmol/L | 30.1033 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.061 | 150535.0148 | 273970.4386 | 32.55 | 27.7
56791 | 2021-03-29 12:00 | 38.3362 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 174.7545 | μmol/L | 30.183 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.066 | 150546.1594 | 273954.2621 | 32.55 | 27.7
56801 | 2021-03-29 12:00 | 38.6699 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 174.819 | μmol/L | 30.1708 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.066 | 150569.2677 | 273950.7202 | 32.55 | 27.7
56811 | 2021-03-29 12:00 | 39.0032 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 174.9695 | μmol/L | 30.1278 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.071 | 150587.556 | 273941.7653 | 32.55 | 27.7
56821 | 2021-03-29 12:01 | 39.3363 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.2754 | μmol/L | 30.0726 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.07 | 150601.1989 | 273927.318 | 32.55 | 27.7
56831 | 2021-03-29 12:01 | 39.6702 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 174.6832 | μmol/L | 30.1708 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.075 | 150629.3591 | 273916.6081 | 32.55 | 27.7
56841 | 2021-03-29 12:01 | 40.0033 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 174.666 | μmol/L | 30.1769 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.074 | 150593.5965 | 273914.4845 | 32.55 | 27.7
56851 | 2021-03-29 12:02 | 40.3369 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 174.8555 | μmol/L | 30.1524 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.07 | 150561.6353 | 273910.1168 | 32.55 | 27.7
56861 | 2021-03-29 12:02 | 40.6699 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.0279 | μmol/L | 30.1339 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.065 | 150555.2666 | 273920.8298 | 32.55 | 27.7
56871 | 2021-03-29 12:02 | 41.0028 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 174.7586 | μmol/L | 30.1708 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.07 | 150557.212 | 273891.6471 | 32.55 | 27.7
56881 | 2021-03-29 12:03 | 41.3367 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 174.4553 | μmol/L | 30.2199 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.073 | 150570.9222 | 273894.761 | 32.55 | 27.7
56891 | 2021-03-29 12:03 | 41.6698 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 174.5002 | μmol/L | 30.1769 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.085 | 150634.3568 | 273880.9679 | 32.55 | 27.7
56901 | 2021-03-29 12:03 | 42.0029 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 174.4508 | μmol/L | 30.1892 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.084 | 150674.3683 | 273872.759 | 32.55 | 27.7
56911 | 2021-03-29 12:04 | 42.3368 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 174.2037 | μmol/L | 30.2076 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.094 | 150712.0546 | 273865.4859 | 32.55 | 27.7
56921 | 2021-03-29 12:04 | 42.6697 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 174.0684 | μmol/L | 30.2076 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.103 | 150773.6134 | 273868.0733 | 32.55 | 27.7
56931 | 2021-03-29 12:04 | 43.0034 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 174.066 | μmol/L | 30.1708 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.116 | 150875.7386 | 273866.334 | 32.55 | 27.7
56941 | 2021-03-29 12:05 | 43.3365 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 173.6933 | μmol/L | 30.2076 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.128 | 150945.6392 | 273860.3249 | 32.55 | 27.7
56951 | 2021-03-29 12:05 | 43.6701 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 173.7297 | μmol/L | 30.1892 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.132 | 150997.4904 | 273868.7789 | 32.55 | 27.7
56961 | 2021-03-29 12:05 | 44.003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 173.7574 | μmol/L | 30.1524 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.143 | 151079.7411 | 273869.6143 | 32.55 | 27.7
56971 | 2021-03-29 12:06 | 44.3369 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 173.7487 | μmol/L | 30.1339 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.15 | 151107.3196 | 273846.0448 | 32.55 | 27.7
56981 | 2021-03-29 12:06 | 44.67 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 173.6247 | μmol/L | 30.1462 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.154 | 151140.0944 | 273829.8259 | 32.55 | 27.7
56991 | 2021-03-29 12:06 | 45.0028 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 173.6332 | μmol/L | 30.1217 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.162 | 151191.1236 | 273836.1613 | 32.55 | 27.7
57001 | 2021-03-29 12:07 | 45.3366 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 173.4943 | μmol/L | 30.1339 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.167 | 151237.7375 | 273830.1312 | 32.55 | 27.7
57011 | 2021-03-29 12:07 | 45.6696 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 173.3428 | μmol/L | 30.1401 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.175 | 151281.8128 | 273844.2253 | 32.55 | 27.7
57021 | 2021-03-29 12:07 | 46.0035 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 173.4708 | μmol/L | 30.1155 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.175 | 151304.1284 | 273830.2684 | 32.55 | 27.7
57031 | 2021-03-29 12:08 | 46.3364 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 173.5262 | μmol/L | 30.0849 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.182 | 151322.2018 | 273814.2934 | 32.55 | 27.7
57041 | 2021-03-29 12:08 | 46.6695 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 173.1509 | μmol/L | 30.1339 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.19 | 151357.7634 | 273804.0818 | 32.55 | 27.7
57051 | 2021-03-29 12:08 | 47.0032 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 173.1168 | μmol/L | 30.1462 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.188 | 151365.0488 | 273812.7554 | 32.55 | 27.7
57061 | 2021-03-29 12:09 | 47.3362 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 172.9123 | μmol/L | 30.1769 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.191 | 151366.3497 | 273790.8181 | 32.55 | 27.7
57071 | 2021-03-29 12:09 | 47.6694 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 172.8187 | μmol/L | 30.1892 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.193 | 151397.3683 | 273794.3648 | 32.55 | 27.7
57081 | 2021-03-29 12:09 | 48.003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 173.1082 | μmol/L | 30.1278 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.195 | 151392.5276 | 273790.3463 | 32.55 | 27.7
57091 | 2021-03-29 12:10 | 48.3368 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 172.889 | μmol/L | 30.1585 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.199 | 151421.8878 | 273797.7274 | 32.55 | 27.7
57101 | 2021-03-29 12:10 | 48.67 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 172.8251 | μmol/L | 30.1708 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.199 | 151426.844 | 273786.6219 | 32.55 | 27.7
57111 | 2021-03-29 12:10 | 49.0031 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 173.0529 | μmol/L | 30.1155 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.203 | 151444.9756 | 273783.6419 | 32.55 | 27.7
57121 | 2021-03-29 12:11 | 49.3363 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 172.7083 | μmol/L | 30.1646 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.209 | 151480.4723 | 273778.16 | 32.55 | 27.7
57131 | 2021-03-29 12:11 | 49.67 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 172.7934 | μmol/L | 30.1339 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.214 | 151513.2938 | 273777.6286 | 32.55 | 27.7
57141 | 2021-03-29 12:11 | 50.0029 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 173.1423 | μmol/L | 30.0726 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.212 | 151517.3524 | 273778.2594 | 32.55 | 27.7
57151 | 2021-03-29 12:12 | 50.3362 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 172.6871 | μmol/L | 30.1401 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.219 | 151525.474 | 273768.9691 | 32.55 | 27.7
57161 | 2021-03-29 12:12 | 50.6701 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 172.4322 | μmol/L | 30.1892 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.219 | 151522.355 | 273785.3274 | 32.55 | 27.7
57171 | 2021-03-29 12:12 | 51.0031 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 172.4003 | μmol/L | 30.1953 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.219 | 151525.0907 | 273770.5692 | 32.55 | 27.7
57181 | 2021-03-29 12:13 | 51.3363 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 172.6107 | μmol/L | 30.1462 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.222 | 151564.0528 | 273762.6263 | 32.55 | 27.7
57191 | 2021-03-29 12:13 | 51.6701 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 172.6341 | μmol/L | 30.1217 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.229 | 151597.7043 | 273761.8213 | 32.55 | 27.7
57201 | 2021-03-29 12:13 | 52.0033 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 172.2246 | μmol/L | 30.1892 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.233 | 151618.8304 | 273752.7039 | 32.55 | 27.7
57211 | 2021-03-29 12:14 | 52.3365 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 172.2542 | μmol/L | 30.1892 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.231 | 151664.25 | 273748.8284 | 32.55 | 27.7
57219 | 2021-03-29 12:14 | 52.6701 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 172.5323 | μmol/L | 30.1155 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.238 | 151688.4705 | 273742.2409 | 32.55 | 27.7