## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-29 14:07

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
57225 | 2021-03-29 13:13 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.784 | μmol/L | 30.6912 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.984 | 111659.1748 | 303133.1913 | 30.45 | 114.2
57235 | 2021-03-29 13:14 | 0.32753 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.9323 | μmol/L | 30.6542 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.987 | 111670.8867 | 303137.4707 | 30.45 | 114.2
57245 | 2021-03-29 13:14 | 0.66096 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.9195 | μmol/L | 30.648 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.99 | 111673.9671 | 303127.9396 | 30.45 | 114.2
57255 | 2021-03-29 13:14 | 0.99419 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 172.0571 | μmol/L | 30.5987 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.998 | 111699.3925 | 303118.4998 | 30.45 | 114.2
57265 | 2021-03-29 13:15 | 1.3271 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.9733 | μmol/L | 30.6234 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.995 | 111681.1054 | 303101.3222 | 30.45 | 114.2
57275 | 2021-03-29 13:15 | 1.6607 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.8123 | μmol/L | 30.6542 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.995 | 111664.5617 | 303108.6235 | 30.45 | 114.2
57285 | 2021-03-29 13:15 | 1.9944 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.8295 | μmol/L | 30.648 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.996 | 111659.7898 | 303081.3559 | 30.45 | 114.2
57295 | 2021-03-29 13:16 | 2.3274 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.673 | μmol/L | 30.6665 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22 | 111688.0405 | 303076.8416 | 30.45 | 114.2
57305 | 2021-03-29 13:16 | 2.661 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.5876 | μmol/L | 30.6542 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.01 | 111720.8245 | 303058.9409 | 30.45 | 114.2
57315 | 2021-03-29 13:16 | 2.9941 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.4955 | μmol/L | 30.6604 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.014 | 111742.4571 | 303047.0248 | 30.45 | 114.2
57325 | 2021-03-29 13:17 | 3.3278 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.423 | μmol/L | 30.6542 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.021 | 111768.5729 | 303046.1504 | 30.45 | 114.2
57335 | 2021-03-29 13:17 | 3.6606 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.2818 | μmol/L | 30.6727 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.024 | 111778.1019 | 303023.968 | 30.45 | 114.2
57345 | 2021-03-29 13:17 | 3.9943 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.1967 | μmol/L | 30.6604 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.034 | 111817.2833 | 303017.8223 | 30.45 | 114.2
57355 | 2021-03-29 13:18 | 4.3271 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.2952 | μmol/L | 30.6357 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.036 | 111839.899 | 303008.5164 | 30.45 | 114.2
57365 | 2021-03-29 13:18 | 4.6609 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.3787 | μmol/L | 30.6111 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.039 | 111874.7182 | 302994.0758 | 30.45 | 114.2
57375 | 2021-03-29 13:18 | 4.9937 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.3405 | μmol/L | 30.5926 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.048 | 111891.0716 | 302984.2925 | 30.45 | 114.2
57385 | 2021-03-29 13:19 | 5.3275 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.283 | μmol/L | 30.5864 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.054 | 111941.3662 | 302980.8415 | 30.45 | 114.2
57395 | 2021-03-29 13:19 | 5.6611 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.1338 | μmol/L | 30.5864 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.064 | 111978.3736 | 302956.3956 | 30.45 | 114.2
57405 | 2021-03-29 13:19 | 5.9938 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.0786 | μmol/L | 30.5741 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.072 | 112035.9702 | 302959.6672 | 30.45 | 114.2
57415 | 2021-03-29 13:20 | 6.3274 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.9765 | μmol/L | 30.5679 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.081 | 112075.7631 | 302944.1338 | 30.45 | 114.2
57425 | 2021-03-29 13:20 | 6.661 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.8277 | μmol/L | 30.5679 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.091 | 112126.255 | 302929.2408 | 30.45 | 114.2
57435 | 2021-03-29 13:20 | 6.9938 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.6322 | μmol/L | 30.5741 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.102 | 112169.0278 | 302913.4098 | 30.45 | 114.2
57445 | 2021-03-29 13:21 | 7.3271 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.5475 | μmol/L | 30.5617 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.112 | 112228.8836 | 302904.0003 | 30.45 | 114.2
57455 | 2021-03-29 13:21 | 7.6608 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.4013 | μmol/L | 30.5556 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.124 | 112286.2927 | 302900.9529 | 30.45 | 114.2
57465 | 2021-03-29 13:21 | 7.9938 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.1768 | μmol/L | 30.5617 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.137 | 112363.2309 | 302885.9552 | 30.45 | 114.2
57475 | 2021-03-29 13:22 | 8.3276 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.9777 | μmol/L | 30.5802 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.144 | 112374.9057 | 302891.3552 | 30.45 | 114.2
57485 | 2021-03-29 13:22 | 8.6606 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.889 | μmol/L | 30.5802 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.15 | 112396.7651 | 302866.8181 | 30.45 | 114.2
57495 | 2021-03-29 13:22 | 8.9936 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.9379 | μmol/L | 30.5679 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.151 | 112405.7034 | 302852.0705 | 30.45 | 114.2
57505 | 2021-03-29 13:23 | 9.3273 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.9468 | μmol/L | 30.5432 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.159 | 112447.4479 | 302837.5288 | 30.45 | 114.2
57515 | 2021-03-29 13:23 | 9.6611 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.9047 | μmol/L | 30.5371 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.164 | 112468.8841 | 302824.8009 | 30.45 | 114.2
57525 | 2021-03-29 13:23 | 9.9941 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.8966 | μmol/L | 30.5186 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.171 | 112487.013 | 302820.7594 | 30.45 | 114.2
57535 | 2021-03-29 13:24 | 10.3276 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.9942 | μmol/L | 30.4939 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.173 | 112504.3151 | 302809.3882 | 30.45 | 114.2
57545 | 2021-03-29 13:24 | 10.6605 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.9964 | μmol/L | 30.4878 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.175 | 112523.3476 | 302802.775 | 30.45 | 114.2
57555 | 2021-03-29 13:24 | 10.9942 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.9543 | μmol/L | 30.4816 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.18 | 112541.2212 | 302783.981 | 30.45 | 114.2
57565 | 2021-03-29 13:25 | 11.327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.9291 | μmol/L | 30.4693 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.186 | 112571.5999 | 302793.9745 | 30.45 | 114.2
57575 | 2021-03-29 13:25 | 11.6607 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.7247 | μmol/L | 30.4631 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.202 | 112622.9002 | 302761.4818 | 30.45 | 114.2
57585 | 2021-03-29 13:25 | 11.9937 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.651 | μmol/L | 30.4631 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.207 | 112673.5841 | 302768.6027 | 30.45 | 114.2
57595 | 2021-03-29 13:26 | 12.3273 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.4109 | μmol/L | 30.4754 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.219 | 112706.5349 | 302747.2392 | 30.45 | 114.2
57605 | 2021-03-29 13:26 | 12.6603 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.3498 | μmol/L | 30.4816 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.221 | 112727.2305 | 302739.8111 | 30.45 | 114.2
57615 | 2021-03-29 13:26 | 12.9941 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.2888 | μmol/L | 30.4878 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.223 | 112738.4162 | 302724.7154 | 30.45 | 114.2
57625 | 2021-03-29 13:27 | 13.3276 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.0661 | μmol/L | 30.4939 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.236 | 112775.4186 | 302727.3712 | 30.45 | 114.2
57635 | 2021-03-29 13:27 | 13.6611 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.1293 | μmol/L | 30.4816 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.236 | 112792.5867 | 302708.19 | 30.45 | 114.2
57645 | 2021-03-29 13:27 | 13.9943 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.8562 | μmol/L | 30.5062 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.246 | 112852.1067 | 302712.6296 | 30.45 | 114.2
57655 | 2021-03-29 13:28 | 14.3274 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.7367 | μmol/L | 30.5124 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.252 | 112891.7542 | 302713.0338 | 30.45 | 114.2
57665 | 2021-03-29 13:28 | 14.6607 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.6027 | μmol/L | 30.5186 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.259 | 112905.1153 | 302697.6348 | 30.45 | 114.2
57675 | 2021-03-29 13:28 | 14.9944 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.5734 | μmol/L | 30.5186 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.261 | 112924.4408 | 302687.4345 | 30.45 | 114.2
57685 | 2021-03-29 13:29 | 15.3274 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.578 | μmol/L | 30.5062 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.265 | 112937.1474 | 302668.9423 | 30.45 | 114.2
57695 | 2021-03-29 13:29 | 15.661 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.4688 | μmol/L | 30.5247 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.266 | 112940.3524 | 302673.0342 | 30.45 | 114.2
57705 | 2021-03-29 13:29 | 15.9937 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.3035 | μmol/L | 30.5371 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.273 | 112962.0025 | 302654.7235 | 30.45 | 114.2
57715 | 2021-03-29 13:30 | 16.3275 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.2305 | μmol/L | 30.5371 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.278 | 112990.5002 | 302641.8826 | 30.45 | 114.2
57725 | 2021-03-29 13:30 | 16.6604 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.0992 | μmol/L | 30.5371 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.287 | 113027.7888 | 302632.1703 | 30.45 | 114.2
57735 | 2021-03-29 13:30 | 16.994 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.9029 | μmol/L | 30.5556 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.294 | 113082.6104 | 302627.8093 | 30.45 | 114.2
57745 | 2021-03-29 13:31 | 17.3271 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.9512 | μmol/L | 30.5432 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.295 | 113074.8036 | 302611.0999 | 30.45 | 114.2
57755 | 2021-03-29 13:31 | 17.6607 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.8883 | μmol/L | 30.5556 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.295 | 113071.0658 | 302605.0038 | 30.45 | 114.2
57765 | 2021-03-29 13:31 | 17.9944 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.6945 | μmol/L | 30.5679 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.304 | 113105.2414 | 302606.8833 | 30.45 | 114.2
57775 | 2021-03-29 13:32 | 18.3271 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.6073 | μmol/L | 30.5679 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.31 | 113138.1717 | 302593.022 | 30.45 | 114.2
57785 | 2021-03-29 13:32 | 18.661 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.3558 | μmol/L | 30.5802 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.323 | 113203.3239 | 302593.5764 | 30.45 | 114.2
57795 | 2021-03-29 13:32 | 18.9937 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.1436 | μmol/L | 30.6049 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.329 | 113251.1795 | 302598.5584 | 30.45 | 114.2
57805 | 2021-03-29 13:33 | 19.3273 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.9918 | μmol/L | 30.6234 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.333 | 113270.8739 | 302574.8778 | 30.45 | 114.2
57815 | 2021-03-29 13:33 | 19.6603 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.0903 | μmol/L | 30.5926 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.337 | 113286.9215 | 302580.4591 | 30.45 | 114.2
57825 | 2021-03-29 13:33 | 19.994 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.7869 | μmol/L | 30.6295 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.345 | 113324.5334 | 302557.5987 | 30.45 | 114.2
57835 | 2021-03-29 13:34 | 20.3277 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.5609 | μmol/L | 30.6542 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.352 | 113363.8379 | 302544.742 | 30.45 | 114.2
57845 | 2021-03-29 13:34 | 20.6607 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.4623 | μmol/L | 30.648 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.361 | 113412.7976 | 302546.3347 | 30.45 | 114.2
57855 | 2021-03-29 13:34 | 20.9943 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.3805 | μmol/L | 30.6357 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.371 | 113451.3713 | 302537.8948 | 30.45 | 114.2
57865 | 2021-03-29 13:35 | 21.3274 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.1791 | μmol/L | 30.6727 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.372 | 113498.3545 | 302534.4399 | 30.45 | 114.2
57875 | 2021-03-29 13:35 | 21.6611 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.1383 | μmol/L | 30.6665 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.377 | 113530.7612 | 302530.5759 | 30.45 | 114.2
57885 | 2021-03-29 13:35 | 21.994 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 165.7982 | μmol/L | 30.6912 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.392 | 113580.3091 | 302517.906 | 30.45 | 114.2
57895 | 2021-03-29 13:36 | 22.3275 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 165.7982 | μmol/L | 30.6912 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.392 | 113602.523 | 302500.0725 | 30.45 | 114.2
57905 | 2021-03-29 13:36 | 22.661 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 165.6882 | μmol/L | 30.6789 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.404 | 113665.8186 | 302501.1983 | 30.45 | 114.2
57915 | 2021-03-29 13:36 | 22.9941 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 165.435 | μmol/L | 30.7035 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.413 | 113705.7533 | 302500.0859 | 30.45 | 114.2
57925 | 2021-03-29 13:37 | 23.327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 165.3014 | μmol/L | 30.7159 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.418 | 113740.7668 | 302483.565 | 30.45 | 114.2
57935 | 2021-03-29 13:37 | 23.6608 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 165.2323 | μmol/L | 30.7097 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.425 | 113783.6864 | 302484.1966 | 30.45 | 114.2
57945 | 2021-03-29 13:37 | 23.9938 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 165.0967 | μmol/L | 30.6912 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.441 | 113855.0923 | 302480.1926 | 30.45 | 114.2
57955 | 2021-03-29 13:38 | 24.3276 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 164.9658 | μmol/L | 30.6974 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.448 | 113902.4704 | 302462.2704 | 30.45 | 114.2
57965 | 2021-03-29 13:38 | 24.6604 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 164.8302 | μmol/L | 30.7159 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.451 | 113943.7257 | 302445.6461 | 30.45 | 114.2
57975 | 2021-03-29 13:38 | 24.9942 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 164.778 | μmol/L | 30.7035 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.459 | 113984.5589 | 302439.0521 | 30.45 | 114.2
57985 | 2021-03-29 13:39 | 25.3271 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 164.6356 | μmol/L | 30.7035 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.469 | 114041.7561 | 302439.4164 | 30.45 | 114.2
57995 | 2021-03-29 13:39 | 25.6607 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 164.3631 | μmol/L | 30.7097 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.486 | 114100.9046 | 302430.5409 | 30.45 | 114.2
58005 | 2021-03-29 13:39 | 25.9944 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 164.3631 | μmol/L | 30.7097 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.486 | 114141.024 | 302432.9059 | 30.45 | 114.2
58015 | 2021-03-29 13:40 | 26.3275 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 164.2045 | μmol/L | 30.7159 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.495 | 114155.7843 | 302416.9537 | 30.45 | 114.2
58025 | 2021-03-29 13:40 | 26.6605 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 164.2779 | μmol/L | 30.7097 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.492 | 114182.1447 | 302421.3733 | 30.45 | 114.2
58035 | 2021-03-29 13:40 | 26.9941 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 164.1218 | μmol/L | 30.7097 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.503 | 114213.1533 | 302407.3042 | 30.45 | 114.2
58045 | 2021-03-29 13:41 | 27.3272 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 164.0177 | μmol/L | 30.722 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.506 | 114236.6576 | 302398.9058 | 30.45 | 114.2
58055 | 2021-03-29 13:41 | 27.6609 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 163.9776 | μmol/L | 30.7159 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.511 | 114270.3911 | 302396.9698 | 30.45 | 114.2
58065 | 2021-03-29 13:41 | 27.9938 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 164.0323 | μmol/L | 30.685 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.518 | 114298.8561 | 302382.0361 | 30.45 | 114.2
58075 | 2021-03-29 13:42 | 28.3277 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 163.8409 | μmol/L | 30.7035 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.525 | 114335.7513 | 302388.3706 | 30.45 | 114.2
58085 | 2021-03-29 13:42 | 28.6606 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 163.7961 | μmol/L | 30.7097 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.526 | 114352.2787 | 302357.5035 | 30.45 | 114.2
58095 | 2021-03-29 13:42 | 28.9941 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 163.7205 | μmol/L | 30.722 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.527 | 114376.6771 | 302359.074 | 30.45 | 114.2
58105 | 2021-03-29 13:43 | 29.327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 163.6854 | μmol/L | 30.7035 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.536 | 114420.2603 | 302363.6621 | 30.45 | 114.2
58115 | 2021-03-29 13:43 | 29.6608 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 163.6006 | μmol/L | 30.7035 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.542 | 114442.835 | 302358.7496 | 30.45 | 114.2
58125 | 2021-03-29 13:43 | 29.9944 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 163.5797 | μmol/L | 30.685 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.55 | 114489.0611 | 302342.9569 | 30.45 | 114.2
58135 | 2021-03-29 13:44 | 30.3276 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 163.5729 | μmol/L | 30.6665 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.557 | 114530.3522 | 302344.1406 | 30.45 | 114.2
58145 | 2021-03-29 13:44 | 30.6604 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 163.5826 | μmol/L | 30.6419 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.565 | 114583.892 | 302326.902 | 30.45 | 114.2
58155 | 2021-03-29 13:44 | 30.9942 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 163.3404 | μmol/L | 30.648 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.58 | 114642.7227 | 302337.9143 | 30.45 | 114.2
58165 | 2021-03-29 13:45 | 31.3273 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 163.2204 | μmol/L | 30.6665 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.582 | 114648.1379 | 302312.7206 | 30.45 | 114.2
58175 | 2021-03-29 13:45 | 31.6604 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 163.3545 | μmol/L | 30.648 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.579 | 114672.842 | 302318.5976 | 30.45 | 114.2
58185 | 2021-03-29 13:45 | 31.9939 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 163.2045 | μmol/L | 30.6357 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.594 | 114713.0192 | 302310.6201 | 30.45 | 114.2
58195 | 2021-03-29 13:46 | 32.3277 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 163.1671 | μmol/L | 30.6234 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.601 | 114758.2896 | 302306.0352 | 30.45 | 114.2
58205 | 2021-03-29 13:46 | 32.661 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 163.1249 | μmol/L | 30.6234 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.604 | 114775.845 | 302299.5042 | 30.45 | 114.2
58215 | 2021-03-29 13:46 | 32.994 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 163.0662 | μmol/L | 30.6295 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.606 | 114810.4984 | 302281.0049 | 30.45 | 114.2
58225 | 2021-03-29 13:47 | 33.327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.9843 | μmol/L | 30.6234 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.614 | 114862.4516 | 302273.0511 | 30.45 | 114.2
58235 | 2021-03-29 13:47 | 33.6607 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.8744 | μmol/L | 30.6172 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.624 | 114887.898 | 302265.826 | 30.45 | 114.2
58245 | 2021-03-29 13:47 | 33.9937 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.8488 | μmol/L | 30.6111 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.628 | 114904.463 | 302271.196 | 30.45 | 114.2
58255 | 2021-03-29 13:48 | 34.3274 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.8537 | μmol/L | 30.5987 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.632 | 114921.5988 | 302265.1058 | 30.45 | 114.2
58265 | 2021-03-29 13:48 | 34.661 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.8421 | μmol/L | 30.5926 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.635 | 114939.3878 | 302260.8458 | 30.45 | 114.2
58275 | 2021-03-29 13:48 | 34.9941 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.7298 | μmol/L | 30.5926 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.643 | 114988.2303 | 302247.129 | 30.45 | 114.2
58285 | 2021-03-29 13:49 | 35.327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.653 | μmol/L | 30.5741 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.655 | 115042.5444 | 302251.9357 | 30.45 | 114.2
58295 | 2021-03-29 13:49 | 35.6608 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.5994 | μmol/L | 30.5679 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.661 | 115066.5352 | 302239.6374 | 30.45 | 114.2
58305 | 2021-03-29 13:49 | 35.9939 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.5459 | μmol/L | 30.5617 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.667 | 115101.243 | 302229.9212 | 30.45 | 114.2
58315 | 2021-03-29 13:50 | 36.3278 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.5483 | μmol/L | 30.5556 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.669 | 115136.2228 | 302225.2816 | 30.45 | 114.2
58325 | 2021-03-29 13:50 | 36.6606 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.4668 | μmol/L | 30.5494 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.677 | 115166.9609 | 302218.4674 | 30.45 | 114.2
58335 | 2021-03-29 13:50 | 36.9936 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.4017 | μmol/L | 30.5371 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.686 | 115195.2398 | 302214.2937 | 30.45 | 114.2
58345 | 2021-03-29 13:51 | 37.3275 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.3974 | μmol/L | 30.5124 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.695 | 115211.4696 | 302214.2449 | 30.45 | 114.2
58355 | 2021-03-29 13:51 | 37.6611 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.353 | μmol/L | 30.5186 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.696 | 115227.733 | 302191.9365 | 30.45 | 114.2
58365 | 2021-03-29 13:51 | 37.9939 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.3318 | μmol/L | 30.5371 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.691 | 115223.8677 | 302178.9082 | 30.45 | 114.2
58375 | 2021-03-29 13:52 | 38.3271 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.1897 | μmol/L | 30.5432 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.699 | 115249.336 | 302191.596 | 30.45 | 114.2
58385 | 2021-03-29 13:52 | 38.6607 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.106 | μmol/L | 30.5432 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.705 | 115292.0849 | 302185.1757 | 30.45 | 114.2
58395 | 2021-03-29 13:52 | 38.9944 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.8666 | μmol/L | 30.5494 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.72 | 115358.0183 | 302175.5246 | 30.45 | 114.2
58405 | 2021-03-29 13:53 | 39.3273 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.6995 | μmol/L | 30.5494 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.732 | 115425.6884 | 302176.3077 | 30.45 | 114.2
58415 | 2021-03-29 13:53 | 39.6604 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.5605 | μmol/L | 30.5494 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.742 | 115471.1617 | 302176.5876 | 30.45 | 114.2
58425 | 2021-03-29 13:53 | 39.9941 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.572 | μmol/L | 30.5556 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.739 | 115468.5761 | 302163.984 | 30.45 | 114.2
58435 | 2021-03-29 13:54 | 40.3271 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.4371 | μmol/L | 30.5802 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.74 | 115455.6497 | 302168.0635 | 30.45 | 114.2
58445 | 2021-03-29 13:54 | 40.661 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.4346 | μmol/L | 30.5864 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.738 | 115433.6549 | 302167.1294 | 30.45 | 114.2
58455 | 2021-03-29 13:54 | 40.994 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.4788 | μmol/L | 30.5802 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.737 | 115407.6139 | 302154.5322 | 30.45 | 114.2
58465 | 2021-03-29 13:55 | 41.3269 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.384 | μmol/L | 30.5741 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.746 | 115420.9806 | 302146.4531 | 30.45 | 114.2
58475 | 2021-03-29 13:55 | 41.6609 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.3424 | μmol/L | 30.5741 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.749 | 115459.919 | 302145.8656 | 30.45 | 114.2
58485 | 2021-03-29 13:55 | 41.9938 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.132 | μmol/L | 30.5802 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.762 | 115533.8684 | 302140.1633 | 30.45 | 114.2
58495 | 2021-03-29 13:56 | 42.3276 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.0351 | μmol/L | 30.5802 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.769 | 115589.6659 | 302148.6552 | 30.45 | 114.2
58505 | 2021-03-29 13:56 | 42.661 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 160.8641 | μmol/L | 30.5926 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.777 | 115633.7008 | 302127.9737 | 30.45 | 114.2
58515 | 2021-03-29 13:56 | 42.9939 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 160.795 | μmol/L | 30.5926 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.782 | 115669.191 | 302128.8131 | 30.45 | 114.2
58525 | 2021-03-29 13:57 | 43.3274 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 160.7422 | μmol/L | 30.5864 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.788 | 115689.2825 | 302124.8182 | 30.45 | 114.2
58535 | 2021-03-29 13:57 | 43.6604 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 160.613 | μmol/L | 30.5987 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.793 | 115697.715 | 302112.2464 | 30.45 | 114.2
58545 | 2021-03-29 13:57 | 43.994 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 160.5741 | μmol/L | 30.5926 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.798 | 115740.873 | 302113.9064 | 30.45 | 114.2
58555 | 2021-03-29 13:58 | 44.327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 160.4775 | μmol/L | 30.5926 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.805 | 115789.7522 | 302108.2935 | 30.45 | 114.2
58565 | 2021-03-29 13:58 | 44.661 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 160.1533 | μmol/L | 30.6111 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.822 | 115845.5134 | 302110.1231 | 30.45 | 114.2
58575 | 2021-03-29 13:58 | 44.994 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 159.9534 | μmol/L | 30.6295 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.83 | 115904.4896 | 302099.4309 | 30.45 | 114.2
58585 | 2021-03-29 13:59 | 45.3276 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 159.9385 | μmol/L | 30.5987 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.842 | 115983.9366 | 302088.2262 | 30.45 | 114.2
58595 | 2021-03-29 13:59 | 45.6604 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 159.7002 | μmol/L | 30.6111 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.855 | 116073.2463 | 302078.1561 | 30.45 | 114.2
58605 | 2021-03-29 13:59 | 45.9937 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 159.2608 | μmol/L | 30.648 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.874 | 116171.0803 | 302082.5189 | 30.45 | 114.2
58615 | 2021-03-29 14:00 | 46.3276 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 158.8524 | μmol/L | 30.6789 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.893 | 116269.419 | 302079.7424 | 30.45 | 114.2
58625 | 2021-03-29 14:00 | 46.6607 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 158.502 | μmol/L | 30.7035 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.91 | 116356.4175 | 302069.3563 | 30.45 | 114.2
58635 | 2021-03-29 14:00 | 46.9937 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 158.4062 | μmol/L | 30.6727 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.928 | 116453.2156 | 302072.7955 | 30.45 | 114.2
58645 | 2021-03-29 14:01 | 47.3274 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 158.2848 | μmol/L | 30.7035 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.926 | 116438.3704 | 302060.5532 | 30.45 | 114.2
58655 | 2021-03-29 14:01 | 47.661 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 158.3255 | μmol/L | 30.7035 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.923 | 116434.3356 | 302053.9178 | 30.45 | 114.2
58665 | 2021-03-29 14:01 | 47.9941 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 158.3552 | μmol/L | 30.6974 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.923 | 116456.0372 | 302064.9799 | 30.45 | 114.2
58675 | 2021-03-29 14:02 | 48.3271 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 158.1788 | μmol/L | 30.6974 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.936 | 116512.5363 | 302042.7274 | 30.45 | 114.2
58685 | 2021-03-29 14:02 | 48.6606 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.8545 | μmol/L | 30.7282 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.949 | 116565.778 | 302035.4653 | 30.45 | 114.2
58695 | 2021-03-29 14:02 | 48.9936 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.8493 | μmol/L | 30.7405 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.945 | 116564.3452 | 302045.4642 | 30.45 | 114.2
58705 | 2021-03-29 14:03 | 49.3276 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.9737 | μmol/L | 30.7344 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.938 | 116547.645 | 302040.9564 | 30.45 | 114.2
58715 | 2021-03-29 14:03 | 49.6607 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.9363 | μmol/L | 30.759 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.932 | 116532.6447 | 302037.0041 | 30.45 | 114.2
58725 | 2021-03-29 14:03 | 49.9938 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.8525 | μmol/L | 30.7652 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.936 | 116543.7886 | 302033.4386 | 30.45 | 114.2
58735 | 2021-03-29 14:04 | 50.327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.9034 | μmol/L | 30.7405 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.941 | 116547.3034 | 302020.6322 | 30.45 | 114.2
58745 | 2021-03-29 14:04 | 50.6609 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.7874 | μmol/L | 30.759 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.943 | 116580.9725 | 302014.2286 | 30.45 | 114.2
58755 | 2021-03-29 14:04 | 50.9939 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.9357 | μmol/L | 30.7282 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.943 | 116597.5069 | 302011.7956 | 30.45 | 114.2
58765 | 2021-03-29 14:05 | 51.3271 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.7843 | μmol/L | 30.7344 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.952 | 116630.8788 | 302004.2355 | 30.45 | 114.2
58775 | 2021-03-29 14:05 | 51.6609 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.6549 | μmol/L | 30.7528 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.955 | 116655.281 | 301985.3868 | 30.45 | 114.2
58785 | 2021-03-29 14:05 | 51.9938 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.6679 | μmol/L | 30.722 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.965 | 116691.6528 | 301984.2598 | 30.45 | 114.2
58795 | 2021-03-29 14:06 | 52.3274 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.7457 | μmol/L | 30.6974 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.968 | 116720.3061 | 301986.1541 | 30.45 | 114.2