## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-29 14:07

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
57226 | 2021-03-29 13:13 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 185.9452 | μmol/L | 30.204 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.291 | 154123.5601 | 298257.3657 | 59.9307 | 49.4
57236 | 2021-03-29 13:14 | 0.33507 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 185.8593 | μmol/L | 30.2164 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.292 | 154180.0896 | 298229.9788 | 59.9307 | 49.4
57246 | 2021-03-29 13:14 | 0.66849 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 185.6693 | μmol/L | 30.2474 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.293 | 154289.7781 | 298231.297 | 59.9307 | 49.4
57256 | 2021-03-29 13:14 | 1.0023 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 185.5891 | μmol/L | 30.2412 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.3 | 154449.7606 | 298231.2968 | 59.9307 | 49.4
57266 | 2021-03-29 13:15 | 1.335 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 185.611 | μmol/L | 30.2226 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.305 | 154255.6358 | 298208.7597 | 59.9307 | 49.4
57276 | 2021-03-29 13:15 | 1.6687 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 185.6147 | μmol/L | 30.2102 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.309 | 154457.3762 | 298187.5306 | 59.9307 | 49.4
57286 | 2021-03-29 13:15 | 2.0016 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 185.4323 | μmol/L | 30.2164 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.318 | 154676.0559 | 298183.4902 | 59.9307 | 49.4
57296 | 2021-03-29 13:16 | 2.335 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 185.181 | μmol/L | 30.235 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.327 | 154776.7826 | 298181.6787 | 59.9307 | 49.4
57306 | 2021-03-29 13:16 | 2.6687 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 185.1665 | μmol/L | 30.2288 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.33 | 154706.6455 | 298167.5152 | 59.9307 | 49.4
57316 | 2021-03-29 13:16 | 3.0016 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 184.952 | μmol/L | 30.235 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.341 | 154632.9331 | 298153.7712 | 59.9307 | 49.4
57326 | 2021-03-29 13:17 | 3.3354 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 184.6342 | μmol/L | 30.2598 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.352 | 154653.015 | 298138.9194 | 59.9307 | 49.4
57336 | 2021-03-29 13:17 | 3.6682 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 184.5219 | μmol/L | 30.2536 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.361 | 154616.5611 | 298124.9475 | 59.9307 | 49.4
57346 | 2021-03-29 13:17 | 4.002 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 184.7107 | μmol/L | 30.2226 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.36 | 154695.0562 | 298111.1542 | 59.9307 | 49.4
57356 | 2021-03-29 13:18 | 4.3348 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 184.6617 | μmol/L | 30.2226 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.363 | 154844.2789 | 298116.1391 | 59.9307 | 49.4
57366 | 2021-03-29 13:18 | 4.6685 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 184.4297 | μmol/L | 30.235 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.373 | 154815.8437 | 298090.6275 | 59.9307 | 49.4
57376 | 2021-03-29 13:18 | 5.0022 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 184.3483 | μmol/L | 30.235 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.378 | 154759.6869 | 298091.029 | 59.9307 | 49.4
57386 | 2021-03-29 13:19 | 5.3351 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 184.3521 | μmol/L | 30.2226 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.382 | 154633.5649 | 298078.6113 | 59.9307 | 49.4
57396 | 2021-03-29 13:19 | 5.6687 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 184.3395 | μmol/L | 30.2102 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.387 | 154731.9982 | 298072.7634 | 59.9307 | 49.4
57406 | 2021-03-29 13:19 | 6.0021 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 184.0642 | μmol/L | 30.2598 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.387 | 154827.0377 | 298078.8186 | 59.9307 | 49.4
57416 | 2021-03-29 13:20 | 6.335 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 184.2582 | μmol/L | 30.2102 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.392 | 154786.3179 | 298059.4375 | 59.9307 | 49.4
57426 | 2021-03-29 13:20 | 6.6686 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 184.2094 | μmol/L | 30.2102 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.395 | 154763.72 | 298039.9525 | 59.9307 | 49.4
57436 | 2021-03-29 13:20 | 7.0014 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 184.2313 | μmol/L | 30.1917 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.4 | 154732.2965 | 298027.8951 | 59.9307 | 49.4
57446 | 2021-03-29 13:21 | 7.3355 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 184.1356 | μmol/L | 30.1855 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.408 | 154762.1012 | 298025.5849 | 59.9307 | 49.4
57456 | 2021-03-29 13:21 | 7.6684 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 183.8015 | μmol/L | 30.2164 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.418 | 154555.9373 | 298040.4049 | 59.9307 | 49.4
57466 | 2021-03-29 13:21 | 8.0021 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 183.7853 | μmol/L | 30.2164 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.419 | 154755.6459 | 298018.2605 | 59.9307 | 49.4
57476 | 2021-03-29 13:22 | 8.3349 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 183.8396 | μmol/L | 30.1978 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.422 | 155054.06 | 298021.0023 | 59.9307 | 49.4
57486 | 2021-03-29 13:22 | 8.6681 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 183.6375 | μmol/L | 30.2226 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.426 | 154636.0012 | 298001.5972 | 59.9307 | 49.4
57496 | 2021-03-29 13:22 | 9.002 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 183.6651 | μmol/L | 30.1855 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.437 | 154862.0464 | 297994.8008 | 59.9307 | 49.4
57506 | 2021-03-29 13:23 | 9.3348 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 183.3985 | μmol/L | 30.2102 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.445 | 154926.3442 | 297994.4436 | 59.9307 | 49.4
57516 | 2021-03-29 13:23 | 9.6687 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 183.1341 | μmol/L | 30.2288 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.455 | 154998.8883 | 297982.0404 | 59.9307 | 49.4
57526 | 2021-03-29 13:23 | 10.0018 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 183.253 | μmol/L | 30.2102 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.454 | 155239.0886 | 297953.7477 | 59.9307 | 49.4
57536 | 2021-03-29 13:24 | 10.3354 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 183.446 | μmol/L | 30.1607 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.459 | 155288.9544 | 297955.4173 | 59.9307 | 49.4
57546 | 2021-03-29 13:24 | 10.6684 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 183.4013 | μmol/L | 30.1483 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.466 | 155138.0917 | 297953.1568 | 59.9307 | 49.4
57556 | 2021-03-29 13:24 | 11.0022 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 183.083 | μmol/L | 30.1855 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.473 | 154938.2271 | 297939.6183 | 59.9307 | 49.4
57566 | 2021-03-29 13:25 | 11.3349 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 182.731 | μmol/L | 30.2288 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.48 | 154837.0803 | 297950.3345 | 59.9307 | 49.4
57576 | 2021-03-29 13:25 | 11.6685 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 182.9862 | μmol/L | 30.1855 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.479 | 154883.8525 | 297931.9023 | 59.9307 | 49.4
57586 | 2021-03-29 13:25 | 12.0016 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 182.6383 | μmol/L | 30.2164 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.49 | 154702.8066 | 297934.6098 | 59.9307 | 49.4
57596 | 2021-03-29 13:26 | 12.3353 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 182.6583 | μmol/L | 30.204 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.493 | 154794.0346 | 297904.2569 | 59.9307 | 49.4
57606 | 2021-03-29 13:26 | 12.6682 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 182.4955 | μmol/L | 30.2102 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.501 | 155181.7529 | 297914.2728 | 59.9307 | 49.4
57616 | 2021-03-29 13:26 | 13.0019 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 182.455 | μmol/L | 30.1855 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.512 | 155372.0826 | 297921.1672 | 59.9307 | 49.4
57626 | 2021-03-29 13:27 | 13.3356 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 182.3728 | μmol/L | 30.1917 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.515 | 155574.2968 | 297906.703 | 59.9307 | 49.4
57636 | 2021-03-29 13:27 | 13.6683 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 182.3407 | μmol/L | 30.1917 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.517 | 155719.3466 | 297894.4162 | 59.9307 | 49.4
57646 | 2021-03-29 13:27 | 14.0018 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 182.2521 | μmol/L | 30.1669 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.531 | 155598.9342 | 297882.4455 | 59.9307 | 49.4
57656 | 2021-03-29 13:28 | 14.3353 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 182.2059 | μmol/L | 30.1607 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.536 | 155526.3215 | 297882.2226 | 59.9307 | 49.4
57666 | 2021-03-29 13:28 | 14.6686 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 182.1598 | μmol/L | 30.1545 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.541 | 155502.7102 | 297870.4103 | 59.9307 | 49.4
57676 | 2021-03-29 13:28 | 15.0015 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 182.0796 | μmol/L | 30.1545 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.546 | 155396.4295 | 297875.197 | 59.9307 | 49.4
57686 | 2021-03-29 13:29 | 15.3352 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.9457 | μmol/L | 30.1731 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.548 | 155566.8554 | 297861.8073 | 59.9307 | 49.4
57696 | 2021-03-29 13:29 | 15.6689 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.9437 | μmol/L | 30.1793 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.546 | 155803.1662 | 297860.1401 | 59.9307 | 49.4
57706 | 2021-03-29 13:29 | 16.0018 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.8898 | μmol/L | 30.1978 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.543 | 155730.1195 | 297836.9129 | 59.9307 | 49.4
57716 | 2021-03-29 13:30 | 16.3348 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.752 | μmol/L | 30.2288 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.541 | 156012.662 | 297845.8682 | 59.9307 | 49.4
57726 | 2021-03-29 13:30 | 16.6682 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.5643 | μmol/L | 30.266 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.54 | 156129.574 | 297835.4318 | 59.9307 | 49.4
57736 | 2021-03-29 13:30 | 17.002 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.802 | μmol/L | 30.2226 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.54 | 156116.1693 | 297815.8072 | 59.9307 | 49.4
57746 | 2021-03-29 13:31 | 17.3348 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.8379 | μmol/L | 30.2102 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.542 | 156068.8649 | 297832.9692 | 59.9307 | 49.4
57756 | 2021-03-29 13:31 | 17.6684 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.74 | μmol/L | 30.2164 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.546 | 155908.5367 | 297824.0452 | 59.9307 | 49.4
57766 | 2021-03-29 13:31 | 18.002 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.8059 | μmol/L | 30.2102 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.544 | 156221.3104 | 297794.0612 | 59.9307 | 49.4
57776 | 2021-03-29 13:32 | 18.3352 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.8918 | μmol/L | 30.1917 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.545 | 156282.1568 | 297786.4239 | 59.9307 | 49.4
57786 | 2021-03-29 13:32 | 18.6681 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.8797 | μmol/L | 30.1793 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.55 | 156421.8418 | 297774.5171 | 59.9307 | 49.4
57796 | 2021-03-29 13:32 | 19.0019 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.7517 | μmol/L | 30.1793 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.558 | 156437.499 | 297781.8706 | 59.9307 | 49.4
57806 | 2021-03-29 13:33 | 19.3355 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.63 | μmol/L | 30.2102 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.555 | 156484.9107 | 297772.3 | 59.9307 | 49.4
57816 | 2021-03-29 13:33 | 19.6685 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.8196 | μmol/L | 30.1669 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.558 | 156520.3344 | 297759.9923 | 59.9307 | 49.4
57826 | 2021-03-29 13:33 | 20.002 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.6917 | μmol/L | 30.1669 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.566 | 156527.2772 | 297759.3099 | 59.9307 | 49.4
57836 | 2021-03-29 13:34 | 20.3354 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.5241 | μmol/L | 30.1917 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.568 | 156538.7222 | 297745.8451 | 59.9307 | 49.4
57846 | 2021-03-29 13:34 | 20.6684 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.3945 | μmol/L | 30.1978 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.574 | 156563.2764 | 297762.4918 | 59.9307 | 49.4
57856 | 2021-03-29 13:34 | 21.0017 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.4603 | μmol/L | 30.1917 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.572 | 156587.1525 | 297748.1841 | 59.9307 | 49.4
57866 | 2021-03-29 13:35 | 21.3352 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.3586 | μmol/L | 30.2102 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.572 | 156595.8169 | 297746.7591 | 59.9307 | 49.4
57876 | 2021-03-29 13:35 | 21.6681 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.1295 | μmol/L | 30.2288 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.58 | 156620.0159 | 297752.3459 | 59.9307 | 49.4
57886 | 2021-03-29 13:35 | 22.0017 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.1653 | μmol/L | 30.2164 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.582 | 156581.0221 | 297751.7675 | 59.9307 | 49.4
57896 | 2021-03-29 13:36 | 22.3354 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.9643 | μmol/L | 30.2474 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.584 | 156503.5396 | 297732.482 | 59.9307 | 49.4
57906 | 2021-03-29 13:36 | 22.6681 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.9643 | μmol/L | 30.2474 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.584 | 156470.0077 | 297705.6546 | 59.9307 | 49.4
57916 | 2021-03-29 13:36 | 23.0019 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.9782 | μmol/L | 30.2536 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.581 | 156319.407 | 297705.3642 | 59.9307 | 49.4
57926 | 2021-03-29 13:37 | 23.3356 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.9086 | μmol/L | 30.2722 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.579 | 156286.2702 | 297716.7598 | 59.9307 | 49.4
57936 | 2021-03-29 13:37 | 23.6687 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.7773 | μmol/L | 30.2845 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.583 | 156145.4355 | 297711.8009 | 59.9307 | 49.4
57946 | 2021-03-29 13:37 | 24.0016 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.7455 | μmol/L | 30.2845 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.585 | 155920.8582 | 297706.769 | 59.9307 | 49.4
57956 | 2021-03-29 13:38 | 24.3355 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.6621 | μmol/L | 30.2969 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.586 | 155854.7726 | 297711.703 | 59.9307 | 49.4
57966 | 2021-03-29 13:38 | 24.6684 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.6641 | μmol/L | 30.2907 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.588 | 155856.4721 | 297709.2517 | 59.9307 | 49.4
57976 | 2021-03-29 13:38 | 25.0021 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.4773 | μmol/L | 30.3279 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.587 | 155697.742 | 297704.6606 | 59.9307 | 49.4
57986 | 2021-03-29 13:39 | 25.335 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.1913 | μmol/L | 30.3774 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.588 | 155602.0387 | 297699.8828 | 59.9307 | 49.4
57996 | 2021-03-29 13:39 | 25.6686 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.4041 | μmol/L | 30.3093 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.598 | 155697.6929 | 297691.4398 | 59.9307 | 49.4
58006 | 2021-03-29 13:39 | 26.0017 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.2594 | μmol/L | 30.3155 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.605 | 155772.0826 | 297703.199 | 59.9307 | 49.4
58016 | 2021-03-29 13:40 | 26.3356 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.1858 | μmol/L | 30.3465 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.599 | 155415.0383 | 297671.7656 | 59.9307 | 49.4
58026 | 2021-03-29 13:40 | 26.6684 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.1045 | μmol/L | 30.3526 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.602 | 155262.2329 | 297677.3394 | 59.9307 | 49.4
58036 | 2021-03-29 13:40 | 27.0021 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.1087 | μmol/L | 30.3403 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.606 | 155522.4169 | 297669.7958 | 59.9307 | 49.4
58046 | 2021-03-29 13:41 | 27.3352 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.0791 | μmol/L | 30.3341 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.61 | 155646.6811 | 297662.3348 | 59.9307 | 49.4
58056 | 2021-03-29 13:41 | 27.6689 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.1485 | μmol/L | 30.3155 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.612 | 155674.9415 | 297656.7791 | 59.9307 | 49.4
58066 | 2021-03-29 13:41 | 28.0017 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.0714 | μmol/L | 30.3093 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.619 | 155826.4318 | 297647.4766 | 59.9307 | 49.4
58076 | 2021-03-29 13:42 | 28.3356 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 179.8659 | μmol/L | 30.3093 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.632 | 156090.8268 | 297661.561 | 59.9307 | 49.4
58086 | 2021-03-29 13:42 | 28.6683 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 179.8837 | μmol/L | 30.3031 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.633 | 156179.7117 | 297631.6453 | 59.9307 | 49.4
58096 | 2021-03-29 13:42 | 29.002 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 179.6407 | μmol/L | 30.3217 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.642 | 156151.0076 | 297634.0169 | 59.9307 | 49.4
58106 | 2021-03-29 13:43 | 29.335 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 179.4316 | μmol/L | 30.3341 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.651 | 156222.137 | 297629.2678 | 59.9307 | 49.4
58116 | 2021-03-29 13:43 | 29.6688 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 179.3036 | μmol/L | 30.3403 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.657 | 156120.4592 | 297621.3646 | 59.9307 | 49.4
58126 | 2021-03-29 13:43 | 30.0016 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 179.2961 | μmol/L | 30.3155 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.666 | 156103.6457 | 297634.4251 | 59.9307 | 49.4
58136 | 2021-03-29 13:44 | 30.3354 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 179.2018 | μmol/L | 30.3155 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.672 | 156308 | 297632.1755 | 59.9307 | 49.4
58146 | 2021-03-29 13:44 | 30.6682 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 179.1053 | μmol/L | 30.3217 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.676 | 156378.0906 | 297611.6714 | 59.9307 | 49.4
58156 | 2021-03-29 13:44 | 31.002 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 178.9556 | μmol/L | 30.3465 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.677 | 156414.5386 | 297604.5146 | 59.9307 | 49.4
58166 | 2021-03-29 13:45 | 31.335 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 178.9127 | μmol/L | 30.3341 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.684 | 156578.5938 | 297610.8082 | 59.9307 | 49.4
58176 | 2021-03-29 13:45 | 31.6689 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 178.8248 | μmol/L | 30.3155 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.696 | 156742.6471 | 297585.0569 | 59.9307 | 49.4
58186 | 2021-03-29 13:45 | 32.0017 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 178.3182 | μmol/L | 30.3774 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.707 | 156778.1979 | 297567.6414 | 59.9307 | 49.4
58196 | 2021-03-29 13:46 | 32.3353 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 178.3871 | μmol/L | 30.3588 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.709 | 156437.6008 | 297581.751 | 59.9307 | 49.4
58206 | 2021-03-29 13:46 | 32.6686 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 178.6743 | μmol/L | 30.2969 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.712 | 156214.928 | 297584.7334 | 59.9307 | 49.4
58216 | 2021-03-29 13:46 | 33.0015 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 178.5156 | μmol/L | 30.3031 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.72 | 156531.7584 | 297579.7095 | 59.9307 | 49.4
58226 | 2021-03-29 13:47 | 33.3351 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 178.1923 | μmol/L | 30.3341 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.73 | 156823.0127 | 297571.2108 | 59.9307 | 49.4
58236 | 2021-03-29 13:47 | 33.6689 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 178.0476 | μmol/L | 30.3465 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.735 | 156838.4601 | 297575.9606 | 59.9307 | 49.4
58246 | 2021-03-29 13:47 | 34.0017 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.9894 | μmol/L | 30.3341 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.743 | 156887.5282 | 297557.7437 | 59.9307 | 49.4
58256 | 2021-03-29 13:48 | 34.3353 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.9022 | μmol/L | 30.3155 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.755 | 157411.5285 | 297550.7261 | 59.9307 | 49.4
58266 | 2021-03-29 13:48 | 34.6681 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.9418 | μmol/L | 30.2907 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.761 | 157468.6131 | 297552.1757 | 59.9307 | 49.4
58276 | 2021-03-29 13:48 | 35.0021 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.7217 | μmol/L | 30.2969 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.773 | 157671.7356 | 297554.2399 | 59.9307 | 49.4
58286 | 2021-03-29 13:49 | 35.3349 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.7146 | μmol/L | 30.2722 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.782 | 157838.367 | 297540.9018 | 59.9307 | 49.4
58296 | 2021-03-29 13:49 | 35.6687 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.6834 | μmol/L | 30.2722 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.784 | 157943.6029 | 297530.4974 | 59.9307 | 49.4
58306 | 2021-03-29 13:49 | 36.002 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.5746 | μmol/L | 30.2722 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.791 | 158018.6361 | 297540.4627 | 59.9307 | 49.4
58316 | 2021-03-29 13:50 | 36.3348 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.3507 | μmol/L | 30.2907 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.799 | 158131.3176 | 297537.6346 | 59.9307 | 49.4
58326 | 2021-03-29 13:50 | 36.6684 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.0983 | μmol/L | 30.3031 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.811 | 158180.1339 | 297545.8813 | 59.9307 | 49.4
58336 | 2021-03-29 13:50 | 37.0014 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.1223 | μmol/L | 30.2783 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.818 | 158143.2396 | 297512.111 | 59.9307 | 49.4
58346 | 2021-03-29 13:51 | 37.3351 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 176.8883 | μmol/L | 30.3279 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.816 | 158115.7364 | 297512.6844 | 59.9307 | 49.4
58356 | 2021-03-29 13:51 | 37.6682 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 176.811 | μmol/L | 30.3279 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.821 | 158288.5053 | 297542.351 | 59.9307 | 49.4
58366 | 2021-03-29 13:51 | 38.0021 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 176.7225 | μmol/L | 30.3155 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.831 | 158345.1478 | 297503.7181 | 59.9307 | 49.4
58376 | 2021-03-29 13:52 | 38.335 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 176.8612 | μmol/L | 30.2722 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.837 | 158340.1902 | 297510.1951 | 59.9307 | 49.4
58386 | 2021-03-29 13:52 | 38.6689 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 176.7221 | μmol/L | 30.2722 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.846 | 158436.7451 | 297500.8039 | 59.9307 | 49.4
58396 | 2021-03-29 13:52 | 39.0016 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 176.5149 | μmol/L | 30.2907 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.853 | 158373.2845 | 297501.5732 | 59.9307 | 49.4
58406 | 2021-03-29 13:53 | 39.3348 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 176.7439 | μmol/L | 30.2536 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.851 | 158346.2449 | 297492.0613 | 59.9307 | 49.4
58416 | 2021-03-29 13:53 | 39.6685 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 176.9113 | μmol/L | 30.2164 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.853 | 158349.2868 | 297498.9964 | 59.9307 | 49.4
58426 | 2021-03-29 13:53 | 40.0015 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 176.704 | μmol/L | 30.235 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.86 | 158424.5164 | 297484.3696 | 59.9307 | 49.4
58436 | 2021-03-29 13:54 | 40.3348 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 176.6886 | μmol/L | 30.235 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.861 | 158401.9409 | 297479.7016 | 59.9307 | 49.4
58446 | 2021-03-29 13:54 | 40.6688 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 176.5475 | μmol/L | 30.2412 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.868 | 158468.017 | 297487.8646 | 59.9307 | 49.4
58456 | 2021-03-29 13:54 | 41.0018 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 176.4528 | μmol/L | 30.2474 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.872 | 158599.8866 | 297487.1661 | 59.9307 | 49.4
58466 | 2021-03-29 13:55 | 41.3349 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 176.5869 | μmol/L | 30.2164 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.874 | 158501.0261 | 297464.1877 | 59.9307 | 49.4
58476 | 2021-03-29 13:55 | 41.6687 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 176.6683 | μmol/L | 30.204 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.873 | 158381.6865 | 297458.2886 | 59.9307 | 49.4
58486 | 2021-03-29 13:55 | 42.0016 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 176.5539 | μmol/L | 30.2226 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.874 | 158372.9303 | 297452.9119 | 59.9307 | 49.4
58496 | 2021-03-29 13:56 | 42.3352 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 176.2087 | μmol/L | 30.2845 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.875 | 158369.2883 | 297455.2195 | 59.9307 | 49.4
58506 | 2021-03-29 13:56 | 42.6687 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 176.1625 | μmol/L | 30.2845 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.878 | 158393.845 | 297449.588 | 59.9307 | 49.4
58516 | 2021-03-29 13:56 | 43.0017 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.8902 | μmol/L | 30.3155 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.885 | 158533.4179 | 297449.4443 | 59.9307 | 49.4
58526 | 2021-03-29 13:57 | 43.3355 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.9231 | μmol/L | 30.3093 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.885 | 158524.7066 | 297428.7729 | 59.9307 | 49.4
58536 | 2021-03-29 13:57 | 43.6686 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 176.0416 | μmol/L | 30.2783 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.888 | 158592.1484 | 297454.3149 | 59.9307 | 49.4
58546 | 2021-03-29 13:57 | 44.0022 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 176.1647 | μmol/L | 30.2783 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.88 | 158205.6149 | 297430.9132 | 59.9307 | 49.4
58556 | 2021-03-29 13:58 | 44.3348 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.8375 | μmol/L | 30.3341 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.882 | 157560.5339 | 297432.7814 | 59.9307 | 49.4
58566 | 2021-03-29 13:58 | 44.6687 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 176.1382 | μmol/L | 30.266 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.886 | 157482.1444 | 297449.2964 | 59.9307 | 49.4
58576 | 2021-03-29 13:58 | 45.0016 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 176.2546 | μmol/L | 30.2412 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.887 | 157280.5845 | 297410.9744 | 59.9307 | 49.4
58586 | 2021-03-29 13:59 | 45.3352 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.8725 | μmol/L | 30.2783 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.899 | 157219.6603 | 297408.9685 | 59.9307 | 49.4
58596 | 2021-03-29 13:59 | 45.6682 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.8746 | μmol/L | 30.2722 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.901 | 156876.9406 | 297402.0202 | 59.9307 | 49.4
58606 | 2021-03-29 13:59 | 46.0015 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.7189 | μmol/L | 30.2783 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.909 | 157067.9581 | 297410.2694 | 59.9307 | 49.4
58616 | 2021-03-29 14:00 | 46.3354 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.6597 | μmol/L | 30.2722 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.915 | 157126.4908 | 297407.3525 | 59.9307 | 49.4
58626 | 2021-03-29 14:00 | 46.6685 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.5502 | μmol/L | 30.2783 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.92 | 157061.3288 | 297380.7569 | 59.9307 | 49.4
58636 | 2021-03-29 14:00 | 47.0016 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.4758 | μmol/L | 30.2722 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.927 | 157133.0725 | 297415.6401 | 59.9307 | 49.4
58646 | 2021-03-29 14:01 | 47.3352 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.6027 | μmol/L | 30.2598 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.923 | 156983.4682 | 297404.6465 | 59.9307 | 49.4
58656 | 2021-03-29 14:01 | 47.6688 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.5721 | μmol/L | 30.2598 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.925 | 156852.1404 | 297403.6536 | 59.9307 | 49.4
58666 | 2021-03-29 14:01 | 48.0019 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.2067 | μmol/L | 30.3403 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.921 | 156681.7975 | 297394.1387 | 59.9307 | 49.4
58676 | 2021-03-29 14:02 | 48.3348 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.3401 | μmol/L | 30.3093 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.923 | 156362.9143 | 297398.3511 | 59.9307 | 49.4
58686 | 2021-03-29 14:02 | 48.6684 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.2811 | μmol/L | 30.3031 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.929 | 156424.2253 | 297389.8462 | 59.9307 | 49.4
58696 | 2021-03-29 14:02 | 49.0015 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.0407 | μmol/L | 30.3341 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.934 | 156341.9745 | 297392.4849 | 59.9307 | 49.4
58706 | 2021-03-29 14:03 | 49.3353 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.1762 | μmol/L | 30.2969 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.938 | 155998.0736 | 297381.2045 | 59.9307 | 49.4
58716 | 2021-03-29 14:03 | 49.6684 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.9208 | μmol/L | 30.3279 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.944 | 156116.0481 | 297371.7244 | 59.9307 | 49.4
58726 | 2021-03-29 14:03 | 50.0023 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.9513 | μmol/L | 30.3279 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.942 | 155916.8995 | 297365.2286 | 59.9307 | 49.4
58736 | 2021-03-29 14:04 | 50.3354 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.9688 | μmol/L | 30.3217 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.943 | 155825.2043 | 297353.4153 | 59.9307 | 49.4
58746 | 2021-03-29 14:04 | 50.6683 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.8597 | μmol/L | 30.3279 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.948 | 155875.7495 | 297355.8931 | 59.9307 | 49.4
58756 | 2021-03-29 14:04 | 51.002 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.6961 | μmol/L | 30.3588 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.948 | 155887.9115 | 297353.4256 | 59.9307 | 49.4
58766 | 2021-03-29 14:05 | 51.3352 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.6983 | μmol/L | 30.3526 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.95 | 155918.7011 | 297345.363 | 59.9307 | 49.4
58776 | 2021-03-29 14:05 | 51.6687 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.5567 | μmol/L | 30.365 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.955 | 155994.8224 | 297340.8292 | 59.9307 | 49.4
58786 | 2021-03-29 14:05 | 52.0017 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.426 | μmol/L | 30.3898 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.955 | 155679.3171 | 297321.9952 | 59.9307 | 49.4
58796 | 2021-03-29 14:06 | 52.3351 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.4587 | μmol/L | 30.3836 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.955 | 155701.5146 | 297336.4274 | 59.9307 | 49.4