## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-29 14:07

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
57228 | 2021-03-29 13:14 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 181.8515 | μmol/L | 30.1409 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.253 | 157737.101 | 312641.8311 | 33.25 | 68.6
57237 | 2021-03-29 13:14 | 0.52459 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 182.4682 | μmol/L | 30.031 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.253 | 157740.4005 | 312643.1661 | 33.25 | 68.6
57247 | 2021-03-29 13:14 | 0.65909 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 182.2999 | μmol/L | 30.0555 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.255 | 157740.5285 | 312649.2769 | 33.25 | 68.6
57257 | 2021-03-29 13:15 | 0.99293 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 182.1285 | μmol/L | 30.086 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.255 | 157749.8261 | 312628.7805 | 33.25 | 68.6
57267 | 2021-03-29 13:15 | 1.3257 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 182.1753 | μmol/L | 30.0555 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.263 | 157754.294 | 312615.0986 | 33.25 | 68.6
57278 | 2021-03-29 13:15 | 1.6594 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 181.9325 | μmol/L | 30.1043 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.261 | 157765.0366 | 312603.9923 | 33.25 | 68.6
57287 | 2021-03-29 13:16 | 1.9923 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 181.8361 | μmol/L | 30.1104 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.265 | 157780.699 | 312587.4416 | 33.25 | 68.6
57297 | 2021-03-29 13:16 | 2.3259 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 181.7894 | μmol/L | 30.1104 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.268 | 157785.7282 | 312559.7949 | 33.25 | 68.6
57307 | 2021-03-29 13:16 | 2.6596 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 182.0694 | μmol/L | 30.0494 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.272 | 157800.911 | 312542.3152 | 33.25 | 68.6
57317 | 2021-03-29 13:17 | 2.9925 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 181.8517 | μmol/L | 30.0799 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.275 | 157810.5377 | 312524.5355 | 33.25 | 68.6
57328 | 2021-03-29 13:17 | 3.3262 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 181.6218 | μmol/L | 30.1043 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.281 | 157844.6971 | 312530.5845 | 33.25 | 68.6
57337 | 2021-03-29 13:17 | 3.6591 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 181.0664 | μmol/L | 30.1898 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.286 | 157861.7025 | 312516.6669 | 33.25 | 68.6
57347 | 2021-03-29 13:18 | 3.9929 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 181.5597 | μmol/L | 30.1043 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.285 | 157880.6417 | 312511.7904 | 33.25 | 68.6
57357 | 2021-03-29 13:18 | 4.3258 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 181.535 | μmol/L | 30.0921 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.291 | 157884.2493 | 312490.8241 | 33.25 | 68.6
57367 | 2021-03-29 13:18 | 4.6596 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 181.4916 | μmol/L | 30.086 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.296 | 157900.9806 | 312487.105 | 33.25 | 68.6
57377 | 2021-03-29 13:19 | 4.9924 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 181.6997 | μmol/L | 30.0432 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.298 | 157927.4765 | 312459.0586 | 33.25 | 68.6
57387 | 2021-03-29 13:19 | 5.326 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 181.4142 | μmol/L | 30.086 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.301 | 157939.2573 | 312451.2851 | 33.25 | 68.6
57398 | 2021-03-29 13:19 | 5.6598 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 181.3026 | μmol/L | 30.0921 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.306 | 157967.7502 | 312439.1028 | 33.25 | 68.6
57407 | 2021-03-29 13:20 | 5.9926 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 181.0021 | μmol/L | 30.1348 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.31 | 157997.1465 | 312425.6442 | 33.25 | 68.6
57417 | 2021-03-29 13:20 | 6.3262 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 181.3802 | μmol/L | 30.0616 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.312 | 158014.1657 | 312416.8359 | 33.25 | 68.6
57427 | 2021-03-29 13:20 | 6.6591 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 181.2347 | μmol/L | 30.0738 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.317 | 158034.9888 | 312400.2062 | 33.25 | 68.6
57437 | 2021-03-29 13:21 | 6.9924 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 181.0242 | μmol/L | 30.0921 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.324 | 158053.5973 | 312397.5057 | 33.25 | 68.6
57447 | 2021-03-29 13:21 | 7.3261 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 180.7923 | μmol/L | 30.1226 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.328 | 158077.7959 | 312383.594 | 33.25 | 68.6
57457 | 2021-03-29 13:21 | 7.6597 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 180.712 | μmol/L | 30.1287 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.331 | 158105.2884 | 312358.391 | 33.25 | 68.6
57468 | 2021-03-29 13:22 | 7.9927 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 180.9038 | μmol/L | 30.086 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.334 | 158111.654 | 312347.3116 | 33.25 | 68.6
57478 | 2021-03-29 13:22 | 8.3264 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 180.7586 | μmol/L | 30.0982 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.339 | 158144.2945 | 312359.4682 | 33.25 | 68.6
57487 | 2021-03-29 13:22 | 8.6596 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 181.2909 | μmol/L | 29.9944 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.342 | 158168.7937 | 312338.969 | 33.25 | 68.6
57497 | 2021-03-29 13:23 | 8.9925 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 180.8733 | μmol/L | 30.0555 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.347 | 158191.5815 | 312327.939 | 33.25 | 68.6
57507 | 2021-03-29 13:23 | 9.326 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 180.3975 | μmol/L | 30.1409 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.347 | 158203.6943 | 312311.6014 | 33.25 | 68.6
57517 | 2021-03-29 13:23 | 9.6593 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 180.6108 | μmol/L | 30.086 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.353 | 158217.3629 | 312305.2138 | 33.25 | 68.6
57527 | 2021-03-29 13:24 | 9.9928 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 180.5492 | μmol/L | 30.086 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.357 | 158250.723 | 312302.2961 | 33.25 | 68.6
57537 | 2021-03-29 13:24 | 10.3257 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 180.7593 | μmol/L | 30.0371 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.361 | 158265.2978 | 312280.6529 | 33.25 | 68.6
57547 | 2021-03-29 13:24 | 10.6594 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 180.5835 | μmol/L | 30.0494 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.368 | 158284.1683 | 312274.6852 | 33.25 | 68.6
57557 | 2021-03-29 13:25 | 10.993 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 180.5835 | μmol/L | 30.0494 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.368 | 158295.7325 | 312259.1899 | 33.25 | 68.6
57567 | 2021-03-29 13:25 | 11.3258 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 180.1149 | μmol/L | 30.1226 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.372 | 158317.8445 | 312242.8136 | 33.25 | 68.6
57577 | 2021-03-29 13:25 | 11.6596 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 180.4265 | μmol/L | 30.0555 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.376 | 158332.6688 | 312221.5141 | 33.25 | 68.6
57588 | 2021-03-29 13:26 | 11.9924 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 180.2108 | μmol/L | 30.086 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.379 | 158366.3184 | 312223.2409 | 33.25 | 68.6
57597 | 2021-03-29 13:26 | 12.326 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 180.2542 | μmol/L | 30.0616 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.385 | 158385.8826 | 312201.6879 | 33.25 | 68.6
57608 | 2021-03-29 13:26 | 12.6595 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 180.3346 | μmol/L | 30.0249 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.393 | 158406.1018 | 312205.5502 | 33.25 | 68.6
57618 | 2021-03-29 13:27 | 12.9924 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 180.3346 | μmol/L | 30.0249 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.393 | 158431.2783 | 312186.919 | 33.25 | 68.6
57627 | 2021-03-29 13:27 | 13.3261 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 180.3748 | μmol/L | 30.0066 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.397 | 158462.0361 | 312186.1418 | 33.25 | 68.6
57637 | 2021-03-29 13:27 | 13.6596 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 179.8209 | μmol/L | 30.0982 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.4 | 158484.996 | 312173.1919 | 33.25 | 68.6
57647 | 2021-03-29 13:28 | 13.993 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 180.0366 | μmol/L | 30.0371 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.408 | 158509.597 | 312162.5832 | 33.25 | 68.6
57657 | 2021-03-29 13:28 | 14.3263 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 180.0244 | μmol/L | 30.031 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.411 | 158534.9824 | 312174.3791 | 33.25 | 68.6
57667 | 2021-03-29 13:28 | 14.6594 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 179.8214 | μmol/L | 30.0677 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.411 | 158543.1584 | 312149.6433 | 33.25 | 68.6
57677 | 2021-03-29 13:29 | 14.9926 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 180.1909 | μmol/L | 29.9761 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.42 | 158573.4442 | 312140.4425 | 33.25 | 68.6
57688 | 2021-03-29 13:29 | 15.3262 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 179.4994 | μmol/L | 30.0982 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.421 | 158587.7729 | 312129.855 | 33.25 | 68.6
57697 | 2021-03-29 13:29 | 15.659 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 179.2205 | μmol/L | 30.1348 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.426 | 158611.8435 | 312112.3192 | 33.25 | 68.6
57707 | 2021-03-29 13:30 | 15.9926 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 179.4357 | μmol/L | 30.0738 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.434 | 158630.185 | 312104.4564 | 33.25 | 68.6
57717 | 2021-03-29 13:30 | 16.3263 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 179.1811 | μmol/L | 30.1226 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.433 | 158651.0466 | 312099.8696 | 33.25 | 68.6
57728 | 2021-03-29 13:30 | 16.6592 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 179.2245 | μmol/L | 30.0982 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.439 | 158667.9277 | 312078.2861 | 33.25 | 68.6
57738 | 2021-03-29 13:31 | 16.9928 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 179.4638 | μmol/L | 30.0494 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.441 | 158695.0346 | 312076.1881 | 33.25 | 68.6
57747 | 2021-03-29 13:31 | 17.3259 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 179.3288 | μmol/L | 30.0738 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.441 | 158717.1627 | 312058.5572 | 33.25 | 68.6
57757 | 2021-03-29 13:31 | 17.6596 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.9741 | μmol/L | 30.1104 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.451 | 158729.9891 | 312033.6964 | 33.25 | 68.6
57767 | 2021-03-29 13:32 | 17.9924 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 179.1794 | μmol/L | 30.0677 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.453 | 158763.7194 | 312032.441 | 33.25 | 68.6
57778 | 2021-03-29 13:32 | 18.3261 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.8122 | μmol/L | 30.1287 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.455 | 158780.8291 | 312028.0995 | 33.25 | 68.6
57788 | 2021-03-29 13:32 | 18.6597 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.9011 | μmol/L | 30.1043 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.458 | 158812.7598 | 312010.4339 | 33.25 | 68.6
57797 | 2021-03-29 13:33 | 18.9925 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.6752 | μmol/L | 30.1287 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.464 | 158842.9412 | 312022.789 | 33.25 | 68.6
57807 | 2021-03-29 13:33 | 19.3262 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.8899 | μmol/L | 30.0677 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.472 | 158859.7862 | 311998.9588 | 33.25 | 68.6
57817 | 2021-03-29 13:33 | 19.6591 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.584 | μmol/L | 30.1287 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.47 | 158880.5348 | 311996.7446 | 33.25 | 68.6
57827 | 2021-03-29 13:34 | 19.9928 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.5233 | μmol/L | 30.1287 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.474 | 158918.879 | 311986.4268 | 33.25 | 68.6
57837 | 2021-03-29 13:34 | 20.3258 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.5026 | μmol/L | 30.1104 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.482 | 158946.4859 | 311987.5557 | 33.25 | 68.6
57848 | 2021-03-29 13:34 | 20.6596 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.2556 | μmol/L | 30.147 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.485 | 158961.5642 | 311977.1406 | 33.25 | 68.6
57858 | 2021-03-29 13:35 | 20.9931 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.0911 | μmol/L | 30.1715 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.487 | 158993.2138 | 311964.0916 | 33.25 | 68.6
57868 | 2021-03-29 13:35 | 21.3261 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 177.9515 | μmol/L | 30.1776 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.494 | 159012.8265 | 311958.8127 | 33.25 | 68.6
57878 | 2021-03-29 13:35 | 21.6591 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 177.757 | μmol/L | 30.202 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.498 | 159039.1428 | 311926.999 | 33.25 | 68.6
57887 | 2021-03-29 13:36 | 21.9929 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 177.7754 | μmol/L | 30.1959 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.499 | 159060.6126 | 311940.0542 | 33.25 | 68.6
57897 | 2021-03-29 13:36 | 22.3263 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 177.6296 | μmol/L | 30.2142 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.502 | 159079.7188 | 311939.2828 | 33.25 | 68.6
57907 | 2021-03-29 13:36 | 22.6592 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 177.5324 | μmol/L | 30.2264 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.504 | 159094.1725 | 311912.1428 | 33.25 | 68.6
57917 | 2021-03-29 13:37 | 22.9928 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 177.457 | μmol/L | 30.2264 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.509 | 159126.3993 | 311917.8993 | 33.25 | 68.6
57928 | 2021-03-29 13:37 | 23.3264 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 177.6275 | μmol/L | 30.1898 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.511 | 159138.5239 | 311914.2465 | 33.25 | 68.6
57938 | 2021-03-29 13:37 | 23.6593 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 177.2662 | μmol/L | 30.2447 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.515 | 159161.7081 | 311884.4435 | 33.25 | 68.6
57948 | 2021-03-29 13:38 | 23.993 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 177.0474 | μmol/L | 30.2875 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.514 | 159202.5535 | 311904.2696 | 33.25 | 68.6
57957 | 2021-03-29 13:38 | 24.3258 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 177.0389 | μmol/L | 30.2753 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.519 | 159213.572 | 311891.0918 | 33.25 | 68.6
57967 | 2021-03-29 13:38 | 24.6597 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 177.0638 | μmol/L | 30.2569 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.524 | 159245.9822 | 311878.5864 | 33.25 | 68.6
57977 | 2021-03-29 13:39 | 24.9928 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 176.7917 | μmol/L | 30.2875 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.531 | 159280.7795 | 311873.7065 | 33.25 | 68.6
57987 | 2021-03-29 13:39 | 25.3257 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 177.0253 | μmol/L | 30.2447 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.531 | 159293.2564 | 311866.0268 | 33.25 | 68.6
57997 | 2021-03-29 13:39 | 25.6594 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 176.7983 | μmol/L | 30.2753 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.535 | 159310.1561 | 311859.5673 | 33.25 | 68.6
58007 | 2021-03-29 13:40 | 25.9924 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 176.8932 | μmol/L | 30.2386 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.542 | 159350.839 | 311864.5606 | 33.25 | 68.6
58018 | 2021-03-29 13:40 | 26.3261 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 176.6148 | μmol/L | 30.2814 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.545 | 159375.06 | 311851.8909 | 33.25 | 68.6
58027 | 2021-03-29 13:40 | 26.659 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 176.6181 | μmol/L | 30.2753 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.547 | 159390.0873 | 311839.4186 | 33.25 | 68.6
58037 | 2021-03-29 13:41 | 26.9929 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 176.4549 | μmol/L | 30.2997 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.549 | 159425.9932 | 311835.3265 | 33.25 | 68.6
58047 | 2021-03-29 13:41 | 27.3259 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 176.3833 | μmol/L | 30.2936 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.556 | 159456.0585 | 311822.3495 | 33.25 | 68.6
58057 | 2021-03-29 13:41 | 27.6596 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 176.2568 | μmol/L | 30.3058 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.56 | 159477.6806 | 311815.8485 | 33.25 | 68.6
58067 | 2021-03-29 13:42 | 27.9925 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 176.4115 | μmol/L | 30.2691 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.563 | 159498.1451 | 311794.6765 | 33.25 | 68.6
58078 | 2021-03-29 13:42 | 28.3264 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 176.182 | μmol/L | 30.3058 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.565 | 159524.9132 | 311802.4616 | 33.25 | 68.6
58087 | 2021-03-29 13:42 | 28.6592 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 176.1072 | μmol/L | 30.3058 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.57 | 159551.6555 | 311802.314 | 33.25 | 68.6
58098 | 2021-03-29 13:43 | 28.9927 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 176.3948 | μmol/L | 30.2447 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.573 | 159589.8891 | 311784.9367 | 33.25 | 68.6
58107 | 2021-03-29 13:43 | 29.3257 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 176.2384 | μmol/L | 30.2569 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.579 | 159608.0441 | 311776.3899 | 33.25 | 68.6
58117 | 2021-03-29 13:43 | 29.6594 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 176.0275 | μmol/L | 30.2875 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.582 | 159648.3766 | 311770.4257 | 33.25 | 68.6
58127 | 2021-03-29 13:44 | 29.9931 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 175.8864 | μmol/L | 30.2997 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.587 | 159678.6132 | 311769.7302 | 33.25 | 68.6
58137 | 2021-03-29 13:44 | 30.3263 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 175.9295 | μmol/L | 30.2753 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.593 | 159714.4658 | 311752.8582 | 33.25 | 68.6
58147 | 2021-03-29 13:44 | 30.6598 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 175.752 | μmol/L | 30.2997 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.596 | 159735.5816 | 311747.8375 | 33.25 | 68.6
58157 | 2021-03-29 13:45 | 30.9926 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 175.6659 | μmol/L | 30.2936 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.604 | 159776.8425 | 311752.9784 | 33.25 | 68.6
58167 | 2021-03-29 13:45 | 31.3264 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 175.6394 | μmol/L | 30.2875 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.608 | 159816.441 | 311747.5556 | 33.25 | 68.6
58177 | 2021-03-29 13:45 | 31.6594 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 175.7306 | μmol/L | 30.2569 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.613 | 159844.2549 | 311729.24 | 33.25 | 68.6
58187 | 2021-03-29 13:46 | 31.9924 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 175.6412 | μmol/L | 30.2569 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.619 | 159890.4401 | 311727.5972 | 33.25 | 68.6
58197 | 2021-03-29 13:46 | 32.326 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 175.7803 | μmol/L | 30.2203 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.623 | 159912.8614 | 311727.8642 | 33.25 | 68.6
58207 | 2021-03-29 13:46 | 32.6592 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 175.4227 | μmol/L | 30.2753 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.627 | 159955.2245 | 311718.1493 | 33.25 | 68.6
58217 | 2021-03-29 13:47 | 32.993 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 175.484 | μmol/L | 30.2447 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.634 | 159989.416 | 311704.2063 | 33.25 | 68.6
58227 | 2021-03-29 13:47 | 33.3258 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 175.193 | μmol/L | 30.2875 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.638 | 160016.5927 | 311697.5316 | 33.25 | 68.6
58237 | 2021-03-29 13:47 | 33.6595 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 174.9751 | μmol/L | 30.3058 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.646 | 160054.3388 | 311699.9381 | 33.25 | 68.6
58247 | 2021-03-29 13:48 | 33.9923 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 175.0594 | μmol/L | 30.2875 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.647 | 160087.3066 | 311692.8266 | 33.25 | 68.6
58257 | 2021-03-29 13:48 | 34.3258 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 175.2345 | μmol/L | 30.2386 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.653 | 160113.9935 | 311679.7974 | 33.25 | 68.6
58268 | 2021-03-29 13:48 | 34.6598 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 175.01 | μmol/L | 30.2691 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.657 | 160160.3696 | 311676.7041 | 33.25 | 68.6
58277 | 2021-03-29 13:49 | 34.9928 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 175.0415 | μmol/L | 30.2386 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.666 | 160194.3253 | 311674.4858 | 33.25 | 68.6
58287 | 2021-03-29 13:49 | 35.3257 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 175.0119 | μmol/L | 30.2386 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.668 | 160227.4694 | 311657.8346 | 33.25 | 68.6
58297 | 2021-03-29 13:49 | 35.6594 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 174.8603 | μmol/L | 30.2447 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.676 | 160272.8483 | 311670.8767 | 33.25 | 68.6
58307 | 2021-03-29 13:50 | 35.9926 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 174.7318 | μmol/L | 30.263 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.678 | 160307.3227 | 311664.0053 | 33.25 | 68.6
58317 | 2021-03-29 13:50 | 36.3263 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 174.8077 | μmol/L | 30.2325 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.684 | 160351.184 | 311660.3976 | 33.25 | 68.6
58327 | 2021-03-29 13:50 | 36.6592 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 174.6349 | μmol/L | 30.2508 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.689 | 160376.788 | 311648.5003 | 33.25 | 68.6
58337 | 2021-03-29 13:51 | 36.9924 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 174.6482 | μmol/L | 30.2264 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.697 | 160417.6101 | 311631.8974 | 33.25 | 68.6
58347 | 2021-03-29 13:51 | 37.326 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 174.5595 | μmol/L | 30.2264 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.703 | 160469.4784 | 311629.5031 | 33.25 | 68.6
58358 | 2021-03-29 13:51 | 37.6597 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 174.2293 | μmol/L | 30.263 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.712 | 160514.5446 | 311626.1575 | 33.25 | 68.6
58368 | 2021-03-29 13:52 | 37.9928 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 174.3413 | μmol/L | 30.2203 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.72 | 160556.0526 | 311611.4296 | 33.25 | 68.6
58377 | 2021-03-29 13:52 | 38.3257 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 174.1656 | μmol/L | 30.2447 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.723 | 160603.0643 | 311606.8359 | 33.25 | 68.6
58387 | 2021-03-29 13:52 | 38.6596 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 174.2447 | μmol/L | 30.2081 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.731 | 160652.4584 | 311607.7835 | 33.25 | 68.6
58397 | 2021-03-29 13:53 | 38.9924 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 174.0872 | μmol/L | 30.2264 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.735 | 160691.2785 | 311595.7526 | 33.25 | 68.6
58408 | 2021-03-29 13:53 | 39.3264 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 174.043 | μmol/L | 30.2264 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.738 | 160725.6245 | 311595.5917 | 33.25 | 68.6
58417 | 2021-03-29 13:53 | 39.6594 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 173.9433 | μmol/L | 30.2203 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.747 | 160765.8404 | 311587.2099 | 33.25 | 68.6
58428 | 2021-03-29 13:54 | 39.9931 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 173.9206 | μmol/L | 30.2081 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.753 | 160816.1166 | 311579.9956 | 33.25 | 68.6
58437 | 2021-03-29 13:54 | 40.3262 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 173.8323 | μmol/L | 30.2081 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.759 | 160849.0474 | 311578.5688 | 33.25 | 68.6
58447 | 2021-03-29 13:54 | 40.6594 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 173.6786 | μmol/L | 30.2203 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.765 | 160889.7248 | 311574.8271 | 33.25 | 68.6
58458 | 2021-03-29 13:55 | 40.9931 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 173.463 | μmol/L | 30.2386 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.773 | 160930.9078 | 311575.6827 | 33.25 | 68.6
58467 | 2021-03-29 13:55 | 41.3261 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 173.5171 | μmol/L | 30.2203 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.776 | 160980.4882 | 311556.4826 | 33.25 | 68.6
58478 | 2021-03-29 13:55 | 41.6598 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 173.7562 | μmol/L | 30.1592 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.782 | 161011.2816 | 311542.8134 | 33.25 | 68.6
58487 | 2021-03-29 13:56 | 41.9927 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 173.2431 | μmol/L | 30.2386 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.788 | 161066.618 | 311555.1923 | 33.25 | 68.6
58497 | 2021-03-29 13:56 | 42.3263 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 173.0686 | μmol/L | 30.263 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.791 | 161096.0479 | 311534.3811 | 33.25 | 68.6
58507 | 2021-03-29 13:56 | 42.659 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 173.1001 | μmol/L | 30.2325 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.8 | 161131.2915 | 311543.0451 | 33.25 | 68.6
58517 | 2021-03-29 13:57 | 42.9927 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 173.281 | μmol/L | 30.1837 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.806 | 161172.996 | 311537.6684 | 33.25 | 68.6
58527 | 2021-03-29 13:57 | 43.3264 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.9359 | μmol/L | 30.2386 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.809 | 161207.0568 | 311527.0184 | 33.25 | 68.6
58537 | 2021-03-29 13:57 | 43.6595 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 173.0258 | μmol/L | 30.2081 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.814 | 161250.8984 | 311524.164 | 33.25 | 68.6
58547 | 2021-03-29 13:58 | 43.9923 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.837 | μmol/L | 30.2325 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.818 | 161295.1494 | 311516.5781 | 33.25 | 68.6
58558 | 2021-03-29 13:58 | 44.3265 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.6293 | μmol/L | 30.2386 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.83 | 161328.4695 | 311501.5476 | 33.25 | 68.6
58567 | 2021-03-29 13:58 | 44.6596 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.7415 | μmol/L | 30.2203 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.829 | 161366.8893 | 311505.751 | 33.25 | 68.6
58577 | 2021-03-29 13:59 | 44.9924 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.5306 | μmol/L | 30.2325 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.839 | 161412.1249 | 311496.7542 | 33.25 | 68.6
58587 | 2021-03-29 13:59 | 45.3261 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.4073 | μmol/L | 30.2447 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.843 | 161444.5759 | 311488.4719 | 33.25 | 68.6
58597 | 2021-03-29 13:59 | 45.6593 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.367 | μmol/L | 30.2386 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.848 | 161493.2779 | 311490.4218 | 33.25 | 68.6
58607 | 2021-03-29 14:00 | 45.9927 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.1028 | μmol/L | 30.2691 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.855 | 161535.0304 | 311490.3178 | 33.25 | 68.6
58618 | 2021-03-29 14:00 | 46.3265 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.2652 | μmol/L | 30.2386 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.855 | 161565.4549 | 311482.2433 | 33.25 | 68.6
58627 | 2021-03-29 14:00 | 46.6594 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.8927 | μmol/L | 30.2814 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.865 | 161610.1603 | 311470.7554 | 33.25 | 68.6
58637 | 2021-03-29 14:01 | 46.9931 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.7015 | μmol/L | 30.3119 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.867 | 161667.3819 | 311465.6733 | 33.25 | 68.6
58647 | 2021-03-29 14:01 | 47.3261 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.6077 | μmol/L | 30.3119 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.874 | 161712.8006 | 311451.2239 | 33.25 | 68.6
58657 | 2021-03-29 14:01 | 47.6597 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.4519 | μmol/L | 30.318 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.882 | 161758.6817 | 311458.9977 | 33.25 | 68.6
58668 | 2021-03-29 14:02 | 47.9929 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.308 | μmol/L | 30.3424 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.883 | 161792.5586 | 311442.1211 | 33.25 | 68.6
58678 | 2021-03-29 14:02 | 48.3265 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.2137 | μmol/L | 30.3302 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.894 | 161850.4181 | 311446.4793 | 33.25 | 68.6
58687 | 2021-03-29 14:02 | 48.6591 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.901 | μmol/L | 30.3729 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.9 | 161885.9753 | 311417.7055 | 33.25 | 68.6
58698 | 2021-03-29 14:03 | 48.9931 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.8612 | μmol/L | 30.3668 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.905 | 161944.1264 | 311427.0047 | 33.25 | 68.6
58707 | 2021-03-29 14:03 | 49.3261 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.678 | μmol/L | 30.3852 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.911 | 161993.9899 | 311410.2074 | 33.25 | 68.6
58718 | 2021-03-29 14:03 | 49.6592 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.484 | μmol/L | 30.3974 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.92 | 162038.356 | 311412.8947 | 33.25 | 68.6
58727 | 2021-03-29 14:04 | 49.9924 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.4443 | μmol/L | 30.3913 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.925 | 162097.224 | 311405.7053 | 33.25 | 68.6
58737 | 2021-03-29 14:04 | 50.3264 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.2759 | μmol/L | 30.4096 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.93 | 162134.4994 | 311390.2902 | 33.25 | 68.6
58747 | 2021-03-29 14:04 | 50.6592 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.0933 | μmol/L | 30.4279 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.936 | 162185.1204 | 311393.0708 | 33.25 | 68.6
58758 | 2021-03-29 14:05 | 50.993 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.9964 | μmol/L | 30.4218 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.945 | 162241.8108 | 311395.4159 | 33.25 | 68.6
58767 | 2021-03-29 14:05 | 51.326 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.9534 | μmol/L | 30.4218 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.948 | 162285.9781 | 311395.5556 | 33.25 | 68.6
58777 | 2021-03-29 14:05 | 51.659 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.7391 | μmol/L | 30.4462 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.954 | 162319.0485 | 311377.1683 | 33.25 | 68.6
58787 | 2021-03-29 14:06 | 51.9928 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.7387 | μmol/L | 30.4218 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.963 | 162370.2892 | 311386.7463 | 33.25 | 68.6
58797 | 2021-03-29 14:06 | 52.3262 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.7565 | μmol/L | 30.4157 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.964 | 162414.9462 | 311369.7881 | 33.25 | 68.6