## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-29 14:07

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
57230 | 2021-03-29 13:14 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 175.3899 | μmol/L | 30.3425 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.068 | 135241.7062 | 275280.4071 | 26.25 | 74
57239 | 2021-03-29 13:14 | 0.47798 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 175.392 | μmol/L | 30.3364 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.07 | 135301.5586 | 275275.0855 | 26.25 | 74
57250 | 2021-03-29 13:14 | 0.66245 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 175.2709 | μmol/L | 30.3364 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.078 | 135357.9608 | 275271.894 | 26.25 | 74
57260 | 2021-03-29 13:15 | 0.99632 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 175.0894 | μmol/L | 30.3364 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.09 | 135443.0874 | 275276.036 | 26.25 | 74
57269 | 2021-03-29 13:15 | 1.3292 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 174.6776 | μmol/L | 30.3914 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.098 | 135504.6958 | 275259.4652 | 26.25 | 74
57279 | 2021-03-29 13:15 | 1.6629 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 174.6216 | μmol/L | 30.3792 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.106 | 135566.0122 | 275249.2796 | 26.25 | 74
57289 | 2021-03-29 13:16 | 1.9965 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 174.4645 | μmol/L | 30.3976 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.11 | 135599.5856 | 275243.0496 | 26.25 | 74
57300 | 2021-03-29 13:16 | 2.3297 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 174.2451 | μmol/L | 30.422 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.116 | 135645.9633 | 275247.8472 | 26.25 | 74
57310 | 2021-03-29 13:16 | 2.6625 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 174.2538 | μmol/L | 30.3976 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.124 | 135717.7137 | 275217.4915 | 26.25 | 74
57320 | 2021-03-29 13:17 | 2.9961 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 174.183 | μmol/L | 30.3853 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.133 | 135773.1455 | 275198.1601 | 26.25 | 74
57330 | 2021-03-29 13:17 | 3.3291 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 174.1079 | μmol/L | 30.3853 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.138 | 135818.8747 | 275180.8615 | 26.25 | 74
57339 | 2021-03-29 13:17 | 3.6626 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 174.0501 | μmol/L | 30.3792 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.144 | 135891.8866 | 275178.1009 | 26.25 | 74
57350 | 2021-03-29 13:18 | 3.9964 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 173.9044 | μmol/L | 30.367 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.158 | 135973.6208 | 275158.7263 | 26.25 | 74
57359 | 2021-03-29 13:18 | 4.3291 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 173.836 | μmol/L | 30.3487 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.169 | 136063.7686 | 275150.2109 | 26.25 | 74
57370 | 2021-03-29 13:18 | 4.663 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 173.5302 | μmol/L | 30.367 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.183 | 136188.8635 | 275149.4062 | 26.25 | 74
57380 | 2021-03-29 13:19 | 4.9959 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 173.2912 | μmol/L | 30.367 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.199 | 136289.7639 | 275134.1851 | 26.25 | 74
57390 | 2021-03-29 13:19 | 5.3297 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 173.0355 | μmol/L | 30.3731 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.214 | 136417.101 | 275126.7318 | 26.25 | 74
57399 | 2021-03-29 13:19 | 5.6625 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 173.0487 | μmol/L | 30.3364 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.226 | 136544.7624 | 275117.6298 | 26.25 | 74
57409 | 2021-03-29 13:20 | 5.996 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 172.9384 | μmol/L | 30.312 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.242 | 136677.34 | 275100.4681 | 26.25 | 74
57420 | 2021-03-29 13:20 | 6.3297 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 172.6323 | μmol/L | 30.3364 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.254 | 136737.8623 | 275101.5754 | 26.25 | 74
57429 | 2021-03-29 13:20 | 6.6626 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 172.4735 | μmol/L | 30.3242 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.269 | 136845.7271 | 275078.8325 | 26.25 | 74
57439 | 2021-03-29 13:21 | 6.9958 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 172.2875 | μmol/L | 30.3059 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.288 | 136978.7591 | 275072.0538 | 26.25 | 74
57449 | 2021-03-29 13:21 | 7.3296 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 171.985 | μmol/L | 30.3242 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.302 | 137108.035 | 275075.1482 | 26.25 | 74
57460 | 2021-03-29 13:21 | 7.6626 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 171.9769 | μmol/L | 30.3059 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.309 | 137159.1089 | 275058.8765 | 26.25 | 74
57469 | 2021-03-29 13:22 | 7.9962 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 171.9186 | μmol/L | 30.2631 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.328 | 137296.9935 | 275043.0986 | 26.25 | 74
57480 | 2021-03-29 13:22 | 8.3292 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 171.5116 | μmol/L | 30.2875 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.347 | 137403.8788 | 275032.9634 | 26.25 | 74
57490 | 2021-03-29 13:22 | 8.6631 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 171.3159 | μmol/L | 30.2997 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.356 | 137504.2024 | 275023.4168 | 26.25 | 74
57499 | 2021-03-29 13:23 | 8.9959 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 171.1441 | μmol/L | 30.2875 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.372 | 137637.7176 | 275016.1391 | 26.25 | 74
57509 | 2021-03-29 13:23 | 9.3296 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 171.0131 | μmol/L | 30.2447 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.396 | 137776.5146 | 275008.6086 | 26.25 | 74
57520 | 2021-03-29 13:23 | 9.6628 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 170.7911 | μmol/L | 30.2508 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.409 | 137880.6625 | 274992.2511 | 26.25 | 74
57530 | 2021-03-29 13:24 | 9.9965 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 170.5502 | μmol/L | 30.2692 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.419 | 137961.2436 | 274993.1906 | 26.25 | 74
57539 | 2021-03-29 13:24 | 10.3293 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 170.5593 | μmol/L | 30.2447 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.427 | 138024.4428 | 274973.3028 | 26.25 | 74
57550 | 2021-03-29 13:24 | 10.6631 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 170.4839 | μmol/L | 30.2508 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.43 | 138072.641 | 274974.2342 | 26.25 | 74
57559 | 2021-03-29 13:25 | 10.996 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 170.4255 | μmol/L | 30.2508 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.434 | 138107.4988 | 274956.8252 | 26.25 | 74
57570 | 2021-03-29 13:25 | 11.3297 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 170.2919 | μmol/L | 30.257 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.441 | 138146.6046 | 274962.9365 | 26.25 | 74
57579 | 2021-03-29 13:25 | 11.6628 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 170.1561 | μmol/L | 30.2692 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.446 | 138193.1739 | 274963.2875 | 26.25 | 74
57590 | 2021-03-29 13:26 | 11.9964 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 169.9836 | μmol/L | 30.2631 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.46 | 138296.1925 | 274940.7743 | 26.25 | 74
57599 | 2021-03-29 13:26 | 12.3292 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 169.8137 | μmol/L | 30.2508 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.476 | 138417.6285 | 274927.442 | 26.25 | 74
57609 | 2021-03-29 13:26 | 12.6631 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 169.871 | μmol/L | 30.2142 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.485 | 138492.0501 | 274929.3961 | 26.25 | 74
57619 | 2021-03-29 13:27 | 12.9961 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 169.9023 | μmol/L | 30.2081 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.485 | 138506.9088 | 274913.6809 | 26.25 | 74
57630 | 2021-03-29 13:27 | 13.3298 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 169.7257 | μmol/L | 30.2142 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.495 | 138582.3583 | 274901.7074 | 26.25 | 74
57640 | 2021-03-29 13:27 | 13.6632 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 169.5592 | μmol/L | 30.2325 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.5 | 138614.2618 | 274882.9305 | 26.25 | 74
57649 | 2021-03-29 13:28 | 13.9964 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 169.2845 | μmol/L | 30.2692 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.506 | 138648.071 | 274882.5495 | 26.25 | 74
57659 | 2021-03-29 13:28 | 14.3291 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 169.2822 | μmol/L | 30.2753 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.504 | 138678.9644 | 274879.6104 | 26.25 | 74
57669 | 2021-03-29 13:28 | 14.6628 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 169.2624 | μmol/L | 30.2508 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.514 | 138756.5758 | 274855.478 | 26.25 | 74
57679 | 2021-03-29 13:29 | 14.9958 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 168.7381 | μmol/L | 30.2997 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.533 | 138878.0224 | 274845.1453 | 26.25 | 74
57689 | 2021-03-29 13:29 | 15.3293 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 168.6995 | μmol/L | 30.2875 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.54 | 138944.8519 | 274849.9687 | 26.25 | 74
57699 | 2021-03-29 13:29 | 15.6631 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 168.62 | μmol/L | 30.2692 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.552 | 139032.654 | 274849.6133 | 26.25 | 74
57709 | 2021-03-29 13:30 | 15.9959 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 168.6558 | μmol/L | 30.2508 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.556 | 139072.9675 | 274827.8419 | 26.25 | 74
57719 | 2021-03-29 13:30 | 16.3296 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 168.5694 | μmol/L | 30.2508 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.562 | 139121.0452 | 274816.9267 | 26.25 | 74
57729 | 2021-03-29 13:30 | 16.6625 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 168.3823 | μmol/L | 30.2508 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.575 | 139212.4852 | 274824.3321 | 26.25 | 74
57740 | 2021-03-29 13:31 | 16.9961 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 168.2385 | μmol/L | 30.2508 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.585 | 139295.2195 | 274820.7731 | 26.25 | 74
57750 | 2021-03-29 13:31 | 17.3299 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 168.138 | μmol/L | 30.2508 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.592 | 139344.4961 | 274788.672 | 26.25 | 74
57760 | 2021-03-29 13:31 | 17.6628 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 168.0399 | μmol/L | 30.2447 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.601 | 139415.6005 | 274789.8179 | 26.25 | 74
57770 | 2021-03-29 13:32 | 17.9964 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 167.8272 | μmol/L | 30.2386 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.618 | 139510.0756 | 274783.1465 | 26.25 | 74
57779 | 2021-03-29 13:32 | 18.3295 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 167.6555 | μmol/L | 30.2386 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.63 | 139616.0775 | 274778.1636 | 26.25 | 74
57789 | 2021-03-29 13:32 | 18.6624 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 167.3579 | μmol/L | 30.2692 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.64 | 139695.3264 | 274764.4551 | 26.25 | 74
57799 | 2021-03-29 13:33 | 18.9961 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 167.1012 | μmol/L | 30.3059 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.645 | 139762.4253 | 274750.9119 | 26.25 | 74
57810 | 2021-03-29 13:33 | 19.3297 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 167.1249 | μmol/L | 30.2814 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.652 | 139807.7047 | 274734.9781 | 26.25 | 74
57820 | 2021-03-29 13:33 | 19.6624 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 166.9208 | μmol/L | 30.2936 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.662 | 139895.2357 | 274724.2632 | 26.25 | 74
57830 | 2021-03-29 13:34 | 19.996 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 166.8615 | μmol/L | 30.2997 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.664 | 139920.3891 | 274733.1164 | 26.25 | 74
57839 | 2021-03-29 13:34 | 20.3297 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 166.9184 | μmol/L | 30.2997 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.66 | 139915.1727 | 274720.8602 | 26.25 | 74
57849 | 2021-03-29 13:34 | 20.6625 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 166.6079 | μmol/L | 30.3303 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.671 | 139966.8359 | 274731.1121 | 26.25 | 74
57860 | 2021-03-29 13:35 | 20.9964 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 166.7975 | μmol/L | 30.2814 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.675 | 140025.3765 | 274728.6781 | 26.25 | 74
57870 | 2021-03-29 13:35 | 21.3299 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 166.5157 | μmol/L | 30.312 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.684 | 140047.391 | 274709.8123 | 26.25 | 74
57880 | 2021-03-29 13:35 | 21.663 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 166.6435 | μmol/L | 30.312 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.675 | 140044.5336 | 274700.5896 | 26.25 | 74
57890 | 2021-03-29 13:36 | 21.9959 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 166.6365 | μmol/L | 30.2936 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.682 | 140074.3573 | 274697.3135 | 26.25 | 74
57899 | 2021-03-29 13:36 | 22.3295 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 166.414 | μmol/L | 30.3181 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.689 | 140129.8857 | 274695.4087 | 26.25 | 74
57910 | 2021-03-29 13:36 | 22.6624 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 166.4897 | μmol/L | 30.3059 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.688 | 140142.1685 | 274691.1356 | 26.25 | 74
57919 | 2021-03-29 13:37 | 22.9961 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 166.2274 | μmol/L | 30.3242 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.7 | 140220.5985 | 274680.6535 | 26.25 | 74
57930 | 2021-03-29 13:37 | 23.3298 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 165.7268 | μmol/L | 30.4098 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.705 | 140282.203 | 274671.2712 | 26.25 | 74
57939 | 2021-03-29 13:37 | 23.6628 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 165.6298 | μmol/L | 30.4404 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.701 | 140274.2755 | 274671.8966 | 26.25 | 74
57949 | 2021-03-29 13:38 | 23.9958 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 165.6654 | μmol/L | 30.422 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.705 | 140318.9437 | 274676.0241 | 26.25 | 74
57960 | 2021-03-29 13:38 | 24.3295 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 165.3381 | μmol/L | 30.4648 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.713 | 140379.904 | 274660.4079 | 26.25 | 74
57970 | 2021-03-29 13:38 | 24.6631 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 165.666 | μmol/L | 30.3853 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.718 | 140389.4851 | 274645.6697 | 26.25 | 74
57979 | 2021-03-29 13:39 | 24.9961 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 165.3951 | μmol/L | 30.4281 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.722 | 140432.1598 | 274647.292 | 26.25 | 74
57990 | 2021-03-29 13:39 | 25.3298 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 165.4447 | μmol/L | 30.4098 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.725 | 140463.7251 | 274640.7513 | 26.25 | 74
57999 | 2021-03-29 13:39 | 25.6625 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 165.3106 | μmol/L | 30.4281 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.728 | 140499.1651 | 274625.3609 | 26.25 | 74
58010 | 2021-03-29 13:40 | 25.9964 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 165.4288 | μmol/L | 30.3792 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.737 | 140542.9178 | 274618.1824 | 26.25 | 74
58019 | 2021-03-29 13:40 | 26.3293 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 165.0832 | μmol/L | 30.4342 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.742 | 140613.3367 | 274631.891 | 26.25 | 74
58030 | 2021-03-29 13:40 | 26.663 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 164.9848 | μmol/L | 30.4342 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.749 | 140667.5008 | 274619.8459 | 26.25 | 74
58040 | 2021-03-29 13:41 | 26.9961 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 164.8816 | μmol/L | 30.4465 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.752 | 140710.4023 | 274614.7009 | 26.25 | 74
58050 | 2021-03-29 13:41 | 27.3296 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 164.6063 | μmol/L | 30.4342 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.776 | 140874.3588 | 274604.4705 | 26.25 | 74
58059 | 2021-03-29 13:41 | 27.6624 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 164.6212 | μmol/L | 30.3976 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.788 | 140960.1008 | 274597.6744 | 26.25 | 74
58069 | 2021-03-29 13:42 | 27.9962 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 164.2517 | μmol/L | 30.4465 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.797 | 141032.6055 | 274598.6791 | 26.25 | 74
58079 | 2021-03-29 13:42 | 28.3291 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 164.1286 | μmol/L | 30.4404 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.808 | 141102.3815 | 274591.9046 | 26.25 | 74
58090 | 2021-03-29 13:42 | 28.6627 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 164.2059 | μmol/L | 30.422 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.809 | 141146.7807 | 274584.5673 | 26.25 | 74
58100 | 2021-03-29 13:43 | 28.9965 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 164.0385 | μmol/L | 30.422 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.821 | 141229.2992 | 274577.8509 | 26.25 | 74
58109 | 2021-03-29 13:43 | 29.3295 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 163.8738 | μmol/L | 30.4159 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.835 | 141330.7828 | 274566.3402 | 26.25 | 74
58120 | 2021-03-29 13:43 | 29.6624 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 163.6791 | μmol/L | 30.4159 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.849 | 141439.9683 | 274558.6704 | 26.25 | 74
58130 | 2021-03-29 13:44 | 29.9961 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 163.5313 | μmol/L | 30.4037 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.864 | 141521.2486 | 274561.3974 | 26.25 | 74
58139 | 2021-03-29 13:44 | 30.3292 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 163.3408 | μmol/L | 30.4281 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.869 | 141575.9055 | 274559.7528 | 26.25 | 74
58149 | 2021-03-29 13:44 | 30.663 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 163.1657 | μmol/L | 30.4159 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.886 | 141682.5999 | 274546.7638 | 26.25 | 74
58159 | 2021-03-29 13:45 | 30.9962 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 163.162 | μmol/L | 30.3914 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.895 | 141770.6347 | 274548.4822 | 26.25 | 74
58169 | 2021-03-29 13:45 | 31.3291 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 162.913 | μmol/L | 30.3914 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.913 | 141890.1368 | 274547.4878 | 26.25 | 74
58180 | 2021-03-29 13:45 | 31.6629 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 162.9281 | μmol/L | 30.3548 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.925 | 141996.1094 | 274540.2649 | 26.25 | 74
58189 | 2021-03-29 13:46 | 31.9957 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 162.4064 | μmol/L | 30.4159 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.941 | 142084.2249 | 274533.2353 | 26.25 | 74
58200 | 2021-03-29 13:46 | 32.3295 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 162.2163 | μmol/L | 30.4098 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.957 | 142223.5095 | 274533.6905 | 26.25 | 74
58210 | 2021-03-29 13:46 | 32.6627 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 162.0678 | μmol/L | 30.4037 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.97 | 142319.337 | 274528.2617 | 26.25 | 74
58219 | 2021-03-29 13:47 | 32.9957 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 162.114 | μmol/L | 30.3914 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.971 | 142349.7671 | 274522.0398 | 26.25 | 74
58229 | 2021-03-29 13:47 | 33.3294 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 162.2066 | μmol/L | 30.367 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.973 | 142352.8164 | 274505.9931 | 26.25 | 74
58239 | 2021-03-29 13:47 | 33.6624 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 162.0967 | μmol/L | 30.367 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.981 | 142418.9224 | 274504.0726 | 26.25 | 74
58250 | 2021-03-29 13:48 | 33.9961 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 162.0667 | μmol/L | 30.3731 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.981 | 142458.4365 | 274502.0689 | 26.25 | 74
58260 | 2021-03-29 13:48 | 34.3298 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 161.8549 | μmol/L | 30.3548 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.003 | 142582.2193 | 274498.7666 | 26.25 | 74
58270 | 2021-03-29 13:48 | 34.6628 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 161.5624 | μmol/L | 30.367 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.02 | 142708.1029 | 274484.8335 | 26.25 | 74
58280 | 2021-03-29 13:49 | 34.9965 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 161.4035 | μmol/L | 30.3548 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.036 | 142807.0104 | 274486.3184 | 26.25 | 74
58290 | 2021-03-29 13:49 | 35.3295 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 161.2995 | μmol/L | 30.3425 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.048 | 142917.2114 | 274479.1493 | 26.25 | 74
58299 | 2021-03-29 13:49 | 35.6624 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 161.1495 | μmol/L | 30.3425 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.059 | 143000.2067 | 274480.0523 | 26.25 | 74
58309 | 2021-03-29 13:50 | 35.9964 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.9707 | μmol/L | 30.3792 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.059 | 143011.2665 | 274465.5958 | 26.25 | 74
58319 | 2021-03-29 13:50 | 36.3294 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.9214 | μmol/L | 30.367 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.067 | 143056.8333 | 274463.6503 | 26.25 | 74
58329 | 2021-03-29 13:50 | 36.6624 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.9308 | μmol/L | 30.312 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.086 | 143192.2859 | 274468.7136 | 26.25 | 74
58340 | 2021-03-29 13:51 | 36.9964 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.5505 | μmol/L | 30.312 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.114 | 143368.7041 | 274440.304 | 26.25 | 74
58349 | 2021-03-29 13:51 | 37.3293 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.2719 | μmol/L | 30.3303 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.128 | 143506.3949 | 274446.8561 | 26.25 | 74
58360 | 2021-03-29 13:51 | 37.6628 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.1417 | μmol/L | 30.3181 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.142 | 143569.1306 | 274424.4709 | 26.25 | 74
58369 | 2021-03-29 13:52 | 37.996 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.0632 | μmol/L | 30.312 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.15 | 143664.8944 | 274431.3255 | 26.25 | 74
58380 | 2021-03-29 13:52 | 38.3298 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.8478 | μmol/L | 30.3425 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.155 | 143693.4606 | 274416.3285 | 26.25 | 74
58389 | 2021-03-29 13:52 | 38.6627 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.9334 | μmol/L | 30.2997 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.164 | 143747.8098 | 274418.1652 | 26.25 | 74
58400 | 2021-03-29 13:53 | 38.9965 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.7316 | μmol/L | 30.3303 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.168 | 143789.0899 | 274423.0649 | 26.25 | 74
58410 | 2021-03-29 13:53 | 39.3296 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.7907 | μmol/L | 30.3181 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.168 | 143819.7238 | 274422.4001 | 26.25 | 74
58419 | 2021-03-29 13:53 | 39.6625 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.6829 | μmol/L | 30.3181 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.176 | 143844.7058 | 274406.598 | 26.25 | 74
58430 | 2021-03-29 13:54 | 39.9963 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.5513 | μmol/L | 30.3425 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.177 | 143872.5149 | 274399.9313 | 26.25 | 74
58439 | 2021-03-29 13:54 | 40.3295 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.2798 | μmol/L | 30.3487 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.195 | 143982.2862 | 274385.6842 | 26.25 | 74
58450 | 2021-03-29 13:54 | 40.6627 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.3574 | μmol/L | 30.3242 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.198 | 144034.5261 | 274383.4775 | 26.25 | 74
58460 | 2021-03-29 13:55 | 40.9965 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.0971 | μmol/L | 30.3364 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.213 | 144144.0629 | 274383.8055 | 26.25 | 74
58469 | 2021-03-29 13:55 | 41.3296 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 158.8964 | μmol/L | 30.367 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.217 | 144159.6655 | 274376.415 | 26.25 | 74
58479 | 2021-03-29 13:55 | 41.6626 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 158.8294 | μmol/L | 30.367 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.222 | 144209.9805 | 274387.53 | 26.25 | 74
58489 | 2021-03-29 13:56 | 41.9964 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 158.6744 | μmol/L | 30.3853 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.227 | 144227.3853 | 274359.8705 | 26.25 | 74
58499 | 2021-03-29 13:56 | 42.3294 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 158.6504 | μmol/L | 30.4098 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.22 | 144223.0709 | 274363.3457 | 26.25 | 74
58509 | 2021-03-29 13:56 | 42.6628 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 158.5755 | μmol/L | 30.3976 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.23 | 144260.6621 | 274362.2116 | 26.25 | 74
58519 | 2021-03-29 13:57 | 42.9963 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 158.6662 | μmol/L | 30.3731 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.232 | 144303.8403 | 274350.8004 | 26.25 | 74
58530 | 2021-03-29 13:57 | 43.3293 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 158.4045 | μmol/L | 30.3914 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.245 | 144411.2884 | 274337.0403 | 26.25 | 74
58540 | 2021-03-29 13:57 | 43.6631 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 157.7629 | μmol/L | 30.3976 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.291 | 144724.0236 | 274349.4795 | 26.25 | 74
58550 | 2021-03-29 13:58 | 43.996 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 157.4711 | μmol/L | 30.367 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.324 | 144979.0559 | 274333.3348 | 26.25 | 74
58560 | 2021-03-29 13:58 | 44.3293 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 157.1139 | μmol/L | 30.367 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.351 | 145162.5871 | 274340.0959 | 26.25 | 74
58569 | 2021-03-29 13:58 | 44.6625 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 157.0637 | μmol/L | 30.3609 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.357 | 145207.9274 | 274329.0019 | 26.25 | 74
58579 | 2021-03-29 13:59 | 44.996 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 156.9423 | μmol/L | 30.367 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.364 | 145254.462 | 274324.9213 | 26.25 | 74
58589 | 2021-03-29 13:59 | 45.3298 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 156.9792 | μmol/L | 30.3731 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.359 | 145214.6543 | 274312.762 | 26.25 | 74
58600 | 2021-03-29 13:59 | 45.6628 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 157.0215 | μmol/L | 30.367 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.358 | 145224.3951 | 274310.0703 | 26.25 | 74
58610 | 2021-03-29 14:00 | 45.9962 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 156.61 | μmol/L | 30.4037 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.376 | 145324.9565 | 274296.3186 | 26.25 | 74
58619 | 2021-03-29 14:00 | 46.3291 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 156.6492 | μmol/L | 30.4342 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.362 | 145260.6713 | 274296.2982 | 26.25 | 74
58630 | 2021-03-29 14:00 | 46.6629 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 156.95 | μmol/L | 30.4098 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.348 | 145166.9721 | 274298.9621 | 26.25 | 74
58639 | 2021-03-29 14:01 | 46.996 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 157.0265 | μmol/L | 30.4159 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.34 | 145128.8166 | 274285.9318 | 26.25 | 74
58650 | 2021-03-29 14:01 | 47.3298 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 156.9632 | μmol/L | 30.4098 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.347 | 145172.8856 | 274283.0272 | 26.25 | 74
58660 | 2021-03-29 14:01 | 47.6632 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 156.431 | μmol/L | 30.422 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.383 | 145409.6763 | 274281.7814 | 26.25 | 74
58669 | 2021-03-29 14:02 | 47.9963 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 155.8512 | μmol/L | 30.4281 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.425 | 145728.901 | 274278.0402 | 26.25 | 74
58680 | 2021-03-29 14:02 | 48.3291 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 155.752 | μmol/L | 30.4159 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.437 | 145828.8892 | 274270.9105 | 26.25 | 74
58690 | 2021-03-29 14:02 | 48.6628 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 154.6209 | μmol/L | 30.4709 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.504 | 146282.4579 | 274265.7191 | 26.25 | 74
58700 | 2021-03-29 14:03 | 48.9959 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 154.9693 | μmol/L | 30.4465 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.486 | 146217.1809 | 274257.0156 | 26.25 | 74
58710 | 2021-03-29 14:03 | 49.3298 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 154.6189 | μmol/L | 30.4465 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.513 | 146365.2153 | 274249.6153 | 26.25 | 74
58720 | 2021-03-29 14:03 | 49.6631 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 153.805 | μmol/L | 30.4465 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.576 | 146826.356 | 274252.5012 | 26.25 | 74
58730 | 2021-03-29 14:04 | 49.9962 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 153.8869 | μmol/L | 30.4648 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.563 | 146776.1136 | 274232.195 | 26.25 | 74
58740 | 2021-03-29 14:04 | 50.3291 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 154.1062 | μmol/L | 30.4648 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.546 | 146643.4322 | 274233.8272 | 26.25 | 74
58749 | 2021-03-29 14:04 | 50.6629 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 154.3517 | μmol/L | 30.4648 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.527 | 146510.7662 | 274233.6276 | 26.25 | 74
58759 | 2021-03-29 14:05 | 50.9957 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 154.5561 | μmol/L | 30.4709 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.509 | 146387.2514 | 274219.2936 | 26.25 | 74
58769 | 2021-03-29 14:05 | 51.3297 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 154.8544 | μmol/L | 30.4709 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.486 | 146228.626 | 274221.9873 | 26.25 | 74
58779 | 2021-03-29 14:05 | 51.6626 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 155.2062 | μmol/L | 30.4404 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.47 | 146123.3313 | 274219.4526 | 26.25 | 74
58789 | 2021-03-29 14:06 | 51.9965 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 155.0452 | μmol/L | 30.422 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.489 | 146244.9795 | 274226.2645 | 26.25 | 74
58798 | 2021-03-29 14:06 | 52.3296 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 154.132 | μmol/L | 30.4648 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.544 | 146686.7641 | 274215.3125 | 26.25 | 74