## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-29 14:07

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
57232 | 2021-03-29 13:14 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 185.4715 | μmol/L | 30.2689 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.353 | 141833.285 | 274813.5678 | 32.55 | 27.7
57244 | 2021-03-29 13:14 | 0.42515 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 185.6986 | μmol/L | 30.2137 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.358 | 141838.2065 | 274793.9651 | 32.55 | 27.7
57252 | 2021-03-29 13:14 | 0.65999 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 185.9274 | μmol/L | 30.1524 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.365 | 141894.487 | 274780.2069 | 32.55 | 27.7
57262 | 2021-03-29 13:15 | 0.99291 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 185.5748 | μmol/L | 30.1892 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.374 | 141904.8292 | 274735.56 | 32.55 | 27.7
57272 | 2021-03-29 13:15 | 1.3266 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 185.5911 | μmol/L | 30.1892 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.373 | 141933.5764 | 274707.1605 | 32.55 | 27.7
57282 | 2021-03-29 13:15 | 1.6602 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 185.4283 | μmol/L | 30.1892 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.383 | 141987.4401 | 274688.6286 | 32.55 | 27.7
57292 | 2021-03-29 13:16 | 1.993 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 185.0459 | μmol/L | 30.2199 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.396 | 142051.8454 | 274675.2038 | 32.55 | 27.7
57302 | 2021-03-29 13:16 | 2.3267 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 184.9254 | μmol/L | 30.2444 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.395 | 142036.3734 | 274664.0448 | 32.55 | 27.7
57312 | 2021-03-29 13:16 | 2.6597 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 184.7418 | μmol/L | 30.2628 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.4 | 142083.7756 | 274643.8376 | 32.55 | 27.7
57322 | 2021-03-29 13:17 | 2.9935 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 184.6591 | μmol/L | 30.2689 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.403 | 142103.3307 | 274637.0853 | 32.55 | 27.7
57332 | 2021-03-29 13:17 | 3.3263 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 184.6659 | μmol/L | 30.2444 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.411 | 142148.5383 | 274615.2382 | 32.55 | 27.7
57342 | 2021-03-29 13:17 | 3.6598 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 184.5075 | μmol/L | 30.2321 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.425 | 142223.5717 | 274592.6421 | 32.55 | 27.7
57352 | 2021-03-29 13:18 | 3.9935 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 184.5467 | μmol/L | 30.2076 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.431 | 142270.8126 | 274589.4694 | 32.55 | 27.7
57362 | 2021-03-29 13:18 | 4.3263 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 184.3244 | μmol/L | 30.2505 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.43 | 142275.0487 | 274570.2532 | 32.55 | 27.7
57372 | 2021-03-29 13:18 | 4.6599 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 184.4318 | μmol/L | 30.2137 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.436 | 142274.4596 | 274559.1932 | 32.55 | 27.7
57382 | 2021-03-29 13:19 | 4.9936 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 184.3186 | μmol/L | 30.2137 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.443 | 142321.756 | 274556.8748 | 32.55 | 27.7
57392 | 2021-03-29 13:19 | 5.3265 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 184.2056 | μmol/L | 30.2137 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.45 | 142355.3649 | 274538.2931 | 32.55 | 27.7
57402 | 2021-03-29 13:19 | 5.6601 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 184.7351 | μmol/L | 30.1708 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.432 | 142241.8614 | 274536.8819 | 32.55 | 27.7
57412 | 2021-03-29 13:20 | 5.9937 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 184.5016 | μmol/L | 30.1953 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.438 | 142243.2551 | 274518.734 | 32.55 | 27.7
57422 | 2021-03-29 13:20 | 6.3265 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 184.586 | μmol/L | 30.183 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.437 | 142250.0129 | 274513.4179 | 32.55 | 27.7
57432 | 2021-03-29 13:20 | 6.6602 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 184.1341 | μmol/L | 30.2383 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.446 | 142285.8026 | 274512.4694 | 32.55 | 27.7
57442 | 2021-03-29 13:21 | 6.9932 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 184.2252 | μmol/L | 30.2014 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.453 | 142316.0709 | 274489.9983 | 32.55 | 27.7
57452 | 2021-03-29 13:21 | 7.327 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 184.0477 | μmol/L | 30.2014 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.464 | 142395.3786 | 274484.9172 | 32.55 | 27.7
57462 | 2021-03-29 13:21 | 7.6598 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.9366 | μmol/L | 30.1953 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.473 | 142436.9949 | 274472.0224 | 32.55 | 27.7
57472 | 2021-03-29 13:22 | 7.9937 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 184.137 | μmol/L | 30.1708 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.469 | 142438.3459 | 274455.881 | 32.55 | 27.7
57482 | 2021-03-29 13:22 | 8.3268 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.9976 | μmol/L | 30.2076 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.465 | 142412.0347 | 274448.0274 | 32.55 | 27.7
57492 | 2021-03-29 13:22 | 8.6597 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 184.1013 | μmol/L | 30.183 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.467 | 142412.4443 | 274438.335 | 32.55 | 27.7
57502 | 2021-03-29 13:23 | 8.9933 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.9527 | μmol/L | 30.1953 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.472 | 142443.4966 | 274422.2123 | 32.55 | 27.7
57512 | 2021-03-29 13:23 | 9.327 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.7238 | μmol/L | 30.2076 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.482 | 142496.443 | 274424.5062 | 32.55 | 27.7
57522 | 2021-03-29 13:23 | 9.6603 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.6755 | μmol/L | 30.2076 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.485 | 142495.5756 | 274413.5115 | 32.55 | 27.7
57532 | 2021-03-29 13:24 | 9.993 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.6934 | μmol/L | 30.2014 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.486 | 142507.8382 | 274409.556 | 32.55 | 27.7
57542 | 2021-03-29 13:24 | 10.3268 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.4862 | μmol/L | 30.1953 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.501 | 142581.22 | 274387.6513 | 32.55 | 27.7
57552 | 2021-03-29 13:24 | 10.6598 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.8447 | μmol/L | 30.1217 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.504 | 142586.1846 | 274394.8175 | 32.55 | 27.7
57562 | 2021-03-29 13:25 | 10.9935 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.4523 | μmol/L | 30.2014 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.501 | 142576.4128 | 274381.9309 | 32.55 | 27.7
57572 | 2021-03-29 13:25 | 11.3264 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.8521 | μmol/L | 30.1524 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.493 | 142546.391 | 274379.1862 | 32.55 | 27.7
57582 | 2021-03-29 13:25 | 11.6595 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.4433 | μmol/L | 30.1769 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.51 | 142608.9858 | 274366.8 | 32.55 | 27.7
57592 | 2021-03-29 13:26 | 11.9931 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.1564 | μmol/L | 30.226 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.511 | 142621.6187 | 274354.5386 | 32.55 | 27.7
57602 | 2021-03-29 13:26 | 12.3267 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.3718 | μmol/L | 30.1462 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.525 | 142698.3601 | 274350.1365 | 32.55 | 27.7
57612 | 2021-03-29 13:26 | 12.6604 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.2382 | μmol/L | 30.1646 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.527 | 142741.152 | 274341.4975 | 32.55 | 27.7
57622 | 2021-03-29 13:27 | 12.9932 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.1261 | μmol/L | 30.1646 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.534 | 142752.0566 | 274332.8429 | 32.55 | 27.7
57632 | 2021-03-29 13:27 | 13.3267 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.9447 | μmol/L | 30.183 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.539 | 142804.8172 | 274326.3925 | 32.55 | 27.7
57642 | 2021-03-29 13:27 | 13.6596 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.014 | μmol/L | 30.1646 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.541 | 142821.0738 | 274311.6686 | 32.55 | 27.7
57652 | 2021-03-29 13:28 | 13.9932 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.9038 | μmol/L | 30.1585 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.55 | 142874.436 | 274302.337 | 32.55 | 27.7
57662 | 2021-03-29 13:28 | 14.3265 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.0086 | μmol/L | 30.1278 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.554 | 142901.657 | 274305.977 | 32.55 | 27.7
57672 | 2021-03-29 13:28 | 14.6603 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.8345 | μmol/L | 30.1217 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.567 | 142987.615 | 274279.4254 | 32.55 | 27.7
57682 | 2021-03-29 13:29 | 14.9932 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.0776 | μmol/L | 30.0542 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.575 | 143055.7641 | 274286.509 | 32.55 | 27.7
57692 | 2021-03-29 13:29 | 15.3267 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.7173 | μmol/L | 30.0849 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.587 | 143124.5143 | 274281.752 | 32.55 | 27.7
57702 | 2021-03-29 13:29 | 15.6596 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.611 | μmol/L | 30.1217 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.581 | 143100.0084 | 274264.444 | 32.55 | 27.7
57712 | 2021-03-29 13:30 | 15.9934 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.0887 | μmol/L | 30.1646 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.599 | 143177.4214 | 274261.206 | 32.55 | 27.7
57722 | 2021-03-29 13:30 | 16.3263 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.0251 | μmol/L | 30.1646 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.603 | 143210.4516 | 274261.0188 | 32.55 | 27.7
57732 | 2021-03-29 13:30 | 16.6597 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.0537 | μmol/L | 30.1217 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.616 | 143293.7588 | 274258.6572 | 32.55 | 27.7
57742 | 2021-03-29 13:31 | 16.9935 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.7538 | μmol/L | 30.1155 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.637 | 143441.3962 | 274249.6818 | 32.55 | 27.7
57752 | 2021-03-29 13:31 | 17.3264 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.6234 | μmol/L | 30.1278 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.641 | 143501.3173 | 274226.6388 | 32.55 | 27.7
57762 | 2021-03-29 13:31 | 17.6601 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.2344 | μmol/L | 30.1585 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.655 | 143560.6099 | 274227.3865 | 32.55 | 27.7
57772 | 2021-03-29 13:32 | 17.9937 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.2186 | μmol/L | 30.1585 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.656 | 143603.8687 | 274233.5825 | 32.55 | 27.7
57782 | 2021-03-29 13:32 | 18.3266 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.3403 | μmol/L | 30.1217 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.661 | 143661.2175 | 274224.3735 | 32.55 | 27.7
57792 | 2021-03-29 13:32 | 18.6603 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.1312 | μmol/L | 30.1339 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.67 | 143716.1115 | 274223.2932 | 32.55 | 27.7
57802 | 2021-03-29 13:33 | 18.9931 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.8204 | μmol/L | 30.1708 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.677 | 143752.5055 | 274216.0188 | 32.55 | 27.7
57812 | 2021-03-29 13:33 | 19.327 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.6842 | μmol/L | 30.1524 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.692 | 143832.8801 | 274208.4709 | 32.55 | 27.7
57822 | 2021-03-29 13:33 | 19.66 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.4351 | μmol/L | 30.1953 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.693 | 143860.3502 | 274197.6439 | 32.55 | 27.7
57832 | 2021-03-29 13:34 | 19.9937 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.6527 | μmol/L | 30.1524 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.694 | 143880.9547 | 274196.9 | 32.55 | 27.7
57842 | 2021-03-29 13:34 | 20.3265 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.4954 | μmol/L | 30.1524 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.704 | 143908.6231 | 274185.8962 | 32.55 | 27.7
57852 | 2021-03-29 13:34 | 20.6602 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.6305 | μmol/L | 30.1217 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.706 | 143956.1578 | 274176.504 | 32.55 | 27.7
57862 | 2021-03-29 13:35 | 20.9934 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.501 | μmol/L | 30.1339 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.71 | 143980.0803 | 274182.8245 | 32.55 | 27.7
57872 | 2021-03-29 13:35 | 21.3269 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.1737 | μmol/L | 30.1769 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.716 | 143995.2173 | 274156.9371 | 32.55 | 27.7
57882 | 2021-03-29 13:35 | 21.6598 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.9956 | μmol/L | 30.1953 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.721 | 144036.4994 | 274149.4217 | 32.55 | 27.7
57892 | 2021-03-29 13:36 | 21.9936 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.9761 | μmol/L | 30.2076 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.718 | 144036.0766 | 274147.3258 | 32.55 | 27.7
57902 | 2021-03-29 13:36 | 22.3263 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.1229 | μmol/L | 30.1892 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.715 | 144012.0662 | 274136.8134 | 32.55 | 27.7
57912 | 2021-03-29 13:36 | 22.6603 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.9524 | μmol/L | 30.183 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.728 | 144084.8581 | 274130.2068 | 32.55 | 27.7
57922 | 2021-03-29 13:37 | 22.9931 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.7393 | μmol/L | 30.2137 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.731 | 144132.1898 | 274135.1152 | 32.55 | 27.7
57932 | 2021-03-29 13:37 | 23.3269 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.7645 | μmol/L | 30.183 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.74 | 144194.2866 | 274125.8666 | 32.55 | 27.7
57942 | 2021-03-29 13:37 | 23.6599 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.8228 | μmol/L | 30.1462 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.749 | 144236.9905 | 274118.1679 | 32.55 | 27.7
57952 | 2021-03-29 13:38 | 23.9936 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.7564 | μmol/L | 30.1585 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.749 | 144276.9407 | 274114.9719 | 32.55 | 27.7
57962 | 2021-03-29 13:38 | 24.3264 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.4306 | μmol/L | 30.2014 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.755 | 144306.4733 | 274106.2575 | 32.55 | 27.7
57972 | 2021-03-29 13:38 | 24.6601 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.1499 | μmol/L | 30.2505 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.756 | 144309.2952 | 274102.5941 | 32.55 | 27.7
57982 | 2021-03-29 13:39 | 24.9931 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.7587 | μmol/L | 30.3058 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.762 | 144321.9703 | 274109.2152 | 32.55 | 27.7
57992 | 2021-03-29 13:39 | 25.3268 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.0973 | μmol/L | 30.2689 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.753 | 144312.3678 | 274109.1467 | 32.55 | 27.7
58002 | 2021-03-29 13:39 | 25.6596 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.3487 | μmol/L | 30.2137 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.756 | 144308.1064 | 274108.0189 | 32.55 | 27.7
58012 | 2021-03-29 13:40 | 25.9935 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.292 | μmol/L | 30.1953 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.766 | 144380.801 | 274081.961 | 32.55 | 27.7
58022 | 2021-03-29 13:40 | 26.3267 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.0078 | μmol/L | 30.2567 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.763 | 144397.6329 | 274081.688 | 32.55 | 27.7
58032 | 2021-03-29 13:40 | 26.6596 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.7646 | μmol/L | 30.2874 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.768 | 144419.3434 | 274082.2636 | 32.55 | 27.7
58042 | 2021-03-29 13:41 | 26.9934 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.5177 | μmol/L | 30.3303 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.769 | 144408.5101 | 274074.3703 | 32.55 | 27.7
58052 | 2021-03-29 13:41 | 27.3263 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.5877 | μmol/L | 30.3058 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.773 | 144434.9721 | 274072.5455 | 32.55 | 27.7
58062 | 2021-03-29 13:41 | 27.6599 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.6461 | μmol/L | 30.2689 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.782 | 144472.2094 | 274070.4298 | 32.55 | 27.7
58072 | 2021-03-29 13:42 | 27.993 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.6967 | μmol/L | 30.2567 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.783 | 144508.4441 | 274067.8903 | 32.55 | 27.7
58082 | 2021-03-29 13:42 | 28.3268 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.6054 | μmol/L | 30.2505 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.791 | 144552.6032 | 274048.147 | 32.55 | 27.7
58092 | 2021-03-29 13:42 | 28.6596 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.6172 | μmol/L | 30.2137 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.803 | 144620.5756 | 274058.9696 | 32.55 | 27.7
58102 | 2021-03-29 13:43 | 28.9933 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.3107 | μmol/L | 30.2505 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.81 | 144685.5997 | 274059.0247 | 32.55 | 27.7
58112 | 2021-03-29 13:43 | 29.3263 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.2293 | μmol/L | 30.2628 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.811 | 144711.2829 | 274050.3074 | 32.55 | 27.7
58122 | 2021-03-29 13:43 | 29.66 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.1654 | μmol/L | 30.2689 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.813 | 144730.1283 | 274040.4728 | 32.55 | 27.7
58132 | 2021-03-29 13:44 | 29.993 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.069 | μmol/L | 30.2321 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.832 | 144813.0249 | 274046.9062 | 32.55 | 27.7
58142 | 2021-03-29 13:44 | 30.3269 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.8681 | μmol/L | 30.2321 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.845 | 144948.6591 | 274026.5258 | 32.55 | 27.7
58152 | 2021-03-29 13:44 | 30.6599 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.8452 | μmol/L | 30.2076 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.855 | 145028.6554 | 274027.4804 | 32.55 | 27.7
58162 | 2021-03-29 13:45 | 30.993 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.5342 | μmol/L | 30.2628 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.856 | 145045.9668 | 274022.638 | 32.55 | 27.7
58172 | 2021-03-29 13:45 | 31.327 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.1106 | μmol/L | 30.2874 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.875 | 145153.7018 | 274023.1931 | 32.55 | 27.7
58182 | 2021-03-29 13:45 | 31.6598 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.088 | μmol/L | 30.2628 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.885 | 145226.3746 | 274022.1475 | 32.55 | 27.7
58192 | 2021-03-29 13:46 | 31.9934 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.863 | μmol/L | 30.2935 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.889 | 145251.3183 | 274006.7848 | 32.55 | 27.7
58202 | 2021-03-29 13:46 | 32.3264 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.0306 | μmol/L | 30.2505 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.893 | 145259.7963 | 274004.0836 | 32.55 | 27.7
58212 | 2021-03-29 13:46 | 32.6602 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.677 | μmol/L | 30.2996 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.899 | 145296.0773 | 273993.5517 | 32.55 | 27.7
58222 | 2021-03-29 13:47 | 32.993 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.6239 | μmol/L | 30.2751 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.911 | 145361.1954 | 273983.0743 | 32.55 | 27.7
58232 | 2021-03-29 13:47 | 33.3267 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.5759 | μmol/L | 30.2812 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.912 | 145411.9337 | 273977.837 | 32.55 | 27.7
58242 | 2021-03-29 13:47 | 33.6599 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.2008 | μmol/L | 30.3058 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.928 | 145517.581 | 273965.6193 | 32.55 | 27.7
58252 | 2021-03-29 13:48 | 33.9935 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.9678 | μmol/L | 30.318 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.939 | 145596.6781 | 273971.039 | 32.55 | 27.7
58262 | 2021-03-29 13:48 | 34.3263 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.7393 | μmol/L | 30.318 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.954 | 145690.9311 | 273977.3472 | 32.55 | 27.7
58272 | 2021-03-29 13:48 | 34.6602 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.7843 | μmol/L | 30.2751 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.966 | 145766.2799 | 273973.6114 | 32.55 | 27.7
58282 | 2021-03-29 13:49 | 34.9931 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.6632 | μmol/L | 30.318 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.959 | 145738.4668 | 273980.7814 | 32.55 | 27.7
58292 | 2021-03-29 13:49 | 35.3263 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.4981 | μmol/L | 30.3119 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.972 | 145814.1249 | 273964.0722 | 32.55 | 27.7
58302 | 2021-03-29 13:49 | 35.66 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.6536 | μmol/L | 30.2567 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.981 | 145891.5492 | 273969.725 | 32.55 | 27.7
58312 | 2021-03-29 13:50 | 35.9932 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.6984 | μmol/L | 30.2137 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.993 | 145936.7278 | 273972.663 | 32.55 | 27.7
58322 | 2021-03-29 13:50 | 36.327 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.5258 | μmol/L | 30.2751 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.983 | 145894.2327 | 273956.8858 | 32.55 | 27.7
58332 | 2021-03-29 13:50 | 36.6597 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.953 | μmol/L | 30.226 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.972 | 145832.7876 | 273942.3036 | 32.55 | 27.7
58342 | 2021-03-29 13:51 | 36.9936 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.1086 | μmol/L | 30.1708 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.981 | 145857.0317 | 273943.0288 | 32.55 | 27.7
58352 | 2021-03-29 13:51 | 37.3264 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.2041 | μmol/L | 30.1585 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.979 | 145859.0455 | 273930.1853 | 32.55 | 27.7
58362 | 2021-03-29 13:51 | 37.6601 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.6902 | μmol/L | 30.2383 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.985 | 145889.5906 | 273928.709 | 32.55 | 27.7
58372 | 2021-03-29 13:52 | 37.9931 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.7391 | μmol/L | 30.183 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.001 | 145962.5225 | 273921.8541 | 32.55 | 27.7
58382 | 2021-03-29 13:52 | 38.3269 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.7087 | μmol/L | 30.183 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.003 | 146003.9383 | 273928.7334 | 32.55 | 27.7
58392 | 2021-03-29 13:52 | 38.6597 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.2045 | μmol/L | 30.2383 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.017 | 146076.6938 | 273930.7578 | 32.55 | 27.7
58402 | 2021-03-29 13:53 | 38.9934 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.2321 | μmol/L | 30.2014 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.028 | 146127.0966 | 273911.7238 | 32.55 | 27.7
58412 | 2021-03-29 13:53 | 39.3266 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.299 | μmol/L | 30.183 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.03 | 146153.819 | 273923.0454 | 32.55 | 27.7
58422 | 2021-03-29 13:53 | 39.6603 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 174.882 | μmol/L | 30.2076 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.049 | 146285.7621 | 273901.9146 | 32.55 | 27.7
58432 | 2021-03-29 13:54 | 39.9933 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 174.7654 | μmol/L | 30.1953 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.061 | 146374.5608 | 273895.7856 | 32.55 | 27.7
58442 | 2021-03-29 13:54 | 40.3264 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 174.8388 | μmol/L | 30.2014 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.054 | 146337.7381 | 273892.3374 | 32.55 | 27.7
58452 | 2021-03-29 13:54 | 40.6603 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 174.9399 | μmol/L | 30.1708 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.058 | 146345.9357 | 273880.6125 | 32.55 | 27.7
58462 | 2021-03-29 13:55 | 40.9934 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 174.8404 | μmol/L | 30.1524 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.071 | 146416.2412 | 273888.893 | 32.55 | 27.7
58472 | 2021-03-29 13:55 | 41.3264 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 174.6827 | μmol/L | 30.1278 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.09 | 146547.6173 | 273882.4892 | 32.55 | 27.7
58482 | 2021-03-29 13:55 | 41.6602 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 174.5579 | μmol/L | 30.1401 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.094 | 146600.4705 | 273882.045 | 32.55 | 27.7
58492 | 2021-03-29 13:56 | 41.9931 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 174.5278 | μmol/L | 30.1401 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.096 | 146618.1383 | 273867.137 | 32.55 | 27.7
58502 | 2021-03-29 13:56 | 42.3269 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 174.3755 | μmol/L | 30.1892 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.089 | 146573.0234 | 273866.7137 | 32.55 | 27.7
58512 | 2021-03-29 13:56 | 42.6601 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 174.2292 | μmol/L | 30.1769 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.103 | 146663.202 | 273859.2809 | 32.55 | 27.7
58522 | 2021-03-29 13:57 | 42.9937 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 174.4951 | μmol/L | 30.1033 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.111 | 146743.6822 | 273855.3274 | 32.55 | 27.7
58532 | 2021-03-29 13:57 | 43.3266 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 174.4499 | μmol/L | 30.1033 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.114 | 146750.3753 | 273854.0236 | 32.55 | 27.7
58542 | 2021-03-29 13:57 | 43.6603 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 174.3104 | μmol/L | 30.1155 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.119 | 146779.6619 | 273856.8035 | 32.55 | 27.7
58552 | 2021-03-29 13:58 | 43.9929 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 173.8002 | μmol/L | 30.1585 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.138 | 146896.0916 | 273859.4297 | 32.55 | 27.7
58562 | 2021-03-29 13:58 | 44.3264 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 173.8428 | μmol/L | 30.1217 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.148 | 146975.7834 | 273854.6228 | 32.55 | 27.7
58572 | 2021-03-29 13:58 | 44.6602 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 173.7251 | μmol/L | 30.1155 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.158 | 147010.8712 | 273843.7715 | 32.55 | 27.7
58582 | 2021-03-29 13:59 | 44.993 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 173.3108 | μmol/L | 30.1892 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.16 | 147046.6629 | 273836.1078 | 32.55 | 27.7
58592 | 2021-03-29 13:59 | 45.3266 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 173.2809 | μmol/L | 30.1892 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.162 | 147059.1028 | 273825.3495 | 32.55 | 27.7
58602 | 2021-03-29 13:59 | 45.6597 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 173.2915 | μmol/L | 30.2014 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.157 | 147044.0413 | 273850.942 | 32.55 | 27.7
58612 | 2021-03-29 14:00 | 45.9932 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 173.3428 | μmol/L | 30.183 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.16 | 147110.8025 | 273833.5496 | 32.55 | 27.7
58622 | 2021-03-29 14:00 | 46.3264 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 173.2446 | μmol/L | 30.1646 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.173 | 147148.5319 | 273846.5662 | 32.55 | 27.7
58632 | 2021-03-29 14:00 | 46.6603 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 172.9994 | μmol/L | 30.226 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.168 | 147122.0317 | 273829.2471 | 32.55 | 27.7
58642 | 2021-03-29 14:01 | 46.9931 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 173.1764 | μmol/L | 30.1892 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.169 | 147105.1337 | 273838.0698 | 32.55 | 27.7
58652 | 2021-03-29 14:01 | 47.3267 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 173.2702 | μmol/L | 30.1769 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.167 | 147140.6735 | 273833.5453 | 32.55 | 27.7
58662 | 2021-03-29 14:01 | 47.6604 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 173.0143 | μmol/L | 30.226 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.167 | 147150.7688 | 273828.1549 | 32.55 | 27.7
58672 | 2021-03-29 14:02 | 47.9934 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 173.1892 | μmol/L | 30.1953 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.166 | 147137.4281 | 273820.6153 | 32.55 | 27.7
58682 | 2021-03-29 14:02 | 48.3263 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 173.1039 | μmol/L | 30.183 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.176 | 147151.2926 | 273808.0801 | 32.55 | 27.7
58692 | 2021-03-29 14:02 | 48.6603 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 173.0251 | μmol/L | 30.1953 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.177 | 147172.1954 | 273813.8688 | 32.55 | 27.7
58702 | 2021-03-29 14:03 | 48.9936 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 172.7335 | μmol/L | 30.2199 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.188 | 147255.9702 | 273804.7011 | 32.55 | 27.7
58712 | 2021-03-29 14:03 | 49.3264 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 172.7462 | μmol/L | 30.226 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.185 | 147263.1856 | 273804.1074 | 32.55 | 27.7
58722 | 2021-03-29 14:03 | 49.6596 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 172.7164 | μmol/L | 30.226 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.187 | 147284.3209 | 273803.6041 | 32.55 | 27.7
58732 | 2021-03-29 14:04 | 49.9935 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 172.6018 | μmol/L | 30.2137 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.199 | 147375.5031 | 273790.5109 | 32.55 | 27.7
58742 | 2021-03-29 14:04 | 50.3264 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 172.4065 | μmol/L | 30.2199 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.21 | 147464.8543 | 273797.5083 | 32.55 | 27.7
58752 | 2021-03-29 14:04 | 50.6602 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 172.2093 | μmol/L | 30.2321 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.219 | 147516.3769 | 273795.4672 | 32.55 | 27.7
58762 | 2021-03-29 14:05 | 50.9933 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 171.9739 | μmol/L | 30.2689 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.222 | 147548.6395 | 273792.601 | 32.55 | 27.7
58772 | 2021-03-29 14:05 | 51.3264 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 172.0145 | μmol/L | 30.2383 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.23 | 147585.3906 | 273783.0559 | 32.55 | 27.7
58782 | 2021-03-29 14:05 | 51.66 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 171.8238 | μmol/L | 30.2751 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.23 | 147605.2443 | 273794.7867 | 32.55 | 27.7
58792 | 2021-03-29 14:06 | 51.9931 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 171.5231 | μmol/L | 30.3303 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.231 | 147639.0354 | 273778.68 | 32.55 | 27.7
58799 | 2021-03-29 14:06 | 52.3265 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 171.7247 | μmol/L | 30.2628 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.241 | 147651.0366 | 273793.0821 | 32.55 | 27.7