## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-29 16:54

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
58805 | 2021-03-29 15:40 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 156.0149 | μmol/L | 30.1795 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.281 | 116966.242 | 302504.5693 | 30.45 | 114.2
58815 | 2021-03-29 15:41 | 0.3327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.9451 | μmol/L | 30.1549 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.295 | 117040.5134 | 302504.8677 | 30.45 | 114.2
58825 | 2021-03-29 15:41 | 0.66621 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.9018 | μmol/L | 30.1302 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.307 | 117125.0966 | 302505.1744 | 30.45 | 114.2
58835 | 2021-03-29 15:41 | 0.99947 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.7078 | μmol/L | 30.1179 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.326 | 117224.6081 | 302494.2089 | 30.45 | 114.2
58845 | 2021-03-29 15:42 | 1.3324 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.4547 | μmol/L | 30.1549 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.332 | 117235.5216 | 302481.5499 | 30.45 | 114.2
58855 | 2021-03-29 15:42 | 1.666 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.4596 | μmol/L | 30.1425 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.336 | 117221.7014 | 302482.6144 | 30.45 | 114.2
58865 | 2021-03-29 15:42 | 1.9996 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.2325 | μmol/L | 30.1487 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.351 | 117308.3465 | 302462.1012 | 30.45 | 114.2
58875 | 2021-03-29 15:43 | 2.3327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.2349 | μmol/L | 30.1425 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.353 | 117317.4971 | 302463.1052 | 30.45 | 114.2
58885 | 2021-03-29 15:43 | 2.6658 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.3505 | μmol/L | 30.1179 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.353 | 117293.6819 | 302456.1179 | 30.45 | 114.2
58895 | 2021-03-29 15:43 | 2.9996 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.3422 | μmol/L | 30.1056 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.358 | 117324.604 | 302444.7152 | 30.45 | 114.2
58905 | 2021-03-29 15:44 | 3.3325 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.0914 | μmol/L | 30.1056 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.377 | 117437.8438 | 302446.6949 | 30.45 | 114.2
58915 | 2021-03-29 15:44 | 3.6656 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.7761 | μmol/L | 30.1364 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.39 | 117491.3366 | 302425.6551 | 30.45 | 114.2
58925 | 2021-03-29 15:44 | 3.9989 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.7622 | μmol/L | 30.1056 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.402 | 117539.0156 | 302418.8032 | 30.45 | 114.2
58935 | 2021-03-29 15:45 | 4.3327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.6513 | μmol/L | 30.0871 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.417 | 117620.2063 | 302406.8871 | 30.45 | 114.2
58945 | 2021-03-29 15:45 | 4.6655 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.4288 | μmol/L | 30.1179 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.423 | 117660.6437 | 302413.8018 | 30.45 | 114.2
58955 | 2021-03-29 15:45 | 4.9996 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.3157 | μmol/L | 30.1056 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.436 | 117705.9636 | 302407.1723 | 30.45 | 114.2
58965 | 2021-03-29 15:46 | 5.3327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.3232 | μmol/L | 30.0871 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.442 | 117735.9164 | 302397.2233 | 30.45 | 114.2
58975 | 2021-03-29 15:46 | 5.6655 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.2396 | μmol/L | 30.0994 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.444 | 117754.4092 | 302386.3443 | 30.45 | 114.2
58985 | 2021-03-29 15:46 | 5.9995 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.2289 | μmol/L | 30.0932 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.447 | 117773.9549 | 302385.3715 | 30.45 | 114.2
58995 | 2021-03-29 15:47 | 6.3325 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 153.9336 | μmol/L | 30.1117 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.463 | 117841.589 | 302369.7422 | 30.45 | 114.2
59005 | 2021-03-29 15:47 | 6.6663 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 153.9355 | μmol/L | 30.0747 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.476 | 117916.3693 | 302366.7084 | 30.45 | 114.2
59015 | 2021-03-29 15:47 | 6.999 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 153.5632 | μmol/L | 30.1241 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.487 | 117963.5514 | 302365.9836 | 30.45 | 114.2
59025 | 2021-03-29 15:48 | 7.3329 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 153.3493 | μmol/L | 30.1056 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.51 | 118101.9107 | 302354.7846 | 30.45 | 114.2
59035 | 2021-03-29 15:48 | 7.6657 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 153.2528 | μmol/L | 30.0871 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.524 | 118184.4179 | 302354.4221 | 30.45 | 114.2
59045 | 2021-03-29 15:48 | 7.9994 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 152.8663 | μmol/L | 30.1117 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.545 | 118274.4526 | 302339.5195 | 30.45 | 114.2
59055 | 2021-03-29 15:49 | 8.3324 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 152.9567 | μmol/L | 30.0809 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.549 | 118330.1378 | 302335.4211 | 30.45 | 114.2
59065 | 2021-03-29 15:49 | 8.6662 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 152.6458 | μmol/L | 30.0809 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.573 | 118440.9098 | 302332.6513 | 30.45 | 114.2
59075 | 2021-03-29 15:49 | 8.9991 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 152.3747 | μmol/L | 30.1117 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.583 | 118498.0506 | 302305.238 | 30.45 | 114.2
59085 | 2021-03-29 15:50 | 9.3324 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 152.2434 | μmol/L | 30.1487 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.58 | 118460.1422 | 302299.9709 | 30.45 | 114.2
59095 | 2021-03-29 15:50 | 9.666 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 152.3208 | μmol/L | 30.1487 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.574 | 118421.4351 | 302300.7991 | 30.45 | 114.2
59105 | 2021-03-29 15:50 | 9.9996 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 152.3595 | μmol/L | 30.1487 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.571 | 118423.9556 | 302290.0904 | 30.45 | 114.2
59115 | 2021-03-29 15:51 | 10.3324 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 152.548 | μmol/L | 30.1302 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.563 | 118361.4917 | 302285.351 | 30.45 | 114.2
59125 | 2021-03-29 15:51 | 10.6663 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 152.5272 | μmol/L | 30.1179 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.569 | 118407.4304 | 302275.9636 | 30.45 | 114.2
59135 | 2021-03-29 15:51 | 10.999 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 152.1994 | μmol/L | 30.1302 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.59 | 118513.8947 | 302277.389 | 30.45 | 114.2
59145 | 2021-03-29 15:52 | 11.3327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 152.1632 | μmol/L | 30.1241 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.595 | 118536.3497 | 302273.2592 | 30.45 | 114.2
59155 | 2021-03-29 15:52 | 11.6658 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 152.145 | μmol/L | 30.1056 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.603 | 118563.785 | 302273.1704 | 30.45 | 114.2
59165 | 2021-03-29 15:52 | 11.9989 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 152.1347 | μmol/L | 30.0994 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.606 | 118589.8738 | 302278.4378 | 30.45 | 114.2
59175 | 2021-03-29 15:53 | 12.3327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 151.9443 | μmol/L | 30.1241 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.612 | 118602.8032 | 302256.1781 | 30.45 | 114.2
59185 | 2021-03-29 15:53 | 12.6657 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 151.6718 | μmol/L | 30.161 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.62 | 118664.5818 | 302256.7444 | 30.45 | 114.2
59195 | 2021-03-29 15:53 | 12.9996 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 151.7334 | μmol/L | 30.1364 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.624 | 118684.5929 | 302237.0066 | 30.45 | 114.2
59205 | 2021-03-29 15:54 | 13.3324 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 151.4152 | μmol/L | 30.1919 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.629 | 118699.4288 | 302249.6635 | 30.45 | 114.2
59215 | 2021-03-29 15:54 | 13.6664 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 151.1616 | μmol/L | 30.2165 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.64 | 118772.6476 | 302242.8177 | 30.45 | 114.2
59225 | 2021-03-29 15:54 | 13.9991 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 151.4716 | μmol/L | 30.1487 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.64 | 118795.2726 | 302225.1602 | 30.45 | 114.2
59235 | 2021-03-29 15:55 | 14.3322 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 151.428 | μmol/L | 30.161 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.639 | 118771.9368 | 302237.0363 | 30.45 | 114.2
59245 | 2021-03-29 15:55 | 14.6661 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.9903 | μmol/L | 30.198 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.66 | 118872.8423 | 302234.0268 | 30.45 | 114.2
59255 | 2021-03-29 15:55 | 14.9994 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.8422 | μmol/L | 30.1857 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.676 | 118956.1321 | 302237.1744 | 30.45 | 114.2
59265 | 2021-03-29 15:56 | 15.3323 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.7963 | μmol/L | 30.1734 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.684 | 119033.8015 | 302229.7846 | 30.45 | 114.2
59275 | 2021-03-29 15:56 | 15.6661 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.6662 | μmol/L | 30.1795 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.692 | 119081.1555 | 302231.4622 | 30.45 | 114.2
59285 | 2021-03-29 15:56 | 15.9992 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.5032 | μmol/L | 30.1734 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.707 | 119119.0456 | 302233.6255 | 30.45 | 114.2
59295 | 2021-03-29 15:57 | 16.3329 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.5133 | μmol/L | 30.1795 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.704 | 119140.7899 | 302214.7834 | 30.45 | 114.2
59305 | 2021-03-29 15:57 | 16.6659 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.4547 | μmol/L | 30.198 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.702 | 119129.0627 | 302205.1502 | 30.45 | 114.2
59315 | 2021-03-29 15:57 | 16.9989 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.0963 | μmol/L | 30.2042 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.728 | 119271.4954 | 302205.195 | 30.45 | 114.2
59325 | 2021-03-29 15:58 | 17.3328 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.0072 | μmol/L | 30.235 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.724 | 119233.3184 | 302189.7765 | 30.45 | 114.2
59335 | 2021-03-29 15:58 | 17.6659 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 149.8473 | μmol/L | 30.2535 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.73 | 119268.2871 | 302194.0942 | 30.45 | 114.2
59345 | 2021-03-29 15:58 | 17.9989 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 149.7334 | μmol/L | 30.2535 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.739 | 119335.486 | 302183.1979 | 30.45 | 114.2
59355 | 2021-03-29 15:59 | 18.3327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 149.8681 | μmol/L | 30.2042 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.746 | 119394.7682 | 302191.9146 | 30.45 | 114.2
59365 | 2021-03-29 15:59 | 18.6657 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 149.5972 | μmol/L | 30.2165 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.763 | 119481.1921 | 302175.1959 | 30.45 | 114.2
59375 | 2021-03-29 15:59 | 18.9989 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 149.4326 | μmol/L | 30.2473 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.765 | 119485.4758 | 302179.2816 | 30.45 | 114.2
59385 | 2021-03-29 16:00 | 19.3327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 149.4935 | μmol/L | 30.2227 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.769 | 119522.6474 | 302173.3865 | 30.45 | 114.2
59395 | 2021-03-29 16:00 | 19.6656 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 149.1855 | μmol/L | 30.235 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.789 | 119642.7489 | 302177.6483 | 30.45 | 114.2
59405 | 2021-03-29 16:00 | 19.9992 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 149.0093 | μmol/L | 30.235 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.803 | 119656.4292 | 302163.7008 | 30.45 | 114.2
59415 | 2021-03-29 16:01 | 20.3324 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 148.8557 | μmol/L | 30.2412 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.813 | 119738.7784 | 302160.771 | 30.45 | 114.2
59425 | 2021-03-29 16:01 | 20.6662 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 148.9364 | μmol/L | 30.2288 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.811 | 119745.4636 | 302162.4846 | 30.45 | 114.2
59435 | 2021-03-29 16:01 | 20.9996 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 148.4944 | μmol/L | 30.235 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.844 | 119918.8236 | 302156.4456 | 30.45 | 114.2
59445 | 2021-03-29 16:02 | 21.3325 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 148.5268 | μmol/L | 30.2473 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.837 | 119882.5542 | 302165.7719 | 30.45 | 114.2
59455 | 2021-03-29 16:02 | 21.6663 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 148.2961 | μmol/L | 30.2597 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.851 | 119956.8164 | 302160.469 | 30.45 | 114.2
59465 | 2021-03-29 16:02 | 21.9992 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 148.2039 | μmol/L | 30.2412 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.865 | 120009.3934 | 302154.8211 | 30.45 | 114.2
59475 | 2021-03-29 16:03 | 22.3322 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 148.2039 | μmol/L | 30.2412 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.865 | 120026.0846 | 302151.9257 | 30.45 | 114.2
59485 | 2021-03-29 16:03 | 22.6663 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 148.0987 | μmol/L | 30.2535 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.869 | 120050.4664 | 302146.908 | 30.45 | 114.2
59495 | 2021-03-29 16:03 | 22.9992 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 147.8839 | μmol/L | 30.2597 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.884 | 120139.2425 | 302150.3752 | 30.45 | 114.2
59505 | 2021-03-29 16:04 | 23.3323 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 147.7139 | μmol/L | 30.2782 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.891 | 120166.7089 | 302143.3319 | 30.45 | 114.2
59515 | 2021-03-29 16:04 | 23.6663 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 147.9141 | μmol/L | 30.2473 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.886 | 120177.3556 | 302145.8205 | 30.45 | 114.2
59525 | 2021-03-29 16:04 | 23.9995 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 147.6596 | μmol/L | 30.2597 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.902 | 120248.7176 | 302134.7159 | 30.45 | 114.2
59535 | 2021-03-29 16:05 | 24.3324 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 147.7796 | μmol/L | 30.2412 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.899 | 120210.1061 | 302144.7134 | 30.45 | 114.2
59545 | 2021-03-29 16:05 | 24.6662 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 147.363 | μmol/L | 30.2843 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.917 | 120291.4789 | 302136.9093 | 30.45 | 114.2
59555 | 2021-03-29 16:05 | 24.9991 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 147.6596 | μmol/L | 30.2597 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.902 | 120239.4904 | 302128.7461 | 30.45 | 114.2
59565 | 2021-03-29 16:06 | 25.3328 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 147.3213 | μmol/L | 30.2658 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.927 | 120339.8648 | 302132.747 | 30.45 | 114.2
59575 | 2021-03-29 16:06 | 25.6656 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 147.3567 | μmol/L | 30.2412 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.933 | 120390.2067 | 302124.5265 | 30.45 | 114.2
59585 | 2021-03-29 16:06 | 25.9995 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 147.0414 | μmol/L | 30.2535 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.954 | 120504.298 | 302136.1264 | 30.45 | 114.2
59595 | 2021-03-29 16:07 | 26.3323 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 146.6006 | μmol/L | 30.272 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.983 | 120651.5646 | 302147.8485 | 30.45 | 114.2
59605 | 2021-03-29 16:07 | 26.6659 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 146.6456 | μmol/L | 30.2535 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.986 | 120660.6921 | 302145.2259 | 30.45 | 114.2
59615 | 2021-03-29 16:07 | 26.9989 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 146.688 | μmol/L | 30.2412 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.987 | 120672.9195 | 302143.4719 | 30.45 | 114.2
59625 | 2021-03-29 16:08 | 27.3327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 146.4685 | μmol/L | 30.235 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.007 | 120801.9542 | 302137.8088 | 30.45 | 114.2
59635 | 2021-03-29 16:08 | 27.6663 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 146.2072 | μmol/L | 30.2412 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.026 | 120901.0095 | 302132.6453 | 30.45 | 114.2
59645 | 2021-03-29 16:08 | 27.9993 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 146.3752 | μmol/L | 30.2227 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.019 | 120860.5911 | 302138.4176 | 30.45 | 114.2
59655 | 2021-03-29 16:09 | 28.333 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 146.3243 | μmol/L | 30.198 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.032 | 120931.9347 | 302148.6176 | 30.45 | 114.2
59665 | 2021-03-29 16:09 | 28.6659 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 146.0879 | μmol/L | 30.2042 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.049 | 121035.6557 | 302138.5936 | 30.45 | 114.2
59675 | 2021-03-29 16:09 | 28.999 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 146.2663 | μmol/L | 30.161 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.05 | 121059.3396 | 302141.6447 | 30.45 | 114.2
59685 | 2021-03-29 16:10 | 29.3322 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 145.8915 | μmol/L | 30.2042 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.065 | 121115.2922 | 302128.0797 | 30.45 | 114.2
59695 | 2021-03-29 16:10 | 29.6662 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 145.6761 | μmol/L | 30.1919 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.087 | 121243.5609 | 302134.7149 | 30.45 | 114.2
59705 | 2021-03-29 16:10 | 29.9997 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 145.6272 | μmol/L | 30.1919 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.091 | 121244.0575 | 302117.9135 | 30.45 | 114.2
59715 | 2021-03-29 16:11 | 30.3326 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 145.6761 | μmol/L | 30.1919 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.087 | 121237.9129 | 302116.8635 | 30.45 | 114.2
59725 | 2021-03-29 16:11 | 30.6663 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 145.7384 | μmol/L | 30.161 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.093 | 121266.1125 | 302122.7499 | 30.45 | 114.2
59735 | 2021-03-29 16:11 | 30.9992 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 145.7821 | μmol/L | 30.1734 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.085 | 121221.3155 | 302105.7285 | 30.45 | 114.2
59745 | 2021-03-29 16:12 | 31.3327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 145.4612 | μmol/L | 30.1795 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.109 | 121347.6927 | 302119.3996 | 30.45 | 114.2
59755 | 2021-03-29 16:12 | 31.6656 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 145.0839 | μmol/L | 30.1487 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.151 | 121597.8318 | 302116.6004 | 30.45 | 114.2
59765 | 2021-03-29 16:12 | 31.9993 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 144.9135 | μmol/L | 30.1487 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.165 | 121670.6644 | 302128.8343 | 30.45 | 114.2
59775 | 2021-03-29 16:13 | 32.3328 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 144.8891 | μmol/L | 30.1487 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.167 | 121714.3084 | 302127.9929 | 30.45 | 114.2
59785 | 2021-03-29 16:13 | 32.6662 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 144.6825 | μmol/L | 30.1487 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.184 | 121794.7557 | 302127.6031 | 30.45 | 114.2
59795 | 2021-03-29 16:13 | 32.9995 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 144.3361 | μmol/L | 30.1364 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.217 | 121962.3456 | 302121.419 | 30.45 | 114.2
59805 | 2021-03-29 16:14 | 33.3327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 144.1909 | μmol/L | 30.1364 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.229 | 122023.5043 | 302135.9054 | 30.45 | 114.2
59815 | 2021-03-29 16:14 | 33.666 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 144.3146 | μmol/L | 30.1302 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.221 | 121988.4546 | 302145.0903 | 30.45 | 114.2
59825 | 2021-03-29 16:14 | 33.9989 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 144.2299 | μmol/L | 30.1302 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.228 | 122030.8092 | 302120.1005 | 30.45 | 114.2
59835 | 2021-03-29 16:15 | 34.3326 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 144.3441 | μmol/L | 30.1179 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.223 | 122010.3543 | 302134.6685 | 30.45 | 114.2
59845 | 2021-03-29 16:15 | 34.666 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 144.2741 | μmol/L | 30.1117 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.231 | 122049.2464 | 302129.1805 | 30.45 | 114.2
59855 | 2021-03-29 16:15 | 34.9991 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 144.1437 | μmol/L | 30.1056 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.244 | 122122.6534 | 302138.4066 | 30.45 | 114.2
59865 | 2021-03-29 16:16 | 35.3328 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.9946 | μmol/L | 30.0871 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.263 | 122239.184 | 302139.0157 | 30.45 | 114.2
59875 | 2021-03-29 16:16 | 35.6661 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.7749 | μmol/L | 30.0932 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.279 | 122305.4065 | 302126.3224 | 30.45 | 114.2
59885 | 2021-03-29 16:16 | 35.9991 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.8284 | μmol/L | 30.0809 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.279 | 122336.7609 | 302131.3422 | 30.45 | 114.2
59895 | 2021-03-29 16:17 | 36.3329 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.8043 | μmol/L | 30.0809 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.281 | 122358.4115 | 302125.5675 | 30.45 | 114.2
59905 | 2021-03-29 16:17 | 36.6658 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.3031 | μmol/L | 30.0994 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.316 | 122535.6973 | 302130.0182 | 30.45 | 114.2
59915 | 2021-03-29 16:17 | 36.9995 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.2911 | μmol/L | 30.0994 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.317 | 122571.0816 | 302136.0388 | 30.45 | 114.2
59925 | 2021-03-29 16:18 | 37.3325 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.3565 | μmol/L | 30.0871 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.316 | 122535.8159 | 302124.3739 | 30.45 | 114.2
59935 | 2021-03-29 16:18 | 37.6663 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.0965 | μmol/L | 30.1056 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.331 | 122635.314 | 302128.6205 | 30.45 | 114.2
59945 | 2021-03-29 16:18 | 37.9994 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 142.873 | μmol/L | 30.1241 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.343 | 122738.5478 | 302131.4888 | 30.45 | 114.2
59955 | 2021-03-29 16:19 | 38.3322 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 142.8146 | μmol/L | 30.0932 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.359 | 122798.0036 | 302137.3369 | 30.45 | 114.2
59965 | 2021-03-29 16:19 | 38.666 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 142.8171 | μmol/L | 30.1425 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.341 | 122693.768 | 302133.0939 | 30.45 | 114.2
59975 | 2021-03-29 16:19 | 38.999 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 142.3399 | μmol/L | 30.0871 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.401 | 123039.8938 | 302122.4811 | 30.45 | 114.2
59985 | 2021-03-29 16:20 | 39.3329 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 142.0606 | μmol/L | 30.1549 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.4 | 123040.4039 | 302126.5637 | 30.45 | 114.2
59995 | 2021-03-29 16:20 | 39.6659 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 142.2578 | μmol/L | 30.1117 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.399 | 123060.5335 | 302136.3346 | 30.45 | 114.2
60005 | 2021-03-29 16:20 | 39.9992 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 142.3426 | μmol/L | 30.0809 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.403 | 123066.0194 | 302140.7348 | 30.45 | 114.2
60015 | 2021-03-29 16:21 | 40.3329 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 142.2301 | μmol/L | 30.0932 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.408 | 123079.0165 | 302117.4727 | 30.45 | 114.2
60025 | 2021-03-29 16:21 | 40.6659 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 142 | μmol/L | 30.1302 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.414 | 123117.4876 | 302122.7109 | 30.45 | 114.2
60035 | 2021-03-29 16:21 | 40.9995 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 141.8759 | μmol/L | 30.1425 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.42 | 123126.4224 | 302120.164 | 30.45 | 114.2
60045 | 2021-03-29 16:22 | 41.3325 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 141.9525 | μmol/L | 30.1302 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.418 | 123142.3584 | 302118.7712 | 30.45 | 114.2
60055 | 2021-03-29 16:22 | 41.666 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 141.8851 | μmol/L | 30.1487 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.417 | 123126.8327 | 302131.3339 | 30.45 | 114.2
60065 | 2021-03-29 16:22 | 41.9989 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 141.7174 | μmol/L | 30.1795 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.42 | 123132.7161 | 302108.4479 | 30.45 | 114.2
60075 | 2021-03-29 16:23 | 42.3327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 141.3505 | μmol/L | 30.1795 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.451 | 123323.7962 | 302112.6425 | 30.45 | 114.2
60085 | 2021-03-29 16:23 | 42.6657 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 141.3393 | μmol/L | 30.1241 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.472 | 123429.8458 | 302111.8405 | 30.45 | 114.2
60095 | 2021-03-29 16:23 | 42.9996 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 141.3855 | μmol/L | 30.0994 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.477 | 123485.1081 | 302107.4211 | 30.45 | 114.2
60105 | 2021-03-29 16:24 | 43.3327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 141.145 | μmol/L | 30.1364 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.484 | 123519.2104 | 302116.9857 | 30.45 | 114.2
60115 | 2021-03-29 16:24 | 43.6659 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 141.0018 | μmol/L | 30.1672 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.485 | 123498.1136 | 302114.7326 | 30.45 | 114.2
60125 | 2021-03-29 16:24 | 43.9997 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 140.9076 | μmol/L | 30.1672 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.493 | 123579.2692 | 302109.6539 | 30.45 | 114.2
60135 | 2021-03-29 16:25 | 44.3326 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 140.7791 | μmol/L | 30.1919 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.495 | 123592.4222 | 302128.7611 | 30.45 | 114.2
60145 | 2021-03-29 16:25 | 44.6663 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 140.8814 | μmol/L | 30.1734 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.493 | 123569.5166 | 302122.592 | 30.45 | 114.2
60155 | 2021-03-29 16:25 | 44.9992 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 140.5143 | μmol/L | 30.1795 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.522 | 123760.7525 | 302112.9776 | 30.45 | 114.2
60165 | 2021-03-29 16:26 | 45.3323 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 140.2896 | μmol/L | 30.2104 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.53 | 123810.4116 | 302127.0672 | 30.45 | 114.2
60175 | 2021-03-29 16:26 | 45.6663 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.7669 | μmol/L | 30.2288 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.568 | 124005.6173 | 302125.5294 | 30.45 | 114.2
60185 | 2021-03-29 16:26 | 45.9993 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.7285 | μmol/L | 30.2104 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.578 | 124071.9735 | 302121.682 | 30.45 | 114.2
60195 | 2021-03-29 16:27 | 46.3324 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.6736 | μmol/L | 30.2288 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.576 | 124081.778 | 302115.9353 | 30.45 | 114.2
60205 | 2021-03-29 16:27 | 46.6659 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.8362 | μmol/L | 30.2042 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.571 | 124041.9144 | 302111.2417 | 30.45 | 114.2
60215 | 2021-03-29 16:27 | 46.9996 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.8067 | μmol/L | 30.1919 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.578 | 124090.2615 | 302110.6095 | 30.45 | 114.2
60225 | 2021-03-29 16:28 | 47.3326 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.5605 | μmol/L | 30.2473 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.579 | 124123.9961 | 302128.5251 | 30.45 | 114.2
60235 | 2021-03-29 16:28 | 47.666 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.6592 | μmol/L | 30.235 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.575 | 124069.1142 | 302122.1002 | 30.45 | 114.2
60245 | 2021-03-29 16:28 | 47.9996 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.697 | μmol/L | 30.2288 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.574 | 124069.518 | 302126.8197 | 30.45 | 114.2
60255 | 2021-03-29 16:29 | 48.3325 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.1868 | μmol/L | 30.3028 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.591 | 124161.2043 | 302122.7598 | 30.45 | 114.2
60265 | 2021-03-29 16:29 | 48.6663 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.1569 | μmol/L | 30.2658 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.607 | 124263.415 | 302121.8201 | 30.45 | 114.2
60275 | 2021-03-29 16:29 | 48.9996 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.0336 | μmol/L | 30.2042 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.64 | 124482.8819 | 302128.4595 | 30.45 | 114.2
60285 | 2021-03-29 16:30 | 49.3329 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.6874 | μmol/L | 30.2535 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.652 | 124508.7433 | 302130.8621 | 30.45 | 114.2
60295 | 2021-03-29 16:30 | 49.6661 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.936 | μmol/L | 30.2412 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.635 | 124443.7181 | 302130.5793 | 30.45 | 114.2
60305 | 2021-03-29 16:30 | 49.9994 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.91 | μmol/L | 30.2473 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.635 | 124447.3389 | 302121.704 | 30.45 | 114.2
60315 | 2021-03-29 16:31 | 50.3326 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.4633 | μmol/L | 30.3151 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.649 | 124529.4992 | 302112.2916 | 30.45 | 114.2
60325 | 2021-03-29 16:31 | 50.6656 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.3706 | μmol/L | 30.2905 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.666 | 124622.2841 | 302121.8315 | 30.45 | 114.2
60335 | 2021-03-29 16:31 | 50.9989 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.5168 | μmol/L | 30.2473 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.669 | 124650.4595 | 302109.6277 | 30.45 | 114.2
60345 | 2021-03-29 16:32 | 51.3326 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.1802 | μmol/L | 30.2782 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.687 | 124732.6888 | 302125.4644 | 30.45 | 114.2
60355 | 2021-03-29 16:32 | 51.6662 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.9014 | μmol/L | 30.2843 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.709 | 124830.9598 | 302120.5716 | 30.45 | 114.2
60365 | 2021-03-29 16:32 | 51.9994 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.0641 | μmol/L | 30.2288 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.715 | 124901.6615 | 302118.8203 | 30.45 | 114.2
60375 | 2021-03-29 16:33 | 52.3324 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.7829 | μmol/L | 30.2412 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.735 | 125015.97 | 302132.5965 | 30.45 | 114.2
60385 | 2021-03-29 16:33 | 52.6659 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.7228 | μmol/L | 30.2473 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.738 | 125027.1844 | 302116.24 | 30.45 | 114.2
60395 | 2021-03-29 16:33 | 52.9989 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.637 | μmol/L | 30.2597 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.741 | 125035.939 | 302118.435 | 30.45 | 114.2
60405 | 2021-03-29 16:34 | 53.3329 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.6943 | μmol/L | 30.2597 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.736 | 125049.4055 | 302119.2198 | 30.45 | 114.2
60415 | 2021-03-29 16:34 | 53.6659 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.6512 | μmol/L | 30.2535 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.742 | 125076.7689 | 302130.1165 | 30.45 | 114.2
60425 | 2021-03-29 16:34 | 53.9989 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.4798 | μmol/L | 30.2782 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.748 | 125101.6565 | 302124.4748 | 30.45 | 114.2
60435 | 2021-03-29 16:35 | 54.3327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.5082 | μmol/L | 30.2658 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.75 | 125102.0986 | 302117.2304 | 30.45 | 114.2
60445 | 2021-03-29 16:35 | 54.6659 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.4021 | μmol/L | 30.2473 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.766 | 125185.11 | 302118.2717 | 30.45 | 114.2
60455 | 2021-03-29 16:35 | 54.9989 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.5047 | μmol/L | 30.2227 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.766 | 125200.5979 | 302123.8904 | 30.45 | 114.2
60465 | 2021-03-29 16:36 | 55.3326 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.4218 | μmol/L | 30.2288 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.771 | 125221.056 | 302122.9631 | 30.45 | 114.2
60475 | 2021-03-29 16:36 | 55.6663 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.1103 | μmol/L | 30.2104 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.805 | 125421.4919 | 302129.5157 | 30.45 | 114.2
60485 | 2021-03-29 16:36 | 55.9993 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 136.6948 | μmol/L | 30.2227 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.837 | 125592.8079 | 302123.5886 | 30.45 | 114.2
60495 | 2021-03-29 16:37 | 56.333 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 136.1196 | μmol/L | 30.2658 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.872 | 125762.6764 | 302133.7103 | 30.45 | 114.2
60505 | 2021-03-29 16:37 | 56.6661 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 136.3716 | μmol/L | 30.2597 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.852 | 125674.1739 | 302132.754 | 30.45 | 114.2
60515 | 2021-03-29 16:37 | 56.9997 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 136.3091 | μmol/L | 30.2473 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.862 | 125726.1154 | 302125.4174 | 30.45 | 114.2
60525 | 2021-03-29 16:38 | 57.3325 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 136.4137 | μmol/L | 30.2165 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.864 | 125717.7732 | 302131.3575 | 30.45 | 114.2
60535 | 2021-03-29 16:38 | 57.6656 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 136.3399 | μmol/L | 30.2042 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.875 | 125788.1327 | 302124.0459 | 30.45 | 114.2
60545 | 2021-03-29 16:38 | 57.9993 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 136.0966 | μmol/L | 30.2165 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.892 | 125911.8724 | 302143.8004 | 30.45 | 114.2
60555 | 2021-03-29 16:39 | 58.3329 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 135.9354 | μmol/L | 30.198 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.913 | 126029.2771 | 302155.3191 | 30.45 | 114.2
60565 | 2021-03-29 16:39 | 58.666 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 135.9577 | μmol/L | 30.1734 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.92 | 126065.2403 | 302133.2946 | 30.45 | 114.2
60575 | 2021-03-29 16:39 | 58.999 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 135.9577 | μmol/L | 30.1734 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.92 | 126074.9122 | 302142.5943 | 30.45 | 114.2
60585 | 2021-03-29 16:40 | 59.3328 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 135.7488 | μmol/L | 30.161 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.943 | 126177.0851 | 302141.7001 | 30.45 | 114.2
60595 | 2021-03-29 16:40 | 59.6656 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 135.6614 | μmol/L | 30.1549 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.953 | 126213.681 | 302143.1886 | 30.45 | 114.2
60605 | 2021-03-29 16:40 | 59.9995 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 135.5238 | μmol/L | 30.1857 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.954 | 126230.7522 | 302141.3577 | 30.45 | 114.2
60615 | 2021-03-29 16:41 | 60.3326 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 135.7062 | μmol/L | 30.1302 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.958 | 126266.6914 | 302146.1338 | 30.45 | 114.2
60625 | 2021-03-29 16:41 | 60.6664 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 135.5486 | μmol/L | 30.1302 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.972 | 126327.4153 | 302138.6617 | 30.45 | 114.2
60635 | 2021-03-29 16:41 | 60.9995 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 135.2342 | μmol/L | 30.1549 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.991 | 126458.414 | 302146.521 | 30.45 | 114.2
60645 | 2021-03-29 16:42 | 61.3327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 135.3066 | μmol/L | 30.0932 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 25.007 | 126550.9317 | 302141.6692 | 30.45 | 114.2
60655 | 2021-03-29 16:42 | 61.6656 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 135.1355 | μmol/L | 30.0994 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 25.02 | 126617.6667 | 302147.1226 | 30.45 | 114.2
60665 | 2021-03-29 16:42 | 61.9996 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 134.6713 | μmol/L | 30.1117 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 25.057 | 126826.2093 | 302164.087 | 30.45 | 114.2
60675 | 2021-03-29 16:43 | 62.3326 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 134.3926 | μmol/L | 30.1364 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 25.073 | 126927.1102 | 302147.8835 | 30.45 | 114.2
60685 | 2021-03-29 16:43 | 62.6657 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 134.156 | μmol/L | 30.1179 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 25.101 | 127069.9272 | 302160.6811 | 30.45 | 114.2
60695 | 2021-03-29 16:43 | 62.9996 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 133.8313 | μmol/L | 30.1487 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 25.119 | 127182.6097 | 302165.0137 | 30.45 | 114.2
60705 | 2021-03-29 16:44 | 63.3326 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 134.1698 | μmol/L | 30.0871 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 25.111 | 127163.0289 | 302156.0536 | 30.45 | 114.2
60715 | 2021-03-29 16:44 | 63.6663 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 133.7426 | μmol/L | 30.1487 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 25.127 | 127235.5594 | 302161.4141 | 30.45 | 114.2
60725 | 2021-03-29 16:44 | 63.9993 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 133.69 | μmol/L | 30.1425 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 25.134 | 127259.4231 | 302175.7794 | 30.45 | 114.2
60735 | 2021-03-29 16:45 | 64.3323 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 133.4881 | μmol/L | 30.1487 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 25.15 | 127372.015 | 302162.3716 | 30.45 | 114.2
60745 | 2021-03-29 16:45 | 64.6662 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 133.4494 | μmol/L | 30.1117 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 25.167 | 127456.595 | 302160.2577 | 30.45 | 114.2
60755 | 2021-03-29 16:45 | 64.9994 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 133.5572 | μmol/L | 30.0932 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 25.164 | 127442.6875 | 302166.3136 | 30.45 | 114.2
60765 | 2021-03-29 16:46 | 65.3328 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 133.1955 | μmol/L | 30.1117 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 25.19 | 127599.4568 | 302174.0804 | 30.45 | 114.2
60775 | 2021-03-29 16:46 | 65.6659 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 132.9642 | μmol/L | 30.1117 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 25.211 | 127731.7839 | 302174.6598 | 30.45 | 114.2
60785 | 2021-03-29 16:46 | 65.9996 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 132.8075 | μmol/L | 30.1179 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 25.223 | 127785.7557 | 302168.347 | 30.45 | 114.2
60795 | 2021-03-29 16:47 | 66.3327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 132.4834 | μmol/L | 30.1795 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 25.23 | 127835.5778 | 302177.6137 | 30.45 | 114.2
60805 | 2021-03-29 16:47 | 66.6657 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 132.7361 | μmol/L | 30.1056 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 25.234 | 127871.9503 | 302182.2165 | 30.45 | 114.2
60815 | 2021-03-29 16:47 | 66.9994 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 132.8323 | μmol/L | 30.0871 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 25.232 | 127854.9763 | 302169.7991 | 30.45 | 114.2
60825 | 2021-03-29 16:48 | 67.3323 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 132.6729 | μmol/L | 30.1241 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 25.233 | 127851.3728 | 302191.2252 | 30.45 | 114.2
60835 | 2021-03-29 16:48 | 67.6662 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 132.5849 | μmol/L | 30.1734 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 25.223 | 127804.2278 | 302197.3221 | 30.45 | 114.2
60845 | 2021-03-29 16:48 | 67.9989 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 132.7526 | μmol/L | 30.1179 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 25.228 | 127855.2101 | 302183.5818 | 30.45 | 114.2
60855 | 2021-03-29 16:49 | 68.3325 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 132.7911 | μmol/L | 30.0809 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 25.238 | 127910.6397 | 302189.0576 | 30.45 | 114.2
60865 | 2021-03-29 16:49 | 68.6663 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 132.5085 | μmol/L | 30.0994 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 25.257 | 127987.9223 | 302187.5066 | 30.45 | 114.2
60875 | 2021-03-29 16:49 | 68.9992 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 132.5606 | μmol/L | 30.0809 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 25.259 | 128014.651 | 302192.1311 | 30.45 | 114.2
60885 | 2021-03-29 16:50 | 69.3327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 132.6236 | μmol/L | 30.1117 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 25.242 | 127927.2606 | 302178.3381 | 30.45 | 114.2
60895 | 2021-03-29 16:50 | 69.6656 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 132.7415 | μmol/L | 30.1425 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 25.22 | 127783.2828 | 302194.9843 | 30.45 | 114.2
60905 | 2021-03-29 16:50 | 69.9996 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 132.8515 | μmol/L | 30.1179 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 25.219 | 127818.0865 | 302200.7698 | 30.45 | 114.2
60915 | 2021-03-29 16:51 | 70.3325 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 131.9042 | μmol/L | 30.1549 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 25.292 | 128210.787 | 302206.6463 | 30.45 | 114.2
60925 | 2021-03-29 16:51 | 70.6663 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 132.0271 | μmol/L | 30.1241 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 25.292 | 128219.2338 | 302217.3185 | 30.45 | 114.2
60935 | 2021-03-29 16:51 | 70.9996 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 131.727 | μmol/L | 30.161 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 25.306 | 128295.4873 | 302216.3044 | 30.45 | 114.2
60945 | 2021-03-29 16:52 | 71.3325 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 131.5421 | μmol/L | 30.161 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 25.323 | 128435.3289 | 302208.187 | 30.45 | 114.2
60955 | 2021-03-29 16:52 | 71.6656 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 131.3549 | μmol/L | 30.1425 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 25.347 | 128551.3283 | 302195.6398 | 30.45 | 114.2
60965 | 2021-03-29 16:52 | 71.9995 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 131.4637 | μmol/L | 30.1179 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 25.346 | 128560.9555 | 302208.435 | 30.45 | 114.2
60975 | 2021-03-29 16:53 | 72.333 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 130.8913 | μmol/L | 30.1857 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 25.374 | 128707.6409 | 302202.9088 | 30.45 | 114.2
60985 | 2021-03-29 16:53 | 72.666 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 130.7449 | μmol/L | 30.2227 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 25.374 | 128731.9842 | 302215.4913 | 30.45 | 114.2
60995 | 2021-03-29 16:53 | 72.9992 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 130.8613 | μmol/L | 30.2042 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 25.37 | 128717.6528 | 302223.5564 | 30.45 | 114.2
61005 | 2021-03-29 16:54 | 73.3324 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 131.0997 | μmol/L | 30.1795 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 25.357 | 128738.181 | 302222.2801 | 30.45 | 114.2