## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-29 16:54

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
58807 | 2021-03-29 15:40 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 160.3154 | μmol/L | 30.5378 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.602 | 168241.8161 | 312083.2851 | 33.25 | 68.6
58817 | 2021-03-29 15:41 | 0.33253 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 160.5134 | μmol/L | 30.5195 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.594 | 168155.5329 | 312104.2981 | 33.25 | 68.6
58827 | 2021-03-29 15:41 | 0.66576 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 160.7897 | μmol/L | 30.4828 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.587 | 168057.6581 | 312101.4056 | 33.25 | 68.6
58837 | 2021-03-29 15:41 | 0.99946 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 160.7178 | μmol/L | 30.5134 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.581 | 167946.1948 | 312086.3933 | 33.25 | 68.6
58847 | 2021-03-29 15:42 | 1.3326 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 160.6776 | μmol/L | 30.5134 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.584 | 167820.6649 | 312082.165 | 33.25 | 68.6
58857 | 2021-03-29 15:42 | 1.6662 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 160.7251 | μmol/L | 30.5012 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.585 | 167791.6395 | 312062.975 | 33.25 | 68.6
58867 | 2021-03-29 15:42 | 1.9994 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 160.7348 | μmol/L | 30.5073 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.582 | 167789.4789 | 312032.7286 | 33.25 | 68.6
58877 | 2021-03-29 15:43 | 2.3323 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 160.7556 | μmol/L | 30.4951 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.585 | 167784.4707 | 312029.8632 | 33.25 | 68.6
58887 | 2021-03-29 15:43 | 2.6662 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 160.7957 | μmol/L | 30.4951 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.582 | 167819.8282 | 312014.6374 | 33.25 | 68.6
58897 | 2021-03-29 15:43 | 2.9993 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 160.7422 | μmol/L | 30.4951 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.586 | 167885.5033 | 311996.2073 | 33.25 | 68.6
58907 | 2021-03-29 15:44 | 3.3331 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 160.7324 | μmol/L | 30.489 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.589 | 167932.896 | 311987.7377 | 33.25 | 68.6
58917 | 2021-03-29 15:44 | 3.6658 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 160.73 | μmol/L | 30.4706 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.596 | 167913.5248 | 311991.1895 | 33.25 | 68.6
58927 | 2021-03-29 15:44 | 3.9997 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 160.6157 | μmol/L | 30.4828 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.6 | 167966.8466 | 311973.6207 | 33.25 | 68.6
58937 | 2021-03-29 15:45 | 4.3329 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 160.5926 | μmol/L | 30.4767 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.604 | 168023.0319 | 311969.2903 | 33.25 | 68.6
58947 | 2021-03-29 15:45 | 4.6659 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 160.516 | μmol/L | 30.4706 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.612 | 168085.8405 | 311954.6943 | 33.25 | 68.6
58957 | 2021-03-29 15:45 | 4.9992 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 160.4359 | μmol/L | 30.4706 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.618 | 168174.9271 | 311944.2403 | 33.25 | 68.6
58967 | 2021-03-29 15:46 | 5.3331 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 160.3691 | μmol/L | 30.4706 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.623 | 168260.2419 | 311939.7949 | 33.25 | 68.6
58977 | 2021-03-29 15:46 | 5.666 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 160.1957 | μmol/L | 30.4706 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.636 | 168295.4843 | 311936.8249 | 33.25 | 68.6
58987 | 2021-03-29 15:46 | 5.999 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 160.3717 | μmol/L | 30.4218 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.641 | 168291.1857 | 311918.948 | 33.25 | 68.6
58997 | 2021-03-29 15:47 | 6.3331 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 160.0661 | μmol/L | 30.4645 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.648 | 168291.7967 | 311920.3402 | 33.25 | 68.6
59007 | 2021-03-29 15:47 | 6.6663 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 159.9087 | μmol/L | 30.4828 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.653 | 168320.9309 | 311917.028 | 33.25 | 68.6
59017 | 2021-03-29 15:47 | 6.9992 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 159.8628 | μmol/L | 30.4706 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.661 | 168337.5793 | 311906.6805 | 33.25 | 68.6
59027 | 2021-03-29 15:48 | 7.333 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 159.8074 | μmol/L | 30.4523 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.672 | 168375.4675 | 311898.5418 | 33.25 | 68.6
59037 | 2021-03-29 15:48 | 7.6658 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 159.6178 | μmol/L | 30.4584 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.684 | 168398.797 | 311880.7034 | 33.25 | 68.6
59047 | 2021-03-29 15:48 | 7.9996 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 159.4152 | μmol/L | 30.4645 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.697 | 168468.8779 | 311879.771 | 33.25 | 68.6
59057 | 2021-03-29 15:49 | 8.3327 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 159.2658 | μmol/L | 30.4706 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.706 | 168552.2993 | 311883.213 | 33.25 | 68.6
59067 | 2021-03-29 15:49 | 8.6657 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 159.0241 | μmol/L | 30.4767 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.722 | 168618.464 | 311859.0505 | 33.25 | 68.6
59077 | 2021-03-29 15:49 | 8.9994 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 158.8809 | μmol/L | 30.4951 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.726 | 168674.145 | 311854.6039 | 33.25 | 68.6
59087 | 2021-03-29 15:50 | 9.3324 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 158.8508 | μmol/L | 30.5012 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.726 | 168677.8876 | 311846.5812 | 33.25 | 68.6
59097 | 2021-03-29 15:50 | 9.666 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 158.9073 | μmol/L | 30.4951 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.724 | 168659.6069 | 311836.8968 | 33.25 | 68.6
59107 | 2021-03-29 15:50 | 9.9997 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 158.9205 | μmol/L | 30.4951 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.723 | 168646.5196 | 311849.6432 | 33.25 | 68.6
59117 | 2021-03-29 15:51 | 10.3326 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 159.1504 | μmol/L | 30.4645 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.717 | 168586.7865 | 311839.0589 | 33.25 | 68.6
59127 | 2021-03-29 15:51 | 10.6662 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 159.2526 | μmol/L | 30.4706 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.707 | 168521.0821 | 311831.8138 | 33.25 | 68.6
59137 | 2021-03-29 15:51 | 10.9991 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 159.5794 | μmol/L | 30.434 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.696 | 168418.3434 | 311813.9804 | 33.25 | 68.6
59147 | 2021-03-29 15:52 | 11.3328 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 159.5478 | μmol/L | 30.4645 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.687 | 168338.818 | 311801.5292 | 33.25 | 68.6
59157 | 2021-03-29 15:52 | 11.666 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 159.4557 | μmol/L | 30.5073 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.678 | 168307.1912 | 311816.0814 | 33.25 | 68.6
59167 | 2021-03-29 15:52 | 11.9996 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 159.4969 | μmol/L | 30.4828 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.684 | 168316.3846 | 311794.6392 | 33.25 | 68.6
59177 | 2021-03-29 15:53 | 12.3326 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 159.5574 | μmol/L | 30.4706 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.684 | 168358.4555 | 311801.8238 | 33.25 | 68.6
59187 | 2021-03-29 15:53 | 12.6657 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 159.2739 | μmol/L | 30.5012 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.694 | 168404.6451 | 311776.8618 | 33.25 | 68.6
59197 | 2021-03-29 15:53 | 12.9998 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 159.0871 | μmol/L | 30.5256 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.699 | 168445.4925 | 311769.3802 | 33.25 | 68.6
59207 | 2021-03-29 15:54 | 13.333 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 159.0751 | μmol/L | 30.5134 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.705 | 168502.5734 | 311764.5328 | 33.25 | 68.6
59217 | 2021-03-29 15:54 | 13.6663 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 159.0115 | μmol/L | 30.5195 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.707 | 168522.8736 | 311751.3194 | 33.25 | 68.6
59227 | 2021-03-29 15:54 | 13.9991 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 159.1825 | μmol/L | 30.489 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.706 | 168528.8841 | 311766.741 | 33.25 | 68.6
59237 | 2021-03-29 15:55 | 14.3327 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 159.0585 | μmol/L | 30.5073 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.708 | 168545.9651 | 311765.3949 | 33.25 | 68.6
59247 | 2021-03-29 15:55 | 14.6664 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 158.9153 | μmol/L | 30.5256 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.712 | 168545.8605 | 311752.9643 | 33.25 | 68.6
59257 | 2021-03-29 15:55 | 14.9994 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 158.9224 | μmol/L | 30.5256 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.712 | 168564.6955 | 311754.4076 | 33.25 | 68.6
59267 | 2021-03-29 15:56 | 15.3324 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 158.6217 | μmol/L | 30.5744 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.716 | 168633.9449 | 311736.3662 | 33.25 | 68.6
59277 | 2021-03-29 15:56 | 15.6662 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 158.7772 | μmol/L | 30.5256 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.723 | 168661.4944 | 311732.0675 | 33.25 | 68.6
59287 | 2021-03-29 15:56 | 15.9993 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 158.644 | μmol/L | 30.5378 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.728 | 168707.9656 | 311733.0249 | 33.25 | 68.6
59297 | 2021-03-29 15:57 | 16.333 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 158.6588 | μmol/L | 30.5134 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.736 | 168750.2958 | 311724.8517 | 33.25 | 68.6
59307 | 2021-03-29 15:57 | 16.6659 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 158.5328 | μmol/L | 30.5256 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.741 | 168806.9823 | 311713.3787 | 33.25 | 68.6
59317 | 2021-03-29 15:57 | 16.9993 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 158.3543 | μmol/L | 30.5378 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.75 | 168878.473 | 311709.6067 | 33.25 | 68.6
59327 | 2021-03-29 15:58 | 17.333 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 158.2849 | μmol/L | 30.5439 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.753 | 168923.5988 | 311717.5887 | 33.25 | 68.6
59337 | 2021-03-29 15:58 | 17.6658 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 158.1723 | μmol/L | 30.5561 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.757 | 168925.8115 | 311713.9457 | 33.25 | 68.6
59347 | 2021-03-29 15:58 | 17.9995 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 158.1443 | μmol/L | 30.5805 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.75 | 168889.5324 | 311703.2581 | 33.25 | 68.6
59357 | 2021-03-29 15:59 | 18.3327 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 158.4144 | μmol/L | 30.5256 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.75 | 168887.6448 | 311709.2368 | 33.25 | 68.6
59367 | 2021-03-29 15:59 | 18.6665 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 158.358 | μmol/L | 30.5317 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.752 | 168885.0667 | 311691.2188 | 33.25 | 68.6
59377 | 2021-03-29 15:59 | 18.9994 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 158.3543 | μmol/L | 30.5378 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.75 | 168867.3299 | 311693.9973 | 33.25 | 68.6
59387 | 2021-03-29 16:00 | 19.3327 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 158.4407 | μmol/L | 30.5256 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.748 | 168845.064 | 311697.9156 | 33.25 | 68.6
59397 | 2021-03-29 16:00 | 19.6664 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 158.3088 | μmol/L | 30.5378 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.754 | 168900.1541 | 311697.9904 | 33.25 | 68.6
59407 | 2021-03-29 16:00 | 19.9992 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 157.94 | μmol/L | 30.5928 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.761 | 168970.7095 | 311691.1484 | 33.25 | 68.6
59417 | 2021-03-29 16:01 | 20.3325 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 158.0953 | μmol/L | 30.5317 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.772 | 169039.6968 | 311684.2952 | 33.25 | 68.6
59427 | 2021-03-29 16:01 | 20.6664 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 157.6719 | μmol/L | 30.5928 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.782 | 169122.4325 | 311662.2108 | 33.25 | 68.6
59437 | 2021-03-29 16:01 | 20.9994 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 157.7298 | μmol/L | 30.5622 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.789 | 169214.813 | 311674.6004 | 33.25 | 68.6
59447 | 2021-03-29 16:02 | 21.3323 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 157.3996 | μmol/L | 30.5989 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.8 | 169282.0105 | 311663.4219 | 33.25 | 68.6
59457 | 2021-03-29 16:02 | 21.6661 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 157.4799 | μmol/L | 30.5744 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.803 | 169330.0272 | 311673.4522 | 33.25 | 68.6
59467 | 2021-03-29 16:02 | 21.9998 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 157.3321 | μmol/L | 30.5928 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.808 | 169366.951 | 311687.5006 | 33.25 | 68.6
59477 | 2021-03-29 16:03 | 22.3328 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 157.1367 | μmol/L | 30.6233 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.811 | 169371.7944 | 311672.2301 | 33.25 | 68.6
59487 | 2021-03-29 16:03 | 22.6658 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 157.0808 | μmol/L | 30.6294 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.813 | 169398.3292 | 311673.7658 | 33.25 | 68.6
59497 | 2021-03-29 16:03 | 22.9995 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 157.0362 | μmol/L | 30.6172 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.821 | 169433.8887 | 311660.6086 | 33.25 | 68.6
59507 | 2021-03-29 16:04 | 23.3331 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 157.0768 | μmol/L | 30.605 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.823 | 169463.371 | 311656.1455 | 33.25 | 68.6
59517 | 2021-03-29 16:04 | 23.6662 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 156.9656 | μmol/L | 30.605 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.831 | 169513.9892 | 311648.666 | 33.25 | 68.6
59527 | 2021-03-29 16:04 | 23.9993 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 156.9303 | μmol/L | 30.5989 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.836 | 169582.8525 | 311662.1979 | 33.25 | 68.6
59537 | 2021-03-29 16:05 | 24.3323 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 156.9225 | μmol/L | 30.5805 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.844 | 169630.6412 | 311641.6084 | 33.25 | 68.6
59547 | 2021-03-29 16:05 | 24.6661 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 156.7887 | μmol/L | 30.5867 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.852 | 169712.8278 | 311637.9904 | 33.25 | 68.6
59557 | 2021-03-29 16:05 | 24.999 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 156.642 | μmol/L | 30.5928 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.861 | 169777.4258 | 311652.1531 | 33.25 | 68.6
59567 | 2021-03-29 16:06 | 25.3326 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 156.5641 | μmol/L | 30.5928 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.867 | 169813.5742 | 311652.7605 | 33.25 | 68.6
59577 | 2021-03-29 16:06 | 25.6656 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 156.4529 | μmol/L | 30.605 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.871 | 169838.2968 | 311653.1602 | 33.25 | 68.6
59587 | 2021-03-29 16:06 | 25.9994 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 156.4696 | μmol/L | 30.5989 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.872 | 169882.359 | 311641.283 | 33.25 | 68.6
59597 | 2021-03-29 16:07 | 26.3331 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 156.264 | μmol/L | 30.6172 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.881 | 169926.6089 | 311644.7691 | 33.25 | 68.6
59607 | 2021-03-29 16:07 | 26.6659 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 156.2548 | μmol/L | 30.6111 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.884 | 169967.8939 | 311642.623 | 33.25 | 68.6
59617 | 2021-03-29 16:07 | 26.9998 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 156.3253 | μmol/L | 30.5805 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.89 | 169998.4658 | 311636.3827 | 33.25 | 68.6
59627 | 2021-03-29 16:08 | 27.3326 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 156.1888 | μmol/L | 30.5805 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.9 | 170071.866 | 311636.7824 | 33.25 | 68.6
59637 | 2021-03-29 16:08 | 27.6663 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 155.9745 | μmol/L | 30.5928 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.912 | 170155.4852 | 311633.0277 | 33.25 | 68.6
59647 | 2021-03-29 16:08 | 27.9994 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 155.9711 | μmol/L | 30.5561 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.926 | 170276.1655 | 311638.0465 | 33.25 | 68.6
59657 | 2021-03-29 16:09 | 28.3326 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 155.7421 | μmol/L | 30.5622 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.942 | 170398.772 | 311631.1964 | 33.25 | 68.6
59667 | 2021-03-29 16:09 | 28.6663 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 155.4073 | μmol/L | 30.5928 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.956 | 170520.1458 | 311643.9948 | 33.25 | 68.6
59677 | 2021-03-29 16:09 | 28.9993 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 155.2236 | μmol/L | 30.5989 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.968 | 170627.0216 | 311658.7484 | 33.25 | 68.6
59687 | 2021-03-29 16:10 | 29.3324 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 155.1059 | μmol/L | 30.5928 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.98 | 170713.1514 | 311645.1999 | 33.25 | 68.6
59697 | 2021-03-29 16:10 | 29.6664 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 155.0589 | μmol/L | 30.5744 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.99 | 170812.2947 | 311643.9532 | 33.25 | 68.6
59707 | 2021-03-29 16:10 | 29.9995 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 154.927 | μmol/L | 30.5805 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.998 | 170863.3913 | 311635.086 | 33.25 | 68.6
59717 | 2021-03-29 16:11 | 30.3326 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 154.9729 | μmol/L | 30.5683 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.999 | 170858.4508 | 311634.7968 | 33.25 | 68.6
59727 | 2021-03-29 16:11 | 30.6665 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 154.9089 | μmol/L | 30.5683 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.004 | 170890.4146 | 311633.5318 | 33.25 | 68.6
59737 | 2021-03-29 16:11 | 30.999 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 154.8192 | μmol/L | 30.5683 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.011 | 170965.8209 | 311637.0705 | 33.25 | 68.6
59747 | 2021-03-29 16:12 | 31.3325 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 154.8081 | μmol/L | 30.5561 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.017 | 170992.3528 | 311628.8659 | 33.25 | 68.6
59757 | 2021-03-29 16:12 | 31.6663 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 155.1151 | μmol/L | 30.4828 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.02 | 171023.3928 | 311615.8451 | 33.25 | 68.6
59767 | 2021-03-29 16:12 | 31.9992 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 154.8071 | μmol/L | 30.5256 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.028 | 171091.1407 | 311648.3285 | 33.25 | 68.6
59777 | 2021-03-29 16:13 | 32.3323 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 154.8306 | μmol/L | 30.5195 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.029 | 171113.3658 | 311636.6047 | 33.25 | 68.6
59787 | 2021-03-29 16:13 | 32.6661 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 154.7138 | μmol/L | 30.5317 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.033 | 171126.7107 | 311624.708 | 33.25 | 68.6
59797 | 2021-03-29 16:13 | 32.9991 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 154.8514 | μmol/L | 30.4951 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.036 | 171156.0403 | 311647.5474 | 33.25 | 68.6
59807 | 2021-03-29 16:14 | 33.333 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 154.9581 | μmol/L | 30.4462 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.046 | 171230.2638 | 311636.4229 | 33.25 | 68.6
59817 | 2021-03-29 16:14 | 33.6662 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 154.625 | μmol/L | 30.489 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.056 | 171301.2716 | 311627.7784 | 33.25 | 68.6
59827 | 2021-03-29 16:14 | 33.9991 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 154.7331 | μmol/L | 30.4584 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.059 | 171356.7675 | 311641.8654 | 33.25 | 68.6
59837 | 2021-03-29 16:15 | 34.3329 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 154.534 | μmol/L | 30.4706 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.07 | 171431.0256 | 311650.3291 | 33.25 | 68.6
59847 | 2021-03-29 16:15 | 34.6661 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 154.348 | μmol/L | 30.4828 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.08 | 171480.0068 | 311641.982 | 33.25 | 68.6
59857 | 2021-03-29 16:15 | 34.9992 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 154.3644 | μmol/L | 30.4767 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.081 | 171497.9246 | 311645.6421 | 33.25 | 68.6
59867 | 2021-03-29 16:16 | 35.333 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 154.4665 | μmol/L | 30.4767 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.073 | 171460.3114 | 311623.4514 | 33.25 | 68.6
59877 | 2021-03-29 16:16 | 35.666 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 154.3389 | μmol/L | 30.4767 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.083 | 171492.7128 | 311631.2688 | 33.25 | 68.6
59887 | 2021-03-29 16:16 | 35.9991 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 154.3427 | μmol/L | 30.4706 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.085 | 171502.5493 | 311627.9863 | 33.25 | 68.6
59897 | 2021-03-29 16:17 | 36.3327 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 154.3129 | μmol/L | 30.489 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.081 | 171519.7135 | 311626.0181 | 33.25 | 68.6
59907 | 2021-03-29 16:17 | 36.6657 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 154.4049 | μmol/L | 30.4523 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.087 | 171515.0974 | 311619.4052 | 33.25 | 68.6
59917 | 2021-03-29 16:17 | 36.9994 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 154.2625 | μmol/L | 30.4767 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.089 | 171558.8927 | 311625.4974 | 33.25 | 68.6
59927 | 2021-03-29 16:18 | 37.3325 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 154.2572 | μmol/L | 30.4645 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.094 | 171608.5333 | 311614.4682 | 33.25 | 68.6
59937 | 2021-03-29 16:18 | 37.6664 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 154.1299 | μmol/L | 30.4645 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.104 | 171680.8986 | 311629.3213 | 33.25 | 68.6
59947 | 2021-03-29 16:18 | 37.9997 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 154.1942 | μmol/L | 30.4218 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.115 | 171738.8092 | 311615.2361 | 33.25 | 68.6
59957 | 2021-03-29 16:19 | 38.3326 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 154.026 | μmol/L | 30.4584 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.115 | 171780.7427 | 311643.5629 | 33.25 | 68.6
59967 | 2021-03-29 16:19 | 38.6663 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 153.893 | μmol/L | 30.489 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.114 | 171791.0752 | 311615.6535 | 33.25 | 68.6
59977 | 2021-03-29 16:19 | 38.9993 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 154.0065 | μmol/L | 30.4584 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.116 | 171801.8498 | 311621.4967 | 33.25 | 68.6
59987 | 2021-03-29 16:20 | 39.3331 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 153.7009 | μmol/L | 30.5012 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.124 | 171851.0501 | 311611.4546 | 33.25 | 68.6
59997 | 2021-03-29 16:20 | 39.6658 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 153.683 | μmol/L | 30.489 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.13 | 171939.1203 | 311613.7535 | 33.25 | 68.6
60007 | 2021-03-29 16:20 | 39.999 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 153.7965 | μmol/L | 30.4279 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.144 | 172013.6611 | 311619.2925 | 33.25 | 68.6
60017 | 2021-03-29 16:21 | 40.3327 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 153.8659 | μmol/L | 30.3974 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.15 | 172097.6388 | 311606.2815 | 33.25 | 68.6
60027 | 2021-03-29 16:21 | 40.6663 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 153.8189 | μmol/L | 30.3913 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.156 | 172132.8956 | 311611.5502 | 33.25 | 68.6
60037 | 2021-03-29 16:21 | 40.9994 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 153.5355 | μmol/L | 30.4401 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.16 | 172153.6487 | 311608.9404 | 33.25 | 68.6
60047 | 2021-03-29 16:22 | 41.3324 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 153.2122 | μmol/L | 30.5134 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.158 | 172130.7794 | 311610.41 | 33.25 | 68.6
60057 | 2021-03-29 16:22 | 41.6663 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 153.3701 | μmol/L | 30.4828 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.157 | 172143.8409 | 311610.1262 | 33.25 | 68.6
60067 | 2021-03-29 16:22 | 41.9994 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 153.4305 | μmol/L | 30.4462 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.166 | 172196.3435 | 311608.6926 | 33.25 | 68.6
60077 | 2021-03-29 16:23 | 42.3324 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 153.1894 | μmol/L | 30.489 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.169 | 172241.2133 | 311623.6881 | 33.25 | 68.6
60087 | 2021-03-29 16:23 | 42.6661 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 153.2006 | μmol/L | 30.4706 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.175 | 172312.7267 | 311608.2187 | 33.25 | 68.6
60097 | 2021-03-29 16:23 | 42.9991 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 152.8387 | μmol/L | 30.5256 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.183 | 172391.9693 | 311602.9954 | 33.25 | 68.6
60107 | 2021-03-29 16:24 | 43.3329 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 152.5844 | μmol/L | 30.55 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.194 | 172450.7313 | 311586.0847 | 33.25 | 68.6
60117 | 2021-03-29 16:24 | 43.6657 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 152.6372 | μmol/L | 30.5256 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.199 | 172501.4313 | 311608.6236 | 33.25 | 68.6
60127 | 2021-03-29 16:24 | 43.9996 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 152.8021 | μmol/L | 30.4828 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.202 | 172519.3063 | 311599.0088 | 33.25 | 68.6
60137 | 2021-03-29 16:25 | 44.3325 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 152.6397 | μmol/L | 30.5012 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.208 | 172562.7466 | 311599.4057 | 33.25 | 68.6
60147 | 2021-03-29 16:25 | 44.6662 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 152.5945 | μmol/L | 30.5134 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.207 | 172569.5265 | 311597.7376 | 33.25 | 68.6
60157 | 2021-03-29 16:25 | 44.9998 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 152.5039 | μmol/L | 30.5378 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.205 | 172558.1907 | 311593.8248 | 33.25 | 68.6
60167 | 2021-03-29 16:26 | 45.3328 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 152.4876 | μmol/L | 30.5439 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.204 | 172562.2139 | 311606.9073 | 33.25 | 68.6
60177 | 2021-03-29 16:26 | 45.6659 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 152.5693 | μmol/L | 30.5134 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.209 | 172578.7354 | 311593.1945 | 33.25 | 68.6
60187 | 2021-03-29 16:26 | 45.9991 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 152.553 | μmol/L | 30.5195 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.208 | 172607.3446 | 311583.9859 | 33.25 | 68.6
60197 | 2021-03-29 16:27 | 46.3328 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 152.5643 | μmol/L | 30.5012 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.214 | 172642.5129 | 311602.9074 | 33.25 | 68.6
60207 | 2021-03-29 16:27 | 46.6657 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 152.3771 | μmol/L | 30.5195 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.222 | 172677.6131 | 311611.5199 | 33.25 | 68.6
60217 | 2021-03-29 16:27 | 46.9995 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 152.1085 | μmol/L | 30.5683 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.225 | 172726.2371 | 311607.0516 | 33.25 | 68.6
60227 | 2021-03-29 16:28 | 47.3323 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 152.1643 | μmol/L | 30.55 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.228 | 172755.4468 | 311602.8883 | 33.25 | 68.6
60237 | 2021-03-29 16:28 | 47.6661 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 152.0902 | μmol/L | 30.5683 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.227 | 172782.6572 | 311605.5616 | 33.25 | 68.6
60247 | 2021-03-29 16:28 | 47.9992 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 152.1236 | μmol/L | 30.5439 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.233 | 172815.0988 | 311606.8083 | 33.25 | 68.6
60257 | 2021-03-29 16:29 | 48.3323 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 152.0898 | μmol/L | 30.5378 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.238 | 172832.8967 | 311597.3206 | 33.25 | 68.6
60267 | 2021-03-29 16:29 | 48.6662 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 152.1801 | μmol/L | 30.5134 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.24 | 172857.7037 | 311600.2011 | 33.25 | 68.6
60277 | 2021-03-29 16:29 | 48.9992 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 151.9331 | μmol/L | 30.5683 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.239 | 172859.169 | 311601.9123 | 33.25 | 68.6
60287 | 2021-03-29 16:30 | 49.3327 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 152.0685 | μmol/L | 30.5317 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.242 | 172884.1457 | 311602.1422 | 33.25 | 68.6
60297 | 2021-03-29 16:30 | 49.6658 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 151.741 | μmol/L | 30.5867 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.248 | 172935.7543 | 311613.4889 | 33.25 | 68.6
60307 | 2021-03-29 16:30 | 49.9991 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 151.6698 | μmol/L | 30.5805 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.256 | 173020.444 | 311615.2275 | 33.25 | 68.6
60317 | 2021-03-29 16:31 | 50.3328 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 151.6936 | μmol/L | 30.5622 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.261 | 173078.2019 | 311614.9037 | 33.25 | 68.6
60327 | 2021-03-29 16:31 | 50.6658 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 151.3771 | μmol/L | 30.5989 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.272 | 173140.7503 | 311599.4324 | 33.25 | 68.6
60337 | 2021-03-29 16:31 | 50.9997 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 151.333 | μmol/L | 30.5805 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.283 | 173202.1499 | 311610.4461 | 33.25 | 68.6
60347 | 2021-03-29 16:32 | 51.3327 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 151.4717 | μmol/L | 30.5378 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.288 | 173254.1252 | 311631.8539 | 33.25 | 68.6
60357 | 2021-03-29 16:32 | 51.6663 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 151.2658 | μmol/L | 30.5683 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.293 | 173315.4615 | 311605.5829 | 33.25 | 68.6
60367 | 2021-03-29 16:32 | 51.9994 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 151.2236 | μmol/L | 30.5561 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.301 | 173402.1412 | 311611.8771 | 33.25 | 68.6
60377 | 2021-03-29 16:33 | 52.333 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 150.7974 | μmol/L | 30.6111 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.314 | 173474.5993 | 311607.1343 | 33.25 | 68.6
60387 | 2021-03-29 16:33 | 52.666 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 150.6688 | μmol/L | 30.6294 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.318 | 173535.4188 | 311619.6436 | 33.25 | 68.6
60397 | 2021-03-29 16:33 | 52.9998 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 150.4933 | μmol/L | 30.6416 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.327 | 173605.7405 | 311607.2086 | 33.25 | 68.6
60407 | 2021-03-29 16:34 | 53.3329 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 150.4744 | μmol/L | 30.6233 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.336 | 173676.6779 | 311606.0897 | 33.25 | 68.6
60417 | 2021-03-29 16:34 | 53.6659 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 150.225 | μmol/L | 30.6355 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.351 | 173775.5589 | 311611.0317 | 33.25 | 68.6
60427 | 2021-03-29 16:34 | 53.9996 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 150.1909 | μmol/L | 30.6111 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.363 | 173907.5958 | 311607.6061 | 33.25 | 68.6
60437 | 2021-03-29 16:35 | 54.3324 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 150.115 | μmol/L | 30.605 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.372 | 173986.859 | 311610.244 | 33.25 | 68.6
60447 | 2021-03-29 16:35 | 54.666 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 150.1359 | μmol/L | 30.5805 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.379 | 174038.6753 | 311613.7629 | 33.25 | 68.6
60457 | 2021-03-29 16:35 | 54.9997 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 150.3639 | μmol/L | 30.5317 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.379 | 174027.687 | 311601.7179 | 33.25 | 68.6
60467 | 2021-03-29 16:36 | 55.3327 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 150.303 | μmol/L | 30.55 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.377 | 173996.9109 | 311605.7308 | 33.25 | 68.6
60477 | 2021-03-29 16:36 | 55.6662 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 150.3259 | μmol/L | 30.5439 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.378 | 174005.5184 | 311617.7474 | 33.25 | 68.6
60487 | 2021-03-29 16:36 | 55.999 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 150.2281 | μmol/L | 30.5622 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.379 | 174015.8191 | 311613.3178 | 33.25 | 68.6
60497 | 2021-03-29 16:37 | 56.333 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 150.2004 | μmol/L | 30.5561 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.383 | 174063.7373 | 311606.778 | 33.25 | 68.6
60507 | 2021-03-29 16:37 | 56.6661 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 150.1672 | μmol/L | 30.55 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.388 | 174111.4847 | 311596.4168 | 33.25 | 68.6
60517 | 2021-03-29 16:37 | 56.999 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 149.9063 | μmol/L | 30.5928 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.393 | 174145.1512 | 311611.4008 | 33.25 | 68.6
60527 | 2021-03-29 16:38 | 57.3326 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 150.1929 | μmol/L | 30.5195 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.398 | 174190.0553 | 311613.2238 | 33.25 | 68.6
60537 | 2021-03-29 16:38 | 57.6657 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 150.0819 | μmol/L | 30.5195 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.407 | 174239.2804 | 311611.637 | 33.25 | 68.6
60547 | 2021-03-29 16:38 | 57.9993 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 149.9538 | μmol/L | 30.5561 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.403 | 174218.1474 | 311614.2985 | 33.25 | 68.6
60557 | 2021-03-29 16:39 | 58.333 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 150.2166 | μmol/L | 30.5012 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.403 | 174196.879 | 311605.2544 | 33.25 | 68.6
60567 | 2021-03-29 16:39 | 58.666 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 150.0391 | μmol/L | 30.5378 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.403 | 174232.5276 | 311617.9953 | 33.25 | 68.6
60577 | 2021-03-29 16:39 | 58.9997 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 149.8582 | μmol/L | 30.5622 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.409 | 174260.7461 | 311617.8028 | 33.25 | 68.6
60587 | 2021-03-29 16:40 | 59.3327 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 149.9463 | μmol/L | 30.5195 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.418 | 174352.7844 | 311625.0563 | 33.25 | 68.6
60597 | 2021-03-29 16:40 | 59.6657 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 149.6982 | μmol/L | 30.5317 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.433 | 174470.1885 | 311630.3205 | 33.25 | 68.6
60607 | 2021-03-29 16:40 | 59.9994 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 149.7086 | μmol/L | 30.4951 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.446 | 174574.5439 | 311620.051 | 33.25 | 68.6
60617 | 2021-03-29 16:41 | 60.3324 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 149.3705 | μmol/L | 30.5256 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.462 | 174694.6093 | 311633.9695 | 33.25 | 68.6
60627 | 2021-03-29 16:41 | 60.6661 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 149.3772 | μmol/L | 30.4951 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.473 | 174770.5717 | 311624.2493 | 33.25 | 68.6
60637 | 2021-03-29 16:41 | 60.9991 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 149.3009 | μmol/L | 30.4706 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.489 | 174878.0438 | 311623.8859 | 33.25 | 68.6
60647 | 2021-03-29 16:42 | 61.3328 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 149.0457 | μmol/L | 30.5073 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.496 | 174944.7819 | 311612.4995 | 33.25 | 68.6
60657 | 2021-03-29 16:42 | 61.6659 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 149.0372 | μmol/L | 30.5012 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.499 | 174990.9743 | 311624.6391 | 33.25 | 68.6
60667 | 2021-03-29 16:42 | 61.9998 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 149.025 | μmol/L | 30.5012 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.5 | 174998.9605 | 311642.1962 | 33.25 | 68.6
60677 | 2021-03-29 16:43 | 62.3327 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 149.1135 | μmol/L | 30.4767 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.502 | 175006.4356 | 311642.3767 | 33.25 | 68.6
60687 | 2021-03-29 16:43 | 62.6659 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 149.4084 | μmol/L | 30.4157 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.501 | 175008.2801 | 311643.2969 | 33.25 | 68.6
60697 | 2021-03-29 16:43 | 62.9993 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 149.2227 | μmol/L | 30.4584 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.5 | 175000.1754 | 311626.4303 | 33.25 | 68.6
60707 | 2021-03-29 16:44 | 63.333 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 149.1718 | μmol/L | 30.4706 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.499 | 174999.0499 | 311636.2951 | 33.25 | 68.6
60717 | 2021-03-29 16:44 | 63.666 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 149.332 | μmol/L | 30.4401 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.498 | 174993.7031 | 311650.0959 | 33.25 | 68.6
60727 | 2021-03-29 16:44 | 63.9992 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 149.2152 | μmol/L | 30.4706 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.496 | 174985.7366 | 311643.8283 | 33.25 | 68.6
60737 | 2021-03-29 16:45 | 64.333 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 149.2595 | μmol/L | 30.4584 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.497 | 175006.1634 | 311638.9924 | 33.25 | 68.6
60747 | 2021-03-29 16:45 | 64.6661 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 149.3132 | μmol/L | 30.4401 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.499 | 175021.7342 | 311645.7572 | 33.25 | 68.6
60757 | 2021-03-29 16:45 | 64.9994 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 149.3716 | μmol/L | 30.4157 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.504 | 175054.3553 | 311646.9315 | 33.25 | 68.6
60767 | 2021-03-29 16:46 | 65.3324 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 149.3509 | μmol/L | 30.4096 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.508 | 175099.8841 | 311643.6651 | 33.25 | 68.6
60777 | 2021-03-29 16:46 | 65.6661 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 149.5563 | μmol/L | 30.3546 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.512 | 175109.6528 | 311638.6442 | 33.25 | 68.6
60787 | 2021-03-29 16:46 | 65.999 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 149.2774 | μmol/L | 30.4096 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.514 | 175132.2335 | 311645.0041 | 33.25 | 68.6
60797 | 2021-03-29 16:47 | 66.3329 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 149.4036 | μmol/L | 30.3729 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.517 | 175147.6256 | 311650.0037 | 33.25 | 68.6
60807 | 2021-03-29 16:47 | 66.6659 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 148.9753 | μmol/L | 30.4523 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.522 | 175191.9409 | 311657.8963 | 33.25 | 68.6
60817 | 2021-03-29 16:47 | 66.9997 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 148.8964 | μmol/L | 30.4523 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.529 | 175249.897 | 311630.7518 | 33.25 | 68.6
60827 | 2021-03-29 16:48 | 67.3328 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 148.8485 | μmol/L | 30.4401 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.537 | 175311.3407 | 311654.3439 | 33.25 | 68.6
60837 | 2021-03-29 16:48 | 67.6663 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 148.8063 | μmol/L | 30.4401 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.541 | 175345.001 | 311646.5386 | 33.25 | 68.6
60847 | 2021-03-29 16:48 | 67.9993 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 148.9313 | μmol/L | 30.4157 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.54 | 175350.8972 | 311661.3018 | 33.25 | 68.6
60857 | 2021-03-29 16:49 | 68.333 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 148.8889 | μmol/L | 30.434 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.536 | 175349.4286 | 311656.6871 | 33.25 | 68.6
60867 | 2021-03-29 16:49 | 68.6661 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 148.9886 | μmol/L | 30.3913 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.544 | 175393.5085 | 311665.6263 | 33.25 | 68.6
60877 | 2021-03-29 16:49 | 68.9992 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 148.553 | μmol/L | 30.4645 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.552 | 175465.9752 | 311666.2287 | 33.25 | 68.6
60887 | 2021-03-29 16:50 | 69.3323 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 148.4997 | μmol/L | 30.4523 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.561 | 175568.8402 | 311666.6956 | 33.25 | 68.6
60897 | 2021-03-29 16:50 | 69.6663 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 148.2694 | μmol/L | 30.4706 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.573 | 175685.7475 | 311677.546 | 33.25 | 68.6
60907 | 2021-03-29 16:50 | 69.9992 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.8903 | μmol/L | 30.4951 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.595 | 175823.2072 | 311681.6529 | 33.25 | 68.6
60917 | 2021-03-29 16:51 | 70.3328 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.9456 | μmol/L | 30.4645 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.602 | 175910.3167 | 311671.6494 | 33.25 | 68.6
60927 | 2021-03-29 16:51 | 70.6661 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.8123 | μmol/L | 30.4645 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.613 | 175969.5225 | 311676.5366 | 33.25 | 68.6
60937 | 2021-03-29 16:51 | 70.9997 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.7881 | μmol/L | 30.4645 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.615 | 176013.3067 | 311678.365 | 33.25 | 68.6
60947 | 2021-03-29 16:52 | 71.3329 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.6278 | μmol/L | 30.489 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.619 | 176059.5193 | 311668.4331 | 33.25 | 68.6
60957 | 2021-03-29 16:52 | 71.6658 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.6195 | μmol/L | 30.4828 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.622 | 176094.2486 | 311694.7441 | 33.25 | 68.6
60967 | 2021-03-29 16:52 | 71.9995 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.4866 | μmol/L | 30.4828 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.633 | 176156.6796 | 311685.9356 | 33.25 | 68.6
60977 | 2021-03-29 16:53 | 72.3323 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.199 | μmol/L | 30.5378 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.636 | 176213.9146 | 311681.4654 | 33.25 | 68.6
60987 | 2021-03-29 16:53 | 72.6661 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.1426 | μmol/L | 30.5317 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.643 | 176268.6389 | 311692.3033 | 33.25 | 68.6
60997 | 2021-03-29 16:53 | 72.9991 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.1743 | μmol/L | 30.5195 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.645 | 176311.2611 | 311698.3297 | 33.25 | 68.6
61007 | 2021-03-29 16:54 | 73.3326 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.3056 | μmol/L | 30.4828 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.648 | 176436.8686 | 311703.1596 | 33.25 | 68.6