## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-29 16:54

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
58809 | 2021-03-29 15:40 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.1596 | μmol/L | 30.3671 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.715 | 141271.0682 | 274414.491 | 32.55 | 27.7
58819 | 2021-03-29 15:41 | 0.33633 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.4446 | μmol/L | 30.3058 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.718 | 141306.0909 | 274384.2859 | 32.55 | 27.7
58829 | 2021-03-29 15:41 | 0.66953 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.4855 | μmol/L | 30.2751 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.726 | 141313.3081 | 274369.157 | 32.55 | 27.7
58839 | 2021-03-29 15:41 | 1.0026 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.5909 | μmol/L | 30.2383 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.732 | 141332.1818 | 274326.6688 | 32.55 | 27.7
58849 | 2021-03-29 15:42 | 1.3364 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.2962 | μmol/L | 30.2812 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.736 | 141342.5436 | 274312.9697 | 32.55 | 27.7
58859 | 2021-03-29 15:42 | 1.67 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.1421 | μmol/L | 30.3242 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.731 | 141312.1896 | 274275.2558 | 32.55 | 27.7
58869 | 2021-03-29 15:42 | 2.003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.4192 | μmol/L | 30.2874 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.726 | 141268.5574 | 274258.9728 | 32.55 | 27.7
58879 | 2021-03-29 15:43 | 2.3362 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.4855 | μmol/L | 30.2751 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.726 | 141261.471 | 274240.5343 | 32.55 | 27.7
58889 | 2021-03-29 15:43 | 2.6699 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.544 | μmol/L | 30.2383 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.735 | 141258.5816 | 274223.3881 | 32.55 | 27.7
58899 | 2021-03-29 15:43 | 3.0029 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.2941 | μmol/L | 30.2383 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.751 | 141307.4551 | 274208.4812 | 32.55 | 27.7
58909 | 2021-03-29 15:44 | 3.3367 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.8309 | μmol/L | 30.1708 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.74 | 141294.8538 | 274186.2067 | 32.55 | 27.7
58919 | 2021-03-29 15:44 | 3.6695 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.538 | μmol/L | 30.2076 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.746 | 141338.9649 | 274166.7944 | 32.55 | 27.7
58929 | 2021-03-29 15:44 | 4.0034 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.4538 | μmol/L | 30.1769 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.762 | 141441.5489 | 274164.6009 | 32.55 | 27.7
58939 | 2021-03-29 15:45 | 4.3363 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.1538 | μmol/L | 30.2383 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.76 | 141438.9112 | 274154.7238 | 32.55 | 27.7
58949 | 2021-03-29 15:45 | 4.6694 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.6965 | μmol/L | 30.3058 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.766 | 141454.054 | 274142.9362 | 32.55 | 27.7
58959 | 2021-03-29 15:45 | 5.0032 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.9066 | μmol/L | 30.2812 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.761 | 141414.1457 | 274125.1266 | 32.55 | 27.7
58969 | 2021-03-29 15:46 | 5.3361 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.8696 | μmol/L | 30.2505 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.774 | 141488.1606 | 274114.6491 | 32.55 | 27.7
58979 | 2021-03-29 15:46 | 5.6699 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.6967 | μmol/L | 30.2567 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.783 | 141545.2525 | 274101.5857 | 32.55 | 27.7
58989 | 2021-03-29 15:46 | 6.003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.9766 | μmol/L | 30.2076 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.782 | 141539.5974 | 274103.7921 | 32.55 | 27.7
58999 | 2021-03-29 15:47 | 6.3366 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.7667 | μmol/L | 30.2321 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.787 | 141574.8668 | 274086.9203 | 32.55 | 27.7
59009 | 2021-03-29 15:47 | 6.6697 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.7395 | μmol/L | 30.2199 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.793 | 141607.2979 | 274082.2916 | 32.55 | 27.7
59019 | 2021-03-29 15:47 | 7.0027 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.5764 | μmol/L | 30.2444 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.795 | 141641.2683 | 274077.4491 | 32.55 | 27.7
59029 | 2021-03-29 15:48 | 7.3363 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.4192 | μmol/L | 30.2505 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.803 | 141681.4334 | 274080.6208 | 32.55 | 27.7
59039 | 2021-03-29 15:48 | 7.6693 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.2913 | μmol/L | 30.2628 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.807 | 141695.1495 | 274070.5884 | 32.55 | 27.7
59049 | 2021-03-29 15:48 | 8.0031 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.1849 | μmol/L | 30.2567 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.816 | 141723.5449 | 274058.062 | 32.55 | 27.7
59059 | 2021-03-29 15:49 | 8.3362 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.3437 | μmol/L | 30.2444 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.81 | 141731.9886 | 274064.5866 | 32.55 | 27.7
59069 | 2021-03-29 15:49 | 8.6699 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.3476 | μmol/L | 30.2321 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.814 | 141765.1842 | 274054.0979 | 32.55 | 27.7
59079 | 2021-03-29 15:49 | 9.0027 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.2218 | μmol/L | 30.2383 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.82 | 141801.4478 | 274049.9544 | 32.55 | 27.7
59089 | 2021-03-29 15:50 | 9.3366 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.3206 | μmol/L | 30.2199 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.82 | 141787.738 | 274034.6218 | 32.55 | 27.7
59099 | 2021-03-29 15:50 | 9.6694 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.0821 | μmol/L | 30.2874 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.812 | 141759.3554 | 274038.6848 | 32.55 | 27.7
59109 | 2021-03-29 15:50 | 10.0031 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.4544 | μmol/L | 30.1892 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.822 | 141812.5252 | 274020.7697 | 32.55 | 27.7
59119 | 2021-03-29 15:51 | 10.3361 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.2975 | μmol/L | 30.1953 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.83 | 141861.2153 | 274020.4651 | 32.55 | 27.7
59129 | 2021-03-29 15:51 | 10.6697 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.2879 | μmol/L | 30.1769 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.837 | 141935.6174 | 274001.3608 | 32.55 | 27.7
59139 | 2021-03-29 15:51 | 11.0026 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.2782 | μmol/L | 30.1585 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.844 | 141968.5708 | 274021.2253 | 32.55 | 27.7
59149 | 2021-03-29 15:52 | 11.3365 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.7386 | μmol/L | 30.2505 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.847 | 142004.3794 | 274009.2694 | 32.55 | 27.7
59159 | 2021-03-29 15:52 | 11.6696 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.8507 | μmol/L | 30.2383 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.844 | 141998.4348 | 274002.0943 | 32.55 | 27.7
59169 | 2021-03-29 15:52 | 12.0033 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.0345 | μmol/L | 30.1953 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.847 | 142007.5221 | 273994.1983 | 32.55 | 27.7
59179 | 2021-03-29 15:53 | 12.3362 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.76 | μmol/L | 30.2321 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.852 | 142036.1204 | 273988.86 | 32.55 | 27.7
59189 | 2021-03-29 15:53 | 12.6693 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.7138 | μmol/L | 30.2321 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.855 | 142085.0335 | 273965.084 | 32.55 | 27.7
59199 | 2021-03-29 15:53 | 13.0032 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.6481 | μmol/L | 30.2444 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.855 | 142074.8072 | 273959.9316 | 32.55 | 27.7
59209 | 2021-03-29 15:54 | 13.336 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.2818 | μmol/L | 30.2812 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.866 | 142133.3464 | 273971.076 | 32.55 | 27.7
59219 | 2021-03-29 15:54 | 13.6697 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.247 | μmol/L | 30.2935 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.864 | 142146.9419 | 273957.3196 | 32.55 | 27.7
59229 | 2021-03-29 15:54 | 14.0027 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.3032 | μmol/L | 30.2628 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.871 | 142195.3952 | 273964.0294 | 32.55 | 27.7
59239 | 2021-03-29 15:55 | 14.3362 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.9704 | μmol/L | 30.2935 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.882 | 142253.5867 | 273949.0393 | 32.55 | 27.7
59249 | 2021-03-29 15:55 | 14.67 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.0031 | μmol/L | 30.2874 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.882 | 142270.4343 | 273944.3506 | 32.55 | 27.7
59259 | 2021-03-29 15:55 | 15.0027 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.086 | μmol/L | 30.2689 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.883 | 142305.8301 | 273927.9456 | 32.55 | 27.7
59269 | 2021-03-29 15:56 | 15.3359 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.0092 | μmol/L | 30.2689 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.888 | 142310.887 | 273935.9665 | 32.55 | 27.7
59279 | 2021-03-29 15:56 | 15.6697 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.2651 | μmol/L | 30.2383 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.882 | 142281.8934 | 273939.5332 | 32.55 | 27.7
59289 | 2021-03-29 15:56 | 16.0027 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.1555 | μmol/L | 30.2444 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.887 | 142328.6055 | 273922.736 | 32.55 | 27.7
59299 | 2021-03-29 15:57 | 16.3365 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.2618 | μmol/L | 30.2014 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.895 | 142357.2664 | 273926.1909 | 32.55 | 27.7
59309 | 2021-03-29 15:57 | 16.6694 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.9385 | μmol/L | 30.2505 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.899 | 142397.6186 | 273924.0836 | 32.55 | 27.7
59319 | 2021-03-29 15:57 | 17.0027 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.4544 | μmol/L | 30.3242 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.905 | 142442.4257 | 273905.1823 | 32.55 | 27.7
59329 | 2021-03-29 15:58 | 17.3366 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.2689 | μmol/L | 30.3303 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.915 | 142507.2904 | 273899.6841 | 32.55 | 27.7
59339 | 2021-03-29 15:58 | 17.6693 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.7759 | μmol/L | 30.2321 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.916 | 142544.2095 | 273905.6872 | 32.55 | 27.7
59349 | 2021-03-29 15:58 | 18.0032 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.828 | μmol/L | 30.2137 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.919 | 142567.5215 | 273910.2851 | 32.55 | 27.7
59359 | 2021-03-29 15:59 | 18.3361 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.479 | μmol/L | 30.2505 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.929 | 142643.539 | 273901.2601 | 32.55 | 27.7
59369 | 2021-03-29 15:59 | 18.6699 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.3088 | μmol/L | 30.2567 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.938 | 142682.1935 | 273901.0399 | 32.55 | 27.7
59379 | 2021-03-29 15:59 | 19.0031 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.2956 | μmol/L | 30.2505 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.941 | 142718.8329 | 273891.0575 | 32.55 | 27.7
59389 | 2021-03-29 16:00 | 19.3361 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.1154 | μmol/L | 30.2874 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.94 | 142716.166 | 273883.6056 | 32.55 | 27.7
59399 | 2021-03-29 16:00 | 19.6699 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.0564 | μmol/L | 30.2812 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.946 | 142755.811 | 273895.3549 | 32.55 | 27.7
59409 | 2021-03-29 16:00 | 20.0027 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.1491 | μmol/L | 30.2321 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.957 | 142808.139 | 273874.2627 | 32.55 | 27.7
59419 | 2021-03-29 16:01 | 20.3364 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.5678 | μmol/L | 30.3303 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.961 | 142891.3735 | 273876.7343 | 32.55 | 27.7
59429 | 2021-03-29 16:01 | 20.6694 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.6259 | μmol/L | 30.2935 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.97 | 142945.26 | 273873.9852 | 32.55 | 27.7
59439 | 2021-03-29 16:01 | 21.003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.6149 | μmol/L | 30.2812 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.975 | 143000.3512 | 273877.7988 | 32.55 | 27.7
59449 | 2021-03-29 16:02 | 21.3361 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.4085 | μmol/L | 30.2628 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.995 | 143081.2244 | 273858.0331 | 32.55 | 27.7
59459 | 2021-03-29 16:02 | 21.6698 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.1925 | μmol/L | 30.318 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.99 | 143080.4794 | 273871.8383 | 32.55 | 27.7
59469 | 2021-03-29 16:02 | 22.0026 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.0801 | μmol/L | 30.3364 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.991 | 143096.4632 | 273865.4419 | 32.55 | 27.7
59479 | 2021-03-29 16:03 | 22.3364 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 174.948 | μmol/L | 30.3242 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.004 | 143179.2899 | 273855.1337 | 32.55 | 27.7
59489 | 2021-03-29 16:03 | 22.6701 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 174.4949 | μmol/L | 30.3671 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.019 | 143263.3084 | 273873.0117 | 32.55 | 27.7
59499 | 2021-03-29 16:03 | 23.003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 174.6759 | μmol/L | 30.3242 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.022 | 143304.1078 | 273872.2334 | 32.55 | 27.7
59509 | 2021-03-29 16:04 | 23.3367 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.0098 | μmol/L | 30.2321 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.032 | 143384.2056 | 273858.0678 | 32.55 | 27.7
59519 | 2021-03-29 16:04 | 23.67 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 174.2279 | μmol/L | 30.3549 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.041 | 143446.9249 | 273848.1198 | 32.55 | 27.7
59529 | 2021-03-29 16:04 | 24.0032 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 174.1805 | μmol/L | 30.361 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.042 | 143484.35 | 273852.6699 | 32.55 | 27.7
59539 | 2021-03-29 16:05 | 24.3361 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 174.43 | μmol/L | 30.2935 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.049 | 143521.4251 | 273850.7721 | 32.55 | 27.7
59549 | 2021-03-29 16:05 | 24.6699 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 174.2428 | μmol/L | 30.3119 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.055 | 143552.1223 | 273855.2544 | 32.55 | 27.7
59559 | 2021-03-29 16:05 | 25.0027 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 174.3739 | μmol/L | 30.2812 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.057 | 143567.7073 | 273843.0304 | 32.55 | 27.7
59569 | 2021-03-29 16:06 | 25.3364 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 174.2621 | μmol/L | 30.2996 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.058 | 143578.6196 | 273849.2286 | 32.55 | 27.7
59579 | 2021-03-29 16:06 | 25.6693 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 173.766 | μmol/L | 30.3855 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.061 | 143549.9172 | 273855.7992 | 32.55 | 27.7
59589 | 2021-03-29 16:06 | 26.003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 174.0473 | μmol/L | 30.3549 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.053 | 143524.4558 | 273839.6767 | 32.55 | 27.7
59599 | 2021-03-29 16:07 | 26.3361 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 174.1482 | μmol/L | 30.3242 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.057 | 143578.0352 | 273834.7846 | 32.55 | 27.7
59609 | 2021-03-29 16:07 | 26.6698 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 174.1653 | μmol/L | 30.2751 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.073 | 143652.596 | 273832.7028 | 32.55 | 27.7
59619 | 2021-03-29 16:07 | 27.0026 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 173.8777 | μmol/L | 30.3242 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.075 | 143664.3365 | 273825.7235 | 32.55 | 27.7
59629 | 2021-03-29 16:08 | 27.3363 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 173.6976 | μmol/L | 30.3242 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.087 | 143722.0333 | 273828.5595 | 32.55 | 27.7
59639 | 2021-03-29 16:08 | 27.6699 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 173.5113 | μmol/L | 30.3426 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.093 | 143775.0562 | 273830.9046 | 32.55 | 27.7
59649 | 2021-03-29 16:08 | 28.003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 173.3123 | μmol/L | 30.3549 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.102 | 143832.9601 | 273823.2116 | 32.55 | 27.7
59659 | 2021-03-29 16:09 | 28.336 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 173.1307 | μmol/L | 30.361 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.112 | 143905.311 | 273822.7807 | 32.55 | 27.7
59669 | 2021-03-29 16:09 | 28.6697 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 173.2294 | μmol/L | 30.2935 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.129 | 143993.154 | 273820.4255 | 32.55 | 27.7
59679 | 2021-03-29 16:09 | 29.0027 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 172.9967 | μmol/L | 30.318 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.136 | 144079.4037 | 273808.6378 | 32.55 | 27.7
59689 | 2021-03-29 16:10 | 29.3365 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 173.0629 | μmol/L | 30.2996 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.138 | 144114.665 | 273825.0827 | 32.55 | 27.7
59699 | 2021-03-29 16:10 | 29.6694 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 172.6943 | μmol/L | 30.3303 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.152 | 144196.1066 | 273826.0227 | 32.55 | 27.7
59709 | 2021-03-29 16:10 | 30.0033 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 172.8414 | μmol/L | 30.2935 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.155 | 144213.763 | 273819.2387 | 32.55 | 27.7
59719 | 2021-03-29 16:11 | 30.3361 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 172.5113 | μmol/L | 30.3426 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.16 | 144260.4206 | 273807.7647 | 32.55 | 27.7
59729 | 2021-03-29 16:11 | 30.6699 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 172.1757 | μmol/L | 30.3671 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.174 | 144318.3115 | 273822.2369 | 32.55 | 27.7
59739 | 2021-03-29 16:11 | 31.0032 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 172.5691 | μmol/L | 30.3058 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.169 | 144291.9858 | 273806.5324 | 32.55 | 27.7
59749 | 2021-03-29 16:12 | 31.3361 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 172.4392 | μmol/L | 30.3364 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.167 | 144281.6821 | 273800.3825 | 32.55 | 27.7
59759 | 2021-03-29 16:12 | 31.6697 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 172.4392 | μmol/L | 30.3364 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.167 | 144275.553 | 273814.8528 | 32.55 | 27.7
59769 | 2021-03-29 16:12 | 32.0027 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 172.4711 | μmol/L | 30.3303 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.167 | 144246.3678 | 273824.6258 | 32.55 | 27.7
59779 | 2021-03-29 16:13 | 32.336 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 172.552 | μmol/L | 30.3119 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.168 | 144277.0829 | 273817.8766 | 32.55 | 27.7
59789 | 2021-03-29 16:13 | 32.6697 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 172.4056 | μmol/L | 30.3058 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.18 | 144349.6129 | 273812.8842 | 32.55 | 27.7
59799 | 2021-03-29 16:13 | 33.0028 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 172.7759 | μmol/L | 30.226 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.183 | 144359.9678 | 273812.7967 | 32.55 | 27.7
59809 | 2021-03-29 16:14 | 33.3365 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 172.9846 | μmol/L | 30.183 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.184 | 144381.4673 | 273820.4629 | 32.55 | 27.7
59819 | 2021-03-29 16:14 | 33.6695 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 172.5101 | μmol/L | 30.2628 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.188 | 144445.7414 | 273815.2309 | 32.55 | 27.7
59829 | 2021-03-29 16:14 | 34.0034 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 172.3637 | μmol/L | 30.2567 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.2 | 144490.0476 | 273823.5508 | 32.55 | 27.7
59839 | 2021-03-29 16:15 | 34.3365 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 172.2812 | μmol/L | 30.2383 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.212 | 144556.1765 | 273814.2333 | 32.55 | 27.7
59849 | 2021-03-29 16:15 | 34.6696 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 172.1945 | μmol/L | 30.2321 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.22 | 144612.6427 | 273814.3802 | 32.55 | 27.7
59859 | 2021-03-29 16:15 | 35.0029 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 172.0929 | μmol/L | 30.226 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.229 | 144705.7678 | 273816.9503 | 32.55 | 27.7
59869 | 2021-03-29 16:16 | 35.3366 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 171.8496 | μmol/L | 30.2444 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.239 | 144783.0992 | 273820.6412 | 32.55 | 27.7
59879 | 2021-03-29 16:16 | 35.6697 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 172.0534 | μmol/L | 30.1708 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.251 | 144861.9908 | 273812.4708 | 32.55 | 27.7
59889 | 2021-03-29 16:16 | 36.0027 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 172.0512 | μmol/L | 30.1769 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.249 | 144839.6086 | 273813.1191 | 32.55 | 27.7
59899 | 2021-03-29 16:17 | 36.3363 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 172.0019 | μmol/L | 30.2321 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.233 | 144751.093 | 273809.6273 | 32.55 | 27.7
59909 | 2021-03-29 16:17 | 36.6693 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 172.4409 | μmol/L | 30.1646 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.227 | 144733.2287 | 273808.9335 | 32.55 | 27.7
59919 | 2021-03-29 16:17 | 37.0031 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 172.4007 | μmol/L | 30.1524 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.234 | 144764.3 | 273803.5782 | 32.55 | 27.7
59929 | 2021-03-29 16:18 | 37.3359 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 171.8496 | μmol/L | 30.2444 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.239 | 144793.5413 | 273782.0542 | 32.55 | 27.7
59939 | 2021-03-29 16:18 | 37.6698 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 171.8797 | μmol/L | 30.2014 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.252 | 144852.1622 | 273789.5589 | 32.55 | 27.7
59949 | 2021-03-29 16:18 | 38.0027 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 172.2188 | μmol/L | 30.1217 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.257 | 144904.8911 | 273806.1213 | 32.55 | 27.7
59959 | 2021-03-29 16:19 | 38.3363 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 171.692 | μmol/L | 30.1892 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.269 | 145010.0912 | 273778.5874 | 32.55 | 27.7
59969 | 2021-03-29 16:19 | 38.67 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 171.7872 | μmol/L | 30.1708 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.269 | 145013.7444 | 273798.8761 | 32.55 | 27.7
59979 | 2021-03-29 16:19 | 39.003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 171.1452 | μmol/L | 30.2751 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.276 | 145084.0147 | 273793.9537 | 32.55 | 27.7
59989 | 2021-03-29 16:20 | 39.3365 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 170.9598 | μmol/L | 30.2996 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.28 | 145130.1835 | 273799.0402 | 32.55 | 27.7
59999 | 2021-03-29 16:20 | 39.6695 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 171.0966 | μmol/L | 30.2874 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.275 | 145107.0624 | 273801.4247 | 32.55 | 27.7
60009 | 2021-03-29 16:20 | 40.0026 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 171.4494 | μmol/L | 30.2076 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.279 | 145140.0695 | 273790.6882 | 32.55 | 27.7
60019 | 2021-03-29 16:21 | 40.3364 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 171.4981 | μmol/L | 30.1953 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.28 | 145153.262 | 273794.6421 | 32.55 | 27.7
60029 | 2021-03-29 16:21 | 40.6693 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 171.1461 | μmol/L | 30.2321 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.291 | 145201.2852 | 273802.1309 | 32.55 | 27.7
60039 | 2021-03-29 16:21 | 41.003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 171.2263 | μmol/L | 30.2137 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.292 | 145225.6794 | 273787.3977 | 32.55 | 27.7
60049 | 2021-03-29 16:22 | 41.3366 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 171.1256 | μmol/L | 30.2076 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.301 | 145262.3827 | 273781.5685 | 32.55 | 27.7
60059 | 2021-03-29 16:22 | 41.6694 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 171.1638 | μmol/L | 30.183 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.307 | 145343.6079 | 273788.3317 | 32.55 | 27.7
60069 | 2021-03-29 16:22 | 42.0032 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 170.7856 | μmol/L | 30.2137 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.322 | 145429.4457 | 273783.4071 | 32.55 | 27.7
60079 | 2021-03-29 16:23 | 42.3361 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 170.7416 | μmol/L | 30.2137 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.325 | 145505.7966 | 273774.3162 | 32.55 | 27.7
60089 | 2021-03-29 16:23 | 42.67 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 170.1584 | μmol/L | 30.2874 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.339 | 145608.1209 | 273776.4204 | 32.55 | 27.7
60099 | 2021-03-29 16:23 | 43.0029 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 170.2788 | μmol/L | 30.2383 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.348 | 145676.8658 | 273777.981 | 32.55 | 27.7
60109 | 2021-03-29 16:24 | 43.3367 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 169.898 | μmol/L | 30.2812 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.359 | 145751.0198 | 273779.0526 | 32.55 | 27.7
60119 | 2021-03-29 16:24 | 43.6694 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 169.8005 | μmol/L | 30.2689 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.37 | 145835.6643 | 273776.7334 | 32.55 | 27.7
60129 | 2021-03-29 16:24 | 44.0032 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 169.8656 | μmol/L | 30.2505 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.372 | 145881.3333 | 273781.6491 | 32.55 | 27.7
60139 | 2021-03-29 16:25 | 44.3363 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 169.887 | μmol/L | 30.2321 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.377 | 145920.1666 | 273773.2906 | 32.55 | 27.7
60149 | 2021-03-29 16:25 | 44.67 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 169.7436 | μmol/L | 30.226 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.389 | 146008.1584 | 273772.0774 | 32.55 | 27.7
60159 | 2021-03-29 16:25 | 45.0029 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 169.5508 | μmol/L | 30.2751 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.385 | 145982.8211 | 273781.034 | 32.55 | 27.7
60169 | 2021-03-29 16:26 | 45.336 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 169.271 | μmol/L | 30.3242 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.387 | 145992.3089 | 273776.3539 | 32.55 | 27.7
60179 | 2021-03-29 16:26 | 45.6696 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 169.0366 | μmol/L | 30.3303 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.401 | 146094.5435 | 273767.4252 | 32.55 | 27.7
60189 | 2021-03-29 16:26 | 46.0034 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 169.1008 | μmol/L | 30.2751 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.416 | 146182.5797 | 273769.0804 | 32.55 | 27.7
60199 | 2021-03-29 16:27 | 46.3364 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 169.1153 | μmol/L | 30.2751 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.415 | 146215.4634 | 273761.9156 | 32.55 | 27.7
60209 | 2021-03-29 16:27 | 46.6693 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 169.2404 | μmol/L | 30.2505 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.415 | 146236.2547 | 273751.1299 | 32.55 | 27.7
60219 | 2021-03-29 16:27 | 47.0031 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 168.8934 | μmol/L | 30.2874 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.426 | 146324.3378 | 273760.8935 | 32.55 | 27.7
60229 | 2021-03-29 16:28 | 47.336 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 168.5684 | μmol/L | 30.3058 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.442 | 146422.6841 | 273768.051 | 32.55 | 27.7
60239 | 2021-03-29 16:28 | 47.6693 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 168.2878 | μmol/L | 30.361 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.442 | 146427.3113 | 273761.6162 | 32.55 | 27.7
60249 | 2021-03-29 16:28 | 48.0028 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 168.0453 | μmol/L | 30.3549 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.461 | 146545.112 | 273756.9218 | 32.55 | 27.7
60259 | 2021-03-29 16:29 | 48.3366 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 167.9733 | μmol/L | 30.3549 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.466 | 146623.7668 | 273763.5839 | 32.55 | 27.7
60269 | 2021-03-29 16:29 | 48.6697 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 167.8296 | μmol/L | 30.3549 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.476 | 146707.5428 | 273766.2233 | 32.55 | 27.7
60279 | 2021-03-29 16:29 | 49.0026 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 168.0998 | μmol/L | 30.2874 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.481 | 146746.6195 | 273765.6617 | 32.55 | 27.7
60289 | 2021-03-29 16:30 | 49.3363 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 168.0877 | μmol/L | 30.2812 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.484 | 146758.1075 | 273756.5992 | 32.55 | 27.7
60299 | 2021-03-29 16:30 | 49.6701 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 167.839 | μmol/L | 30.3303 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.484 | 146772.0864 | 273755.1372 | 32.55 | 27.7
60309 | 2021-03-29 16:30 | 50.0034 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 167.6931 | μmol/L | 30.3364 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.492 | 146806.0614 | 273748.351 | 32.55 | 27.7
60319 | 2021-03-29 16:31 | 50.3363 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 167.2395 | μmol/L | 30.3978 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.502 | 146851.2139 | 273741.0161 | 32.55 | 27.7
60329 | 2021-03-29 16:31 | 50.6701 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 167.2467 | μmol/L | 30.3794 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.508 | 146939.8025 | 273750.3364 | 32.55 | 27.7
60339 | 2021-03-29 16:31 | 51.003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 167.0989 | μmol/L | 30.3917 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.514 | 147012.2408 | 273755.1969 | 32.55 | 27.7
60349 | 2021-03-29 16:32 | 51.3361 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 167.3754 | μmol/L | 30.3426 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.512 | 146991.9723 | 273759.862 | 32.55 | 27.7
60359 | 2021-03-29 16:32 | 51.67 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 167.118 | μmol/L | 30.3794 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.517 | 147024.8536 | 273755.2831 | 32.55 | 27.7
60369 | 2021-03-29 16:32 | 52.003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 167.0989 | μmol/L | 30.3549 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.527 | 147128.8125 | 273754.3892 | 32.55 | 27.7
60379 | 2021-03-29 16:33 | 52.3366 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 166.8134 | μmol/L | 30.3917 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.534 | 147143.4615 | 273748.4147 | 32.55 | 27.7
60389 | 2021-03-29 16:33 | 52.6696 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 166.8444 | μmol/L | 30.3487 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.547 | 147241.0772 | 273754.8473 | 32.55 | 27.7
60399 | 2021-03-29 16:33 | 53.0026 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 166.7019 | μmol/L | 30.3487 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.557 | 147288.6532 | 273745.001 | 32.55 | 27.7
60409 | 2021-03-29 16:34 | 53.3365 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 166.6045 | μmol/L | 30.3794 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.553 | 147301.4899 | 273752.579 | 32.55 | 27.7
60419 | 2021-03-29 16:34 | 53.6695 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 166.3908 | μmol/L | 30.4162 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.555 | 147297.646 | 273744.4216 | 32.55 | 27.7
60429 | 2021-03-29 16:34 | 54.0031 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 166.8135 | μmol/L | 30.3549 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.547 | 147255.5718 | 273753.4125 | 32.55 | 27.7
60439 | 2021-03-29 16:35 | 54.3365 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 166.481 | μmol/L | 30.4039 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.553 | 147261.3886 | 273771.5589 | 32.55 | 27.7
60449 | 2021-03-29 16:35 | 54.6696 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 166.3337 | μmol/L | 30.453 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.546 | 147210.781 | 273743.8719 | 32.55 | 27.7
60459 | 2021-03-29 16:35 | 55.0033 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 166.773 | μmol/L | 30.3855 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.539 | 147177.3499 | 273737.8751 | 32.55 | 27.7
60469 | 2021-03-29 16:36 | 55.3362 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 167.0156 | μmol/L | 30.3487 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.535 | 147139.9648 | 273747.7018 | 32.55 | 27.7
60479 | 2021-03-29 16:36 | 55.6701 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 166.8444 | μmol/L | 30.3487 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.547 | 147201.255 | 273741.0992 | 32.55 | 27.7
60489 | 2021-03-29 16:36 | 56.0028 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 166.9609 | μmol/L | 30.3058 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.554 | 147296.7972 | 273745.8044 | 32.55 | 27.7
60499 | 2021-03-29 16:37 | 56.3367 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 166.7969 | μmol/L | 30.2874 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.572 | 147419.4798 | 273753.8817 | 32.55 | 27.7
60509 | 2021-03-29 16:37 | 56.6695 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 166.0739 | μmol/L | 30.3917 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.586 | 147505.4987 | 273756.7596 | 32.55 | 27.7
60519 | 2021-03-29 16:37 | 57.0034 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 166.4008 | μmol/L | 30.318 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.589 | 147526.4655 | 273738.477 | 32.55 | 27.7
60529 | 2021-03-29 16:38 | 57.3363 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 166.0552 | μmol/L | 30.3671 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.596 | 147522.9485 | 273749.4699 | 32.55 | 27.7
60539 | 2021-03-29 16:38 | 57.67 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 166.247 | μmol/L | 30.3119 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.602 | 147544.2533 | 273750.8433 | 32.55 | 27.7
60549 | 2021-03-29 16:38 | 58.0029 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 166.273 | μmol/L | 30.318 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.598 | 147540.7205 | 273742.8308 | 32.55 | 27.7
60559 | 2021-03-29 16:39 | 58.3367 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 166.1261 | μmol/L | 30.3671 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.591 | 147515.1473 | 273744.918 | 32.55 | 27.7
60569 | 2021-03-29 16:39 | 58.6697 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 166.1025 | μmol/L | 30.3549 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.597 | 147525.6665 | 273749.2425 | 32.55 | 27.7
60579 | 2021-03-29 16:39 | 59.0027 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 166.4789 | μmol/L | 30.3364 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.577 | 147437.4941 | 273744.8684 | 32.55 | 27.7
60589 | 2021-03-29 16:40 | 59.3363 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 165.9442 | μmol/L | 30.361 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.606 | 147568.737 | 273731.5033 | 32.55 | 27.7
60599 | 2021-03-29 16:40 | 59.6693 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 166.202 | μmol/L | 30.318 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.603 | 147589.168 | 273743.4644 | 32.55 | 27.7
60609 | 2021-03-29 16:40 | 60.0032 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 165.9258 | μmol/L | 30.2996 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.629 | 147728.9837 | 273747.8668 | 32.55 | 27.7
60619 | 2021-03-29 16:41 | 60.336 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 165.9116 | μmol/L | 30.2996 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.63 | 147761.7575 | 273734.0525 | 32.55 | 27.7
60629 | 2021-03-29 16:41 | 60.67 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 165.8646 | μmol/L | 30.2751 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.642 | 147836.427 | 273745.426 | 32.55 | 27.7
60639 | 2021-03-29 16:41 | 61.0029 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 165.4824 | μmol/L | 30.3487 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.643 | 147832.164 | 273744.836 | 32.55 | 27.7
60649 | 2021-03-29 16:42 | 61.3367 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 165.7274 | μmol/L | 30.3364 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.63 | 147794.1589 | 273744.8124 | 32.55 | 27.7
60659 | 2021-03-29 16:42 | 61.6694 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 165.9707 | μmol/L | 30.2935 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.628 | 147756.1434 | 273745.7128 | 32.55 | 27.7
60669 | 2021-03-29 16:42 | 62.0034 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 165.8879 | μmol/L | 30.3242 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.623 | 147745.4498 | 273753.9157 | 32.55 | 27.7
60679 | 2021-03-29 16:43 | 62.3362 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 166.4365 | μmol/L | 30.226 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.619 | 147734.4441 | 273759.5739 | 32.55 | 27.7
60689 | 2021-03-29 16:43 | 62.6699 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 165.9778 | μmol/L | 30.2751 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.634 | 147791.8569 | 273750.6875 | 32.55 | 27.7
60699 | 2021-03-29 16:43 | 63.0029 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 166.0203 | μmol/L | 30.2751 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.631 | 147772.3371 | 273742.87 | 32.55 | 27.7
60709 | 2021-03-29 16:44 | 63.3359 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 166.0864 | μmol/L | 30.2874 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.622 | 147717.3087 | 273745.0111 | 32.55 | 27.7
60719 | 2021-03-29 16:44 | 63.6697 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 166.2236 | μmol/L | 30.226 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.634 | 147797.1412 | 273752.5722 | 32.55 | 27.7
60729 | 2021-03-29 16:44 | 64.0028 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 165.9992 | μmol/L | 30.2567 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.639 | 147875.352 | 273757.7085 | 32.55 | 27.7
60739 | 2021-03-29 16:45 | 64.3365 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 166.2402 | μmol/L | 30.183 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.648 | 147945.5051 | 273751.3023 | 32.55 | 27.7
60749 | 2021-03-29 16:45 | 64.6696 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 165.9569 | μmol/L | 30.2199 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.655 | 147990.7438 | 273750.9272 | 32.55 | 27.7
60759 | 2021-03-29 16:45 | 65.0034 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 165.9357 | μmol/L | 30.2014 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.663 | 148020.0572 | 273763.0605 | 32.55 | 27.7
60769 | 2021-03-29 16:46 | 65.3362 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 165.8435 | μmol/L | 30.2567 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.65 | 147976.6005 | 273755.0137 | 32.55 | 27.7
60779 | 2021-03-29 16:46 | 65.6699 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 166.0159 | μmol/L | 30.2137 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.653 | 148000.5357 | 273751.8213 | 32.55 | 27.7
60789 | 2021-03-29 16:46 | 66.0028 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 165.8178 | μmol/L | 30.2137 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.667 | 148078.8806 | 273747.6416 | 32.55 | 27.7
60799 | 2021-03-29 16:47 | 66.3359 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 165.3938 | μmol/L | 30.2874 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.671 | 148101.7801 | 273756.2932 | 32.55 | 27.7
60809 | 2021-03-29 16:47 | 66.6699 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 165.7754 | μmol/L | 30.2137 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.67 | 148116.5227 | 273761.3215 | 32.55 | 27.7
60819 | 2021-03-29 16:47 | 67.0027 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 165.9664 | μmol/L | 30.1585 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.676 | 148177.2698 | 273761.1911 | 32.55 | 27.7
60829 | 2021-03-29 16:48 | 67.3365 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 165.512 | μmol/L | 30.2014 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.693 | 148300.4708 | 273747.3104 | 32.55 | 27.7
60839 | 2021-03-29 16:48 | 67.6693 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 165.3803 | μmol/L | 30.2137 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.698 | 148354.7303 | 273750.7566 | 32.55 | 27.7
60849 | 2021-03-29 16:48 | 68.0029 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 165.0073 | μmol/L | 30.2321 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.718 | 148480.3248 | 273752.4067 | 32.55 | 27.7
60859 | 2021-03-29 16:49 | 68.3367 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 165.1578 | μmol/L | 30.1708 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.729 | 148553.0316 | 273750.3214 | 32.55 | 27.7
60869 | 2021-03-29 16:49 | 68.6698 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 164.9563 | μmol/L | 30.183 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.739 | 148633.7207 | 273759.9191 | 32.55 | 27.7
60879 | 2021-03-29 16:49 | 69.0027 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 164.6425 | μmol/L | 30.2321 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.744 | 148668.0346 | 273751.3446 | 32.55 | 27.7
60889 | 2021-03-29 16:50 | 69.3362 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 164.584 | μmol/L | 30.2383 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.746 | 148695.2033 | 273739.9542 | 32.55 | 27.7
60899 | 2021-03-29 16:50 | 69.67 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 164.4154 | μmol/L | 30.2751 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.745 | 148692.9694 | 273749.1873 | 32.55 | 27.7
60909 | 2021-03-29 16:50 | 70.0029 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 164.5091 | μmol/L | 30.2505 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.747 | 148729.205 | 273756.7153 | 32.55 | 27.7
60919 | 2021-03-29 16:51 | 70.3367 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 163.9397 | μmol/L | 30.3119 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.766 | 148830.2831 | 273743.8448 | 32.55 | 27.7
60929 | 2021-03-29 16:51 | 70.6698 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 164.0546 | μmol/L | 30.2689 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.773 | 148924.3895 | 273747.7389 | 32.55 | 27.7
60939 | 2021-03-29 16:51 | 71.0033 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 163.9782 | μmol/L | 30.2505 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.785 | 149036.8386 | 273752.4141 | 32.55 | 27.7
60949 | 2021-03-29 16:52 | 71.3362 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 164.1512 | μmol/L | 30.2014 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.79 | 149075.1343 | 273757.1372 | 32.55 | 27.7
60959 | 2021-03-29 16:52 | 71.6693 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 164.2167 | μmol/L | 30.1769 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.794 | 149134.9297 | 273755.9329 | 32.55 | 27.7
60969 | 2021-03-29 16:52 | 72.0029 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 163.8503 | μmol/L | 30.2567 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.792 | 149116.7429 | 273754.3074 | 32.55 | 27.7
60979 | 2021-03-29 16:53 | 72.3367 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 164.1159 | μmol/L | 30.2199 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.786 | 149069.8019 | 273759.7243 | 32.55 | 27.7
60989 | 2021-03-29 16:53 | 72.6694 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 163.8405 | μmol/L | 30.2812 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.784 | 149072.7448 | 273753.7635 | 32.55 | 27.7
60999 | 2021-03-29 16:53 | 73.0034 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 163.9364 | μmol/L | 30.2505 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.788 | 149133.3925 | 273752.7311 | 32.55 | 27.7
61009 | 2021-03-29 16:54 | 73.3362 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 164.0546 | μmol/L | 30.2689 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.773 | 149308.3369 | 273763.8669 | 32.55 | 27.7