## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-29 12:16

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
55631 | 2021-03-29 11:21 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 181.1383 | μmol/L | 29.4346 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.768 | 130410.3911 | 303877.334 | 59.9307 | 38.1
55640 | 2021-03-29 11:21 | 0.33324 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 180.8813 | μmol/L | 29.4468 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.78 | 130505.6571 | 303846.7966 | 59.9307 | 38.1
55650 | 2021-03-29 11:22 | 0.66647 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 180.7875 | μmol/L | 29.4407 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.788 | 130556.6042 | 303839.101 | 59.9307 | 38.1
55660 | 2021-03-29 11:22 | 0.9995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 180.9821 | μmol/L | 29.4223 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.782 | 130527.3846 | 303808.5803 | 59.9307 | 38.1
55670 | 2021-03-29 11:22 | 1.3331 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 180.8379 | μmol/L | 29.4285 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.789 | 130562.6983 | 303776.0757 | 59.9307 | 38.1
55680 | 2021-03-29 11:23 | 1.6662 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 180.6924 | μmol/L | 29.4407 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.794 | 130596.1847 | 303752.196 | 59.9307 | 38.1
55690 | 2021-03-29 11:23 | 1.9995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 180.6649 | μmol/L | 29.4223 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.802 | 130647.4578 | 303723.4295 | 59.9307 | 38.1
55700 | 2021-03-29 11:23 | 2.3333 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 180.3628 | μmol/L | 29.4285 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.819 | 130691.4502 | 303704.9505 | 59.9307 | 38.1
55710 | 2021-03-29 11:24 | 2.6664 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 180.3483 | μmol/L | 29.4223 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.822 | 130682.1026 | 303691.7468 | 59.9307 | 38.1
55720 | 2021-03-29 11:24 | 3.0001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 180.1026 | μmol/L | 29.3917 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.848 | 130816.5842 | 303665.6353 | 59.9307 | 38.1
55730 | 2021-03-29 11:24 | 3.3329 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 179.7216 | μmol/L | 29.404 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.868 | 130921.2694 | 303652.3379 | 59.9307 | 38.1
55740 | 2021-03-29 11:25 | 3.666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 179.6729 | μmol/L | 29.4101 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.869 | 130883.2536 | 303628.4622 | 59.9307 | 38.1
55750 | 2021-03-29 11:25 | 3.9997 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 179.6744 | μmol/L | 29.404 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.871 | 130911.7594 | 303603.9895 | 59.9307 | 38.1
55760 | 2021-03-29 11:25 | 4.3333 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 179.58 | μmol/L | 29.404 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.877 | 130931.6542 | 303596.4798 | 59.9307 | 38.1
55770 | 2021-03-29 11:26 | 4.6662 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 179.9148 | μmol/L | 29.3856 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.862 | 130865.1209 | 303588.0388 | 59.9307 | 38.1
55780 | 2021-03-29 11:26 | 5 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 179.8605 | μmol/L | 29.4162 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.855 | 130841.3822 | 303580.0211 | 59.9307 | 38.1
55790 | 2021-03-29 11:26 | 5.333 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 179.6529 | μmol/L | 29.4285 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.864 | 130891.7044 | 303557.7773 | 59.9307 | 38.1
55800 | 2021-03-29 11:27 | 5.6667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 179.5943 | μmol/L | 29.4101 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.874 | 130952.8714 | 303533.3324 | 59.9307 | 38.1
55810 | 2021-03-29 11:27 | 5.9996 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 179.55 | μmol/L | 29.3978 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.881 | 130979.844 | 303510.3399 | 59.9307 | 38.1
55820 | 2021-03-29 11:27 | 6.3334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 179.4242 | μmol/L | 29.3978 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.889 | 131026.1556 | 303501.1567 | 59.9307 | 38.1
55830 | 2021-03-29 11:28 | 6.6664 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 179.3015 | μmol/L | 29.3856 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.901 | 131082.9049 | 303479.2242 | 59.9307 | 38.1
55840 | 2021-03-29 11:28 | 6.9994 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 178.8355 | μmol/L | 29.4346 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.914 | 131151.0964 | 303457.4923 | 59.9307 | 38.1
55850 | 2021-03-29 11:28 | 7.3333 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 178.578 | μmol/L | 29.4652 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.92 | 131199.6135 | 303454.3776 | 59.9307 | 38.1
55860 | 2021-03-29 11:29 | 7.6666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 178.5199 | μmol/L | 29.4468 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.93 | 131237.1131 | 303440.2935 | 59.9307 | 38.1
55870 | 2021-03-29 11:29 | 7.9995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 178.3468 | μmol/L | 29.453 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.939 | 131257.8189 | 303415.0671 | 59.9307 | 38.1
55880 | 2021-03-29 11:29 | 8.3334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 178.2859 | μmol/L | 29.4468 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.945 | 131297.7282 | 303407.4583 | 59.9307 | 38.1
55890 | 2021-03-29 11:30 | 8.6667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 178.4804 | μmol/L | 29.4162 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.943 | 131305.4384 | 303376.4549 | 59.9307 | 38.1
55900 | 2021-03-29 11:30 | 8.9995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 178.0959 | μmol/L | 29.4591 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.953 | 131357.4045 | 303368.9935 | 59.9307 | 38.1
55910 | 2021-03-29 11:30 | 9.3334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 177.9559 | μmol/L | 29.4591 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.962 | 131420.0294 | 303368.214 | 59.9307 | 38.1
55920 | 2021-03-29 11:31 | 9.6664 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 177.8952 | μmol/L | 29.453 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.968 | 131432.5421 | 303336.6805 | 59.9307 | 38.1
55930 | 2021-03-29 11:31 | 9.9993 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 177.7042 | μmol/L | 29.4713 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.974 | 131465.4892 | 303319.8173 | 59.9307 | 38.1
55940 | 2021-03-29 11:31 | 10.3334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 177.6761 | μmol/L | 29.4591 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.98 | 131482.1327 | 303307.9314 | 59.9307 | 38.1
55950 | 2021-03-29 11:32 | 10.6666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 177.5505 | μmol/L | 29.4652 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.986 | 131511.0334 | 303291.9054 | 59.9307 | 38.1
55960 | 2021-03-29 11:32 | 10.9998 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 177.6326 | μmol/L | 29.4468 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.987 | 131528.7365 | 303276.7591 | 59.9307 | 38.1
55970 | 2021-03-29 11:32 | 11.3327 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 177.5615 | μmol/L | 29.4836 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.979 | 131508.048 | 303258.438 | 59.9307 | 38.1
55980 | 2021-03-29 11:33 | 11.6666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 177.2238 | μmol/L | 29.5326 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.984 | 131493.5383 | 303251.1173 | 59.9307 | 38.1
55990 | 2021-03-29 11:33 | 11.9997 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 177.0071 | μmol/L | 29.5326 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.998 | 131561.1544 | 303237.992 | 59.9307 | 38.1
56000 | 2021-03-29 11:33 | 12.3333 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 177.0148 | μmol/L | 29.502 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.008 | 131645.2014 | 303231.4733 | 59.9307 | 38.1
56010 | 2021-03-29 11:34 | 12.6663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 176.8881 | μmol/L | 29.5142 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.012 | 131665.5517 | 303211.1719 | 59.9307 | 38.1
56020 | 2021-03-29 11:34 | 12.9993 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 176.7599 | μmol/L | 29.5326 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.014 | 131676.6264 | 303189.4487 | 59.9307 | 38.1
56030 | 2021-03-29 11:34 | 13.3333 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 176.6412 | μmol/L | 29.5142 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.028 | 131742.9432 | 303174.4585 | 59.9307 | 38.1
56040 | 2021-03-29 11:35 | 13.6662 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 176.4777 | μmol/L | 29.551 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.026 | 131710.3937 | 303141.5866 | 59.9307 | 38.1
56050 | 2021-03-29 11:35 | 13.9995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 176.2527 | μmol/L | 29.5877 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.028 | 131719.6174 | 303125.3635 | 59.9307 | 38.1
56060 | 2021-03-29 11:35 | 14.3331 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 176.0788 | μmol/L | 29.6061 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.033 | 131727.1729 | 303110.5016 | 59.9307 | 38.1
56070 | 2021-03-29 11:36 | 14.6662 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 176.0788 | μmol/L | 29.6061 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.033 | 131756.8309 | 303103.2144 | 59.9307 | 38.1
56080 | 2021-03-29 11:36 | 14.9998 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 176.1175 | μmol/L | 29.5755 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.041 | 131789.2609 | 303081.8081 | 59.9307 | 38.1
56090 | 2021-03-29 11:36 | 15.3329 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 175.9776 | μmol/L | 29.5816 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.048 | 131817.5212 | 303061.9136 | 59.9307 | 38.1
56100 | 2021-03-29 11:37 | 15.6666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 175.8887 | μmol/L | 29.5694 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.058 | 131855.8788 | 303053.5398 | 59.9307 | 38.1
56110 | 2021-03-29 11:37 | 15.9996 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 175.6692 | μmol/L | 29.5877 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.066 | 131915.2482 | 303036.6495 | 59.9307 | 38.1
56120 | 2021-03-29 11:37 | 16.3327 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 175.6941 | μmol/L | 29.551 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.077 | 131962.8322 | 303013.1896 | 59.9307 | 38.1
56130 | 2021-03-29 11:38 | 16.6664 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 175.5208 | μmol/L | 29.5694 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.082 | 131998.8255 | 303020.9406 | 59.9307 | 38.1
56140 | 2021-03-29 11:38 | 17.0001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 174.9111 | μmol/L | 29.6796 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.084 | 132006.4516 | 303007.4684 | 59.9307 | 38.1
56150 | 2021-03-29 11:38 | 17.3332 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 175.055 | μmol/L | 29.6551 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.083 | 132019.9697 | 303019.0628 | 59.9307 | 38.1
56160 | 2021-03-29 11:39 | 17.6664 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 175.0647 | μmol/L | 29.6184 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.095 | 132086.2074 | 302997.4725 | 59.9307 | 38.1
56170 | 2021-03-29 11:39 | 17.9995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 174.4932 | μmol/L | 29.7041 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.103 | 132113.5919 | 302976.2952 | 59.9307 | 38.1
56180 | 2021-03-29 11:39 | 18.3334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 174.7619 | μmol/L | 29.6674 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.098 | 132129.803 | 302954.331 | 59.9307 | 38.1
56190 | 2021-03-29 11:40 | 18.6666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 174.75 | μmol/L | 29.6551 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.103 | 132123.2696 | 302957.0666 | 59.9307 | 38.1
56200 | 2021-03-29 11:40 | 18.9998 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 174.4645 | μmol/L | 29.698 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.107 | 132168.6033 | 302933.2124 | 59.9307 | 38.1
56210 | 2021-03-29 11:40 | 19.3329 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 174.3345 | μmol/L | 29.7286 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.105 | 132153.5942 | 302922.7484 | 59.9307 | 38.1
56220 | 2021-03-29 11:41 | 19.666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 174.1978 | μmol/L | 29.7286 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.114 | 132189.4532 | 302909.4171 | 59.9307 | 38.1
56230 | 2021-03-29 11:41 | 19.9998 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 173.9248 | μmol/L | 29.7286 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.132 | 132280.8396 | 302896.8287 | 59.9307 | 38.1
56240 | 2021-03-29 11:41 | 20.3329 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 174.1236 | μmol/L | 29.7225 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.121 | 132240.4832 | 302900.2216 | 59.9307 | 38.1
56250 | 2021-03-29 11:42 | 20.6661 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 174.2415 | μmol/L | 29.6796 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.128 | 132246.1166 | 302870.0934 | 59.9307 | 38.1
56260 | 2021-03-29 11:42 | 20.9999 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 174.1758 | μmol/L | 29.698 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.126 | 132260.8414 | 302865.7739 | 59.9307 | 38.1
56270 | 2021-03-29 11:42 | 21.3327 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 173.9147 | μmol/L | 29.7103 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.139 | 132316.01 | 302832.4172 | 59.9307 | 38.1
56280 | 2021-03-29 11:43 | 21.6667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 173.6624 | μmol/L | 29.747 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.143 | 132343.4282 | 302830.1328 | 59.9307 | 38.1
56290 | 2021-03-29 11:43 | 21.9999 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 173.7078 | μmol/L | 29.747 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.14 | 132339.7466 | 302835.522 | 59.9307 | 38.1
56300 | 2021-03-29 11:43 | 22.333 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 173.8272 | μmol/L | 29.698 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.149 | 132398.4386 | 302819.897 | 59.9307 | 38.1
56310 | 2021-03-29 11:44 | 22.6667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 173.5348 | μmol/L | 29.7164 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.162 | 132454.8193 | 302801.013 | 59.9307 | 38.1
56320 | 2021-03-29 11:44 | 22.9997 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 173.2796 | μmol/L | 29.7654 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.162 | 132450.8131 | 302797.5833 | 59.9307 | 38.1
56330 | 2021-03-29 11:44 | 23.3335 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 173.1572 | μmol/L | 29.7715 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.168 | 132469.5727 | 302793.7909 | 59.9307 | 38.1
56340 | 2021-03-29 11:45 | 23.6664 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 173.2964 | μmol/L | 29.7593 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.163 | 132431.2367 | 302762.4747 | 59.9307 | 38.1
56350 | 2021-03-29 11:45 | 23.9995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 173.221 | μmol/L | 29.7593 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.168 | 132476.307 | 302753.2992 | 59.9307 | 38.1
56360 | 2021-03-29 11:45 | 24.3333 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 173.1689 | μmol/L | 29.7838 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.163 | 132459.9244 | 302732.5191 | 59.9307 | 38.1
56370 | 2021-03-29 11:46 | 24.6667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 172.6988 | μmol/L | 29.796 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.19 | 132573.4965 | 302719.8189 | 59.9307 | 38.1
56380 | 2021-03-29 11:46 | 25 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 172.4198 | μmol/L | 29.8267 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.198 | 132627.9251 | 302714.3573 | 59.9307 | 38.1
56390 | 2021-03-29 11:46 | 25.3332 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 172.4595 | μmol/L | 29.845 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.189 | 132592.5765 | 302724.5745 | 59.9307 | 38.1
56400 | 2021-03-29 11:47 | 25.6663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 172.4313 | μmol/L | 29.8389 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.193 | 132597.4844 | 302693.948 | 59.9307 | 38.1
56410 | 2021-03-29 11:47 | 26.0001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 172.2945 | μmol/L | 29.845 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.2 | 132644.6105 | 302686.3436 | 59.9307 | 38.1
56420 | 2021-03-29 11:47 | 26.3329 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 171.7369 | μmol/L | 29.9615 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.197 | 132644.8804 | 302690.8834 | 59.9307 | 38.1
56430 | 2021-03-29 11:48 | 26.666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 171.664 | μmol/L | 29.9553 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.204 | 132694.8605 | 302668.6079 | 59.9307 | 38.1
56440 | 2021-03-29 11:48 | 26.9997 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 171.6879 | μmol/L | 29.9247 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.213 | 132740.3428 | 302651.1136 | 59.9307 | 38.1
56450 | 2021-03-29 11:48 | 27.333 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 171.4103 | μmol/L | 29.9553 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.221 | 132779.5366 | 302643.2336 | 59.9307 | 38.1
56460 | 2021-03-29 11:49 | 27.666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 171.1759 | μmol/L | 29.9921 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.224 | 132794.8504 | 302625.8548 | 59.9307 | 38.1
56470 | 2021-03-29 11:49 | 28.0001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 171.1963 | μmol/L | 29.9737 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.229 | 132830.8735 | 302615.533 | 59.9307 | 38.1
56480 | 2021-03-29 11:49 | 28.3333 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 171.1425 | μmol/L | 30.0043 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.222 | 132824.7862 | 302598.074 | 59.9307 | 38.1
56490 | 2021-03-29 11:50 | 28.6662 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 170.7468 | μmol/L | 30.035 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.238 | 132905.8049 | 302587.3869 | 59.9307 | 38.1
56500 | 2021-03-29 11:50 | 28.9993 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 170.7338 | μmol/L | 30.0289 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.241 | 132934.2822 | 302580.5333 | 59.9307 | 38.1
56510 | 2021-03-29 11:50 | 29.3331 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 170.7097 | μmol/L | 30.0105 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.249 | 132961.0027 | 302568.5958 | 59.9307 | 38.1
56520 | 2021-03-29 11:51 | 29.6661 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 170.4335 | μmol/L | 30.0411 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.257 | 132998.5694 | 302566.2128 | 59.9307 | 38.1
56530 | 2021-03-29 11:51 | 29.9998 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 170.2113 | μmol/L | 30.0901 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.255 | 132994.1061 | 302537.639 | 59.9307 | 38.1
56540 | 2021-03-29 11:51 | 30.3329 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 170.1465 | μmol/L | 30.1085 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.253 | 132980.9123 | 302537.8935 | 59.9307 | 38.1
56550 | 2021-03-29 11:52 | 30.6668 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 170.1503 | μmol/L | 30.0963 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.257 | 133010.4468 | 302522.0725 | 59.9307 | 38.1
56560 | 2021-03-29 11:52 | 30.9998 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 169.9377 | μmol/L | 30.1146 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.265 | 133037.6241 | 302512.8352 | 59.9307 | 38.1
56570 | 2021-03-29 11:52 | 31.3329 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 169.6498 | μmol/L | 30.1391 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.276 | 133091.558 | 302499.981 | 59.9307 | 38.1
56580 | 2021-03-29 11:53 | 31.6667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 169.578 | μmol/L | 30.133 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.283 | 133148.0415 | 302522.1794 | 59.9307 | 38.1
56590 | 2021-03-29 11:53 | 31.9998 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 169.7311 | μmol/L | 30.1146 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.279 | 133124.6474 | 302499.3971 | 59.9307 | 38.1
56600 | 2021-03-29 11:53 | 32.3327 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 169.5927 | μmol/L | 30.133 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.282 | 133145.6264 | 302471.5589 | 59.9307 | 38.1
56610 | 2021-03-29 11:54 | 32.666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 169.3476 | μmol/L | 30.1637 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.288 | 133180.8289 | 302457.4775 | 59.9307 | 38.1
56620 | 2021-03-29 11:54 | 32.9997 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 169.1654 | μmol/L | 30.182 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.294 | 133204.0493 | 302462.3161 | 59.9307 | 38.1
56630 | 2021-03-29 11:54 | 33.3334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 168.9687 | μmol/L | 30.2004 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.301 | 133242.6897 | 302440.9698 | 59.9307 | 38.1
56640 | 2021-03-29 11:55 | 33.6663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 168.8475 | μmol/L | 30.2127 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.305 | 133267.0003 | 302423.9374 | 59.9307 | 38.1
56650 | 2021-03-29 11:55 | 33.9994 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 168.6511 | μmol/L | 30.2311 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.312 | 133294.5168 | 302421.8749 | 59.9307 | 38.1
56660 | 2021-03-29 11:55 | 34.3335 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 168.7986 | μmol/L | 30.182 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.319 | 133346.2581 | 302420.4894 | 59.9307 | 38.1
56670 | 2021-03-29 11:56 | 34.6666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 168.9275 | μmol/L | 30.1453 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.323 | 133369.8096 | 302415.9595 | 59.9307 | 38.1
56680 | 2021-03-29 11:56 | 34.9998 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 168.5477 | μmol/L | 30.1882 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.334 | 133406.4897 | 302407.325 | 59.9307 | 38.1
56690 | 2021-03-29 11:56 | 35.3328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 168.4707 | μmol/L | 30.2004 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.335 | 133421.1253 | 302394.5412 | 59.9307 | 38.1
56700 | 2021-03-29 11:57 | 35.6667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 168.4727 | μmol/L | 30.1943 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.337 | 133456.9937 | 302390.2818 | 59.9307 | 38.1
56710 | 2021-03-29 11:57 | 35.9998 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 168.3041 | μmol/L | 30.2188 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.34 | 133478.5343 | 302377.3821 | 59.9307 | 38.1
56720 | 2021-03-29 11:57 | 36.3328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 168.1415 | μmol/L | 30.2249 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.349 | 133514.4643 | 302365.9283 | 59.9307 | 38.1
56730 | 2021-03-29 11:58 | 36.6667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 167.9335 | μmol/L | 30.2372 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.359 | 133564.9873 | 302352.8356 | 59.9307 | 38.1
56740 | 2021-03-29 11:58 | 36.9997 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 167.8607 | μmol/L | 30.2372 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.364 | 133612.2659 | 302354.8544 | 59.9307 | 38.1
56750 | 2021-03-29 11:58 | 37.333 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 167.8044 | μmol/L | 30.2311 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.37 | 133648.999 | 302336.4802 | 59.9307 | 38.1
56760 | 2021-03-29 11:59 | 37.666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 167.6239 | μmol/L | 30.2494 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.376 | 133658.8304 | 302333.4841 | 59.9307 | 38.1
56770 | 2021-03-29 11:59 | 38.0001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 167.5678 | μmol/L | 30.2433 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.382 | 133705.3972 | 302337.8135 | 59.9307 | 38.1
56780 | 2021-03-29 11:59 | 38.3327 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 167.5347 | μmol/L | 30.2556 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.38 | 133716.8676 | 302318.6227 | 59.9307 | 38.1
56790 | 2021-03-29 12:00 | 38.6667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 167.313 | μmol/L | 30.2678 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.391 | 133759.8669 | 302304.5151 | 59.9307 | 38.1
56800 | 2021-03-29 12:00 | 38.9998 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 167.321 | μmol/L | 30.2433 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.399 | 133807.5683 | 302311.2006 | 59.9307 | 38.1
56810 | 2021-03-29 12:00 | 39.333 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 167.1245 | μmol/L | 30.2678 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.404 | 133860.1792 | 302300.5914 | 59.9307 | 38.1
56820 | 2021-03-29 12:01 | 39.666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 167.1141 | μmol/L | 30.2556 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.409 | 133899.5427 | 302287.7961 | 59.9307 | 38.1
56830 | 2021-03-29 12:01 | 39.9998 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 167.0003 | μmol/L | 30.2494 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.419 | 133938.2144 | 302274.0496 | 59.9307 | 38.1
56840 | 2021-03-29 12:01 | 40.3328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 166.8247 | μmol/L | 30.2556 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.429 | 133978.4771 | 302267.8953 | 59.9307 | 38.1
56850 | 2021-03-29 12:02 | 40.6665 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 166.5732 | μmol/L | 30.2739 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.44 | 134051.1174 | 302270.0064 | 59.9307 | 38.1
56860 | 2021-03-29 12:02 | 40.9995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 166.5195 | μmol/L | 30.2617 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.448 | 134097.4327 | 302253.4124 | 59.9307 | 38.1
56870 | 2021-03-29 12:02 | 41.3333 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 166.431 | μmol/L | 30.2678 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.452 | 134132.0598 | 302234.6443 | 59.9307 | 38.1
56880 | 2021-03-29 12:03 | 41.6666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 166.1678 | μmol/L | 30.2801 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.466 | 134178.0066 | 302229.9248 | 59.9307 | 38.1
56890 | 2021-03-29 12:03 | 41.9995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 166.1267 | μmol/L | 30.2739 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.471 | 134231.8399 | 302229.6237 | 59.9307 | 38.1
56900 | 2021-03-29 12:03 | 42.3333 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 166.0117 | μmol/L | 30.2739 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.479 | 134277.5419 | 302209.9031 | 59.9307 | 38.1
56910 | 2021-03-29 12:04 | 42.6665 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 165.8968 | μmol/L | 30.2739 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.487 | 134318.6434 | 302211.5463 | 59.9307 | 38.1
56920 | 2021-03-29 12:04 | 42.9994 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 165.7943 | μmol/L | 30.2801 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.492 | 134344.2014 | 302204.8092 | 59.9307 | 38.1
56930 | 2021-03-29 12:04 | 43.333 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 165.8291 | μmol/L | 30.2617 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.496 | 134373.1388 | 302194.2084 | 59.9307 | 38.1
56940 | 2021-03-29 12:05 | 43.6662 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 165.7861 | μmol/L | 30.2617 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.499 | 134416.7759 | 302185.6179 | 59.9307 | 38.1
56950 | 2021-03-29 12:05 | 43.9998 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 165.6693 | μmol/L | 30.2678 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.505 | 134442.3848 | 302164.2842 | 59.9307 | 38.1
56960 | 2021-03-29 12:05 | 44.3329 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 165.4831 | μmol/L | 30.2678 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.518 | 134484.2856 | 302175.4753 | 59.9307 | 38.1
56970 | 2021-03-29 12:06 | 44.6666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 165.428 | μmol/L | 30.2617 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.524 | 134539.4604 | 302150.8456 | 59.9307 | 38.1
56980 | 2021-03-29 12:06 | 44.9996 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 165.3422 | μmol/L | 30.2617 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.53 | 134579.7694 | 302159.4899 | 59.9307 | 38.1
56990 | 2021-03-29 12:06 | 45.3333 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 165.1931 | μmol/L | 30.2801 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.534 | 134603.2382 | 302140.242 | 59.9307 | 38.1
57000 | 2021-03-29 12:07 | 45.6664 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 164.9933 | μmol/L | 30.2801 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.548 | 134658.7207 | 302143.5032 | 59.9307 | 38.1
57010 | 2021-03-29 12:07 | 45.9994 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 165.0402 | μmol/L | 30.2678 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.549 | 134677.4628 | 302120.2863 | 59.9307 | 38.1
57020 | 2021-03-29 12:07 | 46.3333 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 165.0301 | μmol/L | 30.2556 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.554 | 134705.3602 | 302121.7185 | 59.9307 | 38.1
57030 | 2021-03-29 12:08 | 46.6662 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 164.9466 | μmol/L | 30.2494 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.562 | 134733.8826 | 302123.8948 | 59.9307 | 38.1
57040 | 2021-03-29 12:08 | 46.9995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 164.9018 | μmol/L | 30.2556 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.563 | 134760.3877 | 302106.1562 | 59.9307 | 38.1
57050 | 2021-03-29 12:08 | 47.3332 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 164.8264 | μmol/L | 30.2678 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.564 | 134776.6908 | 302104.8579 | 59.9307 | 38.1
57060 | 2021-03-29 12:09 | 47.6661 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 164.6493 | μmol/L | 30.2862 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.57 | 134819.7512 | 302101.2895 | 59.9307 | 38.1
57070 | 2021-03-29 12:09 | 47.9999 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 164.5377 | μmol/L | 30.2801 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.58 | 134852.0332 | 302082.0588 | 59.9307 | 38.1
57080 | 2021-03-29 12:09 | 48.3329 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 164.5945 | μmol/L | 30.2801 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.576 | 134850.5355 | 302085.0141 | 59.9307 | 38.1
57090 | 2021-03-29 12:10 | 48.6666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 164.5744 | μmol/L | 30.2556 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.586 | 134876.1332 | 302061.1582 | 59.9307 | 38.1
57100 | 2021-03-29 12:10 | 48.9999 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 164.5034 | μmol/L | 30.2556 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.591 | 134917.8118 | 302066.364 | 59.9307 | 38.1
57110 | 2021-03-29 12:10 | 49.3331 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 164.3877 | μmol/L | 30.2617 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.597 | 134953.6475 | 302054.5255 | 59.9307 | 38.1
57120 | 2021-03-29 12:11 | 49.6662 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 164.3572 | μmol/L | 30.2678 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.597 | 134972.5705 | 302047.9652 | 59.9307 | 38.1
57130 | 2021-03-29 12:11 | 50.0001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 164.3372 | μmol/L | 30.2433 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.607 | 135015.2079 | 302036.5747 | 59.9307 | 38.1
57140 | 2021-03-29 12:11 | 50.3326 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 164.114 | μmol/L | 30.2739 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.612 | 135080.5232 | 302050.1826 | 59.9307 | 38.1
57150 | 2021-03-29 12:12 | 50.6667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 163.7314 | μmol/L | 30.3168 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.624 | 135138.2844 | 302037.5253 | 59.9307 | 38.1
57160 | 2021-03-29 12:12 | 50.9996 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 163.742 | μmol/L | 30.2862 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.634 | 135197.7893 | 302027.1037 | 59.9307 | 38.1
57170 | 2021-03-29 12:12 | 51.3328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 163.7399 | μmol/L | 30.2923 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.632 | 135203.2566 | 302029.1449 | 59.9307 | 38.1
57180 | 2021-03-29 12:13 | 51.6666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 163.6311 | μmol/L | 30.2801 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.644 | 135225.7494 | 302016.3097 | 59.9307 | 38.1
57190 | 2021-03-29 12:13 | 51.9996 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 163.4935 | μmol/L | 30.3107 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.643 | 135247.2552 | 302008.9602 | 59.9307 | 38.1
57200 | 2021-03-29 12:13 | 52.3334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 163.4392 | μmol/L | 30.3046 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.649 | 135288.6022 | 301994.8726 | 59.9307 | 38.1
57210 | 2021-03-29 12:14 | 52.6667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 163.4413 | μmol/L | 30.2985 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.651 | 135284.1079 | 302000.7836 | 59.9307 | 38.1