## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-29 12:16

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
55632 | 2021-03-29 11:21 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 206.5331 | μmol/L | 29.2525 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.878 | 105788.9194 | 218414.3973 | 27.3 | 43.4
55642 | 2021-03-29 11:21 | 0.33896 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 206.3548 | μmol/L | 29.2402 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.892 | 105836.5693 | 218408.1935 | 27.3 | 43.4
55652 | 2021-03-29 11:22 | 0.67228 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 206.4094 | μmol/L | 29.2402 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.889 | 105815.3898 | 218396.3842 | 27.3 | 43.4
55662 | 2021-03-29 11:22 | 1.0055 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 206.24 | μmol/L | 29.2586 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.892 | 105815.0202 | 218402.99 | 27.3 | 43.4
55672 | 2021-03-29 11:22 | 1.3394 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 206.1672 | μmol/L | 29.2586 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.896 | 105792.7152 | 218382.5433 | 27.3 | 43.4
55682 | 2021-03-29 11:23 | 1.6721 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 205.9874 | μmol/L | 29.2525 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.908 | 105819.2574 | 218371.1156 | 27.3 | 43.4
55692 | 2021-03-29 11:23 | 2.0061 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 205.8967 | μmol/L | 29.2525 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.913 | 105820.0704 | 218355.0546 | 27.3 | 43.4
55702 | 2021-03-29 11:23 | 2.3394 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 205.8403 | μmol/L | 29.2586 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.914 | 105813.0056 | 218340.9335 | 27.3 | 43.4
55712 | 2021-03-29 11:24 | 2.6724 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 205.7878 | μmol/L | 29.2525 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.919 | 105816.3581 | 218352.5719 | 27.3 | 43.4
55722 | 2021-03-29 11:24 | 3.0054 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 205.7372 | μmol/L | 29.2402 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.926 | 105830.4622 | 218318.3534 | 27.3 | 43.4
55732 | 2021-03-29 11:24 | 3.339 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 205.9024 | μmol/L | 29.2341 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.919 | 105803.8131 | 218312.0078 | 27.3 | 43.4
55742 | 2021-03-29 11:25 | 3.672 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 205.5741 | μmol/L | 29.2402 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.935 | 105835.7175 | 218303.279 | 27.3 | 43.4
55752 | 2021-03-29 11:25 | 4.0057 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 205.5075 | μmol/L | 29.2219 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.945 | 105855.3898 | 218295.6559 | 27.3 | 43.4
55762 | 2021-03-29 11:25 | 4.3394 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 205.5456 | μmol/L | 29.2157 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.945 | 105864.037 | 218275.0443 | 27.3 | 43.4
55772 | 2021-03-29 11:26 | 4.6724 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 205.6257 | μmol/L | 29.1912 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.949 | 105873.3846 | 218265.9098 | 27.3 | 43.4
55782 | 2021-03-29 11:26 | 5.0054 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 205.6057 | μmol/L | 29.1974 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.948 | 105842.3769 | 218254.154 | 27.3 | 43.4
55792 | 2021-03-29 11:26 | 5.3393 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 205.4008 | μmol/L | 29.2157 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.953 | 105840.2955 | 218241.5335 | 27.3 | 43.4
55802 | 2021-03-29 11:27 | 5.6723 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 205.519 | μmol/L | 29.1851 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.957 | 105857.3451 | 218241.8065 | 27.3 | 43.4
55812 | 2021-03-29 11:27 | 6.0061 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 205.2581 | μmol/L | 29.2096 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.963 | 105892.4273 | 218233.9773 | 27.3 | 43.4
55822 | 2021-03-29 11:27 | 6.3391 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 205.2543 | μmol/L | 29.2219 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.959 | 105846.5002 | 218226.9737 | 27.3 | 43.4
55832 | 2021-03-29 11:28 | 6.6721 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 205.0317 | μmol/L | 29.2402 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.965 | 105866.6766 | 218208.3686 | 27.3 | 43.4
55842 | 2021-03-29 11:28 | 7.0059 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 205.0195 | μmol/L | 29.2219 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.972 | 105882.5439 | 218204.4463 | 27.3 | 43.4
55852 | 2021-03-29 11:28 | 7.3391 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 204.9995 | μmol/L | 29.228 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.971 | 105895.6106 | 218199.5768 | 27.3 | 43.4
55862 | 2021-03-29 11:29 | 7.6721 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 204.8513 | μmol/L | 29.2402 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.975 | 105899.0685 | 218182.6856 | 27.3 | 43.4
55872 | 2021-03-29 11:29 | 8.0059 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 204.8894 | μmol/L | 29.2341 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.975 | 105878.9252 | 218170.5021 | 27.3 | 43.4
55882 | 2021-03-29 11:29 | 8.3389 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 204.8733 | μmol/L | 29.228 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.978 | 105885.2397 | 218169.7819 | 27.3 | 43.4
55892 | 2021-03-29 11:30 | 8.6726 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 204.6911 | μmol/L | 29.2341 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.986 | 105910.1911 | 218157.5558 | 27.3 | 43.4
55902 | 2021-03-29 11:30 | 9.0054 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 204.8932 | μmol/L | 29.2219 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.979 | 105894.141 | 218148.4463 | 27.3 | 43.4
55912 | 2021-03-29 11:30 | 9.3393 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 204.8611 | μmol/L | 29.2096 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.985 | 105896.7156 | 218133.2842 | 27.3 | 43.4
55922 | 2021-03-29 11:31 | 9.6726 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 204.6571 | μmol/L | 29.228 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.99 | 105901.3664 | 218117.2691 | 27.3 | 43.4
55932 | 2021-03-29 11:31 | 10.0057 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 204.5291 | μmol/L | 29.2341 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.995 | 105923.2746 | 218102.1183 | 27.3 | 43.4
55942 | 2021-03-29 11:31 | 10.3395 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 204.5111 | μmol/L | 29.2341 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.996 | 105923.7722 | 218100.0565 | 27.3 | 43.4
55952 | 2021-03-29 11:32 | 10.6724 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 204.5091 | μmol/L | 29.2402 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.994 | 105908.0813 | 218101.4547 | 27.3 | 43.4
55962 | 2021-03-29 11:32 | 11.0055 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 204.3774 | μmol/L | 29.2586 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.995 | 105892.9688 | 218081.0756 | 27.3 | 43.4
55972 | 2021-03-29 11:32 | 11.3392 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 204.1738 | μmol/L | 29.277 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21 | 105904.1468 | 218090.9312 | 27.3 | 43.4
55982 | 2021-03-29 11:33 | 11.6723 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 204.3254 | μmol/L | 29.2525 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21 | 105875.1504 | 218070.7104 | 27.3 | 43.4
55992 | 2021-03-29 11:33 | 12.0054 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 204.4673 | μmol/L | 29.2586 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.99 | 105850.9476 | 218061.4383 | 27.3 | 43.4
56002 | 2021-03-29 11:33 | 12.3392 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 204.5052 | μmol/L | 29.2525 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.99 | 105856.6498 | 218056.4173 | 27.3 | 43.4
56012 | 2021-03-29 11:34 | 12.6723 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 204.5631 | μmol/L | 29.2402 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.991 | 105847.8432 | 218030.1983 | 27.3 | 43.4
56022 | 2021-03-29 11:34 | 13.0061 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 204.4293 | μmol/L | 29.2648 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.99 | 105830.3809 | 218044.048 | 27.3 | 43.4
56032 | 2021-03-29 11:34 | 13.3387 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 204.1897 | μmol/L | 29.2831 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.997 | 105844.4235 | 218032.8264 | 27.3 | 43.4
56042 | 2021-03-29 11:35 | 13.6724 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 204.2237 | μmol/L | 29.2893 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.993 | 105821.5985 | 218019.12 | 27.3 | 43.4
56052 | 2021-03-29 11:35 | 14.0053 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 204.3155 | μmol/L | 29.2831 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.99 | 105793.8415 | 218006.6268 | 27.3 | 43.4
56062 | 2021-03-29 11:35 | 14.3391 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 204.1139 | μmol/L | 29.2954 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.997 | 105810.6555 | 218001.322 | 27.3 | 43.4
56072 | 2021-03-29 11:36 | 14.6727 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 204.1299 | μmol/L | 29.3015 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.994 | 105790.293 | 217976.9541 | 27.3 | 43.4
56082 | 2021-03-29 11:36 | 15.0057 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 203.8588 | μmol/L | 29.3077 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.007 | 105844.7844 | 217985.5754 | 27.3 | 43.4
56092 | 2021-03-29 11:36 | 15.3389 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 203.8408 | μmol/L | 29.3077 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.008 | 105845.727 | 217976.8558 | 27.3 | 43.4
56102 | 2021-03-29 11:37 | 15.6726 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 203.9903 | μmol/L | 29.2893 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.006 | 105823.141 | 217959.615 | 27.3 | 43.4
56112 | 2021-03-29 11:37 | 16.0058 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 204.0521 | μmol/L | 29.3199 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.992 | 105779.5536 | 217960.9457 | 27.3 | 43.4
56122 | 2021-03-29 11:37 | 16.3389 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 204.0701 | μmol/L | 29.3199 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.991 | 105756.8972 | 217944.7986 | 27.3 | 43.4
56132 | 2021-03-29 11:38 | 16.6726 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 204.0023 | μmol/L | 29.3077 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.999 | 105774.7356 | 217929.0089 | 27.3 | 43.4
56142 | 2021-03-29 11:38 | 17.0054 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 203.8687 | μmol/L | 29.3322 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.998 | 105764.7413 | 217920.5054 | 27.3 | 43.4
56152 | 2021-03-29 11:38 | 17.3387 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 203.5939 | μmol/L | 29.3506 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.007 | 105789.3426 | 217912.6621 | 27.3 | 43.4
56162 | 2021-03-29 11:39 | 17.6725 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 203.6077 | μmol/L | 29.3628 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.002 | 105797.2448 | 217911.9272 | 27.3 | 43.4
56172 | 2021-03-29 11:39 | 18.0055 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 203.552 | μmol/L | 29.369 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.003 | 105786.9475 | 217895.7407 | 27.3 | 43.4
56182 | 2021-03-29 11:39 | 18.3395 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 203.4446 | μmol/L | 29.369 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.009 | 105799.1669 | 217885.9626 | 27.3 | 43.4
56192 | 2021-03-29 11:40 | 18.6724 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 203.4186 | μmol/L | 29.3935 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.002 | 105784.5627 | 217869.1548 | 27.3 | 43.4
56202 | 2021-03-29 11:40 | 19.0055 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 203.2955 | μmol/L | 29.3873 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.011 | 105790.8245 | 217880.9611 | 27.3 | 43.4
56212 | 2021-03-29 11:40 | 19.3387 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 203.2219 | μmol/L | 29.3935 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.013 | 105822.1547 | 217864.0973 | 27.3 | 43.4
56222 | 2021-03-29 11:41 | 19.6726 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 202.9281 | μmol/L | 29.418 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.021 | 105829.5147 | 217850.6627 | 27.3 | 43.4
56232 | 2021-03-29 11:41 | 20.0056 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 202.8903 | μmol/L | 29.4241 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.021 | 105845.3068 | 217848.923 | 27.3 | 43.4
56242 | 2021-03-29 11:41 | 20.3395 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 202.7456 | μmol/L | 29.4302 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.027 | 105871.9436 | 217834.9324 | 27.3 | 43.4
56252 | 2021-03-29 11:42 | 20.6727 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 202.6682 | μmol/L | 29.4486 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.025 | 105858.9247 | 217825.0845 | 27.3 | 43.4
56262 | 2021-03-29 11:42 | 21.0059 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 202.6483 | μmol/L | 29.4548 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.024 | 105848.2081 | 217823.0401 | 27.3 | 43.4
56272 | 2021-03-29 11:42 | 21.3392 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 202.5928 | μmol/L | 29.4609 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.025 | 105851.977 | 217820.5597 | 27.3 | 43.4
56282 | 2021-03-29 11:43 | 21.6726 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 202.688 | μmol/L | 29.4425 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.026 | 105839.6202 | 217816.4332 | 27.3 | 43.4
56292 | 2021-03-29 11:43 | 22.0057 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 202.5948 | μmol/L | 29.4548 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.027 | 105856.6075 | 217808.4102 | 27.3 | 43.4
56302 | 2021-03-29 11:43 | 22.3387 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 202.5195 | μmol/L | 29.467 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.027 | 105837.5665 | 217794.41 | 27.3 | 43.4
56312 | 2021-03-29 11:44 | 22.672 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 201.8453 | μmol/L | 29.516 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.048 | 105910.6007 | 217787.3834 | 27.3 | 43.4
56322 | 2021-03-29 11:44 | 23.0061 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 201.9099 | μmol/L | 29.5344 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.038 | 105880.5755 | 217778.1202 | 27.3 | 43.4
56332 | 2021-03-29 11:44 | 23.3391 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 202.0164 | μmol/L | 29.5344 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.032 | 105866.7013 | 217768.5031 | 27.3 | 43.4
56342 | 2021-03-29 11:45 | 23.6728 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 202.0185 | μmol/L | 29.5283 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.034 | 105863.2514 | 217759.0327 | 27.3 | 43.4
56352 | 2021-03-29 11:45 | 24.006 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 202.0008 | μmol/L | 29.5283 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.035 | 105873.2955 | 217766.4468 | 27.3 | 43.4
56362 | 2021-03-29 11:45 | 24.339 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 201.9454 | μmol/L | 29.5344 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.036 | 105843.0728 | 217755.2278 | 27.3 | 43.4
56372 | 2021-03-29 11:46 | 24.6722 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 202.0916 | μmol/L | 29.5222 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.032 | 105827.3193 | 217749.7723 | 27.3 | 43.4
56382 | 2021-03-29 11:46 | 25.006 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 202.054 | μmol/L | 29.5283 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.032 | 105835.5903 | 217731.0345 | 27.3 | 43.4
56392 | 2021-03-29 11:46 | 25.339 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 201.678 | μmol/L | 29.5896 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.032 | 105831.0812 | 217730.9028 | 27.3 | 43.4
56402 | 2021-03-29 11:47 | 25.6721 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 201.3683 | μmol/L | 29.6141 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.041 | 105848.557 | 217728.7497 | 27.3 | 43.4
56412 | 2021-03-29 11:47 | 26.0059 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 201.5142 | μmol/L | 29.6019 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.037 | 105860.5341 | 217719.8631 | 27.3 | 43.4
56422 | 2021-03-29 11:47 | 26.3388 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 201.3662 | μmol/L | 29.6202 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.039 | 105850.3283 | 217713.7791 | 27.3 | 43.4
56432 | 2021-03-29 11:48 | 26.6726 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 201.3217 | μmol/L | 29.5957 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.05 | 105894.6743 | 217705.844 | 27.3 | 43.4
56442 | 2021-03-29 11:48 | 27.0056 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.9201 | μmol/L | 29.6325 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.06 | 105924.5882 | 217692.5086 | 27.3 | 43.4
56452 | 2021-03-29 11:48 | 27.3387 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.7284 | μmol/L | 29.6754 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.056 | 105892.2457 | 217691.2801 | 27.3 | 43.4
56462 | 2021-03-29 11:49 | 27.6726 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.9755 | μmol/L | 29.6754 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.042 | 105855.0536 | 217704.9852 | 27.3 | 43.4
56472 | 2021-03-29 11:49 | 28.0057 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.9622 | μmol/L | 29.6631 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.047 | 105883.0812 | 217674.0947 | 27.3 | 43.4
56482 | 2021-03-29 11:49 | 28.3387 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.96 | μmol/L | 29.6693 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.045 | 105844.3982 | 217666.6204 | 27.3 | 43.4
56492 | 2021-03-29 11:50 | 28.6726 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.9556 | μmol/L | 29.6815 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.041 | 105845.1954 | 217657.608 | 27.3 | 43.4
56502 | 2021-03-29 11:50 | 29.0054 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.6999 | μmol/L | 29.706 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.047 | 105849.2082 | 217667.773 | 27.3 | 43.4
56512 | 2021-03-29 11:50 | 29.3393 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.6933 | μmol/L | 29.7244 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.041 | 105843.5885 | 217655.1212 | 27.3 | 43.4
56522 | 2021-03-29 11:51 | 29.6723 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.8146 | μmol/L | 29.7306 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.032 | 105791.8893 | 217647.0712 | 27.3 | 43.4
56532 | 2021-03-29 11:51 | 30.0053 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.6691 | μmol/L | 29.7428 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.036 | 105791.2649 | 217640.8444 | 27.3 | 43.4
56542 | 2021-03-29 11:51 | 30.3391 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.3651 | μmol/L | 29.7551 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.049 | 105832.622 | 217632.0019 | 27.3 | 43.4
56552 | 2021-03-29 11:52 | 30.6724 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.4289 | μmol/L | 29.7735 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.039 | 105798.0204 | 217624.1952 | 27.3 | 43.4
56562 | 2021-03-29 11:52 | 31.0054 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.1275 | μmol/L | 29.7796 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.054 | 105853.1157 | 217622.482 | 27.3 | 43.4
56572 | 2021-03-29 11:52 | 31.3391 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 199.9428 | μmol/L | 29.8041 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.056 | 105889.1461 | 217626.0602 | 27.3 | 43.4
56582 | 2021-03-29 11:53 | 31.6723 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 199.923 | μmol/L | 29.8102 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.055 | 105899.4256 | 217613.5554 | 27.3 | 43.4
56592 | 2021-03-29 11:53 | 32.0054 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 199.7453 | μmol/L | 29.8164 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.063 | 105895.6939 | 217599.9691 | 27.3 | 43.4
56602 | 2021-03-29 11:53 | 32.3391 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 199.6661 | μmol/L | 29.8409 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.059 | 105878.8227 | 217609.3611 | 27.3 | 43.4
56612 | 2021-03-29 11:54 | 32.6723 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 199.5937 | μmol/L | 29.847 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.061 | 105920.0364 | 217599.4635 | 27.3 | 43.4
56622 | 2021-03-29 11:54 | 33.006 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 199.5258 | μmol/L | 29.8409 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.067 | 105920.9666 | 217585.6513 | 27.3 | 43.4
56632 | 2021-03-29 11:54 | 33.339 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 199.2632 | μmol/L | 29.8409 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.082 | 105967.5088 | 217574.883 | 27.3 | 43.4
56642 | 2021-03-29 11:55 | 33.6723 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 199.0245 | μmol/L | 29.8715 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.085 | 105975.4763 | 217577.4915 | 27.3 | 43.4
56652 | 2021-03-29 11:55 | 34.0061 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 198.9827 | μmol/L | 29.8899 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.081 | 105968.5251 | 217577.4448 | 27.3 | 43.4
56662 | 2021-03-29 11:55 | 34.3391 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 199.0397 | μmol/L | 29.8777 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.082 | 105982.0677 | 217565.654 | 27.3 | 43.4
56672 | 2021-03-29 11:56 | 34.672 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 198.9896 | μmol/L | 29.8715 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.087 | 105996.1615 | 217560.31 | 27.3 | 43.4
56682 | 2021-03-29 11:56 | 35.006 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 198.6466 | μmol/L | 29.9022 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.096 | 106028.3769 | 217549.325 | 27.3 | 43.4
56692 | 2021-03-29 11:56 | 35.3389 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 198.5896 | μmol/L | 29.9145 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.095 | 106025.9176 | 217553.4442 | 27.3 | 43.4
56702 | 2021-03-29 11:57 | 35.6726 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 198.4131 | μmol/L | 29.9206 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.103 | 106050.0485 | 217547.7433 | 27.3 | 43.4
56712 | 2021-03-29 11:57 | 36.0059 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 198.463 | μmol/L | 29.9267 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.098 | 106047.3808 | 217540.1891 | 27.3 | 43.4
56722 | 2021-03-29 11:57 | 36.3387 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 198.3911 | μmol/L | 29.9328 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.1 | 106043.2589 | 217522.4733 | 27.3 | 43.4
56732 | 2021-03-29 11:58 | 36.6726 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 198.1927 | μmol/L | 29.9512 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.105 | 106056.8446 | 217516.3577 | 27.3 | 43.4
56742 | 2021-03-29 11:58 | 37.0056 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 198.1382 | μmol/L | 29.9574 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.106 | 106073.154 | 217519.8317 | 27.3 | 43.4
56752 | 2021-03-29 11:58 | 37.3387 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 198.0513 | μmol/L | 29.9574 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.111 | 106066.1474 | 217501.5061 | 27.3 | 43.4
56762 | 2021-03-29 11:59 | 37.6726 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 198.0292 | μmol/L | 29.9696 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.108 | 106068.7983 | 217512.0625 | 27.3 | 43.4
56772 | 2021-03-29 11:59 | 38.0056 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 198.0038 | μmol/L | 29.9451 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.118 | 106116.0615 | 217500.948 | 27.3 | 43.4
56782 | 2021-03-29 11:59 | 38.3393 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 197.9391 | μmol/L | 29.9328 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.126 | 106139.2356 | 217492.9531 | 27.3 | 43.4
56792 | 2021-03-29 12:00 | 38.6723 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 197.7191 | μmol/L | 29.9635 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.128 | 106140.5366 | 217494.3201 | 27.3 | 43.4
56802 | 2021-03-29 12:00 | 39.0062 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 197.7121 | μmol/L | 29.9819 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.122 | 106129.0805 | 217488.7301 | 27.3 | 43.4
56812 | 2021-03-29 12:00 | 39.3393 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 197.6301 | μmol/L | 29.9696 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.131 | 106156.2411 | 217471.3583 | 27.3 | 43.4
56822 | 2021-03-29 12:01 | 39.6722 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 197.4671 | μmol/L | 29.988 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.134 | 106192.7226 | 217468.4584 | 27.3 | 43.4
56832 | 2021-03-29 12:01 | 40.0059 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 197.3287 | μmol/L | 29.988 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.142 | 106212.5936 | 217479.4851 | 27.3 | 43.4
56842 | 2021-03-29 12:01 | 40.3389 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 197.4176 | μmol/L | 29.9819 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.139 | 106209.1348 | 217466.1107 | 27.3 | 43.4
56852 | 2021-03-29 12:02 | 40.6727 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 197.3161 | μmol/L | 29.9758 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.147 | 106233.0574 | 217458.3846 | 27.3 | 43.4
56862 | 2021-03-29 12:02 | 41.0056 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 197.0003 | μmol/L | 29.988 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.161 | 106271.0155 | 217454.6553 | 27.3 | 43.4
56872 | 2021-03-29 12:02 | 41.3395 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 196.9807 | μmol/L | 29.9941 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.16 | 106261.8923 | 217453.331 | 27.3 | 43.4
56882 | 2021-03-29 12:03 | 41.6727 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 196.8724 | μmol/L | 30.0064 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.162 | 106272.0098 | 217439.3838 | 27.3 | 43.4
56892 | 2021-03-29 12:03 | 42.0057 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 196.9807 | μmol/L | 29.9941 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.16 | 106282.1961 | 217442.364 | 27.3 | 43.4
56902 | 2021-03-29 12:03 | 42.3387 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 196.754 | μmol/L | 30.0003 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.171 | 106305.1374 | 217435.9613 | 27.3 | 43.4
56912 | 2021-03-29 12:04 | 42.6726 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 196.6975 | μmol/L | 30.0125 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.17 | 106311.4421 | 217421.7824 | 27.3 | 43.4
56922 | 2021-03-29 12:04 | 43.0057 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 196.6358 | μmol/L | 29.9941 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.18 | 106365.9334 | 217430.3802 | 27.3 | 43.4
56932 | 2021-03-29 12:04 | 43.3393 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 196.6751 | μmol/L | 29.9819 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.182 | 106371.6615 | 217419.0267 | 27.3 | 43.4
56942 | 2021-03-29 12:05 | 43.6723 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 196.5646 | μmol/L | 30.0003 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.182 | 106368.5876 | 217419.1813 | 27.3 | 43.4
56952 | 2021-03-29 12:05 | 44.0061 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 196.3409 | μmol/L | 30.0003 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.195 | 106397.1777 | 217414.8171 | 27.3 | 43.4
56962 | 2021-03-29 12:05 | 44.339 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 196.557 | μmol/L | 29.9758 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.191 | 106394.1083 | 217413.4621 | 27.3 | 43.4
56972 | 2021-03-29 12:06 | 44.672 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 196.3973 | μmol/L | 29.988 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.196 | 106414.3589 | 217419.4009 | 27.3 | 43.4
56982 | 2021-03-29 12:06 | 45.0059 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 196.2206 | μmol/L | 30.0003 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.202 | 106440.8816 | 217408.6349 | 27.3 | 43.4
56992 | 2021-03-29 12:06 | 45.3395 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 196.5173 | μmol/L | 29.9451 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.204 | 106441.4252 | 217403.5032 | 27.3 | 43.4
57002 | 2021-03-29 12:07 | 45.6725 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 196.1764 | μmol/L | 29.9819 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.211 | 106468.8524 | 217395.9288 | 27.3 | 43.4
57012 | 2021-03-29 12:07 | 46.0055 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 196.093 | μmol/L | 29.9758 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.218 | 106500.6167 | 217391.3454 | 27.3 | 43.4
57022 | 2021-03-29 12:07 | 46.3394 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 196.1592 | μmol/L | 29.9819 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.212 | 106487.5263 | 217389.0963 | 27.3 | 43.4
57032 | 2021-03-29 12:08 | 46.6723 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.9338 | μmol/L | 29.988 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.223 | 106506.3539 | 217387.8507 | 27.3 | 43.4
57042 | 2021-03-29 12:08 | 47.0054 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.8481 | μmol/L | 29.988 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.228 | 106538.0905 | 217383.7642 | 27.3 | 43.4
57052 | 2021-03-29 12:08 | 47.3391 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.8749 | μmol/L | 29.9635 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.235 | 106580.4938 | 217373.2287 | 27.3 | 43.4
57062 | 2021-03-29 12:09 | 47.6721 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.804 | μmol/L | 29.9696 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.237 | 106593.2051 | 217378.3162 | 27.3 | 43.4
57072 | 2021-03-29 12:09 | 48.006 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.7012 | μmol/L | 29.9696 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.243 | 106633.8064 | 217365.3947 | 27.3 | 43.4
57082 | 2021-03-29 12:09 | 48.339 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.8235 | μmol/L | 29.9635 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.238 | 106601.9498 | 217366.6209 | 27.3 | 43.4
57092 | 2021-03-29 12:10 | 48.6722 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.6181 | μmol/L | 29.9635 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.25 | 106646.0886 | 217360.3728 | 27.3 | 43.4
57102 | 2021-03-29 12:10 | 49.0053 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.5644 | μmol/L | 29.9696 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.251 | 106658.8814 | 217359.9298 | 27.3 | 43.4
57112 | 2021-03-29 12:10 | 49.3393 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.4936 | μmol/L | 29.9758 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.253 | 106661.6598 | 217341.3071 | 27.3 | 43.4
57122 | 2021-03-29 12:11 | 49.6721 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.4765 | μmol/L | 29.9758 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.254 | 106682.7219 | 217342.4518 | 27.3 | 43.4
57132 | 2021-03-29 12:11 | 50.0058 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.4814 | μmol/L | 29.9635 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.258 | 106686.1499 | 217342.7899 | 27.3 | 43.4
57142 | 2021-03-29 12:11 | 50.339 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.3081 | μmol/L | 29.9696 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.266 | 106700.6143 | 217337.0147 | 27.3 | 43.4
57152 | 2021-03-29 12:12 | 50.6721 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.3569 | μmol/L | 29.9758 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.261 | 106710.031 | 217330.3075 | 27.3 | 43.4
57162 | 2021-03-29 12:12 | 51.0058 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.0254 | μmol/L | 29.9941 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.274 | 106737.7443 | 217330.6563 | 27.3 | 43.4
57172 | 2021-03-29 12:12 | 51.3389 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 194.9572 | μmol/L | 29.9941 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.278 | 106759.9951 | 217333.6478 | 27.3 | 43.4
57182 | 2021-03-29 12:13 | 51.6727 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.1496 | μmol/L | 29.9819 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.271 | 106733.7199 | 217306.4704 | 27.3 | 43.4
57192 | 2021-03-29 12:13 | 52.0055 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.1984 | μmol/L | 29.988 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.266 | 106725.6606 | 217323.4863 | 27.3 | 43.4
57202 | 2021-03-29 12:13 | 52.3394 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 194.9232 | μmol/L | 29.9941 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.28 | 106763.8642 | 217310.8103 | 27.3 | 43.4
57212 | 2021-03-29 12:14 | 52.6725 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 194.7675 | μmol/L | 30.0003 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.287 | 106821.9001 | 217316.2583 | 27.3 | 43.4