## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-29 12:16

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
55633 | 2021-03-29 11:21 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.4986 | μmol/L | 29.0569 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.726 | 108402.027 | 301264.6117 | 28.7 | 67.6
55643 | 2021-03-29 11:22 | 0.3306 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.4955 | μmol/L | 29.0325 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.734 | 108456.5746 | 301263.1499 | 28.7 | 67.6
55653 | 2021-03-29 11:22 | 0.66382 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.5982 | μmol/L | 29.002 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.738 | 108473.9697 | 301251.008 | 28.7 | 67.6
55663 | 2021-03-29 11:22 | 0.99692 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.5021 | μmol/L | 28.9959 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.746 | 108481.2459 | 301240.2903 | 28.7 | 67.6
55673 | 2021-03-29 11:23 | 1.3301 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.2679 | μmol/L | 29.0386 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.746 | 108479.7095 | 301222.1454 | 28.7 | 67.6
55683 | 2021-03-29 11:23 | 1.6634 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.6188 | μmol/L | 28.9776 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.745 | 108448.3615 | 301208.9197 | 28.7 | 67.6
55693 | 2021-03-29 11:23 | 1.9967 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.5043 | μmol/L | 28.9837 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.75 | 108459.1328 | 301197.5428 | 28.7 | 67.6
55703 | 2021-03-29 11:24 | 2.3303 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.0037 | μmol/L | 29.0691 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.752 | 108447.7376 | 301177.4746 | 28.7 | 67.6
55713 | 2021-03-29 11:24 | 2.6633 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.2885 | μmol/L | 29.0142 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.753 | 108434.9481 | 301168.699 | 28.7 | 67.6
55723 | 2021-03-29 11:24 | 2.9971 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.2238 | μmol/L | 29.0142 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.757 | 108459.826 | 301141.726 | 28.7 | 67.6
55733 | 2021-03-29 11:25 | 3.33 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.7249 | μmol/L | 29.0935 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.761 | 108455.9001 | 301140.4008 | 28.7 | 67.6
55743 | 2021-03-29 11:25 | 3.6639 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.03 | μmol/L | 29.0142 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.769 | 108493.0288 | 301116.46 | 28.7 | 67.6
55753 | 2021-03-29 11:25 | 3.9967 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.0322 | μmol/L | 29.002 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.773 | 108470.2346 | 301083.5372 | 28.7 | 67.6
55763 | 2021-03-29 11:26 | 4.3299 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.8514 | μmol/L | 29.0203 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.778 | 108506.457 | 301079.9827 | 28.7 | 67.6
55773 | 2021-03-29 11:26 | 4.6636 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.5719 | μmol/L | 29.0508 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.785 | 108521.6857 | 301074.1699 | 28.7 | 67.6
55783 | 2021-03-29 11:26 | 4.9966 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.4064 | μmol/L | 29.0752 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.787 | 108546.8327 | 301062.8594 | 28.7 | 67.6
55793 | 2021-03-29 11:27 | 5.3305 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.3926 | μmol/L | 29.063 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.792 | 108549.5117 | 301026.894 | 28.7 | 67.6
55803 | 2021-03-29 11:27 | 5.6634 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.9349 | μmol/L | 29.1057 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.806 | 108568.5614 | 301022.2017 | 28.7 | 67.6
55813 | 2021-03-29 11:27 | 5.9972 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.1 | μmol/L | 29.0813 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.804 | 108585.8376 | 301013.1808 | 28.7 | 67.6
55823 | 2021-03-29 11:28 | 6.3303 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.0347 | μmol/L | 29.0874 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.806 | 108605.8335 | 300974.9463 | 28.7 | 67.6
55833 | 2021-03-29 11:28 | 6.6634 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.9728 | μmol/L | 29.0752 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.814 | 108603.4595 | 300976.9444 | 28.7 | 67.6
55843 | 2021-03-29 11:28 | 6.9971 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.9912 | μmol/L | 29.063 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.817 | 108612.6418 | 300954.4814 | 28.7 | 67.6
55853 | 2021-03-29 11:29 | 7.3299 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.8915 | μmol/L | 29.0813 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.817 | 108610.8174 | 300931.4846 | 28.7 | 67.6
55863 | 2021-03-29 11:29 | 7.6638 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.1414 | μmol/L | 29.0325 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.818 | 108604.317 | 300907.4264 | 28.7 | 67.6
55873 | 2021-03-29 11:29 | 7.9968 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.0096 | μmol/L | 29.0508 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.82 | 108617.5203 | 300912.1686 | 28.7 | 67.6
55883 | 2021-03-29 11:30 | 8.33 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.076 | μmol/L | 29.0386 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.82 | 108627.5517 | 300899.9097 | 28.7 | 67.6
55893 | 2021-03-29 11:30 | 8.6638 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.697 | μmol/L | 29.0935 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.825 | 108623.9399 | 300880.5237 | 28.7 | 67.6
55903 | 2021-03-29 11:30 | 8.997 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.6661 | μmol/L | 29.0874 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.829 | 108649.8516 | 300859.0608 | 28.7 | 67.6
55913 | 2021-03-29 11:31 | 9.3299 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.7017 | μmol/L | 29.0691 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.833 | 108642.5053 | 300828.9691 | 28.7 | 67.6
55923 | 2021-03-29 11:31 | 9.6639 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.3971 | μmol/L | 29.1118 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.838 | 108656.2668 | 300821.2597 | 28.7 | 67.6
55933 | 2021-03-29 11:31 | 9.9966 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.4006 | μmol/L | 29.0935 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.844 | 108675.231 | 300802.5592 | 28.7 | 67.6
55943 | 2021-03-29 11:32 | 10.3306 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.2534 | μmol/L | 29.1118 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.847 | 108709.421 | 300782.3382 | 28.7 | 67.6
55953 | 2021-03-29 11:32 | 10.6638 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.948 | μmol/L | 29.124 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.862 | 108752.0456 | 300762.0971 | 28.7 | 67.6
55963 | 2021-03-29 11:32 | 10.9966 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.8843 | μmol/L | 29.124 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.866 | 108750.8583 | 300756.9784 | 28.7 | 67.6
55973 | 2021-03-29 11:33 | 11.3304 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.85 | μmol/L | 29.1362 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.864 | 108777.0825 | 300739.121 | 28.7 | 67.6
55983 | 2021-03-29 11:33 | 11.6633 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.9051 | μmol/L | 29.0996 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.873 | 108802.0246 | 300738.1326 | 28.7 | 67.6
55993 | 2021-03-29 11:33 | 11.9971 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.73 | μmol/L | 29.0996 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.884 | 108830.5512 | 300718.7164 | 28.7 | 67.6
56003 | 2021-03-29 11:34 | 12.3302 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.8033 | μmol/L | 29.0935 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.881 | 108829.9823 | 300687.6167 | 28.7 | 67.6
56013 | 2021-03-29 11:34 | 12.6639 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.6235 | μmol/L | 29.1179 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.884 | 108841.1577 | 300688.7317 | 28.7 | 67.6
56023 | 2021-03-29 11:34 | 12.9971 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.2485 | μmol/L | 29.1667 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.891 | 108860.9167 | 300673.3661 | 28.7 | 67.6
56033 | 2021-03-29 11:35 | 13.33 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.334 | μmol/L | 29.1362 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.896 | 108871.1903 | 300658.9848 | 28.7 | 67.6
56043 | 2021-03-29 11:35 | 13.6634 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.1901 | μmol/L | 29.1423 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.903 | 108914.4272 | 300643.6146 | 28.7 | 67.6
56053 | 2021-03-29 11:35 | 13.9971 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.0938 | μmol/L | 29.1484 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.907 | 108933.7639 | 300638.8954 | 28.7 | 67.6
56063 | 2021-03-29 11:36 | 14.3302 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 180.9013 | μmol/L | 29.1606 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.915 | 108964.8333 | 300626.4761 | 28.7 | 67.6
56073 | 2021-03-29 11:36 | 14.664 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 180.7078 | μmol/L | 29.1789 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.921 | 108991.8382 | 300593.6899 | 28.7 | 67.6
56083 | 2021-03-29 11:36 | 14.9969 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 180.5718 | μmol/L | 29.185 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.928 | 109003.8803 | 300592.3967 | 28.7 | 67.6
56093 | 2021-03-29 11:37 | 15.3307 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 180.2426 | μmol/L | 29.2155 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.938 | 109059.1409 | 300568.1857 | 28.7 | 67.6
56103 | 2021-03-29 11:37 | 15.6637 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 180.3655 | μmol/L | 29.1911 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.939 | 109076.6633 | 300548.3114 | 28.7 | 67.6
56113 | 2021-03-29 11:37 | 15.9965 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 180.3239 | μmol/L | 29.2033 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.937 | 109077.3575 | 300530.4124 | 28.7 | 67.6
56123 | 2021-03-29 11:38 | 16.3304 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 180.1455 | μmol/L | 29.2277 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.94 | 109088.4024 | 300532.5922 | 28.7 | 67.6
56133 | 2021-03-29 11:38 | 16.6633 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.954 | μmol/L | 29.2399 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.948 | 109105.4685 | 300502.6865 | 28.7 | 67.6
56143 | 2021-03-29 11:38 | 16.9971 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.9069 | μmol/L | 29.2399 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.951 | 109127.4429 | 300485.5659 | 28.7 | 67.6
56153 | 2021-03-29 11:39 | 17.3303 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.7916 | μmol/L | 29.2643 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.95 | 109125.6337 | 300481.3639 | 28.7 | 67.6
56163 | 2021-03-29 11:39 | 17.6633 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.9907 | μmol/L | 29.2155 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.954 | 109147.3446 | 300463.87 | 28.7 | 67.6
56173 | 2021-03-29 11:39 | 17.9973 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.7995 | μmol/L | 29.2277 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.962 | 109165.4597 | 300449.5254 | 28.7 | 67.6
56183 | 2021-03-29 11:40 | 18.3306 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.7052 | μmol/L | 29.2277 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.968 | 109180.5469 | 300427.2309 | 28.7 | 67.6
56193 | 2021-03-29 11:40 | 18.6635 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.6058 | μmol/L | 29.2521 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.966 | 109202.5475 | 300412.0215 | 28.7 | 67.6
56203 | 2021-03-29 11:40 | 18.9973 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.4947 | μmol/L | 29.2582 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.971 | 109217.4417 | 300401.7909 | 28.7 | 67.6
56213 | 2021-03-29 11:41 | 19.3303 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.2714 | μmol/L | 29.2766 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.979 | 109235.5565 | 300387.8561 | 28.7 | 67.6
56223 | 2021-03-29 11:41 | 19.6636 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.9335 | μmol/L | 29.3193 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.986 | 109281.3734 | 300383.1268 | 28.7 | 67.6
56233 | 2021-03-29 11:41 | 19.9967 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.7915 | μmol/L | 29.3254 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.993 | 109313.6532 | 300371.4923 | 28.7 | 67.6
56243 | 2021-03-29 11:42 | 20.3305 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.7278 | μmol/L | 29.3315 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.995 | 109352.6863 | 300350.3558 | 28.7 | 67.6
56253 | 2021-03-29 11:42 | 20.6634 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.5718 | μmol/L | 29.3315 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.005 | 109375.5288 | 300347.855 | 28.7 | 67.6
56263 | 2021-03-29 11:42 | 20.9965 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.7502 | μmol/L | 29.301 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.004 | 109384.2911 | 300334.0961 | 28.7 | 67.6
56273 | 2021-03-29 11:43 | 21.3304 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.5209 | μmol/L | 29.3498 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.002 | 109388.775 | 300316.0806 | 28.7 | 67.6
56283 | 2021-03-29 11:43 | 21.6634 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.269 | μmol/L | 29.362 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.014 | 109407.9822 | 300284.8787 | 28.7 | 67.6
56293 | 2021-03-29 11:43 | 21.9972 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.2521 | μmol/L | 29.3681 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.013 | 109430.4096 | 300306.0602 | 28.7 | 67.6
56303 | 2021-03-29 11:44 | 22.3303 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.074 | μmol/L | 29.3986 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.014 | 109436.7839 | 300273.0095 | 28.7 | 67.6
56313 | 2021-03-29 11:44 | 22.6633 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.156 | μmol/L | 29.3803 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.015 | 109456.7186 | 300265.9825 | 28.7 | 67.6
56323 | 2021-03-29 11:44 | 22.9971 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.0938 | μmol/L | 29.3803 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.019 | 109460.2245 | 300234.494 | 28.7 | 67.6
56333 | 2021-03-29 11:45 | 23.33 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.9512 | μmol/L | 29.3925 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.024 | 109488.1435 | 300238.2601 | 28.7 | 67.6
56343 | 2021-03-29 11:45 | 23.6632 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.8538 | μmol/L | 29.4108 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.024 | 109499.448 | 300218.1746 | 28.7 | 67.6
56353 | 2021-03-29 11:45 | 23.9971 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.631 | μmol/L | 29.4352 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.03 | 109523.7455 | 300207.7758 | 28.7 | 67.6
56363 | 2021-03-29 11:46 | 24.3301 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.4563 | μmol/L | 29.4535 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.035 | 109551.5828 | 300204.1412 | 28.7 | 67.6
56373 | 2021-03-29 11:46 | 24.6633 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.3128 | μmol/L | 29.4718 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.038 | 109564.0814 | 300183.2586 | 28.7 | 67.6
56383 | 2021-03-29 11:46 | 24.9973 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.2016 | μmol/L | 29.484 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.041 | 109589.0993 | 300175.64 | 28.7 | 67.6
56393 | 2021-03-29 11:47 | 25.3305 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.0428 | μmol/L | 29.5023 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.045 | 109609.2559 | 300158.6477 | 28.7 | 67.6
56403 | 2021-03-29 11:47 | 25.6634 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.1582 | μmol/L | 29.4718 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.048 | 109631.1973 | 300150.9166 | 28.7 | 67.6
56413 | 2021-03-29 11:47 | 25.9971 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.0302 | μmol/L | 29.4901 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.05 | 109640.4555 | 300131.4569 | 28.7 | 67.6
56423 | 2021-03-29 11:48 | 26.3302 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.8084 | μmol/L | 29.5145 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.056 | 109672.7955 | 300114.8481 | 28.7 | 67.6
56433 | 2021-03-29 11:48 | 26.664 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.7313 | μmol/L | 29.5145 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.061 | 109701.0498 | 300104.2928 | 28.7 | 67.6
56443 | 2021-03-29 11:48 | 26.997 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.4746 | μmol/L | 29.5572 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.063 | 109720.273 | 300087.45 | 28.7 | 67.6
56453 | 2021-03-29 11:49 | 27.33 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.3947 | μmol/L | 29.5694 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.064 | 109739.7616 | 300083.5409 | 28.7 | 67.6
56463 | 2021-03-29 11:49 | 27.664 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.1934 | μmol/L | 29.5756 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.075 | 109774.2109 | 300074.9276 | 28.7 | 67.6
56473 | 2021-03-29 11:49 | 27.9968 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.3178 | μmol/L | 29.5694 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.069 | 109783.9466 | 300052.7872 | 28.7 | 67.6
56483 | 2021-03-29 11:50 | 28.33 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.1642 | μmol/L | 29.5694 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.079 | 109822.3697 | 300051.5052 | 28.7 | 67.6
56493 | 2021-03-29 11:50 | 28.6637 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 175.925 | μmol/L | 29.6061 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.082 | 109855.3401 | 300035.9936 | 28.7 | 67.6
56503 | 2021-03-29 11:50 | 28.9967 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 175.8162 | μmol/L | 29.6122 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.087 | 109888.3726 | 300029.059 | 28.7 | 67.6
56513 | 2021-03-29 11:51 | 29.3299 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 175.6431 | μmol/L | 29.6305 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.092 | 109921.2306 | 300026.0278 | 28.7 | 67.6
56523 | 2021-03-29 11:51 | 29.6636 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 175.7763 | μmol/L | 29.5878 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.098 | 109940.39 | 300007.064 | 28.7 | 67.6
56533 | 2021-03-29 11:51 | 29.9966 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 175.4596 | μmol/L | 29.6305 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.104 | 109969.2474 | 299992.2494 | 28.7 | 67.6
56543 | 2021-03-29 11:52 | 30.3305 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 175.4611 | μmol/L | 29.6244 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.106 | 109991.5561 | 299985.2086 | 28.7 | 67.6
56553 | 2021-03-29 11:52 | 30.6635 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 175.1906 | μmol/L | 29.6671 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.109 | 110017.699 | 299973.5019 | 28.7 | 67.6
56563 | 2021-03-29 11:52 | 30.9973 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 175.0792 | μmol/L | 29.6854 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.11 | 110040.6673 | 299962.6985 | 28.7 | 67.6
56573 | 2021-03-29 11:53 | 31.3303 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 174.9068 | μmol/L | 29.7037 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.115 | 110061.9439 | 299944.3385 | 28.7 | 67.6
56583 | 2021-03-29 11:53 | 31.6634 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 174.8154 | μmol/L | 29.7037 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.121 | 110082.1272 | 299950.5531 | 28.7 | 67.6
56593 | 2021-03-29 11:53 | 31.9969 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 174.7194 | μmol/L | 29.722 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.121 | 110098.7903 | 299926.0995 | 28.7 | 67.6
56603 | 2021-03-29 11:54 | 32.3307 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 174.6753 | μmol/L | 29.7159 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.126 | 110138.9237 | 299924.2964 | 28.7 | 67.6
56613 | 2021-03-29 11:54 | 32.6632 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 174.5049 | μmol/L | 29.7281 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.133 | 110146.1072 | 299903.1134 | 28.7 | 67.6
56623 | 2021-03-29 11:54 | 32.9972 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 174.54 | μmol/L | 29.7098 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.137 | 110180.162 | 299900.3189 | 28.7 | 67.6
56633 | 2021-03-29 11:55 | 33.3301 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 174.2053 | μmol/L | 29.7708 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.138 | 110222.0449 | 299882.8968 | 28.7 | 67.6
56643 | 2021-03-29 11:55 | 33.664 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 174.1295 | μmol/L | 29.7708 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.143 | 110233.9949 | 299872.1274 | 28.7 | 67.6
56653 | 2021-03-29 11:55 | 33.997 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 174.0737 | μmol/L | 29.7525 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.153 | 110272.1534 | 299880.2645 | 28.7 | 67.6
56663 | 2021-03-29 11:56 | 34.3306 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.9796 | μmol/L | 29.7647 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.155 | 110280.9315 | 299846.6146 | 28.7 | 67.6
56673 | 2021-03-29 11:56 | 34.6639 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.946 | μmol/L | 29.7769 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.153 | 110283.7266 | 299856.762 | 28.7 | 67.6
56683 | 2021-03-29 11:56 | 34.9969 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.8704 | μmol/L | 29.7769 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.158 | 110292.2964 | 299833.3611 | 28.7 | 67.6
56693 | 2021-03-29 11:57 | 35.3307 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.7007 | μmol/L | 29.7891 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.165 | 110325.146 | 299838.706 | 28.7 | 67.6
56703 | 2021-03-29 11:57 | 35.6636 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.5901 | μmol/L | 29.8074 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.166 | 110346.8684 | 299825.1661 | 28.7 | 67.6
56713 | 2021-03-29 11:57 | 35.9968 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.4827 | μmol/L | 29.8136 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.171 | 110352.0989 | 299810.1476 | 28.7 | 67.6
56723 | 2021-03-29 11:58 | 36.3304 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.2499 | μmol/L | 29.838 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.178 | 110367.1541 | 299800.1161 | 28.7 | 67.6
56733 | 2021-03-29 11:58 | 36.6633 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.1294 | μmol/L | 29.838 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.186 | 110405.1719 | 299789.9976 | 28.7 | 67.6
56743 | 2021-03-29 11:58 | 36.9973 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.0491 | μmol/L | 29.8563 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.185 | 110425.8928 | 299778.489 | 28.7 | 67.6
56753 | 2021-03-29 11:59 | 37.3301 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.9788 | μmol/L | 29.838 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.196 | 110461.2245 | 299768.4916 | 28.7 | 67.6
56763 | 2021-03-29 11:59 | 37.6633 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.9621 | μmol/L | 29.8441 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.195 | 110458.9057 | 299773.6525 | 28.7 | 67.6
56773 | 2021-03-29 11:59 | 37.9973 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.8869 | μmol/L | 29.8441 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.2 | 110465.7584 | 299749.6581 | 28.7 | 67.6
56783 | 2021-03-29 12:00 | 38.33 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.8719 | μmol/L | 29.8441 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.201 | 110466.5854 | 299736.2074 | 28.7 | 67.6
56793 | 2021-03-29 12:00 | 38.6639 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.7484 | μmol/L | 29.8563 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.205 | 110498.9139 | 299728.4641 | 28.7 | 67.6
56803 | 2021-03-29 12:00 | 38.997 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.6883 | μmol/L | 29.8563 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.209 | 110516.7359 | 299714.3431 | 28.7 | 67.6
56813 | 2021-03-29 12:01 | 39.3301 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.6583 | μmol/L | 29.8563 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.211 | 110537.8473 | 299711.8958 | 28.7 | 67.6
56823 | 2021-03-29 12:01 | 39.664 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.4932 | μmol/L | 29.8563 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.222 | 110556.4503 | 299698.5672 | 28.7 | 67.6
56833 | 2021-03-29 12:01 | 39.9971 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.5449 | μmol/L | 29.8319 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.227 | 110576.9503 | 299690.1684 | 28.7 | 67.6
56843 | 2021-03-29 12:02 | 40.3303 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.3667 | μmol/L | 29.8258 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.241 | 110643.8861 | 299678.8024 | 28.7 | 67.6
56853 | 2021-03-29 12:02 | 40.6638 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.3701 | μmol/L | 29.8136 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.245 | 110668.7122 | 299689.5284 | 28.7 | 67.6
56863 | 2021-03-29 12:02 | 40.9969 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.9544 | μmol/L | 29.8563 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.258 | 110723.3918 | 299666.0073 | 28.7 | 67.6
56873 | 2021-03-29 12:03 | 41.3299 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.2087 | μmol/L | 29.8013 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.26 | 110752.5497 | 299667.8119 | 28.7 | 67.6
56883 | 2021-03-29 12:03 | 41.6636 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.6543 | μmol/L | 29.8624 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.276 | 110808.6404 | 299644.8958 | 28.7 | 67.6
56893 | 2021-03-29 12:03 | 41.9966 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.7024 | μmol/L | 29.8502 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.277 | 110814.1563 | 299629.6582 | 28.7 | 67.6
56903 | 2021-03-29 12:04 | 42.3303 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.6445 | μmol/L | 29.8441 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.283 | 110856.3191 | 299642.4382 | 28.7 | 67.6
56913 | 2021-03-29 12:04 | 42.6636 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.5883 | μmol/L | 29.8319 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.291 | 110892.6316 | 299617.7024 | 28.7 | 67.6
56923 | 2021-03-29 12:04 | 42.9966 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.5419 | μmol/L | 29.838 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.292 | 110876.1919 | 299611.9788 | 28.7 | 67.6
56933 | 2021-03-29 12:05 | 43.3303 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.5355 | μmol/L | 29.8074 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.303 | 110921.4535 | 299619.2149 | 28.7 | 67.6
56943 | 2021-03-29 12:05 | 43.6635 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.3004 | μmol/L | 29.8502 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.304 | 110933.3145 | 299604.2891 | 28.7 | 67.6
56953 | 2021-03-29 12:05 | 43.9971 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.5589 | μmol/L | 29.7769 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.312 | 110976.5284 | 299610.8195 | 28.7 | 67.6
56963 | 2021-03-29 12:06 | 44.3302 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.3238 | μmol/L | 29.8197 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.313 | 110963.2024 | 299578.282 | 28.7 | 67.6
56973 | 2021-03-29 12:06 | 44.6639 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.1404 | μmol/L | 29.838 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.319 | 110988.0423 | 299582.1855 | 28.7 | 67.6
56983 | 2021-03-29 12:06 | 44.9968 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.1736 | μmol/L | 29.8258 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.321 | 111000.1232 | 299581.2139 | 28.7 | 67.6
56993 | 2021-03-29 12:07 | 45.3305 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.1655 | μmol/L | 29.8013 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.33 | 111036.6988 | 299551.3911 | 28.7 | 67.6
57003 | 2021-03-29 12:07 | 45.6636 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.2169 | μmol/L | 29.7769 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.335 | 111080.4618 | 299559.3649 | 28.7 | 67.6
57013 | 2021-03-29 12:07 | 45.9968 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.7087 | μmol/L | 29.8441 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.346 | 111105.2328 | 299551.0627 | 28.7 | 67.6
57023 | 2021-03-29 12:08 | 46.3305 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.5391 | μmol/L | 29.8685 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.349 | 111109.7225 | 299541.469 | 28.7 | 67.6
57033 | 2021-03-29 12:08 | 46.6635 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.3234 | μmol/L | 29.899 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.353 | 111148.5234 | 299530.1001 | 28.7 | 67.6
57043 | 2021-03-29 12:08 | 46.9968 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.1133 | μmol/L | 29.9112 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.363 | 111193.105 | 299539.5586 | 28.7 | 67.6
57053 | 2021-03-29 12:09 | 47.3307 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.1976 | μmol/L | 29.8746 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.37 | 111220.0532 | 299520.9922 | 28.7 | 67.6
57063 | 2021-03-29 12:09 | 47.6636 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.4642 | μmol/L | 29.8197 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.371 | 111230.6697 | 299532.4859 | 28.7 | 67.6
57073 | 2021-03-29 12:09 | 47.9966 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.2158 | μmol/L | 29.8624 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.373 | 111241.87 | 299512.1637 | 28.7 | 67.6
57083 | 2021-03-29 12:10 | 48.3305 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.1526 | μmol/L | 29.8258 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.39 | 111324.2154 | 299512.4258 | 28.7 | 67.6
57093 | 2021-03-29 12:10 | 48.6633 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.235 | μmol/L | 29.7952 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.395 | 111349.811 | 299490.3001 | 28.7 | 67.6
57103 | 2021-03-29 12:10 | 48.9973 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.2072 | μmol/L | 29.7891 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.399 | 111368.7775 | 299494.3656 | 28.7 | 67.6
57113 | 2021-03-29 12:11 | 49.3304 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.8927 | μmol/L | 29.8074 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.414 | 111432.6116 | 299471.6415 | 28.7 | 67.6
57123 | 2021-03-29 12:11 | 49.6634 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.9091 | μmol/L | 29.8013 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.415 | 111442.9644 | 299460.7977 | 28.7 | 67.6
57133 | 2021-03-29 12:11 | 49.9973 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.6557 | μmol/L | 29.8136 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.428 | 111491.3181 | 299459.5795 | 28.7 | 67.6
57143 | 2021-03-29 12:12 | 50.3303 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.2238 | μmol/L | 29.8868 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.432 | 111528.004 | 299460.8445 | 28.7 | 67.6
57153 | 2021-03-29 12:12 | 50.6632 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.3663 | μmol/L | 29.8502 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.435 | 111542.5938 | 299442.5722 | 28.7 | 67.6
57163 | 2021-03-29 12:12 | 50.997 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.5547 | μmol/L | 29.8074 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.437 | 111563.3662 | 299447.2954 | 28.7 | 67.6
57173 | 2021-03-29 12:13 | 51.3302 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.269 | μmol/L | 29.8319 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.448 | 111614.4972 | 299451.7555 | 28.7 | 67.6
57183 | 2021-03-29 12:13 | 51.6639 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.9293 | μmol/L | 29.8929 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.45 | 111610.917 | 299432.0642 | 28.7 | 67.6
57193 | 2021-03-29 12:13 | 51.9968 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.0131 | μmol/L | 29.8563 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.457 | 111645.5945 | 299429.7114 | 28.7 | 67.6
57203 | 2021-03-29 12:14 | 52.3307 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.6827 | μmol/L | 29.8868 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.469 | 111697.7777 | 299422.8178 | 28.7 | 67.6
57213 | 2021-03-29 12:14 | 52.6633 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.7101 | μmol/L | 29.8929 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.465 | 111685.7502 | 299420.9911 | 28.7 | 67.6