## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-29 12:16

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
55634 | 2021-03-29 11:21 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 201.2394 | μmol/L | 29.1539 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.343 | 146816.2272 | 276185.1107 | 36.4 | 83.1
55644 | 2021-03-29 11:22 | 0.33401 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 201.4796 | μmol/L | 29.1232 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.34 | 146713.3811 | 276170.8094 | 36.4 | 83.1
55654 | 2021-03-29 11:22 | 0.66743 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 201.577 | μmol/L | 29.0986 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.343 | 146761.2426 | 276160.8365 | 36.4 | 83.1
55664 | 2021-03-29 11:22 | 1.0006 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 201.1867 | μmol/L | 29.1539 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.346 | 146750.5638 | 276144.8142 | 36.4 | 83.1
55674 | 2021-03-29 11:23 | 1.3343 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 201.8247 | μmol/L | 29.0495 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.346 | 146746.1586 | 276116.575 | 36.4 | 83.1
55684 | 2021-03-29 11:23 | 1.6672 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 201.5642 | μmol/L | 29.0863 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.348 | 146787.5622 | 276097.2825 | 36.4 | 83.1
55694 | 2021-03-29 11:23 | 2.0012 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 201.399 | μmol/L | 29.1048 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.351 | 146708.1966 | 276088.3481 | 36.4 | 83.1
55704 | 2021-03-29 11:24 | 2.3341 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 201.3439 | μmol/L | 29.1109 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.352 | 146598.84 | 276069.8763 | 36.4 | 83.1
55714 | 2021-03-29 11:24 | 2.6679 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 200.9215 | μmol/L | 29.1601 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.359 | 146564.7037 | 276043.0492 | 36.4 | 83.1
55724 | 2021-03-29 11:24 | 3.0009 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 201.6313 | μmol/L | 29.0495 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.357 | 146499.2168 | 276030.6012 | 36.4 | 83.1
55734 | 2021-03-29 11:25 | 3.3345 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 201.561 | μmol/L | 29.0495 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.361 | 146522.6123 | 276003.8862 | 36.4 | 83.1
55744 | 2021-03-29 11:25 | 3.6674 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 201.4333 | μmol/L | 29.0618 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.364 | 146460.9602 | 275994.2529 | 36.4 | 83.1
55754 | 2021-03-29 11:25 | 4.0013 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 200.8364 | μmol/L | 29.1539 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.366 | 146461.4684 | 275983.2385 | 36.4 | 83.1
55764 | 2021-03-29 11:26 | 4.3344 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 200.744 | μmol/L | 29.1662 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.367 | 146455.5499 | 275969.6517 | 36.4 | 83.1
55774 | 2021-03-29 11:26 | 4.6673 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 201.3057 | μmol/L | 29.074 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.367 | 146482.5187 | 275928.3842 | 36.4 | 83.1
55784 | 2021-03-29 11:26 | 5.001 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 201.1081 | μmol/L | 29.0863 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.374 | 146483.7715 | 275926.8701 | 36.4 | 83.1
55794 | 2021-03-29 11:27 | 5.3339 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 200.901 | μmol/L | 29.1232 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.373 | 146470.7551 | 275911.7726 | 36.4 | 83.1
55804 | 2021-03-29 11:27 | 5.6678 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 200.8509 | μmol/L | 29.1171 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.378 | 146474.0467 | 275897.6688 | 36.4 | 83.1
55814 | 2021-03-29 11:27 | 6.0009 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 200.9529 | μmol/L | 29.0802 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.385 | 146459.4553 | 275881.4619 | 36.4 | 83.1
55824 | 2021-03-29 11:28 | 6.3346 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 201.0054 | μmol/L | 29.0802 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.382 | 146420.0789 | 275866.6879 | 36.4 | 83.1
55834 | 2021-03-29 11:28 | 6.6677 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 200.7659 | μmol/L | 29.1109 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.385 | 146448.5097 | 275846.8162 | 36.4 | 83.1
55844 | 2021-03-29 11:28 | 7.0007 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 200.8081 | μmol/L | 29.0925 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.389 | 146559.0786 | 275848.6331 | 36.4 | 83.1
55854 | 2021-03-29 11:29 | 7.3344 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 200.6086 | μmol/L | 29.1109 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.394 | 146560.5739 | 275830.3217 | 36.4 | 83.1
55864 | 2021-03-29 11:29 | 7.6674 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 200.4417 | μmol/L | 29.1355 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.395 | 146536.6615 | 275814.6665 | 36.4 | 83.1
55874 | 2021-03-29 11:29 | 8.0012 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 200.3122 | μmol/L | 29.1539 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.396 | 146510.4842 | 275797.5388 | 36.4 | 83.1
55884 | 2021-03-29 11:30 | 8.3345 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 200.2425 | μmol/L | 29.1539 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.4 | 146533.7174 | 275795.8851 | 36.4 | 83.1
55894 | 2021-03-29 11:30 | 8.6675 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 200.2226 | μmol/L | 29.1601 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.399 | 146542.5504 | 275778.0215 | 36.4 | 83.1
55904 | 2021-03-29 11:30 | 9.0006 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 200.215 | μmol/L | 29.1355 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.408 | 146514.8441 | 275765.3654 | 36.4 | 83.1
55914 | 2021-03-29 11:31 | 9.3345 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 200.307 | μmol/L | 29.1232 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.407 | 146494.76 | 275739.1956 | 36.4 | 83.1
55924 | 2021-03-29 11:31 | 9.6678 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 200.0086 | μmol/L | 29.1723 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.407 | 146420.7478 | 275725.6184 | 36.4 | 83.1
55934 | 2021-03-29 11:31 | 10.0009 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.8993 | μmol/L | 29.1846 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.409 | 147702.1163 | 275700.8344 | 36.4 | 83.1
55944 | 2021-03-29 11:32 | 10.3344 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.9216 | μmol/L | 29.1723 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.412 | 147714.615 | 275710.0688 | 36.4 | 83.1
55954 | 2021-03-29 11:32 | 10.6675 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.852 | μmol/L | 29.1723 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.416 | 147614.5616 | 275679.9957 | 36.4 | 83.1
55964 | 2021-03-29 11:32 | 11.0008 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.9141 | μmol/L | 29.1478 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.421 | 147343.6998 | 275671.8742 | 36.4 | 83.1
55974 | 2021-03-29 11:33 | 11.3345 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.6335 | μmol/L | 29.1969 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.42 | 146982.0851 | 275655.6442 | 36.4 | 83.1
55984 | 2021-03-29 11:33 | 11.6675 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.8768 | μmol/L | 29.1539 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.421 | 147177.1275 | 275639.582 | 36.4 | 83.1
55994 | 2021-03-29 11:33 | 12.0008 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.5492 | μmol/L | 29.1908 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.427 | 146439.172 | 275637.7818 | 36.4 | 83.1
56004 | 2021-03-29 11:34 | 12.3346 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.6931 | μmol/L | 29.1785 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.423 | 146017.0182 | 275625.1149 | 36.4 | 83.1
56014 | 2021-03-29 11:34 | 12.6674 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.5889 | μmol/L | 29.1785 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.429 | 146851.8577 | 275616.4605 | 36.4 | 83.1
56024 | 2021-03-29 11:34 | 13.0006 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.4054 | μmol/L | 29.2031 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.431 | 146433.2109 | 275597.9341 | 36.4 | 83.1
56034 | 2021-03-29 11:35 | 13.3345 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.512 | μmol/L | 29.1969 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.427 | 146002.1054 | 275571.8478 | 36.4 | 83.1
56044 | 2021-03-29 11:35 | 13.6675 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.5864 | μmol/L | 29.1846 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.427 | 145929.2952 | 275575.0731 | 36.4 | 83.1
56054 | 2021-03-29 11:35 | 14.0007 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.3509 | μmol/L | 29.2092 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.432 | 145823.9091 | 275551.6098 | 36.4 | 83.1
56064 | 2021-03-29 11:36 | 14.3345 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.3509 | μmol/L | 29.2092 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.432 | 146675.6672 | 275546.3231 | 36.4 | 83.1
56074 | 2021-03-29 11:36 | 14.6675 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.3533 | μmol/L | 29.2031 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.434 | 146332.6792 | 275528.4094 | 36.4 | 83.1
56084 | 2021-03-29 11:36 | 15.0007 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.3137 | μmol/L | 29.2154 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.432 | 146111.5093 | 275514.5812 | 36.4 | 83.1
56094 | 2021-03-29 11:37 | 15.3339 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.227 | μmol/L | 29.2154 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.437 | 145878.8842 | 275509.8409 | 36.4 | 83.1
56104 | 2021-03-29 11:37 | 15.6678 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.2072 | μmol/L | 29.2215 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.436 | 145827.103 | 275488.0723 | 36.4 | 83.1
56114 | 2021-03-29 11:37 | 16.0007 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.0784 | μmol/L | 29.2399 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.437 | 145697.5088 | 275485.4366 | 36.4 | 83.1
56124 | 2021-03-29 11:38 | 16.3345 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 198.8582 | μmol/L | 29.2706 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.439 | 145645.9481 | 275477.9255 | 36.4 | 83.1
56134 | 2021-03-29 11:38 | 16.6673 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 198.7544 | μmol/L | 29.2706 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.445 | 146506.3629 | 275457.0083 | 36.4 | 83.1
56144 | 2021-03-29 11:38 | 17.0011 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 198.883 | μmol/L | 29.2522 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.444 | 146261.09 | 275451.8786 | 36.4 | 83.1
56154 | 2021-03-29 11:39 | 17.3342 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 198.8682 | μmol/L | 29.2461 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.447 | 146129.775 | 275429.3703 | 36.4 | 83.1
56164 | 2021-03-29 11:39 | 17.6679 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 198.5716 | μmol/L | 29.2952 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.447 | 146001.8493 | 275410.7058 | 36.4 | 83.1
56174 | 2021-03-29 11:39 | 18.001 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 198.369 | μmol/L | 29.3259 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.448 | 145881.2907 | 275405.3465 | 36.4 | 83.1
56184 | 2021-03-29 11:40 | 18.3343 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 198.2579 | μmol/L | 29.3444 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.448 | 145692.7904 | 275391.9034 | 36.4 | 83.1
56194 | 2021-03-29 11:40 | 18.668 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 198.0409 | μmol/L | 29.369 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.452 | 145712.4972 | 275374.9998 | 36.4 | 83.1
56204 | 2021-03-29 11:40 | 19.0009 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 198.226 | μmol/L | 29.3382 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.452 | 145635.3249 | 275345.5047 | 36.4 | 83.1
56214 | 2021-03-29 11:41 | 19.334 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 198.1373 | μmol/L | 29.3444 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.455 | 145441.4518 | 275350.2638 | 36.4 | 83.1
56224 | 2021-03-29 11:41 | 19.6673 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 197.9351 | μmol/L | 29.3751 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.456 | 145475.7175 | 275367.5465 | 36.4 | 83.1
56234 | 2021-03-29 11:41 | 20.0012 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 197.7949 | μmol/L | 29.3812 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.462 | 145461.78 | 275335.8782 | 36.4 | 83.1
56244 | 2021-03-29 11:42 | 20.3343 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 197.6617 | μmol/L | 29.412 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.459 | 145483.9584 | 275309.5838 | 36.4 | 83.1
56254 | 2021-03-29 11:42 | 20.6674 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 197.7356 | μmol/L | 29.3997 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.459 | 145446.6747 | 275297.6487 | 36.4 | 83.1
56264 | 2021-03-29 11:42 | 21.0012 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 197.6668 | μmol/L | 29.3997 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.463 | 145355.6725 | 275272.1609 | 36.4 | 83.1
56274 | 2021-03-29 11:43 | 21.3344 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 197.4083 | μmol/L | 29.4427 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.463 | 145349.811 | 275274.8867 | 36.4 | 83.1
56284 | 2021-03-29 11:43 | 21.6676 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 197.2659 | μmol/L | 29.455 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.467 | 145928.735 | 275262.9138 | 36.4 | 83.1
56294 | 2021-03-29 11:43 | 22.0009 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 197.3397 | μmol/L | 29.4427 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.467 | 145829.1171 | 275246.5029 | 36.4 | 83.1
56304 | 2021-03-29 11:44 | 22.3347 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 197.1749 | μmol/L | 29.4673 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.468 | 145762.3823 | 275231.414 | 36.4 | 83.1
56314 | 2021-03-29 11:44 | 22.6679 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.9563 | μmol/L | 29.498 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.47 | 145678.5228 | 275219.2738 | 36.4 | 83.1
56324 | 2021-03-29 11:44 | 23.0009 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.8089 | μmol/L | 29.5226 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.47 | 145604.4888 | 275217.0413 | 36.4 | 83.1
56334 | 2021-03-29 11:45 | 23.3346 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.8313 | μmol/L | 29.5103 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.473 | 145522.9766 | 275202.385 | 36.4 | 83.1
56344 | 2021-03-29 11:45 | 23.6676 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.6721 | μmol/L | 29.5226 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.478 | 145484.4654 | 275188.0641 | 36.4 | 83.1
56354 | 2021-03-29 11:45 | 24.0014 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.4539 | μmol/L | 29.5533 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.48 | 145401.3054 | 275191.501 | 36.4 | 83.1
56364 | 2021-03-29 11:46 | 24.3344 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.4881 | μmol/L | 29.5533 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.478 | 145389.3551 | 275173.6051 | 36.4 | 83.1
56374 | 2021-03-29 11:46 | 24.6677 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.4395 | μmol/L | 29.5471 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.483 | 145314.7822 | 275163.3682 | 36.4 | 83.1
56384 | 2021-03-29 11:46 | 25.0009 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.2897 | μmol/L | 29.5779 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.481 | 145203.8284 | 275159.9836 | 36.4 | 83.1
56394 | 2021-03-29 11:47 | 25.3345 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.9446 | μmol/L | 29.627 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.484 | 145090.4674 | 275150.8842 | 36.4 | 83.1
56404 | 2021-03-29 11:47 | 25.6676 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.0207 | μmol/L | 29.6086 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.486 | 145158.1396 | 275132.9669 | 36.4 | 83.1
56414 | 2021-03-29 11:47 | 26.0006 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.9643 | μmol/L | 29.6209 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.485 | 145325.1197 | 275116.7182 | 36.4 | 83.1
56424 | 2021-03-29 11:48 | 26.3346 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.9329 | μmol/L | 29.6147 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.489 | 145244.9815 | 275106.2076 | 36.4 | 83.1
56434 | 2021-03-29 11:48 | 26.6678 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.9159 | μmol/L | 29.6147 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.49 | 145149.0298 | 275097.8179 | 36.4 | 83.1
56444 | 2021-03-29 11:48 | 27.0008 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.7323 | μmol/L | 29.6454 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.49 | 144974.1219 | 275089.7843 | 36.4 | 83.1
56454 | 2021-03-29 11:49 | 27.3339 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.6957 | μmol/L | 29.6516 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.49 | 145647.7532 | 275072.8218 | 36.4 | 83.1
56464 | 2021-03-29 11:49 | 27.6677 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.591 | μmol/L | 29.6577 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.494 | 145564.4275 | 275081.2062 | 36.4 | 83.1
56474 | 2021-03-29 11:49 | 28.0009 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.4327 | μmol/L | 29.67 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.499 | 145584.4007 | 275073.2757 | 36.4 | 83.1
56484 | 2021-03-29 11:50 | 28.3341 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.413 | μmol/L | 29.6762 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.498 | 145463.2697 | 275053.0052 | 36.4 | 83.1
56494 | 2021-03-29 11:50 | 28.6678 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.1932 | μmol/L | 29.713 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.498 | 145451.4051 | 275043.0233 | 36.4 | 83.1
56504 | 2021-03-29 11:50 | 29.0007 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 194.9959 | μmol/L | 29.7376 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.501 | 145509.1818 | 275029.4012 | 36.4 | 83.1
56514 | 2021-03-29 11:51 | 29.3347 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 194.962 | μmol/L | 29.7376 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.503 | 145411.9813 | 275024.9525 | 36.4 | 83.1
56524 | 2021-03-29 11:51 | 29.6676 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.1762 | μmol/L | 29.713 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.499 | 145269.0876 | 275016.3534 | 36.4 | 83.1
56534 | 2021-03-29 11:51 | 30.0006 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.0521 | μmol/L | 29.7253 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.502 | 145207.9593 | 275007.3749 | 36.4 | 83.1
56544 | 2021-03-29 11:52 | 30.3345 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 194.7649 | μmol/L | 29.7622 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.506 | 145106.5474 | 274998.6994 | 36.4 | 83.1
56554 | 2021-03-29 11:52 | 30.6675 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 194.5962 | μmol/L | 29.7991 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.503 | 145064.8622 | 274978.7038 | 36.4 | 83.1
56564 | 2021-03-29 11:52 | 31.0006 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 194.5455 | μmol/L | 29.7991 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.506 | 144986.7724 | 274982.2889 | 36.4 | 83.1
56574 | 2021-03-29 11:53 | 31.3344 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 194.5483 | μmol/L | 29.7929 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.508 | 144844.5276 | 274971.7768 | 36.4 | 83.1
56584 | 2021-03-29 11:53 | 31.6675 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 194.5145 | μmol/L | 29.7929 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.51 | 144752.4326 | 274963.4494 | 36.4 | 83.1
56594 | 2021-03-29 11:53 | 32.0006 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 194.5341 | μmol/L | 29.7868 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.511 | 144673.0227 | 274957.1254 | 36.4 | 83.1
56604 | 2021-03-29 11:54 | 32.3343 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 194.3149 | μmol/L | 29.8236 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.511 | 144993.1954 | 274942.352 | 36.4 | 83.1
56614 | 2021-03-29 11:54 | 32.6675 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 194.1689 | μmol/L | 29.8482 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.511 | 144773.3532 | 274934.3704 | 36.4 | 83.1
56624 | 2021-03-29 11:54 | 33.0013 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 194.0003 | μmol/L | 29.8482 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.521 | 144726.4241 | 274918.1987 | 36.4 | 83.1
56634 | 2021-03-29 11:55 | 33.3341 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 194.0733 | μmol/L | 29.8359 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.521 | 144737.3307 | 274919.0036 | 36.4 | 83.1
56644 | 2021-03-29 11:55 | 33.6674 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 193.9863 | μmol/L | 29.8421 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.524 | 144763.1552 | 274908.3166 | 36.4 | 83.1
56654 | 2021-03-29 11:55 | 34.0011 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 193.832 | μmol/L | 29.8482 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.531 | 144666.4404 | 274912.4575 | 36.4 | 83.1
56664 | 2021-03-29 11:56 | 34.3342 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 193.7367 | μmol/L | 29.8728 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.528 | 144731.847 | 274893.011 | 36.4 | 83.1
56674 | 2021-03-29 11:56 | 34.6673 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 193.5266 | μmol/L | 29.8912 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.534 | 144703.4117 | 274887.0621 | 36.4 | 83.1
56684 | 2021-03-29 11:56 | 35.0013 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 193.2215 | μmol/L | 29.9343 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.537 | 144653.6197 | 274884.2558 | 36.4 | 83.1
56694 | 2021-03-29 11:57 | 35.3343 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 193.409 | μmol/L | 29.8912 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.541 | 144529.3278 | 274878.3388 | 36.4 | 83.1
56704 | 2021-03-29 11:57 | 35.6673 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 193.3335 | μmol/L | 29.9097 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.539 | 144464.4973 | 274876.5825 | 36.4 | 83.1
56714 | 2021-03-29 11:57 | 36.0006 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 193.3615 | μmol/L | 29.8851 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.546 | 144363.8765 | 274860.2278 | 36.4 | 83.1
56724 | 2021-03-29 11:58 | 36.3344 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 193.5238 | μmol/L | 29.8605 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.545 | 144414.6696 | 274847.0762 | 36.4 | 83.1
56734 | 2021-03-29 11:58 | 36.6675 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 193.3643 | μmol/L | 29.8789 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.548 | 144373.7207 | 274829.8976 | 36.4 | 83.1
56744 | 2021-03-29 11:58 | 37.0007 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 193.1714 | μmol/L | 29.8974 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.553 | 144349.5432 | 274821.8122 | 36.4 | 83.1
56754 | 2021-03-29 11:59 | 37.3347 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 193.2665 | μmol/L | 29.8728 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.556 | 144332.6069 | 274808.3583 | 36.4 | 83.1
56764 | 2021-03-29 11:59 | 37.6679 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 193.0374 | μmol/L | 29.8974 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.561 | 144267.4628 | 274817.5468 | 36.4 | 83.1
56774 | 2021-03-29 11:59 | 38.001 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 192.7861 | μmol/L | 29.9343 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.563 | 144928.8222 | 274797.0433 | 36.4 | 83.1
56784 | 2021-03-29 12:00 | 38.3346 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 192.7918 | μmol/L | 29.922 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.567 | 144799.2244 | 274781.1765 | 36.4 | 83.1
56794 | 2021-03-29 12:00 | 38.6675 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 192.5574 | μmol/L | 29.9588 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.568 | 144739.4202 | 274769.9771 | 36.4 | 83.1
56804 | 2021-03-29 12:00 | 39.0014 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 192.6161 | μmol/L | 29.9404 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.571 | 144821.035 | 274763.6402 | 36.4 | 83.1
56814 | 2021-03-29 12:01 | 39.3345 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 192.421 | μmol/L | 29.965 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.574 | 144772.5807 | 274769.0377 | 36.4 | 83.1
56824 | 2021-03-29 12:01 | 39.6676 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 192.4768 | μmol/L | 29.9527 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.575 | 144766.0998 | 274756.4357 | 36.4 | 83.1
56834 | 2021-03-29 12:01 | 40.0012 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 192.8226 | μmol/L | 29.8912 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.576 | 144677.6414 | 274745.8915 | 36.4 | 83.1
56844 | 2021-03-29 12:02 | 40.3344 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 192.8841 | μmol/L | 29.8667 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.581 | 144654.7466 | 274751.122 | 36.4 | 83.1
56854 | 2021-03-29 12:02 | 40.6672 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 192.8841 | μmol/L | 29.8667 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.581 | 144641.2119 | 274742.3934 | 36.4 | 83.1
56864 | 2021-03-29 12:02 | 41.0011 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 192.5802 | μmol/L | 29.9097 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.584 | 144568.1159 | 274727.067 | 36.4 | 83.1
56874 | 2021-03-29 12:03 | 41.3342 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 192.7838 | μmol/L | 29.8667 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.587 | 144515.6831 | 274726.6908 | 36.4 | 83.1
56884 | 2021-03-29 12:03 | 41.6672 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 192.48 | μmol/L | 29.9097 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.59 | 144527.2938 | 274717.4614 | 36.4 | 83.1
56894 | 2021-03-29 12:03 | 42.0009 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 192.6697 | μmol/L | 29.8605 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.596 | 144589.9425 | 274710.1364 | 36.4 | 83.1
56904 | 2021-03-29 12:04 | 42.334 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 192.2576 | μmol/L | 29.922 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.599 | 144568.191 | 274705.8664 | 36.4 | 83.1
56914 | 2021-03-29 12:04 | 42.6673 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 192.0962 | μmol/L | 29.9465 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.6 | 144577.5854 | 274698.1063 | 36.4 | 83.1
56924 | 2021-03-29 12:04 | 43.001 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 192.2828 | μmol/L | 29.9035 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.604 | 144590.3065 | 274692.0822 | 36.4 | 83.1
56934 | 2021-03-29 12:05 | 43.3339 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 192.5251 | μmol/L | 29.8482 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.609 | 144538.5889 | 274687.6599 | 36.4 | 83.1
56944 | 2021-03-29 12:05 | 43.6678 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 192.4055 | μmol/L | 29.8544 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.614 | 144532.514 | 274675.5693 | 36.4 | 83.1
56954 | 2021-03-29 12:05 | 44.0007 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 192.6756 | μmol/L | 29.8114 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.613 | 144513.8223 | 274662.9753 | 36.4 | 83.1
56964 | 2021-03-29 12:06 | 44.3345 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 192.247 | μmol/L | 29.8728 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.617 | 144550.6845 | 274667.1655 | 36.4 | 83.1
56974 | 2021-03-29 12:06 | 44.6677 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 192.1833 | μmol/L | 29.8667 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.623 | 144594.3619 | 274651.5197 | 36.4 | 83.1
56984 | 2021-03-29 12:06 | 45.0006 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 192.3307 | μmol/L | 29.8359 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.625 | 144610.7482 | 274653.9737 | 36.4 | 83.1
56994 | 2021-03-29 12:07 | 45.3343 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 192.2641 | μmol/L | 29.8359 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.629 | 144566.0206 | 274656.757 | 36.4 | 83.1
57004 | 2021-03-29 12:07 | 45.6674 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 191.8364 | μmol/L | 29.8974 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.633 | 144636.0575 | 274659.0755 | 36.4 | 83.1
57014 | 2021-03-29 12:07 | 46.0012 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 191.8226 | μmol/L | 29.8912 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.636 | 144640.0543 | 274635.3938 | 36.4 | 83.1
57024 | 2021-03-29 12:08 | 46.3341 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 191.8977 | μmol/L | 29.8728 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.638 | 144680.2479 | 274639.7576 | 36.4 | 83.1
57034 | 2021-03-29 12:08 | 46.6679 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 191.7562 | μmol/L | 29.8912 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.64 | 144696.6168 | 274628.9505 | 36.4 | 83.1
57044 | 2021-03-29 12:08 | 47.0011 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 192.1118 | μmol/L | 29.8052 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.649 | 144706.1117 | 274629.3653 | 36.4 | 83.1
57054 | 2021-03-29 12:09 | 47.3339 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 191.5628 | μmol/L | 29.8789 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.656 | 144847.458 | 274620.711 | 36.4 | 83.1
57064 | 2021-03-29 12:09 | 47.6677 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 191.552 | μmol/L | 29.8667 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.661 | 144879.5912 | 274616.3716 | 36.4 | 83.1
57074 | 2021-03-29 12:09 | 48.0006 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 191.6629 | μmol/L | 29.8421 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.663 | 144915.8907 | 274603.4007 | 36.4 | 83.1
57084 | 2021-03-29 12:10 | 48.3344 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 191.3668 | μmol/L | 29.8728 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.67 | 144952.6108 | 274600.3237 | 36.4 | 83.1
57094 | 2021-03-29 12:10 | 48.6674 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 191.4748 | μmol/L | 29.8544 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.67 | 144855.2038 | 274593.0775 | 36.4 | 83.1
57104 | 2021-03-29 12:10 | 49.0007 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 191.2869 | μmol/L | 29.8667 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.677 | 144833.3754 | 274585.6922 | 36.4 | 83.1
57114 | 2021-03-29 12:11 | 49.3347 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 190.7895 | μmol/L | 29.9404 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.681 | 144832.3627 | 274571.5087 | 36.4 | 83.1
57124 | 2021-03-29 12:11 | 49.6677 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 190.972 | μmol/L | 29.9035 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.683 | 144836.6164 | 274558.1048 | 36.4 | 83.1
57134 | 2021-03-29 12:11 | 50.0008 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 191.0554 | μmol/L | 29.8667 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.691 | 144920.7684 | 274558.433 | 36.4 | 83.1
57144 | 2021-03-29 12:12 | 50.3346 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 191.003 | μmol/L | 29.8728 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.692 | 144976.5679 | 274564.9788 | 36.4 | 83.1
57154 | 2021-03-29 12:12 | 50.6676 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 190.5896 | μmol/L | 29.9097 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.704 | 145029.3956 | 274547.6196 | 36.4 | 83.1
57164 | 2021-03-29 12:12 | 51.0013 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 190.2147 | μmol/L | 29.9711 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.705 | 145005.1147 | 274551.1342 | 36.4 | 83.1
57174 | 2021-03-29 12:13 | 51.3345 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 190.4549 | μmol/L | 29.9158 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.71 | 145107.8932 | 274546.3471 | 36.4 | 83.1
57184 | 2021-03-29 12:13 | 51.6673 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 190.4772 | μmol/L | 29.9035 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.713 | 145168.4747 | 274526.7166 | 36.4 | 83.1
57194 | 2021-03-29 12:13 | 52.0011 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 190.8444 | μmol/L | 29.8236 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.719 | 145180.7112 | 274536.7094 | 36.4 | 83.1
57204 | 2021-03-29 12:14 | 52.3342 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 190.5828 | μmol/L | 29.8544 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.724 | 145176.789 | 274533.829 | 36.4 | 83.1
57214 | 2021-03-29 12:14 | 52.6678 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 190.1946 | μmol/L | 29.9097 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.728 | 145264.5109 | 274514.6558 | 36.4 | 83.1