## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-29 14:07

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
57222 | 2021-03-29 13:13 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 204.4168 | μmol/L | 30.1167 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.697 | 103284.7713 | 218229.3415 | 27.3 | 43.4
57231 | 2021-03-29 13:14 | 0.32559 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 204.3987 | μmol/L | 30.1167 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.698 | 103313.4773 | 218224.1508 | 27.3 | 43.4
57238 | 2021-03-29 13:14 | 0.77401 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 204.3422 | μmol/L | 30.1229 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.699 | 103327.3664 | 218224.6196 | 27.3 | 43.4
57251 | 2021-03-29 13:14 | 0.99214 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 204.109 | μmol/L | 30.1167 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.714 | 103356.7657 | 218229.0614 | 27.3 | 43.4
57261 | 2021-03-29 13:15 | 1.3251 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 203.8698 | μmol/L | 30.129 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.723 | 103398.7579 | 218216.1648 | 27.3 | 43.4
57271 | 2021-03-29 13:15 | 1.6587 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 203.8698 | μmol/L | 30.129 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.723 | 103403.3862 | 218213.3483 | 27.3 | 43.4
57281 | 2021-03-29 13:15 | 1.9925 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 203.5566 | μmol/L | 30.1474 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.734 | 103411.4669 | 218194.3971 | 27.3 | 43.4
57291 | 2021-03-29 13:16 | 2.3252 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 203.491 | μmol/L | 30.129 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.744 | 103459.0143 | 218193.4718 | 27.3 | 43.4
57301 | 2021-03-29 13:16 | 2.659 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 203.3649 | μmol/L | 30.129 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.751 | 103491.8336 | 218190.4969 | 27.3 | 43.4
57311 | 2021-03-29 13:16 | 2.9919 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 203.3311 | μmol/L | 30.1229 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.755 | 103493.8318 | 218175.941 | 27.3 | 43.4
57321 | 2021-03-29 13:17 | 3.3257 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 203.167 | μmol/L | 30.129 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.762 | 103513.7926 | 218177.0758 | 27.3 | 43.4
57331 | 2021-03-29 13:17 | 3.6587 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 203.0951 | μmol/L | 30.129 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.766 | 103517.1064 | 218172.1812 | 27.3 | 43.4
57341 | 2021-03-29 13:17 | 3.9924 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 203.131 | μmol/L | 30.129 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.764 | 103517.0268 | 218163.6964 | 27.3 | 43.4
57351 | 2021-03-29 13:18 | 4.3252 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 202.9312 | μmol/L | 30.1351 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.773 | 103548.8075 | 218164.0119 | 27.3 | 43.4
57361 | 2021-03-29 13:18 | 4.659 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 202.8774 | μmol/L | 30.1351 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.776 | 103537.9345 | 218148.2116 | 27.3 | 43.4
57371 | 2021-03-29 13:18 | 4.9919 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 202.8393 | μmol/L | 30.1413 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.776 | 103549.8163 | 218136.9231 | 27.3 | 43.4
57381 | 2021-03-29 13:19 | 5.3258 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 202.8056 | μmol/L | 30.1351 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.78 | 103564.4014 | 218132.9605 | 27.3 | 43.4
57391 | 2021-03-29 13:19 | 5.6586 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 202.698 | μmol/L | 30.1351 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.786 | 103576.2844 | 218128.8245 | 27.3 | 43.4
57401 | 2021-03-29 13:19 | 5.9923 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 202.7338 | μmol/L | 30.1351 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.784 | 103578.9763 | 218110.1635 | 27.3 | 43.4
57411 | 2021-03-29 13:20 | 6.3252 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 202.5725 | μmol/L | 30.1351 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.793 | 103590.7622 | 218106.6389 | 27.3 | 43.4
57421 | 2021-03-29 13:20 | 6.6587 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 202.4472 | μmol/L | 30.1351 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.8 | 103631.3009 | 218094.455 | 27.3 | 43.4
57431 | 2021-03-29 13:20 | 6.9924 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 202.4315 | μmol/L | 30.129 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.803 | 103649.643 | 218106.9377 | 27.3 | 43.4
57441 | 2021-03-29 13:21 | 7.3257 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 202.3085 | μmol/L | 30.1229 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.812 | 103671.2691 | 218094.1573 | 27.3 | 43.4
57451 | 2021-03-29 13:21 | 7.6586 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 202.2012 | μmol/L | 30.1229 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.818 | 103701.0377 | 218090.3328 | 27.3 | 43.4
57461 | 2021-03-29 13:21 | 7.9924 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 202.1856 | μmol/L | 30.1167 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.821 | 103727.3413 | 218090.6949 | 27.3 | 43.4
57471 | 2021-03-29 13:22 | 8.3252 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 202.0628 | μmol/L | 30.1106 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.83 | 103724.3394 | 218081.8261 | 27.3 | 43.4
57481 | 2021-03-29 13:22 | 8.6591 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 202.0427 | μmol/L | 30.1167 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.829 | 103737.0234 | 218073.9173 | 27.3 | 43.4
57491 | 2021-03-29 13:22 | 8.9921 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 201.8821 | μmol/L | 30.1167 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.838 | 103778.0844 | 218057.7447 | 27.3 | 43.4
57501 | 2021-03-29 13:23 | 9.3257 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 201.7417 | μmol/L | 30.1106 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.848 | 103823.5444 | 218056.3347 | 27.3 | 43.4
57511 | 2021-03-29 13:23 | 9.6584 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 201.5459 | μmol/L | 30.1106 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.859 | 103837.9214 | 218050.5396 | 27.3 | 43.4
57521 | 2021-03-29 13:23 | 9.9925 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 201.5103 | μmol/L | 30.1106 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.861 | 103870.2008 | 218040.9836 | 27.3 | 43.4
57531 | 2021-03-29 13:24 | 10.3252 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 201.4592 | μmol/L | 30.1045 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.866 | 103886.2859 | 218040.6067 | 27.3 | 43.4
57541 | 2021-03-29 13:24 | 10.6589 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 201.2059 | μmol/L | 30.1167 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.876 | 103925.1548 | 218032.5831 | 27.3 | 43.4
57551 | 2021-03-29 13:24 | 10.9919 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 201.1949 | μmol/L | 30.0984 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.883 | 103962.5924 | 218035.2266 | 27.3 | 43.4
57561 | 2021-03-29 13:25 | 11.3256 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.9953 | μmol/L | 30.1106 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.89 | 103986.6576 | 218021.9988 | 27.3 | 43.4
57571 | 2021-03-29 13:25 | 11.6586 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.8735 | μmol/L | 30.1045 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.899 | 104016.3507 | 218007.4961 | 27.3 | 43.4
57581 | 2021-03-29 13:25 | 11.9918 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.838 | μmol/L | 30.1045 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.901 | 104047.4307 | 218007.6741 | 27.3 | 43.4
57591 | 2021-03-29 13:26 | 12.3253 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.8226 | μmol/L | 30.0984 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.904 | 104045.9293 | 217998.2571 | 27.3 | 43.4
57601 | 2021-03-29 13:26 | 12.6589 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.754 | μmol/L | 30.0922 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.91 | 104067.1533 | 217997.2667 | 27.3 | 43.4
57611 | 2021-03-29 13:26 | 12.992 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.8094 | μmol/L | 30.0861 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.909 | 104081.5942 | 217980.3257 | 27.3 | 43.4
57621 | 2021-03-29 13:27 | 13.3259 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.6524 | μmol/L | 30.08 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.92 | 104117.3052 | 217991.6051 | 27.3 | 43.4
57631 | 2021-03-29 13:27 | 13.6587 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.438 | μmol/L | 30.0861 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.93 | 104159.1368 | 217978.2543 | 27.3 | 43.4
57641 | 2021-03-29 13:27 | 13.9923 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.4425 | μmol/L | 30.0738 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.934 | 104177.2842 | 217965.8018 | 27.3 | 43.4
57651 | 2021-03-29 13:28 | 14.3257 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.4647 | μmol/L | 30.0616 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.937 | 104181.1491 | 217960.8789 | 27.3 | 43.4
57661 | 2021-03-29 13:28 | 14.6592 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.4869 | μmol/L | 30.0493 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.94 | 104187.4769 | 217964.9219 | 27.3 | 43.4
57671 | 2021-03-29 13:28 | 14.9921 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.3235 | μmol/L | 30.0616 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.945 | 104212.0992 | 217964.2727 | 27.3 | 43.4
57681 | 2021-03-29 13:29 | 15.3251 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.4009 | μmol/L | 30.0432 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.947 | 104256.1396 | 217953.8271 | 27.3 | 43.4
57691 | 2021-03-29 13:29 | 15.6588 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.1318 | μmol/L | 30.0554 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.958 | 104288.8071 | 217959.1044 | 27.3 | 43.4
57701 | 2021-03-29 13:29 | 15.9925 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 199.9181 | μmol/L | 30.0616 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.968 | 104332.3434 | 217952.2862 | 27.3 | 43.4
57711 | 2021-03-29 13:30 | 16.3256 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 199.782 | μmol/L | 30.0493 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.98 | 104371.8312 | 217941.6773 | 27.3 | 43.4
57721 | 2021-03-29 13:30 | 16.6592 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 199.7644 | μmol/L | 30.0493 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.981 | 104406.8076 | 217945.2356 | 27.3 | 43.4
57731 | 2021-03-29 13:30 | 16.9922 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 199.6612 | μmol/L | 30.0432 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.989 | 104420.1 | 217936.5272 | 27.3 | 43.4
57741 | 2021-03-29 13:31 | 17.3257 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 199.4986 | μmol/L | 30.0554 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.994 | 104428.8142 | 217938.6755 | 27.3 | 43.4
57751 | 2021-03-29 13:31 | 17.6587 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 199.5887 | μmol/L | 30.0493 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.991 | 104434.618 | 217929.2141 | 27.3 | 43.4
57761 | 2021-03-29 13:31 | 17.9924 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 199.5933 | μmol/L | 30.0371 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.995 | 104464.7772 | 217932.4527 | 27.3 | 43.4
57771 | 2021-03-29 13:32 | 18.3251 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 199.5032 | μmol/L | 30.0432 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.998 | 104478.4846 | 217924.6715 | 27.3 | 43.4
57781 | 2021-03-29 13:32 | 18.6589 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 199.3453 | μmol/L | 30.0432 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.007 | 104510.6344 | 217913.2275 | 27.3 | 43.4
57791 | 2021-03-29 13:32 | 18.9924 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 199.2752 | μmol/L | 30.0432 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.011 | 104525.1334 | 217912.9963 | 27.3 | 43.4
57801 | 2021-03-29 13:33 | 19.3252 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 199.1876 | μmol/L | 30.0432 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.016 | 104555.3634 | 217898.8373 | 27.3 | 43.4
57811 | 2021-03-29 13:33 | 19.6591 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 199.0604 | μmol/L | 30.0554 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.019 | 104566.513 | 217892.1627 | 27.3 | 43.4
57821 | 2021-03-29 13:33 | 19.992 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 198.9181 | μmol/L | 30.0616 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.025 | 104584.1906 | 217894.5457 | 27.3 | 43.4
57831 | 2021-03-29 13:34 | 20.3257 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 198.9029 | μmol/L | 30.0554 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.028 | 104615.0707 | 217888.5948 | 27.3 | 43.4
57841 | 2021-03-29 13:34 | 20.6586 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 198.8132 | μmol/L | 30.0616 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.031 | 104652.8923 | 217889.6091 | 27.3 | 43.4
57851 | 2021-03-29 13:34 | 20.9923 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 198.6711 | μmol/L | 30.0677 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.037 | 104671.3908 | 217886.853 | 27.3 | 43.4
57861 | 2021-03-29 13:35 | 21.3255 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 198.6338 | μmol/L | 30.0738 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.037 | 104668.2708 | 217884.2537 | 27.3 | 43.4
57871 | 2021-03-29 13:35 | 21.6592 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 198.4942 | μmol/L | 30.0738 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.045 | 104709.0266 | 217887.7609 | 27.3 | 43.4
57881 | 2021-03-29 13:35 | 21.9924 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 198.3849 | μmol/L | 30.0861 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.047 | 104727.869 | 217878.2942 | 27.3 | 43.4
57891 | 2021-03-29 13:36 | 22.3253 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 198.1363 | μmol/L | 30.0984 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.057 | 104747.897 | 217872.0954 | 27.3 | 43.4
57901 | 2021-03-29 13:36 | 22.6589 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 198.1386 | μmol/L | 30.0922 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.059 | 104774.988 | 217880.5873 | 27.3 | 43.4
57911 | 2021-03-29 13:36 | 22.992 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 198.0121 | μmol/L | 30.1045 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.062 | 104790.1689 | 217865.4868 | 27.3 | 43.4
57921 | 2021-03-29 13:37 | 23.3258 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 198.1015 | μmol/L | 30.0984 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.059 | 104766.3398 | 217858.2113 | 27.3 | 43.4
57931 | 2021-03-29 13:37 | 23.6589 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 197.9426 | μmol/L | 30.1045 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.066 | 104794.2444 | 217862.587 | 27.3 | 43.4
57941 | 2021-03-29 13:37 | 23.9919 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 197.8856 | μmol/L | 30.1167 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.065 | 104800.4727 | 217847.1185 | 27.3 | 43.4
57951 | 2021-03-29 13:38 | 24.3256 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 197.8683 | μmol/L | 30.1167 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.066 | 104807.5222 | 217850.9157 | 27.3 | 43.4
57961 | 2021-03-29 13:38 | 24.6585 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 197.7593 | μmol/L | 30.129 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.068 | 104798.8504 | 217848.8344 | 27.3 | 43.4
57971 | 2021-03-29 13:38 | 24.9921 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 197.8659 | μmol/L | 30.1229 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.064 | 104786.8814 | 217831.6046 | 27.3 | 43.4
57981 | 2021-03-29 13:39 | 25.3252 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 197.6724 | μmol/L | 30.129 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.073 | 104797.6636 | 217830.3427 | 27.3 | 43.4
57991 | 2021-03-29 13:39 | 25.6588 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 197.4965 | μmol/L | 30.1351 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.081 | 104852.5042 | 217825.647 | 27.3 | 43.4
58001 | 2021-03-29 13:39 | 25.9918 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 197.5683 | μmol/L | 30.129 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.079 | 104858.8479 | 217810.4239 | 27.3 | 43.4
58011 | 2021-03-29 13:40 | 26.3256 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 197.1948 | μmol/L | 30.1535 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.092 | 104876.3 | 217814.1478 | 27.3 | 43.4
58021 | 2021-03-29 13:40 | 26.6585 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 197.3232 | μmol/L | 30.1351 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.091 | 104880.6013 | 217797.3964 | 27.3 | 43.4
58031 | 2021-03-29 13:40 | 26.9921 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 197.2689 | μmol/L | 30.1413 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.092 | 104887.2503 | 217803.9109 | 27.3 | 43.4
58041 | 2021-03-29 13:41 | 27.3252 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 197.091 | μmol/L | 30.1535 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.098 | 104913.2033 | 217805.3747 | 27.3 | 43.4
58051 | 2021-03-29 13:41 | 27.6589 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 196.9699 | μmol/L | 30.1535 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.105 | 104952.7665 | 217798.5471 | 27.3 | 43.4
58061 | 2021-03-29 13:41 | 27.992 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 196.8638 | μmol/L | 30.1597 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.109 | 104958.1497 | 217795.208 | 27.3 | 43.4
58071 | 2021-03-29 13:42 | 28.3256 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 196.8984 | μmol/L | 30.1597 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.107 | 104963.6994 | 217791.6645 | 27.3 | 43.4
58081 | 2021-03-29 13:42 | 28.6586 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 196.8317 | μmol/L | 30.1535 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.113 | 104997.415 | 217793.4964 | 27.3 | 43.4
58091 | 2021-03-29 13:42 | 28.9923 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 196.674 | μmol/L | 30.1597 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.12 | 105026.1089 | 217785.1704 | 27.3 | 43.4
58101 | 2021-03-29 13:43 | 29.3252 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 196.6198 | μmol/L | 30.1658 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.121 | 105034.2978 | 217779.7815 | 27.3 | 43.4
58111 | 2021-03-29 13:43 | 29.659 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 196.4991 | μmol/L | 30.1658 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.128 | 105066.8174 | 217785.6852 | 27.3 | 43.4
58121 | 2021-03-29 13:43 | 29.992 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 196.29 | μmol/L | 30.1719 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.138 | 105109.5249 | 217766.2768 | 27.3 | 43.4
58131 | 2021-03-29 13:44 | 30.3258 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 196.2212 | μmol/L | 30.1719 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.142 | 105118.244 | 217760.9666 | 27.3 | 43.4
58141 | 2021-03-29 13:44 | 30.6589 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 196.2236 | μmol/L | 30.1658 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.144 | 105136.3955 | 217768.0635 | 27.3 | 43.4
58151 | 2021-03-29 13:44 | 30.9918 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 196.0468 | μmol/L | 30.178 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.15 | 105154.3807 | 217769.4744 | 27.3 | 43.4
58161 | 2021-03-29 13:45 | 31.3255 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 196.0173 | μmol/L | 30.1658 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.156 | 105182.7303 | 217760.3711 | 27.3 | 43.4
58171 | 2021-03-29 13:45 | 31.6585 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.9143 | μmol/L | 30.1658 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.162 | 105219.889 | 217757.5734 | 27.3 | 43.4
58181 | 2021-03-29 13:45 | 31.9921 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.7574 | μmol/L | 30.1719 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.169 | 105252.0766 | 217755.1858 | 27.3 | 43.4
58191 | 2021-03-29 13:46 | 32.3258 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.6717 | μmol/L | 30.1719 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.174 | 105277.3971 | 217750.6381 | 27.3 | 43.4
58201 | 2021-03-29 13:46 | 32.6587 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.5346 | μmol/L | 30.1719 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.182 | 105300.8706 | 217744.3244 | 27.3 | 43.4
58211 | 2021-03-29 13:46 | 32.9919 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.4172 | μmol/L | 30.1658 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.191 | 105334.8565 | 217741.7237 | 27.3 | 43.4
58221 | 2021-03-29 13:47 | 33.3256 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.4393 | μmol/L | 30.1535 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.194 | 105346.9896 | 217742.8905 | 27.3 | 43.4
58231 | 2021-03-29 13:47 | 33.6584 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.3025 | μmol/L | 30.1535 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.202 | 105402.4428 | 217733.1623 | 27.3 | 43.4
58241 | 2021-03-29 13:47 | 33.9924 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.1682 | μmol/L | 30.1474 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.212 | 105428.1475 | 217742.9227 | 27.3 | 43.4
58251 | 2021-03-29 13:48 | 34.3251 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 194.973 | μmol/L | 30.1658 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.217 | 105445.2625 | 217733.3212 | 27.3 | 43.4
58261 | 2021-03-29 13:48 | 34.6588 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 194.9389 | μmol/L | 30.1658 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.219 | 105475.9057 | 217717.2695 | 27.3 | 43.4
58271 | 2021-03-29 13:48 | 34.992 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 194.8195 | μmol/L | 30.1658 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.226 | 105483.2625 | 217709.058 | 27.3 | 43.4
58281 | 2021-03-29 13:49 | 35.3257 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 194.8781 | μmol/L | 30.1474 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.229 | 105499.6813 | 217711.4948 | 27.3 | 43.4
58291 | 2021-03-29 13:49 | 35.6586 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 194.7077 | μmol/L | 30.1474 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.239 | 105558.6461 | 217720.1694 | 27.3 | 43.4
58301 | 2021-03-29 13:49 | 35.9924 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 194.501 | μmol/L | 30.1535 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.249 | 105611.064 | 217711.7171 | 27.3 | 43.4
58311 | 2021-03-29 13:50 | 36.3255 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 194.382 | μmol/L | 30.1535 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.256 | 105643.2873 | 217707.9207 | 27.3 | 43.4
58321 | 2021-03-29 13:50 | 36.6585 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 194.387 | μmol/L | 30.1413 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.26 | 105660.1674 | 217703.885 | 27.3 | 43.4
58331 | 2021-03-29 13:50 | 36.9922 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 194.2537 | μmol/L | 30.1351 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.27 | 105693.4193 | 217702.6568 | 27.3 | 43.4
58341 | 2021-03-29 13:51 | 37.3253 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 194.2367 | μmol/L | 30.1351 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.271 | 105711.0136 | 217693.1015 | 27.3 | 43.4
58351 | 2021-03-29 13:51 | 37.6591 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 194.2053 | μmol/L | 30.129 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.275 | 105735.8284 | 217701.1092 | 27.3 | 43.4
58361 | 2021-03-29 13:51 | 37.9919 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 194.123 | μmol/L | 30.1229 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.282 | 105760.6174 | 217687.8195 | 27.3 | 43.4
58371 | 2021-03-29 13:52 | 38.3259 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 194.0916 | μmol/L | 30.1167 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.286 | 105786.0198 | 217693.4778 | 27.3 | 43.4
58381 | 2021-03-29 13:52 | 38.6589 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 193.8493 | μmol/L | 30.129 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.296 | 105821.8721 | 217679.7556 | 27.3 | 43.4
58391 | 2021-03-29 13:52 | 38.9925 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 193.7866 | μmol/L | 30.1167 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.304 | 105867.9339 | 217679.6111 | 27.3 | 43.4
58401 | 2021-03-29 13:53 | 39.3254 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 193.9466 | μmol/L | 30.0984 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.301 | 105856.8095 | 217679.3732 | 27.3 | 43.4
58411 | 2021-03-29 13:53 | 39.6585 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 193.7798 | μmol/L | 30.0922 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.313 | 105897.6865 | 217670.9237 | 27.3 | 43.4
58421 | 2021-03-29 13:53 | 39.9923 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 193.642 | μmol/L | 30.0984 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.319 | 105932.3699 | 217671.113 | 27.3 | 43.4
58431 | 2021-03-29 13:54 | 40.3251 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 193.7629 | μmol/L | 30.0922 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.314 | 105914.0774 | 217669.4047 | 27.3 | 43.4
58441 | 2021-03-29 13:54 | 40.6585 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 193.5381 | μmol/L | 30.1045 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.323 | 105940.7575 | 217665.2124 | 27.3 | 43.4
58451 | 2021-03-29 13:54 | 40.9925 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 193.4731 | μmol/L | 30.0984 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.329 | 105985.9259 | 217667.2168 | 27.3 | 43.4
58461 | 2021-03-29 13:55 | 41.3254 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 193.5068 | μmol/L | 30.0984 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.327 | 106002.1629 | 217661.1137 | 27.3 | 43.4
58471 | 2021-03-29 13:55 | 41.6585 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 193.4976 | μmol/L | 30.08 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.334 | 106031.861 | 217659.0003 | 27.3 | 43.4
58481 | 2021-03-29 13:55 | 41.9923 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 193.3119 | μmol/L | 30.08 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.345 | 106062.7553 | 217653.936 | 27.3 | 43.4
58491 | 2021-03-29 13:56 | 42.3252 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 193.2925 | μmol/L | 30.0861 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.344 | 106068.8152 | 217660.9267 | 27.3 | 43.4
58501 | 2021-03-29 13:56 | 42.659 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 193.2782 | μmol/L | 30.08 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.347 | 106074.0663 | 217655.268 | 27.3 | 43.4
58511 | 2021-03-29 13:56 | 42.9921 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 193.2614 | μmol/L | 30.08 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.348 | 106100.4093 | 217646.429 | 27.3 | 43.4
58521 | 2021-03-29 13:57 | 43.3258 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 193.2976 | μmol/L | 30.0738 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.348 | 106098.3676 | 217647.0184 | 27.3 | 43.4
58531 | 2021-03-29 13:57 | 43.6586 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 193.1796 | μmol/L | 30.0738 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.355 | 106123.2748 | 217642.8249 | 27.3 | 43.4
58541 | 2021-03-29 13:57 | 43.9924 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 193.0709 | μmol/L | 30.0922 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.355 | 106128.6344 | 217639.4681 | 27.3 | 43.4
58551 | 2021-03-29 13:58 | 44.3253 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 192.9169 | μmol/L | 30.0984 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.362 | 106169.8182 | 217633.8649 | 27.3 | 43.4
58561 | 2021-03-29 13:58 | 44.6586 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 192.794 | μmol/L | 30.1106 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.365 | 106178.0006 | 217635.5651 | 27.3 | 43.4
58571 | 2021-03-29 13:58 | 44.9918 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 192.8664 | μmol/L | 30.0984 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.365 | 106168.5916 | 217635.8683 | 27.3 | 43.4
58581 | 2021-03-29 13:59 | 45.3255 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 192.6118 | μmol/L | 30.1045 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.378 | 106223.077 | 217624.6084 | 27.3 | 43.4
58591 | 2021-03-29 13:59 | 45.6592 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 192.6144 | μmol/L | 30.0984 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.38 | 106244.5731 | 217616.3724 | 27.3 | 43.4
58601 | 2021-03-29 13:59 | 45.9924 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 192.7279 | μmol/L | 30.0677 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.384 | 106241.6151 | 217617.3175 | 27.3 | 43.4
58611 | 2021-03-29 14:00 | 46.3257 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 192.5691 | μmol/L | 30.0861 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.387 | 106277.262 | 217606.3213 | 27.3 | 43.4
58621 | 2021-03-29 14:00 | 46.6586 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 192.3962 | μmol/L | 30.0984 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.393 | 106299.5092 | 217596.1102 | 27.3 | 43.4
58631 | 2021-03-29 14:00 | 46.9924 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 192.2544 | μmol/L | 30.1167 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.395 | 106323.5066 | 217600.3846 | 27.3 | 43.4
58641 | 2021-03-29 14:01 | 47.3252 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 192.3627 | μmol/L | 30.0984 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.395 | 106326.6057 | 217591.7891 | 27.3 | 43.4
58651 | 2021-03-29 14:01 | 47.6589 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 192.2093 | μmol/L | 30.1045 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.402 | 106342.9672 | 217590.2297 | 27.3 | 43.4
58661 | 2021-03-29 14:01 | 47.9918 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 192.2454 | μmol/L | 30.0984 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.402 | 106338.3553 | 217585.7233 | 27.3 | 43.4
58671 | 2021-03-29 14:02 | 48.3257 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 191.8722 | μmol/L | 30.1106 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.42 | 106460.3474 | 217587.3736 | 27.3 | 43.4
58681 | 2021-03-29 14:02 | 48.6585 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 191.4384 | μmol/L | 30.1106 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.446 | 106604.7562 | 217592.2323 | 27.3 | 43.4
58691 | 2021-03-29 14:02 | 48.9923 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 191.3025 | μmol/L | 30.1167 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.452 | 106608.7998 | 217591.408 | 27.3 | 43.4
58701 | 2021-03-29 14:03 | 49.3255 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 191.3165 | μmol/L | 30.1229 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.449 | 106615.3248 | 217573.0954 | 27.3 | 43.4
58711 | 2021-03-29 14:03 | 49.6592 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 191.1781 | μmol/L | 30.1351 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.453 | 106616.4001 | 217582.559 | 27.3 | 43.4
58721 | 2021-03-29 14:03 | 49.9925 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 191.1589 | μmol/L | 30.1413 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.452 | 106614.8926 | 217584.6432 | 27.3 | 43.4
58731 | 2021-03-29 14:04 | 50.3255 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 190.9428 | μmol/L | 30.1413 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.465 | 106677.1412 | 217574.624 | 27.3 | 43.4
58741 | 2021-03-29 14:04 | 50.6585 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 190.9428 | μmol/L | 30.1413 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.465 | 106664.7166 | 217566.5612 | 27.3 | 43.4
58751 | 2021-03-29 14:04 | 50.9923 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 190.7741 | μmol/L | 30.1474 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.473 | 106701.659 | 217570.2454 | 27.3 | 43.4
58761 | 2021-03-29 14:05 | 51.3252 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 190.8073 | μmol/L | 30.1474 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.471 | 106698.9774 | 217575.4392 | 27.3 | 43.4
58771 | 2021-03-29 14:05 | 51.6591 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 190.733 | μmol/L | 30.1658 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.469 | 106683.9333 | 217571.8595 | 27.3 | 43.4
58781 | 2021-03-29 14:05 | 51.992 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 190.7688 | μmol/L | 30.1597 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.469 | 106697.2874 | 217567.7078 | 27.3 | 43.4
58791 | 2021-03-29 14:06 | 52.3259 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 190.6859 | μmol/L | 30.1597 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.474 | 106702.6487 | 217565.2295 | 27.3 | 43.4