## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-29 14:07

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
57223 | 2021-03-29 13:13 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.3875 | μmol/L | 29.9356 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.746 | 108178.3499 | 300960.4555 | 28.7 | 67.6
57233 | 2021-03-29 13:14 | 0.33495 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.3073 | μmol/L | 29.9417 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.749 | 108191.2964 | 300958.0839 | 28.7 | 67.6
57240 | 2021-03-29 13:14 | 0.73327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.2773 | μmol/L | 29.9356 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.753 | 108180.3895 | 300968.5079 | 28.7 | 67.6
57253 | 2021-03-29 13:14 | 1.0018 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.2114 | μmol/L | 29.9478 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.753 | 108180.0372 | 300956.7826 | 28.7 | 67.6
57263 | 2021-03-29 13:15 | 1.3346 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.2129 | μmol/L | 29.9417 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.755 | 108192.7563 | 300945.3127 | 28.7 | 67.6
57273 | 2021-03-29 13:15 | 1.6683 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.0871 | μmol/L | 29.9417 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.763 | 108217.3279 | 300944.497 | 28.7 | 67.6
57283 | 2021-03-29 13:15 | 2.0012 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.9757 | μmol/L | 29.9478 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.768 | 108260.4972 | 300937.0899 | 28.7 | 67.6
57293 | 2021-03-29 13:16 | 2.3349 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.6904 | μmol/L | 29.96 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.782 | 108294.9736 | 300925.088 | 28.7 | 67.6
57303 | 2021-03-29 13:16 | 2.6677 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.5605 | μmol/L | 29.9783 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.784 | 108317.8337 | 300909.8312 | 28.7 | 67.6
57313 | 2021-03-29 13:16 | 3.0015 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.5807 | μmol/L | 29.96 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.789 | 108313.248 | 300878.945 | 28.7 | 67.6
57323 | 2021-03-29 13:17 | 3.3344 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.5166 | μmol/L | 29.9661 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.791 | 108316.5985 | 300888.8437 | 28.7 | 67.6
57333 | 2021-03-29 13:17 | 3.6681 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.5181 | μmol/L | 29.96 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.793 | 108339.5876 | 300880.2575 | 28.7 | 67.6
57343 | 2021-03-29 13:17 | 4.0018 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.3757 | μmol/L | 29.9661 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.8 | 108356.7831 | 300856.2692 | 28.7 | 67.6
57353 | 2021-03-29 13:18 | 4.3347 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.3616 | μmol/L | 29.96 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.803 | 108358.079 | 300853.6234 | 28.7 | 67.6
57363 | 2021-03-29 13:18 | 4.6684 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.3445 | μmol/L | 29.9661 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.802 | 108339.9223 | 300860.3814 | 28.7 | 67.6
57373 | 2021-03-29 13:18 | 5.0012 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.4711 | μmol/L | 29.96 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.796 | 108326.2649 | 300833.944 | 28.7 | 67.6
57383 | 2021-03-29 13:19 | 5.335 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.3571 | μmol/L | 29.9783 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.797 | 108317.8835 | 300822.6883 | 28.7 | 67.6
57393 | 2021-03-29 13:19 | 5.6679 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.2134 | μmol/L | 29.9905 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.802 | 108320.5651 | 300817.6105 | 28.7 | 67.6
57403 | 2021-03-29 13:19 | 6.0015 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.1025 | μmol/L | 29.9966 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.807 | 108323.6827 | 300811.2236 | 28.7 | 67.6
57413 | 2021-03-29 13:20 | 6.3351 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.2164 | μmol/L | 29.9783 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.806 | 108327.0677 | 300790.7763 | 28.7 | 67.6
57423 | 2021-03-29 13:20 | 6.6679 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.1383 | μmol/L | 29.9783 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.811 | 108337.0701 | 300776.3515 | 28.7 | 67.6
57433 | 2021-03-29 13:20 | 7.0014 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.0587 | μmol/L | 29.9844 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.814 | 108375.0087 | 300775.2588 | 28.7 | 67.6
57443 | 2021-03-29 13:21 | 7.3346 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.8544 | μmol/L | 29.9905 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.825 | 108409.9405 | 300755.8293 | 28.7 | 67.6
57453 | 2021-03-29 13:21 | 7.6683 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.6473 | μmol/L | 30.0088 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.832 | 108427.4093 | 300745.3981 | 28.7 | 67.6
57463 | 2021-03-29 13:21 | 8.0012 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.764 | μmol/L | 29.9783 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.835 | 108449.9109 | 300732.8082 | 28.7 | 67.6
57473 | 2021-03-29 13:22 | 8.335 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.6892 | μmol/L | 29.9661 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.844 | 108468.9166 | 300710.4229 | 28.7 | 67.6
57483 | 2021-03-29 13:22 | 8.6682 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.5166 | μmol/L | 29.9722 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.853 | 108515.8691 | 300707.5472 | 28.7 | 67.6
57493 | 2021-03-29 13:22 | 9.0018 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.4746 | μmol/L | 29.9539 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.862 | 108587.415 | 300713.5017 | 28.7 | 67.6
57503 | 2021-03-29 13:23 | 9.3348 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.3798 | μmol/L | 29.96 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.866 | 108619.7245 | 300688.1853 | 28.7 | 67.6
57513 | 2021-03-29 13:23 | 9.6683 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.3037 | μmol/L | 29.9539 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.873 | 108628.6889 | 300666.8587 | 28.7 | 67.6
57523 | 2021-03-29 13:23 | 10.0016 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.1625 | μmol/L | 29.96 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.88 | 108660.7023 | 300657.3739 | 28.7 | 67.6
57533 | 2021-03-29 13:24 | 10.3344 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.0819 | μmol/L | 29.9722 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.881 | 108659.8669 | 300654.344 | 28.7 | 67.6
57543 | 2021-03-29 13:24 | 10.6681 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.958 | μmol/L | 29.9722 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.889 | 108694.4631 | 300637.4718 | 28.7 | 67.6
57553 | 2021-03-29 13:24 | 11.0018 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.9131 | μmol/L | 29.9661 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.894 | 108708.3288 | 300639.2676 | 28.7 | 67.6
57563 | 2021-03-29 13:25 | 11.3344 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.9471 | μmol/L | 29.9539 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.896 | 108748.295 | 300645.721 | 28.7 | 67.6
57573 | 2021-03-29 13:25 | 11.6682 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.6842 | μmol/L | 29.9539 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.913 | 108780.5816 | 300618.1979 | 28.7 | 67.6
57583 | 2021-03-29 13:25 | 12.0013 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.8233 | μmol/L | 29.9539 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.904 | 108752.68 | 300627.818 | 28.7 | 67.6
57593 | 2021-03-29 13:26 | 12.3349 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.7135 | μmol/L | 29.96 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.909 | 108738.492 | 300603.1181 | 28.7 | 67.6
57603 | 2021-03-29 13:26 | 12.6683 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.8543 | μmol/L | 29.9539 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.902 | 108733.9301 | 300594.4862 | 28.7 | 67.6
57613 | 2021-03-29 13:26 | 13.0013 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.729 | μmol/L | 29.96 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.908 | 108729.7094 | 300579.1121 | 28.7 | 67.6
57623 | 2021-03-29 13:27 | 13.335 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.9549 | μmol/L | 29.9234 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.906 | 108738.1738 | 300562.8266 | 28.7 | 67.6
57633 | 2021-03-29 13:27 | 13.6684 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.0276 | μmol/L | 29.8807 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.916 | 108770.9181 | 300564.7328 | 28.7 | 67.6
57643 | 2021-03-29 13:27 | 14.0013 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.9177 | μmol/L | 29.8868 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.921 | 108779.8196 | 300552.3437 | 28.7 | 67.6
57653 | 2021-03-29 13:28 | 14.3349 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.6472 | μmol/L | 29.9173 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.928 | 108819.7723 | 300541.6036 | 28.7 | 67.6
57663 | 2021-03-29 13:28 | 14.6683 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.5545 | μmol/L | 29.9173 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.934 | 108851.885 | 300533.4391 | 28.7 | 67.6
57673 | 2021-03-29 13:28 | 15.0012 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.3971 | μmol/L | 29.9295 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.94 | 108895.809 | 300539.7917 | 28.7 | 67.6
57683 | 2021-03-29 13:29 | 15.3349 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.2584 | μmol/L | 29.9295 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.949 | 108914.766 | 300519.5978 | 28.7 | 67.6
57693 | 2021-03-29 13:29 | 15.6685 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.2445 | μmol/L | 29.9234 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.952 | 108921.0606 | 300519.0923 | 28.7 | 67.6
57703 | 2021-03-29 13:29 | 16.0013 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.2753 | μmol/L | 29.9234 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.95 | 108919.5319 | 300498.7228 | 28.7 | 67.6
57713 | 2021-03-29 13:30 | 16.3344 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.2307 | μmol/L | 29.9173 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.955 | 108944.2768 | 300497.5194 | 28.7 | 67.6
57723 | 2021-03-29 13:30 | 16.6681 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.106 | μmol/L | 29.9234 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.961 | 108967.1374 | 300472.3516 | 28.7 | 67.6
57733 | 2021-03-29 13:30 | 17.0017 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.1568 | μmol/L | 29.9051 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.964 | 108988.6802 | 300485.2705 | 28.7 | 67.6
57743 | 2021-03-29 13:31 | 17.3345 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.1738 | μmol/L | 29.899 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.965 | 108982.4872 | 300460.535 | 28.7 | 67.6
57753 | 2021-03-29 13:31 | 17.6683 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 175.9399 | μmol/L | 29.9112 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.976 | 109044.4153 | 300485.7686 | 28.7 | 67.6
57763 | 2021-03-29 13:31 | 18.0012 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 175.9754 | μmol/L | 29.8929 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.98 | 109074.935 | 300453.9142 | 28.7 | 67.6
57773 | 2021-03-29 13:32 | 18.3349 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 175.9324 | μmol/L | 29.8807 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.987 | 109108.1511 | 300450.3551 | 28.7 | 67.6
57783 | 2021-03-29 13:32 | 18.6678 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 175.7127 | μmol/L | 29.899 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.995 | 109129.5064 | 300436.4645 | 28.7 | 67.6
57793 | 2021-03-29 13:32 | 19.0013 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 175.6852 | μmol/L | 29.8868 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.001 | 109160.9375 | 300430.2012 | 28.7 | 67.6
57803 | 2021-03-29 13:33 | 19.335 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 175.5303 | μmol/L | 29.8929 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.009 | 109190.7718 | 300423.4501 | 28.7 | 67.6
57813 | 2021-03-29 13:33 | 19.6679 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 175.4231 | μmol/L | 29.8929 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.016 | 109219.326 | 300408.588 | 28.7 | 67.6
57823 | 2021-03-29 13:33 | 20.0015 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 175.3756 | μmol/L | 29.899 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.017 | 109200.5501 | 300411.5751 | 28.7 | 67.6
57833 | 2021-03-29 13:34 | 20.3345 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 175.3143 | μmol/L | 29.899 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.021 | 109222.6873 | 300389.449 | 28.7 | 67.6
57843 | 2021-03-29 13:34 | 20.6683 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 175.2531 | μmol/L | 29.899 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.025 | 109272.2414 | 300401.3275 | 28.7 | 67.6
57853 | 2021-03-29 13:34 | 21.001 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 175.1003 | μmol/L | 29.899 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.035 | 109303.4305 | 300395.4178 | 28.7 | 67.6
57863 | 2021-03-29 13:35 | 21.3351 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 175.0544 | μmol/L | 29.899 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.038 | 109309.2955 | 300380.7214 | 28.7 | 67.6
57873 | 2021-03-29 13:35 | 21.6678 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 174.8544 | μmol/L | 29.9051 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.049 | 109337.602 | 300375.2221 | 28.7 | 67.6
57883 | 2021-03-29 13:35 | 22.0016 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 174.7613 | μmol/L | 29.9112 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.053 | 109363.3278 | 300354.4828 | 28.7 | 67.6
57893 | 2021-03-29 13:36 | 22.3345 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 174.702 | μmol/L | 29.9051 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.059 | 109424.0004 | 300378.5555 | 28.7 | 67.6
57903 | 2021-03-29 13:36 | 22.668 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 174.4535 | μmol/L | 29.9234 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.069 | 109437.216 | 300357.6255 | 28.7 | 67.6
57913 | 2021-03-29 13:36 | 23.0017 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 174.3607 | μmol/L | 29.9295 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.073 | 109462.2505 | 300340.2811 | 28.7 | 67.6
57923 | 2021-03-29 13:37 | 23.3347 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 174.2982 | μmol/L | 29.9356 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.075 | 109478.5581 | 300340.4569 | 28.7 | 67.6
57933 | 2021-03-29 13:37 | 23.6685 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 174.2695 | μmol/L | 29.9295 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.079 | 109506.3204 | 300333.438 | 28.7 | 67.6
57943 | 2021-03-29 13:37 | 24.0015 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 174.116 | μmol/L | 29.9356 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.087 | 109545.1262 | 300326.1053 | 28.7 | 67.6
57953 | 2021-03-29 13:38 | 24.3345 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 174.0266 | μmol/L | 29.9295 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.095 | 109582.1476 | 300313.153 | 28.7 | 67.6
57963 | 2021-03-29 13:38 | 24.6683 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.8246 | μmol/L | 29.9478 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.102 | 109617.1905 | 300336.4878 | 28.7 | 67.6
57973 | 2021-03-29 13:38 | 25.0011 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.7354 | μmol/L | 29.9417 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.11 | 109646.9735 | 300304.8258 | 28.7 | 67.6
57983 | 2021-03-29 13:39 | 25.3349 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.6749 | μmol/L | 29.9417 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.114 | 109676.1626 | 300302.1307 | 28.7 | 67.6
57993 | 2021-03-29 13:39 | 25.6677 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.5203 | μmol/L | 29.9539 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.12 | 109708.5279 | 300293.7594 | 28.7 | 67.6
58003 | 2021-03-29 13:39 | 26.0013 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.5085 | μmol/L | 29.9417 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.125 | 109734.5952 | 300286.7448 | 28.7 | 67.6
58013 | 2021-03-29 13:40 | 26.3345 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.386 | μmol/L | 29.9478 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.131 | 109755.8344 | 300270.2232 | 28.7 | 67.6
58023 | 2021-03-29 13:40 | 26.6684 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.386 | μmol/L | 29.9478 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.131 | 109767.2749 | 300267.8916 | 28.7 | 67.6
58033 | 2021-03-29 13:40 | 27.0013 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.3558 | μmol/L | 29.9478 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.133 | 109779.6819 | 300260.4963 | 28.7 | 67.6
58043 | 2021-03-29 13:41 | 27.3352 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.2485 | μmol/L | 29.9539 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.138 | 109796.7356 | 300247.5122 | 28.7 | 67.6
58053 | 2021-03-29 13:41 | 27.6681 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.1714 | μmol/L | 29.96 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.141 | 109819.9797 | 300248.486 | 28.7 | 67.6
58063 | 2021-03-29 13:41 | 28.0017 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.0458 | μmol/L | 29.9783 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.143 | 109834.8881 | 300224.6295 | 28.7 | 67.6
58073 | 2021-03-29 13:42 | 28.3348 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.9722 | μmol/L | 29.9722 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.15 | 109848.7355 | 300230.536 | 28.7 | 67.6
58083 | 2021-03-29 13:42 | 28.6685 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.9906 | μmol/L | 29.96 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.153 | 109864.7709 | 300211.2266 | 28.7 | 67.6
58093 | 2021-03-29 13:42 | 29.0014 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.9605 | μmol/L | 29.96 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.155 | 109891.3635 | 300215.5888 | 28.7 | 67.6
58103 | 2021-03-29 13:43 | 29.3349 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.9003 | μmol/L | 29.96 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.159 | 109894.0595 | 300211.7356 | 28.7 | 67.6
58113 | 2021-03-29 13:43 | 29.668 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.8401 | μmol/L | 29.96 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.163 | 109905.5596 | 300193.1843 | 28.7 | 67.6
58123 | 2021-03-29 13:43 | 30.0018 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.8234 | μmol/L | 29.9661 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.162 | 109915.6165 | 300185.7067 | 28.7 | 67.6
58133 | 2021-03-29 13:44 | 30.3347 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.6696 | μmol/L | 29.9783 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.168 | 109943.0738 | 300185.486 | 28.7 | 67.6
58143 | 2021-03-29 13:44 | 30.6685 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.7048 | μmol/L | 29.96 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.172 | 109950.7015 | 300181.6106 | 28.7 | 67.6
58153 | 2021-03-29 13:44 | 31.0013 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.5996 | μmol/L | 29.96 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.179 | 109972.5091 | 300182.7423 | 28.7 | 67.6
58163 | 2021-03-29 13:45 | 31.3349 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.5696 | μmol/L | 29.96 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.181 | 110024.4077 | 300173.8123 | 28.7 | 67.6
58173 | 2021-03-29 13:45 | 31.6681 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.4628 | μmol/L | 29.9661 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.186 | 110029.3866 | 300152.0033 | 28.7 | 67.6
58183 | 2021-03-29 13:45 | 32.0018 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.5078 | μmol/L | 29.9661 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.183 | 110007.7884 | 300158.0344 | 28.7 | 67.6
58193 | 2021-03-29 13:46 | 32.3347 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.588 | μmol/L | 29.9478 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.184 | 110004.7004 | 300159.752 | 28.7 | 67.6
58203 | 2021-03-29 13:46 | 32.6677 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.5279 | μmol/L | 29.9478 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.188 | 110013.9474 | 300153.5716 | 28.7 | 67.6
58213 | 2021-03-29 13:46 | 33.001 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.6514 | μmol/L | 29.9356 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.184 | 110016.7949 | 300145.5784 | 28.7 | 67.6
58223 | 2021-03-29 13:47 | 33.3346 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.6531 | μmol/L | 29.9295 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.186 | 110019.2622 | 300124.5556 | 28.7 | 67.6
58233 | 2021-03-29 13:47 | 33.6682 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.4195 | μmol/L | 29.96 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.191 | 110016.9362 | 300117.6357 | 28.7 | 67.6
58243 | 2021-03-29 13:47 | 34.0012 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.4161 | μmol/L | 29.9722 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.187 | 109979.5216 | 300127.286 | 28.7 | 67.6
58253 | 2021-03-29 13:48 | 34.3349 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.5846 | μmol/L | 29.96 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.18 | 109966.036 | 300119.8672 | 28.7 | 67.6
58263 | 2021-03-29 13:48 | 34.6677 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.6498 | μmol/L | 29.9417 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.182 | 109960.7913 | 300097.331 | 28.7 | 67.6
58273 | 2021-03-29 13:48 | 35.0016 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.543 | μmol/L | 29.9478 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.187 | 109974.197 | 300095.2641 | 28.7 | 67.6
58283 | 2021-03-29 13:49 | 35.3347 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.4662 | μmol/L | 29.9539 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.19 | 109990.2671 | 300094.7558 | 28.7 | 67.6
58293 | 2021-03-29 13:49 | 35.6677 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.3929 | μmol/L | 29.9478 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.197 | 110008.6844 | 300079.7056 | 28.7 | 67.6
58303 | 2021-03-29 13:49 | 36.0017 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.2696 | μmol/L | 29.96 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.201 | 110030.3757 | 300080.2413 | 28.7 | 67.6
58313 | 2021-03-29 13:50 | 36.3345 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.1182 | μmol/L | 29.9661 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.209 | 110074.554 | 300072.8773 | 28.7 | 67.6
58323 | 2021-03-29 13:50 | 36.6682 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.1849 | μmol/L | 29.9417 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.213 | 110121.3087 | 300064.7057 | 28.7 | 67.6
58333 | 2021-03-29 13:50 | 37.0011 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.1318 | μmol/L | 29.9173 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.225 | 110177.8188 | 300055.7801 | 28.7 | 67.6
58343 | 2021-03-29 13:51 | 37.335 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.0737 | μmol/L | 29.9112 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.231 | 110202.6036 | 300059.6362 | 28.7 | 67.6
58353 | 2021-03-29 13:51 | 37.668 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.8111 | μmol/L | 29.9417 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.238 | 110202.6712 | 300044.2886 | 28.7 | 67.6
58363 | 2021-03-29 13:51 | 38.0018 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.7462 | μmol/L | 29.96 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.236 | 110163.9416 | 300033.3865 | 28.7 | 67.6
58373 | 2021-03-29 13:52 | 38.3348 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.8375 | μmol/L | 29.9539 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.232 | 110181.6937 | 300034.4345 | 28.7 | 67.6
58383 | 2021-03-29 13:52 | 38.6677 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.8111 | μmol/L | 29.9417 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.238 | 110216.3027 | 300018.8851 | 28.7 | 67.6
58393 | 2021-03-29 13:52 | 39.0013 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.7233 | μmol/L | 29.9356 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.246 | 110253.6383 | 300024.1396 | 28.7 | 67.6
58403 | 2021-03-29 13:53 | 39.3352 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.7135 | μmol/L | 29.9173 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.253 | 110262.6237 | 300004.4743 | 28.7 | 67.6
58413 | 2021-03-29 13:53 | 39.6681 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.7318 | μmol/L | 29.9051 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.256 | 110294.8086 | 300007.7352 | 28.7 | 67.6
58423 | 2021-03-29 13:53 | 40.0018 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.624 | μmol/L | 29.9173 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.259 | 110315.048 | 299999.0766 | 28.7 | 67.6
58433 | 2021-03-29 13:54 | 40.3347 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.4584 | μmol/L | 29.9234 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.268 | 110343.8848 | 300006.1642 | 28.7 | 67.6
58443 | 2021-03-29 13:54 | 40.6678 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.5678 | μmol/L | 29.9051 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.267 | 110346.5674 | 299987.4667 | 28.7 | 67.6
58453 | 2021-03-29 13:54 | 41.0017 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.6011 | μmol/L | 29.8929 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.269 | 110368.8129 | 299974.9683 | 28.7 | 67.6
58463 | 2021-03-29 13:55 | 41.3346 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.5879 | μmol/L | 29.8868 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.272 | 110384.1463 | 299984.581 | 28.7 | 67.6
58473 | 2021-03-29 13:55 | 41.6677 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.4836 | μmol/L | 29.8868 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.279 | 110398.7556 | 299977.3484 | 28.7 | 67.6
58483 | 2021-03-29 13:55 | 42.0014 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.5036 | μmol/L | 29.8685 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.284 | 110434.4208 | 299973.6648 | 28.7 | 67.6
58493 | 2021-03-29 13:56 | 42.3351 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.305 | μmol/L | 29.8868 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.291 | 110473.7818 | 299975.1819 | 28.7 | 67.6
58503 | 2021-03-29 13:56 | 42.6683 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.2141 | μmol/L | 29.8929 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.295 | 110488.1173 | 299954.4087 | 28.7 | 67.6
58513 | 2021-03-29 13:56 | 43.0015 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.1267 | μmol/L | 29.8868 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.303 | 110522.4257 | 299960.7531 | 28.7 | 67.6
58523 | 2021-03-29 13:57 | 43.3345 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.0227 | μmol/L | 29.8868 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.31 | 110556.3767 | 299952.24 | 28.7 | 67.6
58533 | 2021-03-29 13:57 | 43.6684 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.9634 | μmol/L | 29.8868 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.314 | 110597.5887 | 299950.2638 | 28.7 | 67.6
58543 | 2021-03-29 13:57 | 44.0012 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.8282 | μmol/L | 29.8929 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.321 | 110629.417 | 299944.0326 | 28.7 | 67.6
58553 | 2021-03-29 13:58 | 44.3347 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.6931 | μmol/L | 29.899 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.328 | 110627.4388 | 299933.7861 | 28.7 | 67.6
58563 | 2021-03-29 13:58 | 44.668 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.5878 | μmol/L | 29.9051 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.333 | 110649.812 | 299927.4082 | 28.7 | 67.6
58573 | 2021-03-29 13:58 | 45.0011 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.4973 | μmol/L | 29.9112 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.337 | 110682.4259 | 299918.1617 | 28.7 | 67.6
58583 | 2021-03-29 13:59 | 45.3348 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.4842 | μmol/L | 29.9051 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.34 | 110734.2358 | 299921.9723 | 28.7 | 67.6
58593 | 2021-03-29 13:59 | 45.6683 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.2756 | μmol/L | 29.9112 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.352 | 110771.6589 | 299896.9986 | 28.7 | 67.6
58603 | 2021-03-29 13:59 | 46.0013 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.1888 | μmol/L | 29.9051 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.36 | 110816.0512 | 299892.4847 | 28.7 | 67.6
58613 | 2021-03-29 14:00 | 46.3348 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.1758 | μmol/L | 29.899 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.363 | 110833.4746 | 299891.9178 | 28.7 | 67.6
58623 | 2021-03-29 14:00 | 46.6678 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.1133 | μmol/L | 29.9112 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.363 | 110836.1646 | 299896.953 | 28.7 | 67.6
58633 | 2021-03-29 14:00 | 47.0017 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.0196 | μmol/L | 29.9295 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.363 | 110832.8979 | 299884.868 | 28.7 | 67.6
58643 | 2021-03-29 14:01 | 47.3346 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.0066 | μmol/L | 29.9234 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.366 | 110850.3137 | 299882.3943 | 28.7 | 67.6
58653 | 2021-03-29 14:01 | 47.6682 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.9182 | μmol/L | 29.9234 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.372 | 110866.9027 | 299873.4578 | 28.7 | 67.6
58663 | 2021-03-29 14:01 | 48.0017 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.874 | μmol/L | 29.9234 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.375 | 110905.2907 | 299859.5099 | 28.7 | 67.6
58673 | 2021-03-29 14:02 | 48.3349 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.668 | μmol/L | 29.9234 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.389 | 110956.4297 | 299868.9031 | 28.7 | 67.6
58683 | 2021-03-29 14:02 | 48.6678 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.5781 | μmol/L | 29.9295 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.393 | 110996.051 | 299863.3299 | 28.7 | 67.6
58693 | 2021-03-29 14:02 | 49.0016 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.5229 | μmol/L | 29.9173 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.401 | 111033.8961 | 299869.4211 | 28.7 | 67.6
58703 | 2021-03-29 14:03 | 49.3347 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.5046 | μmol/L | 29.9295 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.398 | 111036.7436 | 299850.9458 | 28.7 | 67.6
58713 | 2021-03-29 14:03 | 49.6677 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.4459 | μmol/L | 29.9295 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.402 | 111036.3596 | 299833.4534 | 28.7 | 67.6
58723 | 2021-03-29 14:03 | 50.0018 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.4459 | μmol/L | 29.9295 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.402 | 111056.6574 | 299836.8398 | 28.7 | 67.6
58733 | 2021-03-29 14:04 | 50.3349 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.2241 | μmol/L | 29.9356 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.415 | 111103.051 | 299828.0371 | 28.7 | 67.6
58743 | 2021-03-29 14:04 | 50.6679 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.1509 | μmol/L | 29.9356 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.42 | 111155.4206 | 299827.4706 | 28.7 | 67.6
58753 | 2021-03-29 14:04 | 51.0015 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.8053 | μmol/L | 29.9661 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.433 | 111206.4091 | 299815.7377 | 28.7 | 67.6
58763 | 2021-03-29 14:05 | 51.3346 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.6282 | μmol/L | 29.9722 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.443 | 111280.4992 | 299820.4182 | 28.7 | 67.6
58773 | 2021-03-29 14:05 | 51.6684 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.4659 | μmol/L | 29.9783 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.452 | 111339.6246 | 299797.9596 | 28.7 | 67.6
58783 | 2021-03-29 14:05 | 52.0012 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.4113 | μmol/L | 29.9661 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.46 | 111376.0973 | 299797.1586 | 28.7 | 67.6
58793 | 2021-03-29 14:06 | 52.3351 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.2656 | μmol/L | 29.9661 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.47 | 111413.1065 | 299794.9881 | 28.7 | 67.6