## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-29 14:07

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
57224 | 2021-03-29 13:13 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 198.7594 | μmol/L | 29.922 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.217 | 144529.7808 | 275664.4091 | 36.4 | 83.1
57234 | 2021-03-29 13:14 | 0.34094 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 198.2469 | μmol/L | 29.9834 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.225 | 144591.9689 | 275654.5221 | 36.4 | 83.1
57243 | 2021-03-29 13:14 | 0.68916 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 198.1975 | μmol/L | 29.9773 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.23 | 144610.8421 | 275647.8169 | 36.4 | 83.1
57254 | 2021-03-29 13:14 | 1.0075 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 197.9271 | μmol/L | 30.0018 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.237 | 144661.2213 | 275634.9128 | 36.4 | 83.1
57264 | 2021-03-29 13:15 | 1.3404 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 198.0949 | μmol/L | 29.9343 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.251 | 144753.2885 | 275627.1428 | 36.4 | 83.1
57274 | 2021-03-29 13:15 | 1.6739 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 197.6067 | μmol/L | 29.9834 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.262 | 144816.8695 | 275613.4554 | 36.4 | 83.1
57284 | 2021-03-29 13:15 | 2.0076 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 197.652 | μmol/L | 29.9588 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.268 | 144847.8505 | 275586.6864 | 36.4 | 83.1
57294 | 2021-03-29 13:16 | 2.3408 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 197.3453 | μmol/L | 29.9896 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.275 | 144870.2472 | 275585.2975 | 36.4 | 83.1
57304 | 2021-03-29 13:16 | 2.6736 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 197.2247 | μmol/L | 29.9896 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.282 | 144966.6643 | 275592.5937 | 36.4 | 83.1
57314 | 2021-03-29 13:16 | 3.0074 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.915 | μmol/L | 29.9896 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.3 | 145073.1287 | 275573.8964 | 36.4 | 83.1
57324 | 2021-03-29 13:17 | 3.341 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.5408 | μmol/L | 30.0203 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.311 | 145147.3777 | 275564.0954 | 36.4 | 83.1
57334 | 2021-03-29 13:17 | 3.6739 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.5969 | μmol/L | 29.9711 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.325 | 145218.7368 | 275546.0731 | 36.4 | 83.1
57344 | 2021-03-29 13:17 | 4.0074 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.2667 | μmol/L | 30.0203 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.327 | 145269.6394 | 275535.0122 | 36.4 | 83.1
57354 | 2021-03-29 13:18 | 4.3403 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.0503 | μmol/L | 30.0449 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.331 | 145259.7827 | 275526.0518 | 36.4 | 83.1
57364 | 2021-03-29 13:18 | 4.674 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.3659 | μmol/L | 29.9896 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.332 | 145271.6065 | 275509.0559 | 36.4 | 83.1
57374 | 2021-03-29 13:18 | 5.0071 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.3535 | μmol/L | 29.9404 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.35 | 145390.6969 | 275504.5929 | 36.4 | 83.1
57384 | 2021-03-29 13:19 | 5.3408 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.1516 | μmol/L | 29.9711 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.351 | 145389.3531 | 275494.4169 | 36.4 | 83.1
57394 | 2021-03-29 13:19 | 5.6736 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.2625 | μmol/L | 29.9527 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.351 | 145368.6052 | 275488.8895 | 36.4 | 83.1
57404 | 2021-03-29 13:19 | 6.0073 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.3282 | μmol/L | 29.9588 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.345 | 145310.8747 | 275483.5707 | 36.4 | 83.1
57414 | 2021-03-29 13:20 | 6.3409 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.956 | μmol/L | 30.0264 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.343 | 145295.1346 | 275459.2444 | 36.4 | 83.1
57424 | 2021-03-29 13:20 | 6.6738 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.1886 | μmol/L | 29.965 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.351 | 145336.6684 | 275442.6428 | 36.4 | 83.1
57434 | 2021-03-29 13:20 | 7.0074 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.7285 | μmol/L | 30.0387 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.352 | 145324.4836 | 275434.0829 | 36.4 | 83.1
57444 | 2021-03-29 13:21 | 7.3407 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.4923 | μmol/L | 29.8974 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.357 | 145339.7588 | 275421.9989 | 36.4 | 83.1
57454 | 2021-03-29 13:21 | 7.6743 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.7792 | μmol/L | 30.0018 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.362 | 145354.9726 | 275414.5849 | 36.4 | 83.1
57464 | 2021-03-29 13:21 | 8.007 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.3328 | μmol/L | 29.9097 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.362 | 145367.104 | 275399.3019 | 36.4 | 83.1
57474 | 2021-03-29 13:22 | 8.3407 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.9691 | μmol/L | 29.9588 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.366 | 145390.4119 | 275398.9426 | 36.4 | 83.1
57484 | 2021-03-29 13:22 | 8.6737 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.1311 | μmol/L | 29.9404 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.363 | 145358.8827 | 275396.8426 | 36.4 | 83.1
57494 | 2021-03-29 13:22 | 9.0075 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.3581 | μmol/L | 29.8912 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.367 | 145381.8521 | 275380.7419 | 36.4 | 83.1
57504 | 2021-03-29 13:23 | 9.3404 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.4437 | μmol/L | 29.8912 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.362 | 145328.783 | 275385.1682 | 36.4 | 83.1
57514 | 2021-03-29 13:23 | 9.6742 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.0115 | μmol/L | 29.9404 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.37 | 145370.4206 | 275369.4671 | 36.4 | 83.1
57524 | 2021-03-29 13:23 | 10.0073 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.6653 | μmol/L | 29.9896 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.373 | 145393.0267 | 275364.1015 | 36.4 | 83.1
57534 | 2021-03-29 13:24 | 10.3408 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.9602 | μmol/L | 29.9404 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.373 | 145406.4659 | 275346.041 | 36.4 | 83.1
57544 | 2021-03-29 13:24 | 10.6737 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.278 | μmol/L | 29.8789 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.376 | 145399.0884 | 275348.9293 | 36.4 | 83.1
57554 | 2021-03-29 13:24 | 11.0075 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.9882 | μmol/L | 29.9158 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.38 | 145433.6694 | 275335.0247 | 36.4 | 83.1
57564 | 2021-03-29 13:25 | 11.3409 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.9002 | μmol/L | 29.922 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.383 | 145451.2961 | 275342.609 | 36.4 | 83.1
57574 | 2021-03-29 13:25 | 11.6738 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.1889 | μmol/L | 29.8482 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.392 | 145505.7025 | 275317.8288 | 36.4 | 83.1
57584 | 2021-03-29 13:25 | 12.0077 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.8995 | μmol/L | 29.8851 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.396 | 145512.813 | 275310.28 | 36.4 | 83.1
57594 | 2021-03-29 13:26 | 12.3404 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.8203 | μmol/L | 29.9097 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.392 | 145485.5113 | 275312.6914 | 36.4 | 83.1
57604 | 2021-03-29 13:26 | 12.6742 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.3247 | μmol/L | 29.9896 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.393 | 145478.3133 | 275293.8978 | 36.4 | 83.1
57614 | 2021-03-29 13:26 | 13.0074 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.2088 | μmol/L | 30.0203 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.389 | 145439.0955 | 275295.2843 | 36.4 | 83.1
57624 | 2021-03-29 13:27 | 13.3403 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.9247 | μmol/L | 29.8667 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.401 | 145516.9679 | 275282.6965 | 36.4 | 83.1
57634 | 2021-03-29 13:27 | 13.6738 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.8906 | μmol/L | 29.8667 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.403 | 145538.4461 | 275272.9014 | 36.4 | 83.1
57644 | 2021-03-29 13:27 | 14.0076 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.562 | μmol/L | 29.9158 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.405 | 145566.9589 | 275260.5035 | 36.4 | 83.1
57654 | 2021-03-29 13:28 | 14.3409 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.4033 | μmol/L | 29.9281 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.41 | 145572.595 | 275254.3451 | 36.4 | 83.1
57664 | 2021-03-29 13:28 | 14.6742 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 194.9765 | μmol/L | 30.008 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.407 | 145543.994 | 275252.3117 | 36.4 | 83.1
57674 | 2021-03-29 13:28 | 15.007 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 194.7985 | μmol/L | 30.0264 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.411 | 145574.6794 | 275236.9365 | 36.4 | 83.1
57684 | 2021-03-29 13:29 | 15.3409 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.3325 | μmol/L | 29.9343 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.412 | 145567.9924 | 275230.4825 | 36.4 | 83.1
57694 | 2021-03-29 13:29 | 15.6737 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.3242 | μmol/L | 29.9527 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.406 | 145550.1603 | 275235.9193 | 36.4 | 83.1
57704 | 2021-03-29 13:29 | 16.0075 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.6492 | μmol/L | 29.8728 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.415 | 145584.9972 | 275231.7433 | 36.4 | 83.1
57714 | 2021-03-29 13:30 | 16.3405 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.6404 | μmol/L | 29.8544 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.422 | 145651.5363 | 275224.0364 | 36.4 | 83.1
57724 | 2021-03-29 13:30 | 16.6742 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.3627 | μmol/L | 29.8667 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.434 | 145720.5916 | 275206.9072 | 36.4 | 83.1
57734 | 2021-03-29 13:30 | 17.0077 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.1025 | μmol/L | 29.8789 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.445 | 145799.7788 | 275191.1446 | 36.4 | 83.1
57744 | 2021-03-29 13:31 | 17.3406 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.0511 | μmol/L | 29.8421 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.461 | 145898.0054 | 275186.298 | 36.4 | 83.1
57754 | 2021-03-29 13:31 | 17.6743 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 194.2538 | μmol/L | 29.9588 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.467 | 145965.2781 | 275176.7271 | 36.4 | 83.1
57764 | 2021-03-29 13:31 | 18.007 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 194.1215 | μmol/L | 29.9527 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.477 | 146018.7468 | 275168.0544 | 36.4 | 83.1
57774 | 2021-03-29 13:32 | 18.3407 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 194.4533 | μmol/L | 29.8912 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.479 | 146015.2696 | 275165.4521 | 36.4 | 83.1
57784 | 2021-03-29 13:32 | 18.6739 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 194.5686 | μmol/L | 29.8605 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.483 | 146052.9092 | 275164.8315 | 36.4 | 83.1
57794 | 2021-03-29 13:32 | 19.0075 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 194.6697 | μmol/L | 29.8236 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.49 | 146099.3301 | 275158.4305 | 36.4 | 83.1
57804 | 2021-03-29 13:33 | 19.3403 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 194.29 | μmol/L | 29.8789 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.493 | 146142.3992 | 275158.198 | 36.4 | 83.1
57814 | 2021-03-29 13:33 | 19.6743 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 194.4303 | μmol/L | 29.8298 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.502 | 146163.6869 | 275137.9784 | 36.4 | 83.1
57824 | 2021-03-29 13:33 | 20.0072 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 194.4276 | μmol/L | 29.8359 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.5 | 146177.4078 | 275130.748 | 36.4 | 83.1
57834 | 2021-03-29 13:34 | 20.3408 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 194.3459 | μmol/L | 29.8298 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.507 | 146213.4499 | 275122.7033 | 36.4 | 83.1
57844 | 2021-03-29 13:34 | 20.6739 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 194.1127 | μmol/L | 29.8605 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.51 | 146264.7661 | 275139.5094 | 36.4 | 83.1
57854 | 2021-03-29 13:34 | 21.007 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 193.8405 | μmol/L | 29.9035 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.511 | 146253.3982 | 275134.2066 | 36.4 | 83.1
57864 | 2021-03-29 13:35 | 21.341 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 193.8237 | μmol/L | 29.9035 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.512 | 146242.8407 | 275117.1264 | 36.4 | 83.1
57874 | 2021-03-29 13:35 | 21.6738 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 193.9303 | μmol/L | 29.8912 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.51 | 146227.3929 | 275104.6132 | 36.4 | 83.1
57884 | 2021-03-29 13:35 | 22.0069 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 193.7227 | μmol/L | 29.9404 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.505 | 146191.0562 | 275094.7681 | 36.4 | 83.1
57894 | 2021-03-29 13:36 | 22.3405 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 193.4704 | μmol/L | 29.9773 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.507 | 146186.9611 | 275090.0483 | 36.4 | 83.1
57904 | 2021-03-29 13:36 | 22.674 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 193.4032 | μmol/L | 29.9773 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.511 | 146227.5841 | 275084.8025 | 36.4 | 83.1
57914 | 2021-03-29 13:36 | 23.0071 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 193.2128 | μmol/L | 29.9896 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.518 | 146263.7952 | 275069.0119 | 36.4 | 83.1
57924 | 2021-03-29 13:37 | 23.3408 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 193.5097 | μmol/L | 29.9281 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.522 | 146296.4551 | 275067.1563 | 36.4 | 83.1
57934 | 2021-03-29 13:37 | 23.6736 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 193.549 | μmol/L | 29.9158 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.524 | 146303.6108 | 275046.946 | 36.4 | 83.1
57944 | 2021-03-29 13:37 | 24.0074 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 193.171 | μmol/L | 29.9711 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.527 | 146329.7147 | 275066.4028 | 36.4 | 83.1
57954 | 2021-03-29 13:38 | 24.3403 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 193.0366 | μmol/L | 30.008 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.522 | 146296.3305 | 275063.0208 | 36.4 | 83.1
57964 | 2021-03-29 13:38 | 24.674 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 193.1346 | μmol/L | 29.9773 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.527 | 146288.0477 | 275052.8981 | 36.4 | 83.1
57974 | 2021-03-29 13:38 | 25.0071 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 193.3865 | μmol/L | 29.9404 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.525 | 146294.1116 | 275045.2756 | 36.4 | 83.1
57984 | 2021-03-29 13:39 | 25.3409 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 193.1906 | μmol/L | 29.965 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.528 | 146303.1554 | 275035.6413 | 36.4 | 83.1
57994 | 2021-03-29 13:39 | 25.6739 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 193.1906 | μmol/L | 29.965 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.528 | 146313.826 | 275025.5563 | 36.4 | 83.1
58004 | 2021-03-29 13:39 | 26.0076 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 193.0397 | μmol/L | 29.965 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.537 | 146338.8802 | 275017.1782 | 36.4 | 83.1
58014 | 2021-03-29 13:40 | 26.3408 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 193.1181 | μmol/L | 29.9404 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.541 | 146381.6797 | 275012.3627 | 36.4 | 83.1
58024 | 2021-03-29 13:40 | 26.6738 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 193.0176 | μmol/L | 29.9404 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.547 | 146438.166 | 275013.8483 | 36.4 | 83.1
58034 | 2021-03-29 13:40 | 27.0077 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 192.9591 | μmol/L | 29.922 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.557 | 146485.8765 | 275013.3923 | 36.4 | 83.1
58044 | 2021-03-29 13:41 | 27.3405 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 192.7302 | μmol/L | 29.9465 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.562 | 146545.5168 | 275008.3141 | 36.4 | 83.1
58054 | 2021-03-29 13:41 | 27.6743 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 192.006 | μmol/L | 30.0326 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.575 | 146629.4563 | 275007.5171 | 36.4 | 83.1
58064 | 2021-03-29 13:41 | 28.0071 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 191.9343 | μmol/L | 30.008 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.588 | 146689.7593 | 274987.9282 | 36.4 | 83.1
58074 | 2021-03-29 13:42 | 28.3409 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 191.8511 | μmol/L | 30.008 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.593 | 146772.3677 | 274997.5634 | 36.4 | 83.1
58084 | 2021-03-29 13:42 | 28.6738 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 192.0354 | μmol/L | 29.9343 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.608 | 146853.6793 | 274984.2101 | 36.4 | 83.1
58094 | 2021-03-29 13:42 | 29.0076 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 191.708 | μmol/L | 29.9588 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.619 | 146953.7882 | 274980.8561 | 36.4 | 83.1
58104 | 2021-03-29 13:43 | 29.3405 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 191.6084 | μmol/L | 29.9588 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.625 | 146988.9861 | 274980.3065 | 36.4 | 83.1
58114 | 2021-03-29 13:43 | 29.6744 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 191.4172 | μmol/L | 29.9773 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.63 | 147024.2179 | 274973.2297 | 36.4 | 83.1
58124 | 2021-03-29 13:43 | 30.0074 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 191.3675 | μmol/L | 29.9773 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.633 | 147051.0914 | 274962.8654 | 36.4 | 83.1
58134 | 2021-03-29 13:44 | 30.3402 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 191.6394 | μmol/L | 29.9281 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.634 | 147058.7083 | 274950.7639 | 36.4 | 83.1
58144 | 2021-03-29 13:44 | 30.6742 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 191.3157 | μmol/L | 29.9465 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.647 | 147125.9495 | 274958.6179 | 36.4 | 83.1
58154 | 2021-03-29 13:44 | 31.0071 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 190.8896 | μmol/L | 30.008 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.651 | 147164.1028 | 274950.4513 | 36.4 | 83.1
58164 | 2021-03-29 13:45 | 31.341 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 190.9362 | μmol/L | 30.0141 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.646 | 147141.1615 | 274938.5388 | 36.4 | 83.1
58174 | 2021-03-29 13:45 | 31.6741 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 191.0364 | μmol/L | 29.9773 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.653 | 147151.6629 | 274937.2991 | 36.4 | 83.1
58184 | 2021-03-29 13:45 | 32.0075 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 190.8594 | μmol/L | 30.0018 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.655 | 147187.8414 | 274928.8172 | 36.4 | 83.1
58194 | 2021-03-29 13:46 | 32.3405 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 190.672 | μmol/L | 30.0141 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.662 | 147229.2767 | 274928.7927 | 36.4 | 83.1
58204 | 2021-03-29 13:46 | 32.6736 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 190.7021 | μmol/L | 30.0203 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.658 | 147203.4109 | 274912.4998 | 36.4 | 83.1
58214 | 2021-03-29 13:46 | 33.0074 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 190.7555 | μmol/L | 29.9773 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.67 | 147292.1864 | 274923.8193 | 36.4 | 83.1
58224 | 2021-03-29 13:47 | 33.341 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 191.0236 | μmol/L | 29.9343 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.669 | 147281.3969 | 274914.494 | 36.4 | 83.1
58234 | 2021-03-29 13:47 | 33.674 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 190.8885 | μmol/L | 29.9404 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.675 | 147314.4503 | 274902.78 | 36.4 | 83.1
58244 | 2021-03-29 13:47 | 34.007 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 190.9059 | μmol/L | 29.9035 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.687 | 147392.7605 | 274903.5813 | 36.4 | 83.1
58254 | 2021-03-29 13:48 | 34.3409 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 190.7759 | μmol/L | 29.9343 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.684 | 147402.5833 | 274895.0967 | 36.4 | 83.1
58264 | 2021-03-29 13:48 | 34.6736 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 190.641 | μmol/L | 29.9404 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.69 | 147418.9617 | 274894.7134 | 36.4 | 83.1
58274 | 2021-03-29 13:48 | 35.0074 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 190.2987 | μmol/L | 30.0018 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.689 | 147373.5677 | 274881.9326 | 36.4 | 83.1
58284 | 2021-03-29 13:49 | 35.3403 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 190.7128 | μmol/L | 29.9281 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.69 | 147401.8316 | 274886.0864 | 36.4 | 83.1
58294 | 2021-03-29 13:49 | 35.6743 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 190.8535 | μmol/L | 29.9097 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.688 | 147372.2785 | 274884.9166 | 36.4 | 83.1
58304 | 2021-03-29 13:49 | 36.0074 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 190.5246 | μmol/L | 29.9773 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.684 | 147366.2898 | 274871.4329 | 36.4 | 83.1
58314 | 2021-03-29 13:50 | 36.3403 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 190.4839 | μmol/L | 29.9588 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.693 | 147409.0152 | 274864.5375 | 36.4 | 83.1
58324 | 2021-03-29 13:50 | 36.6739 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 190.3522 | μmol/L | 29.9588 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.701 | 147455.1246 | 274868.6406 | 36.4 | 83.1
58334 | 2021-03-29 13:50 | 37.0075 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 190.1178 | μmol/L | 30.0018 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.7 | 147446.5801 | 274864.0438 | 36.4 | 83.1
58344 | 2021-03-29 13:51 | 37.3404 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 189.9341 | μmol/L | 30.008 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.709 | 147488.7311 | 274858.2781 | 36.4 | 83.1
58354 | 2021-03-29 13:51 | 37.6741 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 189.6866 | μmol/L | 30.0449 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.711 | 147522.0358 | 274848.5639 | 36.4 | 83.1
58364 | 2021-03-29 13:51 | 38.0077 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 190.1994 | μmol/L | 29.9343 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.719 | 147571.9436 | 274849.9461 | 36.4 | 83.1
58374 | 2021-03-29 13:52 | 38.3408 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 190.3039 | μmol/L | 29.922 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.717 | 147544.58 | 274834.7017 | 36.4 | 83.1
58384 | 2021-03-29 13:52 | 38.6738 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 190.67 | μmol/L | 29.8789 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.71 | 147511.7362 | 274830.309 | 36.4 | 83.1
58394 | 2021-03-29 13:52 | 39.0076 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 190.5159 | μmol/L | 29.8912 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.715 | 147525.4698 | 274831.4826 | 36.4 | 83.1
58404 | 2021-03-29 13:53 | 39.3404 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 190.5934 | μmol/L | 29.8667 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.719 | 147556.9854 | 274835.2283 | 36.4 | 83.1
58414 | 2021-03-29 13:53 | 39.6742 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 189.7952 | μmol/L | 29.9896 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.724 | 147591.8299 | 274825.1767 | 36.4 | 83.1
58424 | 2021-03-29 13:53 | 40.007 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 189.8011 | μmol/L | 29.9773 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.728 | 147593.2994 | 274819.8115 | 36.4 | 83.1
58434 | 2021-03-29 13:54 | 40.3408 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 189.8398 | μmol/L | 29.965 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.73 | 147612.0209 | 274812.2911 | 36.4 | 83.1
58444 | 2021-03-29 13:54 | 40.6738 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 189.8756 | μmol/L | 29.9588 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.73 | 147627.5696 | 274805.1979 | 36.4 | 83.1
58454 | 2021-03-29 13:54 | 41.0077 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 189.5985 | μmol/L | 29.9896 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.736 | 147657.7575 | 274809.5061 | 36.4 | 83.1
58464 | 2021-03-29 13:55 | 41.3406 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 189.3516 | μmol/L | 30.0264 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.738 | 147666.6802 | 274795.0707 | 36.4 | 83.1
58474 | 2021-03-29 13:55 | 41.6744 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 189.4571 | μmol/L | 29.9773 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.749 | 147703.2601 | 274790.4282 | 36.4 | 83.1
58484 | 2021-03-29 13:55 | 42.0075 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 189.3634 | μmol/L | 30.0018 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.746 | 147703.7743 | 274785.4898 | 36.4 | 83.1
58494 | 2021-03-29 13:56 | 42.3404 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 189.2326 | μmol/L | 30.0018 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.754 | 147774.2591 | 274785.9589 | 36.4 | 83.1
58504 | 2021-03-29 13:56 | 42.6738 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 189.2608 | μmol/L | 29.9773 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.761 | 147802.202 | 274768.9547 | 36.4 | 83.1
58514 | 2021-03-29 13:56 | 43.007 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 189.5625 | μmol/L | 29.9281 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.76 | 147781.9077 | 274774.6858 | 36.4 | 83.1
58524 | 2021-03-29 13:57 | 43.3408 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 190.1175 | μmol/L | 29.8298 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.761 | 147796.5481 | 274776.474 | 36.4 | 83.1
58534 | 2021-03-29 13:57 | 43.6738 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 189.6784 | μmol/L | 29.8912 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.766 | 147813.0383 | 274767.9008 | 36.4 | 83.1
58544 | 2021-03-29 13:57 | 44.0073 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 189.2667 | μmol/L | 29.965 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.765 | 147826.3841 | 274747.8661 | 36.4 | 83.1
58554 | 2021-03-29 13:58 | 44.341 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 189.237 | μmol/L | 29.9588 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.769 | 147846.461 | 274757.3153 | 36.4 | 83.1
58564 | 2021-03-29 13:58 | 44.6743 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 189.2266 | μmol/L | 29.9465 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.774 | 147863.583 | 274759.7082 | 36.4 | 83.1
58574 | 2021-03-29 13:58 | 45.0072 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 189.1553 | μmol/L | 29.9588 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.774 | 147858.9994 | 274747.206 | 36.4 | 83.1
58584 | 2021-03-29 13:59 | 45.3408 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 189.0678 | μmol/L | 29.9711 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.775 | 147882.4264 | 274747.8147 | 36.4 | 83.1
58594 | 2021-03-29 13:59 | 45.6736 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 188.912 | μmol/L | 29.9896 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.778 | 147897.6004 | 274740.9804 | 36.4 | 83.1
58604 | 2021-03-29 13:59 | 46.0074 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 188.5846 | μmol/L | 30.0264 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.785 | 147945.6968 | 274735.791 | 36.4 | 83.1
58614 | 2021-03-29 14:00 | 46.3408 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 188.9491 | μmol/L | 29.9465 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.791 | 147989.9775 | 274736.1018 | 36.4 | 83.1
58624 | 2021-03-29 14:00 | 46.674 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 188.7506 | μmol/L | 29.9527 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.801 | 148051.1613 | 274736.212 | 36.4 | 83.1
58634 | 2021-03-29 14:00 | 47.007 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 188.4044 | μmol/L | 29.9957 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.807 | 148116.6359 | 274723.1255 | 36.4 | 83.1
58644 | 2021-03-29 14:01 | 47.3406 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 188.1872 | μmol/L | 30.008 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.816 | 148168.7106 | 274722.3015 | 36.4 | 83.1
58654 | 2021-03-29 14:01 | 47.6741 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 188.171 | μmol/L | 30.008 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.817 | 148178.7837 | 274710.4697 | 36.4 | 83.1
58664 | 2021-03-29 14:01 | 48.0073 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 188.1283 | μmol/L | 29.9957 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.824 | 148209.4465 | 274704.1255 | 36.4 | 83.1
58674 | 2021-03-29 14:02 | 48.3403 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 188.1638 | μmol/L | 29.9896 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.824 | 148239.0185 | 274704.9874 | 36.4 | 83.1
58684 | 2021-03-29 14:02 | 48.6738 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 188.2509 | μmol/L | 29.9773 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.823 | 148230.3931 | 274696.9929 | 36.4 | 83.1
58694 | 2021-03-29 14:02 | 49.0069 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 187.8893 | μmol/L | 30.0203 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.83 | 148252.8203 | 274694.5858 | 36.4 | 83.1
58704 | 2021-03-29 14:03 | 49.3409 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 187.8954 | μmol/L | 30.008 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.834 | 148272.0976 | 274699.6055 | 36.4 | 83.1
58714 | 2021-03-29 14:03 | 49.6738 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 187.8569 | μmol/L | 30.0203 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.832 | 148271.2846 | 274691.1056 | 36.4 | 83.1
58724 | 2021-03-29 14:03 | 50.0077 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 187.6506 | μmol/L | 30.0449 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.836 | 148298.1912 | 274678.1877 | 36.4 | 83.1
58734 | 2021-03-29 14:04 | 50.3407 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 187.7376 | μmol/L | 30.0326 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.835 | 148304.9093 | 274691.1229 | 36.4 | 83.1
58744 | 2021-03-29 14:04 | 50.6738 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 187.683 | μmol/L | 30.0449 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.834 | 148263.7002 | 274677.4879 | 36.4 | 83.1
58754 | 2021-03-29 14:04 | 51.0077 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 187.8558 | μmol/L | 29.9896 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.843 | 148326.5222 | 274672.8677 | 36.4 | 83.1
58764 | 2021-03-29 14:05 | 51.3406 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 187.7365 | μmol/L | 30.0018 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.846 | 148374.5643 | 274662.4011 | 36.4 | 83.1
58774 | 2021-03-29 14:05 | 51.6736 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 187.5303 | μmol/L | 30.0264 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.85 | 148388.265 | 274658.7624 | 36.4 | 83.1
58784 | 2021-03-29 14:05 | 52.0073 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 187.4687 | μmol/L | 30.0203 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.856 | 148379.8452 | 274663.5704 | 36.4 | 83.1
58794 | 2021-03-29 14:06 | 52.3404 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 187.1569 | μmol/L | 30.0633 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.86 | 148464.8513 | 274659.6317 | 36.4 | 83.1