## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 207898393 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | 55.77 | 20 | °C | 22.24 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-29 16:54

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
58800 | 2021-03-29 15:40 | 0 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 168.3282 | μmol/L | 29.5061 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.705 | 192531.363 | 278839.6192 | 62.0402 | 75.7
58810 | 2021-03-29 15:40 | 0.33657 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 168.217 | μmol/L | 29.5799 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.687 | 192352.2617 | 278843.2817 | 62.0402 | 75.7
58820 | 2021-03-29 15:41 | 0.67018 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 168.3265 | μmol/L | 29.5983 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.673 | 192223.9482 | 278843.0014 | 62.0402 | 75.7
58830 | 2021-03-29 15:41 | 1.0034 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 168.3079 | μmol/L | 29.6106 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.67 | 192141.1727 | 278824.3246 | 62.0402 | 75.7
58840 | 2021-03-29 15:41 | 1.3363 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 168.1943 | μmol/L | 29.6045 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.68 | 192246.8123 | 278809.0847 | 62.0402 | 75.7
58850 | 2021-03-29 15:42 | 1.6701 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 168.1633 | μmol/L | 29.6106 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.68 | 192287.268 | 278800.4841 | 62.0402 | 75.7
58860 | 2021-03-29 15:42 | 2.003 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 168.2046 | μmol/L | 29.6168 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.675 | 192260.1585 | 278793.74 | 62.0402 | 75.7
58870 | 2021-03-29 15:42 | 2.3369 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 168.1757 | μmol/L | 29.5737 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.692 | 192385.6461 | 278778.8953 | 62.0402 | 75.7
58880 | 2021-03-29 15:43 | 2.6697 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.4939 | μmol/L | 29.6291 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.72 | 192684.5482 | 278778.9297 | 62.0402 | 75.7
58890 | 2021-03-29 15:43 | 3.0035 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.6647 | μmol/L | 29.5061 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.751 | 192953.3858 | 278753.7307 | 62.0402 | 75.7
58900 | 2021-03-29 15:43 | 3.3367 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.2232 | μmol/L | 29.5799 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.756 | 192959.2812 | 278733.7176 | 62.0402 | 75.7
58910 | 2021-03-29 15:44 | 3.6696 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.7665 | μmol/L | 29.6168 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.775 | 193100.7766 | 278730.186 | 62.0402 | 75.7
58920 | 2021-03-29 15:44 | 4.0033 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.2459 | μmol/L | 29.5553 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.763 | 193008.6428 | 278716.7908 | 62.0402 | 75.7
58930 | 2021-03-29 15:44 | 4.3363 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.2047 | μmol/L | 29.5922 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.753 | 192922.5614 | 278703.0274 | 62.0402 | 75.7
58940 | 2021-03-29 15:45 | 4.6695 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.2211 | μmol/L | 29.586 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.754 | 192931.6869 | 278699.9093 | 62.0402 | 75.7
58950 | 2021-03-29 15:45 | 5.0036 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.0407 | μmol/L | 29.6106 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.758 | 192921.8523 | 278674.7741 | 62.0402 | 75.7
58960 | 2021-03-29 15:45 | 5.3367 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.2191 | μmol/L | 29.5922 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.752 | 192849.4277 | 278673.2356 | 62.0402 | 75.7
58970 | 2021-03-29 15:46 | 5.6696 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.086 | μmol/L | 29.5614 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.772 | 193018.6092 | 278678.848 | 62.0402 | 75.7
58980 | 2021-03-29 15:46 | 6.0033 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.8527 | μmol/L | 29.5737 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.784 | 193126.7728 | 278660.2955 | 62.0402 | 75.7
58990 | 2021-03-29 15:46 | 6.3364 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.9818 | μmol/L | 29.5307 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.79 | 193201.3156 | 278658.801 | 62.0402 | 75.7
59000 | 2021-03-29 15:47 | 6.6695 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.5748 | μmol/L | 29.5922 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.797 | 193266.1669 | 278657.0836 | 62.0402 | 75.7
59010 | 2021-03-29 15:47 | 7.0031 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.4526 | μmol/L | 29.5737 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.812 | 193387.8826 | 278656.8692 | 62.0402 | 75.7
59020 | 2021-03-29 15:47 | 7.3363 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.4669 | μmol/L | 29.5737 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.811 | 193397.1856 | 278637.0779 | 62.0402 | 75.7
59030 | 2021-03-29 15:48 | 7.6701 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.263 | μmol/L | 29.586 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.821 | 193428.6648 | 278628.1969 | 62.0402 | 75.7
59040 | 2021-03-29 15:48 | 8.003 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.2144 | μmol/L | 29.5614 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.833 | 193601.6507 | 278629.7836 | 62.0402 | 75.7
59050 | 2021-03-29 15:48 | 8.3368 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.1474 | μmol/L | 29.5491 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.842 | 193650.6638 | 278607.8046 | 62.0402 | 75.7
59060 | 2021-03-29 15:49 | 8.6696 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.9641 | μmol/L | 29.586 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.842 | 193671.1464 | 278607.709 | 62.0402 | 75.7
59070 | 2021-03-29 15:49 | 9.0035 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.8219 | μmol/L | 29.586 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.852 | 193721.3393 | 278607.7732 | 62.0402 | 75.7
59080 | 2021-03-29 15:49 | 9.3362 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.9499 | μmol/L | 29.586 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.843 | 193655.0121 | 278601.3403 | 62.0402 | 75.7
59090 | 2021-03-29 15:50 | 9.67 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.9583 | μmol/L | 29.5614 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.851 | 193747.56 | 278598.0126 | 62.0402 | 75.7
59100 | 2021-03-29 15:50 | 10.0028 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.6537 | μmol/L | 29.5799 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.866 | 193909.7954 | 278582.1309 | 62.0402 | 75.7
59110 | 2021-03-29 15:50 | 10.3367 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.7552 | μmol/L | 29.5737 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.861 | 193822.2528 | 278582.0846 | 62.0402 | 75.7
59120 | 2021-03-29 15:51 | 10.6698 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.6963 | μmol/L | 29.5799 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.863 | 193819.9469 | 278580.7141 | 62.0402 | 75.7
59130 | 2021-03-29 15:51 | 11.0034 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.5502 | μmol/L | 29.5922 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.869 | 193864.1213 | 278563.4503 | 62.0402 | 75.7
59140 | 2021-03-29 15:51 | 11.3365 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.648 | μmol/L | 29.5553 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.875 | 193945.6025 | 278562.4146 | 62.0402 | 75.7
59150 | 2021-03-29 15:52 | 11.6696 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.4453 | μmol/L | 29.5676 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.885 | 193965.6979 | 278558.4999 | 62.0402 | 75.7
59160 | 2021-03-29 15:52 | 12.0035 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.0712 | μmol/L | 29.586 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.905 | 194192.1258 | 278556.3954 | 62.0402 | 75.7
59170 | 2021-03-29 15:52 | 12.3362 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.233 | μmol/L | 29.5676 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.9 | 194122.0828 | 278540.4483 | 62.0402 | 75.7
59180 | 2021-03-29 15:53 | 12.6701 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.2811 | μmol/L | 29.5922 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.888 | 194012.0225 | 278539.6541 | 62.0402 | 75.7
59190 | 2021-03-29 15:53 | 13.0031 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.3866 | μmol/L | 29.5737 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.887 | 193984.5994 | 278520.2201 | 62.0402 | 75.7
59200 | 2021-03-29 15:53 | 13.3363 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.1658 | μmol/L | 29.5983 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.894 | 194046.6246 | 278530.532 | 62.0402 | 75.7
59210 | 2021-03-29 15:54 | 13.6695 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.0506 | μmol/L | 29.6045 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.9 | 194096.0727 | 278520.7544 | 62.0402 | 75.7
59220 | 2021-03-29 15:54 | 14.0034 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.1984 | μmol/L | 29.586 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.896 | 194100.261 | 278512.9091 | 62.0402 | 75.7
59230 | 2021-03-29 15:54 | 14.3365 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.0301 | μmol/L | 29.623 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.895 | 194098.5568 | 278507.3388 | 62.0402 | 75.7
59240 | 2021-03-29 15:55 | 14.6695 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 164.9779 | μmol/L | 29.6106 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.903 | 194119.2443 | 278509.1106 | 62.0402 | 75.7
59250 | 2021-03-29 15:55 | 15.0036 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 164.8226 | μmol/L | 29.6106 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.914 | 194240.4081 | 278505.8701 | 62.0402 | 75.7
59260 | 2021-03-29 15:55 | 15.3365 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 164.8082 | μmol/L | 29.5307 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.943 | 194444.6991 | 278483.0323 | 62.0402 | 75.7
59270 | 2021-03-29 15:56 | 15.6696 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 164.2521 | μmol/L | 29.5922 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.961 | 194677.7318 | 278485.6923 | 62.0402 | 75.7
59280 | 2021-03-29 15:56 | 16.0034 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 164.1225 | μmol/L | 29.5614 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.981 | 194835.8537 | 278483.1458 | 62.0402 | 75.7
59290 | 2021-03-29 15:56 | 16.3369 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 163.5409 | μmol/L | 29.623 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.001 | 194997.8538 | 278479.4901 | 62.0402 | 75.7
59300 | 2021-03-29 15:57 | 16.6698 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 163.4453 | μmol/L | 29.6168 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.01 | 195090.5392 | 278469.0597 | 62.0402 | 75.7
59310 | 2021-03-29 15:57 | 17.0028 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 163.1297 | μmol/L | 29.6414 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.024 | 195218.7687 | 278465.2145 | 62.0402 | 75.7
59320 | 2021-03-29 15:57 | 17.3369 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.9693 | μmol/L | 29.623 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.042 | 195386.9008 | 278461.8779 | 62.0402 | 75.7
59330 | 2021-03-29 15:58 | 17.6702 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.7213 | μmol/L | 29.6168 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.062 | 195590.6348 | 278453.4424 | 62.0402 | 75.7
59340 | 2021-03-29 15:58 | 18.0031 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.163 | μmol/L | 29.666 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.085 | 195779.3738 | 278464.532 | 62.0402 | 75.7
59350 | 2021-03-29 15:58 | 18.3362 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.2898 | μmol/L | 29.6599 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.078 | 195683.5426 | 278446.8417 | 62.0402 | 75.7
59360 | 2021-03-29 15:59 | 18.67 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.364 | μmol/L | 29.6845 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.064 | 195590.5183 | 278454.1474 | 62.0402 | 75.7
59370 | 2021-03-29 15:59 | 19.0036 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.7263 | μmol/L | 29.6414 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.053 | 195529.9982 | 278448.7448 | 62.0402 | 75.7
59380 | 2021-03-29 15:59 | 19.3363 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.5926 | μmol/L | 29.666 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.054 | 195482.9773 | 278462.7597 | 62.0402 | 75.7
59390 | 2021-03-29 16:00 | 19.6701 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.7125 | μmol/L | 29.6414 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.054 | 195493.9048 | 278444.8048 | 62.0402 | 75.7
59400 | 2021-03-29 16:00 | 20.0032 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.7219 | μmol/L | 29.6537 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.049 | 195477.4383 | 278447.1554 | 62.0402 | 75.7
59410 | 2021-03-29 16:00 | 20.3369 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.7241 | μmol/L | 29.6476 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.051 | 195471.2918 | 278447.0564 | 62.0402 | 75.7
59420 | 2021-03-29 16:01 | 20.67 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.4378 | μmol/L | 29.6722 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.063 | 195594.9154 | 278453.6787 | 62.0402 | 75.7
59430 | 2021-03-29 16:01 | 21.0029 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.41 | μmol/L | 29.6722 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.065 | 195603.5907 | 278446.3678 | 62.0402 | 75.7
59440 | 2021-03-29 16:01 | 21.3369 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.4605 | μmol/L | 29.6476 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.07 | 195634.257 | 278444.5338 | 62.0402 | 75.7
59450 | 2021-03-29 16:02 | 21.6698 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.4583 | μmol/L | 29.6537 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.068 | 195619.6745 | 278450.0718 | 62.0402 | 75.7
59460 | 2021-03-29 16:02 | 22.0035 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.3225 | μmol/L | 29.6845 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.067 | 195586.9286 | 278440.0291 | 62.0402 | 75.7
59470 | 2021-03-29 16:02 | 22.3364 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.1238 | μmol/L | 29.6599 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.09 | 195784.2619 | 278444.4153 | 62.0402 | 75.7
59480 | 2021-03-29 16:03 | 22.6702 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.0519 | μmol/L | 29.6291 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.106 | 195962.9927 | 278429.8617 | 62.0402 | 75.7
59490 | 2021-03-29 16:03 | 23.0031 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.8559 | μmol/L | 29.5983 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.131 | 196144.3217 | 278426.1818 | 62.0402 | 75.7
59500 | 2021-03-29 16:03 | 23.3362 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.5643 | μmol/L | 29.6045 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.15 | 196349.6446 | 278414.6709 | 62.0402 | 75.7
59510 | 2021-03-29 16:04 | 23.6699 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.1475 | μmol/L | 29.6168 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.176 | 196618.0341 | 278443.7085 | 62.0402 | 75.7
59520 | 2021-03-29 16:04 | 24.0032 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.2662 | μmol/L | 29.5922 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.176 | 196635.5603 | 278419.2258 | 62.0402 | 75.7
59530 | 2021-03-29 16:04 | 24.3369 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.2503 | μmol/L | 29.5983 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.175 | 196614.9337 | 278409.6464 | 62.0402 | 75.7
59540 | 2021-03-29 16:05 | 24.6697 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.2416 | μmol/L | 29.6599 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.154 | 196426.9932 | 278420.3054 | 62.0402 | 75.7
59550 | 2021-03-29 16:05 | 25.0028 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.5554 | μmol/L | 29.6291 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.142 | 196277.2421 | 278420.8552 | 62.0402 | 75.7
59560 | 2021-03-29 16:05 | 25.3365 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.4613 | μmol/L | 29.623 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.151 | 196382.7259 | 278414.419 | 62.0402 | 75.7
59570 | 2021-03-29 16:06 | 25.6695 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.2256 | μmol/L | 29.666 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.153 | 196408.9439 | 278412.8233 | 62.0402 | 75.7
59580 | 2021-03-29 16:06 | 26.0033 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.1889 | μmol/L | 29.6537 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.16 | 196426.4861 | 278414.7866 | 62.0402 | 75.7
59590 | 2021-03-29 16:06 | 26.3369 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 160.7753 | μmol/L | 29.6599 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.188 | 196680.5819 | 278396.0382 | 62.0402 | 75.7
59600 | 2021-03-29 16:07 | 26.6698 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 160.7228 | μmol/L | 29.6537 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.194 | 196795.8014 | 278412.5092 | 62.0402 | 75.7
59610 | 2021-03-29 16:07 | 27.0028 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 160.8872 | μmol/L | 29.6537 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.182 | 196674.7924 | 278413.3625 | 62.0402 | 75.7
59620 | 2021-03-29 16:07 | 27.3367 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.2598 | μmol/L | 29.6476 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.157 | 196385.6689 | 278411.0713 | 62.0402 | 75.7
59630 | 2021-03-29 16:08 | 27.6698 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.6268 | μmol/L | 29.6599 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.126 | 196093.202 | 278405.1764 | 62.0402 | 75.7
59640 | 2021-03-29 16:08 | 28.0035 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.6957 | μmol/L | 29.6599 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.121 | 196063.3384 | 278405.7745 | 62.0402 | 75.7
59650 | 2021-03-29 16:08 | 28.3364 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.7256 | μmol/L | 29.6537 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.121 | 196085.5328 | 278396.4475 | 62.0402 | 75.7
59660 | 2021-03-29 16:09 | 28.6702 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.9209 | μmol/L | 29.6476 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.109 | 196007.8042 | 278416.0229 | 62.0402 | 75.7
59670 | 2021-03-29 16:09 | 29.0032 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.3025 | μmol/L | 29.586 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.103 | 195944.8622 | 278404.0559 | 62.0402 | 75.7
59680 | 2021-03-29 16:09 | 29.3363 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.7454 | μmol/L | 29.5491 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.084 | 195721.8976 | 278396.2122 | 62.0402 | 75.7
59690 | 2021-03-29 16:10 | 29.6694 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.3689 | μmol/L | 29.5553 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.109 | 195891.5665 | 278399.1955 | 62.0402 | 75.7
59700 | 2021-03-29 16:10 | 30.0033 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.079 | μmol/L | 29.5922 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.117 | 196000.427 | 278388.509 | 62.0402 | 75.7
59710 | 2021-03-29 16:10 | 30.3364 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.1111 | μmol/L | 29.5799 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.119 | 196060.5086 | 278396.749 | 62.0402 | 75.7
59720 | 2021-03-29 16:11 | 30.67 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.1664 | μmol/L | 29.5799 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.115 | 196031.9 | 278383.5756 | 62.0402 | 75.7
59730 | 2021-03-29 16:11 | 31.0032 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.9426 | μmol/L | 29.5491 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.142 | 196211.6017 | 278381.5292 | 62.0402 | 75.7
59740 | 2021-03-29 16:11 | 31.3367 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.8929 | μmol/L | 29.6106 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.124 | 196092.1261 | 278397.8277 | 62.0402 | 75.7
59750 | 2021-03-29 16:12 | 31.6696 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.8929 | μmol/L | 29.6106 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.124 | 196111.3428 | 278395.2737 | 62.0402 | 75.7
59760 | 2021-03-29 16:12 | 32.0033 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.702 | μmol/L | 29.6045 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.14 | 196203.3145 | 278386.3041 | 62.0402 | 75.7
59770 | 2021-03-29 16:12 | 32.3364 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.2779 | μmol/L | 29.4999 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.135 | 196170.7701 | 278401.4003 | 62.0402 | 75.7
59780 | 2021-03-29 16:13 | 32.6695 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.8648 | μmol/L | 29.5737 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.139 | 196241.9446 | 278389.526 | 62.0402 | 75.7
59790 | 2021-03-29 16:13 | 33.0034 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.0016 | μmol/L | 29.4999 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.155 | 196366.4025 | 278395.9161 | 62.0402 | 75.7
59800 | 2021-03-29 16:13 | 33.3364 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.8316 | μmol/L | 29.5122 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.163 | 196459.1171 | 278394.6251 | 62.0402 | 75.7
59810 | 2021-03-29 16:14 | 33.6702 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.7308 | μmol/L | 29.5245 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.166 | 196503.3364 | 278397.1117 | 62.0402 | 75.7
59820 | 2021-03-29 16:14 | 34.003 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.6707 | μmol/L | 29.4999 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.179 | 196606.9534 | 278410.3867 | 62.0402 | 75.7
59830 | 2021-03-29 16:14 | 34.3369 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.7308 | μmol/L | 29.5245 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.166 | 196548.3288 | 278393.6095 | 62.0402 | 75.7
59840 | 2021-03-29 16:15 | 34.67 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.6344 | μmol/L | 29.5245 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.173 | 196542.862 | 278376.6883 | 62.0402 | 75.7
59850 | 2021-03-29 16:15 | 35.0034 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.1353 | μmol/L | 29.5368 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.205 | 196776.1441 | 278388.2534 | 62.0402 | 75.7
59860 | 2021-03-29 16:15 | 35.3365 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.5891 | μmol/L | 29.4199 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.213 | 196911.6604 | 278400.4909 | 62.0402 | 75.7
59870 | 2021-03-29 16:16 | 35.6703 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.4951 | μmol/L | 29.4138 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.222 | 196985.3244 | 278386.8549 | 62.0402 | 75.7
59880 | 2021-03-29 16:16 | 36.0033 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.0018 | μmol/L | 29.4507 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.245 | 197217.0852 | 278393.4665 | 62.0402 | 75.7
59890 | 2021-03-29 16:16 | 36.3369 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 160.5395 | μmol/L | 29.4814 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.268 | 197433.3867 | 278396.5712 | 62.0402 | 75.7
59900 | 2021-03-29 16:17 | 36.6697 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 160.0628 | μmol/L | 29.5184 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.29 | 197618.2009 | 278397.0239 | 62.0402 | 75.7
59910 | 2021-03-29 16:17 | 37.0028 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 160.0876 | μmol/L | 29.4876 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.299 | 197728.3893 | 278395.3954 | 62.0402 | 75.7
59920 | 2021-03-29 16:17 | 37.3365 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 159.8657 | μmol/L | 29.5368 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.298 | 197719.0951 | 278388.8384 | 62.0402 | 75.7
59930 | 2021-03-29 16:18 | 37.6698 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 159.9629 | μmol/L | 29.4938 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.306 | 197807.9829 | 278387.6544 | 62.0402 | 75.7
59940 | 2021-03-29 16:18 | 38.0029 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 159.7683 | μmol/L | 29.5061 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.316 | 197861.2993 | 278390.075 | 62.0402 | 75.7
59950 | 2021-03-29 16:18 | 38.3368 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 159.3031 | μmol/L | 29.5184 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.346 | 198152.1379 | 278388.7627 | 62.0402 | 75.7
59960 | 2021-03-29 16:19 | 38.6698 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 158.945 | μmol/L | 29.5368 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.366 | 198381.6872 | 278386.0588 | 62.0402 | 75.7
59970 | 2021-03-29 16:19 | 39.0035 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 158.7968 | μmol/L | 29.4999 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.39 | 198599.8317 | 278385.5812 | 62.0402 | 75.7
59980 | 2021-03-29 16:19 | 39.3368 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 158.7318 | μmol/L | 29.4568 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.41 | 198751.1426 | 278394.9043 | 62.0402 | 75.7
59990 | 2021-03-29 16:20 | 39.6695 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 158.1494 | μmol/L | 29.5061 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.436 | 198936.9702 | 278379.4772 | 62.0402 | 75.7
60000 | 2021-03-29 16:20 | 40.0031 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 158.098 | μmol/L | 29.4999 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.442 | 199084.3415 | 278379.5609 | 62.0402 | 75.7
60010 | 2021-03-29 16:20 | 40.3365 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 157.8769 | μmol/L | 29.5184 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.452 | 199134.0677 | 278390.691 | 62.0402 | 75.7
60020 | 2021-03-29 16:21 | 40.6695 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 158.1425 | μmol/L | 29.5245 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.43 | 198951.0753 | 278396.3315 | 62.0402 | 75.7
60030 | 2021-03-29 16:21 | 41.0028 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 158.1425 | μmol/L | 29.5245 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.43 | 198920.6673 | 278374.6722 | 62.0402 | 75.7
60040 | 2021-03-29 16:21 | 41.3368 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 158.4583 | μmol/L | 29.4691 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.426 | 198907.923 | 278373.7985 | 62.0402 | 75.7
60050 | 2021-03-29 16:22 | 41.6696 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 158.2301 | μmol/L | 29.4691 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.443 | 199063.6262 | 278369.0197 | 62.0402 | 75.7
60060 | 2021-03-29 16:22 | 42.0035 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 158.1296 | μmol/L | 29.4507 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.457 | 199177.9943 | 278375.7046 | 62.0402 | 75.7
60070 | 2021-03-29 16:22 | 42.3369 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 157.7943 | μmol/L | 29.5245 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.456 | 199216.01 | 278373.3575 | 62.0402 | 75.7
60080 | 2021-03-29 16:23 | 42.6698 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 157.3712 | μmol/L | 29.5491 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.479 | 199407.4 | 278369.005 | 62.0402 | 75.7
60090 | 2021-03-29 16:23 | 43.0028 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 157.4048 | μmol/L | 29.5307 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.483 | 199464.2612 | 278372.2615 | 62.0402 | 75.7
60100 | 2021-03-29 16:23 | 43.3366 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 157.5138 | μmol/L | 29.5245 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.477 | 199432.438 | 278370.8323 | 62.0402 | 75.7
60110 | 2021-03-29 16:24 | 43.6697 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 157.3602 | μmol/L | 29.543 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.482 | 199437.1791 | 278373.1477 | 62.0402 | 75.7
60120 | 2021-03-29 16:24 | 44.0034 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 157.3404 | μmol/L | 29.5245 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.49 | 199519.5519 | 278372.8608 | 62.0402 | 75.7
60130 | 2021-03-29 16:24 | 44.3362 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 156.9203 | μmol/L | 29.5799 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.502 | 199646.8491 | 278383.6244 | 62.0402 | 75.7
60140 | 2021-03-29 16:25 | 44.6702 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 156.9943 | μmol/L | 29.5245 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.516 | 199791.6851 | 278389.2154 | 62.0402 | 75.7
60150 | 2021-03-29 16:25 | 45.0029 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 156.3392 | μmol/L | 29.5737 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.548 | 200060.8015 | 278378.3463 | 62.0402 | 75.7
60160 | 2021-03-29 16:25 | 45.3366 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 156.4233 | μmol/L | 29.5614 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.546 | 200042.0909 | 278398.8353 | 62.0402 | 75.7
60170 | 2021-03-29 16:26 | 45.6697 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 156.6913 | μmol/L | 29.5184 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.541 | 200003.7152 | 278382.9378 | 62.0402 | 75.7
60180 | 2021-03-29 16:26 | 46.0033 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 156.3594 | μmol/L | 29.5553 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.553 | 200132.8679 | 278390.7389 | 62.0402 | 75.7
60190 | 2021-03-29 16:26 | 46.3365 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 156.1953 | μmol/L | 29.6045 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.548 | 200055.1844 | 278377.3161 | 62.0402 | 75.7
60200 | 2021-03-29 16:27 | 46.6702 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 156.3501 | μmol/L | 29.5799 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.545 | 200075.6762 | 278380.5932 | 62.0402 | 75.7
60210 | 2021-03-29 16:27 | 47.0032 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 156.3618 | μmol/L | 29.5491 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.555 | 200174.8663 | 278390.3786 | 62.0402 | 75.7
60220 | 2021-03-29 16:27 | 47.3369 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.9848 | μmol/L | 29.5676 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.577 | 200354.5098 | 278385.6404 | 62.0402 | 75.7
60230 | 2021-03-29 16:28 | 47.6699 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.7212 | μmol/L | 29.5676 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.597 | 200532.782 | 278381.9382 | 62.0402 | 75.7
60240 | 2021-03-29 16:28 | 48.0036 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.3422 | μmol/L | 29.5614 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.628 | 200793.1443 | 278389.5041 | 62.0402 | 75.7
60250 | 2021-03-29 16:28 | 48.3367 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.7777 | μmol/L | 29.5922 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.584 | 200389.5761 | 278390.7171 | 62.0402 | 75.7
60260 | 2021-03-29 16:29 | 48.6696 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 156.5213 | μmol/L | 29.5122 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.556 | 200147.6322 | 278386.993 | 62.0402 | 75.7
60270 | 2021-03-29 16:29 | 49.0036 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 156.1075 | μmol/L | 29.5922 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.559 | 200146.1674 | 278389.5334 | 62.0402 | 75.7
60280 | 2021-03-29 16:29 | 49.3361 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.9669 | μmol/L | 29.5799 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.574 | 200301.0006 | 278384.7534 | 62.0402 | 75.7
60290 | 2021-03-29 16:30 | 49.6703 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.9724 | μmol/L | 29.5307 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.591 | 200458.0667 | 278389.0939 | 62.0402 | 75.7
60300 | 2021-03-29 16:30 | 50.0029 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.5835 | μmol/L | 29.5491 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.614 | 200668.2697 | 278397.3196 | 62.0402 | 75.7
60310 | 2021-03-29 16:30 | 50.3368 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.2958 | μmol/L | 29.5799 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.625 | 200794.0633 | 278390.5468 | 62.0402 | 75.7
60320 | 2021-03-29 16:31 | 50.6698 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 154.9895 | μmol/L | 29.5922 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.644 | 201012.4714 | 278394.9355 | 62.0402 | 75.7
60330 | 2021-03-29 16:31 | 51.0034 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.0786 | μmol/L | 29.5307 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.659 | 201135.7317 | 278375.7003 | 62.0402 | 75.7
60340 | 2021-03-29 16:31 | 51.3366 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 154.8098 | μmol/L | 29.5491 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.673 | 201265.2872 | 278382.8696 | 62.0402 | 75.7
60350 | 2021-03-29 16:32 | 51.6695 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 154.3909 | μmol/L | 29.586 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.692 | 201445.0004 | 278388.7181 | 62.0402 | 75.7
60360 | 2021-03-29 16:32 | 52.0033 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 154.9228 | μmol/L | 29.5614 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.66 | 201143.9243 | 278377.2311 | 62.0402 | 75.7
60370 | 2021-03-29 16:32 | 52.3365 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.4984 | μmol/L | 29.5307 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.627 | 200863.1635 | 278388.7472 | 62.0402 | 75.7
60380 | 2021-03-29 16:33 | 52.6701 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.4914 | μmol/L | 29.5491 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.621 | 200820.0336 | 278367.1759 | 62.0402 | 75.7
60390 | 2021-03-29 16:33 | 53.0031 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.1683 | μmol/L | 29.6045 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.626 | 200825.457 | 278361.7028 | 62.0402 | 75.7
60400 | 2021-03-29 16:33 | 53.3362 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.4783 | μmol/L | 29.5491 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.622 | 200758.0124 | 278382.8866 | 62.0402 | 75.7
60410 | 2021-03-29 16:34 | 53.6699 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.5262 | μmol/L | 29.5614 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.614 | 200664.9583 | 278373.0971 | 62.0402 | 75.7
60420 | 2021-03-29 16:34 | 54.0032 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.5107 | μmol/L | 29.5676 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.613 | 200678.6853 | 278377.101 | 62.0402 | 75.7
60430 | 2021-03-29 16:34 | 54.3363 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.7399 | μmol/L | 29.5184 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.613 | 200706.0501 | 278378.6502 | 62.0402 | 75.7
60440 | 2021-03-29 16:35 | 54.67 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.5332 | μmol/L | 29.543 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.62 | 200743.1067 | 278383.0059 | 62.0402 | 75.7
60450 | 2021-03-29 16:35 | 55.0034 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.2204 | μmol/L | 29.5368 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.646 | 201003.3108 | 278376.7283 | 62.0402 | 75.7
60460 | 2021-03-29 16:35 | 55.3364 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.044 | μmol/L | 29.5184 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.666 | 201214.7825 | 278378.3124 | 62.0402 | 75.7
60470 | 2021-03-29 16:36 | 55.6694 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 154.9262 | μmol/L | 29.5184 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.675 | 201269.7447 | 278378.0698 | 62.0402 | 75.7
60480 | 2021-03-29 16:36 | 56.0031 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 154.4881 | μmol/L | 29.5368 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.702 | 201507.5654 | 278376.858 | 62.0402 | 75.7
60490 | 2021-03-29 16:36 | 56.3362 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 154.8128 | μmol/L | 29.4384 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.712 | 201579.4327 | 278375.5612 | 62.0402 | 75.7
60500 | 2021-03-29 16:37 | 56.6701 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.1645 | μmol/L | 29.4076 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.696 | 201478.1844 | 278375.5889 | 62.0402 | 75.7
60510 | 2021-03-29 16:37 | 57.003 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.1057 | μmol/L | 29.4938 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.67 | 201223.2051 | 278381.1151 | 62.0402 | 75.7
60520 | 2021-03-29 16:37 | 57.3361 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.1913 | μmol/L | 29.4753 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.67 | 201238.8152 | 278377.4106 | 62.0402 | 75.7
60530 | 2021-03-29 16:38 | 57.6699 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.4144 | μmol/L | 29.4753 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.653 | 201051.3948 | 278372.3686 | 62.0402 | 75.7
60540 | 2021-03-29 16:38 | 58.0036 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.0954 | μmol/L | 29.5553 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.649 | 201020.2145 | 278380.4609 | 62.0402 | 75.7
60550 | 2021-03-29 16:38 | 58.3363 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.2457 | μmol/L | 29.5737 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.631 | 200854.6122 | 278380.3431 | 62.0402 | 75.7
60560 | 2021-03-29 16:39 | 58.6699 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.3244 | μmol/L | 29.5737 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.625 | 200814.0682 | 278384.2052 | 62.0402 | 75.7
60570 | 2021-03-29 16:39 | 59.0032 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.3483 | μmol/L | 29.5799 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.621 | 200747.9749 | 278375.6758 | 62.0402 | 75.7
60580 | 2021-03-29 16:39 | 59.3363 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.8576 | μmol/L | 29.4507 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.628 | 200848.3418 | 278393.2479 | 62.0402 | 75.7
60590 | 2021-03-29 16:40 | 59.6699 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.5241 | μmol/L | 29.463 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.649 | 201050.8697 | 278389.5705 | 62.0402 | 75.7
60600 | 2021-03-29 16:40 | 60.003 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 154.9392 | μmol/L | 29.5184 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.674 | 201287.6194 | 278386.8308 | 62.0402 | 75.7
60610 | 2021-03-29 16:40 | 60.3368 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 154.6541 | μmol/L | 29.5122 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.698 | 201494.2684 | 278388.533 | 62.0402 | 75.7
60620 | 2021-03-29 16:41 | 60.6695 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 154.4761 | μmol/L | 29.4999 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.716 | 201674.0068 | 278384.6073 | 62.0402 | 75.7
60630 | 2021-03-29 16:41 | 61.0035 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 154.3044 | μmol/L | 29.5061 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.727 | 201767.3914 | 278375.701 | 62.0402 | 75.7
60640 | 2021-03-29 16:41 | 61.3368 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 154.3138 | μmol/L | 29.4814 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.735 | 201831.4789 | 278390.1613 | 62.0402 | 75.7
60650 | 2021-03-29 16:42 | 61.6695 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 154.4688 | μmol/L | 29.4507 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.734 | 201830.221 | 278387.9337 | 62.0402 | 75.7
60660 | 2021-03-29 16:42 | 62.0031 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 154.4261 | μmol/L | 29.4261 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.746 | 201937.1141 | 278406.4391 | 62.0402 | 75.7
60670 | 2021-03-29 16:42 | 62.3361 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 153.8825 | μmol/L | 29.4876 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.766 | 202163.6603 | 278402.0102 | 62.0402 | 75.7
60680 | 2021-03-29 16:43 | 62.6699 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 153.4973 | μmol/L | 29.5122 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.787 | 202340.5609 | 278388.938 | 62.0402 | 75.7
60690 | 2021-03-29 16:43 | 63.0029 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 153.0734 | μmol/L | 29.5061 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.822 | 202679.5152 | 278394.6708 | 62.0402 | 75.7
60700 | 2021-03-29 16:43 | 63.3368 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 152.8601 | μmol/L | 29.5245 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.832 | 202766.4201 | 278398.8279 | 62.0402 | 75.7
60710 | 2021-03-29 16:44 | 63.6696 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 153.1508 | μmol/L | 29.5061 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.816 | 202624.3414 | 278389.6091 | 62.0402 | 75.7
60720 | 2021-03-29 16:44 | 64.0033 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 153.4115 | μmol/L | 29.4999 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.798 | 202458.3484 | 278393.5444 | 62.0402 | 75.7
60730 | 2021-03-29 16:44 | 64.3364 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 153.5585 | μmol/L | 29.4876 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.791 | 202385.6894 | 278403.8589 | 62.0402 | 75.7
60740 | 2021-03-29 16:45 | 64.6695 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 153.8684 | μmol/L | 29.4568 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.778 | 202260.7469 | 278413.2566 | 62.0402 | 75.7
60750 | 2021-03-29 16:45 | 65.0036 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 153.8165 | μmol/L | 29.4568 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.782 | 202283.5879 | 278394.0232 | 62.0402 | 75.7
60760 | 2021-03-29 16:45 | 65.3368 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 153.8707 | μmol/L | 29.4507 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.78 | 202274.9354 | 278403.1096 | 62.0402 | 75.7
60770 | 2021-03-29 16:46 | 65.6699 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 153.7976 | μmol/L | 29.4384 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.79 | 202347.5986 | 278406.9233 | 62.0402 | 75.7
60780 | 2021-03-29 16:46 | 66.0035 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 153.6374 | μmol/L | 29.4507 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.798 | 202450.5679 | 278414.4113 | 62.0402 | 75.7
60790 | 2021-03-29 16:46 | 66.3363 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 153.4328 | μmol/L | 29.4445 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.816 | 202637.1849 | 278407.2814 | 62.0402 | 75.7
60800 | 2021-03-29 16:47 | 66.6702 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 153.1205 | μmol/L | 29.4507 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.838 | 202798.1472 | 278403.3117 | 62.0402 | 75.7
60810 | 2021-03-29 16:47 | 67.0034 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 153.0303 | μmol/L | 29.4507 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.845 | 202886.4099 | 278408.6607 | 62.0402 | 75.7
60820 | 2021-03-29 16:47 | 67.3361 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 152.9144 | μmol/L | 29.4507 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.854 | 202996.5419 | 278409.3478 | 62.0402 | 75.7
60830 | 2021-03-29 16:48 | 67.6701 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 152.7809 | μmol/L | 29.463 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.86 | 202996.4964 | 278402.5045 | 62.0402 | 75.7
60840 | 2021-03-29 16:48 | 68.0036 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 152.7095 | μmol/L | 29.4814 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.859 | 203027.0203 | 278410.4591 | 62.0402 | 75.7
60850 | 2021-03-29 16:48 | 68.3364 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 152.8757 | μmol/L | 29.4507 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.857 | 203011.5724 | 278406.9104 | 62.0402 | 75.7
60860 | 2021-03-29 16:49 | 68.6695 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 152.6838 | μmol/L | 29.4814 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.861 | 203037.0017 | 278414.9069 | 62.0402 | 75.7
60870 | 2021-03-29 16:49 | 69.0033 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 152.512 | μmol/L | 29.4938 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.87 | 203137.9296 | 278403.0223 | 62.0402 | 75.7
60880 | 2021-03-29 16:49 | 69.3362 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 152.4278 | μmol/L | 29.5122 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.87 | 203116.0081 | 278420.8912 | 62.0402 | 75.7
60890 | 2021-03-29 16:50 | 69.6698 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 152.4744 | μmol/L | 29.5245 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.862 | 203070.9028 | 278421.4354 | 62.0402 | 75.7
60900 | 2021-03-29 16:50 | 70.0029 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 152.3404 | μmol/L | 29.5061 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.879 | 203185.0074 | 278414.2281 | 62.0402 | 75.7
60910 | 2021-03-29 16:50 | 70.3366 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 152.0362 | μmol/L | 29.5307 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.894 | 203366.7204 | 278423.6608 | 62.0402 | 75.7
60920 | 2021-03-29 16:51 | 70.6703 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 151.9211 | μmol/L | 29.5307 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.903 | 203436.8824 | 278416.2231 | 62.0402 | 75.7
60930 | 2021-03-29 16:51 | 71.0032 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 151.7958 | μmol/L | 29.5245 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.915 | 203536.5425 | 278409.3379 | 62.0402 | 75.7
60940 | 2021-03-29 16:51 | 71.3362 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 151.696 | μmol/L | 29.5184 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.925 | 203652.8698 | 278402.5029 | 62.0402 | 75.7
60950 | 2021-03-29 16:52 | 71.6701 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 151.449 | μmol/L | 29.5307 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.94 | 203773.0117 | 278420.7323 | 62.0402 | 75.7
60960 | 2021-03-29 16:52 | 72.0035 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 151.1165 | μmol/L | 29.5676 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.953 | 203891.4623 | 278404.2681 | 62.0402 | 75.7
60970 | 2021-03-29 16:52 | 72.3365 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 151.1189 | μmol/L | 29.5614 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.955 | 203956.5782 | 278409.9101 | 62.0402 | 75.7
60980 | 2021-03-29 16:53 | 72.6696 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 150.9333 | μmol/L | 29.5491 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.974 | 204077.4392 | 278428.9833 | 62.0402 | 75.7
60990 | 2021-03-29 16:53 | 73.0034 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 150.9533 | μmol/L | 29.5307 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.979 | 204207.0916 | 278427.4881 | 62.0402 | 75.7
61000 | 2021-03-29 16:53 | 73.3366 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 150.8699 | μmol/L | 29.5491 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 23.979 | 204155.7782 | 278424.1871 | 62.0402 | 75.7