## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-29 16:54

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
58802 | 2021-03-29 15:40 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 172.9063 | μmol/L | 30.3497 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.545 | 114022.1367 | 217977.5242 | 27.3 | 43.4
58812 | 2021-03-29 15:40 | 0.34168 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 172.8623 | μmol/L | 30.3497 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.548 | 114033.823 | 217979.3655 | 27.3 | 43.4
58822 | 2021-03-29 15:41 | 0.67569 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 172.9192 | μmol/L | 30.3252 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.553 | 114054.6643 | 217983.0189 | 27.3 | 43.4
58832 | 2021-03-29 15:41 | 1.0088 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 172.5997 | μmol/L | 30.319 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.577 | 114155.7206 | 217978.9626 | 27.3 | 43.4
58842 | 2021-03-29 15:41 | 1.3424 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 172.2159 | μmol/L | 30.3252 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.601 | 114262.8193 | 217986.1254 | 27.3 | 43.4
58852 | 2021-03-29 15:42 | 1.6753 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 172.1818 | μmol/L | 30.3068 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.61 | 114289.4416 | 217966.3761 | 27.3 | 43.4
58862 | 2021-03-29 15:42 | 2.009 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 172.3601 | μmol/L | 30.2455 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.62 | 114318.133 | 217963.0762 | 27.3 | 43.4
58872 | 2021-03-29 15:42 | 2.3417 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 172.1929 | μmol/L | 30.2577 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.627 | 114373.5798 | 217963.8892 | 27.3 | 43.4
58882 | 2021-03-29 15:43 | 2.6757 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 172.1555 | μmol/L | 30.2455 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.634 | 114420.7004 | 217972.3293 | 27.3 | 43.4
58892 | 2021-03-29 15:43 | 3.009 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 172.2478 | μmol/L | 30.2087 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.641 | 114442.2422 | 217939.4044 | 27.3 | 43.4
58902 | 2021-03-29 15:43 | 3.342 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 171.9983 | μmol/L | 30.2393 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.647 | 114456.8701 | 217941.3036 | 27.3 | 43.4
58912 | 2021-03-29 15:44 | 3.6756 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 171.6326 | μmol/L | 30.27 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.661 | 114516.2555 | 217936.2143 | 27.3 | 43.4
58922 | 2021-03-29 15:44 | 4.0085 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 171.6601 | μmol/L | 30.2455 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.668 | 114532.6973 | 217930.6113 | 27.3 | 43.4
58932 | 2021-03-29 15:44 | 4.3424 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 171.5228 | μmol/L | 30.2577 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.673 | 114547.3207 | 217926.9312 | 27.3 | 43.4
58942 | 2021-03-29 15:45 | 4.6754 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 171.3178 | μmol/L | 30.2884 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.676 | 114570.7385 | 217926.1402 | 27.3 | 43.4
58952 | 2021-03-29 15:45 | 5.0085 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 171.0502 | μmol/L | 30.3006 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.69 | 114634.2613 | 217918.8405 | 27.3 | 43.4
58962 | 2021-03-29 15:45 | 5.3422 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 170.9843 | μmol/L | 30.2884 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.699 | 114685.8883 | 217910.2623 | 27.3 | 43.4
58972 | 2021-03-29 15:46 | 5.6758 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 170.883 | μmol/L | 30.2884 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.706 | 114714.8094 | 217907.2844 | 27.3 | 43.4
58982 | 2021-03-29 15:46 | 6.0087 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 170.6162 | μmol/L | 30.3006 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.72 | 114792.9827 | 217900.9783 | 27.3 | 43.4
58992 | 2021-03-29 15:46 | 6.3419 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 170.4575 | μmol/L | 30.3006 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.731 | 114817.5527 | 217895.8517 | 27.3 | 43.4
59002 | 2021-03-29 15:47 | 6.675 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 170.5282 | μmol/L | 30.2761 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.735 | 114838.8439 | 217893.4269 | 27.3 | 43.4
59012 | 2021-03-29 15:47 | 7.0085 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 170.3937 | μmol/L | 30.2577 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.751 | 114918.697 | 217879.538 | 27.3 | 43.4
59022 | 2021-03-29 15:47 | 7.3424 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 170.5398 | μmol/L | 30.2271 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.752 | 114913.3661 | 217874.9485 | 27.3 | 43.4
59032 | 2021-03-29 15:48 | 7.6754 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 170.5077 | μmol/L | 30.2332 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.752 | 114916.6437 | 217875.1294 | 27.3 | 43.4
59042 | 2021-03-29 15:48 | 8.0084 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 170.4002 | μmol/L | 30.2455 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.755 | 114959.3884 | 217881.0613 | 27.3 | 43.4
59052 | 2021-03-29 15:48 | 8.3418 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 170.3282 | μmol/L | 30.2455 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.76 | 114986.302 | 217875.8054 | 27.3 | 43.4
59062 | 2021-03-29 15:49 | 8.6758 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 170.0129 | μmol/L | 30.27 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.773 | 115006.3917 | 217863.0898 | 27.3 | 43.4
59072 | 2021-03-29 15:49 | 9.0087 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 170.1508 | μmol/L | 30.2271 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.779 | 115037.9417 | 217876.158 | 27.3 | 43.4
59082 | 2021-03-29 15:49 | 9.3419 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 169.8966 | μmol/L | 30.2455 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.79 | 115107.2847 | 217868.5402 | 27.3 | 43.4
59092 | 2021-03-29 15:50 | 9.6756 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 169.7355 | μmol/L | 30.2516 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.799 | 115152.7165 | 217856.1286 | 27.3 | 43.4
59102 | 2021-03-29 15:50 | 10.0084 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 169.1926 | μmol/L | 30.2761 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.828 | 115281.9348 | 217848.8278 | 27.3 | 43.4
59112 | 2021-03-29 15:50 | 10.342 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 168.8401 | μmol/L | 30.2945 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.846 | 115394.1011 | 217847.9809 | 27.3 | 43.4
59122 | 2021-03-29 15:51 | 10.6751 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 168.7042 | μmol/L | 30.2823 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.86 | 115481.6089 | 217842.6971 | 27.3 | 43.4
59132 | 2021-03-29 15:51 | 11.0088 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 168.5083 | μmol/L | 30.2761 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.876 | 115559.7444 | 217838.2738 | 27.3 | 43.4
59142 | 2021-03-29 15:51 | 11.3418 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 168.3202 | μmol/L | 30.2823 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.887 | 115616.3914 | 217830.6242 | 27.3 | 43.4
59152 | 2021-03-29 15:52 | 11.675 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 168.3344 | μmol/L | 30.2823 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.886 | 115627.444 | 217832.6084 | 27.3 | 43.4
59162 | 2021-03-29 15:52 | 12.0089 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 167.924 | μmol/L | 30.3068 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.906 | 115707.4598 | 217834.1225 | 27.3 | 43.4
59172 | 2021-03-29 15:52 | 12.3423 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 167.6344 | μmol/L | 30.319 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.922 | 115811.2813 | 217826.4851 | 27.3 | 43.4
59182 | 2021-03-29 15:53 | 12.6755 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 167.3064 | μmol/L | 30.3252 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.943 | 115897.1101 | 217822.9903 | 27.3 | 43.4
59192 | 2021-03-29 15:53 | 13.0083 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 167.1721 | μmol/L | 30.3129 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.957 | 115973.7466 | 217826.088 | 27.3 | 43.4
59202 | 2021-03-29 15:53 | 13.3424 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 167.0802 | μmol/L | 30.3006 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.968 | 116029.6299 | 217821.4556 | 27.3 | 43.4
59212 | 2021-03-29 15:54 | 13.6756 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 167.2103 | μmol/L | 30.2945 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.961 | 116005.6559 | 217815.832 | 27.3 | 43.4
59222 | 2021-03-29 15:54 | 14.0086 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 167.2103 | μmol/L | 30.2945 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.961 | 116001.952 | 217822.313 | 27.3 | 43.4
59232 | 2021-03-29 15:54 | 14.3424 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 167.0213 | μmol/L | 30.3313 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.961 | 116015.6613 | 217809.3763 | 27.3 | 43.4
59242 | 2021-03-29 15:55 | 14.6751 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 166.9824 | μmol/L | 30.3252 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.966 | 116038.7397 | 217816.7562 | 27.3 | 43.4
59252 | 2021-03-29 15:55 | 15.0089 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 166.9932 | μmol/L | 30.3313 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.963 | 116009.4946 | 217809.3746 | 27.3 | 43.4
59262 | 2021-03-29 15:55 | 15.3419 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 166.8639 | μmol/L | 30.362 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.961 | 115995.3065 | 217809.6918 | 27.3 | 43.4
59272 | 2021-03-29 15:56 | 15.6757 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 166.8284 | μmol/L | 30.3497 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.968 | 116047.0166 | 217798.7175 | 27.3 | 43.4
59282 | 2021-03-29 15:56 | 16.0088 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 166.7087 | μmol/L | 30.3374 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.981 | 116089.2479 | 217796.0282 | 27.3 | 43.4
59292 | 2021-03-29 15:56 | 16.3417 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 166.5964 | μmol/L | 30.3374 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.989 | 116142.0772 | 217797.251 | 27.3 | 43.4
59302 | 2021-03-29 15:57 | 16.6755 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 166.2428 | μmol/L | 30.3436 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.012 | 116258.8294 | 217799.6454 | 27.3 | 43.4
59312 | 2021-03-29 15:57 | 17.0084 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 166.0124 | μmol/L | 30.3558 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.024 | 116336.2993 | 217798.5556 | 27.3 | 43.4
59322 | 2021-03-29 15:57 | 17.3423 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 165.7755 | μmol/L | 30.3803 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.032 | 116387.569 | 217790.5937 | 27.3 | 43.4
59332 | 2021-03-29 15:58 | 17.6752 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 165.5247 | μmol/L | 30.3803 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.05 | 116476.1711 | 217794.036 | 27.3 | 43.4
59342 | 2021-03-29 15:58 | 18.0089 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 165.2465 | μmol/L | 30.3803 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.07 | 116548.4265 | 217799.1907 | 27.3 | 43.4
59352 | 2021-03-29 15:58 | 18.3419 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 165.0315 | μmol/L | 30.3926 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.081 | 116614.9099 | 217787.0934 | 27.3 | 43.4
59362 | 2021-03-29 15:59 | 18.6752 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 164.7094 | μmol/L | 30.3987 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.102 | 116753.2 | 217788.6611 | 27.3 | 43.4
59372 | 2021-03-29 15:59 | 19.009 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 164.5883 | μmol/L | 30.3926 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.113 | 116814.1144 | 217787.2272 | 27.3 | 43.4
59382 | 2021-03-29 15:59 | 19.3422 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 164.7335 | μmol/L | 30.3803 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.107 | 116774.1991 | 217781.8521 | 27.3 | 43.4
59392 | 2021-03-29 16:00 | 19.6751 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 164.5673 | μmol/L | 30.3558 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.128 | 116866.4944 | 217781.8445 | 27.3 | 43.4
59402 | 2021-03-29 16:00 | 20.0088 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 164.5915 | μmol/L | 30.362 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.124 | 116859.6429 | 217787.1232 | 27.3 | 43.4
59412 | 2021-03-29 16:00 | 20.3418 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 164.5156 | μmol/L | 30.3742 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.125 | 116866.4747 | 217777.3918 | 27.3 | 43.4
59422 | 2021-03-29 16:01 | 20.6754 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 164.2983 | μmol/L | 30.3926 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.134 | 116882.0143 | 217791.0095 | 27.3 | 43.4
59432 | 2021-03-29 16:01 | 21.0091 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 164.0743 | μmol/L | 30.3987 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.148 | 116972.5083 | 217791.2579 | 27.3 | 43.4
59442 | 2021-03-29 16:01 | 21.3421 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 164.0399 | μmol/L | 30.411 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.146 | 116933.8489 | 217776.0374 | 27.3 | 43.4
59452 | 2021-03-29 16:02 | 21.6751 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 164.2053 | μmol/L | 30.411 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.134 | 116872.9704 | 217785.9914 | 27.3 | 43.4
59462 | 2021-03-29 16:02 | 22.0087 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 164.3362 | μmol/L | 30.3987 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.129 | 116854.9104 | 217786.4229 | 27.3 | 43.4
59472 | 2021-03-29 16:02 | 22.3417 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 164.126 | μmol/L | 30.4049 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.142 | 116923.2607 | 217788.7849 | 27.3 | 43.4
59482 | 2021-03-29 16:03 | 22.6754 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 164.2154 | μmol/L | 30.3681 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.149 | 116961.808 | 217788.1838 | 27.3 | 43.4
59492 | 2021-03-29 16:03 | 23.0091 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 164.1121 | μmol/L | 30.3803 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.152 | 116950.6247 | 217785.8777 | 27.3 | 43.4
59502 | 2021-03-29 16:03 | 23.3421 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 163.9296 | μmol/L | 30.362 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.172 | 117060.7801 | 217777.787 | 27.3 | 43.4
59512 | 2021-03-29 16:04 | 23.6752 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 163.6582 | μmol/L | 30.3558 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.194 | 117204.2193 | 217769.9767 | 27.3 | 43.4
59522 | 2021-03-29 16:04 | 24.0084 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 163.1272 | μmol/L | 30.3742 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.226 | 117374.8151 | 217772.8595 | 27.3 | 43.4
59532 | 2021-03-29 16:04 | 24.342 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.8403 | μmol/L | 30.3987 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.238 | 117447.3306 | 217772.9264 | 27.3 | 43.4
59542 | 2021-03-29 16:05 | 24.6751 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.6561 | μmol/L | 30.411 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.247 | 117491.315 | 217775.5057 | 27.3 | 43.4
59552 | 2021-03-29 16:05 | 25.009 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.5778 | μmol/L | 30.4049 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.255 | 117509.5837 | 217773.6337 | 27.3 | 43.4
59562 | 2021-03-29 16:05 | 25.3419 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.6185 | μmol/L | 30.4294 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.243 | 117464.9221 | 217775.1462 | 27.3 | 43.4
59572 | 2021-03-29 16:06 | 25.6756 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.813 | μmol/L | 30.3987 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.24 | 117437.7319 | 217778.2983 | 27.3 | 43.4
59582 | 2021-03-29 16:06 | 26.0086 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 163.0179 | μmol/L | 30.3742 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.234 | 117383.3558 | 217758.4989 | 27.3 | 43.4
59592 | 2021-03-29 16:06 | 26.3417 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.8028 | μmol/L | 30.3926 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.243 | 117438.6841 | 217769.3435 | 27.3 | 43.4
59602 | 2021-03-29 16:07 | 26.675 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.7995 | μmol/L | 30.3497 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.259 | 117515.2667 | 217767.9192 | 27.3 | 43.4
59612 | 2021-03-29 16:07 | 27.0088 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.418 | μmol/L | 30.3742 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.278 | 117627.5045 | 217770.977 | 27.3 | 43.4
59622 | 2021-03-29 16:07 | 27.3421 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.4829 | μmol/L | 30.3313 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.289 | 117677.5804 | 217771.3816 | 27.3 | 43.4
59632 | 2021-03-29 16:08 | 27.6752 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.5715 | μmol/L | 30.2945 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.296 | 117723.527 | 217771.2747 | 27.3 | 43.4
59642 | 2021-03-29 16:08 | 28.0089 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.5716 | μmol/L | 30.2455 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.314 | 117809.696 | 217780.7719 | 27.3 | 43.4
59652 | 2021-03-29 16:08 | 28.3422 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.4254 | μmol/L | 30.2393 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.327 | 117889.6612 | 217769.9366 | 27.3 | 43.4
59662 | 2021-03-29 16:09 | 28.6752 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.3099 | μmol/L | 30.2516 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.331 | 117912.5819 | 217775.4469 | 27.3 | 43.4
59672 | 2021-03-29 16:09 | 29.0091 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.9875 | μmol/L | 30.2945 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.339 | 117946.5788 | 217768.7764 | 27.3 | 43.4
59682 | 2021-03-29 16:09 | 29.3417 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.0487 | μmol/L | 30.2577 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.348 | 117992.326 | 217770.0652 | 27.3 | 43.4
59692 | 2021-03-29 16:10 | 29.6751 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.7204 | μmol/L | 30.2639 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.37 | 118090.95 | 217783.3467 | 27.3 | 43.4
59702 | 2021-03-29 16:10 | 30.009 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.3481 | μmol/L | 30.3497 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.366 | 118080.2107 | 217773.4725 | 27.3 | 43.4
59712 | 2021-03-29 16:10 | 30.342 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 160.9905 | μmol/L | 30.3865 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.379 | 118156.2739 | 217766.5072 | 27.3 | 43.4
59722 | 2021-03-29 16:11 | 30.6756 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.0865 | μmol/L | 30.2639 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.417 | 118334.7262 | 217763.5116 | 27.3 | 43.4
59732 | 2021-03-29 16:11 | 31.0087 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 160.7337 | μmol/L | 30.27 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.441 | 118463.6692 | 217754.8408 | 27.3 | 43.4
59742 | 2021-03-29 16:11 | 31.3422 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 160.7712 | μmol/L | 30.2271 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.454 | 118544.832 | 217767.1961 | 27.3 | 43.4
59752 | 2021-03-29 16:12 | 31.6752 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 160.9326 | μmol/L | 30.2026 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.451 | 118542.7473 | 217756.7487 | 27.3 | 43.4
59762 | 2021-03-29 16:12 | 32.0089 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.0201 | μmol/L | 30.1903 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.449 | 118522.3023 | 217756.5234 | 27.3 | 43.4
59772 | 2021-03-29 16:12 | 32.3419 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 160.9729 | μmol/L | 30.2026 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.448 | 118493.3446 | 217762.9237 | 27.3 | 43.4
59782 | 2021-03-29 16:13 | 32.6751 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 160.6838 | μmol/L | 30.2393 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.456 | 118544.9047 | 217760.3382 | 27.3 | 43.4
59792 | 2021-03-29 16:13 | 33.0089 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 160.6741 | μmol/L | 30.2087 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.468 | 118628.273 | 217762.503 | 27.3 | 43.4
59802 | 2021-03-29 16:13 | 33.3418 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 160.3252 | μmol/L | 30.2577 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.476 | 118686.7224 | 217759.3816 | 27.3 | 43.4
59812 | 2021-03-29 16:14 | 33.6758 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 160.2475 | μmol/L | 30.3006 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.466 | 118613.936 | 217755.7968 | 27.3 | 43.4
59822 | 2021-03-29 16:14 | 34.0089 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 160.9463 | μmol/L | 30.178 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.459 | 118562.5308 | 217758.2803 | 27.3 | 43.4
59832 | 2021-03-29 16:14 | 34.3421 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 160.8889 | μmol/L | 30.2087 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.452 | 118531.6035 | 217767.4078 | 27.3 | 43.4
59842 | 2021-03-29 16:15 | 34.6755 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 160.9223 | μmol/L | 30.221 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.445 | 118526.6871 | 217771.2389 | 27.3 | 43.4
59852 | 2021-03-29 16:15 | 35.0087 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 160.7041 | μmol/L | 30.2271 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.459 | 118558.4531 | 217756.2811 | 27.3 | 43.4
59862 | 2021-03-29 16:15 | 35.3418 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 160.5199 | μmol/L | 30.221 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.475 | 118653.1849 | 217755.8717 | 27.3 | 43.4
59872 | 2021-03-29 16:16 | 35.6755 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 160.4934 | μmol/L | 30.1964 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.486 | 118722.5457 | 217755.4338 | 27.3 | 43.4
59882 | 2021-03-29 16:16 | 36.0086 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 160.3764 | μmol/L | 30.1903 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.497 | 118781.3008 | 217740.1582 | 27.3 | 43.4
59892 | 2021-03-29 16:16 | 36.3423 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 160.2523 | μmol/L | 30.221 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.495 | 118790.0071 | 217754.3055 | 27.3 | 43.4
59902 | 2021-03-29 16:17 | 36.6751 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 159.9176 | μmol/L | 30.27 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.502 | 118805.6547 | 217757.6579 | 27.3 | 43.4
59912 | 2021-03-29 16:17 | 37.0089 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 159.8208 | μmol/L | 30.2761 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.507 | 118826.9864 | 217772.6122 | 27.3 | 43.4
59922 | 2021-03-29 16:17 | 37.3419 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 159.8904 | μmol/L | 30.2945 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.495 | 118790.9912 | 217761.3532 | 27.3 | 43.4
59932 | 2021-03-29 16:18 | 37.6758 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 159.7379 | μmol/L | 30.2577 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.52 | 118918.3065 | 217761.0563 | 27.3 | 43.4
59942 | 2021-03-29 16:18 | 38.009 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 159.8583 | μmol/L | 30.2332 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.52 | 118924.6509 | 217757.686 | 27.3 | 43.4
59952 | 2021-03-29 16:18 | 38.3418 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 159.6447 | μmol/L | 30.2577 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.527 | 118975.1452 | 217757.5113 | 27.3 | 43.4
59962 | 2021-03-29 16:19 | 38.6754 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 159.4654 | μmol/L | 30.2455 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.545 | 119080.1832 | 217760.3063 | 27.3 | 43.4
59972 | 2021-03-29 16:19 | 39.0086 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 159.4123 | μmol/L | 30.2455 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.549 | 119131.2063 | 217759.9271 | 27.3 | 43.4
59982 | 2021-03-29 16:19 | 39.3419 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 159.0535 | μmol/L | 30.27 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.567 | 119194.6697 | 217758.9124 | 27.3 | 43.4
59992 | 2021-03-29 16:20 | 39.6756 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 158.683 | μmol/L | 30.27 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.595 | 119336.9113 | 217761.8708 | 27.3 | 43.4
60002 | 2021-03-29 16:20 | 40.0091 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 158.5843 | μmol/L | 30.2577 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.607 | 119402.7193 | 217760.1177 | 27.3 | 43.4
60012 | 2021-03-29 16:20 | 40.3424 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 158.4662 | μmol/L | 30.2332 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.625 | 119512.9186 | 217761.0073 | 27.3 | 43.4
60022 | 2021-03-29 16:21 | 40.6752 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 158.236 | μmol/L | 30.221 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.647 | 119618.6311 | 217750.4507 | 27.3 | 43.4
60032 | 2021-03-29 16:21 | 41.009 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 157.7718 | μmol/L | 30.2516 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.671 | 119753.9467 | 217756.3176 | 27.3 | 43.4
60042 | 2021-03-29 16:21 | 41.342 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 157.4599 | μmol/L | 30.27 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.688 | 119853.09 | 217771.4794 | 27.3 | 43.4
60052 | 2021-03-29 16:22 | 41.6756 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 157.2045 | μmol/L | 30.2823 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.703 | 119941.3959 | 217772.8543 | 27.3 | 43.4
60062 | 2021-03-29 16:22 | 42.0087 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 157.1949 | μmol/L | 30.2761 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.706 | 119962.7819 | 217758.0261 | 27.3 | 43.4
60072 | 2021-03-29 16:22 | 42.3423 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.953 | μmol/L | 30.2884 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.72 | 120036.4242 | 217769.3058 | 27.3 | 43.4
60082 | 2021-03-29 16:23 | 42.6752 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.8897 | μmol/L | 30.2393 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.743 | 120150.8055 | 217756.7231 | 27.3 | 43.4
60092 | 2021-03-29 16:23 | 43.009 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.9323 | μmol/L | 30.2332 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.742 | 120163.4498 | 217763.091 | 27.3 | 43.4
60102 | 2021-03-29 16:23 | 43.3422 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.7525 | μmol/L | 30.2516 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.749 | 120187.538 | 217749.968 | 27.3 | 43.4
60112 | 2021-03-29 16:24 | 43.6753 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.8602 | μmol/L | 30.2455 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.743 | 120179.4819 | 217762.0009 | 27.3 | 43.4
60122 | 2021-03-29 16:24 | 44.0091 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.5434 | μmol/L | 30.2761 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.756 | 120230.8426 | 217761.3958 | 27.3 | 43.4
60132 | 2021-03-29 16:24 | 44.3423 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.4089 | μmol/L | 30.3068 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.755 | 120251.3162 | 217756.7356 | 27.3 | 43.4
60142 | 2021-03-29 16:25 | 44.6753 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.1223 | μmol/L | 30.3313 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.768 | 120337.3189 | 217750.5772 | 27.3 | 43.4
60152 | 2021-03-29 16:25 | 45.0089 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.147 | μmol/L | 30.2884 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.782 | 120407.4328 | 217765.5786 | 27.3 | 43.4
60162 | 2021-03-29 16:25 | 45.3418 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.7576 | μmol/L | 30.3129 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.803 | 120504.0695 | 217783.7408 | 27.3 | 43.4
60172 | 2021-03-29 16:26 | 45.6758 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.5498 | μmol/L | 30.3374 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.81 | 120548.6215 | 217754.4189 | 27.3 | 43.4
60182 | 2021-03-29 16:26 | 46.0087 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.5381 | μmol/L | 30.3129 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.82 | 120614.176 | 217765.6529 | 27.3 | 43.4
60192 | 2021-03-29 16:26 | 46.3417 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.3026 | μmol/L | 30.319 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.836 | 120673.7912 | 217770.0233 | 27.3 | 43.4
60202 | 2021-03-29 16:27 | 46.6756 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.134 | μmol/L | 30.3436 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.84 | 120698.1005 | 217756.6018 | 27.3 | 43.4
60212 | 2021-03-29 16:27 | 47.0085 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.0568 | μmol/L | 30.3436 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.846 | 120731.1878 | 217768.8623 | 27.3 | 43.4
60222 | 2021-03-29 16:27 | 47.3423 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.2382 | μmol/L | 30.319 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.841 | 120741.3909 | 217754.9058 | 27.3 | 43.4
60232 | 2021-03-29 16:28 | 47.6755 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.0546 | μmol/L | 30.3252 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.853 | 120782.1201 | 217760.3034 | 27.3 | 43.4
60242 | 2021-03-29 16:28 | 48.0089 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.0617 | μmol/L | 30.3129 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.857 | 120795.029 | 217766.0638 | 27.3 | 43.4
60252 | 2021-03-29 16:28 | 48.3419 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.126 | μmol/L | 30.3129 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.852 | 120768.5137 | 217763.7022 | 27.3 | 43.4
60262 | 2021-03-29 16:29 | 48.6758 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.0125 | μmol/L | 30.3313 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.854 | 120796.2256 | 217772.8626 | 27.3 | 43.4
60272 | 2021-03-29 16:29 | 49.0088 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 154.8876 | μmol/L | 30.3252 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.866 | 120845.4465 | 217770.9807 | 27.3 | 43.4
60282 | 2021-03-29 16:29 | 49.3425 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.2337 | μmol/L | 30.2823 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.855 | 120795.3054 | 217765.5605 | 27.3 | 43.4
60292 | 2021-03-29 16:30 | 49.6754 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.3859 | μmol/L | 30.2639 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.85 | 120759.219 | 217756.1067 | 27.3 | 43.4
60302 | 2021-03-29 16:30 | 50.0085 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.3965 | μmol/L | 30.2455 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.856 | 120810.117 | 217773.7141 | 27.3 | 43.4
60312 | 2021-03-29 16:30 | 50.3422 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.4 | μmol/L | 30.2393 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.858 | 120822.4611 | 217763.55 | 27.3 | 43.4
60322 | 2021-03-29 16:31 | 50.6752 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.3321 | μmol/L | 30.2455 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.861 | 120835.3131 | 217785.0996 | 27.3 | 43.4
60332 | 2021-03-29 16:31 | 51.0083 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.2221 | μmol/L | 30.2577 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.865 | 120839.3791 | 217776.3359 | 27.3 | 43.4
60342 | 2021-03-29 16:31 | 51.3417 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.4047 | μmol/L | 30.2087 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.869 | 120879.7803 | 217770.4319 | 27.3 | 43.4
60352 | 2021-03-29 16:32 | 51.6756 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.0386 | μmol/L | 30.2639 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.877 | 120933.6057 | 217775.5868 | 27.3 | 43.4
60362 | 2021-03-29 16:32 | 52.0087 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 154.6895 | μmol/L | 30.3129 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.886 | 120940.4953 | 217775.9891 | 27.3 | 43.4
60372 | 2021-03-29 16:32 | 52.342 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 154.4591 | μmol/L | 30.3129 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.904 | 121066.5004 | 217768.6169 | 27.3 | 43.4
60382 | 2021-03-29 16:33 | 52.6757 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 154.322 | μmol/L | 30.3068 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.917 | 121150.8777 | 217774.8898 | 27.3 | 43.4
60392 | 2021-03-29 16:33 | 53.0086 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 153.8414 | μmol/L | 30.3436 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.941 | 121293.3537 | 217768.6829 | 27.3 | 43.4
60402 | 2021-03-29 16:33 | 53.3425 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 153.9987 | μmol/L | 30.27 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.956 | 121338.3123 | 217776.01 | 27.3 | 43.4
60412 | 2021-03-29 16:34 | 53.6755 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 153.9746 | μmol/L | 30.2455 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.967 | 121415.556 | 217772.9712 | 27.3 | 43.4
60422 | 2021-03-29 16:34 | 54.0086 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 154.0489 | μmol/L | 30.2271 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.968 | 121395.8439 | 217774.9402 | 27.3 | 43.4
60432 | 2021-03-29 16:34 | 54.3418 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 154.0319 | μmol/L | 30.1903 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.983 | 121469.2435 | 217772.0121 | 27.3 | 43.4
60442 | 2021-03-29 16:35 | 54.6757 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 153.5204 | μmol/L | 30.2393 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.005 | 121620.5171 | 217774.1668 | 27.3 | 43.4
60452 | 2021-03-29 16:35 | 55.0088 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 152.7867 | μmol/L | 30.2823 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.047 | 121852.1199 | 217777.3626 | 27.3 | 43.4
60462 | 2021-03-29 16:35 | 55.3424 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 152.1482 | μmol/L | 30.319 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.084 | 122061.4726 | 217770.7017 | 27.3 | 43.4
60472 | 2021-03-29 16:36 | 55.6753 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 152.3435 | μmol/L | 30.221 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.105 | 122128.5713 | 217780.2484 | 27.3 | 43.4
60482 | 2021-03-29 16:36 | 56.009 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 152.0906 | μmol/L | 30.2455 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.116 | 122190.5324 | 217775.7557 | 27.3 | 43.4
60492 | 2021-03-29 16:36 | 56.3418 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 152.0493 | μmol/L | 30.2516 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.117 | 122254.3614 | 217771.9408 | 27.3 | 43.4
60502 | 2021-03-29 16:37 | 56.675 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 151.72 | μmol/L | 30.2577 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.141 | 122335.3384 | 217782.4647 | 27.3 | 43.4
60512 | 2021-03-29 16:37 | 57.0088 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 151.9559 | μmol/L | 30.1964 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.145 | 122363.0837 | 217771.7389 | 27.3 | 43.4
60522 | 2021-03-29 16:37 | 57.3417 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 151.5395 | μmol/L | 30.2455 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.16 | 122464.8827 | 217772.9183 | 27.3 | 43.4
60532 | 2021-03-29 16:38 | 57.6755 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 151.0101 | μmol/L | 30.319 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.175 | 122527.9006 | 217774.9056 | 27.3 | 43.4
60542 | 2021-03-29 16:38 | 58.0091 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.8966 | μmol/L | 30.2577 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.207 | 122702.9489 | 217786.7469 | 27.3 | 43.4
60552 | 2021-03-29 16:38 | 58.3419 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.6288 | μmol/L | 30.2271 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.24 | 122879.9814 | 217780.2416 | 27.3 | 43.4
60562 | 2021-03-29 16:39 | 58.6758 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.5066 | μmol/L | 30.2026 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.259 | 122992.8837 | 217784.3528 | 27.3 | 43.4
60572 | 2021-03-29 16:39 | 59.009 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.4571 | μmol/L | 30.2026 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.263 | 123017.8957 | 217778.4153 | 27.3 | 43.4
60582 | 2021-03-29 16:39 | 59.3419 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.7335 | μmol/L | 30.1964 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.243 | 122900.0453 | 217789.9273 | 27.3 | 43.4
60592 | 2021-03-29 16:40 | 59.6751 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.3418 | μmol/L | 30.2516 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.254 | 122966.173 | 217780.1185 | 27.3 | 43.4
60602 | 2021-03-29 16:40 | 60.0089 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 149.914 | μmol/L | 30.3068 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.268 | 123046.1684 | 217780.7482 | 27.3 | 43.4
60612 | 2021-03-29 16:40 | 60.3421 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 149.9531 | μmol/L | 30.2823 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.274 | 123052.3315 | 217782.1195 | 27.3 | 43.4
60622 | 2021-03-29 16:41 | 60.6757 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 149.7116 | μmol/L | 30.2945 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.289 | 123162.4696 | 217778.7951 | 27.3 | 43.4
60632 | 2021-03-29 16:41 | 61.0089 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 149.5202 | μmol/L | 30.2639 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.316 | 123295.2557 | 217770.6346 | 27.3 | 43.4
60642 | 2021-03-29 16:41 | 61.3421 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 149.6422 | μmol/L | 30.2026 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.329 | 123350.5097 | 217783.1875 | 27.3 | 43.4
60652 | 2021-03-29 16:42 | 61.6757 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 149.7335 | μmol/L | 30.2148 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.317 | 123308.9585 | 217785.7588 | 27.3 | 43.4
60662 | 2021-03-29 16:42 | 62.0087 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 149.32 | μmol/L | 30.27 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.33 | 123360.5214 | 217776.2034 | 27.3 | 43.4
60672 | 2021-03-29 16:42 | 62.3423 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 149.3302 | μmol/L | 30.2945 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.32 | 123338.1922 | 217781.279 | 27.3 | 43.4
60682 | 2021-03-29 16:43 | 62.6751 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 149.552 | μmol/L | 30.2516 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.318 | 123276.453 | 217780.2878 | 27.3 | 43.4
60692 | 2021-03-29 16:43 | 63.0091 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 149.5315 | μmol/L | 30.2026 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.338 | 123413.2737 | 217799.2374 | 27.3 | 43.4
60702 | 2021-03-29 16:43 | 63.3423 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 149.2311 | μmol/L | 30.2332 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.351 | 123484.5311 | 217782.88 | 27.3 | 43.4
60712 | 2021-03-29 16:44 | 63.6754 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 149.7235 | μmol/L | 30.1474 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.343 | 123445.8352 | 217795.3738 | 27.3 | 43.4
60722 | 2021-03-29 16:44 | 64.0084 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 149.8855 | μmol/L | 30.1229 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.339 | 123448.6405 | 217795.41 | 27.3 | 43.4
60732 | 2021-03-29 16:44 | 64.3423 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 149.6833 | μmol/L | 30.1106 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.36 | 123525.8476 | 217791.2351 | 27.3 | 43.4
60742 | 2021-03-29 16:45 | 64.6755 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 149.6026 | μmol/L | 30.08 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.378 | 123649.4352 | 217802.5581 | 27.3 | 43.4
60752 | 2021-03-29 16:45 | 65.0084 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 149.2656 | μmol/L | 30.1106 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.394 | 123715.4615 | 217797.9487 | 27.3 | 43.4
60762 | 2021-03-29 16:45 | 65.3424 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 149.2498 | μmol/L | 30.1167 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.393 | 123748.1182 | 217799.4899 | 27.3 | 43.4
60772 | 2021-03-29 16:46 | 65.6755 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 148.8626 | μmol/L | 30.1719 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.404 | 123795.5121 | 217796.2314 | 27.3 | 43.4
60782 | 2021-03-29 16:46 | 66.0083 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 148.7109 | μmol/L | 30.1597 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.421 | 123891.1377 | 217796.9857 | 27.3 | 43.4
60792 | 2021-03-29 16:46 | 66.3424 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 148.7359 | μmol/L | 30.1167 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.435 | 123963.1425 | 217801.4723 | 27.3 | 43.4
60802 | 2021-03-29 16:47 | 66.6755 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 148.3751 | μmol/L | 30.129 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.46 | 124142.1132 | 217812.0075 | 27.3 | 43.4
60812 | 2021-03-29 16:47 | 67.0085 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 148.4868 | μmol/L | 30.1045 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.46 | 124126.7491 | 217808.1727 | 27.3 | 43.4
60822 | 2021-03-29 16:47 | 67.3424 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 148.3386 | μmol/L | 30.129 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.463 | 124140.0824 | 217806.5347 | 27.3 | 43.4
60832 | 2021-03-29 16:48 | 67.6756 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 148.1217 | μmol/L | 30.2087 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.451 | 124076.3935 | 217809.5534 | 27.3 | 43.4
60842 | 2021-03-29 16:48 | 68.0091 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 148.146 | μmol/L | 30.2087 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.449 | 124058.9636 | 217810.0063 | 27.3 | 43.4
60852 | 2021-03-29 16:48 | 68.3419 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 147.8752 | μmol/L | 30.2148 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.469 | 124146.722 | 217800.6374 | 27.3 | 43.4
60862 | 2021-03-29 16:49 | 68.6758 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 147.881 | μmol/L | 30.1842 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.48 | 124264.4823 | 217804.4584 | 27.3 | 43.4
60872 | 2021-03-29 16:49 | 69.0088 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 147.9453 | μmol/L | 30.178 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.477 | 124218.2689 | 217805.6635 | 27.3 | 43.4
60882 | 2021-03-29 16:49 | 69.3419 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 148.2613 | μmol/L | 30.178 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.451 | 124081.1573 | 217807.3769 | 27.3 | 43.4
60892 | 2021-03-29 16:50 | 69.6752 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 148.6174 | μmol/L | 30.1106 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.447 | 124071.9003 | 217808.5905 | 27.3 | 43.4
60902 | 2021-03-29 16:50 | 70.0089 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 148.1418 | μmol/L | 30.1535 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.47 | 124193.116 | 217812.3484 | 27.3 | 43.4
60912 | 2021-03-29 16:50 | 70.3417 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 147.6314 | μmol/L | 30.1964 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.496 | 124337.1086 | 217812.2781 | 27.3 | 43.4
60922 | 2021-03-29 16:51 | 70.6754 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 147.63 | μmol/L | 30.178 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.503 | 124373.5979 | 217820.5609 | 27.3 | 43.4
60932 | 2021-03-29 16:51 | 71.0085 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 147.3858 | μmol/L | 30.2026 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.514 | 124448.7374 | 217822.4043 | 27.3 | 43.4
60942 | 2021-03-29 16:51 | 71.3424 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 147.1805 | μmol/L | 30.2026 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.531 | 124526.5709 | 217825.2985 | 27.3 | 43.4
60952 | 2021-03-29 16:52 | 71.6756 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 147.0286 | μmol/L | 30.2148 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.539 | 124587.9882 | 217816.2092 | 27.3 | 43.4
60962 | 2021-03-29 16:52 | 72.0088 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 146.9443 | μmol/L | 30.2148 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.546 | 124626.9248 | 217815.7451 | 27.3 | 43.4
60972 | 2021-03-29 16:52 | 72.3418 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 146.6026 | μmol/L | 30.2639 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.556 | 124697.0821 | 217815.3449 | 27.3 | 43.4
60982 | 2021-03-29 16:53 | 72.6756 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 146.5546 | μmol/L | 30.2639 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.56 | 124727.5784 | 217821.9085 | 27.3 | 43.4
60992 | 2021-03-29 16:53 | 73.0085 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 146.1552 | μmol/L | 30.27 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.591 | 124886.9377 | 217827.1667 | 27.3 | 43.4
61002 | 2021-03-29 16:53 | 73.3425 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 145.9457 | μmol/L | 30.3006 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.597 | 124915.7412 | 217816.1028 | 27.3 | 43.4