## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-29 16:54

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
58803 | 2021-03-29 15:40 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 152.9471 | μmol/L | 30.198 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.502 | 117774.4472 | 300415.4955 | 28.7 | 67.6
58813 | 2021-03-29 15:40 | 0.32951 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 153.0301 | μmol/L | 30.1492 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.513 | 117852.8198 | 300444.702 | 28.7 | 67.6
58823 | 2021-03-29 15:41 | 0.66287 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 152.9002 | μmol/L | 30.1492 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.523 | 117900.6786 | 300428.6542 | 28.7 | 67.6
58833 | 2021-03-29 15:41 | 0.99679 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 152.7553 | μmol/L | 30.1553 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.532 | 117962.6442 | 300411.5721 | 28.7 | 67.6
58843 | 2021-03-29 15:41 | 1.3294 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 152.446 | μmol/L | 30.1858 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.545 | 118000.7247 | 300426.7552 | 28.7 | 67.6
58853 | 2021-03-29 15:42 | 1.6633 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 152.6003 | μmol/L | 30.1187 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.557 | 118088.5978 | 300447.1641 | 28.7 | 67.6
58863 | 2021-03-29 15:42 | 1.9963 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 152.7348 | μmol/L | 30.0699 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.564 | 118125.9583 | 300419.607 | 28.7 | 67.6
58873 | 2021-03-29 15:42 | 2.33 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 152.4259 | μmol/L | 30.1004 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.577 | 118167.6321 | 300400.4315 | 28.7 | 67.6
58883 | 2021-03-29 15:43 | 2.6631 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 152.4 | μmol/L | 30.1004 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.579 | 118208.1729 | 300396.6447 | 28.7 | 67.6
58893 | 2021-03-29 15:43 | 2.9961 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 152.2253 | μmol/L | 30.1187 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.586 | 118240.1741 | 300384.7386 | 28.7 | 67.6
58903 | 2021-03-29 15:43 | 3.3297 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.9947 | μmol/L | 30.1492 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.593 | 118255.0079 | 300391.4201 | 28.7 | 67.6
58913 | 2021-03-29 15:44 | 3.6634 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.8249 | μmol/L | 30.1553 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.604 | 118288.8427 | 300388.5814 | 28.7 | 67.6
58923 | 2021-03-29 15:44 | 3.9964 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.6789 | μmol/L | 30.1675 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.611 | 118327.6513 | 300366.2625 | 28.7 | 67.6
58933 | 2021-03-29 15:44 | 4.3294 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.7265 | μmol/L | 30.1431 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.616 | 118339.0267 | 300362.6532 | 28.7 | 67.6
58943 | 2021-03-29 15:45 | 4.6634 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.8514 | μmol/L | 30.1187 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.615 | 118331.8434 | 300353.588 | 28.7 | 67.6
58953 | 2021-03-29 15:45 | 4.9966 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.6691 | μmol/L | 30.1248 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.627 | 118380.5465 | 300350.359 | 28.7 | 67.6
58963 | 2021-03-29 15:45 | 5.3298 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.6199 | μmol/L | 30.1187 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.633 | 118423.1797 | 300342.5112 | 28.7 | 67.6
58973 | 2021-03-29 15:46 | 5.663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.4915 | μmol/L | 30.1187 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.643 | 118459.2235 | 300341.3277 | 28.7 | 67.6
58983 | 2021-03-29 15:46 | 5.996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.4099 | μmol/L | 30.1309 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.645 | 118467.5712 | 300345.7819 | 28.7 | 67.6
58993 | 2021-03-29 15:46 | 6.33 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.3692 | μmol/L | 30.137 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.646 | 118498.8218 | 300330.7871 | 28.7 | 67.6
59003 | 2021-03-29 15:47 | 6.663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.2561 | μmol/L | 30.1309 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.657 | 118510.5504 | 300319.6584 | 28.7 | 67.6
59013 | 2021-03-29 15:47 | 6.996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.3073 | μmol/L | 30.1309 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.653 | 118516.9748 | 300305.0211 | 28.7 | 67.6
59023 | 2021-03-29 15:47 | 7.3301 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.2501 | μmol/L | 30.1126 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.664 | 118544.7224 | 300300.738 | 28.7 | 67.6
59033 | 2021-03-29 15:48 | 7.6632 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.2418 | μmol/L | 30.1004 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.669 | 118577.4825 | 300276.5554 | 28.7 | 67.6
59043 | 2021-03-29 15:48 | 7.9963 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.1672 | μmol/L | 30.0943 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.677 | 118613.1191 | 300290.4621 | 28.7 | 67.6
59053 | 2021-03-29 15:48 | 8.3295 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.9731 | μmol/L | 30.1004 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.69 | 118686.4484 | 300282.1004 | 28.7 | 67.6
59063 | 2021-03-29 15:49 | 8.6633 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.8626 | μmol/L | 30.0882 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.703 | 118741.6887 | 300266.961 | 28.7 | 67.6
59073 | 2021-03-29 15:49 | 8.9965 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.6794 | μmol/L | 30.1004 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.713 | 118793.591 | 300265.4145 | 28.7 | 67.6
59083 | 2021-03-29 15:49 | 9.3295 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.501 | μmol/L | 30.1004 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.727 | 118858.7153 | 300259.8612 | 28.7 | 67.6
59093 | 2021-03-29 15:50 | 9.6634 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.3864 | μmol/L | 30.1004 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.736 | 118943.5835 | 300252.775 | 28.7 | 67.6
59103 | 2021-03-29 15:50 | 9.9964 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.2257 | μmol/L | 30.0882 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.753 | 119004.1734 | 300243.4867 | 28.7 | 67.6
59113 | 2021-03-29 15:50 | 10.3295 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.0329 | μmol/L | 30.0943 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.766 | 119066.5026 | 300247.6971 | 28.7 | 67.6
59123 | 2021-03-29 15:51 | 10.6634 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 149.8531 | μmol/L | 30.1004 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.778 | 119156.7251 | 300236.0409 | 28.7 | 67.6
59133 | 2021-03-29 15:51 | 10.9966 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 149.6356 | μmol/L | 30.1065 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.793 | 119219.5228 | 300233.5654 | 28.7 | 67.6
59143 | 2021-03-29 15:51 | 11.3295 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 149.5493 | μmol/L | 30.1004 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.802 | 119277.4416 | 300236.7265 | 28.7 | 67.6
59153 | 2021-03-29 15:52 | 11.6629 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 149.4001 | μmol/L | 30.0943 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.816 | 119359.6483 | 300233.9638 | 28.7 | 67.6
59163 | 2021-03-29 15:52 | 11.9962 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 149.2211 | μmol/L | 30.1004 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.828 | 119420.165 | 300223.9728 | 28.7 | 67.6
59173 | 2021-03-29 15:52 | 12.3293 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 149.0024 | μmol/L | 30.1126 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.841 | 119471.8791 | 300231.494 | 28.7 | 67.6
59183 | 2021-03-29 15:53 | 12.6634 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 148.9166 | μmol/L | 30.1065 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.85 | 119523.5354 | 300224.8009 | 28.7 | 67.6
59193 | 2021-03-29 15:53 | 12.9963 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 148.656 | μmol/L | 30.1309 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.862 | 119606.0771 | 300213.1599 | 28.7 | 67.6
59203 | 2021-03-29 15:53 | 13.3295 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 148.5031 | μmol/L | 30.137 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.872 | 119665.0636 | 300216.2978 | 28.7 | 67.6
59213 | 2021-03-29 15:54 | 13.6632 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 148.4474 | μmol/L | 30.1187 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.883 | 119721.4651 | 300190.5375 | 28.7 | 67.6
59223 | 2021-03-29 15:54 | 13.9964 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 148.3667 | μmol/L | 30.1004 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.896 | 119783.8466 | 300200.0261 | 28.7 | 67.6
59233 | 2021-03-29 15:54 | 14.33 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 148.2096 | μmol/L | 30.1187 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.902 | 119828.6874 | 300188.8518 | 28.7 | 67.6
59243 | 2021-03-29 15:55 | 14.6629 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 148.1494 | μmol/L | 30.1126 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.909 | 119852.8134 | 300180.8323 | 28.7 | 67.6
59253 | 2021-03-29 15:55 | 14.9968 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 148.1119 | μmol/L | 30.1126 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.912 | 119861.8815 | 300187.7934 | 28.7 | 67.6
59263 | 2021-03-29 15:55 | 15.3301 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 147.9402 | μmol/L | 30.137 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.917 | 119881.7705 | 300164.4065 | 28.7 | 67.6
59273 | 2021-03-29 15:56 | 15.6633 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 147.9675 | μmol/L | 30.1309 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.917 | 119895.9828 | 300172.3366 | 28.7 | 67.6
59283 | 2021-03-29 15:56 | 15.9968 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 147.9425 | μmol/L | 30.1309 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.919 | 119882.4878 | 300162.464 | 28.7 | 67.6
59293 | 2021-03-29 15:56 | 16.3297 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 147.9573 | μmol/L | 30.1248 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.92 | 119884.1736 | 300161.3209 | 28.7 | 67.6
59303 | 2021-03-29 15:57 | 16.6633 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 147.9098 | μmol/L | 30.1187 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.926 | 119910.6101 | 300160.0533 | 28.7 | 67.6
59313 | 2021-03-29 15:57 | 16.9966 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 147.7928 | μmol/L | 30.1309 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.931 | 119948.9866 | 300146.8608 | 28.7 | 67.6
59323 | 2021-03-29 15:57 | 17.3296 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 147.5639 | μmol/L | 30.1431 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.945 | 120018.2422 | 300163.8592 | 28.7 | 67.6
59333 | 2021-03-29 15:58 | 17.6633 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 147.4147 | μmol/L | 30.1431 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.957 | 120090.6119 | 300140.6306 | 28.7 | 67.6
59343 | 2021-03-29 15:58 | 17.9963 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 147.2656 | μmol/L | 30.1431 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.969 | 120165.47 | 300140.3261 | 28.7 | 67.6
59353 | 2021-03-29 15:58 | 18.3301 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 147.0276 | μmol/L | 30.1492 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.986 | 120270.1694 | 300147.5755 | 28.7 | 67.6
59363 | 2021-03-29 15:59 | 18.663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.7335 | μmol/L | 30.1736 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.001 | 120341.8216 | 300140.8135 | 28.7 | 67.6
59373 | 2021-03-29 15:59 | 18.9961 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.6664 | μmol/L | 30.1553 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.013 | 120415.7522 | 300140.2706 | 28.7 | 67.6
59383 | 2021-03-29 15:59 | 19.3294 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.5553 | μmol/L | 30.1553 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.022 | 120449.467 | 300143.4572 | 28.7 | 67.6
59393 | 2021-03-29 16:00 | 19.6633 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.4836 | μmol/L | 30.1492 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.03 | 120488.0688 | 300141.1502 | 28.7 | 67.6
59403 | 2021-03-29 16:00 | 19.9965 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.2745 | μmol/L | 30.1797 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.036 | 120499.9415 | 300129.7607 | 28.7 | 67.6
59413 | 2021-03-29 16:00 | 20.3296 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.1636 | μmol/L | 30.1797 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.045 | 120560.8002 | 300136.5361 | 28.7 | 67.6
59423 | 2021-03-29 16:01 | 20.6627 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.0922 | μmol/L | 30.1736 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.053 | 120609.7328 | 300131.9093 | 28.7 | 67.6
59433 | 2021-03-29 16:01 | 20.9962 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.0113 | μmol/L | 30.1919 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.053 | 120621.8896 | 300130.6595 | 28.7 | 67.6
59443 | 2021-03-29 16:01 | 21.3293 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.9768 | μmol/L | 30.1858 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.058 | 120648.865 | 300136.8351 | 28.7 | 67.6
59453 | 2021-03-29 16:02 | 21.6631 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.854 | μmol/L | 30.1858 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.068 | 120678.2646 | 300123.4497 | 28.7 | 67.6
59463 | 2021-03-29 16:02 | 21.996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.8171 | μmol/L | 30.1858 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.071 | 120686.4496 | 300128.9414 | 28.7 | 67.6
59473 | 2021-03-29 16:02 | 22.3301 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.888 | μmol/L | 30.1614 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.074 | 120721.4642 | 300127.0346 | 28.7 | 67.6
59483 | 2021-03-29 16:03 | 22.6632 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.643 | μmol/L | 30.1919 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.083 | 120749.6503 | 300117.2232 | 28.7 | 67.6
59493 | 2021-03-29 16:03 | 22.9962 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.4425 | μmol/L | 30.2347 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.084 | 120767.6327 | 300115.1001 | 28.7 | 67.6
59503 | 2021-03-29 16:03 | 23.33 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.5328 | μmol/L | 30.1919 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.092 | 120813.1213 | 300117.181 | 28.7 | 67.6
59513 | 2021-03-29 16:04 | 23.663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.2615 | μmol/L | 30.2286 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.101 | 120836.2045 | 300118.9819 | 28.7 | 67.6
59523 | 2021-03-29 16:04 | 23.9968 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.1515 | μmol/L | 30.2286 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.11 | 120883.8261 | 300112.599 | 28.7 | 67.6
59533 | 2021-03-29 16:04 | 24.3299 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.1735 | μmol/L | 30.2347 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.106 | 120906.5077 | 300108.3793 | 28.7 | 67.6
59543 | 2021-03-29 16:05 | 24.6631 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.2612 | μmol/L | 30.198 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.112 | 120899.759 | 300122.0166 | 28.7 | 67.6
59553 | 2021-03-29 16:05 | 24.996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.1417 | μmol/L | 30.2225 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.113 | 120899.9947 | 300109.4027 | 28.7 | 67.6
59563 | 2021-03-29 16:05 | 25.3298 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.0929 | μmol/L | 30.2225 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.117 | 120937.2301 | 300114.6732 | 28.7 | 67.6
59573 | 2021-03-29 16:06 | 25.6629 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.0147 | μmol/L | 30.2041 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.13 | 120977.1215 | 300104.8133 | 28.7 | 67.6
59583 | 2021-03-29 16:06 | 25.9961 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 144.9318 | μmol/L | 30.198 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.139 | 121040.4361 | 300114.9313 | 28.7 | 67.6
59593 | 2021-03-29 16:06 | 26.3298 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 144.715 | μmol/L | 30.1919 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.159 | 121137.0625 | 300097.2264 | 28.7 | 67.6
59603 | 2021-03-29 16:07 | 26.6628 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 144.5108 | μmol/L | 30.1858 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.178 | 121237.1232 | 300111.7829 | 28.7 | 67.6
59613 | 2021-03-29 16:07 | 26.9965 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 144.3264 | μmol/L | 30.1919 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.191 | 121314.1829 | 300110.1661 | 28.7 | 67.6
59623 | 2021-03-29 16:07 | 27.3293 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 144.0792 | μmol/L | 30.2041 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.207 | 121392.9099 | 300097.2298 | 28.7 | 67.6
59633 | 2021-03-29 16:08 | 27.6632 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 143.7553 | μmol/L | 30.2286 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.225 | 121491.3708 | 300106.1639 | 28.7 | 67.6
59643 | 2021-03-29 16:08 | 27.9961 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 143.7698 | μmol/L | 30.1919 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.237 | 121585.9489 | 300101.7098 | 28.7 | 67.6
59653 | 2021-03-29 16:08 | 28.3299 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 143.7867 | μmol/L | 30.1492 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.251 | 121669.5749 | 300103.6678 | 28.7 | 67.6
59663 | 2021-03-29 16:09 | 28.6628 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 143.4155 | μmol/L | 30.1736 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.273 | 121795.8358 | 300105.0366 | 28.7 | 67.6
59673 | 2021-03-29 16:09 | 28.9967 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 143.2447 | μmol/L | 30.1797 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.285 | 121888.2136 | 300104.9378 | 28.7 | 67.6
59683 | 2021-03-29 16:09 | 29.3296 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 143.3434 | μmol/L | 30.1431 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.29 | 121877.5181 | 300109.7057 | 28.7 | 67.6
59693 | 2021-03-29 16:10 | 29.6635 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 143.1679 | μmol/L | 30.1614 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.298 | 121915.2605 | 300100.822 | 28.7 | 67.6
59703 | 2021-03-29 16:10 | 29.9963 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 143.1535 | μmol/L | 30.137 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.308 | 121943.2206 | 300103.7099 | 28.7 | 67.6
59713 | 2021-03-29 16:10 | 30.3299 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 142.9927 | μmol/L | 30.1492 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.317 | 122010.398 | 300117.2911 | 28.7 | 67.6
59723 | 2021-03-29 16:11 | 30.6628 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 142.9328 | μmol/L | 30.1492 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.322 | 122057.9265 | 300113.6599 | 28.7 | 67.6
59733 | 2021-03-29 16:11 | 30.9965 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 142.6692 | μmol/L | 30.1797 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.333 | 122084.5074 | 300100.9554 | 28.7 | 67.6
59743 | 2021-03-29 16:11 | 31.3299 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 142.5879 | μmol/L | 30.1736 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.342 | 122138.9049 | 300096.567 | 28.7 | 67.6
59753 | 2021-03-29 16:12 | 31.6628 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 142.4446 | μmol/L | 30.1736 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.354 | 122206.3436 | 300095.3825 | 28.7 | 67.6
59763 | 2021-03-29 16:12 | 31.9965 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 142.3825 | μmol/L | 30.1797 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.357 | 122244.0063 | 300094.5943 | 28.7 | 67.6
59773 | 2021-03-29 16:12 | 32.3296 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 142.3277 | μmol/L | 30.1675 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.366 | 122272.5282 | 300099.3456 | 28.7 | 67.6
59783 | 2021-03-29 16:13 | 32.6628 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 142.199 | μmol/L | 30.1614 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.379 | 122342.9125 | 300102.8769 | 28.7 | 67.6
59793 | 2021-03-29 16:13 | 32.9961 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 142.0942 | μmol/L | 30.1553 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.39 | 122404.6629 | 300098.7114 | 28.7 | 67.6
59803 | 2021-03-29 16:13 | 33.3297 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 142.0491 | μmol/L | 30.1492 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.396 | 122430.0315 | 300102.8946 | 28.7 | 67.6
59813 | 2021-03-29 16:14 | 33.6635 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 142.1849 | μmol/L | 30.137 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.389 | 122391.9677 | 300098.0778 | 28.7 | 67.6
59823 | 2021-03-29 16:14 | 33.9964 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 142.3829 | μmol/L | 30.1187 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.379 | 122353.2355 | 300103.3995 | 28.7 | 67.6
59833 | 2021-03-29 16:14 | 34.33 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 142.4235 | μmol/L | 30.1065 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.38 | 122360.2861 | 300100.5046 | 28.7 | 67.6
59843 | 2021-03-29 16:15 | 34.6633 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 142.3018 | μmol/L | 30.1126 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.388 | 122388.644 | 300097.9383 | 28.7 | 67.6
59853 | 2021-03-29 16:15 | 34.9963 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 142.2733 | μmol/L | 30.0943 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.397 | 122437.5819 | 300104.9004 | 28.7 | 67.6
59863 | 2021-03-29 16:15 | 35.33 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 142.1615 | μmol/L | 30.076 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.413 | 122509.0478 | 300092.9196 | 28.7 | 67.6
59873 | 2021-03-29 16:16 | 35.6631 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 142.1235 | μmol/L | 30.0516 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.425 | 122594.1169 | 300089.4522 | 28.7 | 67.6
59883 | 2021-03-29 16:16 | 35.9968 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 141.9975 | μmol/L | 30.0394 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.44 | 122662.8617 | 300076.4786 | 28.7 | 67.6
59893 | 2021-03-29 16:16 | 36.3296 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 141.8644 | μmol/L | 30.0455 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.449 | 122713.1521 | 300094.6589 | 28.7 | 67.6
59903 | 2021-03-29 16:17 | 36.6633 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 141.6911 | μmol/L | 30.0638 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.457 | 122754.5074 | 300088.1178 | 28.7 | 67.6
59913 | 2021-03-29 16:17 | 36.9963 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 141.6081 | μmol/L | 30.0638 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.464 | 122801.1884 | 300090.7656 | 28.7 | 67.6
59923 | 2021-03-29 16:17 | 37.3298 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 141.3261 | μmol/L | 30.0882 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.479 | 122903.7909 | 300091.0536 | 28.7 | 67.6
59933 | 2021-03-29 16:18 | 37.6627 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 141.1819 | μmol/L | 30.0943 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.489 | 122972.9285 | 300096.8453 | 28.7 | 67.6
59943 | 2021-03-29 16:18 | 37.9966 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 141.2249 | μmol/L | 30.0455 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.503 | 123037.0927 | 300107.9434 | 28.7 | 67.6
59953 | 2021-03-29 16:18 | 38.3294 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 140.9512 | μmol/L | 30.0516 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.524 | 123135.7457 | 300097.36 | 28.7 | 67.6
59963 | 2021-03-29 16:19 | 38.6631 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 140.7932 | μmol/L | 30.0638 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.533 | 123239.3138 | 300105.7991 | 28.7 | 67.6
59973 | 2021-03-29 16:19 | 38.996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 140.5884 | μmol/L | 30.076 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.546 | 123297.2743 | 300103.3042 | 28.7 | 67.6
59983 | 2021-03-29 16:19 | 39.3299 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 140.4524 | μmol/L | 30.0638 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.562 | 123361.5514 | 300105.248 | 28.7 | 67.6
59993 | 2021-03-29 16:20 | 39.6635 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 140.4455 | μmol/L | 30.0516 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.567 | 123414.3088 | 300087.0059 | 28.7 | 67.6
60003 | 2021-03-29 16:20 | 39.9965 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 140.2672 | μmol/L | 30.0577 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.58 | 123475.7768 | 300089.2542 | 28.7 | 67.6
60013 | 2021-03-29 16:20 | 40.3295 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 140.1759 | μmol/L | 30.0516 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.59 | 123550.7168 | 300091.6468 | 28.7 | 67.6
60023 | 2021-03-29 16:21 | 40.6635 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 139.8928 | μmol/L | 30.0577 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.612 | 123628.3224 | 300087.4398 | 28.7 | 67.6
60033 | 2021-03-29 16:21 | 40.9962 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 139.6238 | μmol/L | 30.0882 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.624 | 123702.997 | 300091.1401 | 28.7 | 67.6
60043 | 2021-03-29 16:21 | 41.33 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 139.4656 | μmol/L | 30.076 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.642 | 123792.9479 | 300094.6955 | 28.7 | 67.6
60053 | 2021-03-29 16:22 | 41.6632 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 139.2911 | μmol/L | 30.076 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.657 | 123901.7604 | 300101.1813 | 28.7 | 67.6
60063 | 2021-03-29 16:22 | 41.996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 139.1028 | μmol/L | 30.0821 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.671 | 123988.0845 | 300102.9547 | 28.7 | 67.6
60073 | 2021-03-29 16:22 | 42.3301 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 138.9289 | μmol/L | 30.0821 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.686 | 124052.7635 | 300101.4642 | 28.7 | 67.6
60083 | 2021-03-29 16:23 | 42.6629 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 138.7643 | μmol/L | 30.0882 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.698 | 124095.9879 | 300085.7327 | 28.7 | 67.6
60093 | 2021-03-29 16:23 | 42.996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 138.751 | μmol/L | 30.0638 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.708 | 124161.6649 | 300097.6283 | 28.7 | 67.6
60103 | 2021-03-29 16:23 | 43.33 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 138.6469 | μmol/L | 30.0638 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.717 | 124234.7494 | 300104.2268 | 28.7 | 67.6
60113 | 2021-03-29 16:24 | 43.6629 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 138.4431 | μmol/L | 30.0821 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.728 | 124280.1907 | 300090.3281 | 28.7 | 67.6
60123 | 2021-03-29 16:24 | 43.9968 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 138.2306 | μmol/L | 30.0943 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.742 | 124344.7593 | 300096.5283 | 28.7 | 67.6
60133 | 2021-03-29 16:24 | 44.3301 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 138.0784 | μmol/L | 30.1004 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.753 | 124402.3765 | 300110.4474 | 28.7 | 67.6
60143 | 2021-03-29 16:25 | 44.6632 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.947 | μmol/L | 30.1126 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.76 | 124479.9766 | 300105.801 | 28.7 | 67.6
60153 | 2021-03-29 16:25 | 44.996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.6999 | μmol/L | 30.1553 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.766 | 124496.0963 | 300091.2333 | 28.7 | 67.6
60163 | 2021-03-29 16:25 | 45.3297 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.837 | μmol/L | 30.1004 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.774 | 124512.9453 | 300110.317 | 28.7 | 67.6
60173 | 2021-03-29 16:26 | 45.6627 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.8534 | μmol/L | 30.0882 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.777 | 124538.1692 | 300102.7599 | 28.7 | 67.6
60183 | 2021-03-29 16:26 | 45.9966 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.7173 | μmol/L | 30.1126 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.78 | 124571.1068 | 300085.9641 | 28.7 | 67.6
60193 | 2021-03-29 16:26 | 46.3298 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.5035 | μmol/L | 30.1309 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.792 | 124605.4755 | 300091.0704 | 28.7 | 67.6
60203 | 2021-03-29 16:27 | 46.6632 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.3955 | μmol/L | 30.1431 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.797 | 124652.2627 | 300106.5013 | 28.7 | 67.6
60213 | 2021-03-29 16:27 | 46.9961 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.2304 | μmol/L | 30.1553 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.807 | 124707.3563 | 300103.5047 | 28.7 | 67.6
60223 | 2021-03-29 16:27 | 47.33 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.3228 | μmol/L | 30.1248 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.81 | 124742.2481 | 300119.1116 | 28.7 | 67.6
60233 | 2021-03-29 16:28 | 47.6633 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.2035 | μmol/L | 30.137 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.816 | 124758.4887 | 300109.7994 | 28.7 | 67.6
60243 | 2021-03-29 16:28 | 47.9967 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.0134 | μmol/L | 30.1553 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.826 | 124794.2365 | 300113.682 | 28.7 | 67.6
60253 | 2021-03-29 16:28 | 48.3296 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 136.9336 | μmol/L | 30.1553 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.833 | 124861.1881 | 300097.0878 | 28.7 | 67.6
60263 | 2021-03-29 16:29 | 48.6632 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 136.836 | μmol/L | 30.1431 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.846 | 124897.2218 | 300107.1027 | 28.7 | 67.6
60273 | 2021-03-29 16:29 | 48.9963 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 136.6098 | μmol/L | 30.1675 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.857 | 124969.4313 | 300093.1356 | 28.7 | 67.6
60283 | 2021-03-29 16:29 | 49.3294 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 136.4028 | μmol/L | 30.1736 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.873 | 125029.5306 | 300091.3863 | 28.7 | 67.6
60293 | 2021-03-29 16:30 | 49.6632 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 136.2415 | μmol/L | 30.1797 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.885 | 125110.9047 | 300114.0669 | 28.7 | 67.6
60303 | 2021-03-29 16:30 | 49.9965 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 136.142 | μmol/L | 30.1736 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.896 | 125175.6247 | 300101.1251 | 28.7 | 67.6
60313 | 2021-03-29 16:30 | 50.3294 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 136.1231 | μmol/L | 30.137 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.911 | 125259.9681 | 300104.9093 | 28.7 | 67.6
60323 | 2021-03-29 16:31 | 50.6632 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 136.1369 | μmol/L | 30.1309 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.912 | 125290.3758 | 300122.1631 | 28.7 | 67.6
60333 | 2021-03-29 16:31 | 50.9963 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 136.0577 | μmol/L | 30.1309 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.919 | 125312.8557 | 300121.0437 | 28.7 | 67.6
60343 | 2021-03-29 16:31 | 51.3294 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 135.9534 | μmol/L | 30.137 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.926 | 125349.1693 | 300102.7588 | 28.7 | 67.6
60353 | 2021-03-29 16:32 | 51.663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 135.799 | μmol/L | 30.1553 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.933 | 125404.9971 | 300119.4995 | 28.7 | 67.6
60363 | 2021-03-29 16:32 | 51.9966 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 135.636 | μmol/L | 30.1675 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.943 | 125463.5982 | 300115.1062 | 28.7 | 67.6
60373 | 2021-03-29 16:32 | 52.3298 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 135.5935 | μmol/L | 30.1614 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.949 | 125494.3579 | 300127.7279 | 28.7 | 67.6
60383 | 2021-03-29 16:33 | 52.6627 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 135.5434 | μmol/L | 30.1736 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.949 | 125484.9403 | 300106.0775 | 28.7 | 67.6
60393 | 2021-03-29 16:33 | 52.9965 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 135.5709 | μmol/L | 30.1614 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.951 | 125501.5613 | 300108.3752 | 28.7 | 67.6
60403 | 2021-03-29 16:33 | 53.3296 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 135.3107 | μmol/L | 30.1919 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.963 | 125525.406 | 300113.5919 | 28.7 | 67.6
60413 | 2021-03-29 16:34 | 53.6633 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 135.157 | μmol/L | 30.2103 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.97 | 125575.8709 | 300128.174 | 28.7 | 67.6
60423 | 2021-03-29 16:34 | 53.9963 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 135.0896 | μmol/L | 30.2103 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.976 | 125591.7716 | 300119.0085 | 28.7 | 67.6
60433 | 2021-03-29 16:34 | 54.3297 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 135.1483 | μmol/L | 30.2041 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.973 | 125604.2426 | 300105.9827 | 28.7 | 67.6
60443 | 2021-03-29 16:35 | 54.6627 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 135.2483 | μmol/L | 30.1797 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.973 | 125631.6242 | 300105.222 | 28.7 | 67.6
60453 | 2021-03-29 16:35 | 54.9964 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 135.1584 | μmol/L | 30.1797 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.981 | 125639.463 | 300102.1256 | 28.7 | 67.6
60463 | 2021-03-29 16:35 | 55.3294 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 135.1247 | μmol/L | 30.1797 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.984 | 125654.2504 | 300131.5314 | 28.7 | 67.6
60473 | 2021-03-29 16:36 | 55.6631 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 134.9987 | μmol/L | 30.1858 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.993 | 125690.8715 | 300111.8594 | 28.7 | 67.6
60483 | 2021-03-29 16:36 | 55.996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 134.9813 | μmol/L | 30.1736 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.999 | 125732.3661 | 300122.3004 | 28.7 | 67.6
60493 | 2021-03-29 16:36 | 56.3296 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 134.8805 | μmol/L | 30.1736 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 25.008 | 125794.5544 | 300111.142 | 28.7 | 67.6
60503 | 2021-03-29 16:37 | 56.6628 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 134.7436 | μmol/L | 30.1797 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 25.018 | 125841.053 | 300107.325 | 28.7 | 67.6
60513 | 2021-03-29 16:37 | 56.9964 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 134.7512 | μmol/L | 30.1614 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 25.024 | 125898.3639 | 300128.6993 | 28.7 | 67.6
60523 | 2021-03-29 16:37 | 57.33 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 134.8048 | μmol/L | 30.1126 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 25.037 | 125947.1148 | 300129.1626 | 28.7 | 67.6
60533 | 2021-03-29 16:38 | 57.663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 134.6097 | μmol/L | 30.1248 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 25.05 | 126009.5109 | 300121.0322 | 28.7 | 67.6
60543 | 2021-03-29 16:38 | 57.9967 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 134.4397 | μmol/L | 30.1309 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 25.063 | 126088.6065 | 300126.9723 | 28.7 | 67.6
60553 | 2021-03-29 16:38 | 58.3296 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 134.5951 | μmol/L | 30.0516 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 25.078 | 126175.6175 | 300123.9971 | 28.7 | 67.6
60563 | 2021-03-29 16:39 | 58.6627 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 134.1984 | μmol/L | 30.0943 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 25.098 | 126263.3377 | 300117.9264 | 28.7 | 67.6
60573 | 2021-03-29 16:39 | 58.9965 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 133.9709 | μmol/L | 30.1065 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 25.114 | 126379.4902 | 300139.3123 | 28.7 | 67.6
60583 | 2021-03-29 16:39 | 59.3294 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 133.7217 | μmol/L | 30.1187 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 25.132 | 126483.9135 | 300141.5238 | 28.7 | 67.6
60593 | 2021-03-29 16:40 | 59.6631 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 133.564 | μmol/L | 30.1248 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 25.144 | 126560.2834 | 300119.9911 | 28.7 | 67.6
60603 | 2021-03-29 16:40 | 59.9962 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 133.4719 | μmol/L | 30.1065 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 25.159 | 126641.8395 | 300136.2753 | 28.7 | 67.6
60613 | 2021-03-29 16:40 | 60.33 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 133.4106 | μmol/L | 30.0943 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 25.169 | 126722.1858 | 300137.3737 | 28.7 | 67.6
60623 | 2021-03-29 16:41 | 60.6629 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 133.3679 | μmol/L | 30.0638 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 25.184 | 126782.798 | 300139.1352 | 28.7 | 67.6
60633 | 2021-03-29 16:41 | 60.996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 133.2439 | μmol/L | 30.0699 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 25.193 | 126836.5975 | 300144.3005 | 28.7 | 67.6
60643 | 2021-03-29 16:41 | 61.33 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 133.0818 | μmol/L | 30.0882 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 25.201 | 126873.7284 | 300152.0017 | 28.7 | 67.6
60653 | 2021-03-29 16:42 | 61.6628 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 133.1445 | μmol/L | 30.0699 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 25.202 | 126883.8512 | 300132.3257 | 28.7 | 67.6
60663 | 2021-03-29 16:42 | 61.9967 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 133.2047 | μmol/L | 30.0577 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 25.201 | 126884.3265 | 300134.9574 | 28.7 | 67.6
60673 | 2021-03-29 16:42 | 62.3296 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 133.114 | μmol/L | 30.0638 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 25.207 | 126883.925 | 300139.1322 | 28.7 | 67.6
60683 | 2021-03-29 16:43 | 62.6633 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 133.2454 | μmol/L | 30.0394 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 25.204 | 126889.3826 | 300134.9438 | 28.7 | 67.6
60693 | 2021-03-29 16:43 | 62.9962 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 133.1927 | μmol/L | 30.0333 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 25.211 | 126912.0322 | 300133.3776 | 28.7 | 67.6
60703 | 2021-03-29 16:43 | 63.3295 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 133.113 | μmol/L | 30.0394 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 25.216 | 126957.2151 | 300141.8796 | 28.7 | 67.6
60713 | 2021-03-29 16:44 | 63.6627 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 133.0027 | μmol/L | 30.0394 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 25.226 | 127005.1077 | 300139.0853 | 28.7 | 67.6
60723 | 2021-03-29 16:44 | 63.9963 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 132.9807 | μmol/L | 30.0394 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 25.228 | 127025.466 | 300150.3982 | 28.7 | 67.6
60733 | 2021-03-29 16:44 | 64.3294 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 133.0128 | μmol/L | 30.0149 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 25.234 | 127031.0059 | 300146.6956 | 28.7 | 67.6
60743 | 2021-03-29 16:45 | 64.6634 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 133.0543 | μmol/L | 30.0211 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 25.228 | 127012.434 | 300148.3017 | 28.7 | 67.6
60753 | 2021-03-29 16:45 | 64.9967 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 132.8631 | μmol/L | 30.0577 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 25.232 | 127016.2682 | 300161.1987 | 28.7 | 67.6
60763 | 2021-03-29 16:45 | 65.33 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 132.8335 | μmol/L | 30.076 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 25.228 | 127009.937 | 300151.3591 | 28.7 | 67.6
60773 | 2021-03-29 16:46 | 65.6631 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 132.9266 | μmol/L | 30.0638 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 25.224 | 127007.204 | 300144.3425 | 28.7 | 67.6
60783 | 2021-03-29 16:46 | 65.9967 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 132.9992 | μmol/L | 30.0211 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 25.233 | 127035.9365 | 300151.584 | 28.7 | 67.6
60793 | 2021-03-29 16:46 | 66.3296 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 132.7801 | μmol/L | 30.0455 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 25.244 | 127119.7756 | 300150.864 | 28.7 | 67.6
60803 | 2021-03-29 16:47 | 66.6634 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 132.6727 | μmol/L | 30.0394 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 25.256 | 127154.2975 | 300157.1697 | 28.7 | 67.6
60813 | 2021-03-29 16:47 | 66.9966 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 132.5874 | μmol/L | 30.0333 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 25.266 | 127221.9647 | 300169.9204 | 28.7 | 67.6
60823 | 2021-03-29 16:47 | 67.3294 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 132.6488 | μmol/L | 29.9905 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 25.276 | 127283.673 | 300160.4171 | 28.7 | 67.6
60833 | 2021-03-29 16:48 | 67.6634 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 132.4523 | μmol/L | 30.0149 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 25.285 | 127334.3414 | 300169.7236 | 28.7 | 67.6
60843 | 2021-03-29 16:48 | 67.9968 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 132.3318 | μmol/L | 30.0149 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 25.296 | 127408.8782 | 300174.8859 | 28.7 | 67.6
60853 | 2021-03-29 16:48 | 68.3296 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 132.1348 | μmol/L | 30.0149 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 25.314 | 127474.8171 | 300161.1929 | 28.7 | 67.6
60863 | 2021-03-29 16:49 | 68.6634 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.9903 | μmol/L | 30.0211 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 25.325 | 127539.7743 | 300176.5831 | 28.7 | 67.6
60873 | 2021-03-29 16:49 | 68.9964 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.9055 | μmol/L | 30.0149 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 25.335 | 127605.3223 | 300161.476 | 28.7 | 67.6
60883 | 2021-03-29 16:49 | 69.3293 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.7637 | μmol/L | 30.0149 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 25.348 | 127673.983 | 300172.8146 | 28.7 | 67.6
60893 | 2021-03-29 16:50 | 69.6631 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.6389 | μmol/L | 30.0272 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 25.355 | 127707.3735 | 300175.9812 | 28.7 | 67.6
60903 | 2021-03-29 16:50 | 69.9968 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.4247 | μmol/L | 30.0455 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 25.368 | 127808.0036 | 300190.8292 | 28.7 | 67.6
60913 | 2021-03-29 16:50 | 70.33 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.3136 | μmol/L | 30.0516 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 25.376 | 127822.7177 | 300179.3631 | 28.7 | 67.6
60923 | 2021-03-29 16:51 | 70.6635 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.286 | μmol/L | 30.0394 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 25.383 | 127843.2162 | 300192.9624 | 28.7 | 67.6
60933 | 2021-03-29 16:51 | 70.9964 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.2076 | μmol/L | 30.0455 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 25.388 | 127885.5795 | 300202.1165 | 28.7 | 67.6
60943 | 2021-03-29 16:51 | 71.3294 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.08 | μmol/L | 30.0394 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 25.402 | 127965.1703 | 300200.5145 | 28.7 | 67.6
60953 | 2021-03-29 16:52 | 71.6627 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 130.8185 | μmol/L | 30.0699 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 25.415 | 128038.3464 | 300201.3005 | 28.7 | 67.6
60963 | 2021-03-29 16:52 | 71.996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 130.6406 | μmol/L | 30.0821 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 25.427 | 128111.2416 | 300194.2544 | 28.7 | 67.6
60973 | 2021-03-29 16:52 | 72.3298 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 130.5111 | μmol/L | 30.0821 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 25.439 | 128168.1533 | 300203.3419 | 28.7 | 67.6
60983 | 2021-03-29 16:53 | 72.6628 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 130.3495 | μmol/L | 30.0821 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 25.454 | 128241.5477 | 300200.3645 | 28.7 | 67.6
60993 | 2021-03-29 16:53 | 72.9966 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 130.2394 | μmol/L | 30.0882 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 25.462 | 128321.1306 | 300217.2477 | 28.7 | 67.6
61003 | 2021-03-29 16:53 | 73.3299 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 130.0219 | μmol/L | 30.0943 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 25.48 | 128340.1711 | 300223.1571 | 28.7 | 67.6