## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-29 16:54

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
58804 | 2021-03-29 15:40 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 183.0755 | μmol/L | 30.4136 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.991 | 148548.3383 | 275086.2117 | 36.4 | 83.1
58814 | 2021-03-29 15:41 | 0.33288 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 183.1675 | μmol/L | 30.3583 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.005 | 148728.1173 | 275094.997 | 36.4 | 83.1
58824 | 2021-03-29 15:41 | 0.66583 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 182.8938 | μmol/L | 30.3706 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.018 | 148799.2904 | 275084.3025 | 36.4 | 83.1
58834 | 2021-03-29 15:41 | 0.99928 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 183.1425 | μmol/L | 30.346 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.011 | 148720.2715 | 275077.3183 | 36.4 | 83.1
58844 | 2021-03-29 15:42 | 1.3324 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 183.5456 | μmol/L | 30.3583 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.981 | 148493.0833 | 275059.3281 | 36.4 | 83.1
58854 | 2021-03-29 15:42 | 1.6662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 184.5238 | μmol/L | 30.303 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.939 | 148223.1851 | 275050.9811 | 36.4 | 83.1
58864 | 2021-03-29 15:42 | 1.9991 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 184.6094 | μmol/L | 30.3829 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.905 | 147896.6822 | 275031.6931 | 36.4 | 83.1
58874 | 2021-03-29 15:43 | 2.3328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 185.0232 | μmol/L | 30.3829 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.879 | 147695.163 | 275045.3988 | 36.4 | 83.1
58884 | 2021-03-29 15:43 | 2.6664 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 186.0394 | μmol/L | 30.303 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.844 | 147433.4568 | 275034.5726 | 36.4 | 83.1
58894 | 2021-03-29 15:43 | 2.9995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 186.988 | μmol/L | 30.2722 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.796 | 147080.0682 | 275032.1268 | 36.4 | 83.1
58904 | 2021-03-29 15:44 | 3.3326 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 187.4027 | μmol/L | 30.3153 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.755 | 146789.5165 | 275019.4387 | 36.4 | 83.1
58914 | 2021-03-29 15:44 | 3.6657 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 187.6102 | μmol/L | 30.3214 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.74 | 146637.1881 | 275012.3065 | 36.4 | 83.1
58924 | 2021-03-29 15:44 | 3.9995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 187.9084 | μmol/L | 30.3091 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.726 | 146548.1388 | 274995.4099 | 36.4 | 83.1
58934 | 2021-03-29 15:45 | 4.3329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 188.0507 | μmol/L | 30.2845 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.726 | 146518.6763 | 275000.5895 | 36.4 | 83.1
58944 | 2021-03-29 15:45 | 4.6657 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 187.1707 | μmol/L | 30.3583 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.754 | 146707.1256 | 274979.4009 | 36.4 | 83.1
58954 | 2021-03-29 15:45 | 4.9997 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 186.5576 | μmol/L | 30.3583 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.792 | 146994.4045 | 274980.941 | 36.4 | 83.1
58964 | 2021-03-29 15:46 | 5.3327 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 186.1521 | μmol/L | 30.3337 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.826 | 147225.0894 | 274984.9815 | 36.4 | 83.1
58974 | 2021-03-29 15:46 | 5.6663 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 185.524 | μmol/L | 30.3091 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.874 | 147552.4889 | 274968.549 | 36.4 | 83.1
58984 | 2021-03-29 15:46 | 5.9994 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 185.2811 | μmol/L | 30.2845 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.898 | 147734.7458 | 274964.1709 | 36.4 | 83.1
58994 | 2021-03-29 15:47 | 6.3331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 185.1282 | μmol/L | 30.303 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.901 | 147767.6256 | 274961.3301 | 36.4 | 83.1
59004 | 2021-03-29 15:47 | 6.6659 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 185.0262 | μmol/L | 30.3153 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.903 | 147752.7128 | 274942.2818 | 36.4 | 83.1
59014 | 2021-03-29 15:47 | 6.9996 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 185.1918 | μmol/L | 30.2722 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.908 | 147794.3781 | 274947.515 | 36.4 | 83.1
59024 | 2021-03-29 15:48 | 7.3327 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 185.2396 | μmol/L | 30.2722 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.905 | 147770.2503 | 274934.4603 | 36.4 | 83.1
59034 | 2021-03-29 15:48 | 7.6663 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 185.396 | μmol/L | 30.2784 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.893 | 147651.5677 | 274931.0765 | 36.4 | 83.1
59044 | 2021-03-29 15:48 | 7.9993 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 185.4603 | μmol/L | 30.3399 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.867 | 147479.9672 | 274918.6831 | 36.4 | 83.1
59054 | 2021-03-29 15:49 | 8.3331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 186.216 | μmol/L | 30.303 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.833 | 147221.4306 | 274930.2492 | 36.4 | 83.1
59064 | 2021-03-29 15:49 | 8.6661 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 186.4834 | μmol/L | 30.346 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.801 | 146952.1884 | 274910.3432 | 36.4 | 83.1
59074 | 2021-03-29 15:49 | 8.999 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 186.8092 | μmol/L | 30.3706 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.772 | 146744.5563 | 274912.2084 | 36.4 | 83.1
59084 | 2021-03-29 15:50 | 9.3329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 187.0252 | μmol/L | 30.3583 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.763 | 146656.2851 | 274911.9187 | 36.4 | 83.1
59094 | 2021-03-29 15:50 | 9.6658 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 187.0284 | μmol/L | 30.3521 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.765 | 146676.9425 | 274904.5675 | 36.4 | 83.1
59104 | 2021-03-29 15:50 | 9.9993 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 186.5898 | μmol/L | 30.3583 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.79 | 146859.7659 | 274893.2831 | 36.4 | 83.1
59114 | 2021-03-29 15:51 | 10.333 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 186.2066 | μmol/L | 30.3214 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.827 | 147141.2318 | 274889.6372 | 36.4 | 83.1
59124 | 2021-03-29 15:51 | 10.6659 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 185.7542 | μmol/L | 30.2968 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.864 | 147419.8067 | 274886.1103 | 36.4 | 83.1
59134 | 2021-03-29 15:51 | 10.9991 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 184.8098 | μmol/L | 30.3644 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.899 | 147660.0553 | 274877.2853 | 36.4 | 83.1
59144 | 2021-03-29 15:52 | 11.3328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 184.438 | μmol/L | 30.346 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.929 | 147868.2145 | 274883.5326 | 36.4 | 83.1
59154 | 2021-03-29 15:52 | 11.6658 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 184.2224 | μmol/L | 30.3337 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.947 | 148032.744 | 274866.745 | 36.4 | 83.1
59164 | 2021-03-29 15:52 | 11.9995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 183.9153 | μmol/L | 30.346 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.962 | 148114.2109 | 274872.0075 | 36.4 | 83.1
59174 | 2021-03-29 15:53 | 12.3325 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 183.8332 | μmol/L | 30.3214 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.976 | 148199.2357 | 274856.8754 | 36.4 | 83.1
59184 | 2021-03-29 15:53 | 12.6662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 183.4417 | μmol/L | 30.346 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.992 | 148333.4029 | 274848.7479 | 36.4 | 83.1
59194 | 2021-03-29 15:53 | 12.9993 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 183.0421 | μmol/L | 30.3276 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.024 | 148579.6222 | 274859.7166 | 36.4 | 83.1
59204 | 2021-03-29 15:54 | 13.333 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 182.2826 | μmol/L | 30.3706 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.057 | 148798.9561 | 274845.6153 | 36.4 | 83.1
59214 | 2021-03-29 15:54 | 13.666 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 181.779 | μmol/L | 30.4075 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.076 | 148962.7036 | 274841.1615 | 36.4 | 83.1
59224 | 2021-03-29 15:54 | 13.9998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 181.6765 | μmol/L | 30.3952 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.087 | 149053.371 | 274850.0562 | 36.4 | 83.1
59234 | 2021-03-29 15:55 | 14.3326 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 181.6584 | μmol/L | 30.3706 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.097 | 149102.4068 | 274846.6228 | 36.4 | 83.1
59244 | 2021-03-29 15:55 | 14.6663 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 181.3144 | μmol/L | 30.432 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.097 | 149091.906 | 274848.7379 | 36.4 | 83.1
59254 | 2021-03-29 15:55 | 14.9992 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 181.1868 | μmol/L | 30.4382 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.103 | 149132.4714 | 274829.3198 | 36.4 | 83.1
59264 | 2021-03-29 15:56 | 15.333 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 181.2621 | μmol/L | 30.4136 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.107 | 149135.2954 | 274839.3221 | 36.4 | 83.1
59274 | 2021-03-29 15:56 | 15.6658 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 181.3332 | μmol/L | 30.4259 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.098 | 149099.5883 | 274819.9944 | 36.4 | 83.1
59284 | 2021-03-29 15:56 | 15.9992 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 181.199 | μmol/L | 30.4443 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.1 | 149090.2594 | 274827.6848 | 36.4 | 83.1
59294 | 2021-03-29 15:57 | 16.3329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 181.1901 | μmol/L | 30.432 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.105 | 149135.1518 | 274826.3716 | 36.4 | 83.1
59304 | 2021-03-29 15:57 | 16.6657 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 180.8223 | μmol/L | 30.4812 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.111 | 149162.0804 | 274824.0433 | 36.4 | 83.1
59314 | 2021-03-29 15:57 | 16.9996 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 181.1379 | μmol/L | 30.4136 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.115 | 149191.9955 | 274809.2243 | 36.4 | 83.1
59324 | 2021-03-29 15:58 | 17.3327 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 180.9042 | μmol/L | 30.4443 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.119 | 149226.7828 | 274807.1677 | 36.4 | 83.1
59334 | 2021-03-29 15:58 | 17.6663 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 180.5491 | μmol/L | 30.4996 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.122 | 149260.2177 | 274801.7853 | 36.4 | 83.1
59344 | 2021-03-29 15:58 | 17.9992 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 180.4718 | μmol/L | 30.4996 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.127 | 149262.3818 | 274803.6711 | 36.4 | 83.1
59354 | 2021-03-29 15:59 | 18.3323 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 180.8799 | μmol/L | 30.432 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.125 | 149247.3054 | 274798.8797 | 36.4 | 83.1
59364 | 2021-03-29 15:59 | 18.6662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 180.6686 | μmol/L | 30.4505 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.132 | 149324.9217 | 274788.2599 | 36.4 | 83.1
59374 | 2021-03-29 15:59 | 18.9994 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 180.61 | μmol/L | 30.4443 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.138 | 149370.6065 | 274800.051 | 36.4 | 83.1
59384 | 2021-03-29 16:00 | 19.3328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 180.5912 | μmol/L | 30.4505 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.137 | 149345.2184 | 274799.0157 | 36.4 | 83.1
59394 | 2021-03-29 16:00 | 19.6659 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 180.5006 | μmol/L | 30.4751 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.134 | 149291.3599 | 274782.428 | 36.4 | 83.1
59404 | 2021-03-29 16:00 | 19.9997 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 180.2777 | μmol/L | 30.4874 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.144 | 149362.9128 | 274788.7971 | 36.4 | 83.1
59414 | 2021-03-29 16:01 | 20.3328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 179.9813 | μmol/L | 30.4935 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.161 | 149492.8097 | 274774.9952 | 36.4 | 83.1
59424 | 2021-03-29 16:01 | 20.6657 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 179.9913 | μmol/L | 30.4751 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.167 | 149546.333 | 274779.2278 | 36.4 | 83.1
59434 | 2021-03-29 16:01 | 20.9995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 179.672 | μmol/L | 30.5242 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.17 | 149563.257 | 274775.5952 | 36.4 | 83.1
59444 | 2021-03-29 16:02 | 21.3323 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 179.8527 | μmol/L | 30.4751 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.176 | 149577.9609 | 274773.4392 | 36.4 | 83.1
59454 | 2021-03-29 16:02 | 21.6662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 179.6581 | μmol/L | 30.4935 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.182 | 149626.3706 | 274786.1286 | 36.4 | 83.1
59464 | 2021-03-29 16:02 | 21.999 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 179.4075 | μmol/L | 30.5304 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.185 | 149660.5878 | 274775.4364 | 36.4 | 83.1
59474 | 2021-03-29 16:03 | 22.3328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 179.3749 | μmol/L | 30.5058 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.196 | 149753.8705 | 274765.6831 | 36.4 | 83.1
59484 | 2021-03-29 16:03 | 22.6657 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 179.2488 | μmol/L | 30.5119 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.202 | 149804.6829 | 274764.622 | 36.4 | 83.1
59494 | 2021-03-29 16:03 | 22.9995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 179.3135 | μmol/L | 30.5058 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.2 | 149772.8517 | 274767.5602 | 36.4 | 83.1
59504 | 2021-03-29 16:04 | 23.3326 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 179.66 | μmol/L | 30.5181 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.173 | 149572.382 | 274763.253 | 36.4 | 83.1
59514 | 2021-03-29 16:04 | 23.6659 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 180.0281 | μmol/L | 30.5488 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.138 | 149293.212 | 274750.2532 | 36.4 | 83.1
59524 | 2021-03-29 16:04 | 23.9994 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 180.8057 | μmol/L | 30.5119 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.101 | 149014.5352 | 274742.6667 | 36.4 | 83.1
59534 | 2021-03-29 16:05 | 24.3324 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 181.4793 | μmol/L | 30.5304 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.051 | 148681.6744 | 274737.7203 | 36.4 | 83.1
59544 | 2021-03-29 16:05 | 24.6664 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 182.2172 | μmol/L | 30.4935 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.017 | 148411.6768 | 274735.2346 | 36.4 | 83.1
59554 | 2021-03-29 16:05 | 24.9993 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 182.2345 | μmol/L | 30.5488 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.996 | 148239.2178 | 274744.0887 | 36.4 | 83.1
59564 | 2021-03-29 16:06 | 25.3331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 182.5042 | μmol/L | 30.5427 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.981 | 148110.1312 | 274747.2437 | 36.4 | 83.1
59574 | 2021-03-29 16:06 | 25.666 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 182.8503 | μmol/L | 30.5119 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.97 | 148037.0477 | 274730.5302 | 36.4 | 83.1
59584 | 2021-03-29 16:06 | 25.9995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 183.0239 | μmol/L | 30.4812 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.97 | 148047.1315 | 274749.1141 | 36.4 | 83.1
59594 | 2021-03-29 16:07 | 26.3324 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 182.8477 | μmol/L | 30.4874 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.979 | 148092.0826 | 274754.0474 | 36.4 | 83.1
59604 | 2021-03-29 16:07 | 26.6663 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 182.8889 | μmol/L | 30.4689 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.983 | 148099.3278 | 274737.0499 | 36.4 | 83.1
59614 | 2021-03-29 16:07 | 26.9992 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 182.8575 | μmol/L | 30.4689 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.985 | 148137.531 | 274750.9072 | 36.4 | 83.1
59624 | 2021-03-29 16:08 | 27.3329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 182.7188 | μmol/L | 30.4935 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.985 | 148133.0364 | 274742.4342 | 36.4 | 83.1
59634 | 2021-03-29 16:08 | 27.6657 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 182.6115 | μmol/L | 30.5181 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.983 | 148114.2665 | 274729.8771 | 36.4 | 83.1
59644 | 2021-03-29 16:08 | 27.9997 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 182.6403 | μmol/L | 30.4935 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.99 | 148174.3596 | 274746.7259 | 36.4 | 83.1
59654 | 2021-03-29 16:09 | 28.3327 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 182.6789 | μmol/L | 30.4505 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.003 | 148267.6141 | 274731.5537 | 36.4 | 83.1
59664 | 2021-03-29 16:09 | 28.666 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 182.5129 | μmol/L | 30.4382 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.018 | 148371.9976 | 274730.9933 | 36.4 | 83.1
59674 | 2021-03-29 16:09 | 28.9998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 182.4378 | μmol/L | 30.432 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.025 | 148422.1301 | 274723.2063 | 36.4 | 83.1
59684 | 2021-03-29 16:10 | 29.3329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 182.5286 | μmol/L | 30.4382 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.017 | 148350.0629 | 274718.5311 | 36.4 | 83.1
59694 | 2021-03-29 16:10 | 29.6663 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 182.7201 | μmol/L | 30.432 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.007 | 148283.8477 | 274732.0209 | 36.4 | 83.1
59704 | 2021-03-29 16:10 | 29.9993 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 182.4724 | μmol/L | 30.4259 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.025 | 148403.18 | 274722.4 | 36.4 | 83.1
59714 | 2021-03-29 16:11 | 30.3323 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 181.7083 | μmol/L | 30.4812 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.054 | 148643.6169 | 274722.9802 | 36.4 | 83.1
59724 | 2021-03-29 16:11 | 30.666 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 181.3888 | μmol/L | 30.4382 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.09 | 148903.8441 | 274716.5991 | 36.4 | 83.1
59734 | 2021-03-29 16:11 | 30.9998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 180.3858 | μmol/L | 30.4874 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.137 | 149226.2674 | 274718.91 | 36.4 | 83.1
59744 | 2021-03-29 16:12 | 31.3324 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 179.7677 | μmol/L | 30.5181 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.166 | 149431.7633 | 274722.3691 | 36.4 | 83.1
59754 | 2021-03-29 16:12 | 31.6662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 179.8969 | μmol/L | 30.4505 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.182 | 149577.8219 | 274709.622 | 36.4 | 83.1
59764 | 2021-03-29 16:12 | 31.999 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 179.8641 | μmol/L | 30.4259 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.193 | 149657.6073 | 274713.0442 | 36.4 | 83.1
59774 | 2021-03-29 16:13 | 32.3327 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 179.8674 | μmol/L | 30.4197 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.195 | 149657.7298 | 274713.7956 | 36.4 | 83.1
59784 | 2021-03-29 16:13 | 32.6659 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 179.6374 | μmol/L | 30.4751 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.19 | 149587.0871 | 274717.9356 | 36.4 | 83.1
59794 | 2021-03-29 16:13 | 32.9991 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 179.7744 | μmol/L | 30.5058 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.17 | 149460.4841 | 274717.7615 | 36.4 | 83.1
59804 | 2021-03-29 16:14 | 33.3329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 180.6222 | μmol/L | 30.4505 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.135 | 149224.7787 | 274706.1474 | 36.4 | 83.1
59814 | 2021-03-29 16:14 | 33.6659 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 181.1525 | μmol/L | 30.4443 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.103 | 148958.6299 | 274716.0697 | 36.4 | 83.1
59824 | 2021-03-29 16:14 | 33.9997 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 181.4935 | μmol/L | 30.4751 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.07 | 148706.9859 | 274714.9419 | 36.4 | 83.1
59834 | 2021-03-29 16:15 | 34.3327 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 181.6828 | μmol/L | 30.4996 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.049 | 148576.7853 | 274723.0061 | 36.4 | 83.1
59844 | 2021-03-29 16:15 | 34.666 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 181.8988 | μmol/L | 30.4751 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.044 | 148528.763 | 274724.4812 | 36.4 | 83.1
59854 | 2021-03-29 16:15 | 34.999 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 181.9144 | μmol/L | 30.4751 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.043 | 148516.5315 | 274709.4225 | 36.4 | 83.1
59864 | 2021-03-29 16:16 | 35.333 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 181.9868 | μmol/L | 30.4566 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.045 | 148521.7377 | 274727.468 | 36.4 | 83.1
59874 | 2021-03-29 16:16 | 35.6661 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 182.6233 | μmol/L | 30.4075 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.022 | 148348.4002 | 274715.5881 | 36.4 | 83.1
59884 | 2021-03-29 16:16 | 35.9998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 182.7044 | μmol/L | 30.432 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.008 | 148243.7588 | 274709.9771 | 36.4 | 83.1
59894 | 2021-03-29 16:17 | 36.3326 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 182.6351 | μmol/L | 30.4443 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.008 | 148257.6927 | 274724.1368 | 36.4 | 83.1
59904 | 2021-03-29 16:17 | 36.6663 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 182.6514 | μmol/L | 30.4136 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.018 | 148316.9945 | 274714.922 | 36.4 | 83.1
59914 | 2021-03-29 16:17 | 36.9995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 182.2624 | μmol/L | 30.4382 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.034 | 148416.6899 | 274716.2952 | 36.4 | 83.1
59924 | 2021-03-29 16:18 | 37.3331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 181.7017 | μmol/L | 30.4935 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.05 | 148571.6376 | 274713.3845 | 36.4 | 83.1
59934 | 2021-03-29 16:18 | 37.6661 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 181.4435 | μmol/L | 30.4812 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.071 | 148739.3548 | 274726.6911 | 36.4 | 83.1
59944 | 2021-03-29 16:18 | 37.999 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 181.2103 | μmol/L | 30.4812 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.086 | 148827.4151 | 274727.3302 | 36.4 | 83.1
59954 | 2021-03-29 16:19 | 38.3326 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 181.4421 | μmol/L | 30.4259 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.091 | 148878.8303 | 274714.549 | 36.4 | 83.1
59964 | 2021-03-29 16:19 | 38.6657 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 181.0084 | μmol/L | 30.4812 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.099 | 148923.1147 | 274722.8448 | 36.4 | 83.1
59974 | 2021-03-29 16:19 | 38.9994 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 180.737 | μmol/L | 30.5242 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.101 | 148978.7268 | 274721.3759 | 36.4 | 83.1
59984 | 2021-03-29 16:20 | 39.3331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 180.5977 | μmol/L | 30.5242 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.11 | 149032.3853 | 274714.0608 | 36.4 | 83.1
59994 | 2021-03-29 16:20 | 39.6659 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 181.0095 | μmol/L | 30.4505 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.11 | 149008.6919 | 274705.3344 | 36.4 | 83.1
60004 | 2021-03-29 16:20 | 39.9998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 180.9264 | μmol/L | 30.432 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.122 | 149067.659 | 274708.6305 | 36.4 | 83.1
60014 | 2021-03-29 16:21 | 40.3331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 180.6719 | μmol/L | 30.4443 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.134 | 149182.9359 | 274715.3661 | 36.4 | 83.1
60024 | 2021-03-29 16:21 | 40.6663 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 180.4521 | μmol/L | 30.4505 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.146 | 149257.0933 | 274711.1495 | 36.4 | 83.1
60034 | 2021-03-29 16:21 | 40.9992 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 180.173 | μmol/L | 30.4812 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.153 | 149321.3241 | 274716.7884 | 36.4 | 83.1
60044 | 2021-03-29 16:22 | 41.3331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 180.0121 | μmol/L | 30.4935 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.159 | 149351.8147 | 274707.6187 | 36.4 | 83.1
60054 | 2021-03-29 16:22 | 41.6658 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 179.9779 | μmol/L | 30.4996 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.159 | 149362.7285 | 274710.1215 | 36.4 | 83.1
60064 | 2021-03-29 16:22 | 41.9998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 179.8754 | μmol/L | 30.5181 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.159 | 149336.7803 | 274717.2172 | 36.4 | 83.1
60074 | 2021-03-29 16:23 | 42.3327 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 179.8721 | μmol/L | 30.5242 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.157 | 149329.8436 | 274716.0709 | 36.4 | 83.1
60084 | 2021-03-29 16:23 | 42.6663 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 180.1092 | μmol/L | 30.4566 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.166 | 149413.2383 | 274710.8964 | 36.4 | 83.1
60094 | 2021-03-29 16:23 | 42.9993 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 179.7022 | μmol/L | 30.4689 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.188 | 149566.0525 | 274712.7646 | 36.4 | 83.1
60104 | 2021-03-29 16:24 | 43.3323 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 179.3543 | μmol/L | 30.4874 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.204 | 149698.2324 | 274719.9364 | 36.4 | 83.1
60114 | 2021-03-29 16:24 | 43.6659 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 179.2638 | μmol/L | 30.4566 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.221 | 149790.1942 | 274720.4239 | 36.4 | 83.1
60124 | 2021-03-29 16:24 | 43.9997 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 179.0987 | μmol/L | 30.4505 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.234 | 149881.7234 | 274723.2768 | 36.4 | 83.1
60134 | 2021-03-29 16:25 | 44.3325 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 178.9662 | μmol/L | 30.4689 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.236 | 149932.292 | 274720.5486 | 36.4 | 83.1
60144 | 2021-03-29 16:25 | 44.6657 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 178.9356 | μmol/L | 30.4689 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.238 | 149942.0739 | 274707.3923 | 36.4 | 83.1
60154 | 2021-03-29 16:25 | 44.9994 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 178.8218 | μmol/L | 30.4812 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.241 | 149964.5864 | 274714.0777 | 36.4 | 83.1
60164 | 2021-03-29 16:26 | 45.3324 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 178.5402 | μmol/L | 30.4935 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.255 | 150038.2014 | 274713.4466 | 36.4 | 83.1
60174 | 2021-03-29 16:26 | 45.6662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 178.547 | μmol/L | 30.4812 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.259 | 150087.2144 | 274713.267 | 36.4 | 83.1
60184 | 2021-03-29 16:26 | 45.9991 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 178.4149 | μmol/L | 30.4996 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.261 | 150083.8395 | 274717.6377 | 36.4 | 83.1
60194 | 2021-03-29 16:27 | 46.3329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 178.3539 | μmol/L | 30.4996 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.265 | 150131.1212 | 274715.6885 | 36.4 | 83.1
60204 | 2021-03-29 16:27 | 46.6658 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 177.7337 | μmol/L | 30.5488 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.288 | 150302.7214 | 274715.559 | 36.4 | 83.1
60214 | 2021-03-29 16:27 | 46.9995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 177.392 | μmol/L | 30.5365 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.315 | 150504.4519 | 274725.9251 | 36.4 | 83.1
60224 | 2021-03-29 16:28 | 47.3326 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 176.7069 | μmol/L | 30.5734 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.347 | 150721.7823 | 274723.3426 | 36.4 | 83.1
60234 | 2021-03-29 16:28 | 47.6657 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 176.6721 | μmol/L | 30.555 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.356 | 150805.5418 | 274712.3017 | 36.4 | 83.1
60244 | 2021-03-29 16:28 | 47.9995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 176.5193 | μmol/L | 30.5857 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.355 | 150774.1227 | 274720.5362 | 36.4 | 83.1
60254 | 2021-03-29 16:29 | 48.3323 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 176.7625 | μmol/L | 30.555 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.35 | 150768.1142 | 274717.106 | 36.4 | 83.1
60264 | 2021-03-29 16:29 | 48.666 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 177.0814 | μmol/L | 30.5242 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.34 | 150680.1777 | 274726.6832 | 36.4 | 83.1
60274 | 2021-03-29 16:29 | 48.9991 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 177.1349 | μmol/L | 30.5365 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.332 | 150620.3101 | 274720.1144 | 36.4 | 83.1
60284 | 2021-03-29 16:30 | 49.3328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 176.9551 | μmol/L | 30.5611 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.335 | 150656.599 | 274705.6628 | 36.4 | 83.1
60294 | 2021-03-29 16:30 | 49.6659 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 177.0697 | μmol/L | 30.5181 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.343 | 150697.9986 | 274719.4634 | 36.4 | 83.1
60304 | 2021-03-29 16:30 | 49.9992 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 177.0443 | μmol/L | 30.5365 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.338 | 150681.0556 | 274711.9127 | 36.4 | 83.1
60314 | 2021-03-29 16:31 | 50.3325 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 176.9908 | μmol/L | 30.5242 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.346 | 150710.9661 | 274713.8007 | 36.4 | 83.1
60324 | 2021-03-29 16:31 | 50.6663 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 176.5598 | μmol/L | 30.5673 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.359 | 150819.6733 | 274727.3011 | 36.4 | 83.1
60334 | 2021-03-29 16:31 | 50.9996 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 176.3712 | μmol/L | 30.555 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.376 | 150954.6618 | 274710.1169 | 36.4 | 83.1
60344 | 2021-03-29 16:32 | 51.3323 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 176.5667 | μmol/L | 30.555 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.363 | 150869.3992 | 274705.8858 | 36.4 | 83.1
60354 | 2021-03-29 16:32 | 51.666 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 177.0292 | μmol/L | 30.5365 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.339 | 150686.513 | 274704.3503 | 36.4 | 83.1
60364 | 2021-03-29 16:32 | 51.9991 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 177.2895 | μmol/L | 30.5304 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.324 | 150577.2619 | 274706.3271 | 36.4 | 83.1
60374 | 2021-03-29 16:33 | 52.3329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 177.3081 | μmol/L | 30.5242 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.325 | 150579.5856 | 274719.61 | 36.4 | 83.1
60384 | 2021-03-29 16:33 | 52.6658 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 177.2813 | μmol/L | 30.5181 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.329 | 150626.8712 | 274719.1899 | 36.4 | 83.1
60394 | 2021-03-29 16:33 | 52.9995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 177.1754 | μmol/L | 30.5181 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.336 | 150662.0326 | 274729.0635 | 36.4 | 83.1
60404 | 2021-03-29 16:34 | 53.3327 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 176.8749 | μmol/L | 30.5427 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.347 | 150746.0982 | 274712.1701 | 36.4 | 83.1
60414 | 2021-03-29 16:34 | 53.6657 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 176.3504 | μmol/L | 30.5918 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.364 | 150859.0391 | 274702.3577 | 36.4 | 83.1
60424 | 2021-03-29 16:34 | 53.9996 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 175.8643 | μmol/L | 30.6287 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.383 | 150986.7198 | 274721.9133 | 36.4 | 83.1
60434 | 2021-03-29 16:35 | 54.3324 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 176.4335 | μmol/L | 30.5242 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.383 | 150986.424 | 274723.544 | 36.4 | 83.1
60444 | 2021-03-29 16:35 | 54.6659 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 176.2995 | μmol/L | 30.5488 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.383 | 150986.0628 | 274717.3519 | 36.4 | 83.1
60454 | 2021-03-29 16:35 | 54.9998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 176.1355 | μmol/L | 30.5734 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.385 | 150981.9203 | 274721.167 | 36.4 | 83.1
60464 | 2021-03-29 16:36 | 55.3329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 176.0559 | μmol/L | 30.555 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.397 | 151059.3099 | 274727.3707 | 36.4 | 83.1
60474 | 2021-03-29 16:36 | 55.6659 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 175.9913 | μmol/L | 30.5365 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.408 | 151126.6755 | 274714.1696 | 36.4 | 83.1
60484 | 2021-03-29 16:36 | 55.9995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 175.6665 | μmol/L | 30.555 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.423 | 151228.1453 | 274714.992 | 36.4 | 83.1
60494 | 2021-03-29 16:37 | 56.333 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 175.5355 | μmol/L | 30.5488 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.434 | 151323.1413 | 274718.9109 | 36.4 | 83.1
60504 | 2021-03-29 16:37 | 56.6661 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 175.5414 | μmol/L | 30.5119 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.447 | 151428.1001 | 274717.1559 | 36.4 | 83.1
60514 | 2021-03-29 16:37 | 56.9997 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 175.2877 | μmol/L | 30.5119 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.464 | 151520.7575 | 274719.6179 | 36.4 | 83.1
60524 | 2021-03-29 16:38 | 57.3326 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 174.9907 | μmol/L | 30.5365 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.475 | 151588.9301 | 274717.4086 | 36.4 | 83.1
60534 | 2021-03-29 16:38 | 57.6663 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 174.7197 | μmol/L | 30.5427 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.491 | 151755.8334 | 274726.8468 | 36.4 | 83.1
60544 | 2021-03-29 16:38 | 57.9994 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 174.7406 | μmol/L | 30.5058 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.503 | 151831.2001 | 274719.7736 | 36.4 | 83.1
60554 | 2021-03-29 16:39 | 58.3323 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 174.6035 | μmol/L | 30.5119 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.51 | 151860.0219 | 274719.7923 | 36.4 | 83.1
60564 | 2021-03-29 16:39 | 58.6662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 174.3515 | μmol/L | 30.5119 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.527 | 151993.8282 | 274718.2997 | 36.4 | 83.1
60574 | 2021-03-29 16:39 | 58.9992 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 174.1564 | μmol/L | 30.5427 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.529 | 152025.781 | 274720.0947 | 36.4 | 83.1
60584 | 2021-03-29 16:40 | 59.3328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 174.6236 | μmol/L | 30.555 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.493 | 151732.936 | 274725.8166 | 36.4 | 83.1
60594 | 2021-03-29 16:40 | 59.6664 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 175.3643 | μmol/L | 30.5611 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.441 | 151355.8085 | 274724.5054 | 36.4 | 83.1
60604 | 2021-03-29 16:40 | 59.9993 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 175.8047 | μmol/L | 30.5488 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.416 | 151175.3131 | 274729.7071 | 36.4 | 83.1
60614 | 2021-03-29 16:41 | 60.3324 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 176.1932 | μmol/L | 30.5242 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.399 | 151060.5614 | 274741.0167 | 36.4 | 83.1
60624 | 2021-03-29 16:41 | 60.6659 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 176.0951 | μmol/L | 30.5119 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.41 | 151117.4055 | 274730.986 | 36.4 | 83.1
60634 | 2021-03-29 16:41 | 60.9993 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 175.8646 | μmol/L | 30.4689 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.441 | 151359.6484 | 274729.7885 | 36.4 | 83.1
60644 | 2021-03-29 16:42 | 61.3324 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 175.6655 | μmol/L | 30.4505 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.461 | 151483.4673 | 274722.0715 | 36.4 | 83.1
60654 | 2021-03-29 16:42 | 61.666 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 175.4725 | μmol/L | 30.4751 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.465 | 151497.8183 | 274718.4571 | 36.4 | 83.1
60664 | 2021-03-29 16:42 | 61.9992 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 175.5644 | μmol/L | 30.4443 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.47 | 151557.3434 | 274737.6311 | 36.4 | 83.1
60674 | 2021-03-29 16:43 | 62.3331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 175.2488 | μmol/L | 30.4751 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.48 | 151638.1262 | 274730.1993 | 36.4 | 83.1
60684 | 2021-03-29 16:43 | 62.6663 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 175.0027 | μmol/L | 30.4628 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.501 | 151788.5455 | 274719.6048 | 36.4 | 83.1
60694 | 2021-03-29 16:43 | 62.9994 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 175.0279 | μmol/L | 30.4443 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.506 | 151807.6271 | 274717.6745 | 36.4 | 83.1
60704 | 2021-03-29 16:44 | 63.3332 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 175.2627 | μmol/L | 30.4505 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.488 | 151677.3438 | 274726.858 | 36.4 | 83.1
60714 | 2021-03-29 16:44 | 63.666 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 175.0736 | μmol/L | 30.4689 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.494 | 151693.0911 | 274735.2459 | 36.4 | 83.1
60724 | 2021-03-29 16:44 | 63.9996 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 174.9957 | μmol/L | 30.4751 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.497 | 151701.4404 | 274734.2251 | 36.4 | 83.1
60734 | 2021-03-29 16:45 | 64.3328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 175.0691 | μmol/L | 30.4505 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.501 | 151726.9861 | 274740.4205 | 36.4 | 83.1
60744 | 2021-03-29 16:45 | 64.6657 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 174.9021 | μmol/L | 30.4566 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.51 | 151797.4197 | 274742.0695 | 36.4 | 83.1
60754 | 2021-03-29 16:45 | 64.9995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 174.572 | μmol/L | 30.4628 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.53 | 151964.4957 | 274732.0992 | 36.4 | 83.1
60764 | 2021-03-29 16:46 | 65.3327 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 173.5182 | μmol/L | 30.5488 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.57 | 152239.8374 | 274735.7021 | 36.4 | 83.1
60774 | 2021-03-29 16:46 | 65.6665 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 173.1464 | μmol/L | 30.5304 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.602 | 152474.4256 | 274739.469 | 36.4 | 83.1
60784 | 2021-03-29 16:46 | 65.9993 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 173.3606 | μmol/L | 30.4382 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.621 | 152634.8411 | 274734.4775 | 36.4 | 83.1
60794 | 2021-03-29 16:47 | 66.3326 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 173.0125 | μmol/L | 30.4566 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.638 | 152733.6014 | 274733.3758 | 36.4 | 83.1
60804 | 2021-03-29 16:47 | 66.6661 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.7317 | μmol/L | 30.5119 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.637 | 152747.5491 | 274735.3844 | 36.4 | 83.1
60814 | 2021-03-29 16:47 | 66.999 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.6767 | μmol/L | 30.5058 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.643 | 152794.9942 | 274735.4506 | 36.4 | 83.1
60824 | 2021-03-29 16:48 | 67.3328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.5229 | μmol/L | 30.4935 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.658 | 152922.2906 | 274735.6963 | 36.4 | 83.1
60834 | 2021-03-29 16:48 | 67.6661 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.2782 | μmol/L | 30.4874 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.677 | 153037.3419 | 274729.2406 | 36.4 | 83.1
60844 | 2021-03-29 16:48 | 67.9991 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.2269 | μmol/L | 30.4751 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.685 | 153097.5101 | 274734.7602 | 36.4 | 83.1
60854 | 2021-03-29 16:49 | 68.3328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.1324 | μmol/L | 30.4874 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.687 | 153122.4407 | 274748.5496 | 36.4 | 83.1
60864 | 2021-03-29 16:49 | 68.6661 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.1142 | μmol/L | 30.4935 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.686 | 153131.7665 | 274748.5464 | 36.4 | 83.1
60874 | 2021-03-29 16:49 | 68.999 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.402 | μmol/L | 30.4751 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.673 | 153003.9008 | 274745.1327 | 36.4 | 83.1
60884 | 2021-03-29 16:50 | 69.3331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.6323 | μmol/L | 30.4812 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.655 | 152889.9537 | 274757.3973 | 36.4 | 83.1
60894 | 2021-03-29 16:50 | 69.6664 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.4977 | μmol/L | 30.5119 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.653 | 152853.7583 | 274758.6323 | 36.4 | 83.1
60904 | 2021-03-29 16:50 | 69.9992 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.3153 | μmol/L | 30.5242 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.661 | 152921.5497 | 274759.7659 | 36.4 | 83.1
60914 | 2021-03-29 16:51 | 70.3331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.2963 | μmol/L | 30.4812 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.678 | 153028.6163 | 274760.7716 | 36.4 | 83.1
60924 | 2021-03-29 16:51 | 70.6661 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.6777 | μmol/L | 30.4935 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.716 | 153320.7339 | 274763.3235 | 36.4 | 83.1
60934 | 2021-03-29 16:51 | 70.9993 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.326 | μmol/L | 30.4996 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.738 | 153499.1116 | 274762.8458 | 36.4 | 83.1
60944 | 2021-03-29 16:52 | 71.3331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.2642 | μmol/L | 30.4812 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.749 | 153595.3056 | 274761.0068 | 36.4 | 83.1
60954 | 2021-03-29 16:52 | 71.6661 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.1847 | μmol/L | 30.4935 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.75 | 153591.5581 | 274763.0808 | 36.4 | 83.1
60964 | 2021-03-29 16:52 | 71.9993 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.1704 | μmol/L | 30.5181 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.742 | 153552.2353 | 274777.4051 | 36.4 | 83.1
60974 | 2021-03-29 16:53 | 72.333 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.2065 | μmol/L | 30.5058 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.744 | 153539.9832 | 274779.31 | 36.4 | 83.1
60984 | 2021-03-29 16:53 | 72.6658 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.449 | μmol/L | 30.4874 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.734 | 153490.0711 | 274779.854 | 36.4 | 83.1
60994 | 2021-03-29 16:53 | 72.9997 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.4529 | μmol/L | 30.5058 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.727 | 153421.5582 | 274767.9834 | 36.4 | 83.1
61004 | 2021-03-29 16:54 | 73.3329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.3481 | μmol/L | 30.5365 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.723 | 153316.5797 | 274767.4427 | 36.4 | 83.1