## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-02 15:16

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
61015 | 2021-04-02 14:21 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 148.8549 | μmol/L | 33.6518 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.563 | 119930.2983 | 303943.7983 | 30.45 | 114.2
61024 | 2021-04-02 14:22 | 0.48257 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 148.7865 | μmol/L | 33.6456 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.57 | 119931.2487 | 303887.7607 | 30.45 | 114.2
61035 | 2021-04-02 14:22 | 0.66052 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 148.7608 | μmol/L | 33.6456 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.572 | 119929.4907 | 303855.0384 | 30.45 | 114.2
61045 | 2021-04-02 14:22 | 0.99352 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 148.8178 | μmol/L | 33.5962 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.586 | 119961.8647 | 303815.1646 | 30.45 | 114.2
61055 | 2021-04-02 14:22 | 1.3271 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 148.9842 | μmol/L | 33.5901 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.576 | 119860.2115 | 303778.7498 | 30.45 | 114.2
61065 | 2021-04-02 14:23 | 1.6598 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 148.6342 | μmol/L | 33.6024 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.598 | 119916.6024 | 303748.85 | 30.45 | 114.2
61075 | 2021-04-02 14:23 | 1.9936 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 148.724 | μmol/L | 33.6024 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.591 | 119860.5633 | 303704.876 | 30.45 | 114.2
61085 | 2021-04-02 14:23 | 2.3272 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 148.5662 | μmol/L | 33.6086 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.601 | 119863.671 | 303657.2475 | 30.45 | 114.2
61095 | 2021-04-02 14:24 | 2.6601 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 148.6766 | μmol/L | 33.5962 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.597 | 119854.6321 | 303629.2675 | 30.45 | 114.2
61105 | 2021-04-02 14:24 | 2.9938 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 148.6114 | μmol/L | 33.5777 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.609 | 119876.5116 | 303580.0479 | 30.45 | 114.2
61115 | 2021-04-02 14:24 | 3.3265 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 148.5266 | μmol/L | 33.5901 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.611 | 119883.8232 | 303534.912 | 30.45 | 114.2
61125 | 2021-04-02 14:25 | 3.66 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 148.364 | μmol/L | 33.5839 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.626 | 119935.7937 | 303500.706 | 30.45 | 114.2
61135 | 2021-04-02 14:25 | 3.9936 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 148.363 | μmol/L | 33.5654 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.633 | 119944.4304 | 303474.2679 | 30.45 | 114.2
61145 | 2021-04-02 14:25 | 4.3266 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 148.0799 | μmol/L | 33.6086 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.639 | 119961.3401 | 303418.2852 | 30.45 | 114.2
61155 | 2021-04-02 14:26 | 4.6603 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 148.2606 | μmol/L | 33.5654 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.641 | 119963.3739 | 303381.6698 | 30.45 | 114.2
61165 | 2021-04-02 14:26 | 4.9931 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 148.179 | μmol/L | 33.553 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.652 | 119985.2776 | 303345.145 | 30.45 | 114.2
61175 | 2021-04-02 14:26 | 5.3266 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 147.9003 | μmol/L | 33.5901 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.66 | 119990.7115 | 303304.7577 | 30.45 | 114.2
61185 | 2021-04-02 14:27 | 5.6604 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 147.714 | μmol/L | 33.6024 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.67 | 120019.1582 | 303266.1792 | 30.45 | 114.2
61195 | 2021-04-02 14:27 | 5.9939 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 147.7131 | μmol/L | 33.5839 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.677 | 120042.5253 | 303236.1998 | 30.45 | 114.2
61205 | 2021-04-02 14:27 | 6.3267 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 147.6191 | μmol/L | 33.5715 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.689 | 120074.6672 | 303187.5671 | 30.45 | 114.2
61215 | 2021-04-02 14:28 | 6.6605 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 147.5643 | μmol/L | 33.5777 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.691 | 120073.0952 | 303160.4024 | 30.45 | 114.2
61225 | 2021-04-02 14:28 | 6.9933 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 147.5135 | μmol/L | 33.5777 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.695 | 120082.3778 | 303147.9936 | 30.45 | 114.2
61235 | 2021-04-02 14:28 | 7.3271 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 147.3445 | μmol/L | 33.5839 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.706 | 120139.5857 | 303105.9004 | 30.45 | 114.2
61245 | 2021-04-02 14:29 | 7.6598 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 147.1591 | μmol/L | 33.5962 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.716 | 120157.4742 | 303059.3428 | 30.45 | 114.2
61255 | 2021-04-02 14:29 | 7.9934 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 147.243 | μmol/L | 33.5839 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.714 | 120151.7902 | 303025.8904 | 30.45 | 114.2
61265 | 2021-04-02 14:29 | 8.327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 146.9517 | μmol/L | 33.5839 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.737 | 120208.1252 | 302987.7048 | 30.45 | 114.2
61275 | 2021-04-02 14:30 | 8.66 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 147.2469 | μmol/L | 33.5777 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.716 | 120110.7936 | 302947.5754 | 30.45 | 114.2
61285 | 2021-04-02 14:30 | 8.9937 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 146.8932 | μmol/L | 33.5962 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.737 | 120182.9485 | 302924.8713 | 30.45 | 114.2
61295 | 2021-04-02 14:30 | 9.3266 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 146.8016 | μmol/L | 33.6209 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.735 | 120170.3991 | 302881.6832 | 30.45 | 114.2
61305 | 2021-04-02 14:31 | 9.6602 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 146.763 | μmol/L | 33.6147 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.741 | 120194.7454 | 302856.0657 | 30.45 | 114.2
61315 | 2021-04-02 14:31 | 9.9938 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 146.725 | μmol/L | 33.6024 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.748 | 120224.5983 | 302821.7418 | 30.45 | 114.2
61325 | 2021-04-02 14:31 | 10.3267 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 146.6453 | μmol/L | 33.6086 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.752 | 120224.1114 | 302785.5052 | 30.45 | 114.2
61335 | 2021-04-02 14:32 | 10.6604 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 146.5578 | μmol/L | 33.6271 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.752 | 120211.7678 | 302748.9546 | 30.45 | 114.2
61345 | 2021-04-02 14:32 | 10.9933 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 146.1767 | μmol/L | 33.6518 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.773 | 120299.7293 | 302718.4513 | 30.45 | 114.2
61355 | 2021-04-02 14:32 | 11.327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 146.1138 | μmol/L | 33.6518 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.778 | 120301.6787 | 302691.1614 | 30.45 | 114.2
61365 | 2021-04-02 14:33 | 11.6606 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 146.2098 | μmol/L | 33.6394 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.775 | 120298.1459 | 302660.0313 | 30.45 | 114.2
61375 | 2021-04-02 14:33 | 11.9934 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 146.0173 | μmol/L | 33.6456 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.788 | 120333.024 | 302621.2808 | 30.45 | 114.2
61385 | 2021-04-02 14:33 | 12.3271 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 145.9961 | μmol/L | 33.6394 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.792 | 120352.9114 | 302598.737 | 30.45 | 114.2
61395 | 2021-04-02 14:34 | 12.66 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 145.6001 | μmol/L | 33.6703 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.812 | 120420.842 | 302568.45 | 30.45 | 114.2
61405 | 2021-04-02 14:34 | 12.9939 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 145.5495 | μmol/L | 33.6518 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.823 | 120464.5751 | 302528.4855 | 30.45 | 114.2
61415 | 2021-04-02 14:34 | 13.3269 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 145.3751 | μmol/L | 33.6703 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.83 | 120494.3361 | 302499.518 | 30.45 | 114.2
61425 | 2021-04-02 14:35 | 13.6605 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 145.462 | μmol/L | 33.6518 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.83 | 120497.4024 | 302465.956 | 30.45 | 114.2
61435 | 2021-04-02 14:35 | 13.9933 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 145.2871 | μmol/L | 33.6518 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.844 | 120549.5563 | 302429.3067 | 30.45 | 114.2
61445 | 2021-04-02 14:35 | 14.3269 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 145.1833 | μmol/L | 33.6579 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.85 | 120563.7279 | 302401.4479 | 30.45 | 114.2
61455 | 2021-04-02 14:36 | 14.6605 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 145.0626 | μmol/L | 33.6518 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.862 | 120605.5823 | 302380.4261 | 30.45 | 114.2
61465 | 2021-04-02 14:36 | 14.9934 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 144.8724 | μmol/L | 33.6764 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.868 | 120634.858 | 302353.6601 | 30.45 | 114.2
61475 | 2021-04-02 14:36 | 15.3271 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 144.7888 | μmol/L | 33.6518 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.884 | 120653.3362 | 302319.075 | 30.45 | 114.2
61485 | 2021-04-02 14:37 | 15.6598 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 144.6238 | μmol/L | 33.6764 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.888 | 120677.3267 | 302292.1285 | 30.45 | 114.2
61495 | 2021-04-02 14:37 | 15.9933 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 144.5081 | μmol/L | 33.6826 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.895 | 120708.1525 | 302274.0925 | 30.45 | 114.2
61505 | 2021-04-02 14:37 | 16.3264 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 144.4377 | μmol/L | 33.6764 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.903 | 120752.2903 | 302254.3137 | 30.45 | 114.2
61515 | 2021-04-02 14:38 | 16.6601 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 144.2599 | μmol/L | 33.6641 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.922 | 120814.7504 | 302213.2964 | 30.45 | 114.2
61525 | 2021-04-02 14:38 | 16.9937 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 144.2559 | μmol/L | 33.6703 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.92 | 120805.5823 | 302184.9487 | 30.45 | 114.2
61535 | 2021-04-02 14:38 | 17.3267 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 144.1238 | μmol/L | 33.6641 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.933 | 120854.5512 | 302149.4839 | 30.45 | 114.2
61545 | 2021-04-02 14:39 | 17.6603 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 144.0173 | μmol/L | 33.695 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.93 | 120836.5417 | 302130.6224 | 30.45 | 114.2
61555 | 2021-04-02 14:39 | 17.9939 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 144.1773 | μmol/L | 33.6579 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.931 | 120842.7094 | 302107.6231 | 30.45 | 114.2
61565 | 2021-04-02 14:39 | 18.327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.9839 | μmol/L | 33.6703 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.942 | 120867.8014 | 302085.4754 | 30.45 | 114.2
61575 | 2021-04-02 14:40 | 18.6598 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.8771 | μmol/L | 33.6826 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.946 | 120887.1301 | 302050.4699 | 30.45 | 114.2
61585 | 2021-04-02 14:40 | 18.9935 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.5731 | μmol/L | 33.6764 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.973 | 120985.4874 | 302013.4179 | 30.45 | 114.2
61595 | 2021-04-02 14:40 | 19.3272 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.6343 | μmol/L | 33.6579 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.975 | 120999.4027 | 301989.9781 | 30.45 | 114.2
61605 | 2021-04-02 14:41 | 19.6603 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.5522 | μmol/L | 33.6518 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.984 | 121047.2226 | 301982.3433 | 30.45 | 114.2
61615 | 2021-04-02 14:41 | 19.9931 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.3761 | μmol/L | 33.6579 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.996 | 121053.7347 | 301940.2562 | 30.45 | 114.2
61625 | 2021-04-02 14:41 | 20.3265 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.1188 | μmol/L | 33.695 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.003 | 121097.4798 | 301913.8785 | 30.45 | 114.2
61635 | 2021-04-02 14:42 | 20.6599 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.2044 | μmol/L | 33.6764 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.003 | 121103.9009 | 301892.6082 | 30.45 | 114.2
61645 | 2021-04-02 14:42 | 20.9935 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.0041 | μmol/L | 33.6641 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.024 | 121191.5999 | 301867.0807 | 30.45 | 114.2
61655 | 2021-04-02 14:42 | 21.3271 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 142.8899 | μmol/L | 33.6703 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.031 | 121189.7332 | 301836.8818 | 30.45 | 114.2
61665 | 2021-04-02 14:43 | 21.6601 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.0648 | μmol/L | 33.6271 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.033 | 121191.2214 | 301820.893 | 30.45 | 114.2
61675 | 2021-04-02 14:43 | 21.9938 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.0851 | μmol/L | 33.6147 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.036 | 121191.0394 | 301791.5243 | 30.45 | 114.2
61685 | 2021-04-02 14:43 | 22.3265 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 142.6454 | μmol/L | 33.6703 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.051 | 121263.0416 | 301770.3968 | 30.45 | 114.2
61695 | 2021-04-02 14:44 | 22.6603 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 142.7103 | μmol/L | 33.6456 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.055 | 121278.9526 | 301747.1879 | 30.45 | 114.2
61705 | 2021-04-02 14:44 | 22.9938 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 142.6528 | μmol/L | 33.6024 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.076 | 121350.8984 | 301721.4093 | 30.45 | 114.2
61715 | 2021-04-02 14:44 | 23.3264 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 142.673 | μmol/L | 33.5901 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.079 | 121385.0447 | 301696.8522 | 30.45 | 114.2
61725 | 2021-04-02 14:45 | 23.6599 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 142.6931 | μmol/L | 33.5777 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.082 | 121381.4463 | 301681.7266 | 30.45 | 114.2
61735 | 2021-04-02 14:45 | 23.9937 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 142.6443 | μmol/L | 33.5777 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.086 | 121405.0476 | 301644.4282 | 30.45 | 114.2
61745 | 2021-04-02 14:45 | 24.3272 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 142.8433 | μmol/L | 33.553 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.079 | 121369.7106 | 301626.9864 | 30.45 | 114.2
61755 | 2021-04-02 14:46 | 24.6601 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 142.5385 | μmol/L | 33.5715 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.097 | 121417.8816 | 301602.6076 | 30.45 | 114.2
61765 | 2021-04-02 14:46 | 24.9931 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 142.4611 | μmol/L | 33.5592 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.108 | 121459.3365 | 301588.7288 | 30.45 | 114.2
61775 | 2021-04-02 14:46 | 25.3267 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 142.5178 | μmol/L | 33.5469 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.108 | 121465.1517 | 301553.8054 | 30.45 | 114.2
61785 | 2021-04-02 14:47 | 25.6603 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 142.2302 | μmol/L | 33.5777 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.12 | 121511.2689 | 301536.4741 | 30.45 | 114.2
61795 | 2021-04-02 14:47 | 25.9933 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 142.1046 | μmol/L | 33.5839 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.128 | 121552.4324 | 301504.6063 | 30.45 | 114.2
61805 | 2021-04-02 14:47 | 26.3271 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 142.1652 | μmol/L | 33.5654 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.13 | 121559.3711 | 301482.5038 | 30.45 | 114.2
61815 | 2021-04-02 14:48 | 26.6605 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 141.7894 | μmol/L | 33.6024 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.147 | 121611.1881 | 301462.424 | 30.45 | 114.2
61825 | 2021-04-02 14:48 | 26.9935 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 141.9102 | μmol/L | 33.5654 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.151 | 121624.9398 | 301444.5931 | 30.45 | 114.2
61835 | 2021-04-02 14:48 | 27.327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 141.8417 | μmol/L | 33.5777 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.152 | 121618.0478 | 301413.6398 | 30.45 | 114.2
61845 | 2021-04-02 14:49 | 27.6599 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 141.9588 | μmol/L | 33.5654 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.147 | 121622.5504 | 301392.2603 | 30.45 | 114.2
61855 | 2021-04-02 14:49 | 27.9936 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 141.6562 | μmol/L | 33.6024 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.158 | 121651.8226 | 301372.6155 | 30.45 | 114.2
61865 | 2021-04-02 14:49 | 28.3264 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 141.5674 | μmol/L | 33.5901 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.17 | 121701.8021 | 301358.2083 | 30.45 | 114.2
61875 | 2021-04-02 14:50 | 28.6601 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 141.5028 | μmol/L | 33.5777 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.18 | 121734.8184 | 301331.9017 | 30.45 | 114.2
61885 | 2021-04-02 14:50 | 28.9938 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 141.3739 | μmol/L | 33.5715 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.193 | 121783.3635 | 301323.3866 | 30.45 | 114.2
61895 | 2021-04-02 14:50 | 29.3265 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 141.2575 | μmol/L | 33.6024 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.191 | 121791.9237 | 301285.2817 | 30.45 | 114.2
61905 | 2021-04-02 14:51 | 29.6601 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 141.169 | μmol/L | 33.5901 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.203 | 121815.4563 | 301260.3272 | 30.45 | 114.2
61915 | 2021-04-02 14:51 | 29.9932 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 141.1811 | μmol/L | 33.5901 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.202 | 121824.2588 | 301250.9083 | 30.45 | 114.2
61925 | 2021-04-02 14:51 | 30.3269 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 141.2332 | μmol/L | 33.5654 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.207 | 121871.8133 | 301237.6532 | 30.45 | 114.2
61935 | 2021-04-02 14:52 | 30.6605 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 141.1087 | μmol/L | 33.5715 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.215 | 121876.4818 | 301199.787 | 30.45 | 114.2
61945 | 2021-04-02 14:52 | 30.9933 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 141.0446 | μmol/L | 33.5962 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.211 | 121857.5329 | 301199.5048 | 30.45 | 114.2
61955 | 2021-04-02 14:52 | 31.327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 141.0084 | μmol/L | 33.5777 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.221 | 121887.623 | 301170.8813 | 30.45 | 114.2
61965 | 2021-04-02 14:53 | 31.6599 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 140.8321 | μmol/L | 33.6086 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.224 | 121885.0515 | 301146.4775 | 30.45 | 114.2
61975 | 2021-04-02 14:53 | 31.9937 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 140.6799 | μmol/L | 33.6024 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.239 | 121944.0345 | 301125.6498 | 30.45 | 114.2
61985 | 2021-04-02 14:53 | 32.3267 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 140.6919 | μmol/L | 33.6209 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.231 | 121942.9233 | 301112.7488 | 30.45 | 114.2
61995 | 2021-04-02 14:54 | 32.6603 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 140.6319 | μmol/L | 33.6209 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.236 | 121947.8232 | 301088.195 | 30.45 | 114.2
62005 | 2021-04-02 14:54 | 32.9931 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 140.54 | μmol/L | 33.6147 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.246 | 121990.6744 | 301074.2993 | 30.45 | 114.2
62015 | 2021-04-02 14:54 | 33.327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 140.6079 | μmol/L | 33.5839 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.252 | 122002.0242 | 301044.8231 | 30.45 | 114.2
62025 | 2021-04-02 14:55 | 33.6603 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 140.3722 | μmol/L | 33.6333 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.253 | 122021.2205 | 301028.9063 | 30.45 | 114.2
62035 | 2021-04-02 14:55 | 33.9932 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 140.2725 | μmol/L | 33.6209 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.266 | 122084.5437 | 301011.0493 | 30.45 | 114.2
62045 | 2021-04-02 14:55 | 34.3271 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 140.0095 | μmol/L | 33.6394 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.281 | 122122.1831 | 300989.4064 | 30.45 | 114.2
62055 | 2021-04-02 14:56 | 34.6601 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.9578 | μmol/L | 33.6456 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.283 | 122147.7476 | 300970.7724 | 30.45 | 114.2
62065 | 2021-04-02 14:56 | 34.9936 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.9421 | μmol/L | 33.6147 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.296 | 122198.9436 | 300954.6548 | 30.45 | 114.2
62075 | 2021-04-02 14:56 | 35.3271 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.6358 | μmol/L | 33.6641 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.303 | 122228.6851 | 300936.114 | 30.45 | 114.2
62085 | 2021-04-02 14:57 | 35.6602 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.6994 | μmol/L | 33.6579 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.3 | 122230.2855 | 300922.3534 | 30.45 | 114.2
62095 | 2021-04-02 14:57 | 35.9937 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.6241 | μmol/L | 33.6456 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.311 | 122279.7901 | 300895.3047 | 30.45 | 114.2
62105 | 2021-04-02 14:57 | 36.3265 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.4815 | μmol/L | 33.6456 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.323 | 122324.2112 | 300876.6892 | 30.45 | 114.2
62115 | 2021-04-02 14:58 | 36.6606 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.3309 | μmol/L | 33.6579 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.331 | 122349.2285 | 300865.0711 | 30.45 | 114.2
62125 | 2021-04-02 14:58 | 36.9933 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.1018 | μmol/L | 33.6456 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.355 | 122461.8573 | 300840.6938 | 30.45 | 114.2
62135 | 2021-04-02 14:58 | 37.3269 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.0071 | μmol/L | 33.6456 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.363 | 122516.3852 | 300829.5459 | 30.45 | 114.2
62145 | 2021-04-02 14:59 | 37.6598 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.7504 | μmol/L | 33.6764 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.373 | 122558.603 | 300810.3312 | 30.45 | 114.2
62155 | 2021-04-02 14:59 | 37.9935 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.6604 | μmol/L | 33.6518 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.39 | 122656.7658 | 300787.6644 | 30.45 | 114.2
62165 | 2021-04-02 14:59 | 38.3271 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.4397 | μmol/L | 33.6826 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.397 | 122668.1632 | 300775.4058 | 30.45 | 114.2
62175 | 2021-04-02 15:00 | 38.6599 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.1917 | μmol/L | 33.7196 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.404 | 122720.123 | 300740.2138 | 30.45 | 114.2
62185 | 2021-04-02 15:00 | 38.9938 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.1383 | μmol/L | 33.6579 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.432 | 122862.096 | 300745.2171 | 30.45 | 114.2
62195 | 2021-04-02 15:00 | 39.3266 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.8252 | μmol/L | 33.6703 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.454 | 122977.6483 | 300702.5667 | 30.45 | 114.2
62205 | 2021-04-02 15:01 | 39.6603 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.5474 | μmol/L | 33.7011 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.466 | 123059.8692 | 300709.1447 | 30.45 | 114.2
62215 | 2021-04-02 15:01 | 39.9932 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.458 | μmol/L | 33.695 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.476 | 123128.1887 | 300705.7828 | 30.45 | 114.2
62225 | 2021-04-02 15:01 | 40.327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.3499 | μmol/L | 33.6641 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.497 | 123215.8741 | 300685.1594 | 30.45 | 114.2
62235 | 2021-04-02 15:02 | 40.66 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.1517 | μmol/L | 33.6641 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.514 | 123286.5574 | 300661.641 | 30.45 | 114.2
62245 | 2021-04-02 15:02 | 40.9938 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.0661 | μmol/L | 33.6703 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.519 | 123312.2151 | 300637.8315 | 30.45 | 114.2
62255 | 2021-04-02 15:02 | 41.3266 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 136.779 | μmol/L | 33.6826 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.539 | 123432.3114 | 300623.3261 | 30.45 | 114.2