## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-02 15:16

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
61016 | 2021-04-02 14:21 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 150.7746 | μmol/L | 33.5555 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.493 | 172845.3949 | 298496.9077 | 59.9307 | 49.4
61023 | 2021-04-02 14:22 | 0.44308 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 150.6313 | μmol/L | 33.5555 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.504 | 172888.1636 | 298447.8908 | 59.9307 | 49.4
61036 | 2021-04-02 14:22 | 0.67048 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 150.6174 | μmol/L | 33.5369 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.512 | 172927.1204 | 298427.1547 | 59.9307 | 49.4
61046 | 2021-04-02 14:22 | 1.0041 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 150.4874 | μmol/L | 33.5369 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.522 | 173005.7072 | 298396.8093 | 59.9307 | 49.4
61056 | 2021-04-02 14:22 | 1.3377 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 150.2885 | μmol/L | 33.5431 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.535 | 173025.3345 | 298346.9701 | 59.9307 | 49.4
61066 | 2021-04-02 14:23 | 1.6705 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 150.1329 | μmol/L | 33.5431 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.547 | 173061.618 | 298306.653 | 59.9307 | 49.4
61076 | 2021-04-02 14:23 | 2.0042 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 150.1021 | μmol/L | 33.5307 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.554 | 173064.2047 | 298272.9909 | 59.9307 | 49.4
61086 | 2021-04-02 14:23 | 2.337 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 150.0793 | μmol/L | 33.5059 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.565 | 173107.6601 | 298262.3409 | 59.9307 | 49.4
61096 | 2021-04-02 14:24 | 2.6707 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 149.9548 | μmol/L | 33.5183 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.57 | 173162.4222 | 298223.5193 | 59.9307 | 49.4
61106 | 2021-04-02 14:24 | 3.0043 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 149.7908 | μmol/L | 33.5121 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.585 | 173231.2597 | 298196.2784 | 59.9307 | 49.4
61116 | 2021-04-02 14:24 | 3.3371 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 149.602 | μmol/L | 33.5245 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.595 | 173264.9893 | 298173.8143 | 59.9307 | 49.4
61126 | 2021-04-02 14:25 | 3.6708 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 149.6906 | μmol/L | 33.4873 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.602 | 173300.4592 | 298136.1548 | 59.9307 | 49.4
61136 | 2021-04-02 14:25 | 4.0036 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 149.5407 | μmol/L | 33.4997 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.609 | 173310.7539 | 298106.6224 | 59.9307 | 49.4
61146 | 2021-04-02 14:25 | 4.3375 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 149.4802 | μmol/L | 33.4935 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.616 | 173337.9212 | 298073.3217 | 59.9307 | 49.4
61156 | 2021-04-02 14:26 | 4.6702 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 149.3257 | μmol/L | 33.4935 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.628 | 173371.0538 | 298061.4413 | 59.9307 | 49.4
61166 | 2021-04-02 14:26 | 5.0039 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 149.2356 | μmol/L | 33.4935 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.635 | 173405.1465 | 298008.1612 | 59.9307 | 49.4
61176 | 2021-04-02 14:26 | 5.3374 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 149.1288 | μmol/L | 33.4997 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.641 | 173433.4826 | 297957.7057 | 59.9307 | 49.4
61186 | 2021-04-02 14:27 | 5.671 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 148.9875 | μmol/L | 33.4997 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.652 | 173452.217 | 297939.1249 | 59.9307 | 49.4
61196 | 2021-04-02 14:27 | 6.0037 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 148.9996 | μmol/L | 33.4811 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.658 | 173485.5196 | 297903.1788 | 59.9307 | 49.4
61206 | 2021-04-02 14:27 | 6.3373 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 148.7952 | μmol/L | 33.4997 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.667 | 173521.7871 | 297888.6378 | 59.9307 | 49.4
61216 | 2021-04-02 14:28 | 6.6709 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 148.663 | μmol/L | 33.5059 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.675 | 173568.8182 | 297848.6679 | 59.9307 | 49.4
61226 | 2021-04-02 14:28 | 7.0039 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 148.5095 | μmol/L | 33.5059 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.687 | 173611.5469 | 297825.4571 | 59.9307 | 49.4
61236 | 2021-04-02 14:28 | 7.3374 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 148.4456 | μmol/L | 33.5059 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.692 | 173659.8793 | 297813.4229 | 59.9307 | 49.4
61246 | 2021-04-02 14:29 | 7.6711 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 148.3011 | μmol/L | 33.5121 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.701 | 173690.9799 | 297769.087 | 59.9307 | 49.4
61256 | 2021-04-02 14:29 | 8.0039 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 148.0507 | μmol/L | 33.5245 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.716 | 173768.1372 | 297766.9328 | 59.9307 | 49.4
61266 | 2021-04-02 14:29 | 8.3375 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 148.016 | μmol/L | 33.4997 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.728 | 173845.0141 | 297732.0381 | 59.9307 | 49.4
61276 | 2021-04-02 14:30 | 8.671 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 147.9315 | μmol/L | 33.5121 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.73 | 173843.3945 | 297686.2324 | 59.9307 | 49.4
61286 | 2021-04-02 14:30 | 9.0042 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 147.6697 | μmol/L | 33.5431 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.739 | 173876.3005 | 297670.6179 | 59.9307 | 49.4
61296 | 2021-04-02 14:30 | 9.3372 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 147.4544 | μmol/L | 33.5617 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.749 | 173946.9446 | 297647.7217 | 59.9307 | 49.4
61306 | 2021-04-02 14:31 | 9.6709 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 147.4748 | μmol/L | 33.5307 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.759 | 174021.7319 | 297612.1312 | 59.9307 | 49.4
61316 | 2021-04-02 14:31 | 10.0036 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 147.188 | μmol/L | 33.5431 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.777 | 174127.0185 | 297574.165 | 59.9307 | 49.4
61326 | 2021-04-02 14:31 | 10.3372 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 147.007 | μmol/L | 33.5493 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.789 | 174203.2556 | 297576.4918 | 59.9307 | 49.4
61336 | 2021-04-02 14:32 | 10.6708 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 146.8139 | μmol/L | 33.5741 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.795 | 174240.7103 | 297537.4547 | 59.9307 | 49.4
61346 | 2021-04-02 14:32 | 11.0037 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 146.6879 | μmol/L | 33.5741 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.805 | 174274.8496 | 297509.7006 | 59.9307 | 49.4
61356 | 2021-04-02 14:32 | 11.3374 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 146.4323 | μmol/L | 33.5989 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.816 | 174328.6641 | 297479.0478 | 59.9307 | 49.4
61366 | 2021-04-02 14:33 | 11.6703 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 146.3104 | μmol/L | 33.5741 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.835 | 174479.8494 | 297464.7425 | 59.9307 | 49.4
61376 | 2021-04-02 14:33 | 12.004 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 146.1595 | μmol/L | 33.5555 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.854 | 174620.4049 | 297432.4203 | 59.9307 | 49.4
61386 | 2021-04-02 14:33 | 12.3375 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 145.9007 | μmol/L | 33.5679 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.87 | 174732.658 | 297435.5412 | 59.9307 | 49.4
61396 | 2021-04-02 14:34 | 12.6704 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 145.6965 | μmol/L | 33.5741 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.884 | 174791.8014 | 297407.3784 | 59.9307 | 49.4
61406 | 2021-04-02 14:34 | 13.0043 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 145.634 | μmol/L | 33.5741 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.889 | 174805.5288 | 297362.5907 | 59.9307 | 49.4
61416 | 2021-04-02 14:34 | 13.3371 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 145.609 | μmol/L | 33.5741 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.891 | 174804.832 | 297345.2924 | 59.9307 | 49.4
61426 | 2021-04-02 14:35 | 13.6708 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 145.5259 | μmol/L | 33.5865 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.893 | 174812.6983 | 297314.9759 | 59.9307 | 49.4
61436 | 2021-04-02 14:35 | 14.0036 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 145.505 | μmol/L | 33.5803 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.897 | 174822.0654 | 297305.9239 | 59.9307 | 49.4
61446 | 2021-04-02 14:35 | 14.3373 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 145.5048 | μmol/L | 33.5617 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.904 | 174843.0636 | 297281.1732 | 59.9307 | 49.4
61456 | 2021-04-02 14:36 | 14.671 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 145.3844 | μmol/L | 33.5741 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.909 | 174843.2266 | 297248.9027 | 59.9307 | 49.4
61466 | 2021-04-02 14:36 | 15.0039 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 145.2516 | μmol/L | 33.5865 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.915 | 174875.1274 | 297220.0187 | 59.9307 | 49.4
61476 | 2021-04-02 14:36 | 15.3376 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 145.2059 | μmol/L | 33.5803 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.921 | 174893.6359 | 297214.4419 | 59.9307 | 49.4
61486 | 2021-04-02 14:37 | 15.6704 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 145.1147 | μmol/L | 33.5865 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.926 | 174919.2843 | 297196.5696 | 59.9307 | 49.4
61496 | 2021-04-02 14:37 | 16.0041 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 145.0277 | μmol/L | 33.5865 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.933 | 174935.9441 | 297166.5925 | 59.9307 | 49.4
61506 | 2021-04-02 14:37 | 16.3369 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 145.0069 | μmol/L | 33.5803 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.937 | 174932.105 | 297121.9926 | 59.9307 | 49.4
61516 | 2021-04-02 14:38 | 16.6706 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 144.8786 | μmol/L | 33.5865 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.945 | 174967.9074 | 297129.5609 | 59.9307 | 49.4
61526 | 2021-04-02 14:38 | 17.0041 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 144.8455 | μmol/L | 33.5803 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.95 | 174999.9633 | 297097.165 | 59.9307 | 49.4
61536 | 2021-04-02 14:38 | 17.3371 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 144.5852 | μmol/L | 33.5989 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.964 | 175071.9603 | 297092.0655 | 59.9307 | 49.4
61546 | 2021-04-02 14:39 | 17.6708 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 144.6016 | μmol/L | 33.5741 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.972 | 175103.965 | 297083.3153 | 59.9307 | 49.4
61556 | 2021-04-02 14:39 | 18.0036 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 144.717 | μmol/L | 33.5307 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.979 | 175128.6621 | 297033.4739 | 59.9307 | 49.4
61566 | 2021-04-02 14:39 | 18.3375 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 144.6427 | μmol/L | 33.5307 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.985 | 175158.7645 | 297013.4688 | 59.9307 | 49.4
61576 | 2021-04-02 14:40 | 18.6703 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 144.4119 | μmol/L | 33.5617 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.992 | 175188.3894 | 296993.8655 | 59.9307 | 49.4
61586 | 2021-04-02 14:40 | 19.004 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 144.453 | μmol/L | 33.5369 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.998 | 175212.2144 | 296969.6695 | 59.9307 | 49.4
61596 | 2021-04-02 14:40 | 19.3373 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 144.4364 | μmol/L | 33.5245 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.004 | 175236.5353 | 296950.0584 | 59.9307 | 49.4
61606 | 2021-04-02 14:41 | 19.6703 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 144.2101 | μmol/L | 33.5493 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.013 | 175268.4206 | 296948.1276 | 59.9307 | 49.4
61616 | 2021-04-02 14:41 | 20.0041 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 144.173 | μmol/L | 33.5307 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.023 | 175323.9159 | 296907.1215 | 59.9307 | 49.4
61626 | 2021-04-02 14:41 | 20.3377 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 144.0005 | μmol/L | 33.5493 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.03 | 175373.9809 | 296917.9212 | 59.9307 | 49.4
61636 | 2021-04-02 14:42 | 20.6708 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.9635 | μmol/L | 33.5307 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.04 | 175411.3436 | 296881.609 | 59.9307 | 49.4
61646 | 2021-04-02 14:42 | 21.0043 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.7543 | μmol/L | 33.5493 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.05 | 175499.8386 | 296849.0137 | 59.9307 | 49.4
61656 | 2021-04-02 14:42 | 21.3372 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.5782 | μmol/L | 33.5555 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.062 | 175554.0479 | 296826.7247 | 59.9307 | 49.4
61666 | 2021-04-02 14:43 | 21.6703 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.6806 | μmol/L | 33.5121 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.07 | 175608.2045 | 296819.945 | 59.9307 | 49.4
61676 | 2021-04-02 14:43 | 22.0039 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.5414 | μmol/L | 33.5183 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.079 | 175664.5885 | 296795.709 | 59.9307 | 49.4
61686 | 2021-04-02 14:43 | 22.3375 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.3534 | μmol/L | 33.5431 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.085 | 175653.8215 | 296787.163 | 59.9307 | 49.4
61696 | 2021-04-02 14:44 | 22.6705 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.4106 | μmol/L | 33.5121 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.092 | 175709.8203 | 296753.0873 | 59.9307 | 49.4
61706 | 2021-04-02 14:44 | 23.0042 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.0556 | μmol/L | 33.5493 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.107 | 175809.5268 | 296747.7741 | 59.9307 | 49.4
61716 | 2021-04-02 14:44 | 23.3369 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 142.8724 | μmol/L | 33.5493 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.122 | 175864.8485 | 296715.2602 | 59.9307 | 49.4
61726 | 2021-04-02 14:45 | 23.6705 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 142.7667 | μmol/L | 33.5431 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.133 | 175925.9249 | 296686.9351 | 59.9307 | 49.4
61736 | 2021-04-02 14:45 | 24.0043 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 142.6936 | μmol/L | 33.5431 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.139 | 176000.807 | 296644.7587 | 59.9307 | 49.4
61746 | 2021-04-02 14:45 | 24.3371 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 142.5922 | μmol/L | 33.5307 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.152 | 176063.399 | 296658.4062 | 59.9307 | 49.4
61756 | 2021-04-02 14:46 | 24.6709 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 142.4583 | μmol/L | 33.5307 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.163 | 176115.0122 | 296637.4165 | 59.9307 | 49.4
61766 | 2021-04-02 14:46 | 25.0039 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 142.4463 | μmol/L | 33.5121 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.171 | 176175.4743 | 296607.758 | 59.9307 | 49.4
61776 | 2021-04-02 14:46 | 25.3375 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 142.3411 | μmol/L | 33.5059 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.182 | 176226.3203 | 296611.3453 | 59.9307 | 49.4
61786 | 2021-04-02 14:47 | 25.6703 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 142.2277 | μmol/L | 33.5121 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.189 | 176253.308 | 296576.3491 | 59.9307 | 49.4
61796 | 2021-04-02 14:47 | 26.0042 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 142.2157 | μmol/L | 33.4935 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.197 | 176319.1708 | 296572.5966 | 59.9307 | 49.4
61806 | 2021-04-02 14:47 | 26.3372 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 142.0581 | μmol/L | 33.4935 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.21 | 176373.7149 | 296554.1615 | 59.9307 | 49.4
61816 | 2021-04-02 14:48 | 26.6707 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 141.9733 | μmol/L | 33.4935 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.217 | 176433.5405 | 296558.6516 | 59.9307 | 49.4
61826 | 2021-04-02 14:48 | 27.0042 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 141.82 | μmol/L | 33.5059 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.225 | 176476.2224 | 296524.9046 | 59.9307 | 49.4
61836 | 2021-04-02 14:48 | 27.3371 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 141.687 | μmol/L | 33.5059 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.236 | 176552.7264 | 296495.6267 | 59.9307 | 49.4
61846 | 2021-04-02 14:49 | 27.6708 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 141.534 | μmol/L | 33.5183 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.244 | 176613.4548 | 296469.6942 | 59.9307 | 49.4
61856 | 2021-04-02 14:49 | 28.0037 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 141.4214 | μmol/L | 33.5245 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.251 | 176655.7406 | 296442.4203 | 59.9307 | 49.4
61866 | 2021-04-02 14:49 | 28.3374 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 141.1562 | μmol/L | 33.5431 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.266 | 176738.4789 | 296436.0406 | 59.9307 | 49.4
61876 | 2021-04-02 14:50 | 28.671 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 141.0119 | μmol/L | 33.5431 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.278 | 176836.4857 | 296422.0813 | 59.9307 | 49.4
61886 | 2021-04-02 14:50 | 29.0041 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 141.0325 | μmol/L | 33.5121 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.288 | 176907.3528 | 296414.4756 | 59.9307 | 49.4
61896 | 2021-04-02 14:50 | 29.337 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 140.8724 | μmol/L | 33.5183 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.299 | 176966.9547 | 296398.4947 | 59.9307 | 49.4
61906 | 2021-04-02 14:51 | 29.6706 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 140.7483 | μmol/L | 33.5245 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.307 | 177015.2783 | 296381.4169 | 59.9307 | 49.4
61916 | 2021-04-02 14:51 | 30.0036 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 140.6963 | μmol/L | 33.5307 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.309 | 177034.2151 | 296355.8162 | 59.9307 | 49.4
61926 | 2021-04-02 14:51 | 30.3373 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 140.5126 | μmol/L | 33.5369 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.322 | 177127.4025 | 296332.8641 | 59.9307 | 49.4
61936 | 2021-04-02 14:52 | 30.6709 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 140.3297 | μmol/L | 33.5245 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.342 | 177250.6035 | 296317.813 | 59.9307 | 49.4
61946 | 2021-04-02 14:52 | 31.0038 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 140.1704 | μmol/L | 33.5307 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.353 | 177325.5113 | 296311.4677 | 59.9307 | 49.4
61956 | 2021-04-02 14:52 | 31.3374 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 139.9436 | μmol/L | 33.5493 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.365 | 177393.591 | 296311.4053 | 59.9307 | 49.4
61966 | 2021-04-02 14:53 | 31.671 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 139.852 | μmol/L | 33.5617 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.368 | 177415.6035 | 296289.3447 | 59.9307 | 49.4
61976 | 2021-04-02 14:53 | 32.0038 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 139.7564 | μmol/L | 33.5803 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.369 | 177445.4278 | 296279.483 | 59.9307 | 49.4
61986 | 2021-04-02 14:53 | 32.3377 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 139.7331 | μmol/L | 33.5617 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.378 | 177502.9618 | 296242.2213 | 59.9307 | 49.4
61996 | 2021-04-02 14:54 | 32.6705 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 139.6944 | μmol/L | 33.5307 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.393 | 177605.029 | 296241.4294 | 59.9307 | 49.4
62006 | 2021-04-02 14:54 | 33.0043 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 139.4803 | μmol/L | 33.5493 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.404 | 177679.7919 | 296202.4866 | 59.9307 | 49.4
62016 | 2021-04-02 14:54 | 33.3372 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 139.2505 | μmol/L | 33.5741 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.414 | 177733.8133 | 296205.3373 | 59.9307 | 49.4
62026 | 2021-04-02 14:55 | 33.6709 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 139.0725 | μmol/L | 33.5927 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.422 | 177770.083 | 296168.3521 | 59.9307 | 49.4
62036 | 2021-04-02 14:55 | 34.0037 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 139.0016 | μmol/L | 33.5927 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.428 | 177823.6993 | 296174.362 | 59.9307 | 49.4
62046 | 2021-04-02 14:55 | 34.3375 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 138.9703 | μmol/L | 33.5865 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.433 | 177848.5036 | 296142.5586 | 59.9307 | 49.4
62056 | 2021-04-02 14:56 | 34.6706 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 138.955 | μmol/L | 33.5741 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.439 | 177882.9045 | 296116.8472 | 59.9307 | 49.4
62066 | 2021-04-02 14:56 | 35.0042 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 138.679 | μmol/L | 33.5989 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.453 | 177974.7531 | 296113.5378 | 59.9307 | 49.4
62076 | 2021-04-02 14:56 | 35.3371 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 138.3841 | μmol/L | 33.6175 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.471 | 178137.0581 | 296110.861 | 59.9307 | 49.4
62086 | 2021-04-02 14:57 | 35.6707 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 138.2281 | μmol/L | 33.6051 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.489 | 178276.0853 | 296099.8598 | 59.9307 | 49.4
62096 | 2021-04-02 14:57 | 36.0043 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 138.1309 | μmol/L | 33.5927 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.502 | 178350.2853 | 296093.7515 | 59.9307 | 49.4
62106 | 2021-04-02 14:57 | 36.337 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 138.0798 | μmol/L | 33.5989 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.504 | 178374.0449 | 296066.4579 | 59.9307 | 49.4
62116 | 2021-04-02 14:58 | 36.6709 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.982 | μmol/L | 33.6051 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.51 | 178381.711 | 296056.9309 | 59.9307 | 49.4
62126 | 2021-04-02 14:58 | 37.0036 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.8524 | μmol/L | 33.6237 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.514 | 178417.6863 | 296055.1478 | 59.9307 | 49.4
62136 | 2021-04-02 14:58 | 37.3371 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.743 | μmol/L | 33.6299 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.521 | 178447.078 | 296058.0513 | 59.9307 | 49.4
62146 | 2021-04-02 14:59 | 37.6709 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.7046 | μmol/L | 33.6175 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.529 | 178492.6883 | 296024.0881 | 59.9307 | 49.4
62156 | 2021-04-02 14:59 | 38.0036 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.6696 | μmol/L | 33.6175 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.532 | 178521.5341 | 296022.1992 | 59.9307 | 49.4
62166 | 2021-04-02 14:59 | 38.3373 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.4937 | μmol/L | 33.6361 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.54 | 178531.4987 | 295997.7428 | 59.9307 | 49.4
62176 | 2021-04-02 15:00 | 38.671 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.5687 | μmol/L | 33.6113 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.543 | 178567.2487 | 295980.5964 | 59.9307 | 49.4
62186 | 2021-04-02 15:00 | 39.0039 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.4913 | μmol/L | 33.6051 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.552 | 178604.7232 | 295969.5624 | 59.9307 | 49.4
62196 | 2021-04-02 15:00 | 39.3375 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.4721 | μmol/L | 33.5989 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.556 | 178641.9542 | 295966.7026 | 59.9307 | 49.4
62206 | 2021-04-02 15:01 | 39.6704 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.4097 | μmol/L | 33.6051 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.559 | 178671.1882 | 295938.7658 | 59.9307 | 49.4
62216 | 2021-04-02 15:01 | 40.0041 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.4771 | μmol/L | 33.5741 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.565 | 178682.9796 | 295940.5988 | 59.9307 | 49.4
62226 | 2021-04-02 15:01 | 40.3371 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.1876 | μmol/L | 33.6237 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.571 | 178719.3083 | 295928.8828 | 59.9307 | 49.4
62236 | 2021-04-02 15:02 | 40.6708 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.3606 | μmol/L | 33.5741 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.575 | 178739.2241 | 295904.5388 | 59.9307 | 49.4
62246 | 2021-04-02 15:02 | 41.0036 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.0714 | μmol/L | 33.6237 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.581 | 178774.8981 | 295883.7032 | 59.9307 | 49.4
62256 | 2021-04-02 15:02 | 41.3376 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 136.9511 | μmol/L | 33.6299 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.589 | 178802.6402 | 295886.308 | 59.9307 | 49.4