## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-02 15:16

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
61019 | 2021-04-02 14:21 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 149.6513 | μmol/L | 33.8594 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.633 | 135376.2236 | 275536.1218 | 26.25 | 74
61027 | 2021-04-02 14:22 | 0.33427 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 149.3503 | μmol/L | 33.9084 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.638 | 135421.2607 | 275499.5945 | 26.25 | 74
61038 | 2021-04-02 14:22 | 0.66211 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 149.543 | μmol/L | 33.7921 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.667 | 135575.6185 | 275475.3384 | 26.25 | 74
61049 | 2021-04-02 14:22 | 0.99502 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 148.9804 | μmol/L | 33.8717 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.681 | 135654.8429 | 275430.3609 | 26.25 | 74
61058 | 2021-04-02 14:23 | 1.3288 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 148.9337 | μmol/L | 33.8655 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.687 | 135709.1774 | 275407.115 | 26.25 | 74
61068 | 2021-04-02 14:23 | 1.6617 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 148.9751 | μmol/L | 33.8227 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.7 | 135753.3949 | 275369.71 | 26.25 | 74
61078 | 2021-04-02 14:23 | 1.9953 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 148.318 | μmol/L | 33.9512 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.703 | 135790.3265 | 275321.9601 | 26.25 | 74
61088 | 2021-04-02 14:24 | 2.3282 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 148.288 | μmol/L | 33.9023 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.724 | 135879.0504 | 275279.0002 | 26.25 | 74
61098 | 2021-04-02 14:24 | 2.6619 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 148.048 | μmol/L | 33.8839 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.75 | 136037.2345 | 275231.5274 | 26.25 | 74
61108 | 2021-04-02 14:24 | 2.9948 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 147.5951 | μmol/L | 33.939 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.765 | 136108.3837 | 275208.3477 | 26.25 | 74
61118 | 2021-04-02 14:25 | 3.3284 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 147.4109 | μmol/L | 33.9329 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.782 | 136222.9198 | 275159.5425 | 26.25 | 74
61129 | 2021-04-02 14:25 | 3.6621 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 147.5735 | μmol/L | 33.8411 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.804 | 136340.3176 | 275123.9093 | 26.25 | 74
61138 | 2021-04-02 14:25 | 3.995 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 148.6155 | μmol/L | 33.8105 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.733 | 135917.1072 | 275076.9722 | 26.25 | 74
61149 | 2021-04-02 14:26 | 4.3289 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 149.343 | μmol/L | 33.786 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.685 | 135508.8513 | 275040.5052 | 26.25 | 74
61158 | 2021-04-02 14:26 | 4.6617 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 149.2044 | μmol/L | 33.8411 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.675 | 135395.5962 | 275006.0628 | 26.25 | 74
61168 | 2021-04-02 14:26 | 4.9953 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 148.7144 | μmol/L | 33.9084 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.688 | 135479.7871 | 274965.1314 | 26.25 | 74
61178 | 2021-04-02 14:27 | 5.3289 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 148.1707 | μmol/L | 33.9818 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.703 | 135571.4039 | 274931.221 | 26.25 | 74
61188 | 2021-04-02 14:27 | 5.6616 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 148.0024 | μmol/L | 34.0246 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.7 | 135535.3917 | 274901.5629 | 26.25 | 74
61198 | 2021-04-02 14:27 | 5.9952 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 148.4068 | μmol/L | 33.9879 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.682 | 135409.1374 | 274869.665 | 26.25 | 74
61208 | 2021-04-02 14:28 | 6.3289 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 148.8376 | μmol/L | 33.9512 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.662 | 135268.0935 | 274832.4386 | 26.25 | 74
61218 | 2021-04-02 14:28 | 6.6617 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 148.9266 | μmol/L | 33.9512 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.655 | 135187.0256 | 274791.8626 | 26.25 | 74
61229 | 2021-04-02 14:28 | 6.9954 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 148.9862 | μmol/L | 33.9757 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.641 | 135094.6985 | 274763.5605 | 26.25 | 74
61238 | 2021-04-02 14:29 | 7.3283 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 148.7908 | μmol/L | 33.9267 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.675 | 135273.2683 | 274731.8322 | 26.25 | 74
61248 | 2021-04-02 14:29 | 7.6618 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 149.0278 | μmol/L | 33.9145 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.661 | 135186.7673 | 274695.1472 | 26.25 | 74
61259 | 2021-04-02 14:29 | 7.9955 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 148.9219 | μmol/L | 33.9206 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.667 | 135198.8238 | 274656.924 | 26.25 | 74
61269 | 2021-04-02 14:30 | 8.3288 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 149.069 | μmol/L | 33.8533 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.681 | 135246.5383 | 274638.2359 | 26.25 | 74
61278 | 2021-04-02 14:30 | 8.6621 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 149.0615 | μmol/L | 33.9023 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.663 | 135135.6216 | 274606.4864 | 26.25 | 74
61288 | 2021-04-02 14:30 | 8.9949 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 149.0366 | μmol/L | 33.939 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.651 | 135037.5133 | 274573.1739 | 26.25 | 74
61298 | 2021-04-02 14:31 | 9.3287 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 148.407 | μmol/L | 34.043 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.661 | 135093.3757 | 274551.7767 | 26.25 | 74
61308 | 2021-04-02 14:31 | 9.6616 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 148.3015 | μmol/L | 34.0491 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.667 | 135131.557 | 274504.548 | 26.25 | 74
61319 | 2021-04-02 14:31 | 9.9952 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 148.4449 | μmol/L | 34.0063 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.672 | 135132.3489 | 274476.69 | 26.25 | 74
61328 | 2021-04-02 14:32 | 10.3283 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 148.4025 | μmol/L | 33.9757 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.687 | 135199.3521 | 274450.8535 | 26.25 | 74
61338 | 2021-04-02 14:32 | 10.6621 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 148.2298 | μmol/L | 34.0063 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.689 | 135191.9209 | 274418.2862 | 26.25 | 74
61348 | 2021-04-02 14:32 | 10.995 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 148.4025 | μmol/L | 33.9757 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.687 | 135179.9399 | 274395.7656 | 26.25 | 74
61359 | 2021-04-02 14:33 | 11.3286 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 148.7268 | μmol/L | 33.89 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.694 | 135198.3869 | 274358.0716 | 26.25 | 74
61368 | 2021-04-02 14:33 | 11.6622 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 148.638 | μmol/L | 33.89 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.701 | 135264.6441 | 274327.4437 | 26.25 | 74
61379 | 2021-04-02 14:33 | 11.9951 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 148.3933 | μmol/L | 33.8961 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.718 | 135347.4802 | 274283.2765 | 26.25 | 74
61389 | 2021-04-02 14:34 | 12.3287 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 148.3386 | μmol/L | 33.9023 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.72 | 135321.0747 | 274258.041 | 26.25 | 74
61398 | 2021-04-02 14:34 | 12.6616 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 148.3094 | μmol/L | 33.9267 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.713 | 135286.7074 | 274226.2763 | 26.25 | 74
61409 | 2021-04-02 14:34 | 12.9953 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 147.9812 | μmol/L | 33.9451 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.732 | 135391.8812 | 274216.898 | 26.25 | 74
61419 | 2021-04-02 14:35 | 13.3289 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 147.8972 | μmol/L | 33.9573 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.734 | 135410.0189 | 274183.4225 | 26.25 | 74
61428 | 2021-04-02 14:35 | 13.6617 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 147.1385 | μmol/L | 34.0736 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.75 | 135465.5158 | 274149.8276 | 26.25 | 74
61438 | 2021-04-02 14:35 | 13.9955 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 147.323 | μmol/L | 33.9879 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.768 | 135605.2427 | 274122.8789 | 26.25 | 74
61449 | 2021-04-02 14:36 | 14.3285 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 147.1267 | μmol/L | 33.9818 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.786 | 135683.3052 | 274099.534 | 26.25 | 74
61459 | 2021-04-02 14:36 | 14.6619 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 147.3398 | μmol/L | 33.9267 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.79 | 135705.2425 | 274068.1777 | 26.25 | 74
61468 | 2021-04-02 14:36 | 14.9948 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 146.7343 | μmol/L | 34.043 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.794 | 135704.802 | 274035.1079 | 26.25 | 74
61478 | 2021-04-02 14:37 | 15.3284 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 146.5766 | μmol/L | 34.0185 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.816 | 135808.4383 | 273999.5904 | 26.25 | 74
61489 | 2021-04-02 14:37 | 15.6619 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 146.6602 | μmol/L | 33.9696 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.828 | 135909.2232 | 273991.5578 | 26.25 | 74
61498 | 2021-04-02 14:37 | 15.9948 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 146.7977 | μmol/L | 33.9145 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.838 | 135961.5516 | 273956.2741 | 26.25 | 74
61508 | 2021-04-02 14:38 | 16.3282 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 146.4315 | μmol/L | 33.9941 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.837 | 135938.7103 | 273927.5956 | 26.25 | 74
61518 | 2021-04-02 14:38 | 16.6619 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 146.5979 | μmol/L | 33.9512 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.84 | 135919.2551 | 273905.0539 | 26.25 | 74
61528 | 2021-04-02 14:38 | 16.995 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 146.7644 | μmol/L | 33.9267 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.836 | 135884.2671 | 273882.3756 | 26.25 | 74
61538 | 2021-04-02 14:39 | 17.3284 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 146.2366 | μmol/L | 33.9879 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.855 | 135981.2816 | 273855.9127 | 26.25 | 74
61548 | 2021-04-02 14:39 | 17.6621 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 146.22 | μmol/L | 33.9941 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.854 | 135978.3655 | 273835.8405 | 26.25 | 74
61558 | 2021-04-02 14:39 | 17.9949 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 146.4069 | μmol/L | 33.9573 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.853 | 135960.9365 | 273826.7538 | 26.25 | 74
61568 | 2021-04-02 14:40 | 18.3281 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 146.4403 | μmol/L | 33.9267 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.862 | 136005.8939 | 273812.7318 | 26.25 | 74
61578 | 2021-04-02 14:40 | 18.6618 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 146.2785 | μmol/L | 33.9451 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.868 | 136022.6486 | 273770.0901 | 26.25 | 74
61589 | 2021-04-02 14:40 | 18.9954 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 146.3077 | μmol/L | 33.9206 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.875 | 136040.1415 | 273743.5129 | 26.25 | 74
61598 | 2021-04-02 14:41 | 19.3286 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 145.9638 | μmol/L | 33.9696 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.884 | 136065.1617 | 273707.9891 | 26.25 | 74
61608 | 2021-04-02 14:41 | 19.6615 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 146.341 | μmol/L | 33.89 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.884 | 136067.7669 | 273685.0438 | 26.25 | 74
61618 | 2021-04-02 14:41 | 19.9951 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 146.3328 | μmol/L | 33.8655 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.894 | 136129.6018 | 273662.7571 | 26.25 | 74
61628 | 2021-04-02 14:42 | 20.3281 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 146.2292 | μmol/L | 33.89 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.893 | 136111.3273 | 273634.277 | 26.25 | 74
61638 | 2021-04-02 14:42 | 20.6619 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 145.4427 | μmol/L | 34.043 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.898 | 136123.9245 | 273616.9566 | 26.25 | 74
61648 | 2021-04-02 14:42 | 20.9948 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 145.4974 | μmol/L | 33.9818 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.917 | 136257.862 | 273593.1863 | 26.25 | 74
61658 | 2021-04-02 14:43 | 21.3285 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 145.3542 | μmol/L | 33.939 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.945 | 136417.851 | 273577.3386 | 26.25 | 74
61668 | 2021-04-02 14:43 | 21.6615 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 144.6052 | μmol/L | 34.0614 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.959 | 136516.5593 | 273549.5369 | 26.25 | 74
61678 | 2021-04-02 14:43 | 21.9951 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 145.0633 | μmol/L | 33.8961 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.985 | 136687.4556 | 273511.1169 | 26.25 | 74
61689 | 2021-04-02 14:44 | 22.3289 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 144.3948 | μmol/L | 33.9941 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.002 | 136762.9535 | 273491.8716 | 26.25 | 74
61698 | 2021-04-02 14:44 | 22.6618 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 144.3068 | μmol/L | 33.9267 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.035 | 136976.3702 | 273488.2302 | 26.25 | 74
61708 | 2021-04-02 14:44 | 22.9956 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 144.2957 | μmol/L | 33.8717 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.057 | 137117.9307 | 273447.7114 | 26.25 | 74
61718 | 2021-04-02 14:45 | 23.3283 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 143.9055 | μmol/L | 33.8717 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.089 | 137307.0602 | 273424.3903 | 26.25 | 74
61728 | 2021-04-02 14:45 | 23.6622 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 144.113 | μmol/L | 33.8533 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.079 | 137253.9161 | 273408.5069 | 26.25 | 74
61738 | 2021-04-02 14:45 | 23.995 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 144.0837 | μmol/L | 33.8961 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.065 | 137145.802 | 273371.2241 | 26.25 | 74
61749 | 2021-04-02 14:46 | 24.3288 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 143.9942 | μmol/L | 33.9023 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.07 | 137167.5715 | 273366.1898 | 26.25 | 74
61759 | 2021-04-02 14:46 | 24.6615 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 143.9915 | μmol/L | 33.8349 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.096 | 137292.6395 | 273343.6041 | 26.25 | 74
61769 | 2021-04-02 14:46 | 24.9954 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 143.1818 | μmol/L | 33.9879 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.104 | 137340.1386 | 273327.4781 | 26.25 | 74
61778 | 2021-04-02 14:47 | 25.3282 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 142.635 | μmol/L | 34.0614 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.121 | 137456.6171 | 273301.0493 | 26.25 | 74
61788 | 2021-04-02 14:47 | 25.6619 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 143.1643 | μmol/L | 33.9084 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.136 | 137552.7417 | 273283.9058 | 26.25 | 74
61798 | 2021-04-02 14:47 | 25.9949 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 143.2011 | μmol/L | 33.89 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.14 | 137582.656 | 273244.9537 | 26.25 | 74
61808 | 2021-04-02 14:48 | 26.3284 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 143.0385 | μmol/L | 33.9329 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.137 | 137550.7444 | 273235.8444 | 26.25 | 74
61818 | 2021-04-02 14:48 | 26.6619 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 143.0228 | μmol/L | 33.9206 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.143 | 137585.538 | 273224.9335 | 26.25 | 74
61828 | 2021-04-02 14:48 | 26.9954 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 142.8126 | μmol/L | 33.9451 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.151 | 137612.639 | 273211.2292 | 26.25 | 74
61838 | 2021-04-02 14:49 | 27.3289 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 143.1164 | μmol/L | 33.89 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.147 | 137575.2106 | 273185.4168 | 26.25 | 74
61849 | 2021-04-02 14:49 | 27.6621 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 143.2169 | μmol/L | 33.9023 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.134 | 137510.0011 | 273173.5831 | 26.25 | 74
61858 | 2021-04-02 14:49 | 27.9948 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 143.4046 | μmol/L | 33.8227 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.149 | 137571.4534 | 273158.6235 | 26.25 | 74
61869 | 2021-04-02 14:50 | 28.3285 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 142.7708 | μmol/L | 33.9879 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.138 | 137497.8948 | 273124.5416 | 26.25 | 74
61879 | 2021-04-02 14:50 | 28.6621 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 142.7487 | μmol/L | 33.9329 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.161 | 137608.467 | 273099.1902 | 26.25 | 74
61888 | 2021-04-02 14:50 | 28.995 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 142.7771 | μmol/L | 33.9267 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.161 | 137639.6495 | 273078.3295 | 26.25 | 74
61898 | 2021-04-02 14:51 | 29.3286 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 142.3287 | μmol/L | 34.0002 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.17 | 137682.9236 | 273051.3571 | 26.25 | 74
61908 | 2021-04-02 14:51 | 29.6622 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 142.4272 | μmol/L | 33.9451 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.183 | 137751.9131 | 273043.0286 | 26.25 | 74
61918 | 2021-04-02 14:51 | 29.9953 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 142.529 | μmol/L | 33.9023 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.191 | 137770.599 | 273031.8998 | 26.25 | 74
61928 | 2021-04-02 14:52 | 30.3281 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 142.5927 | μmol/L | 33.9145 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.181 | 137727.7205 | 273005.5049 | 26.25 | 74
61938 | 2021-04-02 14:52 | 30.6618 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 142.5374 | μmol/L | 33.89 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.195 | 137788.0474 | 272984.3409 | 26.25 | 74
61948 | 2021-04-02 14:52 | 30.9956 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 142.2744 | μmol/L | 33.9573 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.191 | 137791.4555 | 272965.1233 | 26.25 | 74
61958 | 2021-04-02 14:53 | 31.3283 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 141.6308 | μmol/L | 34.0552 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.207 | 137900.013 | 272954.6422 | 26.25 | 74
61968 | 2021-04-02 14:53 | 31.662 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 141.4192 | μmol/L | 34.0675 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.22 | 137971.4385 | 272931.2691 | 26.25 | 74
61978 | 2021-04-02 14:53 | 31.9948 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 141.8873 | μmol/L | 33.9451 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.228 | 138027.4532 | 272905.8426 | 26.25 | 74
61988 | 2021-04-02 14:54 | 32.3285 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 141.6268 | μmol/L | 33.9757 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.238 | 138127.2589 | 272891.9885 | 26.25 | 74
61998 | 2021-04-02 14:54 | 32.6621 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 140.9936 | μmol/L | 34.0797 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.251 | 138400.2679 | 272883.4448 | 26.25 | 74
62009 | 2021-04-02 14:54 | 32.9949 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 141.2261 | μmol/L | 34.0369 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.248 | 138379.9217 | 272856.6166 | 26.25 | 74
62019 | 2021-04-02 14:55 | 33.3287 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 141.2833 | μmol/L | 34.0063 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.255 | 138404.5538 | 272844.2547 | 26.25 | 74
62029 | 2021-04-02 14:55 | 33.6622 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 141.1276 | μmol/L | 34.0246 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.261 | 138460.1486 | 272817.9003 | 26.25 | 74
62039 | 2021-04-02 14:55 | 33.9952 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 140.9763 | μmol/L | 34.0369 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.269 | 138526.9118 | 272809.0092 | 26.25 | 74
62048 | 2021-04-02 14:56 | 34.3282 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 140.7054 | μmol/L | 34.0675 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.28 | 138587.5254 | 272787.8742 | 26.25 | 74
62058 | 2021-04-02 14:56 | 34.6618 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 140.4393 | μmol/L | 34.092 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.293 | 138667.6729 | 272779.6306 | 26.25 | 74
62068 | 2021-04-02 14:56 | 34.9955 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 140.461 | μmol/L | 34.0614 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.303 | 138735.0788 | 272760.6883 | 26.25 | 74
62078 | 2021-04-02 14:57 | 35.3286 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 140.8861 | μmol/L | 33.9451 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.312 | 138787.0486 | 272730.2491 | 26.25 | 74
62088 | 2021-04-02 14:57 | 35.6621 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 140.6784 | μmol/L | 33.9879 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.313 | 138799.6011 | 272721.4886 | 26.25 | 74
62098 | 2021-04-02 14:57 | 35.9948 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 140.631 | μmol/L | 33.9879 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.317 | 138829.4175 | 272693.8694 | 26.25 | 74
62109 | 2021-04-02 14:58 | 36.3284 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 140.3202 | μmol/L | 34.043 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.322 | 138835.3745 | 272677.0471 | 26.25 | 74
62118 | 2021-04-02 14:58 | 36.6615 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 140.5116 | μmol/L | 34.0063 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.32 | 138834.4576 | 272673.4312 | 26.25 | 74
62128 | 2021-04-02 14:58 | 36.9951 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 140.489 | μmol/L | 33.9879 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.329 | 138876.4046 | 272656.2243 | 26.25 | 74
62138 | 2021-04-02 14:59 | 37.3285 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 140.5094 | μmol/L | 33.9757 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.332 | 138895.1332 | 272636.1302 | 26.25 | 74
62148 | 2021-04-02 14:59 | 37.6615 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 140.5761 | μmol/L | 33.9818 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.324 | 138838.7074 | 272624.7639 | 26.25 | 74
62158 | 2021-04-02 14:59 | 37.9952 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 140.7353 | μmol/L | 33.9573 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.32 | 138832.708 | 272604.1066 | 26.25 | 74
62168 | 2021-04-02 15:00 | 38.3286 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 140.9803 | μmol/L | 33.8778 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.33 | 138867.7546 | 272589.2421 | 26.25 | 74
62178 | 2021-04-02 15:00 | 38.6617 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 140.3632 | μmol/L | 33.9818 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.342 | 138954.2818 | 272583.0062 | 26.25 | 74
62188 | 2021-04-02 15:00 | 38.9953 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 140.3471 | μmol/L | 33.9879 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.341 | 138986.0033 | 272562.9682 | 26.25 | 74
62198 | 2021-04-02 15:01 | 39.3281 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 140.2891 | μmol/L | 33.9696 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.353 | 139045.0069 | 272546.5877 | 26.25 | 74
62208 | 2021-04-02 15:01 | 39.6622 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 139.6066 | μmol/L | 34.0858 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.366 | 139138.6523 | 272536.911 | 26.25 | 74
62218 | 2021-04-02 15:01 | 39.995 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 139.1014 | μmol/L | 34.1532 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.383 | 139262.5434 | 272511.644 | 26.25 | 74
62228 | 2021-04-02 15:02 | 40.3286 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 138.8195 | μmol/L | 34.1715 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.4 | 139371.2129 | 272501.0957 | 26.25 | 74
62238 | 2021-04-02 15:02 | 40.6621 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 138.5702 | μmol/L | 34.1776 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.419 | 139473.5248 | 272489.4581 | 26.25 | 74
62248 | 2021-04-02 15:02 | 40.9951 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 139.1472 | μmol/L | 34.0063 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.436 | 139597.5442 | 272475.7666 | 26.25 | 74
62258 | 2021-04-02 15:03 | 41.3283 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 139.3559 | μmol/L | 33.9757 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.43 | 139543.6824 | 272455.5548 | 26.25 | 74