## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-02 15:16

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
61021 | 2021-04-02 14:21 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 147.2592 | μmol/L | 33.9221 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.7 | 149574.0308 | 274715.7835 | 32.55 | 27.7
61031 | 2021-04-02 14:22 | 0.33358 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 147.255 | μmol/L | 33.9098 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.705 | 149555.6524 | 274678.2152 | 32.55 | 27.7
61041 | 2021-04-02 14:22 | 0.66724 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 147.2925 | μmol/L | 33.8914 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.709 | 149543.4677 | 274627.7531 | 32.55 | 27.7
61051 | 2021-04-02 14:22 | 0.99998 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 147.1754 | μmol/L | 33.8975 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.716 | 149549.2819 | 274584.6188 | 32.55 | 27.7
61061 | 2021-04-02 14:23 | 1.3336 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 147.188 | μmol/L | 33.8975 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.715 | 149531.3628 | 274554.0294 | 32.55 | 27.7
61071 | 2021-04-02 14:23 | 1.6674 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 146.9874 | μmol/L | 33.9159 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.724 | 149535.6079 | 274524.062 | 32.55 | 27.7
61081 | 2021-04-02 14:23 | 2 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 146.9665 | μmol/L | 33.8914 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.735 | 149544.0779 | 274479.9791 | 32.55 | 27.7
61091 | 2021-04-02 14:24 | 2.3338 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 146.7955 | μmol/L | 33.9036 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.744 | 149570.1153 | 274448.7943 | 32.55 | 27.7
61101 | 2021-04-02 14:24 | 2.6666 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 146.6538 | μmol/L | 33.9098 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.753 | 149636.8355 | 274434.7983 | 32.55 | 27.7
61111 | 2021-04-02 14:24 | 3.0003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 146.4251 | μmol/L | 33.8975 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.776 | 149700.8552 | 274395.5496 | 32.55 | 27.7
61121 | 2021-04-02 14:25 | 3.3341 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 146.3545 | μmol/L | 33.8914 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.784 | 149767.1306 | 274364.2741 | 32.55 | 27.7
61131 | 2021-04-02 14:25 | 3.6669 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 146.176 | μmol/L | 33.8975 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.796 | 149836.7226 | 274334.6036 | 32.55 | 27.7
61141 | 2021-04-02 14:25 | 4.0005 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 146.0931 | μmol/L | 33.9098 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.798 | 149829.5557 | 274322.0311 | 32.55 | 27.7
61151 | 2021-04-02 14:26 | 4.3335 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 145.8816 | μmol/L | 33.9466 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.801 | 149804.0481 | 274281.2903 | 32.55 | 27.7
61161 | 2021-04-02 14:26 | 4.6672 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 145.9396 | μmol/L | 33.9344 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.801 | 149780.1095 | 274259.7362 | 32.55 | 27.7
61171 | 2021-04-02 14:26 | 5.0007 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 146.1222 | μmol/L | 33.8852 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.805 | 149766.7564 | 274242.8264 | 32.55 | 27.7
61181 | 2021-04-02 14:27 | 5.3336 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 146.1222 | μmol/L | 33.8852 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.805 | 149713.3443 | 274195.5573 | 32.55 | 27.7
61191 | 2021-04-02 14:27 | 5.6672 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 146.1305 | μmol/L | 33.8729 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.809 | 149694.523 | 274178.0202 | 32.55 | 27.7
61201 | 2021-04-02 14:27 | 5.9999 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 146.1803 | μmol/L | 33.8545 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.812 | 149691.2446 | 274156.2536 | 32.55 | 27.7
61211 | 2021-04-02 14:28 | 6.3336 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 145.8904 | μmol/L | 33.8791 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.826 | 149780.3771 | 274134.3907 | 32.55 | 27.7
61221 | 2021-04-02 14:28 | 6.6672 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 145.6258 | μmol/L | 33.9036 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.838 | 149870.5365 | 274109.4749 | 32.55 | 27.7
61231 | 2021-04-02 14:28 | 7 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 145.4031 | μmol/L | 33.9036 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.856 | 149962.5426 | 274102.5684 | 32.55 | 27.7
61241 | 2021-04-02 14:29 | 7.3336 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 145.3539 | μmol/L | 33.8852 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.867 | 149999.3897 | 274068.3184 | 32.55 | 27.7
61251 | 2021-04-02 14:29 | 7.6673 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 145.2714 | μmol/L | 33.8975 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.869 | 150002.8853 | 274037.3611 | 32.55 | 27.7
61261 | 2021-04-02 14:29 | 8.0002 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 144.9627 | μmol/L | 33.9344 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.88 | 150049.6827 | 274020.1117 | 32.55 | 27.7
61271 | 2021-04-02 14:30 | 8.3338 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 145.0371 | μmol/L | 33.8975 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.888 | 150070.9476 | 274000.5963 | 32.55 | 27.7
61281 | 2021-04-02 14:30 | 8.6668 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 145.3009 | μmol/L | 33.8176 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.897 | 150110.7363 | 273990.1867 | 32.55 | 27.7
61291 | 2021-04-02 14:30 | 9.0004 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 145.1899 | μmol/L | 33.8176 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.906 | 150144.5249 | 273952.1052 | 32.55 | 27.7
61301 | 2021-04-02 14:31 | 9.3333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 144.59 | μmol/L | 33.9221 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.915 | 150199.9442 | 273945.0615 | 32.55 | 27.7
61311 | 2021-04-02 14:31 | 9.6669 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 144.3976 | μmol/L | 33.9344 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.926 | 150249.1498 | 273917.9632 | 32.55 | 27.7
61321 | 2021-04-02 14:31 | 10.0006 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 144.427 | μmol/L | 33.8914 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.94 | 150343.7558 | 273899.0989 | 32.55 | 27.7
61331 | 2021-04-02 14:32 | 10.3335 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 144.0756 | μmol/L | 33.9221 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.957 | 150426.2703 | 273865.0534 | 32.55 | 27.7
61341 | 2021-04-02 14:32 | 10.6672 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 143.8919 | μmol/L | 33.9405 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.965 | 150450.9518 | 273844.9338 | 32.55 | 27.7
61351 | 2021-04-02 14:32 | 11 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 143.5095 | μmol/L | 33.9651 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.987 | 150566.1543 | 273830.8505 | 32.55 | 27.7
61361 | 2021-04-02 14:33 | 11.3338 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 143.2452 | μmol/L | 33.9958 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.997 | 150638.6607 | 273812.1962 | 32.55 | 27.7
61371 | 2021-04-02 14:33 | 11.6674 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 143.1615 | μmol/L | 33.9589 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.018 | 150755.8779 | 273789.7458 | 32.55 | 27.7
61381 | 2021-04-02 14:33 | 12.0001 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 142.9221 | μmol/L | 33.9896 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.026 | 150821.1374 | 273761.6154 | 32.55 | 27.7
61391 | 2021-04-02 14:34 | 12.3337 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 142.858 | μmol/L | 33.9774 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.036 | 150844.9764 | 273751.9732 | 32.55 | 27.7
61401 | 2021-04-02 14:34 | 12.6666 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 142.7009 | μmol/L | 33.9774 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.049 | 150903.2209 | 273710.1424 | 32.55 | 27.7
61411 | 2021-04-02 14:34 | 13.0003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 142.7179 | μmol/L | 33.9528 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.057 | 150965.2249 | 273698.5101 | 32.55 | 27.7
61421 | 2021-04-02 14:35 | 13.334 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 142.5929 | μmol/L | 33.9589 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.065 | 150988.125 | 273694.2569 | 32.55 | 27.7
61431 | 2021-04-02 14:35 | 13.6669 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 142.4879 | μmol/L | 33.9712 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.069 | 151002.6134 | 273666.6471 | 32.55 | 27.7
61441 | 2021-04-02 14:35 | 14.0004 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 142.2178 | μmol/L | 33.9958 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.082 | 151060.524 | 273643.8286 | 32.55 | 27.7
61451 | 2021-04-02 14:36 | 14.3332 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 142.3106 | μmol/L | 33.9835 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.079 | 151047.8758 | 273633.8987 | 32.55 | 27.7
61461 | 2021-04-02 14:36 | 14.6669 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 142.1267 | μmol/L | 33.9712 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.099 | 151134.2297 | 273613.6825 | 32.55 | 27.7
61471 | 2021-04-02 14:36 | 15.0006 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 141.9937 | μmol/L | 33.9896 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.103 | 151134.8637 | 273589.92 | 32.55 | 27.7
61481 | 2021-04-02 14:37 | 15.3334 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 141.8729 | μmol/L | 34.0081 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.106 | 151151.8935 | 273585.9525 | 32.55 | 27.7
61491 | 2021-04-02 14:37 | 15.667 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 141.9782 | μmol/L | 33.9774 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.109 | 151164.3876 | 273573.2687 | 32.55 | 27.7
61501 | 2021-04-02 14:37 | 16 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 141.895 | μmol/L | 33.9589 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.123 | 151225.0842 | 273561.8562 | 32.55 | 27.7
61511 | 2021-04-02 14:38 | 16.3336 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 141.6708 | μmol/L | 33.9712 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.137 | 151287.3927 | 273538.3628 | 32.55 | 27.7
61521 | 2021-04-02 14:38 | 16.6672 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 141.699 | μmol/L | 33.9651 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.137 | 151282.1227 | 273511.3939 | 32.55 | 27.7
61531 | 2021-04-02 14:38 | 17.0002 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 141.5391 | μmol/L | 33.9712 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.148 | 151314.6371 | 273498.3854 | 32.55 | 27.7
61541 | 2021-04-02 14:39 | 17.3337 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 141.5442 | μmol/L | 33.9466 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.157 | 151363.2 | 273472.1022 | 32.55 | 27.7
61551 | 2021-04-02 14:39 | 17.6673 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 141.4043 | μmol/L | 33.9589 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.164 | 151409.1821 | 273482.5329 | 32.55 | 27.7
61561 | 2021-04-02 14:39 | 18.0002 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 141.3045 | μmol/L | 33.9651 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.17 | 151421.599 | 273439.6745 | 32.55 | 27.7
61571 | 2021-04-02 14:40 | 18.3333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 140.9917 | μmol/L | 34.0204 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.175 | 151414.6751 | 273430.1836 | 32.55 | 27.7
61581 | 2021-04-02 14:40 | 18.6669 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 141.1137 | μmol/L | 33.9651 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.186 | 151475.767 | 273404.6616 | 32.55 | 27.7
61591 | 2021-04-02 14:40 | 19.0005 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 141.2831 | μmol/L | 33.9098 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.193 | 151482.4785 | 273401.0836 | 32.55 | 27.7
61601 | 2021-04-02 14:41 | 19.3337 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 140.8994 | μmol/L | 33.9651 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.204 | 151547.8129 | 273377.7214 | 32.55 | 27.7
61611 | 2021-04-02 14:41 | 19.6674 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 140.733 | μmol/L | 33.9651 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.218 | 151589.2497 | 273363.8869 | 32.55 | 27.7
61621 | 2021-04-02 14:41 | 20.0001 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 140.9317 | μmol/L | 33.9528 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.206 | 151521.6786 | 273356.2697 | 32.55 | 27.7
61631 | 2021-04-02 14:42 | 20.3333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 141.0678 | μmol/L | 33.9282 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.204 | 151474.4801 | 273345.6827 | 32.55 | 27.7
61641 | 2021-04-02 14:42 | 20.6669 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 141.4524 | μmol/L | 33.8545 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.2 | 151457.0281 | 273316.5554 | 32.55 | 27.7
61651 | 2021-04-02 14:42 | 20.9999 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 141.2966 | μmol/L | 33.8729 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.206 | 151448.7415 | 273295.9695 | 32.55 | 27.7
61661 | 2021-04-02 14:43 | 21.3337 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 141.2447 | μmol/L | 33.8791 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.208 | 151438.7934 | 273277.2268 | 32.55 | 27.7
61671 | 2021-04-02 14:43 | 21.6667 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 141.0363 | μmol/L | 33.9221 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.209 | 151420.9977 | 273258.278 | 32.55 | 27.7
61681 | 2021-04-02 14:43 | 22.0003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 140.9198 | μmol/L | 33.9528 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.207 | 151389.0278 | 273243.6383 | 32.55 | 27.7
61691 | 2021-04-02 14:44 | 22.3339 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 140.7449 | μmol/L | 33.9651 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.217 | 151420.7579 | 273225.5813 | 32.55 | 27.7
61701 | 2021-04-02 14:44 | 22.667 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 140.639 | μmol/L | 33.9466 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.233 | 151489.8183 | 273201.4102 | 32.55 | 27.7
61711 | 2021-04-02 14:44 | 23.0005 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 140.4925 | μmol/L | 33.9528 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.243 | 151550.0165 | 273199.4359 | 32.55 | 27.7
61721 | 2021-04-02 14:45 | 23.3332 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 140.5451 | μmol/L | 33.9282 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.248 | 151575.4794 | 273190.0821 | 32.55 | 27.7
61731 | 2021-04-02 14:45 | 23.6672 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 140.4806 | μmol/L | 33.9528 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.244 | 151557.5204 | 273176.1316 | 32.55 | 27.7
61741 | 2021-04-02 14:45 | 24.0007 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 140.3031 | μmol/L | 33.9528 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.259 | 151594.8869 | 273153.6514 | 32.55 | 27.7
61751 | 2021-04-02 14:46 | 24.3336 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 140.4968 | μmol/L | 33.9466 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.245 | 151484.0809 | 273149.0368 | 32.55 | 27.7
61761 | 2021-04-02 14:46 | 24.6673 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 140.7527 | μmol/L | 33.8852 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.247 | 151474.4271 | 273122.1193 | 32.55 | 27.7
61771 | 2021-04-02 14:46 | 25.0002 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 140.501 | μmol/L | 33.9405 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.247 | 151476.2186 | 273094.0998 | 32.55 | 27.7
61781 | 2021-04-02 14:47 | 25.334 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 140.5511 | μmol/L | 33.8852 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.264 | 151551.845 | 273101.6241 | 32.55 | 27.7
61791 | 2021-04-02 14:47 | 25.6668 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 140.3371 | μmol/L | 33.9036 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.275 | 151601.393 | 273082.2147 | 32.55 | 27.7
61801 | 2021-04-02 14:47 | 26.0006 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 140.4251 | μmol/L | 33.8791 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.277 | 151628.8719 | 273065.8291 | 32.55 | 27.7
61811 | 2021-04-02 14:48 | 26.3334 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 140.5536 | μmol/L | 33.8299 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.285 | 151669.049 | 273046.9776 | 32.55 | 27.7
61821 | 2021-04-02 14:48 | 26.6669 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 140.2638 | μmol/L | 33.8729 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.293 | 151721.2235 | 273035.182 | 32.55 | 27.7
61831 | 2021-04-02 14:48 | 27.0006 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 140.2258 | μmol/L | 33.8422 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.308 | 151786.7172 | 273026.2279 | 32.55 | 27.7
61841 | 2021-04-02 14:49 | 27.3333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 140.155 | μmol/L | 33.8422 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.314 | 151797.938 | 273017.9702 | 32.55 | 27.7
61851 | 2021-04-02 14:49 | 27.6671 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 139.865 | μmol/L | 33.9036 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.315 | 151764.2715 | 272999.2871 | 32.55 | 27.7
61861 | 2021-04-02 14:49 | 28.0006 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 139.9678 | μmol/L | 33.8914 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.311 | 151731.7382 | 272980.3975 | 32.55 | 27.7
61871 | 2021-04-02 14:50 | 28.3333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 139.6682 | μmol/L | 33.9159 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.327 | 151831.8918 | 272972.518 | 32.55 | 27.7
61881 | 2021-04-02 14:50 | 28.6672 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 139.5314 | μmol/L | 33.9098 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.341 | 151927.3199 | 272968.9902 | 32.55 | 27.7
61891 | 2021-04-02 14:50 | 29.0007 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 139.3511 | μmol/L | 33.9159 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.354 | 151985.9232 | 272950.4965 | 32.55 | 27.7
61901 | 2021-04-02 14:51 | 29.3334 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 139.2637 | μmol/L | 33.9405 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.352 | 151989.9923 | 272941.1373 | 32.55 | 27.7
61911 | 2021-04-02 14:51 | 29.6669 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 139.2413 | μmol/L | 33.9221 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.361 | 152029.9683 | 272935.9415 | 32.55 | 27.7
61921 | 2021-04-02 14:51 | 30 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 139.1221 | μmol/L | 33.8914 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.383 | 152168.9095 | 272931.6004 | 32.55 | 27.7
61931 | 2021-04-02 14:52 | 30.3336 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 138.8744 | μmol/L | 33.9282 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.39 | 152236.357 | 272909.8702 | 32.55 | 27.7
61941 | 2021-04-02 14:52 | 30.6672 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 139.0976 | μmol/L | 33.8422 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.404 | 152279.4811 | 272891.9768 | 32.55 | 27.7
61951 | 2021-04-02 14:52 | 31 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 138.6889 | μmol/L | 33.9098 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.413 | 152371.8521 | 272879.5833 | 32.55 | 27.7
61961 | 2021-04-02 14:53 | 31.3338 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 138.3384 | μmol/L | 33.9282 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.436 | 152517.8685 | 272857.511 | 32.55 | 27.7
61971 | 2021-04-02 14:53 | 31.6673 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 138.0659 | μmol/L | 33.9528 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.45 | 152592.2524 | 272847.051 | 32.55 | 27.7
61981 | 2021-04-02 14:53 | 32.0002 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 137.7475 | μmol/L | 33.9774 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.468 | 152722.9174 | 272833.5623 | 32.55 | 27.7
61991 | 2021-04-02 14:54 | 32.3336 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 137.8684 | μmol/L | 33.9036 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.486 | 152818.4722 | 272822.9385 | 32.55 | 27.7
62001 | 2021-04-02 14:54 | 32.6671 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 137.352 | μmol/L | 33.9651 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.507 | 152960.884 | 272811.0357 | 32.55 | 27.7
62011 | 2021-04-02 14:54 | 32.9999 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 137.3807 | μmol/L | 33.9405 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.514 | 153003.8066 | 272804.9833 | 32.55 | 27.7
62021 | 2021-04-02 14:55 | 33.3337 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 137.4555 | μmol/L | 33.9159 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.517 | 153023.341 | 272784.0018 | 32.55 | 27.7
62031 | 2021-04-02 14:55 | 33.6672 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 137.1807 | μmol/L | 33.9466 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.529 | 153076.5675 | 272762.9497 | 32.55 | 27.7
62041 | 2021-04-02 14:55 | 34.0001 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 136.9766 | μmol/L | 33.9589 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.542 | 153184.0638 | 272770.723 | 32.55 | 27.7
62051 | 2021-04-02 14:56 | 34.3334 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 136.8776 | μmol/L | 33.9528 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.553 | 153234.0578 | 272742.5596 | 32.55 | 27.7
62061 | 2021-04-02 14:56 | 34.667 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 136.9091 | μmol/L | 33.9405 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.555 | 153272.5487 | 272737.7638 | 32.55 | 27.7
62071 | 2021-04-02 14:56 | 35.0006 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 136.8948 | μmol/L | 33.9282 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.561 | 153281.3109 | 272739.8329 | 32.55 | 27.7
62081 | 2021-04-02 14:57 | 35.3335 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 136.3707 | μmol/L | 33.9896 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.583 | 153397.392 | 272714.4783 | 32.55 | 27.7
62091 | 2021-04-02 14:57 | 35.6672 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 136.1609 | μmol/L | 33.9958 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.599 | 153489.6214 | 272709.474 | 32.55 | 27.7
62101 | 2021-04-02 14:57 | 36.0007 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 136.1908 | μmol/L | 34.0019 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.594 | 153467.2872 | 272683.4775 | 32.55 | 27.7
62111 | 2021-04-02 14:58 | 36.3337 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 136.2408 | μmol/L | 33.9958 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.592 | 153452.1931 | 272689.6629 | 32.55 | 27.7
62121 | 2021-04-02 14:58 | 36.6667 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 135.9656 | μmol/L | 34.0142 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.609 | 153558.0071 | 272675.8373 | 32.55 | 27.7
62131 | 2021-04-02 14:58 | 37.0003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 136.0029 | μmol/L | 33.9774 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.62 | 153616.2273 | 272654.3674 | 32.55 | 27.7
62141 | 2021-04-02 14:59 | 37.3337 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 136.3353 | μmol/L | 33.9098 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.617 | 153586.2729 | 272651.7677 | 32.55 | 27.7
62151 | 2021-04-02 14:59 | 37.6667 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 136.2654 | μmol/L | 33.9282 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.616 | 153567.9923 | 272628.0824 | 32.55 | 27.7
62161 | 2021-04-02 14:59 | 38.0002 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 135.9915 | μmol/L | 33.9774 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.621 | 153564.2263 | 272617.4543 | 32.55 | 27.7
62171 | 2021-04-02 15:00 | 38.3338 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 135.8122 | μmol/L | 33.9896 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.632 | 153673.7384 | 272616.6457 | 32.55 | 27.7
62181 | 2021-04-02 15:00 | 38.6668 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 135.6715 | μmol/L | 33.9958 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.642 | 153708.3782 | 272596.4834 | 32.55 | 27.7
62191 | 2021-04-02 15:00 | 39.0005 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 135.5834 | μmol/L | 34.0081 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.645 | 153686.0536 | 272581.9337 | 32.55 | 27.7
62201 | 2021-04-02 15:01 | 39.3334 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 135.6148 | μmol/L | 33.9958 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.647 | 153717.8943 | 272579.8733 | 32.55 | 27.7
62211 | 2021-04-02 15:01 | 39.6672 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 135.5089 | μmol/L | 33.9528 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.673 | 153865.7594 | 272577.8028 | 32.55 | 27.7
62221 | 2021-04-02 15:01 | 40.0001 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 135.4199 | μmol/L | 33.9344 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.688 | 153983.8658 | 272562.466 | 32.55 | 27.7
62231 | 2021-04-02 15:02 | 40.3336 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 135.2442 | μmol/L | 33.9589 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.694 | 153959.8967 | 272553.9204 | 32.55 | 27.7
62241 | 2021-04-02 15:02 | 40.6672 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 134.8777 | μmol/L | 34.0142 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.705 | 154025.4783 | 272543.7759 | 32.55 | 27.7
62251 | 2021-04-02 15:02 | 41.0003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 134.9315 | μmol/L | 34.0019 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.705 | 154048.433 | 272549.3217 | 32.55 | 27.7
62259 | 2021-04-02 15:03 | 41.3337 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 134.8794 | μmol/L | 33.9958 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.712 | 154100.0382 | 272531.661 | 32.55 | 27.7