## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-02 16:34

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
62265 | 2021-04-02 15:38 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.5503 | μmol/L | 33.9109 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.96 | 113705.0754 | 299426.4578 | 30.45 | 114.2
62275 | 2021-04-02 15:39 | 0.32876 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.6421 | μmol/L | 33.8739 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.967 | 113763.4373 | 299445.2976 | 30.45 | 114.2
62285 | 2021-04-02 15:39 | 0.66241 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.7863 | μmol/L | 33.8184 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.977 | 113844.4664 | 299437.4842 | 30.45 | 114.2
62295 | 2021-04-02 15:39 | 0.99608 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.493 | μmol/L | 33.8307 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.994 | 113909.7164 | 299451.6923 | 30.45 | 114.2
62305 | 2021-04-02 15:40 | 1.329 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.233 | μmol/L | 33.8554 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.004 | 113981.5612 | 299437.251 | 30.45 | 114.2
62315 | 2021-04-02 15:40 | 1.6627 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.5013 | μmol/L | 33.9418 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.026 | 114063.9242 | 299420.3078 | 30.45 | 114.2
62325 | 2021-04-02 15:40 | 1.9954 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.5213 | μmol/L | 33.9109 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.036 | 114147.7922 | 299427.1937 | 30.45 | 114.2
62335 | 2021-04-02 15:41 | 2.3293 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.3541 | μmol/L | 33.8986 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.053 | 114235.3188 | 299412.6755 | 30.45 | 114.2
62345 | 2021-04-02 15:41 | 2.6628 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 153.9885 | μmol/L | 33.9233 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.071 | 114337.8735 | 299414.1007 | 30.45 | 114.2
62355 | 2021-04-02 15:41 | 2.9955 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 153.818 | μmol/L | 33.9171 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.086 | 114430.3425 | 299412.0654 | 30.45 | 114.2
62365 | 2021-04-02 15:42 | 3.3291 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 153.5033 | μmol/L | 33.948 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.098 | 114510.4554 | 299411.8125 | 30.45 | 114.2
62375 | 2021-04-02 15:42 | 3.6627 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 153.2947 | μmol/L | 33.9603 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.109 | 114571.4025 | 299406.8456 | 30.45 | 114.2
62385 | 2021-04-02 15:42 | 3.9954 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 153.3496 | μmol/L | 33.9171 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.121 | 114634.8748 | 299418.8645 | 30.45 | 114.2
62395 | 2021-04-02 15:43 | 4.329 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 153.1707 | μmol/L | 33.9048 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.139 | 114721.1161 | 299394.5229 | 30.45 | 114.2
62405 | 2021-04-02 15:43 | 4.6625 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 152.7563 | μmol/L | 33.948 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.154 | 114817.8063 | 299395.678 | 30.45 | 114.2
62415 | 2021-04-02 15:43 | 4.9961 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 152.5264 | μmol/L | 33.9541 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.169 | 114908.2571 | 299388.646 | 30.45 | 114.2
62425 | 2021-04-02 15:44 | 5.3289 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 152.1838 | μmol/L | 33.9912 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.181 | 114991.5759 | 299377.3084 | 30.45 | 114.2
62435 | 2021-04-02 15:44 | 5.6624 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 152.1868 | μmol/L | 33.9665 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.19 | 115028.534 | 299362.9452 | 30.45 | 114.2
62445 | 2021-04-02 15:44 | 5.9959 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 152.0637 | μmol/L | 33.9726 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.197 | 115077.0704 | 299382.0604 | 30.45 | 114.2
62455 | 2021-04-02 15:45 | 6.3295 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 152.0545 | μmol/L | 33.9665 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.2 | 115109.7809 | 299372.655 | 30.45 | 114.2
62465 | 2021-04-02 15:45 | 6.6623 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 151.9924 | μmol/L | 33.9603 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.207 | 115123.0021 | 299340.0544 | 30.45 | 114.2
62475 | 2021-04-02 15:45 | 6.996 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 151.8481 | μmol/L | 33.9788 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.211 | 115156.8398 | 299356.5659 | 30.45 | 114.2
62485 | 2021-04-02 15:46 | 7.3287 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 151.8237 | μmol/L | 33.9356 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.229 | 115236.0271 | 299357.4481 | 30.45 | 114.2
62495 | 2021-04-02 15:46 | 7.6623 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 151.6837 | μmol/L | 33.948 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.235 | 115296.8948 | 299359.0148 | 30.45 | 114.2
62505 | 2021-04-02 15:46 | 7.9959 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 151.3746 | μmol/L | 33.9973 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.24 | 115321.7888 | 299350.7851 | 30.45 | 114.2
62515 | 2021-04-02 15:47 | 8.3294 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 151.3523 | μmol/L | 33.9912 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.244 | 115349.0538 | 299335.7872 | 30.45 | 114.2
62525 | 2021-04-02 15:47 | 8.6621 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 151.6168 | μmol/L | 33.9294 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.247 | 115347.865 | 299332.4799 | 30.45 | 114.2
62535 | 2021-04-02 15:47 | 8.9957 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 151.5205 | μmol/L | 33.9356 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.252 | 115345.3695 | 299342.9285 | 30.45 | 114.2
62545 | 2021-04-02 15:48 | 9.3292 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 151.5469 | μmol/L | 33.9356 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.25 | 115350.4515 | 299335.3651 | 30.45 | 114.2
62555 | 2021-04-02 15:48 | 9.6629 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 151.1774 | μmol/L | 33.9973 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.255 | 115375.4719 | 299327.1781 | 30.45 | 114.2
62565 | 2021-04-02 15:48 | 9.9955 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 151.2159 | μmol/L | 33.9788 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.259 | 115391.7645 | 299329.0668 | 30.45 | 114.2
62575 | 2021-04-02 15:49 | 10.3291 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 151.2413 | μmol/L | 33.9603 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.264 | 115414.7363 | 299321.0657 | 30.45 | 114.2
62585 | 2021-04-02 15:49 | 10.6628 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 151.3353 | μmol/L | 33.9171 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.273 | 115428.6992 | 299307.6443 | 30.45 | 114.2
62595 | 2021-04-02 15:49 | 10.9956 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 151.4212 | μmol/L | 33.8863 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.278 | 115485.8694 | 299313.1106 | 30.45 | 114.2
62605 | 2021-04-02 15:50 | 11.3293 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 151.0868 | μmol/L | 33.9356 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.285 | 115517.966 | 299312.6305 | 30.45 | 114.2
62615 | 2021-04-02 15:50 | 11.6628 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 151.2858 | μmol/L | 33.8924 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.286 | 115538.4256 | 299319.2441 | 30.45 | 114.2
62625 | 2021-04-02 15:50 | 11.9955 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 151.0021 | μmol/L | 33.9048 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.303 | 115597.7996 | 299295.0392 | 30.45 | 114.2
62635 | 2021-04-02 15:51 | 12.3292 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.4888 | μmol/L | 33.9294 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.333 | 115744.7961 | 299306.7946 | 30.45 | 114.2
62645 | 2021-04-02 15:51 | 12.6628 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.5451 | μmol/L | 33.9233 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.331 | 115766.2344 | 299299.8915 | 30.45 | 114.2
62655 | 2021-04-02 15:51 | 12.9955 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.6528 | μmol/L | 33.8986 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.332 | 115751.4851 | 299292.1945 | 30.45 | 114.2
62665 | 2021-04-02 15:52 | 13.3291 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.9688 | μmol/L | 33.8554 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.324 | 115727.3221 | 299289.1105 | 30.45 | 114.2
62675 | 2021-04-02 15:52 | 13.6629 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 151.0464 | μmol/L | 33.8369 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.325 | 115728.5433 | 299288.6246 | 30.45 | 114.2
62685 | 2021-04-02 15:52 | 13.9955 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.8077 | μmol/L | 33.8616 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.334 | 115753.6259 | 299285.7311 | 30.45 | 114.2
62695 | 2021-04-02 15:53 | 14.3291 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.6599 | μmol/L | 33.8677 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.343 | 115800.547 | 299285.7838 | 30.45 | 114.2
62705 | 2021-04-02 15:53 | 14.6621 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.5252 | μmol/L | 33.8739 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.351 | 115878.6563 | 299281.5445 | 30.45 | 114.2
62715 | 2021-04-02 15:53 | 14.9957 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.4159 | μmol/L | 33.8616 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.364 | 115938.1705 | 299279.3771 | 30.45 | 114.2
62725 | 2021-04-02 15:54 | 15.329 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.1351 | μmol/L | 33.8924 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.374 | 115962.4233 | 299280.2258 | 30.45 | 114.2
62735 | 2021-04-02 15:54 | 15.6623 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.1351 | μmol/L | 33.8924 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.374 | 115980.3966 | 299281.5902 | 30.45 | 114.2
62745 | 2021-04-02 15:54 | 15.9959 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 149.9669 | μmol/L | 33.9109 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.38 | 116028.4175 | 299277.0025 | 30.45 | 114.2
62755 | 2021-04-02 15:55 | 16.3288 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 149.8621 | μmol/L | 33.8924 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.395 | 116090.6927 | 299266.6375 | 30.45 | 114.2
62765 | 2021-04-02 15:55 | 16.6625 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 149.9943 | μmol/L | 33.8492 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.401 | 116140.5265 | 299271.7186 | 30.45 | 114.2
62775 | 2021-04-02 15:55 | 16.9962 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 149.6456 | μmol/L | 33.8863 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.414 | 116214.2327 | 299267.6055 | 30.45 | 114.2
62785 | 2021-04-02 15:56 | 17.3292 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 149.648 | μmol/L | 33.8431 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.43 | 116317.1003 | 299271.7565 | 30.45 | 114.2
62795 | 2021-04-02 15:56 | 17.6621 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 149.3131 | μmol/L | 33.8801 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.442 | 116375.8683 | 299263.6943 | 30.45 | 114.2
62805 | 2021-04-02 15:56 | 17.9961 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 149.2477 | μmol/L | 33.8616 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.454 | 116442.165 | 299262.015 | 30.45 | 114.2
62815 | 2021-04-02 15:57 | 18.329 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 149.0759 | μmol/L | 33.8677 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.465 | 116521.761 | 299258.3898 | 30.45 | 114.2
62825 | 2021-04-02 15:57 | 18.6627 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 148.8744 | μmol/L | 33.8801 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.476 | 116580.3771 | 299260.221 | 30.45 | 114.2
62835 | 2021-04-02 15:57 | 18.9956 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 148.5798 | μmol/L | 33.9171 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.485 | 116644.2001 | 299265.0344 | 30.45 | 114.2
62845 | 2021-04-02 15:58 | 19.3292 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 148.5833 | μmol/L | 33.8924 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.494 | 116681.6327 | 299261.5478 | 30.45 | 114.2
62855 | 2021-04-02 15:58 | 19.6621 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 148.778 | μmol/L | 33.8307 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.502 | 116737.9645 | 299245.8488 | 30.45 | 114.2
62865 | 2021-04-02 15:58 | 19.9958 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 148.9002 | μmol/L | 33.7813 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.511 | 116784.259 | 299259.1523 | 30.45 | 114.2
62875 | 2021-04-02 15:59 | 20.3291 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 148.5384 | μmol/L | 33.8307 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.52 | 116839.1031 | 299235.1847 | 30.45 | 114.2
62885 | 2021-04-02 15:59 | 20.6627 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 148.2362 | μmol/L | 33.8739 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.528 | 116900.4057 | 299242.5026 | 30.45 | 114.2
62895 | 2021-04-02 15:59 | 20.9956 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 148.011 | μmol/L | 33.9048 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.534 | 116932.6462 | 299241.1969 | 30.45 | 114.2
62905 | 2021-04-02 16:00 | 21.3295 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 147.7943 | μmol/L | 33.9233 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.544 | 116978.5098 | 299251.1978 | 30.45 | 114.2
62915 | 2021-04-02 16:00 | 21.6621 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 147.6707 | μmol/L | 33.9171 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.556 | 117046.991 | 299239.5025 | 30.45 | 114.2
62925 | 2021-04-02 16:00 | 21.9957 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 147.7335 | μmol/L | 33.8801 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.565 | 117121.0605 | 299233.2851 | 30.45 | 114.2
62935 | 2021-04-02 16:01 | 22.3295 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 147.6946 | μmol/L | 33.8616 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.575 | 117162.6836 | 299233.7098 | 30.45 | 114.2
62945 | 2021-04-02 16:01 | 22.6623 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 147.246 | μmol/L | 33.9048 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.594 | 117264.048 | 299237.9315 | 30.45 | 114.2
62955 | 2021-04-02 16:01 | 22.9957 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 147.0223 | μmol/L | 33.9233 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.604 | 117371.8166 | 299234.4719 | 30.45 | 114.2
62965 | 2021-04-02 16:02 | 23.3294 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 146.7602 | μmol/L | 33.9294 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.623 | 117448.1852 | 299226.7706 | 30.45 | 114.2
62975 | 2021-04-02 16:02 | 23.6622 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 146.6845 | μmol/L | 33.948 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.622 | 117480.0081 | 299226.8267 | 30.45 | 114.2
62985 | 2021-04-02 16:02 | 23.9958 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 146.5328 | μmol/L | 33.948 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.634 | 117516.2401 | 299220.7913 | 30.45 | 114.2
62995 | 2021-04-02 16:03 | 24.3295 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 146.3392 | μmol/L | 33.9541 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.647 | 117591.4609 | 299227.8439 | 30.45 | 114.2
63005 | 2021-04-02 16:03 | 24.6625 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 146.1251 | μmol/L | 33.9726 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.657 | 117687.0519 | 299219.8062 | 30.45 | 114.2
63015 | 2021-04-02 16:03 | 24.9954 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 146.066 | μmol/L | 33.948 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.671 | 117764.8088 | 299245.0825 | 30.45 | 114.2
63025 | 2021-04-02 16:04 | 25.3291 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 145.7144 | μmol/L | 34.0035 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.678 | 117815.7214 | 299242.6153 | 30.45 | 114.2
63035 | 2021-04-02 16:04 | 25.6623 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 145.5261 | μmol/L | 34.0035 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.693 | 117908.2661 | 299227.3808 | 30.45 | 114.2
63045 | 2021-04-02 16:04 | 25.9959 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 145.4383 | μmol/L | 33.985 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.707 | 118001.9818 | 299240.6893 | 30.45 | 114.2
63055 | 2021-04-02 16:05 | 26.3295 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 145.3005 | μmol/L | 33.9665 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.725 | 118086.954 | 299228.4196 | 30.45 | 114.2
63065 | 2021-04-02 16:05 | 26.6627 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 145.1674 | μmol/L | 33.985 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.728 | 118130.8952 | 299224.853 | 30.45 | 114.2
63075 | 2021-04-02 16:05 | 26.9954 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 145.3044 | μmol/L | 33.9233 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.741 | 118185.0202 | 299237.0302 | 30.45 | 114.2
63085 | 2021-04-02 16:06 | 27.3291 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 145.1838 | μmol/L | 33.9233 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.75 | 118236.0059 | 299214.7929 | 30.45 | 114.2
63095 | 2021-04-02 16:06 | 27.6629 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 145.1547 | μmol/L | 33.9294 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.75 | 118261.7954 | 299225.5339 | 30.45 | 114.2
63105 | 2021-04-02 16:06 | 27.9957 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 145.0838 | μmol/L | 33.9541 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.747 | 118240.5676 | 299230.5867 | 30.45 | 114.2
63115 | 2021-04-02 16:07 | 28.3295 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 145.2463 | μmol/L | 33.9233 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.745 | 118229.827 | 299222.0499 | 30.45 | 114.2
63125 | 2021-04-02 16:07 | 28.6622 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 144.9426 | μmol/L | 33.985 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.746 | 118238.0079 | 299217.9856 | 30.45 | 114.2
63135 | 2021-04-02 16:07 | 28.9959 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 144.9592 | μmol/L | 33.9788 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.747 | 118246.3865 | 299219.9887 | 30.45 | 114.2
63145 | 2021-04-02 16:08 | 29.3294 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 145.0341 | μmol/L | 33.9603 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.748 | 118231.9842 | 299214.1461 | 30.45 | 114.2
63155 | 2021-04-02 16:08 | 29.6626 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 144.8925 | μmol/L | 33.9973 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.746 | 118221.6658 | 299209.0644 | 30.45 | 114.2
63165 | 2021-04-02 16:08 | 29.9962 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 144.9634 | μmol/L | 33.9726 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.749 | 118253.3993 | 299211.5635 | 30.45 | 114.2
63175 | 2021-04-02 16:09 | 30.329 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 145.1795 | μmol/L | 33.9109 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.755 | 118300.8489 | 299210.6354 | 30.45 | 114.2
63185 | 2021-04-02 16:09 | 30.6621 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 144.8304 | μmol/L | 33.9665 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.762 | 118328.1025 | 299211.2375 | 30.45 | 114.2
63195 | 2021-04-02 16:09 | 30.9957 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 144.739 | μmol/L | 33.9726 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.767 | 118355.4699 | 299206.576 | 30.45 | 114.2
63205 | 2021-04-02 16:10 | 31.3293 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 144.7888 | μmol/L | 33.9356 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.777 | 118400.1418 | 299209.4624 | 30.45 | 114.2
63215 | 2021-04-02 16:10 | 31.6622 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 144.5565 | μmol/L | 33.9665 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.784 | 118434.6839 | 299209.3967 | 30.45 | 114.2
63225 | 2021-04-02 16:10 | 31.9961 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 144.5648 | μmol/L | 33.9541 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.788 | 118459.5264 | 299228.0968 | 30.45 | 114.2
63235 | 2021-04-02 16:11 | 32.3291 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 144.4612 | μmol/L | 33.9788 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.787 | 118457.4373 | 299211.6299 | 30.45 | 114.2
63245 | 2021-04-02 16:11 | 32.6626 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 144.4985 | μmol/L | 33.9418 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.798 | 118511.4126 | 299206.8055 | 30.45 | 114.2
63255 | 2021-04-02 16:11 | 32.9957 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 144.2708 | μmol/L | 33.9665 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.807 | 118582.3509 | 299214.0642 | 30.45 | 114.2
63265 | 2021-04-02 16:12 | 33.3292 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 144.3867 | μmol/L | 33.9233 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.814 | 118639.5493 | 299222.4095 | 30.45 | 114.2
63275 | 2021-04-02 16:12 | 33.6628 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 144.0229 | μmol/L | 33.985 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.82 | 118667.844 | 299217.1716 | 30.45 | 114.2
63285 | 2021-04-02 16:12 | 33.9958 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 144.1139 | μmol/L | 33.9418 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.829 | 118703.3228 | 299220.2997 | 30.45 | 114.2
63295 | 2021-04-02 16:13 | 34.3287 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 144.18 | μmol/L | 33.9171 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.833 | 118707.2908 | 299213.7482 | 30.45 | 114.2
63305 | 2021-04-02 16:13 | 34.6625 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 144.2172 | μmol/L | 33.9171 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.83 | 118701.7444 | 299208.4404 | 30.45 | 114.2
63315 | 2021-04-02 16:13 | 34.9961 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 144.4775 | μmol/L | 33.8616 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.83 | 118711.9123 | 299210.1948 | 30.45 | 114.2
63325 | 2021-04-02 16:14 | 35.3288 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 144.1593 | μmol/L | 33.9109 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.837 | 118746.5187 | 299204.7734 | 30.45 | 114.2
63335 | 2021-04-02 16:14 | 35.6626 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.9117 | μmol/L | 33.948 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.843 | 118769.409 | 299208.0715 | 30.45 | 114.2
63345 | 2021-04-02 16:14 | 35.9962 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.9611 | μmol/L | 33.9048 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.856 | 118834.3253 | 299212.3192 | 30.45 | 114.2
63355 | 2021-04-02 16:15 | 36.3293 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.8951 | μmol/L | 33.8924 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.866 | 118900.5417 | 299201.6997 | 30.45 | 114.2
63365 | 2021-04-02 16:15 | 36.6622 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.9282 | μmol/L | 33.8492 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.879 | 118967.3324 | 299205.6348 | 30.45 | 114.2
63375 | 2021-04-02 16:15 | 36.9959 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.5087 | μmol/L | 33.9048 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.892 | 119059.5011 | 299203.3099 | 30.45 | 114.2
63385 | 2021-04-02 16:16 | 37.329 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.7385 | μmol/L | 33.7813 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.92 | 119169.6571 | 299206.2662 | 30.45 | 114.2
63395 | 2021-04-02 16:16 | 37.6625 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.0169 | μmol/L | 33.9048 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.932 | 119263.1433 | 299205.6679 | 30.45 | 114.2
63405 | 2021-04-02 16:16 | 37.9955 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.0211 | μmol/L | 33.8801 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.941 | 119314.4123 | 299202.2731 | 30.45 | 114.2
63415 | 2021-04-02 16:17 | 38.3293 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 142.9843 | μmol/L | 33.8801 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.944 | 119372.7209 | 299203.3026 | 30.45 | 114.2
63425 | 2021-04-02 16:17 | 38.662 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 142.8905 | μmol/L | 33.8554 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.961 | 119444.6626 | 299197.7707 | 30.45 | 114.2
63435 | 2021-04-02 16:17 | 38.9956 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 142.3928 | μmol/L | 33.9048 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.983 | 119548.7786 | 299200.777 | 30.45 | 114.2
63445 | 2021-04-02 16:18 | 39.3294 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 142.3645 | μmol/L | 33.8924 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.99 | 119616.5388 | 299195.8071 | 30.45 | 114.2
63455 | 2021-04-02 16:18 | 39.6624 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 142.3849 | μmol/L | 33.8554 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.003 | 119702.279 | 299210.6581 | 30.45 | 114.2
63465 | 2021-04-02 16:18 | 39.996 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 142.1047 | μmol/L | 33.8801 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.016 | 119772.1144 | 299218.5115 | 30.45 | 114.2
63475 | 2021-04-02 16:19 | 40.3295 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 141.9181 | μmol/L | 33.8863 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.029 | 119856.9483 | 299221.4937 | 30.45 | 114.2
63485 | 2021-04-02 16:19 | 40.6624 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 141.5496 | μmol/L | 33.9109 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.05 | 119970.4021 | 299214.3854 | 30.45 | 114.2
63495 | 2021-04-02 16:19 | 40.9961 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 141.5623 | μmol/L | 33.8739 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.063 | 120080.0701 | 299219.247 | 30.45 | 114.2
63505 | 2021-04-02 16:20 | 41.329 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 141.2391 | μmol/L | 33.9048 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.078 | 120141.1022 | 299210.3201 | 30.45 | 114.2
63515 | 2021-04-02 16:20 | 41.6628 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 141.2232 | μmol/L | 33.8924 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.084 | 120179.3817 | 299222.8728 | 30.45 | 114.2
63525 | 2021-04-02 16:20 | 41.9956 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 141.0783 | μmol/L | 33.8924 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.096 | 120248.0028 | 299216.928 | 30.45 | 114.2
63535 | 2021-04-02 16:21 | 42.3293 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 140.9215 | μmol/L | 33.8924 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.109 | 120319.9417 | 299223.3871 | 30.45 | 114.2
63545 | 2021-04-02 16:21 | 42.6622 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 141.0427 | μmol/L | 33.8492 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.116 | 120359.9154 | 299220.0571 | 30.45 | 114.2
63555 | 2021-04-02 16:21 | 42.996 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 140.6683 | μmol/L | 33.9109 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.123 | 120416.9725 | 299213.9693 | 30.45 | 114.2
63565 | 2021-04-02 16:22 | 43.3295 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 140.5315 | μmol/L | 33.9294 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.128 | 120462.6139 | 299210.4052 | 30.45 | 114.2
63575 | 2021-04-02 16:22 | 43.6627 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 140.3994 | μmol/L | 33.9356 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.136 | 120517.1599 | 299217.5532 | 30.45 | 114.2
63585 | 2021-04-02 16:22 | 43.9957 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 140.2153 | μmol/L | 33.9356 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.152 | 120574.9719 | 299214.7481 | 30.45 | 114.2
63595 | 2021-04-02 16:23 | 44.3292 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 140.2523 | μmol/L | 33.9048 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.16 | 120636.4334 | 299219.425 | 30.45 | 114.2
63605 | 2021-04-02 16:23 | 44.6621 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.8522 | μmol/L | 33.948 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.177 | 120721.4455 | 299209.032 | 30.45 | 114.2
63615 | 2021-04-02 16:23 | 44.996 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.8575 | μmol/L | 33.9048 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.193 | 120836.4233 | 299215.5559 | 30.45 | 114.2
63625 | 2021-04-02 16:24 | 45.3289 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.5701 | μmol/L | 33.9418 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.203 | 120926.8722 | 299213.6921 | 30.45 | 114.2
63635 | 2021-04-02 16:24 | 45.6625 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.6754 | μmol/L | 33.8739 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.22 | 121006.1028 | 299223.4651 | 30.45 | 114.2
63645 | 2021-04-02 16:24 | 45.9955 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.3891 | μmol/L | 33.8924 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.237 | 121106.7904 | 299218.5968 | 30.45 | 114.2
63655 | 2021-04-02 16:25 | 46.3292 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.9158 | μmol/L | 33.9603 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.251 | 121208.5997 | 299222.4547 | 30.45 | 114.2
63665 | 2021-04-02 16:25 | 46.6626 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.6943 | μmol/L | 33.9726 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.265 | 121307.8437 | 299221.9236 | 30.45 | 114.2
63675 | 2021-04-02 16:25 | 46.9955 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.5052 | μmol/L | 33.9726 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.281 | 121381.0616 | 299226.2521 | 30.45 | 114.2
63685 | 2021-04-02 16:26 | 47.3294 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.4107 | μmol/L | 33.9726 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.289 | 121438.3333 | 299216.4663 | 30.45 | 114.2
63695 | 2021-04-02 16:26 | 47.6621 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.4991 | μmol/L | 33.9294 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.298 | 121487.4578 | 299220.7535 | 30.45 | 114.2
63705 | 2021-04-02 16:26 | 47.9956 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.2027 | μmol/L | 33.9665 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.309 | 121546.0223 | 299215.5645 | 30.45 | 114.2
63715 | 2021-04-02 16:27 | 48.3294 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.0892 | μmol/L | 33.9603 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.321 | 121646.7214 | 299212.3218 | 30.45 | 114.2
63725 | 2021-04-02 16:27 | 48.6628 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.7148 | μmol/L | 34.0097 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.334 | 121732.1831 | 299218.4082 | 30.45 | 114.2
63735 | 2021-04-02 16:27 | 48.9956 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.9808 | μmol/L | 33.9294 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.342 | 121769.9437 | 299212.1296 | 30.45 | 114.2
63745 | 2021-04-02 16:28 | 49.3293 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.9892 | μmol/L | 33.9171 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.346 | 121816.3251 | 299208.6274 | 30.45 | 114.2
63755 | 2021-04-02 16:28 | 49.6623 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.5919 | μmol/L | 33.9665 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.361 | 121888.8255 | 299204.4445 | 30.45 | 114.2
63765 | 2021-04-02 16:28 | 49.9959 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.4622 | μmol/L | 33.985 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.365 | 121912.1901 | 299211.1469 | 30.45 | 114.2
63775 | 2021-04-02 16:29 | 50.3288 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.3719 | μmol/L | 33.9973 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.368 | 121908.4966 | 299207.7544 | 30.45 | 114.2
63785 | 2021-04-02 16:29 | 50.6627 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.6472 | μmol/L | 33.9541 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.361 | 121887.3003 | 299196.5724 | 30.45 | 114.2
63795 | 2021-04-02 16:29 | 50.9962 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.2933 | μmol/L | 34.0097 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.37 | 121937.8766 | 299212.5031 | 30.45 | 114.2
63805 | 2021-04-02 16:30 | 51.3293 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.1637 | μmol/L | 34.0282 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.374 | 121973.1521 | 299207.1773 | 30.45 | 114.2
63815 | 2021-04-02 16:30 | 51.6624 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.1054 | μmol/L | 34.0282 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.379 | 121988.0549 | 299220.0509 | 30.45 | 114.2
63825 | 2021-04-02 16:30 | 51.9961 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.0046 | μmol/L | 34.022 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.39 | 122040.7968 | 299212.4726 | 30.45 | 114.2
63835 | 2021-04-02 16:31 | 52.3289 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 136.9548 | μmol/L | 34.0097 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.399 | 122116.2701 | 299214.6452 | 30.45 | 114.2
63845 | 2021-04-02 16:31 | 52.6622 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 136.96 | μmol/L | 33.985 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.408 | 122170.0615 | 299193.9867 | 30.45 | 114.2
63855 | 2021-04-02 16:31 | 52.9957 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 136.8827 | μmol/L | 33.9788 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.417 | 122238.8812 | 299206.6896 | 30.45 | 114.2
63865 | 2021-04-02 16:32 | 53.3294 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 136.5592 | μmol/L | 34.0097 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.433 | 122310.1565 | 299220.6211 | 30.45 | 114.2
63875 | 2021-04-02 16:32 | 53.6623 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 136.4516 | μmol/L | 33.9973 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.447 | 122386.8236 | 299201.8906 | 30.45 | 114.2
63885 | 2021-04-02 16:32 | 53.9959 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 136.1955 | μmol/L | 34.0158 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.462 | 122480.8119 | 299197.5864 | 30.45 | 114.2
63895 | 2021-04-02 16:33 | 54.3287 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 136.202 | μmol/L | 33.9726 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.478 | 122581.4304 | 299190.496 | 30.45 | 114.2
63905 | 2021-04-02 16:33 | 54.6624 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 136.1021 | μmol/L | 33.9665 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.489 | 122663.7871 | 299200.9755 | 30.45 | 114.2