## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-02 16:34

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
62266 | 2021-04-02 15:38 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 168.7649 | μmol/L | 33.8096 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.113 | 159893.182 | 295020.5839 | 59.9307 | 49.4
62276 | 2021-04-02 15:39 | 0.33549 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 169.0019 | μmol/L | 33.7663 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.113 | 159899.4744 | 295033.3878 | 59.9307 | 49.4
62286 | 2021-04-02 15:39 | 0.66927 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 168.7876 | μmol/L | 33.7973 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.116 | 159889.6355 | 295025.6092 | 59.9307 | 49.4
62296 | 2021-04-02 15:39 | 1.0023 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 168.5473 | μmol/L | 33.822 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.123 | 159923.8638 | 295014.0077 | 59.9307 | 49.4
62306 | 2021-04-02 15:40 | 1.3358 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 168.7164 | μmol/L | 33.7911 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.123 | 159953.8147 | 295011.0419 | 59.9307 | 49.4
62316 | 2021-04-02 15:40 | 1.6695 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 168.6826 | μmol/L | 33.7973 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.123 | 159953.2872 | 294992.2902 | 59.9307 | 49.4
62326 | 2021-04-02 15:40 | 2.0023 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 168.4835 | μmol/L | 33.8282 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.125 | 159959.7722 | 294993.6067 | 59.9307 | 49.4
62336 | 2021-04-02 15:41 | 2.3361 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 168.3676 | μmol/L | 33.822 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.135 | 160045.2063 | 294998.4258 | 59.9307 | 49.4
62346 | 2021-04-02 15:41 | 2.6688 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 168.1732 | μmol/L | 33.822 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.148 | 160145.9927 | 294999.4257 | 59.9307 | 49.4
62356 | 2021-04-02 15:41 | 3.0023 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 168.0156 | μmol/L | 33.8592 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.145 | 160174.3749 | 295007.2792 | 59.9307 | 49.4
62366 | 2021-04-02 15:42 | 3.3358 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 168.035 | μmol/L | 33.8282 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.155 | 160242.8861 | 294973.3876 | 59.9307 | 49.4
62376 | 2021-04-02 15:42 | 3.6694 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 167.6688 | μmol/L | 33.8654 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.166 | 160305.6091 | 294964.358 | 59.9307 | 49.4
62386 | 2021-04-02 15:42 | 4.0022 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 168.073 | μmol/L | 33.7911 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.166 | 160322.0896 | 294965.2207 | 59.9307 | 49.4
62396 | 2021-04-02 15:43 | 4.3357 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 167.9459 | μmol/L | 33.8035 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.17 | 160346.0879 | 294964.1273 | 59.9307 | 49.4
62406 | 2021-04-02 15:43 | 4.6694 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 167.5989 | μmol/L | 33.8344 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.182 | 160431.0389 | 294963.6651 | 59.9307 | 49.4
62416 | 2021-04-02 15:43 | 5.0022 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 167.5135 | μmol/L | 33.8282 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.19 | 160478.5251 | 294955.9538 | 59.9307 | 49.4
62426 | 2021-04-02 15:44 | 5.3358 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 167.6893 | μmol/L | 33.7849 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.194 | 160521.3815 | 294928.0507 | 59.9307 | 49.4
62436 | 2021-04-02 15:44 | 5.6694 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 167.2306 | μmol/L | 33.853 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.2 | 160595.3684 | 294941.7544 | 59.9307 | 49.4
62446 | 2021-04-02 15:44 | 6.0021 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 166.9824 | μmol/L | 33.8468 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.219 | 160726.6516 | 294928.9259 | 59.9307 | 49.4
62456 | 2021-04-02 15:45 | 6.3358 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 166.9496 | μmol/L | 33.8282 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.228 | 160790.5574 | 294914.5864 | 59.9307 | 49.4
62466 | 2021-04-02 15:45 | 6.6695 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 166.8312 | μmol/L | 33.8282 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.236 | 160839.1888 | 294918.6 | 59.9307 | 49.4
62476 | 2021-04-02 15:45 | 7.0024 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 166.8023 | μmol/L | 33.8035 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.247 | 160930.5563 | 294934.7518 | 59.9307 | 49.4
62486 | 2021-04-02 15:46 | 7.3361 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 166.6095 | μmol/L | 33.8282 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.251 | 160980.6817 | 294933.3949 | 59.9307 | 49.4
62496 | 2021-04-02 15:46 | 7.6688 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 166.6134 | μmol/L | 33.822 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.253 | 160994.8602 | 294928.2335 | 59.9307 | 49.4
62506 | 2021-04-02 15:46 | 8.0024 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 166.6886 | μmol/L | 33.7725 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.266 | 161106.064 | 294909.8533 | 59.9307 | 49.4
62516 | 2021-04-02 15:47 | 8.3359 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 166.378 | μmol/L | 33.7973 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.278 | 161217.9765 | 294916.4622 | 59.9307 | 49.4
62526 | 2021-04-02 15:47 | 8.6695 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 166.2013 | μmol/L | 33.7973 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.29 | 161287.8432 | 294905.5062 | 59.9307 | 49.4
62536 | 2021-04-02 15:47 | 9.0022 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 166.1912 | μmol/L | 33.7663 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.302 | 161375.9203 | 294897.8716 | 59.9307 | 49.4
62546 | 2021-04-02 15:48 | 9.3358 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 166.295 | μmol/L | 33.7415 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.304 | 161414.9877 | 294896.6375 | 59.9307 | 49.4
62556 | 2021-04-02 15:48 | 9.6693 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 166.0441 | μmol/L | 33.7663 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.312 | 161451.2939 | 294880.9021 | 59.9307 | 49.4
62566 | 2021-04-02 15:48 | 10.0022 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 165.9227 | μmol/L | 33.7725 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.318 | 161512.0678 | 294906.9533 | 59.9307 | 49.4
62576 | 2021-04-02 15:49 | 10.3357 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 165.772 | μmol/L | 33.7787 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.326 | 161583.6098 | 294900.2001 | 59.9307 | 49.4
62586 | 2021-04-02 15:49 | 10.6692 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 165.5922 | μmol/L | 33.7849 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.336 | 161647.361 | 294871.1667 | 59.9307 | 49.4
62596 | 2021-04-02 15:49 | 11.0022 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 165.4721 | μmol/L | 33.7663 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.351 | 161735.4046 | 294892.7173 | 59.9307 | 49.4
62606 | 2021-04-02 15:50 | 11.3358 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 165.2595 | μmol/L | 33.7787 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.361 | 161848.6807 | 294877.6614 | 59.9307 | 49.4
62616 | 2021-04-02 15:50 | 11.6695 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 165.0765 | μmol/L | 33.7911 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.369 | 161910.9929 | 294867.8601 | 59.9307 | 49.4
62626 | 2021-04-02 15:50 | 12.0023 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 164.7255 | μmol/L | 33.8158 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.384 | 161971.1817 | 294873.3222 | 59.9307 | 49.4
62636 | 2021-04-02 15:51 | 12.3359 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 164.9608 | μmol/L | 33.7663 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.386 | 162003.7619 | 294870.1128 | 59.9307 | 49.4
62646 | 2021-04-02 15:51 | 12.6695 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 165.0162 | μmol/L | 33.7477 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.389 | 162054.2012 | 294871.2366 | 59.9307 | 49.4
62656 | 2021-04-02 15:51 | 13.0029 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 164.5364 | μmol/L | 33.8158 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.397 | 162116.1217 | 294873.1385 | 59.9307 | 49.4
62666 | 2021-04-02 15:52 | 13.3355 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 164.1892 | μmol/L | 33.8592 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.405 | 162146.612 | 294877.9948 | 59.9307 | 49.4
62676 | 2021-04-02 15:52 | 13.6691 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 164.2262 | μmol/L | 33.8468 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.407 | 162224.0601 | 294879.9952 | 59.9307 | 49.4
62686 | 2021-04-02 15:52 | 14.0027 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 164.2985 | μmol/L | 33.7787 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.427 | 162388.3662 | 294876.7576 | 59.9307 | 49.4
62696 | 2021-04-02 15:53 | 14.3355 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 164.2377 | μmol/L | 33.7601 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.438 | 162491.4586 | 294881.1007 | 59.9307 | 49.4
62706 | 2021-04-02 15:53 | 14.6695 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 163.9941 | μmol/L | 33.7787 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.448 | 162540.8424 | 294862.3175 | 59.9307 | 49.4
62716 | 2021-04-02 15:53 | 15.0023 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 163.8705 | μmol/L | 33.7911 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.452 | 162605.612 | 294869.0232 | 59.9307 | 49.4
62726 | 2021-04-02 15:54 | 15.3363 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 164.232 | μmol/L | 33.7229 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.452 | 162608.8111 | 294854.2029 | 59.9307 | 49.4
62736 | 2021-04-02 15:54 | 15.6689 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 163.7049 | μmol/L | 33.7787 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.468 | 162713.5849 | 294841.4553 | 59.9307 | 49.4
62746 | 2021-04-02 15:54 | 16.0026 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 163.4071 | μmol/L | 33.8158 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.475 | 162804.0391 | 294847.6527 | 59.9307 | 49.4
62756 | 2021-04-02 15:55 | 16.3356 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 163.3534 | μmol/L | 33.8096 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.481 | 162863.8531 | 294843.3769 | 59.9307 | 49.4
62766 | 2021-04-02 15:55 | 16.6692 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 163.2317 | μmol/L | 33.7973 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.494 | 162945.8831 | 294849.6158 | 59.9307 | 49.4
62776 | 2021-04-02 15:55 | 17.0022 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 163.1925 | μmol/L | 33.7911 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.499 | 162968.3432 | 294843.6337 | 59.9307 | 49.4
62786 | 2021-04-02 15:56 | 17.3359 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 163.5919 | μmol/L | 33.7291 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.494 | 162947.6022 | 294840.7248 | 59.9307 | 49.4
62796 | 2021-04-02 15:56 | 17.6688 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 163.3823 | μmol/L | 33.7415 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.504 | 163019.4207 | 294843.9105 | 59.9307 | 49.4
62806 | 2021-04-02 15:56 | 18.0026 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 163.1389 | μmol/L | 33.7849 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.505 | 163053.2113 | 294836.8105 | 59.9307 | 49.4
62816 | 2021-04-02 15:57 | 18.3362 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 163.2461 | μmol/L | 33.7291 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.518 | 163181.6057 | 294859.4596 | 59.9307 | 49.4
62826 | 2021-04-02 15:57 | 18.6688 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 162.9456 | μmol/L | 33.7725 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.523 | 163241.2292 | 294841.7991 | 59.9307 | 49.4
62836 | 2021-04-02 15:57 | 19.0026 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 162.9222 | μmol/L | 33.7415 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.536 | 163294.2465 | 294837.4751 | 59.9307 | 49.4
62846 | 2021-04-02 15:58 | 19.3354 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 162.9104 | μmol/L | 33.7601 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.53 | 163295.7322 | 294837.4945 | 59.9307 | 49.4
62856 | 2021-04-02 15:58 | 19.669 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 162.8361 | μmol/L | 33.7415 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.542 | 163399.8119 | 294830.1022 | 59.9307 | 49.4
62866 | 2021-04-02 15:58 | 20.0028 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 162.3161 | μmol/L | 33.8158 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.551 | 163450.7925 | 294835.0483 | 59.9307 | 49.4
62876 | 2021-04-02 15:59 | 20.336 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 162.4725 | μmol/L | 33.7725 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.556 | 163526.2019 | 294834.6766 | 59.9307 | 49.4
62886 | 2021-04-02 15:59 | 20.6688 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 162.3049 | μmol/L | 33.7663 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.57 | 163616.7857 | 294841.7135 | 59.9307 | 49.4
62896 | 2021-04-02 15:59 | 21.0025 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 162.331 | μmol/L | 33.7477 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.575 | 163647.0348 | 294836.6513 | 59.9307 | 49.4
62906 | 2021-04-02 16:00 | 21.3355 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 162.335 | μmol/L | 33.7415 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.577 | 163663.9309 | 294848.3023 | 59.9307 | 49.4
62916 | 2021-04-02 16:00 | 21.669 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 161.9814 | μmol/L | 33.8035 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.579 | 163697.4961 | 294837.7328 | 59.9307 | 49.4
62926 | 2021-04-02 16:00 | 22.0027 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 161.9671 | μmol/L | 33.8035 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.58 | 163712.6397 | 294831.8212 | 59.9307 | 49.4
62936 | 2021-04-02 16:01 | 22.3357 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 162.1153 | μmol/L | 33.7725 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.581 | 163766.4907 | 294830.3687 | 59.9307 | 49.4
62946 | 2021-04-02 16:01 | 22.6694 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 162.0321 | μmol/L | 33.7911 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.58 | 163764.2722 | 294812.8366 | 59.9307 | 49.4
62956 | 2021-04-02 16:01 | 23.0022 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 161.4333 | μmol/L | 33.9026 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.581 | 163796.4254 | 294815.8243 | 59.9307 | 49.4
62966 | 2021-04-02 16:02 | 23.3359 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 161.6988 | μmol/L | 33.822 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.592 | 163852.2614 | 294815.7339 | 59.9307 | 49.4
62976 | 2021-04-02 16:02 | 23.6694 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 161.439 | μmol/L | 33.8282 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.608 | 163965.7776 | 294819.0244 | 59.9307 | 49.4
62986 | 2021-04-02 16:02 | 24.0024 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 161.3436 | μmol/L | 33.822 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.617 | 164051.6301 | 294811.8936 | 59.9307 | 49.4
62996 | 2021-04-02 16:03 | 24.3354 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 161.297 | μmol/L | 33.8282 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.618 | 164055.5294 | 294805.7238 | 59.9307 | 49.4
63006 | 2021-04-02 16:03 | 24.6696 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 161.3578 | μmol/L | 33.822 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.616 | 164023.8992 | 294807.2743 | 59.9307 | 49.4
63016 | 2021-04-02 16:03 | 25.0025 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 161.1876 | μmol/L | 33.822 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.628 | 164123.4496 | 294821.1569 | 59.9307 | 49.4
63026 | 2021-04-02 16:04 | 25.336 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 161.2603 | μmol/L | 33.7973 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.632 | 164182.7326 | 294824.8386 | 59.9307 | 49.4
63036 | 2021-04-02 16:04 | 25.6691 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 160.9025 | μmol/L | 33.8468 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.639 | 164237.4491 | 294798.6295 | 59.9307 | 49.4
63046 | 2021-04-02 16:04 | 26.0027 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 160.5412 | μmol/L | 33.9026 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.644 | 164328.913 | 294833.5344 | 59.9307 | 49.4
63056 | 2021-04-02 16:05 | 26.3356 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 160.2612 | μmol/L | 33.9212 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.657 | 164398.3338 | 294822.8327 | 59.9307 | 49.4
63066 | 2021-04-02 16:05 | 26.6693 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 160.5151 | μmol/L | 33.8778 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.655 | 164382.7395 | 294800.703 | 59.9307 | 49.4
63076 | 2021-04-02 16:05 | 27.0029 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 160.0115 | μmol/L | 33.9584 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.661 | 164470.7913 | 294806.7585 | 59.9307 | 49.4
63086 | 2021-04-02 16:06 | 27.3357 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 160.2936 | μmol/L | 33.8716 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.673 | 164546.4406 | 294810.7718 | 59.9307 | 49.4
63096 | 2021-04-02 16:06 | 27.6689 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 160.1107 | μmol/L | 33.8716 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.686 | 164636.2518 | 294805.2501 | 59.9307 | 49.4
63106 | 2021-04-02 16:06 | 28.0027 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 160.2595 | μmol/L | 33.8158 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.696 | 164735.3808 | 294837.3478 | 59.9307 | 49.4
63116 | 2021-04-02 16:07 | 28.3355 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 160.1209 | μmol/L | 33.8344 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.699 | 164770.8971 | 294804.7241 | 59.9307 | 49.4
63126 | 2021-04-02 16:07 | 28.6691 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 160.0847 | μmol/L | 33.8035 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.713 | 164858.7981 | 294820.584 | 59.9307 | 49.4
63136 | 2021-04-02 16:07 | 29.0027 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 159.455 | μmol/L | 33.9088 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.719 | 164916.6414 | 294827.5182 | 59.9307 | 49.4
63146 | 2021-04-02 16:08 | 29.3354 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 159.1468 | μmol/L | 33.9522 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.725 | 165001.2386 | 294815.6601 | 59.9307 | 49.4
63156 | 2021-04-02 16:08 | 29.6696 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 159.0852 | μmol/L | 33.9398 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.734 | 165073.4133 | 294838.4275 | 59.9307 | 49.4
63166 | 2021-04-02 16:08 | 30.0024 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 159.3757 | μmol/L | 33.8592 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.743 | 165142.2292 | 294815.656 | 59.9307 | 49.4
63176 | 2021-04-02 16:09 | 30.3362 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 159.0522 | μmol/L | 33.884 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.757 | 165262.3402 | 294815.532 | 59.9307 | 49.4
63186 | 2021-04-02 16:09 | 30.6691 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 159.0766 | μmol/L | 33.8468 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.769 | 165337.8444 | 294817.2123 | 59.9307 | 49.4
63196 | 2021-04-02 16:09 | 31.0026 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 158.7196 | μmol/L | 33.9026 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.774 | 165399.7183 | 294808.9987 | 59.9307 | 49.4
63206 | 2021-04-02 16:10 | 31.3356 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 158.3517 | μmol/L | 33.9336 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.789 | 165502.6375 | 294825.6659 | 59.9307 | 49.4
63216 | 2021-04-02 16:10 | 31.6692 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 158.3085 | μmol/L | 33.915 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.799 | 165601.6292 | 294831.0447 | 59.9307 | 49.4
63226 | 2021-04-02 16:10 | 32.0029 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 158.5362 | μmol/L | 33.822 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.817 | 165718.388 | 294808.5704 | 59.9307 | 49.4
63236 | 2021-04-02 16:11 | 32.3356 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 158.3632 | μmol/L | 33.853 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.818 | 165788.9486 | 294814.2336 | 59.9307 | 49.4
63246 | 2021-04-02 16:11 | 32.6693 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 158.3125 | μmol/L | 33.8035 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.84 | 165910.9087 | 294805.5776 | 59.9307 | 49.4
63256 | 2021-04-02 16:11 | 33.0023 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 158.2253 | μmol/L | 33.8096 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.844 | 165971.7358 | 294804.369 | 59.9307 | 49.4
63266 | 2021-04-02 16:12 | 33.3359 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 157.756 | μmol/L | 33.8716 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.855 | 166054.7152 | 294804.1535 | 59.9307 | 49.4
63276 | 2021-04-02 16:12 | 33.6696 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 157.8836 | μmol/L | 33.8035 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.871 | 166204.6832 | 294804.3605 | 59.9307 | 49.4
63286 | 2021-04-02 16:12 | 34.0026 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 157.5801 | μmol/L | 33.8035 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.893 | 166368.6359 | 294812.771 | 59.9307 | 49.4
63296 | 2021-04-02 16:13 | 34.336 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 157.3216 | μmol/L | 33.8406 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.898 | 166424.0519 | 294824.7901 | 59.9307 | 49.4
63306 | 2021-04-02 16:13 | 34.6689 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 157.1908 | μmol/L | 33.8096 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.919 | 166568.8586 | 294813.6915 | 59.9307 | 49.4
63316 | 2021-04-02 16:13 | 35.0025 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 156.8603 | μmol/L | 33.853 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.927 | 166625.9843 | 294803.2984 | 59.9307 | 49.4
63326 | 2021-04-02 16:14 | 35.3362 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 156.8192 | μmol/L | 33.853 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.93 | 166687.1213 | 294830.3575 | 59.9307 | 49.4
63336 | 2021-04-02 16:14 | 35.669 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 157.0108 | μmol/L | 33.7911 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.939 | 166742.3496 | 294808.2596 | 59.9307 | 49.4
63346 | 2021-04-02 16:14 | 36.0025 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 157.2313 | μmol/L | 33.7477 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.939 | 166783.2111 | 294797.4584 | 59.9307 | 49.4
63356 | 2021-04-02 16:15 | 36.3356 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 157.0036 | μmol/L | 33.7601 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.951 | 166881.7063 | 294802.6455 | 59.9307 | 49.4
63366 | 2021-04-02 16:15 | 36.6693 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 156.533 | μmol/L | 33.8096 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.967 | 167001.1042 | 294810.3338 | 59.9307 | 49.4
63376 | 2021-04-02 16:15 | 37.0021 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 156.4127 | μmol/L | 33.7849 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.985 | 167107.4589 | 294798.1731 | 59.9307 | 49.4
63386 | 2021-04-02 16:16 | 37.3359 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 156.1482 | μmol/L | 33.8344 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.986 | 167160.8697 | 294818.2732 | 59.9307 | 49.4
63396 | 2021-04-02 16:16 | 37.6695 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 155.8471 | μmol/L | 33.8778 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.992 | 167207.5055 | 294799.6219 | 59.9307 | 49.4
63406 | 2021-04-02 16:16 | 38.0022 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 155.7384 | μmol/L | 33.8778 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22 | 167304.1597 | 294801.3853 | 59.9307 | 49.4
63416 | 2021-04-02 16:17 | 38.336 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 155.8664 | μmol/L | 33.8282 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.009 | 167401.2791 | 294793.7348 | 59.9307 | 49.4
63426 | 2021-04-02 16:17 | 38.6689 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 155.8148 | μmol/L | 33.8035 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.022 | 167497.8718 | 294808.1578 | 59.9307 | 49.4
63436 | 2021-04-02 16:17 | 39.0026 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 155.5216 | μmol/L | 33.8158 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.039 | 167611.1819 | 294801.0664 | 59.9307 | 49.4
63446 | 2021-04-02 16:18 | 39.3357 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 155.4891 | μmol/L | 33.8035 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.046 | 167659.8519 | 294818.7982 | 59.9307 | 49.4
63456 | 2021-04-02 16:18 | 39.6695 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 155.3819 | μmol/L | 33.822 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.047 | 167708.7895 | 294794.2164 | 59.9307 | 49.4
63466 | 2021-04-02 16:18 | 40.0023 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 155.4607 | μmol/L | 33.7849 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.055 | 167781.0972 | 294824.7541 | 59.9307 | 49.4
63476 | 2021-04-02 16:19 | 40.3359 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 155.477 | μmol/L | 33.7601 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.063 | 167837.8813 | 294805.6275 | 59.9307 | 49.4
63486 | 2021-04-02 16:19 | 40.6689 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 155.3023 | μmol/L | 33.7787 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.069 | 167930.9323 | 294823.8842 | 59.9307 | 49.4
63496 | 2021-04-02 16:19 | 41.0027 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 155.2982 | μmol/L | 33.7849 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.067 | 167952.4527 | 294818.4322 | 59.9307 | 49.4
63506 | 2021-04-02 16:20 | 41.3354 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 155.1968 | μmol/L | 33.7539 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.086 | 168047.1496 | 294812.9062 | 59.9307 | 49.4
63516 | 2021-04-02 16:20 | 41.6695 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 154.7604 | μmol/L | 33.822 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.093 | 168128.139 | 294815.4105 | 59.9307 | 49.4
63526 | 2021-04-02 16:20 | 42.0023 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 154.7862 | μmol/L | 33.8035 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.098 | 168203.7615 | 294811.0416 | 59.9307 | 49.4
63536 | 2021-04-02 16:21 | 42.3361 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 154.6649 | μmol/L | 33.8035 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.107 | 168245.63 | 294806.9556 | 59.9307 | 49.4
63546 | 2021-04-02 16:21 | 42.6692 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 154.1149 | μmol/L | 33.9026 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.111 | 168300.012 | 294808.5911 | 59.9307 | 49.4
63556 | 2021-04-02 16:21 | 43.0029 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 154.1852 | μmol/L | 33.8778 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.115 | 168347.7336 | 294814.5019 | 59.9307 | 49.4
63566 | 2021-04-02 16:22 | 43.3357 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 154.3742 | μmol/L | 33.8158 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.124 | 168388.3509 | 294811.0515 | 59.9307 | 49.4
63576 | 2021-04-02 16:22 | 43.6689 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 154.1739 | μmol/L | 33.8344 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.132 | 168478.4118 | 294833.6015 | 59.9307 | 49.4
63586 | 2021-04-02 16:22 | 44.0027 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 154.178 | μmol/L | 33.8282 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.134 | 168495.891 | 294812.9485 | 59.9307 | 49.4
63596 | 2021-04-02 16:23 | 44.3355 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 154.111 | μmol/L | 33.8282 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.139 | 168543.0375 | 294813.7935 | 59.9307 | 49.4
63606 | 2021-04-02 16:23 | 44.6691 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 154.1419 | μmol/L | 33.822 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.139 | 168584.5746 | 294824.4201 | 59.9307 | 49.4
63616 | 2021-04-02 16:23 | 45.0022 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 154.2967 | μmol/L | 33.7911 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.139 | 168610.8938 | 294810.1085 | 59.9307 | 49.4
63626 | 2021-04-02 16:24 | 45.3358 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 154.0336 | μmol/L | 33.8035 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.154 | 168712.319 | 294826.2406 | 59.9307 | 49.4
63636 | 2021-04-02 16:24 | 45.6695 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 153.6711 | μmol/L | 33.8654 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.158 | 168772.6097 | 294816.0003 | 59.9307 | 49.4
63646 | 2021-04-02 16:24 | 46.0025 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 153.5125 | μmol/L | 33.9026 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.156 | 168757.909 | 294815.3675 | 59.9307 | 49.4
63656 | 2021-04-02 16:25 | 46.3362 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 153.6836 | μmol/L | 33.8468 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.164 | 168827.8551 | 294805.5806 | 59.9307 | 49.4
63666 | 2021-04-02 16:25 | 46.6688 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 153.4441 | μmol/L | 33.8654 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.175 | 168908.809 | 294811.2645 | 59.9307 | 49.4
63676 | 2021-04-02 16:25 | 47.0026 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 153.4524 | μmol/L | 33.853 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.179 | 168946.9294 | 294824.5635 | 59.9307 | 49.4
63686 | 2021-04-02 16:26 | 47.3356 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 153.2541 | μmol/L | 33.8902 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.18 | 168973.2276 | 294819.2862 | 59.9307 | 49.4
63696 | 2021-04-02 16:26 | 47.6691 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 153.0145 | μmol/L | 33.8902 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.198 | 169125.1805 | 294812.4707 | 59.9307 | 49.4
63706 | 2021-04-02 16:26 | 48.0026 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 153.2415 | μmol/L | 33.8096 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.211 | 169211.5994 | 294815.6644 | 59.9307 | 49.4
63716 | 2021-04-02 16:27 | 48.3355 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 152.4808 | μmol/L | 33.9336 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.222 | 169318.7108 | 294819.6961 | 59.9307 | 49.4
63726 | 2021-04-02 16:27 | 48.6689 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 152.4488 | μmol/L | 33.9026 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.236 | 169413.95 | 294826.247 | 59.9307 | 49.4
63736 | 2021-04-02 16:27 | 49.0026 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 152.2336 | μmol/L | 33.9274 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.243 | 169502.8647 | 294829.9024 | 59.9307 | 49.4
63746 | 2021-04-02 16:28 | 49.3357 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 152.3026 | μmol/L | 33.884 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.254 | 169569.7288 | 294811.2921 | 59.9307 | 49.4
63756 | 2021-04-02 16:28 | 49.6693 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 152.2838 | μmol/L | 33.853 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.267 | 169721.5128 | 294783.6042 | 59.9307 | 49.4
63766 | 2021-04-02 16:28 | 50.0021 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 151.8712 | μmol/L | 33.8778 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.289 | 169903.7785 | 294800.1579 | 59.9307 | 49.4
63776 | 2021-04-02 16:29 | 50.3361 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 151.8359 | μmol/L | 33.8716 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.294 | 169910.4285 | 294813.2857 | 59.9307 | 49.4
63786 | 2021-04-02 16:29 | 50.669 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 151.8401 | μmol/L | 33.8654 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.296 | 169930.6588 | 294791.9818 | 59.9307 | 49.4
63796 | 2021-04-02 16:29 | 51.0026 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 151.8699 | μmol/L | 33.8406 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.303 | 169965.791 | 294795.5271 | 59.9307 | 49.4
63806 | 2021-04-02 16:30 | 51.3356 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 151.6917 | μmol/L | 33.8902 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.298 | 169952.5416 | 294801.2939 | 59.9307 | 49.4
63816 | 2021-04-02 16:30 | 51.6695 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 151.556 | μmol/L | 33.8964 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.306 | 170017.7582 | 294812.184 | 59.9307 | 49.4
63826 | 2021-04-02 16:30 | 52.0023 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 151.4598 | μmol/L | 33.9026 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.311 | 170075.3384 | 294831.9463 | 59.9307 | 49.4
63836 | 2021-04-02 16:31 | 52.3359 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 151.4109 | μmol/L | 33.8778 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.324 | 170183.634 | 294812.5086 | 59.9307 | 49.4
63846 | 2021-04-02 16:31 | 52.6691 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 151.145 | μmol/L | 33.9026 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.335 | 170244.0573 | 294811.5581 | 59.9307 | 49.4
63856 | 2021-04-02 16:31 | 53.0026 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 150.9486 | μmol/L | 33.9026 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.35 | 170375.1576 | 294792.7276 | 59.9307 | 49.4
63866 | 2021-04-02 16:32 | 53.3362 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 151.1648 | μmol/L | 33.8344 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.359 | 170464.8147 | 294809.7189 | 59.9307 | 49.4
63876 | 2021-04-02 16:32 | 53.6691 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 150.713 | μmol/L | 33.884 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.375 | 170594.5906 | 294807.9193 | 59.9307 | 49.4
63886 | 2021-04-02 16:32 | 54.0027 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 150.747 | μmol/L | 33.853 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.384 | 170698.0948 | 294823.6687 | 59.9307 | 49.4
63896 | 2021-04-02 16:33 | 54.3355 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 150.3783 | μmol/L | 33.8778 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.403 | 170847.5073 | 294812.3639 | 59.9307 | 49.4