## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-02 16:34

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
62267 | 2021-04-02 15:38 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.5949 | μmol/L | 33.6656 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.69 | 150753.9952 | 308264.6139 | 33.25 | 68.6
62277 | 2021-04-02 15:39 | 0.34148 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.198 | μmol/L | 33.7206 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.696 | 150800.8749 | 308282.9288 | 33.25 | 68.6
62287 | 2021-04-02 15:39 | 0.6751 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.938 | μmol/L | 33.7328 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.709 | 150871.8378 | 308279.8523 | 33.25 | 68.6
62297 | 2021-04-02 15:39 | 1.008 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.8032 | μmol/L | 33.5678 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.713 | 150888.3678 | 308279.9828 | 33.25 | 68.6
62307 | 2021-04-02 15:40 | 1.3417 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.0189 | μmol/L | 33.5372 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.71 | 150878.1828 | 308282.1113 | 33.25 | 68.6
62317 | 2021-04-02 15:40 | 1.6753 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.8141 | μmol/L | 33.5922 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.703 | 150819.7152 | 308264.7104 | 33.25 | 68.6
62327 | 2021-04-02 15:40 | 2.0083 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.0346 | μmol/L | 33.5556 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.702 | 150831.3735 | 308265.8719 | 33.25 | 68.6
62337 | 2021-04-02 15:41 | 2.3421 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.6414 | μmol/L | 33.5861 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.717 | 150918.128 | 308244.9999 | 33.25 | 68.6
62347 | 2021-04-02 15:41 | 2.6748 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.2832 | μmol/L | 33.6106 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.732 | 150982.7468 | 308242.624 | 33.25 | 68.6
62357 | 2021-04-02 15:41 | 3.0083 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.8684 | μmol/L | 33.69 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.73 | 150982.9562 | 308239.5886 | 33.25 | 68.6
62367 | 2021-04-02 15:42 | 3.3418 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.0218 | μmol/L | 33.4945 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.726 | 150979.3787 | 308235.6219 | 33.25 | 68.6
62377 | 2021-04-02 15:42 | 3.6754 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.4743 | μmol/L | 33.5922 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.726 | 150966.4855 | 308241.704 | 33.25 | 68.6
62387 | 2021-04-02 15:42 | 4.0082 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.0829 | μmol/L | 33.6411 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.734 | 151015.7965 | 308229.3511 | 33.25 | 68.6
62397 | 2021-04-02 15:43 | 4.3416 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.7604 | μmol/L | 33.6778 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.742 | 151034.6897 | 308220.3206 | 33.25 | 68.6
62407 | 2021-04-02 15:43 | 4.6753 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.9652 | μmol/L | 33.6411 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.742 | 151032.9333 | 308200.2142 | 33.25 | 68.6
62417 | 2021-04-02 15:43 | 5.0081 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.5505 | μmol/L | 33.7022 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.747 | 151054.3851 | 308208.2058 | 33.25 | 68.6
62427 | 2021-04-02 15:44 | 5.3417 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.5116 | μmol/L | 33.7145 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.745 | 151040.9739 | 308195.0106 | 33.25 | 68.6
62437 | 2021-04-02 15:44 | 5.6754 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.9211 | μmol/L | 33.6411 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.745 | 151070.6417 | 308193.6564 | 33.25 | 68.6
62447 | 2021-04-02 15:44 | 6.008 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.8523 | μmol/L | 33.635 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.752 | 151102.7417 | 308187.7391 | 33.25 | 68.6
62457 | 2021-04-02 15:45 | 6.3416 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.7107 | μmol/L | 33.6472 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.757 | 151102.5926 | 308194.2007 | 33.25 | 68.6
62467 | 2021-04-02 15:45 | 6.6754 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.8234 | μmol/L | 33.6534 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.747 | 151035.3977 | 308174.2871 | 33.25 | 68.6
62477 | 2021-04-02 15:45 | 7.0081 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.8087 | μmol/L | 33.6534 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.748 | 151025.4926 | 308164.9013 | 33.25 | 68.6
62487 | 2021-04-02 15:46 | 7.3418 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.8523 | μmol/L | 33.635 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.752 | 151066.0231 | 308168.7495 | 33.25 | 68.6
62497 | 2021-04-02 15:46 | 7.6755 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.8424 | μmol/L | 33.6289 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.755 | 151073.7109 | 308163.8007 | 33.25 | 68.6
62507 | 2021-04-02 15:46 | 8.0081 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.4772 | μmol/L | 33.7022 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.752 | 151062.25 | 308162.4458 | 33.25 | 68.6
62517 | 2021-04-02 15:47 | 8.3417 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.7254 | μmol/L | 33.6472 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.756 | 151081.2282 | 308164.6677 | 33.25 | 68.6
62527 | 2021-04-02 15:47 | 8.6753 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.6136 | μmol/L | 33.6778 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.752 | 151074.8502 | 308164.31 | 33.25 | 68.6
62537 | 2021-04-02 15:47 | 9.0088 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.9341 | μmol/L | 33.5861 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.765 | 151119.8016 | 308153.6887 | 33.25 | 68.6
62547 | 2021-04-02 15:48 | 9.3414 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.1941 | μmol/L | 33.7084 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.769 | 151156.776 | 308148.927 | 33.25 | 68.6
62557 | 2021-04-02 15:48 | 9.6749 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.9799 | μmol/L | 33.7206 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.779 | 151237.7356 | 308144.319 | 33.25 | 68.6
62567 | 2021-04-02 15:48 | 10.0085 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.9361 | μmol/L | 33.7206 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.782 | 151273.7074 | 308131.0111 | 33.25 | 68.6
62577 | 2021-04-02 15:49 | 10.3419 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.0768 | μmol/L | 33.69 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.784 | 151281.3165 | 308126.0685 | 33.25 | 68.6
62587 | 2021-04-02 15:49 | 10.6754 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.586 | μmol/L | 33.5617 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.798 | 151340.9917 | 308130.4484 | 33.25 | 68.6
62597 | 2021-04-02 15:49 | 11.0082 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.5714 | μmol/L | 33.5617 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.799 | 151365.9497 | 308116.1774 | 33.25 | 68.6
62607 | 2021-04-02 15:50 | 11.3417 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.6394 | μmol/L | 33.5495 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.799 | 151372.6025 | 308116.1382 | 33.25 | 68.6
62617 | 2021-04-02 15:50 | 11.6753 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.6048 | μmol/L | 33.5372 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.806 | 151434.786 | 308110.8363 | 33.25 | 68.6
62627 | 2021-04-02 15:50 | 12.008 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.0217 | μmol/L | 33.6106 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.818 | 151506.5208 | 308113.4019 | 33.25 | 68.6
62637 | 2021-04-02 15:51 | 12.3418 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.1674 | μmol/L | 33.5922 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.815 | 151490.9512 | 308110.9738 | 33.25 | 68.6
62647 | 2021-04-02 15:51 | 12.6753 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.5649 | μmol/L | 33.5128 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.818 | 151487.1856 | 308113.3954 | 33.25 | 68.6
62657 | 2021-04-02 15:51 | 13.0081 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.2249 | μmol/L | 33.5556 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.825 | 151544.0591 | 308101.6165 | 33.25 | 68.6
62667 | 2021-04-02 15:52 | 13.3418 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.3167 | μmol/L | 33.5311 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.828 | 151554.5508 | 308110.693 | 33.25 | 68.6
62677 | 2021-04-02 15:52 | 13.6747 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.3161 | μmol/L | 33.5128 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.835 | 151603.2865 | 308094.21 | 33.25 | 68.6
62687 | 2021-04-02 15:52 | 14.0082 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.1951 | μmol/L | 33.5372 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.834 | 151588.3452 | 308083.8373 | 33.25 | 68.6
62697 | 2021-04-02 15:53 | 14.342 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.5655 | μmol/L | 33.635 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.84 | 151616.369 | 308098.0052 | 33.25 | 68.6
62707 | 2021-04-02 15:53 | 14.6748 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.5076 | μmol/L | 33.6534 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.837 | 151599.1491 | 308095.9842 | 33.25 | 68.6
62717 | 2021-04-02 15:53 | 15.0085 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.1565 | μmol/L | 33.5495 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.832 | 151589.8782 | 308087.8331 | 33.25 | 68.6
62727 | 2021-04-02 15:54 | 15.3416 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.2577 | μmol/L | 33.5128 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.839 | 151628.9987 | 308080.605 | 33.25 | 68.6
62737 | 2021-04-02 15:54 | 15.6748 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.1273 | μmol/L | 33.5495 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.834 | 151602.1936 | 308091.0502 | 33.25 | 68.6
62747 | 2021-04-02 15:54 | 16.0087 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.505 | μmol/L | 33.4761 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.836 | 151617.233 | 308057.4369 | 33.25 | 68.6
62757 | 2021-04-02 15:55 | 16.3415 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.0496 | μmol/L | 33.5556 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.837 | 151635.1918 | 308074.7937 | 33.25 | 68.6
62767 | 2021-04-02 15:55 | 16.6753 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.875 | μmol/L | 33.5739 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.842 | 151669.4464 | 308072.548 | 33.25 | 68.6
62777 | 2021-04-02 15:55 | 17.0082 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.5313 | μmol/L | 33.6228 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.847 | 151716.4418 | 308061.2311 | 33.25 | 68.6
62787 | 2021-04-02 15:56 | 17.3418 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.3674 | μmol/L | 33.4456 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.857 | 151785.4357 | 308065.3568 | 33.25 | 68.6
62797 | 2021-04-02 15:56 | 17.6754 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.1781 | μmol/L | 33.6472 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.862 | 151823.6783 | 308061.976 | 33.25 | 68.6
62807 | 2021-04-02 15:56 | 18.0085 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.2306 | μmol/L | 33.4333 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.871 | 151882.3538 | 308057.6265 | 33.25 | 68.6
62817 | 2021-04-02 15:57 | 18.3414 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.2698 | μmol/L | 33.4394 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.866 | 151857.8833 | 308065.0397 | 33.25 | 68.6
62827 | 2021-04-02 15:57 | 18.675 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.1868 | μmol/L | 33.4333 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.874 | 151918.7693 | 308059.0148 | 33.25 | 68.6
62837 | 2021-04-02 15:57 | 19.0081 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.1145 | μmol/L | 33.4517 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.872 | 151916.2732 | 308056.0999 | 33.25 | 68.6
62847 | 2021-04-02 15:58 | 19.3416 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.7275 | μmol/L | 33.5006 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.88 | 151973.2788 | 308044.4982 | 33.25 | 68.6
62857 | 2021-04-02 15:58 | 19.6753 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.0449 | μmol/L | 33.4089 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.893 | 152058.5346 | 308043.2061 | 33.25 | 68.6
62867 | 2021-04-02 15:58 | 20.0085 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.1096 | μmol/L | 33.5861 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.89 | 152054.1401 | 308048.5995 | 33.25 | 68.6
62877 | 2021-04-02 15:59 | 20.3417 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 167.8493 | μmol/L | 33.6228 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.894 | 152059.4842 | 308048.0597 | 33.25 | 68.6
62887 | 2021-04-02 15:59 | 20.6753 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.23 | μmol/L | 33.5617 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.891 | 152037.9117 | 308041.6336 | 33.25 | 68.6
62897 | 2021-04-02 15:59 | 21.008 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.5337 | μmol/L | 33.5067 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.891 | 152052.4917 | 308036.3658 | 33.25 | 68.6
62907 | 2021-04-02 16:00 | 21.3419 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.321 | μmol/L | 33.5189 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.901 | 152111.044 | 308045.0805 | 33.25 | 68.6
62917 | 2021-04-02 16:00 | 21.6754 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.5623 | μmol/L | 33.4883 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.896 | 152069.9531 | 308051.2997 | 33.25 | 68.6
62927 | 2021-04-02 16:00 | 22.0083 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.7357 | μmol/L | 33.4517 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.898 | 152082.5005 | 308035.1729 | 33.25 | 68.6
62937 | 2021-04-02 16:01 | 22.342 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.3786 | μmol/L | 33.5006 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.904 | 152130.1857 | 308051.4364 | 33.25 | 68.6
62947 | 2021-04-02 16:01 | 22.6747 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.0897 | μmol/L | 33.5556 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.903 | 152118.916 | 308043.4615 | 33.25 | 68.6
62957 | 2021-04-02 16:01 | 23.0081 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.2476 | μmol/L | 33.3722 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.893 | 152074.6737 | 308039.9081 | 33.25 | 68.6
62967 | 2021-04-02 16:02 | 23.3418 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.2779 | μmol/L | 33.5372 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.897 | 152108.1036 | 308033.7402 | 33.25 | 68.6
62977 | 2021-04-02 16:02 | 23.6754 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.1959 | μmol/L | 33.5495 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.898 | 152108.9681 | 308033.013 | 33.25 | 68.6
62987 | 2021-04-02 16:02 | 24.0081 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 167.9644 | μmol/L | 33.5678 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.907 | 152163.5992 | 308043.5053 | 33.25 | 68.6
62997 | 2021-04-02 16:03 | 24.3413 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.3018 | μmol/L | 33.525 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.9 | 152163.4053 | 308037.1352 | 33.25 | 68.6
63007 | 2021-04-02 16:03 | 24.6754 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 167.7815 | μmol/L | 33.5983 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.908 | 152170.6644 | 308034.5133 | 33.25 | 68.6
63017 | 2021-04-02 16:03 | 25.0082 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.0456 | μmol/L | 33.5189 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.92 | 152268.8505 | 308030.2986 | 33.25 | 68.6
63027 | 2021-04-02 16:04 | 25.3418 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 167.5165 | μmol/L | 33.5861 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.931 | 152366.3343 | 308030.7212 | 33.25 | 68.6
63037 | 2021-04-02 16:04 | 25.675 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 167.6121 | μmol/L | 33.5372 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.943 | 152459.1816 | 308028.8522 | 33.25 | 68.6
63047 | 2021-04-02 16:04 | 26.0086 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 167.3387 | μmol/L | 33.5922 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.941 | 152440.4334 | 308029.4746 | 33.25 | 68.6
63057 | 2021-04-02 16:05 | 26.3414 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 167.5882 | μmol/L | 33.5495 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.94 | 152408.0501 | 308016.8448 | 33.25 | 68.6
63067 | 2021-04-02 16:05 | 26.6754 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 167.2091 | μmol/L | 33.6106 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.943 | 152424.5906 | 308014.7769 | 33.25 | 68.6
63077 | 2021-04-02 16:05 | 27.0083 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 167.1517 | μmol/L | 33.6472 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.933 | 152350.7676 | 308013.8674 | 33.25 | 68.6
63087 | 2021-04-02 16:06 | 27.3418 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 167.9442 | μmol/L | 33.5189 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.927 | 152320.0223 | 308006.5829 | 33.25 | 68.6
63097 | 2021-04-02 16:06 | 27.6749 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 167.4204 | μmol/L | 33.5983 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.933 | 152363.0367 | 307992.2042 | 33.25 | 68.6
63107 | 2021-04-02 16:06 | 28.0085 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 167.1084 | μmol/L | 33.6289 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.943 | 152439.7388 | 308006.9429 | 33.25 | 68.6
63117 | 2021-04-02 16:07 | 28.3414 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 166.979 | μmol/L | 33.6289 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.952 | 152512.9236 | 307988.0641 | 33.25 | 68.6
63127 | 2021-04-02 16:07 | 28.6752 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 166.7203 | μmol/L | 33.6656 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.956 | 152554.3894 | 308001.1528 | 33.25 | 68.6
63137 | 2021-04-02 16:07 | 29.0081 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 166.9548 | μmol/L | 33.5861 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.97 | 152657.2613 | 308005.6686 | 33.25 | 68.6
63147 | 2021-04-02 16:08 | 29.3416 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 167.5663 | μmol/L | 33.4089 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.995 | 152822.803 | 308000.6445 | 33.25 | 68.6
63157 | 2021-04-02 16:08 | 29.675 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 166.8158 | μmol/L | 33.5617 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.989 | 152797.9079 | 308000.3013 | 33.25 | 68.6
63167 | 2021-04-02 16:08 | 30.0087 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 166.6008 | μmol/L | 33.5983 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.99 | 152781.1585 | 307994.5708 | 33.25 | 68.6
63177 | 2021-04-02 16:09 | 30.3415 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 166.4193 | μmol/L | 33.6289 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.991 | 152789.5428 | 308008.4661 | 33.25 | 68.6
63187 | 2021-04-02 16:09 | 30.6753 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 167.1455 | μmol/L | 33.4883 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.994 | 152803.1352 | 307994.6656 | 33.25 | 68.6
63197 | 2021-04-02 16:09 | 31.0082 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 166.8541 | μmol/L | 33.5678 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.984 | 152762.334 | 308001.624 | 33.25 | 68.6
63207 | 2021-04-02 16:10 | 31.3419 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 166.7678 | μmol/L | 33.5311 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.004 | 152869.929 | 307987.08 | 33.25 | 68.6
63217 | 2021-04-02 16:10 | 31.6747 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 166.634 | μmol/L | 33.5372 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.011 | 152941.4889 | 307990.5067 | 33.25 | 68.6
63227 | 2021-04-02 16:10 | 32.0086 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 165.8619 | μmol/L | 33.6472 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.023 | 153029.5653 | 307997.7112 | 33.25 | 68.6
63237 | 2021-04-02 16:11 | 32.3421 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 166.5718 | μmol/L | 33.525 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.02 | 153050.525 | 307988.8387 | 33.25 | 68.6
63247 | 2021-04-02 16:11 | 32.6749 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 166.6672 | μmol/L | 33.5128 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.018 | 153006.4768 | 308002.309 | 33.25 | 68.6
63257 | 2021-04-02 16:11 | 33.0087 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 166.0523 | μmol/L | 33.6228 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.019 | 153054.045 | 307980.4972 | 33.25 | 68.6
63267 | 2021-04-02 16:12 | 33.3416 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 166.2476 | μmol/L | 33.5556 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.031 | 153079.0146 | 307999.7673 | 33.25 | 68.6
63277 | 2021-04-02 16:12 | 33.6751 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 165.3867 | μmol/L | 33.69 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.04 | 153137.8381 | 307976.8661 | 33.25 | 68.6
63287 | 2021-04-02 16:12 | 34.008 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 165.4914 | μmol/L | 33.6656 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.042 | 153157.3973 | 307986.6028 | 33.25 | 68.6
63297 | 2021-04-02 16:13 | 34.3415 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 165.7051 | μmol/L | 33.6472 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.034 | 153134.8586 | 307986.9772 | 33.25 | 68.6
63307 | 2021-04-02 16:13 | 34.6752 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 165.7054 | μmol/L | 33.6106 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.048 | 153220.0543 | 307984.4321 | 33.25 | 68.6
63317 | 2021-04-02 16:13 | 35.0083 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 165.8908 | μmol/L | 33.5372 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.063 | 153326.2427 | 307986.378 | 33.25 | 68.6
63327 | 2021-04-02 16:14 | 35.3419 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 165.7721 | μmol/L | 33.5617 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.062 | 153359.7811 | 307992.1436 | 33.25 | 68.6
63337 | 2021-04-02 16:14 | 35.6747 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 166.2755 | μmol/L | 33.4456 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.071 | 153387.4299 | 307984.6022 | 33.25 | 68.6
63347 | 2021-04-02 16:14 | 36.0085 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 165.8576 | μmol/L | 33.525 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.07 | 153378.9064 | 307974.0926 | 33.25 | 68.6
63357 | 2021-04-02 16:15 | 36.3414 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 165.7484 | μmol/L | 33.5372 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.073 | 153439.0199 | 308001.8779 | 33.25 | 68.6
63367 | 2021-04-02 16:15 | 36.6752 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 166.0996 | μmol/L | 33.4517 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.081 | 153477.1173 | 307988.2023 | 33.25 | 68.6
63377 | 2021-04-02 16:15 | 37.0081 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 165.8765 | μmol/L | 33.4822 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.085 | 153498.8046 | 307989.7818 | 33.25 | 68.6
63387 | 2021-04-02 16:16 | 37.3418 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 165.9572 | μmol/L | 33.4883 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.077 | 153423.1298 | 307999.8919 | 33.25 | 68.6
63397 | 2021-04-02 16:16 | 37.6747 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 166.4512 | μmol/L | 33.4028 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.075 | 153418.477 | 307987.1969 | 33.25 | 68.6
63407 | 2021-04-02 16:16 | 38.0084 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 165.4877 | μmol/L | 33.525 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.096 | 153590.924 | 307988.379 | 33.25 | 68.6
63417 | 2021-04-02 16:17 | 38.3413 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 166.0557 | μmol/L | 33.36 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.119 | 153757.9537 | 308003.0112 | 33.25 | 68.6
63427 | 2021-04-02 16:17 | 38.6751 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 165.6771 | μmol/L | 33.4639 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.106 | 153673.1595 | 307987.6332 | 33.25 | 68.6
63437 | 2021-04-02 16:17 | 39.0088 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 166.1703 | μmol/L | 33.3967 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.097 | 153599.6633 | 307982.729 | 33.25 | 68.6
63447 | 2021-04-02 16:18 | 39.3418 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 166.2987 | μmol/L | 33.3967 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.088 | 153547.7783 | 307984.6988 | 33.25 | 68.6
63457 | 2021-04-02 16:18 | 39.6747 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 165.3599 | μmol/L | 33.5067 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.112 | 153711.9975 | 307984.1914 | 33.25 | 68.6
63467 | 2021-04-02 16:18 | 40.0083 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 164.9865 | μmol/L | 33.5495 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.122 | 153785.5186 | 307983.0039 | 33.25 | 68.6
63477 | 2021-04-02 16:19 | 40.342 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 165.7004 | μmol/L | 33.3967 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.13 | 153879.7864 | 307997.5356 | 33.25 | 68.6
63487 | 2021-04-02 16:19 | 40.675 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 164.9302 | μmol/L | 33.5128 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.14 | 153970.1472 | 307992.8187 | 33.25 | 68.6
63497 | 2021-04-02 16:19 | 41.0081 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 164.8643 | μmol/L | 33.4883 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.154 | 154049.5881 | 307993.6253 | 33.25 | 68.6
63507 | 2021-04-02 16:20 | 41.3417 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 165.3788 | μmol/L | 33.4272 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.141 | 153945.8837 | 307982.2758 | 33.25 | 68.6
63517 | 2021-04-02 16:20 | 41.6747 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 165.7806 | μmol/L | 33.3661 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.136 | 153916.038 | 307986.1216 | 33.25 | 68.6
63527 | 2021-04-02 16:20 | 42.0085 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 165.2323 | μmol/L | 33.4517 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.142 | 153949.8067 | 307998.2539 | 33.25 | 68.6
63537 | 2021-04-02 16:21 | 42.3413 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 165.8039 | μmol/L | 33.3356 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.146 | 154007.0286 | 307984.7992 | 33.25 | 68.6
63547 | 2021-04-02 16:21 | 42.6752 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 164.9775 | μmol/L | 33.47 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.153 | 154038.2249 | 307984.267 | 33.25 | 68.6
63557 | 2021-04-02 16:21 | 43.0088 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 164.8126 | μmol/L | 33.4639 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.167 | 154171.934 | 307990.9994 | 33.25 | 68.6
63567 | 2021-04-02 16:22 | 43.3416 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 165.0199 | μmol/L | 33.3967 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.178 | 154236.1544 | 307978.7886 | 33.25 | 68.6
63577 | 2021-04-02 16:22 | 43.6747 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 165.0435 | μmol/L | 33.4211 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.167 | 154221.5324 | 307987.7091 | 33.25 | 68.6
63587 | 2021-04-02 16:22 | 44.0085 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 164.9492 | μmol/L | 33.415 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.176 | 154271.883 | 307990.852 | 33.25 | 68.6
63597 | 2021-04-02 16:23 | 44.3414 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 164.6574 | μmol/L | 33.4456 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.185 | 154344.0267 | 307998.506 | 33.25 | 68.6
63607 | 2021-04-02 16:23 | 44.6751 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 165.0149 | μmol/L | 33.3478 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.197 | 154430.2086 | 307991.6455 | 33.25 | 68.6
63617 | 2021-04-02 16:23 | 45.0082 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 164.3896 | μmol/L | 33.4456 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.204 | 154472.7817 | 307991.4663 | 33.25 | 68.6
63627 | 2021-04-02 16:24 | 45.3421 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 164.3334 | μmol/L | 33.4272 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.215 | 154546.8342 | 307983.5709 | 33.25 | 68.6
63637 | 2021-04-02 16:24 | 45.6749 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 164.2863 | μmol/L | 33.4517 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.209 | 154511.9348 | 307979.6086 | 33.25 | 68.6
63647 | 2021-04-02 16:24 | 46.0088 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 164.4225 | μmol/L | 33.4394 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.204 | 154486.8438 | 307990.2756 | 33.25 | 68.6
63657 | 2021-04-02 16:25 | 46.3416 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 164.4083 | μmol/L | 33.4578 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.198 | 154462.1975 | 307994.2478 | 33.25 | 68.6
63667 | 2021-04-02 16:25 | 46.6752 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 164.0142 | μmol/L | 33.4945 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.212 | 154566.6388 | 307992.1813 | 33.25 | 68.6
63677 | 2021-04-02 16:25 | 47.0083 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 163.9908 | μmol/L | 33.4883 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.216 | 154610.1825 | 307976.0964 | 33.25 | 68.6
63687 | 2021-04-02 16:26 | 47.342 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 164.0706 | μmol/L | 33.4761 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.215 | 154591.0903 | 307989.952 | 33.25 | 68.6
63697 | 2021-04-02 16:26 | 47.6746 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 163.9908 | μmol/L | 33.4883 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.216 | 154598.7843 | 307988.5321 | 33.25 | 68.6
63707 | 2021-04-02 16:26 | 48.0082 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 163.5181 | μmol/L | 33.5372 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.231 | 154726.3459 | 307986.302 | 33.25 | 68.6
63717 | 2021-04-02 16:27 | 48.3419 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 163.598 | μmol/L | 33.5067 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.237 | 154751.8783 | 307987.3727 | 33.25 | 68.6
63727 | 2021-04-02 16:27 | 48.6747 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 163.6873 | μmol/L | 33.4639 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.247 | 154817.1659 | 307982.7407 | 33.25 | 68.6
63737 | 2021-04-02 16:27 | 49.0083 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 163.6593 | μmol/L | 33.4639 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.249 | 154855.5383 | 307983.4398 | 33.25 | 68.6
63747 | 2021-04-02 16:28 | 49.3413 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 163.3366 | μmol/L | 33.5189 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.251 | 154857.6644 | 307980.178 | 33.25 | 68.6
63757 | 2021-04-02 16:28 | 49.6751 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 163.3976 | μmol/L | 33.4945 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.256 | 154894.1405 | 307972.6028 | 33.25 | 68.6
63767 | 2021-04-02 16:28 | 50.0088 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.6649 | μmol/L | 33.6106 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.264 | 154944.1663 | 307975.0447 | 33.25 | 68.6
63777 | 2021-04-02 16:29 | 50.3418 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.7956 | μmol/L | 33.5861 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.264 | 154956.4268 | 307975.1546 | 33.25 | 68.6
63787 | 2021-04-02 16:29 | 50.6747 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.8748 | μmol/L | 33.5739 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.263 | 154966.5978 | 307985.2205 | 33.25 | 68.6
63797 | 2021-04-02 16:29 | 51.0086 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.5724 | μmol/L | 33.6045 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.273 | 155014.0329 | 307982.1634 | 33.25 | 68.6
63807 | 2021-04-02 16:30 | 51.3414 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.9833 | μmol/L | 33.5067 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.281 | 155080.1853 | 307974.006 | 33.25 | 68.6
63817 | 2021-04-02 16:30 | 51.6754 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.8627 | μmol/L | 33.5006 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.292 | 155179.0942 | 307992.6129 | 33.25 | 68.6
63827 | 2021-04-02 16:30 | 52.0082 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.2813 | μmol/L | 33.5861 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.301 | 155262.4107 | 307977.8406 | 33.25 | 68.6
63837 | 2021-04-02 16:31 | 52.3417 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.5329 | μmol/L | 33.5311 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.304 | 155281.2347 | 307977.7786 | 33.25 | 68.6
63847 | 2021-04-02 16:31 | 52.6748 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.6167 | μmol/L | 33.5128 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.305 | 155284.0547 | 307984.63 | 33.25 | 68.6
63857 | 2021-04-02 16:31 | 53.0084 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.6636 | μmol/L | 33.4883 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.311 | 155333.7766 | 307972.9432 | 33.25 | 68.6
63867 | 2021-04-02 16:32 | 53.3419 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.3428 | μmol/L | 33.5433 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.313 | 155337.6022 | 307966.5515 | 33.25 | 68.6
63877 | 2021-04-02 16:32 | 53.6748 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.3236 | μmol/L | 33.5678 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.305 | 155284.6583 | 307974.8181 | 33.25 | 68.6
63887 | 2021-04-02 16:32 | 54.0085 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.4036 | μmol/L | 33.5189 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.318 | 155389.1332 | 307965.8621 | 33.25 | 68.6
63897 | 2021-04-02 16:33 | 54.3414 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.2367 | μmol/L | 33.5372 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.323 | 155442.8934 | 307977.1746 | 33.25 | 68.6