## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-02 16:34

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
62269 | 2021-04-02 15:38 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 170.7173 | μmol/L | 33.8852 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.013 | 130962.1277 | 272088.5651 | 32.55 | 27.7
62279 | 2021-04-02 15:39 | 0.33712 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 170.6942 | μmol/L | 33.8729 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.019 | 130991.1788 | 272062.032 | 32.55 | 27.7
62289 | 2021-04-02 15:39 | 0.67065 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 170.6408 | μmol/L | 33.8606 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.027 | 131037.4568 | 272046.8171 | 32.55 | 27.7
62299 | 2021-04-02 15:39 | 1.0036 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 170.4069 | μmol/L | 33.8729 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.038 | 131119.0235 | 272009.8492 | 32.55 | 27.7
62309 | 2021-04-02 15:40 | 1.3365 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 170.335 | μmol/L | 33.8668 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.045 | 131176.2114 | 271990.3807 | 32.55 | 27.7
62319 | 2021-04-02 15:40 | 1.67 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 170.1655 | μmol/L | 33.8729 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.054 | 131206.909 | 271987.7882 | 32.55 | 27.7
62329 | 2021-04-02 15:40 | 2.0036 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 170.2179 | μmol/L | 33.8606 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.055 | 131228.2784 | 271980.9612 | 32.55 | 27.7
62339 | 2021-04-02 15:41 | 2.3365 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 170.0034 | μmol/L | 33.8668 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.067 | 131290.2866 | 271967.3772 | 32.55 | 27.7
62349 | 2021-04-02 15:41 | 2.6701 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 169.7855 | μmol/L | 33.8791 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.077 | 131374.7095 | 271966.5598 | 32.55 | 27.7
62359 | 2021-04-02 15:41 | 3.0037 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 169.8565 | μmol/L | 33.8606 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.079 | 131420.6044 | 271937.2207 | 32.55 | 27.7
62369 | 2021-04-02 15:42 | 3.3372 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 169.7476 | μmol/L | 33.8668 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.084 | 131440.9521 | 271929.3215 | 32.55 | 27.7
62379 | 2021-04-02 15:42 | 3.6701 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 169.6016 | μmol/L | 33.8852 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.087 | 131462.6929 | 271918.642 | 32.55 | 27.7
62389 | 2021-04-02 15:42 | 4.0035 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 169.5752 | μmol/L | 33.8791 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.091 | 131454.5574 | 271916.337 | 32.55 | 27.7
62399 | 2021-04-02 15:43 | 4.3371 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 169.8408 | μmol/L | 33.8361 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.089 | 131458.3554 | 271905.263 | 32.55 | 27.7
62409 | 2021-04-02 15:43 | 4.67 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 169.8895 | μmol/L | 33.8299 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.088 | 131481.262 | 271891.1343 | 32.55 | 27.7
62419 | 2021-04-02 15:43 | 5.0035 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 169.6047 | μmol/L | 33.8545 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.098 | 131510.4725 | 271891.1305 | 32.55 | 27.7
62429 | 2021-04-02 15:44 | 5.3372 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 169.3802 | μmol/L | 33.8791 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.104 | 131535.5947 | 271891.4124 | 32.55 | 27.7
62439 | 2021-04-02 15:44 | 5.6706 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 169.3093 | μmol/L | 33.8975 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.102 | 131560.4766 | 271871.5433 | 32.55 | 27.7
62449 | 2021-04-02 15:44 | 6.0036 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 169.2231 | μmol/L | 33.8914 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.11 | 131586.992 | 271878.6314 | 32.55 | 27.7
62459 | 2021-04-02 15:45 | 6.3372 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 169.0439 | μmol/L | 33.9159 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.113 | 131620.3239 | 271873.4248 | 32.55 | 27.7
62469 | 2021-04-02 15:45 | 6.67 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 169.2377 | μmol/L | 33.8668 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.118 | 131629.3559 | 271852.7026 | 32.55 | 27.7
62479 | 2021-04-02 15:45 | 7.0036 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 169.0957 | μmol/L | 33.8791 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.123 | 131668.1458 | 271853.3549 | 32.55 | 27.7
62489 | 2021-04-02 15:46 | 7.3373 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 169.0545 | μmol/L | 33.8729 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.128 | 131692.9615 | 271844.4171 | 32.55 | 27.7
62499 | 2021-04-02 15:46 | 7.67 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 168.8792 | μmol/L | 33.8914 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.133 | 131721.2204 | 271852.6501 | 32.55 | 27.7
62509 | 2021-04-02 15:46 | 8.0036 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 168.7339 | μmol/L | 33.9098 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.136 | 131762.5435 | 271831.2958 | 32.55 | 27.7
62519 | 2021-04-02 15:47 | 8.3372 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 168.6259 | μmol/L | 33.9159 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.141 | 131780.4158 | 271835.1218 | 32.55 | 27.7
62529 | 2021-04-02 15:47 | 8.6699 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 168.7449 | μmol/L | 33.8914 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.142 | 131795.7548 | 271839.578 | 32.55 | 27.7
62539 | 2021-04-02 15:47 | 9.0035 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 168.7486 | μmol/L | 33.8852 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.144 | 131804.5633 | 271843.8407 | 32.55 | 27.7
62549 | 2021-04-02 15:48 | 9.3372 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 168.5773 | μmol/L | 33.8975 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.151 | 131826.7021 | 271823.8705 | 32.55 | 27.7
62559 | 2021-04-02 15:48 | 9.6707 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 168.6293 | μmol/L | 33.8852 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.152 | 131845.1203 | 271814.1758 | 32.55 | 27.7
62569 | 2021-04-02 15:48 | 10.0034 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 168.6737 | μmol/L | 33.8606 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.158 | 131882.475 | 271820.3101 | 32.55 | 27.7
62579 | 2021-04-02 15:49 | 10.3371 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 168.6697 | μmol/L | 33.8422 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.165 | 131926.6103 | 271806.9536 | 32.55 | 27.7
62589 | 2021-04-02 15:49 | 10.6706 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 168.4837 | μmol/L | 33.8545 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.173 | 131963.1475 | 271782.5378 | 32.55 | 27.7
62599 | 2021-04-02 15:49 | 11.0033 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 168.6842 | μmol/L | 33.8176 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.173 | 131996.3619 | 271795.2898 | 32.55 | 27.7
62609 | 2021-04-02 15:50 | 11.3369 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 168.4427 | μmol/L | 33.8484 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.178 | 132031.7835 | 271810.4077 | 32.55 | 27.7
62619 | 2021-04-02 15:50 | 11.6706 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 168.2607 | μmol/L | 33.8545 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.188 | 132084.3306 | 271787.8119 | 32.55 | 27.7
62629 | 2021-04-02 15:50 | 12.0035 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 168.2904 | μmol/L | 33.8545 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.186 | 132079.7522 | 271803.569 | 32.55 | 27.7
62639 | 2021-04-02 15:51 | 12.3372 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 168.3347 | μmol/L | 33.8299 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.192 | 132106.953 | 271788.7854 | 32.55 | 27.7
62649 | 2021-04-02 15:51 | 12.6699 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 168.2419 | μmol/L | 33.8361 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.196 | 132146.2296 | 271773.5039 | 32.55 | 27.7
62659 | 2021-04-02 15:51 | 13.0035 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 168.275 | μmol/L | 33.8054 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.205 | 132173.7946 | 271772.0108 | 32.55 | 27.7
62669 | 2021-04-02 15:52 | 13.3371 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 167.9489 | μmol/L | 33.8299 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.218 | 132246.5444 | 271774.302 | 32.55 | 27.7
62679 | 2021-04-02 15:52 | 13.6706 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 167.6825 | μmol/L | 33.8545 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.227 | 132307.1152 | 271769.3884 | 32.55 | 27.7
62689 | 2021-04-02 15:52 | 14.0033 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 167.5754 | μmol/L | 33.8606 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.232 | 132345.5125 | 271766.231 | 32.55 | 27.7
62699 | 2021-04-02 15:53 | 14.337 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 167.5384 | μmol/L | 33.8484 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.239 | 132400.4866 | 271770.7783 | 32.55 | 27.7
62709 | 2021-04-02 15:53 | 14.67 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 167.5088 | μmol/L | 33.8484 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.241 | 132433.9625 | 271749.9009 | 32.55 | 27.7
62719 | 2021-04-02 15:53 | 15.0036 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 167.3575 | μmol/L | 33.8545 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.249 | 132472.7617 | 271752.0327 | 32.55 | 27.7
62729 | 2021-04-02 15:54 | 15.3367 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 167.376 | μmol/L | 33.8484 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.25 | 132474.1056 | 271747.5087 | 32.55 | 27.7
62739 | 2021-04-02 15:54 | 15.6707 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 167.5638 | μmol/L | 33.7808 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.262 | 132519.2848 | 271754.0979 | 32.55 | 27.7
62749 | 2021-04-02 15:54 | 16.0037 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 167.512 | μmol/L | 33.7685 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.27 | 132583.7516 | 271743.11 | 32.55 | 27.7
62759 | 2021-04-02 15:55 | 16.3367 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 167.4825 | μmol/L | 33.7685 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.272 | 132600.8919 | 271745.3213 | 32.55 | 27.7
62769 | 2021-04-02 15:55 | 16.6705 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 167.4235 | μmol/L | 33.7685 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.276 | 132628.7404 | 271742.6518 | 32.55 | 27.7
62779 | 2021-04-02 15:55 | 17.0034 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 167.5741 | μmol/L | 33.7132 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.286 | 132676.3303 | 271746.3702 | 32.55 | 27.7
62789 | 2021-04-02 15:56 | 17.337 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 167.3054 | μmol/L | 33.7439 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.293 | 132710.0281 | 271741.0023 | 32.55 | 27.7
62799 | 2021-04-02 15:56 | 17.6699 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 167.1839 | μmol/L | 33.7501 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.299 | 132763.785 | 271745.4802 | 32.55 | 27.7
62809 | 2021-04-02 15:56 | 18.0038 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 166.8679 | μmol/L | 33.7869 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.307 | 132795.9864 | 271731.0842 | 32.55 | 27.7
62819 | 2021-04-02 15:57 | 18.3366 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 166.8459 | μmol/L | 33.7746 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.313 | 132847.8398 | 271737.4607 | 32.55 | 27.7
62829 | 2021-04-02 15:57 | 18.6704 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 166.7064 | μmol/L | 33.8115 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.309 | 132845.3238 | 271724.8314 | 32.55 | 27.7
62839 | 2021-04-02 15:57 | 19.0033 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 166.6514 | μmol/L | 33.8054 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.315 | 132855.913 | 271731.3112 | 32.55 | 27.7
62849 | 2021-04-02 15:58 | 19.3369 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 166.6808 | μmol/L | 33.7808 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.322 | 132909.1235 | 271729.1835 | 32.55 | 27.7
62859 | 2021-04-02 15:58 | 19.6706 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 166.6697 | μmol/L | 33.7501 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.334 | 132988.2669 | 271715.5943 | 32.55 | 27.7
62869 | 2021-04-02 15:58 | 20.0035 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 166.5195 | μmol/L | 33.7562 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.342 | 133048.06 | 271718.6031 | 32.55 | 27.7
62879 | 2021-04-02 15:59 | 20.3367 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 166.3183 | μmol/L | 33.7746 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.349 | 133110.2286 | 271702.8044 | 32.55 | 27.7
62889 | 2021-04-02 15:59 | 20.6704 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 166.0222 | μmol/L | 33.8054 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.358 | 133177.8985 | 271709.9007 | 32.55 | 27.7
62899 | 2021-04-02 15:59 | 21.0033 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 165.8689 | μmol/L | 33.8176 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.364 | 133235.0114 | 271710.2256 | 32.55 | 27.7
62909 | 2021-04-02 16:00 | 21.337 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 165.8143 | μmol/L | 33.8115 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.37 | 133286.548 | 271710.904 | 32.55 | 27.7
62919 | 2021-04-02 16:00 | 21.6706 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 165.6978 | μmol/L | 33.8115 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.378 | 133337.6535 | 271703.8011 | 32.55 | 27.7
62929 | 2021-04-02 16:00 | 22.0034 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 165.5303 | μmol/L | 33.8238 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.385 | 133375.5251 | 271714.3674 | 32.55 | 27.7
62939 | 2021-04-02 16:01 | 22.3367 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 165.4031 | μmol/L | 33.8176 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.396 | 133459.582 | 271712.1453 | 32.55 | 27.7
62949 | 2021-04-02 16:01 | 22.6704 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 165.3015 | μmol/L | 33.8176 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.403 | 133537.3419 | 271715.1485 | 32.55 | 27.7
62959 | 2021-04-02 16:01 | 23.0039 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 165.3089 | μmol/L | 33.8054 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.407 | 133569.2351 | 271721.5265 | 32.55 | 27.7
62969 | 2021-04-02 16:02 | 23.3368 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 165.0512 | μmol/L | 33.8238 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.418 | 133619.9771 | 271696.2398 | 32.55 | 27.7
62979 | 2021-04-02 16:02 | 23.6704 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 164.8158 | μmol/L | 33.8299 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.432 | 133721.0233 | 271697.6305 | 32.55 | 27.7
62989 | 2021-04-02 16:02 | 24.0034 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 164.7071 | μmol/L | 33.8422 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.435 | 133790.7867 | 271700.1567 | 32.55 | 27.7
62999 | 2021-04-02 16:03 | 24.3366 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 164.5338 | μmol/L | 33.8422 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.447 | 133857.2318 | 271703.5638 | 32.55 | 27.7
63009 | 2021-04-02 16:03 | 24.6706 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 164.3531 | μmol/L | 33.8545 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.455 | 133879.8994 | 271690.394 | 32.55 | 27.7
63019 | 2021-04-02 16:03 | 25.0036 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 164.3933 | μmol/L | 33.8361 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.459 | 133953.6276 | 271693.731 | 32.55 | 27.7
63029 | 2021-04-02 16:04 | 25.3365 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 164.0863 | μmol/L | 33.8668 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.469 | 133987.9544 | 271701.5677 | 32.55 | 27.7
63039 | 2021-04-02 16:04 | 25.6705 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 164.1371 | μmol/L | 33.8545 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.47 | 134035.702 | 271696.2912 | 32.55 | 27.7
63049 | 2021-04-02 16:04 | 26.0033 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 164.0545 | μmol/L | 33.8484 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.478 | 134072.9834 | 271694.7754 | 32.55 | 27.7
63059 | 2021-04-02 16:05 | 26.337 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 163.9214 | μmol/L | 33.8545 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.485 | 134110.0897 | 271705.5783 | 32.55 | 27.7
63069 | 2021-04-02 16:05 | 26.6699 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 163.8496 | μmol/L | 33.8545 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.49 | 134146.1802 | 271701.9432 | 32.55 | 27.7
63079 | 2021-04-02 16:05 | 27.0036 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 163.774 | μmol/L | 33.8606 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.493 | 134183.3092 | 271689.5838 | 32.55 | 27.7
63089 | 2021-04-02 16:06 | 27.3373 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 163.5867 | μmol/L | 33.8852 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.497 | 134200.0492 | 271703.2797 | 32.55 | 27.7
63099 | 2021-04-02 16:06 | 27.6702 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 163.7921 | μmol/L | 33.8545 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.494 | 134217.2489 | 271694.7848 | 32.55 | 27.7
63109 | 2021-04-02 16:06 | 28.0039 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 163.6516 | μmol/L | 33.8729 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.497 | 134230.5674 | 271681.763 | 32.55 | 27.7
63119 | 2021-04-02 16:07 | 28.3368 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 163.558 | μmol/L | 33.8852 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.499 | 134236.6107 | 271694.9661 | 32.55 | 27.7
63129 | 2021-04-02 16:07 | 28.6705 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 163.58 | μmol/L | 33.8729 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.502 | 134248.3271 | 271677.2186 | 32.55 | 27.7
63139 | 2021-04-02 16:07 | 29.0033 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 163.62 | μmol/L | 33.8545 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.506 | 134257.0974 | 271675.2938 | 32.55 | 27.7
63149 | 2021-04-02 16:08 | 29.337 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 163.5838 | μmol/L | 33.8668 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.504 | 134288.1554 | 271682.6888 | 32.55 | 27.7
63159 | 2021-04-02 16:08 | 29.6701 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 163.5083 | μmol/L | 33.8729 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.507 | 134285.8149 | 271676.5389 | 32.55 | 27.7
63169 | 2021-04-02 16:08 | 30.0038 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 163.3356 | μmol/L | 33.8975 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.51 | 134317.2862 | 271676.1569 | 32.55 | 27.7
63179 | 2021-04-02 16:09 | 30.3366 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 163.5235 | μmol/L | 33.8484 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.515 | 134331.1951 | 271665.1835 | 32.55 | 27.7
63189 | 2021-04-02 16:09 | 30.6704 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 163.5167 | μmol/L | 33.8361 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.52 | 134360.4032 | 271676.2593 | 32.55 | 27.7
63199 | 2021-04-02 16:09 | 31.004 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 163.3766 | μmol/L | 33.8545 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.523 | 134375.5366 | 271666.737 | 32.55 | 27.7
63209 | 2021-04-02 16:10 | 31.3367 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 163.4813 | μmol/L | 33.8238 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.527 | 134408.7227 | 271665.8175 | 32.55 | 27.7
63219 | 2021-04-02 16:10 | 31.6699 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 163.3126 | μmol/L | 33.8422 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.532 | 134444.4296 | 271657.1486 | 32.55 | 27.7
63229 | 2021-04-02 16:10 | 32.0035 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 163.2554 | μmol/L | 33.8422 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.536 | 134484.0162 | 271670.3308 | 32.55 | 27.7
63239 | 2021-04-02 16:11 | 32.3371 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 163.1155 | μmol/L | 33.8606 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.539 | 134496.6334 | 271661.5392 | 32.55 | 27.7
63249 | 2021-04-02 16:11 | 32.6706 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 162.9224 | μmol/L | 33.8729 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.548 | 134556.1482 | 271659.0017 | 32.55 | 27.7
63259 | 2021-04-02 16:11 | 33.0035 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 162.9015 | μmol/L | 33.8606 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.554 | 134592.4916 | 271653.6233 | 32.55 | 27.7
63269 | 2021-04-02 16:12 | 33.3372 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 162.931 | μmol/L | 33.8361 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.561 | 134651.3276 | 271661.5881 | 32.55 | 27.7
63279 | 2021-04-02 16:12 | 33.6699 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 162.892 | μmol/L | 33.8299 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.566 | 134674.8456 | 271659.1491 | 32.55 | 27.7
63289 | 2021-04-02 16:12 | 34.0037 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 162.835 | μmol/L | 33.8299 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.57 | 134701.4999 | 271660.2486 | 32.55 | 27.7
63299 | 2021-04-02 16:13 | 34.3373 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 162.5779 | μmol/L | 33.8545 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.579 | 134743.8214 | 271640.7628 | 32.55 | 27.7
63309 | 2021-04-02 16:13 | 34.6701 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 162.521 | μmol/L | 33.8545 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.583 | 134789.7776 | 271663.8479 | 32.55 | 27.7
63319 | 2021-04-02 16:13 | 35.0039 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 162.4822 | μmol/L | 33.8484 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.588 | 134813.0282 | 271654.5171 | 32.55 | 27.7
63329 | 2021-04-02 16:14 | 35.3366 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 162.3364 | μmol/L | 33.8545 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.596 | 134842.7975 | 271646.6615 | 32.55 | 27.7
63339 | 2021-04-02 16:14 | 35.6704 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 162.2229 | μmol/L | 33.8545 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.604 | 134907.4608 | 271655.7384 | 32.55 | 27.7
63349 | 2021-04-02 16:14 | 36.0034 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 162.3195 | μmol/L | 33.8361 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.604 | 134936.34 | 271660.6776 | 32.55 | 27.7
63359 | 2021-04-02 16:15 | 36.3371 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 162.242 | μmol/L | 33.8238 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.614 | 134973.845 | 271632.2719 | 32.55 | 27.7
63369 | 2021-04-02 16:15 | 36.67 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 162.0965 | μmol/L | 33.8299 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.622 | 135032.4512 | 271644.0207 | 32.55 | 27.7
63379 | 2021-04-02 16:15 | 37.0037 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 162.0938 | μmol/L | 33.8115 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.629 | 135087.2952 | 271653.6592 | 32.55 | 27.7
63389 | 2021-04-02 16:16 | 37.3365 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 162.2119 | μmol/L | 33.7808 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.632 | 135111.41 | 271641.1802 | 32.55 | 27.7
63399 | 2021-04-02 16:16 | 37.6701 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 162.0089 | μmol/L | 33.8115 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.635 | 135145.2319 | 271642.2809 | 32.55 | 27.7
63409 | 2021-04-02 16:16 | 38.0038 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 161.8957 | μmol/L | 33.8115 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.643 | 135191.7632 | 271650.8092 | 32.55 | 27.7
63419 | 2021-04-02 16:17 | 38.3367 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 161.6442 | μmol/L | 33.8299 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.654 | 135260.1573 | 271647.9388 | 32.55 | 27.7
63429 | 2021-04-02 16:17 | 38.6703 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 161.6095 | μmol/L | 33.8176 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.661 | 135306.917 | 271638.3911 | 32.55 | 27.7
63439 | 2021-04-02 16:17 | 39.0033 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 161.4685 | μmol/L | 33.8176 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.671 | 135360.6809 | 271651.4695 | 32.55 | 27.7
63449 | 2021-04-02 16:18 | 39.337 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 161.3776 | μmol/L | 33.8054 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.682 | 135429.8335 | 271656.9918 | 32.55 | 27.7
63459 | 2021-04-02 16:18 | 39.6699 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 161.4708 | μmol/L | 33.7685 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.689 | 135479.8983 | 271658.7867 | 32.55 | 27.7
63469 | 2021-04-02 16:18 | 40.0036 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 161.4042 | μmol/L | 33.7624 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.696 | 135532.9465 | 271646.945 | 32.55 | 27.7
63479 | 2021-04-02 16:19 | 40.3373 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 161.2138 | μmol/L | 33.7746 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.705 | 135584.8064 | 271643.416 | 32.55 | 27.7
63489 | 2021-04-02 16:19 | 40.6703 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 161.1257 | μmol/L | 33.7808 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.709 | 135647.9332 | 271654.6527 | 32.55 | 27.7
63499 | 2021-04-02 16:19 | 41.0033 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 161.0873 | μmol/L | 33.7746 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.714 | 135677.6386 | 271646.9524 | 32.55 | 27.7
63509 | 2021-04-02 16:20 | 41.337 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 161.0274 | μmol/L | 33.7808 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.716 | 135726.1823 | 271650.7988 | 32.55 | 27.7
63519 | 2021-04-02 16:20 | 41.6702 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 160.9687 | μmol/L | 33.7624 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.727 | 135764.4082 | 271648.6273 | 32.55 | 27.7
63529 | 2021-04-02 16:20 | 42.0039 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 160.8667 | μmol/L | 33.7685 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.732 | 135792.6693 | 271642.8281 | 32.55 | 27.7
63539 | 2021-04-02 16:21 | 42.3366 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 160.6871 | μmol/L | 33.7869 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.738 | 135827.0387 | 271631.4759 | 32.55 | 27.7
63549 | 2021-04-02 16:21 | 42.6704 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 160.6413 | μmol/L | 33.7931 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.739 | 135874.3609 | 271639.8335 | 32.55 | 27.7
63559 | 2021-04-02 16:21 | 43.0039 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 160.5154 | μmol/L | 33.7931 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.748 | 135926.767 | 271649.1435 | 32.55 | 27.7
63569 | 2021-04-02 16:22 | 43.3368 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 160.4595 | μmol/L | 33.7931 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.752 | 135968.352 | 271623.6581 | 32.55 | 27.7
63579 | 2021-04-02 16:22 | 43.67 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 160.302 | μmol/L | 33.7992 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.761 | 136029.83 | 271633.7556 | 32.55 | 27.7
63589 | 2021-04-02 16:22 | 44.0037 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 160.264 | μmol/L | 33.7931 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.766 | 136076.7528 | 271632.9868 | 32.55 | 27.7
63599 | 2021-04-02 16:23 | 44.3365 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 160.2895 | μmol/L | 33.7746 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.771 | 136094.9767 | 271630.1137 | 32.55 | 27.7
63609 | 2021-04-02 16:23 | 44.6702 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 160.1347 | μmol/L | 33.7992 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.773 | 136133.5627 | 271635.7019 | 32.55 | 27.7
63619 | 2021-04-02 16:23 | 45.0039 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 159.8825 | μmol/L | 33.8238 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.782 | 136190.2321 | 271637.3697 | 32.55 | 27.7
63629 | 2021-04-02 16:24 | 45.3368 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 159.7256 | μmol/L | 33.8299 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.791 | 136249.5321 | 271652.3054 | 32.55 | 27.7
63639 | 2021-04-02 16:24 | 45.6705 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 159.569 | μmol/L | 33.8361 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.8 | 136320.3893 | 271650.2979 | 32.55 | 27.7
63649 | 2021-04-02 16:24 | 46.0034 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 159.6655 | μmol/L | 33.7931 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.809 | 136400.8463 | 271640.0854 | 32.55 | 27.7
63659 | 2021-04-02 16:25 | 46.337 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 159.2955 | μmol/L | 33.8299 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.822 | 136476.1312 | 271636.8056 | 32.55 | 27.7
63669 | 2021-04-02 16:25 | 46.6706 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 159.1039 | μmol/L | 33.8484 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.829 | 136534.0086 | 271641.1563 | 32.55 | 27.7
63679 | 2021-04-02 16:25 | 47.0037 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 159.1294 | μmol/L | 33.8299 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.834 | 136595.0576 | 271642.3617 | 32.55 | 27.7
63689 | 2021-04-02 16:26 | 47.3365 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 159.145 | μmol/L | 33.8054 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.842 | 136627.8412 | 271626.4446 | 32.55 | 27.7
63699 | 2021-04-02 16:26 | 47.6699 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 159.0266 | μmol/L | 33.8176 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.846 | 136657.7061 | 271632.3137 | 32.55 | 27.7
63709 | 2021-04-02 16:26 | 48.0036 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 159.072 | μmol/L | 33.8115 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.845 | 136700.5008 | 271612.3024 | 32.55 | 27.7
63719 | 2021-04-02 16:27 | 48.3372 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 158.7409 | μmol/L | 33.8545 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.853 | 136718.6729 | 271632.254 | 32.55 | 27.7
63729 | 2021-04-02 16:27 | 48.6701 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 158.8216 | μmol/L | 33.8361 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.854 | 136747.8846 | 271617.0111 | 32.55 | 27.7
63739 | 2021-04-02 16:27 | 49.0037 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 158.7349 | μmol/L | 33.8422 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.858 | 136767.304 | 271631.8314 | 32.55 | 27.7
63749 | 2021-04-02 16:28 | 49.3368 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 158.7466 | μmol/L | 33.8238 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.864 | 136805.8629 | 271613.7561 | 32.55 | 27.7
63759 | 2021-04-02 16:28 | 49.6706 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 158.7544 | μmol/L | 33.8115 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.868 | 136828.0393 | 271616.6353 | 32.55 | 27.7
63769 | 2021-04-02 16:28 | 50.0034 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 158.6226 | μmol/L | 33.8238 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.873 | 136857.7894 | 271617.9817 | 32.55 | 27.7
63779 | 2021-04-02 16:29 | 50.3373 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 158.6777 | μmol/L | 33.8238 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.869 | 136859.0154 | 271624.2907 | 32.55 | 27.7
63789 | 2021-04-02 16:29 | 50.6702 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 158.5498 | μmol/L | 33.8299 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.876 | 136901.5444 | 271625.3012 | 32.55 | 27.7
63799 | 2021-04-02 16:29 | 51.0035 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 158.4633 | μmol/L | 33.8361 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.88 | 136926.0433 | 271616.4055 | 32.55 | 27.7
63809 | 2021-04-02 16:30 | 51.3371 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 158.2768 | μmol/L | 33.8484 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.889 | 136987.3161 | 271625.9659 | 32.55 | 27.7
63819 | 2021-04-02 16:30 | 51.67 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 158.2257 | μmol/L | 33.8422 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.895 | 137031.2668 | 271617.1699 | 32.55 | 27.7
63829 | 2021-04-02 16:30 | 52.0037 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 158.314 | μmol/L | 33.8115 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.9 | 137066.4338 | 271609.453 | 32.55 | 27.7
63839 | 2021-04-02 16:31 | 52.3373 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 158.2139 | μmol/L | 33.8176 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.905 | 137108.9383 | 271596.1981 | 32.55 | 27.7
63849 | 2021-04-02 16:31 | 52.6703 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 158.0552 | μmol/L | 33.8299 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.912 | 137138.727 | 271611.0694 | 32.55 | 27.7
63859 | 2021-04-02 16:31 | 53.0038 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 158.1394 | μmol/L | 33.8054 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.915 | 137161.6897 | 271604.3346 | 32.55 | 27.7
63869 | 2021-04-02 16:32 | 53.3366 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 158.0845 | μmol/L | 33.8054 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.919 | 137197.6817 | 271616.7372 | 32.55 | 27.7
63879 | 2021-04-02 16:32 | 53.6704 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 157.9807 | μmol/L | 33.8176 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.922 | 137213.9418 | 271614.4765 | 32.55 | 27.7
63889 | 2021-04-02 16:32 | 54.0033 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 157.6873 | μmol/L | 33.8484 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.932 | 137277.2635 | 271609.9276 | 32.55 | 27.7
63899 | 2021-04-02 16:33 | 54.337 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 157.66 | μmol/L | 33.8484 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.934 | 137319.3434 | 271611.1201 | 32.55 | 27.7