## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-02 18:09

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
63912 | 2021-04-02 17:17 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.9687 | μmol/L | 34.4911 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.943 | 109941.6296 | 302207.5125 | 30.45 | 114.2
63922 | 2021-04-02 17:18 | 0.33793 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.5552 | μmol/L | 34.5528 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.948 | 109965.4525 | 302207.0468 | 30.45 | 114.2
63932 | 2021-04-02 17:18 | 0.67091 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.6122 | μmol/L | 34.5343 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.951 | 110018.4746 | 302212.9125 | 30.45 | 114.2
63942 | 2021-04-02 17:18 | 1.0045 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.7898 | μmol/L | 34.4911 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.955 | 110013.231 | 302183.094 | 30.45 | 114.2
63952 | 2021-04-02 17:19 | 1.3382 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.3553 | μmol/L | 34.5404 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.966 | 110045.0027 | 302173.9278 | 30.45 | 114.2
63962 | 2021-04-02 17:19 | 1.6711 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.242 | μmol/L | 34.5466 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.972 | 110058.2461 | 302162.8952 | 30.45 | 114.2
63972 | 2021-04-02 17:19 | 2.0049 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.0039 | μmol/L | 34.5775 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.976 | 110091.0214 | 302147.2358 | 30.45 | 114.2
63982 | 2021-04-02 17:20 | 2.3376 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 165.8961 | μmol/L | 34.5836 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.981 | 110119.6787 | 302131.4871 | 30.45 | 114.2
63992 | 2021-04-02 17:20 | 2.6714 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.0822 | μmol/L | 34.5713 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.973 | 110111.2407 | 302116.8471 | 30.45 | 114.2
64002 | 2021-04-02 17:20 | 3.0049 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 165.9192 | μmol/L | 34.5713 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.984 | 110143.5822 | 302111.7144 | 30.45 | 114.2
64012 | 2021-04-02 17:21 | 3.3377 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 165.7517 | μmol/L | 34.5343 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.009 | 110238.7832 | 302087.3178 | 30.45 | 114.2
64022 | 2021-04-02 17:21 | 3.6713 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 165.6062 | μmol/L | 34.5528 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.012 | 110254.1984 | 302055.1216 | 30.45 | 114.2
64032 | 2021-04-02 17:21 | 4.0048 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 165.5259 | μmol/L | 34.5404 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.022 | 110330.9014 | 302058.5667 | 30.45 | 114.2
64042 | 2021-04-02 17:22 | 4.3376 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 165.2691 | μmol/L | 34.5713 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.028 | 110361.5812 | 302043.9833 | 30.45 | 114.2
64052 | 2021-04-02 17:22 | 4.6711 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 164.9201 | μmol/L | 34.6083 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.038 | 110387.3095 | 302021.5926 | 30.45 | 114.2
64062 | 2021-04-02 17:22 | 5.0047 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 164.7605 | μmol/L | 34.6269 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.042 | 110396.7591 | 301984.5574 | 30.45 | 114.2
64072 | 2021-04-02 17:23 | 5.3382 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 164.4524 | μmol/L | 34.6269 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.063 | 110509.714 | 301984.6272 | 30.45 | 114.2
64082 | 2021-04-02 17:23 | 5.671 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 164.6829 | μmol/L | 34.5898 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.061 | 110519.2218 | 301960.5198 | 30.45 | 114.2
64092 | 2021-04-02 17:23 | 6.0047 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 164.62 | μmol/L | 34.596 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.063 | 110541.9063 | 301949.9339 | 30.45 | 114.2
64102 | 2021-04-02 17:24 | 6.3376 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 164.5383 | μmol/L | 34.5651 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.08 | 110606.3498 | 301934.5174 | 30.45 | 114.2
64112 | 2021-04-02 17:24 | 6.6715 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 164.2037 | μmol/L | 34.5836 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.096 | 110671.1996 | 301917.2914 | 30.45 | 114.2
64122 | 2021-04-02 17:24 | 7.0045 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 163.874 | μmol/L | 34.596 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.114 | 110763.8776 | 301898.2708 | 30.45 | 114.2
64132 | 2021-04-02 17:25 | 7.3375 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 163.5802 | μmol/L | 34.6207 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.125 | 110828.8746 | 301874.165 | 30.45 | 114.2
64142 | 2021-04-02 17:25 | 7.6711 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 163.2246 | μmol/L | 34.6515 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.138 | 110871.5519 | 301874.4804 | 30.45 | 114.2
64152 | 2021-04-02 17:25 | 8.0043 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.972 | μmol/L | 34.6392 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.16 | 110948.7664 | 301855.3193 | 30.45 | 114.2
64162 | 2021-04-02 17:26 | 8.338 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 163.1449 | μmol/L | 34.5775 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.171 | 111020.7276 | 301824.5593 | 30.45 | 114.2
64172 | 2021-04-02 17:26 | 8.6709 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.7845 | μmol/L | 34.596 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.189 | 111062.1826 | 301814.883 | 30.45 | 114.2
64182 | 2021-04-02 17:26 | 9.0048 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.7114 | μmol/L | 34.6392 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.178 | 111050.2272 | 301809.9923 | 30.45 | 114.2
64192 | 2021-04-02 17:27 | 9.3377 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.5881 | μmol/L | 34.6083 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.198 | 111142.4357 | 301804.7114 | 30.45 | 114.2
64202 | 2021-04-02 17:27 | 9.6714 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.431 | μmol/L | 34.6269 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.202 | 111173.0431 | 301782.1225 | 30.45 | 114.2
64212 | 2021-04-02 17:27 | 10.0043 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.1342 | μmol/L | 34.6392 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.218 | 111261.474 | 301767.1938 | 30.45 | 114.2
64222 | 2021-04-02 17:28 | 10.338 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.1437 | μmol/L | 34.5836 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.238 | 111338.2087 | 301759.6579 | 30.45 | 114.2
64232 | 2021-04-02 17:28 | 10.6715 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.3317 | μmol/L | 34.5404 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.241 | 111351.7484 | 301724.707 | 30.45 | 114.2
64242 | 2021-04-02 17:28 | 11.0043 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.3053 | μmol/L | 34.5158 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.252 | 111418.287 | 301724.3101 | 30.45 | 114.2
64252 | 2021-04-02 17:29 | 11.3381 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.9864 | μmol/L | 34.5404 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.265 | 111469.0406 | 301716.4505 | 30.45 | 114.2
64262 | 2021-04-02 17:29 | 11.671 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.9517 | μmol/L | 34.5281 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.272 | 111504.2926 | 301679.6583 | 30.45 | 114.2
64272 | 2021-04-02 17:29 | 12.0046 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.5062 | μmol/L | 34.5713 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.287 | 111564.8591 | 301670.7231 | 30.45 | 114.2
64282 | 2021-04-02 17:30 | 12.3375 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.6791 | μmol/L | 34.5281 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.291 | 111592.4878 | 301658.8556 | 30.45 | 114.2
64292 | 2021-04-02 17:30 | 12.6715 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.7237 | μmol/L | 34.5466 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.281 | 111550.1149 | 301636.5562 | 30.45 | 114.2
64302 | 2021-04-02 17:30 | 13.0043 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.4044 | μmol/L | 34.5528 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.301 | 111632.3659 | 301634.1266 | 30.45 | 114.2
64312 | 2021-04-02 17:31 | 13.3382 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.2629 | μmol/L | 34.5713 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.304 | 111663.0136 | 301615.8217 | 30.45 | 114.2
64322 | 2021-04-02 17:31 | 13.6709 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.4759 | μmol/L | 34.5528 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.296 | 111639.4767 | 301607.7424 | 30.45 | 114.2
64332 | 2021-04-02 17:31 | 14.0046 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.3201 | μmol/L | 34.5713 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.3 | 111684.8291 | 301598.7885 | 30.45 | 114.2
64342 | 2021-04-02 17:32 | 14.3375 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.486 | μmol/L | 34.559 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.293 | 111656.7115 | 301574.6067 | 30.45 | 114.2
64352 | 2021-04-02 17:32 | 14.6713 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.3 | μmol/L | 34.559 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.306 | 111722.2882 | 301564.9338 | 30.45 | 114.2
64362 | 2021-04-02 17:32 | 15.0042 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.0887 | μmol/L | 34.596 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.307 | 111723.2174 | 301530.8312 | 30.45 | 114.2
64372 | 2021-04-02 17:33 | 15.338 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.1942 | μmol/L | 34.5466 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.318 | 111765.5726 | 301526.8749 | 30.45 | 114.2
64382 | 2021-04-02 17:33 | 15.6709 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.1116 | μmol/L | 34.5836 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.31 | 111743.8406 | 301515.9434 | 30.45 | 114.2
64392 | 2021-04-02 17:33 | 16.0046 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 160.4961 | μmol/L | 34.6083 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.344 | 111881.5644 | 301504.3817 | 30.45 | 114.2
64402 | 2021-04-02 17:34 | 16.3381 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 160.5672 | μmol/L | 34.6083 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.339 | 111896.2969 | 301490.1602 | 30.45 | 114.2
64412 | 2021-04-02 17:34 | 16.671 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 160.3399 | μmol/L | 34.6083 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.355 | 111963.3754 | 301477.658 | 30.45 | 114.2
64422 | 2021-04-02 17:34 | 17.0047 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 160.2461 | μmol/L | 34.6207 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.357 | 111982.0199 | 301468.733 | 30.45 | 114.2
64432 | 2021-04-02 17:35 | 17.3376 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 160.198 | μmol/L | 34.6083 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.365 | 112041.7117 | 301443.4496 | 30.45 | 114.2
64442 | 2021-04-02 17:35 | 17.6714 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 160.2917 | μmol/L | 34.596 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.363 | 112044.9185 | 301435.8127 | 30.45 | 114.2
64452 | 2021-04-02 17:35 | 18.0045 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 159.8279 | μmol/L | 34.6515 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.375 | 112095.6221 | 301424.0837 | 30.45 | 114.2
64462 | 2021-04-02 17:36 | 18.3383 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 159.366 | μmol/L | 34.7256 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.38 | 112145.7172 | 301406.6969 | 30.45 | 114.2
64472 | 2021-04-02 17:36 | 18.6712 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 159.3359 | μmol/L | 34.6886 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.396 | 112215.4692 | 301390.2326 | 30.45 | 114.2
64482 | 2021-04-02 17:36 | 19.0042 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 159.4791 | μmol/L | 34.6454 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.402 | 112247.8703 | 301378.3233 | 30.45 | 114.2
64492 | 2021-04-02 17:37 | 19.3378 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 159.324 | μmol/L | 34.6454 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.413 | 112299.2842 | 301373.1166 | 30.45 | 114.2
64502 | 2021-04-02 17:37 | 19.6717 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 158.9277 | μmol/L | 34.6886 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.425 | 112359.7243 | 301342.2223 | 30.45 | 114.2
64512 | 2021-04-02 17:37 | 20.0046 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 159.0241 | μmol/L | 34.6515 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.432 | 112411.5729 | 301341.2879 | 30.45 | 114.2
64522 | 2021-04-02 17:38 | 20.3383 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 158.9301 | μmol/L | 34.6454 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.441 | 112458.8896 | 301324.0098 | 30.45 | 114.2
64532 | 2021-04-02 17:38 | 20.6713 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 158.9853 | μmol/L | 34.6269 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.444 | 112486.0792 | 301309.5619 | 30.45 | 114.2
64542 | 2021-04-02 17:38 | 21.0042 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 158.5148 | μmol/L | 34.6577 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.466 | 112582.243 | 301303.173 | 30.45 | 114.2
64552 | 2021-04-02 17:39 | 21.338 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 158.2831 | μmol/L | 34.6886 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.471 | 112637.1508 | 301284.2477 | 30.45 | 114.2
64562 | 2021-04-02 17:39 | 21.6716 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 158.1713 | μmol/L | 34.6886 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.479 | 112678.1597 | 301260.8948 | 30.45 | 114.2
64572 | 2021-04-02 17:39 | 22.0045 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 158.0221 | μmol/L | 34.6824 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.492 | 112735.7636 | 301263.8887 | 30.45 | 114.2
64582 | 2021-04-02 17:40 | 22.3382 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.6607 | μmol/L | 34.7009 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.511 | 112806.2955 | 301252.6232 | 30.45 | 114.2
64592 | 2021-04-02 17:40 | 22.671 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.336 | μmol/L | 34.6886 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.539 | 112950.1591 | 301226.6868 | 30.45 | 114.2
64602 | 2021-04-02 17:40 | 23.0042 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.1054 | μmol/L | 34.7009 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.551 | 113008.3019 | 301231.4394 | 30.45 | 114.2
64612 | 2021-04-02 17:41 | 23.3381 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 156.2929 | μmol/L | 34.7935 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.575 | 113106.237 | 301207.2579 | 30.45 | 114.2
64622 | 2021-04-02 17:41 | 23.671 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 156.3006 | μmol/L | 34.7256 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.6 | 113234.1428 | 301196.1159 | 30.45 | 114.2
64632 | 2021-04-02 17:41 | 24.0041 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 156.3084 | μmol/L | 34.6762 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.618 | 113307.7907 | 301183.0375 | 30.45 | 114.2
64642 | 2021-04-02 17:42 | 24.3377 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.9839 | μmol/L | 34.7071 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.63 | 113385.4615 | 301186.5134 | 30.45 | 114.2
64652 | 2021-04-02 17:42 | 24.6713 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.9007 | μmol/L | 34.6701 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.65 | 113495.0661 | 301168.1287 | 30.45 | 114.2
64662 | 2021-04-02 17:42 | 25.0041 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.4865 | μmol/L | 34.7318 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.657 | 113529.3118 | 301155.9756 | 30.45 | 114.2
64672 | 2021-04-02 17:43 | 25.3381 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.545 | μmol/L | 34.6886 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.669 | 113595.7483 | 301136.7186 | 30.45 | 114.2
64682 | 2021-04-02 17:43 | 25.6711 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.7225 | μmol/L | 34.6701 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.663 | 113586.7024 | 301129.2687 | 30.45 | 114.2
64692 | 2021-04-02 17:43 | 26.0048 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.3905 | μmol/L | 34.7133 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.671 | 113656.4443 | 301117.0646 | 30.45 | 114.2
64702 | 2021-04-02 17:44 | 26.3382 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.2809 | μmol/L | 34.6948 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.686 | 113700.7256 | 301106.2014 | 30.45 | 114.2
64712 | 2021-04-02 17:44 | 26.6711 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.1485 | μmol/L | 34.6701 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.705 | 113822.3248 | 301100.9253 | 30.45 | 114.2
64722 | 2021-04-02 17:44 | 27.0049 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.9217 | μmol/L | 34.6824 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.717 | 113860.172 | 301088.8452 | 30.45 | 114.2
64732 | 2021-04-02 17:45 | 27.3379 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.2012 | μmol/L | 34.596 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.729 | 113888.5312 | 301078.6108 | 30.45 | 114.2
64742 | 2021-04-02 17:45 | 27.6716 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.8074 | μmol/L | 34.633 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.744 | 113978.0094 | 301069.2025 | 30.45 | 114.2
64752 | 2021-04-02 17:45 | 28.0045 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.4863 | μmol/L | 34.6454 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.763 | 114067.9223 | 301049.9254 | 30.45 | 114.2
64762 | 2021-04-02 17:46 | 28.3375 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.3057 | μmol/L | 34.6515 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.774 | 114133.4489 | 301035.1461 | 30.45 | 114.2
64772 | 2021-04-02 17:46 | 28.6715 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.2068 | μmol/L | 34.6762 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.772 | 114160.8059 | 301027.1197 | 30.45 | 114.2
64782 | 2021-04-02 17:46 | 29.0046 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.2201 | μmol/L | 34.6577 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.778 | 114181.0709 | 301016.4586 | 30.45 | 114.2
64792 | 2021-04-02 17:47 | 29.3376 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.1751 | μmol/L | 34.6639 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.779 | 114204.6098 | 301005.9962 | 30.45 | 114.2
64802 | 2021-04-02 17:47 | 29.6708 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.0622 | μmol/L | 34.6515 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.792 | 114282.232 | 301001.2259 | 30.45 | 114.2
64812 | 2021-04-02 17:47 | 30.0046 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.0846 | μmol/L | 34.6392 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.795 | 114304.2231 | 300987.4022 | 30.45 | 114.2
64822 | 2021-04-02 17:48 | 30.3383 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.0887 | μmol/L | 34.6145 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.804 | 114334.7522 | 300981.9595 | 30.45 | 114.2
64832 | 2021-04-02 17:48 | 30.6713 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 153.7791 | μmol/L | 34.6886 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.799 | 114319.3994 | 300967.006 | 30.45 | 114.2
64842 | 2021-04-02 17:48 | 31.0049 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 153.846 | μmol/L | 34.633 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.815 | 114379.9091 | 300968.3784 | 30.45 | 114.2
64852 | 2021-04-02 17:49 | 31.3378 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 153.8319 | μmol/L | 34.596 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.83 | 114463.3378 | 300953.9191 | 30.45 | 114.2
64862 | 2021-04-02 17:49 | 31.6711 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 153.5043 | μmol/L | 34.6022 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.852 | 114545.2095 | 300932.7739 | 30.45 | 114.2
64872 | 2021-04-02 17:49 | 32.0048 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 153.8272 | μmol/L | 34.5836 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.835 | 114485.834 | 300930.0086 | 30.45 | 114.2
64882 | 2021-04-02 17:50 | 32.3377 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 153.6974 | μmol/L | 34.6145 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.833 | 114534.9527 | 300926.313 | 30.45 | 114.2
64892 | 2021-04-02 17:50 | 32.6714 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 153.5087 | μmol/L | 34.596 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.854 | 114595.8297 | 300914.2948 | 30.45 | 114.2
64902 | 2021-04-02 17:50 | 33.0044 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 153.2317 | μmol/L | 34.6639 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.849 | 114609.6296 | 300915.0752 | 30.45 | 114.2
64912 | 2021-04-02 17:51 | 33.338 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 152.9858 | μmol/L | 34.6701 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.865 | 114679.5098 | 300906.1805 | 30.45 | 114.2
64922 | 2021-04-02 17:51 | 33.6709 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 152.9724 | μmol/L | 34.6515 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.873 | 114710.5517 | 300891.596 | 30.45 | 114.2
64932 | 2021-04-02 17:51 | 34.0047 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 152.6691 | μmol/L | 34.7009 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.877 | 114791.7305 | 300891.3026 | 30.45 | 114.2
64942 | 2021-04-02 17:52 | 34.3376 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 152.2634 | μmol/L | 34.7812 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.877 | 114807.1133 | 300875.4757 | 30.45 | 114.2
64952 | 2021-04-02 17:52 | 34.6714 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 152.1744 | μmol/L | 34.7935 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.879 | 114851.858 | 300868.6458 | 30.45 | 114.2
64962 | 2021-04-02 17:52 | 35.0046 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 151.6853 | μmol/L | 34.8614 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.89 | 114886.212 | 300858.051 | 30.45 | 114.2
64972 | 2021-04-02 17:53 | 35.3376 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 151.4954 | μmol/L | 34.8491 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.909 | 114970.6613 | 300837.1969 | 30.45 | 114.2
64982 | 2021-04-02 17:53 | 35.6715 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 151.2534 | μmol/L | 34.8182 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.939 | 115098.4281 | 300834.0197 | 30.45 | 114.2
64992 | 2021-04-02 17:53 | 36.0044 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 151.5636 | μmol/L | 34.7565 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.939 | 115154.6074 | 300833.2777 | 30.45 | 114.2
65002 | 2021-04-02 17:54 | 36.3382 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.9668 | μmol/L | 34.8305 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.956 | 115215.3156 | 300821.8703 | 30.45 | 114.2
65012 | 2021-04-02 17:54 | 36.671 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.7816 | μmol/L | 34.8491 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.963 | 115286.2291 | 300809.381 | 30.45 | 114.2
65022 | 2021-04-02 17:54 | 37.0046 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.663 | μmol/L | 34.8491 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.972 | 115348.5235 | 300811.8491 | 30.45 | 114.2
65032 | 2021-04-02 17:55 | 37.3375 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.6332 | μmol/L | 34.8182 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 21.986 | 115414.9681 | 300798.3042 | 30.45 | 114.2
65042 | 2021-04-02 17:55 | 37.6714 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.4193 | μmol/L | 34.7873 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.014 | 115542.827 | 300796.961 | 30.45 | 114.2
65052 | 2021-04-02 17:55 | 38.0045 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.6047 | μmol/L | 34.7318 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.021 | 115598.6743 | 300786.0612 | 30.45 | 114.2
65062 | 2021-04-02 17:56 | 38.3382 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.3936 | μmol/L | 34.7688 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.023 | 115651.18 | 300777.6723 | 30.45 | 114.2
65072 | 2021-04-02 17:56 | 38.6711 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 149.937 | μmol/L | 34.8367 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.032 | 115683.4465 | 300764.4031 | 30.45 | 114.2
65082 | 2021-04-02 17:56 | 39.0041 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 149.1963 | μmol/L | 34.954 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.044 | 115741.2648 | 300756.1993 | 30.45 | 114.2
65092 | 2021-04-02 17:57 | 39.3379 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 149.7825 | μmol/L | 34.7626 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.072 | 115874.2621 | 300746.5196 | 30.45 | 114.2
65102 | 2021-04-02 17:57 | 39.6711 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 149.5294 | μmol/L | 34.7873 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.082 | 115943.5577 | 300746.322 | 30.45 | 114.2
65112 | 2021-04-02 17:57 | 40.0041 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 149.3437 | μmol/L | 34.7565 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.108 | 116056.179 | 300741.6868 | 30.45 | 114.2
65122 | 2021-04-02 17:58 | 40.3383 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 149.3918 | μmol/L | 34.7441 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.109 | 116091.4445 | 300739.0782 | 30.45 | 114.2
65132 | 2021-04-02 17:58 | 40.6714 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 149.0517 | μmol/L | 34.7997 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.114 | 116147.1361 | 300727.2078 | 30.45 | 114.2
65142 | 2021-04-02 17:58 | 41.0045 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 149.2136 | μmol/L | 34.7565 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.118 | 116197.471 | 300710.7779 | 30.45 | 114.2
65152 | 2021-04-02 17:59 | 41.3375 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 148.9103 | μmol/L | 34.7626 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.139 | 116264.0336 | 300707.5237 | 30.45 | 114.2
65162 | 2021-04-02 17:59 | 41.6713 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 149.0719 | μmol/L | 34.7194 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.143 | 116318.4144 | 300702.4974 | 30.45 | 114.2
65172 | 2021-04-02 17:59 | 42.0042 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 148.5788 | μmol/L | 34.738 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.174 | 116445.4445 | 300699.0526 | 30.45 | 114.2
65182 | 2021-04-02 18:00 | 42.3375 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 148.7005 | μmol/L | 34.7133 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.174 | 116460.1863 | 300705.1576 | 30.45 | 114.2
65192 | 2021-04-02 18:00 | 42.6712 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 148.3675 | μmol/L | 34.7441 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.188 | 116512.723 | 300693.391 | 30.45 | 114.2
65202 | 2021-04-02 18:00 | 43.0049 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 148.3773 | μmol/L | 34.7133 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.199 | 116601.9096 | 300684.9946 | 30.45 | 114.2
65212 | 2021-04-02 18:01 | 43.3381 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 148.0119 | μmol/L | 34.7194 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.225 | 116718.4053 | 300667.4463 | 30.45 | 114.2
65222 | 2021-04-02 18:01 | 43.6709 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 147.763 | μmol/L | 34.7256 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.242 | 116794.5763 | 300671.0949 | 30.45 | 114.2
65232 | 2021-04-02 18:01 | 44.0045 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 147.6611 | μmol/L | 34.7071 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.257 | 116891.6542 | 300662.7782 | 30.45 | 114.2
65242 | 2021-04-02 18:02 | 44.3375 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 147.4869 | μmol/L | 34.6824 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.28 | 116982.6121 | 300650.879 | 30.45 | 114.2
65252 | 2021-04-02 18:02 | 44.6714 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 147.2384 | μmol/L | 34.7071 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.29 | 117053.441 | 300654.6006 | 30.45 | 114.2
65262 | 2021-04-02 18:02 | 45.0042 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 147.1114 | μmol/L | 34.6886 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.307 | 117116.8884 | 300654.2332 | 30.45 | 114.2
65272 | 2021-04-02 18:03 | 45.3379 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 147.1888 | μmol/L | 34.6701 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.308 | 117188.3858 | 300639.4487 | 30.45 | 114.2
65282 | 2021-04-02 18:03 | 45.671 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 146.9981 | μmol/L | 34.6515 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.33 | 117279.9257 | 300636.967 | 30.45 | 114.2
65292 | 2021-04-02 18:03 | 46.0048 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 146.5707 | μmol/L | 34.7133 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.34 | 117329.3137 | 300625.2445 | 30.45 | 114.2
65302 | 2021-04-02 18:04 | 46.3375 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 146.3593 | μmol/L | 34.7071 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.359 | 117428.403 | 300628.3474 | 30.45 | 114.2
65312 | 2021-04-02 18:04 | 46.6714 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 145.9668 | μmol/L | 34.775 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.364 | 117455.4948 | 300621.3707 | 30.45 | 114.2
65322 | 2021-04-02 18:04 | 47.0043 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 146.391 | μmol/L | 34.6639 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.373 | 117499.8809 | 300616.4581 | 30.45 | 114.2
65332 | 2021-04-02 18:05 | 47.3379 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 146.3284 | μmol/L | 34.6454 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.385 | 117560.2171 | 300601.7517 | 30.45 | 114.2
65342 | 2021-04-02 18:05 | 47.6716 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 146.1474 | μmol/L | 34.633 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.404 | 117629.0105 | 300601.6928 | 30.45 | 114.2
65352 | 2021-04-02 18:05 | 48.0046 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 146.0072 | μmol/L | 34.6515 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.408 | 117676.9944 | 300601.6505 | 30.45 | 114.2
65362 | 2021-04-02 18:06 | 48.3375 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 145.7066 | μmol/L | 34.6824 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.42 | 117755.1793 | 300588.1128 | 30.45 | 114.2
65372 | 2021-04-02 18:06 | 48.671 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 145.9937 | μmol/L | 34.6701 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.402 | 117709.5536 | 300583.6473 | 30.45 | 114.2
65382 | 2021-04-02 18:06 | 49.0049 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 145.8799 | μmol/L | 34.6701 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.411 | 117779.373 | 300577.733 | 30.45 | 114.2
65392 | 2021-04-02 18:07 | 49.3379 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 145.5829 | μmol/L | 34.7133 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.418 | 117795.9897 | 300585.1465 | 30.45 | 114.2
65402 | 2021-04-02 18:07 | 49.6716 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 145.9747 | μmol/L | 34.6269 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.42 | 117839.7655 | 300580.5045 | 30.45 | 114.2
65412 | 2021-04-02 18:07 | 50.0049 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 145.2212 | μmol/L | 34.7256 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.442 | 117940.1862 | 300572.5621 | 30.45 | 114.2
65422 | 2021-04-02 18:08 | 50.3377 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 145.0932 | μmol/L | 34.6948 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.464 | 118047.3577 | 300567.7504 | 30.45 | 114.2
65432 | 2021-04-02 18:08 | 50.6713 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 145.1305 | μmol/L | 34.6269 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.487 | 118136.5631 | 300568.4587 | 30.45 | 114.2
65442 | 2021-04-02 18:08 | 51.0044 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 145.0053 | μmol/L | 34.6948 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.471 | 118150.5965 | 300551.1978 | 30.45 | 114.2