## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-02 18:09

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
63913 | 2021-04-02 17:17 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 164.1679 | μmol/L | 34.4792 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.178 | 163091.8069 | 297181.3762 | 59.9307 | 49.4
63923 | 2021-04-02 17:18 | 0.32962 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 163.9844 | μmol/L | 34.4916 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.186 | 163156.1277 | 297172.7352 | 59.9307 | 49.4
63933 | 2021-04-02 17:18 | 0.66325 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 163.6877 | μmol/L | 34.4792 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.211 | 163329.1626 | 297152.5018 | 59.9307 | 49.4
63943 | 2021-04-02 17:18 | 0.99602 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 163.4091 | μmol/L | 34.504 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.221 | 163451.8437 | 297141.2205 | 59.9307 | 49.4
63953 | 2021-04-02 17:19 | 1.3296 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 163.1628 | μmol/L | 34.504 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.238 | 163571.1189 | 297111.1311 | 59.9307 | 49.4
63963 | 2021-04-02 17:19 | 1.6627 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 162.8563 | μmol/L | 34.5288 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.25 | 163670.4649 | 297107.7912 | 59.9307 | 49.4
63973 | 2021-04-02 17:19 | 1.9965 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 162.6875 | μmol/L | 34.5226 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.264 | 163774.627 | 297086.0379 | 59.9307 | 49.4
63983 | 2021-04-02 17:20 | 2.3301 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 162.5909 | μmol/L | 34.5164 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.273 | 163870.0688 | 297063.1632 | 59.9307 | 49.4
63993 | 2021-04-02 17:20 | 2.6629 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 162.2755 | μmol/L | 34.535 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.288 | 163980.2506 | 297058.7121 | 59.9307 | 49.4
64003 | 2021-04-02 17:20 | 2.9965 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 161.9607 | μmol/L | 34.5536 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.303 | 164124.0869 | 297028.0413 | 59.9307 | 49.4
64013 | 2021-04-02 17:21 | 3.3296 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 161.6312 | μmol/L | 34.5536 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.326 | 164283.1341 | 297015.8769 | 59.9307 | 49.4
64023 | 2021-04-02 17:21 | 3.6633 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 161.3267 | μmol/L | 34.5598 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.345 | 164446.0912 | 297006.6696 | 59.9307 | 49.4
64033 | 2021-04-02 17:21 | 3.9962 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 161.0469 | μmol/L | 34.5722 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.36 | 164565.0109 | 296985.3262 | 59.9307 | 49.4
64043 | 2021-04-02 17:22 | 4.3299 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 160.9222 | μmol/L | 34.5474 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.378 | 164697.0261 | 296985.0514 | 59.9307 | 49.4
64053 | 2021-04-02 17:22 | 4.6635 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 160.7854 | μmol/L | 34.5598 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.383 | 164731.7989 | 296970.9057 | 59.9307 | 49.4
64063 | 2021-04-02 17:22 | 4.9964 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 160.3187 | μmol/L | 34.597 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.402 | 164845.4517 | 296958.8414 | 59.9307 | 49.4
64073 | 2021-04-02 17:23 | 5.3299 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 160.1064 | μmol/L | 34.597 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.417 | 164948.0346 | 296940.1652 | 59.9307 | 49.4
64083 | 2021-04-02 17:23 | 5.6635 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 160.0208 | μmol/L | 34.5784 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.43 | 165057.7104 | 296923.4667 | 59.9307 | 49.4
64093 | 2021-04-02 17:23 | 5.9964 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 159.7577 | μmol/L | 34.5908 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.444 | 165138.8659 | 296910.8966 | 59.9307 | 49.4
64103 | 2021-04-02 17:24 | 6.3301 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 159.757 | μmol/L | 34.5722 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.451 | 165208.2116 | 296889.3916 | 59.9307 | 49.4
64113 | 2021-04-02 17:24 | 6.6628 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 159.7889 | μmol/L | 34.5474 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.458 | 165325.8872 | 296895.9363 | 59.9307 | 49.4
64123 | 2021-04-02 17:24 | 6.9966 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 159.4138 | μmol/L | 34.5598 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.48 | 165457.3919 | 296880.4271 | 59.9307 | 49.4
64133 | 2021-04-02 17:25 | 7.3296 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 159.129 | μmol/L | 34.5846 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.491 | 165528.1855 | 296855.7471 | 59.9307 | 49.4
64143 | 2021-04-02 17:25 | 7.6632 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 159.0493 | μmol/L | 34.5784 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.499 | 165629.6378 | 296852.1175 | 59.9307 | 49.4
64153 | 2021-04-02 17:25 | 7.9963 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 158.7136 | μmol/L | 34.597 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.516 | 165738.5842 | 296841.6929 | 59.9307 | 49.4
64163 | 2021-04-02 17:26 | 8.3299 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 158.6387 | μmol/L | 34.5846 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.526 | 165844.4334 | 296839.5972 | 59.9307 | 49.4
64173 | 2021-04-02 17:26 | 8.6628 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 158.4989 | μmol/L | 34.5846 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.536 | 165890.186 | 296813.9384 | 59.9307 | 49.4
64183 | 2021-04-02 17:26 | 8.9966 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 158.2343 | μmol/L | 34.6032 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.548 | 165959.936 | 296811.9635 | 59.9307 | 49.4
64193 | 2021-04-02 17:27 | 9.3294 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 158.1039 | μmol/L | 34.5908 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.562 | 166058.9904 | 296809.2632 | 59.9307 | 49.4
64203 | 2021-04-02 17:27 | 9.6631 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 157.923 | μmol/L | 34.5908 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.575 | 166195.9258 | 296788.5098 | 59.9307 | 49.4
64213 | 2021-04-02 17:27 | 9.9967 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 157.6452 | μmol/L | 34.5908 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.595 | 166317.229 | 296773.4436 | 59.9307 | 49.4
64223 | 2021-04-02 17:28 | 10.3296 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 157.5572 | μmol/L | 34.5784 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.606 | 166434.3058 | 296780.5513 | 59.9307 | 49.4
64233 | 2021-04-02 17:28 | 10.6634 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 157.2294 | μmol/L | 34.5722 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.632 | 166615.6276 | 296778.6617 | 59.9307 | 49.4
64243 | 2021-04-02 17:28 | 10.9962 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 157.0453 | μmol/L | 34.5784 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.643 | 166708.7591 | 296746.7735 | 59.9307 | 49.4
64253 | 2021-04-02 17:29 | 11.33 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 156.9441 | μmol/L | 34.5846 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.648 | 166779.4762 | 296754.8631 | 59.9307 | 49.4
64263 | 2021-04-02 17:29 | 11.6628 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 156.71 | μmol/L | 34.6032 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.658 | 166868.6745 | 296746.1553 | 59.9307 | 49.4
64273 | 2021-04-02 17:29 | 11.9964 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 156.5218 | μmol/L | 34.597 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.674 | 166969.0051 | 296725.4606 | 59.9307 | 49.4
64283 | 2021-04-02 17:30 | 12.3293 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 156.1877 | μmol/L | 34.6032 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.696 | 167127.9172 | 296721.732 | 59.9307 | 49.4
64293 | 2021-04-02 17:30 | 12.6632 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 155.9136 | μmol/L | 34.6032 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.716 | 167251.7262 | 296694.0358 | 59.9307 | 49.4
64303 | 2021-04-02 17:30 | 12.996 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 155.9272 | μmol/L | 34.5846 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.722 | 167307.8297 | 296695.8212 | 59.9307 | 49.4
64313 | 2021-04-02 17:31 | 13.3299 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 156.0047 | μmol/L | 34.5722 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.721 | 167308.7455 | 296660.4818 | 59.9307 | 49.4
64323 | 2021-04-02 17:31 | 13.6628 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 156.0686 | μmol/L | 34.5598 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.721 | 167326.2705 | 296661.4793 | 59.9307 | 49.4
64333 | 2021-04-02 17:31 | 13.9965 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 156.0183 | μmol/L | 34.5536 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.727 | 167394.1923 | 296663.0268 | 59.9307 | 49.4
64343 | 2021-04-02 17:32 | 14.33 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 155.7719 | μmol/L | 34.535 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.752 | 167561.1385 | 296643.0211 | 59.9307 | 49.4
64353 | 2021-04-02 17:32 | 14.6631 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 155.5989 | μmol/L | 34.5288 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.767 | 167676.0626 | 296610.8625 | 59.9307 | 49.4
64363 | 2021-04-02 17:32 | 14.9967 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 155.4534 | μmol/L | 34.5226 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.78 | 167788.016 | 296597.1526 | 59.9307 | 49.4
64373 | 2021-04-02 17:33 | 15.3295 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 155.3172 | μmol/L | 34.5226 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.79 | 167893.8253 | 296607.3215 | 59.9307 | 49.4
64383 | 2021-04-02 17:33 | 15.6634 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 155.2492 | μmol/L | 34.5226 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.795 | 167930.9915 | 296595.456 | 59.9307 | 49.4
64393 | 2021-04-02 17:33 | 15.9962 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 155.1041 | μmol/L | 34.535 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.801 | 167972.5685 | 296610.0385 | 59.9307 | 49.4
64403 | 2021-04-02 17:34 | 16.3297 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 155.1675 | μmol/L | 34.5226 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.801 | 167969.1811 | 296580.1039 | 59.9307 | 49.4
64413 | 2021-04-02 17:34 | 16.6635 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 154.7557 | μmol/L | 34.566 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.815 | 168066.6696 | 296556.9504 | 59.9307 | 49.4
64423 | 2021-04-02 17:34 | 16.9964 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 154.6429 | μmol/L | 34.5536 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.828 | 168190.987 | 296562.2482 | 59.9307 | 49.4
64433 | 2021-04-02 17:35 | 17.3302 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 154.3722 | μmol/L | 34.5722 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.841 | 168263.7557 | 296554.4968 | 59.9307 | 49.4
64443 | 2021-04-02 17:35 | 17.6632 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 154.2776 | μmol/L | 34.5722 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.848 | 168347.7087 | 296551.6965 | 59.9307 | 49.4
64453 | 2021-04-02 17:35 | 17.9962 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 153.9852 | μmol/L | 34.5846 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.865 | 168447.4828 | 296501.7347 | 59.9307 | 49.4
64463 | 2021-04-02 17:36 | 18.3299 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 153.8279 | μmol/L | 34.597 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.872 | 168516.0807 | 296507.8925 | 59.9307 | 49.4
64473 | 2021-04-02 17:36 | 18.6629 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 153.6619 | μmol/L | 34.6032 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.882 | 168618.5023 | 296499.1421 | 59.9307 | 49.4
64483 | 2021-04-02 17:36 | 18.996 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 153.3976 | μmol/L | 34.6156 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.897 | 168727.5093 | 296511.5995 | 59.9307 | 49.4
64493 | 2021-04-02 17:37 | 19.3299 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 153.1965 | μmol/L | 34.6156 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.912 | 168827.8888 | 296493.3664 | 59.9307 | 49.4
64503 | 2021-04-02 17:37 | 19.6627 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 152.8304 | μmol/L | 34.6404 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.93 | 168971.0709 | 296477.2857 | 59.9307 | 49.4
64513 | 2021-04-02 17:37 | 19.9963 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 152.4251 | μmol/L | 34.6652 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.951 | 169111.588 | 296462.4906 | 59.9307 | 49.4
64523 | 2021-04-02 17:38 | 20.33 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 152.332 | μmol/L | 34.6652 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.958 | 169196.5837 | 296444.8194 | 59.9307 | 49.4
64533 | 2021-04-02 17:38 | 20.6628 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 152.1949 | μmol/L | 34.6528 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.973 | 169304.3292 | 296452.7199 | 59.9307 | 49.4
64543 | 2021-04-02 17:38 | 20.9963 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 151.9865 | μmol/L | 34.6652 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.984 | 169372.3106 | 296427.1153 | 59.9307 | 49.4
64553 | 2021-04-02 17:39 | 21.33 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 151.8717 | μmol/L | 34.659 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.995 | 169478.1491 | 296398.8107 | 59.9307 | 49.4
64563 | 2021-04-02 17:39 | 21.6627 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 151.6466 | μmol/L | 34.659 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.012 | 169608.1306 | 296420.2845 | 59.9307 | 49.4
64573 | 2021-04-02 17:39 | 21.9964 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 151.4258 | μmol/L | 34.6714 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.024 | 169715.0451 | 296407.5691 | 59.9307 | 49.4
64583 | 2021-04-02 17:40 | 22.3302 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 151.2806 | μmol/L | 34.6714 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.035 | 169804.4949 | 296380.1471 | 59.9307 | 49.4
64593 | 2021-04-02 17:40 | 22.6629 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 151.0921 | μmol/L | 34.659 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.054 | 169920.7029 | 296391.9153 | 59.9307 | 49.4
64603 | 2021-04-02 17:40 | 22.996 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 150.8808 | μmol/L | 34.6776 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.063 | 170003.8415 | 296391.3367 | 59.9307 | 49.4
64613 | 2021-04-02 17:41 | 23.3299 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 150.8243 | μmol/L | 34.6652 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.072 | 170112.5843 | 296361.5621 | 59.9307 | 49.4
64623 | 2021-04-02 17:41 | 23.6627 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 150.5748 | μmol/L | 34.6652 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.091 | 170246.7104 | 296345.5332 | 59.9307 | 49.4
64633 | 2021-04-02 17:41 | 23.9965 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 150.3651 | μmol/L | 34.6652 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.107 | 170359.3486 | 296350.8461 | 59.9307 | 49.4
64643 | 2021-04-02 17:42 | 24.3301 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 150.309 | μmol/L | 34.6528 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.116 | 170441.091 | 296335.6817 | 59.9307 | 49.4
64653 | 2021-04-02 17:42 | 24.663 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 150.0512 | μmol/L | 34.6652 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.131 | 170544.2436 | 296316.5163 | 59.9307 | 49.4
64663 | 2021-04-02 17:42 | 24.996 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 149.6721 | μmol/L | 34.6838 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.153 | 170729.7585 | 296344.5196 | 59.9307 | 49.4
64673 | 2021-04-02 17:43 | 25.3298 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 149.3849 | μmol/L | 34.7024 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.168 | 170848.4788 | 296314.5235 | 59.9307 | 49.4
64683 | 2021-04-02 17:43 | 25.6635 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 149.1382 | μmol/L | 34.7024 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.187 | 170969.9623 | 296316.2198 | 59.9307 | 49.4
64693 | 2021-04-02 17:43 | 25.9964 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 149.0133 | μmol/L | 34.6962 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.199 | 171056.7894 | 296303.3712 | 59.9307 | 49.4
64703 | 2021-04-02 17:44 | 26.3294 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 148.8885 | μmol/L | 34.69 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.211 | 171163.7688 | 296292.1538 | 59.9307 | 49.4
64713 | 2021-04-02 17:44 | 26.6633 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 148.7427 | μmol/L | 34.6776 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.227 | 171288.5655 | 296296.3642 | 59.9307 | 49.4
64723 | 2021-04-02 17:44 | 26.9961 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 148.6229 | μmol/L | 34.6652 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.241 | 171387.2684 | 296277.7757 | 59.9307 | 49.4
64733 | 2021-04-02 17:45 | 27.3299 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 148.5595 | μmol/L | 34.6466 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.253 | 171498.7383 | 296254.0787 | 59.9307 | 49.4
64743 | 2021-04-02 17:45 | 27.6628 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 148.379 | μmol/L | 34.6466 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.267 | 171661.365 | 296259.8998 | 59.9307 | 49.4
64753 | 2021-04-02 17:45 | 27.9966 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 147.992 | μmol/L | 34.6652 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.29 | 171780.2675 | 296256.1972 | 59.9307 | 49.4
64763 | 2021-04-02 17:46 | 28.3298 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 147.8077 | μmol/L | 34.6714 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.302 | 171886.1968 | 296251.5904 | 59.9307 | 49.4
64773 | 2021-04-02 17:46 | 28.6627 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 147.4991 | μmol/L | 34.69 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.319 | 172006.2302 | 296248.8694 | 59.9307 | 49.4
64783 | 2021-04-02 17:46 | 28.9965 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 147.4654 | μmol/L | 34.6838 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.324 | 172095.79 | 296225.1351 | 59.9307 | 49.4
64793 | 2021-04-02 17:47 | 29.3295 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 147.3295 | μmol/L | 34.6776 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.337 | 172172.185 | 296212.0081 | 59.9307 | 49.4
64803 | 2021-04-02 17:47 | 29.6634 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 147.2239 | μmol/L | 34.6652 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.35 | 172267.3375 | 296227.5759 | 59.9307 | 49.4
64813 | 2021-04-02 17:47 | 29.9962 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 147.3077 | μmol/L | 34.6218 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.36 | 172382.6982 | 296206.3942 | 59.9307 | 49.4
64823 | 2021-04-02 17:48 | 30.3294 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 147.1418 | μmol/L | 34.6218 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.373 | 172458.3088 | 296223.8257 | 59.9307 | 49.4
64833 | 2021-04-02 17:48 | 30.6634 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 146.8825 | μmol/L | 34.628 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.391 | 172571.255 | 296190.1581 | 59.9307 | 49.4
64843 | 2021-04-02 17:48 | 30.9964 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 146.7079 | μmol/L | 34.6404 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.4 | 172701.3259 | 296196.939 | 59.9307 | 49.4
64853 | 2021-04-02 17:49 | 31.33 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 146.581 | μmol/L | 34.6404 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.41 | 172798.8956 | 296185.46 | 59.9307 | 49.4
64863 | 2021-04-02 17:49 | 31.6631 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 146.4301 | μmol/L | 34.6218 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.429 | 172935.6767 | 296170.1014 | 59.9307 | 49.4
64873 | 2021-04-02 17:49 | 31.996 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 146.2941 | μmol/L | 34.6342 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.435 | 172989.2073 | 296191.0429 | 59.9307 | 49.4
64883 | 2021-04-02 17:50 | 32.3298 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 146.3347 | μmol/L | 34.597 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.446 | 173069.2311 | 296173.774 | 59.9307 | 49.4
64893 | 2021-04-02 17:50 | 32.6628 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 146.0632 | μmol/L | 34.6218 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.458 | 173138.5955 | 296166.6383 | 59.9307 | 49.4
64903 | 2021-04-02 17:50 | 32.9967 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 146.0253 | μmol/L | 34.6218 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.461 | 173200.9155 | 296164.917 | 59.9307 | 49.4
64913 | 2021-04-02 17:51 | 33.3296 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 145.8533 | μmol/L | 34.6156 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.477 | 173318.9883 | 296140.4923 | 59.9307 | 49.4
64923 | 2021-04-02 17:51 | 33.6634 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 145.5276 | μmol/L | 34.6466 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.491 | 173431.8073 | 296140.0843 | 59.9307 | 49.4
64933 | 2021-04-02 17:51 | 33.9964 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 145.6139 | μmol/L | 34.6156 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.496 | 173489.4501 | 296138.0905 | 59.9307 | 49.4
64943 | 2021-04-02 17:52 | 34.3295 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 145.5165 | μmol/L | 34.628 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.499 | 173523.4518 | 296123.0925 | 59.9307 | 49.4
64953 | 2021-04-02 17:52 | 34.6633 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 145.3815 | μmol/L | 34.6404 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.505 | 173569.9464 | 296108.7827 | 59.9307 | 49.4
64963 | 2021-04-02 17:52 | 34.9965 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 145.0537 | μmol/L | 34.659 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.524 | 173659.7251 | 296117.5611 | 59.9307 | 49.4
64973 | 2021-04-02 17:53 | 35.3301 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 144.8706 | μmol/L | 34.6528 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.541 | 173822.2185 | 296108.9365 | 59.9307 | 49.4
64983 | 2021-04-02 17:53 | 35.663 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 144.805 | μmol/L | 34.6404 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.551 | 173937.1726 | 296082.3527 | 59.9307 | 49.4
64993 | 2021-04-02 17:53 | 35.996 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 144.4414 | μmol/L | 34.659 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.573 | 174098.2662 | 296084.9687 | 59.9307 | 49.4
65003 | 2021-04-02 17:54 | 36.3297 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 144.1267 | μmol/L | 34.6962 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.584 | 174218.1539 | 296075.8386 | 59.9307 | 49.4
65013 | 2021-04-02 17:54 | 36.6634 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.948 | μmol/L | 34.7024 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.596 | 174309.6801 | 296088.1066 | 59.9307 | 49.4
65023 | 2021-04-02 17:54 | 36.9965 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.8706 | μmol/L | 34.69 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.607 | 174406.4997 | 296079.0862 | 59.9307 | 49.4
65033 | 2021-04-02 17:55 | 37.3294 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.6828 | μmol/L | 34.7086 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.615 | 174462.4147 | 296057.6468 | 59.9307 | 49.4
65043 | 2021-04-02 17:55 | 37.6632 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.5914 | μmol/L | 34.7148 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.62 | 174521.034 | 296052.4139 | 59.9307 | 49.4
65053 | 2021-04-02 17:55 | 37.9962 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.5113 | μmol/L | 34.69 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.636 | 174645.2512 | 296061.3796 | 59.9307 | 49.4
65063 | 2021-04-02 17:56 | 38.3298 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.3506 | μmol/L | 34.69 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.649 | 174755.0136 | 296065.8477 | 59.9307 | 49.4
65073 | 2021-04-02 17:56 | 38.6629 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.1341 | μmol/L | 34.7148 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.657 | 174804.2395 | 296026.4363 | 59.9307 | 49.4
65083 | 2021-04-02 17:56 | 38.996 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 142.9076 | μmol/L | 34.721 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.673 | 174948.1492 | 296046.1931 | 59.9307 | 49.4
65093 | 2021-04-02 17:57 | 39.3298 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 142.6002 | μmol/L | 34.721 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.698 | 175113.9253 | 296052.943 | 59.9307 | 49.4
65103 | 2021-04-02 17:57 | 39.6635 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 142.3597 | μmol/L | 34.7148 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.72 | 175316.8159 | 296029.7663 | 59.9307 | 49.4
65113 | 2021-04-02 17:57 | 39.9967 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 142.064 | μmol/L | 34.7334 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.737 | 175479.223 | 296031.6258 | 59.9307 | 49.4
65123 | 2021-04-02 17:58 | 40.3297 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 141.8489 | μmol/L | 34.7272 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.757 | 175614.2406 | 296014.5316 | 59.9307 | 49.4
65133 | 2021-04-02 17:58 | 40.6634 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 141.7174 | μmol/L | 34.7396 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.763 | 175684.5118 | 296008.2525 | 59.9307 | 49.4
65143 | 2021-04-02 17:58 | 40.9961 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 141.6099 | μmol/L | 34.721 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.779 | 175795.5501 | 296005.371 | 59.9307 | 49.4
65153 | 2021-04-02 17:59 | 41.33 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 141.4179 | μmol/L | 34.7334 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.79 | 175934.7688 | 295996.4564 | 59.9307 | 49.4
65163 | 2021-04-02 17:59 | 41.6629 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 141.1629 | μmol/L | 34.7334 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.811 | 176097.2693 | 295996.8912 | 59.9307 | 49.4
65173 | 2021-04-02 17:59 | 41.9966 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 140.9932 | μmol/L | 34.7334 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.825 | 176189.8223 | 295989.5002 | 59.9307 | 49.4
65183 | 2021-04-02 18:00 | 42.3296 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 140.8964 | μmol/L | 34.7334 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.833 | 176251.6564 | 295986.4356 | 59.9307 | 49.4
65193 | 2021-04-02 18:00 | 42.6634 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 140.7538 | μmol/L | 34.7458 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.84 | 176293.9681 | 295975.1111 | 59.9307 | 49.4
65203 | 2021-04-02 18:00 | 42.9963 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 140.8212 | μmol/L | 34.721 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.844 | 176337.8848 | 295956.3623 | 59.9307 | 49.4
65213 | 2021-04-02 18:01 | 43.3293 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 140.6835 | μmol/L | 34.7272 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.853 | 176398.8396 | 295968.8299 | 59.9307 | 49.4
65223 | 2021-04-02 18:01 | 43.6633 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 140.6305 | μmol/L | 34.7334 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.855 | 176451.0911 | 295967.8175 | 59.9307 | 49.4
65233 | 2021-04-02 18:01 | 43.9962 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 140.3363 | μmol/L | 34.7396 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.877 | 176615.8965 | 295984.8175 | 59.9307 | 49.4
65243 | 2021-04-02 18:02 | 44.33 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 140.1125 | μmol/L | 34.7334 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.898 | 176748.6232 | 295953.2052 | 59.9307 | 49.4
65253 | 2021-04-02 18:02 | 44.6628 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 139.9731 | μmol/L | 34.7272 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.912 | 176858.268 | 295963.2227 | 59.9307 | 49.4
65263 | 2021-04-02 18:02 | 44.9965 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 139.8171 | μmol/L | 34.7272 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.925 | 176966.9312 | 295951.925 | 59.9307 | 49.4
65273 | 2021-04-02 18:03 | 45.3301 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 139.6302 | μmol/L | 34.721 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.943 | 177130.7045 | 295961.633 | 59.9307 | 49.4
65283 | 2021-04-02 18:03 | 45.6631 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 139.5106 | μmol/L | 34.721 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.953 | 177204.7605 | 295935.7221 | 59.9307 | 49.4
65293 | 2021-04-02 18:03 | 45.9968 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 139.1739 | μmol/L | 34.7396 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.974 | 177402.9797 | 295945.7744 | 59.9307 | 49.4
65303 | 2021-04-02 18:04 | 46.3297 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 138.9928 | μmol/L | 34.7272 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.994 | 177538.3683 | 295927.9704 | 59.9307 | 49.4
65313 | 2021-04-02 18:04 | 46.6635 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 138.7621 | μmol/L | 34.7334 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.011 | 177713.1526 | 295921.8861 | 59.9307 | 49.4
65323 | 2021-04-02 18:04 | 46.9963 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 138.6292 | μmol/L | 34.721 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.027 | 177823.6814 | 295919.984 | 59.9307 | 49.4
65333 | 2021-04-02 18:05 | 47.3294 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 138.6008 | μmol/L | 34.6962 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.039 | 177924.4817 | 295911.3395 | 59.9307 | 49.4
65343 | 2021-04-02 18:05 | 47.6632 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 138.3993 | μmol/L | 34.6962 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.056 | 178062.0769 | 295920.1556 | 59.9307 | 49.4
65353 | 2021-04-02 18:05 | 47.9963 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 138.2787 | μmol/L | 34.6838 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.071 | 178198.909 | 295908.0475 | 59.9307 | 49.4
65363 | 2021-04-02 18:06 | 48.33 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 138.1439 | μmol/L | 34.69 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.08 | 178264.6004 | 295902.7633 | 59.9307 | 49.4
65373 | 2021-04-02 18:06 | 48.6628 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 138.0141 | μmol/L | 34.69 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.091 | 178365.1686 | 295910.0819 | 59.9307 | 49.4
65383 | 2021-04-02 18:06 | 48.9961 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.8184 | μmol/L | 34.6838 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.11 | 178490.2899 | 295909.5708 | 59.9307 | 49.4
65393 | 2021-04-02 18:07 | 49.33 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.6018 | μmol/L | 34.69 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.126 | 178638.0152 | 295903.1625 | 59.9307 | 49.4
65403 | 2021-04-02 18:07 | 49.663 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.5478 | μmol/L | 34.6838 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.133 | 178728.179 | 295883.9162 | 59.9307 | 49.4
65413 | 2021-04-02 18:07 | 49.9961 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.4868 | μmol/L | 34.6714 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.143 | 178800.2816 | 295893.3771 | 59.9307 | 49.4
65423 | 2021-04-02 18:08 | 50.33 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.4611 | μmol/L | 34.659 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.15 | 178874.8288 | 295884.6017 | 59.9307 | 49.4
65433 | 2021-04-02 18:08 | 50.6627 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.3906 | μmol/L | 34.659 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.156 | 178919.9674 | 295868.3567 | 59.9307 | 49.4
65443 | 2021-04-02 18:08 | 50.9962 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.4307 | μmol/L | 34.6218 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.167 | 179022.3129 | 295884.3678 | 59.9307 | 49.4