## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-02 18:09

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
63914 | 2021-04-02 17:17 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 154.627 | μmol/L | 34.5274 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.501 | 158168.2136 | 311198.3435 | 33.25 | 68.6
63924 | 2021-04-02 17:18 | 0.33804 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 153.7684 | μmol/L | 34.6803 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.506 | 158227.2343 | 311203.7517 | 33.25 | 68.6
63934 | 2021-04-02 17:18 | 0.67095 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 154.21 | μmol/L | 34.5825 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.511 | 158212.2599 | 311184.9349 | 33.25 | 68.6
63944 | 2021-04-02 17:18 | 1.0047 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 154.3106 | μmol/L | 34.558 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.513 | 158253.3589 | 311182.1386 | 33.25 | 68.6
63954 | 2021-04-02 17:19 | 1.3375 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 154.364 | μmol/L | 34.5274 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.521 | 158290.6905 | 311162.7582 | 33.25 | 68.6
63964 | 2021-04-02 17:19 | 1.6711 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 154.2218 | μmol/L | 34.5397 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.527 | 158312.0844 | 311140.0775 | 33.25 | 68.6
63974 | 2021-04-02 17:19 | 2.004 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 153.9477 | μmol/L | 34.5825 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.531 | 158311.6433 | 311126.7018 | 33.25 | 68.6
63984 | 2021-04-02 17:20 | 2.3377 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 154.3362 | μmol/L | 34.4847 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.54 | 158377.5645 | 311120.6716 | 33.25 | 68.6
63994 | 2021-04-02 17:20 | 2.6707 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 154.0229 | μmol/L | 34.5274 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.547 | 158447.9245 | 311095.8482 | 33.25 | 68.6
64004 | 2021-04-02 17:20 | 3.0043 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 153.7285 | μmol/L | 34.5641 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.555 | 158472.0304 | 311067.0664 | 33.25 | 68.6
64014 | 2021-04-02 17:21 | 3.3378 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 153.7133 | μmol/L | 34.5519 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.561 | 158484.0586 | 311044.7968 | 33.25 | 68.6
64024 | 2021-04-02 17:21 | 3.6706 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 153.1616 | μmol/L | 34.6436 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.567 | 158502.5088 | 311044.594 | 33.25 | 68.6
64034 | 2021-04-02 17:21 | 4.0041 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 153.3193 | μmol/L | 34.613 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.567 | 158525.0985 | 311015.6828 | 33.25 | 68.6
64044 | 2021-04-02 17:22 | 4.3377 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 153.1911 | μmol/L | 34.6253 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.572 | 158560.3987 | 310997.082 | 33.25 | 68.6
64054 | 2021-04-02 17:22 | 4.6712 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 153.2891 | μmol/L | 34.5886 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.579 | 158596.385 | 310975.1513 | 33.25 | 68.6
64064 | 2021-04-02 17:22 | 5.004 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 153.3794 | μmol/L | 34.5458 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.589 | 158643.6007 | 310947.6423 | 33.25 | 68.6
64074 | 2021-04-02 17:23 | 5.3377 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 152.6088 | μmol/L | 34.6803 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.595 | 158674.178 | 310928.7983 | 33.25 | 68.6
64084 | 2021-04-02 17:23 | 5.6714 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 152.6992 | μmol/L | 34.6375 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.605 | 158715.1524 | 310928.9857 | 33.25 | 68.6
64094 | 2021-04-02 17:23 | 6.004 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 152.6159 | μmol/L | 34.6436 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.609 | 158754.9521 | 310920.1248 | 33.25 | 68.6
64104 | 2021-04-02 17:24 | 6.3378 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 152.3902 | μmol/L | 34.6497 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.624 | 158818.1925 | 310895.0987 | 33.25 | 68.6
64114 | 2021-04-02 17:24 | 6.6708 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 152.0616 | μmol/L | 34.6986 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.63 | 158840.5847 | 310871.7175 | 33.25 | 68.6
64124 | 2021-04-02 17:24 | 7.0039 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 152.7389 | μmol/L | 34.5641 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.631 | 158866.9899 | 310855.3795 | 33.25 | 68.6
64134 | 2021-04-02 17:25 | 7.3376 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 152.4286 | μmol/L | 34.6069 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.638 | 158918.8617 | 310839.1218 | 33.25 | 68.6
64144 | 2021-04-02 17:25 | 7.6712 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 151.06 | μmol/L | 34.8515 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.647 | 158977.4507 | 310821.25 | 33.25 | 68.6
64154 | 2021-04-02 17:25 | 8.0043 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 151.5626 | μmol/L | 34.7231 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.659 | 159042.1357 | 310791.6166 | 33.25 | 68.6
64164 | 2021-04-02 17:26 | 8.3379 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 151.9269 | μmol/L | 34.6192 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.672 | 159103.5628 | 310792.3292 | 33.25 | 68.6
64174 | 2021-04-02 17:26 | 8.6707 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 151.8164 | μmol/L | 34.613 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.683 | 159185.7676 | 310755.9863 | 33.25 | 68.6
64184 | 2021-04-02 17:26 | 9.0046 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 151.4398 | μmol/L | 34.6742 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.688 | 159222.9037 | 310738.6608 | 33.25 | 68.6
64194 | 2021-04-02 17:27 | 9.3374 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 151.8383 | μmol/L | 34.5886 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.691 | 159236.3133 | 310741.3248 | 33.25 | 68.6
64204 | 2021-04-02 17:27 | 9.671 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 151.8879 | μmol/L | 34.5764 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.692 | 159247.7751 | 310717.7733 | 33.25 | 68.6
64214 | 2021-04-02 17:27 | 10.0039 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 151.6948 | μmol/L | 34.5764 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.707 | 159331.6649 | 310697.6494 | 33.25 | 68.6
64224 | 2021-04-02 17:28 | 10.3377 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 151.1284 | μmol/L | 34.6497 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.722 | 159422.9674 | 310693.7509 | 33.25 | 68.6
64234 | 2021-04-02 17:28 | 10.6713 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 151.0204 | μmol/L | 34.6558 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.728 | 159456.1044 | 310680.0028 | 33.25 | 68.6
64244 | 2021-04-02 17:28 | 11.0041 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 151.1449 | μmol/L | 34.6314 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.728 | 159463.1208 | 310668.613 | 33.25 | 68.6
64254 | 2021-04-02 17:29 | 11.3379 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 150.9547 | μmol/L | 34.6436 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.738 | 159529.5257 | 310657.4237 | 33.25 | 68.6
64264 | 2021-04-02 17:29 | 11.6709 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 150.9804 | μmol/L | 34.6008 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.753 | 159610.5378 | 310623.6415 | 33.25 | 68.6
64274 | 2021-04-02 17:29 | 12.0045 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 150.7595 | μmol/L | 34.6192 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.763 | 159675.6078 | 310623.5686 | 33.25 | 68.6
64284 | 2021-04-02 17:30 | 12.3377 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 150.5661 | μmol/L | 34.6497 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.766 | 159714.1472 | 310612.6446 | 33.25 | 68.6
64294 | 2021-04-02 17:30 | 12.6713 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 150.9711 | μmol/L | 34.5397 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.778 | 159775.5286 | 310585.5022 | 33.25 | 68.6
64304 | 2021-04-02 17:30 | 13.004 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 150.6939 | μmol/L | 34.5641 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.79 | 159836.0806 | 310578.6158 | 33.25 | 68.6
64314 | 2021-04-02 17:31 | 13.338 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 150.6465 | μmol/L | 34.5458 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.801 | 159904.9577 | 310561.0445 | 33.25 | 68.6
64324 | 2021-04-02 17:31 | 13.6706 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 150.2698 | μmol/L | 34.6253 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.799 | 159890.7646 | 310550.1558 | 33.25 | 68.6
64334 | 2021-04-02 17:31 | 14.0044 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 150.0516 | μmol/L | 34.6558 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.804 | 159919.8359 | 310523.0581 | 33.25 | 68.6
64344 | 2021-04-02 17:32 | 14.3373 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 149.421 | μmol/L | 34.7781 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.805 | 159979.7944 | 310516.7735 | 33.25 | 68.6
64354 | 2021-04-02 17:32 | 14.6709 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 150.2261 | μmol/L | 34.6314 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.8 | 159945.9519 | 310489.1663 | 33.25 | 68.6
64364 | 2021-04-02 17:32 | 15.0046 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 149.9958 | μmol/L | 34.6192 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.823 | 160090.69 | 310487.3832 | 33.25 | 68.6
64374 | 2021-04-02 17:33 | 15.3374 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 149.6745 | μmol/L | 34.6803 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.824 | 160108.6953 | 310475.4038 | 33.25 | 68.6
64384 | 2021-04-02 17:33 | 15.6712 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 149.3913 | μmol/L | 34.7414 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.822 | 160103.093 | 310454.5862 | 33.25 | 68.6
64394 | 2021-04-02 17:33 | 16.0041 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 149.3307 | μmol/L | 34.7109 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.839 | 160206.7108 | 310431.4636 | 33.25 | 68.6
64404 | 2021-04-02 17:34 | 16.3378 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 148.7597 | μmol/L | 34.7842 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.855 | 160298.2912 | 310419.2712 | 33.25 | 68.6
64414 | 2021-04-02 17:34 | 16.6708 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 148.7387 | μmol/L | 34.7659 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.864 | 160366.4903 | 310402.8781 | 33.25 | 68.6
64424 | 2021-04-02 17:34 | 17.004 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 148.7248 | μmol/L | 34.7537 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.87 | 160411.2115 | 310396.3885 | 33.25 | 68.6
64434 | 2021-04-02 17:35 | 17.3377 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 148.5322 | μmol/L | 34.772 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.878 | 160456.9831 | 310380.1173 | 33.25 | 68.6
64444 | 2021-04-02 17:35 | 17.6708 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 148.9172 | μmol/L | 34.6803 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.884 | 160511.8773 | 310363.695 | 33.25 | 68.6
64454 | 2021-04-02 17:35 | 18.0045 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 148.7859 | μmol/L | 34.6864 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.892 | 160565.8317 | 310352.5358 | 33.25 | 68.6
64464 | 2021-04-02 17:36 | 18.3374 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 148.5614 | μmol/L | 34.6986 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.905 | 160664.5288 | 310346.4727 | 33.25 | 68.6
64474 | 2021-04-02 17:36 | 18.6714 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 148.0549 | μmol/L | 34.7598 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.921 | 160795.5575 | 310330.2698 | 33.25 | 68.6
64484 | 2021-04-02 17:36 | 19.0044 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.6911 | μmol/L | 34.8026 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.933 | 160884.0005 | 310313.617 | 33.25 | 68.6
64494 | 2021-04-02 17:37 | 19.3372 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.8954 | μmol/L | 34.7292 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.946 | 160950.093 | 310291.9689 | 33.25 | 68.6
64504 | 2021-04-02 17:37 | 19.671 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 148.0383 | μmol/L | 34.6681 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.959 | 161060.1036 | 310278.4419 | 33.25 | 68.6
64514 | 2021-04-02 17:37 | 20.0045 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.3637 | μmol/L | 34.7659 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.974 | 161130.4752 | 310280.6502 | 33.25 | 68.6
64524 | 2021-04-02 17:38 | 20.3375 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.296 | μmol/L | 34.772 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.977 | 161157.9161 | 310246.2566 | 33.25 | 68.6
64534 | 2021-04-02 17:38 | 20.6705 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.6448 | μmol/L | 34.6619 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.993 | 161272.6843 | 310231.6464 | 33.25 | 68.6
64544 | 2021-04-02 17:38 | 21.0042 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.0794 | μmol/L | 34.7781 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.992 | 161271.6179 | 310231.2153 | 33.25 | 68.6
64554 | 2021-04-02 17:39 | 21.3373 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.3766 | μmol/L | 34.7109 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.995 | 161302.6042 | 310217.8802 | 33.25 | 68.6
64564 | 2021-04-02 17:39 | 21.671 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.0485 | μmol/L | 34.717 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.019 | 161446.7208 | 310191.4063 | 33.25 | 68.6
64574 | 2021-04-02 17:39 | 22.0046 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.0847 | μmol/L | 34.6497 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.043 | 161577.7757 | 310180.7567 | 33.25 | 68.6
64584 | 2021-04-02 17:40 | 22.3375 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 146.6964 | μmol/L | 34.7231 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.045 | 161608.024 | 310171.5197 | 33.25 | 68.6
64594 | 2021-04-02 17:40 | 22.6713 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.8161 | μmol/L | 34.8637 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.06 | 161693.9785 | 310145.5492 | 33.25 | 68.6
64604 | 2021-04-02 17:40 | 23.0043 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.7885 | μmol/L | 34.827 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.077 | 161819.2164 | 310140.5466 | 33.25 | 68.6
64614 | 2021-04-02 17:41 | 23.3374 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.9797 | μmol/L | 34.7659 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.086 | 161892.1992 | 310134.845 | 33.25 | 68.6
64624 | 2021-04-02 17:41 | 23.6711 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 146.1751 | μmol/L | 34.6864 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.102 | 162003.8282 | 310109.4454 | 33.25 | 68.6
64634 | 2021-04-02 17:41 | 24.0042 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 146.0779 | μmol/L | 34.6986 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.105 | 162024.2268 | 310092.7433 | 33.25 | 68.6
64644 | 2021-04-02 17:42 | 24.3373 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.7143 | μmol/L | 34.7475 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.115 | 162075.2304 | 310083.5469 | 33.25 | 68.6
64654 | 2021-04-02 17:42 | 24.6711 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.5984 | μmol/L | 34.7537 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.122 | 162130.5451 | 310074.8818 | 33.25 | 68.6
64664 | 2021-04-02 17:42 | 25.0042 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.1726 | μmol/L | 34.7781 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.147 | 162274.0163 | 310064.1964 | 33.25 | 68.6
64674 | 2021-04-02 17:43 | 25.3372 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.0816 | μmol/L | 34.7842 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.152 | 162307.0726 | 310049.342 | 33.25 | 68.6
64684 | 2021-04-02 17:43 | 25.6709 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.2773 | μmol/L | 34.717 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.163 | 162351.5695 | 310038.4241 | 33.25 | 68.6
64694 | 2021-04-02 17:43 | 26.0046 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 144.7912 | μmol/L | 34.8087 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.166 | 162388.7184 | 310026.1776 | 33.25 | 68.6
64704 | 2021-04-02 17:44 | 26.338 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 144.5733 | μmol/L | 34.8209 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.179 | 162468.8134 | 310014.3682 | 33.25 | 68.6
64714 | 2021-04-02 17:44 | 26.6707 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.1365 | μmol/L | 34.7109 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.177 | 162487.1304 | 310012.0161 | 33.25 | 68.6
64724 | 2021-04-02 17:44 | 27.0044 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 144.7732 | μmol/L | 34.7353 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.197 | 162610.5919 | 310005.2261 | 33.25 | 68.6
64734 | 2021-04-02 17:45 | 27.3374 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 144.873 | μmol/L | 34.6925 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.206 | 162645.5026 | 309982.4349 | 33.25 | 68.6
64744 | 2021-04-02 17:45 | 27.6713 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 144.5565 | μmol/L | 34.7598 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.205 | 162682.5046 | 309985.8215 | 33.25 | 68.6
64754 | 2021-04-02 17:45 | 28.0041 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 144.3699 | μmol/L | 34.7781 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.213 | 162737.3013 | 309953.6475 | 33.25 | 68.6
64764 | 2021-04-02 17:46 | 28.338 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 144.6466 | μmol/L | 34.6742 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.232 | 162846.6275 | 309961.2783 | 33.25 | 68.6
64774 | 2021-04-02 17:46 | 28.671 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 144.4071 | μmol/L | 34.7109 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.237 | 162858.3094 | 309942.8344 | 33.25 | 68.6
64784 | 2021-04-02 17:46 | 29.0047 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 144.3586 | μmol/L | 34.7109 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.241 | 162906.9022 | 309946.2769 | 33.25 | 68.6
64794 | 2021-04-02 17:47 | 29.3378 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 144.4228 | μmol/L | 34.6803 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.248 | 162938.9126 | 309922.5309 | 33.25 | 68.6
64804 | 2021-04-02 17:47 | 29.6709 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 144.1584 | μmol/L | 34.7047 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.26 | 163038.2385 | 309904.0437 | 33.25 | 68.6
64814 | 2021-04-02 17:47 | 30.0046 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 143.7516 | μmol/L | 34.7537 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.274 | 163121.5896 | 309906.6402 | 33.25 | 68.6
64824 | 2021-04-02 17:48 | 30.3375 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 144.1101 | μmol/L | 34.7047 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.264 | 163074.4836 | 309905.1556 | 33.25 | 68.6
64834 | 2021-04-02 17:48 | 30.6706 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 143.8157 | μmol/L | 34.7231 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.281 | 163180.5521 | 309879.9001 | 33.25 | 68.6
64844 | 2021-04-02 17:48 | 31.0041 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 143.4665 | μmol/L | 34.7231 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.31 | 163375.1895 | 309887.118 | 33.25 | 68.6
64854 | 2021-04-02 17:49 | 31.3379 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 143.5498 | μmol/L | 34.7109 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.308 | 163363.7358 | 309872.8009 | 33.25 | 68.6
64864 | 2021-04-02 17:49 | 31.671 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 143.7545 | μmol/L | 34.7109 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.291 | 163286.3939 | 309865.5434 | 33.25 | 68.6
64874 | 2021-04-02 17:49 | 32.0047 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 143.6062 | μmol/L | 34.7414 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.291 | 163311.1619 | 309856.5193 | 33.25 | 68.6
64884 | 2021-04-02 17:50 | 32.3375 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 143.3145 | μmol/L | 34.7842 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.298 | 163381.8219 | 309837.7648 | 33.25 | 68.6
64894 | 2021-04-02 17:50 | 32.6713 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 143.7793 | μmol/L | 34.6436 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.316 | 163488.8049 | 309816.104 | 33.25 | 68.6
64904 | 2021-04-02 17:50 | 33.0043 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 143.535 | μmol/L | 34.6742 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.324 | 163564.2519 | 309835.5941 | 33.25 | 68.6
64914 | 2021-04-02 17:51 | 33.3379 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 142.5495 | μmol/L | 34.8087 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.352 | 163744.2599 | 309807.0865 | 33.25 | 68.6
64924 | 2021-04-02 17:51 | 33.6707 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 142.4302 | μmol/L | 34.8087 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.362 | 163802.9523 | 309800.3625 | 33.25 | 68.6
64934 | 2021-04-02 17:51 | 34.0046 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 142.0013 | μmol/L | 34.9248 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.351 | 163749.3629 | 309785.5612 | 33.25 | 68.6
64944 | 2021-04-02 17:52 | 34.3377 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 142.0534 | μmol/L | 34.8943 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.359 | 163810.5403 | 309776.4339 | 33.25 | 68.6
64954 | 2021-04-02 17:52 | 34.6706 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 141.9759 | μmol/L | 34.8882 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.368 | 163894.8253 | 309771.6915 | 33.25 | 68.6
64964 | 2021-04-02 17:52 | 35.004 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 142.2613 | μmol/L | 34.772 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.391 | 164025.8652 | 309765.8072 | 33.25 | 68.6
64974 | 2021-04-02 17:53 | 35.3378 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 141.2194 | μmol/L | 34.9371 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.412 | 164174.3128 | 309748.3175 | 33.25 | 68.6
64984 | 2021-04-02 17:53 | 35.6708 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 140.7489 | μmol/L | 34.9738 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.437 | 164329.9694 | 309742.3206 | 33.25 | 68.6
64994 | 2021-04-02 17:53 | 36.0046 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 141.0996 | μmol/L | 34.8882 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.442 | 164383.1855 | 309730.1659 | 33.25 | 68.6
65004 | 2021-04-02 17:54 | 36.3376 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 141.6669 | μmol/L | 34.7598 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.446 | 164418.616 | 309729.2868 | 33.25 | 68.6
65014 | 2021-04-02 17:54 | 36.6713 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 141.0703 | μmol/L | 34.8943 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.442 | 164409.6001 | 309722.4014 | 33.25 | 68.6
65024 | 2021-04-02 17:54 | 37.0041 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 141.6146 | μmol/L | 34.7781 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.443 | 164462.2787 | 309723.8379 | 33.25 | 68.6
65034 | 2021-04-02 17:55 | 37.3379 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 141.5709 | μmol/L | 34.7353 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.464 | 164558.4862 | 309699.6504 | 33.25 | 68.6
65044 | 2021-04-02 17:55 | 37.6708 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 141.1369 | μmol/L | 34.7964 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.476 | 164642.5346 | 309692.5461 | 33.25 | 68.6
65054 | 2021-04-02 17:55 | 38.0047 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 140.9899 | μmol/L | 34.8026 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.486 | 164726.0067 | 309680.0384 | 33.25 | 68.6
65064 | 2021-04-02 17:56 | 38.3376 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 141.1519 | μmol/L | 34.7414 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.497 | 164807.599 | 309677.9378 | 33.25 | 68.6
65074 | 2021-04-02 17:56 | 38.6707 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 140.8011 | μmol/L | 34.7903 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.507 | 164860.207 | 309659.648 | 33.25 | 68.6
65084 | 2021-04-02 17:56 | 39.004 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 139.6419 | μmol/L | 34.9676 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.534 | 165053.0342 | 309661.1608 | 33.25 | 68.6
65094 | 2021-04-02 17:57 | 39.338 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 139.9371 | μmol/L | 34.8759 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.546 | 165136.0879 | 309654.6027 | 33.25 | 68.6
65104 | 2021-04-02 17:57 | 39.6708 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 140.0125 | μmol/L | 34.8576 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.547 | 165194.84 | 309645.9013 | 33.25 | 68.6
65114 | 2021-04-02 17:57 | 40.0044 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 139.7839 | μmol/L | 34.827 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.579 | 165398.6283 | 309646.1942 | 33.25 | 68.6
65124 | 2021-04-02 17:58 | 40.3379 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 139.5333 | μmol/L | 34.8209 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.603 | 165540.289 | 309640.8364 | 33.25 | 68.6
65134 | 2021-04-02 17:58 | 40.6708 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 139.2906 | μmol/L | 34.8698 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.604 | 165566.7826 | 309626.2529 | 33.25 | 68.6
65144 | 2021-04-02 17:58 | 41.0044 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 139.7015 | μmol/L | 34.8026 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.596 | 165561.4938 | 309615.3322 | 33.25 | 68.6
65154 | 2021-04-02 17:59 | 41.3374 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 139.2727 | μmol/L | 34.8515 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.613 | 165670.4778 | 309595.5738 | 33.25 | 68.6
65164 | 2021-04-02 17:59 | 41.6712 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 138.9544 | μmol/L | 34.8698 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.633 | 165803.8624 | 309601.0386 | 33.25 | 68.6
65174 | 2021-04-02 17:59 | 42.004 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 139.2133 | μmol/L | 34.8026 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.638 | 165852.7028 | 309592.2488 | 33.25 | 68.6
65184 | 2021-04-02 18:00 | 42.3379 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 138.8437 | μmol/L | 34.8392 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.655 | 165938.4986 | 309586.1552 | 33.25 | 68.6
65194 | 2021-04-02 18:00 | 42.6708 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 138.6763 | μmol/L | 34.8454 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.667 | 166030.8808 | 309570.9096 | 33.25 | 68.6
65204 | 2021-04-02 18:00 | 43.0046 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 138.6819 | μmol/L | 34.8392 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.669 | 166075.9967 | 309569.6771 | 33.25 | 68.6
65214 | 2021-04-02 18:01 | 43.3376 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 138.4632 | μmol/L | 34.8637 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.678 | 166135.1623 | 309568.2115 | 33.25 | 68.6
65224 | 2021-04-02 18:01 | 43.6706 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 138.4686 | μmol/L | 34.8454 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.685 | 166180.0058 | 309554.6763 | 33.25 | 68.6
65234 | 2021-04-02 18:01 | 44.0044 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 137.8146 | μmol/L | 34.931 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.707 | 166317.6895 | 309533.9936 | 33.25 | 68.6
65244 | 2021-04-02 18:02 | 44.3374 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 138.1693 | μmol/L | 34.8454 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.711 | 166363.9968 | 309545.4196 | 33.25 | 68.6
65254 | 2021-04-02 18:02 | 44.6712 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 137.9742 | μmol/L | 34.8576 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.723 | 166422.4196 | 309524.414 | 33.25 | 68.6
65264 | 2021-04-02 18:02 | 45.004 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 137.5854 | μmol/L | 34.931 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.727 | 166483.2098 | 309535.9784 | 33.25 | 68.6
65274 | 2021-04-02 18:03 | 45.3378 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 137.9108 | μmol/L | 34.8392 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.736 | 166553.6088 | 309514.6067 | 33.25 | 68.6
65284 | 2021-04-02 18:03 | 45.6709 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 137.933 | μmol/L | 34.8026 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.749 | 166618.3026 | 309524.8715 | 33.25 | 68.6
65294 | 2021-04-02 18:03 | 46.0046 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 137.7896 | μmol/L | 34.7964 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.764 | 166726.3743 | 309511.0915 | 33.25 | 68.6
65304 | 2021-04-02 18:04 | 46.3373 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 137.7943 | μmol/L | 34.7537 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.781 | 166845.388 | 309515.9222 | 33.25 | 68.6
65314 | 2021-04-02 18:04 | 46.6712 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 137.3157 | μmol/L | 34.827 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.793 | 166926.2618 | 309488.577 | 33.25 | 68.6
65324 | 2021-04-02 18:04 | 47.0041 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 137.2813 | μmol/L | 34.8148 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.801 | 167019.9903 | 309502.0973 | 33.25 | 68.6
65334 | 2021-04-02 18:05 | 47.3378 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 137.2355 | μmol/L | 34.8026 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.81 | 167083.1271 | 309493.0895 | 33.25 | 68.6
65344 | 2021-04-02 18:05 | 47.671 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 136.764 | μmol/L | 34.8698 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.824 | 167174.4664 | 309490.2919 | 33.25 | 68.6
65354 | 2021-04-02 18:05 | 48.004 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 136.9965 | μmol/L | 34.8148 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.826 | 167249.9781 | 309476.1237 | 33.25 | 68.6
65364 | 2021-04-02 18:06 | 48.3376 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 136.6561 | μmol/L | 34.8637 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.836 | 167306.1263 | 309474.6581 | 33.25 | 68.6
65374 | 2021-04-02 18:06 | 48.6712 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 137.1715 | μmol/L | 34.7353 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.843 | 167392.2725 | 309473.3543 | 33.25 | 68.6
65384 | 2021-04-02 18:06 | 49.0043 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 136.7348 | μmol/L | 34.7903 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.859 | 167518.8309 | 309458.8856 | 33.25 | 68.6
65394 | 2021-04-02 18:07 | 49.3374 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 136.5187 | μmol/L | 34.7414 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.898 | 167770.6307 | 309469.0904 | 33.25 | 68.6
65404 | 2021-04-02 18:07 | 49.6712 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 136.0333 | μmol/L | 34.7781 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.926 | 167977.9779 | 309440.5896 | 33.25 | 68.6
65414 | 2021-04-02 18:07 | 50.0043 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 135.2856 | μmol/L | 34.9065 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.94 | 168067.129 | 309448.7975 | 33.25 | 68.6
65424 | 2021-04-02 18:08 | 50.3373 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 135.7799 | μmol/L | 34.7964 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.941 | 168111.9678 | 309442.9434 | 33.25 | 68.6
65434 | 2021-04-02 18:08 | 50.6709 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 135.7069 | μmol/L | 34.827 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.935 | 168102.2018 | 309433.5789 | 33.25 | 68.6
65444 | 2021-04-02 18:08 | 51.0044 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 135.9094 | μmol/L | 34.7903 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.932 | 168076.3559 | 309430.8192 | 33.25 | 68.6